## File List
Number of Files= |  | 9
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 2009-53-0011.mrg | 2009-53-0011.sam | 12 | 13 | 2009-53-0011.mrg & 2009-53-0011.sam
2 | 2009-53-0012.mrg | 2009-53-0012.sam | 15 | 16 | 2009-53-0012.mrg & 2009-53-0012.sam
3 | 2009-53-0013.mrg | 2009-53-0013.sam | 18 | 19 | 2009-53-0013.mrg & 2009-53-0013.sam
4 | 2009-53-0014.mrg | 2009-53-0014.sam | 21 | 22 | 2009-53-0014.mrg & 2009-53-0014.sam
5 | 2009-53-0015.mrg | 2009-53-0015.sam | 24 | 25 | 2009-53-0015.mrg & 2009-53-0015.sam
6 | 2009-53-0016.mrg | 2009-53-0016.sam | 27 | 28 | 2009-53-0016.mrg & 2009-53-0016.sam
7 | 2009-53-0017.mrg | 2009-53-0017.sam | 30 | 31 | 2009-53-0017.mrg & 2009-53-0017.sam
8 | 2009-53-0021.mrg | 2009-53-0021.sam | 33 | 34 | 2009-53-0021.mrg & 2009-53-0021.sam
9 | 2009-53-0022.mrg | 2009-53-0022.sam | 36 | 37 | 2009-53-0022.mrg & 2009-53-0022.sam

## (Sal0 - Sal_Bot)
Calculation of Linear Least Squares Fit For
(Sal0 - Sal_Bot)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal0 - Sal_Bot), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.016152 |  | X | CALC Y
m= | 5.52e-06 | 1.1514e-05 |  | Std Dev of Resid |  | 0.0030398 |  | 125.188 | -0.005315
b= | -0.0060061 | 0.002943 |  | Resid Sum of Squares |  | 0.00012937 |  | 373.355 | -0.0039451
# of Values Extracted = |  |  | 18
# of Values Used in Fit = |  |  | 16
File | Use | Pressure | Sal0 | Sal0 | Diff (Sal0 - Sal_Bot) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 322.829 | 33.2621 | 0.00025526 | -0.00082398 | -0.004224 | -0.0034001 |  | 322.829 | -0.00082398
1 | YES | 228.228 | 33.2147 | 0.00019556 | -0.0081367 | -0.0047462 | 0.0033905 |  | 228.228 | -0.0081367
2 | YES | 223.423 | 30.5322 | 0.00021893 | -0.0025539 | -0.0047728 | -0.0022188 |  | 223.423 | -0.0025539
2 | YES | 203.742 | 30.5197 | 0.00025062 | -0.0075779 | -0.0048814 | 0.0026965 |  | 203.742 | -0.0075779
3 | NO | 191.484 | 30.4348 | 0.0085848 | 0.014364 | -0.0049491 | -0.019313 |  | 174.928 | -0.0096092
3 | YES | 174.928 | 30.3873 | 0.0010604 | -0.0096092 | -0.0050404 | 0.0045688 |  | 259.309 | -0.003973
4 | NO | 276.914 | 30.35 | 0.00024787 | 0.0051479 | -0.0044775 | -0.0096254 |  | 373.355 | -0.0032864
4 | YES | 259.309 | 30.3367 | 0.00021773 | -0.003973 | -0.0045747 | -0.00060165 |  | 300.143 | -0.0049667
5 | YES | 373.355 | 30.3082 | 0.000558 | -0.0032864 | -0.0039451 | -0.00065876 |  | 237.294 | -5.722e-05
5 | YES | 300.143 | 30.2888 | 0.00021379 | -0.0049667 | -0.0043493 | 0.00061748 |  | 199.968 | -0.0083313
6 | YES | 237.294 | 30.2063 | 0.00082336 | -5.722e-05 | -0.0046962 | -0.004639 |  | 327.16 | -0.0047226
6 | YES | 199.968 | 30.1804 | 0.00027588 | -0.0083313 | -0.0049022 | 0.0034291 |  | 300.362 | -0.0082016
7 | YES | 327.16 | 30.2371 | 0.00021112 | -0.0047226 | -0.0042001 | 0.00052248 |  | 148.31 | -0.0018101
7 | YES | 300.362 | 30.2302 | 0.00023113 | -0.0082016 | -0.004348 | 0.0038536 |  | 125.188 | -0.002882
8 | YES | 148.31 | 28.643 | 0.00021184 | -0.0018101 | -0.0051874 | -0.0033773 |  | 276.456 | -0.0051556
8 | YES | 125.188 | 28.6373 | 0.00041807 | -0.002882 | -0.005315 | -0.002433 |  | 250.269 | -0.0021992 | avg | stdev | med
9 | YES | 276.456 | 30.2661 | 0.00021234 | -0.0051556 | -0.00448 | 0.00067555 |  |  |  | -0.004643 | 0.0029608 | -0.0043478
9 | YES | 250.269 | 30.2622 | 0.00021195 | -0.0021992 | -0.0046246 | -0.0024254
YES
YES
YES
YES
NO
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. Sal0
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (Sal1 - Sal_Bot)
Calculation of Linear Least Squares Fit For
(Sal1 - Sal_Bot)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal1 - Sal_Bot), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.053415 |  | X | CALC Y
m= | 1.0093e-05 | 1.1355e-05 |  | Std Dev of Resid |  | 0.0029978 |  | 125.188 | -0.0034613
b= | -0.0047248 | 0.0029024 |  | Resid Sum of Squares |  | 0.00012581 |  | 373.355 | -0.00095665
# of Values Extracted = |  |  | 18
# of Values Used in Fit = |  |  | 16
File | Use | Pressure | Sal1 | Sal1 | Diff (Sal1 - Sal_Bot) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 322.829 | 33.2651 | 0.0011307 | 0.0021629 | -0.0014666 | -0.0036295 |  | 322.829 | 0.0021629
1 | YES | 228.228 | 33.2175 | 0.0012197 | -0.0052795 | -0.0024214 | 0.0028582 |  | 228.228 | -0.0052795
2 | YES | 223.423 | 30.535 | 0.00082938 | 0.00019646 | -0.0024698 | -0.0026663 |  | 223.423 | 0.00019646
2 | YES | 203.742 | 30.5221 | 0.0010988 | -0.0051632 | -0.0026685 | 0.0024947 |  | 203.742 | -0.0051632
3 | NO | 191.484 | 30.4393 | 0.0062833 | 0.018944 | -0.0027922 | -0.021736 |  | 174.928 | -0.0064354
3 | YES | 174.928 | 30.3905 | 0.0015694 | -0.0064354 | -0.0029593 | 0.0034761 |  | 259.309 | -0.0015678
4 | NO | 276.914 | 30.3524 | 0.0010311 | 0.0074673 | -0.00193 | -0.0093973 |  | 373.355 | 0.00074196
4 | YES | 259.309 | 30.3391 | 0.0010865 | -0.0015678 | -0.0021077 | -0.00053983 |  | 300.143 | -0.0027256
5 | YES | 373.355 | 30.3122 | 0.0021532 | 0.00074196 | -0.00095665 | -0.0016986 |  | 237.294 | 0.0023441
5 | YES | 300.143 | 30.2911 | 0.00066675 | -0.0027256 | -0.0016955 | 0.0010301 |  | 199.968 | -0.0062885
6 | YES | 237.294 | 30.2087 | 0.0010744 | 0.0023441 | -0.0023299 | -0.004674 |  | 327.16 | -0.0026207
6 | YES | 199.968 | 30.1824 | 0.001076 | -0.0062885 | -0.0027066 | 0.003582 |  | 300.362 | -0.0060997
7 | YES | 327.16 | 30.2392 | 0.00096284 | -0.0026207 | -0.0014229 | 0.0011978 |  | 148.31 | -0.00012589
7 | YES | 300.362 | 30.2323 | 0.00090927 | -0.0060997 | -0.0016933 | 0.0044064 |  | 125.188 | -0.0014439
8 | YES | 148.31 | 28.6447 | 0.00077351 | -0.00012589 | -0.0032279 | -0.003102 |  | 276.456 | -0.0032101
8 | YES | 125.188 | 28.6388 | 0.00101 | -0.0014439 | -0.0034613 | -0.0020174 |  | 250.269 | -0.00020599
9 | YES | 276.456 | 30.2681 | 0.0010957 | -0.0032101 | -0.0019346 | 0.0012755 |  |  |  | -0.0022326 | 0.0029767 | -0.0020943
9 | YES | 250.269 | 30.2642 | 0.0010173 | -0.00020599 | -0.0021989 | -0.0019929
YES
YES
YES
YES
NO
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. Sal1
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (Sal0 - Sal_Bot) (2)
Calculation of Linear Least Squares Fit For
(Sal0 - Sal_Bot)
3
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal0 - Sal_Bot), Prop=File Pair #
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.043644 |  | X | CALC Y
m= | 0.00022394 | 0.00028016 |  | Std Dev of Resid |  | 0.0029971 |  | 1 | -0.0055807
b= | -0.0058046 | 0.0016351 |  | Resid Sum of Squares |  | 0.00012575 |  | 9 | -0.0037892
# of Values Extracted = |  |  | 18
# of Values Used in Fit = |  |  | 16
File | Use | Pressure | Sal0 | Sal0 | Diff (Sal0 - Sal_Bot) |  |  |  | Fit vs. | File Pair #
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 322.829 | 33.2621 | 0.00025526 | -0.00082398 | -0.0055807 | -0.0047567 |  | 1 | -0.00082398
1 | YES | 228.228 | 33.2147 | 0.00019556 | -0.0081367 | -0.0055807 | 0.0025561 |  | 1 | -0.0081367
2 | YES | 223.423 | 30.5322 | 0.00021893 | -0.0025539 | -0.0053568 | -0.0028028 |  | 2 | -0.0025539
2 | YES | 203.742 | 30.5197 | 0.00025062 | -0.0075779 | -0.0053568 | 0.0022211 |  | 2 | -0.0075779
3 | NO | 191.484 | 30.4348 | 0.0085848 | 0.014364 | -0.0051328 | -0.019497 |  | 3 | -0.0096092
3 | YES | 174.928 | 30.3873 | 0.0010604 | -0.0096092 | -0.0051328 | 0.0044764 |  | 4 | -0.003973
4 | NO | 276.914 | 30.35 | 0.00024787 | 0.0051479 | -0.0049089 | -0.010057 |  | 5 | -0.0032864
4 | YES | 259.309 | 30.3367 | 0.00021773 | -0.003973 | -0.0049089 | -0.00093588 |  | 5 | -0.0049667
5 | YES | 373.355 | 30.3082 | 0.000558 | -0.0032864 | -0.004685 | -0.0013986 |  | 6 | -5.722e-05
5 | YES | 300.143 | 30.2888 | 0.00021379 | -0.0049667 | -0.004685 | 0.00028179 |  | 6 | -0.0083313
6 | YES | 237.294 | 30.2063 | 0.00082336 | -5.722e-05 | -0.004461 | -0.0044038 |  | 7 | -0.0047226
6 | YES | 199.968 | 30.1804 | 0.00027588 | -0.0083313 | -0.004461 | 0.0038703 |  | 7 | -0.0082016
7 | YES | 327.16 | 30.2371 | 0.00021112 | -0.0047226 | -0.0042371 | 0.00048552 |  | 8 | -0.0018101
7 | YES | 300.362 | 30.2302 | 0.00023113 | -0.0082016 | -0.0042371 | 0.0039645 |  | 8 | -0.002882
8 | YES | 148.31 | 28.643 | 0.00021184 | -0.0018101 | -0.0040131 | -0.0022031 |  | 9 | -0.0051556
8 | YES | 125.188 | 28.6373 | 0.00041807 | -0.002882 | -0.0040131 | -0.0011311 |  | 9 | -0.0021992
9 | YES | 276.456 | 30.2661 | 0.00021234 | -0.0051556 | -0.0037892 | 0.0013664
9 | YES | 250.269 | 30.2622 | 0.00021195 | -0.0021992 | -0.0037892 | -0.00159
YES
YES
YES
YES
NO
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. Sal0
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (Sal1 - Sal_Bot) (2)
Calculation of Linear Least Squares Fit For
(Sal1 - Sal_Bot)
3
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal1 - Sal_Bot), Prop=File Pair #
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.0050269 |  | X | CALC Y
m= | 7.641e-05 | 0.00028731 |  | Std Dev of Resid |  | 0.0030735 |  | 1 | -0.0025525
b= | -0.0026289 | 0.0016768 |  | Resid Sum of Squares |  | 0.00013225 |  | 9 | -0.0019412
# of Values Extracted = |  |  | 18
# of Values Used in Fit = |  |  | 16
File | Use | Pressure | Sal1 | Sal1 | Diff (Sal1 - Sal_Bot) |  |  |  | Fit vs. | File Pair #
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 322.829 | 33.2651 | 0.0011307 | 0.0021629 | -0.0025525 | -0.0047155 |  | 1 | 0.0021629
1 | YES | 228.228 | 33.2175 | 0.0012197 | -0.0052795 | -0.0025525 | 0.002727 |  | 1 | -0.0052795
2 | YES | 223.423 | 30.535 | 0.00082938 | 0.00019646 | -0.0024761 | -0.0026726 |  | 2 | 0.00019646
2 | YES | 203.742 | 30.5221 | 0.0010988 | -0.0051632 | -0.0024761 | 0.0026871 |  | 2 | -0.0051632
3 | NO | 191.484 | 30.4393 | 0.0062833 | 0.018944 | -0.0023997 | -0.021343 |  | 3 | -0.0064354
3 | YES | 174.928 | 30.3905 | 0.0015694 | -0.0064354 | -0.0023997 | 0.0040357 |  | 4 | -0.0015678
4 | NO | 276.914 | 30.3524 | 0.0010311 | 0.0074673 | -0.0023233 | -0.0097906 |  | 5 | 0.00074196
4 | YES | 259.309 | 30.3391 | 0.0010865 | -0.0015678 | -0.0023233 | -0.00075545 |  | 5 | -0.0027256
5 | YES | 373.355 | 30.3122 | 0.0021532 | 0.00074196 | -0.0022469 | -0.0029888 |  | 6 | 0.0023441
5 | YES | 300.143 | 30.2911 | 0.00066675 | -0.0027256 | -0.0022469 | 0.00047872 |  | 6 | -0.0062885
6 | YES | 237.294 | 30.2087 | 0.0010744 | 0.0023441 | -0.0021705 | -0.0045146 |  | 7 | -0.0026207
6 | YES | 199.968 | 30.1824 | 0.001076 | -0.0062885 | -0.0021705 | 0.0041181 |  | 7 | -0.0060997
7 | YES | 327.16 | 30.2392 | 0.00096284 | -0.0026207 | -0.0020941 | 0.00052664 |  | 8 | -0.00012589
7 | YES | 300.362 | 30.2323 | 0.00090927 | -0.0060997 | -0.0020941 | 0.0040056 |  | 8 | -0.0014439
8 | YES | 148.31 | 28.6447 | 0.00077351 | -0.00012589 | -0.0020176 | -0.0018918 |  | 9 | -0.0032101
8 | YES | 125.188 | 28.6388 | 0.00101 | -0.0014439 | -0.0020176 | -0.00057379 |  | 9 | -0.00020599
9 | YES | 276.456 | 30.2681 | 0.0010957 | -0.0032101 | -0.0019412 | 0.0012688
9 | YES | 250.269 | 30.2642 | 0.0010173 | -0.00020599 | -0.0019412 | -0.0017352
YES
YES
YES
YES
NO
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. Sal1
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (Sal0 - Sal_Bot) (3)
Calculation of Linear Least Squares Fit For
(Sal0 - Sal_Bot)
2
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal0 - Sal_Bot), Prop=Sal0
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.015918 |  | X | CALC Y
m= | -0.00030523 | 0.00064141 |  | Std Dev of Resid |  | 0.0030402 |  | 28.6373 | -0.0040837
b= | 0.0046573 | 0.019558 |  | Resid Sum of Squares |  | 0.0001294 |  | 33.2621 | -0.0054953
# of Values Extracted = |  |  | 18
# of Values Used in Fit = |  |  | 16
File | Use | Pressure | Sal0 | Sal0 | Diff (Sal0 - Sal_Bot) |  |  |  | Fit vs. | Sal0
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 322.829 | 33.2621 | 0.00025526 | -0.00082398 | -0.0054953 | -0.0046714 |  | 33.2621 | -0.00082398
1 | YES | 228.228 | 33.2147 | 0.00019556 | -0.0081367 | -0.0054809 | 0.0026559 |  | 33.2147 | -0.0081367
2 | YES | 223.423 | 30.5322 | 0.00021893 | -0.0025539 | -0.0046621 | -0.0021082 |  | 30.5322 | -0.0025539
2 | YES | 203.742 | 30.5197 | 0.00025062 | -0.0075779 | -0.0046583 | 0.0029196 |  | 30.5197 | -0.0075779
3 | NO | 191.484 | 30.4348 | 0.0085848 | 0.014364 | -0.0046324 | -0.018997 |  | 30.3873 | -0.0096092
3 | YES | 174.928 | 30.3873 | 0.0010604 | -0.0096092 | -0.0046179 | 0.0049914 |  | 30.3367 | -0.003973
4 | NO | 276.914 | 30.35 | 0.00024787 | 0.0051479 | -0.0046065 | -0.0097544 |  | 30.3082 | -0.0032864
4 | YES | 259.309 | 30.3367 | 0.00021773 | -0.003973 | -0.0046024 | -0.00062941 |  | 30.2888 | -0.0049667
5 | YES | 373.355 | 30.3082 | 0.000558 | -0.0032864 | -0.0045937 | -0.0013074 |  | 30.2063 | -5.722e-05
5 | YES | 300.143 | 30.2888 | 0.00021379 | -0.0049667 | -0.0045878 | 0.00037894 |  | 30.1804 | -0.0083313
6 | YES | 237.294 | 30.2063 | 0.00082336 | -5.722e-05 | -0.0045626 | -0.0045054 |  | 30.2371 | -0.0047226
6 | YES | 199.968 | 30.1804 | 0.00027588 | -0.0083313 | -0.0045547 | 0.0037766 |  | 30.2302 | -0.0082016
7 | YES | 327.16 | 30.2371 | 0.00021112 | -0.0047226 | -0.004572 | 0.00015058 |  | 28.643 | -0.0018101
7 | YES | 300.362 | 30.2302 | 0.00023113 | -0.0082016 | -0.0045699 | 0.0036317 |  | 28.6373 | -0.002882
8 | YES | 148.31 | 28.643 | 0.00021184 | -0.0018101 | -0.0040855 | -0.0022754 |  | 30.2661 | -0.0051556
8 | YES | 125.188 | 28.6373 | 0.00041807 | -0.002882 | -0.0040837 | -0.0012017 |  | 30.2622 | -0.0021992
9 | YES | 276.456 | 30.2661 | 0.00021234 | -0.0051556 | -0.0045809 | 0.00057469
9 | YES | 250.269 | 30.2622 | 0.00021195 | -0.0021992 | -0.0045797 | -0.0023805
YES
YES
YES
YES
NO
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. Sal0
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Main
# Channels= | 3 |  |  |  | COMPARE Version 3.3 | Run at 2010/09/28 10:30:10
| Primary | Secondary |  | Comparison Name
Ref | Pressure | Pressure |  | Pressure - Pressure
Comp 1 | Sal_Bot | Sal0 |  | Sal0 - Sal_Bot
Comp 2 | Sal_Bot | Sal1 |  | Sal1 - Sal_Bot
Average Size: | 1
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | Pressure | Pressure | Pressure | (S-P) | Sal_Bot | Sal0 | Sal0 | (S-P) | Sal_Bot | Sal1 | Sal1 | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
2009-53-0011.mrg | 2009-53-0011.sam | 241 | 322.829 | 322.829 | 0.08106 | 0.00027466 | 33.2629 | 33.2621 | 0.00025526 | -0.00082398 | 33.2629 | 33.2651 | 0.0011307 | 0.0021629
2009-53-0011.mrg | 2009-53-0011.sam | 241 | 228.228 | 228.228 | 0.069209 | 0.00035095 | 33.2228 | 33.2147 | 0.00019556 | -0.0081367 | 33.2228 | 33.2175 | 0.0012197 | -0.0052795
2009-53-0012.mrg | 2009-53-0012.sam | 241 | 223.423 | 223.423 | 0.025915 | 0.00033569 | 30.5348 | 30.5322 | 0.00021893 | -0.0025539 | 30.5348 | 30.535 | 0.00082938 | 0.00019646
2009-53-0012.mrg | 2009-53-0012.sam | 241 | 203.742 | 203.742 | 0.026136 | -0.00016785 | 30.5273 | 30.5197 | 0.00025062 | -0.0075779 | 30.5273 | 30.5221 | 0.0010988 | -0.0051632
2009-53-0013.mrg | 2009-53-0013.sam | 241 | 191.484 | 191.484 | 0.027716 | 3.0518e-05 | 30.4204 | 30.4348 | 0.0085848 | 0.014364 | 30.4204 | 30.4393 | 0.0062833 | 0.018944
2009-53-0013.mrg | 2009-53-0013.sam | 241 | 174.928 | 174.928 | 0.028734 | 0.00024414 | 30.3969 | 30.3873 | 0.0010604 | -0.0096092 | 30.3969 | 30.3905 | 0.0015694 | -0.0064354
2009-53-0014.mrg | 2009-53-0014.sam | 241 | 276.914 | 276.914 | 0.026121 | 9.1553e-05 | 30.3449 | 30.35 | 0.00024787 | 0.0051479 | 30.3449 | 30.3524 | 0.0010311 | 0.0074673
2009-53-0014.mrg | 2009-53-0014.sam | 241 | 259.309 | 259.309 | 0.038342 | 0.00048828 | 30.3407 | 30.3367 | 0.00021773 | -0.003973 | 30.3407 | 30.3391 | 0.0010865 | -0.0015678
2009-53-0015.mrg | 2009-53-0015.sam | 241 | 373.355 | 373.355 | 0.022102 | -0.00027466 | 30.3115 | 30.3082 | 0.000558 | -0.0032864 | 30.3115 | 30.3122 | 0.0021532 | 0.00074196
2009-53-0015.mrg | 2009-53-0015.sam | 241 | 300.143 | 300.143 | 0.021056 | 0.00024414 | 30.2938 | 30.2888 | 0.00021379 | -0.0049667 | 30.2938 | 30.2911 | 0.00066675 | -0.0027256
2009-53-0016.mrg | 2009-53-0016.sam | 241 | 237.294 | 237.294 | 0.076979 | 0.00030518 | 30.2064 | 30.2063 | 0.00082336 | -5.722e-05 | 30.2064 | 30.2087 | 0.0010744 | 0.0023441
2009-53-0016.mrg | 2009-53-0016.sam | 241 | 199.968 | 199.968 | 0.027102 | 3.0518e-05 | 30.1887 | 30.1804 | 0.00027588 | -0.0083313 | 30.1887 | 30.1824 | 0.001076 | -0.0062885
2009-53-0017.mrg | 2009-53-0017.sam | 241 | 327.16 | 327.16 | 0.023484 | 0.00033569 | 30.2418 | 30.2371 | 0.00021112 | -0.0047226 | 30.2418 | 30.2392 | 0.00096284 | -0.0026207
2009-53-0017.mrg | 2009-53-0017.sam | 241 | 300.362 | 300.362 | 0.025169 | -0.00024414 | 30.2384 | 30.2302 | 0.00023113 | -0.0082016 | 30.2384 | 30.2323 | 0.00090927 | -0.0060997
2009-53-0021.mrg | 2009-53-0021.sam | 241 | 148.31 | 148.31 | 0.022682 | -3.0518e-05 | 28.6448 | 28.643 | 0.00021184 | -0.0018101 | 28.6448 | 28.6447 | 0.00077351 | -0.00012589
2009-53-0021.mrg | 2009-53-0021.sam | 241 | 125.188 | 125.188 | 0.02515 | -0.00043487 | 28.6402 | 28.6373 | 0.00041807 | -0.002882 | 28.6402 | 28.6388 | 0.00101 | -0.0014439
2009-53-0022.mrg | 2009-53-0022.sam | 241 | 276.456 | 276.456 | 0.021664 | -0.00036621 | 30.2713 | 30.2661 | 0.00021234 | -0.0051556 | 30.2713 | 30.2681 | 0.0010957 | -0.0032101
2009-53-0022.mrg | 2009-53-0022.sam | 241 | 250.269 | 250.269 | 0.021847 | 0.00021362 | 30.2644 | 30.2622 | 0.00021195 | -0.0021992 | 30.2644 | 30.2642 | 0.0010173 | -0.00020599
Create Fit Sheet