## 2009-64 OXY FINAL
Sample_number | Pressure | new OXY | Flags | Comments
1 | 100 | 0.6816 | c | Poor comparison with CTD - seems low - no known analysis problem, but possible shed wake corruption of sample?
2 | 75 | 3.55
3 | 50 | -99 | e | bubble on probe, overshot endpoint
4 | 40 | 3.335 |  | recalc. after dosimat reset error; OK in compare so flag "b" removed
5 | 30 | 3.7263
6 | 20 | 4.5218
7 | 10 | 5.1903
8 | 5 | 5.3732
9 | 1 | 5.9628
10 | 221 | 5.0199
11 | 200 | 5.0326
12 | 175 | 5.0416
13 | 150 | 5.0892
14 | 125 | 5.0699
15 | 100 | 5.0731
16 | 75 | -99 | e | bubble on probe, overshot endpoint
17 | 50 | 5.0934 | f
18 | 40 | 5.0954
19 | 30 | 5.0983
20 | 20 | 5.1127
21 | 10 | 5.1399 | f
22 | 5 | 5.1589
23 | 0 | 5.2219
24 | 245 | 1.9032
25 | 245 | 1.8138
26 | 200 | 1.7827
27 | 177 | 2.0527
28 | 154 | 2.1895 | f
29 | 126 | 2.5073
30 | 100 | 3.0951
31 | 76 | 3.8327
32 | 50 | 4.6094
33 | 40 | 4.7246
34 | 30 | 5.1807 | f
35 | 20 | 5.661
36 | 10 | 5.5848
37 | 5 | 5.7236
38 | 0 | 5.7548
39 | 216 | 2.0594
40 | 200 | 2.0645
41 | 175 | 2.1204
42 | 150 | 2.3141
43 | 125 | 2.7469 | f
44 | 100 | 3.5269
45 | 75 | 3.6813
46 | 50 | 4.4989
47 | 40 | 4.6931
48 | 30 | 4.877
49 | 20 | -99 | i | Niskin did not fire
50 | 10 | 5.3388 | f
51 | 5 | 5.5932
52 | 0 | 5.8374
53 | 182 | 3.1739 | d | computer crash, value recalc. after 2OT
54 | 175 | 2.4094
55 | 150 | 2.3822 | f
56 | 125 | 2.3972
57 | 100 | 3.0612
58 | 75 | 3.5935
59 | 50 | 4.222
60 | 40 | 4.4781
61 | 30 | 5.0849
62 | 20 | 5.1416 | f
63 | 10 | 5.262
64 | 5 | 5.4058
65 | 0 | 5.3987
66 | 175 | 2.3533
67 | 150 | 2.3436
68 | 125 | 2.384 |  | dup not used, stopper loose
69 | 100 | 2.9763
70 | 75 | 4.2799 |  | stopper possibly popped out; ok in COMPARE so flag "b" removed
71 | 50 | 4.6162
72 | 40 | 4.7898
73 | 30 | 4.8575
74 | 20 | 4.8617 | f
75 | 10 | 5.1984
76 | 5 | 5.2138
77 | 0 | 5.1914
78 | 113 | 3.0484
79 | 100 | 3.1224
80 | 75 | 3.6333
81 | 50 | 4.5823
82 | 40 | 4.6454
83 | 30 | 4.8203
84 | 20 | 4.8516 | f
85 | 10 | 4.8598
86 | 5 | 5.0712
87 | 0 | 5.1231
88 | 120 | 4.0917
89 | 100 | 4.7371
90 | 75 | 4.8438 | f
91 | 50 | 4.8894
92 | 40 | 4.9132
93 | 30 | 5.0949
94 | 20 | 5.2582
95 | 10 | 5.3146
96 | 5 | 5.4044
97 | 0 | 5.4195
98 | 139 | 4.106
99 | 125 | 4.8211
100 | 100 | 4.9674 |  | possible overshot endpoint; ok in COMPARE so flag "b" removed
101 | 75 | 5.0073 |  | possible overshot endpoint; ok in COMPARE so flag "b" removed
102 | 50 | 5.0347
103 | 40 | 5.0605
104 | 30 | 5.0869 |  | possible overshot endpoint; ok in COMPARE so flag "b" removed
105 | 20 | 5.0867 |  | possible overshot endpoint; ok in COMPARE so flag "b" removed
106 | 10 | 5.0908
107 | 5 | 5.0974
108 | 0 | 5.1206 | f
109 | 208 | 5.0513
110 | 200 | 5.0386
111 | 175 | 5.0472
112 | 150 | 5.043
113 | 125 | 5.0369
114 | 100 | 5.0535 | f
115 | 75 | 5.0326
116 | 50 | 5.0308
117 | 40 | 5.0426
118 | 30 | 5.0374
119 | 20 | 5.0205 | f
120 | 10 | 5.0522
121 | 5 | 5.0413
122 | 0 | 5.1033
123 | 167 | 4.0743
124 | 150 | 4.2379
125 | 125 | 4.694 | b | Niskin vent open; ok in COMPARE so flag "d" replaced with "b"
126 | 100 | 4.7717 | f
127 | 75 | 4.8324
128 | 50 | 5.1087
129 | 40 | 5.2598
130 | 30 | 5.5582
131 | 20 | 5.9373 | f
132 | 10 | 6.469
133 | 5 | 6.6759 | b | Niskin vent open; ok in COMPARE so flag "d" replaced with "b"
134 | 0 | 6.7037
135 | 318 | 2.7142
136 | 300 | 2.7091
137 | 250 | 2.7622
138 | 200 | 3.0668
139 | 175 | 3.334 | f
140 | 150 | 3.8526
141 | 125 | 4.3674
142 | 100 | 4.4542
143 | 75 | 4.5128
144 | 50 | 4.4192
145 | 40 | 4.9605
146 | 30 | 5.2896
147 | 20 | 5.6864 |  | dup not used, outlier
148 | 10 | 6.2906
149 | 5 | 6.5674
150 | 0 | 6.6632
151 | 370 | 2.7224
152 | 350 | 2.7242
153 | 300 | 2.8386
154 | 250 | 2.942 | f
155 | 200 | 2.9733
156 | 175 | 3.0244
157 | 150 | 3.1111
158 | 125 | 3.2382
159 | 100 | 3.4287
160 | 75 | 3.9586
161 | 50 | 5.1788
162 | 40 | 5.4436 | f
163 | 30 | 5.795 | b | Niskin vent open; ok in COMPARE so flag "d" replaced with "b"
164 | 20 | 5.9413
165 | 10 | 6.3673
166 | 5 | 6.695
167 | 0 | 6.727
168 | 337 | 2.7681 |  | dup not used, drawn after delay
169 | 300 | 2.8709
170 | 250 | 2.9245
171 | 200 | 3.0456
172 | 175 | 3.1264
173 | 150 | 3.3229
174 | 125 | 3.4734
175 | 100 | 3.7707
176 | 75 | 3.1462
177 | 50 | 3.0984 |  | titration didn't finish properly; ok in COMPARE so flag "b" removed
178 | 40 | 3.1844 | d | had to subtract previous sample titer
179 | 30 | 3.5158
180 | 20 | 4.7194
181 | 10 | 5.7042
182 | 5 | 6.0848
183 | 0 | 6.3723 | f
184 | 272 | 2.7857
185 | 250 | 2.7486
186 | 200 | 3.0344 | f
187 | 175 | 2.9753 |  | bad curve; ok in COMPARE so flag "b" removed
188 | 150 | 3.3227 | f
189 | 125 | 3.7079
190 | 100 | 3.7866
191 | 75 | 3.6934
192 | 50 | 4.1907
193 | 40 | 5.2036
194 | 30 | 5.4663
195 | 20 | 5.7661
196 | 10 | 6.1591
197 | 5 | 6.4453
198 | 0 | 6.8473
199 | 318 | 2.741
200 | 300 | 2.7506
201 | 250 | 2.8251 | f
202 | 200 | 3.1198 | f
203 | 175 | 3.6383 | c | Poor comparison with CTD - possible mis-sample; looks like it might have come from bottle at 175m
204 | 150 | 3.643
205 | 125 | 3.4593 |  | dup not used, bubble in sample
206 | 100 | 3.452
207 | 75 | 3.4998
208 | 50 | 4.9162
209 | 40 | 5.4886
210 | 30 | 6.2918
211 | 20 | 6.4052
212 | 10 | 6.3974
213 | 5 | 6.3794
214 | 0 | 6.455
215 | 189 | 3.0105
216 | 189 | 2.9923
217 | 189 | 3.0021 | f
218 | 176 | 3.0503
219 | 150 | 3.1163
220 | 125 | 3.3133 | f
221 | 100 | 3.3409
222 | 75 | 3.2976 | f
223 | 50 | 5.4284
224 | 40 | 5.88
225 | 30 | 6.1995
226 | 20 | 6.3499
227 | 10 | 6.4918
228 | 5 | 6.5378
229 | 0 | 6.5557
230 | 164 | 2.8704
231 | 150 | 2.8755
232 | 125 | 2.641 | f
233 | 100 | 2.841
234 | 75 | 3.2071
235 | 50 | 5.3226
236 | 40 | 6.1268
237 | 30 | 6.3285 | f
238 | 20 | 6.4396
239 | 10 | 6.507
240 | 5 | 6.5922
241 | 0 | 6.5892
242 | 350 | 2.8886
243 | 350 | 2.8881
244 | 300 | 2.9364
245 | 250 | 2.9148 | f
246 | 200 | 2.967
247 | 175 | 2.8364
248 | 150 | 3.003
249 | 125 | 2.846
250 | 100 | 2.864
251 | 75 | 2.9164
252 | 50 | 5.1361
253 | 40 | 5.6703
254 | 30 | 5.7829 | f
255 | 20 | 5.9086 |  | computer crash; ok in COMPARE so flag "b" removed
256 | 10 | 6.3423 |  | subtracted previous titer after crash; ok in COMPARE so flag "b" removed
257 | 5 | 6.5331
258 | 0 | 6.4933
259 | 313 | 2.971
260 | 300 | 2.8982
261 | 250 | 2.9145 | f
262 | 200 | 2.9124
263 | 175 | 2.8874
264 | 150 | 2.8872
265 | 125 | 2.8711
266 | 100 | 2.8275
267 | 75 | 3.1157
268 | 50 | 4.0107
269 | 40 | 4.1754
270 | 30 | 4.3186 | f
271 | 20 | 4.5132
272 | 10 | 4.8732
273 | 5 | 5.4891
274 | 0 | 5.8053
275 | 119 | 2.916 | f
276 | 119 | 2.9148
277 | 100 | 2.9172
278 | 75 | 2.9083
279 | 50 | 3.289
280 | 40 | 3.6311
281 | 30 | 3.8169
282 | 20 | 3.985
283 | 10 | 4.2414
284 | 5 | 4.8252 | f
285 | 0 | 5.2764

## 2009-64oxygen manual temp
File Name | Zone | LOC:EVENT_NUMBER | LOC:LATITUDE | LOC:LONGITUDE | LOC:WATER DEPTH | Sample_number | Pressure | Oxygen:Dissolved | Thiosulfate_titer | THIO corr. | Flask_Number | Flask_Volume | Blank | Standard | KIO3 Std volume ml | KIO3 Normality | new OXY | Flags | Comments
2009-640001.oxy | UTC | 1 | 48.6567 | -123.4993 | 172 | 1 | 100 | 0.682 | 0.114 | 0.114 | 745 | 130.09 | 0 | 0.717 | 10 | 0.01 | 0.6816
2009-640001.oxy | UTC | 1 | 48.6567 | -123.4993 | 172 | 2 | 75 | 3.538 | 0.577 | 0.575 | 1126 | 127.98 | 0 | 0.717 | 10 | 0.01 | 3.55
not on file | UTC | 1 | 48.6567 | -123.4993 | 172 | 3 | 50 | -99 | [6 empty] | 10 | 0.01 | -99 | e | bubble on probe, overshot endpoint
2009-640001.oxy | UTC | 1 | 48.6567 | -123.4993 | 172 | 4 | 40 | 3.325 | 0.559 | 0.5606 | 1476 | 132.73 | 0 | 0.717 | 10 | 0.01 | 3.335 | b | recalc. after dosimat reset error
2009-640001.oxy | UTC | 1 | 48.6567 | -123.4993 | 172 | 5 | 30 | 3.726 | 0.616 | 0.616 | 1478 | 130.61 | 0 | 0.717 | 10 | 0.01 | 3.7263
2009-640001.oxy | UTC | 1 | 48.6567 | -123.4993 | 172 | 6 | 20 | 4.501 | 0.75 | 0.7534 | 1473 | 131.71 | 0 | 0.717 | 10 | 0.01 | 4.5218
2009-640001.oxy | UTC | 1 | 48.6567 | -123.4993 | 172 | 7 | 10 | 5.178 | 0.859 | 0.861 | 1464 | 131.19 | 0 | 0.717 | 10 | 0.01 | 5.1903
2009-640001.oxy | UTC | 1 | 48.6567 | -123.4993 | 172 | 8 | 5 | 5.361 | 0.891 | 0.893 | 1128 | 131.44 | 0 | 0.717 | 10 | 0.01 | 5.3732
2009-640001.oxy | UTC | 1 | 48.6567 | -123.4993 | 172 | 9 | 1 | 5.945 | 1.016 | 1.019 | 1335 | 135.14 | 0 | 0.717 | 10 | 0.01 | 5.9628
2009-640003.oxy | UTC | 3 | 48.6303 | -123.2458 | 222 | 10 | 221 | 5.008 | 0.849 | 0.851 | 1306 | 134.02 | 0 | 0.717 | 10 | 0.01 | 5.0199
2009-640003.oxy | UTC | 3 | 48.6303 | -123.2458 | 222 | 11 | 200 | 5.021 | 0.844 | 0.846 | 1459 | 132.91 | 0 | 0.717 | 10 | 0.01 | 5.0326
2009-640003.oxy | UTC | 3 | 48.6303 | -123.2458 | 222 | 12 | 175 | 5.019 | 0.882 | 0.886 | 1317 | 138.87 | 0 | 0.717 | 10 | 0.01 | 5.0416
2009-640003.oxy | UTC | 3 | 48.6303 | -123.2458 | 222 | 13 | 150 | 5.077 | 0.863 | 0.865 | 1477 | 134.37 | 0 | 0.717 | 10 | 0.01 | 5.0892
2009-640003.oxy | UTC | 3 | 48.6303 | -123.2458 | 222 | 14 | 125 | 5.056 | 0.832 | 0.8342 | 668 | 130.13 | 0 | 0.717 | 10 | 0.01 | 5.0699
2009-640003.oxy | UTC | 3 | 48.6303 | -123.2458 | 222 | 15 | 100 | 5.062 | 0.879 | 0.881 | 1134 | 137.25 | 0 | 0.717 | 10 | 0.01 | 5.0731
not on file | UTC | 3 | 48.6303 | -123.2458 | 222 | 16 | 75 | -99 | [6 empty] | 10 | 0.01 | -99 | e | bubble on probe, overshot endpoint
2009-640003.oxy | UTC | 3 | 48.6303 | -123.2458 | 222 | 17 | 50 | 5.08 | 0.885 | 0.8864 | 1498 | 137.67 | 0 | 0.717 | 10 | 0.01 | 5.0885
2009-640003.oxy | UTC | 3 | 48.6303 | -123.2458 | 222 | 17 | 50 | 5.067 | 0.853 | 0.8582 | 1485 | 133.09 | 0 | 0.717 | 10 | 0.01 | 5.0983
2009-640003.oxy | UTC | 3 | 48.6303 | -123.2458 | 222 | 18 | 40 | 5.066 | 0.856 | 0.8609 | 1489 | 133.58 | 0 | 0.717 | 10 | 0.01 | 5.0954
2009-640003.oxy | UTC | 3 | 48.6303 | -123.2458 | 222 | 19 | 30 | 5.087 | 0.913 | 0.915 | 3028 | 141.79 | 0 | 0.717 | 10 | 0.01 | 5.0983
2009-640003.oxy | UTC | 3 | 48.6303 | -123.2458 | 222 | 20 | 20 | 5.101 | 0.911 | 0.913 | 3116 | 141.09 | 0 | 0.717 | 10 | 0.01 | 5.1127
2009-640003.oxy | UTC | 3 | 48.6303 | -123.2458 | 222 | 21 | 10 | 5.139 | 0.931 | 0.9317 | 3178 | 143.12 | 0 | 0.717 | 10 | 0.01 | 5.1426
2009-640003.oxy | UTC | 3 | 48.6303 | -123.2458 | 222 | 21 | 10 | 5.126 | 0.922 | 0.924 | 2056 | 142.1 | 0 | 0.717 | 10 | 0.01 | 5.1372
2009-640003.oxy | UTC | 3 | 48.6303 | -123.2458 | 222 | 22 | 5 | 5.138 | 0.931 | 0.9347 | 3061 | 143.13 | 0 | 0.717 | 10 | 0.01 | 5.1589
2009-640003.oxy | UTC | 3 | 48.6303 | -123.2458 | 222 | 23 | 0 | 5.21 | 0.913 | 0.915 | 3207 | 138.48 | 0 | 0.717 | 10 | 0.01 | 5.2219
2009-640007.oxy | UTC | 7 | 48.5148 | -124.7317 | 256 | 24 | 245 | 1.903 | 0.324 | 0.324 | 1306 | 134.02 | 0 | 0.717 | 10 | 0.01 | 1.9032
2009-640007.oxy | UTC | 7 | 48.5148 | -124.7317 | 256 | 25 | 245 | 1.818 | 0.307 | 0.3063 | 1459 | 132.91 | 0 | 0.717 | 10 | 0.01 | 1.8138
2009-640007.oxy | UTC | 7 | 48.5148 | -124.7317 | 256 | 26 | 200 | 1.773 | 0.313 | 0.3147 | 1317 | 138.87 | 0 | 0.717 | 10 | 0.01 | 1.7827
2009-640007.oxy | UTC | 7 | 48.5148 | -124.7317 | 256 | 27 | 177 | 2.04 | 0.348 | 0.3502 | 1477 | 134.37 | 0 | 0.717 | 10 | 0.01 | 2.0527
2009-640007.oxy | UTC | 7 | 48.5148 | -124.7317 | 256 | 28 | 154 | 2.168 | 0.358 | 0.3626 | 668 | 130.13 | 0 | 0.717 | 10 | 0.01 | 2.1962
2009-640007.oxy | UTC | 7 | 48.5148 | -124.7317 | 256 | 28 | 154 | 2.164 | 0.377 | 0.3803 | 1134 | 137.25 | 0 | 0.717 | 10 | 0.01 | 2.1828
2009-640007.oxy | UTC | 7 | 48.5148 | -124.7317 | 256 | 29 | 126 | 2.495 | 0.419 | 0.421 | 1483 | 132.42 | 0 | 0.717 | 10 | 0.01 | 2.5073
2009-640007.oxy | UTC | 7 | 48.5148 | -124.7317 | 256 | 30 | 100 | 3.095 | 0.54 | 0.54 | 1498 | 137.67 | 0 | 0.717 | 10 | 0.01 | 3.0951
2009-640007.oxy | UTC | 7 | 48.5148 | -124.7317 | 256 | 31 | 76 | 3.823 | 0.644 | 0.6457 | 1485 | 133.09 | 0 | 0.717 | 10 | 0.01 | 3.8327
2009-640007.oxy | UTC | 7 | 48.5148 | -124.7317 | 256 | 32 | 50 | 4.598 | 0.777 | 0.779 | 1489 | 133.58 | 0 | 0.717 | 10 | 0.01 | 4.6094
2009-640007.oxy | UTC | 7 | 48.5148 | -124.7317 | 256 | 33 | 40 | 4.718 | 0.847 | 0.8481 | 3028 | 141.79 | 0 | 0.717 | 10 | 0.01 | 4.7246
2009-640007.oxy | UTC | 7 | 48.5148 | -124.7317 | 256 | 34 | 30 | 5.174 | 0.924 | 0.9257 | 3116 | 141.09 | 0 | 0.717 | 10 | 0.01 | 5.184
2009-640007.oxy | UTC | 7 | 48.5148 | -124.7317 | 256 | 34 | 30 | 5.166 | 0.936 | 0.938 | 3178 | 143.12 | 0 | 0.717 | 10 | 0.01 | 5.1775
2009-640007.oxy | UTC | 7 | 48.5148 | -124.7317 | 256 | 35 | 20 | 5.65 | 1.016 | 1.018 | 2056 | 142.1 | 0 | 0.717 | 10 | 0.01 | 5.661
2009-640007.oxy | UTC | 7 | 48.5148 | -124.7317 | 256 | 36 | 10 | 5.575 | 1.01 | 1.0117 | 3061 | 143.13 | 0 | 0.717 | 10 | 0.01 | 5.5848
2009-640007.oxy | UTC | 7 | 48.5148 | -124.7317 | 256 | 37 | 5 | 5.714 | 1.001 | 1.0027 | 3207 | 138.48 | 0 | 0.717 | 10 | 0.01 | 5.7236
2009-640007.oxy | UTC | 7 | 48.5148 | -124.7317 | 256 | 38 | 0 | 5.743 | 0.985 | 0.987 | 3182 | 135.61 | 0 | 0.717 | 10 | 0.01 | 5.7548
2009-640010.oxy | UTC | 10 | 48.4702 | -124.5473 | 225 | 39 | 216 | 2.047 | 0.343 | 0.345 | 2065 | 131.97 | 0 | 0.717 | 10 | 0.01 | 2.0594
2009-640010.oxy | UTC | 10 | 48.4702 | -124.5473 | 225 | 40 | 200 | 2.054 | 0.376 | 0.3779 | 2088 | 144.09 | 0 | 0.717 | 10 | 0.01 | 2.0645
2009-640010.oxy | UTC | 10 | 48.4702 | -124.5473 | 225 | 41 | 175 | 2.118 | 0.354 | 0.3544 | 2000 | 131.69 | 0 | 0.717 | 10 | 0.01 | 2.1204
2009-640010.oxy | UTC | 10 | 48.4702 | -124.5473 | 225 | 42 | 150 | 2.3 | 0.418 | 0.4206 | 2061 | 143.17 | 0 | 0.717 | 10 | 0.01 | 2.3141
2009-640010.oxy | UTC | 10 | 48.4702 | -124.5473 | 225 | 43 | 125 | 2.737 | 0.497 | 0.4979 | 3177 | 143.17 | 0 | 0.717 | 10 | 0.01 | 2.7416
2009-640010.oxy | UTC | 10 | 48.4702 | -124.5473 | 225 | 43 | 125 | 2.734 | 0.471 | 0.4741 | 3184 | 135.88 | 0 | 0.717 | 10 | 0.01 | 2.7521
2009-640010.oxy | UTC | 10 | 48.4702 | -124.5473 | 225 | 44 | 100 | 3.515 | 0.598 | 0.6 | 3133 | 134.34 | 0 | 0.717 | 10 | 0.01 | 3.5269
2009-640010.oxy | UTC | 10 | 48.4702 | -124.5473 | 225 | 45 | 75 | 3.673 | 0.612 | 0.6133 | 3188 | 131.61 | 0 | 0.717 | 10 | 0.01 | 3.6813
2009-640010.oxy | UTC | 10 | 48.4702 | -124.5473 | 225 | 46 | 50 | 4.485 | 0.825 | 0.8275 | 2089 | 145.23 | 0 | 0.717 | 10 | 0.01 | 4.4989
2009-640010.oxy | UTC | 10 | 48.4702 | -124.5473 | 225 | 47 | 40 | 4.683 | 0.797 | 0.7987 | 471 | 134.51 | 0 | 0.717 | 10 | 0.01 | 4.6931
2009-640010.oxy | UTC | 10 | 48.4702 | -124.5473 | 225 | 48 | 30 | 4.863 | 0.836 | 0.8384 | 1490 | 135.87 | 0 | 0.717 | 10 | 0.01 | 4.877
not on file |  | 10 | 48.4702 | -124.5473 | 225 | 49 | 20 | [7 empty] | 10 | 0.01 | -99 | i | Niskin did not fire
2009-640010.oxy | UTC | 10 | 48.4702 | -124.5473 | 225 | 50 | 10 | 5.333 | 0.889 | 0.8899 | 2082 | 131.82 | 0 | 0.717 | 10 | 0.01 | 5.3389
2009-640010.oxy | UTC | 10 | 48.4702 | -124.5473 | 225 | 50 | 10 | 5.321 | 0.942 | 0.9452 | 708 | 139.91 | 0 | 0.717 | 10 | 0.01 | 5.3388
2009-640010.oxy | UTC | 10 | 48.4702 | -124.5473 | 225 | 51 | 5 | 5.584 | 0.951 | 0.9526 | 2090 | 134.67 | 0 | 0.717 | 10 | 0.01 | 5.5932
2009-640010.oxy | UTC | 10 | 48.4702 | -124.5473 | 225 | 52 | 0 | 5.837 | 1.048 | 1.048 | 2027 | 141.88 | 0 | 0.717 | 10 | 0.01 | 5.8374
2009-640013.oxy | UTC | 13 | 48.31 | -124.0678 | 190 | 53 | 182 | 2.372 | 0.578 | 0.58 | 2007 | 144.14 | 0 | 0.717 | 10 | 0.01 | 3.1739 | d | computer crash, value recalc. after 2OT
2009-640013.oxy | UTC | 13 | 48.31 | -124.0678 | 190 | 54 | 175 | 2.392 | 0.433 | 0.4361 | 2015 | 142.61 | 0 | 0.717 | 10 | 0.01 | 2.4094
2009-640013.oxy | UTC | 13 | 48.31 | -124.0678 | 190 | 55 | 150 | 2.366 | 0.403 | 0.4059 | 2035 | 134.24 | 0 | 0.717 | 10 | 0.01 | 2.3836
2009-640013.oxy | UTC | 13 | 48.31 | -124.0678 | 190 | 55 | 150 | 2.36 | 0.429 | 0.4327 | 2032 | 143.19 | 0 | 0.717 | 10 | 0.01 | 2.3807
2009-640013.oxy | UTC | 13 | 48.31 | -124.0678 | 190 | 56 | 125 | 2.392 | 0.435 | 0.4359 | 3109 | 143.26 | 0 | 0.717 | 10 | 0.01 | 2.3972
2009-640013.oxy | UTC | 13 | 48.31 | -124.0678 | 190 | 57 | 100 | 3.047 | 0.507 | 0.5093 | 2055 | 131.34 | 0 | 0.717 | 10 | 0.01 | 3.0612
2009-640013.oxy | UTC | 13 | 48.31 | -124.0678 | 190 | 58 | 75 | 3.585 | 0.634 | 0.6355 | 1497 | 139.6 | 0 | 0.717 | 10 | 0.01 | 3.5935
2009-640013.oxy | UTC | 13 | 48.31 | -124.0678 | 190 | 59 | 50 | 4.22 | 0.771 | 0.7714 | 2064 | 144.25 | 0 | 0.717 | 10 | 0.01 | 4.222
2009-640013.oxy | UTC | 13 | 48.31 | -124.0678 | 190 | 60 | 40 | 4.469 | 0.843 | 0.8448 | 2099 | 148.91 | 0 | 0.717 | 10 | 0.01 | 4.4781
2009-640013.oxy | UTC | 13 | 48.31 | -124.0678 | 190 | 61 | 30 | 5.08 | 0.891 | 0.8919 | 3034 | 138.61 | 0 | 0.717 | 10 | 0.01 | 5.0849
2009-640013.oxy | UTC | 13 | 48.31 | -124.0678 | 190 | 62 | 20 | 5.127 | 0.92 | 0.9221 | 3038 | 141.76 | 0 | 0.717 | 10 | 0.01 | 5.139
2009-640013.oxy | UTC | 13 | 48.31 | -124.0678 | 190 | 62 | 20 | 5.13 | 0.86 | 0.8624 | 3040 | 132.56 | 0 | 0.717 | 10 | 0.01 | 5.1442
2009-640013.oxy | UTC | 13 | 48.31 | -124.0678 | 190 | 63 | 10 | 5.245 | 0.913 | 0.916 | 3052 | 137.59 | 0 | 0.717 | 10 | 0.01 | 5.262
2009-640013.oxy | UTC | 13 | 48.31 | -124.0678 | 190 | 64 | 5 | 5.391 | 0.955 | 0.9576 | 1492 | 139.99 | 0 | 0.717 | 10 | 0.01 | 5.4058
2009-640013.oxy | UTC | 13 | 48.31 | -124.0678 | 190 | 65 | 0 | 5.385 | 0.986 | 0.9885 | 3124 | 144.64 | 0 | 0.717 | 10 | 0.01 | 5.3987
2009-640016.oxy | UTC | 16 | 48.2628 | -123.7185 | 190 | 66 | 175 | 2.337 | 0.424 | 0.4269 | 1298 | 142.91 | 0 | 0.717 | 10 | 0.01 | 2.3533
2009-640016.oxy | UTC | 16 | 48.2628 | -123.7185 | 190 | 67 | 150 | 2.333 | 0.394 | 0.3957 | 1316 | 133.1 | 0 | 0.717 | 10 | 0.01 | 2.3436
2009-640016.oxy | UTC | 16 | 48.2628 | -123.7185 | 190 | 68 | 125 | 2.37 | 0.426 | 0.4285 | 1393 | 141.64 | 0 | 0.717 | 10 | 0.01 | 2.3836
2009-640016.oxy | UTC | 16 | 48.2628 | -123.7185 | 190 | 68 | 125 | 2.386 | 0.407 | 0.4099 | 1402 | 134.45 | 0 | 0.717 | 10 | 0.01 | 2.4034 | b | stopper possibly popped out
2009-640016.oxy | UTC | 16 | 48.2628 | -123.7185 | 190 | 69 | 100 | 2.971 | 0.506 | 0.5069 | 2019 | 134.4 | 0 | 0.717 | 10 | 0.01 | 2.9763
2009-640016.oxy | UTC | 16 | 48.2628 | -123.7185 | 190 | 70 | 75 | 4.268 | 0.703 | 0.705 | 1401 | 130.21 | 0 | 0.717 | 10 | 0.01 | 4.2799 | b | stopper possibly popped out
2009-640016.oxy | UTC | 16 | 48.2628 | -123.7185 | 190 | 71 | 50 | 4.602 | 0.769 | 0.7714 | 1392 | 132.1 | 0 | 0.717 | 10 | 0.01 | 4.6162
2009-640016.oxy | UTC | 16 | 48.2628 | -123.7185 | 190 | 72 | 40 | 4.773 | 0.799 | 0.8018 | 1377 | 132.34 | 0 | 0.717 | 10 | 0.01 | 4.7898
2009-640016.oxy | UTC | 16 | 48.2628 | -123.7185 | 190 | 73 | 30 | 4.838 | 0.84 | 0.8434 | 1300 | 137.21 | 0 | 0.717 | 10 | 0.01 | 4.8575
2009-640016.oxy | UTC | 16 | 48.2628 | -123.7185 | 190 | 74 | 20 | 4.851 | 0.82 | 0.8227 | 1318 | 133.62 | 0 | 0.717 | 10 | 0.01 | 4.8672
2009-640016.oxy | UTC | 16 | 48.2628 | -123.7185 | 190 | 74 | 20 | 4.851 | 0.837 | 0.8378 | 1314 | 136.35 | 0 | 0.717 | 10 | 0.01 | 4.8561
2009-640016.oxy | UTC | 16 | 48.2628 | -123.7185 | 190 | 75 | 10 | 5.173 | 0.949 | 0.9537 | 3160 | 144.91 | 0 | 0.717 | 10 | 0.01 | 5.1984
2009-640016.oxy | UTC | 16 | 48.2628 | -123.7185 | 190 | 76 | 5 | 5.203 | 0.926 | 0.928 | 1491 | 140.64 | 0 | 0.717 | 10 | 0.01 | 5.2138
2009-640016.oxy | UTC | 16 | 48.2628 | -123.7185 | 190 | 77 | 0 | 5.182 | 0.894 | 0.8957 | 1313 | 136.38 | 0 | 0.717 | 10 | 0.01 | 5.1914
2009-640019.oxy | UTC | 19 | 48.2332 | -123.302 | 113 | 78 | 113 | 3.004 | 0.495 | 0.5023 | 745 | 130.09 | 0 | 0.717 | 10 | 0.01 | 3.0484
2009-640019.oxy | UTC | 19 | 48.2332 | -123.302 | 113 | 79 | 100 | 3.11 | 0.504 | 0.506 | 1126 | 127.98 | 0 | 0.717 | 10 | 0.01 | 3.1224
2009-640019.oxy | UTC | 19 | 48.2332 | -123.302 | 113 | 80 | 75 | 3.622 | 0.602 | 0.6038 | 1481 | 131.28 | 0 | 0.717 | 10 | 0.01 | 3.6333
2009-640019.oxy | UTC | 19 | 48.2332 | -123.302 | 113 | 81 | 50 | 4.576 | 0.756 | 0.757 | 1478 | 130.61 | 0 | 0.717 | 10 | 0.01 | 4.5823
2009-640019.oxy | UTC | 19 | 48.2332 | -123.302 | 113 | 82 | 40 | 4.633 | 0.778 | 0.78 | 1476 | 132.73 | 0 | 0.717 | 10 | 0.01 | 4.6454
2009-640019.oxy | UTC | 19 | 48.2332 | -123.302 | 113 | 83 | 30 | 4.808 | 0.801 | 0.803 | 1473 | 131.71 | 0 | 0.717 | 10 | 0.01 | 4.8203
2009-640019.oxy | UTC | 19 | 48.2332 | -123.302 | 113 | 84 | 20 | 4.834 | 0.802 | 0.8029 | 1464 | 131.19 | 0 | 0.717 | 10 | 0.01 | 4.8391
2009-640019.oxy | UTC | 19 | 48.2332 | -123.302 | 113 | 84 | 20 | 4.855 | 0.807 | 0.8086 | 1128 | 131.44 | 0 | 0.717 | 10 | 0.01 | 4.8642
2009-640019.oxy | UTC | 19 | 48.2332 | -123.302 | 113 | 85 | 10 | 4.849 | 0.829 | 0.8309 | 1335 | 135.14 | 0 | 0.717 | 10 | 0.01 | 4.8598
2009-640019.oxy | UTC | 19 | 48.2332 | -123.302 | 113 | 86 | 5 | 5.064 | 0.911 | 0.9123 | 3007 | 142.12 | 0 | 0.717 | 10 | 0.01 | 5.0712
2009-640019.oxy | UTC | 19 | 48.2332 | -123.302 | 113 | 87 | 0 | 5.115 | 0.902 | 0.9035 | 1421 | 139.36 | 0 | 0.717 | 10 | 0.01 | 5.1231
2009-640023.oxy | UTC | 23 | 48.2667 | -123.1665 | 123 | 88 | 120 | 4.086 | 0.746 | 0.7471 | 2007 | 144.14 | 0 | 0.717 | 10 | 0.01 | 4.0917
2009-640023.oxy | UTC | 23 | 48.2667 | -123.1665 | 123 | 89 | 100 | 4.719 | 0.852 | 0.8553 | 2015 | 142.61 | 0 | 0.717 | 10 | 0.01 | 4.7371
2009-640023.oxy | UTC | 23 | 48.2667 | -123.1665 | 123 | 90 | 75 | 4.821 | 0.874 | 0.8765 | 2032 | 143.19 | 0 | 0.717 | 10 | 0.01 | 4.8348
2009-640023.oxy | UTC | 23 | 48.2667 | -123.1665 | 123 | 90 | 75 | 4.828 | 0.82 | 0.8241 | 2035 | 134.24 | 0 | 0.717 | 10 | 0.01 | 4.8527
2009-640023.oxy | UTC | 23 | 48.2667 | -123.1665 | 123 | 91 | 50 | 4.874 | 0.884 | 0.8868 | 3109 | 143.26 | 0 | 0.717 | 10 | 0.01 | 4.8894
2009-640023.oxy | UTC | 23 | 48.2667 | -123.1665 | 123 | 92 | 40 | 4.901 | 0.814 | 0.8161 | 2055 | 131.34 | 0 | 0.717 | 10 | 0.01 | 4.9132
2009-640023.oxy | UTC | 23 | 48.2667 | -123.1665 | 123 | 93 | 30 | 5.089 | 0.899 | 0.9001 | 1497 | 139.6 | 0 | 0.717 | 10 | 0.01 | 5.0949
2009-640023.oxy | UTC | 23 | 48.2667 | -123.1665 | 123 | 94 | 20 | 5.23 | 0.955 | 0.9602 | 2064 | 144.25 | 0 | 0.717 | 10 | 0.01 | 5.2582
2009-640023.oxy | UTC | 23 | 48.2667 | -123.1665 | 123 | 95 | 10 | 5.303 | 1 | 1.0022 | 2099 | 148.91 | 0 | 0.717 | 10 | 0.01 | 5.3146
2009-640023.oxy | UTC | 23 | 48.2667 | -123.1665 | 123 | 96 | 5 | 5.388 | 0.945 | 0.9478 | 3034 | 138.61 | 0 | 0.717 | 10 | 0.01 | 5.4044
2009-640023.oxy | UTC | 23 | 48.2667 | -123.1665 | 123 | 97 | 0 | 5.407 | 0.97 | 0.9723 | 3038 | 141.76 | 0 | 0.717 | 10 | 0.01 | 5.4195
2009-640026.oxy | UTC | 26 | 48.3797 | -122.0417 | 148 | 98 | 139 | 4.089 | 0.673 | 0.6758 | 745 | 130.09 | 0 | 0.717 | 10 | 0.01 | 4.106
2009-640026.oxy | UTC | 26 | 48.3797 | -122.0417 | 148 | 99 | 125 | 4.814 | 0.779 | 0.7801 | 1126 | 127.98 | 0 | 0.717 | 10 | 0.01 | 4.8211
2009-640026.oxy | UTC | 26 | 48.3797 | -122.0417 | 148 | 100 | 100 | 4.981 | 0.827 | 0.8247 | 1481 | 131.28 | 0 | 0.717 | 10 | 0.01 | 4.9674 | b | possible overshot endpoint
2009-640026.oxy | UTC | 26 | 48.3797 | -122.0417 | 148 | 101 | 75 | 5.013 | 0.828 | 0.827 | 1478 | 130.61 | 0 | 0.717 | 10 | 0.01 | 5.0073 | b | possible overshot endpoint
2009-640026.oxy | UTC | 26 | 48.3797 | -122.0417 | 148 | 102 | 50 | 5.022 | 0.843 | 0.8452 | 1476 | 132.73 | 0 | 0.717 | 10 | 0.01 | 5.0347
2009-640026.oxy | UTC | 26 | 48.3797 | -122.0417 | 148 | 103 | 40 | 5.037 | 0.839 | 0.8429 | 1473 | 131.71 | 0 | 0.717 | 10 | 0.01 | 5.0605
2009-640026.oxy | UTC | 26 | 48.3797 | -122.0417 | 148 | 104 | 30 | 5.063 | 0.84 | 0.8439 | 1464 | 131.19 | 0 | 0.717 | 10 | 0.01 | 5.0869 | b | possible overshot endpoint
2009-640026.oxy | UTC | 26 | 48.3797 | -122.0417 | 148 | 105 | 20 | 5.096 | 0.847 | 0.8455 | 1128 | 131.44 | 0 | 0.717 | 10 | 0.01 | 5.0867 | b | possible overshot endpoint
2009-640026.oxy | UTC | 26 | 48.3797 | -122.0417 | 148 | 106 | 10 | 5.077 | 0.868 | 0.8703 | 1335 | 135.14 | 0 | 0.717 | 10 | 0.01 | 5.0908
2009-640026.oxy | UTC | 26 | 48.3797 | -122.0417 | 148 | 107 | 5 | 5.086 | 0.915 | 0.917 | 3007 | 142.12 | 0 | 0.717 | 10 | 0.01 | 5.0974
2009-640026.oxy | UTC | 26 | 48.3797 | -122.0417 | 148 | 108 | 0 | 5.103 | 0.9 | 0.9027 | 1421 | 139.36 | 0 | 0.717 | 10 | 0.01 | 5.1186
2009-640026.oxy | UTC | 26 | 48.3797 | -122.0417 | 148 | 108 | 0 | 5.116 | 0.932 | 0.9332 | 2060 | 143.9 | 0 | 0.717 | 10 | 0.01 | 5.1226
2009-640031.oxy | UTC | 31 | 48.775 | -123.0248 | 216 | 109 | 208 | 5.041 | 0.92 | 0.9218 | 2007 | 144.14 | 0 | 0.717 | 10 | 0.01 | 5.0513
2009-640031.oxy | UTC | 31 | 48.775 | -123.0248 | 216 | 110 | 200 | 5.024 | 0.907 | 0.9096 | 2015 | 142.61 | 0 | 0.717 | 10 | 0.01 | 5.0386
2009-640031.oxy | UTC | 31 | 48.775 | -123.0248 | 216 | 111 | 175 | 5.042 | 0.914 | 0.9149 | 2032 | 143.19 | 0 | 0.717 | 10 | 0.01 | 5.0472
2009-640031.oxy | UTC | 31 | 48.775 | -123.0248 | 216 | 112 | 150 | 5.029 | 0.912 | 0.9146 | 3109 | 143.26 | 0 | 0.717 | 10 | 0.01 | 5.043
2009-640031.oxy | UTC | 31 | 48.775 | -123.0248 | 216 | 113 | 125 | 5.029 | 0.854 | 0.8553 | 2035 | 134.24 | 0 | 0.717 | 10 | 0.01 | 5.0369
2009-640031.oxy | UTC | 31 | 48.775 | -123.0248 | 216 | 114 | 100 | 5.043 | 0.891 | 0.8919 | 1497 | 139.6 | 0 | 0.717 | 10 | 0.01 | 5.0484
2009-640031.oxy | UTC | 31 | 48.775 | -123.0248 | 216 | 114 | 100 | 5.057 | 0.84 | 0.8402 | 2055 | 131.34 | 0 | 0.717 | 10 | 0.01 | 5.0587
2009-640031.oxy | UTC | 31 | 48.775 | -123.0248 | 216 | 115 | 75 | 5.021 | 0.917 | 0.9191 | 2064 | 144.25 | 0 | 0.717 | 10 | 0.01 | 5.0326
2009-640031.oxy | UTC | 31 | 48.775 | -123.0248 | 216 | 116 | 50 | 5.021 | 0.947 | 0.9488 | 2099 | 148.91 | 0 | 0.717 | 10 | 0.01 | 5.0308
2009-640031.oxy | UTC | 31 | 48.775 | -123.0248 | 216 | 117 | 40 | 5.028 | 0.882 | 0.8845 | 3034 | 138.61 | 0 | 0.717 | 10 | 0.01 | 5.0426
2009-640031.oxy | UTC | 31 | 48.775 | -123.0248 | 216 | 118 | 30 | 5.021 | 0.901 | 0.9039 | 3038 | 141.76 | 0 | 0.717 | 10 | 0.01 | 5.0374
2009-640031.oxy | UTC | 31 | 48.775 | -123.0248 | 216 | 119 | 20 | 5.016 | 0.841 | 0.8442 | 3040 | 132.56 | 0 | 0.717 | 10 | 0.01 | 5.0353
2009-640031.oxy | UTC | 31 | 48.775 | -123.0248 | 216 | 119 | 20 | 4.997 | 0.87 | 0.8715 | 3052 | 137.59 | 0 | 0.717 | 10 | 0.01 | 5.0057
2009-640031.oxy | UTC | 31 | 48.775 | -123.0248 | 216 | 120 | 10 | 5.04 | 0.893 | 0.8951 | 1492 | 139.99 | 0 | 0.717 | 10 | 0.01 | 5.0522
2009-640031.oxy | UTC | 31 | 48.775 | -123.0248 | 216 | 121 | 5 | 5.029 | 0.921 | 0.9232 | 3124 | 144.64 | 0 | 0.717 | 10 | 0.01 | 5.0413
2009-640031.oxy | UTC | 31 | 48.775 | -123.0248 | 216 | 122 | 0 | 5.084 | 0.891 | 0.8944 | 3057 | 138.5 | 0 | 0.717 | 10 | 0.01 | 5.1033
2009-640039.oxy | UTC | 39 | 48.858 | -123.178 | 170 | 123 | 167 | 4.058 | 0.668 | 0.6706 | 745 | 130.09 | 0 | 0.717 | 10 | 0.01 | 4.0743
2009-640039.oxy | UTC | 39 | 48.858 | -123.178 | 170 | 124 | 150 | 4.219 | 0.683 | 0.686 | 1126 | 127.98 | 0 | 0.717 | 10 | 0.01 | 4.2379
2009-640039.oxy | UTC | 39 | 48.858 | -123.178 | 170 | 125 | 125 | 4.673 | 0.772 | 0.7754 | 1478 | 130.61 | 0 | 0.717 | 10 | 0.01 | 4.694 | d | Niskin vent open
2009-640039.oxy | UTC | 39 | 48.858 | -123.178 | 170 | 126 | 100 | 4.764 | 0.791 | 0.7923 | 1481 | 131.28 | 0 | 0.717 | 10 | 0.01 | 4.7717
2009-640039.oxy | UTC | 39 | 48.858 | -123.178 | 170 | 126 | 100 | 4.759 | 0.799 | 0.8012 | 1476 | 132.73 | 0 | 0.717 | 10 | 0.01 | 4.772
2009-640039.oxy | UTC | 39 | 48.858 | -123.178 | 170 | 127 | 75 | 4.82 | 0.803 | 0.805 | 1473 | 131.71 | 0 | 0.717 | 10 | 0.01 | 4.8324
2009-640039.oxy | UTC | 39 | 48.858 | -123.178 | 170 | 128 | 50 | 5.1 | 0.846 | 0.8475 | 1464 | 131.19 | 0 | 0.717 | 10 | 0.01 | 5.1087
2009-640039.oxy | UTC | 39 | 48.858 | -123.178 | 170 | 129 | 40 | 5.222 | 0.868 | 0.8742 | 1128 | 131.44 | 0 | 0.717 | 10 | 0.01 | 5.2598
2009-640039.oxy | UTC | 39 | 48.858 | -123.178 | 170 | 130 | 30 | 5.546 | 0.948 | 0.95 | 1335 | 135.14 | 0 | 0.717 | 10 | 0.01 | 5.5582
2009-640039.oxy | UTC | 39 | 48.858 | -123.178 | 170 | 131 | 20 | 5.928 | 1.066 | 1.0686 | 3007 | 142.12 | 0 | 0.717 | 10 | 0.01 | 5.9421
2009-640039.oxy | UTC | 39 | 48.858 | -123.178 | 170 | 131 | 20 | 5.916 | 1.043 | 1.0459 | 1421 | 139.36 | 0 | 0.717 | 10 | 0.01 | 5.9325
2009-640039.oxy | UTC | 39 | 48.858 | -123.178 | 170 | 132 | 10 | 6.453 | 1.175 | 1.1779 | 2060 | 143.9 | 0 | 0.717 | 10 | 0.01 | 6.469
2009-640039.oxy | UTC | 39 | 48.858 | -123.178 | 170 | 133 | 5 | 6.675 | 1.209 | 1.2091 | 3104 | 143.15 | 0 | 0.717 | 10 | 0.01 | 6.6759 | d | Niskin vent open
2009-640039.oxy | UTC | 39 | 48.858 | -123.178 | 170 | 134 | 0 | 6.679 | 1.174 | 1.1784 | 3069 | 138.99 | 0 | 0.717 | 10 | 0.01 | 6.7037
2009-640041.oxy | UTC | 41 | 49.0288 | -123.4383 | 322 | 135 | 318 | 2.684 | 0.449 | 0.454 | 2065 | 131.97 | 0 | 0.717 | 10 | 0.01 | 2.7142
2009-640041.oxy | UTC | 41 | 49.0288 | -123.4383 | 322 | 136 | 300 | 2.697 | 0.493 | 0.4952 | 2088 | 144.09 | 0 | 0.717 | 10 | 0.01 | 2.7091
2009-640041.oxy | UTC | 41 | 49.0288 | -123.4383 | 322 | 137 | 250 | 2.738 | 0.457 | 0.461 | 2000 | 131.69 | 0 | 0.717 | 10 | 0.01 | 2.7622
2009-640041.oxy | UTC | 41 | 49.0288 | -123.4383 | 322 | 138 | 200 | 3.041 | 0.552 | 0.5567 | 2061 | 143.17 | 0 | 0.717 | 10 | 0.01 | 3.0668
2009-640041.oxy | UTC | 41 | 49.0288 | -123.4383 | 322 | 139 | 175 | 3.306 | 0.6 | 0.6037 | 3177 | 143.17 | 0 | 0.717 | 10 | 0.01 | 3.3268
2009-640041.oxy | UTC | 41 | 49.0288 | -123.4383 | 322 | 139 | 175 | 3.323 | 0.572 | 0.5751 | 3184 | 135.88 | 0 | 0.717 | 10 | 0.01 | 3.3411
2009-640041.oxy | UTC | 41 | 49.0288 | -123.4383 | 322 | 140 | 150 | 3.84 | 0.653 | 0.6552 | 3133 | 134.34 | 0 | 0.717 | 10 | 0.01 | 3.8526
2009-640041.oxy | UTC | 41 | 49.0288 | -123.4383 | 322 | 141 | 125 | 4.348 | 0.724 | 0.7272 | 3188 | 131.61 | 0 | 0.717 | 10 | 0.01 | 4.3674
2009-640041.oxy | UTC | 41 | 49.0288 | -123.4383 | 322 | 142 | 100 | 4.436 | 0.816 | 0.8193 | 2089 | 145.23 | 0 | 0.717 | 10 | 0.01 | 4.4542
2009-640041.oxy | UTC | 41 | 49.0288 | -123.4383 | 322 | 143 | 75 | 4.495 | 0.765 | 0.7681 | 471 | 134.51 | 0 | 0.717 | 10 | 0.01 | 4.5128
2009-640041.oxy | UTC | 41 | 49.0288 | -123.4383 | 322 | 144 | 50 | 4.402 | 0.757 | 0.7599 | 1490 | 135.87 | 0 | 0.717 | 10 | 0.01 | 4.4192
2009-640041.oxy | UTC | 41 | 49.0288 | -123.4383 | 322 | 145 | 40 | 4.94 | 0.888 | 0.8916 | 2068 | 141.99 | 0 | 0.717 | 10 | 0.01 | 4.9605
2009-640041.oxy | UTC | 41 | 49.0288 | -123.4383 | 322 | 146 | 30 | 5.267 | 0.878 | 0.8817 | 2082 | 131.82 | 0 | 0.717 | 10 | 0.01 | 5.2896
2009-640041.oxy | UTC | 41 | 49.0288 | -123.4383 | 322 | 147 | 20 | 5.672 | 1.004 | 1.0066 | 708 | 139.91 | 0 | 0.717 | 10 | 0.01 | 5.6864
2009-640041.oxy | UTC | 41 | 49.0288 | -123.4383 | 322 | 147 | 20 | 6.243 | 1.063 | 1.07 | 2090 | 134.67 | 0 | 0.717 | 10 | 0.01 | 6.2841 | c | overshot endpoint, sample possibly drawn from wrong Niskin?
2009-640041.oxy | UTC | 41 | 49.0288 | -123.4383 | 322 | 148 | 10 | 6.278 | 1.127 | 1.1292 | 2027 | 141.88 | 0 | 0.717 | 10 | 0.01 | 6.2906
2009-640041.oxy | UTC | 41 | 49.0288 | -123.4383 | 322 | 149 | 5 | 6.553 | 1.174 | 1.1766 | 2073 | 141.62 | 0 | 0.717 | 10 | 0.01 | 6.5674
2009-640041.oxy | UTC | 41 | 49.0288 | -123.4383 | 322 | 150 | 0 | 6.639 | 1.106 | 1.1101 | 3190 | 131.82 | 0 | 0.717 | 10 | 0.01 | 6.6632
2009-640045.oxy | UTC | 45 | 49.1628 | -123.5488 | 374 | 151 | 370 | 2.718 | 0.497 | 0.4978 | 2007 | 144.14 | 0 | 0.717 | 10 | 0.01 | 2.7224
2009-640045.oxy | UTC | 45 | 49.1628 | -123.5488 | 374 | 152 | 350 | 2.709 | 0.49 | 0.4928 | 2015 | 142.61 | 0 | 0.717 | 10 | 0.01 | 2.7242
2009-640045.oxy | UTC | 45 | 49.1628 | -123.5488 | 374 | 153 | 300 | 2.83 | 0.514 | 0.5155 | 2032 | 143.19 | 0 | 0.717 | 10 | 0.01 | 2.8386
2009-640045.oxy | UTC | 45 | 49.1628 | -123.5488 | 374 | 154 | 250 | 2.923 | 0.531 | 0.5339 | 3109 | 143.26 | 0 | 0.717 | 10 | 0.01 | 2.9389
2009-640045.oxy | UTC | 45 | 49.1628 | -123.5488 | 374 | 154 | 250 | 2.939 | 0.5 | 0.501 | 2035 | 134.24 | 0 | 0.717 | 10 | 0.01 | 2.9451
2009-640045.oxy | UTC | 45 | 49.1628 | -123.5488 | 374 | 155 | 200 | 2.967 | 0.525 | 0.5262 | 1497 | 139.6 | 0 | 0.717 | 10 | 0.01 | 2.9733
2009-640045.oxy | UTC | 45 | 49.1628 | -123.5488 | 374 | 156 | 175 | 3.023 | 0.503 | 0.5032 | 2055 | 131.34 | 0 | 0.717 | 10 | 0.01 | 3.0244
2009-640045.oxy | UTC | 45 | 49.1628 | -123.5488 | 374 | 157 | 150 | 3.1 | 0.567 | 0.569 | 2064 | 144.25 | 0 | 0.717 | 10 | 0.01 | 3.1111
2009-640045.oxy | UTC | 45 | 49.1628 | -123.5488 | 374 | 158 | 125 | 3.236 | 0.611 | 0.6115 | 2099 | 148.91 | 0 | 0.717 | 10 | 0.01 | 3.2382
2009-640045.oxy | UTC | 45 | 49.1628 | -123.5488 | 374 | 159 | 100 | 3.422 | 0.601 | 0.6021 | 3034 | 138.61 | 0 | 0.717 | 10 | 0.01 | 3.4287
2009-640045.oxy | UTC | 45 | 49.1628 | -123.5488 | 374 | 160 | 75 | 3.949 | 0.709 | 0.7108 | 3038 | 141.76 | 0 | 0.717 | 10 | 0.01 | 3.9586
2009-640045.oxy | UTC | 45 | 49.1628 | -123.5488 | 374 | 161 | 50 | 5.166 | 0.866 | 0.8682 | 3040 | 132.56 | 0 | 0.717 | 10 | 0.01 | 5.1788
2009-640045.oxy | UTC | 45 | 49.1628 | -123.5488 | 374 | 162 | 40 | 5.446 | 0.948 | 0.9482 | 3052 | 137.59 | 0 | 0.717 | 10 | 0.01 | 5.4474
2009-640045.oxy | UTC | 45 | 49.1628 | -123.5488 | 374 | 162 | 40 | 5.442 | 0.964 | 0.9636 | 1492 | 139.99 | 0 | 0.717 | 10 | 0.01 | 5.4398
2009-640045.oxy | UTC | 45 | 49.1628 | -123.5488 | 374 | 163 | 30 | 5.79 | 1.06 | 1.0609 | 3124 | 144.64 | 0 | 0.717 | 10 | 0.01 | 5.795 | d | Niskin vent open
2009-640045.oxy | UTC | 45 | 49.1628 | -123.5488 | 374 | 164 | 20 | 5.942 | 1.041 | 1.0409 | 3057 | 138.5 | 0 | 0.717 | 10 | 0.01 | 5.9413
2009-640045.oxy | UTC | 45 | 49.1628 | -123.5488 | 374 | 165 | 10 | 6.368 | 1.165 | 1.1648 | 3098 | 144.56 | 0 | 0.717 | 10 | 0.01 | 6.3673
2009-640045.oxy | UTC | 45 | 49.1628 | -123.5488 | 374 | 166 | 5 | 6.683 | 1.21 | 1.2122 | 2051 | 143.11 | 0 | 0.717 | 10 | 0.01 | 6.695
2009-640045.oxy | UTC | 45 | 49.1628 | -123.5488 | 374 | 167 | 0 | 6.728 | 1.208 | 1.2079 | 3164 | 141.94 | 0 | 0.717 | 10 | 0.01 | 6.727
2009-640048.oxy | UTC | 48 | 49.3178 | -123.799 | 342 | 168 | 337 | 2.746 | 0.453 | 0.4544 | 745 | 130.09 | 0 | 0.718 | 10 | 0.010056 | 2.7681
2009-640048.oxy | UTC | 48 | 49.3178 | -123.799 | 342 | 168 | 337 | 2.779 | 0.451 | 0.4522 | 1126 | 127.98 | 0 | 0.718 | 10 | 0.010056 | 2.8008 | b | dup drawn after all other Niskins samples-delay
2009-640048.oxy | UTC | 48 | 49.3178 | -123.799 | 342 | 169 | 300 | 2.844 | 0.471 | 0.4731 | 1478 | 130.61 | 0 | 0.718 | 10 | 0.010056 | 2.8709
2009-640048.oxy | UTC | 48 | 49.3178 | -123.799 | 342 | 170 | 250 | 2.895 | 0.482 | 0.4844 | 1481 | 131.28 | 0 | 0.718 | 10 | 0.010056 | 2.9245
2009-640048.oxy | UTC | 48 | 49.3178 | -123.799 | 342 | 171 | 200 | 3.018 | 0.508 | 0.51 | 1476 | 132.73 | 0 | 0.718 | 10 | 0.010056 | 3.0456
2009-640048.oxy | UTC | 48 | 49.3178 | -123.799 | 342 | 172 | 175 | 3.09 | 0.516 | 0.5194 | 1473 | 131.71 | 0 | 0.718 | 10 | 0.010056 | 3.1264
2009-640048.oxy | UTC | 48 | 49.3178 | -123.799 | 342 | 173 | 150 | 3.29 | 0.547 | 0.5497 | 1464 | 131.19 | 0 | 0.718 | 10 | 0.010056 | 3.3229
2009-640048.oxy | UTC | 48 | 49.3178 | -123.799 | 342 | 174 | 125 | 3.444 | 0.59 | 0.592 | 1335 | 135.14 | 0 | 0.718 | 10 | 0.010056 | 3.4734
2009-640048.oxy | UTC | 48 | 49.3178 | -123.799 | 342 | 175 | 100 | 3.742 | 0.623 | 0.6247 | 1128 | 131.44 | 0 | 0.718 | 10 | 0.010056 | 3.7707
2009-640048.oxy | UTC | 48 | 49.3178 | -123.799 | 342 | 176 | 75 | 3.124 | 0.568 | 0.5691 | 3100 | 143.28 | 0 | 0.718 | 10 | 0.010056 | 3.1462
not on file | UTC | 48 | 49.3178 | -123.799 | 342 | 177 | 50 | 3.097 | 0.547 | 0.545 | 1421 | 139.36 | 0 | 0.718 | 10 | 0.010056 | 3.0984 | b | titration didn't finish properly
2009-640048.oxy | UTC | 48 | 49.3178 | -123.799 | 342 | 178 | 40 | 6.228 | 1.135 | 0.5785 | 2060 | 143.9 | 0 | 0.718 | 10 | 0.010056 | 3.1844 | d | had to subtract previous sample titer
2009-640048.oxy | UTC | 48 | 49.3178 | -123.799 | 342 | 179 | 30 | 3.483 | 0.582 | 0.5845 | 3204 | 131.86 | 0 | 0.718 | 10 | 0.010056 | 3.5158
2009-640048.oxy | UTC | 48 | 49.3178 | -123.799 | 342 | 180 | 20 | 4.686 | 0.85 | 0.8518 | 3104 | 143.15 | 0 | 0.718 | 10 | 0.010056 | 4.7194
2009-640048.oxy | UTC | 48 | 49.3178 | -123.799 | 342 | 181 | 10 | 5.661 | 1.015 | 1.0176 | 3107 | 141.57 | 0 | 0.718 | 10 | 0.010056 | 5.7042
2009-640048.oxy | UTC | 48 | 49.3178 | -123.799 | 342 | 182 | 5 | 6.037 | 1.071 | 1.0741 | 3119 | 140.12 | 0 | 0.718 | 10 | 0.010056 | 6.0848
2009-640048.oxy | UTC | 48 | 49.3178 | -123.799 | 342 | 183 | 0 | 6.322 | 1.076 | 1.0788 | 3200 | 134.5 | 0 | 0.718 | 10 | 0.010056 | 6.3707
2009-640048.oxy | UTC | 48 | 49.3178 | -123.799 | 342 | 183 | 0 | 6.33 | 1.081 | 1.083 | 3191 | 134.95 | 0 | 0.718 | 10 | 0.010056 | 6.3739
2009-640052.oxy | UTC | 52 | 49.4018 | -124.1553 | 276 | 184 | 272 | 2.765 | 0.506 | 0.5072 | 2007 | 144.14 | 0 | 0.718 | 10 | 0.010056 | 2.7857
2009-640052.oxy | UTC | 52 | 49.4018 | -124.1553 | 276 | 185 | 250 | 2.723 | 0.493 | 0.4951 | 2015 | 142.61 | 0 | 0.718 | 10 | 0.010056 | 2.7486
2009-640052.oxy | UTC | 52 | 49.4018 | -124.1553 | 276 | 186 | 200 | 3.021 | 0.549 | 0.5503 | 2032 | 143.19 | 0 | 0.718 | 10 | 0.010056 | 3.0438
2009-640052.oxy | UTC | 52 | 49.4018 | -124.1553 | 276 | 186 | 200 | 2.998 | 0.545 | 0.5472 | 3109 | 143.26 | 0 | 0.718 | 10 | 0.010056 | 3.0251
2009-640052.oxy | UTC | 52 | 49.4018 | -124.1553 | 276 | 187 | 175 | 2.996 | 0.51 | 0.504 | 2035 | 134.24 | 0 | 0.718 | 10 | 0.010056 | 2.9753 | b | bad curve
2009-640052.oxy | UTC | 52 | 49.4018 | -124.1553 | 276 | 188 | 150 | 3.293 | 0.583 | 0.5868 | 1497 | 139.6 | 0 | 0.718 | 10 | 0.010056 | 3.3312
2009-640052.oxy | UTC | 52 | 49.4018 | -124.1553 | 276 | 188 | 150 | 3.292 | 0.548 | 0.5489 | 2055 | 131.34 | 0 | 0.718 | 10 | 0.010056 | 3.3142
2009-640052.oxy | UTC | 52 | 49.4018 | -124.1553 | 276 | 189 | 125 | 3.684 | 0.674 | 0.6749 | 2064 | 144.25 | 0 | 0.718 | 10 | 0.010056 | 3.7079
2009-640052.oxy | UTC | 52 | 49.4018 | -124.1553 | 276 | 190 | 100 | 3.759 | 0.71 | 0.7117 | 2099 | 148.91 | 0 | 0.718 | 10 | 0.010056 | 3.7866
2009-640052.oxy | UTC | 52 | 49.4018 | -124.1553 | 276 | 191 | 75 | 3.665 | 0.644 | 0.6457 | 3034 | 138.61 | 0 | 0.718 | 10 | 0.010056 | 3.6934
2009-640052.oxy | UTC | 52 | 49.4018 | -124.1553 | 276 | 192 | 50 | 4.152 | 0.746 | 0.7492 | 3038 | 141.76 | 0 | 0.718 | 10 | 0.010056 | 4.1907
2009-640052.oxy | UTC | 52 | 49.4018 | -124.1553 | 276 | 193 | 40 | 5.167 | 0.867 | 0.8687 | 3040 | 132.56 | 0 | 0.718 | 10 | 0.010056 | 5.2036
2009-640052.oxy | UTC | 52 | 49.4018 | -124.1553 | 276 | 194 | 30 | 5.424 | 0.945 | 0.9475 | 3052 | 137.59 | 0 | 0.718 | 10 | 0.010056 | 5.4663
2009-640052.oxy | UTC | 52 | 49.4018 | -124.1553 | 276 | 195 | 20 | 5.726 | 1.015 | 1.017 | 1492 | 139.99 | 0 | 0.718 | 10 | 0.010056 | 5.7661
2009-640052.oxy | UTC | 52 | 49.4018 | -124.1553 | 276 | 196 | 10 | 6.119 | 1.121 | 1.1227 | 3124 | 144.64 | 0 | 0.718 | 10 | 0.010056 | 6.1591
2009-640052.oxy | UTC | 52 | 49.4018 | -124.1553 | 276 | 197 | 5 | 6.4 | 1.122 | 1.1243 | 3057 | 138.5 | 0 | 0.718 | 10 | 0.010056 | 6.4453
2009-640052.oxy | UTC | 52 | 49.4018 | -124.1553 | 276 | 198 | 0 | 6.806 | 1.246 | 1.2472 | 3098 | 144.56 | 0 | 0.718 | 10 | 0.010056 | 6.8473
2009-640055.oxy | UTC | 55 | 49.4435 | -124.3367 | 325 | 199 | 318 | 2.717 | 0.493 | 0.4948 | 1298 | 142.91 | 0 | 0.718 | 10 | 0.010056 | 2.741
2009-640055.oxy | UTC | 55 | 49.4435 | -124.3367 | 325 | 200 | 300 | 2.73 | 0.461 | 0.4621 | 1316 | 133.1 | 0 | 0.718 | 10 | 0.010056 | 2.7506
2009-640055.oxy | UTC | 55 | 49.4435 | -124.3367 | 325 | 201 | 250 | 2.803 | 0.504 | 0.5053 | 1393 | 141.64 | 0 | 0.718 | 10 | 0.010056 | 2.8249
2009-640055.oxy | UTC | 55 | 49.4435 | -124.3367 | 325 | 201 | 250 | 2.806 | 0.518 | 0.519 | 1248 | 145.42 | 0 | 0.718 | 10 | 0.010056 | 2.8254
2009-640055.oxy | UTC | 55 | 49.4435 | -124.3367 | 325 | 202 | 200 | 3.092 | 0.527 | 0.5301 | 2019 | 134.4 | 0 | 0.718 | 10 | 0.010056 | 3.1262
2009-640055.oxy | UTC | 55 | 49.4435 | -124.3367 | 325 | 202 | 200 | 3.083 | 0.535 | 0.5375 | 1389 | 136.81 | 0 | 0.718 | 10 | 0.010056 | 3.1134
2009-640055.oxy | UTC | 55 | 49.4435 | -124.3367 | 325 | 203 | 175 | 3.609 | 0.604 | 0.6059 | 1392 | 132.1 | 0 | 0.718 | 10 | 0.010056 | 3.6383
2009-640055.oxy | UTC | 55 | 49.4435 | -124.3367 | 325 | 204 | 150 | 3.614 | 0.606 | 0.6078 | 1377 | 132.34 | 0 | 0.718 | 10 | 0.010056 | 3.643
2009-640055.oxy | UTC | 55 | 49.4435 | -124.3367 | 325 | 205 | 125 | 3.697 | 0.643 | 0.6461 | 1300 | 137.21 | 0 | 0.718 | 10 | 0.010056 | 3.7339 | d | air bubble in sample
2009-640055.oxy | UTC | 55 | 49.4435 | -124.3367 | 325 | 205 | 125 | 3.437 | 0.582 | 0.5829 | 1318 | 133.62 | 0 | 0.718 | 10 | 0.010056 | 3.4593
2009-640055.oxy | UTC | 55 | 49.4435 | -124.3367 | 325 | 206 | 100 | 3.425 | 0.592 | 0.5937 | 1314 | 136.35 | 0 | 0.718 | 10 | 0.010056 | 3.452
2009-640055.oxy | UTC | 55 | 49.4435 | -124.3367 | 325 | 207 | 75 | 3.476 | 0.639 | 0.6401 | 3160 | 144.91 | 0 | 0.718 | 10 | 0.010056 | 3.4998
2009-640055.oxy | UTC | 55 | 49.4435 | -124.3367 | 325 | 208 | 50 | 4.883 | 0.87 | 0.8715 | 1491 | 140.64 | 0 | 0.718 | 10 | 0.010056 | 4.9162
2009-640055.oxy | UTC | 55 | 49.4435 | -124.3367 | 325 | 209 | 40 | 5.45 | 0.941 | 0.9429 | 1313 | 136.38 | 0 | 0.718 | 10 | 0.010056 | 5.4886
2009-640055.oxy | UTC | 55 | 49.4435 | -124.3367 | 325 | 210 | 30 | 6.246 | 1.044 | 1.0463 | 690 | 132.11 | 0 | 0.718 | 10 | 0.010056 | 6.2918
2009-640055.oxy | UTC | 55 | 49.4435 | -124.3367 | 325 | 211 | 20 | 6.368 | 1.092 | 1.0928 | 1395 | 135.5 | 0 | 0.718 | 10 | 0.010056 | 6.4052
2009-640055.oxy | UTC | 55 | 49.4435 | -124.3367 | 325 | 212 | 10 | 6.351 | 1.111 | 1.1135 | 1488 | 138.2 | 0 | 0.718 | 10 | 0.010056 | 6.3974
2009-640055.oxy | UTC | 55 | 49.4435 | -124.3367 | 325 | 213 | 5 | 6.343 | 1.079 | 1.0797 | 1180 | 134.43 | 0 | 0.718 | 10 | 0.010056 | 6.3794
2009-640055.oxy | UTC | 55 | 49.4435 | -124.3367 | 325 | 214 | 0 | 6.409 | 1.104 | 1.1063 | 1213 | 136.11 | 0 | 0.718 | 10 | 0.010056 | 6.455
2009-640056.oxy | UTC | 56 | 49.5105 | -124.4628 | 195 | 215 | 189 | 2.989 | 0.508 | 0.5091 | 1306 | 134.02 | 0 | 0.718 | 10 | 0.010056 | 3.0105
2009-640056.oxy | UTC | 56 | 49.5105 | -124.4628 | 195 | 216 | 189 | 2.973 | 0.501 | 0.5018 | 1459 | 132.91 | 0 | 0.718 | 10 | 0.010056 | 2.9923
2009-640056.oxy | UTC | 56 | 49.5105 | -124.4628 | 195 | 217 | 189 | 2.986 | 0.526 | 0.5268 | 1317 | 138.87 | 0 | 0.718 | 10 | 0.010056 | 3.0052
2009-640056.oxy | UTC | 56 | 49.5105 | -124.4628 | 195 | 217 | 189 | 2.975 | 0.518 | 0.5195 | 1134 | 137.25 | 0 | 0.718 | 10 | 0.010056 | 2.9989
2009-640056.oxy | UTC | 56 | 49.5105 | -124.4628 | 195 | 218 | 176 | 3.033 | 0.543 | 0.5433 | 3116 | 141.09 | 0 | 0.718 | 10 | 0.010056 | 3.0503
2009-640056.oxy | UTC | 56 | 49.5105 | -124.4628 | 195 | 219 | 150 | 3.075 | 0.524 | 0.5283 | 1477 | 134.37 | 0 | 0.718 | 10 | 0.010056 | 3.1163
2009-640056.oxy | UTC | 56 | 49.5105 | -124.4628 | 195 | 220 | 125 | 3.282 | 0.596 | 0.5983 | 3061 | 143.13 | 0 | 0.718 | 10 | 0.010056 | 3.3117
2009-640056.oxy | UTC | 56 | 49.5105 | -124.4628 | 195 | 220 | 125 | 3.28 | 0.576 | 0.5792 | 3207 | 138.48 | 0 | 0.718 | 10 | 0.010056 | 3.3149
2009-640056.oxy | UTC | 56 | 49.5105 | -124.4628 | 195 | 221 | 100 | 3.304 | 0.568 | 0.5715 | 3182 | 135.61 | 0 | 0.718 | 10 | 0.010056 | 3.3409
2009-640056.oxy | UTC | 56 | 49.5105 | -124.4628 | 195 | 222 | 75 | 3.271 | 0.571 | 0.5732 | 1498 | 137.67 | 0 | 0.718 | 10 | 0.010056 | 3.3
2009-640056.oxy | UTC | 56 | 49.5105 | -124.4628 | 195 | 222 | 75 | 3.264 | 0.587 | 0.5897 | 3028 | 141.79 | 0 | 0.718 | 10 | 0.010056 | 3.2953
2009-640056.oxy | UTC | 56 | 49.5105 | -124.4628 | 195 | 223 | 50 | 5.387 | 0.887 | 0.8893 | 668 | 130.13 | 0 | 0.718 | 10 | 0.010056 | 5.4284
2009-640056.oxy | UTC | 56 | 49.5105 | -124.4628 | 195 | 224 | 40 | 5.837 | 0.983 | 0.9853 | 1485 | 133.09 | 0 | 0.718 | 10 | 0.010056 | 5.88
2009-640056.oxy | UTC | 56 | 49.5105 | -124.4628 | 195 | 225 | 30 | 6.147 | 1.039 | 1.0426 | 1489 | 133.58 | 0 | 0.718 | 10 | 0.010056 | 6.1995
2009-640056.oxy | UTC | 56 | 49.5105 | -124.4628 | 195 | 226 | 20 | 6.306 | 1.143 | 1.1451 | 3178 | 143.12 | 0 | 0.718 | 10 | 0.010056 | 6.3499
2009-640056.oxy | UTC | 56 | 49.5105 | -124.4628 | 195 | 227 | 10 | 6.441 | 1.159 | 1.1622 | 2056 | 142.1 | 0 | 0.718 | 10 | 0.010056 | 6.4918
2009-640056.oxy | UTC | 56 | 49.5105 | -124.4628 | 195 | 228 | 5 | 6.495 | 1.088 | 1.0897 | 1483 | 132.42 | 0 | 0.718 | 10 | 0.010056 | 6.5378
2009-640056.oxy | UTC | 56 | 49.5105 | -124.4628 | 195 | 229 | 0 | 6.505 | 1.082 | 1.0849 | 3187 | 131.49 | 0 | 0.718 | 10 | 0.010056 | 6.5557
2009-640060.oxy | UTC | 60 | 49.5917 | -124.6372 | 168 | 230 | 164 | 2.85 | 0.477 | 0.478 | 2065 | 131.97 | 0 | 0.718 | 10 | 0.010056 | 2.8704
2009-640060.oxy | UTC | 60 | 49.5917 | -124.6372 | 168 | 231 | 150 | 2.843 | 0.52 | 0.5233 | 2088 | 144.09 | 0 | 0.718 | 10 | 0.010056 | 2.8755
2009-640060.oxy | UTC | 60 | 49.5917 | -124.6372 | 168 | 232 | 125 | 2.622 | 0.438 | 0.4406 | 2000 | 131.69 | 0 | 0.718 | 10 | 0.010056 | 2.6505
2009-640060.oxy | UTC | 60 | 49.5917 | -124.6372 | 168 | 232 | 125 | 2.596 | 0.472 | 0.476 | 2061 | 143.17 | 0 | 0.718 | 10 | 0.010056 | 2.6316
2009-640060.oxy | UTC | 60 | 49.5917 | -124.6372 | 168 | 233 | 100 | 2.817 | 0.512 | 0.5137 | 3177 | 143.17 | 0 | 0.718 | 10 | 0.010056 | 2.841
2009-640060.oxy | UTC | 60 | 49.5917 | -124.6372 | 168 | 234 | 75 | 3.175 | 0.547 | 0.5498 | 3184 | 135.88 | 0 | 0.718 | 10 | 0.010056 | 3.2071
2009-640060.oxy | UTC | 60 | 49.5917 | -124.6372 | 168 | 235 | 50 | 5.286 | 0.899 | 0.9006 | 3133 | 134.34 | 0 | 0.718 | 10 | 0.010056 | 5.3226
2009-640060.oxy | UTC | 60 | 49.5917 | -124.6372 | 168 | 236 | 40 | 6.09 | 1.014 | 1.015 | 3188 | 131.61 | 0 | 0.718 | 10 | 0.010056 | 6.1268
2009-640060.oxy | UTC | 60 | 49.5917 | -124.6372 | 168 | 237 | 30 | 6.273 | 1.154 | 1.1578 | 2089 | 145.23 | 0 | 0.718 | 10 | 0.010056 | 6.3259
2009-640060.oxy | UTC | 60 | 49.5917 | -124.6372 | 168 | 237 | 30 | 6.286 | 1.07 | 1.0722 | 471 | 134.51 | 0 | 0.718 | 10 | 0.010056 | 6.3311
2009-640060.oxy | UTC | 60 | 49.5917 | -124.6372 | 168 | 238 | 20 | 6.392 | 1.099 | 1.1017 | 1490 | 135.87 | 0 | 0.718 | 10 | 0.010056 | 6.4396
2009-640060.oxy | UTC | 60 | 49.5917 | -124.6372 | 168 | 239 | 10 | 6.452 | 1.16 | 1.164 | 2068 | 141.99 | 0 | 0.718 | 10 | 0.010056 | 6.507
2009-640060.oxy | UTC | 60 | 49.5917 | -124.6372 | 168 | 240 | 5 | 6.537 | 1.09 | 1.0937 | 2082 | 131.82 | 0 | 0.718 | 10 | 0.010056 | 6.5922
2009-640060.oxy | UTC | 60 | 49.5917 | -124.6372 | 168 | 241 | 0 | 6.544 | 1.159 | 1.1612 | 708 | 139.91 | 0 | 0.718 | 10 | 0.010056 | 6.5892
2009-640063.oxy | UTC | 63 | 49.7258 | -124.68 | 355 | 242 | 350 | 2.862 | 0.474 | 0.476 | 1478 | 130.61 | 0 | 0.718 | 10 | 0.010056 | 2.8886
2009-640063.oxy | UTC | 63 | 49.7258 | -124.68 | 355 | 243 | 350 | 2.861 | 0.472 | 0.474 | 745 | 130.09 | 0 | 0.718 | 10 | 0.010056 | 2.8881
2009-640063.oxy | UTC | 63 | 49.7258 | -124.68 | 355 | 244 | 300 | 2.909 | 0.472 | 0.474 | 1126 | 127.98 | 0 | 0.718 | 10 | 0.010056 | 2.9364
2009-640063.oxy | UTC | 63 | 49.7258 | -124.68 | 355 | 245 | 250 | 2.883 | 0.48 | 0.482 | 1481 | 131.28 | 0 | 0.718 | 10 | 0.010056 | 2.91
2009-640063.oxy | UTC | 63 | 49.7258 | -124.68 | 355 | 245 | 250 | 2.893 | 0.487 | 0.489 | 1476 | 132.73 | 0 | 0.718 | 10 | 0.010056 | 2.9197
2009-640063.oxy | UTC | 63 | 49.7258 | -124.68 | 355 | 246 | 200 | 2.94 | 0.504 | 0.506 | 1335 | 135.14 | 0 | 0.718 | 10 | 0.010056 | 2.967
2009-640063.oxy | UTC | 63 | 49.7258 | -124.68 | 355 | 247 | 175 | 2.81 | 0.473 | 0.475 | 1413 | 132.7 | 0 | 0.718 | 10 | 0.010056 | 2.8364
2009-640063.oxy | UTC | 63 | 49.7258 | -124.68 | 355 | 248 | 150 | 2.976 | 0.495 | 0.497 | 1464 | 131.19 | 0 | 0.718 | 10 | 0.010056 | 3.003
2009-640063.oxy | UTC | 63 | 49.7258 | -124.68 | 355 | 249 | 125 | 2.821 | 0.513 | 0.515 | 3100 | 143.28 | 0 | 0.718 | 10 | 0.010056 | 2.846
2009-640063.oxy | UTC | 63 | 49.7258 | -124.68 | 355 | 250 | 100 | 2.838 | 0.473 | 0.475 | 1128 | 131.44 | 0 | 0.718 | 10 | 0.010056 | 2.864
2009-640063.oxy | UTC | 63 | 49.7258 | -124.68 | 355 | 251 | 75 | 2.891 | 0.528 | 0.53 | 2060 | 143.9 | 0 | 0.718 | 10 | 0.010056 | 2.9164
2009-640063.oxy | UTC | 63 | 49.7258 | -124.68 | 355 | 252 | 50 | 5.099 | 0.9 | 0.902 | 1421 | 139.36 | 0 | 0.718 | 10 | 0.010056 | 5.1361
2009-640063.oxy | UTC | 63 | 49.7258 | -124.68 | 355 | 253 | 40 | 5.631 | 1.021 | 1.023 | 3104 | 143.15 | 0 | 0.718 | 10 | 0.010056 | 5.6703
2009-640063.oxy | UTC | 63 | 49.7258 | -124.68 | 355 | 254 | 30 | 5.742 | 0.958 | 0.96 | 3204 | 131.86 | 0 | 0.718 | 10 | 0.010056 | 5.7829
2009-640063.oxy | UTC | 63 | 49.7258 | -124.68 | 355 | 254 | 30 | 5.743 | 1.019 | 1.021 | 3119 | 140.12 | 0 | 0.718 | 10 | 0.010056 | 5.7834
2009-640063.oxy | UTC | 63 | 49.7258 | -124.68 | 355 | 255 | 20 | 5.837 | 1.058 | 1.054 | 3107 | 141.57 | 0 | 0.718 | 10 | 0.010056 | 5.9086 | b | computer crash
2009-640063.oxy | UTC | 63 | 49.7258 | -124.68 | 355 | 256 | 10 | 6.28 | 2.126 | 1.074 | 3200 | 134.5 | 0 | 0.718 | 10 | 0.010056 | 6.3423 | b | subtracted previous titer after crash
2009-640063.oxy | UTC | 63 | 49.7258 | -124.68 | 355 | 257 | 5 | 6.489 | 1.108 | 1.11 | 3191 | 134.95 | 0 | 0.718 | 10 | 0.010056 | 6.5331
2009-640063.oxy | UTC | 63 | 49.7258 | -124.68 | 355 | 258 | 0 | 6.449 | 1.154 | 1.156 | 3174 | 141.32 | 0 | 0.718 | 10 | 0.010056 | 6.4933
2009-640065.oxy | UTC | 65 | 49.8837 | -124.9927 | 317 | 259 | 313 | 2.939 | 0.532 | 0.535 | 2015 | 142.61 | 0 | 0.718 | 10 | 0.010056 | 2.971
2009-640065.oxy | UTC | 65 | 49.8837 | -124.9927 | 317 | 260 | 300 | 2.875 | 0.526 | 0.5276 | 2007 | 144.14 | 0 | 0.718 | 10 | 0.010056 | 2.8982
2009-640065.oxy | UTC | 65 | 49.8837 | -124.9927 | 317 | 261 | 250 | 2.871 | 0.522 | 0.5245 | 3109 | 143.26 | 0 | 0.718 | 10 | 0.010056 | 2.8991
2009-640065.oxy | UTC | 65 | 49.8837 | -124.9927 | 317 | 261 | 250 | 2.889 | 0.525 | 0.5298 | 2032 | 143.19 | 0 | 0.718 | 10 | 0.010056 | 2.93 | b | low ending trans
2009-640065.oxy | UTC | 65 | 49.8837 | -124.9927 | 317 | 262 | 200 | 2.884 | 0.491 | 0.4934 | 2035 | 134.24 | 0 | 0.718 | 10 | 0.010056 | 2.9124
2009-640065.oxy | UTC | 65 | 49.8837 | -124.9927 | 317 | 263 | 175 | 2.866 | 0.542 | 0.5432 | 2099 | 148.91 | 0 | 0.718 | 10 | 0.010056 | 2.8874
2009-640065.oxy | UTC | 65 | 49.8837 | -124.9927 | 317 | 264 | 150 | 2.862 | 0.524 | 0.526 | 2064 | 144.25 | 0 | 0.718 | 10 | 0.010056 | 2.8872
2009-640065.oxy | UTC | 65 | 49.8837 | -124.9927 | 317 | 265 | 125 | 2.84 | 0.473 | 0.4758 | 2055 | 131.34 | 0 | 0.718 | 10 | 0.010056 | 2.8711
2009-640065.oxy | UTC | 65 | 49.8837 | -124.9927 | 317 | 266 | 100 | 2.8 | 0.496 | 0.4984 | 1497 | 139.6 | 0 | 0.718 | 10 | 0.010056 | 2.8275
2009-640065.oxy | UTC | 65 | 49.8837 | -124.9927 | 317 | 267 | 75 | 3.082 | 0.518 | 0.521 | 3040 | 132.56 | 0 | 0.718 | 10 | 0.010056 | 3.1157
2009-640065.oxy | UTC | 65 | 49.8837 | -124.9927 | 317 | 268 | 50 | 3.979 | 0.715 | 0.7171 | 3038 | 141.76 | 0 | 0.718 | 10 | 0.010056 | 4.0107
2009-640065.oxy | UTC | 65 | 49.8837 | -124.9927 | 317 | 269 | 40 | 4.139 | 0.727 | 0.7297 | 3034 | 138.61 | 0 | 0.718 | 10 | 0.010056 | 4.1754
2009-640065.oxy | UTC | 65 | 49.8837 | -124.9927 | 317 | 270 | 30 | 4.279 | 0.746 | 0.748 | 3052 | 137.59 | 0 | 0.718 | 10 | 0.010056 | 4.3127
2009-640065.oxy | UTC | 65 | 49.8837 | -124.9927 | 317 | 270 | 30 | 4.295 | 0.787 | 0.7885 | 3098 | 144.56 | 0 | 0.718 | 10 | 0.010056 | 4.3246
2009-640065.oxy | UTC | 65 | 49.8837 | -124.9927 | 317 | 271 | 20 | 4.482 | 0.795 | 0.7965 | 1492 | 139.99 | 0 | 0.718 | 10 | 0.010056 | 4.5132
2009-640065.oxy | UTC | 65 | 49.8837 | -124.9927 | 317 | 272 | 10 | 4.834 | 0.848 | 0.8506 | 3057 | 138.5 | 0 | 0.718 | 10 | 0.010056 | 4.8732
2009-640065.oxy | UTC | 65 | 49.8837 | -124.9927 | 317 | 273 | 5 | 5.457 | 1 | 1.0008 | 3124 | 144.64 | 0 | 0.718 | 10 | 0.010056 | 5.4891
2009-640065.oxy | UTC | 65 | 49.8837 | -124.9927 | 317 | 274 | 0 | 5.765 | 1.045 | 1.047 | 2051 | 143.11 | 0 | 0.718 | 10 | 0.010056 | 5.8053
2009-640068.oxy | UTC | 68 | 49.9573 | -125.151 | 119 | 275 | 119 | 2.889 | 0.524 | 0.526 | 1298 | 142.91 | 0 | 0.718 | 10 | 0.010056 | 2.9146
2009-640068.oxy | UTC | 68 | 49.9573 | -125.151 | 119 | 275 | 119 | 2.885 | 0.487 | 0.49 | 1316 | 133.1 | 0 | 0.718 | 10 | 0.010056 | 2.9174
2009-640068.oxy | UTC | 68 | 49.9573 | -125.151 | 119 | 276 | 119 | 2.887 | 0.519 | 0.5213 | 1393 | 141.64 | 0 | 0.718 | 10 | 0.010056 | 2.9148
2009-640068.oxy | UTC | 68 | 49.9573 | -125.151 | 119 | 277 | 100 | 2.887 | 0.533 | 0.5358 | 1248 | 145.42 | 0 | 0.718 | 10 | 0.010056 | 2.9172
2009-640068.oxy | UTC | 68 | 49.9573 | -125.151 | 119 | 278 | 75 | 2.88 | 0.491 | 0.4933 | 2019 | 134.4 | 0 | 0.718 | 10 | 0.010056 | 2.9083
2009-640068.oxy | UTC | 68 | 49.9573 | -125.151 | 119 | 279 | 50 | 3.263 | 0.566 | 0.5677 | 1389 | 136.81 | 0 | 0.718 | 10 | 0.010056 | 3.289
2009-640068.oxy | UTC | 68 | 49.9573 | -125.151 | 119 | 280 | 40 | 3.597 | 0.602 | 0.6047 | 1392 | 132.1 | 0 | 0.718 | 10 | 0.010056 | 3.6311
2009-640068.oxy | UTC | 68 | 49.9573 | -125.151 | 119 | 281 | 30 | 3.788 | 0.635 | 0.6367 | 1377 | 132.34 | 0 | 0.718 | 10 | 0.010056 | 3.8169
2009-640068.oxy | UTC | 68 | 49.9573 | -125.151 | 119 | 282 | 20 | 3.957 | 0.688 | 0.6894 | 1300 | 137.21 | 0 | 0.718 | 10 | 0.010056 | 3.985
2009-640068.oxy | UTC | 68 | 49.9573 | -125.151 | 119 | 283 | 10 | 4.201 | 0.711 | 0.7142 | 1318 | 133.62 | 0 | 0.718 | 10 | 0.010056 | 4.2414
2009-640068.oxy | UTC | 68 | 49.9573 | -125.151 | 119 | 284 | 5 | 4.784 | 0.826 | 0.829 | 1314 | 136.35 | 0 | 0.718 | 10 | 0.010056 | 4.8252
2009-640068.oxy | UTC | 68 | 49.9573 | -125.151 | 119 | 284 | 5 | 4.786 | 0.879 | 0.8817 | 3160 | 144.91 | 0 | 0.718 | 10 | 0.010056 | 4.8253
2009-640068.oxy | UTC | 68 | 49.9573 | -125.151 | 119 | 285 | 0 | 5.226 | 0.931 | 0.9352 | 1491 | 140.64 | 0 | 0.718 | 10 | 0.010056 | 5.2764

## Sp dups
Outliers are discarded on the basis of Chauevenet's criteria. The statistic is calculated by the difference between the outlier and the mean, divided by the stdev.
If this absolute value is greater than the critical value of the Chauevenet criterion for the given n, the datapoint can be discarded
LOC:EVENT_NUMBER | LOC:LATITUDE | LOC:LONGITUDE | Sample_number | Pressure | OXY-1 | OXY-2 | diff. | diff^2 | Chauvenet | reject | Flags | Comments
3 | 48.6303 | -123.2458 | 17 | 50 | 5.0885 | 5.0983 | 0.0098267 | 9.6565e-05
3 | 48.6303 | -123.2458 | 21 | 10 | 5.1426 | 5.1372 | -0.0054698 | 2.9919e-05 |  |  |  |  | Critical values for Chauvenet statistic
7 | 48.5148 | -124.7317 | 28 | 154 | 2.1962 | 2.1828 | -0.01344 | 0.00018063 |  |  |  |  | n | Chauvenet
7 | 48.5148 | -124.7317 | 34 | 30 | 5.184 | 5.1775 | -0.0065212 | 4.2525e-05 |  |  |  |  | 3 | 1.37
10 | 48.4702 | -124.5473 | 43 | 125 | 2.7416 | 2.7521 | 0.010492 | 0.00011007 |  |  |  |  | 4 | 1.53
10 | 48.4702 | -124.5473 | 50 | 10 | 5.3389 | 5.3388 | -0.00011469 | 1.3154e-08 |  |  |  |  | 5 | 1.64
13 | 48.31 | -124.0678 | 55 | 150 | 2.3836 | 2.3807 | -0.0028973 | 8.3942e-06 |  |  |  |  | 6 | 1.73
13 | 48.31 | -124.0678 | 62 | 20 | 5.139 | 5.1442 | 0.0051181 | 2.6195e-05 |  |  |  |  | 7 | 1.8
16 | 48.2628 | -123.7185 | 68 | 125 | 2.3836 | 2.4034 | 0.019754 | 0.00039022 |  |  | b | short chain on flask, stopper possibly popped out | 8 | 1.87
16 | 48.2628 | -123.7185 | 74 | 20 | 4.8672 | 4.8561 | -0.011151 | 0.00012435 |  |  |  |  | 9 | 1.91
19 | 48.2332 | -123.302 | 84 | 20 | 4.8391 | 4.8642 | 0.025035 | 0.00062674 |  |  |  |  | 10 | 1.97
23 | 48.2667 | -123.1665 | 90 | 75 | 4.8348 | 4.8527 | 0.017849 | 0.00031857 |  |  |  |  | 20 | 2.24
26 | 48.3797 | -122.0417 | 108 | 0 | 5.1186 | 5.1226 | 0.00405 | 1.6402e-05 |  |  |  |  | 30 | 2.39
31 | 48.775 | -123.0248 | 114 | 100 | 5.0484 | 5.0587 | 0.010318 | 0.00010645 |  |  |  |  | 50 | 2.57
31 | 48.775 | -123.0248 | 119 | 20 | 5.0353 | 5.0057 | -0.029597 | 0.00087601 |  |  |  |  | 80 | 2.74
39 | 48.858 | -123.178 | 126 | 100 | 4.7717 | 4.772 | 0.00022702 | 5.1537e-08 |  |  |  |  | 100 | 2.81
39 | 48.858 | -123.178 | 131 | 20 | 5.9421 | 5.9325 | -0.0096301 | 9.2738e-05 |  |  |  |  | 150 | 2.93
41 | 49.0288 | -123.4383 | 139 | 175 | 3.3268 | 3.3411 | 0.014361 | 0.00020624 |  |  |  |  | 200 | 3.02
41 | 49.0288 | -123.4383 | 147 | 20 | 5.6864 | 6.2841 | 0.5977 | 0.35724 | 5.4897 | yes | c | sample possibly drawn from wrong Niskin?
45 | 49.1628 | -123.5488 | 154 | 250 | 2.9389 | 2.9451 | 0.0062144 | 3.8618e-05
45 | 49.1628 | -123.5488 | 162 | 40 | 5.4474 | 5.4398 | -0.0076101 | 5.7913e-05
48 | 49.3178 | -123.799 | 168 | 337 | 2.7681 | 2.8008 | 0.03267 | 0.0010673 |  |  | b | dup drawn after all other Niskins samples-delay
48 | 49.3178 | -123.799 | 183 | 0 | 6.3707 | 6.3739 | 0.0032052 | 1.0273e-05
52 | 49.4018 | -124.1553 | 186 | 200 | 3.0438 | 3.0251 | -0.018714 | 0.00035022
52 | 49.4018 | -124.1553 | 188 | 150 | 3.3312 | 3.3142 | -0.017004 | 0.00028913
55 | 49.4435 | -124.3367 | 201 | 250 | 2.8249 | 2.8254 | 0.00043964 | 1.9328e-07
55 | 49.4435 | -124.3367 | 202 | 200 | 3.1262 | 3.1134 | -0.012851 | 0.00016514
55 | 49.4435 | -124.3367 | 205 | 125 | 3.7339 | 3.4593 | -0.27462 | 0.075419 | -2.6558 | yes | d | air bubble in sample
56 | 49.5105 | -124.4628 | 217 | 189 | 3.0052 | 2.9989 | -0.0063211 | 3.9957e-05
56 | 49.5105 | -124.4628 | 220 | 125 | 3.3117 | 3.3149 | 0.003111 | 9.6786e-06
56 | 49.5105 | -124.4628 | 222 | 75 | 3.3 | 3.2953 | -0.0047168 | 2.2248e-05
60 | 49.5917 | -124.6372 | 232 | 125 | 2.6505 | 2.6316 | -0.018935 | 0.00035855
60 | 49.5917 | -124.6372 | 237 | 30 | 6.3259 | 6.3311 | 0.0052828 | 2.7908e-05
63 | 49.7258 | -124.68 | 245 | 250 | 2.91 | 2.9197 | 0.009705 | 9.4188e-05
63 | 49.7258 | -124.68 | 254 | 30 | 5.7829 | 5.7834 | 0.00042707 | 1.8239e-07
65 | 49.8837 | -124.9927 | 261 | 250 | 2.8991 | 2.93 | 0.030868 | 0.00095286
65 | 49.8837 | -124.9927 | 270 | 30 | 4.3127 | 4.3246 | 0.011882 | 0.00014119
68 | 49.9573 | -125.151 | 275 | 119 | 2.9146 | 2.9174 | 0.0028024 | 7.8533e-06
68 | 49.9573 | -125.151 | 284 | 5 | 4.8252 | 4.8253 | 0.00010476 | 1.0975e-08
[6 empty] | mean diff. | 0.0097908
[6 empty] | stdev | 0.10709
[7 empty] | count | 39 | 37
[7 empty] | SUM | 0.43954 | 0.0068855
[7 empty] | Sp | 0.075068 | 0.0096461