## File List
Number of Files= |  | 20
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 2009-64-0001.mrgt | 2009-64-0001.sam | 12 | 12 | 2009-64-0001.mrgt & 2009-64-0001.sam
2 | 2009-64-0003.mrgt | 2009-64-0003.sam | 14 | 14 | 2009-64-0003.mrgt & 2009-64-0003.sam
3 | 2009-64-0007.mrgt | 2009-64-0007.sam | 16 | 16 | 2009-64-0007.mrgt & 2009-64-0007.sam
4 | 2009-64-0010.mrgt | 2009-64-0010.sam | 18 | 18 | 2009-64-0010.mrgt & 2009-64-0010.sam
5 | 2009-64-0013.mrgt | 2009-64-0013.sam | 20 | 20 | 2009-64-0013.mrgt & 2009-64-0013.sam
6 | 2009-64-0016.mrgt | 2009-64-0016.sam | 22 | 22 | 2009-64-0016.mrgt & 2009-64-0016.sam
7 | 2009-64-0019.mrgt | 2009-64-0019.sam | 24 | 24 | 2009-64-0019.mrgt & 2009-64-0019.sam
8 | 2009-64-0026.mrgt | 2009-64-0026.sam | 26 | 26 | 2009-64-0026.mrgt & 2009-64-0026.sam
9 | 2009-64-0031.mrgt | 2009-64-0031.sam | 28 | 28 | 2009-64-0031.mrgt & 2009-64-0031.sam
10 | 2009-64-0039.mrgt | 2009-64-0039.sam | 30 | 30 | 2009-64-0039.mrgt & 2009-64-0039.sam
11 | 2009-64-0041.mrgt | 2009-64-0041.sam | 32 | 32 | 2009-64-0041.mrgt & 2009-64-0041.sam
12 | 2009-64-0045.mrgt | 2009-64-0045.sam | 34 | 34 | 2009-64-0045.mrgt & 2009-64-0045.sam
13 | 2009-64-0048.mrgt | 2009-64-0048.sam | 36 | 36 | 2009-64-0048.mrgt & 2009-64-0048.sam
14 | 2009-64-0052.mrgt | 2009-64-0052.sam | 38 | 38 | 2009-64-0052.mrgt & 2009-64-0052.sam
15 | 2009-64-0055.mrgt | 2009-64-0055.sam | 40 | 40 | 2009-64-0055.mrgt & 2009-64-0055.sam
16 | 2009-64-0056.mrgt | 2009-64-0056.sam | 42 | 42 | 2009-64-0056.mrgt & 2009-64-0056.sam
17 | 2009-64-0060.mrgt | 2009-64-0060.sam | 44 | 44 | 2009-64-0060.mrgt & 2009-64-0060.sam
18 | 2009-64-0063.mrgt | 2009-64-0063.sam | 46 | 46 | 2009-64-0063.mrgt & 2009-64-0063.sam
19 | 2009-64-0065.mrgt | 2009-64-0065.sam | 48 | 48 | 2009-64-0065.mrgt & 2009-64-0065.sam
20 | 2009-64-0068.mrgt | 2009-64-0068.sam | 50 | 50 | 2009-64-0068.mrgt & 2009-64-0068.sam

## (Sal0 - Sal_Bot)
Calculation of Linear Least Squares Fit For
(Sal0 - Sal_Bot)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal0 - Sal_Bot), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.005227 |  | X | CALC Y
m= | -2.3246e-06 | 1.069e-05 |  | Std Dev of Resid |  | 0.0017463 |  | 201.359 | -0.0042109
b= | -0.0037428 | 0.0029321 |  | Resid Sum of Squares |  | 2.7446e-05 |  | 353.289 | -0.0045641
# of Values Extracted = |  |  | 20
# of Values Used in Fit = |  |  | 11
File | Use | Pressure | Sal0 | Sal0 | Diff (Sal0 - Sal_Bot) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 100.672 | 31.1232 | 0.000834 | 0.0085335 | -0.0039768 | -0.01251 |  | 202.497 | -0.0046673
2 | YES | 202.497 | 30.7131 | 0.00040045 | -0.0046673 | -0.0042135 | 0.00045374 |  | 246.25 | -0.0044098
3 | YES | 246.25 | 33.9039 | 0.00039231 | -0.0044098 | -0.0043152 | 9.4542e-05 |  | 201.359 | -0.0028648
4 | YES | 201.359 | 33.8234 | 0.0002713 | -0.0028648 | -0.0042109 | -0.0013461 |  | 202.635 | -0.0052166
5 | NO | 176.789 | 33.6699 | 0.0002589 | -0.0023613 | -0.0041538 | -0.0017925 |  | 303.062 | -0.0052433
6 | NO | 151.696 | 33.6161 | 0.0009226 | -0.0053482 | -0.0040954 | 0.0012528 |  | 301.273 | -0.0052147
7 | NO | 100.954 | 32.605 | 0.002906 | -0.027699 | -0.0039775 | 0.023721 |  | 301.254 | -0.002182
8 | NO | 128.604 | 31.004 | 0.010473 | 0.017496 | -0.0040418 | -0.021538 |  | 252.823 | -0.0022526
9 | YES | 202.635 | 30.3578 | 0.00026396 | -0.0052166 | -0.0042139 | 0.0010027 |  | 303.315 | -0.0073776
10 | NO | 151.638 | 30.5098 | 0.0029057 | -0.016459 | -0.0040953 | 0.012363 |  | 353.289 | -0.0027847
11 | YES | 303.062 | 31.2232 | 0.00020212 | -0.0052433 | -0.0044473 | 0.00079599 |  | 300.473 | -0.0058575 | -0.0043701 | 0.001661
12 | YES | 301.273 | 31.1932 | 0.00029569 | -0.0052147 | -0.0044432 | 0.00077154
13 | YES | 301.254 | 31.2245 | 0.00022099 | -0.002182 | -0.0044431 | -0.0022611
14 | YES | 252.823 | 31.0858 | 0.00086557 | -0.0022526 | -0.0043305 | -0.0020779
15 | YES | 303.315 | 31.1577 | 0.00043481 | -0.0073776 | -0.0044479 | 0.0029297
16 | NO | 190.583 | 31.0575 | 0.00041709 | -0.0033073 | -0.0041858 | -0.00087851
17 | NO | 151.999 | 30.9848 | 0.00075564 | -0.012955 | -0.0040962 | 0.0088585
18 | YES | 353.289 | 31.0131 | 0.00023814 | -0.0027847 | -0.0045641 | -0.0017793
19 | YES | 300.473 | 30.9563 | 0.00037938 | -0.0058575 | -0.0044413 | 0.0014162
20 | NO | 120.606 | 30.89 | 0.00041 | 0.017151 | -0.0040232 | -0.021174
NO
YES
YES
YES
NO
NO
NO
NO
YES
NO
YES
YES
YES
YES
YES
NO
NO
YES
YES
NO
FIT vs. Pressure
FIT vs. Sal0
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (Sal1 - Sal_Bot)
Calculation of Linear Least Squares Fit For
(Sal1 - Sal_Bot)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal1 - Sal_Bot), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.00035964 |  | X | CALC Y
m= | 5.9779e-07 | 1.0505e-05 |  | Std Dev of Resid |  | 0.0017162 |  | 201.359 | -0.0044181
b= | -0.0045385 | 0.0028816 |  | Resid Sum of Squares |  | 2.6509e-05 |  | 353.289 | -0.0043273
# of Values Extracted = |  |  | 20
# of Values Used in Fit = |  |  | 11
File | Use | Pressure | Sal1 | Sal1 | Diff (Sal1 - Sal_Bot) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 100.672 | 31.1229 | 0.00031551 | 0.0081634 | -0.0044783 | -0.012642 |  | 202.497 | -0.0047436
2 | YES | 202.497 | 30.7131 | 0.00027077 | -0.0047436 | -0.0044174 | 0.00032613 |  | 246.25 | -0.0051269
3 | YES | 246.25 | 33.9032 | 0.00031569 | -0.0051269 | -0.0043913 | 0.00073566 |  | 201.359 | -0.0032501
4 | YES | 201.359 | 33.8231 | 0.00031715 | -0.0032501 | -0.0044181 | -0.001168 |  | 202.635 | -0.0050926
5 | NO | 176.789 | 33.6695 | 0.00028593 | -0.0028153 | -0.0044328 | -0.0016176 |  | 303.062 | -0.005209
6 | NO | 151.696 | 33.6154 | 0.0004784 | -0.0061035 | -0.0044478 | 0.0016557 |  | 301.273 | -0.0054817
7 | NO | 100.954 | 32.6061 | 0.001383 | -0.026611 | -0.0044781 | 0.022133 |  | 301.254 | -0.0020027
8 | NO | 128.604 | 31.0086 | 0.010709 | 0.022078 | -0.0044616 | -0.026539 |  | 252.823 | -0.002142
9 | YES | 202.635 | 30.3579 | 0.00027941 | -0.0050926 | -0.0044174 | 0.00067525 |  | 303.315 | -0.0069771
10 | NO | 151.638 | 30.5053 | 0.0011635 | -0.020958 | -0.0044479 | 0.01651 |  | 353.289 | -0.0025559
11 | YES | 303.062 | 31.2232 | 0.00021536 | -0.005209 | -0.0043573 | 0.00085164 |  | 300.473 | -0.0055676 | -0.0043772 | 0.0016284
12 | YES | 301.273 | 31.1929 | 0.0010937 | -0.0054817 | -0.0043584 | 0.0011233
13 | YES | 301.254 | 31.2247 | 0.00021693 | -0.0020027 | -0.0043584 | -0.0023557
14 | YES | 252.823 | 31.086 | 0.00055267 | -0.002142 | -0.0043874 | -0.0022454
15 | YES | 303.315 | 31.1581 | 0.00027062 | -0.0069771 | -0.0043572 | 0.0026199
16 | NO | 190.583 | 31.0574 | 0.00046704 | -0.0033798 | -0.0044246 | -0.0010447
17 | NO | 151.999 | 30.981 | 0.0016805 | -0.016781 | -0.0044476 | 0.012333
18 | YES | 353.289 | 31.0133 | 0.00020601 | -0.0025559 | -0.0043273 | -0.0017715
19 | YES | 300.473 | 30.9566 | 0.00020827 | -0.0055676 | -0.0043589 | 0.0012087
20 | NO | 120.606 | 30.8904 | 0.00038679 | 0.017555 | -0.0044664 | -0.022022
NO
YES
YES
YES
NO
NO
NO
NO
YES
NO
YES
YES
YES
YES
YES
NO
NO
YES
YES
NO
FIT vs. Pressure
FIT vs. Sal1
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (Sal0 - Sal_Bot) (2)
Calculation of Linear Least Squares Fit For
(Sal0 - Sal_Bot)
3
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal0 - Sal_Bot), Prop=File Pair #
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.0082312 |  | X | CALC Y
m= | -2.581e-05 | 9.4438e-05 |  | Std Dev of Resid |  | 0.0017437 |  | 2 | -0.0041401
b= | -0.0040885 | 0.0011566 |  | Resid Sum of Squares |  | 2.7363e-05 |  | 19 | -0.0045789
# of Values Extracted = |  |  | 20
# of Values Used in Fit = |  |  | 11
File | Use | Pressure | Sal0 | Sal0 | Diff (Sal0 - Sal_Bot) |  |  |  | Fit vs. | File Pair #
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 100.672 | 31.1232 | 0.000834 | 0.0085335 | -0.0041143 | -0.012648 |  | 2 | -0.0046673
2 | YES | 202.497 | 30.7131 | 0.00040045 | -0.0046673 | -0.0041401 | 0.00052714 |  | 3 | -0.0044098
3 | YES | 246.25 | 33.9039 | 0.00039231 | -0.0044098 | -0.0041659 | 0.00024384 |  | 4 | -0.0028648
4 | YES | 201.359 | 33.8234 | 0.0002713 | -0.0028648 | -0.0041918 | -0.0013269 |  | 9 | -0.0052166
5 | NO | 176.789 | 33.6699 | 0.0002589 | -0.0023613 | -0.0042176 | -0.0018563 |  | 11 | -0.0052433
6 | NO | 151.696 | 33.6161 | 0.0009226 | -0.0053482 | -0.0042434 | 0.0011048 |  | 12 | -0.0052147
7 | NO | 100.954 | 32.605 | 0.002906 | -0.027699 | -0.0042692 | 0.023429 |  | 13 | -0.002182
8 | NO | 128.604 | 31.004 | 0.010473 | 0.017496 | -0.004295 | -0.021791 |  | 14 | -0.0022526
9 | YES | 202.635 | 30.3578 | 0.00026396 | -0.0052166 | -0.0043208 | 0.00089579 |  | 15 | -0.0073776
10 | NO | 151.638 | 30.5098 | 0.0029057 | -0.016459 | -0.0043466 | 0.012112 |  | 18 | -0.0027847
11 | YES | 303.062 | 31.2232 | 0.00020212 | -0.0052433 | -0.0043724 | 0.00087087 |  | 19 | -0.0058575
12 | YES | 301.273 | 31.1932 | 0.00029569 | -0.0052147 | -0.0043982 | 0.00081645
13 | YES | 301.254 | 31.2245 | 0.00022099 | -0.002182 | -0.004424 | -0.002242
14 | YES | 252.823 | 31.0858 | 0.00086557 | -0.0022526 | -0.0044499 | -0.0021973
15 | YES | 303.315 | 31.1577 | 0.00043481 | -0.0073776 | -0.0044757 | 0.0029019
16 | NO | 190.583 | 31.0575 | 0.00041709 | -0.0033073 | -0.0045015 | -0.0011941
17 | NO | 151.999 | 30.9848 | 0.00075564 | -0.012955 | -0.0045273 | 0.0084274
18 | YES | 353.289 | 31.0131 | 0.00023814 | -0.0027847 | -0.0045531 | -0.0017684
19 | YES | 300.473 | 30.9563 | 0.00037938 | -0.0058575 | -0.0045789 | 0.0012786
20 | NO | 120.606 | 30.89 | 0.00041 | 0.017151 | -0.0046047 | -0.021756
NO
YES
YES
YES
NO
NO
NO
NO
YES
NO
YES
YES
YES
YES
YES
NO
NO
YES
YES
NO
FIT vs. Pressure
FIT vs. Sal0
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (Sal1 - Sal_Bot) (2)
Calculation of Linear Least Squares Fit For
(Sal1 - Sal_Bot)
3
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal1 - Sal_Bot), Prop=File Pair #
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.0040008 |  | X | CALC Y
m= | 1.7641e-05 | 9.2782e-05 |  | Std Dev of Resid |  | 0.0017131 |  | 2 | -0.0045344
b= | -0.0045696 | 0.0011363 |  | Resid Sum of Squares |  | 2.6412e-05 |  | 19 | -0.0042345
# of Values Extracted = |  |  | 20
# of Values Used in Fit = |  |  | 11
File | Use | Pressure | Sal1 | Sal1 | Diff (Sal1 - Sal_Bot) |  |  |  | Fit vs. | File Pair #
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 100.672 | 31.1229 | 0.00031551 | 0.0081634 | -0.004552 | -0.012715 |  | 2 | -0.0047436
2 | YES | 202.497 | 30.7131 | 0.00027077 | -0.0047436 | -0.0045344 | 0.00020922 |  | 3 | -0.0051269
3 | YES | 246.25 | 33.9032 | 0.00031569 | -0.0051269 | -0.0045167 | 0.00061023 |  | 4 | -0.0032501
4 | YES | 201.359 | 33.8231 | 0.00031715 | -0.0032501 | -0.0044991 | -0.001249 |  | 9 | -0.0050926
5 | NO | 176.789 | 33.6695 | 0.00028593 | -0.0028153 | -0.0044814 | -0.0016662 |  | 11 | -0.005209
6 | NO | 151.696 | 33.6154 | 0.0004784 | -0.0061035 | -0.0044638 | 0.0016397 |  | 12 | -0.0054817
7 | NO | 100.954 | 32.6061 | 0.001383 | -0.026611 | -0.0044462 | 0.022165 |  | 13 | -0.0020027
8 | NO | 128.604 | 31.0086 | 0.010709 | 0.022078 | -0.0044285 | -0.026506 |  | 14 | -0.002142
9 | YES | 202.635 | 30.3579 | 0.00027941 | -0.0050926 | -0.0044109 | 0.00068175 |  | 15 | -0.0069771
10 | NO | 151.638 | 30.5053 | 0.0011635 | -0.020958 | -0.0043932 | 0.016565 |  | 18 | -0.0025559
11 | YES | 303.062 | 31.2232 | 0.00021536 | -0.005209 | -0.0043756 | 0.00083338 |  | 19 | -0.0055676
12 | YES | 301.273 | 31.1929 | 0.0010937 | -0.0054817 | -0.0043579 | 0.0011238
13 | YES | 301.254 | 31.2247 | 0.00021693 | -0.0020027 | -0.0043403 | -0.0023376
14 | YES | 252.823 | 31.086 | 0.00055267 | -0.002142 | -0.0043227 | -0.0021807
15 | YES | 303.315 | 31.1581 | 0.00027062 | -0.0069771 | -0.004305 | 0.0026721
16 | NO | 190.583 | 31.0574 | 0.00046704 | -0.0033798 | -0.0042874 | -0.00090756
17 | NO | 151.999 | 30.981 | 0.0016805 | -0.016781 | -0.0042697 | 0.012511
18 | YES | 353.289 | 31.0133 | 0.00020601 | -0.0025559 | -0.0042521 | -0.0016963
19 | YES | 300.473 | 30.9566 | 0.00020827 | -0.0055676 | -0.0042345 | 0.0013331
20 | NO | 120.606 | 30.8904 | 0.00038679 | 0.017555 | -0.0042168 | -0.021772
NO
YES
YES
YES
NO
NO
NO
NO
YES
NO
YES
YES
YES
YES
YES
NO
NO
YES
YES
NO
FIT vs. Pressure
FIT vs. Sal1
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (Sal0 - Sal_Bot) (3)
Calculation of Linear Least Squares Fit For
(Sal0 - Sal_Bot)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal0 - Sal_Bot), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.34799 |  | X | CALC Y
m= | -5.2807e-05 | 2.1794e-05 |  | Std Dev of Resid |  | 0.0051793 |  | 120.606 | 0.0040023
b= | 0.010371 | 0.0055592 |  | Resid Sum of Squares |  | 0.00029508 |  | 353.289 | -0.008285
# of Values Extracted = |  |  | 20
# of Values Used in Fit = |  |  | 13
File | Use | Pressure | Sal0 | Sal0 | Diff (Sal0 - Sal_Bot) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 100.672 | 31.1232 | 0.000834 | 0.0085335 | 0.005055 | -0.0034785 |  | 202.497 | -0.0046673
2 | YES | 202.497 | 30.7131 | 0.00040045 | -0.0046673 | -0.0003221 | 0.0043452 |  | 246.25 | -0.0044098
3 | YES | 246.25 | 33.9039 | 0.00039231 | -0.0044098 | -0.0026326 | 0.0017772 |  | 201.359 | -0.0028648
4 | YES | 201.359 | 33.8234 | 0.0002713 | -0.0028648 | -0.00026201 | 0.0026028 |  | 176.789 | -0.0023613
5 | YES | 176.789 | 33.6699 | 0.0002589 | -0.0023613 | 0.0010355 | 0.0033968 |  | 202.635 | -0.0052166
6 | NO | 151.696 | 33.6161 | 0.0009226 | -0.0053482 | 0.0023605 | 0.0077088 |  | 303.062 | -0.0052433
7 | NO | 100.954 | 32.605 | 0.002906 | -0.027699 | 0.0050401 | 0.032739 |  | 301.273 | -0.0052147
8 | NO | 128.604 | 31.004 | 0.010473 | 0.017496 | 0.00358 | -0.013916 |  | 301.254 | -0.002182
9 | YES | 202.635 | 30.3578 | 0.00026396 | -0.0052166 | -0.00032939 | 0.0048872 |  | 303.315 | -0.0073776
10 | NO | 151.638 | 30.5098 | 0.0029057 | -0.016459 | 0.0023636 | 0.018822 |  | 190.583 | -0.0033073
11 | YES | 303.062 | 31.2232 | 0.00020212 | -0.0052433 | -0.0056326 | -0.00038933 |  | 353.289 | -0.0027847
12 | YES | 301.273 | 31.1932 | 0.00029569 | -0.0052147 | -0.0055382 | -0.00032347 |  | 300.473 | -0.0058575
13 | YES | 301.254 | 31.2245 | 0.00022099 | -0.002182 | -0.0055372 | -0.0033551 |  | 120.606 | 0.017151
14 | NO | 252.823 | 31.0858 | 0.00086557 | -0.0022526 | -0.0029797 | -0.00072708
15 | YES | 303.315 | 31.1577 | 0.00043481 | -0.0073776 | -0.005646 | 0.0017316
16 | YES | 190.583 | 31.0575 | 0.00041709 | -0.0033073 | 0.00030704 | 0.0036144
17 | NO | 151.999 | 30.9848 | 0.00075564 | -0.012955 | 0.0023445 | 0.015299
18 | YES | 353.289 | 31.0131 | 0.00023814 | -0.0027847 | -0.008285 | -0.0055002
19 | YES | 300.473 | 30.9563 | 0.00037938 | -0.0058575 | -0.0054959 | 0.00036156
20 | YES | 120.606 | 30.89 | 0.00041 | 0.017151 | 0.0040023 | -0.013149
NO
YES
YES
YES
YES
NO
NO
NO
YES
NO
YES
YES
YES
NO
YES
YES
NO
YES
YES
YES
FIT vs. Pressure
FIT vs. Sal0
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Main
# Channels= | 3 |  |  |  | COMPARE Version 3.3 | Run at 2010/05/23 17:37:03
| Primary | Secondary |  | Comparison Name
Ref | Pressure | Pressure |  | Pressure - Pressure
Comp 1 | Sal_Bot | Sal0 |  | Sal0 - Sal_Bot
Comp 2 | Sal_Bot | Sal1 |  | Sal1 - Sal_Bot
Average Size: | 1
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | Pressure | Pressure | Pressure | (S-P) | Sal_Bot | Sal0 | Sal0 | (S-P) | Sal_Bot | Sal1 | Sal1 | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
2009-64-0001.mrgt | 2009-64-0001.sam | 121 | 100.672 | 100.672 | 0.022611 | -0.00011444 | 31.1147 | 31.1232 | 0.000834 | 0.0085335 | 31.1147 | 31.1229 | 0.00031551 | 0.0081634
2009-64-0003.mrgt | 2009-64-0003.sam | 121 | 202.497 | 202.497 | 0.047257 | -0.00016785 | 30.7178 | 30.7131 | 0.00040045 | -0.0046673 | 30.7178 | 30.7131 | 0.00027077 | -0.0047436
2009-64-0007.mrgt | 2009-64-0007.sam | 242 | 246.305 | 246.25 | 0.30927 | -0.054825 | 33.9083 | 33.9039 | 0.00039231 | -0.0044098 | 33.9083 | 33.9032 | 0.00031569 | -0.0051269
2009-64-0010.mrgt | 2009-64-0010.sam | 121 | 201.359 | 201.359 | 0.13876 | -0.00019836 | 33.8263 | 33.8234 | 0.0002713 | -0.0028648 | 33.8263 | 33.8231 | 0.00031715 | -0.0032501
2009-64-0013.mrgt | 2009-64-0013.sam | 121 | 176.789 | 176.789 | 0.2259 | 0.00012207 | 33.6723 | 33.6699 | 0.0002589 | -0.0023613 | 33.6723 | 33.6695 | 0.00028593 | -0.0028153
2009-64-0016.mrgt | 2009-64-0016.sam | 121 | 151.696 | 151.696 | 0.14345 | 6.1035e-05 | 33.6215 | 33.6161 | 0.0009226 | -0.0053482 | 33.6215 | 33.6154 | 0.0004784 | -0.0061035
2009-64-0019.mrgt | 2009-64-0019.sam | 121 | 100.954 | 100.954 | 0.042054 | 0.00048065 | 32.6327 | 32.605 | 0.002906 | -0.027699 | 32.6327 | 32.6061 | 0.001383 | -0.026611
2009-64-0026.mrgt | 2009-64-0026.sam | 121 | 128.604 | 128.604 | 0.10824 | -0.00028992 | 30.9865 | 31.004 | 0.010473 | 0.017496 | 30.9865 | 31.0086 | 0.010709 | 0.022078
2009-64-0031.mrgt | 2009-64-0031.sam | 121 | 202.635 | 202.635 | 0.077018 | -0.00010681 | 30.363 | 30.3578 | 0.00026396 | -0.0052166 | 30.363 | 30.3579 | 0.00027941 | -0.0050926
2009-64-0039.mrgt | 2009-64-0039.sam | 121 | 151.638 | 151.638 | 0.026066 | 0.00036621 | 30.5263 | 30.5098 | 0.0029057 | -0.016459 | 30.5263 | 30.5053 | 0.0011635 | -0.020958
2009-64-0041.mrgt | 2009-64-0041.sam | 121 | 303.062 | 303.062 | 0.044844 | 0.00024414 | 31.2284 | 31.2232 | 0.00020212 | -0.0052433 | 31.2284 | 31.2232 | 0.00021536 | -0.005209
2009-64-0045.mrgt | 2009-64-0045.sam | 121 | 301.273 | 301.273 | 0.073761 | -0.00045776 | 31.1984 | 31.1932 | 0.00029569 | -0.0052147 | 31.1984 | 31.1929 | 0.0010937 | -0.0054817
2009-64-0048.mrgt | 2009-64-0048.sam | 121 | 301.254 | 301.254 | 0.092537 | 0.00018311 | 31.2267 | 31.2245 | 0.00022099 | -0.002182 | 31.2267 | 31.2247 | 0.00021693 | -0.0020027
2009-64-0052.mrgt | 2009-64-0052.sam | 121 | 252.823 | 252.823 | 0.024933 | -1.5259e-05 | 31.0881 | 31.0858 | 0.00086557 | -0.0022526 | 31.0881 | 31.086 | 0.00055267 | -0.002142
2009-64-0055.mrgt | 2009-64-0055.sam | 121 | 303.315 | 303.315 | 0.025799 | 0.00018311 | 31.1651 | 31.1577 | 0.00043481 | -0.0073776 | 31.1651 | 31.1581 | 0.00027062 | -0.0069771
2009-64-0056.mrgt | 2009-64-0056.sam | 363 | 190.593 | 190.583 | 0.030298 | -0.010132 | 31.0608 | 31.0575 | 0.00041709 | -0.0033073 | 31.0608 | 31.0574 | 0.00046704 | -0.0033798
2009-64-0060.mrgt | 2009-64-0060.sam | 121 | 151.999 | 151.999 | 0.027777 | 0.00028992 | 30.9978 | 30.9848 | 0.00075564 | -0.012955 | 30.9978 | 30.981 | 0.0016805 | -0.016781
2009-64-0063.mrgt | 2009-64-0063.sam | 242 | 353.3 | 353.289 | 0.026198 | -0.011352 | 31.0159 | 31.0131 | 0.00023814 | -0.0027847 | 31.0159 | 31.0133 | 0.00020601 | -0.0025559
2009-64-0065.mrgt | 2009-64-0065.sam | 121 | 300.473 | 300.473 | 0.027714 | 0.00024414 | 30.9622 | 30.9563 | 0.00037938 | -0.0058575 | 30.9622 | 30.9566 | 0.00020827 | -0.0055676
2009-64-0068.mrgt | 2009-64-0068.sam | 170 | 120.621 | 120.606 | 0.041811 | -0.014542 | 30.8728 | 30.89 | 0.00041 | 0.017151 | 30.8728 | 30.8904 | 0.00038679 | 0.017555
Create Fit Sheet