## Station Data
Cruise 2009-64 December Chandler | [9 empty] | File: Cocc2009-64\QF 2009-64nuts.xls
Nutrient data summary with Quality Flags | [9 empty] | Date : December 21, 2009
Strait of Georgia Station Data
Samples were collected in plastic test tubes.
Samples were stored frozen and later analysed at IOS by Wendy Richardson.
The Astoria Analyzer was used for sample analyses.
Quality Flags:
c = Questionable measurement (no problem observed in sampling or analysis,
but value is not trusted, nonetheless; includes outlyers)
d = bad measurement (known problem with sampling or analysis,
but not serious enough to completely discard the value)
e = Not reported (lost sample; unredeemably bad measurement)
i = sample not drawn for this measurement from this bottle
f = average of duplicate samples
Cruise | Station | Cast | Sample # | NO3 | NO3 | SiO3 | SiO3 | PO4 | PO4 | Comments
|  |  |  | (uM/l) | QF | (uM/l) | QF | (uM/l) | QF
2009-64 | SI | 1 | 9 | 24.4 |  | 60.9 |  | 2.26
2009-64 | SI | 1 | 8 | 26.7 |  | 57.9 |  | 2.39
2009-64 | SI | 1 | 7 | 27.1 |  | 56.8 |  | 2.4
2009-64 | SI | 1 | 6 | 27.9 |  | 54.8 |  | 2.43
2009-64 | SI | 1 | 5 | 27.7 |  | 55.1 |  | 2.45
2009-64 | SI | 1 | 4 | 27.4 |  | 53.8 |  | 2.51
2009-64 | SI | 1 | 3 | 27.25 | f | 52.7 | f | 2.475 | f
2009-64 | SI | 1 | 2 | 27.8 |  | 54.1 |  | 2.55
2009-64 | SI | 1 | 1 | 26.5 |  | 72.6 |  | 3.56
2009-64 | 59 | 3 | 23 | 26.3 |  | 50 |  | 2.34
2009-64 | 59 | 3 | 22 | 25.8 |  | 49.1 |  | 2.31
2009-64 | 59 | 3 | 21 | 26 |  | 49.4 |  | 2.23
2009-64 | 59 | 3 | 20 | 25.7 |  | 48.9 |  | 2.28
2009-64 | 59 | 3 | 19 | 25.7 |  | 49 |  | 2.32
2009-64 | 59 | 3 | 18 | 25.3 |  | 48.4 |  | 2.32
2009-64 | 59 | 3 | 17 | 24.9 |  | 47.9 |  | 2.3
2009-64 | 59 | 3 | 16 | 22.8 |  | 44.1 |  | 2.22
2009-64 | 59 | 3 | 15 | 24.1 |  | 46.7 |  | 2.26
2009-64 | 59 | 3 | 14 | 24.1 |  | 46.8 |  | 2.25
2009-64 | 59 | 3 | 13 | 23.9 |  | 46.6 |  | 2.26
2009-64 | 59 | 3 | 12 | 22.8 | f | 45.05 | f | 2.19 | f
2009-64 | 59 | 3 | 11 | 22.7 |  | 45.3 |  | 2.21
2009-64 | 59 | 3 | 10 | 22.7 |  | 45.2 |  | 2.2
2009-64 | 102 | 7 | 38 | 4.7 |  | 23.1 |  | 1.12
2009-64 | 102 | 7 | 37 | 4.6 |  | 22.7 |  | 1.1
2009-64 | 102 | 7 | 36 | 4.9 |  | 22.9 |  | 1.12
2009-64 | 102 | 7 | 35 | 4.7 |  | 22.8 |  | 1.11
2009-64 | 102 | 7 | 34 | 10.1 |  | 28 |  | 1.33
2009-64 | 102 | 7 | 33 | 14.9 |  | 34.3 |  | 1.67
2009-64 | 102 | 7 | 32 | 17.15 | f | 36.45 | f | 1.795 | f
2009-64 | 102 | 7 | 31 | 21.6 |  | 38.5 |  | 2.04
2009-64 | 102 | 7 | 30 | 26.4 |  | 34.9 |  | 2.16
2009-64 | 102 | 7 | 29 | 29.7 |  | 38.5 |  | 2.34
2009-64 | 102 | 7 | 28 | 31.4 |  | 42 |  | 2.38
2009-64 | 102 | 7 | 27 | 32.3 |  | 43.9 |  | 2.49
2009-64 | 102 | 7 | 26 | 33.5 |  | 47 |  | 2.56
2009-64 | 102 | 7 | 25 | 33.8 |  | 48.5 |  | 2.71
2009-64 | 102 | 7 | 24 | 34 |  | 48.4 |  | 2.65
2009-64 | 75 | 10 | 52 | 4.9 |  | 24.8 |  | 1.09
2009-64 | 75 | 10 | 51 | 4 |  | 22.7 |  | 1.1
2009-64 | 75 | 10 | 50 | 4.2 |  | 21.8 |  | 1.1
2009-64 | 75 | 10 | 49 |  | i |  | i |  | i | Niskin did not close
2009-64 | 75 | 10 | 48 | 9.9 |  | 27.9 |  | 1.3
2009-64 | 75 | 10 | 47 | 12.55 | f | 31 | f | 1.455 | f
2009-64 | 75 | 10 | 46 | 15.8 |  | 34.8 |  | 1.68
2009-64 | 75 | 10 | 45 | 23.4 |  | 40.7 |  | 2.12
2009-64 | 75 | 10 | 44 | 24.2 |  | 32.8 |  | 1.98
2009-64 | 75 | 10 | 43 | 28.9 |  | 36.7 |  | 2.2
2009-64 | 75 | 10 | 42 | 30.9 |  | 40.7 |  | 2.36
2009-64 | 75 | 10 | 41 | 32.5 |  | 43.2 |  | 2.41
2009-64 | 75 | 10 | 40 | 32.7 |  | 44.3 |  | 2.5
2009-64 | 75 | 10 | 39 | 32.8 |  | 44.2 |  | 2.5
2009-64 | 72 | 13 | 65 | 14.5 |  | 34.4 |  | 1.69
2009-64 | 72 | 13 | 64 | 15 |  | 34.6 |  | 1.71
2009-64 | 72 | 13 | 63 | 15.9 |  | 35.7 |  | 1.75
2009-64 | 72 | 13 | 62 | 16.9 |  | 36.8 |  | 1.84
2009-64 | 72 | 13 | 61 | 17.4 |  | 37.5 |  | 1.83
2009-64 | 72 | 13 | 60 | 21.5 |  | 41.5 |  | 2.1
2009-64 | 72 | 13 | 59 | 22.45 | f | 42 | f | 2.115 | f
2009-64 | 72 | 13 | 58 | 25.2 |  | 43.6 |  | 2.13
2009-64 | 72 | 13 | 57 | 26.5 |  | 41.4 |  | 2.2
2009-64 | 72 | 13 | 56 | 25.7 |  | 35.4 |  | 2.13
2009-64 | 72 | 13 | 55 | 30.6 |  | 41.1 |  | 2.42
2009-64 | 72 | 13 | 54 | 30.8 |  | 41 |  | 2.46
2009-64 | 72 | 13 | 53 | 30.8 |  | 41 |  | 2.45
2009-64 | 69 | 16 | 77 | 19.6 |  | 39.7 |  | 2
2009-64 | 69 | 16 | 76 | 19.6 |  | 39.8 |  | 1.98
2009-64 | 69 | 16 | 75 | 19.6 |  | 39.8 |  | 2.03
2009-64 | 69 | 16 | 74 | 20 |  | 40.2 |  | 2.04
2009-64 | 69 | 16 | 73 | 20.1 |  | 40.1 |  | 1.96
2009-64 | 69 | 16 | 72 | 20.4 |  | 40.3 |  | 2.04
2009-64 | 69 | 16 | 71 | 21.15 | f | 40.95 | f | 2.08 | f
2009-64 | 69 | 16 | 70 | 22.3 |  | 41.2 |  | 2.2
2009-64 | 69 | 16 | 69 | 27.5 |  | 44.3 |  | 2.38
2009-64 | 69 | 16 | 68 | 30 |  | 42.1 |  | 2.44
2009-64 | 69 | 16 | 67 | 30.6 |  | 41.8 |  | 2.48
2009-64 | 69 | 16 | 66 | 30.5 |  | 41.7 |  | 2.45
2009-64 | ADCP | 19 | 87 | 19.4 |  | 41.1 |  | 2.01
2009-64 | ADCP | 19 | 86 | 19.4 |  | 41.1 |  | 2.02
2009-64 | ADCP | 19 | 85 | 19.4 |  | 40.1 |  | 1.97
2009-64 | ADCP | 19 | 84 | 19.3 |  | 40 |  | 2.02
2009-64 | ADCP | 19 | 83 | 19.5 |  | 40.2 |  | 2.04
2009-64 | ADCP | 19 | 82 | 19.8 |  | 39.9 |  | 2.05
2009-64 | ADCP | 19 | 81 | 20.2 | f | 39.9 | f | 2.07 | f
2009-64 | ADCP | 19 | 80 | 25 |  | 42.5 |  | 2.23
2009-64 | ADCP | 19 | 79 | 26.7 |  | 42.4 |  | 2.3
2009-64 | ADCP | 19 | 78 | 25.8 |  | 41 |  | 2.26
2009-64 | 65 | 23 | 97 | 22.7 |  | 46.7 |  | 2.14
2009-64 | 65 | 23 | 96 | 23 |  | 47 |  | 2.19
2009-64 | 65 | 23 | 95 | 22.3 |  | 45.3 |  | 2.19
2009-64 | 65 | 23 | 94 | 22.7 |  | 46.1 |  | 2.21
2009-64 | 65 | 23 | 93 | 21.75 | f | 44.45 | f | 2.155 | f
2009-64 | 65 | 23 | 92 | 20.5 |  | 41.9 |  | 2.08
2009-64 | 65 | 23 | 91 | 20.8 |  | 42.5 |  | 2.09
2009-64 | 65 | 23 | 90 | 18.5 |  | 38 |  | 1.98
2009-64 | 65 | 23 | 89 | 20.6 |  | 41.5 |  | 2.1
2009-64 | 65 | 23 | 88 | 20.5 |  | 41.5 |  | 2.09
2009-64 | 62 | 26 | 108 | 23.7 |  | 46.1 |  | 2.23
2009-64 | 62 | 26 | 107 | 23.3 |  | 45.3 |  | 2.23
2009-64 | 62 | 26 | 106 | 23.8 |  | 46.1 |  | 2.24
2009-64 | 62 | 26 | 105 | 23.65 | f | 45.95 | f | 2.225 | f
2009-64 | 62 | 26 | 104 | 23.8 |  | 46.1 |  | 2.25
2009-64 | 62 | 26 | 103 | 23.7 |  | 46 |  | 2.25
2009-64 | 62 | 26 | 102 | 23.5 |  | 45.2 |  | 2.22
2009-64 | 62 | 26 | 101 | 23.5 |  | 45.1 |  | 2.23
2009-64 | 62 | 26 | 100 | 23.2 |  | 44.8 |  | 2.16
2009-64 | 62 | 26 | 99 | 23.1 |  | 44.3 |  | 2.18
2009-64 | 62 | 26 | 98 | 23.1 |  | 41.8 |  | 2.17
2009-64 | 56 | 31 | 122 | 26.2 |  | 49.3 |  | 2.25
2009-64 | 56 | 31 | 121 | 26.2 |  | 48.9 |  | 2.35
2009-64 | 56 | 31 | 120 | 26.4 |  | 49.2 |  | 2.36
2009-64 | 56 | 31 | 119 | 26.2 |  | 49 |  | 2.35 |  | Crack at top of tube
2009-64 | 56 | 31 | 118 | 26.2 |  | 49.2 |  | 2.4 |  | Crack at top of tube
2009-64 | 56 | 31 | 117 | 26.1 |  | 49 |  | 2.37
2009-64 | 56 | 31 | 116 | 26 |  | 48.7 |  | 2.35
2009-64 | 56 | 31 | 115 | 25.4 |  | 47.9 |  | 2.33
2009-64 | 56 | 31 | 114 | 25.9 | f | 48.9 | f | 2.35 | f
2009-64 | 56 | 31 | 113 | 25.6 |  | 48.7 |  | 2.33
2009-64 | 56 | 31 | 112 | 25.2 |  | 48.1 |  | 2.32
2009-64 | 56 | 31 | 111 | 25.2 |  | 48.2 |  | 2.33
2009-64 | 56 | 31 | 110 | 25.1 |  | 48 |  | 2.32
2009-64 | 56 | 31 | 109 | 25.2 |  | 48.2 |  | 2.32
2009-64 | 46 | 39 | 134 | 25.6 |  | 54.4 |  | 2.08
2009-64 | 46 | 39 | 133 | 25.9 |  | 54.7 |  | 2.11
2009-64 | 46 | 39 | 132 | 26.4 |  | 52.6 |  | 2.19
2009-64 | 46 | 39 | 131 | 27 |  | 52 |  | 2.28
2009-64 | 46 | 39 | 130 | 26.5 |  | 49.9 |  | 2.3
2009-64 | 46 | 39 | 129 | 27.9 |  | 51.6 |  | 2.4
2009-64 | 46 | 39 | 128 | 27.8 |  | 51.6 |  | 2.39 |  | Cracked tube dup, omitted
2009-64 | 46 | 39 | 127 | 27.8 |  | 51.1 |  | 2.4
2009-64 | 46 | 39 | 126 | 27.3 |  | 49.6 |  | 2.4
2009-64 | 46 | 39 | 125 | 27.8 |  | 51.1 |  | 2.44
2009-64 | 46 | 39 | 124 | 28.4 |  | 52.6 |  | 2.56
2009-64 | 46 | 39 | 123 | 25.6 |  | 48.1 |  | 2.43
2009-64 | 42 | 41 | 150 | 25.6 |  | 56.2 |  | 2.06
2009-64 | 42 | 41 | 149 | 26 |  | 55.9 |  | 2.06
2009-64 | 42 | 41 | 148 | 26.6 |  | 52.5 |  | 2.15
2009-64 | 42 | 41 | 147 | 27.4 |  | 52.3 |  | 2.32
2009-64 | 42 | 41 | 146 | 26.9 |  | 50.4 |  | 2.36
2009-64 | 42 | 41 | 145 | 27.4 |  | 50.3 |  | 2.38
2009-64 | 42 | 41 | 144 | 28.8 |  | 52.4 |  | 2.47
2009-64 | 42 | 41 | 143 | 28.7 | f | 50.95 | f | 2.465 | f
2009-64 | 42 | 41 | 142 | 28.7 |  | 50.8 |  | 2.51
2009-64 | 42 | 41 | 141 | 28.7 |  | 51 |  | 2.45
2009-64 | 42 | 41 | 140 | 27.9 |  | 50 |  | 2.48
2009-64 | 42 | 41 | 139 | 28.1 |  | 50.8 |  | 2.45
2009-64 | 42 | 41 | 138 | 28.7 |  | 52.9 |  | 2.36
2009-64 | 42 | 41 | 137 | 29.2 |  | 59.9 |  | 2.81
2009-64 | 42 | 41 | 136 | 29.3 |  | 61.2 |  | 2.88
2009-64 | 42 | 41 | 135 | 29.4 |  | 61.4 |  | 2.89
2009-64 | 39 | 45 | 167 | 25.1 |  | 51.9 |  | 2
2009-64 | 39 | 45 | 166 | 25.2 |  | 51.6 |  | 2.13
2009-64 | 39 | 45 | 165 | 26.1 |  | 51 |  | 2.19
2009-64 | 39 | 45 | 164 | 27 |  | 51.4 |  | 2.34
2009-64 | 39 | 45 | 163 | 26.8 |  | 50.8 |  | 2.3
2009-64 | 39 | 45 | 162 | 27.4 |  | 52 |  | 2.35
2009-64 | 39 | 45 | 161 | 27.6 |  | 52.4 |  | 2.4
2009-64 | 39 | 45 | 160 | 29 |  | 53.7 |  | 2.48
2009-64 | 39 | 45 | 159 | 28.9 |  | 52.4 |  | 2.5
2009-64 | 39 | 45 | 158 | 28.7 | f | 51.6 | f | 2.445 | f
2009-64 | 39 | 45 | 157 | 28.8 |  | 52.3 |  | 2.53
2009-64 | 39 | 45 | 156 | 28.7 |  | 53.5 |  | 2.53
2009-64 | 39 | 45 | 155 | 28.8 |  | 54.6 |  | 2.59
2009-64 | 39 | 45 | 154 | 28.9 |  | 55.4 |  | 2.59
2009-64 | 39 | 45 | 153 | 29 |  | 57.2 |  | 2.67
2009-64 | 39 | 45 | 152 | 29.2 |  | 60.7 |  | 2.82
2009-64 | 39 | 45 | 151 | 29.3 |  | 62 |  | 2.81
2009-64 | 27 | 48 | 183 | 25.2 |  | 49.7 |  | 2.1
2009-64 | 27 | 48 | 182 | 24.3 |  | 46.4 |  | 2.15
2009-64 | 27 | 48 | 181 | 25.9 |  | 48.7 |  | 2.21
2009-64 | 27 | 48 | 180 | 28 |  | 50.4 |  | 2.38
2009-64 | 27 | 48 | 179 | 29.4 |  | 52.1 |  | 2.53
2009-64 | 27 | 48 | 178 | 29.8 |  | 51.9 |  | 2.53
2009-64 | 27 | 48 | 177 | 29.4 |  | 51.1 |  | 2.52
2009-64 | 27 | 48 | 176 | 28.8 |  | 49.9 |  | 2.48
2009-64 | 27 | 48 | 175 | 28.7 |  | 50.6 |  | 2.38
2009-64 | 27 | 48 | 174 | 28.5 |  | 51.3 |  | 2.51
2009-64 | 27 | 48 | 173 | 28.6 |  | 53.2 |  | 2.56
2009-64 | 27 | 48 | 172 | 28.35 | f | 53.9 | f | 2.515 | f
2009-64 | 27 | 48 | 171 | 28.6 |  | 54.4 |  | 2.55
2009-64 | 27 | 48 | 170 | 28.9 |  | 58.4 |  | 2.62
2009-64 | 27 | 48 | 169 | 28.9 |  | 57.9 |  | 2.64
2009-64 | 27 | 48 | 168 | 29.1 |  | 60.7 |  | 2.71
2009-64 | 2 | 52 | 198 | 24.5 |  | 54.6 |  | 1.94
2009-64 | 2 | 52 | 197 | 26.1 |  | 50.6 |  | 2.15
2009-64 | 2 | 52 | 196 | 26.5 |  | 49.4 |  | 2.25
2009-64 | 2 | 52 | 195 | 27.3 |  | 50.3 |  | 2.36
2009-64 | 2 | 52 | 194 | 27.4 |  | 50.7 |  | 2.34
2009-64 | 2 | 52 | 193 | 27.7 |  | 51.3 |  | 2.43
2009-64 | 2 | 52 | 192 | 28.6 |  | 52 |  | 2.57
2009-64 | 2 | 52 | 191 | 28.8 |  | 50.6 |  | 2.49
2009-64 | 2 | 52 | 190 | 28.4 |  | 50.1 |  | 2.45 |  | poor dup, omitted
2009-64 | 2 | 52 | 189 | 28.4 |  | 50.5 |  | 2.44
2009-64 | 2 | 52 | 188 | 28.6 |  | 52.8 |  | 2.52
2009-64 | 2 | 52 | 187 | 28 |  | 54.8 |  | 2.53
2009-64 | 2 | 52 | 186 | 29.2 |  | 56.9 |  | 2.6
2009-64 | 2 | 52 | 185 | 30.1 |  | 64.2 |  | 2.76
2009-64 | 2 | 52 | 184 | 29.6 |  | 63.7 |  | 2.75
2009-64 | 3 | 55 | 214 | 25.9 |  | 49.8 |  | 2.08
2009-64 | 3 | 55 | 213 | 27.2 |  | 50.9 |  | 2.27
2009-64 | 3 | 55 | 212 | 27.2 |  | 50.7 |  | 2.23
2009-64 | 3 | 55 | 211 | 26.9 |  | 50.1 |  | 2.21
2009-64 | 3 | 55 | 210 | 27.4 |  | 50.7 |  | 2.29
2009-64 | 3 | 55 | 209 | 27.8 |  | 52.1 |  | 2.39
2009-64 | 3 | 55 | 208 | 28.3 |  | 53.9 |  | 2.48
2009-64 | 3 | 55 | 207 | 29 |  | 52.3 |  | 2.41
2009-64 | 3 | 55 | 206 | 28.7 |  | 51.1 |  | 2.41
2009-64 | 3 | 55 | 205 | 28.6 |  | 50.9 |  | 2.36
2009-64 | 3 | 55 | 204 | 28.6 |  | 51.7 |  | 2.4
2009-64 | 3 | 55 | 203 | 28.5 |  | 51.6 |  | 2.46
2009-64 | 3 | 55 | 202 | 28.5 |  | 54.7 |  | 2.53
2009-64 | 3 | 55 | 201 | 28.55 | f | 59.6 | f | 2.605 | f
2009-64 | 3 | 55 | 200 | 27.9 |  | 62 |  | 2.57
2009-64 | 3 | 55 | 199 | 29.1 |  | 66.2 |  | 2.78
2009-64 | 6 | 56 | 229 | 26.6 |  | 50.2 |  | 2.24
2009-64 | 6 | 56 | 228 | 26.7 |  | 50.4 |  | 2.26
2009-64 | 6 | 56 | 227 | 25.8 |  | 48.4 |  | 2.24
2009-64 | 6 | 56 | 226 | 24.8 |  | 46.4 |  | 2.23
2009-64 | 6 | 56 | 225 | 27.1 |  | 50.8 |  | 2.32
2009-64 | 6 | 56 | 224 | 27.5 |  | 50.8 |  | 2.33
2009-64 | 6 | 56 | 223 | 25.9 |  | 48.8 |  | 2.28
2009-64 | 6 | 56 | 222 | 29.25 | f | 52.8 | f | 2.455 | f
2009-64 | 6 | 56 | 221 | 28.6 |  | 50.7 |  | 2.5
2009-64 | 6 | 56 | 220 | 28.5 |  | 51.9 |  | 2.37
2009-64 | 6 | 56 | 219 | 27.2 |  | 52.1 |  | 2.44
2009-64 | 6 | 56 | 218 | 28.8 |  | 57.8 |  | 2.53
2009-64 | 6 | 56 | 217 | 28.8 |  | 56.8 |  | 2.62
2009-64 | 6 | 56 | 216 | 28.9 |  | 57.1 |  | 2.63
2009-64 | 6 | 56 | 215 | 28.9 |  | 57.2 |  | 2.47
2009-64 | 9 | 60 | 241 | 26.1 |  | 49.5 |  | 2.23
2009-64 | 9 | 60 | 240 | 26.8 |  | 50.9 |  | 2.29
2009-64 | 9 | 60 | 239 | 26.9 |  | 50.9 |  | 2.3
2009-64 | 9 | 60 | 238 | 25.6 |  | 48.6 |  | 2.25
2009-64 | 9 | 60 | 237 | 26.5 |  | 49.7 |  | 2.25
2009-64 | 9 | 60 | 236 | 26.9 |  | 51.1 |  | 2.33
2009-64 | 9 | 60 | 235 | 27.45 | f | 53.2 | f | 2.42 | f
2009-64 | 9 | 60 | 234 | 30 |  | 57.8 |  | 2.7
2009-64 | 9 | 60 | 233 | 28.8 |  | 54.7 |  | 2.56
2009-64 | 9 | 60 | 232 | 30 |  | 62.5 |  | 2.79
2009-64 | 9 | 60 | 231 | 29.4 |  | 65.5 |  | 2.7
2009-64 | 9 | 60 | 230 | 29.4 |  | 61.6 |  | 2.78
2009-64 | 12 | 63 | 258 | 23.4 |  | 45.6 |  | 2.07
2009-64 | 12 | 63 | 257 | 21.5 |  | 41.5 |  | 1.98
2009-64 | 12 | 63 | 256 | 25.8 |  | 49.3 |  | 2.23
2009-64 | 12 | 63 | 255 | 26.5 |  | 50.8 |  | 2.2
2009-64 | 12 | 63 | 254 | 26.8 |  | 50.3 |  | 2.34
2009-64 | 12 | 63 | 253 | 26 |  | 49.7 |  | 2.31
2009-64 | 12 | 63 | 252 | 27.5 |  | 52.6 |  | 2.36
2009-64 | 12 | 63 | 251 | 30.3 |  | 57 |  | 2.62
2009-64 | 12 | 63 | 250 | 30.1 |  | 56.5 |  | 2.64
2009-64 | 12 | 63 | 249 | 29.8 |  | 56.6 |  | 2.63
2009-64 | 12 | 63 | 248 | 29 |  | 55.1 |  | 2.45
2009-64 | 12 | 63 | 247 | 29.4 |  | 59.5 |  | 2.59
2009-64 | 12 | 63 | 246 | 29.05 | f | 57.7 | f | 2.505 | f
2009-64 | 12 | 63 | 245 | 29.4 |  | 60.5 |  | 2.6
2009-64 | 12 | 63 | 244 | 29.2 |  | 60.2 |  | 2.56
2009-64 | 12 | 63 | 243 | 28.9 |  | 62.7 |  | 2.57
2009-64 | 12 | 63 | 242 | 29.1 |  | 63 |  | 2.53
2009-64 | 14 | 65 | 274 | 25.4 |  | 50.7 |  | 2.23
2009-64 | 14 | 65 | 273 | 26.6 |  | 52.7 |  | 2.32
2009-64 | 14 | 65 | 272 | 27.5 |  | 53.9 |  | 2.36
2009-64 | 14 | 65 | 271 | 26.8 |  | 53.1 |  | 2.36
2009-64 | 14 | 65 | 270 | 27.4 |  | 54.3 |  | 2.44
2009-64 | 14 | 65 | 269 | 28.2 |  | 56.1 |  | 2.48
2009-64 | 14 | 65 | 268 | 28.2 |  | 56.4 |  | 2.51
2009-64 | 14 | 65 | 267 | 29 |  | 55.5 |  | 2.6
2009-64 | 14 | 65 | 266 | 29.1 |  | 56.2 |  | 2.52
2009-64 | 14 | 65 | 265 | 29.1 |  | 58.8 |  | 2.58
2009-64 | 14 | 65 | 264 | 29.3 |  | 59.9 |  | 2.5
2009-64 | 14 | 65 | 263 | 29.2 |  | 59.9 |  | 2.52
2009-64 | 14 | 65 | 262 | 28.65 | f | 58.75 | f | 2.57 | f
2009-64 | 14 | 65 | 261 | 29.1 |  | 61 |  | 2.62
2009-64 | 14 | 65 | 260 | 29.2 |  | 62.9 |  | 2.57
2009-64 | 14 | 65 | 259 | 28.4 |  | 61.7 |  | 2.59
2009-64 | 16 | 68 | 285 | 23.1 |  | 46.1 |  | 2.12
2009-64 | 16 | 68 | 284 | 25.5 |  | 50.8 |  | 2.26
2009-64 | 16 | 68 | 283 | 27.2 | f | 53.85 | f | 2.39 | f
2009-64 | 16 | 68 | 282 | 28.2 |  | 55.6 |  | 2.45
2009-64 | 16 | 68 | 281 | 28.5 |  | 56.1 |  | 2.5
2009-64 | 16 | 68 | 280 | 28.5 |  | 55.7 |  | 2.46
2009-64 | 16 | 68 | 279 | 29.5 |  | 56.8 |  | 2.56
2009-64 | 16 | 68 | 278 | 29.6 |  | 57.8 |  | 2.6
2009-64 | 16 | 68 | 277 | 29 |  | 57.3 |  | 2.58
2009-64 | 16 | 68 | 276 | 29.3 |  | 58.2 |  | 2.49
2009-64 | 16 | 68 | 275 | 29.1 |  | 58.4 |  | 2.57

## Calc precision
Calculate Precision of Duplicates | [10 empty] | File: Cocc2009-64\QF 2009-64nuts.xls
Date : December 21, 2009
Station | Cast | Sample # | NO3 | SiO3 | PO4 |  |  |  | NO3 diff sq | Si diff sq | PO4 diff sq | Comments
SI | 1 | 3 | 27.3 | 52.7 | 2.48
SI | 1 | 3 dup | 27.2 | 52.7 | 2.47 | 27.25 | 52.7 | 2.475 | 0.01 | 0 | 0.0001
59 | 3 | 12 | 22.8 | 45.1 | 2.18
59 | 3 | 12 dup | 22.8 | 45 | 2.2 | 22.8 | 45.05 | 2.19 | 0 | 0.01 | 0.0004
102 | 7 | 32 | 17.1 | 36.5 | 1.8
102 | 7 | 32 dup | 17.2 | 36.4 | 1.79 | 17.15 | 36.45 | 1.795 | 0.01 | 0.01 | 0.0001
75 | 10 | 47 | 12.4 | 30.7 | 1.45
75 | 10 | 47 dup | 12.7 | 31.3 | 1.46 | 12.55 | 31 | 1.455 | 0.09 | 0.36 | 0.0001
72 | 13 | 59 | 22.4 | 41.9 | 2.14
72 | 13 | 59 dup | 22.5 | 42.1 | 2.09 | 22.45 | 42 | 2.115 | 0.01 | 0.04 | 0.0025
69 | 16 | 71 | 21.2 | 41 | 2.09
69 | 16 | 71 dup | 21.1 | 40.9 | 2.07 | 21.15 | 40.95 | 2.08 | 0.01 | 0.01 | 0.0004
ADCP | 19 | 81 | 20.3 | 39.9 | 2.03
ADCP | 19 | 81 dup | 20.1 | 39.9 | 2.11 | 20.2 | 39.9 | 2.07 | 0.04 | 0 | 0.0064
65 | 23 | 93 | 21.7 | 44.4 | 2.14
65 | 23 | 93 dup | 21.8 | 44.5 | 2.17 | 21.75 | 44.45 | 2.155 | 0.01 | 0.01 | 0.0009
62 | 26 | 105 | 23.6 | 45.9 | 2.22
62 | 26 | 105 dup | 23.7 | 46 | 2.23 | 23.65 | 45.95 | 2.225 | 0.01 | 0.01 | 0.0001
56 | 31 | 114 | 25.9 | 48.9 | 2.36
56 | 31 | 114 dup | 25.9 | 48.9 | 2.34 | 25.9 | 48.9 | 2.35 | 0 | 0 | 0.0004
42 | 41 | 143 | 28.7 | 51.3 | 2.46
42 | 41 | 143 dup | 28.7 | 50.6 | 2.47 | 28.7 | 50.95 | 2.465 | 0 | 0.49 | 0.0001
39 | 45 | 158 | 28.6 | 51.6 | 2.46
39 | 45 | 158 dup | 28.8 | 51.6 | 2.43 | 28.7 | 51.6 | 2.445 | 0.04 | 0 | 0.0009
27 | 48 | 172 | 28.2 | 53.6 | 2.54
27 | 48 | 172 dup | 28.5 | 54.2 | 2.49 | 28.35 | 53.9 | 2.515 | 0.09 | 0.36 | 0.0025
2 | 52 | 190 | 26.7 | 47.2 | 2.32 | [6 empty] | poor dup, omit
2 | 52 | 190 dup | 28.4 | 50.1 | 2.45 | 27.55 | 48.65 | 2.385
3 | 55 | 201 | 28.4 | 59.3 | 2.59
3 | 55 | 201 dup | 28.7 | 59.9 | 2.62 | 28.55 | 59.6 | 2.605 | 0.09 | 0.36 | 0.0009
6 | 56 | 222 | 29.2 | 52.7 | 2.4
6 | 56 | 222 dup | 29.3 | 52.9 | 2.51 | 29.25 | 52.8 | 2.455 | 0.01 | 0.04 | 0.0121
9 | 60 | 235 | 27.4 | 53 | 2.42
9 | 60 | 235 dup | 27.5 | 53.4 | 2.42 | 27.45 | 53.2 | 2.42 | 0.01 | 0.16 | 0
12 | 63 | 246 | 29 | 57.7 | 2.57
12 | 63 | 246 dup | 29.1 | 57.7 | 2.44 | 29.05 | 57.7 | 2.505 | 0.01 | 0 | 0.0169
14 | 65 | 262 | 29.2 | 59.7 | 2.64
14 | 65 | 262 dup | 28.1 | 57.8 | 2.5 | 28.65 | 58.75 | 2.57 | 1.21 | 3.61 | 0.0196
16 | 68 | 283 | 27.1 | 53.5 | 2.36
16 | 68 | 283 dup | 27.3 | 54.2 | 2.42 | 27.2 | 53.85 | 2.39 | 0.04 | 0.49 | 0.0036
[5 empty] | SUM OF (X-Y)SQ |  |  |  | 1.69 | 5.96 | 0.068
[5 empty] | COUNT |  |  |  | 19 | 19 | 19
[5 empty] | SUM/2*COUNT |  |  |  | 0.044474 | 0.15684 | 0.0017895
[5 empty] | SQRT(SUM/2*COUNT) |  |  |  | 0.21089 | 0.39603 | 0.042302
[5 empty] | min |  |  |  | 12.4 | 30.7 | 1.45
[5 empty] | max |  |  |  | 29.3 | 59.9 | 2.64

## Precision Statement
Cruise 2009-64 December Chandler |  | File: Cocc2009-64\QF 2009-64nuts.xls
Samples were stored frozen and later analysed at IOS by Wendy Richardson. |  | Date : December 21, 2009
The Astoria Analyzer was used for sample analyses.
Precision was determined by analyzing replicate samples drawn from one Niskin.
Pooled standard deviation of pairs of samples (Sp) was calucalated by:
Sp = SQRT{sum (d*d)/2k}
where k = no. of pairs and d = difference between pairs
Sp for nitrate for the range 12.4 to 29.3 uM was 0.21, k = 19
Sp for silicate for the range 30.7 to 59.9 uM was 0.39 , k = 19
Sp for phosphate for the range 1.45 to 2.64 uM was 0.042, k = 19
Accuracy of the stock standard batch was determined by using commercially available standards from WAKO Chemicals
(Sagami Chemical Company of Japan).
The values were within 0.30 % of the 20 uM Nitrate Standard.
The values were within 0.73 % of the 100 uM Silicate Standard.
August 2009 Nitrate and Silicate stock standard solutions were used for this cruise analyses.
November 2009 stock standard solution was used for Phosphate for this cruise analyses.