## REVISION NOTICE TABLE

| ### DATE | ### DESCRIPTION OF REVISION |
| --- | --- |

## PROCESSING NOTES

Cruise: 2009-69

Agency: IOS, IOS, Ocean Sciences Division, Sidney, B.C.

Location: Broughton Archipelago	Project: Sea Lice Monitoring

Party Chief: Galbraith M.		Platform: Princeton

Date: 29 November 2009 –8 December 2009

Processed by: Germaine Gatien

Date of Processing: 12 January 2010 – 20 January 2010

Number of original CTD casts: 	48	Number of CTD casts processed: 48

# INSTRUMENT SUMMARY

A SeaBird Model SBE-25 CTD (s/n 0334) was used.

# SUMMARY OF QUALITY AND CONCERNS

The pressure sensor is considered ±1db.

Upcast data were used for two casts. For cast #87 the pressure values did not change for many scans during the downcast and then quickly “caught up”; this has occurred before with this sensor. For cast #101 data were unusable in the first 5m of the downcast. In both cases upcast data looked fine.

The times in the log are in PDT; the times in the headers of the archived files are in UTC.

There was no salinity calibration sampling and no history for the conductivity sensor, so no comment can be made on the salinity accuracy.

The CTD salinity precision is considered ±0.001psu when stopped. In motion the salinity is considered ±0.005psu. (In areas of rapid temperature change the SBE25 does not perform this well, but for this data set the gradients were generally fairly low.)

# PROCESSING SUMMARY

1. Seasave - This step was completed at sea; the raw data is in a single HEX file.

2. Preliminary Steps

The Daily Log was obtained. There was no note of any problems encountered.

File names will be assigned after conversion and separation into individual casts.

The cruise summary sheet was completed.

## 3. Conversion of Raw Data

There were problems converting the data because of some confusion about what sensors were used. The headers in the hex file indicated it was CTD 0334 with T/C/P sensors 2106/1729/0334. When it was assumed the CTD had sensors 5013/3531/0424 good results were achieved, but only after editing the hex file headers to match those numbers. Also the scans per record had to be changed in the header from 1 to 8. The new configuration file was saved as 2009-69-ctd.con.

The parameters could not be independently confirmed, but they were obtained by Scott Rose directly from the factory, so are assumed to be correct. The T and C sensors have no entries in the history file, but the pressure sensor has been used on previous cruises.

The converted file contains CTD data from many casts. The section routine was used to separate the data into individual casts based on scan range for each cast that is recorded in the header. The casts were first numbered chronologically, but then adjusted to match the event numbers in the log book. There are 48 files and there are 48 CTD entries in the log book.

The times in the headers differ from the CTD records by 1 hour. This is likely a computer clock problem. The log times look like PST, with work between 7:45 and 18:00, with very few casts after 17:00. The header times seem rather late for this kind of work at this time of year. The log will be assumed correct and times will be converted to UTC later in the processing.

Data from a few casts were plotted. The temperature is increasing with pressure, but the range is small.

The temperature and conductivity move to “in-water” values at pressures of -0.2 to -0.8db, and -0.7db looks like a reasonable estimate for the surface; this fits previous experience with this pressure sensor. The descent rate appears to have been kept reasonably high most of the time (between 0.5 and 0.8m/s) and about as steady as possible for this type of deployment.

The soak period was close to 1 minute, and seems to have been long enough to reach equilibrium.

The salinity channel was removed at this stage; it will be derived after CELLTM.

There are a few cases of fairly sharp T and C gradients with “in-water” values at 1 to 5db, but these look believable, not a sign that that there was not a long-enough soak.

4. WILDEDIT

This step is usually skipped and since there is no evidence of spikes it was not run.

5. WFILTER

WFILTER was run using cosine filter, size 5 on the pressure, temperature and conductivity channels. Plots were made before and after this step. Reversals disappear from the pressure after this step but the trace is not overly smooth. When salinity was derived on filtered files it was much smoother than the unfiltered version, but temperature and salinity still have some reversals as expected.

6. CELLTM

SeaBird recommend the use of (α, 1/β) = (0.04, 8) for CELLTM for the SBE 25. A variety of settings were tested, but all settings seemed to make the data worse. This is presumably because the routine is intended to correct for problems that arise when temperature changes fairly rapidly, and there is almost no variation for this data. The routine was not run.

7. DERIVE

Program DERIVE was run to calculate salinity.

8.  Conversion to IOS Headers

The IOSSHELL routine was used to convert the CNV files to IOS Headers.

9. Checking Headers

HEADEDIT was used to add lines for latitude, longitude, station name and water depth.

A text editor was then used to enter the relevant details in all the files.

The times in the headers are all set to the time of the first cast, but the list of scan ranges for each cast includes the start time for each cast as well. That information was used to enter times in the headers of the HDR files. Those times are one hour later than the log book times which are assumed to be in PST, but this will be corrected in a separate step to avoid errors.

CLEAN was run to add event numbers which were missing from some files.

A cross-reference listing was produced and details checked against the log records. Some errors were found and corrected in the HDR files – then CLEAN was rerun.

ADD TIME CHANNEL was run to add 7 hours to the header times, so they are in UTC.

HEADER CHECK was run, and no problems were found.

The surface check showed all casts started between -0.6 and -1.5. The conductivity at the surface was near zero, so we expect negative pressures. Looking at a few data files carefully it appears that the conductivity changes from in-water to out-of-water at about -0.6db to -0.8db for the downcasts. The evidence is not completely clear because the sensors may still have been equilibrating and/or the pumps off, but recalibrating by adding 0.7db to the pressure looks reasonable; that was done for cruises 2008-20 and 2008-21 when this sensor was last used. A slightly larger offset is suggested by the upcast data, but that may just be the effect of the CTD carrying a little higher salinity water along with it or the pumps being turned off.

CALIBRATE was run using file 2009-69-recal1.ccf to add 0.7db to the pressure.

##### 10. Test plots

Plots were made. The near-surface data looks unreliable, so before editing (but after DELETE) it would be efficient to clip the data as is often done with SBE25 data. Clipping to +1db would leave a little bad surface data, but clipping any deeper might lead to the loss of some good data.

11. Salinity bottles

Salinity

No salinity calibration samples were available.

12. SHIFT

Conductivity

Tests were run using values from -2 to +0.5. During 2007-13 and -14 when this sensor was used a setting of -0.6s looked best and for 2008-20 a setting of -0.25s looked best overall. For this cruise the salinity is pretty smooth anyway, so little change was noted, but the beset results varied from -0.6 to -1.5. The variation is at least partly due to varying descent rates. Individual settings for each cast might improve the data, but the differences in values are very small. A shift of -0.8 records (0.1seconds) was applied to all casts.

13. DELETE

DELETE was run on all casts using the following parameters:

Surface Record Removal: Last Press Min.	Surface Swell Pressure Tolerance: 1.0

Swells deleted. Warning message if pressure difference of 2.00

Drop rates < 0.3m/s (calculated over 5 points) was deleted from 10db to 10db above the maximum pressure.

COMMENTS ON WARNINGS: The only warning pertained to cast #87, which looks very odd. The pressure increases far too quickly to be believed during the downcast. The scan numbers increase as expected, but pressure shifts suddenly between consecutive scan #s, as though the CTD failed to record data for awhile and then quickly “caught up” Similar problems have been observed before with this instrument. The upcast data looks better, so the SHF file was put through REVERSE and then through DEL. While there was still a warning it pertained to the part that is from the downcast.

- DETAILED EDITING

CLIP was used to remove data above 1db.

Most files needed a little editing. CTDEDIT was used to clean salinity where unstable features looked likely to be caused by misalignment of T and C. Not all unstable features were removed.

In the course of editing it was realized that the downcast conductivity and salinity were bad in the top 5m of cast #101, so the SHF file was put through steps REVERSE, DEL and CLIP again so that upcast data were selected for editing and eventual archiving.

Notes of editing details were made in the headers.

Notes were also put into the headers of casts #87 and 101 indicating the data are from upcasts.

- Inter-comparisons

Sensor History – There was no history for the conductivity sensor. The pressure sensor had been used for 5 other cruises that have been processed since it was last calibrated at the factory. An offset of +0.7db was applied to all but one of them. For one cruise no offset was applied.

Comparison of repeat casts –There are no repeat casts, and while some casts are close they are shallow and in an area of great variability, so comparisons are not useful.

Historic Ranges – The only climatology available for this area covered areas too large to reflect these near-shore casts with the exception of a few close to Queen Charlotte Sound; the data were mostly within the historic ranges for those casts. The climatology probably has little or no data from this area in December.

- Bin Average and REMOVE

The files were bin averaged using 1db bins.

REMOVE was run to remove Scan_Number, Conductivity:Primary, Descent Rate and Flag channels.

- HEADER EDIT and final checks

Header Edit was used to fix formats and channel names and to add the following note to the headers:

The pressure sensor is considered ±1db

The CTD salinity precision is considered ±0.001psu when stopped. In motion

the salinity is considered ±0.005psu.

There were no salinity calibration samples and there is no history for these

sensors since their most recent recalibration, so no comment can be made

on the accuracy.

The final files were named CTD.

It was discovered at the end of processing that the bottom depths were in feet. They were changed to metres in the final CTD files.

A cross-reference listing was produced.

A header check was run on the CTD files and no errors found.

## Institute of Ocean Sciences

## CRUISE SUMMARY

Cruise ID#: 2009-69

Dates: Start: 29 November 2009 End: 8 December 2009

Location: Broughton Archipelago

Vessel: Princeton

Party Chief: Galbraith M.

| CTD# | Make | Model | Serial# | Used with Rosette? | CTD Calibration Sheet Competed? |
| --- | --- | --- | --- | --- | --- |
| 1 | SEABIRD | 25 | 0334 | No | Yes |

CTD CALIBRATION INFORMATION

Make/Model/Serial#:	SEABIRD/SBE25/0334	Cruise ID#:		2009-69

| Calibration Information |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Sensor |  | Pre-Cruise |  | Post Cruise |  |
| Name | S/N | Date | Location | Date | Location |
| Temperature | 5013 | 30 Dec 08 | Factory |  |  |
| Conductivity | 3531 | 07 Jan 09 | Factory |  |  |
| Pressure | 0464 | 23 Mar 06 | Factory |  |  |