## File List
Number of Files= |  | 1
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 2010-01-0034.thn1 | 2010-01-0034.thn2 | 13 | 53 | 2010-01-0034.thn1 & 2010-01-0034.thn2

## (DO_39 - DO_34)
Calculation of Linear Least Squares Fit For
(DO_39 - DO_34)
2
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (DO_39 - DO_34), Prop=DO_39
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.16103 |  | X | CALC Y
m= | -0.025361 | 0.0097848 |  | Std Dev of Resid |  | 0.053146 |  | 0.274 | -0.093567
b= | -0.086618 | 0.0168 |  | Resid Sum of Squares |  | 0.098857 |  | 2.749 | -0.15634
# of Values Extracted = |  |  | 41
# of Values Used in Fit = |  |  | 37
File | Use | Pressure | DO_39 | DO_39 | Diff (DO_39 - DO_34) |  |  |  | Fit vs. | DO_39
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y | DO34 | DO39
1 | NO | 99.996 | 6.157 | 0 | -0.907 | -0.24277 | 0.66423 |  | 1.248 | -0.211 | 7.064 | 6.157
1 | NO | 200.005 | 3.72 | 0 | -0.738 | -0.18096 | 0.55704 |  | 0.841 | -0.177 | 4.458 | 3.72
1 | NO | 299.985 | 2.11 | 0 | -0.476 | -0.14013 | 0.33587 |  | 0.595 | -0.12 | 2.586 | 2.11
1 | YES | 400.003 | 1.248 | 0 | -0.211 | -0.11827 | 0.092732 |  | 0.472 | -0.067 | 1.459 | 1.248
1 | YES | 499.995 | 0.841 | 0 | -0.177 | -0.10795 | 0.069054 |  | 0.425 | -0.066 | 1.018 | 0.841
1 | YES | 600.008 | 0.595 | 0 | -0.12 | -0.10171 | 0.018292 |  | 0.348 | -0.044 | 0.715 | 0.595
1 | YES | 699.993 | 0.472 | 0 | -0.067 | -0.098588 | -0.031588 |  | 0.305 | -0.017 | 0.539 | 0.472
1 | YES | 800.004 | 0.425 | 0 | -0.066 | -0.097396 | -0.031396 |  | 0.274 | -0.029 | 0.491 | 0.425
1 | YES | 899.984 | 0.348 | 0 | -0.044 | -0.095443 | -0.051443 |  | 0.29 | -0.029 | 0.392 | 0.348
1 | YES | 999.837 | 0.305 | 0 | -0.017 | -0.094353 | -0.077353 |  | 0.313 | -0.044 | 0.322 | 0.305
1 | YES | 1099.97 | 0.274 | 0 | -0.029 | -0.093567 | -0.064567 |  | 0.378 | -0.059 | 0.303 | 0.274
1 | YES | 1200.01 | 0.29 | 0 | -0.029 | -0.093973 | -0.064973 |  | 0.485 | -0.061 | 0.319 | 0.29
1 | YES | 1300 | 0.313 | 0 | -0.044 | -0.094556 | -0.050556 |  | 0.59 | -0.1 | 0.357 | 0.313
1 | YES | 1400.03 | 0.378 | 0 | -0.059 | -0.096204 | -0.037204 |  | 0.724 | -0.112 | 0.437 | 0.378
1 | YES | 1499.98 | 0.485 | 0 | -0.061 | -0.098918 | -0.037918 |  | 0.844 | -0.144 | 0.546 | 0.485
1 | YES | 1600 | 0.59 | 0 | -0.1 | -0.10158 | -0.0015808 |  | 0.996 | -0.164 | 0.69 | 0.59
1 | YES | 1699.99 | 0.724 | 0 | -0.112 | -0.10498 | 0.0070208 |  | 1.125 | -0.178 | 0.836 | 0.724
1 | YES | 1800.02 | 0.844 | 0 | -0.144 | -0.10802 | 0.035977 |  | 1.259 | -0.184 | 0.988 | 0.844
1 | YES | 1899.99 | 0.996 | 0 | -0.164 | -0.11188 | 0.052123 |  | 1.39 | -0.19 | 1.16 | 0.996
1 | YES | 2000.03 | 1.125 | 0 | -0.178 | -0.11515 | 0.062851 |  | 1.508 | -0.174 | 1.303 | 1.125
1 | YES | 2100 | 1.259 | 0 | -0.184 | -0.11855 | 0.065453 |  | 1.616 | -0.196 | 1.443 | 1.259
1 | YES | 2199.99 | 1.39 | 0 | -0.19 | -0.12187 | 0.06813 |  | 1.74 | -0.226 | 1.58 | 1.39
1 | YES | 2299.98 | 1.508 | 0 | -0.174 | -0.12486 | 0.049138 |  | 1.868 | -0.234 | 1.682 | 1.508
1 | YES | 2399.4 | 1.616 | 0 | -0.196 | -0.1276 | 0.068399 |  | 1.996 | -0.187 | 1.812 | 1.616
1 | YES | 2500.05 | 1.74 | 0 | -0.226 | -0.13075 | 0.095254 |  | 2.092 | -0.157 | 1.966 | 1.74
1 | YES | 2600.01 | 1.868 | 0 | -0.234 | -0.13399 | 0.10001 |  | 2.205 | -0.127 | 2.102 | 1.868
1 | YES | 2700.01 | 1.996 | 0 | -0.187 | -0.13724 | 0.049762 |  | 2.292 | -0.115 | 2.183 | 1.996
1 | YES | 2799.99 | 2.092 | 0 | -0.157 | -0.13967 | 0.017327 |  | 2.376 | -0.111 | 2.249 | 2.092
1 | YES | 2900.01 | 2.205 | 0 | -0.127 | -0.14254 | -0.015539 |  | 2.45 | -0.112 | 2.332 | 2.205
1 | YES | 2999.99 | 2.292 | 0 | -0.115 | -0.14475 | -0.029745 |  | 2.516 | -0.114 | 2.407 | 2.292
1 | YES | 3099.99 | 2.376 | 0 | -0.111 | -0.14688 | -0.035876 |  | 2.555 | -0.135 | 2.487 | 2.376
1 | YES | 3199.48 | 2.45 | 0 | -0.112 | -0.14875 | -0.036752 |  | 2.611 | -0.121 | 2.562 | 2.45
1 | YES | 3300 | 2.516 | 0 | -0.114 | -0.15043 | -0.036426 |  | 2.65 | -0.12 | 2.63 | 2.516
1 | YES | 3400 | 2.555 | 0 | -0.135 | -0.15142 | -0.016415 |  | 2.684 | -0.109 | 2.69 | 2.555
1 | YES | 3500.01 | 2.611 | 0 | -0.121 | -0.15284 | -0.031836 |  | 2.719 | -0.11 | 2.732 | 2.611
1 | YES | 3599.99 | 2.65 | 0 | -0.12 | -0.15382 | -0.033825 |  | 2.733 | -0.132 | 2.77 | 2.65
1 | YES | 3700.07 | 2.684 | 0 | -0.109 | -0.15469 | -0.045687 |  | 2.749 | -0.105 | 2.793 | 2.684
1 | YES | 3799.98 | 2.719 | 0 | -0.11 | -0.15557 | -0.045575 |  |  |  | 2.829 | 2.719
1 | YES | 3900.02 | 2.733 | 0 | -0.132 | -0.15593 | -0.02393 |  |  |  | 2.865 | 2.733
1 | YES | 4000.23 | 2.749 | 0.0042427 | -0.105 | -0.15634 | -0.051335 |  |  |  | 2.854 | 2.749
1 | NO | 0 | 0 | 0 | -2.878 | -0.086618 | 2.7914 |  |  |  | 2.878 | 0
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
FIT vs. Pressure
FIT vs. DO_39
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (DO_39 - DO_34) (2)
Calculation of Linear Least Squares Fit For
(DO_39 - DO_34)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (DO_39 - DO_34), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.12062 |  | X | CALC Y
m= | 5.1146e-05 | 2.2403e-05 |  | Std Dev of Resid |  | 0.16356 |  | 99.996 | -0.26728
b= | -0.2724 | 0.052706 |  | Resid Sum of Squares |  | 1.0165 |  | 4000.23 | -0.067802
# of Values Extracted = |  |  | 41
# of Values Used in Fit = |  |  | 40
File | Use | Pressure | DO_39 | DO_39 | Diff (DO_39 - DO_34) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 99.996 | 6.157 | 0 | -0.907 | -0.26728 | 0.63972 |  | 99.996 | -0.907
1 | YES | 200.005 | 3.72 | 0 | -0.738 | -0.26217 | 0.47583 |  | 200.005 | -0.738
1 | YES | 299.985 | 2.11 | 0 | -0.476 | -0.25705 | 0.21895 |  | 299.985 | -0.476
1 | YES | 400.003 | 1.248 | 0 | -0.211 | -0.25194 | -0.040939 |  | 400.003 | -0.211
1 | YES | 499.995 | 0.841 | 0 | -0.177 | -0.24683 | -0.069825 |  | 499.995 | -0.177
1 | YES | 600.008 | 0.595 | 0 | -0.12 | -0.24171 | -0.12171 |  | 600.008 | -0.12
1 | YES | 699.993 | 0.472 | 0 | -0.067 | -0.2366 | -0.1696 |  | 699.993 | -0.067
1 | YES | 800.004 | 0.425 | 0 | -0.066 | -0.23148 | -0.16548 |  | 800.004 | -0.066
1 | YES | 899.984 | 0.348 | 0 | -0.044 | -0.22637 | -0.18237 |  | 899.984 | -0.044
1 | YES | 999.837 | 0.305 | 0 | -0.017 | -0.22126 | -0.20426 |  | 999.837 | -0.017
1 | YES | 1099.97 | 0.274 | 0 | -0.029 | -0.21614 | -0.18714 |  | 1099.97 | -0.029
1 | YES | 1200.01 | 0.29 | 0 | -0.029 | -0.21102 | -0.18202 |  | 1200.01 | -0.029
1 | YES | 1300 | 0.313 | 0 | -0.044 | -0.20591 | -0.16191 |  | 1300 | -0.044
1 | YES | 1400.03 | 0.378 | 0 | -0.059 | -0.20079 | -0.14179 |  | 1400.03 | -0.059
1 | YES | 1499.98 | 0.485 | 0 | -0.061 | -0.19568 | -0.13468 |  | 1499.98 | -0.061
1 | YES | 1600 | 0.59 | 0 | -0.1 | -0.19056 | -0.090564 |  | 1600 | -0.1
1 | YES | 1699.99 | 0.724 | 0 | -0.112 | -0.18545 | -0.07345 |  | 1699.99 | -0.112
1 | YES | 1800.02 | 0.844 | 0 | -0.144 | -0.18033 | -0.036334 |  | 1800.02 | -0.144
1 | YES | 1899.99 | 0.996 | 0 | -0.164 | -0.17522 | -0.011221 |  | 1899.99 | -0.164
1 | YES | 2000.03 | 1.125 | 0 | -0.178 | -0.1701 | 0.0078955 |  | 2000.03 | -0.178
1 | YES | 2100 | 1.259 | 0 | -0.184 | -0.16499 | 0.019009 |  | 2100 | -0.184
1 | YES | 2199.99 | 1.39 | 0 | -0.19 | -0.15988 | 0.030123 |  | 2199.99 | -0.19
1 | YES | 2299.98 | 1.508 | 0 | -0.174 | -0.15476 | 0.019237 |  | 2299.98 | -0.174
1 | YES | 2399.4 | 1.616 | 0 | -0.196 | -0.14968 | 0.046322 |  | 2399.4 | -0.196
1 | YES | 2500.05 | 1.74 | 0 | -0.226 | -0.14453 | 0.081469 |  | 2500.05 | -0.226
1 | YES | 2600.01 | 1.868 | 0 | -0.234 | -0.13942 | 0.094582 |  | 2600.01 | -0.234
1 | YES | 2700.01 | 1.996 | 0 | -0.187 | -0.1343 | 0.052697 |  | 2700.01 | -0.187
1 | YES | 2799.99 | 2.092 | 0 | -0.157 | -0.12919 | 0.02781 |  | 2799.99 | -0.157
1 | YES | 2900.01 | 2.205 | 0 | -0.127 | -0.12407 | 0.0029258 |  | 2900.01 | -0.127
1 | YES | 2999.99 | 2.292 | 0 | -0.115 | -0.11896 | -0.0039606 |  | 2999.99 | -0.115
1 | YES | 3099.99 | 2.376 | 0 | -0.111 | -0.11385 | -0.002846 |  | 3099.99 | -0.111
1 | YES | 3199.48 | 2.45 | 0 | -0.112 | -0.10876 | 0.0032425 |  | 3199.48 | -0.112
1 | YES | 3300 | 2.516 | 0 | -0.114 | -0.10362 | 0.010384 |  | 3300 | -0.114
1 | YES | 3400 | 2.555 | 0 | -0.135 | -0.098502 | 0.036498 |  | 3400 | -0.135
1 | YES | 3500.01 | 2.611 | 0 | -0.121 | -0.093387 | 0.027613 |  | 3500.01 | -0.121
1 | YES | 3599.99 | 2.65 | 0 | -0.12 | -0.088273 | 0.031727 |  | 3599.99 | -0.12
1 | YES | 3700.07 | 2.684 | 0 | -0.109 | -0.083154 | 0.025846 |  | 3700.07 | -0.109
1 | YES | 3799.98 | 2.719 | 0 | -0.11 | -0.078044 | 0.031956 |  | 3799.98 | -0.11
1 | YES | 3900.02 | 2.733 | 0 | -0.132 | -0.072928 | 0.059072 |  | 3900.02 | -0.132
1 | YES | 4000.23 | 2.749 | 0.0042427 | -0.105 | -0.067802 | 0.037198 |  | 4000.23 | -0.105
1 | NO | 0 | 0 | 0 | -2.878 | -0.2724 | 2.6056
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
FIT vs. Pressure
FIT vs. DO_39
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (Sal_39 - Sal_34)
Calculation of Linear Least Squares Fit For
(Sal_39 - Sal_34)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal_39 - Sal_34), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.034427 |  | X | CALC Y
m= | 2.7922e-06 | 2.3988e-06 |  | Std Dev of Resid |  | 0.017513 |  | 99.996 | -0.0071464
b= | -0.0074256 | 0.0056435 |  | Resid Sum of Squares |  | 0.011655 |  | 4000.23 | 0.0037437
# of Values Extracted = |  |  | 41
# of Values Used in Fit = |  |  | 40
File | Use | Pressure | Sal_39 | Sal_39 | Diff (Sal_39 - Sal_34) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 99.996 | 32.6354 | 0 | -0.1065 | -0.0071464 | 0.099357 |  | 99.996 | -0.1065
1 | YES | 200.005 | 33.7719 | 0 | 0.0060997 | -0.0068672 | -0.012967 |  | 200.005 | 0.0060997
1 | YES | 299.985 | 33.8611 | 0 | 0.013699 | -0.006588 | -0.020287 |  | 299.985 | 0.013699
1 | YES | 400.003 | 33.9597 | 0 | 0.0062027 | -0.0063088 | -0.012511 |  | 400.003 | 0.0062027
1 | YES | 499.995 | 34.0906 | 0 | 0.013798 | -0.0060296 | -0.019827 |  | 499.995 | 0.013798
1 | YES | 600.008 | 34.1622 | 0 | 0.011902 | -0.0057503 | -0.017652 |  | 600.008 | 0.011902
1 | YES | 699.993 | 34.2147 | 0 | -0.0067024 | -0.0054711 | 0.0012313 |  | 699.993 | -0.0067024
1 | YES | 800.004 | 34.2743 | 0 | 0.0065002 | -0.0051919 | -0.011692 |  | 800.004 | 0.0065002
1 | YES | 899.984 | 34.3207 | 0 | -0.00099945 | -0.0049127 | -0.0039133 |  | 899.984 | -0.00099945
1 | YES | 999.837 | 34.3595 | 0 | -0.00090027 | -0.0046339 | -0.0037337 |  | 999.837 | -0.00090027
1 | YES | 1099.97 | 34.3901 | 0 | -0.008503 | -0.0043543 | 0.0041486 |  | 1099.97 | -0.008503
1 | YES | 1200.01 | 34.4266 | 0 | 0.0044022 | -0.004075 | -0.0084772 |  | 1200.01 | 0.0044022
1 | YES | 1300 | 34.4501 | 0 | -0.0032997 | -0.0037958 | -0.0004961 |  | 1300 | -0.0032997
1 | YES | 1400.03 | 34.4728 | 0 | -0.0023994 | -0.0035165 | -0.0011171 |  | 1400.03 | -0.0023994
1 | YES | 1499.98 | 34.4958 | 0 | -0.0023994 | -0.0032374 | -0.00083799 |  | 1499.98 | -0.0023994
1 | YES | 1600 | 34.5156 | 0 | -0.0023003 | -0.0029582 | -0.0006579 |  | 1600 | -0.0023003
1 | YES | 1699.99 | 34.5333 | 0 | -0.0024033 | -0.002679 | -0.00027571 |  | 1699.99 | -0.0024033
1 | YES | 1800.02 | 34.5494 | 0 | -0.0036011 | -0.0023997 | 0.0012014 |  | 1800.02 | -0.0036011
1 | YES | 1899.99 | 34.5663 | 0 | -0.0025024 | -0.0021205 | 0.00038191 |  | 1899.99 | -0.0025024
1 | YES | 2000.03 | 34.5795 | 0 | -0.00050354 | -0.0018412 | -0.0013377 |  | 2000.03 | -0.00050354
1 | YES | 2100 | 34.5887 | 0 | -0.00049973 | -0.0015621 | -0.0010623 |  | 2100 | -0.00049973
1 | YES | 2199.99 | 34.5991 | 0 | 0.0010986 | -0.0012829 | -0.0023815 |  | 2199.99 | 0.0010986
1 | YES | 2299.98 | 34.6077 | 0 | 0.0013008 | -0.0010037 | -0.0023045 |  | 2299.98 | 0.0013008
1 | YES | 2399.4 | 34.6156 | 0 | 0.0018005 | -0.00072609 | -0.0025266 |  | 2399.4 | 0.0018005
1 | YES | 2500.05 | 34.6224 | 0 | 0.00059891 | -0.00044506 | -0.001044 |  | 2500.05 | 0.00059891
1 | YES | 2600.01 | 34.6301 | 0 | 0.00090027 | -0.00016595 | -0.0010662 |  | 2600.01 | 0.00090027
1 | YES | 2700.01 | 34.6363 | 0 | 0.00090027 | 0.00011327 | -0.000787 |  | 2700.01 | 0.00090027
1 | YES | 2799.99 | 34.6419 | 0 | 0.0010986 | 0.00039243 | -0.0007062 |  | 2799.99 | 0.0010986
1 | YES | 2900.01 | 34.6469 | 0 | 0.00019836 | 0.0006717 | 0.00047334 |  | 2900.01 | 0.00019836
1 | YES | 2999.99 | 34.6517 | 0 | 0.0013008 | 0.00095087 | -0.00034994 |  | 2999.99 | 0.0013008
1 | YES | 3099.99 | 34.6554 | 0 | 0.00040054 | 0.0012301 | 0.00082954 |  | 3099.99 | 0.00040054
1 | YES | 3199.48 | 34.6587 | 0 | 0.00059891 | 0.0015079 | 0.00090897 |  | 3199.48 | 0.00059891
1 | YES | 3300 | 34.6624 | 0 | 0.00099945 | 0.0017885 | 0.0007891 |  | 3300 | 0.00099945
1 | YES | 3400 | 34.6641 | 0 | 0.00040054 | 0.0020678 | 0.0016672 |  | 3400 | 0.00040054
1 | YES | 3500.01 | 34.6665 | 0 | 0.00080109 | 0.002347 | 0.0015459 |  | 3500.01 | 0.00080109
1 | YES | 3599.99 | 34.6685 | 0 | 0.00019836 | 0.0026262 | 0.0024278 |  | 3599.99 | 0.00019836
1 | YES | 3700.07 | 34.6698 | 0 | 0.00030136 | 0.0029056 | 0.0026043 |  | 3700.07 | 0.00030136
1 | YES | 3799.98 | 34.6714 | 0 | 0.00039673 | 0.0031846 | 0.0027879 |  | 3799.98 | 0.00039673
1 | YES | 3900.02 | 34.6717 | 0 | -0.00040054 | 0.0034639 | 0.0038645 |  | 3900.02 | -0.00040054
1 | YES | 4000.23 | 34.6736 | 7.0132e-05 | -4.9591e-05 | 0.0037437 | 0.0037933 |  | 4000.23 | -4.9591e-05
1 | NO | 0 | 0 | 0 | -34.6736 | -0.0074256 | 34.6662
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
FIT vs. Pressure
FIT vs. Sal_39
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (Temp_39 - Temp_34)
Calculation of Linear Least Squares Fit For
(Temp_39 - Temp_34)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Temp_39 - Temp_34), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.0041852 |  | X | CALC Y
m= | -7.3911e-07 | 1.9553e-06 |  | Std Dev of Resid |  | 0.012296 |  | 400.003 | 0.0013368
b= | 0.0016325 | 0.0048434 |  | Resid Sum of Squares |  | 0.0051407 |  | 4000.23 | -0.0013241
# of Values Extracted = |  |  | 41
# of Values Used in Fit = |  |  | 36
File | Use | Pressure | Temp_39 | Temp_39 | Diff (Temp_39 - Temp_34) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 99.996 | 6.2276 | 0 | 0.498 | 0.0015586 | -0.49644 |  | 400.003 | -0.0047998
1 | NO | 200.005 | 5.2005 | 0 | -0.1648 | 0.0014847 | 0.16628 |  | 499.995 | -0.0409
1 | NO | 299.985 | 4.3526 | 0 | -0.0536 | 0.0014108 | 0.055011 |  | 699.993 | 0.0028999
1 | YES | 400.003 | 4.0823 | 0 | -0.0047998 | 0.0013368 | 0.0061367 |  | 800.004 | -0.0142
1 | YES | 499.995 | 4.0346 | 0 | -0.0409 | 0.0012629 | 0.042163 |  | 899.984 | 0.0052001
1 | NO | 600.008 | 3.7697 | 0 | -0.0519 | 0.001189 | 0.053089 |  | 999.837 | 0.0016
1 | YES | 699.993 | 3.5231 | 0 | 0.0028999 | 0.0011151 | -0.0017848 |  | 1099.97 | 0.0315
1 | YES | 800.004 | 3.3418 | 0 | -0.0142 | 0.0010412 | 0.015241 |  | 1200.01 | -0.0171
1 | YES | 899.984 | 3.1698 | 0 | 0.0052001 | 0.00096729 | -0.0042329 |  | 1300 | 0.0169
1 | YES | 999.837 | 2.9992 | 0 | 0.0016 | 0.00089349 | -0.00070654 |  | 1400.03 | 0.0098
1 | YES | 1099.97 | 2.8618 | 0 | 0.0315 | 0.00081948 | -0.03068 |  | 1499.98 | 0.003
1 | YES | 1200.01 | 2.7043 | 0 | -0.0171 | 0.00074554 | 0.017846 |  | 1600 | 0.0163
1 | YES | 1300 | 2.6085 | 0 | 0.0169 | 0.00067164 | -0.016228 |  | 1699.99 | 0.0094001
1 | YES | 1400.03 | 2.485 | 0 | 0.0098 | 0.00059771 | -0.0092023 |  | 1800.02 | 0.0205
1 | YES | 1499.98 | 2.3658 | 0 | 0.003 | 0.00052383 | -0.0024762 |  | 1899.99 | 0.0169
1 | YES | 1600 | 2.2809 | 0 | 0.0163 | 0.00044991 | -0.01585 |  | 2000.03 | 0.0078
1 | YES | 1699.99 | 2.1884 | 0 | 0.0094001 | 0.000376 | -0.0090241 |  | 2100 | 0.0049
1 | YES | 1800.02 | 2.109 | 0 | 0.0205 | 0.00030207 | -0.020198 |  | 2199.99 | -0.0041
1 | YES | 1899.99 | 2.0343 | 0 | 0.0169 | 0.00022818 | -0.016672 |  | 2299.98 | -0.0092
1 | YES | 2000.03 | 1.9618 | 0 | 0.0078 | 0.00015424 | -0.0076457 |  | 2399.4 | -0.0096999
1 | YES | 2100 | 1.9017 | 0 | 0.0049 | 8.0349e-05 | -0.0048196 |  | 2500.05 | -0.0035001
1 | YES | 2199.99 | 1.8472 | 0 | -0.0041 | 6.4456e-06 | 0.0041064 |  | 2600.01 | -0.0062
1 | YES | 2299.98 | 1.8034 | 0 | -0.0092 | -6.7458e-05 | 0.0091325 |  | 2700.01 | -0.0057
1 | YES | 2399.4 | 1.764 | 0 | -0.0096999 | -0.00014094 | 0.009559 |  | 2799.99 | -0.0066
1 | YES | 2500.05 | 1.726 | 0 | -0.0035001 | -0.00021533 | 0.0032848 |  | 2900.01 | -0.0013001
1 | YES | 2600.01 | 1.6841 | 0 | -0.0062 | -0.00028921 | 0.0059107 |  | 2999.99 | -0.0057
1 | YES | 2700.01 | 1.6511 | 0 | -0.0057 | -0.00036312 | 0.0053369 |  | 3099.99 | -0.0042
1 | YES | 2799.99 | 1.6234 | 0 | -0.0066 | -0.00043702 | 0.006163 |  | 3199.48 | -0.0029
1 | YES | 2900.01 | 1.6003 | 0 | -0.0013001 | -0.00051095 | 0.00078915 |  | 3300 | -0.0026001
1 | YES | 2999.99 | 1.5779 | 0 | -0.0057 | -0.00058484 | 0.0051151 |  | 3400 | -0.00010002
1 | YES | 3099.99 | 1.5598 | 0 | -0.0042 | -0.00065875 | 0.0035412 |  | 3500.01 | -0.002
1 | YES | 3199.48 | 1.5468 | 0 | -0.0029 | -0.00073229 | 0.0021677 |  | 3599.99 | -0.0010999
1 | YES | 3300 | 1.5349 | 0 | -0.0026001 | -0.00080658 | 0.0017935 |  | 3700.07 | -0.00090003
1 | YES | 3400 | 1.5309 | 0 | -0.00010002 | -0.0008805 | -0.00078048 |  | 3799.98 | -0.0028
1 | YES | 3500.01 | 1.5257 | 0 | -0.002 | -0.00095441 | 0.0010456 |  | 3900.02 | -0.0019
1 | YES | 3599.99 | 1.524 | 0 | -0.0010999 | -0.0010283 | 7.163e-05 |  | 4000.23 | -0.00015008
1 | YES | 3700.07 | 1.5245 | 0 | -0.00090003 | -0.0011023 | -0.00020225
1 | YES | 3799.98 | 1.5253 | 0 | -0.0028 | -0.0011761 | 0.0016239
1 | YES | 3900.02 | 1.5308 | 0 | -0.0019 | -0.0012501 | 0.00064989
1 | YES | 4000.23 | 1.5359 | 0.00021217 | -0.00015008 | -0.0013241 | -0.001174
1 | NO | 0 | 0 | 0 | -1.5388 | 0.0016325 | 1.5404
NO
NO
NO
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
FIT vs. Pressure
FIT vs. Temp_39
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Main
# Channels= | 4 |  |  |  | COMPARE Version 3.3 | Run at 2010/07/07 17:07:10
| Primary | Secondary |  | Comparison Name
Ref | Pressure | Pressure |  | Pressure - Pressure
Comp 1 | Sal_34 | Sal_39 |  | Sal_39 - Sal_34
Comp 2 | Temp_34 | Temp_39 |  | Temp_39 - Temp_34
Comp 3 | DO_34 | DO_39 |  | DO_39 - DO_34
Average Size: | 2
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | Pressure | Pressure | Pressure | (S-P) | Sal_34 | Sal_39 | Sal_39 | (S-P) | Temp_34 | Temp_39 | Temp_39 | (S-P) | DO_34 | DO_39 | DO_39 | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff | Value | DO_39 | Std Dev | Diff
2010-01-0034.thn1 | 2010-01-0034.thn2 | 1 | 99.988 | 99.996 | 0 | 0.0080032 | 32.7419 | 32.6354 | 0 | -0.1065 | 5.7296 | 6.2276 | 0 | 0.498 | 7.064 | 6.157 | 0 | -0.907
2010-01-0034.thn1 | 2010-01-0034.thn2 | 1 | 199.508 | 200.005 | 0 | 0.49701 | 33.7658 | 33.7719 | 0 | 0.0060997 | 5.3653 | 5.2005 | 0 | -0.1648 | 4.458 | 3.72 | 0 | -0.738
2010-01-0034.thn1 | 2010-01-0034.thn2 | 1 | 300.013 | 299.985 | 0 | -0.028015 | 33.8474 | 33.8611 | 0 | 0.013699 | 4.4062 | 4.3526 | 0 | -0.0536 | 2.586 | 2.11 | 0 | -0.476
2010-01-0034.thn1 | 2010-01-0034.thn2 | 1 | 400.038 | 400.003 | 0 | -0.035004 | 33.9535 | 33.9597 | 0 | 0.0062027 | 4.0871 | 4.0823 | 0 | -0.0047998 | 1.459 | 1.248 | 0 | -0.211
2010-01-0034.thn1 | 2010-01-0034.thn2 | 1 | 500.005 | 499.995 | 0 | -0.01001 | 34.0768 | 34.0906 | 0 | 0.013798 | 4.0755 | 4.0346 | 0 | -0.0409 | 1.018 | 0.841 | 0 | -0.177
2010-01-0034.thn1 | 2010-01-0034.thn2 | 1 | 599.968 | 600.008 | 0 | 0.039978 | 34.1503 | 34.1622 | 0 | 0.011902 | 3.8216 | 3.7697 | 0 | -0.0519 | 0.715 | 0.595 | 0 | -0.12
2010-01-0034.thn1 | 2010-01-0034.thn2 | 1 | 700.026 | 699.993 | 0 | -0.03302 | 34.2214 | 34.2147 | 0 | -0.0067024 | 3.5202 | 3.5231 | 0 | 0.0028999 | 0.539 | 0.472 | 0 | -0.067
2010-01-0034.thn1 | 2010-01-0034.thn2 | 1 | 799.986 | 800.004 | 0 | 0.018005 | 34.2678 | 34.2743 | 0 | 0.0065002 | 3.356 | 3.3418 | 0 | -0.0142 | 0.491 | 0.425 | 0 | -0.066
2010-01-0034.thn1 | 2010-01-0034.thn2 | 1 | 900 | 899.984 | 0 | -0.015991 | 34.3217 | 34.3207 | 0 | -0.00099945 | 3.1646 | 3.1698 | 0 | 0.0052001 | 0.392 | 0.348 | 0 | -0.044
2010-01-0034.thn1 | 2010-01-0034.thn2 | 1 | 999.997 | 999.837 | 0 | -0.16003 | 34.3604 | 34.3595 | 0 | -0.00090027 | 2.9976 | 2.9992 | 0 | 0.0016 | 0.322 | 0.305 | 0 | -0.017
2010-01-0034.thn1 | 2010-01-0034.thn2 | 1 | 1100.01 | 1099.97 | 0 | -0.036987 | 34.3986 | 34.3901 | 0 | -0.008503 | 2.8303 | 2.8618 | 0 | 0.0315 | 0.303 | 0.274 | 0 | -0.029
2010-01-0034.thn1 | 2010-01-0034.thn2 | 1 | 1200 | 1200.01 | 0 | 0.012939 | 34.4222 | 34.4266 | 0 | 0.0044022 | 2.7214 | 2.7043 | 0 | -0.0171 | 0.319 | 0.29 | 0 | -0.029
2010-01-0034.thn1 | 2010-01-0034.thn2 | 1 | 1299.97 | 1300 | 0 | 0.028076 | 34.4534 | 34.4501 | 0 | -0.0032997 | 2.5916 | 2.6085 | 0 | 0.0169 | 0.357 | 0.313 | 0 | -0.044
2010-01-0034.thn1 | 2010-01-0034.thn2 | 1 | 1399.99 | 1400.03 | 0 | 0.043091 | 34.4752 | 34.4728 | 0 | -0.0023994 | 2.4752 | 2.485 | 0 | 0.0098 | 0.437 | 0.378 | 0 | -0.059
2010-01-0034.thn1 | 2010-01-0034.thn2 | 1 | 1500.02 | 1499.98 | 0 | -0.036987 | 34.4982 | 34.4958 | 0 | -0.0023994 | 2.3628 | 2.3658 | 0 | 0.003 | 0.546 | 0.485 | 0 | -0.061
2010-01-0034.thn1 | 2010-01-0034.thn2 | 1 | 1600.01 | 1600 | 0 | -0.0059815 | 34.5179 | 34.5156 | 0 | -0.0023003 | 2.2646 | 2.2809 | 0 | 0.0163 | 0.69 | 0.59 | 0 | -0.1
2010-01-0034.thn1 | 2010-01-0034.thn2 | 1 | 1699.97 | 1699.99 | 0 | 0.015015 | 34.5357 | 34.5333 | 0 | -0.0024033 | 2.179 | 2.1884 | 0 | 0.0094001 | 0.836 | 0.724 | 0 | -0.112
2010-01-0034.thn1 | 2010-01-0034.thn2 | 1 | 1800.02 | 1800.02 | 0 | -0.0019531 | 34.553 | 34.5494 | 0 | -0.0036011 | 2.0885 | 2.109 | 0 | 0.0205 | 0.988 | 0.844 | 0 | -0.144
2010-01-0034.thn1 | 2010-01-0034.thn2 | 1 | 1900.02 | 1899.99 | 0 | -0.033081 | 34.5688 | 34.5663 | 0 | -0.0025024 | 2.0174 | 2.0343 | 0 | 0.0169 | 1.16 | 0.996 | 0 | -0.164
2010-01-0034.thn1 | 2010-01-0034.thn2 | 1 | 2000.02 | 2000.03 | 0 | 0.0070801 | 34.58 | 34.5795 | 0 | -0.00050354 | 1.954 | 1.9618 | 0 | 0.0078 | 1.303 | 1.125 | 0 | -0.178
2010-01-0034.thn1 | 2010-01-0034.thn2 | 1 | 2099.99 | 2100 | 0 | 0.0070801 | 34.5892 | 34.5887 | 0 | -0.00049973 | 1.8968 | 1.9017 | 0 | 0.0049 | 1.443 | 1.259 | 0 | -0.184
2010-01-0034.thn1 | 2010-01-0034.thn2 | 1 | 2200.01 | 2199.99 | 0 | -0.023926 | 34.598 | 34.5991 | 0 | 0.0010986 | 1.8513 | 1.8472 | 0 | -0.0041 | 1.58 | 1.39 | 0 | -0.19
2010-01-0034.thn1 | 2010-01-0034.thn2 | 1 | 2299.99 | 2299.98 | 0 | -0.0061035 | 34.6064 | 34.6077 | 0 | 0.0013008 | 1.8126 | 1.8034 | 0 | -0.0092 | 1.682 | 1.508 | 0 | -0.174
2010-01-0034.thn1 | 2010-01-0034.thn2 | 1 | 2399.99 | 2399.4 | 0 | -0.59106 | 34.6138 | 34.6156 | 0 | 0.0018005 | 1.7737 | 1.764 | 0 | -0.0096999 | 1.812 | 1.616 | 0 | -0.196
2010-01-0034.thn1 | 2010-01-0034.thn2 | 1 | 2499.98 | 2500.05 | 0 | 0.064941 | 34.6218 | 34.6224 | 0 | 0.00059891 | 1.7295 | 1.726 | 0 | -0.0035001 | 1.966 | 1.74 | 0 | -0.226
2010-01-0034.thn1 | 2010-01-0034.thn2 | 1 | 2599.87 | 2600.01 | 0 | 0.14185 | 34.6292 | 34.6301 | 0 | 0.00090027 | 1.6903 | 1.6841 | 0 | -0.0062 | 2.102 | 1.868 | 0 | -0.234
2010-01-0034.thn1 | 2010-01-0034.thn2 | 1 | 2699.97 | 2700.01 | 0 | 0.045898 | 34.6354 | 34.6363 | 0 | 0.00090027 | 1.6568 | 1.6511 | 0 | -0.0057 | 2.183 | 1.996 | 0 | -0.187
2010-01-0034.thn1 | 2010-01-0034.thn2 | 1 | 2800.01 | 2799.99 | 0 | -0.016113 | 34.6408 | 34.6419 | 0 | 0.0010986 | 1.63 | 1.6234 | 0 | -0.0066 | 2.249 | 2.092 | 0 | -0.157
2010-01-0034.thn1 | 2010-01-0034.thn2 | 1 | 2899.99 | 2900.01 | 0 | 0.019043 | 34.6467 | 34.6469 | 0 | 0.00019836 | 1.6016 | 1.6003 | 0 | -0.0013001 | 2.332 | 2.205 | 0 | -0.127
2010-01-0034.thn1 | 2010-01-0034.thn2 | 1 | 2999.99 | 2999.99 | 0 | -0.0087891 | 34.6504 | 34.6517 | 0 | 0.0013008 | 1.5836 | 1.5779 | 0 | -0.0057 | 2.407 | 2.292 | 0 | -0.115
2010-01-0034.thn1 | 2010-01-0034.thn2 | 1 | 3099.98 | 3099.99 | 0 | 0.0080566 | 34.655 | 34.6554 | 0 | 0.00040054 | 1.564 | 1.5598 | 0 | -0.0042 | 2.487 | 2.376 | 0 | -0.111
2010-01-0034.thn1 | 2010-01-0034.thn2 | 1 | 3200.01 | 3199.48 | 0 | -0.53198 | 34.6581 | 34.6587 | 0 | 0.00059891 | 1.5497 | 1.5468 | 0 | -0.0029 | 2.562 | 2.45 | 0 | -0.112
2010-01-0034.thn1 | 2010-01-0034.thn2 | 1 | 3300 | 3300 | 0 | -0.0029297 | 34.6614 | 34.6624 | 0 | 0.00099945 | 1.5375 | 1.5349 | 0 | -0.0026001 | 2.63 | 2.516 | 0 | -0.114
2010-01-0034.thn1 | 2010-01-0034.thn2 | 1 | 3400.01 | 3400 | 0 | -0.0090332 | 34.6637 | 34.6641 | 0 | 0.00040054 | 1.531 | 1.5309 | 0 | -0.00010002 | 2.69 | 2.555 | 0 | -0.135
2010-01-0034.thn1 | 2010-01-0034.thn2 | 1 | 3499.97 | 3500.01 | 0 | 0.035156 | 34.6657 | 34.6665 | 0 | 0.00080109 | 1.5277 | 1.5257 | 0 | -0.002 | 2.732 | 2.611 | 0 | -0.121
2010-01-0034.thn1 | 2010-01-0034.thn2 | 1 | 3599.99 | 3599.99 | 0 | -0.0019531 | 34.6683 | 34.6685 | 0 | 0.00019836 | 1.5251 | 1.524 | 0 | -0.0010999 | 2.77 | 2.65 | 0 | -0.12
2010-01-0034.thn1 | 2010-01-0034.thn2 | 1 | 3699.98 | 3700.07 | 0 | 0.095947 | 34.6695 | 34.6698 | 0 | 0.00030136 | 1.5254 | 1.5245 | 0 | -0.00090003 | 2.793 | 2.684 | 0 | -0.109
2010-01-0034.thn1 | 2010-01-0034.thn2 | 1 | 3800 | 3799.98 | 0 | -0.013184 | 34.671 | 34.6714 | 0 | 0.00039673 | 1.5281 | 1.5253 | 0 | -0.0028 | 2.829 | 2.719 | 0 | -0.11
2010-01-0034.thn1 | 2010-01-0034.thn2 | 1 | 3900.01 | 3900.02 | 0 | 0.014893 | 34.6721 | 34.6717 | 0 | -0.00040054 | 1.5327 | 1.5308 | 0 | -0.0019 | 2.865 | 2.733 | 0 | -0.132
2010-01-0034.thn1 | 2010-01-0034.thn2 | 2 | 3999.99 | 4000.23 | 0.31816 | 0.23511 | 34.6737 | 34.6736 | 7.0132e-05 | -4.9591e-05 | 1.5361 | 1.5359 | 0.00021217 | -0.00015008 | 2.854 | 2.749 | 0.0042427 | -0.105
2010-01-0034.thn1 | 2010-01-0034.thn2 | 0 | 4027 | 0 | 0 | -4027 | 34.6736 | 0 | 0 | -34.6736 | 1.5388 | 0 | 0 | -1.5388 | 2.878 | 0 | 0 | -2.878
Create Fit Sheet