## File List
Number of Files= |  | 12
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 2010-01-0001.mrg | 2010-01-0001.sam | 11 | 20 | 2010-01-0001.mrg & 2010-01-0001.sam
2 | 2010-01-0005.mrg | 2010-01-0005.sam | 22 | 29 | 2010-01-0005.mrg & 2010-01-0005.sam
3 | 2010-01-0010.mrg | 2010-01-0010.sam | 31 | 48 | 2010-01-0010.mrg & 2010-01-0010.sam
4 | 2010-01-0022.mrg | 2010-01-0022.sam | 50 | 50 | 2010-01-0022.mrg & 2010-01-0022.sam
5 | 2010-01-0025.mrg | 2010-01-0025.sam | 52 | 75 | 2010-01-0025.mrg & 2010-01-0025.sam
6 | 2010-01-0031.mrg | 2010-01-0031.sam | 77 | 77 | 2010-01-0031.mrg & 2010-01-0031.sam
7 | 2010-01-0034.mrg | 2010-01-0034.sam | 79 | 102 | 2010-01-0034.mrg & 2010-01-0034.sam
8 | 2010-01-0040.mrg | 2010-01-0040.sam | 104 | 106 | 2010-01-0040.mrg & 2010-01-0040.sam
9 | 2010-01-0041.mrg | 2010-01-0041.sam | 108 | 110 | 2010-01-0041.mrg & 2010-01-0041.sam
10 | 2010-01-0048.mrg | 2010-01-0048.sam | 112 | 134 | 2010-01-0048.mrg & 2010-01-0048.sam
11 | 2010-01-0055.mrg | 2010-01-0055.sam | 136 | 156 | 2010-01-0055.mrg & 2010-01-0055.sam
12 | 2010-01-0064.mrg | 2010-01-0064.sam | 158 | 164 | 2010-01-0064.mrg & 2010-01-0064.sam

## (DOX_CTD - DOX_BOT)
Calculation of Linear Least Squares Fit For
(DOX_CTD - DOX_BOT)
2
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (DOX_CTD - DOX_BOT), Prop=DOX_CTD
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.98848 |  | X | CALC Y
m= | -0.078435 | 0.0011524 |  | Std Dev of Resid |  | 0.018805 |  | 0.20102 | -0.03756
b= | -0.021793 | 0.0048256 |  | Resid Sum of Squares |  | 0.019096 |  | 6.128 | -0.50244
# of Values Extracted = |  |  | 62
# of Values Used in Fit = |  |  | 56
File | Use | Pressure | DOX_CTD | DOX_CTD | Diff (DOX_CTD - DOX_BOT) |  |  |  | Fit vs. | DOX_CTD
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 201.452 | 0.045859 | 0.0014509 | 0.045859 | -0.02539 | -0.071249 |  | 4.0362 | -0.3148
1 | NO | 175.828 | 0.044562 | 0.002309 | 0.044562 | -0.025288 | -0.06985 |  | 4.5423 | -0.36171
1 | NO | 150.838 | 0.042719 | 0.0023066 | -0.031281 | -0.025144 | 0.0061374 |  | 4.7383 | -0.35974
1 | NO | 125.178 | 0.042099 | 0.0019079 | -0.048901 | -0.025095 | 0.023806 |  | 4.7239 | -0.38408
1 | NO | 100.469 | 0.7983 | 0.011388 | 0.027303 | -0.084408 | -0.11171 |  | 5.7803 | -0.47274
1 | NO | 74.8217 | 4.0908 | 0.0092673 | -0.23121 | -0.34265 | -0.11145 |  | 5.7861 | -0.48392
1 | YES | 50.744 | 4.0362 | 0.010902 | -0.3148 | -0.33837 | -0.023571 |  | 5.8158 | -0.46416
1 | YES | 24.802 | 4.5423 | 0.016008 | -0.36171 | -0.37807 | -0.016354 |  | 5.8158 | -0.46316
1 | YES | 9.3875 | 4.7383 | 0.0091337 | -0.35974 | -0.39344 | -0.033695 |  | 5.8219 | -0.46309
1 | YES | 4.6133 | 4.7239 | 0.0085743 | -0.38408 | -0.39231 | -0.0082304 |  | 5.8232 | -0.45978
2 | YES | 108.129 | 5.7803 | 0.0069385 | -0.47274 | -0.47517 | -0.0024246 |  | 5.8322 | -0.46182
2 | YES | 100.123 | 5.7861 | 0.0084741 | -0.48392 | -0.47563 | 0.0082919 |  | 5.8347 | -0.45725
2 | YES | 75.531 | 5.8158 | 0.0050817 | -0.46416 | -0.47796 | -0.0138 |  | 0.40713 | -0.038867
2 | YES | 75.531 | 5.8158 | 0.0050817 | -0.46316 | -0.47796 | -0.0148 |  | 0.40713 | -0.045867
2 | YES | 49.443 | 5.8219 | 0.0088252 | -0.46309 | -0.47844 | -0.015344 |  | 0.23137 | -0.036628
2 | YES | 25.6903 | 5.8232 | 0.012111 | -0.45978 | -0.47854 | -0.018761 |  | 0.20102 | -0.054983
2 | YES | 10.505 | 5.8322 | 0.010146 | -0.46182 | -0.47924 | -0.017423 |  | 0.4459 | -0.055099
2 | YES | 4.6002 | 5.8347 | 0.0084007 | -0.45725 | -0.47944 | -0.022195 |  | 1.3602 | -0.13175
3 | YES | 1263.22 | 0.40713 | 0.0030652 | -0.038867 | -0.053726 | -0.014859 |  | 1.8177 | -0.14629
3 | YES | 1263.22 | 0.40713 | 0.0030652 | -0.045867 | -0.053726 | -0.0078591 |  | 2.0381 | -0.18892
3 | YES | 1011.93 | 0.23137 | 0.0018126 | -0.036628 | -0.039941 | -0.0033125 |  | 2.4138 | -0.20619
3 | YES | 801.439 | 0.20102 | 0.0017748 | -0.054983 | -0.03756 | 0.017424 |  | 2.6342 | -0.23978
3 | YES | 600.195 | 0.4459 | 0.0021886 | -0.055099 | -0.056767 | -0.001668 |  | 3.2977 | -0.34027
3 | YES | 401.706 | 1.3602 | 0.0031259 | -0.13175 | -0.12848 | 0.0032677 |  | 3.9037 | -0.31733
3 | YES | 300.501 | 1.8177 | 0.0031555 | -0.14629 | -0.16437 | -0.018076 |  | 4.5416 | -0.42336
3 | YES | 251.008 | 2.0381 | 0.0066352 | -0.18892 | -0.18165 | 0.0072669 |  | 5.6147 | -0.46225
3 | YES | 202.029 | 2.4138 | 0.0025538 | -0.20619 | -0.21112 | -0.0049305 |  | 5.8258 | -0.47121
3 | YES | 173.939 | 2.6342 | 0.0025835 | -0.23978 | -0.22841 | 0.011369 |  | 5.8528 | -0.47321
3 | YES | 150.875 | 3.2977 | 0.014018 | -0.34027 | -0.28045 | 0.059822 |  | 5.8677 | -0.46533
3 | YES | 126.258 | 3.9037 | 0.0045749 | -0.31733 | -0.32798 | -0.010645 |  | 5.8674 | -0.4686
3 | YES | 100.816 | 4.5416 | 0.013464 | -0.42336 | -0.37802 | 0.045347 |  | 6.128 | -0.49104
3 | YES | 75.2474 | 5.6147 | 0.011788 | -0.46225 | -0.46219 | 6.1221e-05 |  | 2.5063 | -0.21268
3 | YES | 50.9775 | 5.8258 | 0.0049836 | -0.47121 | -0.47874 | -0.0075247 |  | 2.4894 | -0.2096
3 | YES | 24.7762 | 5.8528 | 0.0091626 | -0.47321 | -0.48086 | -0.0076425 |  | 2.4808 | -0.22225
3 | YES | 9.8747 | 5.8677 | 0.01903 | -0.46533 | -0.48202 | -0.016694 |  | 2.2001 | -0.20695
3 | YES | 5.1344 | 5.8674 | 0.0082749 | -0.4686 | -0.482 | -0.0134 |  | 1.727 | -0.15396
4 | YES | 6.0832 | 6.128 | 0.0083271 | -0.49104 | -0.50244 | -0.011399 |  | 1.1556 | -0.10143
5 | YES | 3595.78 | 2.5063 | 0.0051966 | -0.21268 | -0.21838 | -0.0056965 |  | 0.49024 | -0.038764
5 | YES | 3497.24 | 2.4894 | 0.0070246 | -0.2096 | -0.21705 | -0.0074494 |  | 0.29091 | -0.038091
5 | YES | 3500.6 | 2.4808 | 0.012121 | -0.22225 | -0.21637 | 0.005882 |  | 0.24614 | -0.027859
5 | YES | 3007.66 | 2.2001 | 0.0065717 | -0.20695 | -0.19435 | 0.012597 |  | 0.3397 | -0.042298
5 | YES | 2506.91 | 1.727 | 0.0038301 | -0.15396 | -0.15725 | -0.0032936 |  | 0.60013 | -0.066868
5 | YES | 2006.49 | 1.1556 | 0.0019862 | -0.10143 | -0.11243 | -0.010997 |  | 1.5637 | -0.15827
5 | YES | 1506.41 | 0.49024 | 0.002573 | -0.038764 | -0.060245 | -0.021481 |  | 2.3032 | -0.24279
5 | YES | 1254.66 | 0.29091 | 0.0028372 | -0.038091 | -0.04461 | -0.0065195 |  | 3.2155 | -0.30146
5 | YES | 1003.84 | 0.24614 | 0.0015562 | -0.027859 | -0.041099 | -0.013239 |  | 4.0587 | -0.33931
5 | YES | 800.059 | 0.3397 | 0.0025418 | -0.042298 | -0.048437 | -0.00614 |  | 4.3243 | -0.37671
5 | YES | 602.023 | 0.60013 | 0.0042287 | -0.066868 | -0.068864 | -0.0019966 |  | 4.7489 | -0.41612
5 | YES | 399.727 | 1.5637 | 0.004801 | -0.15827 | -0.14444 | 0.013829 |  | 5.3992 | -0.46784
5 | YES | 302.793 | 2.3032 | 0.0039795 | -0.24279 | -0.20245 | 0.040339 |  | 5.8708 | -0.4942
5 | YES | 249.9 | 3.2155 | 0.011041 | -0.30146 | -0.274 | 0.027453 |  | 6.0809 | -0.51608
5 | YES | 199.312 | 4.0587 | 0.007609 | -0.33931 | -0.34014 | -0.00083195 |  | 6.1047 | -0.50131
5 | YES | 175.615 | 4.3243 | 0.011346 | -0.37671 | -0.36097 | 0.015742 |  | 6.0934 | -0.54661
5 | YES | 151.784 | 4.7489 | 0.023247 | -0.41612 | -0.39427 | 0.021852 |  | 6.11 | -0.49802
5 | YES | 124.795 | 5.3992 | 0.0098567 | -0.46784 | -0.44528 | 0.022557 |  | 6.1173 | -0.50073
5 | YES | 100.88 | 5.8708 | 0.0086243 | -0.4942 | -0.48227 | 0.011933 |  | 0.26985 | -0.039149
5 | YES | 75.7607 | 6.0809 | 0.016993 | -0.51608 | -0.49875 | 0.017332
5 | YES | 48.8248 | 6.1047 | 0.0087433 | -0.50131 | -0.50062 | 0.00069669
5 | YES | 24.4799 | 6.0934 | 0.015668 | -0.54661 | -0.49973 | 0.046882
5 | YES | 9.3062 | 6.11 | 0.0074705 | -0.49802 | -0.50103 | -0.0030092
5 | YES | 6.2458 | 6.1173 | 0.0063785 | -0.50073 | -0.5016 | -0.00086902
6 | YES | 999.937 | 0.26985 | 0.0019818 | -0.039149 | -0.042959 | -0.00381
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. DOX_CTD
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (DOX_CTD - DOX_BOT) (2)
Calculation of Linear Least Squares Fit For
(DOX_CTD - DOX_BOT)
2
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (DOX_CTD - DOX_BOT), Prop=DOX_CTD
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.99045 |  | X | CALC Y
m= | -0.09806 | 0.0013353 |  | Std Dev of Resid |  | 0.022542 |  | 0.19749 | -0.036859
b= | -0.017494 | 0.0053338 |  | Resid Sum of Squares |  | 0.026422 |  | 6.1998 | -0.62545
# of Values Extracted = |  |  | 81
# of Values Used in Fit = |  |  | 54
File | Use | Pressure | DOX_CTD | DOX_CTD | Diff (DOX_CTD - DOX_BOT) |  |  |  | Fit vs. | DOX_CTD
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
7 | NO | 4026.43 | 2.8446 | 0.0054321 | -0.1744 | -0.29644 | -0.12204 |  | 6.1909 | -0.62905
7 | NO | 3501.47 | 2.7007 | 0.010008 | -0.16329 | -0.28233 | -0.11904 |  | 6.1998 | -0.61917
7 | NO | 3501.47 | 2.7007 | 0.010008 | -0.15829 | -0.28233 | -0.12404 |  | 6.1998 | -0.62017
7 | NO | 3000.08 | 2.3598 | 0.0045017 | -0.13821 | -0.24889 | -0.11069 |  | 2.0478 | -0.21921
7 | NO | 2499.84 | 1.8074 | 0.0021985 | -0.099636 | -0.19472 | -0.095087 |  | 1.9964 | -0.22257
7 | NO | 2001.22 | 1.2085 | 0.0037397 | -0.057504 | -0.136 | -0.078495 |  | 2.0055 | -0.21855
7 | NO | 1499.95 | 0.51877 | 0.0017737 | -0.015231 | -0.068364 | -0.053133 |  | 1.7057 | -0.1773
7 | NO | 1249.64 | 0.31807 | 0.0032933 | -0.011934 | -0.048683 | -0.036749 |  | 1.2253 | -0.11169
7 | NO | 1000.28 | 0.29877 | 0.0035585 | -0.023231 | -0.046791 | -0.023559 |  | 0.60373 | -0.057273
7 | NO | 800.857 | 0.42702 | 0.0027733 | -0.0089752 | -0.059368 | -0.050392 |  | 0.35464 | -0.02236
7 | NO | 600.878 | 0.60688 | 0.0035991 | -0.030116 | -0.077005 | -0.046889 |  | 0.22118 | -0.025818
7 | NO | 399.988 | 1.2085 | 0.0026425 | -0.053554 | -0.13599 | -0.082441 |  | 0.21238 | -0.04862
7 | NO | 300.328 | 2.0624 | 0.0033133 | -0.13759 | -0.21973 | -0.082147 |  | 0.34359 | -0.040405
7 | NO | 249.302 | 2.7989 | 0.0049241 | -0.17711 | -0.29195 | -0.11484 |  | 1.0017 | -0.12927
7 | NO | 200.068 | 3.6526 | 0.0079739 | -0.22445 | -0.37566 | -0.15121 |  | 1.8035 | -0.20353
7 | NO | 174.375 | 4.0908 | 0.01253 | -0.2472 | -0.41864 | -0.17144 |  | 2.6592 | -0.35377
7 | NO | 150.064 | 4.5129 | 0.0061997 | -0.27312 | -0.46003 | -0.18691 |  | 3.2292 | -0.34076
7 | NO | 124.713 | 5.0541 | 0.012674 | -0.32285 | -0.5131 | -0.19025 |  | 3.4677 | -0.36929
7 | NO | 100.115 | 5.9509 | 0.009166 | -0.31013 | -0.60104 | -0.2909 |  | 3.9351 | -0.49391
7 | NO | 75.1804 | 6.3418 | 0.013889 | -0.38521 | -0.63937 | -0.25415 |  | 4.4444 | -0.45661
7 | NO | 51.2434 | 6.4308 | 0.0041533 | -0.36224 | -0.64809 | -0.28585 |  | 5.2771 | -0.55594
7 | NO | 24.6699 | 6.4476 | 0.0037253 | -0.35141 | -0.64974 | -0.29833 |  | 5.6659 | -0.55713
7 | NO | 10.2715 | 6.4669 | 0.0031656 | -0.34006 | -0.65164 | -0.31158 |  | 6.021 | -0.62103
7 | NO | 4.8239 | 6.4463 | 0.0099309 | -0.37275 | -0.64961 | -0.27686 |  | 6.049 | -0.60204
8 | NO | 199.925 | 3.9557 | 0.0020027 | -0.1773 | -0.40539 | -0.22809 |  | 6.0306 | -0.60444
8 | NO | 98.6867 | 6.2931 | 0.0068838 | -0.26288 | -0.6346 | -0.37172 |  | 6.0277 | -0.60231
8 | NO | 9.3299 | 6.4929 | 0.0060372 | -0.32812 | -0.65419 | -0.32606 |  | 1.2292 | -0.15375
9 | YES | 21.0098 | 6.1909 | 0.015267 | -0.62905 | -0.62458 | 0.0044713 |  | 0.60954 | -0.079464
9 | YES | 10.6352 | 6.1998 | 0.011071 | -0.61917 | -0.62545 | -0.0062814 |  | 0.61128 | -0.071718
9 | YES | 10.6352 | 6.1998 | 0.011071 | -0.62017 | -0.62545 | -0.0052804 |  | 0.34214 | -0.040855
10 | YES | 3258.51 | 2.0478 | 0.0041276 | -0.21921 | -0.2183 | 0.00091298 |  | 0.2151 | -0.029901
10 | YES | 3002.14 | 1.9964 | 0.010391 | -0.22257 | -0.21326 | 0.0093033 |  | 0.19749 | -0.032512
10 | YES | 2999.78 | 2.0055 | 0.0084158 | -0.21855 | -0.21415 | 0.0044048 |  | 0.3 | -0.04
10 | YES | 2500.29 | 1.7057 | 0.0020611 | -0.1773 | -0.18475 | -0.0074487 |  | 0.29991 | -0.036089
10 | YES | 2000.25 | 1.2253 | 0.0036493 | -0.11169 | -0.13765 | -0.025962 |  | 0.86348 | -0.091521
10 | YES | 1499.77 | 0.60373 | 0.0023944 | -0.057273 | -0.076695 | -0.019422 |  | 1.5403 | -0.17871
10 | YES | 1249.24 | 0.35464 | 0.0034949 | -0.02236 | -0.05227 | -0.029909 |  | 2.1131 | -0.22286
10 | YES | 1000.05 | 0.22118 | 0.0013478 | -0.025818 | -0.039183 | -0.013364 |  | 1.9176 | -0.1974
10 | YES | 797.049 | 0.21238 | 0.0012797 | -0.04862 | -0.03832 | 0.0103 |  | 1.9937 | -0.25732
10 | YES | 600.06 | 0.34359 | 0.0023366 | -0.040405 | -0.051187 | -0.010782 |  | 2.5809 | -0.21806
10 | YES | 400.23 | 1.0017 | 0.0022136 | -0.12927 | -0.11572 | 0.01355 |  | 3.0957 | -0.33127
10 | YES | 299.012 | 1.8035 | 0.0049035 | -0.20353 | -0.19434 | 0.009188 |  | 3.9846 | -0.43041
10 | YES | 249.326 | 2.6592 | 0.036665 | -0.35377 | -0.27826 | 0.075511 |  | 5.5715 | -0.57354
10 | YES | 201.362 | 3.2292 | 0.0034328 | -0.34076 | -0.33415 | 0.0066069 |  | 6.0175 | -0.60254
10 | YES | 177.06 | 3.4677 | 0.01049 | -0.36929 | -0.35754 | 0.011749 |  | 6.0509 | -0.59207
10 | YES | 149.198 | 3.9351 | 0.038527 | -0.49391 | -0.40337 | 0.09054 |  | 6.0418 | -0.58719
10 | YES | 124.752 | 4.4444 | 0.0094334 | -0.45661 | -0.45331 | 0.0033012 |  | 6.0542 | -0.58579
10 | YES | 98.7481 | 5.2771 | 0.019004 | -0.55594 | -0.53496 | 0.02098 |  | 5.6741 | -0.56389
10 | YES | 74.0787 | 5.6659 | 0.0092041 | -0.55713 | -0.57309 | -0.015957 |  | 5.6715 | -0.56851
10 | YES | 49.0067 | 6.021 | 0.0042386 | -0.62103 | -0.60791 | 0.013123 |  | 5.7025 | -0.56345
10 | YES | 24.394 | 6.049 | 0.013361 | -0.60204 | -0.61066 | -0.0086141 |  | 5.7207 | -0.57033
10 | YES | 10.9991 | 6.0306 | 0.014784 | -0.60444 | -0.60885 | -0.0044098 |  | 5.7095 | -0.57954
10 | YES | 4.3541 | 6.0277 | 0.011605 | -0.60231 | -0.60857 | -0.0062634 |  | 5.7098 | -0.58221
11 | YES | 1998.7 | 1.2292 | 0.0024393 | -0.15375 | -0.13803 | 0.015716 |  | 5.7283 | -0.56574
11 | YES | 1501.27 | 0.60954 | 0.0043857 | -0.079464 | -0.077265 | 0.0021993
11 | YES | 1500.71 | 0.61128 | 0.0049769 | -0.071718 | -0.077436 | -0.0057175
11 | YES | 1252.91 | 0.34214 | 0.0053206 | -0.040855 | -0.051044 | -0.01019
11 | YES | 1005.02 | 0.2151 | 0.0011648 | -0.029901 | -0.038586 | -0.0086854
11 | YES | 800.752 | 0.19749 | 0.0038408 | -0.032512 | -0.036859 | -0.0043468
11 | YES | 601.362 | 0.3 | 0.0023887 | -0.04 | -0.046912 | -0.0069116
11 | YES | 601.118 | 0.29991 | 0.0023583 | -0.036089 | -0.046903 | -0.010814
11 | YES | 399.817 | 0.86348 | 0.0022513 | -0.091521 | -0.10217 | -0.010646
11 | YES | 301.686 | 1.5403 | 0.0075812 | -0.17871 | -0.16853 | 0.010176
11 | YES | 249.636 | 2.1131 | 0.0032257 | -0.22286 | -0.22471 | -0.0018493
11 | YES | 200.779 | 1.9176 | 0.0038416 | -0.1974 | -0.20553 | -0.0081366
11 | YES | 176.074 | 1.9937 | 0.036254 | -0.25732 | -0.21299 | 0.044328
11 | YES | 145.644 | 2.5809 | 0.0062163 | -0.21806 | -0.27058 | -0.052521
11 | YES | 124.837 | 3.0957 | 0.0083726 | -0.33127 | -0.32106 | 0.010212
11 | YES | 99.2453 | 3.9846 | 0.012121 | -0.43041 | -0.40822 | 0.02219
11 | YES | 73.9891 | 5.5715 | 0.0087968 | -0.57354 | -0.56383 | 0.0097056
11 | YES | 48.2178 | 6.0175 | 0.011956 | -0.60254 | -0.60757 | -0.0050292
11 | YES | 24.7393 | 6.0509 | 0.0076852 | -0.59207 | -0.61085 | -0.018782
11 | YES | 10.1822 | 6.0418 | 0.0052509 | -0.58719 | -0.60995 | -0.022764
11 | YES | 6.183 | 6.0542 | 0.0098049 | -0.58579 | -0.61117 | -0.025385
12 | YES | 86.1472 | 5.6741 | 0.0097539 | -0.56389 | -0.5739 | -0.010009
12 | YES | 74.2596 | 5.6715 | 0.005657 | -0.56851 | -0.57364 | -0.0051284
12 | YES | 51.2189 | 5.7025 | 0.0064961 | -0.56345 | -0.57669 | -0.01324
12 | YES | 30.6682 | 5.7207 | 0.015236 | -0.57033 | -0.57846 | -0.008132
12 | YES | 19.003 | 5.7095 | 0.011003 | -0.57954 | -0.57736 | 0.0021733
12 | YES | 9.5451 | 5.7098 | 0.012266 | -0.58221 | -0.5774 | 0.0048099
12 | YES | 5.1941 | 5.7283 | 0.0051878 | -0.56574 | -0.57921 | -0.013471
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. DOX_CTD
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (DOX_CTD - DOX_BOT) (3)
Calculation of Linear Least Squares Fit For
(DOX_CTD - DOX_BOT)
2
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (DOX_CTD - DOX_BOT), Prop=DOX_CTD
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.9931 |  | X | CALC Y
m= | -0.064769 | 0.0013493 |  | Std Dev of Resid |  | 0.0083479 |  | 0.29877 | -0.0071057
b= | 0.012245 | 0.0035347 |  | Resid Sum of Squares |  | 0.001115 |  | 5.0541 | -0.31511
# of Values Extracted = |  |  | 27
# of Values Used in Fit = |  |  | 18
File | Use | Pressure | DOX_CTD | DOX_CTD | Diff (DOX_CTD - DOX_BOT) |  |  |  | Fit vs. | DOX_CTD
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
7 | YES | 4026.43 | 2.8446 | 0.0054321 | -0.1744 | -0.172 | 0.0024006 |  | 2.8446 | -0.1744
7 | YES | 3501.47 | 2.7007 | 0.010008 | -0.16329 | -0.16268 | 0.00060757 |  | 2.7007 | -0.16329
7 | YES | 3501.47 | 2.7007 | 0.010008 | -0.15829 | -0.16268 | -0.0043924 |  | 2.7007 | -0.15829
7 | YES | 3000.08 | 2.3598 | 0.0045017 | -0.13821 | -0.1406 | -0.0023898 |  | 2.3598 | -0.13821
7 | YES | 2499.84 | 1.8074 | 0.0021985 | -0.099636 | -0.10482 | -0.0051792 |  | 1.8074 | -0.099636
7 | YES | 2001.22 | 1.2085 | 0.0037397 | -0.057504 | -0.066028 | -0.0085238 |  | 1.2085 | -0.057504
7 | YES | 1499.95 | 0.51877 | 0.0017737 | -0.015231 | -0.021355 | -0.0061234 |  | 0.51877 | -0.015231
7 | YES | 1249.64 | 0.31807 | 0.0032933 | -0.011934 | -0.0083555 | 0.0035784 |  | 0.31807 | -0.011934
7 | YES | 1000.28 | 0.29877 | 0.0035585 | -0.023231 | -0.0071057 | 0.016126 |  | 0.29877 | -0.023231
7 | YES | 800.857 | 0.42702 | 0.0027733 | -0.0089752 | -0.015413 | -0.0064375 |  | 0.42702 | -0.0089752
7 | YES | 600.878 | 0.60688 | 0.0035991 | -0.030116 | -0.027062 | 0.0030538 |  | 0.60688 | -0.030116
7 | YES | 399.988 | 1.2085 | 0.0026425 | -0.053554 | -0.066025 | -0.012471 |  | 1.2085 | -0.053554
7 | YES | 300.328 | 2.0624 | 0.0033133 | -0.13759 | -0.12133 | 0.016252 |  | 2.0624 | -0.13759
7 | YES | 249.302 | 2.7989 | 0.0049241 | -0.17711 | -0.16904 | 0.0080722 |  | 2.7989 | -0.17711
7 | YES | 200.068 | 3.6526 | 0.0079739 | -0.22445 | -0.22433 | 0.00012857 |  | 3.6526 | -0.22445
7 | YES | 174.375 | 4.0908 | 0.01253 | -0.2472 | -0.25271 | -0.0055134 |  | 4.0908 | -0.2472
7 | YES | 150.064 | 4.5129 | 0.0061997 | -0.27312 | -0.28005 | -0.0069331 |  | 4.5129 | -0.27312
7 | YES | 124.713 | 5.0541 | 0.012674 | -0.32285 | -0.31511 | 0.0077445 |  | 5.0541 | -0.32285
7 | NO | 100.115 | 5.9509 | 0.009166 | -0.31013 | -0.37319 | -0.063053
7 | NO | 75.1804 | 6.3418 | 0.013889 | -0.38521 | -0.3985 | -0.01329
7 | NO | 51.2434 | 6.4308 | 0.0041533 | -0.36224 | -0.40427 | -0.042028
7 | NO | 24.6699 | 6.4476 | 0.0037253 | -0.35141 | -0.40536 | -0.053945
7 | NO | 10.2715 | 6.4669 | 0.0031656 | -0.34006 | -0.40661 | -0.066553
7 | NO | 4.8239 | 6.4463 | 0.0099309 | -0.37275 | -0.40527 | -0.032519
8 | NO | 199.925 | 3.9557 | 0.0020027 | -0.1773 | -0.24396 | -0.066664
8 | NO | 98.6867 | 6.2931 | 0.0068838 | -0.26288 | -0.39535 | -0.13248
8 | NO | 9.3299 | 6.4929 | 0.0060372 | -0.32812 | -0.40829 | -0.080168
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
FIT vs. Pressure
FIT vs. DOX_CTD
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (DOX_CTD - DOX_BOT) (4)
Calculation of Linear Least Squares Fit For
(DOX_CTD - DOX_BOT)
2
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (DOX_CTD - DOX_BOT), Prop=DOX_CTD
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.99732 |  | X | CALC Y
m= | -0.098102 | 0.00073439 |  | Std Dev of Resid |  | 0.012333 |  | 0.19749 | -0.03357
b= | -0.014196 | 0.0029894 |  | Resid Sum of Squares |  | 0.0073007 |  | 6.1998 | -0.62241
# of Values Extracted = |  |  | 54
# of Values Used in Fit = |  |  | 50
File | Use | Pressure | DOX_CTD | DOX_CTD | Diff (DOX_CTD - DOX_BOT) |  |  |  | Fit vs. | DOX_CTD
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
9 | YES | 21.0098 | 6.1909 | 0.015267 | -0.62905 | -0.62154 | 0.0075062 |  | 6.1909 | -0.62905
9 | YES | 10.6352 | 6.1998 | 0.011071 | -0.61917 | -0.62241 | -0.003247 |  | 6.1998 | -0.61917
9 | YES | 10.6352 | 6.1998 | 0.011071 | -0.62017 | -0.62241 | -0.002246 |  | 6.1998 | -0.62017
10 | YES | 3258.51 | 2.0478 | 0.0041276 | -0.21921 | -0.21509 | 0.0041235 |  | 2.0478 | -0.21921
10 | YES | 3002.14 | 1.9964 | 0.010391 | -0.22257 | -0.21005 | 0.012516 |  | 1.9964 | -0.22257
10 | YES | 2999.78 | 2.0055 | 0.0084158 | -0.21855 | -0.21094 | 0.0076172 |  | 2.0055 | -0.21855
10 | YES | 2500.29 | 1.7057 | 0.0020611 | -0.1773 | -0.18153 | -0.0042236 |  | 1.7057 | -0.1773
10 | YES | 2000.25 | 1.2253 | 0.0036493 | -0.11169 | -0.1344 | -0.022716 |  | 1.2253 | -0.11169
10 | YES | 1499.77 | 0.60373 | 0.0023944 | -0.057273 | -0.073423 | -0.016151 |  | 0.60373 | -0.057273
10 | YES | 1249.24 | 0.35464 | 0.0034949 | -0.02236 | -0.048987 | -0.026627 |  | 0.35464 | -0.02236
10 | YES | 1000.05 | 0.22118 | 0.0013478 | -0.025818 | -0.035895 | -0.010076 |  | 0.22118 | -0.025818
10 | YES | 797.049 | 0.21238 | 0.0012797 | -0.04862 | -0.035031 | 0.013589 |  | 0.21238 | -0.04862
10 | YES | 600.06 | 0.34359 | 0.0023366 | -0.040405 | -0.047904 | -0.0074987 |  | 0.34359 | -0.040405
10 | YES | 400.23 | 1.0017 | 0.0022136 | -0.12927 | -0.11247 | 0.016805 |  | 1.0017 | -0.12927
10 | YES | 299.012 | 1.8035 | 0.0049035 | -0.20353 | -0.19112 | 0.012409 |  | 1.8035 | -0.20353
10 | NO | 249.326 | 2.6592 | 0.036665 | -0.35377 | -0.27507 | 0.078696 |  | 3.2292 | -0.34076
10 | YES | 201.362 | 3.2292 | 0.0034328 | -0.34076 | -0.33099 | 0.0097673 |  | 3.4677 | -0.36929
10 | YES | 177.06 | 3.4677 | 0.01049 | -0.36929 | -0.35439 | 0.0149 |  | 4.4444 | -0.45661
10 | NO | 149.198 | 3.9351 | 0.038527 | -0.49391 | -0.40024 | 0.093671 |  | 5.2771 | -0.55594
10 | YES | 124.752 | 4.4444 | 0.0094334 | -0.45661 | -0.4502 | 0.0064101 |  | 5.6659 | -0.55713
10 | YES | 98.7481 | 5.2771 | 0.019004 | -0.55594 | -0.53189 | 0.024054 |  | 6.021 | -0.62103
10 | YES | 74.0787 | 5.6659 | 0.0092041 | -0.55713 | -0.57003 | -0.0129 |  | 6.049 | -0.60204
10 | YES | 49.0067 | 6.021 | 0.0042386 | -0.62103 | -0.60487 | 0.016165 |  | 6.0306 | -0.60444
10 | YES | 24.394 | 6.049 | 0.013361 | -0.60204 | -0.60761 | -0.0055733 |  | 6.0277 | -0.60231
10 | YES | 10.9991 | 6.0306 | 0.014784 | -0.60444 | -0.60581 | -0.0013682 |  | 1.2292 | -0.15375
10 | YES | 4.3541 | 6.0277 | 0.011605 | -0.60231 | -0.60553 | -0.0032216 |  | 0.60954 | -0.079464
11 | YES | 1998.7 | 1.2292 | 0.0024393 | -0.15375 | -0.13479 | 0.018961 |  | 0.61128 | -0.071718
11 | YES | 1501.27 | 0.60954 | 0.0043857 | -0.079464 | -0.073993 | 0.0054708 |  | 0.34214 | -0.040855
11 | YES | 1500.71 | 0.61128 | 0.0049769 | -0.071718 | -0.074164 | -0.0024461 |  | 0.2151 | -0.029901
11 | YES | 1252.91 | 0.34214 | 0.0053206 | -0.040855 | -0.047761 | -0.006907 |  | 0.19749 | -0.032512
11 | YES | 1005.02 | 0.2151 | 0.0011648 | -0.029901 | -0.035298 | -0.0053971 |  | 0.3 | -0.04
11 | YES | 800.752 | 0.19749 | 0.0038408 | -0.032512 | -0.03357 | -0.0010578 |  | 0.29991 | -0.036089
11 | YES | 601.362 | 0.3 | 0.0023887 | -0.04 | -0.043627 | -0.0036269 |  | 0.86348 | -0.091521
11 | YES | 601.118 | 0.29991 | 0.0023583 | -0.036089 | -0.043618 | -0.0075296 |  | 1.5403 | -0.17871
11 | YES | 399.817 | 0.86348 | 0.0022513 | -0.091521 | -0.098906 | -0.0073849 |  | 2.1131 | -0.22286
11 | YES | 301.686 | 1.5403 | 0.0075812 | -0.17871 | -0.1653 | 0.013409 |  | 1.9176 | -0.1974
11 | YES | 249.636 | 2.1131 | 0.0032257 | -0.22286 | -0.2215 | 0.0013585 |  | 3.0957 | -0.33127
11 | YES | 200.779 | 1.9176 | 0.0038416 | -0.1974 | -0.20232 | -0.0049205 |  | 3.9846 | -0.43041
11 | NO | 176.074 | 1.9937 | 0.036254 | -0.25732 | -0.20978 | 0.047541 |  | 5.5715 | -0.57354
11 | NO | 145.644 | 2.5809 | 0.0062163 | -0.21806 | -0.26739 | -0.049333 |  | 6.0175 | -0.60254
11 | YES | 124.837 | 3.0957 | 0.0083726 | -0.33127 | -0.3179 | 0.013378 |  | 6.0509 | -0.59207
11 | YES | 99.2453 | 3.9846 | 0.012121 | -0.43041 | -0.40509 | 0.025319 |  | 6.0418 | -0.58719
11 | YES | 73.9891 | 5.5715 | 0.0087968 | -0.57354 | -0.56077 | 0.012767 |  | 6.0542 | -0.58579
11 | YES | 48.2178 | 6.0175 | 0.011956 | -0.60254 | -0.60452 | -0.001987 |  | 5.6741 | -0.56389
11 | YES | 24.7393 | 6.0509 | 0.0076852 | -0.59207 | -0.60781 | -0.015742 |  | 5.6715 | -0.56851
11 | YES | 10.1822 | 6.0418 | 0.0052509 | -0.58719 | -0.60691 | -0.019723 |  | 5.7025 | -0.56345
11 | YES | 6.183 | 6.0542 | 0.0098049 | -0.58579 | -0.60813 | -0.022344 |  | 5.7207 | -0.57033
12 | YES | 86.1472 | 5.6741 | 0.0097539 | -0.56389 | -0.57084 | -0.0069525 |  | 5.7095 | -0.57954
12 | YES | 74.2596 | 5.6715 | 0.005657 | -0.56851 | -0.57058 | -0.0020715 |  | 5.7098 | -0.58221
12 | YES | 51.2189 | 5.7025 | 0.0064961 | -0.56345 | -0.57363 | -0.010185 |  | 5.7283 | -0.56574
12 | YES | 30.6682 | 5.7207 | 0.015236 | -0.57033 | -0.57541 | -0.0050772
12 | YES | 19.003 | 5.7095 | 0.011003 | -0.57954 | -0.57431 | 0.0052285
12 | YES | 9.5451 | 5.7098 | 0.012266 | -0.58221 | -0.57434 | 0.0078652
12 | YES | 5.1941 | 5.7283 | 0.0051878 | -0.56574 | -0.57615 | -0.010417
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. DOX_CTD
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (DOX_CTD - DOX_BOT) (5)
Calculation of Linear Least Squares Fit For
(DOX_CTD - DOX_BOT)
2
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (DOX_CTD - DOX_BOT), Prop=DOX_CTD
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.73604 |  | X | CALC Y
m= | -0.068353 | 0.015471 |  | Std Dev of Resid |  | 0.0358 |  | 3.9557 | -0.17512
b= | 0.095266 | 0.095 |  | Resid Sum of Squares |  | 0.0089715 |  | 6.4929 | -0.34854
# of Values Extracted = |  |  | 143
# of Values Used in Fit = |  |  | 9
File | Use | Pressure | DOX_CTD | DOX_CTD | Diff (DOX_CTD - DOX_BOT) |  |  |  | Fit vs. | DOX_CTD
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 201.452 | 0.045859 | 0.0014509 | 0.045859 | 0.092131 | 0.046272 |  | 5.9509 | -0.31013
1 | NO | 175.828 | 0.044562 | 0.002309 | 0.044562 | 0.09222 | 0.047658 |  | 6.3418 | -0.38521
1 | NO | 150.838 | 0.042719 | 0.0023066 | -0.031281 | 0.092346 | 0.12363 |  | 6.4308 | -0.36224
1 | NO | 125.178 | 0.042099 | 0.0019079 | -0.048901 | 0.092388 | 0.14129 |  | 6.4476 | -0.35141
1 | NO | 100.469 | 0.7983 | 0.011388 | 0.027303 | 0.0407 | 0.013397 |  | 6.4669 | -0.34006
1 | NO | 74.8217 | 4.0908 | 0.0092673 | -0.23121 | -0.18435 | 0.046855 |  | 6.4463 | -0.37275
1 | NO | 50.744 | 4.0362 | 0.010902 | -0.3148 | -0.18062 | 0.13418 |  | 3.9557 | -0.1773
1 | NO | 24.802 | 4.5423 | 0.016008 | -0.36171 | -0.21521 | 0.1465 |  | 6.2931 | -0.26288
1 | NO | 9.3875 | 4.7383 | 0.0091337 | -0.35974 | -0.22861 | 0.13114 |  | 6.4929 | -0.32812
1 | NO | 4.6133 | 4.7239 | 0.0085743 | -0.38408 | -0.22763 | 0.15646
2 | NO | 108.129 | 5.7803 | 0.0069385 | -0.47274 | -0.29983 | 0.17291
2 | NO | 100.123 | 5.7861 | 0.0084741 | -0.48392 | -0.30023 | 0.18369
2 | NO | 75.531 | 5.8158 | 0.0050817 | -0.46416 | -0.30226 | 0.1619
2 | NO | 75.531 | 5.8158 | 0.0050817 | -0.46316 | -0.30226 | 0.1609
2 | NO | 49.443 | 5.8219 | 0.0088252 | -0.46309 | -0.30268 | 0.16041
2 | NO | 25.6903 | 5.8232 | 0.012111 | -0.45978 | -0.30277 | 0.15701
2 | NO | 10.505 | 5.8322 | 0.010146 | -0.46182 | -0.30338 | 0.15844
2 | NO | 4.6002 | 5.8347 | 0.0084007 | -0.45725 | -0.30356 | 0.15369
3 | NO | 1263.22 | 0.40713 | 0.0030652 | -0.038867 | 0.067437 | 0.1063
3 | NO | 1263.22 | 0.40713 | 0.0030652 | -0.045867 | 0.067437 | 0.1133
3 | NO | 1011.93 | 0.23137 | 0.0018126 | -0.036628 | 0.079451 | 0.11608
3 | NO | 801.439 | 0.20102 | 0.0017748 | -0.054983 | 0.081526 | 0.13651
3 | NO | 600.195 | 0.4459 | 0.0021886 | -0.055099 | 0.064787 | 0.11989
3 | NO | 401.706 | 1.3602 | 0.0031259 | -0.13175 | 0.0022892 | 0.13404
3 | NO | 300.501 | 1.8177 | 0.0031555 | -0.14629 | -0.028979 | 0.11731
3 | NO | 251.008 | 2.0381 | 0.0066352 | -0.18892 | -0.044042 | 0.14487
3 | NO | 202.029 | 2.4138 | 0.0025538 | -0.20619 | -0.069725 | 0.13647
3 | NO | 173.939 | 2.6342 | 0.0025835 | -0.23978 | -0.08479 | 0.15499
3 | NO | 150.875 | 3.2977 | 0.014018 | -0.34027 | -0.13014 | 0.21013
3 | NO | 126.258 | 3.9037 | 0.0045749 | -0.31733 | -0.17156 | 0.14577
3 | NO | 100.816 | 4.5416 | 0.013464 | -0.42336 | -0.21517 | 0.2082
3 | NO | 75.2474 | 5.6147 | 0.011788 | -0.46225 | -0.28852 | 0.17373
3 | NO | 50.9775 | 5.8258 | 0.0049836 | -0.47121 | -0.30294 | 0.16827
3 | NO | 24.7762 | 5.8528 | 0.0091626 | -0.47321 | -0.30479 | 0.16843
3 | NO | 9.8747 | 5.8677 | 0.01903 | -0.46533 | -0.30581 | 0.15953
3 | NO | 5.1344 | 5.8674 | 0.0082749 | -0.4686 | -0.30579 | 0.16282
4 | NO | 6.0832 | 6.128 | 0.0083271 | -0.49104 | -0.3236 | 0.16744
5 | NO | 3595.78 | 2.5063 | 0.0051966 | -0.21268 | -0.076048 | 0.13663
5 | NO | 3497.24 | 2.4894 | 0.0070246 | -0.2096 | -0.074891 | 0.13471
5 | NO | 3500.6 | 2.4808 | 0.012121 | -0.22225 | -0.0743 | 0.14795
5 | NO | 3007.66 | 2.2001 | 0.0065717 | -0.20695 | -0.055114 | 0.15184
5 | NO | 2506.91 | 1.727 | 0.0038301 | -0.15396 | -0.022782 | 0.13118
5 | NO | 2006.49 | 1.1556 | 0.0019862 | -0.10143 | 0.01628 | 0.11771
5 | NO | 1506.41 | 0.49024 | 0.002573 | -0.038764 | 0.061757 | 0.10052
5 | NO | 1254.66 | 0.29091 | 0.0028372 | -0.038091 | 0.075382 | 0.11347
5 | NO | 1003.84 | 0.24614 | 0.0015562 | -0.027859 | 0.078442 | 0.1063
5 | NO | 800.059 | 0.3397 | 0.0025418 | -0.042298 | 0.072046 | 0.11434
5 | NO | 602.023 | 0.60013 | 0.0042287 | -0.066868 | 0.054245 | 0.12111
5 | NO | 399.727 | 1.5637 | 0.004801 | -0.15827 | -0.011619 | 0.14665
5 | NO | 302.793 | 2.3032 | 0.0039795 | -0.24279 | -0.062165 | 0.18062
5 | NO | 249.9 | 3.2155 | 0.011041 | -0.30146 | -0.12453 | 0.17693
5 | NO | 199.312 | 4.0587 | 0.007609 | -0.33931 | -0.18216 | 0.15715
5 | NO | 175.615 | 4.3243 | 0.011346 | -0.37671 | -0.20031 | 0.1764
5 | NO | 151.784 | 4.7489 | 0.023247 | -0.41612 | -0.22933 | 0.18679
5 | NO | 124.795 | 5.3992 | 0.0098567 | -0.46784 | -0.27378 | 0.19405
5 | NO | 100.88 | 5.8708 | 0.0086243 | -0.4942 | -0.30602 | 0.18818
5 | NO | 75.7607 | 6.0809 | 0.016993 | -0.51608 | -0.32038 | 0.1957
5 | NO | 48.8248 | 6.1047 | 0.0087433 | -0.50131 | -0.32201 | 0.17931
5 | NO | 24.4799 | 6.0934 | 0.015668 | -0.54661 | -0.32123 | 0.22538
5 | NO | 9.3062 | 6.11 | 0.0074705 | -0.49802 | -0.32237 | 0.17565
5 | NO | 6.2458 | 6.1173 | 0.0063785 | -0.50073 | -0.32287 | 0.17787
6 | NO | 999.937 | 0.26985 | 0.0019818 | -0.039149 | 0.076821 | 0.11597
7 | NO | 4026.43 | 2.8446 | 0.0054321 | -0.1744 | -0.09917 | 0.075227
7 | NO | 3501.47 | 2.7007 | 0.010008 | -0.16329 | -0.089336 | 0.073949
7 | NO | 3501.47 | 2.7007 | 0.010008 | -0.15829 | -0.089336 | 0.068949
7 | NO | 3000.08 | 2.3598 | 0.0045017 | -0.13821 | -0.066032 | 0.072174
7 | NO | 2499.84 | 1.8074 | 0.0021985 | -0.099636 | -0.028272 | 0.071364
7 | NO | 2001.22 | 1.2085 | 0.0037397 | -0.057504 | 0.012662 | 0.070166
7 | NO | 1499.95 | 0.51877 | 0.0017737 | -0.015231 | 0.059807 | 0.075038
7 | NO | 1249.64 | 0.31807 | 0.0032933 | -0.011934 | 0.073525 | 0.085459
7 | NO | 1000.28 | 0.29877 | 0.0035585 | -0.023231 | 0.074844 | 0.098076
7 | NO | 800.857 | 0.42702 | 0.0027733 | -0.0089752 | 0.066078 | 0.075053
7 | NO | 600.878 | 0.60688 | 0.0035991 | -0.030116 | 0.053784 | 0.0839
7 | NO | 399.988 | 1.2085 | 0.0026425 | -0.053554 | 0.012665 | 0.066219
7 | NO | 300.328 | 2.0624 | 0.0033133 | -0.13759 | -0.045705 | 0.091882
7 | NO | 249.302 | 2.7989 | 0.0049241 | -0.17711 | -0.096046 | 0.081062
7 | NO | 200.068 | 3.6526 | 0.0079739 | -0.22445 | -0.1544 | 0.070059
7 | NO | 174.375 | 4.0908 | 0.01253 | -0.2472 | -0.18435 | 0.062846
7 | NO | 150.064 | 4.5129 | 0.0061997 | -0.27312 | -0.2132 | 0.059914
7 | NO | 124.713 | 5.0541 | 0.012674 | -0.32285 | -0.2502 | 0.072652
7 | YES | 100.115 | 5.9509 | 0.009166 | -0.31013 | -0.31149 | -0.0013595
7 | YES | 75.1804 | 6.3418 | 0.013889 | -0.38521 | -0.33821 | 0.047003
7 | YES | 51.2434 | 6.4308 | 0.0041533 | -0.36224 | -0.34429 | 0.017946
7 | YES | 24.6699 | 6.4476 | 0.0037253 | -0.35141 | -0.34544 | 0.0059683
7 | YES | 10.2715 | 6.4669 | 0.0031656 | -0.34006 | -0.34677 | -0.0067093
7 | YES | 4.8239 | 6.4463 | 0.0099309 | -0.37275 | -0.34535 | 0.027399
8 | YES | 199.925 | 3.9557 | 0.0020027 | -0.1773 | -0.17512 | 0.0021799
8 | YES | 98.6867 | 6.2931 | 0.0068838 | -0.26288 | -0.33489 | -0.07201
8 | YES | 9.3299 | 6.4929 | 0.0060372 | -0.32812 | -0.34854 | -0.020416
9 | NO | 21.0098 | 6.1909 | 0.015267 | -0.62905 | -0.3279 | 0.30115
9 | NO | 10.6352 | 6.1998 | 0.011071 | -0.61917 | -0.32851 | 0.29066
9 | NO | 10.6352 | 6.1998 | 0.011071 | -0.62017 | -0.32851 | 0.29166
10 | NO | 3258.51 | 2.0478 | 0.0041276 | -0.21921 | -0.044706 | 0.17451
10 | NO | 3002.14 | 1.9964 | 0.010391 | -0.22257 | -0.041196 | 0.18137
10 | NO | 2999.78 | 2.0055 | 0.0084158 | -0.21855 | -0.041812 | 0.17674
10 | NO | 2500.29 | 1.7057 | 0.0020611 | -0.1773 | -0.021323 | 0.15598
10 | NO | 2000.25 | 1.2253 | 0.0036493 | -0.11169 | 0.011513 | 0.1232
10 | NO | 1499.77 | 0.60373 | 0.0023944 | -0.057273 | 0.054 | 0.11127
10 | NO | 1249.24 | 0.35464 | 0.0034949 | -0.02236 | 0.071025 | 0.093386
10 | NO | 1000.05 | 0.22118 | 0.0013478 | -0.025818 | 0.080148 | 0.10597
10 | NO | 797.049 | 0.21238 | 0.0012797 | -0.04862 | 0.080749 | 0.12937
10 | NO | 600.06 | 0.34359 | 0.0023366 | -0.040405 | 0.07178 | 0.11219
10 | NO | 400.23 | 1.0017 | 0.0022136 | -0.12927 | 0.026795 | 0.15607
10 | NO | 299.012 | 1.8035 | 0.0049035 | -0.20353 | -0.028006 | 0.17552
10 | NO | 249.326 | 2.6592 | 0.036665 | -0.35377 | -0.0865 | 0.26727
10 | NO | 201.362 | 3.2292 | 0.0034328 | -0.34076 | -0.12546 | 0.2153
10 | NO | 177.06 | 3.4677 | 0.01049 | -0.36929 | -0.14176 | 0.22753
10 | NO | 149.198 | 3.9351 | 0.038527 | -0.49391 | -0.17371 | 0.3202
10 | NO | 124.752 | 4.4444 | 0.0094334 | -0.45661 | -0.20852 | 0.24809
10 | NO | 98.7481 | 5.2771 | 0.019004 | -0.55594 | -0.26544 | 0.29051
10 | NO | 74.0787 | 5.6659 | 0.0092041 | -0.55713 | -0.29201 | 0.26512
10 | NO | 49.0067 | 6.021 | 0.0042386 | -0.62103 | -0.31628 | 0.30475
10 | NO | 24.394 | 6.049 | 0.013361 | -0.60204 | -0.3182 | 0.28384
10 | NO | 10.9991 | 6.0306 | 0.014784 | -0.60444 | -0.31694 | 0.2875
10 | NO | 4.3541 | 6.0277 | 0.011605 | -0.60231 | -0.31674 | 0.28556
11 | NO | 1998.7 | 1.2292 | 0.0024393 | -0.15375 | 0.011243 | 0.16499
11 | NO | 1501.27 | 0.60954 | 0.0043857 | -0.079464 | 0.053603 | 0.13307
11 | NO | 1500.71 | 0.61128 | 0.0049769 | -0.071718 | 0.053483 | 0.1252
11 | NO | 1252.91 | 0.34214 | 0.0053206 | -0.040855 | 0.071879 | 0.11273
11 | NO | 1005.02 | 0.2151 | 0.0011648 | -0.029901 | 0.080563 | 0.11046
11 | NO | 800.752 | 0.19749 | 0.0038408 | -0.032512 | 0.081767 | 0.11428
11 | NO | 601.362 | 0.3 | 0.0023887 | -0.04 | 0.07476 | 0.11476
11 | NO | 601.118 | 0.29991 | 0.0023583 | -0.036089 | 0.074766 | 0.11085
11 | NO | 399.817 | 0.86348 | 0.0022513 | -0.091521 | 0.036245 | 0.12777
11 | NO | 301.686 | 1.5403 | 0.0075812 | -0.17871 | -0.010017 | 0.16869
11 | NO | 249.636 | 2.1131 | 0.0032257 | -0.22286 | -0.049173 | 0.17369
11 | NO | 200.779 | 1.9176 | 0.0038416 | -0.1974 | -0.035807 | 0.16159
11 | NO | 176.074 | 1.9937 | 0.036254 | -0.25732 | -0.041008 | 0.21631
11 | NO | 145.644 | 2.5809 | 0.0062163 | -0.21806 | -0.081148 | 0.13691
11 | NO | 124.837 | 3.0957 | 0.0083726 | -0.33127 | -0.11634 | 0.21494
11 | NO | 99.2453 | 3.9846 | 0.012121 | -0.43041 | -0.17709 | 0.25332
11 | NO | 73.9891 | 5.5715 | 0.0087968 | -0.57354 | -0.28556 | 0.28798
11 | NO | 48.2178 | 6.0175 | 0.011956 | -0.60254 | -0.31604 | 0.28649
11 | NO | 24.7393 | 6.0509 | 0.0076852 | -0.59207 | -0.31833 | 0.27373
11 | NO | 10.1822 | 6.0418 | 0.0052509 | -0.58719 | -0.31771 | 0.26948
11 | NO | 6.183 | 6.0542 | 0.0098049 | -0.58579 | -0.31856 | 0.26723
12 | NO | 86.1472 | 5.6741 | 0.0097539 | -0.56389 | -0.29258 | 0.27131
12 | NO | 74.2596 | 5.6715 | 0.005657 | -0.56851 | -0.2924 | 0.27612
12 | NO | 51.2189 | 5.7025 | 0.0064961 | -0.56345 | -0.29452 | 0.26893
12 | NO | 30.6682 | 5.7207 | 0.015236 | -0.57033 | -0.29576 | 0.27457
12 | NO | 19.003 | 5.7095 | 0.011003 | -0.57954 | -0.29499 | 0.28455
12 | NO | 9.5451 | 5.7098 | 0.012266 | -0.58221 | -0.29501 | 0.28719
12 | NO | 5.1941 | 5.7283 | 0.0051878 | -0.56574 | -0.29628 | 0.26946
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
FIT vs. Pressure
FIT vs. DOX_CTD
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (DOX_CTD - DOX_BOT) (6)
Calculation of Linear Least Squares Fit For
(DOX_CTD - DOX_BOT)
2
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (DOX_CTD - DOX_BOT), Prop=DOX_CTD
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.85534 |  | X | CALC Y
m= | -0.058276 | 0.0059915 |  | Std Dev of Resid |  | 0.064295 |  | 0.042099 | -0.0024133
b= | 4.007e-05 | 0.02835 |  | Resid Sum of Squares |  | 0.066142 |  | 6.4929 | -0.37834
# of Values Extracted = |  |  | 143
# of Values Used in Fit = |  |  | 18
File | Use | Pressure | DOX_CTD | DOX_CTD | Diff (DOX_CTD - DOX_BOT) |  |  |  | Fit vs. | DOX_CTD
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 201.452 | 0.045859 | 0.0014509 | 0.045859 | -0.0026324 | -0.048492 |  | 0.045859 | 0.045859
1 | YES | 175.828 | 0.044562 | 0.002309 | 0.044562 | -0.0025568 | -0.047119 |  | 0.044562 | 0.044562
1 | YES | 150.838 | 0.042719 | 0.0023066 | -0.031281 | -0.0024494 | 0.028832 |  | 0.042719 | -0.031281
1 | YES | 125.178 | 0.042099 | 0.0019079 | -0.048901 | -0.0024133 | 0.046487 |  | 0.042099 | -0.048901
1 | YES | 100.469 | 0.7983 | 0.011388 | 0.027303 | -0.046482 | -0.073784 |  | 0.7983 | 0.027303
1 | YES | 74.8217 | 4.0908 | 0.0092673 | -0.23121 | -0.23835 | -0.0071486 |  | 4.0908 | -0.23121
1 | YES | 50.744 | 4.0362 | 0.010902 | -0.3148 | -0.23517 | 0.079629 |  | 4.0362 | -0.3148
1 | YES | 24.802 | 4.5423 | 0.016008 | -0.36171 | -0.26467 | 0.097048 |  | 4.5423 | -0.36171
1 | YES | 9.3875 | 4.7383 | 0.0091337 | -0.35974 | -0.27609 | 0.083657 |  | 4.7383 | -0.35974
1 | YES | 4.6133 | 4.7239 | 0.0085743 | -0.38408 | -0.27525 | 0.10883 |  | 4.7239 | -0.38408
2 | NO | 108.129 | 5.7803 | 0.0069385 | -0.47274 | -0.33681 | 0.13593 |  | 6.3418 | -0.38521
2 | NO | 100.123 | 5.7861 | 0.0084741 | -0.48392 | -0.33715 | 0.14677 |  | 6.4308 | -0.36224
2 | NO | 75.531 | 5.8158 | 0.0050817 | -0.46416 | -0.33888 | 0.12528 |  | 6.4476 | -0.35141
2 | NO | 75.531 | 5.8158 | 0.0050817 | -0.46316 | -0.33888 | 0.12428 |  | 6.4669 | -0.34006
2 | NO | 49.443 | 5.8219 | 0.0088252 | -0.46309 | -0.33924 | 0.12385 |  | 6.4463 | -0.37275
2 | NO | 25.6903 | 5.8232 | 0.012111 | -0.45978 | -0.33931 | 0.12046 |  | 3.9557 | -0.1773
2 | NO | 10.505 | 5.8322 | 0.010146 | -0.46182 | -0.33984 | 0.12198 |  | 6.2931 | -0.26288
2 | NO | 4.6002 | 5.8347 | 0.0084007 | -0.45725 | -0.33999 | 0.11726 |  | 6.4929 | -0.32812
3 | NO | 1263.22 | 0.40713 | 0.0030652 | -0.038867 | -0.023686 | 0.015181
3 | NO | 1263.22 | 0.40713 | 0.0030652 | -0.045867 | -0.023686 | 0.022181
3 | NO | 1011.93 | 0.23137 | 0.0018126 | -0.036628 | -0.013443 | 0.023185
3 | NO | 801.439 | 0.20102 | 0.0017748 | -0.054983 | -0.011674 | 0.043309
3 | NO | 600.195 | 0.4459 | 0.0021886 | -0.055099 | -0.025945 | 0.029154
3 | NO | 401.706 | 1.3602 | 0.0031259 | -0.13175 | -0.07923 | 0.052522
3 | NO | 300.501 | 1.8177 | 0.0031555 | -0.14629 | -0.10589 | 0.0404
3 | NO | 251.008 | 2.0381 | 0.0066352 | -0.18892 | -0.11873 | 0.070186
3 | NO | 202.029 | 2.4138 | 0.0025538 | -0.20619 | -0.14063 | 0.065563
3 | NO | 173.939 | 2.6342 | 0.0025835 | -0.23978 | -0.15347 | 0.086305
3 | NO | 150.875 | 3.2977 | 0.014018 | -0.34027 | -0.19214 | 0.14813
3 | NO | 126.258 | 3.9037 | 0.0045749 | -0.31733 | -0.22745 | 0.089883
3 | NO | 100.816 | 4.5416 | 0.013464 | -0.42336 | -0.26463 | 0.15874
3 | NO | 75.2474 | 5.6147 | 0.011788 | -0.46225 | -0.32716 | 0.13508
3 | NO | 50.9775 | 5.8258 | 0.0049836 | -0.47121 | -0.33946 | 0.13175
3 | NO | 24.7762 | 5.8528 | 0.0091626 | -0.47321 | -0.34104 | 0.13218
3 | NO | 9.8747 | 5.8677 | 0.01903 | -0.46533 | -0.3419 | 0.12343
3 | NO | 5.1344 | 5.8674 | 0.0082749 | -0.4686 | -0.34189 | 0.12671
4 | NO | 6.0832 | 6.128 | 0.0083271 | -0.49104 | -0.35707 | 0.13397
5 | NO | 3595.78 | 2.5063 | 0.0051966 | -0.21268 | -0.14602 | 0.066662
5 | NO | 3497.24 | 2.4894 | 0.0070246 | -0.2096 | -0.14503 | 0.064568
5 | NO | 3500.6 | 2.4808 | 0.012121 | -0.22225 | -0.14453 | 0.077725
5 | NO | 3007.66 | 2.2001 | 0.0065717 | -0.20695 | -0.12817 | 0.078781
5 | NO | 2506.91 | 1.727 | 0.0038301 | -0.15396 | -0.1006 | 0.053355
5 | NO | 2006.49 | 1.1556 | 0.0019862 | -0.10143 | -0.067302 | 0.034131
5 | NO | 1506.41 | 0.49024 | 0.002573 | -0.038764 | -0.028529 | 0.010235
5 | NO | 1254.66 | 0.29091 | 0.0028372 | -0.038091 | -0.016913 | 0.021178
5 | NO | 1003.84 | 0.24614 | 0.0015562 | -0.027859 | -0.014304 | 0.013556
5 | NO | 800.059 | 0.3397 | 0.0025418 | -0.042298 | -0.019756 | 0.022541
5 | NO | 602.023 | 0.60013 | 0.0042287 | -0.066868 | -0.034933 | 0.031935
5 | NO | 399.727 | 1.5637 | 0.004801 | -0.15827 | -0.091088 | 0.067185
5 | NO | 302.793 | 2.3032 | 0.0039795 | -0.24279 | -0.13418 | 0.1086
5 | NO | 249.9 | 3.2155 | 0.011041 | -0.30146 | -0.18735 | 0.11411
5 | NO | 199.312 | 4.0587 | 0.007609 | -0.33931 | -0.23648 | 0.10282
5 | NO | 175.615 | 4.3243 | 0.011346 | -0.37671 | -0.25196 | 0.12475
5 | NO | 151.784 | 4.7489 | 0.023247 | -0.41612 | -0.27671 | 0.13942
5 | NO | 124.795 | 5.3992 | 0.0098567 | -0.46784 | -0.3146 | 0.15323
5 | NO | 100.88 | 5.8708 | 0.0086243 | -0.4942 | -0.34209 | 0.15212
5 | NO | 75.7607 | 6.0809 | 0.016993 | -0.51608 | -0.35433 | 0.16175
5 | NO | 48.8248 | 6.1047 | 0.0087433 | -0.50131 | -0.35572 | 0.1456
5 | NO | 24.4799 | 6.0934 | 0.015668 | -0.54661 | -0.35506 | 0.19155
5 | NO | 9.3062 | 6.11 | 0.0074705 | -0.49802 | -0.35602 | 0.142
5 | NO | 6.2458 | 6.1173 | 0.0063785 | -0.50073 | -0.35645 | 0.14428
6 | NO | 999.937 | 0.26985 | 0.0019818 | -0.039149 | -0.015686 | 0.023463
7 | NO | 4026.43 | 2.8446 | 0.0054321 | -0.1744 | -0.16573 | 0.0086653
7 | NO | 3501.47 | 2.7007 | 0.010008 | -0.16329 | -0.15735 | 0.0059381
7 | NO | 3501.47 | 2.7007 | 0.010008 | -0.15829 | -0.15735 | 0.00093805
7 | NO | 3000.08 | 2.3598 | 0.0045017 | -0.13821 | -0.13748 | 0.00072707
7 | NO | 2499.84 | 1.8074 | 0.0021985 | -0.099636 | -0.10529 | -0.0056492
7 | NO | 2001.22 | 1.2085 | 0.0037397 | -0.057504 | -0.070386 | -0.012882
7 | NO | 1499.95 | 0.51877 | 0.0017737 | -0.015231 | -0.030192 | -0.01496
7 | NO | 1249.64 | 0.31807 | 0.0032933 | -0.011934 | -0.018496 | -0.0065616
7 | NO | 1000.28 | 0.29877 | 0.0035585 | -0.023231 | -0.017371 | 0.0058604
7 | NO | 800.857 | 0.42702 | 0.0027733 | -0.0089752 | -0.024845 | -0.01587
7 | NO | 600.878 | 0.60688 | 0.0035991 | -0.030116 | -0.035327 | -0.005211
7 | NO | 399.988 | 1.2085 | 0.0026425 | -0.053554 | -0.070383 | -0.01683
7 | NO | 300.328 | 2.0624 | 0.0033133 | -0.13759 | -0.12015 | 0.017438
7 | NO | 249.302 | 2.7989 | 0.0049241 | -0.17711 | -0.16307 | 0.01404
7 | NO | 200.068 | 3.6526 | 0.0079739 | -0.22445 | -0.21282 | 0.011639
7 | NO | 174.375 | 4.0908 | 0.01253 | -0.2472 | -0.23836 | 0.0088428
7 | NO | 150.064 | 4.5129 | 0.0061997 | -0.27312 | -0.26295 | 0.010164
7 | NO | 124.713 | 5.0541 | 0.012674 | -0.32285 | -0.2945 | 0.028356
7 | NO | 100.115 | 5.9509 | 0.009166 | -0.31013 | -0.34675 | -0.03662
7 | YES | 75.1804 | 6.3418 | 0.013889 | -0.38521 | -0.36953 | 0.015682
7 | YES | 51.2434 | 6.4308 | 0.0041533 | -0.36224 | -0.37472 | -0.012479
7 | YES | 24.6699 | 6.4476 | 0.0037253 | -0.35141 | -0.3757 | -0.024286
7 | YES | 10.2715 | 6.4669 | 0.0031656 | -0.34006 | -0.37683 | -0.036769
7 | YES | 4.8239 | 6.4463 | 0.0099309 | -0.37275 | -0.37562 | -0.0028693
8 | YES | 199.925 | 3.9557 | 0.0020027 | -0.1773 | -0.23048 | -0.053185
8 | YES | 98.6867 | 6.2931 | 0.0068838 | -0.26288 | -0.3667 | -0.10382
8 | YES | 9.3299 | 6.4929 | 0.0060372 | -0.32812 | -0.37834 | -0.050215
9 | NO | 21.0098 | 6.1909 | 0.015267 | -0.62905 | -0.36074 | 0.26831
9 | NO | 10.6352 | 6.1998 | 0.011071 | -0.61917 | -0.36126 | 0.25791
9 | NO | 10.6352 | 6.1998 | 0.011071 | -0.62017 | -0.36126 | 0.25891
10 | NO | 3258.51 | 2.0478 | 0.0041276 | -0.21921 | -0.1193 | 0.099916
10 | NO | 3002.14 | 1.9964 | 0.010391 | -0.22257 | -0.1163 | 0.10626
10 | NO | 2999.78 | 2.0055 | 0.0084158 | -0.21855 | -0.11683 | 0.10172
10 | NO | 2500.29 | 1.7057 | 0.0020611 | -0.1773 | -0.099361 | 0.077944
10 | NO | 2000.25 | 1.2253 | 0.0036493 | -0.11169 | -0.071366 | 0.04032
10 | NO | 1499.77 | 0.60373 | 0.0023944 | -0.057273 | -0.035143 | 0.02213
10 | NO | 1249.24 | 0.35464 | 0.0034949 | -0.02236 | -0.020627 | 0.0017335
10 | NO | 1000.05 | 0.22118 | 0.0013478 | -0.025818 | -0.01285 | 0.012969
10 | NO | 797.049 | 0.21238 | 0.0012797 | -0.04862 | -0.012337 | 0.036283
10 | NO | 600.06 | 0.34359 | 0.0023366 | -0.040405 | -0.019983 | 0.020422
10 | NO | 400.23 | 1.0017 | 0.0022136 | -0.12927 | -0.058337 | 0.070936
10 | NO | 299.012 | 1.8035 | 0.0049035 | -0.20353 | -0.10506 | 0.098471
10 | NO | 249.326 | 2.6592 | 0.036665 | -0.35377 | -0.15493 | 0.19884
10 | NO | 201.362 | 3.2292 | 0.0034328 | -0.34076 | -0.18815 | 0.15261
10 | NO | 177.06 | 3.4677 | 0.01049 | -0.36929 | -0.20204 | 0.16724
10 | NO | 149.198 | 3.9351 | 0.038527 | -0.49391 | -0.22928 | 0.26463
10 | NO | 124.752 | 4.4444 | 0.0094334 | -0.45661 | -0.25896 | 0.19765
10 | NO | 98.7481 | 5.2771 | 0.019004 | -0.55594 | -0.30749 | 0.24846
10 | NO | 74.0787 | 5.6659 | 0.0092041 | -0.55713 | -0.33014 | 0.22699
10 | NO | 49.0067 | 6.021 | 0.0042386 | -0.62103 | -0.35084 | 0.2702
10 | NO | 24.394 | 6.049 | 0.013361 | -0.60204 | -0.35247 | 0.24957
10 | NO | 10.9991 | 6.0306 | 0.014784 | -0.60444 | -0.3514 | 0.25304
10 | NO | 4.3541 | 6.0277 | 0.011605 | -0.60231 | -0.35123 | 0.25108
11 | NO | 1998.7 | 1.2292 | 0.0024393 | -0.15375 | -0.071596 | 0.082154
11 | NO | 1501.27 | 0.60954 | 0.0043857 | -0.079464 | -0.035481 | 0.043983
11 | NO | 1500.71 | 0.61128 | 0.0049769 | -0.071718 | -0.035583 | 0.036135
11 | NO | 1252.91 | 0.34214 | 0.0053206 | -0.040855 | -0.019899 | 0.020956
11 | NO | 1005.02 | 0.2151 | 0.0011648 | -0.029901 | -0.012495 | 0.017406
11 | NO | 800.752 | 0.19749 | 0.0038408 | -0.032512 | -0.011469 | 0.021044
11 | NO | 601.362 | 0.3 | 0.0023887 | -0.04 | -0.017443 | 0.022557
11 | NO | 601.118 | 0.29991 | 0.0023583 | -0.036089 | -0.017438 | 0.018651
11 | NO | 399.817 | 0.86348 | 0.0022513 | -0.091521 | -0.05028 | 0.041241
11 | NO | 301.686 | 1.5403 | 0.0075812 | -0.17871 | -0.089722 | 0.088989
11 | NO | 249.636 | 2.1131 | 0.0032257 | -0.22286 | -0.12311 | 0.099754
11 | NO | 200.779 | 1.9176 | 0.0038416 | -0.1974 | -0.11171 | 0.085687
11 | NO | 176.074 | 1.9937 | 0.036254 | -0.25732 | -0.11614 | 0.14118
11 | NO | 145.644 | 2.5809 | 0.0062163 | -0.21806 | -0.15037 | 0.067693
11 | NO | 124.837 | 3.0957 | 0.0083726 | -0.33127 | -0.18037 | 0.15091
11 | NO | 99.2453 | 3.9846 | 0.012121 | -0.43041 | -0.23217 | 0.19825
11 | NO | 73.9891 | 5.5715 | 0.0087968 | -0.57354 | -0.32464 | 0.24889
11 | NO | 48.2178 | 6.0175 | 0.011956 | -0.60254 | -0.35063 | 0.2519
11 | NO | 24.7393 | 6.0509 | 0.0076852 | -0.59207 | -0.35258 | 0.23948
11 | NO | 10.1822 | 6.0418 | 0.0052509 | -0.58719 | -0.35205 | 0.23514
11 | NO | 6.183 | 6.0542 | 0.0098049 | -0.58579 | -0.35277 | 0.23301
12 | NO | 86.1472 | 5.6741 | 0.0097539 | -0.56389 | -0.33062 | 0.23326
12 | NO | 74.2596 | 5.6715 | 0.005657 | -0.56851 | -0.33047 | 0.23804
12 | NO | 51.2189 | 5.7025 | 0.0064961 | -0.56345 | -0.33228 | 0.23116
12 | NO | 30.6682 | 5.7207 | 0.015236 | -0.57033 | -0.33334 | 0.23699
12 | NO | 19.003 | 5.7095 | 0.011003 | -0.57954 | -0.33268 | 0.24685
12 | NO | 9.5451 | 5.7098 | 0.012266 | -0.58221 | -0.3327 | 0.2495
12 | NO | 5.1941 | 5.7283 | 0.0051878 | -0.56574 | -0.33378 | 0.23196
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
FIT vs. Pressure
FIT vs. DOX_CTD
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (DOX_CTD - DOX_BOT) (7)
Calculation of Linear Least Squares Fit For
(DOX_CTD - DOX_BOT)
2
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (DOX_CTD - DOX_BOT), Prop=DOX_CTD
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.9931 |  | X | CALC Y
m= | -0.064769 | 0.0013493 |  | Std Dev of Resid |  | 0.0083479 |  | 0.29877 | -0.0071057
b= | 0.012245 | 0.0035347 |  | Resid Sum of Squares |  | 0.001115 |  | 5.0541 | -0.31511
# of Values Extracted = |  |  | 24
# of Values Used in Fit = |  |  | 18
File | Use | Pressure | DOX_CTD | DOX_CTD | Diff (DOX_CTD - DOX_BOT) |  |  |  | Fit vs. | DOX_CTD
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
7 | YES | 4026.43 | 2.8446 | 0.0054321 | -0.1744 | -0.172 | 0.0024006 |  | 2.8446 | -0.1744
7 | YES | 3501.47 | 2.7007 | 0.010008 | -0.16329 | -0.16268 | 0.00060757 |  | 2.7007 | -0.16329
7 | YES | 3501.47 | 2.7007 | 0.010008 | -0.15829 | -0.16268 | -0.0043924 |  | 2.7007 | -0.15829
7 | YES | 3000.08 | 2.3598 | 0.0045017 | -0.13821 | -0.1406 | -0.0023898 |  | 2.3598 | -0.13821
7 | YES | 2499.84 | 1.8074 | 0.0021985 | -0.099636 | -0.10482 | -0.0051792 |  | 1.8074 | -0.099636
7 | YES | 2001.22 | 1.2085 | 0.0037397 | -0.057504 | -0.066028 | -0.0085238 |  | 1.2085 | -0.057504
7 | YES | 1499.95 | 0.51877 | 0.0017737 | -0.015231 | -0.021355 | -0.0061234 |  | 0.51877 | -0.015231
7 | YES | 1249.64 | 0.31807 | 0.0032933 | -0.011934 | -0.0083555 | 0.0035784 |  | 0.31807 | -0.011934
7 | YES | 1000.28 | 0.29877 | 0.0035585 | -0.023231 | -0.0071057 | 0.016126 |  | 0.29877 | -0.023231
7 | YES | 800.857 | 0.42702 | 0.0027733 | -0.0089752 | -0.015413 | -0.0064375 |  | 0.42702 | -0.0089752
7 | YES | 600.878 | 0.60688 | 0.0035991 | -0.030116 | -0.027062 | 0.0030538 |  | 0.60688 | -0.030116
7 | YES | 399.988 | 1.2085 | 0.0026425 | -0.053554 | -0.066025 | -0.012471 |  | 1.2085 | -0.053554
7 | YES | 300.328 | 2.0624 | 0.0033133 | -0.13759 | -0.12133 | 0.016252 |  | 2.0624 | -0.13759
7 | YES | 249.302 | 2.7989 | 0.0049241 | -0.17711 | -0.16904 | 0.0080722 |  | 2.7989 | -0.17711
7 | YES | 200.068 | 3.6526 | 0.0079739 | -0.22445 | -0.22433 | 0.00012857 |  | 3.6526 | -0.22445
7 | YES | 174.375 | 4.0908 | 0.01253 | -0.2472 | -0.25271 | -0.0055134 |  | 4.0908 | -0.2472
7 | YES | 150.064 | 4.5129 | 0.0061997 | -0.27312 | -0.28005 | -0.0069331 |  | 4.5129 | -0.27312
7 | YES | 124.713 | 5.0541 | 0.012674 | -0.32285 | -0.31511 | 0.0077445 |  | 5.0541 | -0.32285
7 | NO | 100.115 | 5.9509 | 0.009166 | -0.31013 | -0.37319 | -0.063053
7 | NO | 75.1804 | 6.3418 | 0.013889 | -0.38521 | -0.3985 | -0.01329
7 | NO | 51.2434 | 6.4308 | 0.0041533 | -0.36224 | -0.40427 | -0.042028
7 | NO | 24.6699 | 6.4476 | 0.0037253 | -0.35141 | -0.40536 | -0.053945
7 | NO | 10.2715 | 6.4669 | 0.0031656 | -0.34006 | -0.40661 | -0.066553
7 | NO | 4.8239 | 6.4463 | 0.0099309 | -0.37275 | -0.40527 | -0.032519
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
FIT vs. Pressure
FIT vs. DOX_CTD
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (DOX_CTD - DOX_BOT) (8)
Calculation of Linear Least Squares Fit For
(DOX_CTD - DOX_BOT)
2
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (DOX_CTD - DOX_BOT), Prop=DOX_CTD
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.9931 |  | X | CALC Y
m= | -0.064769 | 0.0013493 |  | Std Dev of Resid |  | 0.0083479 |  | 0.29877 | -0.0071057
b= | 0.012245 | 0.0035347 |  | Resid Sum of Squares |  | 0.001115 |  | 5.0541 | -0.31511
# of Values Extracted = |  |  | 27
# of Values Used in Fit = |  |  | 18
File | Use | Pressure | DOX_CTD | DOX_CTD | Diff (DOX_CTD - DOX_BOT) |  |  |  | Fit vs. | DOX_CTD
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
7 | YES | 4026.43 | 2.8446 | 0.0054321 | -0.1744 | -0.172 | 0.0024006 |  | 2.8446 | -0.1744
7 | YES | 3501.47 | 2.7007 | 0.010008 | -0.16329 | -0.16268 | 0.00060757 |  | 2.7007 | -0.16329
7 | YES | 3501.47 | 2.7007 | 0.010008 | -0.15829 | -0.16268 | -0.0043924 |  | 2.7007 | -0.15829
7 | YES | 3000.08 | 2.3598 | 0.0045017 | -0.13821 | -0.1406 | -0.0023898 |  | 2.3598 | -0.13821
7 | YES | 2499.84 | 1.8074 | 0.0021985 | -0.099636 | -0.10482 | -0.0051792 |  | 1.8074 | -0.099636
7 | YES | 2001.22 | 1.2085 | 0.0037397 | -0.057504 | -0.066028 | -0.0085238 |  | 1.2085 | -0.057504
7 | YES | 1499.95 | 0.51877 | 0.0017737 | -0.015231 | -0.021355 | -0.0061234 |  | 0.51877 | -0.015231
7 | YES | 1249.64 | 0.31807 | 0.0032933 | -0.011934 | -0.0083555 | 0.0035784 |  | 0.31807 | -0.011934
7 | YES | 1000.28 | 0.29877 | 0.0035585 | -0.023231 | -0.0071057 | 0.016126 |  | 0.29877 | -0.023231
7 | YES | 800.857 | 0.42702 | 0.0027733 | -0.0089752 | -0.015413 | -0.0064375 |  | 0.42702 | -0.0089752
7 | YES | 600.878 | 0.60688 | 0.0035991 | -0.030116 | -0.027062 | 0.0030538 |  | 0.60688 | -0.030116
7 | YES | 399.988 | 1.2085 | 0.0026425 | -0.053554 | -0.066025 | -0.012471 |  | 1.2085 | -0.053554
7 | YES | 300.328 | 2.0624 | 0.0033133 | -0.13759 | -0.12133 | 0.016252 |  | 2.0624 | -0.13759
7 | YES | 249.302 | 2.7989 | 0.0049241 | -0.17711 | -0.16904 | 0.0080722 |  | 2.7989 | -0.17711
7 | YES | 200.068 | 3.6526 | 0.0079739 | -0.22445 | -0.22433 | 0.00012857 |  | 3.6526 | -0.22445
7 | YES | 174.375 | 4.0908 | 0.01253 | -0.2472 | -0.25271 | -0.0055134 |  | 4.0908 | -0.2472
7 | YES | 150.064 | 4.5129 | 0.0061997 | -0.27312 | -0.28005 | -0.0069331 |  | 4.5129 | -0.27312
7 | YES | 124.713 | 5.0541 | 0.012674 | -0.32285 | -0.31511 | 0.0077445 |  | 5.0541 | -0.32285
7 | NO | 100.115 | 5.9509 | 0.009166 | -0.31013 | -0.37319 | -0.063053
7 | NO | 75.1804 | 6.3418 | 0.013889 | -0.38521 | -0.3985 | -0.01329
7 | NO | 51.2434 | 6.4308 | 0.0041533 | -0.36224 | -0.40427 | -0.042028
7 | NO | 24.6699 | 6.4476 | 0.0037253 | -0.35141 | -0.40536 | -0.053945
7 | NO | 10.2715 | 6.4669 | 0.0031656 | -0.34006 | -0.40661 | -0.066553
7 | NO | 4.8239 | 6.4463 | 0.0099309 | -0.37275 | -0.40527 | -0.032519
8 | NO | 199.925 | 3.9557 | 0.0020027 | -0.1773 | -0.24396 | -0.066664
8 | NO | 98.6867 | 6.2931 | 0.0068838 | -0.26288 | -0.39535 | -0.13248
8 | NO | 9.3299 | 6.4929 | 0.0060372 | -0.32812 | -0.40829 | -0.080168
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
FIT vs. Pressure
FIT vs. DOX_CTD
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Main
# Channels= | 2 |  |  |  | COMPARE Version 3.3 | Run at 2010/06/14 15:37:40
| Primary | Secondary |  | Comparison Name
Ref | Pressure | Pressure |  | Pressure - Pressure
Comp 1 | DOX_BOT | DOX_CTD |  | DOX_CTD - DOX_BOT
Average Size: | 2
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | Pressure | Pressure | Pressure | (S-P) | DOX_BOT | DOX_CTD | DOX_CTD | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
2010-01-0001.mrg | 2010-01-0001.sam | 121 | 201.452 | 201.452 | 0.02873 | 0.00047302 | 0 | 0.045859 | 0.0014509 | 0.045859
2010-01-0001.mrg | 2010-01-0001.sam | 121 | 175.828 | 175.828 | 0.037251 | 0.00021362 | 0 | 0.044562 | 0.002309 | 0.044562
2010-01-0001.mrg | 2010-01-0001.sam | 121 | 150.838 | 150.838 | 0.032979 | 0.00019836 | 0.074 | 0.042719 | 0.0023066 | -0.031281
2010-01-0001.mrg | 2010-01-0001.sam | 121 | 125.178 | 125.178 | 0.030656 | 0.00043487 | 0.091 | 0.042099 | 0.0019079 | -0.048901
2010-01-0001.mrg | 2010-01-0001.sam | 119 | 100.469 | 100.469 | 0.033517 | 0.00043487 | 0.771 | 0.7983 | 0.011388 | 0.027303
2010-01-0001.mrg | 2010-01-0001.sam | 121 | 74.822 | 74.8217 | 0.024079 | -0.00032043 | 4.322 | 4.0908 | 0.0092673 | -0.23121
2010-01-0001.mrg | 2010-01-0001.sam | 121 | 50.744 | 50.744 | 0.040042 | 0 | 4.351 | 4.0362 | 0.010902 | -0.3148
2010-01-0001.mrg | 2010-01-0001.sam | 119 | 24.802 | 24.802 | 0.030406 | 4.9591e-05 | 4.904 | 4.5423 | 0.016008 | -0.36171
2010-01-0001.mrg | 2010-01-0001.sam | 121 | 9.388 | 9.3875 | 0.028389 | -0.00044537 | 5.098 | 4.7383 | 0.0091337 | -0.35974
2010-01-0001.mrg | 2010-01-0001.sam | 119 | 4.613 | 4.6133 | 0.02966 | 0.00034475 | 5.108 | 4.7239 | 0.0085743 | -0.38408
2010-01-0005.mrg | 2010-01-0005.sam | 121 | 108.129 | 108.129 | 0.7884 | -0.0002594 | 6.253 | 5.7803 | 0.0069385 | -0.47274
2010-01-0005.mrg | 2010-01-0005.sam | 121 | 100.123 | 100.123 | 0.82829 | 0.00010681 | 6.27 | 5.7861 | 0.0084741 | -0.48392
2010-01-0005.mrg | 2010-01-0005.sam | 239 | 76.005 | 75.531 | 0.71622 | -0.47395 | 6.28 | 5.8158 | 0.0050817 | -0.46416
2010-01-0005.mrg | 2010-01-0005.sam | 239 | 75.069 | 75.531 | 0.71622 | 0.46204 | 6.279 | 5.8158 | 0.0050817 | -0.46316
2010-01-0005.mrg | 2010-01-0005.sam | 121 | 49.443 | 49.443 | 0.60195 | -4.9591e-05 | 6.285 | 5.8219 | 0.0088252 | -0.46309
2010-01-0005.mrg | 2010-01-0005.sam | 121 | 25.69 | 25.6903 | 0.29534 | 0.00027275 | 6.283 | 5.8232 | 0.012111 | -0.45978
2010-01-0005.mrg | 2010-01-0005.sam | 121 | 10.505 | 10.505 | 0.23572 | -4.9591e-05 | 6.294 | 5.8322 | 0.010146 | -0.46182
2010-01-0005.mrg | 2010-01-0005.sam | 121 | 4.6 | 4.6002 | 0.55002 | 0.00015688 | 6.292 | 5.8347 | 0.0084007 | -0.45725
2010-01-0010.mrg | 2010-01-0010.sam | 226 | 1263.07 | 1263.22 | 0.40025 | 0.15576 | 0.446 | 0.40713 | 0.0030652 | -0.038867
2010-01-0010.mrg | 2010-01-0010.sam | 226 | 1263.36 | 1263.22 | 0.40025 | -0.13525 | 0.453 | 0.40713 | 0.0030652 | -0.045867
2010-01-0010.mrg | 2010-01-0010.sam | 121 | 1011.93 | 1011.93 | 0.34852 | -0.00036621 | 0.268 | 0.23137 | 0.0018126 | -0.036628
2010-01-0010.mrg | 2010-01-0010.sam | 121 | 801.439 | 801.439 | 0.45482 | -0.00012207 | 0.256 | 0.20102 | 0.0017748 | -0.054983
2010-01-0010.mrg | 2010-01-0010.sam | 121 | 600.195 | 600.195 | 0.88651 | 0.00042725 | 0.501 | 0.4459 | 0.0021886 | -0.055099
2010-01-0010.mrg | 2010-01-0010.sam | 121 | 401.706 | 401.706 | 0.11603 | -0.00045776 | 1.492 | 1.3602 | 0.0031259 | -0.13175
2010-01-0010.mrg | 2010-01-0010.sam | 121 | 300.501 | 300.501 | 1.0723 | -0.00030518 | 1.964 | 1.8177 | 0.0031555 | -0.14629
2010-01-0010.mrg | 2010-01-0010.sam | 121 | 251.008 | 251.008 | 0.56334 | 0.00030518 | 2.227 | 2.0381 | 0.0066352 | -0.18892
2010-01-0010.mrg | 2010-01-0010.sam | 121 | 202.029 | 202.029 | 0.70804 | -0.00028992 | 2.62 | 2.4138 | 0.0025538 | -0.20619
2010-01-0010.mrg | 2010-01-0010.sam | 121 | 173.939 | 173.939 | 0.26981 | 0.00022888 | 2.874 | 2.6342 | 0.0025835 | -0.23978
2010-01-0010.mrg | 2010-01-0010.sam | 121 | 150.875 | 150.875 | 0.77958 | 0.00024414 | 3.638 | 3.2977 | 0.014018 | -0.34027
2010-01-0010.mrg | 2010-01-0010.sam | 120 | 126.241 | 126.258 | 1.2079 | 0.017159 | 4.221 | 3.9037 | 0.0045749 | -0.31733
2010-01-0010.mrg | 2010-01-0010.sam | 121 | 100.816 | 100.816 | 0.50525 | 9.9182e-05 | 4.965 | 4.5416 | 0.013464 | -0.42336
2010-01-0010.mrg | 2010-01-0010.sam | 121 | 75.247 | 75.2474 | 0.11353 | 0.00035858 | 6.077 | 5.6147 | 0.011788 | -0.46225
2010-01-0010.mrg | 2010-01-0010.sam | 121 | 50.978 | 50.9775 | 0.2813 | -0.00049591 | 6.297 | 5.8258 | 0.0049836 | -0.47121
2010-01-0010.mrg | 2010-01-0010.sam | 121 | 24.776 | 24.7762 | 0.29205 | 0.00016594 | 6.326 | 5.8528 | 0.0091626 | -0.47321
2010-01-0010.mrg | 2010-01-0010.sam | 121 | 9.875 | 9.8747 | 0.24464 | -0.00028896 | 6.333 | 5.8677 | 0.01903 | -0.46533
2010-01-0010.mrg | 2010-01-0010.sam | 121 | 5.134 | 5.1344 | 0.12748 | 0.00037193 | 6.336 | 5.8674 | 0.0082749 | -0.4686
2010-01-0022.mrg | 2010-01-0022.sam | 121 | 6.083 | 6.0832 | 0.49664 | 0.00021458 | 6.619 | 6.128 | 0.0083271 | -0.49104
2010-01-0025.mrg | 2010-01-0025.sam | 75 | 3596.13 | 3595.78 | 1.2271 | -0.3523 | 2.719 | 2.5063 | 0.0051966 | -0.21268
2010-01-0025.mrg | 2010-01-0025.sam | 70 | 3496.77 | 3497.24 | 0.67176 | 0.47656 | 2.699 | 2.4894 | 0.0070246 | -0.2096
2010-01-0025.mrg | 2010-01-0025.sam | 103 | 3500.17 | 3500.6 | 1.0632 | 0.43677 | 2.703 | 2.4808 | 0.012121 | -0.22225
2010-01-0025.mrg | 2010-01-0025.sam | 101 | 3007.11 | 3007.66 | 0.98807 | 0.55029 | 2.407 | 2.2001 | 0.0065717 | -0.20695
2010-01-0025.mrg | 2010-01-0025.sam | 74 | 2506.86 | 2506.91 | 1.2674 | 0.050537 | 1.881 | 1.727 | 0.0038301 | -0.15396
2010-01-0025.mrg | 2010-01-0025.sam | 120 | 2006.47 | 2006.49 | 0.85476 | 0.0177 | 1.257 | 1.1556 | 0.0019862 | -0.10143
2010-01-0025.mrg | 2010-01-0025.sam | 106 | 1506.72 | 1506.41 | 1.2756 | -0.30762 | 0.529 | 0.49024 | 0.002573 | -0.038764
2010-01-0025.mrg | 2010-01-0025.sam | 121 | 1254.67 | 1254.66 | 0.40098 | -0.00048828 | 0.329 | 0.29091 | 0.0028372 | -0.038091
2010-01-0025.mrg | 2010-01-0025.sam | 121 | 1003.84 | 1003.84 | 0.50014 | -0.00042725 | 0.274 | 0.24614 | 0.0015562 | -0.027859
2010-01-0025.mrg | 2010-01-0025.sam | 121 | 800.059 | 800.059 | 0.81382 | 0.00042725 | 0.382 | 0.3397 | 0.0025418 | -0.042298
2010-01-0025.mrg | 2010-01-0025.sam | 121 | 602.023 | 602.023 | 0.72941 | -0.00036621 | 0.667 | 0.60013 | 0.0042287 | -0.066868
2010-01-0025.mrg | 2010-01-0025.sam | 121 | 399.727 | 399.727 | 1.0515 | -0.00048828 | 1.722 | 1.5637 | 0.004801 | -0.15827
2010-01-0025.mrg | 2010-01-0025.sam | 121 | 302.793 | 302.793 | 0.18484 | 0.00030518 | 2.546 | 2.3032 | 0.0039795 | -0.24279
2010-01-0025.mrg | 2010-01-0025.sam | 70 | 249.879 | 249.9 | 1.2253 | 0.021423 | 3.517 | 3.2155 | 0.011041 | -0.30146
2010-01-0025.mrg | 2010-01-0025.sam | 121 | 199.312 | 199.312 | 0.8358 | -0.00032043 | 4.398 | 4.0587 | 0.007609 | -0.33931
2010-01-0025.mrg | 2010-01-0025.sam | 121 | 175.615 | 175.615 | 0.4585 | 0.00021362 | 4.701 | 4.3243 | 0.011346 | -0.37671
2010-01-0025.mrg | 2010-01-0025.sam | 121 | 151.784 | 151.784 | 0.7267 | 0.00045776 | 5.165 | 4.7489 | 0.023247 | -0.41612
2010-01-0025.mrg | 2010-01-0025.sam | 121 | 124.795 | 124.795 | 0.74219 | -0.00048065 | 5.867 | 5.3992 | 0.0098567 | -0.46784
2010-01-0025.mrg | 2010-01-0025.sam | 113 | 100.808 | 100.88 | 1.4035 | 0.072067 | 6.365 | 5.8708 | 0.0086243 | -0.4942
2010-01-0025.mrg | 2010-01-0025.sam | 121 | 75.761 | 75.7607 | 0.41363 | -0.00027466 | 6.597 | 6.0809 | 0.016993 | -0.51608
2010-01-0025.mrg | 2010-01-0025.sam | 80 | 49.034 | 48.8248 | 1.2945 | -0.20917 | 6.606 | 6.1047 | 0.0087433 | -0.50131
2010-01-0025.mrg | 2010-01-0025.sam | 121 | 24.48 | 24.4799 | 0.68974 | -8.2016e-05 | 6.64 | 6.0934 | 0.015668 | -0.54661
2010-01-0025.mrg | 2010-01-0025.sam | 142 | 9.542 | 9.3062 | 0.70554 | -0.23579 | 6.608 | 6.11 | 0.0074705 | -0.49802
2010-01-0025.mrg | 2010-01-0025.sam | 120 | 6.263 | 6.2458 | 0.96721 | -0.01715 | 6.618 | 6.1173 | 0.0063785 | -0.50073
2010-01-0031.mrg | 2010-01-0031.sam | 121 | 999.937 | 999.937 | 0.7372 | -0.00042725 | 0.309 | 0.26985 | 0.0019818 | -0.039149
2010-01-0034.mrg | 2010-01-0034.sam | 121 | 4026.43 | 4026.43 | 0.48673 | -0.00024414 | 3.019 | 2.8446 | 0.0054321 | -0.1744
2010-01-0034.mrg | 2010-01-0034.sam | 207 | 3501.92 | 3501.47 | 0.77413 | -0.45483 | 2.864 | 2.7007 | 0.010008 | -0.16329
2010-01-0034.mrg | 2010-01-0034.sam | 207 | 3501.15 | 3501.47 | 0.77413 | 0.32324 | 2.859 | 2.7007 | 0.010008 | -0.15829
2010-01-0034.mrg | 2010-01-0034.sam | 121 | 3000.08 | 3000.08 | 1.0249 | 0.00048828 | 2.498 | 2.3598 | 0.0045017 | -0.13821
2010-01-0034.mrg | 2010-01-0034.sam | 121 | 2499.84 | 2499.84 | 0.21773 | -0.00048828 | 1.907 | 1.8074 | 0.0021985 | -0.099636
2010-01-0034.mrg | 2010-01-0034.sam | 121 | 2001.22 | 2001.22 | 0.5579 | 0 | 1.266 | 1.2085 | 0.0037397 | -0.057504
2010-01-0034.mrg | 2010-01-0034.sam | 121 | 1499.95 | 1499.95 | 0.7978 | 0.00012207 | 0.534 | 0.51877 | 0.0017737 | -0.015231
2010-01-0034.mrg | 2010-01-0034.sam | 121 | 1249.64 | 1249.64 | 0.26379 | -0.00036621 | 0.33 | 0.31807 | 0.0032933 | -0.011934
2010-01-0034.mrg | 2010-01-0034.sam | 121 | 1000.28 | 1000.28 | 0.78404 | -0.00030518 | 0.322 | 0.29877 | 0.0035585 | -0.023231
2010-01-0034.mrg | 2010-01-0034.sam | 121 | 800.857 | 800.857 | 0.62839 | 0 | 0.436 | 0.42702 | 0.0027733 | -0.0089752
2010-01-0034.mrg | 2010-01-0034.sam | 121 | 600.878 | 600.878 | 0.46164 | -0.00030518 | 0.637 | 0.60688 | 0.0035991 | -0.030116
2010-01-0034.mrg | 2010-01-0034.sam | 121 | 399.988 | 399.988 | 0.47894 | 0.00030518 | 1.262 | 1.2085 | 0.0026425 | -0.053554
2010-01-0034.mrg | 2010-01-0034.sam | 121 | 300.328 | 300.328 | 0.3502 | -0.00027466 | 2.2 | 2.0624 | 0.0033133 | -0.13759
2010-01-0034.mrg | 2010-01-0034.sam | 121 | 249.302 | 249.302 | 0.18195 | 0.00013733 | 2.976 | 2.7989 | 0.0049241 | -0.17711
2010-01-0034.mrg | 2010-01-0034.sam | 121 | 200.068 | 200.068 | 0.15741 | -1.5259e-05 | 3.877 | 3.6526 | 0.0079739 | -0.22445
2010-01-0034.mrg | 2010-01-0034.sam | 121 | 174.375 | 174.375 | 0.63248 | 0.00042725 | 4.338 | 4.0908 | 0.01253 | -0.2472
2010-01-0034.mrg | 2010-01-0034.sam | 121 | 150.064 | 150.064 | 0.2363 | 9.1553e-05 | 4.786 | 4.5129 | 0.0061997 | -0.27312
2010-01-0034.mrg | 2010-01-0034.sam | 121 | 124.713 | 124.713 | 0.43781 | 0.00028229 | 5.377 | 5.0541 | 0.012674 | -0.32285
2010-01-0034.mrg | 2010-01-0034.sam | 121 | 100.115 | 100.115 | 0.078402 | 0.00045776 | 6.261 | 5.9509 | 0.009166 | -0.31013
2010-01-0034.mrg | 2010-01-0034.sam | 121 | 75.18 | 75.1804 | 0.28568 | 0.0003891 | 6.727 | 6.3418 | 0.013889 | -0.38521
2010-01-0034.mrg | 2010-01-0034.sam | 121 | 51.243 | 51.2434 | 0.27732 | 0.0003891 | 6.793 | 6.4308 | 0.0041533 | -0.36224
2010-01-0034.mrg | 2010-01-0034.sam | 121 | 24.67 | 24.6699 | 0.26437 | -0.00012398 | 6.799 | 6.4476 | 0.0037253 | -0.35141
2010-01-0034.mrg | 2010-01-0034.sam | 121 | 10.271 | 10.2715 | 0.2154 | 0.0004797 | 6.807 | 6.4669 | 0.0031656 | -0.34006
2010-01-0034.mrg | 2010-01-0034.sam | 121 | 4.824 | 4.8239 | 0.30584 | -0.00014877 | 6.819 | 6.4463 | 0.0099309 | -0.37275
2010-01-0040.mrg | 2010-01-0040.sam | 121 | 199.925 | 199.925 | 0.11059 | 0 | 4.133 | 3.9557 | 0.0020027 | -0.1773
2010-01-0040.mrg | 2010-01-0040.sam | 242 | 98.667 | 98.6867 | 0.45537 | 0.019722 | 6.556 | 6.2931 | 0.0068838 | -0.26288
2010-01-0040.mrg | 2010-01-0040.sam | 478 | 9.477 | 9.3299 | 0.44882 | -0.14706 | 6.821 | 6.4929 | 0.0060372 | -0.32812
2010-01-0041.mrg | 2010-01-0041.sam | 121 | 21.01 | 21.0098 | 0.88282 | -0.0001812 | 6.82 | 6.1909 | 0.015267 | -0.62905
2010-01-0041.mrg | 2010-01-0041.sam | 427 | 10.873 | 10.6352 | 0.19334 | -0.23778 | 6.819 | 6.1998 | 0.011071 | -0.61917
2010-01-0041.mrg | 2010-01-0041.sam | 427 | 10.471 | 10.6352 | 0.19334 | 0.16422 | 6.82 | 6.1998 | 0.011071 | -0.62017
2010-01-0048.mrg | 2010-01-0048.sam | 61 | 3258.98 | 3258.51 | 1.2293 | -0.47461 | 2.267 | 2.0478 | 0.0041276 | -0.21921
2010-01-0048.mrg | 2010-01-0048.sam | 150 | 3002.08 | 3002.14 | 1.1222 | 0.064697 | 2.219 | 1.9964 | 0.010391 | -0.22257
2010-01-0048.mrg | 2010-01-0048.sam | 150 | 2999.86 | 2999.78 | 1.1243 | -0.08374 | 2.224 | 2.0055 | 0.0084158 | -0.21855
2010-01-0048.mrg | 2010-01-0048.sam | 118 | 2500.34 | 2500.29 | 0.89492 | -0.052978 | 1.883 | 1.7057 | 0.0020611 | -0.1773
2010-01-0048.mrg | 2010-01-0048.sam | 121 | 2000.25 | 2000.25 | 0.47748 | -0.00012207 | 1.337 | 1.2253 | 0.0036493 | -0.11169
2010-01-0048.mrg | 2010-01-0048.sam | 121 | 1499.77 | 1499.77 | 0.56374 | 0.00024414 | 0.661 | 0.60373 | 0.0023944 | -0.057273
2010-01-0048.mrg | 2010-01-0048.sam | 111 | 1249.05 | 1249.24 | 0.99816 | 0.18848 | 0.377 | 0.35464 | 0.0034949 | -0.02236
2010-01-0048.mrg | 2010-01-0048.sam | 121 | 1000.05 | 1000.05 | 0.82656 | 0.00048828 | 0.247 | 0.22118 | 0.0013478 | -0.025818
2010-01-0048.mrg | 2010-01-0048.sam | 121 | 797.049 | 797.049 | 0.99853 | 0.00018311 | 0.261 | 0.21238 | 0.0012797 | -0.04862
2010-01-0048.mrg | 2010-01-0048.sam | 121 | 600.06 | 600.06 | 0.35238 | -0.00036621 | 0.384 | 0.34359 | 0.0023366 | -0.040405
2010-01-0048.mrg | 2010-01-0048.sam | 121 | 400.23 | 400.23 | 0.34049 | 0.00033569 | 1.131 | 1.0017 | 0.0022136 | -0.12927
2010-01-0048.mrg | 2010-01-0048.sam | 117 | 298.943 | 299.012 | 1.2764 | 0.068573 | 2.007 | 1.8035 | 0.0049035 | -0.20353
2010-01-0048.mrg | 2010-01-0048.sam | 121 | 249.326 | 249.326 | 0.44121 | -9.1553e-05 | 3.013 | 2.6592 | 0.036665 | -0.35377
2010-01-0048.mrg | 2010-01-0048.sam | 121 | 201.362 | 201.362 | 0.55187 | -0.00035095 | 3.57 | 3.2292 | 0.0034328 | -0.34076
2010-01-0048.mrg | 2010-01-0048.sam | 73 | 176.532 | 177.06 | 1.2288 | 0.52831 | 3.837 | 3.4677 | 0.01049 | -0.36929
2010-01-0048.mrg | 2010-01-0048.sam | 121 | 149.198 | 149.198 | 0.68424 | 6.1035e-05 | 4.429 | 3.9351 | 0.038527 | -0.49391
2010-01-0048.mrg | 2010-01-0048.sam | 121 | 124.752 | 124.752 | 0.90662 | -0.00041962 | 4.901 | 4.4444 | 0.0094334 | -0.45661
2010-01-0048.mrg | 2010-01-0048.sam | 121 | 98.748 | 98.7481 | 0.45593 | 5.3406e-05 | 5.833 | 5.2771 | 0.019004 | -0.55594
2010-01-0048.mrg | 2010-01-0048.sam | 121 | 74.079 | 74.0787 | 0.31127 | -0.00028229 | 6.223 | 5.6659 | 0.0092041 | -0.55713
2010-01-0048.mrg | 2010-01-0048.sam | 121 | 49.007 | 49.0067 | 0.20691 | -0.0003128 | 6.642 | 6.021 | 0.0042386 | -0.62103
2010-01-0048.mrg | 2010-01-0048.sam | 121 | 24.394 | 24.394 | 0.56842 | 1.7166e-05 | 6.651 | 6.049 | 0.013361 | -0.60204
2010-01-0048.mrg | 2010-01-0048.sam | 218 | 11.438 | 10.9991 | 0.76595 | -0.43891 | 6.635 | 6.0306 | 0.014784 | -0.60444
2010-01-0048.mrg | 2010-01-0048.sam | 121 | 4.354 | 4.3541 | 0.41624 | 0.00010729 | 6.63 | 6.0277 | 0.011605 | -0.60231
2010-01-0055.mrg | 2010-01-0055.sam | 76 | 1998.13 | 1998.7 | 1.2387 | 0.56836 | 1.383 | 1.2292 | 0.0024393 | -0.15375
2010-01-0055.mrg | 2010-01-0055.sam | 125 | 1501.63 | 1501.27 | 0.64599 | -0.35535 | 0.689 | 0.60954 | 0.0043857 | -0.079464
2010-01-0055.mrg | 2010-01-0055.sam | 174 | 1500.31 | 1500.71 | 1.059 | 0.40295 | 0.683 | 0.61128 | 0.0049769 | -0.071718
2010-01-0055.mrg | 2010-01-0055.sam | 110 | 1253.13 | 1252.91 | 1.015 | -0.2207 | 0.383 | 0.34214 | 0.0053206 | -0.040855
2010-01-0055.mrg | 2010-01-0055.sam | 121 | 1005.02 | 1005.02 | 0.61402 | 6.1035e-05 | 0.245 | 0.2151 | 0.0011648 | -0.029901
2010-01-0055.mrg | 2010-01-0055.sam | 121 | 800.752 | 800.752 | 0.63165 | 0.00042725 | 0.23 | 0.19749 | 0.0038408 | -0.032512
2010-01-0055.mrg | 2010-01-0055.sam | 239 | 602.085 | 601.362 | 0.64251 | -0.72351 | 0.34 | 0.3 | 0.0023887 | -0.04
2010-01-0055.mrg | 2010-01-0055.sam | 282 | 601.051 | 601.118 | 0.82654 | 0.066894 | 0.336 | 0.29991 | 0.0023583 | -0.036089
2010-01-0055.mrg | 2010-01-0055.sam | 121 | 399.817 | 399.817 | 0.54499 | 0 | 0.955 | 0.86348 | 0.0022513 | -0.091521
2010-01-0055.mrg | 2010-01-0055.sam | 121 | 301.686 | 301.686 | 1.1051 | 0.00018311 | 1.719 | 1.5403 | 0.0075812 | -0.17871
2010-01-0055.mrg | 2010-01-0055.sam | 121 | 249.636 | 249.636 | 0.26297 | -9.1553e-05 | 2.336 | 2.1131 | 0.0032257 | -0.22286
2010-01-0055.mrg | 2010-01-0055.sam | 121 | 200.779 | 200.779 | 0.87239 | 0.00018311 | 2.115 | 1.9176 | 0.0038416 | -0.1974
2010-01-0055.mrg | 2010-01-0055.sam | 121 | 176.074 | 176.074 | 0.99778 | 0.00035095 | 2.251 | 1.9937 | 0.036254 | -0.25732
2010-01-0055.mrg | 2010-01-0055.sam | 83 | 145.623 | 145.644 | 1.305 | 0.020813 | 2.799 | 2.5809 | 0.0062163 | -0.21806
2010-01-0055.mrg | 2010-01-0055.sam | 121 | 124.837 | 124.837 | 0.25639 | 0.00035858 | 3.427 | 3.0957 | 0.0083726 | -0.33127
2010-01-0055.mrg | 2010-01-0055.sam | 121 | 99.245 | 99.2453 | 0.70362 | 0.00027466 | 4.415 | 3.9846 | 0.012121 | -0.43041
2010-01-0055.mrg | 2010-01-0055.sam | 121 | 73.989 | 73.9891 | 0.24669 | 6.8665e-05 | 6.145 | 5.5715 | 0.0087968 | -0.57354
2010-01-0055.mrg | 2010-01-0055.sam | 121 | 48.218 | 48.2178 | 0.74025 | -0.0001564 | 6.62 | 6.0175 | 0.011956 | -0.60254
2010-01-0055.mrg | 2010-01-0055.sam | 121 | 24.739 | 24.7393 | 0.085071 | 0.00031471 | 6.643 | 6.0509 | 0.0076852 | -0.59207
2010-01-0055.mrg | 2010-01-0055.sam | 121 | 10.182 | 10.1822 | 0.43615 | 0.00017357 | 6.629 | 6.0418 | 0.0052509 | -0.58719
2010-01-0055.mrg | 2010-01-0055.sam | 121 | 6.183 | 6.183 | 0.5682 | 8.1062e-06 | 6.64 | 6.0542 | 0.0098049 | -0.58579
2010-01-0064.mrg | 2010-01-0064.sam | 107 | 86.439 | 86.1472 | 1.1524 | -0.29183 | 6.238 | 5.6741 | 0.0097539 | -0.56389
2010-01-0064.mrg | 2010-01-0064.sam | 121 | 74.26 | 74.2596 | 0.73311 | -0.00036621 | 6.24 | 5.6715 | 0.005657 | -0.56851
2010-01-0064.mrg | 2010-01-0064.sam | 121 | 51.219 | 51.2189 | 0.60915 | -8.3923e-05 | 6.266 | 5.7025 | 0.0064961 | -0.56345
2010-01-0064.mrg | 2010-01-0064.sam | 121 | 30.668 | 30.6682 | 0.87813 | 0.00024033 | 6.291 | 5.7207 | 0.015236 | -0.57033
2010-01-0064.mrg | 2010-01-0064.sam | 108 | 18.746 | 19.003 | 1.1622 | 0.257 | 6.289 | 5.7095 | 0.011003 | -0.57954
2010-01-0064.mrg | 2010-01-0064.sam | 121 | 9.545 | 9.5451 | 0.50582 | 8.297e-05 | 6.292 | 5.7098 | 0.012266 | -0.58221
2010-01-0064.mrg | 2010-01-0064.sam | 121 | 5.194 | 5.1941 | 0.35949 | 0.00014877 | 6.294 | 5.7283 | 0.0051878 | -0.56574
Create Fit Sheet