## QFdata
Cruise 2010-01 LineP June
Chlorophyll Data Summary
Precision was determined by analyzing replicate samples drawn from one Niskin.
Pooled standard deviation of pairs of samples (Sp) was calculated by:
Sp = SQRT{sum (d*d)/2k}
where k = no. of pairs and d = difference between pairs
Chlorophyll Sp = 0.0084ug/L for the range 0.137 to 0.660 ug/L, k = 8
Pheopigment Sp = 0.0254 ug/L for the range 0.135 to 0.401 ug/L, k = 8
Cruise | Cast | Station | Nisk | Sample # | Depth | Chlorophyll | Flag:CHL | Pheopigments | Flag:Pheo
|  |  | # |  | nom | ug/L |  | ug/L
2010-01 | 1 | SI03 | 11 | 11 | 5 | 0.59445 |  | 0.25447
2010-01 | 1 | SI03 | 10 | 10 | 10 | 0.49039 |  | 0.22662
2010-01 | 1 | SI03 | 9 | 9 | 25 | 0.13832 | f | 0.15859 | f
2010-01 | 1 | SI03 | 8 | 8 | 50 | 0.055526 |  | 0.080792
2010-01 | 1 | SI03 | 7 | 7 | 75 | 0.039461 |  | 0.14075
2010-01 | 1 | SI03 | 6 | 6 | 100 | 0.029487 |  | 0.12382
2010-01 |  | JF1 |  | Loop |  | 0.20281 |  | 0.26449
2010-01 |  | JF2 |  | Loop |  | 0.25944 |  | 0.29287
2010-01 |  | JF3 |  | Loop |  | 0.64044 |  | 0.44251
2010-01 |  | JF4 |  | Loop |  | 0.99879 |  | 0.3941
2010-01 | 2 | P1 | 1 | 12 | 5 | 0.4482 |  | 0.19764
2010-01 | 3 | P2 | 11 | 23 | 0 | 0.63069 |  | 0.32914
2010-01 | 3 | P2 | 10 | 22 | 5 | 0.64811 |  | 0.28707
2010-01 | 3 | P2 | 9 | 21 | 10 | 0.63615 |  | 0.24689
2010-01 | 3 | P2 | 8 | 20 | 15 | 0.60022 |  | 0.29673
2010-01 | 3 | P2 | 7 | 19 | 20 | 0.64265 |  | 0.23247
2010-01 | 3 | P2 | 6 | 18 | 25 | 0.62825 | f | 0.2668 | f
2010-01 | 3 | P2 | 5 | 17 | 30 | 0.61465 |  | 0.28395
2010-01 | 3 | P2 | 4 | 16 | 40 | 0.63802 |  | 0.28497
2010-01 | 3 | P2 | 3 | 15 | 50 | 0.62586 |  | 0.30591
2010-01 | 3 | P2 | 2 | 14 | 75 | 0.63083 |  | 0.29297
2010-01 | 3 | P2 | 1 | 13 | 100 | 0.60294 |  | 0.29013
2010-01 | 6 | P3 | 1 | 32 | 5 | 0.86653 |  | 0.29355
2010-01 | 7 | P4 | 14 | 46 | 0 | 0.59086 |  | 0.29702
2010-01 | 7 | P4 | 12 | 44 | 5 | 0.59109 | f | 0.23271 | f
2010-01 | 7 | P4 | 11 | 43 | 10 | 0.60356 |  | 0.28341
2010-01 | 7 | P4 | 10 | 42 | 15 | 0.59662 |  | 0.25199
2010-01 | 7 | P4 | 9 | 41 | 20 | 0.62308 |  | 0.22555
2010-01 | 7 | P4 | 8 | 40 | 25 | 0.64953 |  | 0.30641
2010-01 | 7 | P4 | 7 | 39 | 30 | 0.52926 |  | 0.26048
2010-01 | 7 | P4 | 6 | 38 | 40 | 0.52819 |  | 0.19703
2010-01 | 7 | P4 | 5 | 37 | 50 | 0.59117 |  | 0.2017
2010-01 | 7 | P4 | 4 | 36 | 75 | 0.25987 |  | 0.13714
2010-01 | 7 | P4 | 3 | 35 | 100 | 0.081899 |  | 0.15965
2010-01 | 13 | P5 | 24 | 105 | 5 | 0.6564 |  | 0.35749
2010-01 | 14 | P6 | 24 | 106 | 5 | 0.50568 |  | 0.30868
2010-01 | 15 | P12 | 22 | 151 | 0 | 0.50482 |  | 0.15892
2010-01 | 15 | P12 | 13 | 142 | 10 | 0.46562 |  | 0.1435
2010-01 | 15 | P12 | 12 | 141 | 15 | 0.51722 | f | 0.16667 | f
2010-01 | 15 | P12 | 11 | 140 | 20 | 0.49825 |  | 0.18121
2010-01 | 15 | P12 | 10 | 139 | 25 | 0.47589 |  | 0.16368
2010-01 | 15 | P12 | 9 | 138 | 30 | 0.48115 |  | 0.16181
2010-01 | 15 | P12 | 8 | 137 | 40 | 0.48101 |  | 0.1597
2010-01 | 15 | P12 | 7 | 136 | 50 | 0.48329 |  | 0.16864
2010-01 | 15 | P12 | 6 | 135 | 75 | 0.45403 |  | 0.14415
2010-01 | 15 | P12 | 5 | 134 | 100 | 0.034877 |  | 0.057166
2010-01 | 20 | P13 | 24 | 200 | 5 | 0.37663 |  | 0.11649
2010-01 | 21 | P14 | 1 | 201 | 5 | 0.42361 |  | 0.13845
2010-01 | 22 | P15 | 24 | 202 | 5 | 0.36519 |  | 0.1441
2010-01 | 23 | P16 | 17 | 219 | 0 | 0.34549 | f | 0.14606 | f
2010-01 | 23 | P16 | 15 | 217 | 5 | 0.35687 |  | 0.15703
2010-01 | 23 | P16 | 14 | 216 | 10 | 0.35342 |  | 0.12116
2010-01 | 23 | P16 | 13 | 215 | 15 | 0.34214 |  | 0.14395
2010-01 | 23 | P16 | 12 | 214 | 20 | 0.34412 |  | 0.1406
2010-01 | 23 | P16 | 11 | 213 | 25 | 0.37212 |  | 0.14634
2010-01 | 23 | P16 | 10 | 212 | 30 | 0.36286 |  | 0.1386
2010-01 | 23 | P16 | 9 | 211 | 40 | 0.37274 |  | 0.15182
2010-01 | 23 | P16 | 8 | 210 | 50 | 0.37487 |  | 0.12778
2010-01 | 23 | P16 | 7 | 209 | 75 | 0.27356 |  | 0.13279
2010-01 | 23 | P16 | 6 | 208 | 100 | 0.023339 |  | 0.035638
2010-01 | 31 | P17 | 24 | 284 | 5 | 0.33799 |  | 0.13049
2010-01 | 32 | P18 | 24 | 308 | 5 | 0.32374 |  | 0.12188
2010-01 | 33 | P19 | 24 | 309 | 5 | 0.40768 |  | 0.13876
2010-01 | 37 | P20 | 19 | 352 | 0 | 0.44144 |  | 0.14444
2010-01 | 37 | P20 | 18 | 351 | 5 | 0.42389 |  | 0.15741
2010-01 | 37 | P20 | 16 | 348 | 15 | 0.40803 | f | 0.1378 | f
2010-01 | 37 | P20 | 15 | 347 | 20 | 0.41883 |  | 0.15884
2010-01 | 37 | P20 | 14 | 346 | 25 | 0.40791 |  | 0.15098
2010-01 | 37 | P20 | 13 | 345 | 30 | 0.41635 |  | 0.16485
2010-01 | 37 | P20 | 12 | 344 | 40 | 0.41803 |  | 0.16939
2010-01 | 37 | P20 | 11 | 342 | 50 | 0.42154 |  | 0.13544
2010-01 | 37 | P20 | 10 | 341 | 75 | 0.31098 |  | 0.14952
2010-01 | 37 | P20 | 9 | 340 | 100 | 0.082515 |  | 0.088804
2010-01 | 52 | P10 | 24 | 430 | 5 | 0.5086 |  | 0.17309
2010-01 | 54 | P9 | 1 | 431 | 5 | 0.55229 |  | 0.19459
2010-01 | 55 | P8 | 22 | 453 | 5 | 0.65709 |  | 0.32022
2010-01 | 55 | P8 | 21 | 452 | 10 | 0.65857 |  | 0.2834
2010-01 | 55 | P8 | 20 | 451 | 25 | 0.6571 | f | 0.30362 | f
2010-01 | 55 | P8 | 19 | 450 | 50 | 0.59532 |  | 0.24663
2010-01 | 55 | P8 | 18 | 449 | 75 | 0.22277 |  | 0.19174
2010-01 | 55 | P8 | 17 | 448 | 100 | 0.025323 |  | 0.074571
2010-01 | 57 | P7 | 1 | 454 | 5 | 0.5514 |  | 0.23857
2010-01 | 60 | LC3 | 1 | 475 | 5 | 0.63133 |  | 0.34054
2010-01 | 64 | LC6 | 7 | 482 | 5 | 0.53895 |  | 0.32734
2010-01 | 64 | LC6 | 6 | 481 | 10 | 0.52037 |  | 0.31172
2010-01 | 64 | LC6 | 5 | 480 | 20 | 0.54205 | f | 0.36413 | f

## raw data
Cruise 2009-10 chlorophyll analysis
Analyzed using Water Properties Turner 10 AU calibrated with pure chlorophyll a May 13, 2009
Samples analyzed on cruise 2010-10 by Marie Robert
May 13, 2009: chl (ug/L)= 0.9944*(1.92/(1.92-1)*(Fo-Fa)*(vol ext/vol filtered)
May 13, 2009: phaeo (ug/L)= 0.9944*(1.92/(1.92-1)*((1.92*Fa)-Fo)*1(vol ext/vol filtered)
Date | Sample | Station | Sampling | Niskin | Cast | Nominal | Volume | Vol.acet. | Before | After | Chl.a | Phaeo | RATIO | Scale | Comments
(analyzed) | Number |  | Date | Number | no. | Depth | Filtered | (ml) | acid | acid | ug/l |  | Rb/Ra
(local) |  |  | UTC |  |  |  | (ml) |  |  |  |  | ug/L
2010-02-09 | 6 | Si03 | 2010-02-03 | 6 | 1 | 100 | 335 | 10 | 3.166 | 2.69 | 0.029487 | 0.12382 | 1.177
2010-02-09 | 7 | Si03 | 2010-02-03 | 7 | 1 | 75 | 335 | 10 | 3.799 | 3.162 | 0.039461 | 0.14075 | 1.2015
2010-02-09 | 8 | Si03 | 2010-02-03 | 8 | 1 | 50 | 336 | 10 | 3.298 | 2.399 | 0.055526 | 0.080792 | 1.3747
2010-02-09 | 9 a | Si03 | 2010-02-03 | 9 | 1 | 25 | 335 | 10 | 7.85 | 5.591 | 0.13994 | 0.1787 | 1.404
2010-02-09 | 9 b | Si03 | 2010-02-03 | 9 | 1 | 25 | 332 | 10 | 6.972 | 4.785 | 0.13671 | 0.13847 | 1.4571
2010-02-09 | 10 | Si03 | 2010-02-03 | 10 | 1 | 10 | 330 | 10 | 20.191 | 12.393 | 0.49039 | 0.22662 | 1.6292
2010-02-09 | 11 | Si03 | 2010-02-03 | 11 | 1 | 5 | 332 | 10 | 24.272 | 14.762 | 0.59445 | 0.25447 | 1.6442
2010-02-09 | Loop | JF1 | 2010-02-03 |  |  |  | 330 | 10 | 11.302 | 8.077 | 0.20281 | 0.26449 | 1.3993
2010-02-09 | Loop | JF2 | 2010-02-03 |  |  |  | 335 | 10 | 13.879 | 9.691 | 0.25944 | 0.29287 | 1.4322
2010-02-09 | Loop | JF3 | 2010-02-03 |  |  |  | 337 | 10 | 29.515 | 19.115 | 0.64044 | 0.44251 | 1.5441
2010-02-09 | Loop | JF4 | 2010-02-03 |  |  |  | 335 | 10 | 40.563 | 24.44 | 0.99879 | 0.3941 | 1.6597
2010-02-09 | 12 | P1 | 2010-02-03 | 1 | 2 | 5 | 335 | 10 | 18.567 | 11.332 | 0.4482 | 0.19764 | 1.6385
2010-02-09 | 13 | P2 | 2010-02-03 | 1 | 3 | 100 | 335 | 10 | 25.403 | 15.67 | 0.60294 | 0.29013 | 1.6211
2010-02-09 | 14 | P2 | 2010-02-03 | 2 | 3 | 75 | 337 | 10 | 26.55 | 16.306 | 0.63083 | 0.29297 | 1.6282
2010-02-09 | 15 | P2 | 2010-02-03 | 3 | 3 | 50 | 335 | 10 | 26.452 | 16.349 | 0.62586 | 0.30591 | 1.618
2010-02-09 | 16 | P2 | 2010-02-03 | 4 | 3 | 40 | 332 | 10 | 26.257 | 16.05 | 0.63802 | 0.28497 | 1.636
2010-02-09 | 17 | P2 | 2010-02-03 | 5 | 3 | 30 | 335 | 10 | 25.689 | 15.767 | 0.61465 | 0.28395 | 1.6293
2010-02-09 | 18 a | P2 | 2010-02-03 | 6 | 3 | 25 | 332 | 10 | 25.709 | 15.785 | 0.62033 | 0.28742 | 1.6287
2010-02-09 | 18 b | P2 | 2010-02-03 | 6 | 3 | 25 | 336 | 10 | 25.828 | 15.528 | 0.63617 | 0.24618 | 1.6633
2010-02-09 | 19 | P2 | 2010-02-03 | 7 | 3 | 20 | 335 | 10 | 25.729 | 15.355 | 0.64265 | 0.23247 | 1.6756
2010-02-09 | 20 | P2 | 2010-02-03 | 8 | 3 | 15 | 336 | 10 | 25.503 | 15.785 | 0.60022 | 0.29673 | 1.6156
2010-02-09 | 21 | P2 | 2010-02-03 | 9 | 3 | 10 | 335 | 10 | 25.763 | 15.494 | 0.63615 | 0.24689 | 1.6628
2010-02-09 | 22 | P2 | 2010-02-03 | 10 | 3 | 5 | 330 | 10 | 26.47 | 16.164 | 0.64811 | 0.28707 | 1.6376
2010-02-09 | 23 | P2 | 2010-02-03 | 11 | 3 | 0 | 330 | 10 | 26.619 | 16.59 | 0.63069 | 0.32914 | 1.6045
2010-02-09 | 32 | P3 | 2010-02-04 | 1 | 6 | 5 | 335 | 10 | 34.343 | 20.355 | 0.86653 | 0.29355 | 1.6872
2010-02-09 | 35 | P4 | 2010-02-04 | 3 | 7 | 100 | 336 | 10 | 5.577 | 4.251 | 0.081899 | 0.15965 | 1.3119
2010-02-09 | 36 | P4 | 2010-02-04 | 4 | 7 | 75 | 335 | 10 | 11.161 | 6.966 | 0.25987 | 0.13714 | 1.6022
2010-02-09 | 37 | P4 | 2010-02-04 | 5 | 7 | 50 | 337 | 10 | 23.595 | 13.995 | 0.59117 | 0.2017 | 1.686
2010-02-09 | 38 | P4 | 2010-02-04 | 6 | 7 | 40 | 332 | 10 | 21.061 | 12.611 | 0.52819 | 0.19703 | 1.67
2010-02-09 | 39 | P4 | 2010-02-04 | 7 | 7 | 30 | 330 | 10 | 22.066 | 13.65 | 0.52926 | 0.26048 | 1.6166
2010-02-09 | 40 | P4 | 2010-02-04 | 8 | 7 | 25 | 335 | 10 | 27.258 | 16.773 | 0.64953 | 0.30641 | 1.6251
2010-02-09 | 41 | P4 | 2010-02-04 | 9 | 7 | 20 | 330 | 10 | 24.576 | 14.668 | 0.62308 | 0.22555 | 1.6755
2010-02-09 | 42 | P4 | 2010-02-04 | 10 | 7 | 15 | 335 | 10 | 24.521 | 14.89 | 0.59662 | 0.25199 | 1.6468
2010-02-09 | 43 | P4 | 2010-02-04 | 11 | 7 | 10 | 335 | 10 | 25.306 | 15.563 | 0.60356 | 0.28341 | 1.626
2010-02-09 | 44 a | P4 | 2010-02-04 | 12 | 7 | 5 | 335 | 10 | 23.652 | 14.211 | 0.58485 | 0.22507 | 1.6643
2010-02-09 | 44 b | P4 | 2010-02-04 | 12 | 7 | 5 | 336 | 10 | 24.413 | 14.742 | 0.59732 | 0.24036 | 1.656
2010-02-09 | 46 | P4 | 2010-02-04 | 14 | 7 | 0 | 335 | 10 | 25.117 | 15.579 | 0.59086 | 0.29702 | 1.6122
2010-02-09 | 105 | P5 | 2010-02-04 | 24 | 13 | 5 | 335 | 10 | 28.386 | 17.79 | 0.6564 | 0.35749 | 1.5956
2010-02-09 | 106 | P6 | 2010-02-04 | 24 | 14 | 5 | 335 | 10 | 22.452 | 14.289 | 0.50568 | 0.30868 | 1.5713 |  | Generic volume
2010-02-09 | 134 | P12 | 2010-02-06 | 5 | 15 | 100 | 335 | 10 | 2.178 | 1.615 | 0.034877 | 0.057166 | 1.3486
2010-02-09 | 135 | P12 | 2010-02-06 | 6 | 15 | 75 | 336 | 10 | 17.878 | 10.527 | 0.45403 | 0.14415 | 1.6983
2010-02-09 | 136 | P12 | 2010-02-06 | 7 | 15 | 50 | 330 | 10 | 18.953 | 11.268 | 0.48329 | 0.16864 | 1.682
2010-02-09 | 137 | P12 | 2010-02-06 | 8 | 15 | 40 | 337 | 10 | 19.12 | 11.309 | 0.48101 | 0.1597 | 1.6907
2010-02-09 | 138 | P12 | 2010-02-06 | 9 | 15 | 30 | 330 | 10 | 18.764 | 11.113 | 0.48115 | 0.16181 | 1.6885
2010-02-09 | 139 | P12 | 2010-02-06 | 10 | 15 | 25 | 335 | 10 | 18.904 | 11.222 | 0.47589 | 0.16368 | 1.6845
2010-02-09 | 140 | P12 | 2010-02-06 | 11 | 15 | 20 | 335 | 10 | 19.965 | 11.922 | 0.49825 | 0.18121 | 1.6746
2010-02-09 | 141 a | P12 | 2010-02-06 | 12 | 15 | 15 | 336 | 10 | 20.563 | 11.994 | 0.52926 | 0.15228 | 1.7144
2010-02-09 | 141 b | P12 | 2010-02-06 | 12 | 15 | 15 | 335 | 10 | 20.196 | 12.041 | 0.50519 | 0.18106 | 1.6773
2010-02-10 | 142 | P12 | 2010-02-06 | 13 | 15 | 10 | 332 | 10 | 18.041 | 10.592 | 0.46562 | 0.1435 | 1.7033
| 150 | P12 | 2010-02-06 | 21 | 15 | 5 |  | 10 | [6 empty] | No water
2010-02-10 | 151 | P12 | 2010-02-06 | 22 | 15 | 0 | 335 | 10 | 19.795 | 11.646 | 0.50482 | 0.15892 | 1.6997
2010-02-10 | 200 | P13 | 2010-02-06 | 24 | 20 | 5 | 337 | 10 | 14.82 | 8.704 | 0.37663 | 0.11649 | 1.7027
2010-02-10 | 201 | P14 | 2010-02-06 | 1 | 21 | 5 | 337 | 10 | 16.8 | 9.921 | 0.42361 | 0.13845 | 1.6934
2010-02-10 | 202 | P15 | 2010-02-06 | 24 | 22 | 5 | 335 | 10 | 14.831 | 8.936 | 0.36519 | 0.1441 | 1.6597
2010-02-10 | 208 | P16 | 2010-02-07 | 6 | 23 | 100 | 337 | 10 | 1.42 | 1.041 | 0.023339 | 0.035638 | 1.3641
2010-02-10 | 209 | P16 | 2010-02-07 | 7 | 23 | 75 | 335 | 10 | 11.546 | 7.13 | 0.27356 | 0.13279 | 1.6194
2010-02-10 | 210 | P16 | 2010-02-07 | 8 | 23 | 50 | 330 | 10 | 14.649 | 8.688 | 0.37487 | 0.12778 | 1.6861
2010-02-10 | 211 | P16 | 2010-02-07 | 9 | 23 | 40 | 335 | 10 | 15.221 | 9.204 | 0.37274 | 0.15182 | 1.6537
2010-02-10 | 212 | P16 | 2010-02-07 | 10 | 23 | 30 | 336 | 10 | 14.7 | 8.825 | 0.36286 | 0.1386 | 1.6657
2010-02-10 | 213 | P16 | 2010-02-07 | 11 | 23 | 25 | 335 | 10 | 15.104 | 9.097 | 0.37212 | 0.14634 | 1.6603
2010-02-10 | 214 | P16 | 2010-02-07 | 12 | 23 | 20 | 335 | 10 | 14.06 | 8.505 | 0.34412 | 0.1406 | 1.6531
2010-02-10 | 215 | P16 | 2010-02-07 | 13 | 23 | 15 | 335 | 10 | 14.052 | 8.529 | 0.34214 | 0.14395 | 1.6476
2010-02-10 | 216 | P16 | 2010-02-07 | 14 | 23 | 10 | 335 | 10 | 14.032 | 8.327 | 0.35342 | 0.12116 | 1.6851
2010-02-10 | 217 | P16 | 2010-02-07 | 15 | 23 | 5 | 336 | 10 | 14.822 | 9.044 | 0.35687 | 0.15703 | 1.6389
2010-02-10 | 219 a | P16 | 2010-02-07 | 17 | 23 | 0 | 334 | 10 | 14 | 8.461 | 0.34416 | 0.1395 | 1.6547
2010-02-10 | 219 b | P16 | 2010-02-07 | 17 | 23 | 0 | 333 | 10 | 14.276 | 8.711 | 0.34681 | 0.15263 | 1.6388
2010-02-10 | 284 | P17 | 2010-02-07 | 24 | 31 | 5 | 335 | 10 | 13.676 | 8.22 | 0.33799 | 0.13049 | 1.6637
2010-02-10 | 308 | P18 | 2010-02-08 | 24 | 32 | 5 | 335 | 10 | 13.045 | 7.819 | 0.32374 | 0.12188 | 1.6684
2010-02-10 | 309 | P19 | 2010-02-08 | 24 | 33 | 5 | 335 | 10 | 16.169 | 9.588 | 0.40768 | 0.13876 | 1.6864
2010-02-10 | 340 | P20 | 2010-02-08 | 9 | 37 | 100 | 335 | 10 | 4.338 | 3.006 | 0.082515 | 0.088804 | 1.4431
2010-02-10 | 341 | P20 | 2010-02-08 | 10 | 37 | 75 | 335 | 10 | 13.1 | 8.08 | 0.31098 | 0.14952 | 1.6213
2010-02-10 | 342 | P20 | 2010-02-08 | 11 | 37 | 50 | 336 | 10 | 16.627 | 9.802 | 0.42154 | 0.13544 | 1.6963
2010-02-10 | 344 | P20 | 2010-02-08 | 12 | 37 | 40 | 335 | 10 | 17.055 | 10.307 | 0.41803 | 0.16939 | 1.6547
2010-02-10 | 345 | P20 | 2010-02-08 | 13 | 37 | 30 | 335 | 10 | 16.919 | 10.198 | 0.41635 | 0.16485 | 1.6591
2010-02-10 | 346 | P20 | 2010-02-08 | 14 | 37 | 25 | 334 | 10 | 16.342 | 9.777 | 0.40791 | 0.15098 | 1.6715
2010-02-10 | 347 | P20 | 2010-02-08 | 15 | 37 | 20 | 335 | 10 | 16.897 | 10.136 | 0.41883 | 0.15884 | 1.667
2010-02-10 | 348 a | P20 | 2010-02-08 | 16 | 37 | 15 | 335 | 10 | 16.373 | 9.711 | 0.4127 | 0.14075 | 1.686
2010-02-10 | 348 b | P20 | 2010-02-08 | 16 | 37 | 15 | 332 | 10 | 15.812 | 9.359 | 0.40336 | 0.13485 | 1.6895
2010-02-10 | 350 | P20 | 2010-02-08 | 6 | 37 | 10 | 330 | 10 | 16.546 | 9.829 | 0.42241 | 0.14625 | 1.6834
2010-02-10 | 351 | P20 | 2010-02-08 | 18 | 37 | 5 | 336 | 10 | 17.093 | 10.23 | 0.42389 | 0.15741 | 1.6709
2010-02-10 | 352 | P20 | 2010-02-08 | 19 | 37 | 0 | 335 | 10 | 17.406 | 10.28 | 0.44144 | 0.14444 | 1.6932
2010-02-13 | Loop 1 |  | 2010-02-10 |  |  | 5 | 330 | 10 | 17.376 | 10.27 | 0.44687 | 0.14731 | 1.6919
2010-02-13 | Loop 2 |  | 2010-02-10 |  |  | 5 | 330 | 10 | 15.785 | 9.631 | 0.38701 | 0.1702 | 1.639
2010-02-13 | Loop 3 |  | 2010-02-10 |  |  | 5 | 330 | 10 | 12.921 | 7.759 | 0.32462 | 0.12428 | 1.6653
2010-02-13 | Loop 4 |  | 2010-02-10 |  |  | 5 | 335 | 10 | 15.492 | 9.522 | 0.36983 | 0.17285 | 1.627
2010-02-13 | Loop 5 |  | 2010-02-10 |  |  | 5 | 335 | 10 | 17.852 | 10.567 | 0.45129 | 0.15095 | 1.6894
2010-02-13 | Loop 6 |  | 2010-02-11 |  |  | 5 | 335 | 10 | 20.093 | 12.057 | 0.49782 | 0.18934 | 1.6665
2010-02-13 | Loop 7 |  | 2010-02-11 |  |  | 5 | 335 | 10 | 20.077 | 12.181 | 0.48914 | 0.20508 | 1.6482
2010-02-13 | Loop 8 |  |  |  |  | 5 | 335 | 10 | 23.639 | 14.938 | 0.53901 | 0.31234 | 1.5825
2010-02-13 | Loop 8 | Real one | 2010-02-11 |  |  | 5 | 335 | 10 | 24.33 | 14.731 | 0.59464 | 0.24491 | 1.6516
2010-02-13 | 430 | P10 | 2010-02-11 | 1 | 52 | 5 | 335 | 10 | 20.171 | 11.961 | 0.5086 | 0.17309 | 1.6864
2010-02-13 | 431 | P9 | 2010-02-11 | 1 | 53 | 5 | 336 | 10 | 22.086 | 13.144 | 0.55229 | 0.19459 | 1.6803
2010-02-13 | 448 | P8 | 2010-02-11 | 17 | 55 | 100 | 336 | 10 | 2.168 | 1.758 | 0.025323 | 0.074571 | 1.2332
2010-02-13 | 449 | P8 | 2010-02-11 | 18 | 55 | 75 | 335 | 10 | 10.869 | 7.273 | 0.22277 | 0.19174 | 1.4944
2010-02-13 | 450 | P8 | 2010-02-11 | 19 | 55 | 50 | 335 | 10 | 24.383 | 14.773 | 0.59532 | 0.24663 | 1.6505
2010-02-13 | 451 a | P8 | 2010-02-11 | 20 | 55 | 25 | 332 | 10 | 27.231 | 16.763 | 0.65433 | 0.30966 | 1.6245
2010-02-13 | 451 b | P8 | 2010-02-11 | 20 | 55 | 25 | 330 | 10 | 27.042 | 16.549 | 0.65987 | 0.29759 | 1.6341
2010-02-13 | 452 | P8 | 2010-02-11 | 21 | 55 | 10 | 335 | 10 | 27.159 | 16.528 | 0.65857 | 0.2834 | 1.6432
2010-02-13 | 453 | P8 | 2010-02-11 | 22 | 55 | 5 | 335 | 10 | 27.755 | 17.148 | 0.65709 | 0.32022 | 1.6186
2010-02-13 | 454 | P7 | 2010-02-11 | 1 | 57 | 5 | 335 | 10 | 22.762 | 13.861 | 0.5514 | 0.23857 | 1.6422
2010-02-18 | 475 | LC3 | 2010-02-13 | 1 | 60 | 5 | 332 | 10 | 27 | 16.9 | 0.63133 | 0.34054 | 1.5976
2010-02-18 | 480 a | LC6 | 2010-02-13 | 5 | 64 | 20 | 335 | 10 | 24.1 | 15.3 | 0.54515 | 0.32684 | 1.5752
2010-02-18 | 480 b | LC6 | 2010-02-13 | 5 | 64 | 20 | 335 | 10 | 25.2 | 16.5 | 0.53895 | 0.40143 | 1.5273
2010-02-18 | 481 | LC6 | 2010-02-13 | 6 | 64 | 10 | 335 | 10 | 23 | 14.6 | 0.52037 | 0.31172 | 1.5753
2010-02-18 | 482 | LC6 | 2010-02-13 | 7 | 64 | 5 | 335 | 10 | 23.9 | 15.2 | 0.53895 | 0.32734 | 1.5724

## Precision
Averaging Duplicates
File: Cocc2008-01\nutrients\February 6 Nutrient Summary 2008-01
Date : February 6, 2008
Sample # | Station | Niskin # | Cast | Depth | Chl a | Chl a diff sq |  | Pheo | Pheo diff sq
9 a | Si03 | 9 | 1 | 25 | 0.13994 |  | 1 | 0.1787
9 b | Si03 | 9 | 1 | 25 | 0.13671 | 1.0472e-05 |  | 0.13847 | 0.0016189
[5 empty] | 0.13832 |  |  | 0.15859
18 a | P2 | 6 | 3 | 25 | 0.62033 |  | 2 | 0.28742
18 b | P2 | 6 | 3 | 25 | 0.63617 | 0.00025085 |  | 0.24618 | 0.0017014
[5 empty] | 0.62825 |  |  | 0.2668
44 a | P4 | 12 | 7 | 5 | 0.58485 |  | 3 | 0.22507
44 b | P4 | 12 | 7 | 5 | 0.59732 | 0.00015538 |  | 0.24036 | 0.00023401
[5 empty] | 0.59109 |  |  | 0.23271
451 a | P8 | 20 | 55 | 25 | 0.65433 |  | 4 | 0.30966
451 b | P8 | 20 | 55 | 25 | 0.65987 | 3.0668e-05 |  | 0.29759 | 0.00014584
[5 empty] | 0.6571 |  |  | 0.30362
141 a | P12 | 12 | 15 | 15 | 0.52926 |  | 5 | 0.15228
141 b | P12 | 12 | 15 | 15 | 0.50519 | 0.00057921 |  | 0.18106 | 0.00082828
[5 empty] | 0.51722 |  |  | 0.16667
219 a | P16 | 17 | 23 | 0 | 0.34416 |  | 6 | 0.1395
219 b | P16 | 17 | 23 | 0 | 0.34681 | 7.0429e-06 |  | 0.15263 | 0.00017246
[5 empty] | 0.34549 |  |  | 0.14606
348 a | P20 | 16 | 37 | 15 | 0.4127 |  | 7 | 0.14075
348 b | P20 | 16 | 37 | 15 | 0.40336 | 8.7142e-05 |  | 0.13485 | 3.4887e-05
[5 empty] | 0.40803 |  |  | 0.1378
480 a | LC6 | 5 | 64 | 20 | 0.54515 |  |  | 0.32684
480 b | LC6 | 5 | 64 | 20 | 0.53895 | 3.8376e-05 | 8 | 0.40143 | 0.005563
[5 empty] | 0.54205 |  |  | 0.36413
[5 empty] | SUM OF (X-Y)SQ | 0.0011591 |  |  | 0.010299
[5 empty] | COUNT | 8 |  |  | 8
[5 empty] | SUM/2*COUNT | 7.2446e-05 |  |  | 0.00064368
[5 empty] | SQRT(SUM/2*COUNT) | 0.0085115 |  |  | 0.025371
[5 empty] | min | 0.13671 |  |  | 0.13485
[5 empty] | max | 0.65987 |  |  | 0.40143

## Chauvenet
Averaging Duplicates
Sample # | Station | Niskin # | Cast | Depth | Chl a | Avg | DIFF | Chl a diff sq | Chauvenet value | reject? |  | Pheo | Avg | DIFF | Pheo diff sq | Chauvenet value | reject?
9 a | Si03 | 9 | 1 | 25 | 0.13994 | 0.13832 | -0.0032361 | 1.0472e-05 | -0.19033 |  | 1 | 0.1787 | 0.15859 | -0.040236 | 0.0016189 | -1.1617
9 b | Si03 | 9 | 1 | 25 | 0.13671 | [6 empty] | 0.13847
[5 empty] | 0.13832 | [6 empty] | 0.15859
18 a | P2 | 6 | 3 | 25 | 0.62033 | 0.62825 | 0.015838 | 0.00025085 | 1.2952 |  | 2 | 0.28742 | 0.2668 | -0.041248 | 0.0017014 | -1.1883
18 b | P2 | 6 | 3 | 25 | 0.63617 | [6 empty] | 0.24618
[5 empty] | 0.62825 | [6 empty] | 0.2668
44 a | P4 | 12 | 7 | 5 | 0.58485 | 0.59109 | 0.012465 | 0.00015538 | 1.0325 |  | 3 | 0.22507 | 0.23271 | 0.015297 | 0.00023401 | 0.29534
44 b | P4 | 12 | 7 | 5 | 0.59732 | [6 empty] | 0.24036
[5 empty] | 0.59109 | [6 empty] | 0.23271
451 a | P8 | 20 | 55 | 25 | 0.65433 | 0.6571 | 0.0055378 | 3.0668e-05 | 0.49298 |  | 4 | 0.30966 | 0.30362 | -0.012077 | 0.00014584 | -0.42289
451 b | P8 | 20 | 55 | 25 | 0.65987 | [6 empty] | 0.29759
[5 empty] | 0.6571 | [6 empty] | 0.30362
141 a | P12 | 12 | 15 | 15 | 0.52926 | 0.51722 | -0.024067 | 0.00057921 | -1.8126 | NO | 5 | 0.15228 | 0.16667 | 0.02878 | 0.00082828 | 0.64909
141 b | P12 | 12 | 15 | 15 | 0.50519 | [6 empty] | 0.18106
[5 empty] | 0.51722 | [6 empty] | 0.16667
219 a | P16 | 17 | 23 | 0 | 0.34416 | 0.34549 | 0.0026538 | 7.0429e-06 | 0.26838 |  | 6 | 0.1395 | 0.14606 | 0.013132 | 0.00017246 | 0.23853
219 b | P16 | 17 | 23 | 0 | 0.34681 | [6 empty] | 0.15263
[5 empty] | 0.34549 | [6 empty] | 0.14606
348 a | P20 | 16 | 37 | 15 | 0.4127 | 0.40803 | -0.009335 | 8.7142e-05 | -0.66531 |  | 7 | 0.14075 | 0.1378 | -0.0059066 | 3.4887e-05 | -0.261
348 b | P20 | 16 | 37 | 15 | 0.40336 | [6 empty] | 0.13485
[5 empty] | 0.40803 | [6 empty] | 0.1378
480 a | LC6 | 5 | 64 | 20 | 0.54515 | 0.54205 | -0.0061948 | 3.8376e-05 | -0.42076 |  |  | 0.32684 | 0.36413 | 0.074586 | 0.005563 | 1.8509 | NO
480 b | LC6 | 5 | 64 | 20 | 0.53895 | [5 empty] | 8 | 0.40143
[5 empty] | 0.54205 | [6 empty] | 0.36413
[5 empty] | SUM OF (X-Y)SQ | mean diff | -0.00079219 | 0.0011591 |  |  |  |  | mean diff | 0.004041 | 0.010299
[5 empty] | COUNT | stdev | 0.01284 | 8 |  |  |  |  | stdev | 0.038113 | 8
[5 empty] | SUM/2*COUNT | MIN | 0.13671 | 7.2446e-05 |  |  |  |  | MIN | 0.13485 | 0.00064368
[5 empty] | SQRT(SUM/2*COUNT) | MAX | 0.65987 | 0.0085115 |  |  |  |  | MAX | 0.40143 | 0.025371
[5 empty] | min |  |  | 0.13671 | [6 empty] | 0.13485
[5 empty] | max |  |  | 0.65987 | [6 empty] | 0.40143

## STD&Blanks
|  | Standard | Standard | Blank | Stand-by
|  | Low | High
2010-02-09 | before | 9.308 | 66.813 | -0.021 | -0.044
2010-02-09 | after | 12.062 | 65.936 | -0.02 | -0.044
2010-02-10 | before | 12.175 | 66.741 | -0.014 | -0.045
2010-02-10 | after | 12.023 | 65.232 | -0.017 | -0.048
2010-02-13 | before | 12.207 | 66.864 | -0.02 | -0.043
2010-02-13 | after | 12.002 | 66.277 | -0.021 | -0.044