Table of Contents – Appendix

List of Tables – Appendix	79

List of Figures – Appendix	80

1.	SCIENCE PARTICIPANTS	81

2.	LOCATION OF SCIENCE STATIONS	83

2.1	CTD/Rosette	83

2.2	XCTD	90

2.3	ADCP	92

2.4	Zooplankton	94

2.5	Moorings and Buoys	98

2.6	Ice Observations - Japan	99

3.	CTD SETUP SPECIFICATIONS	101

4.	LIST OF INTERPOLATIONS	102

5.	INDIVIDUAL STATION PLOTS	104

5.1	Canada Basin	105

5.1.1	Standard	105

5.1.2	Barium	248

5.1.3	DIC and Alkalinity	248

5.1.4	129I and 137Cs	248

5.1.5	Bacteria	248

6.	PROPERTY PLOTS	249

6.1	Canada Basin	249

6.2	Archipelago	263

7.	Section plots	264

8.	WILDLIFE OBSERVATIONS	281

9.	ICE OBSERVATIONS	283

# List of Tables – Appendix

Table 1.  Onboard Science Team.	81

Table 2.  Principal Investigators Onshore.	82

Table 3.  Affiliation Abbreviations.	82

Table 4.  Project Websites.	82

Table 5.  CTD/Rosette Casts.	83

Table 6.  XCTD Cast Locations.	90

Table 7.  ADCP Deployment List	92

Table 8.  Zooplankton Casts.	94

Table 9.  Summary of BGOS 2010 field operations.	98

Table 10.  EM and PMR observation log.	99

Table 11.  Summary of snow depth and ice thickness on the ice station 2-4.	100

Table 12.  List of Interpolations.	102

Table 13.  Property Legend for Individual Station Plots.	104

# List of Figures – Appendix

No table of figures entries found.

# SCIENCE PARTICIPANTS

Table 1. 2010-06 C3O mission onboard science team.

| Name | Affiliation | Tasks | Leg |
| --- | --- | --- | --- |
| Jane Eert | DFO-IOS | Chief scientist | St J - Kug |
| Mike Dempsey | DFO-IOS | Senior technician | St J - Kug |
| Sarah Wong | Environment Canada | Bird observer | St J - Kug |
| Corinne Pomerleau | University of Laval | Plankton | St J - Kug |
| Jennifer Nield | DFO-NHQ | Water sampling | St J - Kug |
| Eddy Carmack | DFO-IOS | Leader, C3O workshop | Res-Kug |
| Steve McLean | Canadian Space Agency | C3O workshop | Res-Kug |
| Terry Prowse | Environment Canada | C3O workshop | Res-Kug |
| Jim Balsillie | Research in Motion | C3O workshop | Res-Kug |
| Tim Macdonald | Ideal Supply | C3O workshop | Res-Kug |
| David Hik | University of Alberta | C3O workshop | Res-Kug |
| Thomas Homer-Dixon | University of Waterloo | C3O workshop | Res-Kug |
| Gail Whiteman | Rotterdam School Economics | C3O workshop | Res-Kug |
| Brian Walker | CSIRO | C3O workshop | Res-Kug |
| Siddika Mithani | DFO | C3O workshop | Res-Kug |
| Michelle Wheatley | DFO | C3O workshop | Res-Kug |
| David Burden | DFO | C3O workshop | Res-Kug |
| Brian Gray | Environment Canada | C3O workshop | Res-Kug |
| Marian Campbell Jarvis | Natural Resources Canada | C3O workshop | Res-CB |
| Kristen Murphy | CBC - Yellowknife | media | Res-Kug |
| Oksana Schimnowski | DFO - NCAARE | Science Liason | Res-Kug |
| Theresa Nichols | CCG-C&A | CCG Comms | Res-Kug |

Table 2. 2010-07 JOIS mission onboard science team.

| Name | Affiliation | Role |
| --- | --- | --- |
| Bill Williams | DFO | Chief Scientist |
| Jane Eert | DFO | Co-Chief Scientist, CTD Watch |
| Michiyo Kawai | DFO | Principal Chemist, Alkalinity Anaysis |
| Linda White | DFO | Nutrients Analyis, Lab Supervisor |
| Miranda Corkum | DFO | Oxygen Analysis |
| Nes Sutherland | DFO | CFC Analysis |
| Rick Nelson | DFO | CFC, Cs, I Analysis |
| Mike Dempsey | DFO | CTD Watch, Chief Technician |
| Sarah Zimmermann | DFO | CTD Watch, Data Analysis |
| Kelly Young | DFO | CTD Watch, Zooplankton Analysis |
| Kenny Scozzafava | DFO | CTD Watch |
| Chelsea Stanley | DFO | CTD Watch |
| Jeffrey Charters | DFO | CTD Watch, Ammonium Analysis |
| Zoe Sandwith | DFO | CTD Watch |
| Rick Krishfield | WHOI | Moorings and ITP Buoys |
| Kris Newhall | WHOI | Moorings and ITP Buoys |
| Jim Dunn | WHOI | Moorings and ITP Buoys |
| Carlton Rauschenberg | CRREL | O-Buoy |
| Peter Peterson | CRREL | O-Buoy |
| Alice Orlich | IARC | Ice observation |
| Heidi Isernhagen | IARC | Ice observation |
| Kohei Mizobata | TUMSAT | Ice observation |
| Kazu Tateyama | KIT | Ice observation |

Table 2.  Principal Investigators Onshore.

PI’s need to be confirmed – see excel sheet JOIS-2010-07 Data Report_Appendix TABLES_KY_01.05.2014.xlsx

Table 3.  Affiliation Abbreviations.

| Abbreviation | Name |
| --- | --- |
| APL | Applied Physics Laboratory, University of Washington, Seattle, Washington, USA |
| CRREL | Cold Regions Research Laboratory, New Hampshire, USA |
| DFO | Department of Fisheries and Oceans, Canada |
| ESB | Educational Broadcasting System, Korea |
| IARC | International Arctic Research Center, University of Alaska Fairbanks, Alaska |
| JAMSTEC | Japan Agency for Marine-Earth Science Technology, Japan |
| KOPRI | Korea Polar Research Institute, Korea |
| OUC | Ocean University China, Qingdao, China |
| UAF | University of Alaska Fairbanks, Alaska, USA |
| UBC | University of British Columbia, Vancouver, BC, Canada |
| WHOI | Woods Hole Oceanographic Institution, Woods Hole, Massachusetts, USA |
| TUMSAT | Tokyo University of Marine Science and Technology, Tokyo, Japan. |
| IOS | Institute of Ocean Sciences, Fisheries and Oceans Canada, Sidney, BC, Canada |
| BIO | Bedford Institute of Oceanography, Fisheries and Oceans Canada, Bedford, NS, Canada |

Table 4.  Project Websites.

| Project | Website Address |
| --- | --- |
| Beaufort Gyre Observing System | www.whoi.edu/beaufortgyre |
| Beaufort Gyre Observing System dispatches | www.whoi.edu/beaufortgyre/2010-dispatches |
| Ice-Tethered Profiler buoys | www.whoi.edu/itp |
| JAMSTEC | http://www.jamstec.go.jp/e/ |
| Surface Velocity Program buoys | http://www.metocean.com/ProdCat.aspx?CatId=1&SubCatId=5&ProdId=1 |
| O-buoy Project | www.o-buoy.org |
| UpTempo Program | http://psc.apl.washington.edu/UpTempO/UpTempO.php |
| Ice watch Program | http://icewatch.gina.alaska.edu/ |
| Drift Bottles | http://www.pac.dfo-mpo.gc.ca/science/oceans/driftbottles-bouteillesflottantes/index-eng.html |

# SCIENCE STATIONS

Locations of CTD/Rosette, XCTD, zooplankton vertical net and over-the-side bucket casts, as well as the mooring and buoy recovery and deployments are listed in the tables below.

## CTD/Rosette

Table 5.  2010-06 C3O Station log

| Date (UTC) | Event type | Event # | Station | Lat (N) | Lon(E) | Depth | Comment |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 21/07/2010 16:48 | CTD/ROS | 1 | LS10-01 | 52.034 | -50.46 | 1881 |  |
| 21/07/2010 10:30 | XCTD | XCTD-1 | XCTD-1 | 50.7915 | -50.088833 | 231 |  |
| 21/07/2010 22:39 | XCTD | XCTD-2 | XCTD-2 | 52.947 | -51.1025 | 2534 |  |
| 22/07/2010 4:39 | XCTD | XCTD-3 | XCTD-3 | 54.236167 | -52.036167 | 2638 |  |
| 22/07/2010 10:31 | XCTD | XCTD-4 | XCTD-4 | 55.2735 | -53.2735 | 2953 |  |
| 22/07/2010 19:01 | NET | NET-1 | LS10-02 | 57.296 | -55.178 | 3085 | Net winch spooling chain broke |
| 22/07/2010 20:46 | CTD/ROS | 2 | LS10-02 | 57.296 | -55.178 | 3085 |  |
| 22/07/2010 20:58 | ADCP |  | LS10-02 | 57.296 | -55.178 | 3085 |  |
| 23/07/2010 4:33 | XCTD | XCTD-5 | XCTD-5 | 54.236167 | -52.036167 | 3018 |  |
| 23/07/2010 10:30 | XCTD | XCTD-6 | XCTD-6 | 59.922833 | -58.417 | 2690 |  |
| 23/07/2010 16:28 | NET | NET-2 | LS10-03 | 61.291 | -58.495 | 2600 |  |
| 23/07/2010 16:45 | CTD/ROS | 3 | LS10-03 | 61.291 | -58.495 | 2600 |  |
| 23/07/2010 16:50 | ADCP |  | LS10-03 | 61.291 | -58.495 | 2600 |  |
| 23/07/2010 22:27 | XCTD | XCTD-7 | XCTD-7 | 62.538333 | -58.504167 | 1902 |  |
| 24/07/2010 6:00 | XCTD | XCTD-8 | XCTD-8 | 64.356333 | -58.502167 | 804 |  |
| 24/07/2010 12:04 | XCTD | XCTD-9 | XCTD-9 | 65.745333 | -58.519833 | 497 |  |
| 24/07/2010 18:01 | NET | NET-3 | DS10-01 | 67.13 | -58.636 | 1224 |  |
| 24/07/2010 18:23 | CTD/ROS | 4 | DS10-01 | 67.13 | -58.636 | 1224 |  |
| 24/07/2010 18:33 | ADCP |  | DS10-01 | 67.13 | -58.636 | 1224 |  |
| 25/07/2010 5:58 | XCTD | XCTD-10 | XCTD-10 | 69.442 | -61.657833 | 1926 |  |
| 25/07/2010 11:55 | XCTD | XCTD-11 | XCTD-11 | 70.481167 | -63.030667 | 2121 |  |
| 25/07/2010 17:54 | CTD/ROS | 5 | BB10-01 | 71.323 | -63.949 | 2229 |  |
| 25/07/2010 18:07 | NET | NET-4 | BB10-01 | 71.323 | -63.949 | 2229 |  |
| 25/07/2010 18:22 | ADCP |  | BB10-01 | 71.323 | -63.949 | 2229 |  |
| 26/07/2010 0:06 | XCTD | XCTD-12 | XCTD-12 | 72.108333 | -65.188333 | 2337 |  |
| 26/07/2010 6:04 | XCTD | XCTD-13 | XCTD-13 | 72.266 | -68.180667 | 2279 |  |
| 26/07/2010 13:04 | XCTD | XCTD-14 | XCTD-14 | 73.4945 | -72.987667 | 923 |  |
| 26/07/2010 18:55 | CTD/ROS | 6 | BB10-02 | 74.044 | -78.277 | 874 |  |
| 26/07/2010 19:14 | NET | NET-5 | BB10-02 | 74.044 | -78.277 | 874 |  |
| 27/07/2010 2:04 | XCTD | XCTD-15 | XCTD-15 | 74.305167 | -83.0555 |  |  |
| 27/07/2010 6:04 | XCTD | XCTD-16 | XCTD-16 | 74.2765 | -87.058333 | 423 |  |
| 27/07/2010 9:02 | CTD/ROS | 7 | BS10-01 | 74.383 | -91.296 | 189 |  |
| 29/07/2010 0:46 | CTD/ROS | 8 | PS-1 | 74.243 | -95.652 | 195 |  |
| 29/07/2010 7:08 | CTD/ROS | 9 | PS10-02 | 73.491 | -96.229 | 257 |  |
| 29/07/2010 13:07 | NET | NET-6 | PS-3 | 72.608 | -96.088 | 426 |  |
| 29/07/2010 13:19 | CTD/ROS | 10 | PS-3 | 72.608 | -96.088 | 426 |  |
| 29/07/2010 13:25 | ADCP |  | PS-3 | 72.608 | -96.088 | 426 |  |
| 29/07/2010 18:33 | CTD/ROS | 11 | PS10-04 | 71.957 | -95.726 | 337 |  |
| 29/07/2010 18:42 | ADCP |  | PS10-04 | 71.957 | -95.726 | 337 |  |
| 29/07/2010 19:08 | NET | NET-7 | PS10-04 | 71.957 | -95.726 | 337 |  |
| 29/07/2010 20:38 | NET | NET-8 | 8-BEL-8 | 71.975 | -95.06 | 400 |  |
| 29/07/2010 20:51 | CTD/ROS | 12 | 8-BEL-8 | 71.975 | -95.06 | 400 |  |
| 30/07/2010 0:48 | CTD/ROS | 13 | 7-BEL-7 | 71.987 | -94.876 | 305 |  |
| 30/07/2010 1:21 | CTD/ROS | 14 | 6-BEL-6 | 71.995 | -94.789 | 140 |  |
| 30/07/2010 1:21 | NET | NET 9 | 6-BEL-6 | 71.995 | -94.789 | 140 |  |
| 30/07/2010 13:06 | NET | NET-10 | FS10-01 | 70.605 | -98.55 | 218 |  |
| 30/07/2010 13:24 | CTD/ROS | 15 | FS10-01 | 70.605 | -98.55 | 218 |  |
| 30/07/2010 19:09 | CTD/ROS | 16 | VS10-01 | 70.024 | -99.355 | 180 | CTD data not saved |
| 31/07/2010 3:35 | NET | NET-11 | VS10-02 | 69.199 | -100.777 | 66 |  |
| 31/07/2010 3:45 | CTD/ROS | 17 | VS10-02 | 69.199 | -100.777 | 66 |  |
| 31/07/2010 13:10 | CTD/ROS | 18 | QM10-01 | 68.812 | -105.182 | 65 |  |
| 31/07/2010 13:10 | NET | NET-12 | QM10-01 | 68.812 | -105.182 | 65 |  |
| 31/07/2010 18:29 | CTD/ROS | 19 | QM10-02 | 68.691 | -103.713 | 114 |  |
| 31/07/2010 23:58 | CTD/ROS | 20 | CG10-01 | 68.949 | -106.935 | 82 |  |
| 31/07/2010 23:58 | NET | NET-13 | CG10-01 | 68.949 | -106.935 | 82 |  |
| 01/08/2010 3:00 |  | DRIF | DRIF-1 | 68.808167 | -107.7725 |  | bottle serials 1-32 except 8,19,23,31 |
| 01/08/2010 13:32 | CTD/ROS | 21 | 30CG | 68.456 | -111.27 | 215 |  |
| 01/08/2010 13:32 | NET | NET-14 | 30CG | 68.456 | -111.27 | 215 |  |
| 01/08/2010 14:51 | CTD/ROS | 22 | 29CG | 68.357 | -111.203 | 128 |  |
| 01/08/2010 17:16 | CTD/ROS | 23 | CG10-02 | 68.471 | -111.082 | 44 |  |
| 01/08/2010 18:35 | CTD/ROS | 24 | CG10-03 | 68.453 | -111.51 | 250 |  |
| 01/08/2010 20:34 | CTD/ROS | 25 | CG10-04 | 68.421 | -111.867 | 238 |  |
| 01/08/2010 20:34 | NET | NET-15 | CG10-04 | 68.421 | -111.867 | 238 |  |
| 02/08/2010 3:01 |  | DRIF | DRIF-2 | 68.329667 | -113.33417 |  | bottle serials 8,19,23,31,33-48 |
| 02/08/2010 19:46 | CTD/ROS | 26 | CG10-05 | 68.110833 | -114.08583 | 243 |  |
| 02/08/2010 20:55 | CTD/ROS | 27 | CG10-06 | 68.034833 | -114.41317 | 134 |  |
| 02/08/2010 20:55 | NET | NET-16 | CG10-06 | 68.034833 | -114.41317 | 134 |  |

Table 6.  2010-07 JOIS CTD/Rosette Casts.

| Cast # | Station | CAST START TIME (UTC) | Lat Deg (N) | Lat Min (N) | Lon Deg (W) | Lon Min (W) | Water Depth (m) uncorrected | Cast Depth (m) | Sample #'s |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | AG-5 | 9/17/2010 0:26 | 70 | 33.22 | 122 | 54.62 | 660 | 636 | 1-22 |
| 2 | CABOS | 9/17/2010 14:12 | 71 | 46.91 | 131 | 51.9 | 1113 | 1109 | 23-44 |
| 3 | CB-31b | 9/17/2010 19:23 | 72 | 20.91 | 133 | 59.95 | 2039 | 2062 | 45-68 |
| 4 | CB-60 | 9/18/2010 2:20 | 71 | 18.71 | 134 | 19.48 | 977 | 976 | 69-91 |
| 5 | CB-61 | 9/19/2010 1:11 | 71 | 12.15 | 134 | 11.94 | 700 | 673 | 92-114 |
| 6 | CB-62 | 9/19/2010 4:34 | 71 | 7.48 | 134 | 3.69 | 500 | 442 | 115-116 |
| 7 | CB-63 | 9/19/2010 6:02 | 71 | 2.16 | 133 | 56.54 | 270 | 259 | 117-118 |
| 8 | CB-64 | 9/19/2010 7:19 | 70 | 57.12 | 133 | 48.8 | 83 | 74 | 119-120 |
| 9 | CB-65 | 9/19/2010 8:21 | 70 | 51.61 | 133 | 42.19 | 78 | 68 | 121-122 |
| 10 | MK3 | 9/20/2010 3:55 | 70 | 34.3 | 140 | 0.4 | 771 | 759 | 123-146 |
| 11 | MK3 | 9/20/2010 5:07 | 70 | 34.25 | 140 | 0.44 | 771 | 756 | 147-169 |
| 12 | MK2 | 9/20/2010 8:13 | 70 | 23.95 | 139 | 59.84 | 502 | 490 | 170-191 |
| 13 | MK1 | 9/20/2010 10:41 | 70 | 13.5 | 139 | 59.93 | 227 | 214 | 192-203 |
| 14 | CB28aa | 9/20/2010 12:34 | 70 | 0.26 | 140 | 0.84 | 58 | 50 | 204-209 |
| 15 | MK3a | 9/20/2010 16:20 | 70 | 39.9 | 140 | 0.1 | 1319 | 1307 | 210-233 |
| 16 | MK-4 | 9/20/2010 20:37 | 70 | 48.53 | 140 | 0.85 | 1461 | 1426 | 235-258 |
| 17 | MK-6 | 9/21/2010 1:24 | 71 | 34.88 | 140 | 0.19 | 2449 | 2467 | 259-282 |
| 18 | CB-28b | 9/21/2010 6:38 | 70 | 59.79 | 140 | 0.12 | 2057 | 1001 | 283-302 |
| 19 | CB-28b | 9/21/2010 9:35 | 71 | 0.11 | 140 | 0.42 | 2085 | 2076 | 303-326 |
| 20 | CB-29 | 9/21/2010 16:45 | 72 | 0.26 | 140 | 2.11 | 2685 | 2676 | 327-350 |
| 21 | MK-7 | 9/21/2010 23:08 | 72 | 31.54 | 140 | 0.99 | 3001 | 3000 | 351-374 |
| 22 | CB-27 | 9/22/2010 6:01 | 72 | 59.99 | 140 | 0.68 | 3197 | 3200 | 375-398 |
| 23 | CB-22 | 9/22/2010 13:16 | 73 | 26.99 | 138 | 2.21 | 3118 | 3113 | 399-422 |
| 24 | CB-23a | 9/22/2010 21:28 | 72 | 54.37 | 136 | 7.65 | 2777 | 2764 | 423-446 |
| 25 | CB-50 | 9/23/2010 7:23 | 73 | 29.23 | 134 | 9.89 | 2872 | 1002 | 447-469 |
| 26 | CB-50 | 9/23/2010 9:06 | 73 | 28.92 | 134 | 12.36 | 2878 | 2870 | 470-493 |
| 27 | CB-51 | 9/23/2010 18:40 | 73 | 30.6 | 130 | 56.97 | 2511 | 2497 | 494-517 |
| 28 | Sta-A | 9/27/2010 1:54 | 72 | 40.68 | 144 | 39.86 | 3451 | 1001 | 518-541 |
| 29 | Sta-A | 9/27/2010 3:39 | 72 | 40.66 | 144 | 38.9 | 3451 | 3454 | 542-565 |
| 30 | CB-2a | 9/27/2010 13:14 | 72 | 30.53 | 149 | 58.98 | 3705 | 3712 | 566-589 |
| 31 | CB-2 | 9/27/2010 18:37 | 72 | 59.5 | 149 | 59.82 | 3735 | 3737 | 590-613 |
| 32 | CB-3 | 9/28/2010 3:11 | 73 | 59.88 | 149 | 59.67 | 3812 | 3815 | 614-637 |
| 33 | CB-4 | 9/28/2010 11:32 | 74 | 59.01 | 150 | 1.57 | 3825 | 1002 | 638-661 |
| 34 | CB-4 | 9/28/2010 20:22 | 75 | 0.23 | 150 | 6.06 | 3825 | 3817 | 662-685 |
| 35 | CB-5 | 9/29/2010 3:18 | 75 | 18.14 | 153 | 17.45 | 3844 | 3832 | 686-709 |
| 36 | CB-7 | 9/30/2010 5:29 | 75 | 59.18 | 150 | 0.84 | 3832 | 3819 | 710-733 |
| 37 | CB-8 | 9/30/2010 15:03 | 76 | 59.3 | 149 | 57.58 | 3832 | 3805 | 734-757 |
| 38 | CB-10 | 10/01/2010 3:28 | 78 | 17.25 | 153 | 5.38 | 2829 | 1002 | 758-781 |
| 39 | CB-10 | 10/01/2010 4:59 | 78 | 16.87 | 153 | 4.32 | 2954 | 3087 | 782-805 |
| 40 | CB-70 | 10/02/2010 11:39 | 79 | 10.1 | 155 | 18.22 | 3819 | 3806 | 806-829 |
| 41 | CB-70 | 10/02/2010 16:24 | 79 | 9.35 | 155 | 14.66 | 3819 | 351 | 830-853 |
| 42 | CB-11 | 10/03/2010 9:58 | 78 | 59.79 | 150 | 2.44 | 3825 | 3809 | 854-877 |
| 43 | CB-9 | 10/04/2010 3:10 | 77 | 58.77 | 150 | 4.99 | 3824 | 1002 | 878-901 |
| 44 | CB-9 | 10/04/2010 4:35 | 77 | 58.77 | 150 | 4.98 | 3825 | 3813 | 902-925 |
| 45 | CB-12 | 10/04/2010 12:40 | 77 | 41.34 | 146 | 42.4 | 3809 | 1001 | 926-949 |
| 46 | CB-12 | 10/04/2010 14:13 | 77 | 41.2 | 146 | 42.15 | 3809 | 256 | na |
| 47 | CB-12 | 10/04/2010 14:42 | 77 | 41.18 | 146 | 42.17 | 3809 | 3801 | 950-973 |
| 48 | CB-12a | 10/04/2010 23:04 | 77 | 40.01 | 146 | 15.93 | 3809 | 350 | 974-997 |
| 49 | CB-16 | 10/05/2010 14:05 | 77 | 58.81 | 140 | 0.66 | 3753 | 3743 | 998-1021 |
| 50 | CB-13 | 10/06/2010 1:31 | 77 | 19.05 | 143 | 11.18 | 3780 | 1001 | 1022-1045 |
| 51 | CB-13 | 10/06/2010 3:06 | 77 | 18.86 | 143 | 9.7 | 3780 | 3770 | 1046-1069 |
| 52 | CB-15 | 10/06/2010 12:09 | 77 | 0.05 | 140 | 0.74 | 3727 | 500 | 1070-1093 |
| 53 | CB-15 | 10/06/2010 14:01 | 76 | 59.91 | 139 | 57.78 | 3727 | 1002 | 1094-1117 |
| 54 | CB-15 | 10/06/2010 18:58 | 76 | 59.58 | 139 | 43.51 | 3722 | 3712 | 1118-1141 |
| 55 | CB-17 | 10/07/2010 7:07 | 76 | 1.27 | 139 | 57.38 | 3695 | 3686 | 1142-1165 |
| 56 | PP-7 | 10/07/2010 22:18 | 76 | 43.2 | 135 | 10.74 | 3568 | 1002 | 1166-1189 |
| 57 | PP-7 | 10/08/2010 0:50 | 76 | 42.93 | 135 | 11 | 3567 | 3553 | na |
| 58 | PP-6 | 10/08/2010 9:49 | 76 | 15.69 | 132 | 31.47 | 3061 | 1002 | 1214-1237 |
| 59 | PP-6 | 10/08/2010 12:01 | 76 | 16.13 | 132 | 31.5 | 3069 | 3050 | 1238-1261 |
| 60 | CB-DW | 10/08/2010 21:47 | 75 | 51.41 | 134 | 39.74 | 3417 | 2165 | 1262-1285 |
| 61 | CB-18 | 10/09/2010 12:24 | 75 | 0.22 | 140 | 0.5 | 3628 | 2204 | 1286-1309 |
| 62 | CB-19 | 10/10/2010 9:45 | 74 | 17.58 | 143 | 15.06 | 3697 | 3684 | 1310-1333 |
| 63 | CB-6 | 10/10/2010 19:25 | 74 | 42.64 | 146 | 37.32 | 3779 | 3769 | 1334-1357 |
| 64 | CB-21 | 10/11/2010 8:03 | 74 | 1.64 | 139 | 59.03 | 3525 | 1004 | 1358-1381 |
| 65 | CB-21 | 10/11/2010 9:58 | 74 | 1.14 | 139 | 59.92 | 3524 | 500 | 1382-1405 |
| 66 | CB-21 | 10/11/2010 13:26 | 74 | 0.56 | 140 | 1.04 | 3527 | 3511 | 1406-1429 |
| 67 | CB-40 | 10/12/2010 9:04 | 74 | 30.21 | 135 | 23.91 | 3266 | 3244 | 1430-1453 |
| 68 | CB-50 | 10/12/2010 20:06 | 73 | 31.15 | 134 | 11.46 | 2881 | 2873 | 1454-1477 |
| 69 | CB-51 | 10/13/2010 7:01 | 73 | 30.81 | 130 | 56.62 | 2511 | 2491 | 1478-1501 |
| 70 | CB-52 | 10/13/2010 14:10 | 73 | 29.68 | 129 | 29.51 | 987 | 991 | 1502-1525 |
| 71 | CB-53 | 10/13/2010 19:12 | 73 | 23.58 | 128 | 32.25 | 401 | 398 | 1526-1544 |
| 72 | CB-54 | 10/14/2010 0:58 | 73 | 19.29 | 127 | 47.55 | 205 | 194 | 1550-1559 |

## XCTD

Table 7.  XCTD Cast Locations.

| XCTD Cast # | Date |  |  | Time | Latitude (N) |  | Longitude (W) |  | Water Depth (m) Uncorrected | Probe Type | Comments |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 2010 | 9 | 18 | 20:12 | 71 | 48.35 | 134 | 12.22 | 1448 | XCTD-3 |  |
| 2 | 2010 | 9 | 19 | 22:00 | 71 | 5.11 | 135 | 55.15 | 1024 | XCTD-3 |  |
| 3 | 2010 | 9 | 19 | 0:01 | 70 | 48.74 | 137 | 15.38 | 1470 | XCTD-3 |  |
| 4 | 2010 | 9 | 20 | 1:44 | 70 | 35.81 | 138 | 27.04 | 1155 | XCTD-3 | SST >6°C, foggy |
| 5 | 2010 | 9 | 23 | 14:57 | 73 | 22.48 | 132 | 33.93 | 2652 | XCTD-1 | Open water in ice area |
| 6 | 2010 | 9 | 23 | 22:38 | 73 | 7.97 | 130 | 43.32 | 2187 | XCTD-3 | Open water |
| 7 | 2010 | 9 | 24 | 0:09 | 72 | 47.28 | 131 | 18.89 | 1953-1927 | XCTD-3 | Ice conc. 10% |
| 8 | 2010 | 9 | 24 | 1:47 | 72 | 24.19 | 131 | 49.73 | 1664 | XCTD-3 |  |
| 9 | 2010 | 9 | 24 | 3:24 | 72 | 2.05 | 132 | 22.25 | 1438 | XCTD-3 |  |
| 10 | 2010 | 9 | 26 | 7:59 | 71 | 18.33 | 135 | 40.95 | N/A | XCTD-3 | Open Water |
| 11 | 2010 | 9 | 26 | 9:52 | 71 | 30.44 | 136 | 59.83 | N/A | XCTD-3 | Open Water |
| 12 | 2010 | 9 | 26 | 12:01 | 71 | 44.79 | 138 | 29.96 | N/A | XCTD-3 | Open Water |
| 13 | 2010 | 9 | 26 | 13:34 | 71 | 51.84 | 138 | 56.02 | N/A | XCTD-1 | Ice conc. 50% Swelling |
| 14 | 2010 | 9 | 26 | 14:42 | 71 | 52.28 | 139 | 22.36 | N/A | XCTD-1 | Ice conc. 80% Multi-year |
| 15 | 2010 | 9 | 26 | 16:19 | 71 | 49.85 | 140 | 3.41 | 2664 | XCTD-1 | Ice conc. 90% |
| 16 | 2010 | 9 | 26 | 19:53 | 72 | 8.84 | 141 | 38.5 | 2993 | XCTD-3 | Open Water |
| 17 | 2010 | 9 | 26 | 23:08 | 72 | 37.53 | 143 | 2 | 4243 | XCTD-1 | Ice conc. 90% |
| 18 | 2010 | 9 | 27 | 8:17 | 72 | 37.54 | 146 | 21.63 | N/A | XCTD-3 | Open Water |
| 19 | 2010 | 9 | 27 | 10:31 | 72 | 33.75 | 148 | 6.78 | N/A | XCTD-3 | Open Water |
| 20 | 2010 | 9 | 27 | 22:02 | 73 | 2.08 | 149 | 59.61 | 3736 | XCTD-2 | Open Water |
| 21 | 2010 | 9 | 27 | 22:37 | 73 | 5.46 | 150 | 0.17 | 3743 | XCTD-1 | Open Water |
| 22 | 2010 | 9 | 28 | 0:17 | 73 | 29.31 | 149 | 59.62 | 3796 | XCTD-3 | Open Water |
| 23 | 2010 | 9 | 28 | 8:08 | 74 | 32.51 | 149 | 59.37 | 3808 | XCTD-3 | Open Water |
| 24 | 2010 | 9 | 29 | 1:02 | 75 | 9.44 | 151 | 40.28 | 3838 | XCTD-2 | Ice conc. 5% |
| 25 | 2010 | 9 | 29 | 8:13 | 75 | 28.64 | 155 | 10.32 | 3846 | XCTD-2 | Open Water |
| 26 | 2010 | 9 | 30 | 2:18 | 75 | 30.24 | 149 | 52.25 | 3831 | XCTD-1 | Ice conc. 100% |
| 27 | 2010 | 9 | 30 | 11:23 | 76 | 30.17 | 149 | 59.93 | 3847 | XCTD-1 | Ice conc. 100% |
| 28 | 2010 | 9 | 30 | 20:14 | 77 | 26.16 | 150 | 55.62 | 3828 | XCTD-1 | Ice conc. 100% 10cm |
| 29 | 2010 | 9 | 30 | 23:24 | 77 | 52.63 | 151 | 58.88 | 3835 | XCTD-2 | Ice conc. 100% 10cm |
| 30 | 2010 | 10 | 1 | 10:04 | 78 | 8.77 | 151 | 32.29 | N/A | XCTD-2 | Ice conc. 100% 10cm~20cm |
| 31 | 2010 | 10 | 1 | 23:55 | 78 | 18.17 | 150 | 59.93 | 3831 | XCTD-1 | Ice conc. 100% 10cm~20cm |
| 32 | 2010 | 10 | 2 | 2:26 | 78 | 32.3 | 151 | 55.38 | 3830 | XCTD-1 | Ice conc. 100% 10cm~30cm |
| 33 | 2010 | 10 | 2 | 6:13 | 78 | 48.14 | 153 | 15.52 | 3828 | XCTD-1 | Ice conc. 100% 10cm~30cm |
| 34 | 2010 | 10 | 2 | 8:07 | 78 | 57.48 | 154 | 13.38 | 3666 | XCTD-1 | Ice conc. 100% |
| 35 | 2010 | 10 | 3 | 4:15 | 79 | 5.053 | 153 | 51.46 | 3579 | XCTD-1 | Ice conc. 100% 10cm~100cm |
| 36 | 2010 | 10 | 3 | 6:45 | 79 | 2.28 | 151 | 56.5 | 3836 | XCTD-1 | Ice conc. 100% 10cm~200cm |
| 37 | 2010 | 10 | 3 | 15:43 | 78 | 39.41 | 150 | 54.73 | 3829 | XCTD-1 | Ice conc. 100% 10cm~200cm |
| 38 | 2010 | 10 | 4 | 10:02 | 77 | 52.52 | 148 | 16.54 | 3819 | XCTD-1 | Ice conc. 100% 10cm~200cm |
| 39 | 2010 | 10 | 5 | 4:32 | 77 | 48.35 | 144 | 24.8 | 3798 | XCTD-1 | Ice conc. 100% 100cm~200cm |
| 40 | 2010 | 10 | 5 | 9:38 | 77 | 54.64 | 142 | 10.43 | 3781 | XCTD-1 | Ice conc. 100% 100cm~200cmHeavy Ice XCTD cast was shorten (700m) due to ice |
| 41 | 2010 | 10 | 5 | 9:47 | 77 | 54.64 | 142 | 10.43 | 3781 | XCTD-3 | second trial |
| 42 | 2010 | 10 | 5 | 20:00 | 77 | 34.99 | 140 | 43.92 | 3750 | XCTD-1 | Ice conc. 100% 100cm~200cm |
| 43 | 2010 | 10 | 6 | 8:49 | 77 | 9.52 | 141 | 31.4 | 3751 | XCTD-1 | Ice conc. 100% 100cm~200cm |
| 44 | 2010 | 10 | 7 | 2:56 | 76 | 27.26 | 139 | 18.88 | 3672 | XCTD-1 | Ice conc. 100% 100cm~200cm |
| 45 | 2010 | 10 | 7 | 11:58 | 76 | 10.54 | 138 | 46.21 | 3645 | XCTD-3 | Ice conc. 100% 100cm |
| 46 | 2010 | 10 | 7 | 15:05 | 76 | 20.69 | 136 | 54.5 | 3588 | XCTD-1 | Ice conc. 100% 30cm |
| 47 | 2010 | 10 | 8 | 6:49 | 76 | 24.64 | 133 | 52.44 | 3367 | XCTD-1 | Ice conc. 100% 100cm |
| 48 | 2010 | 10 | 8 | 17:31 | 75 | 55.39 | 134 | 6.89 | 3339 | XCTD-1 | Ice conc. 100% 100cm |
| 49 | 2010 | 10 | 9 | 4:50 | 75 | 40.88 | 136 | 7.2 | 3530 | XCTD-1 | Ice conc. 100% 10cm-30cm |
| 50 | 2010 | 10 | 9 | 8:35 | 75 | 22.39 | 138 | 7.85 | 3555 | XCTD-3 | Ice conc. 100% 10cm-50cm |
| 51 | 2010 | 10 | 9 | 17:33 | 74 | 29.14 | 140 | 3.54 | 3643 | XCTD-3 | Ice conc. 100% 10cm-30cm |
| 52 | 2010 | 10 | 10 | 6:36 | 74 | 8.01 | 141 | 37.71 | 3635 | XCTD-1 | Ice conc. 100% 10cm-50cm |
| 53 | 2010 | 10 | 10 | 15:46 | 74 | 29.65 | 144 | 58.93 | 3737 | XCTD-1 | Ice conc. 100% 10cm-100cm |
| 54 | 2010 | 10 | 12 | 1:10 | 74 | 8.99 | 138 | 32.05 | 3426 | XCTD-1 | Ice conc. 100% 10cm-50cm, relative warm air temperature |
| 55 | 2010 | 10 | 12 | 4:46 | 74 | 20.41 | 136 | 56.64 | 3300 | XCTD-1 | Ice conc. 100% 10cm-50cm |
| 56 | 2010 | 10 | 12 | 8:24 | 74 | 0.11 | 134 | 53.2 | 3066 | XCTD-1 | Ice conc. 100% 10cm-30cm |
| 57 | 2010 | 10 | 13 | 10:36 | 73 | 30.08 | 130 | 22.1 | N/A | XCTD-3 | Ice conc. 100% heavy ice, 100-300cm |
| 58 | 2010 | 10 | 13 | 12:05 | 73 | 31.15 | 129 | 51.78 | N/A | XCTD-1 | Ice conc. 100% |

## ADCP

Table 8.  ADCP Deployment List

| Date (UTC) | Time (UTC) | CTD Cast# | ADCP file name | Sounder file name | Comments |
| --- | --- | --- | --- | --- | --- |
| 9/17/2010 | 430 | 1 | ADCP011 | 2010-08174303.dat | AG5 |
|  |  | 2 | ADCP012 | 2010-081742310.dat | CABOS |
|  |  | 3 | ADCP013 | 2010-0817194225.dat and 2010-0817205757.dat | CB31b, not sure why there are two sonar files. |
|  |  | 4 | ADCP014 | 2010-0818023918.dat | CB60 |
|  |  | 5 | ADCP015 | 2010-0819012744.dat | CB61 |
|  |  | 6 | ADCP016 | 2010-0819045004.dat | CB62 |
|  |  | 7 | ADCP017 | 2010-0819060835.dat | CB63 |
|  |  | 8 | ADCP018 | 2010-0819072329.dat | CB65 |
|  |  | 9 | ADCP019 | 2010-0820040544.dat | MK-3 |
|  |  | 10 | ADCP020 | 2010-0820082222.dat | MK-2 |
|  |  | 11 | ADCP021 | 2010-0820104931.dat | MK-1 |
|  |  | 14 | ADCP022 | 2010-0820124240.dat | CB-28aa |
| 9/20/2010 | 1630 | 15 | ADCP023 | 2010-0820162945.dat | MK-3a |
| 9/20/2010 | 2049 | 16 | ADCP024 | 2010-0820204659.dat | MK4 |
| 9/21/2010 | 137 | 17 | ADCP025 | 2010-0821013711.dat | MK6 |
| 9/21/2010 | 646 | 18 | ADCP026 | 2010-0821064840.dat | CB28b |
| 9/21/2010 | 942 | 19 | ADCP027 | 2010-0821094256.dat | CB28B second cast |
| 9/21/2010 | 1652 | 20 | ADCP028 | 2010-0821165310.dat | CB-29 |
| 9/21/2010 | 2319 | 21 | ADCP029 | 2010-0821231846.dat | MK7 |
| 9/22/2010 | 611 | 22 | ADCP030 | 2010-0822061034.dat | CB-27 |
| 9/22/2010 | 1327 | 23 | ADCP031 | 2010-0822132920.dat | CB-22 |
| 9/22/2010 | 2138 | 24 | ADCP032 | 2010-0822213747.dat | CB-23a |
| 9/23/2010 | 914 | 26 | ADCP033 | 2010-0823091458.dat | CB-50 |
| 9/23/2010 | 1847 | 27 | ADCP034 | 2010-0823184755.dat | CB-51 |
| 9/27/2010 | 352 | 28 | ADCP035 | 2010-0827035229.dat | STN-A |
| 9/27/2010 | 1331 | 30 | ADCP036 | 2010-0827133140.dat | CB-2a |
| 9/27/2010 | 1845 | 31 | ADCP037 | 2010-0827184519.dat | CB-2 |
| 9/28/2010 | 320 | 32 | ADCP038 | 2010-0828032016.dat | CB-3 |
| 9/28/2010 | 1219 | 33 | ADCP039 | 2010-0828121951.dat | CB-4 |
| 9/28/2010 | 2033 | 34 | ADCP040 | 2010-0828203347.dat | CB-4 |
| 9/29/2010 | 324 | 35 | ADCP041 | 2010-0829032528.dat | CB-5 |
| 9/30/2010 | 539 | 36 | ADCP042 | 2010-0830053953.dat | CB-6 |
| 9/30/2010 | 15:11 | 37 | ADCP043 | 2010-0830151139.dat | CB-8 |
| 10/01/2010 | 339 | 38 | ADCP044 | 2010-0901033957.dat | CB-10 sounder software crashed?? |
| 10/02/2010 | 1229 | 40 | ADCP045 | 2010-0902122950.dat | CB-70/ITP 35 recovery |
| 10/03/2010 | 1045 | 41 | ADCP046 | 2010-0903104613.dat | CB-11 |
| 10/04/2010 | 348 | 42 | ADCP047 | 2010-0904032026.dat | CB-9 |
| 10/04/2010 | 1521 | 43 | ADCP048 | 2010-0904152051.dat | CB-12 |
| 10/05/2010 | 1513 | 49 | ADCP049 | 2010-0905151300.dat | CB-16 |
| 10/06/2010 | 158 | 50 | ADCP050 | 2010-0906015851.dat | CB-13 - sounder software crashed during operation? |
| 10/06/2010 | 1218 | 52 | ADCP051 | 2010-0906121724.dat | CB-15 sounder s/w crashed ? |
| 10/07/2010 | 716 | 55 | ADCP052 | 2010-09071635.dat | CB-17 |
| 10/07/2010 | 2224 | 56 | ADCP053 | 2010-0907222348.dat | PP-7 - short time in water |
| 10/08/2010 | 155 | 57 | ADCP054 | 2010-0908015437.dat | PP7-during long cast |
| 10/08/2010 | 1224 | 59 | ADCP055 | 2010-0908122447.dat | PP-6 |
| 10/09/2010 | 1231 | 61 | ADCP056 | 2010-0909123156.dat | CB-18 lots of prop wash |
| 10/10/2010 | 954 | 62 | ADCP057 | 2010-0910095401.dat | CB-19 |
| 10/10/2010 | 1932 | 63 | ADCP058 | 2010-0910193226.dat | CB-6 |
| 10/11/2010 | 1337 | 66 | ADCP059 | 2010-0911133703.DAT | CB-21 |
| 10/12/2010 | 9:10 | 67 | ADCP060 | 2010-0912090842.DAT | CB-40 |
| 10/12/2010 | 20:12 | 68 | ADCP61 | 2010-0912201243.DAT | CB-50. Melted ice off transducer faces after this cast. |
| 10/13/2010 | 7:09 | 69 | ADCP62 | 2010-0913070834.DAT | CB-51 |
| 10/13/2010 | 14:15 | 70 | ADCP63 | 2010-0913141519.DAT | CB-52 |
| 10/13/2010 | 19:27 | 71 | ADCP064 | 2010-0913192719.DAT | CB-53 |
| 10/14/2010 | 113 | 72 | ADCP065 | 2010-0914011341.dat | CB-54 |

## Zooplankton

Table 9.  Zooplankton Casts.

| Station | Net # | Date (Local) | Time (UTC) | Latitude (N) |  | Longitude (W) |  | Bottom Depth (m) | Max Depth (m) | Wire Angle | RBR Depth (m) | Notes |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| AG5 | 1 | 16-Sep-10 | 1:20 | 70 | 33.59 | 122 | 54.78 | 647 | 100 | 15 | 97.9 | 15 deg wire angle at bottom, increased to almost 45 deg near surface |
| AG5 | 2 | 16-Sep-10 | 1:36 | 70 | 33.62 | 122 | 54.5 | 646 | 100 | 0 | 100.8 |  |
| CABOS | 3 | 17-Sep-10 | 14:39 | 71 | 46.9 | 131 | 51.94 | 1100 | 100 | 0 | 100.7 |  |
| CABOS | 4 | 17-Sep-10 | 14:55 | 71 | 46.88 | 131 | 51.94 | 1100 | 100 | 0 | 101.2 | flowmeter removed, rinsed and zeroed |
| CB31b | 5 | 17-Sep-10 | 19:53 | 72 | 21.19 | 133 | 59.85 | 2052 | 100 | 0 | 98.5 |  |
| CB31b | 6 | 17-Sep-10 | 20:09 | 72 | 21.2 | 133 | 59.86 | 2052 | 100 | 0 | 101 |  |
| CB-60 | 7 | 17-Sep-10 | 2:53 | 71 | 18.75 | 134 | 19.81 | 1036 | 100 | 0 | 98.8 |  |
| CB-60 | 8 | 17-Sep-10 | 3:13 | 71 | 18.74 | 134 | 19.88 | 1036 | 100 | 0 | 98 |  |
| CB-61 | 9 | 18-Sep-10 | 3:50 | 71 | 11.03 | 134 | 12.14 | 701 | 100 | 0 | 100.9 | net sat at 100m for 9 minutes |
| CB-61 | 10 | 18-Sep-10 | 4:04 | 71 | 11.98 | 134 | 12.23 | 701 | 100 | 0 | 99.9 |  |
| CB-65 | 11 | 19-Sep-10 | 8:48 | 70 | 51.59 | 133 | 42.14 | 77 | 65 | 0 | 65.3 | un-scheduled net, snuck one in |
| MK-3 | 12 | 19-Sep-10 | 5:27 | 70 | 34.16 | 140 | 0.41 | 1305 | 100 | 0 | 102.1 |  |
| MK-3 | 13 | 19-Sep-10 | 5:42 | 70 | 34.1 | 140 | 0.56 | 1305 | 100 | 0 | 101.4 |  |
| MK-2 | 14 | 20-Sep-10 | 8:33 | 70 | 23.92 | 140 | 0.06 | 507 | 100 | 0 | 100.7 | cod-end weight line broke during tow, but net didn't tangle. juvenile Arctic cod removed and froze @ -80 separately |
| MK-2 | 15 | 20-Sep-10 | 8:55 | 70 | 23.87 | 140 | 0.25 | 507 | 100 | 0 | 102.4 |  |
| MK-1 | 16 | 20-Sep-10 | 11:00 | 70 | 13.52 | 140 | 0.14 | 225 | 100 | 0 | 100.5 | euphausiids in sample |
| MK-1 | 17 | 20-Sep-10 | 11:14 | 70 | 13.51 | 140 | 0.06 | 225 | 100 | 0 | 99.3 |  |
| CB-28aa | 18 | 20-Sep-10 | 12:51 | 70 | 0.2 | 140 | 0.95 | 56 | 48 | 0 | 47.6 | Samples full of algae, preserved in 250 ml jars |
| CB-28aa | 19 | 20-Sep-10 | 13:04 | 70 | 0.16 | 140 | 1.28 | 59 | 49 | 0 | 49 | Samples full of algae, preserved in 250 ml jars |
| MK-3a | 20 | 20-Sep-10 | 16:40 | 70 | 39.84 | 140 | 0.3 | 1305 | 100 | 0 | 103.8 |  |
| MK-3a | 21 | 20-Sep-10 | 16:56 | 70 | 39.8 | 140 | 0.5 | 1315 | 100 | 0 | 101.5 |  |
| MK-4 | 22 | 20-Sep-10 | 21:03 | 70 | 48.54 | 140 | 1.42 | 1437 | 100 | 0 | 102.6 | 2nd net tow cancelled due to snapped cod end lines |
| MK-6 | 23 | 20-Sep-10 | 1:35 | 71 | 34.88 | 140 | 0.33 | 2476 | 100 | 0 | 102.8 |  |
| MK-6 | 24 | 20-Sep-10 | 1:45 | 71 | 34.88 | 140 | 0.33 | 2476 | 100 | 0 | 104.9 |  |
| CB-28b | 25 | 21-Sep-10 | 8:20 | 71 | 0.56 | 140 | 0.06 | 2100 | 100 | 0 | 108.6 |  |
| CB-28b | 26 | 21-Sep-10 | 8:39 | 71 | 0.56 | 140 | 0.06 | 2100 | 100 | 0 | 115.4 |  |
| CB-29 | 27 | 21-Sep-10 | 16:57 | 72 | 0.17 | 140 | 2.35 | 2690 | 100 | 0 | 100.6 | In ice! |
| CB-29 | 28 | 21-Sep-10 | 17:19 | 71 | 59.91 | 140 | 2.97 | 2693 | 100 | 0 | 98.1 | In ice! |
| MK-7 | 29 | 21-Sep-10 | 23:37 | 72 | 31.54 | 140 | 1.58 | 2998 | 100 | 0 | 100.4 |  |
| MK-7 | 30 | 21-Sep-10 | 23:52 | 72 | 31.55 | 140 | 0.63 | 2998 | 100 | 0 | 100.5 |  |
| CB-27 | 31 | 21-Sep-10 | 6:29 | 72 | 59.69 | 140 | 1.34 | 3195 | 100 | 60 | 82.1 | 60 deg. Wire angle - ship backing up to avoid ice |
| CB-27 | 32 | 21-Sep-10 | 6:42 | 72 | 59.63 | 140 | 1.53 | 3195 | 100 | 10 | 95.9 | 10 deg wire angle |
| CB-22 | 33 | 22-Sep-10 | 13:42 | 73 | 26.88 | 138 | 2.52 | 3118 | 100 | 0 | 100.7 |  |
| CB-22 | 34 | 22-Sep-10 | 14:00 | 73 | 26.88 | 138 | 2.62 | 3119 | 100 | 0 | 100.7 |  |
| CB-23a | 35 | 22-Sep-10 | 22:09 | 72 | 54.2 | 136 | 8.15 | 2774 | 100 | 0 | 100 |  |
| CB-23a | 36 | 22-Sep-10 | 22:22 | 72 | 54.14 | 136 | 8.37 | 2774 | 100 | 0 | 100.1 |  |
| CB-50 | 37 | 23-Sep-10 | 7:28 | 73 | 29.22 | 134 | 10.14 | 2873 | 100 | 0 | 101.6 | cod ends full of slush |
| CB-50 | 38 | 23-Sep-10 | 7:53 | 73 | 29.23 | 134 | 10.14 | 2874 | 100 | 0 | 101.5 |  |
| CB-51 | 39 | 23-Sep-10 | 19:15 | 73 | 30.61 | 130 | 56.91 | 2513 | 100 | 0 | 100.6 | TSK 5294 switched out for MF-315 #4 |
| CB-51 | 40 | 23-Sep-10 | 19:32 | 73 | 30.58 | 130 | 57.11 | 2513 | 100 | 0 | 100.7 |  |
| STA-A | 41 | 26-Sep-10 | 3:10 | 72 | 40.65 | 144 | 38.99 | 3478 | 100 | 0 | 125.6 |  |
| STA-A | 42 | 26-Sep-10 | 3:25 | 72 | 40.65 | 144 | 38.99 | 3478 | 100 | 0 | 123.3 |  |
| CB2a | 43 | 27-Sep-10 | 16:11 | 72 | 30.92 | 149 | 59.73 |  | 100 | 0 | 109.6 | 2nd net tow cancelled due to rough weather |
| CB2 | 44 | 27-Sep-10 | 16:25 | 72 | 59.01 | 149 | 59.1 | 3739 | 110 | 30 | 112.3 | 2nd net tow cancelled due to rough weather. juvenile Arctic cod removed and froze @ -80 separately |
| CB-3 | 45 | 27-Sep-10 | 2:44 | 73 | 59.65 | 150 | 0.34 | 3811 | 100 | 0 | 120.5 |  |
| CB-3 | 46 | 27-Sep-10 | 2:59 | 73 | 59.79 | 150 | 0.15 | 3811 | 100 | 0 | 126.8 |  |
| CB-4 | 47 | 28-Sep-10 | 11:18 | 74 | 58.9 | 150 | 1.05 | 3825 | 100 | 0 | 100.7 |  |
| CB-4 | 48 | 28-Sep-10 | 11:50 | 74 | 59.13 | 150 | 2.03 | 3825 | 500 | 0 | 497 |  |
| CB-4 | 49 | 28-Sep-10 | 12:18 | 74 | 59.32 | 150 | 2.35 | 3825 | 100 | 0 | 100.6 |  |
| CB-5 | 50 | 28-Sep-10 | 3:48 | 75 | 18.13 | 153 | 17.6 | 3841 | 100 | 0 | 101.3 |  |
| CB-5 | 51 | 28-Sep-10 | 3:52 | 75 | 18.11 | 153 | 17.72 | 3841 | 100 | 0 | 101 |  |
| CB7 | 52 | 29-Sep-10 | 5:55 | 75 | 59.13 | 150 | 0.47 | 3828 | 100 | 0 | 98.6 |  |
| CB7 | 53 | 29-Sep-10 | 6:09 | 75 | 59.13 | 150 | 0.35 | 3828 | 100 | 0 | 101.5 |  |
| CB8 | 54 | 30-Sep-10 | 15:51 | 76 | 59.44 | 149 | 55.63 | 3824 | 100 | 0 | 97.8 | high winds, around 25knts. Flowmeters not windmilling tho |
| CB8 | 55 | 30-Sep-10 | 16:07 | 76 | 59.48 | 149 | 54.85 | 3824 | 100 | 15 | 100.2 | high winds, around 25knts. Flowmeters not windmilling tho |
| CB-10 | 56 | 30-Sep-10 | 5:17 | 78 | 16.82 | 153 | 4.17 | 2990 | 100 | 0 | 101.2 | cod ends full of slush, only one net done due to freeze |
| CB-9 | 57 | 03-Oct-10 | 5:20 | 77 | 58.81 | 150 | 4.59 | 3825 | 100 | 0 | 99.8 | flowmeter frozen |
| CB-9 | 58 | 03-Oct-10 | 6:07 | 77 | 58.86 | 150 | 4.34 | 3825 | 500 | 0 | 533.5 | flowmeter frozen |
| CB-9 | 59 | 03-Oct-10 | 6:30 | 77 | 58.84 | 150 | 4.01 | 3825 | 100 | 0 | 101.6 | flowmeter frozen |
| CB-12 | 60 | 04-Oct-10 | 14:39 | 77 | 41.17 | 146 | 42.17 | 3809 | 100 | 0 | 101.8 | flowmeter frozen |
| CB-12 | 61 | 04-Oct-10 | 14:58 | 77 | 41.16 | 146 | 42.14 | 3809 | 100 | 0 | - | flowmeter frozen |
| CB-16 | 62 | 05-Oct-10 | 15:03 | 77 | 58.68 | 139 | 59.72 | 3751 | 100 | 0 | - | flowmeter frozen |
| CB-16 | 63 | 05-Oct-10 | 15:34 | 77 | 58.63 | 139 | 59.08 | 3751 | 500 | 0 | 513.3 | stopped at 20m for bubbler to clear ice on upcast |
| CB-16 | 64 | 05-Oct-10 | 16:00 | 77 | 58.58 | 139 | 58.68 | 3751 | 100 | 0 | 108.8 |  |
| CB-13 | 65 | 05-Oct-10 | 1:57 | 77 | 18.99 | 143 | 10.77 | 3780 | 100 | 0 | 121.9 |  |
| CB-13 | 66 | 05-Oct-10 | 2:12 | 77 | 18.9 | 143 | 10.58 | 3780 | 100 | 0 | - |  |
| CB-15 | 67 | 06-Oct-10 | 12:39 | 77 | 0.05 | 140 | 0.18 | 3727 | 100 | 0 | - | winch counter frozen at start of tow, read -58m at end |
| CB-15 | 68 | 06-Oct-10 | 13:17 | 77 | 0 | 139 | 59.5 | 3727 | 500 | 0 | 502.3 |  |
| CB-15 | 69 | 06-Oct-10 | 13:45 | 76 | 59.92 | 139 | 58.2 | 3727 | 100 | 0 | 100 | stopped at 10m for bubbler |
| CB-15 | 70 | 06-Oct-10 | 14:37 | 76 | 59.86 | 139 | 56.74 | 3727 | 1000 | 15 | - | removed RBR for cast |
| CB-17 | 71 | 07-Oct-10 | 7:46 | 76 | 1.14 | 139 | 56.72 | 3695 | 100 | 0 | 107.7 |  |
| CB-17 | 72 | 07-Oct-10 | 8:03 | 76 | 1.06 | 139 | 56.4 | 3695 | 100 | 0 | 104.8 |  |
| PP-7 | 73 | 07-Oct-10 | 0:08 |  |  |  |  | 3568 | 100 | 0 | - | flowmeter froze |
| PP-7 | 74 | 07-Oct-10 | 0:27 |  |  |  |  | 3568 | 100 | 0 | - | flowmeter froze |
| PP-7 | 75 | 07-Oct-10 | 2:09 |  |  |  |  | 3568 | 100 | 0 | - | for Michiyo for Limacina |
| PP-6 | 76 | 08-Oct-10 | 11:33 | 76 | 16.04 | 132 | 31.5 | 3067 | 100 | 0 | - |  |
| PP-6 | 77 | 08-Oct-10 | 11:49 | 76 | 16.1 | 132 | 31.51 | 3067 | 100 | 0 | - | winch counter frozen at start of tow, read -67m at end |
| CB-DW | 78 | 08-Oct-10 | 0:53 | 75 | 51.34 | 134 | 41.4 | 2164 | 100 | 0 | - |  |
| CB-DW | 79 | 08-Oct-10 | 1:10 | 75 | 51.35 | 134 | 41.26 | 2164 | 100 | 0 | - |  |
| CB-18 | 80 | 09-Oct-10 | 12:57 | 75 | 0.26 | 140 | 0.87 | 3629 | 100 | 0 | - | winch counter not working, read -50.7 at end of tow |
| CB-18 | 81 | 09-Oct-10 | 13:14 | 75 | 0.24 | 140 | 1.06 | 3629 | 100 | 0 | - | winch counter not working, read -22.3 at end of tow |
| CB-19 | 82 | 10-Oct-10 | 10:27 | 74 | 17.3 | 143 | 14.93 | 3697 | 100 | 20 | - | winch counter not working, Stopped at 85m, read -31 at end |
| CB-19 | 83 | 10-Oct-10 | 10:48 | 74 | 17.19 | 143 | 14.9 | 3697 | 100 | 20 | - | flowmeter frozen |
| CB-6 | 84 | 10-Oct-10 | 20:08 | 74 | 42.52 | 146 | 37.21 | 3778 | 100 | 0 | - |  |
| CB-6 | 85 | 10-Oct-10 | 20:20 | 74 | 42.59 | 146 | 37.32 | 3778 | 100 | 0 | - |  |
| CB-21 | 86 | 11-Oct-10 | 9:39 | 74 | 1.22 | 139 | 59.9 | 3524 | 100 | 0 | - | winch counter not working - read -22m at surface |
| CB-21 | 87 | 11-Oct-10 | 10:07 | 74 | 1.11 | 139 | 59.97 | 3524 | 500 | 0 | 673.2 | winch counter not working - read -159m at surface |
| CB-21 | 88 | 11-Oct-10 | 10:36 | 74 | 0.99 | 140 | 0.19 | 3524 | 100 | 0 | - | winch counter not working - read 17m at bottom, -118m at surface. RBR removed for cast |
| CB-40 | 89 | 12-Oct-10 | 9:35 | 74 | 30.02 | 135 | 23.98 | 3266 | 100 | 0 | 100.7 | flowmeter frozen |
| CB-40 | 90 | 12-Oct-10 | 9:50 | 74 | 29.91 | 135 | 24.02 | 3266 | 100 | 0 | 101.8 | flowmeter frozen |
| CB-50 | 91 | 12-Oct-10 | 23:17 | 73 | 30.72 | 134 | 11.56 | 2882 | 100 | 0 | 100.8 | flowmeter frozen |
| CB-50 | 92 | 12-Oct-10 | 23:31 | 73 | 31.13 | 134 | 11.56 | 2882 | 100 | 0 | - | flowmeter frozen |
| CB-51 | 93 | 13-Oct-10 | 8:11 | 73 | 30.41 | 130 | 56.71 | 2510 | 100 | 0 | 102 | flowmeter frozen |
| CB-51 | 94 | 13-Oct-10 | 8:25 | 73 | 30.33 | 130 | 56.79 | 2510 | 100 | 0 | - | flowmeter frozen |
| CB-52 | 95 | 13-Oct-10 | 14:39 | 73 | 29.53 | 129 | 29.61 | 1000 | 100 | 0 | 116.7 |  |
| CB-52 | 96 | 13-Oct-10 | 14:54 | 73 | 29.44 | 129 | 29.61 | 1000 | 100 | 0 | 104.9 | winch reading -19m at surface |
| CB-53 | 97 | 13-Oct-10 | 21:51 | 73 | 22.65 | 128 | 33.26 | 401 | 100 | 0 | 133.8 | flowmeter frozen |
| CB-53 | 98 | 13-Oct-10 | 22:03 | 73 | 22.65 | 128 | 33.31 | 401 | 100 | 0 | - | flowmeter frozen |
| CB-54 | 99 | 13-Oct-10 | 1:23 | 73 | 19.17 | 127 | 47.47 | 204 | 100 | 0 | 106.4 |  |
| CB-54 | 100 | 13-Oct-10 | 1:37 | 73 | 19.05 | 127 | 47.47 | 204 | 100 | 0 | 105.5 |  |

## Moorings and Buoys

Table 10.  Summary of BGOS 2010 field operations.

| Mooring | Depth | 2009 | 2010 | 2010 | 2010 |
| --- | --- | --- | --- | --- | --- |
| Designation | (m) | Location | Recovery | Deployment | Location |
| BGOS-A | 3825 | 75° 0.002'N | 28-Sep | 29-Sep | 74° 59.913'N |
|  |  | 150° 0.005'W | 15:58 UTC | 22:10 UTC | 149° 59.800'W |
| BGOS-B | 3821 | 78° 0.081'N | 01-Oct | 04-Oct | 77° 59.3'N |
|  |  | 149° 59.949'W | 17:05 UTC | 02:20 UTC | 149° 58.2'W |
| BGOS-D | 3509 | 73° 59.744'N | 09-Oct | 11-Oct | 73° 59.87'N |
|  |  | 139° 59.698'W | 22:15 UTC | 22:20 UTC | 139° 58.98'W |
| ITP35 |  |  | 02-Oct |  | 79° 7.91'N |
|  |  |  | 20:30 |  | 155° 1.13'W |
| ITP41 |  |  |  | 03-Oct | 79° 5.3'N |
|  |  |  |  | 2:30 | 154° 16.9'W |
| ITP42/AOFB/IMBB |  |  |  | 04-Oct | 77° 39.8'N |
|  |  |  |  | 23:40 | 149° 15.5'W |
| ITP43/AOFB/IMBB/ O-Buoy |  |  |  | 08-Oct | 76° 42.9'N |
|  |  |  |  | 23:00 | 135° 11.7'W |
| ITP44 (w/ MAVS) |  |  |  | 09-Oct | 75° 51.6'N |
|  |  |  |  | 1:15 | 134° 39.7'W |

## Ice Observations - Japan

Table 11.  EM and PMR observation log.

| Profile | Start |  | End |  | Length of profile [km] |
| --- | --- | --- | --- | --- | --- |
| Number | Time(UTC) | Position | Time(UTC) | Position |  |
| 1 | Sep. 30 | 75.36058N | Sep. 30 | 76.99203N | 273.82 |
|  | 1:02 | 149.9227W | 16:22 | 149.9022W |  |
| 2 | Sep. 30 | 76.99263N | Oct. 1 | 78.28362N | 415.92 |
|  | 16:38 | 149.8889W | 4:26 | 153.077W |  |
| 3 | Oct-01 | 78.28047N | Oct. 1 | 78.0093N | 434.16 |
|  | 5:15 | 153.0698W | 15:41 | 149.9918W |  |
| 4 | Oct-01 | 77.99005N | Oct. 2 | 79.15653N | 724.86 |
|  | 21:06 | 150.0956W | 16:14 | 155.2464W |  |
| 5 | Oct-02 | 79.10118N | Oct. 3 | 77.99942N | 803.87 |
|  | 21:55 | 154.5471W | 20:55 | 149.9973W |  |
| 6 | Oct-04 | 77.97948N | Oct. 5 | 77.9332N | 976.43 |
|  | 3:10 | 150.0831W | 10.47 | 141.6666W |  |
| 7 | Oct-06 | 78.98383N | Oct. 8 | 76.71253N | 794.82 |
|  | 23:16 | 139.6039W | 2:17 | 135.1826W |  |
| 8 | Oct-08 | 76.70915N | Oct. 9 | 75.00415N | 1174.89 |
|  | 3:33 | 135.1832W | 12:51 | 140.0134W |  |
| 9 | Oct-09 | 74.98305N | Oct. 9 | 74.07478N | 102.37 |
|  | 14:16 | 140.0327W | 19:39 | 140.1222W |  |
| 10 | Oct-10 | 73.98072N | Oct. 10 | 74.71073N | 750.93 |
|  | 3:35 | 139.9978W | 19:24 | 146.6217W |  |
| 11 | Oct-10 | 74.6962N | Oct. 11 | 74.02882N | 746.16 |
|  | 22:09 | 146.6156W | 7:50 | 139.9895W |  |
| 12 | Oct-13 | 73.49852N | Oct. 13 | 73.37783N | 720.83 |
|  | 0:00 | 134.1779W | 22:22 | 128.4495W |  |

Table 12.  Summary of snow depth and ice thickness on the ice station 2-4.

| Station Name | Lat | Line name | Length of profile [m] | Snow depth [m] |  | Ice thickness [m] |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | Lon |  |  | mean | std | mean | std |
| St.2 | 77.66441N | Line-A | 100 | 0.07 | 0.03 | 0.54 | 0.4 |
|  | 146.29408W | Line-B | 70 | 0.09 | 0.03 | 1.11 | 0.32 |
|  |  | Line-C | 30 | 0.06 | 0.03 | 0.71 | 0.35 |
|  |  | Line-D | 40 | 0.08 | 0.02 | 0.73 | 0.43 |
| St.3 | 76.71900N | Line-A | 130 | 0.09 | 0.09 | 1.35 | 0.98 |
|  | 135.19353W |  |  |  |  |  |  |
| St.4 | 75.8566N | Line-A | 16 | 0.1 | 0.05 | 1.85 | 0.73 |
|  | 134.65028W | Line-B | 16 | 0.05 | 0.05 | 0.43 | 0.13 |
|  |  | Line-C | 30 | 0.09 | 0.08 | 0.92 | 0.43 |
|  |  | Line-D | 20 | 0.07 | 0.03 | 0.94 | 0.45 |

# CTD SETUP SPECIFICATIONS

# LIST OF INTERPOLATIONS

Table 13.  List of Interpolations.

# INDIVIDUAL STATION PLOTS

The following section contains data plots for each CTD cast taken on the 2006-18 cruise.  CTD and chemistry data are plotted in eight figures per cast with primarily CTD properties on the even pages and chemistry properties on the odd pages.

Table 14.  Property Legend for Individual Station Plots.

## Canada Basin

### Standard

NEED MAP – all CTD/Rosette stations

### Barium

### DIC and Alkalinity

### 129I and 137Cs

### Bacteria

# PROPERTY PLOTS

The data have been divided into three groups, geographically.  The first two groups:  casts from the Canada Basin west of 145°W and casts east of 145°W have been colored by latitude with the blue indicating south and red to the north.  The figures are ordered by property and are shown: 1) all casts in the Canada Basin combined and 2) with the west group shown on the left facing page and the east group on the right facing page.  The third group, casts from the Canadian Arctic Archipelago, has been colored by longitude with blue indicating east and red indicating west.

## Canada Basin

## Archipelago

# Section plots

Section A (150°W): CTD Temperature and Salinity

Section A (150°W): CTD Oxygen, Transmissivity and Cdom

Section A (150°W): Nitrates and CTD fluorescence

Section A (150°W): Alkalinity, O18 and NH4

Section B (140°W): Temperature and Salinity

Section B (140°W): CTD Oxygen, Transmissivity and Cdom

Section B (140°W): Nitrates and CTD fluorescence

Section B (140°W): Alkalinity, O18 and NH4

Section C: Temperature and Salinity

Section C: CTD Oxygen, Transmissivity and Cdom

Section C: Nitrates and CTD fluorescence

Section C: Alkalinity, O18 and NH4

Section D: Temperature and Salinity

Section D: CTD Oxygen, Transmissivity and Cdom

SectionD: Nitrates and CTD fluorescence

Section D: Alkalinity, O18 and NH4

# SEABIRD OBSERVATIONS: 2010-06

Table 15.  Seabird species encountered during surveys of the eastern Arctic (St John’s to Kugluktuk) from July 20-August 3, 2010.

Only those birds considered “in transect” are included. A total of 2458 birds were observed. These totals do not include those birds observed beyond 300m, flying birds observed outside the “snapshots”, or birds following the ship.

| Species | Scientific Name | Total number seen | Percentage of all birds seen |
| --- | --- | --- | --- |
| Dovekie | Alle alle | 716 | 29.1 |
| Northern Fulmar | Fulmarus glacialis | 405 | 16.5 |
| Thick-billed Murre | Uria lomvia | 357 | 14.5 |
| Greater Shearwater | Puffinus gravis | 244 | 9.9 |
| Red Phalarope | Phalaropus fulicaria | 210 | 8.5 |
| Atlantic Puffin | Fratercula arctica | 125 | 5.1 |
| Black-legged Kittiwake | Rissa tridactyla | 121 | 4.9 |
| Family: Hydrobatid Storm-Petrels | Hydrobatidae | 66 | 2.7 |
| Genus: Phalaropes | Phalaropus | 43 | 1.7 |
| Northern Gannet | Morus bassanus | 27 | 1.1 |
| Leach's Storm-Petrel | Oceanodroma leucorhoa | 21 | 0.9 |
| Common Murre | Uria aalge | 18 | 0.7 |
| Manx Shearwater | Puffinus puffinus | 15 | 0.6 |
| King Eider | Somateria spectabilis | 12 | 0.5 |
| Wilson's Storm Petrel | Oceanites oceanicus | 12 | 0.5 |
| Black Guillemot | Cepphus grylle | 10 | 0.4 |
| Genus: Jaegers | Stercorarius Jaegers | 8 | 0.3 |
| Herring Gull | Larus argentatus | 7 | 0.3 |
| Glaucous Gull | Larus hyperboreus | 6 | 0.2 |
| Thayer's Gull | Larus thayeri | 5 | 0.2 |
| Sooty Shearwater | Puffinus griseus | 5 | 0.2 |
| Long-tailed Jaeger | Stercorarius longicaudus | 5 | 0.2 |
| Murre or Razorbill | Uria or Alca | 3 | 0.1 |
| Pomarine Jaeger | Stercorarius pomarinus | 3 | 0.1 |
| Parasitic Jaeger | Stercorarius parasiticus | 3 | 0.1 |
| Red-necked Phalarope | Phalaropus lobatus | 2 | 0.1 |
| Ivory Gull | Pagophila eburnea | 2 | 0.1 |
| Family: Auks | Alcidae | 2 | 0.1 |
| Arctic Tern | Sterna paradisaea | 1 | <0.1 |
| Genus: Murres | Uria | 1 | <0.1 |
| Genus: Shearwaters (Puffinus or Calonectris) | Puffinus or Calonectris | 1 | <0.1 |
| Great Black-backed Gull | Larus marinus | 1 | <0.1 |
| Genus: Eiders | Somateria | 1 | <0.1 |

# ICE OBSERVATIONS

See below for independent ice observation report by Jennifer Hutchings (IARC).