## Notes
4 Nov 2010 SZ | Hi Jeff, Thanks for sending the worksheet!
STD Curve
I've edited the RAW DATA figure, adding the 0.5um STD readings made during the sample run. I've also added the small box showing %difference between readings and %increase.
Q- Is the 0.5um STD drift linear? Whats your estimate on the time between the STD curve run and when the 0.5um STD was run during the analysis and afterwards? I'm guessing the drift isn't linear in time…? And were the samples run evenly btw the 3 sets of 0.5um measurements or was the STD curve quite a bit earlier?
Q- Is the correction worth making? Good question… if the samples were run fairly close in time to the latter two 0.5um measurements I wonder if a drift correction is worth while (i.e. apply a 0 correction for the first samples and a 18% correction to the last samples run). And of course this assumes the drift is linear over the range. If sample analysis are closer to the last two sets of 0.5um measurements, it might make sense to apply a single correction to all data (7%? or would depend on analysis time window).
Q- Any other comments, information on drift that might justify the correction v. no correction?
Q- And finally, any comments, information with the other STD used - the one made up at sea - that might mean further adjustment? Or is this STD not as trustworthy? I'm wondering why it would give different results…and if it could possibly mean we have a faulty graduated cylinder or scale somewhere (IOS, at-sea equipment) or someone not aware of particular protocol? It would be great to have a 'suspicious' list to refer to in case a pattern emerges. We had some off readings with nutrients and oxygens over the years that we've never id'd the cause.
Processed Data QA/QC
I've copied your worksheet "Processed" over to "Processed Plots SZ" so I could play with the data. The two top plots show the difference in the two sample readings plotted against the average of the two readings. In one case the actual difference is plotted and in the other the % difference in plotted.
Q - I wonder about culling values that have differences over some amount…either by fluorescence reading or by the % difference. The difference can be quite large, although both flr values will show an increase or decrease from the previous sample which is certainly telling us something, so I don't want to be too harsh with removing data. In the plots below I removed all data with %differences over 100%.
I've plotted the data by station with a series each for: max flr, min flr and in bold the final flr. The final flr readings have been removed if %diff btw readings is over 100%. In the first plot the final flr is your value (where you QAQC'd the data with rejecting the min or max flr when appropriate), and in the second plot the final flr is always the average of the two.
Q- What are your thoughts on selecting the best of the two readings v. using the average value or rejecting the entire value? I'm more comfortable with the latter, but maybe you've seen patterns in the STD curve and such that suggest the higher value is typically wrong?
Q - And any comments on what % difference or Flr difference would be best?
Q- Do you know what Kristina did in past years? I've not looked at her report but I'm guessing you've been into it pretty closely…
Data Report
Feel free to send your working copy of the data report. I'm guessing you've probably already discussed a fair bit of this in it already.
Thanks for all your work Jeff. Its been great to hear about all the discoveries you've made with this analysis - ex. Acid washing the tubes, minimum of 1 day for reagents to mix, stability of the trilogy.

## RAW DATA
Analysis - CB-51 & CB-52 & CB-53 & CB-54. Analysed by JWC. | [5 empty] | Date: | 2010-10-13
WR added: | 19:20
Analysis start: | 0:46
WR Batch: | 4
BF 1: | 1534.37
BF 2: | 1546.75
Average BF: | 1540.56
Calibration
[NH4] (uM) | Fluo |  | -BF
0 | 5515.52 |  | 3974.96
0 | 5725.58 |  | 4185.02
0.25 | 40007.54 |  | 38466.98
0.25 | 40586.82 |  | 39046.26
0.5 | 68985.19 |  | 67444.63
0.5 | 74566.93 |  | 73026.37
0.75 | 112566.64 |  | 111026.08
0.75 | 112836.35 |  | 111295.79
1 | 153644.26 |  | 152103.7
1 | 146111.46 |  | 144570.9
Station | Sample No. | Bottle | Fluorescence | Fluo - BF |  | time of reading | % increase in 0.5um STD | %difference btw 2 readings
CB-51 | 1487 | 10 | 11690.31 | 10149.75 |  | before | na | 7.9472
| 1487 | 10 | 19514.75 | 17974.19 |  | mid | 6.8136 | 8.4931
| 1489 | 12 | 7926.28 | 6385.72 |  | after | 10.9141 | 2.1286
| 1489 | 12 | 6834.56 | 5294
| 1490 | 13 | 7127.91 | 5587.35
| 1490 | 13 | 6936.22 | 5395.66
| 1491 | 14 | 10517.25 | 8976.69
| 1491 | 14 | 9739.85 | 8199.29
| 1492 | 15 | 31298.94 | 29758.38
| 1492 | 15 | 9083.97 | 7543.41
| 1493 | 16 | 14156.14 | 12615.58
| 1493 | 16 | 10861.16 | 9320.6
| 1494 | 17 | 11398.33 | 9857.77
| 1494 | 17 | 9044.8 | 7504.24
| 1495 | 18 | 15098.473 | 13557.913
| 1495 | 18 | 12340.34 | 10799.78
| 1496 | 19 | 7042.46 | 5501.9
| 1496 | 19 | 5474.41 | 3933.85
| 1497 | 20 | 6753.71 | 5213.15
| 1497 | 20 | 7346.37 | 5805.81
| 1498 | 21 | 9500.78 | 7960.22
| 1498 | 21 | 8127.8 | 6587.24
| 1499 | 22 | 8987.28 | 7446.72
| 1499 | 22 | 7115.86 | 5575.3
| 1500 | 23 | 8224.35 | 6683.79
| 1500 | 23 | 8397.88 | 6857.32
CB-52 | 1511 | 10 | 35420.28 | 33879.72
| 1511 | 10 | 32835.7 | 31295.14
| 1512 | 11 | 18390.59 | 16850.03
| 1512 | 11 | 19290.57 | 17750.01
| 1513 | 12 | 23838.73 | 22298.17
| 1513 | 12 | 8638.32 | 7097.76
| 1514 | 13 | 22023.37 | 20482.81
| 1514 | 13 | 5707.58 | 4167.02
| 1515 | 14 | 26339.31 | 24798.75
| 1515 | 14 | 8657.18 | 7116.62
| 1516 | 15 | 34201.83 | 32661.27
| 1516 | 15 | 19393.59 | 17853.03
| 1517 | 16 | 31751.54 | 30210.98
| 1517 | 16 | 14509.86 | 12969.3
| 1518 | 17 | 13332.22 | 11791.66
| 1518 | 17 | 16461.72 | 14921.16
| 1519 | 18 | 26539.9 | 24999.34
| 1519 | 18 | 25543.24 | 24002.68 | SWITCH TO USED CUVETTES STARTS HERE!!!
| 1520 | 19 | 15980.22 | 14439.66
| 1520 | 19 | 18542.61 | 17002.05
| 1521 | 20 | 30978.58 | 29438.02
| 1521 | 20 | 18542.61 | 17002.05
| 1522 | 21 | 30978.58 | 29438.02
| 1522 | 21 | 12415.72 | 10875.16
| 1523 | 22 | 20123.09 | 18582.53
| 1523 | 22 | 13105.85 | 11565.29
| 1524 | 23 | 16602.54 | 15061.98
| 1524 | 23 | 12131.46 | 10590.9
| 1525 | 24 | 18082.61 | 16542.05
| 1525 | 24 | 13084.72 | 11544.16
0.5 uM std
0.5 |  |  | 73375.81 | 71835.25
0.5 |  |  | 79747.39 | 78206.83
CB-53 | 1526 | 1 | 13009.55 | 11468.99
| 1526 | 1 | 11233.14 | 9692.58
| 1527 | 2 | 5293.36 | 3752.8
| 1527 | 2 | 9397.97 | 7857.41
| 1528 | 3 | 16733.06 | 15192.5
| 1528 | 3 | 7060.48 | 5519.92
| 1529 | 4 | 5797.84 | 4257.28
| 1529 | 4 | 9915.69 | 8375.13
| 1530 | 5 | 4535.31 | 2994.75
| 1530 | 5 | 10351.48 | 8810.92
| 1531 | 6 | 14700.46 | 13159.9
| 1531 | 6 | 12248.47 | 10707.91
| 1532 | 7 | 15773.23 | 14232.67
| 1532 | 7 | 114953.04 | 113412.48
| 1533 | 8
| 1533 | 8
| 1534 | 9 | 19052.18 | 17511.62
| 1534 | 9 | 18365.32 | 16824.76
| 1535 | 10 | 7003.95 | 5463.39
| 1535 | 10 | 10095.04 | 8554.48
| 1536 | 11 | 14140.64 | 12600.08
| 1536 | 11 | 32543.72 | 31003.16
| 1537 | 12 | 21258.66 | 19718.1
| 1537 | 12 | 8431.73 | 6891.17
| 1538 | 13 | 5762.69 | 4222.13
| 1538 | 13 | 13720.94 | 12180.38
| 1539 | 14 | 7948.34 | 6407.78
| 1539 | 14 | 5647.63 | 4107.07
| 1540 | 15 | 22485.42 | 20944.86
| 1540 | 15 | 18510.76 | 16970.2
| 1541 | 16 | 14909.49 | 13368.93
| 1541 | 16 | 25457.91 | 23917.35
| 1542 | 17 | 13619.69 | 12079.13
| 1542 | 17 | 23128.58 | 21588.02
| 1543 | 18 | 19548.64 | 18008.08
| 1543 | 18 | 7813.28 | 6272.72
| 1544 | 19 | 8922.86 | 7382.3
| 1544 | 19 | 15995.63 | 14455.07
CB-54 | 1550 | 1 | 10592.43 | 9051.87
| 1550 | 1 | 7537.76 | 5997.2
| 1551 | 2 | 5975.25 | 4434.69
| 1551 | 2 | 7402.22 | 5861.66
| 1552 | 3 | 18005.46 | 16464.9
| 1552 | 3 | 21249.43 | 19708.87
| 1553 | 4 | 20535.2 | 18994.64
| 1553 | 4 | 19376.05 | 17835.49
| 1554 | 5 | 15590.54 | 14049.98
| 1554 | 5 | 20171.05 | 18630.49
| 1555 | 6 | 28207.54 | 26666.98
| 1555 | 6 | 22078.8 | 20538.24
| 1556 | 7 | 12511.96 | 10971.4
| 1556 | 7 | 19217.77 | 17677.21
| 1557 | 8 | 21876.38 | 20335.82
| 1557 | 8 | 8123.88 | 6583.32
| 1558 | 9 | 22195.77 | 20655.21
| 1558 | 9 | 10956.01 | 9415.45
| 1559 | 10 | 9227.02 | 7686.46
| 1559 | 10 | 21578.88 | 20038.32
0.5 uM std
0.5 |  |  | 83863.85 | 82323.29
0.5 |  |  | 85635.02 | 84094.46

## PROCESSED
Calibration Data |  | Station CB-51 | [6 empty] | sensitivity: | 1
m: | 144367.574
b: | 2330.282 | Sample | Fluo Max | Fluo Min | Fluo Avg | Reject? | Fluo | [NH4] uM
R²: | 0.99644 | 1487 | 17974.19 | 10149.75 | 14061.97 | N | 14061.97 | 0.081263
|  | 1489 | 6385.72 | 5294 | 5839.86 | N | 5839.86 | 0.02431
|  | 1490 | 5587.35 | 5395.66 | 5491.505 | N | 5491.505 | 0.021897
|  | 1491 | 8976.69 | 8199.29 | 8587.99 | N | 8587.99 | 0.043346
|  | 1492 | 29758.38 | 7543.41 | 18650.895 | Y | 7543.41 | 0.03611
|  | 1493 | 12615.58 | 9320.6 | 10968.09 | N | 10968.09 | 0.059832
|  | 1494 | 9857.77 | 7504.24 | 8681.005 | N | 8681.005 | 0.04399
|  | 1495 | 13557.913 | 10799.78 | 12178.8465 | N | 12178.8465 | 0.068219
|  | 1496 | 5501.9 | 3933.85 | 4717.875 | N | 4717.875 | 0.016538
|  | 1497 | 5805.81 | 5213.15 | 5509.48 | N | 5509.48 | 0.022022
|  | 1498 | 7960.22 | 6587.24 | 7273.73 | N | 7273.73 | 0.034242
|  | 1499 | 7446.72 | 5575.3 | 6511.01 | N | 6511.01 | 0.028959
|  | 1500 | 6857.32 | 6683.79 | 6770.555 | N | 6770.555 | 0.030757
Station CB-52
|  | Sample | Fluo Max | Fluo Min | Fluo Avg | Reject? | Fluo | [NH4] uM
|  | 1511 | 33879.72 | 31295.14 | 32587.43 | N | 32587.43 | 0.20958
|  | 1512 | 17750.01 | 16850.03 | 17300.02 | N | 17300.02 | 0.10369
|  | 1513 | 22298.17 | 7097.76 | 14697.965 | Y | 7097.76 | 0.033023
|  | 1514 | 20482.81 | 4167.02 | 12324.915 | Y | 4167.02 | 0.012723
|  | 1515 | 24798.75 | 7116.62 | 15957.685 | Y | 7116.62 | 0.033154
|  | 1516 | 32661.27 | 17853.03 | 25257.15 | Y | 17853.03 | 0.10752
|  | 1517 | 30210.98 | 12969.3 | 21590.14 | Y | 12969.3 | 0.073694
|  | 1518 | 14921.16 | 11791.66 | 13356.41 | N | 13356.41 | 0.076375
|  | 1519 | 24999.34 | 24002.68 | 24501.01 | N | 24501.01 | 0.15357
|  | 1520 | 17002.05 | 14439.66 | 15720.855 | N | 15720.855 | 0.092753
|  | 1521 | 29438.02 | 17002.05 | 23220.035 | Y | 17002.05 | 0.10163
|  | 1522 | 29438.02 | 10875.16 | 20156.59 | Y | 10875.16 | 0.059188
|  | 1523 | 18582.53 | 11565.29 | 15073.91 | Y | 11565.29 | 0.063969
|  | 1524 | 15061.98 | 10590.9 | 12826.44 | N | 12826.44 | 0.072704
|  | 1525 | 16542.05 | 11544.16 | 14043.105 | Y | 11544.16 | 0.063822
|  | Station CB-53 | [6 empty] | sensitivity: | 1.0681
|  | Sample | Fluo Max | Fluo Min | Fluo Avg | Reject? | Fluo | [NH4] uM
|  | 1526 | 11468.99 | 9692.58 | 10580.785 | N | 10580.785 | 0.057149
|  | 1527 | 7857.41 | 3752.8 | 5805.105 | Y | 3752.8 | 0.0098534
|  | 1528 | 15192.5 | 5519.92 | 10356.21 | Y | 5519.92 | 0.022094
|  | 1529 | 8375.13 | 4257.28 | 6316.205 | N | 6316.205 | 0.02761
|  | 1530 | 8810.92 | 2994.75 | 5902.835 | N | 5902.835 | 0.024746
|  | 1531 | 13159.9 | 10707.91 | 11933.905 | N | 11933.905 | 0.066522
|  | 1532 | 113412.48 | 14232.67 | 63822.575 | N | 63822.575 | 0.42594
|  | 1533 | 0 | 0 | 0 | N | 0 | NA
|  | 1534 | 17511.62 | 16824.76 | 17168.19 | N | 17168.19 | 0.10278
|  | 1535 | 8554.48 | 5463.39 | 7008.935 | N | 7008.935 | 0.032408
|  | 1536 | 31003.16 | 12600.08 | 21801.62 | Y | 12600.08 | 0.071136
|  | 1537 | 19718.1 | 6891.17 | 13304.635 | Y | 6891.17 | 0.031592
|  | 1538 | 12180.38 | 4222.13 | 8201.255 | Y | 4222.13 | 0.013104
|  | 1539 | 6407.78 | 4107.07 | 5257.425 | N | 5257.425 | 0.020276
|  | 1540 | 20944.86 | 16970.2 | 18957.53 | N | 18957.53 | 0.11517
|  | 1541 | 23917.35 | 13368.93 | 18643.14 | Y | 13368.93 | 0.076462
|  | 1542 | 21588.02 | 12079.13 | 16833.575 | Y | 12079.13 | 0.067528
|  | 1543 | 18008.08 | 6272.72 | 12140.4 | Y | 6272.72 | 0.027308
|  | 1544 | 14455.07 | 7382.3 | 10918.685 | Y | 7382.3 | 0.034994
Station CB-54
|  | Sample | Fluo Max | Fluo Min | Fluo Avg | Reject? | Fluo | [NH4] uM
|  | 1550 | 9051.87 | 5997.2 | 7524.535 | N | 7524.535 | 0.035979
|  | 1551 | 5861.66 | 4434.69 | 5148.175 | N | 5148.175 | 0.019519
|  | 1552 | 19708.87 | 16464.9 | 18086.885 | N | 18086.885 | 0.10914
|  | 1553 | 18994.64 | 17835.49 | 18415.065 | N | 18415.065 | 0.11142
|  | 1554 | 18630.49 | 14049.98 | 16340.235 | N | 16340.235 | 0.097044
|  | 1555 | 26666.98 | 20538.24 | 23602.61 | Y | 20538.24 | 0.12612
|  | 1556 | 17677.21 | 10971.4 | 14324.305 | Y | 10971.4 | 0.059855
|  | 1557 | 20335.82 | 6583.32 | 13459.57 | Y | 6583.32 | 0.02946
|  | 1558 | 20655.21 | 9415.45 | 15035.33 | Y | 9415.45 | 0.049077
|  | 1559 | 20038.32 | 7686.46 | 13862.39 | Y | 7686.46 | 0.037101
[9 empty] | sensitivity: | 1.1847

## PROFILES
Station CB-28b
| Sample | Depth | [NH4]
| 315 |  | 0.033529
| 316 |  | 0.02144
| 317 |  | 0.016698
| 318 |  | 0.019996
| 319 |  | 0.010781
| 320 |  | 0.013752
| 321 |  | 0.1955
| 322 |  | 0.096745
| 323 |  | 0.01297
| 324 |  | 0.021127
| 325 |  | 0.0047386
| 326 |  | 0.015938
Station CB-50
| Sample | Depth | [NH4]
| 481 | 300 | 0.0058673
| 482 | 275 | -0.0024261
| 483 | 250 | -0.00033507
| 484 | 225 | 0.0080166
| 485 | 175 | 0.0046775
| 486 | 162 | 0.0033235
| 487 | 150 | -0.00055526
| 488 | 125 | -0.0019153
| 489 | 100 | -0.010596
| 490 | 72 | 0.0048401
| 491 | 50 | -0.0051893
| 492 | 25 | 0.0038452
| 493 | 5 | 0.009135
Station CB-51
| Sample | Depth | [NH4]
| 505 |  | 0.0020567
| 506 |  | 0.001701
| 507 |  | 0.011379
| 508 |  | -0.0023702
| 509 |  | -0.0019732
| 510 |  | -0.0096101
| 511 |  | 0.00061235
| 512 |  | -0.011132
| 513 |  | 0.013692
| 514 |  | 0.014178
| 515 |  | -0.014744
| 516 |  | 0.017428
| 517 |  | 0.01749

## PROCESSED Plots SZ
How to QA/QC the values? Use cut off of % difference btw the Fluor Min and Max?
Calibration Data |  | Station CB-51 | [13 empty] | sensitivity: | 1
m: | 144367.574
b: | 2330.282 | Sample | Fluo Max | Fluo Min | Fluo Avg | Reject? | Fluo | [NH4] uM | Depth | Fluo Avg For Diff plots | Fluo Avg with QC applied | % difference | Actual difference | QA/QC SZ | Comment
R²: | 0.99644 | 1487 | 17974.19 | 10149.75 | 14061.97 | N | 14061.97 | 0.081263 | 359 | 14061.97 | 14061.97 | 55.6426 | 7824.44
|  | 1489 | 6385.72 | 5294 | 5839.86 | N | 5839.86 | 0.02431 | 276 | 5839.86 | 5839.86 | 18.6943 | 1091.72
|  | 1490 | 5587.35 | 5395.66 | 5491.505 | N | 5491.505 | 0.021897 | 236 | 5491.505 | 5491.505 | 3.4907 | 191.69
|  | 1491 | 8976.69 | 8199.29 | 8587.99 | N | 8587.99 | 0.043346 | 205 | 8587.99 | 8587.99 | 9.0522 | 777.4
|  | 1492 | 29758.38 | 7543.41 | 18650.895 | Y |  |  | 178 | 18650.895 |  | 119.1094 | 22214.97 | e | Diff btw 2 readings is large and signal unclear in other casts
|  | 1493 | 12615.58 | 9320.6 | 10968.09 | N | 10968.09 | 0.059832 | 160.005 | 10968.09 | 10968.09 | 30.0415 | 3294.98
|  | 1494 | 9857.77 | 7504.24 | 8681.005 | N | 8681.005 | 0.04399 | 153.541 | 8681.005 | 8681.005 | 27.1113 | 2353.53
|  | 1495 | 13557.913 | 10799.78 | 12178.8465 | N | 12178.8465 | 0.068219 | 135.222 | 12178.8465 | 12178.8465 | 22.6469 | 2758.133
|  | 1496 | 5501.9 | 3933.85 | 4717.875 | N | 4717.875 | 0.016538 | 116.538 | 4717.875 | 4717.875 | 33.2364 | 1568.05
|  | 1497 | 5805.81 | 5213.15 | 5509.48 | N | 5509.48 | 0.022022 | 90.861 | 5509.48 | 5509.48 | 10.7571 | 592.66
|  | 1498 | 7960.22 | 6587.24 | 7273.73 | N | 7273.73 | 0.034242 | 67.722 | 7273.73 | 7273.73 | 18.8759 | 1372.98
|  | 1499 | 7446.72 | 5575.3 | 6511.01 | N | 6511.01 | 0.028959 | 53.507 | 6511.01 | 6511.01 | 28.7424 | 1871.42
|  | 1500 | 6857.32 | 6683.79 | 6770.555 | N | 6770.555 | 0.030757 | 28.107 | 6770.555 | 6770.555 | 2.563 | 173.53
[10 empty] | 0 | 0 | 0 | 0
|  | Station CB-52 | [7 empty] | 0 | 0 | 0 | 0
[10 empty] | 0 | 0 | 0 | 0
|  | Sample | Fluo Max | Fluo Min | Fluo Avg | Reject? | Fluo | [NH4] uM |  | 0 | 0 | 0 | 0
|  | 1511 | 33879.72 | 31295.14 | 32587.43 | N | 32587.43 | 0.20958 | 359.557 | 32587.43 | 32587.43 | 7.9312 | 2584.58
|  | 1512 | 17750.01 | 16850.03 | 17300.02 | N | 17300.02 | 0.10369 | 308.332 | 17300.02 | 17300.02 | 5.2022 | 899.98
|  | 1513 | 22298.17 | 7097.76 | 14697.965 | Y |  |  | 255.637 | 14697.965 |  | 103.4185 | 15200.41
|  | 1514 | 20482.81 | 4167.02 | 12324.915 | Y |  |  | 230.029 | 12324.915 |  | 132.3805 | 16315.79
|  | 1515 | 24798.75 | 7116.62 | 15957.685 | Y |  |  | 205.064 | 15957.685 |  | 110.8064 | 17682.13
|  | 1516 | 32661.27 | 17853.03 | 25257.15 | Y | 17853.03 | 0.10752 | 179.902 | 25257.15 | 25257.15 | 58.6299 | 14808.24
|  | 1517 | 30210.98 | 12969.3 | 21590.14 | Y | 12969.3 | 0.073694 | 164.589 | 21590.14 | 21590.14 | 79.859 | 17241.68
|  | 1518 | 14921.16 | 11791.66 | 13356.41 | N | 13356.41 | 0.076375 | 149.435 | 13356.41 | 13356.41 | 23.4307 | 3129.5
|  | 1519 | 24999.34 | 24002.68 | 24501.01 | N | 24501.01 | 0.15357 | 129.33 | 24501.01 | 24501.01 | 4.0678 | 996.66
|  | 1520 | 17002.05 | 14439.66 | 15720.855 | N | 15720.855 | 0.092753 | 103.883 | 15720.855 | 15720.855 | 16.2993 | 2562.39
|  | 1521 | 29438.02 | 17002.05 | 23220.035 | Y | 17002.05 | 0.10163 | 78.271 | 23220.035 | 23220.035 | 53.5571 | 12435.97
|  | 1522 | 29438.02 | 10875.16 | 20156.59 | Y | 10875.16 | 0.059188 | 53.276 | 20156.59 | 20156.59 | 92.0933 | 18562.86
|  | 1523 | 18582.53 | 11565.29 | 15073.91 | Y | 11565.29 | 0.063969 | 33.065 | 15073.91 | 15073.91 | 46.5522 | 7017.24
|  | 1524 | 15061.98 | 10590.9 | 12826.44 | N | 12826.44 | 0.072704 | 18.006 | 12826.44 | 12826.44 | 34.8583 | 4471.08
|  | 1525 | 16542.05 | 11544.16 | 14043.105 | Y | 11544.16 | 0.063822 | 7.66 | 14043.105 | 14043.105 | 35.5896 | 4997.89
[10 empty] | 0 | 0 | 0 | 0
|  | Station CB-53 | [7 empty] | 0 | 0 | 0 | 0 |  |  | sensitivity: | 1.0681
[10 empty] | 0 | 0 | 0 | 0
|  | Sample | Fluo Max | Fluo Min | Fluo Avg | Reject? | Fluo | [NH4] uM |  | 0 | 0 | 0 | 0
|  | 1526 | 11468.99 | 9692.58 | 10580.785 | N | 10580.785 | 0.057149 | 402.776 | 10580.785 | 10580.785 | 16.789 | 1776.41
|  | 1527 | 7857.41 | 3752.8 | 5805.105 | Y | 3752.8 | 0.0098534 | 355.967 | 5805.105 | 5805.105 | 70.7069 | 4104.61
|  | 1528 | 15192.5 | 5519.92 | 10356.21 | Y | 5519.92 | 0.022094 | 325.753 | 10356.21 | 10356.21 | 93.3988 | 9672.58
|  | 1529 | 8375.13 | 4257.28 | 6316.205 | N | 6316.205 | 0.02761 | 311.633 | 6316.205 | 6316.205 | 65.195 | 4117.85
|  | 1530 | 8810.92 | 2994.75 | 5902.835 | N | 5902.835 | 0.024746 | 274.248 | 5902.835 | 5902.835 | 98.5318 | 5816.17
|  | 1531 | 13159.9 | 10707.91 | 11933.905 | N | 11933.905 | 0.066522 | 241.336 | 11933.905 | 11933.905 | 20.5464 | 2451.99
|  | 1532 | 113412.48 | 14232.67 | 63822.575 | N |  |  | 223.973 | 63822.575 |  | 155.3993 | 99179.81 | e | Diff btw 2 readings is large and signal unclear in other casts
|  | 1533 | 0 | 0 | 0 | N | 0 | -0.016141 | 210.234 | 0 | 0 | #DIV/0! | 0
|  | 1534 | 17511.62 | 16824.76 | 17168.19 | N | 17168.19 | 0.10278 | 178.562 | 17168.19 | 17168.19 | 4.0008 | 686.86
|  | 1535 | 8554.48 | 5463.39 | 7008.935 | N | 7008.935 | 0.032408 | 154.828 | 7008.935 | 7008.935 | 44.1021 | 3091.09
|  | 1536 | 31003.16 | 12600.08 | 21801.62 | Y | 12600.08 | 0.071136 | 131.627 | 21801.62 | 21801.62 | 84.4115 | 18403.08
|  | 1537 | 19718.1 | 6891.17 | 13304.635 | Y | 6891.17 | 0.031592 | 123.468 | 13304.635 | 13304.635 | 96.4095 | 12826.93
|  | 1538 | 12180.38 | 4222.13 | 8201.255 | Y | 4222.13 | 0.013104 | 109.196 | 8201.255 | 8201.255 | 97.037 | 7958.25
|  | 1539 | 6407.78 | 4107.07 | 5257.425 | N | 5257.425 | 0.020276 | 94.588 | 5257.425 | 5257.425 | 43.7612 | 2300.71
|  | 1540 | 20944.86 | 16970.2 | 18957.53 | N | 18957.53 | 0.11517 | 72.766 | 18957.53 | 18957.53 | 20.9661 | 3974.66
|  | 1541 | 23917.35 | 13368.93 | 18643.14 | Y | 13368.93 | 0.076462 | 52.461 | 18643.14 | 18643.14 | 56.5807 | 10548.42
|  | 1542 | 21588.02 | 12079.13 | 16833.575 | Y | 12079.13 | 0.067528 | 32.394 | 16833.575 | 16833.575 | 56.4876 | 9508.89
|  | 1543 | 18008.08 | 6272.72 | 12140.4 | Y | 6272.72 | 0.027308 | 17.191 | 12140.4 | 12140.4 | 96.6637 | 11735.36
|  | 1544 | 14455.07 | 7382.3 | 10918.685 | Y | 7382.3 | 0.034994 | 7.248 | 10918.685 | 10918.685 | 64.7768 | 7072.77
[10 empty] | 0 | 0 | 0 | 0
|  | Station CB-54 | [7 empty] | 0 | 0 | 0 | 0
[10 empty] | 0 | 0 | 0 | 0
|  | Sample | Fluo Max | Fluo Min | Fluo Avg | Reject? | Fluo | [NH4] uM |  | 0 | 0 | 0 | 0
|  | 1550 | 9051.87 | 5997.2 | 7524.535 | N | 7524.535 | 0.035979 | 195.889 | 7524.535 | 7524.535 | 40.5961 | 3054.67
|  | 1551 | 5861.66 | 4434.69 | 5148.175 | N | 5148.175 | 0.019519 | 178.286 | 5148.175 | 5148.175 | 27.718 | 1426.97
|  | 1552 | 19708.87 | 16464.9 | 18086.885 | N | 18086.885 | 0.10914 | 152.96 | 18086.885 | 18086.885 | 17.9355 | 3243.97
|  | 1553 | 18994.64 | 17835.49 | 18415.065 | N | 18415.065 | 0.11142 | 127.847 | 18415.065 | 18415.065 | 6.2946 | 1159.15
|  | 1554 | 18630.49 | 14049.98 | 16340.235 | N | 16340.235 | 0.097044 | 102.615 | 16340.235 | 16340.235 | 28.0321 | 4580.51
|  | 1555 | 26666.98 | 20538.24 | 23602.61 | Y | 20538.24 | 0.12612 | 77.107 | 23602.61 | 23602.61 | 25.9664 | 6128.74
|  | 1556 | 17677.21 | 10971.4 | 14324.305 | Y | 10971.4 | 0.059855 | 52.088 | 14324.305 | 14324.305 | 46.8142 | 6705.81
|  | 1557 | 20335.82 | 6583.32 | 13459.57 | Y |  |  | 31.488 | 13459.57 |  | 102.1764 | 13752.5
|  | 1558 | 20655.21 | 9415.45 | 15035.33 | Y | 9415.45 | 0.049077 | 16.151 | 15035.33 | 15035.33 | 74.7557 | 11239.76
|  | 1559 | 20038.32 | 7686.46 | 13862.39 | Y | 7686.46 | 0.037101 | 6.675 | 13862.39 | 13862.39 | 89.1034 | 12351.86
[16 empty] | sensitivity: | 1.1847
Plot of four casts (CB-51 to CB-54), with both sets of data and final choice