## Sheet1
IOS Arctic Group pre-cruise CTD set up
Cruise : | 2010-06 |  | Date : | 2010-06-16
Ship : | CCGS Louis S. St Laurent
Make : | Seabird | Model: | 9plus | Serial : | 756 | New: | 2004-03-31
Temperature
| model | serial | last cal. | Pump | serial
Primary | SBE3plus | 4397 | 2009-11-16 | SBE5T | 53610
Secondary | SBE3plus | 4402 | 2009-11-16 | SBE5T | 53615
Conductivity
| model | serial | last cal.
Primary | SBE4C | 2992 | 2009-10-30
Secondary | SBE4C | 2984 | 2009-10-30
Comments : | Mike found that the small tygon tube between the secondary T and C was slightly crooked and may also have restricted flow a little.
Pressure | model | serial | last cal.
| SBE9 | 91164 | 2009-02-26
External sensors
Type | make | model | serial | last cal | channel | connector
Fluorometer | seapoint | SCF | 2841 |  | V0 | JT2
Comments : | Inline with secondary T, C plumbing using a parallel barb cap.
Type | make | model | serial | last cal | channel | connector
Transmissometer | Wetlabs | CSTAR | 1052 | 2010-06-17 | V1 | JT2
Comments :
Type | make | model | serial | last cal | channel | connector
DO | SBE | 43 | 430435 | 2010-03-06 | V2 | JT3
Comments : | Inline with primary T, C plumbing
Type | make | model | serial | last cal | channel | connector
Altimeter | Benthos | PSA-916 | 1161 |  | V3 | JT3
Comments :
Type | make | model | serial | last cal | channel | connector
CDOM | Wetlabs | FLCTDR | 1076 | 1905-07-01 | V4 | JT5
Comments :
Type | make | model | serial | last cal | channel | connector
free |  |  |  |  | V5 | JT5
Comments :
Type | make | model | serial | last cal | channel | connector
PAR | Biospherical | QSP2300 | 70123 | 2009-10-31 | V6 | JT6
Comments : | on 2010-07 only
Type | make | model | serial | last cal | channel | connector
Nitrate | Satlantic | ISUIS v2 | 72 |  | V7 | JT6
Comments :
on 2010-07 only