2010-07 JOIS TSG setup

Instruments logged in the TSG Lab 2010-07

Thermosalinograph Seabird SBE-21 Serial xx

Temperature sensor (inline) SBE-38 Serial xx

Temperature sensor (hull mounted) SBE-48 Serial xx

Chlorophyll fluorometer Seapoint xx Serial xx

CDOM Fluorometer Wetlabs xx Serial xx

Gas Cooler with GTD and Optode

pCO2 Gas Box (Ramlal)

Logging computer: Acer laptop PAC

COM setup:

Virtual Ports (GPSGate)

COM 1	GPS to Seasave

COM 2	GPS to Gas Cooler (cooler software does not recognize)

COM 14	SBE-48 in

USB-serial Ports (Keyspan)

COM 4	GTD in

COM 5	SBE-21 in

COM 6	Optode in

COM 7	SBE-38 out to SBE-21

GPSGate setup

Instance SBE-38

Input: TCP/IP 10.1.20.5:4000 (BBlinx box in engine room near pump)

Output: COM 7

Instance: SBE-48

Input: TCP/IP 10.1.20.5:4001 (BBlinx box in engine room near pump)

Output: Virtual COM 14

Instance: GPS

Input: 10.1.20.15:4000 (BBlinx box from Novatel GPS)

Output: 	Virtual COM 1

Virtual COM 2