## Data Combo Avg dup
Cruise 2010-12 May WCVI | [12 empty] | File: Cocc2010-12\nutrients\QF 2010-12nuts.xls
Nutrient data summary with Quality Flags | [12 empty] | Date : August 26, 2010
Samples were collected in plastic test tubes.
Most samples were stored frozen then analyzed at IOS by Wendy Richardson and Janet Barwell-Clarke.
Deep Silicate samples (400m and below) were stored cool then analyzed at IOS by Wendy Richardson and Janet Barwell-Clarke.
The Astoria Analyzer was used for sample analyses.
Duplicates |  |  | Stored Cool
Loop samples
Important comments
Niskin didn't trip
Quality Flags:
c = Questionable measurement (no problem observed in sampling or analysis,
d = bad measurement (known problem with sampling or analysis,
e = Not reported (lost sample; unredeemably bad measurement)
i = sample not drawn for this measurement from this bottle
f = average of duplicate samples
Cruise | Station | Cast | Sample # | Depth | Niskin | NO3 | NO3 | SiO3 | SiO3 | PO4 | PO4 | Comments
|  |  |  | (nominal) |  | uM | QF | uM | QF | uM | QF
2010-12 | Si03 | 1 | 12 | 5 | 12 | 15.1833 |  | 18.1 |  | 1.6232
2010-12 | Si03 | 1 | 11 | 10 | 11 | 17.9306 |  | 21.1 |  | 2.3616
2010-12 | Si03 | 1 | 10 | 20 | 10 | 19.3043 |  | 31.1 |  | 2.0481
2010-12 | Si03 | 1 | 9 | 30 | 9 | 20.4817 |  | 33.7 |  | 1.957
2010-12 | Si03 | 1 | 8 | 50 | 8 | 23.5235 |  | 38.5 |  | 2.1391
2010-12 | Si03 | 1 | 7 | 75 | 7 | 24.8971 |  | 45.7 |  | 2.4426
2010-12 | Si03 | 1 | 6 | 100 | 6 | 21.5611 |  | 76.1 |  | 3.8485
2010-12 | Si03 | 1 | 5 | 125 | 5 | 9.0017 |  | 92.6 |  | 4.506
2010-12 | Si03 | 1 | 4 | 150 | 4 |  | i | 111 |  | 5.5377 |  | H2S, therefore no Nitrate analyzed
2010-12 | Si03 | 1 | 3 | 175 | 3 |  | i | 111.9 |  | 5.8614 |  | H2S, therefore no Nitrate analyzed
2010-12 | Si03 | 1 | 2 | 200 | 2 |  | i | 131.7 |  | 6.883 |  | H2S, therefore no Nitrate analyzed
2010-12 | Si03 | 1 | 1 | 215.6 | 1 |  | i | 111.3 |  | 6.0233 |  | H2S, therefore no Nitrate analyzed
2010-12 | LB01 | 2 | 16 | 5 | 4 | 9.1979 | f | 16.8 | f | 0.96071 | f
2010-12 | LB01 | 2 | 15 | 10 | 3 | 9.9829 |  | 17.1 |  | 1.0467
2010-12 | LB01 | 2 | 14 | 20 | 2 | 11.6509 |  | 18.9 |  | 1.1478
2010-12 | LB01 | 2 | 13 | 20 | 1 | 11.7491 |  | 18.9 |  | 1.1883
2010-12 | LB02 | 3 | 21 | 5 | 5 | 7.1374 |  | 14.5 |  | 0.82415
2010-12 | LB02 | 3 | 20 | 10 | 4 | 8.7073 |  | 15.6 |  | 1.0366
2010-12 | LB02 | 3 | 19 | 20 | 3 | 10.1791 |  | 16.9 |  | 1.1175
2010-12 | LB02 | 3 | 18 | 30 | 2 | 13.1227 |  | 20.9 |  | 1.3198
2010-12 | LB02 | 3 | 17 | 47 | 1 | 15.2323 | f | 23.05 | f | 1.4209 | f
2010-12 | LB04 | 5 | 28 | 5 | 7 | 5.6656 | f | 13.9 | f | 0.73818 | f
2010-12 | LB04 | 5 | 27 | 10 | 6 | 6.3525 |  | 14 |  | 0.76346
2010-12 | LB04 | 5 | 26 | 20 | 5 | 8.413 |  | 15.2 |  | 0.92531
2010-12 | LB04 | 5 | 25 | 30 | 4 | 9.1979 |  | 15.6 |  | 1.0265
2010-12 | LB04 | 5 | 24 | 50 | 3 | 14.0058 |  | 21.1 |  | 1.34
2010-12 | LB04 | 5 | 23 | 75 | 2 | 18.4212 |  | 26.9 |  | 1.866
2010-12 | LB04 | 5 | 22 | 102 | 1 | 24.7009 |  | 34.2 |  | 1.9874
2010-12 | LB06 | 9 | 35 | 5 | 7 | 5.8619 |  | 11.3 |  | 0.75335
2010-12 | LB06 | 9 | 34 | 10 | 6 | 4.5863 |  | 8.6 |  | 0.68254
2010-12 | LB06 | 9 | 33 | 20 | 5 | 6.2543 |  | 11 |  | 0.81404
2010-12 | LB06 | 9 | 32 | 30 | 4 | 8.5602 | f | 14.75 | f | 0.98094 | f
2010-12 | LB06 | 9 | 31 | 50 | 3 | 17.2438 |  | 24.5 |  | 1.5019
2010-12 | LB06 | 9 | 30 | 75 | 2 | 21.6592 |  | 28.4 |  | 1.7547
2010-12 | LB06 | 9 | 29 | 105 | 1 | 28.6257 |  | 40.6 |  | 2.2301
2010-12 | LB08 | 22 | 44 | 5 | 9 | 0.95586 |  | 5.8 |  | 0.41956
2010-12 | LB08 | 22 | 43 | 10 | 8 | 0.6615 |  | 6 |  | 0.41956
2010-12 | LB08 | 22 | 42 | 20 | 7 | 1.054 |  | 5.7 |  | 0.42967
2010-12 | LB08 | 22 | 41 | 30 | 6 | 2.4277 | f | 7.2 | f | 0.54094 | f
2010-12 | LB08 | 22 | 40 | 50 | 5 | 11.5528 |  | 16.5 |  | 1.1276
2010-12 | LB08 | 22 | 39 | 75 | 4 | 25.8783 |  | 35.6 |  | 2.0177
2010-12 | LB08 | 22 | 38 | 100 | 3 | 30.3919 |  | 44.2 |  | 2.3718
2010-12 | LB08 | 22 | 37 | 125 | 2 | 31.9618 |  | 47.3 |  | 2.4931
2010-12 | LB08 | 22 | 36 | 130 | 1 | 31.3731 |  | 45.6 |  | 2.4122
2010-12 | LB09 | 24 | 52 | 5 | 8 | 1.054 |  | 6.7 |  | 0.4499
2010-12 | LB09 | 24 | 51 | 10 | 7 | 1.3483 |  | 6.6 |  | 0.48024
2010-12 | LB09 | 24 | 50 | 20 | 6 | 1.6427 |  | 6.7 |  | 0.51059
2010-12 | LB09 | 24 | 49 | 30 | 5 | 5.6166 | f | 8.6 | f | 0.76852 | f
2010-12 | LB09 | 24 | 48 | 50 | 4 | 12.3378 |  | 15.8 |  | 1.1883
2010-12 | LB09 | 24 | 47 | 75 | 3 | 26.2708 |  | 36.1 |  | 2.0278
2010-12 | LB09 | 24 | 46 | 100 | 2 | 31.0787 |  | 43 |  | 2.3212
2010-12 | LB09 | 24 | 45 | 140 | 1 | 33.9242 |  | 49.7 |  | 2.5032
2010-12 | LB11 | 26 | 63 | 5 | 11 | 0.85774 |  | 6.6 |  | 0.40944
2010-12 | LB11 | 26 | 62 | 10 | 10 | 0.6615 |  | 6.6 |  | 0.43978
2010-12 | LB11 | 26 | 61 | 20 | 9 | 1.3974 | f | 6.8 | f | 0.49542 | f
2010-12 | LB11 | 26 | 60 | 30 | 8 | 1.7408 |  | 7 |  | 0.5207
2010-12 | LB11 | 26 | 59 | 50 | 7 | 7.1374 |  | 10.3 |  | 0.90507
2010-12 | LB11 | 26 | 58 | 75 | 6 | 14.3002 |  | 18.2 |  | 1.2894
2010-12 | LB11 | 26 | 57 | 100 | 5 | 26.1727 |  | 30.8 |  | 1.9368
2010-12 | LB11 | 26 | 56 | 125 | 4 | 29.2144 |  | 35.5 |  | 2.1189
2010-12 | LB11 | 26 | 55 | 150 | 3 | 32.5505 |  | 43.6 |  | 2.3515
2010-12 | LB11 | 26 | 54 | 175 | 2 | 33.9242 |  | 47.2 |  | 2.4324
2010-12 | LB11 | 26 | 53 | 195 | 1 | 35.2979 |  | 50.7 |  | 2.5134
2010-12 | LB12 | 28 | 79 | 5 | 16 | 0.85774 |  | 6.2 |  | 0.42967
2010-12 | LB12 | 28 | 78 | 10 | 15 | 1.054 |  | 6.4 |  | 0.46002
2010-12 | LB12 | 28 | 77 | 20 | 14 | 1.0049 | f | 5.85 | f | 0.4499 | f
2010-12 | LB12 | 28 | 76 | 30 | 13 | 1.5446 |  | 6.5 |  | 0.5207
2010-12 | LB12 | 28 | 75 | 50 | 12 | 5.8619 |  | 9.4 |  | 0.81404
2010-12 | LB12 | 28 | 74 | 75 | 11 | 12.1415 |  | 15 |  | 1.1681
2010-12 | LB12 | 28 | 73 | 100 | 10 | 22.4441 |  | 26 |  | 1.7547
2010-12 | LB12 | 28 | 72 | 125 | 9 | 25.9765 |  | 30.3 |  | 1.9166
2010-12 | LB12 | 28 | 71 | 150 | 8 | 28.5276 |  | 34 |  | 2.0582
2010-12 | LB12 | 28 | 69 | 175 | 6 | 31.0787 |  | 39.6 |  | 2.1998
2010-12 | LB12 | 28 | 68 | 200 | 5 | 32.8449 |  | 44.3 |  | 2.3009
2010-12 | LB12 | 28 | 67 | 250 | 4 | 35.5922 |  | 52 |  | 2.4931
2010-12 | LB12 | 28 | 66 | 300 | 3 | 38.7321 |  | 61 |  | 2.7157
2010-12 | LB12 | 28 | 65 | 400 | 2 | 42.4606 |  | 75.3 |  | 3.0191
2010-12 | LB12 | 28 | 64 | 502 | 1 | 40.2039 |  | 78.4 |  | 2.9382
2010-12 | LB14 | 30 | 97 | 5 | 18 |  | i |  | i |  | i | missing
2010-12 | LB14 | 30 | 96 | 10 | 17 | 0.6615 |  | 6.3 |  | 0.4499
2010-12 | LB14 | 30 | 95 | 20 | 16 | 1.1521 |  | 6.2 |  | 0.49036
2010-12 | LB14 | 30 | 94 | 30 | 15 | 2.2314 |  | 7 |  | 0.60162
2010-12 | LB14 | 30 | 93 | 50 | 14 | 3.1145 |  | 7.6 |  | 0.69266
2010-12 | LB14 | 30 | 92 | 75 | 13 | 3.7032 |  | 7.8 |  | 0.71289
2010-12 | LB14 | 30 | 91 | 100 | 12 | 8.2167 |  | 10.2 |  | 0.96576
2010-12 | LB14 | 30 | 90 | 125 | 11 | 22.8366 |  | 25.5 |  | 1.7851
2010-12 | LB14 | 30 | 89 | 150 | 10 | 24.2103 | f | 28.75 | f | 1.8003 | f
2010-12 | LB14 | 30 | 88 | 175 | 9 | 28.7238 |  | 36.3 |  | 2.0582
2010-12 | LB14 | 30 | 87 | 200 | 8 | 30.5881 |  | 40.6 |  | 2.1694
2010-12 | LB14 | 30 | 86 | 250 | 7 | 31.4712 |  | 43.1 |  | 2.2403
2010-12 | LB14 | 30 | 85 | 300 | 6 | 33.5317 |  | 49.8 |  | 2.3718
2010-12 | LB14 | 30 | 84 | 400 | 5 | 42.3625 |  | 76.8 |  | 3.0393
2010-12 | LB14 | 30 | 83 | 500 | 4 | 43.3437 |  | 88.5 | f | 3.1405 |  | Si Dup
2010-12 | LB14 | 30 | 82 | 750 | 3 | 45.1099 |  | 111 |  | 3.3023
2010-12 | LB14 | 30 | 81 | 1000 | 2 | 46.3854 |  | 130.5 |  | 3.2619
2010-12 | LB14 | 30 | 80 | 1183 | 1 | 46.6798 |  | 146.5 |  | 3.3428
2010-12 | LB15 | 31 | 98 | 5 | 1 | 2.722 |  | 7.2 |  | 0.61174
2010-12 | LB15 | 31 | LOOP |  |  | 2.6239 |  | 6.9 |  | 0.59151
2010-12 | LB16 | 32 | 99 | 5 | 1 | 3.6051 |  | 7.7 |  | 0.67243
2010-12 | LB16 | 32 | LOOP |  |  | 3.1145 |  | 6.8 |  | 0.60162
2010-12 | LC12 | 33 | 107 | 5 | 8 | 2.722 |  | 7.4 |  | 0.61174
2010-12 | LC12 | 33 | LOOP |  |  | 2.722 |  | 7.5 |  | 0.62186
2010-12 | LC11 | 37 | 126 | 5 | 19 | 1.2502 |  | 6.6 |  | 0.51059
2010-12 | LC11 | 37 | 125 | 10 | 18 | 1.7899 | f | 6.95 | f | 0.55611 | f
2010-12 | LC11 | 37 | 124 | 20 | 17 | 3.3107 |  | 7.6 |  | 0.66231
2010-12 | LC11 | 37 | 123 | 30 | 16 | 3.7032 |  | 8.2 |  | 0.71289
2010-12 | LC11 | 37 | 122 | 50 | 15 | 3.8013 |  | 8 |  | 0.72301
2010-12 | LC11 | 37 | 121 | 75 | 14 | 10.081 |  | 12.2 |  | 1.077
2010-12 | LC11 | 37 | 120 | 100 | 13 | 21.2667 |  | 23.7 |  | 1.6738
2010-12 | LC11 | 37 | 119 | 125 | 12 | 29.0182 |  | 34.2 |  | 2.129
2010-12 | LC11 | 37 | 118 | 150 | 11 | 29.2144 |  | 36.3 |  | 2.0885
2010-12 | LC11 | 37 | 117 | 175 | 10 | 29.2144 |  | 38.7 |  | 2.129
2010-12 | LC11 | 37 | 116 | 200 | 9 | 32.2561 | f | 44.35 | f | 2.2858 | f
2010-12 | LC11 | 37 | 115 | 250 | 8 | 36.9659 |  | 54.8 |  | 2.5842
2010-12 | LC11 | 37 | 114 | 300 | 7 | 37.849 |  | 60.7 |  | 2.6954
2010-12 | LC11 | 37 | 113 | 400 | 6 | 40.5963 |  | 77.1 |  | 2.8775
2010-12 | LC11 | 37 | 112 | 500 | 5 | 44.8155 |  | 89 |  | 3.1506 |  | poor frozen result, use cool for all
2010-12 | LC11 | 37 | 111 | 750 | 4 | 46.1892 |  | 113.6 |  | 3.3529
2010-12 | LC11 | 37 | 110 | 1000 | 3 | 46.876 |  | 133.5 | f | 3.3529 |  | SI Dup
2010-12 | LC11 | 37 | 109 | 1250 | 2 | 45.9929 |  | 145.9 |  | 3.2619
2010-12 | LC11 | 37 | 108 | 1490 | 1 | 46.5817 |  | 160.3 |  | 3.2619
2010-12 | LC09/A3 | 39 | 142 | 5 | 16 | 0.85774 |  | 6.7 |  | 0.46002
2010-12 | LC09/A3 | 39 | 141 | 10 | 15 | 0.85774 |  | 6.6 |  | 0.47013
2010-12 | LC09/A3 | 39 | 140 | 20 | 14 | 2.2314 |  | 6.8 |  | 0.60162
2010-12 | LC09/A3 | 39 | 139 | 30 | 13 | 2.722 |  | 7.1 |  | 0.64209
2010-12 | LC09/A3 | 39 | 138 | 50 | 12 | 4.9788 | f | 8.7 | f | 0.79887 | f
2010-12 | LC09/A3 | 39 | 137 | 75 | 11 | 9.2961 |  | 11.3 |  | 1.0062
2010-12 | LC09/A3 | 39 | 136 | 100 | 10 | 23.4253 |  | 26.6 |  | 1.7952
2010-12 | LC09/A3 | 39 | 135 | 125 | 9 | 28.2332 |  | 33.9 |  | 2.0481
2010-12 | LC09/A3 | 39 | 134 | 150 | 8 | 31.0787 |  | 40.3 |  | 2.129
2010-12 | LC09/A3 | 39 | 133 | 175 | 7 | 32.5505 |  | 43.7 |  | 2.1998
2010-12 | LC09/A3 | 39 | 132 | 200 | 6 | 34.5129 |  | 48.8 |  | 2.4223
2010-12 | LC09/A3 | 39 | 131 | 250 | 5 | 36.8678 |  | 56.1 |  | 2.5943
2010-12 | LC09/A3 | 39 | 130 | 300 | 4 | 39.8114 |  | 65.5 |  | 2.7359
2010-12 | LC09/A3 | 39 | 129 | 400 | 3 | 43.3437 |  | 78.4 |  | 3.0191 |  | stored cool
2010-12 | LC09/A3 | 39 | 128 | 500 | 2 | 44.5211 | f | 87.05 | f | 3.1506 | f | stored cool
2010-12 | LC09/A3 | 39 | 127 | 600 | 1 | 45.9929 |  | 100.8 |  | 3.2821 |  | stored cool
2010-12 | LC08 | 43 | 153 | 5 | 11 | 0.6615 |  | 6.6 |  | 0.41956
2010-12 | LC08 | 43 | 152 | 10 | 10 | 0.6615 |  | 6.4 |  | 0.42967
2010-12 | LC08 | 43 | 151 | 20 | 9 | 1.7408 |  | 6.8 |  | 0.51059
2010-12 | LC08 | 43 | 150 | 30 | 8 | 2.5258 |  | 7.1 |  | 0.57128
2010-12 | LC08 | 43 | 149 | 50 | 7 | 4.1448 | f | 8 | f | 0.74323 | f
2010-12 | LC08 | 43 | 148 | 75 | 6 | 10.866 |  | 13.3 |  | 1.1074
2010-12 | LC08 | 43 | 147 | 100 | 5 | 22.7385 |  | 26.8 |  | 1.7952
2010-12 | LC08 | 43 | 146 | 125 | 4 | 28.7238 |  | 35.7 |  | 2.1189
2010-12 | LC08 | 43 | 145 | 150 | 3 | 31.8637 |  | 42 |  | 2.3009
2010-12 | LC08 | 43 | 144 | 175 | 2 | 33.2373 | f | 45.75 | f | 2.3616 | f
2010-12 | LC08 | 43 | 143 | 192 | 1 | 34.4148 |  | 48.7 |  | 2.4426
2010-12 | LC06 | 46 | 160 | 5 | 7 | 1.6427 |  | 6.8 |  | 0.50048
2010-12 | LC06 | 46 | 158 | 10 | 6 | 1.7408 |  | 6.7 |  | 0.50048
2010-12 | LC06 | 46 | 158 | 20 | 5 | 1.7408 | f | 6.7 | f | 0.51565 | f
2010-12 | LC06 | 46 | 157 | 30 | 4 | 2.6239 |  | 7.2 |  | 0.60162
2010-12 | LC06 | 46 | 156 | 50 | 3 | 14.8889 |  | 20.2 |  | 1.34
2010-12 | LC06 | 46 | 155 | 75 | 2 | 18.5193 |  | 23.9 |  | 1.5626
2010-12 | LC06 | 46 | 154 | 84 | 1 | 23.2291 |  | 31.4 |  | 1.8458
2010-12 | LC05 | 49 | 161 | 5 | 1 |  | i |  | i |  | i | missing
2010-12 | LC04 | 50 | 170 | 5 | 9 | 2.0352 |  | 7.2 |  | 0.47013
2010-12 | LC04 | 50 | 169 | 10 | 8 | 2.1333 |  | 7.4 |  | 0.55105
2010-12 | LC04 | 50 | 168 | 20 | 7 | 11.2585 |  | 18.3 |  | 1.158
2010-12 | LC04 | 50 | 167 | 30 | 6 | 16.3607 |  | 24.5 |  | 1.4917
2010-12 | LC04 | 50 | 166 | 50 | 5 | 18.4212 | f | 25.35 | f | 1.5727 | f
2010-12 | LC04 | 50 | 165 | 75 | 4 | 19.5987 |  | 27 |  | 1.6637
2010-12 | LC04 | 50 | 164 | 100 | 3 | 22.1498 |  | 30.9 |  | 1.8255
2010-12 | LC04 | 50 | 163 | 125 | 2 | 24.3084 |  | 34.4 |  | 1.9671
2010-12 | LC04 | 50 | 162 | 150 | 1 | 25.3877 |  | 36.6 |  | 2.0481
2010-12 | LC02 | 52 | 178 | 5 | 7 | 5.0769 |  | 9.1 |  | 0.77358
2010-12 | LC02 | 52 | 177 | 10 | 6 | 4.5863 |  | 8.4 |  | 0.71289
2010-12 | LC02 | 52 | 176 | 20 | 5 | 6.3525 |  | 11.4 |  | 0.84439
2010-12 | LC02 | 52 | 175 | 30 | 4 | 9.8848 |  | 16.2 |  | 1.0568
2010-12 | LC02 | 52 | 174 | 50 | 3 | 17.1947 | f | 25.35 | f | 1.5221 | f
2010-12 | LC02 | 52 | 173 | 75 | 2 | 23.7197 |  | 34.3 |  | 1.9368
2010-12 | LC02 | 52 | 172 | 96 | 1 | 21.4629 |  | 30.2 |  | 1.7649
2010-12 | LC01 | 53 | 185 | 5 | 7 | 5.0769 |  | 9 |  | 0.75335
2010-12 | LC01 | 53 | 184 | 10 | 6 | 5.7637 |  | 10.1 |  | 0.80393
2010-12 | LC01 | 53 | 183 | 20 | 5 | 10.5226 | f | 17.45 | f | 1.1377 | f
2010-12 | LC01 | 53 | 182 | 30 | 4 | 12.7303 |  | 20.4 |  | 1.2692
2010-12 | LC01 | 53 | 181 | 50 | 3 | 15.2814 |  | 23.4 |  | 1.4209
2010-12 | LC01 | 53 | 180 | 75 | 2 | 19.6968 |  | 30.9 |  | 1.7547
2010-12 | LC01 | 53 | 179 | 86 | 1 | 21.7573 |  | 34.4 |  | 1.9267
2010-12 | LD01 | 54 | 189 | 5 | 4 | 0.95586 |  | 2 |  | 0.46002
2010-12 | LD01 | 54 | 188 | 10 | 3 |  | i |  | i |  | i | missing
2010-12 | LD01 | 54 | 187 | 20 | 2 | 10.866 | f | 17.6 | f | 1.254 | f
2010-12 | LD01 | 54 | 186 | 30 | 1 | 16.0663 |  | 26.4 |  | 1.5727
2010-12 | LD02 | 55 | 193 | 5 | 4 | 1.6427 |  | 3.3 |  | 0.56117
2010-12 | LD02 | 55 | 192 | 10 | 3 | 1.7408 |  | 3.4 |  | 0.60162
2010-12 | LD02 | 55 | 191 | 20 | 2 | 10.2773 |  | 16.7 |  | 1.2389
2010-12 | LD02 | 55 | 190 | 30 | 1 | 12.2887 | f | 19.85 | f | 1.34 | f
2010-12 | LD04 | 58 | 198 | 5 | 5 | 3.7032 |  | 7.1 |  | 0.61174
2010-12 | LD04 | 58 | 197 | 10 | 4 | 4.1938 |  | 7.7 |  | 0.68254
2010-12 | LD04 | 58 | 196 | 20 | 3 | 7.1374 | f | 12 | f | 0.90002 | f
2010-12 | LD04 | 58 | 195 | 30 | 2 | 15.5757 |  | 23.8 |  | 1.4311
2010-12 | LD04 | 58 | 194 | 53 | 1 | 18.1269 |  | 27.6 |  | 1.6232
2010-12 | LD06 | 61 | 206 | 5 | 8 | 1.2502 |  | 5.3 |  | 0.39932
2010-12 | LD06 | 61 | 205 | 10 | 7 | 1.2502 |  | 5.1 |  | 0.43978
2010-12 | LD06 | 61 | 204 | 20 | 6 | 1.2502 |  | 5.1 |  | 0.43978
2010-12 | LD06 | 61 | 203 | 30 | 5 | 1.3974 | f | 5.35 | f | 0.46002 | f
2010-12 | LD06 | 61 | 202 | 50 | 4 | 13.8096 |  | 18.2 |  | 1.2288
2010-12 | LD06 | 61 | 201 | 75 | 3 | 15.4776 | d | 20.3 | d | 1.3602 | d | all samples suggest closed above intended level
2010-12 | LD06 | 61 | 200 | 100 | 2 | 27.0558 |  | 37.5 |  | 2.0278
2010-12 | LD06 | 61 | 199 | 125 | 1 | 29.5088 |  | 41.7 |  | 2.2099
2010-12 | LD08 | 63 | 222 | 5 | 16 | 0.85774 |  | 6.7 |  | 0.38921
2010-12 | LD08 | 63 | 221 | 10 | 15 | 0.75962 |  | 6.3 |  | 0.42967
2010-12 | LD08 | 63 | 220 | 20 | 14 | 0.75962 |  | 6.7 |  | 0.41956
2010-12 | LD08 | 63 | 219 | 30 | 13 | 1.6918 | f | 6.9 | f | 0.55611 | f
2010-12 | LD08 | 63 | 218 | 50 | 12 | 7.7261 |  | 10 |  | 0.88484
2010-12 | LD08 | 63 | 217 | 75 | 11 | 12.3378 |  | 15.2 |  | 1.1478
2010-12 | LD08 | 63 | 216 | 100 | 10 | 19.7949 |  | 23.5 |  | 1.5929
2010-12 | LD08 | 63 | 215 | 125 | 9 | 27.3501 |  | 33.1 |  | 1.9773
2010-12 | LD08 | 63 | 214 | 150 | 8 | 31.4712 |  | 40.6 |  | 2.2099
2010-12 | LD08 | 63 | 213 | 175 | 7 | 31.5693 | f | 42.15 | f | 2.2554 | f
2010-12 | LD08 | 63 | 212 | 200 | 6 | 33.0411 |  | 46.9 |  | 2.3009
2010-12 | LD08 | 63 | 211 | 250 | 5 | 36.1809 |  | 56.1 |  | 2.5741
2010-12 | LD08 | 63 | 210 | 300 | 4 | 39.9095 |  | 66.4 |  | 2.7966
2010-12 | LD08 | 63 | 209 | 400 | 3 | 42.4606 |  | 77.4 | f | 3.0191 |  | Si dup
2010-12 | LD08 | 63 | 208 | 500 | 2 | 42.1663 |  | 89.7 |  | 3.0292
2010-12 | LD08 | 63 | 207 | 755 | 1 |  | e |  | e |  | e | Niskin did not close
2010-12 | LD09 | 64 | LOOP |  |  | 0.95586 |  | 6.5 |  | 0.43978
2010-12 | LD09 | 64 | 239 | 5 | 17 | 0.85774 |  | 6.6 |  | 0.46002
2010-12 | LD09 | 64 | 238 | 10 | 16 | 0.85774 | f | 6.3 | f | 0.46002 | f
2010-12 | LD09 | 64 | 237 | 20 | 15 | 0.75962 |  | 6.7 |  | 0.48024
2010-12 | LD09 | 64 | 236 | 30 | 14 | 1.4465 |  | 6.7 |  | 0.5207
2010-12 | LD09 | 64 | 235 | 50 | 13 | 5.2731 |  | 8 |  | 0.76346
2010-12 | LD09 | 64 | 234 | 75 | 12 | 9.7867 |  | 12 |  | 1.0467
2010-12 | LD09 | 64 | 233 | 100 | 11 | 21.5611 |  | 25.9 |  | 1.7446
2010-12 | LD09 | 64 | 232 | 125 | 10 | 27.1048 | f | 33.9 | f | 2.0582 | f
2010-12 | LD09 | 64 | 231 | 150 | 9 | 30.3919 |  | 39.4 |  | 2.1998
2010-12 | LD09 | 64 | 230 | 175 | 8 | 31.7655 |  | 44 |  | 2.2605
2010-12 | LD09 | 64 | 229 | 200 | 7 | 34.1204 |  | 49.4 |  | 2.4324
2010-12 | LD09 | 64 | 228 | 250 | 6 | 35.7885 |  | 56 |  | 2.5639
2010-12 | LD09 | 64 | 227 | 300 | 5 | 36.3772 |  | 58.7 |  | 2.655
2010-12 | LD09 | 64 | 226 | 400 | 4 | 40.302 |  | 76.3 |  | 2.9685
2010-12 | LD09 | 64 | 225 | 500 | 3 | 44.374 |  | 87.05 |  | 3.1455 |  | stored cool
2010-12 | LD09 | 64 | 224 | 750 | 2 | 46.6798 |  | 111.2 |  | 3.3226 |  | stored cool
2010-12 | LD09 | 64 | 223 | 1051 | 1 | 47.2685 |  | 140.7 |  | 3.3529 |  | stored cool
2010-12 | LD11 | 67 | 259 | 5 | 20 | 1.054 |  | 6.6 |  | 0.49036
2010-12 | LD11 | 67 | 258 | 10 | 19 | 1.054 |  | 6.6 |  | 0.48024
2010-12 | LD11 | 67 | 257 | 20 | 18 | 1.054 |  | 6.7 |  | 0.49036
2010-12 | LD11 | 67 | 256 | 30 | 17 | 2.0352 |  | 6.9 |  | 0.60162
2010-12 | LD11 | 67 | 255 | 50 | 16 | 4.7825 |  | 8.3 |  | 0.7837
2010-12 | LD11 | 67 | 254 | 75 | 15 | 14.0058 |  | 16.6 |  | 1.249
2010-12 | LD11 | 67 | 253 | 100 | 14 | 23.2291 |  | 27 |  | 1.7952
2010-12 | LD11 | 67 | 252 | 125 | 13 | 27.6445 |  | 33.7 |  | 1.9975
2010-12 | LD11 | 67 | 251 | 150 | 12 | 29.6069 |  | 38.4 |  | 2.1492
2010-12 | LD11 | 67 | 250 | 175 | 11 | 30.5881 |  | 41.8 |  | 2.1998
2010-12 | LD11 | 67 | 249 | 200 | 10 | 33.5317 |  | 47.5 |  | 2.3718
2010-12 | LD11 | 67 | 248 | 250 | 9 | 36.4753 |  | 55.6 |  | 2.5943
2010-12 | LD11 | 67 | 247 | 300 | 8 | 39.3208 |  | 64.1 |  | 2.7966
2010-12 | LD11 | 67 | 246 | 400 | 7 | 42.4606 | f | 78.1 |  | 3.009 | f | no cool Si dup
2010-12 | LD11 | 67 | 245 | 500 | 6 | 43.6381 |  | 90.7 |  | 3.1405
2010-12 | LD11 | 67 | 244 | 750 | 5 | 44.9136 |  | 112.6 |  | 3.2821
2010-12 | LD11 | 67 | 243 | 1000 | 4 | 45.5023 | f | 130.4 |  | 3.3124 | f | no cool Si dup
2010-12 | LD11 | 67 | 242 | 1250 | 3 | 46.0911 |  | 146.9 |  | 3.3124
2010-12 | LD11 | 67 | 241 | 1500 | 2 | 46.9741 | c | 162.1 | c | 3.2518 | c | Salt crystals on tube rim
2010-12 | LD11 | 67 | 240 | 1580 | 1 | -96.9679 | e | -99 | e | -100.0932 | e | no cool Si dup; all samples suggest botle closed well above intended level
2010-12 | LG09 | 69 | 280 | 5 | 21 | 0.1709 |  | 6.6 |  | 0.41956
2010-12 | LG09 | 69 | 279 | 10 | 20 | 0.1709 |  | 6.6 |  | 0.39932
2010-12 | LG09 | 69 | 278 | 20 | 19 | 0.1709 | f | 6.55 | f | 0.43473 | f
2010-12 | LG09 | 69 | 277 | 30 | 18 | 0.1709 |  | 6.6 |  | 0.42967
2010-12 | LG09 | 69 | 276 | 50 | 17 | 7.3337 |  | 9.8 |  | 0.89496
2010-12 | LG09 | 69 | 275 | 75 | 16 | 13.2209 |  | 15.2 |  | 1.2186
2010-12 | LG09 | 69 | 274 | 100 | 15 | 23.3272 |  | 27 |  | 1.7649
2010-12 | LG09 | 69 | 273 | 125 | 14 | 28.4295 |  | 34.3 |  | 2.038
2010-12 | LG09 | 69 | 272 | 150 | 13 | 31.7655 |  | 40.8 |  | 2.2099
2010-12 | LG09 | 69 | 271 | 175 | 12 | 32.0599 | f | 42.6 | f | 2.2504 | f
2010-12 | LG09 | 69 | 270 | 200 | 11 | 33.1392 |  | 46 |  | 2.2706
2010-12 | LG09 | 69 | 269 | 250 | 10 | 34.8073 |  | 53.5 |  | 2.3313
2010-12 | LG09 | 69 | 268 | 300 | 9 | 37.9471 |  | 61.6 |  | 2.6145
2010-12 | LG09 | 69 | 267 | 400 | 8 | 41.1851 |  | 75.4 | f | 2.8977 |  | Si dup
2010-12 | LG09 | 69 | 266 | 500 | 7 | 43.6381 |  | 86.1 |  | 3.0393
2010-12 | LG09 | 69 | 265 | 750 | 6 | 45.8948 |  | 113 |  | 3.3226
2010-12 | LG09 | 69 | 264 | 1000 | 5 | 46.4835 |  | 131.4 |  | 3.272
2010-12 | LG09 | 69 | 263 | 1250 | 4 | 46.5817 |  | 146.3 |  | 3.2922
2010-12 | LG09 | 69 | 262 | 1500 | 3 | 45.9929 |  | 161.5 | f | 3.2416 |  | Si dup
2010-12 | LG09 | 69 | 261 | 1750 | 2 | 45.208 |  | 169.8 |  | 3.181
2010-12 | LG09 | 69 | 260 | 2005 | 1 | 43.8343 |  | 177.5 |  | 3.1
2010-12 | LG08 | 70 | 288 | 5 | 8 | 0.36714 |  | 6.8 |  | 0.41956
2010-12 | LG08 | 70 | LOOP |  |  | 0.36714 |  | 6.8 |  | 0.39932
2010-12 | LG06 | 74 | 305 | 5 | 17 | 3.0164 |  | 8.1 |  | 0.62186
2010-12 | LG06 | 74 | 304 | 10 | 16 | 2.722 |  | 7.9 |  | 0.63197
2010-12 | LG06 | 74 | 303 | 20 | 15 | 2.9183 |  | 8.1 |  | 0.63197
2010-12 | LG06 | 74 | 302 | 30 | 14 | 2.9183 |  | 8.1 |  | 0.64209
2010-12 | LG06 | 74 | 301 | 50 | 13 | 5.2731 |  | 9.4 |  | 0.81404
2010-12 | LG06 | 74 | 300 | 75 | 12 | 9.5414 | f | 12.85 | f | 1.0619 | f
2010-12 | LG06 | 74 | 299 | 100 | 11 | 21.5611 |  | 24.8 |  | 1.7042
2010-12 | LG06 | 74 | 298 | 125 | 10 | 27.9389 |  | 34.2 |  | 2.0885
2010-12 | LG06 | 74 | 297 | 150 | 9 | 31.1768 |  | 40.6 |  | 2.2706
2010-12 | LG06 | 74 | 296 | 175 | 8 | 33.0411 |  | 45.9 |  | 2.3718
2010-12 | LG06 | 74 | 295 | 200 | 7 | 34.1204 |  | 49.4 |  | 2.4527
2010-12 | LG06 | 74 | 294 | 250 | 6 | 36.5734 |  | 57 |  | 2.5943
2010-12 | LG06 | 74 | 293 | 300 | 5 | 38.4377 |  | 62.3 |  | 2.7359
2010-12 | LG06 | 74 | 292 | 400 | 4 | 42.1663 | f | 77.15 | f | 2.9584 | f | "Cool" samples were frozen therefore reps
2010-12 | LG06 | 74 | 291 | 500 | 3 | 43.8834 | f | 88.35 | f | 3.1354 | f | "Cool" samples were frozen therefore dups
2010-12 | LG06 | 74 | 290 | 750 | 2 | 46.042 | f | 111.5 | f | 3.3226 | f | "Cool" samples were frozen therefore dups
2010-12 | LG06 | 74 | 289 | 950 | 1 | 46.0911 | f | 128.7 | f | 3.1961 | f | "Cool" samples were frozen therefore dups
2010-12 | LG04 | 76 | 314 | 5 | 8 | 0.36714 |  | 3.1 |  | 0.38921
2010-12 | LG04 | 76 | 313 | 10 | 7 | 0.26902 |  | 3.4 |  | 0.40944
2010-12 | LG04 | 76 | 312 | 20 | 6 | 1.6427 |  | 7.2 |  | 0.56117
2010-12 | LG04 | 76 | 311 | 30 | 5 | 1.8389 |  | 7.6 |  | 0.55105
2010-12 | LG04 | 76 | 310 | 50 | 4 | 14.8889 |  | 21.5 |  | 1.4108
2010-12 | LG04 | 76 | 309 | 75 | 3 | 17.9306 |  | 21.5 |  | 1.5322
2010-12 | LG04 | 76 | 308 | 100 | 2 | 27.9879 | f | 34.15 | f | 2.0885 | f
2010-12 | LG04 | 76 | 307 | 135 | 1 | 31.4712 |  | 44.4 |  | 2.3616
2010-12 | LG02 | 79 | LOOP |  |  | 1.8389 |  | 6.1 |  | 0.5207
2010-12 | LG02 | 79 | 322 | 5 | 7 | 2.6239 |  | 6.8 |  | 0.70278
2010-12 | LG02 | 79 | 321 | 10 | 6 | 2.4277 |  | 6.4 |  | 0.59151
2010-12 | LG02 | 79 | 320 | 20 | 5 | 2.722 |  | 6.3 |  | 0.60162
2010-12 | LG02 | 79 | 319 | 30 | 4 | 3.2126 |  | 7.9 |  | 0.66231
2010-12 | LG02 | 79 | 318 | 50 | 3 | 10.7188 | f | 13.85 | f | 1.1023 | f
2010-12 | LG02 | 79 | 317 | 75 | 2 | 19.2062 |  | 26.8 |  | 1.6637
2010-12 | LG02 | 79 | 316 | 90 | 1 | 20.2855 |  | 28.4 |  | 1.7446
2010-12 | LG01 | 81 | 327 | 5 | 5 | 1.7408 |  | 6.1 |  | 0.54094
2010-12 | LG01 | 81 | 326 | 10 | 4 | 1.1521 | f | 5.1 | f | 0.4853 | f
2010-12 | LG01 | 81 | 325 | 20 | 3 | 1.6427 |  | 5.5 |  | 0.51059
2010-12 | LG01 | 81 | 324 | 30 | 2 | 12.6321 |  | 19.5 |  | 1.2894
2010-12 | LG01 | 81 | 323 | 40 | 1 | 11.6509 |  | 17.8 |  | 1.2186
2010-12 | LBP3 | 85 | 342 | 5 | 10 | 4.4882 |  | 8.7 |  | 0.73312
2010-12 | LBP3 | 85 | 341 | 10 | 9 | 4.3901 |  | 8.5 |  | 0.72301
2010-12 | LBP3 | 85 | 340 | 20 | 8 | 5.0769 |  | 9.6 |  | 0.77358
2010-12 | LBP3 | 85 | 339 | 30 | 7 | 5.3713 |  | 9.8 |  | 0.80393
2010-12 | LBP3 | 85 | 338 | 50 | 6 | 7.628 |  | 12.9 |  | 0.93542
2010-12 | LBP3 | 85 | 337 | 75 | 5 | 20.2855 |  | 29.6 |  | 1.6738
2010-12 | LBP3 | 85 | 336 | 100 | 4 | 26.1727 |  | 36.9 |  | 1.9975
2010-12 | LBP3 | 85 | 335 | 125 | 3 | 30.2937 |  | 43.5 |  | 2.1897
2010-12 | LBP3 | 85 | 334 | 150 | 2 | 32.943 |  | 47.3 |  | 2.4021
2010-12 | LBP3 | 85 | 333 | 163 | 1 | -96.9679 | e | -99 | e | -9.0582 | e | all samples suggest closed well above intended level
2010-12 | LBP5 | 88 | 362 | 5 | 18 | 3.4089 |  | 7.2 |  | 0.62186
2010-12 | LBP5 | 88 | 361 | 10 | 17 | 3.507 |  | 7.2 |  | 0.6522
2010-12 | LBP5 | 88 | 360 | 20 | 16 | 3.6051 |  | 7.3 |  | 0.68254
2010-12 | LBP5 | 88 | 359 | 30 | 15 | 4.3901 |  | 8.2 |  | 0.75335
2010-12 | LBP5 | 88 | 358 | 50 | 14 | 9.4923 |  | 15.2 |  | 1.0871
2010-12 | LBP5 | 88 | 357 | 75 | 13 | 18.9609 | f | 26.1 | f | 1.603 | f
2010-12 | LBP5 | 88 | 356 | 100 | 12 | 28.3313 |  | 38 |  | 2.129
2010-12 | LBP5 | 88 | 355 | 125 | 11 | 30.2937 |  | 41 |  | 2.2301
2010-12 | LBP5 | 88 | 354 | 150 | 10 | 31.9618 |  | 43.8 |  | 3.2619 | c
2010-12 | LBP5 | 88 | 353 | 175 | 9 | 33.6298 |  | 48.3 |  | 2.4122
2010-12 | LBP5 | 88 | 352 | 200 | 8 | 33.4336 |  | 49.9 |  | 2.4223
2010-12 | LBP5 | 88 | 351 | 250 | 7 | 36.0828 |  | 56.1 |  | 2.4931
2010-12 | LBP5 | 88 | 350 | 300 | 6 | 36.1809 |  | 56.1 |  | 2.5842
2010-12 | LBP5 | 88 | 349 | 400 | 5 | 38.3396 |  | 78.1 |  | 2.7561
2010-12 | LBP5 | 88 | 348 | 500 | 4 | 41.8719 |  | 88.8 |  | 3.009
2010-12 | LBP5 | 88 | 347 | 750 | 3 | 43.1475 |  | 116.2 | f | 3.1506 |  | SI cool dup
2010-12 | LBP5 | 88 | 346 | 1000 | 2 | 45.0117 |  | 137.3 |  | 3.3124
2010-12 | LBP5 | 88 | 345 | 1276 | 1 | 45.5023 |  | 133.6 |  | 3.3428 |  | no cool Si
2010-12 | LBP6 | 90 | 364 | 5 | 2 | 2.722 |  | 7 |  | 0.56117
2010-12 | LBP6 | 90 | LOOP |  |  | 2.8201 |  | 7 |  | 0.55105
2010-12 | LBP7 | 91 | 385 | 5 | 21 | 2.4277 |  | 7.1 |  | 0.56117
2010-12 | LBP7 | 91 | 384 | 10 | 20 | 2.6239 |  | 7.6 |  | 0.60162
2010-12 | LBP7 | 91 | 383 | 20 | 19 | 2.9183 |  | 7.9 |  | 0.64209
2010-12 | LBP7 | 91 | 382 | 30 | 18 | 6.5487 |  | 10 |  | 0.87473
2010-12 | LBP7 | 91 | 381 | 50 | 17 | 8.0205 |  | 10.9 |  | 0.93542
2010-12 | LBP7 | 91 | 380 | 75 | 16 | 16.2626 |  | 21.8 |  | 1.4412
2010-12 | LBP7 | 91 | 379 | 100 | 15 | 22.0517 |  | 27.5 |  | 1.7446
2010-12 | LBP7 | 91 | 378 | 125 | 14 | 25.8783 |  | 33.8 |  | 1.9065
2010-12 | LBP7 | 91 | 377 | 150 | 13 | 27.5464 |  | 36.8 |  | 1.9975
2010-12 | LBP7 | 91 | 376 | 175 | 12 | 28.4295 |  | 40.2 |  | 2.0582
2010-12 | LBP7 | 91 | 375 | 200 | 11 | 29.8031 |  | 43.8 |  | 2.129
2010-12 | LBP7 | 91 | 374 | 250 | 10 | 34.8073 |  | 54.7 |  | 2.483
2010-12 | LBP7 | 91 | 373 | 300 | 9 | 36.2791 |  | 62 |  | 2.5437
2010-12 | LBP7 | 91 | 372 | 400 | 8 | 40.9888 |  | 75.9 |  | 2.9787
2010-12 | LBP7 | 91 | 372 | 400 | 8 | 40.4982 |  | 75 |  | 2.9483
2010-12 | LBP7 | 91 | 371 | 500 | 7 | 43.1475 | f | 91.55 | f | 3.0849 | f | "Cool" samples were frozen therefore reps
2010-12 | LBP7 | 91 | 370 | 750 | 6 | 45.0117 | f | 113.15 | f | 3.3023 | f | "Cool" samples were frozen therefore dups
2010-12 | LBP7 | 91 | 369 | 1000 | 5 | 45.3552 | f | 131.65 | f | 3.3681 | f | "Cool" samples were frozen therefore dups
2010-12 | LBP7 | 91 | 368 | 1250 | 4 | 45.3061 | f | 146.1 | f | 3.3226 | f | "Cool" samples were frozen therefore dups
2010-12 | LBP7 | 91 | 367 | 1500 | 3 | 44.7174 | f | 160.05 | f | 3.2164 | f | "Cool" samples were frozen therefore dups
2010-12 | LBP7 | 91 | 366 | 2000 | 2 | 42.8531 | f | 173.75 | f | 3.0899 | f | "Cool" samples were frozen therefore dups
2010-12 | LBP7 | 91 | 365 | 2000 | 1 | 42.4116 | f | 172.85 | f | 3.0798 | f | "Cool" samples were frozen therefore dups
2010-12 | CS00 | 99 | 417 | 5 | 20 | 3.7032 |  | 8.2 |  | 0.67243
2010-12 | CS00 | 99 | 416 | 10 | 19 | 3.7032 |  | 8.2 |  | 0.69266
2010-12 | CS00 | 99 | 415 | 20 | 18 | 3.7032 |  | 8.3 |  | 0.68254
2010-12 | CS00 | 99 | 414 | 30 | 17 | 4.2919 |  | 9.5 |  | 0.74323
2010-12 | CS00 | 99 | 413 | 50 | 16 | 6.6468 |  | 11.7 |  | 0.90507
2010-12 | CS00 | 99 | 412 | 75 | 15 | 7.628 | f | 12.4 | f | 0.97082 | f
2010-12 | CS00 | 99 | 411 | 100 | 14 | 11.0622 |  | 14.8 |  | 1.0366
2010-12 | CS00 | 99 | 410 | 125 | 13 | 26.0746 |  | 37.1 |  | 2.0278
2010-12 | CS00 | 99 | 409 | 150 | 12 | 32.158 |  | 48.8 |  | 2.3819
2010-12 | CS00 | 99 | 408 | 175 | 11 | 34.4148 |  | 54.1 |  | 2.5134
2010-12 | CS00 | 99 | 407 | 200 | 10 | 35.8866 |  | 57.4 |  | 2.6044
2010-12 | CS00 | 99 | 406 | 250 | 9 | 38.0452 |  | 64.8 |  | 2.7359
2010-12 | CS00 | 99 | 405 | 300 | 8 | 39.8114 |  | 71.9 |  | 2.8269
2010-12 | CS00 | 99 | 404 | 400 | 7 | 41.97 |  | 83.4 |  | 3.0899
2010-12 | CS00 | 99 | 403 | 500 | 6 | 43.3437 |  | 94 |  | 3.1708
2010-12 | CS00 | 99 | 402 | 750 | 5 | 45.0117 |  | 118.9 |  | 3.3023
2010-12 | CS00 | 99 | 401 | 1000 | 4 | 45.5023 |  | 136.2 |  | 3.3124
2010-12 | CS00 | 99 | 400 | 1250 | 3 | 44.423 |  | 105.5 | fc | 3.2315 |  | SI cool dup, strange Si value
2010-12 | CS00 | 99 | 399 | 1500 | 2 | 45.0117 |  | 161.9 |  | 3.2619
2010-12 | CS00 | 99 | 398 | 2000 | 1 | 43.0493 |  | 174 |  | 2.9989
2010-12 | CS02 | 104 | 434 | 5 | 17 | 3.9976 |  | 7.4 |  | 0.68254
2010-12 | CS02 | 104 | 433 | 10 | 16 | 4.0957 |  | 7.4 |  | 0.70278
2010-12 | CS02 | 104 | 432 | 20 | 15 | 4.0957 |  | 7.4 |  | 0.70278
2010-12 | CS02 | 104 | 431 | 30 | 14 | 4.1938 |  | 7.9 |  | 0.72301
2010-12 | CS02 | 104 | 430 | 50 | 13 | 7.8243 |  | 13 |  | 0.97588
2010-12 | CS02 | 104 | 429 | 75 | 12 | 11.9944 | f | 15.85 | f | 1.1731 | f
2010-12 | CS02 | 104 | 428 | 100 | 11 | 23.9159 |  | 34.6 |  | 1.8963
2010-12 | CS02 | 104 | 427 | 125 | 10 | 29.5088 |  | 42.4 |  | 2.22
2010-12 | CS02 | 104 | 426 | 150 | 9 | 31.1768 |  | 44.6 |  | 2.2605
2010-12 | CS02 | 104 | 425 | 175 | 8 | 32.6486 |  | 48.6 |  | 2.3616
2010-12 | CS02 | 104 | 424 | 200 | 7 |  | i |  | i |  | i | missing
2010-12 | CS02 | 104 | 423 | 250 | 6 | 36.2791 |  | 58.7 |  | 2.6449
2010-12 | CS02 | 104 | 422 | 300 | 5 | 38.2415 |  | 67.6 |  | 2.7662
2010-12 | CS02 | 104 | 421 | 400 | 4 | 41.0869 |  | 78.6 |  | 2.9989
2010-12 | CS02 | 104 | 420 | 500 | 3 | 42.9512 |  | 90 | f | 3.2214 |  | Si cool dup
2010-12 | CS02 | 104 | 419 | 750 | 2 | 44.5211 |  | 114.6 |  | 3.3327
2010-12 | CS02 | 104 | 418 | 1000 | 1 | 45.4042 |  | 134.6 |  | 3.363
2010-12 | CS04 | 108 | 443 | 5 | 7 | 3.7032 |  | 8.8 |  | 0.63197
2010-12 | CS04 | 108 | 442 | 10 | 6 | 3.8995 |  | 9.1 |  | 0.66231
2010-12 | CS04 | 108 | 441 | 20 | 5 | 3.8995 |  | 8.2 |  | 0.63197
2010-12 | CS04 | 108 | 440 | 30 | 4 | 5.3713 | f | 10.3 | f | 0.78875 | f
2010-12 | CS04 | 108 | 439 | 50 | 3 | 7.9224 |  | 13.8 |  | 0.96576
2010-12 | CS04 | 108 | 438 | 75 | 2 | 12.6321 |  | 19.3 |  | 1.249
2010-12 | CS04 | 108 | 437 | 90 | 1 | 15.5757 |  | 23.1 |  | 1.4108
2010-12 | CS06 | 116 | 449 | 5 | 6 | 2.722 |  | 6 |  | 0.61174
2010-12 | CS06 | 116 | 448 | 10 | 5 | 4.0957 |  | 7.8 |  | 0.75335
2010-12 | CS06 | 116 | 447 | 20 | 4 | 6.7449 |  | 11.9 |  | 0.97588
2010-12 | CS06 | 116 | 446 | 30 | 3 | 7.8243 | f | 13.1 | f | 1.0366 | f
2010-12 | CS06 | 116 | 445 | 50 | 2 | 11.9453 |  | 20.7 |  | 1.2793
2010-12 | CS06 | 116 | 444 | 56 | 1 | 11.7491 |  | 20.3 |  | 1.2793
2010-12 | CS09 | 122 | 460 | 5 | 11 | 1.1521 |  | 4.9 |  | 0.3791
2010-12 | CS09 | 122 | 459 | 10 | 10 | 1.9371 |  | 5.9 |  | 0.53082
2010-12 | CS09 | 122 | 458 | 20 | 9 | 7.3337 |  | 14.8 |  | 1.0669
2010-12 | CS09 | 122 | 457 | 30 | 8 | 12.485 | f | 23 | f | 1.4614 | f
2010-12 | CS09 | 122 | 456 | 50 | 7 | 15.0851 |  | 25.9 |  | 1.6131
2010-12 | CS09 | 122 | 455 | 75 | 6 | 19.1081 |  | 30.4 |  | 1.775
2010-12 | CS09 | 122 | 454 | 100 | 5 |  | e |  | e |  | e | Niskin did not trip
2010-12 | CS09 | 122 | 453 | 125 | 4 |  | e |  | e |  | e | Niskin did not trip
2010-12 | CS09 | 122 | 452 | 150 | 3 | 34.0223 |  | 57.5 |  | 2.5943
2010-12 | CS09 | 122 | 451 | 175 | 2 | 34.8073 |  | 62 |  | 2.4931
2010-12 | CS09 | 122 | 450 | 187 | 1 | 34.9054 |  | 62.1 |  | 2.6651
2010-12 | M6 | 126 | 461 | 5 | 1 | 4.5863 |  | 9.3 |  | 0.80393 |  | Stored cool instead of frozen
2010-12 | M6 | 126 | LOOP |  |  | 3.1145 |  | 6.8 |  | 0.59151 |  | Stored cool instead of frozen
2010-12 | M5 | 127 | 463 | 5 | 1 | 3.507 |  | 7.4 |  | 0.67243 |  | Stored cool instead of frozen
2010-12 | M5 | 127 | LOOP |  |  | 1.7408 |  | 4.5 |  | 0.41956
2010-12 | M4 | 128 | 464 | 5 | 1 | 2.6239 |  | 6.2 |  | 0.51059
2010-12 | M4 | 128 | LOOP |  |  | 0.46526 |  | 1.5 |  | 0.22737
2010-12 | M3 | 129 | 465 | 5 | 1 | 1.054 |  | 3.8 |  | 0.4499 |  | Stored cool instead of frozen
2010-12 | M3 | 129 | LOOP |  |  | 0.46526 |  | 1.5 |  | 0.19703
2010-12 | M2 | 130 | 466 | 5 | 1 | 3.8995 |  | 7.9 |  | 0.62186
2010-12 | M2 | 130 | LOOP |  |  | 1.7408 |  | 4.9 |  | 0.50048
2010-12 | UBC7 | 131 | 487 | 2 | 21 |  | i |  | i |  | i | missing
2010-12 | UBC7 | 131 | 481 | 7 | 15 | 3.4089 |  | 6.1 |  | 0.68254 |  | Stored cool instead of frozen
2010-12 | UBC7 | 131 | 476 | 12 | 10 | 7.1374 |  | 12.2 |  | 1.0062 |  | Stored cool instead of frozen
2010-12 | UBC7 | 131 | 475 | 20 | 9 | 11.8472 |  | 20.6 |  | 1.3198 |  | Stored cool instead of frozen
2010-12 | UBC7 | 131 | 473 | 30 | 7 | 13.1227 | f | 22.65 | f | 1.3653 | f | Stored cool instead of frozen
2010-12 | UBC7 | 131 | 472 | 50 | 6 | 17.9306 |  | 30 |  | 1.6232 |  | Stored cool instead of frozen
2010-12 | UBC7 | 131 | 471 | 75 | 5 | 21.9535 |  | 36.4 |  | 1.866 |  | Stored cool instead of frozen
2010-12 | UBC7 | 131 | 470 | 100 | 4 | 22.7385 |  | 36.9 |  | 1.9065 |  | Stored cool instead of frozen
2010-12 | UBC7 | 131 | 469 | 125 | 3 | -96.9679 | e | -99 | e | -100.0932 | e | Stored cool, all samples suggest bottle closed at surface
2010-12 | UBC7 | 131 | 467 | 151 | 1 | 26.4671 |  | 47.5 |  | 2.22 |  | Stored cool instead of frozen
2010-12 | Ri1 | 133 | 489 | 5 | 2 |  | i |  | i |  | i | missing
2010-12 | Ri1 | 133 | 490 | 30 | 1 | 13.9077 |  | 22.9 |  | 1.3501
2010-12 | Ri2 | 135 | 509 | 5 | 19 | 10.1791 |  | 13.2 |  | 1.0973
2010-12 | Ri2 | 135 | 502 | 12 | 12 | 15.6739 |  | 25.7 |  | 1.4917
2010-12 | Ri2 | 135 | 501 | 20 | 11 | 16.4588 |  | 26.5 |  | 1.5828
2010-12 | Ri2 | 135 | 500 | 30 | 10 | 17.7344 |  | 29.7 |  | 1.6435
2010-12 | Ri2 | 135 | 499 | 50 | 9 | 18.3231 |  | 30.9 |  | 1.7143
2010-12 | Ri2 | 135 | 498 | 75 | 8 | 19.1081 |  | 32.9 |  | 1.775
2010-12 | Ri2 | 135 | 497 | 100 | 7 | 22.1498 | f | 38.3 | f | 1.957 | f
2010-12 | Ri2 | 135 | 496 | 125 | 6 | 23.4253 |  | 40.2 |  | 2.0582
2010-12 | Ri2 | 135 | 495 | 150 | 5 | 24.7009 |  | 41.9 |  | 2.0885
2010-12 | Ri2 | 135 | 494 | 175 | 4 | 25.9765 |  | 44 |  | 2.1391
2010-12 | Ri2 | 135 | 493 | 200 | 3 | 26.9577 |  | 48.8 |  | 2.3111
2010-12 | Ri2 | 135 | 492 | 250 | 2 | 28.5276 |  | 57.1 |  | 2.4931
2010-12 | Ri2 | 135 | 491 | 320 | 1 |  | i |  | i |  | i | missing
2012-12 | Ri3 | 139 | 516 | 5 | 2 |  | i |  | i |  | i | missing
2012-12 | Ri3 | 139 | 517 | 30 | 3 |  | i |  | i |  | i | missing
2010-12 | Ri4 | 141 | 521 | 5 | 3 |  | i |  | i |  | i | missing
2010-12 | Ri4 | 141 | 520 | 30 | 2 |  | i |  | i |  | i | missing
2010-12 | Ri5 | 143 | 539 | 7 | 18 | 9.1979 |  | 10.5 |  | 1.0669 |  | mislabeled: called sample number 508
2010-12 | Ri5 | 143 | 534 | 12 | 13 | 17.3419 |  | 24.5 |  | 1.6435 |  | mislabeled: called sample number 503
2010-12 | Ri5 | 143 | 532 | 20 | 11 | 21.6592 |  | 33.8 |  | 1.9065 |  | mislabeled: called sample number 501
2010-12 | Ri5 | 143 | 531 | 30 | 10 | 21.6592 |  | 35.4 |  | 1.8963 |  | mislabeled: called sample number 500
2010-12 | Ri5 | 143 | 529 | 50 | 8 | 21.7573 |  | 36.4 |  | 1.9065 |  | mislabeled: called sample number 498
2010-12 | Ri5 | 143 | 528 | 75 | 7 | 23.8669 | f | 41.75 | f | 2.0531 | f | mislabeled: called sample number 497
2010-12 | Ri5 | 143 | 527 | 100 | 6 | 24.8971 |  | 44.4 |  | 2.1796 |  | mislabeled: called sample number 496
2010-12 | Ri5 | 143 | 526 | 125 | 5 | 24.4065 |  | 44.3 |  | 2.1593 |  | mislabeled: called sample number 495
2010-12 | Ri5 | 143 | 525 | 150 | 4 | 25.7802 |  | 47 |  | 2.1998 |  | mislabeled: called sample number 494
2010-12 | Ri5 | 143 | 524 | 175 | 3 | 24.1122 |  | 47.4 |  | 2.3212 |  | mislabeled: called sample number 493
2010-12 | Ri5 | 143 | 523 | 190 | 2 | 24.7009 |  | 49.1 |  | 2.3616 |  | mislabeled: called sample number 492
2010-12 | Ri6 | 146 | 548 | 5 | 3 | 8.6092 |  | 9.3 |  | 1.0265
2010-12 | Ri6 | 146 | 546 | 30 | 1 | 21.6592 |  | 35.6 |  | 1.9065
2010-12 | SS7 | 148 | 548 | 5 | 1 | 0.95586 |  | 2.3 |  | 0.34875
2010-12 | SS7 | 148 | LOOP |  |  | 0.75962 |  | 1.9 |  | 0.3184
2010-12 | SS6 | 149 | 549 | 5 | 1 | 6.7449 |  | 15.6 |  | 0.96576
2010-12 | SS6 | 149 | LOOP |  |  | 6.8431 |  | 15.2 |  | 0.95565
2010-12 | SS5 | 151 | 550 | 5 | 1 | 0.85774 |  | 3.2 |  | 0.4499
2010-12 | SS5 | 151 | LOOP |  |  | 0.85774 |  | 3.1 |  | 0.42967
2010-12 | SS4 | 152 | 552 | 5 | 1 | 3.3107 |  | 7.8 |  | 0.72301
2010-12 | SS4 | 152 | LOOP |  |  | 4.0957 |  | 8.2 |  | 0.75335
2010-12 | SS3 | 154 | 553 | 5 | 1 | 3.3107 |  | 8.3 |  | 0.64209
2010-12 | SS3 | 154 | LOOP |  |  | 3.3107 |  | 8.3 |  | 0.6522 |  | 553 dup label
2010-12 | CPE1 | 155 | 554 | 5 | 1 | 9.2961 |  | 18.3 |  | 1.1984
2010-12 | CPE1 | 155 | Loop |  |  | 9.3942 |  | 17.9 |  | 1.1681

## Cal Combo Avg Dup & Prec
Averaging Duplicates from same Niskin and | [14 empty] | File: Cocc2010-12\nutrients\QF 2010-12nuts.xls
Calculating Precision | [14 empty] | Date : August 26, 2010
Used only samples that had duplicates for all three parameters to calculate precision.
Cruise | Station | Cast | Sample # | Depth | Niskin | NO3 | SiO3 | PO4
|  |  |  | (nominal) |  | uM | uM | uM | Avg N | Avg Si | Avg P | NO3 diff sq | Si diff sq | PO4 diff sq | Comments
2010-12 | LB01 | 2 | 16 | 5 | 4 | 9.1979 | 16.8 | 0.95565
2010-12 | LB01 | 2 | 16 | 5 | 4 | 9.1979 | 16.8 | 0.96576 | 9.1979 | 16.8 | 0.96071 | 0 | 0 | 0.00010231
2010-12 | LB02 | 3 | 17 | 47 | 1 | 14.8889 | 22.7 | 1.4108
2010-12 | LB02 | 3 | 17 | 47 | 1 | 15.5757 | 23.4 | 1.4311 | 15.2323 | 23.05 | 1.4209 | 0.47175 | 0.49 | 0.00040925
2010-12 | LB04 | 5 | 28 | 5 | 7 | 5.6656 | 13.9 | 0.73312
2010-12 | LB04 | 5 | 28 | 5 | 7 | 5.6656 | 13.9 | 0.74323 | 5.6656 | 13.9 | 0.73818 | 0 | 0 | 0.00010231
2010-12 | LB06 | 9 | 32 | 30 | 4 | 8.8055 | 15.1 | 0.98599
2010-12 | LB06 | 9 | 32 | 30 | 4 | 8.3149 | 14.4 | 0.97588 | 8.5602 | 14.75 | 0.98094 | 0.24069 | 0.49 | 0.00010231
2010-12 | LB08 | 22 | 41 | 30 | 6 | 2.4277 | 7.2 | 0.54094
2010-12 | LB08 | 22 | 41 | 30 | 6 | 2.4277 | 7.2 | 0.54094 | 2.4277 | 7.2 | 0.54094 | 0 | 0 | 0
2010-12 | LB09 | 24 | 49 | 30 | 5 | 5.5675 | 8.6 | 0.76346
2010-12 | LB09 | 24 | 49 | 30 | 5 | 5.6656 | 8.6 | 0.77358 | 5.6166 | 8.6 | 0.76852 | 0.0096275 | 0 | 0.00010231
2010-12 | LB11 | 26 | 61 | 20 | 9 | 1.4465 | 6.8 | 0.49036
2010-12 | LB11 | 26 | 61 | 20 | 9 | 1.3483 | 6.8 | 0.50048 | 1.3974 | 6.8 | 0.49542 | 0.0096275 | 0 | 0.00010231
2010-12 | LB12 | 28 | 77 | 20 | 14 | 0.95586 | 6.4 | 0.48024
2010-12 | LB12 | 28 | 77 | 20 | 14 | 1.054 | 5.3 | 0.41956 | 1.0049 | 5.85 | 0.4499 | 0.0096275 | 1.21 | 0.0036833
2010-12 | LB14 | 30 | 89 | 150 | 10 | 24.2103 | 28.8 | 1.8154
2010-12 | LB14 | 30 | 89 | 150 | 10 | 24.2103 | 28.7 | 1.7851 | 24.2103 | 28.75 | 1.8003 | 0 | 0.01 | 0.00092082
2010-12 | LC11 | 37 | 125 | 10 | 18 | 1.8389 | 7 | 0.56117
2010-12 | LC11 | 37 | 125 | 10 | 18 | 1.7408 | 6.9 | 0.55105 | 1.7899 | 6.95 | 0.55611 | 0.0096275 | 0.01 | 0.00010231
2010-12 | LC11 | 37 | 116 | 200 | 9 | 32.4524 | 44.6 | 2.2807
2010-12 | LC11 | 37 | 116 | 200 | 9 | 32.0599 | 44.1 | 2.2908 | 32.2561 | 44.35 | 2.2858 | 0.15404 | 0.25 | 0.00010231
2010-12 | LC09/A3 | 39 | 138 | 50 | 12 | 4.9788 | 8.7 | 0.79381
2010-12 | LC09/A3 | 39 | 138 | 50 | 12 | 4.9788 | 8.7 | 0.80393 | 4.9788 | 8.7 | 0.79887 | 0 | 0 | 0.00010231
2010-12 | LC09/A3 | 39 | 128 | 500 | 2 | 44.3249 | 86.9 | 3.1506
2010-12 | LC09/A3 | 39 | 128 | 500 | 2 | 44.7174 | 87.2 | 3.1506 | 44.5211 | 87.05 | 3.1506 | 0.15404 | 0.09 | 0
2010-12 | LC08 | 43 | 149 | 50 | 7 | 4.0957 | 8 | 0.74323
2010-12 | LC08 | 43 | 149 | 50 | 7 | 4.1938 | 8 | 0.74323 | 4.1448 | 8 | 0.74323 | 0.0096275 | 0 | 0
2010-12 | LC08 | 43 | 144 | 175 | 2 | 33.0411 | 45.5 | 2.3515
2010-12 | LC08 | 43 | 144 | 175 | 2 | 33.4336 | 46 | 2.3718 | 33.2373 | 45.75 | 2.3616 | 0.15404 | 0.25 | 0.00040925
2010-12 | LC06 | 46 | 158 | 20 | 5 | 1.7408 | 6.6 | 0.51059
2010-12 | LC06 | 46 | 158 | 20 | 5 | 1.7408 | 6.8 | 0.5207 | 1.7408 | 6.7 | 0.51565 | 0 | 0.04 | 0.00010231
2010-12 | LC04 | 50 | 166 | 50 | 5 | 18.4212 | 25.3 | 1.5727
2010-12 | LC04 | 50 | 166 | 50 | 5 | 18.4212 | 25.4 | 1.5727 | 18.4212 | 25.35 | 1.5727 | 0 | 0.01 | 0
2010-12 | LC02 | 52 | 174 | 50 | 3 | 17.1457 | 25.4 | 1.5322
2010-12 | LC02 | 52 | 174 | 50 | 3 | 17.2438 | 25.3 | 1.512 | 17.1947 | 25.35 | 1.5221 | 0.0096275 | 0.01 | 0.00040925
2010-12 | LC01 | 53 | 183 | 20 | 5 | 10.4735 | 17.5 | 1.1377
2010-12 | LC01 | 53 | 183 | 20 | 5 | 10.5716 | 17.4 | 1.1377 | 10.5226 | 17.45 | 1.1377 | 0.0096275 | 0.01 | 0
2010-12 | LD01 | 54 | 187 | 20 | 2 | 10.7679 | 17.6 | 1.2389
2010-12 | LD01 | 54 | 187 | 20 | 2 | 10.9641 | 17.6 | 1.2692 | 10.866 | 17.6 | 1.254 | 0.03851 | 0 | 0.00092082
2010-12 | LD02 | 55 | 190 | 30 | 1 | 12.0434 | 19.5 | 1.3198
2010-12 | LD02 | 55 | 190 | 30 | 1 | 12.534 | 20.2 | 1.3602 | 12.2887 | 19.85 | 1.34 | 0.24069 | 0.49 | 0.001637
2010-12 | LD04 | 58 | 196 | 20 | 3 | 7.1374 | 12 | 0.89496
2010-12 | LD04 | 58 | 196 | 20 | 3 | 7.1374 | 12 | 0.90507 | 7.1374 | 12 | 0.90002 | 0 | 0 | 0.00010231
2010-12 | LD06 | 61 | 203 | 30 | 5 | 1.4465 | 5.5 | 0.47013
2010-12 | LD06 | 61 | 203 | 30 | 5 | 1.3483 | 5.2 | 0.4499 | 1.3974 | 5.35 | 0.46002 | 0.0096275 | 0.09 | 0.00040925
2010-12 | LD08 | 63 | 219 | 30 | 13 | 1.6427 | 6.8 | 0.53082
2010-12 | LD08 | 63 | 219 | 30 | 13 | 1.7408 | 7 | 0.58139 | 1.6918 | 6.9 | 0.55611 | 0.0096275 | 0.04 | 0.0025578
2010-12 | LD08 | 63 | 213 | 175 | 7 | 31.9618 | 42.9 | 2.2807
2010-12 | LD08 | 63 | 213 | 175 | 7 | 31.1768 | 41.4 | 2.2301 | 31.5693 | 42.15 | 2.2554 | 0.61616 | 2.25 | 0.0025578
2010-12 | LD09 | 64 | 238 | 10 | 16 | 0.85774 | 6.3 | 0.46002
2010-12 | LD09 | 64 | 238 | 10 | 16 | 0.85774 | 6.3 | 0.46002 | 0.85774 | 6.3 | 0.46002 | 0 | 0 | 0
2010-12 | LD09 | 64 | 232 | 125 | 10 | 25.6821 | 32.3 | 1.9874
2010-12 | LD09 | 64 | 232 | 125 | 10 | 28.5276 | 35.5 | 2.129 | 27.1048 | 33.9 | 2.0582 | 8.0968 | 10.24 | 0.020053
2010-12 | LD09 | 64 | 225 | 500 | 3 | 44.2268 | 87.1 | 3.1405
2010-12 | LD09 | 64 | 225 | 500 | 3 | 44.5211 | 87 | 3.1506 | 44.374 | 87.05 | 3.1455 | 0.086648 | 0.01 | 0.00010231
2010-12 | LG09 | 69 | 278 | 20 | 19 | 0.1709 | 6.6 | 0.46002
2010-12 | LG09 | 69 | 278 | 20 | 19 | 0.1709 | 6.5 | 0.40944 | 0.1709 | 6.55 | 0.43473 | 0 | 0.01 | 0.0025578
2010-12 | LG09 | 69 | 271 | 175 | 12 | 32.4524 | 43.1 | 2.2504
2010-12 | LG09 | 69 | 271 | 175 | 12 | 31.6674 | 42.1 | 2.2504 | 32.0599 | 42.6 | 2.2504 | 0.61616 | 1 | 0
2010-12 | LG06 | 74 | 300 | 75 | 12 | 9.4923 | 12.8 | 1.0568
2010-12 | LG06 | 74 | 300 | 75 | 12 | 9.5904 | 12.9 | 1.0669 | 9.5414 | 12.85 | 1.0619 | 0.0096275 | 0.01 | 0.00010231
2010-12 | LG06 | 74 | 292 | 400 | 4 | 41.97 | 77.2 | 2.8977
2010-12 | LG06 | 74 | 292 | 400 | 4 | 42.1663 | 77.1 | 2.9483 | 42.0681 | 77.15 | 2.923 | 0.03851 | 0.01 | 0.0025578
2010-12 | LG06 | 74 | 292 | 400 | 4 | 42.1663 | 77.2 | 3.009
2010-12 | LG06 | 74 | 292 | 400 | 4 | 42.1663 | 77.1 | 2.9685 | 42.1663 | 77.15 | 2.9888 | 0 | 0.01 | 0.001637
2010-12 | LG06 | 74 | 291 | 500 | 3 | 43.7362 | 88.1 | 3.1607
2010-12 | LG06 | 74 | 291 | 500 | 3 | 44.0305 | 88.6 | 3.1101 | 43.8834 | 88.35 | 3.1354 | 0.086648 | 0.25 | 0.0025578
2010-12 | LG06 | 74 | 290 | 750 | 2 | 45.7967 | 111.4 | 3.3226
2010-12 | LG06 | 74 | 290 | 750 | 2 | 46.2873 | 111.6 | 3.3226 | 46.042 | 111.5 | 3.3226 | 0.24069 | 0.04 | 0
2010-12 | LG06 | 74 | 289 | 950 | 1 | 46.0911 | 129 | 3.1101
2010-12 | LG06 | 74 | 289 | 950 | 1 | 46.0911 | 128.4 | 3.2821 | 46.0911 | 128.7 | 3.1961 | 0 | 0.36 | 0.029569
2010-12 | LG04 | 76 | 308 | 100 | 2 | 27.9389 | 34.2 | 2.0885
2010-12 | LG04 | 76 | 308 | 100 | 2 | 28.037 | 34.1 | 2.0885 | 27.9879 | 34.15 | 2.0885 | 0.0096275 | 0.01 | 0
2010-12 | LG02 | 79 | 318 | 50 | 3 | 10.5716 | 13.8 | 1.0973
2010-12 | LG02 | 79 | 318 | 50 | 3 | 10.866 | 13.9 | 1.1074 | 10.7188 | 13.85 | 1.1023 | 0.086648 | 0.01 | 0.00010231
2010-12 | LG01 | 81 | 326 | 10 | 4 | 1.1521 | 5 | 0.48024
2010-12 | LG01 | 81 | 326 | 10 | 4 | 1.1521 | 5.2 | 0.49036 | 1.1521 | 5.1 | 0.4853 | 0 | 0.04 | 0.00010231
2010-12 | LBP5 | 88 | 357 | 75 | 13 | 19.1081 | 26.4 | 1.6131
2010-12 | LBP5 | 88 | 357 | 75 | 13 | 18.8137 | 25.8 | 1.5929 | 18.9609 | 26.1 | 1.603 | 0.086648 | 0.36 | 0.00040925
2010-12 | LBP7 | 91 | 371 | 500 | 7 | 43.1475 | 91.6 | 3.0899
2010-12 | LBP7 | 91 | 371 | 500 | 7 | 43.1475 | 91.5 | 3.0798 | 43.1475 | 91.55 | 3.0849 | 0 | 0.01 | 0.00010231
2010-12 | LBP7 | 91 | 371 | 500 | 7 | 43.3437 | 91.9 | 3.0697
2010-12 | LBP7 | 91 | 371 | 500 | 7 | 43.0493 | 91.5 | 3.0899 | 43.1965 | 91.7 | 3.0798 | 0.086648 | 0.16 | 0.00040925
2010-12 | LBP7 | 91 | 370 | 750 | 6 | 45.0117 | 113.4 | 3.2922
2010-12 | LBP7 | 91 | 370 | 750 | 6 | 45.0117 | 112.9 | 3.3124 | 45.0117 | 113.15 | 3.3023 | 0 | 0.25 | 0.00040925
2010-12 | LBP7 | 91 | 369 | 1000 | 5 | 45.208 | 131.6 | 3.363
2010-12 | LBP7 | 91 | 369 | 1000 | 5 | 45.5023 | 131.7 | 3.3731 | 45.3552 | 131.65 | 3.3681 | 0.086648 | 0.01 | 0.00010231
2010-12 | LBP7 | 91 | 368 | 1250 | 4 | 45.3061 | 145.1 | 3.3124
2010-12 | LBP7 | 91 | 368 | 1250 | 4 | 45.3061 | 147.1 | 3.3327 | 45.3061 | 146.1 | 3.3226 | 0 | 4 | 0.00040925
2010-12 | LBP7 | 91 | 367 | 1500 | 3 | 44.7174 | 160.7 | 3.1911
2010-12 | LBP7 | 91 | 367 | 1500 | 3 | 44.7174 | 159.4 | 3.2416 | 44.7174 | 160.05 | 3.2164 | 0 | 1.69 | 0.0025578
2010-12 | LBP7 | 91 | 366 | 2000 | 2 | 42.6569 | 173.2 | 3.1
2010-12 | LBP7 | 91 | 366 | 2000 | 2 | 43.0493 | 174.3 | 3.0798 | 42.8531 | 173.75 | 3.0899 | 0.15404 | 1.21 | 0.00040925
2010-12 | LBP7 | 91 | 365 | 2000 | 1 | 42.5587 | 174.1 | 3.1101
2010-12 | LBP7 | 91 | 365 | 2000 | 1 | 42.2644 | 171.6 | 3.0495 | 42.4116 | 172.85 | 3.0798 | 0.086648 | 6.25 | 0.0036833
2010-12 | CS00 | 99 | 412 | 75 | 15 | 7.628 | 12.4 | 0.97588
2010-12 | CS00 | 99 | 412 | 75 | 15 | 7.628 | 12.4 | 0.96576 | 7.628 | 12.4 | 0.97082 | 0 | 0 | 0.00010231
2010-12 | CS02 | 104 | 429 | 75 | 12 | 11.9453 | 15.8 | 1.1681
2010-12 | CS02 | 104 | 429 | 75 | 12 | 12.0434 | 15.9 | 1.1782 | 11.9944 | 15.85 | 1.1731 | 0.0096275 | 0.01 | 0.00010231
2010-12 | CS04 | 108 | 440 | 30 | 4 | 5.175 | 10.4 | 0.77358
2010-12 | CS04 | 108 | 440 | 30 | 4 | 5.5675 | 10.2 | 0.80393 | 5.3713 | 10.3 | 0.78875 | 0.15404 | 0.04 | 0.00092082
2010-12 | CS06 | 116 | 446 | 30 | 3 | 7.8243 | 13.1 | 1.0366
2010-12 | CS06 | 116 | 446 | 30 | 3 | 7.8243 | 13.1 | 1.0366 | 7.8243 | 13.1 | 1.0366 | 0 | 0 | 0
2010-12 | CS09 | 122 | 457 | 30 | 8 | 12.4359 | 23 | 1.4513
2010-12 | CS09 | 122 | 457 | 30 | 8 | 12.534 | 23 | 1.4715 | 12.485 | 23 | 1.4614 | 0.0096275 | 0 | 0.00040925
2010-12 | UBC7 | 131 | 473 | 30 | 7 | 13.0246 | 22.7 | 1.3602
2010-12 | UBC7 | 131 | 473 | 30 | 7 | 13.2209 | 22.6 | 1.3704 | 13.1227 | 22.65 | 1.3653 | 0.03851 | 0.01 | 0.00010231
2010-12 | Ri2 | 135 | 497 | 100 | 7 | 22.1498 | 38.3 | 1.957
2010-12 | Ri2 | 135 | 497 | 100 | 7 | 22.1498 | 38.3 | 1.957 | 22.1498 | 38.3 | 1.957 | 0 | 0 | 0
2010-12 | Ri5 | 143 | 528 | 75 | 7 | 24.0141 | 41.8 | 2.0683
2010-12 | Ri5 | 143 | 528 | 75 | 7 | 23.7197 | 41.7 | 2.038 | 23.8669 | 41.75 | 2.0531 | 0.086648 | 0.01 | 0.00092082
[8 empty] | SUM OF (X-Y)SQ |  |  |  | 12.227 | 31.75 | 0.085329
[8 empty] | COUNT |  |  |  | 56 | 56 | 56
[8 empty] | SUM/2*COUNT |  |  |  | 0.10917 | 0.28348 | 0.00076187
[8 empty] | SQRT(SUM/2*COUNT) |  |  |  | 0.33041 | 0.53243 | 0.027602
[8 empty] | min |  |  |  | 0.1709 | 5 | 0.40944
[8 empty] | max |  |  |  | 46.2873 | 174.3 | 3.3731

## Precision Statement & Notes
Cruise 2010-12 May WCVI |  | File: Cocc2010-12\nutrients\QF 2010-12nuts.xls
Precision Statement |  | Date : August 26, 2010
Samples were collected in plastic test tubes.
Most samples were analysed frozen at IOS by Wendy Richardson and Janet Barwell-Clarke.
Deep Silicate samples (400m and below) analyzed cool at IOS by Wendy Richardson and Janet Barwell-Clarke.
The Astoria Analyzer was used for sample analyses.
Precision was determined by analyzing replicate samples drawn from one Niskin
Pooled standard deviation of pairs of samples (Sp) was calucalated by:
Sp = SQRT{sum (d*d)/2k}
where k = no. of pairs and d = difference between pairs
For replicate samples drawn from the same Niskin bottle:
Sp for nitrate for the range 0.2 to 46.3 uM was 0.33, k = 56
Sp for silicate for the range 5.0 to 174.3 uM was 0.53, k = 56
Sp for phosphate for the range 0.41 to 3.37 uM was 0.028, k = 56
Accuracy of the stock standard batch was determined by using commercially available standards from WAKO Chemicals
(Sagami Chemical Company of Japan).
The values were within 0.83 % of the 20 uM Nitrate Standard.
The values were within 1.21 % of the 100 uM Silicate Standard.
May 31 2010 Nitrate stock standard solution was used for this cruise analyses.
June 2, 2010 Silicate stock standard solution was used for this cruise analyses.
May 27, 2010 Phosphate stock standard solution was used for this cruise analyses.
The Phosphate values were within 1.39% of the previous (Nov 2009) stock solution.
Notes
Corrections made as follows on 27-Jan-2014 by Mark Belton
Nitrate and phosphate values were corrected for this cruise according to calculations made by Janet Barwell-Clarke to account
for system differences between technicon and astoria analyzing systems. For further details please see "Corrections to Nitrate and Phosphate Data 2009-2012"
Located on the OSD_DATA_ARCHIVE drive: L:\Cruise_Data\DOCUMENTS\Analysis Reference Papers