## Readme
Germain,
Two pairs of samples were rejected after applying Chauvenet's criterion.
Sp calculation did not include the two outliers, however the average value is included.

## QF Data
Cruise 2010-12 WCVI Ammonia Data
Ammonia Data Summary
Precision was determined by analyzing replicate samples drawn from one Niskin.
Pooled standard deviation of pairs of samples (Sp) was calculated by:
Sp = SQRT{sum (d*d)/2k}
where k = no. of pairs and d = difference between pairs
Two pairs of samples were rejected based on Chauvenet's criterion and were not
used in the following Sp calculation.
Ammonia Sp = 0.079 uM for the range 0.00 to 4.86 uM, k = 106
Cruise | Cast | Stn | Niskin | S.N. | Depth | Ammonia | Flag:NH4 | Comments
|  |  | No. |  | db | uM
2010-12 | 2 | LB01 | 2 | 14 | 20 | 1.5239 | f
2010-12 | 2 | LB01 | 3 | 15 | 10 | 1.0986 | f
2010-12 | 2 | LB01 | 4 | 16 | 5 | 0.91622 | f
2010-12 | 3 | LB02 | 3 | 19 | 20 | 1.857 | f
2010-12 | 3 | LB02 | 4 | 20 | 10 | 1.3787 | fc | reject due to Chauvenet
2010-12 | 3 | LB02 | 5 | 21 | 5 | 0.78467 | f
2010-12 | 5 | LB04 | 5 | 26 | 20 | 0.81536 | f
2010-12 | 5 | LB04 | 6 | 27 | 10 | 0.47785 | f
2010-12 | 5 | LB04 | 7 | 28 | 5 | 0.54415 | f
2010-12 | 9 | LB06 | 5 | 33 | 20 | 1.3743 | f
2010-12 | 9 | LB06 | 6 | 34 | 10 | 1.0686 | f
2010-12 | 9 | LB06 | 7 | 35 | 5 | 0.76439 | f
2010-12 | 22 | LB08 | 7 | 42 | 20 | 0.099609 | f
2010-12 | 22 | LB08 | 8 | 43 | 10 | 0.060815 | f
2010-12 | 22 | LB08 | 9 | 44 | 5 | 0.044063 | f
2010-12 | 24 | LB09 | 5 | 50 | 20 | 0.18637 | f
2010-12 | 24 | LB09 | 7 | 51 | 10 | 0.10243 | f
2010-12 | 24 | LB09 | 8 | 52 | 5 | 0.15568 | f
2010-12 | 26 | LB11 | 9 | 61 | 20 | 0.35706 | f
2010-12 | 26 | LB11 | 10 | 62 | 10 | 0.13364 | f
2010-12 | 26 | LB11 | 11 | 63 | 5 | 0.076509 | f
2010-12 | 28 | LB12 | 14 | 77 | 20 | 0.45404 | f
2010-12 | 28 | LB12 | 15 | 78 | 10 | 0.3784 | f
2010-12 | 28 | LB12 | 16 | 79 | 5 | 0.32796 | f
2010-12 | 30 | LB14 | 16 | 95 | 20 | 0.32585 | f
2010-12 | 30 | LB14 | 17 | 96 | 10 | 0.48014 | f
2010-12 | 52 | LC02 | 5 | 176 | 20 | 1.0686 | f
2010-12 | 52 | LC02 | 6 | 177 | 10 | 1.1624 | f
2010-12 | 52 | LC02 | 7 | 178 | 5 | 1.1832 | f
2010-12 | 50 | LC04 | 7 | 168 | 20 | 1.3696 | f
2010-12 | 50 | LC04 | 8 | 169 | 10 | 0.25937 | f
2010-12 | 50 | LC04 | 9 | 170 | 5 | 0.30557 | f
2010-12 | 46 | LC06 | 6 | 158 | 20 | 0.26131 | f
2010-12 | 46 | LC06 | 6 | 159 | 10 | 0.22498 | f
2010-12 | 46 | LC06 | 7 | 160 | 5 | 0.11654 | f
2010-12 | 43 | LC08 | 9 | 151 | 20 | 0.14193 | f
2010-12 | 43 | LC08 | 10 | 152 | 10 | 0 | f
2010-12 | 43 | LC08 | 11 | 153 | 5 | 0 | f
2010-12 | 39 | LC09 | 14 | 140 | 20 | 0.58383 | f
2010-12 | 39 | LC09 | 15 | 141 | 10 | 0 | f
2010-12 | 39 | LC09 | 16 | 142 | 5 | 0 | f
2010-12 | 37 | LC11 | 17 | 124 | 20 | 0.091144 | f
2010-12 | 37 | LC11 | 18 | 125 | 10 | 0.043633 | f
2010-12 | 37 | LC11 | 19 | 126 | 5 | 0.0090707 | f
2010-12 | 1 | SI03 | 10 | 10 | 20 | 3.8136 | f
2010-12 | 1 | SI03 | 11 | 11 | 10 | 4.8583 | f
2010-12 | 1 | SI03 | 12 | 12 | 5 | 2.5581 | fc | reject due to Chauvenet
2010-12 | 85 | LBP3 | 8 | 340 | 20 | 0.9166 | f
2010-12 | 85 | LBP3 | 9 | 341 | 10 | 0.8368 | f
2010-12 | 85 | LBP3 | 10 | 342 | 5 | 0.89741 | f
2010-12 | 88 | LBP5 | 16 | 360 | 20 | 0.77669 | f
2010-12 | 88 | LBP5 | 17 | 361 | 10 | 0.66287 | f
2010-12 | 88 | LBP5 | 18 | 362 | 5 | 0.67583 | f
2010-12 | 53 | LC01 | 5 | 183 | 20 | 1.78 | f
2010-12 | 53 | LC01 | 6 | 184 | 10 | 1.3589 | f
2010-12 | 53 | LC01 | 7 | 185 | 5 | 1.578 | f
2010-12 | 54 | LD01 | 4 | 189 | 5 | 0.33892 | f
2010-12 | 55 | LD02 | 2 | 191 | 20 | 1.9087 | f
2010-12 | 55 | LD02 | 3 | 192 | 10 | 1.0365 | f
2010-12 | 55 | LD02 | 4 | 193 | 5 | 0.95971 | f
2010-12 | 58 | LD04 | 3 | 196 | 20 | 1.2193 | f
2010-12 | 58 | LD04 | 4 | 197 | 10 | 0.83949 | f
2010-12 | 58 | LD04 | 5 | 198 | 5 | 0.85498 | f
2010-12 | 61 | LD06 | 6 | 204 | 20 | 0.37731 | f
2010-12 | 61 | LD06 | 7 | 205 | 10 | 0.38758 | f
2010-12 | 61 | LD06 | 8 | 206 | 5 | 0.28891 | f
2010-12 | 63 | LD08 | 14 | 220 | 20 | 0.39263 | f
2010-12 | 63 | LD08 | 15 | 221 | 10 | 0.29127 | f
2010-12 | 63 | LD08 | 16 | 222 | 5 | 0.13754 | f
2010-12 | 64 | LD09 | 15 | 237 | 20 | 0.14731 | f
2010-12 | 64 | LD09 | 16 | 238 | 10 | 0.13855 | f
2010-12 | 64 | LD09 | 17 | 239 | 5 | 0.26921 | f
2010-12 | 67 | LD11 | 18 | 257 | 20 | 0.10235 | f
2010-12 | 67 | LD11 | 19 | 258 | 10 | 0.14057 | f
2010-12 | 67 | LD11 | 20 | 259 | 5 | 0.16701 | f
2010-12 | 81 | LG01 | 3 | 325 | 20 | 0.17139 | f
2010-12 | 81 | LG01 | 4 | 326 | 10 | 0.033658 | f
2010-12 | 81 | LG01 | 5 | 327 | 5 | 0.11532 | f
2010-12 | 79 | LG02 | 5 | 320 | 20 | 0.38909 | f
2010-12 | 79 | LG02 | 6 | 321 | 10 | 0.23773 | f
2010-12 | 79 | LG02 | 7 | 322 | 5 | 0.4226 | f
2010-12 | 76 | LG04 | 6 | 312 | 20 | 0.13535 | f
2010-12 | 76 | LG04 | 7 | 313 | 10 | 0 | f
2010-12 | 76 | LG04 | 8 | 314 | 5 | 0 | f
2010-12 | 74 | LG06 | 15 | 303 | 20 | 0.16785 | f
2010-12 | 74 | LG06 | 16 | 304 | 10 | 0.010936 | f
2010-12 | 74 | LG06 | 17 | 305 | 5 | 0.12896 | f
2010-12 | 69 | LG09 | 19 | 278 | 20 | 0.21281 | f
2010-12 | 69 | LG09 | 20 | 279 | 10 | 0.28066 | f
2010-12 | 69 | LG09 | 21 | 280 | 5 | 0.13014 | f
2010-12 | 91 | LBP7 | 19 | 383 | 20 | 0.4527 | f
2010-12 | 91 | LBP7 | 20 | 384 | 10 | 0.45507 | f
2010-12 | 91 | LBP7 | 21 | 385 | 5 | 0.40255 | f
2010-12 | 99 | CS00 | 18 | 415 | 20 | 0.36679 | f
2010-12 | 99 | CS00 | 19 | 416 | 10 | 0.34164 | f
2010-12 | 99 | CS00 | 20 | 417 | 5 | 0.27678 | f
2010-12 | 104 | CS02 | 15 | 432 | 20 | 0.64128 | f
2010-12 | 104 | CS02 | 16 | 433 | 10 | 0.56486 | f
2010-12 | 104 | CS02 | 17 | 434 | 5 | 0.54351 | f
2010-12 | 108 | CS04 | 5 | 441 | 20 | 0.39527 | f
2010-12 | 108 | CS04 | 6 | 442 | 10 | 0.091204 | f
2010-12 | 108 | CS04 | 7 | 443 | 5 | 0.073802 | f
2010-12 | 116 | CS06 | 4 | 447 | 20 | 1.8284 | f
2010-12 | 116 | CS06 | 5 | 448 | 10 | 1.3741 | f
2010-12 | 116 | CS06 | 6 | 449 | 5 | 0.86418 | f
2010-12 | 122 | CS09 | 9 | 458 | 20 | 2.3807 | f
2010-12 | 122 | CS09 | 10 | 459 | 10 | 0.53022 | f
2010-12 | 122 | CS09 | 11 | 460 | 5 | 0.29845 | f

## Sp
Station | Sample | Depth | Raw Fluor | Conc | Avg | DIFF | Diff Sq | Chauvenet value | reject?
LB01 | 14 | 20 | 504.5 | 1.5166 | 1.5239 | 0.01446 | 0.00020908 |  |  | Critical values for Chauvenet statistic
LB01 | 14 | 20 | 508.6 | 1.5311 | [5 empty] | n | Chauvenet
LB01 | 15 | 10 | 381.8 | 1.0839 | 1.0986 | 0.029272 | 0.00085683 |  |  | 3 | 1.37
LB01 | 15 | 10 | 390.1 | 1.1132 | [5 empty] | 4 | 1.53
LB01 | 16 | 5 | 281.9 | 0.7316 | 0.91622 | 0.36925 | 0.13634 |  |  | 5 | 1.64
LB01 | 16 | 5 | 386.6 | 1.1008 | [5 empty] | 6 | 1.73
LB02 | 19 | 20 | 592.5 | 1.827 | 1.857 | 0.059954 | 0.0035945 |  |  | 7 | 1.8
LB02 | 19 | 20 | 609.5 | 1.8869 | [5 empty] | 8 | 1.87
LB02 | 20 | 10 | 390.9 | 1.116 | 1.3787 | 0.52548 | 0.27613 | 3.0417 | YES | 9 | 1.91
LB02 | 20 | 10 | 539.9 | 1.6415 | [5 empty] | 10 | 1.97
LB02 | 21 | 5 | 301.8 | 0.80178 | 0.78467 | -0.034209 | 0.0011703 |  |  | 20 | 2.24
LB02 | 21 | 5 | 292.1 | 0.76757 | [5 empty] | 30 | 2.39
LB04 | 26 | 20 | 302.4 | 0.80389 | 0.81536 | 0.022924 | 0.00052549 |  |  | 50 | 2.57
LB04 | 26 | 20 | 308.9 | 0.82682 | [5 empty] | 80 | 2.74
LB04 | 27 | 10 | 210.5 | 0.47979 | 0.47785 | -0.0038794 | 1.505e-05 |  |  | 100 | 2.81
LB04 | 27 | 10 | 209.4 | 0.47591 | [5 empty] | 150 | 2.93
LB04 | 28 | 5 | 217 | 0.50271 | 0.54415 | 0.082878 | 0.0068687 |  |  | 200 | 3.02
LB04 | 28 | 5 | 240.5 | 0.58559
LB06 | 33 | 20 | 452.5 | 1.3333 | 1.3743 | 0.082172 | 0.0067523
LB06 | 33 | 20 | 475.8 | 1.4154
LB06 | 34 | 10 | 393.3 | 1.1245 | 1.0686 | -0.1118 | 0.012499
LB06 | 34 | 10 | 361.6 | 1.0127
LB06 | 35 | 5 | 292.7 | 0.76968 | 0.76439 | -0.01058 | 0.00011194
LB06 | 35 | 5 | 289.7 | 0.7591
LB08 | 42 | 20 | 98.7 | 0.085502 | 0.099609 | 0.028214 | 0.00079601
LB08 | 42 | 20 | 106.7 | 0.11372
LB08 | 43 | 10 | 103.7 | 0.10314 | 0.060815 | -0.084641 | 0.0071641
LB08 | 43 | 10 | 79.7 | 0.018494
LB08 | 44 | 5 | 93.2 | 0.066105 | 0.044063 | -0.044084 | 0.0019434
LB08 | 44 | 5 | 80.7 | 0.022021
LB09 | 50 | 20 | 141.2 | 0.23539 | 0.18637 | -0.098043 | 0.0096124
LB09 | 50 | 20 | 113.4 | 0.13734
LB09 | 51 | 10 | 100 | 0.090086 | 0.10243 | 0.024687 | 0.00060945
LB09 | 51 | 10 | 107 | 0.11477
LB09 | 52 | 5 | 123.7 | 0.17367 | 0.15568 | -0.035972 | 0.001294
LB09 | 52 | 5 | 113.5 | 0.1377
LB11 | 61 | 20 | 175.1 | 0.35494 | 0.35706 | 0.0042321 | 1.791e-05
LB11 | 61 | 20 | 176.3 | 0.35917
LB11 | 62 | 10 | 135.4 | 0.21493 | 0.13364 | -0.16258 | 0.026433
LB11 | 62 | 10 | 89.3 | 0.052351
LB11 | 63 | 5 | 95.8 | 0.075274 | 0.076509 | 0.0024687 | 6.0945e-06
LB11 | 63 | 5 | 96.5 | 0.077743
LB12 | 77 | 20 | 210.9 | 0.4812 | 0.45404 | -0.054311 | 0.0029497
LB12 | 77 | 20 | 195.5 | 0.42689
LB12 | 78 | 10 | 169.8 | 0.33625 | 0.3784 | 0.084288 | 0.0071045
LB12 | 78 | 10 | 193.7 | 0.42054
LB12 | 79 | 5 | 181.9 | 0.37892 | 0.32796 | -0.10192 | 0.010388
LB12 | 79 | 5 | 153 | 0.277
LB14 | 95 | 20 | 152.1 | 0.27383 | 0.32585 | 0.10404 | 0.010824
LB14 | 95 | 20 | 181.6 | 0.37787
LB14 | 96 | 10 | 225.4 | 0.53234 | 0.48014 | -0.10439 | 0.010897
LB14 | 96 | 10 | 195.8 | 0.42795
LC02 | 176 | 20 | 330.2 | 0.90194 | 1.0686 | 0.33327 | 0.11107
LC02 | 176 | 20 | 424.7 | 1.2352
LC02 | 177 | 10 | 403.8 | 1.1615 | 1.1624 | 0.0017634 | 3.1094e-06
LC02 | 177 | 10 | 404.3 | 1.1633
LC02 | 178 | 5 | 409.3 | 1.1809 | 1.1832 | 0.0045847 | 2.102e-05
LC02 | 178 | 5 | 410.6 | 1.1855
LC04 | 168 | 20 | 455.8 | 1.3449 | 1.3696 | 0.049374 | 0.0024378
LC04 | 168 | 20 | 469.8 | 1.3943
LC04 | 169 | 10 | 149.2 | 0.2636 | 0.25937 | -0.0084641 | 7.1641e-05
LC04 | 169 | 10 | 146.8 | 0.25514
LC04 | 170 | 5 | 141.2 | 0.23539 | 0.30557 | 0.14036 | 0.019702
LC04 | 170 | 5 | 181 | 0.37575
LC06 | 158 | 20 | 142 | 0.23821 | 0.26131 | 0.0462 | 0.0021344
LC06 | 158 | 20 | 155.1 | 0.28441
LC06 | 159 | 10 | 112.7 | 0.13488 | 0.22498 | 0.18022 | 0.032477
LC06 | 159 | 10 | 163.8 | 0.31509
LC06 | 160 | 5 | 105 | 0.10772 | 0.11654 | 0.017634 | 0.00031094
LC06 | 160 | 5 | 110 | 0.12535
LC08 | 151 | 20 | 115.8 | 0.14581 | 0.14193 | -0.0077588 | 6.0199e-05
LC08 | 151 | 20 | 113.6 | 0.13805
LC08 | 152 | 10 | 74.3 | 0 | 0 | 0 | 0
LC08 | 152 | 10 | 73.2 | 0
LC08 | 153 | 5 | 66 | 0 | 0 | 0 | 0
LC08 | 153 | 5 | 72.9 | 0
LC09 | 140 | 20 | 243.6 | 0.59652 | 0.58383 | -0.025392 | 0.00064477
LC09 | 140 | 20 | 236.4 | 0.57113
LC09 | 141 | 10 | 62.8 | 0 | 0 | 0 | 0
LC09 | 141 | 10 | 65.1 | 0
LC09 | 142 | 5 | 62.9 | 0 | 0 | 0 | 0
LC09 | 142 | 5 | 67.1 | 0
LC11 | 124 | 20 | 110.1 | 0.12571 | 0.091144 | -0.069124 | 0.0047781
LC11 | 124 | 20 | 90.5 | 0.056583
LC11 | 125 | 10 | 99.2 | 0.087265 | 0.043633 | -0.087265 | 0.0076152
LC11 | 125 | 10 | 72.23 | 0
LC11 | 126 | 5 | 79.6 | 0.018141 | 0.0090707 | -0.018141 | 0.00032911
LC11 | 126 | 5 | 64 | 0
SI03 | 10 | 20 | 492.2 | 3.7437 | 3.8136 | 0.13983 | 0.019553
SI03 | 10 | 20 | 509.5 | 3.8835
SI03 | 11 | 10 | 630.7 | 4.8631 | 4.8583 | -0.0096993 | 9.4077e-05
SI03 | 11 | 10 | 629.5 | 4.8534
SI03 | 12 | 5 | 422.5 | 3.1803 | 2.5581 | -1.2118 | 1.4684 | -7.217 | YES
SI03 | 12 | 5 | 290.4 | 2.1126
LBP3 | 340 | 20 | 301.4 | 0.84286 | 0.9166 | 0.14749 | 0.021755
LBP3 | 340 | 20 | 345.2 | 0.99035
LBP3 | 341 | 10 | 301 | 0.84151 | 0.8368 | -0.0094289 | 8.8904e-05
LBP3 | 341 | 10 | 298.2 | 0.83208
LBP3 | 342 | 5 | 304.3 | 0.85262 | 0.89741 | 0.089574 | 0.0080236
LBP3 | 342 | 5 | 330.9 | 0.9422
LBP5 | 360 | 20 | 277 | 0.76069 | 0.77669 | 0.031991 | 0.0010234
LBP5 | 360 | 20 | 286.5 | 0.79268
LBP5 | 361 | 10 | 246.1 | 0.65664 | 0.66287 | 0.01246 | 0.00015524
LBP5 | 361 | 10 | 249.8 | 0.6691
LBP5 | 362 | 5 | 254.7 | 0.6856 | 0.67583 | -0.019531 | 0.00038147
LBP5 | 362 | 5 | 248.9 | 0.66607
LC01 | 183 | 20 | 565.1 | 1.7309 | 1.78 | 0.09833 | 0.0096687
LC01 | 183 | 20 | 594.3 | 1.8292
LC01 | 184 | 10 | 442.3 | 1.3173 | 1.3589 | 0.083176 | 0.0069183
LC01 | 184 | 10 | 467 | 1.4005
LC01 | 185 | 5 | 452.6 | 1.352 | 1.578 | 0.45191 | 0.20423 | 2.6072 | NO
LC01 | 185 | 5 | 586.8 | 1.8039
LD01 | 189 | 5 | 161.7 | 0.37242 | 0.33892 | -0.067012 | 0.0044907
LD01 | 189 | 5 | 141.8 | 0.30541
LD02 | 191 | 20 | 627.8 | 1.942 | 1.9087 | -0.066676 | 0.0044456
LD02 | 191 | 20 | 608 | 1.8753
LD02 | 192 | 10 | 329.3 | 0.93681 | 1.0365 | 0.19935 | 0.039742
LD02 | 192 | 10 | 388.5 | 1.1362
LD02 | 193 | 5 | 370.4 | 1.0752 | 0.95971 | -0.23101 | 0.053364
LD02 | 193 | 5 | 301.8 | 0.8442
LD04 | 196 | 20 | 406.7 | 1.1975 | 1.2193 | 0.043777 | 0.0019164
LD04 | 196 | 20 | 419.7 | 1.2412
LD04 | 197 | 10 | 308.6 | 0.8671 | 0.83949 | -0.055226 | 0.0030499
LD04 | 197 | 10 | 292.2 | 0.81188
LD04 | 198 | 5 | 265.9 | 0.72331 | 0.85498 | 0.26334 | 0.069345
LD04 | 198 | 5 | 344.1 | 0.98665
LD06 | 204 | 20 | 153 | 0.34313 | 0.37731 | 0.068359 | 0.004673
LD06 | 204 | 20 | 173.3 | 0.41149
LD06 | 205 | 10 | 167.6 | 0.39229 | 0.38758 | -0.0094289 | 8.8904e-05
LD06 | 205 | 10 | 164.8 | 0.38286
LD06 | 206 | 5 | 162 | 0.37343 | 0.28891 | -0.16905 | 0.028577
LD06 | 206 | 5 | 111.8 | 0.20439
LD08 | 220 | 20 | 117.5 | 0.22358 | 0.39263 | 0.33809 | 0.11431
LD08 | 220 | 20 | 217.9 | 0.56167
LD08 | 221 | 10 | 186.8 | 0.45695 | 0.29127 | -0.33136 | 0.1098
LD08 | 221 | 10 | 88.4 | 0.12559
LD08 | 222 | 5 | 104.2 | 0.1788 | 0.13754 | -0.082503 | 0.0068067
LD08 | 222 | 5 | 79.7 | 0.096292
LD09 | 237 | 20 | 97.4 | 0.1559 | 0.14731 | -0.017174 | 0.00029495
LD09 | 237 | 20 | 92.3 | 0.13872
LD09 | 238 | 10 | 100.8 | 0.16735 | 0.13855 | -0.057584 | 0.0033159
LD09 | 238 | 10 | 83.7 | 0.10976
LD09 | 239 | 5 | 143 | 0.30945 | 0.26921 | -0.080482 | 0.0064774
LD09 | 239 | 5 | 119.1 | 0.22897
LD11 | 257 | 20 | 73.5 | 0.075414 | 0.10235 | 0.053879 | 0.002903
LD11 | 257 | 20 | 89.5 | 0.12929
LD11 | 258 | 10 | 97.2 | 0.15522 | 0.14057 | -0.029297 | 0.00085831
LD11 | 258 | 10 | 88.5 | 0.12593
LD11 | 259 | 5 | 88.8 | 0.12694 | 0.16701 | 0.080145 | 0.0064233
LD11 | 259 | 5 | 112.6 | 0.20708
LG01 | 325 | 20 | 93.8 | 0.14377 | 0.17139 | 0.055226 | 0.0030499
LG01 | 325 | 20 | 110.2 | 0.199
LG01 | 326 | 10 | 65.5 | 0.048475 | 0.033658 | -0.029634 | 0.00087815
LG01 | 326 | 10 | 56.7 | 0.018841
LG01 | 327 | 5 | 80.7 | 0.09966 | 0.11532 | 0.031317 | 0.00098078
LG01 | 327 | 5 | 90 | 0.13098
LG02 | 320 | 20 | 163.5 | 0.37849 | 0.38909 | 0.021215 | 0.00045008
LG02 | 320 | 20 | 169.8 | 0.3997
LG02 | 321 | 10 | 124.1 | 0.24581 | 0.23773 | -0.016164 | 0.00026127
LG02 | 321 | 10 | 119.3 | 0.22964
LG02 | 322 | 5 | 156.5 | 0.35491 | 0.4226 | 0.13537 | 0.018326
LG02 | 322 | 5 | 196.7 | 0.49028
LG04 | 312 | 20 | 80.7 | 0.09966 | 0.13535 | 0.07139 | 0.0050965
LG04 | 312 | 20 | 101.9 | 0.17105
LG04 | 313 | 10 | 21.1 | 0 | 0 | 0 | 0
LG04 | 313 | 10 | 50.4 | 0
LG04 | 314 | 5 | 26.8 | 0 | 0 | 0 | 0
LG04 | 314 | 5 | 27.3 | 0
LG06 | 303 | 20 | 100.9 | 0.16768 | 0.16785 | 0.00033675 | 1.134e-07
LG06 | 303 | 20 | 101 | 0.16802
LG06 | 304 | 10 | 42.5 | 0 | 0.010936 | 0.021872 | 0.00047837
LG06 | 304 | 10 | 57.6 | 0.021872
LG06 | 305 | 5 | 72.2 | 0.071037 | 0.12896 | 0.11584 | 0.013419
LG06 | 305 | 5 | 106.6 | 0.18688
LG09 | 278 | 20 | 118.6 | 0.22729 | 0.21281 | -0.02896 | 0.00083869
LG09 | 278 | 20 | 110 | 0.19833
LG09 | 279 | 10 | 159.8 | 0.36603 | 0.28066 | -0.17073 | 0.029149
LG09 | 279 | 10 | 109.1 | 0.1953
LG09 | 280 | 5 | 87.8 | 0.12357 | 0.13014 | 0.013133 | 0.00017248
LG09 | 280 | 5 | 91.7 | 0.1367
LBP7 | 383 | 20 | 151.8 | 0.41046 | 0.4527 | 0.08448 | 0.0071369
LBP7 | 383 | 20 | 178.5 | 0.49494
LBP7 | 384 | 10 | 184.4 | 0.51361 | 0.45507 | -0.11707 | 0.013705
LBP7 | 384 | 10 | 147.4 | 0.39654
LBP7 | 385 | 5 | 150.2 | 0.40539 | 0.40255 | -0.0056953 | 3.2436e-05
LBP7 | 385 | 5 | 148.4 | 0.3997
CS00 | 415 | 20 | 140.6 | 0.37502 | 0.36679 | -0.016453 | 0.0002707
CS00 | 415 | 20 | 135.4 | 0.35857
CS00 | 416 | 10 | 109.8 | 0.27757 | 0.34164 | 0.12814 | 0.016421
CS00 | 416 | 10 | 150.3 | 0.40571
CS00 | 417 | 5 | 108.9 | 0.27472 | 0.27678 | 0.0041133 | 1.6919e-05
CS00 | 417 | 5 | 110.2 | 0.27883
CS02 | 432 | 20 | 230.3 | 0.65884 | 0.64128 | -0.035121 | 0.0012335
CS02 | 432 | 20 | 219.2 | 0.62371
CS02 | 433 | 10 | 206.6 | 0.58385 | 0.56486 | -0.037969 | 0.0014416
CS02 | 433 | 10 | 194.6 | 0.54588
CS02 | 434 | 5 | 191.1 | 0.5348 | 0.54351 | 0.017402 | 0.00030284
CS02 | 434 | 5 | 196.6 | 0.55221
CS04 | 441 | 20 | 123.6 | 0.32123 | 0.39527 | 0.14808 | 0.021927
CS04 | 441 | 20 | 170.4 | 0.46931
CS04 | 442 | 10 | 54.2 | 0.10165 | 0.091204 | -0.020883 | 0.00043609
CS04 | 442 | 10 | 47.6 | 0.080763
CS04 | 443 | 5 | 44.7 | 0.071587 | 0.073802 | 0.0044297 | 1.9622e-05
CS04 | 443 | 5 | 46.1 | 0.076016
CS06 | 447 | 20 | 613.2 | 1.8704 | 1.8284 | -0.083847 | 0.0070304
CS06 | 447 | 20 | 586.7 | 1.7865
CS06 | 448 | 10 | 439.4 | 1.3204 | 1.3741 | 0.10726 | 0.011505
CS06 | 448 | 10 | 473.3 | 1.4277
CS06 | 449 | 5 | 302.4 | 0.88696 | 0.86418 | -0.045562 | 0.0020759
CS06 | 449 | 5 | 288 | 0.8414
CS09 | 458 | 20 | 771.8 | 2.3722 | 2.3807 | 0.017086 | 0.00029193
CS09 | 458 | 20 | 777.2 | 2.3893
CS09 | 459 | 10 | 200.6 | 0.56486 | 0.53022 | -0.069293 | 0.0048015
CS09 | 459 | 10 | 178.7 | 0.49557
CS09 | 460 | 5 | 112.8 | 0.28706 | 0.29845 | 0.022781 | 0.00051898
CS09 | 460 | 5 | 120 | 0.30984
[5 empty] | mean diff | 0.010387
[5 empty] | stdev | 0.16935
[5 empty] | MIN | 0
[5 empty] | MAX | 4.8631
2 OUTLIERS
[6 empty] | count | 108 | 106
[6 empty] | SUM | 3.0802 | 1.3357
[6 empty] | Sp | 0.11942 | 0.079375

## May 28, 2010
SI samples only (OVER readings had to rescale)
Cruise 2010-12 WCVI Ammonia Calculations | [9 empty] | Conc uM | Raw Fluor |  |  |  | Conc uM | Raw Fluor
(all times and dates are local) | [7 empty] | Standards | Zero | 0 | 68.1 |  |  |  | 0 | 29.1
Friday, May 28, 2010 | [8 empty] | Zero | 0 | 67.9 |  |  |  | 0 | 28.4
Start time of reaction |  |  | 10:45 | [5 empty] | S1 |  |  | 0.5 | 333.9 |  |  |  | 0.5 | 139.5 | outlier removed, lost pipette tip in tube and had to prepare again, contaminatd
End time of reaction |  |  | 18:45 | [5 empty] | S1 | 0.5 | 238.3 |  |  |  | 0.5 | 96.9
[9 empty] | S3 | 1 | 360.7 |  |  |  | 1 | 149
Sensitivity Factor |  | 27 | [6 empty] | S3 | 1 | 349.9 |  |  |  | 1 | 145.3
S3 mid-range |  | 500 | [6 empty] | S4 | 1.5 | 494.9 |  | Sensitivity Factor | 22 | 1.4 | 204.5
[9 empty] | S4 | 1.5 | 500.9 |  | S3 mid-range | 500 | 1.435 | 210.1
Std water collected at
WR Using WR prepared by JEB-C May 21, 2009 | [9 empty] | NOTE: standards had sat in light on counter during sample reading time, when re-read S3 standards after all samples, got lower readings
used these readings to re-calculate standard concentration using original curve and then reset sensitivity and re measured all standards
| Station | Sample | Depth | Raw Fluor | Conc | Avg | DIFF | Diff Sq
| LB01 | 14 | 20 | 504.5 | 1.5166 | 1.5239 | 0.01446 | 0.00020908
| LB01 | 14 | 20 | 508.6 | 1.5311
| LB01 | 15 | 10 | 381.8 | 1.0839 | 1.0986 | 0.029272 | 0.00085683
| LB01 | 15 | 10 | 390.1 | 1.1132
| LB01 | 16 | 5 | 281.9 | 0.7316 | 0.91622 | 0.36925 | 0.13634
| LB01 | 16 | 5 | 386.6 | 1.1008
| LB02 | 19 | 20 | 592.5 | 1.827 | 1.857 | 0.059954 | 0.0035945
| LB02 | 19 | 20 | 609.5 | 1.8869
| LB02 | 20 | 10 | 390.9 | 1.116 | 1.3787 | 0.52548 | 0.27613
| LB02 | 20 | 10 | 539.9 | 1.6415
| LB02 | 21 | 5 | 301.8 | 0.80178 | 0.78467 | -0.034209 | 0.0011703
| LB02 | 21 | 5 | 292.1 | 0.76757
| LB04 | 26 | 20 | 302.4 | 0.80389 | 0.81536 | 0.022924 | 0.00052549
| LB04 | 26 | 20 | 308.9 | 0.82682
| LB04 | 27 | 10 | 210.5 | 0.47979 | 0.47785 | -0.0038794 | 1.505e-05
| LB04 | 27 | 10 | 209.4 | 0.47591
| LB04 | 28 | 5 | 217 | 0.50271 | 0.54415 | 0.082878 | 0.0068687
| LB04 | 28 | 5 | 240.5 | 0.58559
| LB06 | 33 | 20 | 452.5 | 1.3333 | 1.3743 | 0.082172 | 0.0067523
| LB06 | 33 | 20 | 475.8 | 1.4154
| LB06 | 34 | 10 | 393.3 | 1.1245 | 1.0686 | -0.1118 | 0.012499
| LB06 | 34 | 10 | 361.6 | 1.0127
| LB06 | 35 | 5 | 292.7 | 0.76968 | 0.76439 | -0.01058 | 0.00011194
| LB06 | 35 | 5 | 289.7 | 0.7591
| LB08 | 42 | 20 | 98.7 | 0.085502 | 0.099609 | 0.028214 | 0.00079601
| LB08 | 42 | 20 | 106.7 | 0.11372
| LB08 | 43 | 10 | 103.7 | 0.10314 | 0.060815 | -0.084641 | 0.0071641
| LB08 | 43 | 10 | 79.7 | 0.018494
| LB08 | 44 | 5 | 93.2 | 0.066105 | 0.044063 | -0.044084 | 0.0019434
| LB08 | 44 | 5 | 80.7 | 0.022021
| LB09 | 50 | 20 | 141.2 | 0.23539 | 0.18637 | -0.098043 | 0.0096124
| LB09 | 50 | 20 | 113.4 | 0.13734
| LB09 | 51 | 10 | 100 | 0.090086 | 0.10243 | 0.024687 | 0.00060945
| LB09 | 51 | 10 | 107 | 0.11477
| LB09 | 52 | 5 | 123.7 | 0.17367 | 0.15568 | -0.035972 | 0.001294
| LB09 | 52 | 5 | 113.5 | 0.1377
| LB11 | 61 | 20 | 175.1 | 0.35494 | 0.35706 | 0.0042321 | 1.791e-05
| LB11 | 61 | 20 | 176.3 | 0.35917
| LB11 | 62 | 10 | 135.4 | 0.21493 | 0.13364 | -0.16258 | 0.026433
| LB11 | 62 | 10 | 89.3 | 0.052351
| LB11 | 63 | 5 | 95.8 | 0.075274 | 0.076509 | 0.0024687 | 6.0945e-06
| LB11 | 63 | 5 | 96.5 | 0.077743
| LB12 | 77 | 20 | 210.9 | 0.4812 | 0.45404 | -0.054311 | 0.0029497
| LB12 | 77 | 20 | 195.5 | 0.42689
| LB12 | 78 | 10 | 169.8 | 0.33625 | 0.3784 | 0.084288 | 0.0071045
| LB12 | 78 | 10 | 193.7 | 0.42054
| LB12 | 79 | 5 | 181.9 | 0.37892 | 0.32796 | -0.10192 | 0.010388
| LB12 | 79 | 5 | 153 | 0.277
| LB14 | 95 | 20 | 152.1 | 0.27383 | 0.32585 | 0.10404 | 0.010824
| LB14 | 95 | 20 | 181.6 | 0.37787
| LB14 | 96 | 10 | 225.4 | 0.53234 | 0.48014 | -0.10439 | 0.010897
| LB14 | 96 | 10 | 195.8 | 0.42795
| LB14 | 97 | 5 | 0 | -99 | -99 |  |  | Didn't trip
| LB14 | 97 | 5 | 0 | -99
| LC02 | 176 | 20 | 330.2 | 0.90194 | 1.0686 | 0.33327 | 0.11107
| LC02 | 176 | 20 | 424.7 | 1.2352
| LC02 | 177 | 10 | 403.8 | 1.1615 | 1.1624 | 0.0017634 | 3.1094e-06
| LC02 | 177 | 10 | 404.3 | 1.1633
| LC02 | 178 | 5 | 409.3 | 1.1809 | 1.1832 | 0.0045847 | 2.102e-05
| LC02 | 178 | 5 | 410.6 | 1.1855
| LC04 | 168 | 20 | 455.8 | 1.3449 | 1.3696 | 0.049374 | 0.0024378
| LC04 | 168 | 20 | 469.8 | 1.3943
| LC04 | 169 | 10 | 149.2 | 0.2636 | 0.25937 | -0.0084641 | 7.1641e-05
| LC04 | 169 | 10 | 146.8 | 0.25514
| LC04 | 170 | 5 | 141.2 | 0.23539 | 0.30557 | 0.14036 | 0.019702
| LC04 | 170 | 5 | 181 | 0.37575
| LC06 | 158 | 20 | 142 | 0.23821 | 0.26131 | 0.0462 | 0.0021344
| LC06 | 158 | 20 | 155.1 | 0.28441
| LC06 | 159 | 10 | 112.7 | 0.13488 | 0.22498 | 0.18022 | 0.032477
| LC06 | 159 | 10 | 163.8 | 0.31509
| LC06 | 160 | 5 | 105 | 0.10772 | 0.11654 | 0.017634 | 0.00031094
| LC06 | 160 | 5 | 110 | 0.12535
| LC08 | 151 | 20 | 115.8 | 0.14581 | 0.14193 | -0.0077588 | 6.0199e-05
| LC08 | 151 | 20 | 113.6 | 0.13805
| LC08 | 152 | 10 | 74.3 | 0 | 0 | 0 | 0
| LC08 | 152 | 10 | 73.2 | 0
| LC08 | 153 | 5 | 66 | 0 | 0 | 0 | 0
| LC08 | 153 | 5 | 72.9 | 0
| LC09 | 140 | 20 | 243.6 | 0.59652 | 0.58383 | -0.025392 | 0.00064477
| LC09 | 140 | 20 | 236.4 | 0.57113
| LC09 | 141 | 10 | 62.8 | 0 | 0 | 0 | 0
| LC09 | 141 | 10 | 65.1 | 0
| LC09 | 142 | 5 | 62.9 | 0 | 0 | 0 | 0
| LC09 | 142 | 5 | 67.1 | 0
| LC11 | 124 | 20 | 110.1 | 0.12571 | 0.091144 | -0.069124 | 0.0047781
| LC11 | 124 | 20 | 90.5 | 0.056583
| LC11 | 125 | 10 | 99.2 | 0.087265 | 0.043633 | -0.087265 | 0.0076152
| LC11 | 125 | 10 | 72.23 | 0
| LC11 | 126 | 5 | 79.6 | 0.018141 | 0.0090707 | -0.018141 | 0.00032911
| LC11 | 126 | 5 | 64 | 0
| SI03 | 10 | 20 | 492.2 | 3.7437 | 3.8136 | 0.13983 | 0.019553
| SI03 | 10 | 20 | 509.5 | 3.8835
| SI03 | 11 | 10 | 630.7 | 4.8631 | 4.8583 | -0.0096993 | 9.4077e-05
| SI03 | 11 | 10 | 629.5 | 4.8534
| SI03 | 12 | 5 | 422.5 | 3.1803 | 2.5581 | -1.2118 | 1.4684 | 971.6 | 3.164 | these readings from original curve
| SI03 | 12 | 5 | 290.4 | 2.1126 |  |  |  | 628 | 1.9522
Si samples calculated on seperate curve after re-setting sensitivty

## May 31, 2010
Cruise 2010-12 WCVI Ammonia Calculations | [9 empty] | Conc uM | Raw Fluor
(all times and dates are local) | [7 empty] | Standards | Zero | 0 | 48.9
Monday, May 31, 2010 | [8 empty] | Zero | 0 | 48.4
Start time of reaction |  |  | 10:35 | [5 empty] | S1 | 0.5 | 201.2
End time of reaction |  |  | 23:00 | [5 empty] | S1 | 0.5 | 204.5
[9 empty] | S3 | 1 | 350.3
Sensitivity Factor |  | 26 | [6 empty] | S3 | 1 | 347.5
S3 mid-range |  | 500 | [6 empty] | S4 | 1.5 | 496.7
[9 empty] | S4 | 1.5 | 493.1
Std water collected at
WR Using WR prepared by JEB-C May 21, 2009
| Station | Sample | Depth | Raw Fluor | Conc | Avg | diff | Diff Sq
| LBP3 | 340 | 20 | 301.4 | 0.84286 | 0.9166 | 0.14749 | 0.021755
| LBP3 | 340 | 20 | 345.2 | 0.99035
| LBP3 | 341 | 10 | 301 | 0.84151 | 0.8368 | -0.0094289 | 8.8904e-05
| LBP3 | 341 | 10 | 298.2 | 0.83208
| LBP3 | 342 | 5 | 304.3 | 0.85262 | 0.89741 | 0.089574 | 0.0080236
| LBP3 | 342 | 5 | 330.9 | 0.9422
| LBP5 | 360 | 20 | 277 | 0.76069 | 0.77669 | 0.031991 | 0.0010234
| LBP5 | 360 | 20 | 286.5 | 0.79268
| LBP5 | 361 | 10 | 246.1 | 0.65664 | 0.66287 | 0.01246 | 0.00015524
| LBP5 | 361 | 10 | 249.8 | 0.6691
| LBP5 | 362 | 5 | 254.7 | 0.6856 | 0.67583 | -0.019531 | 0.00038147
| LBP5 | 362 | 5 | 248.9 | 0.66607
| LC01 | 183 | 20 | 565.1 | 1.7309 | 1.78 | 0.09833 | 0.0096687
| LC01 | 183 | 20 | 594.3 | 1.8292
| LC01 | 184 | 10 | 442.3 | 1.3173 | 1.3589 | 0.083176 | 0.0069183
| LC01 | 184 | 10 | 467 | 1.4005
| LC01 | 185 | 5 | 452.6 | 1.352 | 1.578 | 0.45191 | 0.20423
| LC01 | 185 | 5 | 586.8 | 1.8039
| LD01 | 186 | 20 | 598.2 | 1.8423
| LD01 | 187 | 10 | 638.5 | 1.978
| LD01 | 189 | 5 | 161.7 | 0.37242 | 0.33892 | -0.067012 | 0.0044907
| LD01 | 189 | 5 | 141.8 | 0.30541
| LD02 | 191 | 20 | 627.8 | 1.942 | 1.9087 | -0.066676 | 0.0044456
| LD02 | 191 | 20 | 608 | 1.8753
| LD02 | 192 | 10 | 329.3 | 0.93681 | 1.0365 | 0.19935 | 0.039742
| LD02 | 192 | 10 | 388.5 | 1.1362
| LD02 | 193 | 5 | 370.4 | 1.0752 | 0.95971 | -0.23101 | 0.053364
| LD02 | 193 | 5 | 301.8 | 0.8442
| LD04 | 196 | 20 | 406.7 | 1.1975 | 1.2193 | 0.043777 | 0.0019164
| LD04 | 196 | 20 | 419.7 | 1.2412
| LD04 | 197 | 10 | 308.6 | 0.8671 | 0.83949 | -0.055226 | 0.0030499
| LD04 | 197 | 10 | 292.2 | 0.81188
| LD04 | 198 | 5 | 265.9 | 0.72331 | 0.85498 | 0.26334 | 0.069345
| LD04 | 198 | 5 | 344.1 | 0.98665
| LD06 | 204 | 20 | 153 | 0.34313 | 0.37731 | 0.068359 | 0.004673
| LD06 | 204 | 20 | 173.3 | 0.41149
| LD06 | 205 | 10 | 167.6 | 0.39229 | 0.38758 | -0.0094289 | 8.8904e-05
| LD06 | 205 | 10 | 164.8 | 0.38286
| LD06 | 206 | 5 | 162 | 0.37343 | 0.28891 | -0.16905 | 0.028577
| LD06 | 206 | 5 | 111.8 | 0.20439
| LD08 | 220 | 20 | 117.5 | 0.22358 | 0.39263 | 0.33809 | 0.11431
| LD08 | 220 | 20 | 217.9 | 0.56167
| LD08 | 221 | 10 | 186.8 | 0.45695 | 0.29127 | -0.33136 | 0.1098
| LD08 | 221 | 10 | 88.4 | 0.12559
| LD08 | 222 | 5 | 104.2 | 0.1788 | 0.13754 | -0.082503 | 0.0068067
| LD08 | 222 | 5 | 79.7 | 0.096292
| LD09 | 237 | 20 | 97.4 | 0.1559 | 0.14731 | -0.017174 | 0.00029495
| LD09 | 237 | 20 | 92.3 | 0.13872
| LD09 | 238 | 10 | 100.8 | 0.16735 | 0.13855 | -0.057584 | 0.0033159
| LD09 | 238 | 10 | 83.7 | 0.10976
| LD09 | 239 | 5 | 143 | 0.30945 | 0.26921 | -0.080482 | 0.0064774
| LD09 | 239 | 5 | 119.1 | 0.22897
| LD11 | 257 | 20 | 73.5 | 0.075414 | 0.10235 | 0.053879 | 0.002903
| LD11 | 257 | 20 | 89.5 | 0.12929
| LD11 | 258 | 10 | 97.2 | 0.15522 | 0.14057 | -0.029297 | 0.00085831
| LD11 | 258 | 10 | 88.5 | 0.12593
| LD11 | 259 | 5 | 88.8 | 0.12694 | 0.16701 | 0.080145 | 0.0064233
| LD11 | 259 | 5 | 112.6 | 0.20708
| LG01 | 325 | 20 | 93.8 | 0.14377 | 0.17139 | 0.055226 | 0.0030499
| LG01 | 325 | 20 | 110.2 | 0.199
| LG01 | 326 | 10 | 65.5 | 0.048475 | 0.033658 | -0.029634 | 0.00087815
| LG01 | 326 | 10 | 56.7 | 0.018841
| LG01 | 327 | 5 | 80.7 | 0.09966 | 0.11532 | 0.031317 | 0.00098078
| LG01 | 327 | 5 | 90 | 0.13098
| LG02 | 320 | 20 | 163.5 | 0.37849 | 0.38909 | 0.021215 | 0.00045008
| LG02 | 320 | 20 | 169.8 | 0.3997
| LG02 | 321 | 10 | 124.1 | 0.24581 | 0.23773 | -0.016164 | 0.00026127
| LG02 | 321 | 10 | 119.3 | 0.22964
| LG02 | 322 | 5 | 156.5 | 0.35491 | 0.4226 | 0.13537 | 0.018326
| LG02 | 322 | 5 | 196.7 | 0.49028
| LG04 | 312 | 20 | 80.7 | 0.09966 | 0.13535 | 0.07139 | 0.0050965
| LG04 | 312 | 20 | 101.9 | 0.17105
| LG04 | 313 | 10 | 21.1 | 0 | 0 | 0 | 0
| LG04 | 313 | 10 | 50.4 | 0
| LG04 | 314 | 5 | 26.8 | 0 | 0 | 0 | 0
| LG04 | 314 | 5 | 27.3 | 0
| LG06 | 303 | 20 | 100.9 | 0.16768 | 0.16785 | 0.00033675 | 1.134e-07
| LG06 | 303 | 20 | 101 | 0.16802
| LG06 | 304 | 10 | 42.5 | 0 | 0.010936 | 0.021872 | 0.00047837
| LG06 | 304 | 10 | 57.6 | 0.021872
| LG06 | 305 | 5 | 72.2 | 0.071037 | 0.12896 | 0.11584 | 0.013419
| LG06 | 305 | 5 | 106.6 | 0.18688
| LG09 | 278 | 20 | 118.6 | 0.22729 | 0.21281 | -0.02896 | 0.00083869
| LG09 | 278 | 20 | 110 | 0.19833
| LG09 | 279 | 10 | 159.8 | 0.36603 | 0.28066 | -0.17073 | 0.029149
| LG09 | 279 | 10 | 109.1 | 0.1953
| LG09 | 280 | 5 | 87.8 | 0.12357 | 0.13014 | 0.013133 | 0.00017248
| LG09 | 280 | 5 | 91.7 | 0.1367

## June 1, 2010
Cruise 2010-12 WCVI Ammonia Calculations | [9 empty] | Conc uM | Raw Fluor
(all times and dates are local) | [7 empty] | Standards | Zero | 0 | 16.2
TUESDAY June 1, 2010 | [8 empty] | Zero | 0 | 16.9
Start time of reaction |  |  | 9:15 | [5 empty] | S1 | 0.5 | 193.8
End time of reaction |  |  | 19:10 | [5 empty] | S1 | 0.5 | 182.4
[9 empty] | S3 | 1 | 339.8
Sensitivity Factor |  | 26 | [6 empty] | S3 | 1 | 337.6
S3 mid-range |  | 500 | [6 empty] | S4 | 1.5 | 498.8
[9 empty] | S4 | 1.5 | 487.4
Std water collected at
WR Using WR prepared by JEB-C May 21, 2009
| Station | Sample | Depth | Raw Fluor | Conc | Avg | diff | Diff Sq
| LBP7 | 383 | 20 | 151.8 | 0.41046 | 0.4527 | 0.08448 | 0.0071369
| LBP7 | 383 | 20 | 178.5 | 0.49494
| LBP7 | 384 | 10 | 184.4 | 0.51361 | 0.45507 | -0.11707 | 0.013705
| LBP7 | 384 | 10 | 147.4 | 0.39654
| LBP7 | 385 | 5 | 150.2 | 0.40539 | 0.40255 | -0.0056953 | 3.2436e-05
| LBP7 | 385 | 5 | 148.4 | 0.3997
| CS00 | 415 | 20 | 140.6 | 0.37502 | 0.36679 | -0.016453 | 0.0002707
| CS00 | 415 | 20 | 135.4 | 0.35857
| CS00 | 416 | 10 | 109.8 | 0.27757 | 0.34164 | 0.12814 | 0.016421
| CS00 | 416 | 10 | 150.3 | 0.40571
| CS00 | 417 | 5 | 108.9 | 0.27472 | 0.27678 | 0.0041133 | 1.6919e-05
| CS00 | 417 | 5 | 110.2 | 0.27883
| CS02 | 432 | 20 | 230.3 | 0.65884 | 0.64128 | -0.035121 | 0.0012335
| CS02 | 432 | 20 | 219.2 | 0.62371
| CS02 | 433 | 10 | 206.6 | 0.58385 | 0.56486 | -0.037969 | 0.0014416
| CS02 | 433 | 10 | 194.6 | 0.54588
| CS02 | 434 | 5 | 191.1 | 0.5348 | 0.54351 | 0.017402 | 0.00030284
| CS02 | 434 | 5 | 196.6 | 0.55221
| CS04 | 441 | 20 | 123.6 | 0.32123 | 0.39527 | 0.14808 | 0.021927
| CS04 | 441 | 20 | 170.4 | 0.46931
| CS04 | 442 | 10 | 54.2 | 0.10165 | 0.091204 | -0.020883 | 0.00043609
| CS04 | 442 | 10 | 47.6 | 0.080763
| CS04 | 443 | 5 | 44.7 | 0.071587 | 0.073802 | 0.0044297 | 1.9622e-05
| CS04 | 443 | 5 | 46.1 | 0.076016
| CS06 | 447 | 20 | 613.2 | 1.8704 | 1.8284 | -0.083847 | 0.0070304
| CS06 | 447 | 20 | 586.7 | 1.7865
| CS06 | 448 | 10 | 439.4 | 1.3204 | 1.3741 | 0.10726 | 0.011505 | CHANGED FROM #446, ASSUMED TO BE DUP
| CS06 | 448 | 10 | 473.3 | 1.4277
| CS06 | 449 | 5 | 302.4 | 0.88696 | 0.86418 | -0.045562 | 0.0020759
| CS06 | 449 | 5 | 288 | 0.8414
| CS09 | 458 | 20 | 771.8 | 2.3722 | 2.3807 | 0.017086 | 0.00029193
| CS09 | 458 | 20 | 777.2 | 2.3893
| CS09 | 459 | 10 | 200.6 | 0.56486 | 0.53022 | -0.069293 | 0.0048015
| CS09 | 459 | 10 | 178.7 | 0.49557
| CS09 | 460 | 5 | 112.8 | 0.28706 | 0.29845 | 0.022781 | 0.00051898
| CS09 | 460 | 5 | 120 | 0.30984