## REVISION NOTICE TABLE

| ### DATE | ### DESCRIPTION OF REVISION |
| --- | --- |
| ### 1 April 2025 | ### Updated channel names & formats in TOB & loop files. GG & SH |
| ### 4 May 2022 | ### Padded bad DO data in casts 75-80 and loop file. Moved SAL, DO & NUT data that was in the wrong place in file 2010-013-0041.che. |
| ### 25 Nov 2021 | ### Correcting Salinity:Bottle precision lost during HPLC addition. S.H. |
| ### 25 Nov 2020 | ### Added HPLC data. S.H. |
| 24 July 2020 | Corrected DMSP values with higher precision; Add DMSP to cast 48. |
| 03-Oct-2017 | Corrected MISSION metadata field in header. R.H. |
| 06 May 2016 | Changed blank flag values to zero in five CHE files. R.H. |
| 15 July 2015 | Added DMSP data to CHE files. G.G. |
| 16-Oct-2013 | For file 2010-13-0041.CHE the Carbon, Alkalinity and pH values were replaced with pad values and flag values set to 5 since this bottle was misfired, probably at 1500m. |
| 8 July 2013 | Corrections to Nitrate and Phosphate data; see headers for details. |
| 20-Jul-2011 | Changed instrument serial number in the thermosalinograph files from 2487 to 2488. |
| 20-Jul-2011 | Added Lisa Miller’s Dissolved Inorganic Carbon, Alkalinity and pH data to the rosette files. J.L. |

## PROCESSING NOTES

Cruise: 2010-13

Agency: OSD

Location: North-East Pacific

Project: Line P

Party Chief: Robert M.

Platform: John P. Tully

Date: June 5, 2010 – June 22, 2010

Processed by: Germaine Gatien

Date of Processing: 23 August 2010 – 24 November, 2010

Number of original CTD casts: 50 (53 files)	    	Number of CTD casts processed: 50

Number of bottle casts: 	50 (53 files)			Number of bottle casts processed: 50

Number of original TSG files: 5 		         	Number of TSG files processed: 5

# INSTRUMENT SUMMARY

A SeaBird Model SBE 911+ CTD (#0506) was used during this cruise. It was mounted in a rosette and attached were a Wetlabs CSTAR transmissometer (#1005DR), a SBE 43 DO sensor (#1176) on the primary pump), a Seapoint Fluorometer (#2345) with a 10X cable (on the primary pump), a Biospherical QSP-400 PAR sensor (#4694), an unpumped pH sensor (#692) and an altimeter (#1024). All casts were run with deck unit #0424. All casts were run with the LARS mid-ship station. Seasave version 7.16 was used. The salinometer used at sea was a Guildline Portasal (S/N 58879) and that used at IOS was a Guildline model 8400B Autosal, serial # 68572.

A thermosalinograph (SeaBird 21 S/N 2248) was mounted with a Wetlab/Wetstar fluorometer (WS3S-713P), remote temperature sensor #2416 and a flow meter.

# SUMMARY OF QUALITY AND CONCERNS

The CTD and rosette logs were generally in good order but there was no information entered about the thermosalinograph. The sampling notes from the Chief Scientist were extremely helpful in dealing with problems that occurred at sea.

For cruises with complex sampling it is recommended that a rosette sheet be used on every cast with any sampling, even just 1 or 2 bottles. Not doing this makes it very difficult to ensure that all samples are in the final bottle files. Often log notes are missing or hard to read, but even when they are clear it is a very slow process to check both rosette sheets and log book against bottle file contents. The bottle file preparation is the most difficult part of Line P processing, especially when there are computer crashes mid-cast; rosette sheets for every cast would be a big help. For this cruise that would have required 18 extra sheets. On many occasions there were consecutive casts with only 2 bottles fired – those could be combined on a single rosette sheet as long as it is clearly labelled that it applies to more than one cast.

Tests were done to fine-tune the values of parameters E, H1 & H3 for the DO configuration.

In order to get the correct bottle position numbers into the bottle files (important for the table-driven method of firing bottles) conversion of the hex files must be done by selecting BL files as the source of scan range data.  That was not done for these data, so text editing was done at the end to get the right bottle position entries for casts #69-80; for those casts firing was table-driven to avoid using Niskin #1 which was not working well.

The salinity analysis spreadsheet has sample number and station name in the same column. It would be much more efficient to record these in separate columns since someone else will need to separate them later and that process is error-prone. Having an event # column would also be helpful, but not essential.

In three cases data acquisition was interrupted so that there are 2 files for each deployment. Data were combined as required and event numbers were set to match the first of each of the set: #22, #25 & #35. For the latter 2 casts there are gaps of about 58db and 78db, respectively, in the CTD files.

Cruise 2010-13 followed 2010-12 and used mostly the same equipment so the calibration comparisons were examined together. The Autosal appears to have worked well. A Portasal was used for 2 casts and the results look consistently higher than the Autosal by ~0.0018. Portasal values were adjusted by subtracting 0.0018 and “c” flags were added to those values in the bottle files. There was significant drift in the primary conductivity sensor, so the secondary were selected for the archive.

It is notable that the secondary CTD salinity read higher than bottles. For the past few years we have found the CTD to be consistently lower than bottles even when a post-cruise calibration indicated minimal drift. Sampling problems (worn lids, chipped bottles or salt crystals in the bottles) have been suggested as the cause. The chief scientist is not aware of any action taken on this cruise to alleviate any of those problems, but it is possible that the bottles were washed more effectively than usual. Or, if may just be that the sensor has drifted high enough that it offset any sampling problem. The scatter in the fit is relatively high, which could be due to analysis or sampling problems.

During cast #36 there was an odd shift in secondary conductivity during the upcast. For cast #18 the downcast secondary salinity data were corrupted, so the primary channels were archived. For all casts other than #18 the secondary salinity channels were selected due to evidence of significant calibration drift in the primary conductivity sensor.

An Argo float was launched during this cruise and the temperature, salinity and dissolved oxygen data compare very well with the CTD data from a cast run about 24 hours before the end of the initial Argo cast. The salinity compares better after recalibration of the CTD secondary salinity. This is particularly encouraging because the salinity bottle comparison was noisy, and the recalibration applied was based on the results of 2010-12 and 2010-13 combined.

The precision of the SBE dissolved oxygen channel is difficult to estimate because the comparison with bottles was very noisy, but roughly, the comparison shows DO to be:

•	±0.3ml/l from 0-200 db (Values tend to be slightly high)

•	±0.2ml/l from 200-600 db (Values tend to be slightly high)

•	±0.04ml/l from 600-2000 db

•	±0.05ml/l from 2000-4000 db (Values tend to be slightly low)

Unusually low SBE Dissolved Oxygen values were found for some casts at P26. These are lower than any others noted at P26 in the 8 spring cruises during which this type of sensor has been used. There were some lower values in the winter cruise of 2003, though the sensor and processing methods were not as good at that time, so this may not be reliable. A low value was also seen in August 2007, though not as low as from 2010. Inshore of P26 oxygen minimum values are often lower than at P26, though not usually as low as the lowest values seen in these data.

Even more notable than the low values, is the variability seen at P26. To see changes during the 4 days spent at P26 from 0.4mL/L for the first 3 casts to 0.12mL/L near the end is surprising. Temperature and salinity changes are consistent with real change, and preliminary evidence from an Argo float with an Optode oxygen sensor shows that values were ~0.25mL/L for 4 months and ~0.17 for one July cast. The SBE DO sensor appears to have malfunctioned earlier in the cruise for 2 casts, but that does not seem to be the case at P26. The only DO and nutrient sampling at P26 coincides with the higher DO values, so we cannot confirm the lower values. The value of DO sampling is clear. A little more sampling at the end of the cruise would lend confidence that the sensor was performing well throughout. If tracking oxygen minimum values is important, then titrated samples will be needed for confidence in the sensor results.

The Thermosalinograph performed reasonably well, with none of the download problems seen during its use in two other 2010 cruises. There were variations in the flow rate, and some shifts in salinity values during the period of lowest flow rate. It has been noted in the past that the difference between loop and TSG salinity varies with flow rate. That seems hard to explain, unless air bubbles or fresh water can get into the loop when the flow rate is low. There was no loop or CTD sampling during the time when TSG salinity appeared to shift, so the same recalibration scheme was applied throughout.

There is quite good agreement between samples from the loop and those from rosette bottles taken at the same time. Agreement between TSG and CTD data are also reasonably good. But the comparison of loops and TSG data raises questions about how well the system works while the ship is steaming. The variations in loop salinity for the Juan de Fuca samples look random, whereas the TSG values look fairly smooth. For JF2, JF3 and JF4 the CHL loop samples had much higher values than at JF1, while the TSG fluorescence varied little. This could indicate that calibration of TSG data based on underway sampling is not reliable. What could affect the loop samples, but not the TSG? Or, are the loops reliable and the TSG is failing to record the variability? If there are more bubbles in the loop while underway, might those affect loop samples more or less than the TSG? The TSG data used in the comparisons have been smoothed slightly (by choosing the median over 2 minutes - 5 samples). If there is a desire to get good TSG salinity calibration while underway, it might help to take underway loop samples under a variety of conditions, recording such variables as ship speed, direction, sea state and other activities drawing water from the loop.

# PROCESSING SUMMARY

##### Seasave

This step was completed at sea; the raw data files have extension HEX.

##### Preliminary Steps

The Log Book and rosette log sheets were obtained as well as a summary from the chief scientist of problems and points of interest with reference to processing.

There were some Niskin firings with no associated sampling.

Cast #28 corresponds to an Argo Float launch. (Serial number #4833)

PAR and pH sensors were on for casts # 1-5, 13, 22/23, 37, 43, 47, 48, 54, 63, 65 and 70. That channel will be converted for all casts, but will be removed at the end from casts with no signal.

Extracted chlorophyll, nutrients, dissolved oxygen, salinity and DMS data were obtained in spreadsheet format.

The cruise summary sheet was completed.

The history of the pressure sensor, conductivity and DO sensors were obtained.

The calibration constants were checked for all instruments. There were a number of problems:

- The transmissometer calibration date was wrong.

- The date and parameters for the dissolved oxygen sensor were not from the most recent calibration.

- The slope was entered wrong for the pressure. This was only discovered after considerable work had been done on the bottle files, so the SAM files were recalibrated before merging with the bottle data. The full CTD files were converted with the correct slope.

After those errors were corrected the file configuration file was saved as 2010-13-ctd.con.

##### Tests for DO parameters

The dissolved oxygen sensor was recalibrated in November 2009. This cruise offered the first opportunity since that time to fine-tune the parameters E, H1 and H3. The nominal values for the 3 parameters are 3.6, -0.033 & 1450 and the values found to produce the best results before the last recalibration were 3.65, -0.028 & 1350.

1. The first step was to investigate the value of E that minimizes hysteresis at depth. Data were converted with a variety of E values and then COMPARE was run to see how the differences above and below the DO minimum compared.

1a. Two deep casts with DO bottle sampling (41 and 49) were converted with TAU turned off and hysteresis correction selected. An initial check showed that the values of E, H1 and H3 used before the most recent recalibration did not work very well to reduce hysteresis – they looked worse than the nominal values.

1b. The first steps suggest that the value of E should be <3.6 so tests were done with 3.5 and 3.55. Both look reasonable, but 3.5 is overall better, and the differences suggest that going any lower would produce worse results.

2. Tests were next run on parameter H1. Conversion was done with E=3.5 and H1 set to -0.023, -0.033 and -0.043. When examined in COMPARE in a similar way to the E tests described above, the choice of -0.033 was best overall, though close to the oxygen minimum -0.028 might be better. There is sufficient noise in the comparison that further tests don’t seem warranted, so H1=0.033 will be used.

3. Tests were run on parameter H3 in the same fashion using 1350s, 1450s and 1550s and again the nominal value of 1450s looks best, though the differences were slight.

4. Finally, both hysteresis (with E, H1 and H3 as determined above) and the TAU correction were selected to see how well the TAU correction works, and at what cost to the deep data noise level.  Full profiles were converted and plotted. Tests were run on cast #41 to see if the TAU correction should be applied. At a depth of 3800db the noise level is ~±0.0075ml/l without the correction and ~±0.0125ml/l with the correction. The difference will be reduced after metre-averaging. The correction clearly produces more variability in the DO trace. But is that noise or signal? A plot was produced with the DO with Tau correction and without alongside the temperature trace. This makes it clear that the Tau correction makes the DO look more like temperature, so probably reflects better resolution. In any case many of the larger spikes in DO will be removed in the course of editing temperature spikes due to shed wake corruption.

These tests need only be done if there has been a recalibration since the previous test and if there is sampling below 2000m; tests on E seem most important.

The history file for these sensors was edited to add this information.

##### Conversion of Raw Data

NOTE: It was discovered after a lot of work had been done on the bottle files, that there was a small error in the pressure calibration slope. It should have been 0.99988, not 1. This was corrected later for the bottle files. The CTD files were reconverted since little work had been done on those, so they do not require pressure recalibration.

Data were converted using configuration file 2010-13-ctd.con.

Corrections were made to headers based on the Chief Scientists notes.

A few casts were examined and all expected channels are present. The temperature and conductivity pairs seem further apart than usual; the primary has many spikes, but the secondary has very noisy upcast data. The dissolved oxygen voltage looks quite good with only minimal offset between upcast and downcast below the DO minimum. Transmissivity looks low with more hysteresis than usual – this fits other observations from this sensor and will be investigated later. As usual for offshore work the descent rate was noisy, but since it was kept high reversals were not common for most casts. However, a few look like heavy corruption by shed wakes is likely. The altimeter appears to have worked well, though few casts came close to the bottom. Fluorescence looks ok with dark values <0.05ug/L. PAR looks fine. The pH traces closely resemble the oxygen voltage channel, but with more hysteresis; it was not pumped.

During cast #36 the secondary conductivity suddenly shifted to lower values (very close to the primary) at about 1740db of the upcast; at about 400db it shifted back to expected values.

Rosette files were converted using a start time of -5s and duration of 10s. The TAU and hysteresis corrections were chosen.

The rosette files were then converted to IOS SHELL files. CLEAN was run to add event numbers, with output named *.BOT.

Temperature and salinity were plotted for all BOT files and a few casts appeared to have outliers. Those casts were examined in CTDEDIT and a few spikes that appeared to be instrumental in nature were removed from primary and secondary salinity in casts 33, 52 and 65. The output files were then copied to *.BOT. Editing details were added to the header comments.

Casts 22/23, 25/26 and 35/36 are cases where casts were interrupted and files will need to be merged. The first # will be the one selected for the final files.

- The downcast data is all in #22 so no action is needed for that.

- The downcasts for 25 and 35 will require combining 2 files each after conversion to IOS SHELL.

- The rosette data for #22 will have to be combined. #22 was renamed as 2010-13-0022.BOT1 and #23 as 2010-13-0022.BOT2, then they were joined as 2010-13-0022.BOT

- The rosette data were all in files #26 and 36, so BOT files #25 and 35 were deleted, then #26 was renamed #25 and #36 was renamed #35.

##### WILDEDIT

Program WILDEDIT was run to remove spikes from the pressure, conductivity, temperature and descent rate channels only.

Parameters used were: 	Pass 1    Std Dev = 2 	Pass 2    Std Dev = 5 	Points per block = 50

The parameter “Keep data within this distance of the mean” was set to 0 so all spikes would be removed.

##### CELLTM

Tests were run comparing a variety of settings for CELLTM. The results were difficult to judge because the data were very noisy and the best setting varied from depth to depth and from cast to cast.

The choice (α = 0.03, β=9) looked best overall for the primary and (α = 0.02, β=9) was best for the secondary. CELLTM was run on all casts using those settings.

##### DERIVE

Program DERIVE was run twice:

on all casts to calculate primary and secondary salinity and dissolved oxygen concentration.

on a few casts to calculate the differences between primary and secondary channels for temperature, conductivity and salinity. These were placed in a test directory and will not be archived.

##### Test Plots and Channel Check

A sample of casts was plotted to check for agreement between the pairs of T and C sensors. The differences are often extremely noisy so these are very rough estimates.

| Cast # | Press | T1-T0 | C1-C0 | S1-S0 | Descent Rate |
| --- | --- | --- | --- | --- | --- |
| 19 | 500 1000 1900 | -0.0007 XN -0.0005 XN -0.0002 N | 0.00065 VN 0.0007 VN 0.00073 | 0.00084 VN ~0.01 XN 0.0093 VN | High, noisy |
| 27 | 500 1000 1900 | -0.001 VN ~0 VN -0.0002 | 0.00067 0.0007 0.00072 | 0.0087 VN 0.0084 VN 0.0092 VN | High |
| 39 | 500 1000 1900 | -0.0004 -0.0004 -0.0004 | 0.00074 0.00074 0.00074 | 0.0090 VN 0.0094 VN 0.0096 VN | High, noisy |
| 49 | 500 1000 1900 3000 3500 | -0.0009 XN -0.0045 XN -0.0002 N -0.0004 -0.0004 | 0.00074 0.00049 XN 0.00077 N 0.00048 VN 0.00086 XN | 0.0098 VN 0.0106 XN 0.0099 VN 0.0102 XN 0.0108 XN | High X Noisy |
| 76 | 500 1000 1900 | -0.00043 -0.00041 -0.00049 | 0.00077 N 0.00075 0.00074 | 0.0100 VN 0.0094 N 0.0096 VN | High, very noisy |

The temperature differences are reasonably small; they might be increasing with time, but that is not clear due to noise increasing with time. Conductivity differences are small and with possible slight increases with time and pressure. Salinity differences may be increasing slightly with time, and probably have a small increase with pressure though the noise in the data makes such an interpretation weak.

##### Conversion to IOS Headers

The IOSSHELL routine was used to convert SEA-Bird 911+ CNV files to IOS Headers,

CLEAN was run to add event numbers and to replace pad values in the Pressure channel using linear interpolation based on scan number.

At this point the files for casts 25/26 and 35/36 were joined by renaming as following

2010-13-0025.CLN Renamed as 2010-13-0025.CLN1

2010-13-0026.CLN Renamed as 2010-13-0025.CLN2   - Joined to make 2010-13-0025.CLN

NOTE: Gap from 646 to 704db.

2010-13-0035.CLN Renamed as 2010-13-0035.CLN1

2010-13-0036.CLN Renamed as 2010-13-0035.CLN2   - Joined to make 2010-13-0035.CLN

NOTE: Gap from 2502-2580db.

##### Checking Headers

The header check was run. The only problem noted was that the maximum transmissivity was 25.4%/m. There are known problems with the transmissivity from this sensor and it will be recalibrated later. The fluorescence was highest at cast #5; while it approached the maximum values, there is still detail in the shape so it does not appear to be off-scale.

The cross-reference check was compared with the log book and a few errors corrected.

The cruise track was plotted and added to the end of this report. No problems were found.

The surface values program was run. The average surface pressure was 2.5db. The chief scientist noted that the CTD was brought through the surface with the pumps on during cast #80. Examination of that data shows values ~-0.8db just as the conductivity begins to drop sharply. The transmissivity drops to 0 at the same level. Observations during 2010-12 with the same CTD also indicate that values are low by ~0.8db.

The altimeter readings from the headers of the CLN and BOT files were exported to a spreadsheet and all casts with readings were checked. Plots were made and the log book was checked. The algorithm worked well where the CTD got close to the bottom, but it recorded erroneous low values for cast #28 for the full file and the bottle file. The altimetry header was removed for that cast from both the CLN files and the MRG files.

The water depths were also checked; there was no entry in the headers for a few casts, so one was added based on the log book entry. The same changes had been made earlier to the bottle files.

##### BOTTLE FILE PREPARATION

The BOT files were averaged to enable an addsamp file to be created. This file was edited to add sample numbers taken from the rosette sheets; notes from the chief scientist were helpful in determining cases of bottles fired, but no sampling done and no sample numbers assigned. There were a few rosette casts that were table-driven. The bottle positions produced at conversion appear to be wrong – they are all equal to the bottle firing order. So bottle position numbers were added to the addsamp file to ensure we have that information available in the bottle files. It is not clear what was done for cast #80; there is a note that bottle #1 was not used for 75, 76 and 79, so it seems likely it was not used for #80 either. The chief scientist’s notes mention it was not used for #78 and 79 and there was no #78 cast, so probably this is a typo and should be 79 and 80. So it will be assumed that Position #1 was not used for cast #80. All bottles were fired for the calibration cast #77.  NOTE: It was realized later that the bottle position data was lost because the files were not converted by taking the scan range data from BL files.

The addsamp.csv file was converted to CST files (with bottle position # included) to be used as a framework for the bottle files. It was used to add sample numbers to the BOT files. The SAM files were then bin-averaged. A few lines were removed from SAMAVG files since there was no sampling:

- Cast #1: bottles 12-24 were removed since there was no sampling from those bottles

- Casts #19 & 20: bottles 2 and 4

- Cast #27: bottles 12-14

After the bottle files had been prepared it was discovered that the wrong slope had been used in the pressure calibration. This was corrected before converting the full profile files, but for the SAM and SAMAVG files it was wrong. CALIBRATE was used to multiply the pressure by 0.99988.

SALINITY

Salinity analysis was done at sea using Portasal #58879 and at IOS using Guildline Autosal #Model 8400B, serial #68572.

The Autosal data were delivered in spreadsheet “2010-13.xls” which included duplicates, loop samples and samples for Laval that do not appear to relate to the rosette files. The analysis log sheets were also available. Loop data were copied to spreadsheet 2010-13-sal-loop.xls and those data and the Laval data were removed from the main file which was then saved as 2010-13-sal-auto.csv. There were comments, but not flags – all described potentially serious problems so a “d” flag was added to each. The format was awkward with sample numbers and station names entered in a single column. Those were separated and then the event numbers were added in another column. The duplicates were copied to a separate spreadsheet (2010-13-sal-duplicates.xls) and then the two values were replaced with the average, together with an “f” flag, with the exception of sample #159. In that case one sample had been flagged due to salt crystals found on the rim; that sample read higher than the other which is consistent with evaporation of sample due to being poorly sealed. So the unflagged sample was used. Samples #27 and 265 had corrupted entries in the spreadsheet, so were replaced with pad values and “e” flags. (The analyst was unable to retrieve those data.) The file was then converted into individual *.SAL files.

The Portasal data were delivered in 2 text files which contained all the readings and some clear errors.  The files were opened in EXCEL, combined and saved as 2010-13-sal-port.csv. The analysis log sheets were available so it was obvious how to correct the problems. There were 2 readings entered for each sample, so those were averaged. There were duplicates taken from 2 of the bottles, so those values were copied to the same duplicate analysis sheet as the Autosal data. In one case only 1 sample was analyzed on the Portasal and 1 on the Autosal. In the other case both were analyzed on the Portasal, so those were averaged. A comment was added to each of the Portasal readings to indicate that it was done on the Portasal at sea. The file was converted to individual SALP files. There are both SAL and SALP files for cast #35. The SAL file was deleted and then the two SALP files were renamed *.SAL. The only sample # analyzed on both salinometers was sample #203 (cast #35); the Autosal result was entered as a comment in the header.

In spreadsheet 2010-13-sal-duplicates.xls an analysis was done of differences.

- Only one pair was run on the Portasal and they differ by 0.0006.

- For 1 pair of duplicates one was run on the Portasal and one on the Autosal. The difference was 0.0013 with the Portasal reading higher.

- There were 5 pairs of duplicates run on the Autosal. (Two others were indicated on the rosette sheets but were not found in the analysis, so perhaps were not actually gathered.) One sample was noted to have salt on the rim and has a significantly higher salinity than the other of the pair, so it was excluded. Another pair differed by >0.005 but there is no known problem with either. The other 3 differ by <0.0007, which is excellent repeatability.

- There are also cases of multiple bottles at a single depth. Two bottles each were fired at 3000m during casts 25 and 35. One difference was very large, but examination of other samples from the same Niskin bottle show that while the bottle was fired at ~3000m, it closed around 1500m instead. The other pair differed by 0.0035.

- During cast #77 22 bottles were fired at ~2000m. The standard deviation among these was 0.003, or 0.001 if one outlier was excluded.

DISSOLVED OXGYEN

Dissolved oxygen data were provided in spreadsheet 2010-13oxy.xls and a duplicate study is in file 2010-13-oxygen-duplicates.xls. The spreadsheet was simplified and loop samples were copied to file 2010-13-loop.xls and then removed. The spreadsheet was then saved as 2010-13oxy.csv and that file was converted into individual *.ADD files. There was also an analysis of loop versus rosette samples. The loop values were added to file 2010-13-ROS-loop.xls, but not to the file 2010-13-TSG-loop.xls since there was no DO sensor on the TSG.

NUTRIENTS

The nutrient data were obtained in spreadsheet QF2010-13nuts.xls which included a report on precisions. The file was simplified and saved as 2010-13nuts.csv. There are clearly problems with sample #s 257-259 since the rosette log indicates there was no sample #257 – the same thing is seen in the salinity data. After the files are merged this should be easier to untangle, so no changes were made at this point. A flag “c” for sample #251 was changed to “e” and the values replaced with pad values because this bottle clearly did not fire at 3000m. Salinity and DO confirm this. Extraneous columns were removed and header names were changed to standard format. Data were sorted on sample number. There were loop samples in the original file; those data were moved to file 2010-13-nuts-loop.xls. The main file was then converted to individual NUT files.

EXTRACTED CHLOROPHYLL

Extracted chlorophyll and phaeo-pigment data were obtained in file QF2010-13_CHL.xls which included comments, flags and a report on precision. Loop data were moved to 2010-13-chl-loop.xls. The station name of casts with multiple files was changed to the name of the 1st file. The main file was edited to remove extraneous lines and columns, header names were changed to standard format, the file was sorted on sample number, and saved as 2010-13-chl.csv which was then converted to individual CHL files.

NOTE: After the bottle files had been assembled the analyst made a few changes to quality flags based on the Chauvenet method to determine outliers – the files were adjusted to reflect those changes.

DMS

DMS data were obtained in file DMS 2010-13 summary.xls. The file was saved as 2010-13-dms.csv and edited. There were flag and comment columns, but no entries were made; the report 2010-13-DMS-report.doc indicates that none were needed. All entries “<” were replaced with “0”; a note in the header will explain that the minimum detectable level is 0.1. The duplicates were averaged and “f” flags added. Headers were changed to standard format and unnecessary columns were removed. The file was then converted to individual DMS files.

pH The pH bottle data were not yet available.

The SAL, CHL, ADD, NUT and DMS files were merged with CST files in 5 steps. After the 5th step the files were put through CLEAN to reduce the headers to File and Comment sections only. That file was then merged with SAMAVG files choosing the bottle position # from the MRGCLN1 files.

##### Compare

Salinity

Compare was run. The following outliers were identified:

- Sample #2, cast #1 – near-surface in high gradient. No flag added.

- Sample #102, cast #18 – CTD data noisy, no flag added.

- Cast #36 – as noted in section 3, the secondary conductivity shifted for part of the upcast. The bottles between 400 and 1500db were excluded from the comparison and clearly show up as outliers. There are no other such outliers, so it is hoped that this was a one-time only problem.

- Sample #245, cast #39 –fairly shallow and CTD very noisy, no flag added.

- Sample #250, cast #41 – duplicate difference was an outlier, and one value looks better in COMPARE, so that was used instead of average.

- Sample #358, cast #49 – only a mild outlier and there are some odd excursions in upcast salinity in that area, so no flag attached.

- Sample #523 cast #69 – flagged “c” since CTD data looks ok.

- Sample #568, cast #77 – flagged “c” since CTD data looks ok.

The following outliers affect all variables since they concern misfires and mislabelling.

- Sample #251, cast #41 – as indicated by the chief scientist and confirmed by all samples, this bottle must have closed well above 3000m. Flagged “e” and all samples replaced with pad values.

- Samples #257-259, cast #41 were planned to be taken from 1000, 800 and 600m respectively. But the bottle at 1000m was missed. A bottle was fired at 800 and two were fired at 600 to get numbers back into correspondence with the plan. All samples labelled as #258 look like they are from 800m and that fits the rosette log sheet. All samples #259 all appear to be from 600m as indicated on the rosette log, though we don’t know which of the 2 bottles they are from. The problem is that there are samples #257 which the rosette log indicates were never gathered. They also look like they are from 800m. It was decided to replace the #257 samples with pad values and assign flag “e” since the assignment might be wrong and if it is right they are superfluous.

The few flags assigned based on the analyst’s remarks were reviewed based on COMPARE:
cast #25, sample 158 – salt crystals noted, but not notably out of line, but near surface where it is hard to know.

Cast #31, sample #188 – some doubt about sample #; looks ok but since at surface don’t expect very close correspondence – left flag.

Cast #41, sample #250 – duplicates difference was out of line – one value looks notably better in COMPARE, so that one was used and “fc” flag was removed.

Cast #49, sample #352 – only slightly out of line in COMPARE – left flag.

Cast #72, sample #547 – looks ok in COMPARE, so flag removed.

Cast #77, sample #586 – not notably out of line, removed flag.

After some problems noted above were corrected, COMPARE was rerun and the following results were found:

- Portasal – The primary salinity was low by 0.0092 with standard deviation of 0.0009. There was little pressure dependence.

- Portasal – The secondary salinity was high by 0.0008 and standard deviation of 0.0011 after a further 6 outliers were excluded. Investigation showed that the secondary CTD conductivity sensor suddenly changed values at 1742db of the upcast just as there was a large spike. The difference between the two conductivity values was then very small until just after the stop at 400db. There was slightly more pressure dependence in the secondary, but given there were fewer data, this is probably not significant.

- Autosal – Primary salinity was low by 0.0080 with a standard deviation of 0.0024. There was little pressure dependence. For the casts closest to the ones for which the Portasal was used the primary was low by 0.0075.

- Autosal – Secondary salinity was high by 0.0020 and a standard deviation of 0.0024. There was little pressure dependence. For the casts closest to the ones for which the Portasal was used the secondary was high by 0.0027.

- Based on casts close in time to those for which salinity was run on the Portasal, that instrument appears to have read higher than the Autosal by ~0.0018.

- Calibration cast – The average of differences from 21 bottles fired at 2000db (1 outlier was excluded) showed the primary to be low by 0.0085 and the secondary high by 0.0015.

- Plots of differences against salinity showed no sign of salinity dependence suggesting the Autosal had no linearity problem.

- Plots of salinity differences against file pair number shows the primary varying from low by about by ~0.0075 early in the cruise to being low by ~0.009 late in the cruise. The secondary starts and ends high by ~0.002. There is a lot of noise in this comparison, but it fits the observations of section 8 in showing differences between sensors increasing slightly with time.

- The secondary minus primary average difference is 0.010 from both the Portasal and Autosal comparisons. This is close to the differences found in section 8.

Conclusions:
Portasal values were adjusted by subtracting 0.0018 and adding flag “c” and a note of explanation..

The Autosal appears to have performed well with no salinity-dependence and few outliers that are not explained by noisy CTD data.

The secondary sensors produce salinity that is closest to the bottle salinity and show less temporal variation.

During editing care will be needed to ensure that there are not more instances of shifts in values like that seen in the upcast secondary conductivity.  It should show clearly in the salinity or T-S traces.

For more detail see 2010-13-sal-comp1.xls.

Dissolved Oxygen –

COMPARE was run for Dissolved Oxygen. There were 8 severe outliers:

Cast #1, sample #11 – CTD data were very noisy – no flag added.

Cast #18, sample #99 – high local gradient – added note but no flag since bottle probably ok.

Cast #41, sample #251 – nutrients and salinity also way out of line – believe bottle closed ~1500db, not 3000db. Flag “e” and pad value.

Casts 75, 76, 77, 79, 80 – all had been flagged “d” by the analyst due to bad endpoints and low values. Changed to “e” and pad values and changed comment to “sample lost due to titration error” at analyst’s suggestion.

Sample #366 was checked – the analyst had noted a large difference between duplicates, with one seeming out of line with nearby values. COMPARE confirmed that one of the values was a better choice – a note was made in the header of the 2 values.

Cast #18 has noisy SBE DO and some of the bottles are outliers in COMPARE. Cast #19 is similar, but there was only a surface bottle for that cast. The shape looks ok. The secondary salinity had a bad section but the DO sensor was on the primary pump according to the log book. Both temperature channels look ok. The bottles are assumed to be ok but are not included in the comparison.

At this stage it was discovered that some DO data had been missed, so COMPARE was rerun, this time skipping casts 75-80 since all the data had been replaced with pad values. Excluding the outliers mentioned above, plus a few others based on residuals the following fit was found:

Bottle DO = 1.0414 * CTD DO + 0.0057

(See 2010-13-dox-comp1.xls.).

The DO analyst found the loop values higher than the rosette DO samples by an average of 0.026mL/L or 0.8% (absolute difference) when flagged values were excluded. A plot of loop and rosette samples against sample # shows much more variability in the loop samples – most are close to the rosette values but there are several large outliers. (See 2010-13oxy.xls and 2010-13-ROS-loop-comp.xls.)

Fluorescence

COMPARE was run using the CTD Fluorescence and the Extracted Chlorophyll from bottles. There were 5 significant outliers in a plot of differences against CTD fluorescence, both samples from cast #2 and 3 from cast #3. These are high CHL samples and the fluorescence values are much lower. In a plot of Extracted CHL versus CTD FL there is a lot of scatter. There are no cases of off-scale fluorescence. There is no evidence of obvious problems with either samples or CTD data. (See 2010-13-chl-fluor-comp.xls.)

All MRG files were put through CLEAN to remove Sea-Bird headers and comments from the secondary files.

Cast #80 was checked to see if bottle data looked like they were assigned to the right levels. Only the extracted CHL is informative – the deeper value is higher than the shallow bottle, and that matches the CTD fluorescence shape.

Data were exported to spreadsheet 2010-13-bottles.xls and compared to the rosette sheets to ensure all expected data are present. The only problem found was that most of the DO data from cast #28 had been accidentally missed in the creation of the ADD file. (COMPARE was rerun with that data included.) A more careful check will be made at the end using the CHE files.

Problems in the bottle files turned up later during TSG processing. There were many cases where 2 rosette bottles were fired, but no rosette sheet was prepared. Usually when there are only surface bottles there are nutrient, extracted chlorophyll and salinity samples. For this cruise there were dissolved oxygen samples as well for many of these casts. While there were usually notes in the log book about what samples were taken, this was not always the case, and they are sometimes not clear. The preparation of bottle files is always error-prone, and checks like the one mentioned in the previous paragraph are done to catch those errors. That method is very slow if we have to dig in the log book to check some casts, and rosette sheets for others. For cruises during which there is a standard suite of samples for all surface-only rosettes, this is not a major problem, but if the sampling varies, it is. The use of rosette sheets for every cast with rosette sampling is recommended, particularly for cruises such as Line P with extremely complex sampling. There was a single rosette sheet with some surface bottle and loop oxygen analysis results, but it did not include details on what sampling was done. It might be reasonable to combine some 1 or 2 bottle casts in a single sheet, especially if they are consecutive.

##### 13. Shift

Fluorescence

The usual method to find what shift is needed for the fluorescence is to examine upcast and downcast profiles for a few casts to determine the vertical offset of the temperature and fluorescence traces. The differences between these two offsets are treated as a measure of how much the fluorescence needs to be shifted. The “excess” offset for the fluorescence was divided by the sum of the descent and ascent rates to find the shift (in seconds) to remove that offset. The shift applied is almost always +24 records, but a few casts were examined to ensure that was appropriate and it was.

SHIFT was run on all casts to advance the fluorescence channel by +24 records. (Output: SHFFL)

Conductivity

Tests were run on the two conductivity channels using a variety of shifts on 3 casts and then examining the results on a T-S plot to see what setting best minimizes unstable features without oversmoothing. The results looked best overall when a shift of -0.5s was applied to the primary and +0.2s to the secondary.

SHIFT was run using those settings.

Dissolved Oxygen

Tests were run on a few casts for each sensor to determine the best SHIFT value to apply to the Dissolved Oxygen channel. This was judged by how the vertical offset between downcast and upcast traces compares with that of the temperature. Because there is an offset in values between upcast and downcast due to the time response, alignment will not produce traces that overlie each other exactly. It was harder to judge this than usual, but a shift of +90 records seemed best and was found best for this sensor before its last calibration and for 2010-12.

SHIFT was run using +90 records for all casts.

pH

During 2010-01 tests suggested that shifting the pH data was not needed. For this cruise it looks as though a shift of +90 records does improve the data. It is not known why there should be a difference. After the shift there is still a large horizontal offset, so hysteresis is a problem. This step will not be run at this time since the data will not be archived until further studies have been run. The SHFO files will be saved in case further studies of pH are needed later.

##### 14. DELETE

The following DELETE parameters were used:

Surface Record Removal: Last Press Min

Maximum Surface Pressure (relative): 10.00

Surface Pressure Tolerance: 1.0                  Pressure filtered over 15 points

Swells deleted. Warning message if pressure difference of 2.00

Drop rates <   0.30m/s (calculated over 11 points) will be deleted.

Drop rate applies in the range:  10db to 10db less than the maximum pressure

Sample interval = 0.042 seconds. (taken from header)

COMMENTS ON WARNINGS: There were 2 warnings, one for cast #23 which contained no downcast data and one for cast #35 which has already been noted to have a gap in the data.

##### Argo Comparison

An Argo float was launched at P13 right after cast #28. File 20100610_49001137.IOS contains data from the first profile of the float, which ended about 24 hours after the end of cast #28. Comparisons were done with CTD data from before and after recalibration of salinity, dissolved oxygen and pressure.

Theta and sigma-theta were derived for the float and CTD files, and CTD dissolved oxygen was derived in umol/kg. A T-S plot was examined to see how well the casts compared at a glance. Before recalibration they agreed closely in the surface mixed layer and at the bottom, with differences along lines of constant sigma-theta being ~0.02C° and 0.002 salinity units. When the CTD was recalibrated (subtracting 0.0025), the differences at 1500db were ~0.007C° for theta and ~0.0008 for salinity. This is closer than we usually see in repeat casts with the same equipment. There is a lot more variability at mid-depths, especially from 60 to 100db, but this may be due to internal waves.

Plots of dissolved oxygen versus sigma-theta for the float and CTD show agreement within 5 to 6umol/kg near the top and bottom; this is within the accuracy quoted for the Optode sensor. In the 20 to 150db zone they sometimes differ by 20umol/kg. The initial accuracy of the Optode and SeaBird DO sensors are about 8 and 6umol/kg, respectively, and the slow time response of each is challenged by the high DO gradient zones. So the difference of 20umol/kg is probably not indicative of a problem with either sensor.

The comparisons before and after recalibration of the cast #28 data indicates that the choices were appropriate. It is particularly encouraging that the salinity matches so well after recalibration, because the comparison with bottles was noisy. The correction applied to salinity was based on the results of this cruise plus 2010-12.

##### DETAILED EDITING

The secondary temperature and salinity channels were selected for editing for most casts, but the secondary salinity looked bad for much of cast #18, so the primary was used.

For cast #25 it was discovered that something went wrong in the SHIFT secondary conductivity step so that was rerun as well as SHIFT dissolved oxygen and DELETE.

There were some odd shifts in temperature and salinity data around 1080db but they are seen in both sensors, so it does not look like the problems noted during cast #18 (downcast) or #35 (upcast).

All casts required some editing. All EDU files were copied to EDT.

##### Initial Recalibration

For recalibration purposes it seems best to average the results of 2010-12 and 2010-13 since the latter had more sampling from deep casts, but it also had a lot more scatter in the fit (standard deviation of 0.0024 versus 0.0013 for 2010-12 after outliers were removed). So both cruises will be recalibrated by subtracting 0.0025.

Over the past year the CTD salinity has usually been found to be lower than the bottles and this appears to have been due to sampling or analysis problems. So the results of these two cruises have to be considered in light of that. Either the problems have been fixed, at least for these two cruises, or the SBE salinity is even higher than it appears. For now it seems wise to recalibrate, but this should be revisited when the factory next reports on drift. While a further correction may be needed later, the comparison with the Argo float does support the choice.

The SAM files were recalibrated using file 2010-13-recal-bottle.ccf to multiply transmissivity by 2.5, add 0.8db to the pressure, subtract 0.0025 from the secondary salinity for all casts and applied the following correction to CTD DO:

Corrected CTD DO = 1.0414 * CTD DO + 0.0057

After this step COMPARE was rerun to ensure the changes were as expected and they were. (See 2010-13-dox-comp2.xls.)

The MRGCLN2 files were then recalibrated using the same calibration control file.

File 2010-13-recal-ctd.ccf was used to recalibrate the EDT files, since they needed an extra correction (slope of the pressure channel) that was not required for the bottle files.

##### Final Calibration of DO

The first recalibration of dissolved oxygen corrects for calibration drift. Shift corrects for transit time errors. Those 2 steps may partly correct for response time errors, but a further correction can be applied to further correct for response time by comparing downcast CTD data to bottle data from the same pressure.

Downcast files were bin-averaged to 0.5m bins for the casts with DO bottle samples. Those files were then thinned to the usual levels for bottles and compared to the bottle values in the MRG files. COMPARE was used to study the differences between the downcast CTD DO data and the upcast bottles. There is a lot of scatter in the plot of differences against DO concentration, with a tendency towards values that are slightly high at the low end of the range and slightly high at the high end. The plot against pressure shows a similar story with values high by <0.02mL/L at the surface and low by <0.01 at the bottom. The average difference is close to zero. There is too much noise to justify recalibration especially since the choice of outliers at the surface has a big influence on the fit. (See 2010-13-dox-comp3.xls.)

##### Special Fluorometer Processing

An examination of the fluorescence channel shows cast #5 is the only case of fluorescence being close to the maximum possible value; there are no cases of 2 consecutive values being the same near the maximum, so at most one record might be off-scale.

Special files were prepared for Dr. Peña by clipping the COR1 files to 150db. The clipped files were bin-averaged (0.25db bins), put through REMOVE and HEADEDIT and named as *.FCTD1 and saved. A second set, *.FCTD2, were created by filtering before bin-averaging. The SAMCOR1 files were put through REMOVE and named *.BOF and saved. A readme.doc file was prepared with some notes on the preparation of those files.

A median filter, fixed size=11, was applied to the fluorescence channel in the COR1 files to reduce spikiness. A few casts were examined before and after this step and showed that the filter was effective.

NOTE: After these special files had been prepared it was discovered that the wrong slope/offset was used in the SBE DO recalibration, so a further calibration was run to correct that. (Linear correction -slope 1.0073, offset 0.1)

##### BIN AVERAGE of CTD files

The following Bin Average values were applied to the FIL files (output AVG):

Bin channel = pressure	Averaging interval = 1.000	Minimum bin value =   .000

Average value will be used.	Interpolated values are NOT used for empty bins.

After averaging, page plots were examined on screen and no further editing appeared to be necessary.

On-screen plots were checked to see if there were any problems and the following were noted:

- Casts #18 and 19 have very odd dissolved oxygen data as was noted during the bottle comparison for #18. They stand out as different from casts #16 and 20 both in having an offset of about 0.2mL/L and a lot of noise. The secondary salinity was bad for cast #18, which might implicate the secondary pump, but the DO sensor was on the primary pump according to the log book. There are no bottles for #19. The DO channel should be removed from casts #18 and 19.

- The SBE Dissolved Oxygen data from Saanich Inlet show a pattern similar to that seen in 2010-01 and 2010-12 where the bottom values never reach equilibrium. Values fall steadily during the stop at the bottom and through the upcast until the top of the hypoxic layer where they suddenly start to rise. This suggests that waiting longer at the bottom would improve resolution of hypoxic DO in the upcast. The bottom bottle DO values are likely high by >0.02mL/L.

- Fluorescence has some spikes at depth, but they are very small. There are some higher values around 117db for cast #70, but it is not completely obvious that these are instrumental so they were not removed. The upcast shows some slightly higher values around 100db, though not nearly as large as the downcast spikes. The dark values generally look low.

- As has been noted in other recent uses of this transmissometer, values before recalibration are much too low, and even after recalibration they decrease with pressure in very deep water where we expect little change.

##### Other Comparisons

Previous experience with these sensors –

1. Salinity:

These sensors have only been used for one other cruise since the last factory recalibration. During 2010-12 the primary conductivity sensor was low by an average of 0.0023, but it appeared to drift from being higher than the bottles by ~0.001 early on and low by ~0.007 late in the cruise. There was a lot of noise in the comparison, but the secondary sensor showed no such drift. The secondary sensor produced salinity higher than the CTD by 0.0033.

2. Dissolved Oxygen

This sensor has been used for 2 other cruises since its last factory recalibration, but only one of those has been processed. The correction found for 2010-12 was

Bottle DO = 1.0339 * CTD DO - 0.0043

3. Pressure

Since its latest factory recalibration in May 2006 this sensor has been used mainly on the Ricker. No further offset than that assigned at the factory has been applied, but it is likely since it is an older sensor that there is some drift, but it is harder to judge from Ricker data since the CTD usually is started fairly deep. During 2010-12 pressure looked low by at least 0.7db.

Historic ranges – Profile plots were made with historic ranges of T and S superimposed. The temperatures were near or very slightly below the climatology minima between 200 and 400db at P14, P15 and P16. Salinity was slightly above the maxima at P18, P19 and P20 around 100-120db.

Repeat Casts – There were many repeat casts. Profile and T-S plots were made of groups of casts to see if anything stands out and only around high gradient regions were there large differences. There were deep casts at station P26 covering just over 4 days; the temperature and salinity values along lines of constant density at about 1600db varied by less than 0.005C° and 0.001 salinity units. The differences are much smaller than that near the bottom, thought here are fewer profiles to compare at that depth. This shows excellent repeatability.

##### FINAL CTD files steps (REMOVE and HEADEDIT)

REMOVE was run 4 times.

- For casts with PAR data the following channels were removed : Scan_Number, Temperature:Primary, Salinity:T0:C0, Conductivity:Primary, Conductivity:Secondary, Oxygen:Voltage:SBE, pH:SBE, Altimeter, Status:Pump, Descent_Rate and Flag and Fluorescence:Seapoint and for casts 18 and 19 Oxygen:Dissolved:SBE.

- For casts without PAR data (except cast #18) the following channels were removed : Scan_Number, Temperature:Primary, Salinity:T0:C0, Conductivity:Primary, Conductivity:Secondary, Oxygen:Voltage:SBE, PAR, pH:SBE, Altimeter, Status:Pump, Descent_Rate and Flag and Fluorescence:Seapoint .

- For cast #18 the following casts were removed:: Scan_Number, Temperature:Secondary, Salinity:T1:C1, Conductivity:Primary, Conductivity:Secondary, Oxygen:Voltage:SBE, PAR, pH:SBE, Altimeter, Status:Pump, Descent_Rate, Flag, Fluorescence:Seapoint and Oxygen:Dissolved:SBE.

- For cast 19 the following channels were removed : Scan_Number, Temperature:Primary, Salinity:T0:C0, Conductivity:Primary, Conductivity:Secondary, Oxygen:Voltage:SBE, PAR, pH:SBE, Altimeter, Status:Pump, Descent_Rate, Flag, Fluorescence:Seapoint and Oxygen:Dissolved:SBE.

A second SBE DO channel (with umol/kg units) was added.

REORDER was run to get the two DO channels together.

HEADER EDIT was used to fix formats and channel names, to add “Mid-ship” to the instrument location section and to add the following comments:

Transmissivity and PAR are nominal and unedited except that

some records were removed in editing temperature and salinity.

The precision of the SBE dissolved oxygen channel is difficult to estimate

because the comparison with bottles was very noisy, but roughly, the DO should

be considered:

•	±0.3ml/l from	 0-200 db (Values tend to be slightly high)

•	±0.2ml/l from   	 200-600 db (Values tend to be slightly high)

•	±0.04ml/l from 	 600-2000 db

•	±0.05ml/l from	 2000-4000 db (Values tend to be slightly low)

For details on the processing see processing report: 2010-13-proc.doc.

A note was also added about the transmissivity recalibration.

The Standards Check routine was run and no problems were found. 
The cross-reference list was produced and no problems were found.

The final files were named CTD.

Profile plots were made and no problems were found.

The track plot looks ok.

##### Dissolved Oxygen Study

As a final check of dissolved oxygen data, % saturation was calculated and plotted. The near-surface values were mostly between 100% and 110%. The Saanich Inlet cast was ~150% and P1 to P3 were between 110 and 130% and one of the P26 casts was about 115%. The latter profile (event #72) looked odd and out of step with the other P26 casts. Further investigation showed a lot of variability in the DO values at P26, both at the surface and at 1000m. Casts 49, 50 and 51 were the most easterly of the 6 casts and were very similar at the surface and at the depth of the DO minimum, with values around 1000m being 0.4mL/L. Casts #67, 68 and 72 were to the west, with #72 being the most northerly of those. All three were warmer and less well mixed near the surface. For cast #72 there was a fluorescence peak at 40m. Plots of DO versus salinity show that where surface DO was higher, so was salinity, so it seems likely that conditions had changed and the DO sensor was performing well. Near the DO minimum casts #67 and 68 have the lowest DO values at about 0.12mL/L while cast #72 has a value of 0.16mL/L. An explanation for this deeper variability is not as obvious. Unfortunately the only one of these P26 casts that was sampled for DO and nutrients was #49 and there was no CHL sampling for any of them.

The very low minimum DO values were investigated further and other very low concentrations were found for P23, P24, P25 and P35. (It is fairly common for the more shoreward casts to have lower DO at the minimum than is seen at P26.) Since there were no useful DO bottle calibrations after cast #49 it is possible that the low values found late in the cruise could be due to an instrumental problem. However, cast #80 has somewhat higher values though it was not quite down to the minimum level – based on the gradient I would estimate a minimum value there of ~0.33mL/L. Looking at other years the DO minimum at P26 in spring was found to be between 0.22 and 0.48mL/L with the highest values being from 2000-2002 (from bottles -no SBE DO) and the previous lowest from 2007. There have been occasional low minimum values such as 0.18mL/L at P26 in August 2007 and closer to shore DO minimum values tend to be a little lower.

What is most striking is the variability. A float launched by the University of Washington at P26 during this cruise shows values between those of the two groups of CTD casts, but there is one July value that is almost as low as the later P26 group. These data have not been released yet, so there could be changes, but they seem to confirm that low values at P26 are possible, though they show little variability over 4 months other than the 1 very low value in July.

Since there are some concerns about how well the sensor performs in low DO conditions, the upcast data were examined. There was a stop at 1000db for many of these casts, so the DO had some time to equilibrate. The minimum DO values were recorded for the downcast and upcasts and generally the upcast values were lower. This may be due to the fact that the sensor is better able to equilibrate on the upcast because of the stop and the smaller DO gradient to which the sensor has to adapt. It has been found in Saanich Inlet that it can take more than 5 minutes to get a good reading in anoxic waters. There could also be some other instrumental effects causing hysteresis, so the lower values are not necessarily correct, but at least the upcast values are not higher, which would cast great doubt on the downcast data. There were no notable differences in length of stops or descent rates that might explain one group equilibrating better than the other.

Casts #18 and 19 had SBE dissolved oxygen data that looked wrong throughout the profile and there were bottles to confirm that for #18, so there are some doubts about the sensor. Those casts also had extremely noisy DO (with no temperature noise to explain it) which is not the case for the later casts with low DO minima. Those late casts do have a slightly noisier signal, but so do both the temperature channels. The DO at cast #72 is systematically lower than at #49 between 200 and 3000db, but again, both temperature and salinity channels show offsets until very deep water is reached. So there is no convincing evidence that the SBE DO data are wrong. The differences between the SBE and Argo DO data both are within the accuracy limit of both the sensors (the Optode has initial accuracy of ~0.18 mL/L and for the SBE it is ~0.14mL/L).

One last check was to convert a file from 2010-36 which used the same sensor. The configuration file was the one used at sea, so there could be errors in that. For cast #23 there was deep DO sampling and the sensor produced values of about 0.265mL/L for a bottle that had titrated values of 0.255mL/L. So, if anything, it was reading too high. Again, this is not proof that low values in 2010-13 are correct, just that no further sign of trouble is obvious.

While there remain some doubts about the low values, the low DO data will not be removed from the P26 area casts. These values may show the level of variability in the area, or the limits of the sensor at low values. They also show the value of lots of DO bottle sampling.

##### 24. Final Bottle Files

The MRGCOR1 files were put through SORT to order on increasing pressure.

REMOVE was run in the same 4 groups as the CTD files as described in section 22.

A second SBE DO channel was added with different units and REORDER to get the 2 SBE DO channels together.

HEADER EDIT was run to fix formats and units, fix a few headers and to add a comment about quality flags and analysis methods.

The CHE bottle data were exported to a spreadsheet to check that all data are present. A few problems were noted:

- Some cases where sampling was intended but bottles had not closed were flagged e and should not be flagged. Flags were changed in the CHE files and in the QF nutrient spreadsheet from the analyst. This affects nutrients in casts 5, 12, 18 and 43 and DMS in cast #43.

- Salinity sample #27 is missing, no explanation, so note added to header saying “presumed lost”.

- Salinity sample #246 was identified as #245 in the spreadsheet from the analyst. But it looks like a surface sample, and for all other cases where 2 bottles were fired near 45db and 5db, the salinity sample came from 5db. So the value was moved to #246.

At this point it was realized that the bottle position numbers were wrong for most casts between #69 and the end. These were corrected using a text editor on the CHE files, and were based on information in the rosette sheets and BL files. The conversions were not done right in the first place, or this problem would not have occurred.

A second run of HEADEDIT was used to change the channel name Bottle_Number to Bottle:Firing_Sequence and the name Bottle:Position to Bottle_Number.

Plots were made of CTD Salinity versus SBE Dissolved Oxygen and bottle DO and no outliers were identified.

Standards check was run on all files and no errors were found.

Note: It was discovered at the end that there was an error in file 2010-13-0022.che. There had been a crash during the cast so that 2 files had to be merged. Dummy firings were made on the 2nd file for bottles #1 and 2. Those should have been removed from the merged file, but were not, so there were repeated bottle numbers, which caused the proper data to be dropped and the dummy values to be saved. This was fixed by reprocessing the file with the 2 bottles, putting it through all steps and using a text editor to substitute the new values into the CHE file that had been prepared earlier. CLEAN was run to fix the headers and a note was added to explain which files the bottles came from.

##### 25. Thermosalinograph Data

Data were provided in 5 hex files. There was loop sampling for Salinity, Nutrients and Extracted CHL at 4 locations in Juan de Fuca and 22 during Line P stations. There was one other salinity sample said to be from the loop at P26, but there is no note about that in the log, and there are no CHL or nutrient samples for that cast.

Files of nutrients, chlorophyll and salinity loop samples were found and combined in spreadsheet 2010-13-loop.xls. Those data were later combined with TSG and CTD Rosette data in 2010-13-tsg-loop-comp.xls and 2010-13-ROS-loop-comp.xls. In a few cases several surface bottles were fired, so salinity values from one were combined with other variables from another to produce a single entry.

a.) Checking calibrations

The calibrations were checked and the only problems were in the fluorometer settings which had the wrong scale factor. After that correction the CON file was saved as 2010-13-tsg.con.

b.) The files were converted to CNV files using the configuration files mentioned above. They were then converted to IOS HEADER format.

CLEAN was run to add End times and Longitude and Latitude minima and maxima to the headers.

Time-series plots were produced. The flow rate was ~1 for files 1-4 but varied during file #5 from ~1 at the beginning, ~0.85 in the middle and ~1.05 at the end.

Salinity and temperature were examined with CTDEDIT.

- Spikes in salinity were cleaned at a few spots in file #3.

- File #5 had some shifts in salinity around scans 3169 and 8073, moving down by 0.32 and up by 0.18, respectively. These are not associated with shifts in temperature or flow rate, though both occurred during a period of lower flow rate. The first was a few hours after the rate went down from 1 to 0.85 and the other was about 2 hours before it went up to 1.05. Perhaps the lower flow rate allowed air into the system lowering salinity values. No editing was applied since even if the shift is due to air bubbles, the effect is not predictable. A note was placed in the header of that file. The ship was underway when the shifts occurred; there are no loop samples or CTD casts between the shifts.

The ATC files were copied to *.EDT, then the ED1 file was copied to *.EDT.

c.)  Checking Time Channel

The CTD data, after editing, but before metre-averaging, were thinned to reduce the files to a single point at or within 0.5db of 4.5db and exported to a spreadsheet which was saved as 2010-13-ctd-tsg-comp.xls. All the data came from ~4.5db.

The 5 TSG files were opened in EXCEL, median and standard deviations (over 5 records) were calculated for temperature, salinity and fluorescence and the file was then reduced to the times when CTDs were run or loop samples were taken.

Those files were added to the CTD data in file 2010-13-ctd-tsg-comp.xls. There were 48 matches. In some recent uses of this equipment latitude and longitude have become stuck, or times have been wrong due to missing scans. In this file the times from the CTD and TSG are matched, so comparing positions will turn up problems of that sort. The differences in latitude were all <0.0007° and in latitude <0.0006°. This shows both the times and positions are reliable for both systems.

This spreadsheet will also be used in step (d) to compare temperature, salinity and fluorescence.

d.) Comparison of T, S and Fl from Loop and Rosette samples and TSG and CTD data

T1 vs T2 The intake thermistor was connected throughout the cruise. The average difference was 0.22Cº when all data were included; when 4 outliers were removed the average difference was 0.228Cº and the median difference was 0.230Cº.  The intake temperature ranged from 7.3 to 12.7ºC. The heating seems a little high for this time of year, but the intake temperatures are a little low for June which would lead to more heating in the loop. Surface waters were cooler than usual in 2010.

- TSG vs CTD The spreadsheets comparing CTD and TSG files were then examined to find the differences between the salinity, fluorescence and temperature channels for the CTD and the TSG. The TSG intake temperature was higher than the CTD by an average of 0.0193Cº when outliers were excluded, with a median difference of 0.0197Cº. Most of the outliers are from times when the standard deviation in the TSG temperature was high. When casts are rejected from that set for which the mixed layer depth is <10m (as judged by when the salinity differs from that at 4m by 0.005 or more) the temperature is found to be high by 0.02Cº. A plot of differences against standard deviation in the TSG temperature shows differences approaching ~0.025Cº as the standard deviations approach zero.

The TSG salinity is lower than the CTD by an average and median of 0.061 when 6 outliers were excluded. Restricting that group to only casts with well-mixed surface waters made no difference in the results. A plot of differences against standard deviation in the TSG data shows salinity approaching ~0.059 as the standard deviation approaches zero.

The ratio of TSG fluorescence to CTD fluorescence is ranges from 1.9 to 8.8 with an average of 3.4 and median 2.9 when 2 outliers are excluded. Restricting the group to well-mixed casts is probably not useful for fluorescence, and made little difference to the results. We don’t really expect a constant ratio, but the results do confirm that the TSG fluorometer is reading much too high. A plot of the TSG/CTD fluorescence ratio against standard deviations in the TSG fluorescence looks random. (See 2010-13-ctd-tsg-comp.xls.)

- Loop Bottle - TSG Comparisons  A comparison was done in spreadsheet 2010-13-TSG-loop-comp.xls of loop salinity and chlorophyll samples with TSG salinity and fluorescence from the same time. There are 26 points of comparison. The samples from Juan de Fuca stand out as different from the others, except for the first one. For fluorescence the TSG sensor looks close to the loop CHL for the first sample and for the cast at P1. The other 3 Juan de Fuca samples have much higher extracted CHL values, but the TSG fluorescence goes down. Salinity is also out of line for the 2nd, 3rd and 4th Juan de Fuca samples with the TSG seeming to be much higher than the loop samples. The rest of the comparisons are during CTD casts and the differences are similar to those seen in the TSG-CTD comparison. When a few outliers are excluded the TSG is lower than the loop salinity by a median difference of 0.063. Explaining why the Juan de Fuca samples are so different is difficult – the loop salinity values are the lowest seen, so it would seem that either the salinometer had a problem with linearity, or the TSG does not perform well at low salinity values. Another possibility is that bubbles in the loop may be more common when the ship is steaming which could affect both the sample analysis and the TSG. (See file 2010-13-TSG-loop-comp.xls.).

- Loop Bottle - Rosette Comparisons As described earlier the data from loop bottles, and rosette bottles and CTD data were combined in spreadsheet 2010-13-ROS-loop-comp.xls. There are 23 cases where the two occurred at the same time. Trying to combine the rosette data with the loop samples turned up a lot of errors in assignment of DO samples to casts. There were problems in the original DO file and many more in the ADDSAMP file. This is an example of the problems introduced by not having rosette sheets, since most problems occur with casts that had only 2 bottles fired. Comparisons suggest that the loop and rosette samples compare quite well:

  - The dissolved oxygen was compared by the analyst; she found that the loop values were higher than the rosette values by 0.36% with an average absolute difference of 0.8%. (For details see 2010-13oxy.xls.)

  - Nutrients were not examined in detail, but most loop samples had lower values than rosette samples which may be due to the loop intake being a little higher than the depth at which the rosette was fired.

  - Extracted chlorophyll from the loop ranged from 0.87 to 1.87 times that from the rosette bottles. When two outliers were removed the range was 0.87 to 1.17 and the average was 1.00. The two outliers were investigated. The rosette values were lower than the loop, but the CTD fluorescence supported the lower rosette values. This may well be due to the loop intake being a little higher in the water column where CHL was likely higher. Overall the two agree very well.

  - When 4 outliers were excluded the Loop Salinity – Rosette Salinity ranged from -0.004 to +0.004 with an average of 0.000. Two outliers have lower loop salinity which can be explained by the loop intake being a little higher. The cases with loop salinity higher could be due to slight differences in time, or analysis problems. Even with the outliers, only one of the differences was >0.015 which is good for surface comparisons. The large difference occurred at cast #2 and salinity as low as that seen in the loop sample is found around 2db.

- Calibration History

The TSG primary temperature and conductivity were recalibrated in April 2009 and were used for 2009-10 (with a different intake thermistor), 2009-11, 2010-01 and 2010-12. The salinity was low by about 0.02, 0.02, 0.06 / 0.16 and 0.07 for those cruises with the change for 2010-01 being associated with a change of flow rate; there are problems with the 2010-12 data due to clock problems. The TSG intake temperature was within 0.004 for the two 2009 cruises and 0.001 during 2010-01. The TSG fluorometer was high by a factor of 2.2 to 6 for 2009-10, by about 8 for 2009-11, ~2 for 2010-01 and 2.5 for 2010-12.

Conclusions

1. The TSG clock worked well and there were no problems with the download of position information.

2. There were changes of flow rate during file #5, but there is no CTD or loop sampling to show whether this affected the warming in the loop or the salinity comparison as has been observed from other cruises.

3. The loop and rosette samples compared very well; where they differ significantly it looks like the rosette samples may have come from a little deeper than the loop intake.

4. The temperature in the loop warms by about 0.23ºC while the flow is ~1. This is a little high for June but is explained by the cooler than average surface waters observed in 2010.

5. Salinity is low by ~0.061 based on the CTD comparison for high flow rates. From the loop comparison there it appears to be low by ~0.063. A value of 0.06 was used for 2010-01 when the flow rate was high and for 2010-12 the difference was found to be 0.07 but that was a median value and there was considerable scatter. There were significant problems with that cruise because positions were not recorded properly so many records were lost for the early part of the record.

6. As usual there is a lot of variability in the ratio of TSG fluorescence to either CTD fluorescence or loop CHL. The TSG fluorometer reads too high by an average of ~3, but the ratio is very low for very high CHL values and high for low values.

7. The intake temperature is within 0.02ºC of the CTD temperature from 4.5m.This is a smaller difference than found during 2010-12.

8. Underway samples show much more variability in the TSG versus loops. It looks as though the loop samples are quite random, but this could be a case of the TSG missing variability. Could there be more bubbles when the ship is moving and would those affect loop analyses more than it affects the TSG? This suggests that recalibration based on underway sampling is not reliable. It may suggest that most of the TSG data are of lower quality than we think because most comparisons are done while stopped. It may be that Juan de Fuca Strait is not ideal for such comparisons. For a future cruise it would be useful to have underway sampling from some different areas or conditions to see if we get the same picture. If so, it will be important to record ship speed and sea state to see if those are affecting the results.

f.) Editing

Plots were examined and no further editing was deemed necessary.

g.) Recalibration

File 2010-13-recal1.ccf was used to add 0.062 to the salinity.

h.) Preparing Final Files

REMOVE was used to remove the following channels from all casts: Record #, Scan Number, Temperature:Difference, Conductivity:Primary, Uploy0 and Flag.

REORDER was used to place Temperature:Secondary ahead of Temperature:Primary and to rename them as Temperature:Intake and Temperature:Lab. The reorder is to ensure that programs pick the intake temperature preferentially.

HEADER EDIT was used to add a comment, change the DATA TYPE to THERMOSALINOGRAPH and add the depth of sampling to the header. Those files were saved as TOB files.

The TSG sensor history was updated.

As a final check plots were made of the cruise track and data; no problems were noted.

The cruise plot was added to the end of this report.

##### Producing final files

A cross-reference listing was produced for CTD and CHE files.

The sensor history was updated.

The following step will be done later:

The final loop file 2010-13-che-loop.csv was prepared by the chief scientist including data from the final CTD files and samples from the loop or from 5m bottles. That spreadsheet was simplified, date calculated in DD/MM/YYYY format, header names and formats were adjusted and unneeded channels were removed and saved as a CSV file.

It was converted to IOS format, put through CLEAN and HEADEDIT to get start and stop times and positions, and to add general comments and specific comments for flagged values. The final file was named 2010-13-surface.loop.

----------------------------------------------------------------------------------------------------------------------------------

Particulars – including notes from log, rosette sheets:

PAR and pH on: 1-5, 13, 22/23, 37, 43, 47, 48, 54, 63, 65 and 70.

Casts run using Table Driven: 69, 70, 75, 76, 78, 79.

2. Cruise number wrong in header, depth not entered should be 137

3. Cruise number wrong in header, depth not entered should be 117.

5-13. Cruise number wrong in headers.

14. Wrong station name P4 should be P5

16. No depth entered should be 2500.

22/23 – first 2 bottles on 22, rest on 23.

25/26 – all bottles are in #26.

28. DO/Trans cable changed before this cast.

28. Argo float launched about 1 hour later.

35/36 – all bottles are in #36.

47. Cap left on pH sensor.

51-52 – wrong format station removed space.

54 – should be PA-004, not P26

70. Cap left on pH sensor.

71. Should be called cast #72.

80. Data still being archived as it broke surface on upcast.

# Institute of Ocean Sciences

# CRUISE SUMMARY

CTD

| CTD# | Make | Model | Serial# | Used with Rosette? | CTD Calibration Sheet Competed? |
| --- | --- | --- | --- | --- | --- |
| 1 | SEABIRD | 911+ | 0506 | Yes | Yes |

| Calibration Information |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Sensor |  | Pre-Cruise |  | Post Cruise |  |
| Name | S/N | Date | Location | Date | Location |
| Temperature | 2449 | 06May78 | Factory “ |  |  |
| Conductivity | 2280 | 03Jul08 | “ |  |  |
| Secondary Temp. | 2038 | 06May08 | “ |  |  |
| Secondary Cond. | 3394 | 06Mar09 | “ |  |  |
| Transmissometer | 1005DR | 05Mar08 | IOS |  |  |
| SBE 43 DO sensor | 1176 | 10Nov2009 | Factory |  |  |
| PAR | 4694 | 03Mar2010 | IOS |  |  |
| Fluorometer | 2345 | ? | IOS |  |  |
| Pressure Sensor | 69698 | 26May2006 | Factory |  |  |
| pH | 180692 |  |  |  |  |
| Altimeter | 1024 | ? | ? |  |  |

# TSG

Make/Model/Serial#:	SEABIRD/21/2488       Cruise ID#:	2010-13

| Calibration Information |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Sensor |  | Pre-Cruise |  | Post Cruise |  |
| Name | S/N | Date | Location | Date | Location |
| Temperature | 2488 | 24Apr09 | Factory |  |  |
| Conductivity | 2488 | 24Apr09 | “ |  |  |
| Wetlab/Wetstar FL | WS3S-713P | 18Jan01 | “ |  |  |
| Temperature:secondary | 2416 | 23Dec06 |  |  |  |