## Method and notes
DMSP-D analysis method
20-75mL of seawater is drained from the niskin into a magnetic filtration funnel containing a 0.7 µM GF/F filter
The first 3.5 mL from the funnel is collected in a polypropylene tube containing 50µL of H2SO4 (50%)
A new funnel and filter are used for each sample
Samples must be stored in dark at 4oC for minimum of 24 hours
Samples are hydrolized and run back at IOS when time permits
DMSP-T analysis method
3.5 mL of seawater is collected directly from the Niskin into a polypropylene tube containing 50µL of H2SO4 (50%)
Samples must be stored in dark at 4oC for minimum of 24 hours
Samples are hydrolized and run back at IOS when time permits
DMSP Calibration
A four to six level calibration table is used for calculating the concentrations of DMSP.
The standards are hydrolized in the same manner as the samples
A calibration curve is valid for 12 hours.
If analysis exceeded 12 hours a continuing calibration standard was run to ensure the calibration curve was still within acceptable limits.
Quality control
System blanks and duplicates were run for every station and on the hydrolysis blanks to ensure the system remained free of contamination and had acceptable reproducibility.
Stripping efficiency was evaluated at the beginning of the cruise and was proven to be acceptable at over 96.2%.
Detection Limit is 0.1 nM
All results represented in nM
System
No problems
The average of duplicates is reported.
Notes specific for this cruise
Quality Flags
1 = Sample for this measurement was collected but not analyzed. Sample lost.
2 = Acceptable measurement.
3 = Questionable measurement (probably good).
4 = Poor measurement (probably bad).
5 = Measurement not reported (bad).
6 = Mean of replicate measurements.
7 = Manual chromatographic peak measurement.
8 = Irregular digital chromatographic peak integration.
9 = Sample was planned for this measurement from this bottle but was not collected.

## raw data
2010-13 SUMMARY
Station | Fraction | Sample ID | Niskin | Depth (m) | MDL | FINAL Conc nM DMSP
P2 | Dissolved | 14 | 1 | 100 | 0.1 | < | P2 | Total | 14 | 1 | 100 | 0.1 | 6.3418
P2 | Dissolved | 20 | 7 | 20 | 0.1 | 0.54 | P2 | Total | 20 | 7 | 20 | 0.1 | 24.78
P2 | Dissolved | 23 | 10 | 5 | 0.1 | 0.73737 | P2 | Total | 23 | 10 | 5 | 0.1 | 86.9646
P2 | Dissolved | 24 | 11 | 5 | 0.1 | 1.0655 | P2 | Total | 24 | 11 | 0 | 0.1 | 84.9422
P4 | Dissolved | 68 | 2 | 200 | 0.1 | < | P4 | Total | 68 | 2 | 200 | 0.1 | 1.0564
P4 | Dissolved | 69 | 3 | 175 | 0.1 | < | P4 | Total | 69 | 3 | 175 | 0.1 | 2.3269
P4 | Dissolved | 70 | 4 | 100 | 0.1 | < | P4 | Total | 70 | 4 | 100 | 0.1 | 16.7893
P4 | Dissolved | 76 | 10 | 20 | 0.1 | 0.29 | P4 | Total | 76 | 10 | 20 | 0.1 | 65.3
P4 | Dissolved | 79 | 13 | 5 | 0.1 | 0.57032 | P4 | Total | 79 | 13 | 5 | 0.1 | 131.6087
P4 | Dissolved | 81 | 15 | 0 | 0.1 | 0.69448 | P4 | Total | 81 | 15 | 0 | 0.1 | 58.4656
P12 | Dissolved | 123 | 10 | 200 | 0.1 | < | P12 | Total | 123 | 10 | 200 | 0.1 | 1.1229
P12 | Dissolved | 124 | 11 | 175 | 0.1 | < | P12 | Total | 124 | 11 | 175 | 0.1 | 0.77826
P12 | Dissolved | 125 | 12 | 100 | 0.1 | < | P12 | Total | 125 | 12 | 100 | 0.1 | 1.3169
P12 | Dissolved | 131 | 18 | 20 | 0.1 | 0.38 | P12 | Total | 131 | 18 | 20 | 0.1 | 24.6
P12 | Dissolved | 134 | 23 | 5 | 0.1 | 0.64131 | P12 | Total | 136 | 23 | 5 | 0.1 | 52.009
P12 | Dissolved | 136 | 21 | 0 | 0.1 | e | P12 | Total | 134 | 21 | 0 | 0.1 | 87.0969
P16 | Dissolved | 229 | 4 | 200 | 0.1 | < | P16 | Total | 229 | 4 | 200 | 0.1 | 0.54103
P16 | Dissolved | 230 | 5 | 175 | 0.1 | < | P16 | Total | 230 | 5 | 175 | 0.1 | 1.2123
P16 | Dissolved | 231 | 6 | 100 | 0.1 | < | P16 | Total | 231 | 6 | 100 | 0.1 | 11.7861
P16 | Dissolved | 237 | 12 | 20 | 0.1 | 0.31012 | P16 | Total | 237 | 12 | 20 | 0.1 | 29.1
P16 | Dissolved | 240 | 15 | 5 | 0.1 | 0.38858 | P16 | Total | 240 | 15 | 5 | 0.1 | 40.5414
P16 | Dissolved | 242 | 17 | 0 | 0.1 | 0.64777 | P16 | Total | 242 | 17 | 0 | 0.1 | 24.3587
P20 | Dissolved | 274 | 2 | 200 | 0.1 | < | P20 | Total | 274 | 2 | 200 | 0.1 | 0.99482
P20 | Dissolved | 275 | 3 | 175 | 0.1 | < | P20 | Total | 275 | 3 | 175 | 0.1 | 1.9423
P20 | Dissolved | 276 | 4 | 100 | 0.1 | 0.2632 | P20 | Total | 276 | 4 | 100 | 0.1 | 5.7637
P20 | Dissolved | 282 | 10 | 20 | 0.1 | 0.68 | P20 | Total | 282 | 10 | 20 | 0.1 | 24.9
P20 | Dissolved | 285 | 13 | 5 | 0.1 | 1.4721 | P20 | Total | 285 | 13 | 5 | 0.1 | 22.2546
P20 | Dissolved | 287 | 15 | 0 | 0.1 | 0.71489 | P20 | Total | 287 | 15 | 0 | 0.1 | 22.2166
P26 | Dissolved | 334 | 3 | 200 | 0.1 | 0.32075 | P26 | Total | 334 | 3 | 200 | 0.1 | 0.76801
P26 | Dissolved | 335 | 4 | 175 | 0.1 | 0.19616 | P26 | Total | 335 | 4 | 175 | 0.1 | 0.37052
P26 | Dissolved | 336 | 5 | 100 | 0.1 | 0.29244 | P26 | Total | 336 | 5 | 100 | 0.1 | 3.936
P26 | Dissolved | 342 | 11 | 20 | 0.1 | 3.51 | P26 | Total | 342 | 11 | 20 | 0.1 | 25.7
P26 | Dissolved | 345 | 14 | 5 | 0.1 | 2.8929 | P26 | Total | 345 | 14 | 5 | 0.1 | 31.3138
P26 | Dissolved | 346 | 15 | 0 | 0.1 | 3.0789 | P26 | Total | 346 | 15 | 0 | 0.1 | 25.8936
e sample bottle broke

## QF file
Event_Number | Station | Sample_Number | Dimethylsulfoniopropionate_Dissolved | Flag:Dimethylsulfoniopropionate_Dissolved | Comments | Dimethylsulfoniopropionate_Total | Flag:Dimethylsulfoniopropionate_Total | Comments
3 | P2 | 14 | < |  |  | 6.3418
3 | P2 | 20 | 0.54 | 6 |  | 24.78 | 6
3 | P2 | 23 | 0.73737 |  |  | 86.9646
3 | P2 | 24 | 1.0655 |  |  | 84.9422
13 | P4 | 68 | 0 |  |  | 1.0564
13 | P4 | 69 | 0 |  |  | 2.3269
13 | P4 | 70 | 0 |  |  | 16.7893
13 | P4 | 76 | 0.29 | 6 |  | 65.3 | 6
13 | P4 | 79 | 0.57032 |  |  | 131.6087
13 | P4 | 81 | 0.69448 |  |  | 58.4656
22 | P12 | 123 | 0 |  |  | 1.1229
22 | P12 | 124 | 0 |  |  | 0.77826
22 | P12 | 125 | 0 |  |  | 1.3169
22 | P12 | 131 | 0.38 | 6 |  | 24.6 | 6
22 | P12 | 134 | 0.64131 |  |  | 52.009
22 | P12 | 136 | -99 | 1 | DMSP-D: Bottle broke | 87.0969
37 | P16 | 229 | 0 |  |  | 0.54103
37 | P16 | 230 | 0 |  |  | 1.2123
37 | P16 | 231 | 0 |  |  | 11.7861
37 | P16 | 237 | 0.31012 | 6 |  | 29.1 | 6
37 | P16 | 240 | 0.38858 |  |  | 40.5414
37 | P16 | 242 | 0.64777 |  |  | 24.3587
43 | P20 | 274 | 0 |  |  | 0.99482
43 | P20 | 275 | 0 |  |  | 1.9423
43 | P20 | 276 | 0.2632 |  |  | 5.7637
43 | P20 | 282 | 0.68 | 6 |  | 24.9 | 6
43 | P20 | 285 | 1.4721 |  |  | 22.2546
43 | P20 | 287 | 0.71489 |  |  | 22.2166
48 | P26 | 334 | 0.32075 |  |  | 0.76801
48 | P26 | 335 | 0.19616 |  |  | 0.37052
48 | P26 | 336 | 0.29244 |  |  | 3.936
48 | P26 | 342 | 3.51 | 6 |  | 25.7 | 6
48 | P26 | 345 | 2.8929 |  |  | 31.3138
48 | P26 | 346 | 3.0789 |  |  | 25.8936