## ReadMe
Germaine,
I think chlorophyll samples 239 and 234b were switched around when analyzed.
Profile and dups make more sense this way and match the CTD fluor trace also.
Need to be changed on Hydro file also.
Two outliers are noted using Chauvenet's Criterion:
Chlorophyll sample 132
Pheopigment sample 18

## QF CHL
Cruise 2010-13 LineP June
Chlorophyll Data Summary
Precision was determined by analyzing replicate samples drawn from one Niskin.
Pooled standard deviation of pairs of samples (Sp) was calculated by:
Sp = SQRT{sum (d*d)/2k}
where k = no. of pairs and d = difference between pairs
Removed one outlier
Chlorophyll Sp = 0.022ug/L for the range 0.052 to 11.284 ug/L, k = 13
Removed one outlier
Pheopigments Sp = 0.025 for the range 0.045 to 1.070 ug/L, k = 13
Cruise | Station | Cast | Sample # | Depth | Pressure | Niskin | Chlorophyll | Flag:CHL | Pheopigments | Flag:Phae | Comments
|  |  |  | (nominal) | (actual) |  | ug/L |  | ug/L
2010-13 | JF1 |  | LOOP |  |  |  | 1.1096 |  | 0.3145
2010-13 | JF2 |  | LOOP |  |  |  | 7.3059 |  | 1.1061
2010-13 | JF3 |  | LOOP |  |  |  | 5.158 |  | 1.1044
2010-13 | JF4 |  | LOOP |  |  |  | 5.3488 |  | 0.76523
2010-13 | P1 | 2 | 13 | 5 |  | 2 | 6.8391 |  | 1.064
2010-13 | P1 | 2 | 12 | 10 |  | 1 | 6.818 |  | 0.9753
2010-13 | P1 |  | LOOP |  |  |  | 6.0807 |  | 0.76254
2010-13 | P2 | 3 | 24 | 0 | 2.101 | 11 | 0.54464 |  | 0.14553 |  | DMS cast
2010-13 | P2 | 3 | 23 | 5 | 5.016 | 10 | 1.7824 |  | 0.45455
2010-13 | P2 | 3 | 22 | 10 | 9.9 | 9 | 2.7994 |  | 0.77554
2010-13 | P2 | 3 | 21 | 15 | 15.203 | 8 | 11.245 | f | 1.0126 | f
2010-13 | P2 | 3 | 20 | 20 | 20.709 | 7 | 8.7609 |  | 1.1553
2010-13 | P2 | 3 | 19 | 25 | 25.076 | 6 | 0.95438 |  | 0.73244
2010-13 | P2 | 3 | 18 | 30 | 30.831 | 5 | 0.58552 | f | 0.68772 | cf | Outlier Chauvenet
2010-13 | P2 | 3 | 17 | 40 | 40.476 | 4 | 0.21705 |  | 0.56402
2010-13 | P2 | 3 | 16 | 50 | 50.377 | 3 | 0.12905 |  | 0.37077
2010-13 | P2 | 3 | 15 | 75 | 75.821 | 2 | 0.10836 |  | 0.51776
2010-13 | P2 | 3 | 14 | 100 | 100.723 | 1 | 0.12629 |  | 0.60259
2010-13 | P3 | 6 | 34 | 5 |  | 2 | 0.5301 |  | 0.12464
2010-13 | P3 | 6 | 33 | 30 |  |  | 1.3043 |  | 0.44719
2010-13 | P3 |  | LOOP |  |  |  | 0.59147 |  | 0.14637
2010-13 | P4 |  | LOOP |  |  |  | 0.65025 |  | 0.14682
2010-13 | P4 | 13 | 81 | 0 | 1.208 | 15 | 0.70204 | f | 0.20809 | f
2010-13 | P4 | 13 | 79 | 5 | 5.163 | 13 | 0.72729 |  | 0.26376
2010-13 | P4 | 13 | 78 | 10 | 10.025 | 12 | 0.74761 |  | 0.26775
2010-13 | P4 | 13 | 77 | 15 | 15.332 | 11 | 1.1168 |  | 0.40206
2010-13 | P4 | 13 | 76 | 20 | 20.69 | 10 | 1.5096 |  | 0.52857
2010-13 | P4 | 13 | 75 | 25 | 25.053 | 9 | 1.4539 |  | 0.50333
2010-13 | P4 | 13 | 74 | 30 | 30.28 | 8 | 0.70311 |  | 0.28966
2010-13 | P4 | 13 | 73 | 40 | 40.731 | 7 | 0.31822 |  | 0.19116
2010-13 | P4 | 13 | 72 | 50 | 50.273 | 6 | 0.1235 |  | 0.16094
2010-13 | P4 | 13 | 71 | 75 | 75.307 | 5 | 0.066524 | f | 0.11898 | f
2010-13 | P4 | 13 | 70 | 100 | 100.204 | 4 | 0.03003 |  | 0.12137
2010-13 | P5 | 14 | 83 | 5 |  | 2 | 0.52504 |  | 0.069093
2010-13 | P5 | 14 | 82 | 40 |  | 1 | 0.58588 |  | 0.22387
2010-13 | P5 |  | LOOP |  |  |  | 0.49767 |  | 0.074693
2010-13 | P6 | 15 | 85 | 5 |  | 2 | 0.48819 |  | 0.090575
2010-13 | P6 | 15 | 84 | 25 |  | 1 | 0.99131 |  | 0.23065
2010-13 | P6 |  | LOOP |  |  |  | 0.48916 |  | 0.097069
2010-13 | P7 | 16 | 87 | 5 |  | 2 | 0.54851 |  | 0.10337
2010-13 | P7 | 16 | 86 | 25 |  | 1 | 0.58019 |  | 0.14026
2010-13 | P7 |  | LOOP |  |  |  | 0.49805 |  | 0.089984
2010-13 | P8 | 18 | 107 | 5 | 5.554 | 20 | 0.50303 |  | 0.0812
2010-13 | P8 | 18 | 106 | 10 | 10.947 | 19 | 0.46679 |  | 0.075835
2010-13 | P8 | 18 | 105 | 25 | 25.471 | 18 | 0.51091 | f | 0.082625 | f
2010-13 | P8 | 18 | 104 | 50 | 50.059 | 17 | 0.62188 |  | 0.13427
2010-13 | P8 | 18 | 103 | 75 | 75.465 | 16 | 0.18727 | f | 0.1324 | f
2010-13 | P8 | 18 | 102 | 100 | 99.978 | 15 | 0.082491 |  | 0.077637
2010-13 | P9 | 19 | 109 | 5 |  | 3 | 0.4207 |  | 0.095875
2010-13 | P9 | 19 | 108 | 35 |  | 1 | 0.5049 |  | 0.1783
2010-13 | P9 |  | LOOP |  |  |  | 0.49215 |  | 0.10322
2010-13 | P10 | 20 | 111 | 5 |  | 3 | 0.61061 |  | 0.14502
2010-13 | P10 | 20 | 110 | 40 |  | 1 | 0.84089 |  | 0.2274
2010-13 | P10 |  | LOOP |  |  |  | 0.68316 |  | 0.14878
2010-13 | P11 | 21 | 113 | 5 |  | 2 | 0.33866 |  | 0.043598
2010-13 | P11 | 21 | 112 | 40 |  | 1 | 0.49284 |  | 0.14121
2010-13 | P11 |  | LOOP |  |  |  | 0.63578 |  | 0.059542
2010-13 | P12 | 22/23 | 136 | 0 | 1.851 | 23 | 0.62725 |  | 0.067852 |  | DMS cast
2010-13 | P12 | 22/23 | 134 | 5 | 5.415 | 21 | 0.5371 |  | 0.048045 |  | Computer crash, two cast numbers
2010-13 | P12 | 22/23 | 133 | 10 | 10.715 | 20 | 0.45521 |  | 0.061884
2010-13 | P12 | 22/23 | 132 | 15 | 15.23 | 19 | 0.48957 | cf | 0.060579 | f | Outlier Chauvenet
2010-13 | P12 | 22/23 | 131 | 20 | 20.581 | 18 | 0.53921 |  | 0.090366
2010-13 | P12 | 22/23 | 130 | 25 | 25.354 | 17 | 0.66626 |  | 0.12792
2010-13 | P12 | 22/23 | 129 | 30 | 30.633 | 16 | 0.60524 |  | 0.13526
2010-13 | P12 | 22/23 | 128 | 40 | 40.618 | 15 | 0.74011 |  | 0.22894
2010-13 | P12 | 22/23 | 127 | 50 | 50.805 | 14 | 0.57867 |  | 0.25401
2010-13 | P12 | 22/23 | 126 | 75 | 75.245 | 13 | 0.20677 |  | 0.093874
2010-13 | P12 | 22/23 | 125 | 100 | 100.327 | 12 | 0.066375 | f | 0.047019 | f
2010-13 | P12 |  | LOOP |  |  |  | 0.77018 |  | 0.11228
2010-13 | P13 | 28 | 184 | 5 |  | 11 | 0.41712 |  | 0.081163
2010-13 | P13 | 28 | 183 | 30 |  | 10 | 0.42955 |  | 0.088501
2010-13 | P13 |  | LOOP |  |  |  | 0.40715 |  | 0.095228
2010-13 | P14 | 30 | 186 | 5 |  | 2 | 0.40986 |  | 0.053423
2010-13 | P14 |  | LOOP |  |  |  | 0.40359 |  | 0.13195
2010-13 | P15 | 31 | 188 | 5 |  | 2 | 0.28821 |  | 0.063509
2010-13 | P15 | 31 | 187 | 50 |  | 1 | 0.57696 |  | 0.22493
2010-13 | P15 |  | LOOP |  |  |  | 0.30168 |  | 0.075822
2010-13 | P16 | 37 | 242 | 0 | 2.175 | 17 | 0.24512 |  | 0.04753
2010-13 | P16 | 37 | 240 | 5 | 5.376 | 15 | 0.24699 |  | 0.044981
2010-13 | P16 | 37 | 239 | 10 | 9.765 | 14 | 0.249 |  | 0.049304
2010-13 | P16 | 37 | 238 | 15 | 15.592 | 13 | 0.24391 | f | 0.04844 | f
2010-13 | P16 | 37 | 237 | 20 | 20.444 | 12 | 0.24284 |  | 0.047114
2010-13 | P16 | 37 | 236 | 25 | 25.133 | 11 | 0.24832 |  | 0.052157
2010-13 | P16 | 37 | 235 | 30 | 31.238 | 10 | 0.25461 |  | 0.051692
2010-13 | P16 | 37 | 234 | 40 | 39.91 | 9 | 0.391 | f | 0.1186 | f
2010-13 | P16 | 37 | 233 | 50 | 50.278 | 8 | 0.42811 |  | 0.13073
2010-13 | P16 | 37 | 232 | 75 | 74.976 | 7 | 0.59354 |  | 0.26979
2010-13 | P16 | 37 | 231 | 100 | 101.271 | 6 | 0.1285 |  | 0.085816
2010-13 | P17 | 38 | 244 | 5 |  | 2 | 0.26261 |  | 0.066585
2010-13 | P17 | 38 | 243 | 60 |  | 1 | 0.2614 |  | 0.064749
2010-13 | P17 |  | LOOP |  |  |  | 0.29921 |  | 0.066391
2010-13 | P18 | 39 | 246 | 5 |  | 2 | 0.21682 |  | 0.072325
2010-13 | P18 |  | LOOP |  |  |  | 0.2008 |  | 0.076717
2010-13 | P19 | 40 | 248 | 5 |  | 2 | 0.19742 |  | 0.066547
2010-13 | P19 | 40 | 247 | 40 |  | 1 | 0.5266 |  | 0.25651
2010-13 | P19 |  | LOOP |  |  |  | 0.19266 |  | 0.10594
2010-13 | P20 | 43 | 287 | 0 | 2.215 | 15 | 0.29314 | f | 0.060159 | f | DMS cast
2010-13 | P20 | 43 | 285 | 5 | 5.761 | 13 | 0.29698 |  | 0.059496
2010-13 | P20 | 43 | 284 | 10 | 10.814 | 12 | 0.28743 |  | 0.057679
2010-13 | P20 | 43 | 283 | 15 | 16.321 | 11 | 0.29883 |  | 0.060934
2010-13 | P20 | 43 | 282 | 20 | 21.036 | 10 | 0.33897 |  | 0.069172
2010-13 | P20 | 43 | 281 | 25 | 24.964 | 9 | 0.32682 | f | 0.072667 | f
2010-13 | P20 | 43 | 280 | 30 | 30.07 | 8 | 0.36621 |  | 0.084818
2010-13 | P20 | 43 | 279 | 40 | 40.736 | 7 | 0.43712 |  | 0.13095
2010-13 | P20 | 43 | 278 | 50 | 50.957 | 6 | 0.48343 |  | 0.18457
2010-13 | P20 | 43 | 277 | 75 | 73.57 | 5 | 0.35526 |  | 0.22305
2010-13 | P20 | 43 | 276 | 100 | 100.775 | 4 | 0.058031 |  | 0.086168
2010-13 | P21 | 46 | 307 | 5 |  | 2 | 0.28548 |  | 0.055006
2010-13 | P21 | 46 | 306 | 50 |  | 1 | 0.58661 |  | 0.21188
2010-13 | P21 |  | LOOP |  |  |  | 0.2805 |  | 0.06187
2010-13 | P26 | 48 | 346 | 0 | 2.94 | 15 | 0.47411 |  | 0.1059
2010-13 | P26 | 48 | 345 | 5 | 5.578 | 14 | 0.46371 |  | 0.086506
2010-13 | P26 | 48 | 344 | 10 | 10.641 | 13 | 0.4591 | f | 0.10002 | f
2010-13 | P26 | 48 | 343 | 15 | 15.388 | 12 | 0.48391 |  | 0.096687
2010-13 | P26 | 48 | 342 | 20 | 21.001 | 11 | 0.49859 |  | 0.10893
2010-13 | P26 | 48 | 341 | 25 | 26.862 | 10 | 0.47077 |  | 0.091808
2010-13 | P26 | 48 | 340 | 30 | 30.481 | 9 | 0.48386 | f | 0.1117 | f
2010-13 | P26 | 48 | 339 | 40 | 40.666 | 8 | 0.48198 |  | 0.10196
2010-13 | P26 | 48 | 338 | 50 | 50.706 | 7 | 0.4773 |  | 0.10372
2010-13 | P26 | 48 | 337 | 75 | 76.283 | 6 | 0.23879 |  | 0.11689
2010-13 | P26 | 48 | 336 | 100 | 99.733 | 5 | 0.044261 |  | 0.054311
2010-13 | P35 | 75 | 563 | 5 |  | 3 | 0.31569 |  | 0.05918
2010-13 | P35 | 75 | 562 | 40 |  | 2 | 0.50739 |  | 0.12705
2010-13 | P35 |  | LOOP |  |  |  | 0.29482 |  | 0.055186
2010-13 | P25 | 76 | 565 | 5 |  | 3 | 0.35773 |  | 0.055232
2010-13 | P25 | 76 | 564 | 40 |  | 2 | 0.52395 |  | 0.12342
2010-13 | P25 |  | LOOP |  |  |  | 0.34116 |  | 0.071328
2010-13 | P24 | 77 | 589 | 5 |  | 24 | 0.48969 |  | 0.074027 |  | Calibration cast
2010-13 | P24 | 77 | 588 | Chl max | 41 |  | 0.59761 |  | 0.13578
2010-13 | P24 |  | LOOP |  |  |  | 0.56249 |  | 0.10093
2010-13 | P23 | 79 | 591 | 5 |  | 3 | 0.32157 |  | 0.064382
2010-13 | P23 | 79 | 590 | 40 |  | 2 | 0.49028 |  | 0.1242
2010-13 | P23 |  | LOOP |  |  |  | 0.28034 |  | 0.058284
2010-13 | P22 | 80 | 593 | 5 |  | 3 | 0.27618 |  | 0.050576
2010-13 | P22 | 80 | 592 | 40 |  | 2 | 0.49995 |  | 0.1239
2010-13 | P22 |  | LOOP |  |  |  | 0.26746 |  | 0.061219

## Precision
Averaging Duplicates
[5 empty] | Chlorophyll | [6 empty] | Pheopigments
Sample # | Station | Niskin # | Cast | Depth | Chl a | Avg | DIFF | Chauvenet value | Reject | Chl a diff sq |  | Pheo | Avg | DIFF | Chauvenet value | Reject | Pheo diff sq
18 a | P2 | 5 | 3 | 30 | 0.56508 | [5 empty] | 1 | 0.59635 | [6 empty] | Critical values for Chauvenet statistic
18 b | P2 | 5 | 3 | 30 | 0.60596 |  |  |  |  | 0.0016715 |  | 0.77908 |  |  |  |  | 0.033391 |  | n | Chauvenet
18 |  |  |  |  | 0.58552 | 0.58552 | -0.040884 | -0.62954 |  |  |  | 0.68772 | 0.68772 | -0.18273 | -2.7847 | YES |  |  | 3 | 1.37
[19 empty] | 4 | 1.53
21 a | P2 | 8 | 3 | 15 | 11.2056 | [5 empty] | 2 | 0.95476 | [6 empty] | 5 | 1.64
21 b | P2 | 8 | 3 | 15 | 11.2845 |  |  |  |  | 0.0062297 |  | 1.0704 |  |  |  |  | 0.013368 |  | 6 | 1.73
21 |  |  |  |  | 11.245 | 11.245 | -0.078928 | -1.7278 |  |  |  | 1.0126 | 1.0126 | -0.11562 | -1.6617 |  |  |  | 7 | 1.8
[19 empty] | 8 | 1.87
71 a | P4 | 5 | 13 | 75 | 0.080803 | [5 empty] | 3 | 0.13163 | [6 empty] | 9 | 1.91
71 b | P4 | 5 | 13 | 75 | 0.052245 |  |  |  |  | 0.00081554 |  | 0.10633 |  |  |  |  | 0.0006401 |  | 10 | 1.97
71 |  |  |  |  | 0.066524 | 0.066524 | 0.028558 | 1.3751 |  |  |  | 0.11898 | 0.11898 | 0.0253 | 0.69631 |  |  |  | 20 | 2.24
[19 empty] | 30 | 2.39
81 a | P4 | 15 | 13 | 0 | 0.67746 | [5 empty] | 4 | 0.19332 | [6 empty] | 50 | 2.57
81 b | P4 | 15 | 13 | 0 | 0.72662 |  |  |  |  | 0.0024171 |  | 0.22287 |  |  |  |  | 0.0008733 |  | 80 | 2.74
81 |  |  |  |  | 0.70204 | 0.70204 | -0.049164 | -0.86857 |  |  |  | 0.20809 | 0.20809 | -0.029552 | -0.22152 |  |  |  | 100 | 2.81
[19 empty] | 150 | 2.93
103 a | P8 | 16 | 18 | 75 | 0.19025 | [5 empty] | 5 | 0.14492 | [6 empty] | 200 | 3.02
103 b | P8 | 16 | 18 | 75 | 0.18429 |  |  |  |  | 3.555e-05 |  | 0.11987 |  |  |  |  | 0.00062711
103 |  |  |  |  | 0.18727 | 0.18727 | 0.0059624 | 0.72282 |  |  |  | 0.1324 | 0.1324 | 0.025042 | 0.69199
105 a | P8 | 18 | 18 | 25 | 0.50164 | [5 empty] | 6 | 0.081963
105 b | P8 | 18 | 18 | 25 | 0.52017 |  |  |  |  | 0.00034327 |  | 0.083287 |  |  |  |  | 1.753e-06
105 |  |  |  |  | 0.51091 | 0.51091 | -0.018527 | 0.015848 |  |  |  | 0.082625 | 0.082625 | -0.001324 | 0.25081
125 a | P12 | 12 | 22/23 | 100 | 0.065213 | [5 empty] | 7 | 0.048606
125 b | P12 | 12 | 22/23 | 100 | 0.067537 |  |  |  |  | 5.4019e-06 |  | 0.045432 |  |  |  |  | 1.0073e-05
125 |  |  |  |  | 0.066375 | 0.066375 | -0.0023242 | 0.4836 |  |  |  | 0.047019 | 0.047019 | 0.0031738 | 0.32607
132 a | P12 | 19 | 22/23 | 15 | 0.44339 | [5 empty] | 8 | 0.05638
132 b | P12 | 19 | 22/23 | 15 | 0.53574 |  |  |  |  | 0.0085284 |  | 0.064777 |  |  |  |  | 7.0511e-05
132 |  |  |  |  | 0.48957 | 0.48957 | -0.092349 | -2.1152 | YES |  |  | 0.060579 | 0.060579 | -0.0083971 | 0.13246
234 a | P16 | 9 | 37 | 40 | 0.38608 | [5 empty] | 9 | 0.12178
234 b | P16 | 9 | 37 | 40 | 0.39648 |  |  |  |  | 0.00010812 |  | 0.11542 |  |  |  |  | 4.0428e-05
234 |  |  |  |  | 0.39128 | 0.39128 | -0.010398 | 0.25052 |  |  |  | 0.1186 | 0.1186 | 0.0063583 | 0.37936
238 a | P16 | 13 | 37 | 15 | 0.24391 | [5 empty] | 10 | 0.049226
238 b | P16 | 13 | 37 | 15 | 0.24101 |  |  |  |  | 8.4244e-06 |  | 0.047653 |  |  |  |  | 2.4744e-06
238 |  |  |  |  | 0.24246 | 0.24246 | 0.0029025 | 0.63448 |  |  |  | 0.04844 | 0.04844 | 0.001573 | 0.29929
281 a | P20 | 9 | 43 | 25 | 0.32743 | [5 empty] | 11 | 0.068949
281 b | P20 | 9 | 43 | 25 | 0.32621 |  |  |  |  | 1.498e-06 |  | 0.076385 |  |  |  |  | 5.5296e-05
281 |  |  |  |  | 0.32682 | 0.32682 | 0.0012239 | 0.58603 |  |  |  | 0.072667 | 0.072667 | -0.0074361 | 0.14854
287 a | P20 | 15 | 43 | 0 | 0.29849 | [5 empty] | 12 | 0.066265
287 b | P20 | 15 | 43 | 0 | 0.2878 |  |  |  |  | 0.00011424 |  | 0.054053 |  |  |  |  | 0.00014913
287 |  |  |  |  | 0.29314 | 0.29314 | 0.010688 | 0.85924 |  |  |  | 0.060159 | 0.060159 | 0.012212 | 0.47731
340 a | P26 | 9 | 48 | 30 | 0.47385 | [5 empty] | 13 | 0.12196
340 b | P26 | 9 | 48 | 30 | 0.49388 |  |  |  |  | 0.00040117 |  | 0.10145 |  |  |  |  | 0.00042068
340 |  |  |  |  | 0.48386 | 0.48386 | -0.020029 | -0.027508 |  |  |  | 0.1117 | 0.1117 | 0.02051 | 0.61617
344 a | P26 | 13 | 48 | 10 | 0.4572 | [5 empty] | 14 | 0.11127
344 b | P26 | 13 | 48 | 10 | 0.461 |  |  |  |  | 1.4432e-05 |  | 0.088766 |  |  |  |  | 0.00050644
344 |  |  |  |  | 0.4591 | 0.4591 | -0.003799 | 0.44103 |  |  |  | 0.10002 | 0.10002 | 0.022504 | 0.64953
[11 empty] | remove outlier | [6 empty] | remove outlier
[6 empty] | mean diff | -0.019076 |  | SUM OF (X-Y)SQ | 0.020694 | 0.012166 |  | mean diff | -0.016313 |  | SUM OF (X-Y)SQ | 0.050156 | 0.016765
[6 empty] | stdev | 0.034641 |  | COUNT | 14 | 13 |  | stdev | 0.059763 |  | COUNT | 14 | 13
[6 empty] | MIN | 0.052245 |  | SUM/2*COUNT | 0.00073909 | 0.00046792 |  | MIN | 0.045432 |  | SUM/2*COUNT | 0.0017913 | 0.0006448
[6 empty] | MAX | 11.2845 |  | SQRT(SUM/2*COUNT) | 0.027186 | 0.021632 |  | MAX | 1.0704 |  | SQRT(SUM/2*COUNT) | 0.042324 | 0.025393

## Loops
Date | Sample | Station | Sampling | Niskin | Cast | Nominal | Volume | Vol.acet. | Before | After | Chl.a | Phaeo | RATIO | Comments
(analyzed) | Number |  | Date | Number | no. | Depth | Filtered | (ml) | acid | acid | ug/l |  | Rb/Ra
(local) |  |  | UTC |  |  |  | (ml) |  |  |  |  | ug/L
2010-06-09 | 13 | P1 | 2010-06-06 |  |  | 5.608 | 335 | 12 | 210.704 | 116.19 | 6.8391 | 1.064 | 1.8134
2010-06-09 | LOOP | P1 | 2010-06-06 | 1 | 2 |  | 334 | 10 | 220.906 | 120.368 | 6.0807 | 0.76254 | 1.8353
2010-06-09 | 34 | P3 | 2010-06-07 |  |  | 5.137 | 335 | 10 | 20.342 | 11.551 | 0.5301 | 0.12464 | 1.7611
2010-06-09 | LOOP | P3 | 2010-06-07 |  |  |  | 336 | 10 | 22.894 | 13.056 | 0.59147 | 0.14637 | 1.7535
2010-06-09 | 79 | P4 | 2010-06-07 | 13 | 13 | 5 | 334 | 10 | 29.457 | 17.432 | 0.72729 | 0.26376 | 1.6898
2010-06-09 | LOOP | P4 | 2010-06-07 |  |  |  | 333 | 10 | 24.697 | 13.978 | 0.65025 | 0.14682 | 1.7668
2010-06-09 | 83 | P5 | 2010-06-07 | 2 | 14 | 5.23 | 336 | 10 | 19.246 | 10.513 | 0.52504 | 0.069093 | 1.8307
2010-06-09 | LOOP | P5 | 2010-06-07 |  |  |  | 330 | 10 | 18.077 | 9.947 | 0.49767 | 0.074693 | 1.8173
2010-06-09 | 85 | P6 | 2010-06-08 | 2 | 15 | 5.58 | 336 | 10 | 18.361 | 10.241 | 0.48819 | 0.090575 | 1.7929
2010-06-09 | LOOP | P6 |  |  |  |  | 330 | 10 | 18.179 | 10.188 | 0.48916 | 0.097069 | 1.7844
2010-06-09 | 87 | P7 | 2010-06-08 | 2 | 16 | 5.93 | 333 | 10 | 20.474 | 11.432 | 0.54851 | 0.10337 | 1.7909
2010-06-09 | LOOP | P7 |  |  |  |  | 336 | 10 | 18.689 | 10.405 | 0.49805 | 0.089984 | 1.7962
2010-06-11 | 109 | P9 | 2010-06-08 | 3 | 19 | 5.2 | 333 | 10 | 15.994 | 9.059 | 0.4207 | 0.095875 | 1.7655 | Generic volume
2010-06-11 | LOOP | P9 | 2010-06-08 |  |  |  | 336 | 10 | 18.721 | 10.535 | 0.49215 | 0.10322 | 1.777
2010-06-11 | 111 | P10 | 2010-06-08 | 3 | 20 | 4.767 | 330 | 10 | 23.107 | 13.132 | 0.61061 | 0.14502 | 1.7596
2010-06-11 | LOOP | P10 | 2010-06-08 |  |  |  | 336 | 10 | 26.084 | 14.721 | 0.68316 | 0.14878 | 1.7719
2010-06-11 | 113 | P11 | 2010-06-08 | 2 | 21 | 5.826 | 336 | 10 | 12.397 | 6.764 | 0.33866 | 0.043598 | 1.8328
2010-06-11 | LOOP | P11 | 2010-06-08 |  |  |  | 332 | 10 | 22.606 | 12.157 | 0.63578 | 0.059542 | 1.8595
2010-06-12 | 134 | P12 | 2010-06-09 | 21 | 22/23 | 5 | 330 | 10 | 18.943 | 10.169 | 0.5371 | 0.048045 | 1.8628
2010-06-12 | LOOP | P12 | 2010-06-09 |  |  |  | 332 | 10 | 28.087 | 15.429 | 0.77018 | 0.11228 | 1.8204
2010-06-12 | 184 | P13 | 2010-06-09 | 11 | 28 | 5.263 | 336 | 10 | 15.755 | 8.817 | 0.41712 | 0.081163 | 1.7869
2010-06-12 | LOOP | P13 | 2010-06-09 |  |  |  | 335 | 10 | 15.615 | 8.863 | 0.40715 | 0.095228 | 1.7618
2010-06-12 | 186 | P14 | 2010-06-09 | 2 | 30 | 5.084 | 332 | 10 | 14.836 | 8.1 | 0.40986 | 0.053423 | 1.8316
2010-06-12 | LOOP | P14 | 2010-06-09 |  |  |  | 330 | 10 | 15.9 | 9.307 | 0.40359 | 0.13195 | 1.7084
2010-06-12 | 188 | P15 | 2010-06-10 | 2 | 31 | 5.561 | 333 | 10 | 10.919 | 6.168 | 0.28821 | 0.063509 | 1.7703
2010-06-12 | LOOP | P15 | 2010-06-10 |  |  |  | 335 | 10 | 11.663 | 6.66 | 0.30168 | 0.075822 | 1.7512
2010-06-15 | 244 | P17 | 2010-06-11 | 2 | 38 | 5.802 | 330 | 10 | 10.011 | 5.721 | 0.26261 | 0.066585 | 1.7499
2010-06-15 | LOOP | P17 | 2010-06-11 |  |  |  | 335 | 10 | 11.412 | 6.45 | 0.29921 | 0.066391 | 1.7693
2010-06-15 | 246 | P18 | 2010-06-11 | 2 | 39 | 5.982 | 330 | 10 | 8.567 | 5.025 | 0.21682 | 0.072325 | 1.7049
2010-06-15 | LOOP | P18 | 2010-06-11 |  |  |  | 335 | 10 | 8.226 | 4.896 | 0.2008 | 0.076717 | 1.6801
2010-06-15 | 248 | P19 | 2010-06-11 | 2 | 40 | 5.745 | 335 | 10 | 7.931 | 4.657 | 0.19742 | 0.066547 | 1.703
2010-06-15 | LOOP | P19 | 2010-06-11 |  |  |  | 335 | 10 | 8.463 | 5.268 | 0.19266 | 0.10594 | 1.6065
2010-06-15 | 307 | P21 | 2010-06-12 | 2 | 46 | 4.914 | 333 | 10 | 10.677 | 5.971 | 0.28548 | 0.055006 | 1.7881
2010-06-15 | LOOP | P21 | 2010-06-12 |  |  |  | 332 | 10 | 10.596 | 5.986 | 0.2805 | 0.06187 | 1.7701
2010-06-20 | 563 | P35 | 2010-06-18 | 3 | 75 | 5.205 | 333 | 10 | 11.778 | 6.574 | 0.31569 | 0.05918 | 1.7916
2010-06-20 | LOOP | P35 | 2010-06-18 |  |  |  | 333 | 10 | 10.998 | 6.138 | 0.29482 | 0.055186 | 1.7918
2010-06-20 | 565 | P25 | 2010-06-18 | 3 | 76 | 5.223 | 333 | 10 | 13.139 | 7.242 | 0.35773 | 0.055232 | 1.8143
2010-06-20 | LOOP | P25 | 2010-06-18 |  |  |  | 332 | 10 | 12.819 | 7.212 | 0.34116 | 0.071328 | 1.7775
2010-06-20 | 589 | P24 | 2010-06-18 | 24 | 77 | 5.061 | 332 | 10 | 17.904 | 9.856 | 0.48969 | 0.074027 | 1.8166
2010-06-20 | LOOP | P24 | 2010-06-18 |  |  |  | 335 | 10 | 21.032 | 11.704 | 0.56249 | 0.10093 | 1.797
2010-06-20 | 591 | P23 | 2010-06-18 | 3 | 79 | 5.71 | 332 | 10 | 12.033 | 6.748 | 0.32157 | 0.064382 | 1.7832
2010-06-20 | LOOP | P23 | 2010-06-18 |  |  |  | 335 | 10 | 10.623 | 5.974 | 0.28034 | 0.058284 | 1.7782
2010-06-20 | 593 | P22 | 2010-06-19 | 3 | 80 | 5.841 | 332 | 10 | 10.252 | 5.713 | 0.27618 | 0.050576 | 1.7945
2010-06-20 | LOOP | P22 | 2010-06-19 |  |  |  | 333 | 10 | 10.173 | 5.764 | 0.26746 | 0.061219 | 1.7649

## raw data
May 2010 Chlorophyll Calibration Factors for the OSD fluorometer
Analyzed using Water Properties Turner 10 AU calibrated with pure chlorophyll a May 12, 2010
May 12, 2010: chl (ug/L)= 0.9788*(1.94/(1.94-1)*(Fo-Fa)*(vol ext/vol filtered)
May 12, 2010: phaeo (ug/L)= 0.9788*(1.94/(1.94-1)*((1.94*Fa)-Fo)*1(vol ext/vol filtered)
Date | Sample | Station | Sampling | Niskin | Cast | Nominal | Volume | Vol.acet. | Before | After | Chl.a | Phaeo | RATIO | Comments
(analyzed) | Number |  | Date | Number | no. | Depth | Filtered | (ml) | acid | acid | ug/l | ug/L | Rb/Ra
(local) |  |  | UTC |  |  |  | (ml) |  |  |  |  | ug/L
2010-06-09 | LOOP | JF1 | 2010-06-06 |  |  |  | 335 | 10 | 43.525 | 25.124 | 1.1096 | 0.3145 | 1.7324
2010-06-09 | LOOP | JF2 | 2010-06-06 | 2 | 2 |  | 333 | 15 | 178.636 | 98.346 | 7.3059 | 1.1061 | 1.8164 | Generic volume
2010-06-09 | LOOP | JF3 | 2010-06-06 |  |  |  | 335 | 12 | 163.349 | 92.068 | 5.158 | 1.1044 | 1.7742
2010-06-09 | LOOP | JF4 | 2010-06-06 |  |  |  | 330 | 10 | 193.632 | 106.254 | 5.3488 | 0.76523 | 1.8224
2010-06-09 | 12 | P1 | 2010-06-06 | 1 | 2 | 10.571 | 330 | 12 | 205.681 | 112.865 | 6.818 | 0.9753 | 1.8224
2010-06-09 | LOOP | P1 | 2010-06-06 | 1 | 2 |  | 334 | 10 | 220.906 | 120.368 | 6.0807 | 0.76254 | 1.8353
2010-06-09 | 13 | P1 | 2010-06-06 |  |  | 5.608 | 335 | 12 | 210.704 | 116.19 | 6.8391 | 1.064 | 1.8134
2010-06-09 | 14 | P2 | 2010-06-07 | 1 | 3 | 100 | 330 | 10 | 14.73 | 12.667 | 0.12629 | 0.60259 | 1.1629
2010-06-09 | 15 | P2 | 2010-06-07 | 2 | 3 | 75 | 335 | 10 | 12.843 | 11.046 | 0.10836 | 0.51776 | 1.1627
2010-06-09 | 16 | P2 | 2010-06-07 | 3 | 3 | 50 | 332 | 10 | 10.86 | 8.739 | 0.12905 | 0.37077 | 1.2427
2010-06-09 | 17 | P2 | 2010-06-07 | 4 | 3 | 40 | 337 | 10 | 17.483 | 13.862 | 0.21705 | 0.56402 | 1.2612
2010-06-09 | 18 a | P2 | 2010-06-07 | 5 | 3 | 30 | 335 | 10 | 29.861 | 20.49 | 0.56508 | 0.59635 | 1.4573
2010-06-09 | 18 b | P2 | 2010-06-07 | 5 | 3 | 30 | 336 | 10 | 34.587 | 24.508 | 0.60596 | 0.77908 | 1.4113
2010-06-09 | 19 | P2 | 2010-06-07 | 6 | 3 | 25 | 335 | 10 | 45.586 | 29.759 | 0.95438 | 0.73244 | 1.5318
2010-06-09 | 20 | P2 | 2010-06-07 | 7 | 3 | 20 | 333 | 20 | 159.159 | 86.949 | 8.7609 | 1.1553 | 1.8305
2010-06-09 | 21 a | P2 | 2010-06-07 | 8 | 3 | 15 | 336 | 18 | 223.087 | 119.541 | 11.2056 | 0.95476 | 1.8662
2010-06-09 | 21 b | P2 | 2010-06-07 | 8 | 3 | 15 | 335 | 18 | 225.057 | 121.092 | 11.2845 | 1.0704 | 1.8586
2010-06-09 | 22 | P2 | 2010-06-07 | 9 | 3 | 10 | 336 | 10 | 109.819 | 63.257 | 2.7994 | 0.77554 | 1.7361
2010-06-09 | 23 | P2 | 2010-06-07 | 10 | 3 | 5 | 335 | 10 | 69.024 | 39.465 | 1.7824 | 0.45455 | 1.749
2010-06-09 | 24 | P2 | 2010-06-07 | 11 | 3 | 0 | 335 | 10 | 21.208 | 12.176 | 0.54464 | 0.14553 | 1.7418
2010-06-09 | 33 | P3 | 2010-06-07 |  |  | 30.364 | 335 | 10 | 52.53 | 30.9 | 1.3043 | 0.44719 | 1.7
2010-06-09 | 34 | P3 | 2010-06-07 |  |  | 5.137 | 335 | 10 | 20.342 | 11.551 | 0.5301 | 0.12464 | 1.7611
2010-06-09 | LOOP | P3 | 2010-06-07 |  |  |  | 336 | 10 | 22.894 | 13.056 | 0.59147 | 0.14637 | 1.7535
2010-06-09 | 70 | P4 | 2010-06-07 | 4 | 13 | 100 | 335 | 10 | 3.169 | 2.671 | 0.03003 | 0.12137 | 1.1864
2010-06-09 | 71 a | P4 | 2010-06-07 | 5 | 13 | 75 | 336 | 10 | 5.103 | 3.759 | 0.080803 | 0.13163 | 1.3575
2010-06-09 | 71 b | P4 | 2010-06-07 | 5 | 13 | 75 | 336 | 10 | 3.675 | 2.806 | 0.052245 | 0.10633 | 1.3097
2010-06-09 | 72 | P4 | 2010-06-07 | 6 | 13 | 50 | 335 | 10 | 7.066 | 5.018 | 0.1235 | 0.16094 | 1.4081
2010-06-09 | 73 | P4 | 2010-06-07 | 7 | 13 | 40 | 332 | 10 | 14.136 | 8.906 | 0.31822 | 0.19116 | 1.5872
2010-06-09 | 74 | P4 | 2010-06-07 | 8 | 13 | 30 | 330 | 10 | 28.739 | 17.253 | 0.70311 | 0.28966 | 1.6657
2010-06-09 | 75 | P4 | 2010-06-07 | 9 | 13 | 25 | 337 | 10 | 58.991 | 34.736 | 1.4539 | 0.50333 | 1.6983
2010-06-09 | 76 | P4 | 2010-06-07 | 10 | 13 | 20 | 335 | 10 | 60.993 | 35.958 | 1.5096 | 0.52857 | 1.6962
2010-06-09 | 77 | P4 | 2010-06-07 | 11 | 13 | 15 | 336 | 10 | 45.45 | 26.875 | 1.1168 | 0.40206 | 1.6912
2010-06-09 | 78 | P4 | 2010-06-07 | 12 | 13 | 10 | 335 | 10 | 30.311 | 17.913 | 0.74761 | 0.26775 | 1.6921
2010-06-09 | 79 | P4 | 2010-06-07 | 13 | 13 | 5 | 334 | 10 | 29.457 | 17.432 | 0.72729 | 0.26376 | 1.6898
2010-06-09 | 81 a | P4 | 2010-06-07 | 15 | 13 | 0 | 330 | 10 | 26.2 | 15.133 | 0.67746 | 0.19332 | 1.7313
2010-06-09 | 81 b | P4 | 2010-06-07 | 15 | 13 | 0 | 335 | 10 | 28.801 | 16.751 | 0.72662 | 0.22287 | 1.7194
2010-06-09 | LOOP | P4 | 2010-06-07 |  |  |  | 333 | 10 | 24.697 | 13.978 | 0.65025 | 0.14682 | 1.7668
2010-06-09 | 82 | P5 | 2010-06-07 | 1 | 14 | 39.909 | 337 | 10 | 24.145 | 14.371 | 0.58588 | 0.22387 | 1.6801
2010-06-09 | 83 | P5 | 2010-06-07 | 2 | 14 | 5.23 | 336 | 10 | 19.246 | 10.513 | 0.52504 | 0.069093 | 1.8307
2010-06-09 | LOOP | P5 | 2010-06-07 |  |  |  | 330 | 10 | 18.077 | 9.947 | 0.49767 | 0.074693 | 1.8173
2010-06-09 | 84 | P6 | 2010-06-08 | 1 | 15 | 25.683 | 330 | 10 | 37.43 | 21.236 | 0.99131 | 0.23065 | 1.7626
2010-06-09 | 85 | P6 | 2010-06-08 | 2 | 15 | 5.58 | 336 | 10 | 18.361 | 10.241 | 0.48819 | 0.090575 | 1.7929
2010-06-09 | LOOP | P6 |  |  |  |  | 330 | 10 | 18.179 | 10.188 | 0.48916 | 0.097069 | 1.7844
2010-06-09 | 86 | P7 | 2010-06-08 | 1 | 16 | 25.356 | 337 | 10 | 22.465 | 12.786 | 0.58019 | 0.14026 | 1.757
2010-06-09 | 87 | P7 | 2010-06-08 | 2 | 16 | 5.93 | 333 | 10 | 20.474 | 11.432 | 0.54851 | 0.10337 | 1.7909
2010-06-09 | LOOP | P7 |  |  |  |  | 336 | 10 | 18.689 | 10.405 | 0.49805 | 0.089984 | 1.7962
2010-06-09 | 102 | P8 | 2010-06-08 | 15 | 18 | 100 | 335 | 10 | 4.193 | 2.825 | 0.082491 | 0.077637 | 1.4842
2010-06-09 | 103 a | P8 | 2010-06-08 | 16 | 18 | 75 | 335 | 10 | 9.068 | 5.913 | 0.19025 | 0.14492 | 1.5336
2010-06-11 | 103 b | P8 | 2010-06-08 | 16 | 18 | 75 | 334 | 10 | 8.397 | 5.35 | 0.18429 | 0.11987 | 1.5695
2010-06-11 | 104 | P8 | 2010-06-08 | 17 | 18 | 50 | 335 | 10 | 23.653 | 13.34 | 0.62188 | 0.13427 | 1.7731
2010-06-11 | 105 a | P8 | 2010-06-08 | 18 | 18 | 25 | 335 | 10 | 18.615 | 10.296 | 0.50164 | 0.081963 | 1.808
2010-06-11 | 105 b | P8 | 2010-06-08 | 18 | 18 | 25 | 336 | 10 | 19.33 | 10.678 | 0.52017 | 0.083287 | 1.8103
2010-06-11 | 106 | P8 | 2010-06-08 | 19 | 18 | 10 | 335 | 10 | 17.314 | 9.573 | 0.46679 | 0.075835 | 1.8086
2010-06-11 | 107 | P8 | 2010-06-08 | 20 | 18 | 5 | 335 | 10 | 18.649 | 10.307 | 0.50303 | 0.0812 | 1.8094
2010-06-11 | 108 | P9 | 2010-06-08 | 1 | 19 | 34.35 | 333 | 10 | 20.304 | 11.981 | 0.5049 | 0.1783 | 1.6947
2010-06-11 | 109 | P9 | 2010-06-08 | 3 | 19 | 5.2 | 333 | 10 | 15.994 | 9.059 | 0.4207 | 0.095875 | 1.7655 | Generic volume
2010-06-11 | LOOP | P9 | 2010-06-08 |  |  |  | 336 | 10 | 18.721 | 10.535 | 0.49215 | 0.10322 | 1.777
2010-06-11 | 110 | P10 | 2010-06-08 | 1 | 20 | 40.2 | 332 | 10 | 32.498 | 18.678 | 0.84089 | 0.2274 | 1.7399
2010-06-11 | 111 | P10 | 2010-06-08 | 3 | 20 | 4.767 | 330 | 10 | 23.107 | 13.132 | 0.61061 | 0.14502 | 1.7596
2010-06-11 | LOOP | P10 | 2010-06-08 |  |  |  | 336 | 10 | 26.084 | 14.721 | 0.68316 | 0.14878 | 1.7719
2010-06-11 | 112 | P11 | 2010-06-08 | 1 | 21 | 41.06 | 330 | 10 | 19.07 | 11.019 | 0.49284 | 0.14121 | 1.7306
2010-06-11 | 113 | P11 | 2010-06-08 | 2 | 21 | 5.826 | 336 | 10 | 12.397 | 6.764 | 0.33866 | 0.043598 | 1.8328
2010-06-11 | LOOP | P11 | 2010-06-08 |  |  |  | 332 | 10 | 22.606 | 12.157 | 0.63578 | 0.059542 | 1.8595
2010-06-11 | 125 a | P12 | 2010-06-09 | 12 | 22/23 | 100 | 333 | 10 | 3.071 | 1.996 | 0.065213 | 0.048606 | 1.5386
2010-06-11 | 125 b | P12 | 2010-06-09 | 12 | 22/23 | 100 | 335 | 10 | 3.113 | 1.993 | 0.067537 | 0.045432 | 1.562
2010-06-11 | 126 | P12 | 2010-06-09 | 13 | 22/23 | 75 | 335 | 10 | 8.733 | 5.304 | 0.20677 | 0.093874 | 1.6465
2010-06-11 | 127 | P12 | 2010-06-09 | 14 | 22/23 | 50 | 336 | 10 | 24.359 | 14.734 | 0.57867 | 0.25401 | 1.6533
2010-06-11 | 128 | P12 | 2010-06-09 | 15 | 22/23 | 40 | 334 | 10 | 29.282 | 17.045 | 0.74011 | 0.22894 | 1.7179
2010-06-11 | 129 | P12 | 2010-06-09 | 16 | 22/23 | 30 | 335 | 10 | 23.101 | 13.064 | 0.60524 | 0.13526 | 1.7683
2010-06-11 | 130 | P12 | 2010-06-09 | 17 | 22/23 | 25 | 335 | 10 | 25.06 | 14.011 | 0.66626 | 0.12792 | 1.7886
2010-06-11 | 131 | P12 | 2010-06-09 | 18 | 22/23 | 20 | 335 | 10 | 20.049 | 11.107 | 0.53921 | 0.090366 | 1.8051
2010-06-11 | 132 a | P12 | 2010-06-09 | 19 | 22/23 | 15 | 335 | 10 | 16.17 | 8.817 | 0.44339 | 0.05638 | 1.834
2010-06-12 | 132 b | P12 | 2010-06-09 | 19 | 22/23 | 15 | 336 | 10 | 19.537 | 10.626 | 0.53574 | 0.064777 | 1.8386
2010-06-12 | 133 | P12 | 2010-06-09 | 20 | 22/23 | 10 | 337 | 10 | 16.771 | 9.177 | 0.45521 | 0.061884 | 1.8275
2010-06-12 | 134 | P12 | 2010-06-09 | 21 | 22/23 | 5 | 330 | 10 | 18.943 | 10.169 | 0.5371 | 0.048045 | 1.8628
2010-06-12 | 136 | P12 | 2010-06-09 | 23 | 22/23 | 0 | 335 | 10 | 22.665 | 12.263 | 0.62725 | 0.067852 | 1.8482
2010-06-12 | LOOP | P12 | 2010-06-09 |  |  |  | 332 | 10 | 28.087 | 15.429 | 0.77018 | 0.11228 | 1.8204
2010-06-12 | 183 | P13 | 2010-06-09 | 10 | 28 | 30.141 | 333 | 10 | 16.166 | 9.085 | 0.42955 | 0.088501 | 1.7794
2010-06-12 | 184 | P13 | 2010-06-09 | 11 | 28 | 5.263 | 336 | 10 | 15.755 | 8.817 | 0.41712 | 0.081163 | 1.7869
2010-06-12 | LOOP | P13 | 2010-06-09 |  |  |  | 335 | 10 | 15.615 | 8.863 | 0.40715 | 0.095228 | 1.7618
2010-06-12 | 186 | P14 | 2010-06-09 | 2 | 30 | 5.084 | 332 | 10 | 14.836 | 8.1 | 0.40986 | 0.053423 | 1.8316
2010-06-12 | LOOP | P14 | 2010-06-09 |  |  |  | 330 | 10 | 15.9 | 9.307 | 0.40359 | 0.13195 | 1.7084
2010-06-12 | 187 | P15 | 2010-06-10 | 1 | 31 | 50.43 | 335 | 10 | 23.715 | 14.147 | 0.57696 | 0.22493 | 1.6763
2010-06-12 | 188 | P15 | 2010-06-10 | 2 | 31 | 5.561 | 333 | 10 | 10.919 | 6.168 | 0.28821 | 0.063509 | 1.7703
2010-06-12 | LOOP | P15 | 2010-06-10 |  |  |  | 335 | 10 | 11.663 | 6.66 | 0.30168 | 0.075822 | 1.7512
2010-06-12 | 231 | P16 | 2010-06-10 | 6 | 37 | 100 | 335 | 10 | 5.912 | 3.781 | 0.1285 | 0.085816 | 1.5636
2010-06-12 | 232 | P16 | 2010-06-10 | 7 | 37 | 75 | 335 | 10 | 25.074 | 15.231 | 0.59354 | 0.26979 | 1.6462
2010-06-12 | 233 | P16 | 2010-06-10 | 8 | 37 | 50 | 337 | 10 | 17.06 | 9.918 | 0.42811 | 0.13073 | 1.7201
2010-06-12 | 234 a | P16 | 2010-06-10 | 9 | 37 | 40 | 330 | 10 | 15.133 | 8.826 | 0.38608 | 0.12178 | 1.7146
2010-06-12 | 234 b | P16 | 2010-06-10 | 9 | 37 | 40 | 335 | 10 | 15.606 | 9.031 | 0.39648 | 0.11542 | 1.728 | Switched with 239
2010-06-12 | 235 | P16 | 2010-06-10 | 10 | 37 | 30 | 336 | 10 | 9.655 | 5.42 | 0.25461 | 0.051692 | 1.7814 | Could be mixed but look ok
2010-06-12 | 236 | P16 | 2010-06-10 | 11 | 37 | 25 | 335 | 10 | 9.419 | 5.301 | 0.24832 | 0.052157 | 1.7768
2010-06-12 | 237 | P16 | 2010-06-10 | 12 | 37 | 20 | 330 | 10 | 9.006 | 5.039 | 0.24284 | 0.047114 | 1.7873 | Could be mixed but look ok
2010-06-12 | 238 a | P16 | 2010-06-10 | 13 | 37 | 15 | 336 | 10 | 9.244 | 5.187 | 0.24391 | 0.049226 | 1.7821
2010-06-12 | 238 b | P16 | 2010-06-10 | 13 | 37 | 15 | 332 | 10 | 9.008 | 5.047 | 0.24101 | 0.047653 | 1.7848 | Could be mixed but look ok
2010-06-12 | 239 | P16 | 2010-06-10 | 14 | 37 | 10 | 335 | 10 | 9.379 | 5.256 | 0.24862 | 0.049304 | 1.7844 | Switched with 234 b
2010-06-15 | 240 | P16 | 2010-06-10 | 15 | 37 | 5 | 335 | 10 | 9.247 | 5.151 | 0.24699 | 0.044981 | 1.7952 | Could be mixed but look ok
2010-06-15 | 242 | P16 | 2010-06-10 | 17 | 37 | 0 | 335 | 10 | 9.228 | 5.163 | 0.24512 | 0.04753 | 1.7873
2010-06-15 | 243 | P17 | 2010-06-11 | 1 | 38 | 60.618 | 335 | 10 | 10.089 | 5.754 | 0.2614 | 0.064749 | 1.7534
2010-06-15 | 244 | P17 | 2010-06-11 | 2 | 38 | 5.802 | 330 | 10 | 10.011 | 5.721 | 0.26261 | 0.066585 | 1.7499
2010-06-15 | LOOP | P17 | 2010-06-11 |  |  |  | 335 | 10 | 11.412 | 6.45 | 0.29921 | 0.066391 | 1.7693
2010-06-15 | 246 | P18 | 2010-06-11 | 2 | 39 | 5.982 | 330 | 10 | 8.567 | 5.025 | 0.21682 | 0.072325 | 1.7049
2010-06-15 | LOOP | P18 | 2010-06-11 |  |  |  | 335 | 10 | 8.226 | 4.896 | 0.2008 | 0.076717 | 1.6801
2010-06-15 | 247 | P19 | 2010-06-11 | 1 | 40 | 66.066 | 336 | 10 | 22.616 | 13.857 | 0.5266 | 0.25651 | 1.6321
2010-06-15 | 248 | P19 | 2010-06-11 | 2 | 40 | 5.745 | 335 | 10 | 7.931 | 4.657 | 0.19742 | 0.066547 | 1.703
2010-06-15 | LOOP | P19 | 2010-06-11 |  |  |  | 335 | 10 | 8.463 | 5.268 | 0.19266 | 0.10594 | 1.6065
2010-06-15 | 276 | P20 | 2010-06-11 | 4 | 43 | 100 | 330 | 10 | 3.454 | 2.506 | 0.058031 | 0.086168 | 1.3783
2010-06-15 | 277 | P20 | 2010-06-11 | 5 | 43 | 75 | 336 | 10 | 16.142 | 10.233 | 0.35526 | 0.22305 | 1.5774
2010-06-15 | 278 | P20 | 2010-06-11 | 6 | 43 | 50 | 335 | 10 | 19.802 | 11.785 | 0.48343 | 0.18457 | 1.6803
2010-06-15 | 279 | P20 | 2010-06-11 | 7 | 43 | 40 | 335 | 10 | 17.271 | 10.022 | 0.43712 | 0.13095 | 1.7233
2010-06-15 | 280 | P20 | 2010-06-11 | 8 | 43 | 30 | 335 | 10 | 14.03 | 7.957 | 0.36621 | 0.084818 | 1.7632
2010-06-15 | 281 a | P20 | 2010-06-11 | 9 | 43 | 25 | 335 | 10 | 12.423 | 6.993 | 0.32743 | 0.068949 | 1.7765
2010-06-15 | 281 b | P20 | 2010-06-11 | 9 | 43 | 25 | 337 | 10 | 12.587 | 7.145 | 0.32621 | 0.076385 | 1.7617
2010-06-15 | 282 | P20 | 2010-06-11 | 10 | 43 | 20 | 332 | 10 | 12.707 | 7.136 | 0.33897 | 0.069172 | 1.7807
2010-06-15 | 283 | P20 | 2010-06-11 | 11 | 43 | 15 | 333 | 10 | 11.235 | 6.309 | 0.29883 | 0.060934 | 1.7808
2010-06-15 | 284 | P20 | 2010-06-11 | 12 | 43 | 10 | 332 | 10 | 10.758 | 6.034 | 0.28743 | 0.057679 | 1.7829
2010-06-15 | 285 | P20 | 2010-06-11 | 13 | 43 | 5 | 335 | 10 | 11.214 | 6.289 | 0.29698 | 0.059496 | 1.7831
2010-06-15 | 287 a | P20 | 2010-06-11 | 15 | 43 | 0 | 335 | 10 | 11.385 | 6.435 | 0.29849 | 0.066265 | 1.7692
2010-06-15 | 287 b | P20 | 2010-06-11 | 15 | 43 | 0 | 336 | 10 | 10.836 | 6.049 | 0.2878 | 0.054053 | 1.7914
2010-06-15 | 306 | P21 | 2010-06-12 | 1 | 46 | 49.253 | 335 | 10 | 23.815 | 14.087 | 0.58661 | 0.21188 | 1.6906
2010-06-15 | 307 | P21 | 2010-06-12 | 2 | 46 | 4.914 | 333 | 10 | 10.677 | 5.971 | 0.28548 | 0.055006 | 1.7881
2010-06-15 | LOOP | P21 | 2010-06-12 |  |  |  | 332 | 10 | 10.596 | 5.986 | 0.2805 | 0.06187 | 1.7701
2010-06-15 | 336 | P26 | 2010-06-13 | 5 | 48 | 100 | 335 | 10 | 2.473 | 1.739 | 0.044261 | 0.054311 | 1.4221
2010-06-15 | 337 | P26 | 2010-06-13 | 6 | 48 | 75 | 335 | 10 | 10.235 | 6.275 | 0.23879 | 0.11689 | 1.6311
2010-06-15 | 338 | P26 | 2010-06-13 | 7 | 48 | 50 | 336 | 10 | 18.22 | 10.281 | 0.4773 | 0.10372 | 1.7722
2010-06-15 | 339 | P26 | 2010-06-13 | 8 | 48 | 40 | 335 | 10 | 18.295 | 10.302 | 0.48198 | 0.10196 | 1.7759
2010-06-15 | 340 a | P26 | 2010-06-13 | 9 | 48 | 30 | 337 | 10 | 18.479 | 10.574 | 0.47385 | 0.12196 | 1.7476
2010-06-15 | 340 b | P26 | 2010-06-13 | 9 | 48 | 30 | 330 | 10 | 18.414 | 10.346 | 0.49388 | 0.10145 | 1.7798
2010-06-15 | 341 | P26 | 2010-06-13 | 10 | 48 | 25 | 335 | 10 | 17.732 | 9.925 | 0.47077 | 0.091808 | 1.7866
2010-06-15 | 342 | P26 | 2010-06-13 | 11 | 48 | 20 | 330 | 10 | 18.703 | 10.558 | 0.49859 | 0.10893 | 1.7715
2010-06-15 | 343 | P26 | 2010-06-13 | 12 | 48 | 15 | 335 | 10 | 18.268 | 10.243 | 0.48391 | 0.096687 | 1.7835
2010-06-15 | 344 a | P26 | 2010-06-13 | 13 | 48 | 10 | 335 | 10 | 17.611 | 10.029 | 0.4572 | 0.11127 | 1.756
2010-06-15 | 344 b | P26 | 2010-06-13 | 13 | 48 | 10 | 335 | 10 | 17.344 | 9.699 | 0.461 | 0.088766 | 1.7882
2010-06-15 | 345 | P26 | 2010-06-13 | 14 | 48 | 5 | 335 | 10 | 17.397 | 9.707 | 0.46371 | 0.086506 | 1.7922
2010-06-15 | 346 | P26 | 2010-06-13 | 15 | 48 | 0 | 334 | 10 | 18.041 | 10.202 | 0.47411 | 0.1059 | 1.7684
2010-06-20 | 562 | P35 | 2010-06-18 | 2 | 75 | 41.157 | 333 | 10 | 19.49 | 11.126 | 0.50739 | 0.12705 | 1.7518 | Generic volume
2010-06-20 | 563 | P35 | 2010-06-18 | 3 | 75 | 5.205 | 333 | 10 | 11.778 | 6.574 | 0.31569 | 0.05918 | 1.7916 | Generic volume
2010-06-20 | LOOP | P35 | 2010-06-18 |  |  |  | 333 | 10 | 10.998 | 6.138 | 0.29482 | 0.055186 | 1.7918 | Generic volume
2010-06-20 | 564 | P25 | 2010-06-18 | 2 | 76 | 38.202 | 335 | 10 | 20.11 | 11.421 | 0.52395 | 0.12342 | 1.7608
2010-06-20 | 565 | P25 | 2010-06-18 | 3 | 76 | 5.223 | 333 | 10 | 13.139 | 7.242 | 0.35773 | 0.055232 | 1.8143
2010-06-20 | LOOP | P25 | 2010-06-18 |  |  |  | 332 | 10 | 12.819 | 7.212 | 0.34116 | 0.071328 | 1.7775
2010-06-20 | 588 | P24 | 2010-06-18 | 23 | 77 | 41.003 | 336 | 10 | 22.917 | 12.977 | 0.59761 | 0.13578 | 1.766
2010-06-20 | 589 | P24 | 2010-06-18 | 24 | 77 | 5.061 | 332 | 10 | 17.904 | 9.856 | 0.48969 | 0.074027 | 1.8166
2010-06-20 | LOOP | P24 | 2010-06-18 |  |  |  | 335 | 10 | 21.032 | 11.704 | 0.56249 | 0.10093 | 1.797
2010-06-20 | 590 | P23 | 2010-06-18 | 2 | 79 | 40.084 | 333 | 10 | 18.858 | 10.776 | 0.49028 | 0.1242 | 1.75
2010-06-20 | 591 | P23 | 2010-06-18 | 3 | 79 | 5.71 | 332 | 10 | 12.033 | 6.748 | 0.32157 | 0.064382 | 1.7832
2010-06-20 | LOOP | P23 | 2010-06-18 |  |  |  | 335 | 10 | 10.623 | 5.974 | 0.28034 | 0.058284 | 1.7782
2010-06-20 | 592 | P22 | 2010-06-19 | 2 | 80 | 40.21 | 335 | 10 | 19.297 | 11.006 | 0.49995 | 0.1239 | 1.7533
2010-06-20 | 593 | P22 | 2010-06-19 | 3 | 80 | 5.841 | 332 | 10 | 10.252 | 5.713 | 0.27618 | 0.050576 | 1.7945
2010-06-20 | LOOP | P22 | 2010-06-19 |  |  |  | 333 | 10 | 10.173 | 5.764 | 0.26746 | 0.061219 | 1.7649

## Std & blanks
|  | Blank | Low | High | Stand-by
2010-06-09 | before | -0.026 | 12.094 | 66.576 | -0.041
2010-06-09 | after | -0.03 | 11.853 | 64.876 | -0.046
2010-06-11 | before | -0.03 | 12.143 | 66.316 | -0.044
2010-06-11 | after | -0.028 | 12.02 | 65.829 | -0.044
2010-06-12 | before | -0.022 | 12.064 | 66.174 | -0.043
2010-06-12 | after | -0.016 | 11.945 | 65.771 | -0.045
2010-06-15 | before | -0.03 | 12.124 | 66.187 | -0.042
2010-06-15 | after | -0.02 | 11.822 | 65.412 | -0.044
2010-06-20 | before | -0.011 | 11.864 | 65.196 | -0.048
2010-06-20 | after | 0.001 | 11.746 | 64.818 | -0.046

## Sheet3
May 2010 Chlorophyll Calibration Factors for the OSD fluorometer | [9 empty] | chl
40338 | LOOP | JF1 | 40335 |  |  | 335 | 10 | 43.525 | 25.124 | 1.1096 | 0.3145 | 1.7324
40338 | LOOP | JF2 | 40335 | 2 | 2 | 333 | 15 | 178.636 | 98.346 | 7.3059 | 1.1061 | 1.8164 | Generic volume
40338 | LOOP | JF3 | 40335 |  |  | 335 | 12 | 163.349 | 92.068 | 5.158 | 1.1044 | 1.7742
40338 | LOOP | JF4 | 40335 |  |  | 330 | 10 | 193.632 | 106.254 | 5.3488 | 0.76523 | 1.8224
40338 | LOOP | P1 | 40335 | 1 | 2 | 334 | 10 | 220.906 | 120.368 | 6.0807 | 0.76254 | 1.8353
40338 | LOOP | P3 | 40336 |  |  | 336 | 10 | 22.894 | 13.056 | 0.59147 | 0.14637 | 1.7535
40338 | LOOP | P4 | 40336 |  |  | 333 | 10 | 24.697 | 13.978 | 0.65025 | 0.14682 | 1.7668
40338 | LOOP | P5 | 40336 |  |  | 330 | 10 | 18.077 | 9.947 | 0.49767 | 0.074693 | 1.8173
40338 | LOOP | P6 |  |  |  | 330 | 10 | 18.179 | 10.188 | 0.48916 | 0.097069 | 1.7844
40338 | LOOP | P7 |  |  |  | 336 | 10 | 18.689 | 10.405 | 0.49805 | 0.089984 | 1.7962
40340 | LOOP | P9 | 40337 |  |  | 336 | 10 | 18.721 | 10.535 | 0.49215 | 0.10322 | 1.777
40340 | LOOP | P10 | 40337 |  |  | 336 | 10 | 26.084 | 14.721 | 0.68316 | 0.14878 | 1.7719
40340 | LOOP | P11 | 40337 |  |  | 332 | 10 | 22.606 | 12.157 | 0.63578 | 0.059542 | 1.8595
40341 | LOOP | P12 | 40338 |  |  | 332 | 10 | 28.087 | 15.429 | 0.77018 | 0.11228 | 1.8204
40341 | LOOP | P13 | 40338 |  |  | 335 | 10 | 15.615 | 8.863 | 0.40715 | 0.095228 | 1.7618
40341 | LOOP | P14 | 40338 |  |  | 330 | 10 | 15.9 | 9.307 | 0.40359 | 0.13195 | 1.7084
40341 | LOOP | P15 | 40339 |  |  | 335 | 10 | 11.663 | 6.66 | 0.30168 | 0.075822 | 1.7512
40344 | LOOP | P17 | 40340 |  |  | 335 | 10 | 11.412 | 6.45 | 0.29921 | 0.066391 | 1.7693
40344 | LOOP | P18 | 40340 |  |  | 335 | 10 | 8.226 | 4.896 | 0.2008 | 0.076717 | 1.6801
40344 | LOOP | P19 | 40340 |  |  | 335 | 10 | 8.463 | 5.268 | 0.19266 | 0.10594 | 1.6065
40344 | LOOP | P21 | 40341 |  |  | 332 | 10 | 10.596 | 5.986 | 0.2805 | 0.06187 | 1.7701
40349 | LOOP | P35 | 40347 |  |  | 333 | 10 | 10.998 | 6.138 | 0.29482 | 0.055186 | 1.7918 | Generic volume
40349 | LOOP | P25 | 40347 |  |  | 332 | 10 | 12.819 | 7.212 | 0.34116 | 0.071328 | 1.7775
40349 | LOOP | P24 | 40347 |  |  | 335 | 10 | 21.032 | 11.704 | 0.56249 | 0.10093 | 1.797
40349 | LOOP | P23 | 40347 |  |  | 335 | 10 | 10.623 | 5.974 | 0.28034 | 0.058284 | 1.7782
40349 | LOOP | P22 | 40348 |  |  | 333 | 10 | 10.173 | 5.764 | 0.26746 | 0.061219 | 1.7649