## Final Data 2010-14
Iron III Data for Line P Cruise 2010-14
Cruise |  |  |  |  | 2010-14
Ship |  |  |  |  | CCGS John P. Tully
Dates |  |  |  |  | August 18 - September 2, 2010
Chief Scientist |  |  |  |  | Marie Robert
Iron Analysts |  |  |  |  | Nes Sutherland & Keith Johnson
For Methods and Explanation of Abbreviations please see Metadata Sheet
Flags
1 | Sample for this measurement was drawn from water bottle but not analyzed - in storage, available for future analysis
3 | Questionable measurement (no problem observed in sampling or analysis, but value is not trusted, nonetheless; includes outlyers)
4 | Bad measurement (known problem with sampling or analysis, but not serious enough to completely discard the value)
5 | Not reported (lost sample; unredeemably bad measurement, overrange)
6 | Mean of replicate measurements from one XNiskin (XN) or Goflo (GF)... Replicates are found in "WorkSumLine P" sheet, and summary of replicate data in the "Metadata" sheet
Note that >90% of analyses have duplicate runs from within one bottle, average stats for these are in "Metadata" sheet; only separate bottles are flagged as "6"
9 | Sample not drawn for this measurement from this bottle
[9 empty] | XN= eXternal Niskin |  | Sample_Number | Depth | Iron:Filtered:Buffered | Flag FB | Iron:Unfiltered:Buffered | Flag UFB | Iron:Filtered:Geotrace2010 | Flag FG 2010 | Iron:Unfiltered: Geotrace 2010 | Flag UFG 2010 | Iron:Filtered:StrongAcid | Flag FA | Iron:Unfiltered:Strong Acid | Flag UFA |  | Salinity | Salinity flag | Nitrate | Nitrate flag | Silicate | Silicate flag | Phosphate | Phosphate flag
Date | Time | Cast or | Latitude |  | Longitude |  | Station | Event | Sampler | Sampler | Sample | Depth | FB | FB | UFB | UFB | FG2010 | FG | UFG2010 | UFG | FA | FA | UFA | UFA | Comments | Sal |  | NO3 |  | Si |  | PO4
UTC | UTC | Profile | [5 empty] | # | Type | ID# | # | m | nmol/L | Flag | nmol/L | Flag | nmol/L | Flag | nmol/L | Flag | nmol/L | Flag | nmol/L | Flag |  | (PSU) | Flag | uM | Flag | uM | Flag | uM | Flag
2010-08-21 | 1315 | 8001 | 48 39. | N | 126 40. | W | P4 | 14 | Zodiac | Hand | 5 | 0 | 0.28451 |  | 0.61414 |  | 0.33445 | [7 empty] | FGA-used 2.0mL 1:1 HCl / 250mL smp
2010-08-21 | 1055 | 8001 | 48 39. | N | 126 40. | W | P4 | 8 | Pump | Asti | 4 | 5 | 0.27558 |  | 0.57874 |  | 0.33878 | [7 empty] | FGA-used 2.0mL 1:1 HCl / 250mL smp
2010-08-21 | 1030 | 8001 | 48 39. | N | 126 40. | W | P4 | 8 | Pump | Asti | 3 | 10 | 0.23712 |  | 0.56992 |  | 0.35141 | [7 empty] | FGA-used 2.0mL 1:1 HCl / 250mL smp
2010-08-21 | 1000 | 8001 | 48 39. | N | 126 40. | W | P4 | 8 | Pump | Asti | 2 | 25 | 0.36727 |  | 0.8004 |  | 0.46503 | [7 empty] | FGA-used 2.0mL 1:1 HCl / 250mL smp
2010-08-21 | 0940 | 8001 | 48 39. | N | 126 40. | W | P4 | 8 | Pump | Asti | 1 | 40 | 0.11389 |  | 0.41516 |  | 0.15037 | [7 empty] | FGA-used 2.0mL 1:1 HCl / 250mL smp
2010-08-21 | 1925 | 8002 | 48 51.4 | N | 129 10. | W | P9 | 25 | Pump | Asti | 6 | 10 |  |  | 0.18951 | [9 empty] | Test of pump vs sampler bottles
2010-08-21 | 1940 | 8002 | 48 51.4 | N | 129 10. | W | P9 | 25 | XN12 | #10 | 7 | 10 |  |  | 0.11866
2010-08-21 | 1950 | 8002 | 48 51.4 | N | 129 10. | W | P9 | 25 | XN12 | #7 | 8 | 10 |  |  | 0.1202
2010-08-21 | 2000 | 8002 | 48 51.4 | N | 129 10. | W | P9 | 25 | XN12 | #12 | 9 | 10 |  |  | 0.11237
2010-08-22 |  | 8003 | 48 58.2 | N | 130 40. | W | P12 | 39 | Zodiac | Hand | 19 | 0 | 0.045158 |  | 0.12449 |  | 0.079208 |  | 0.18786
2010-08-22 | 0940 | 8003 | 48 58.2 | N | 130 40. | W | P12 | 30 | Pump | Asti | 16 | 5 | 0.048508 |  | 0.17529 |  | 0.080607
2010-08-22 | 0925 | 8003 | 48 58.2 | N | 130 40. | W | P12 | 30 | Pump | Asti | 15 | 10 | 0.038512 |  | 0.13962 |  | 0.087605
2010-08-22 | 0905 | 8003 | 48 58.2 | N | 130 40. | W | P12 | 30 | Pump | Asti | 14 | 25 | 0.044415 |  | 0.14363 |  | 0.089651
2010-08-22 | 0850 | 8003 | 48 58.2 | N | 130 40. | W | P12 | 30 | Pump | Asti | 13 | 40 | 0.41008 |  | 0.56072 |  | 0.37409
2010-08-22 | 1005 | 8003 | 48 58.2 | N | 130 40. | W | P12 | 31 | XN12 | #10? | 17 | 75 | 0.20893 |  | 0.39522 |  | 0.25728 |  | 0.47385 | [6 empty] | 32.5063 |  | 11.8 |  | 15.3 |  | 1.13
2010-08-22 | 1005 | 8003 | 48 58.2 | N | 130 40. | W | P12 | 31 | XN12 | #7? | 18 | 100 | 0.34732 |  | 0.81825 |  | 0.33209 |  | 0.84239 | [6 empty] | 32.739 |  | 18.1 |  | 23.6 |  | 1.46
2010-08-22 | 0605 | 8003 | 48 58.2 | N | 130 40. | W | P12 | 28 | XN12 | #10 | 10 | 150 | 0.1563 |  | 0.22097 |  | 0.17583 |  | 0.1026 | 3 |  |  |  |  | UFG:seems low; wire angle ~30 | 33.4773 |  | 22.8 |  | 28.2 |  | 1.6
2010-08-22 | 0605 | 8003 | 48 58.2 | N | 130 40. | W | P12 | 28 | XN12 | #7 | 11 | 200 | 0.3105 |  | 0.49239 |  | 0.25738 |  | 0.35041 | [6 empty] | 33.8096 |  | 29.7 |  | 41.8 |  | 2.01
2010-08-22 | 0605 | 8003 | 48 58.2 | N | 130 40. | W | P12 | 28 | XN12 | #12 | 12 | 300 | 0.56581 |  | 0.82617 |  | 0.47685 |  | 0.62909 | [6 empty] | 33.9132 |  | 35.3 |  | 58 |  | 2.45
2010-08-23 |  | 8004 | 49 17. | N | 134 40. | W | P16 | 49 | Zodiac | Hand | 20 | 0 | 0.060961 |  | 0.054185 |  | 0.032338 |  | 0.045457
2010-08-24 | 0830 | 8004 | 49 17. | N | 134 40. | W | P16 | 60 | Pump | Asti | 30 | 5 | 0.1119 | 3 | 0.040546 |  | 0.20781 | [7 empty] | FB: higher than UFB; 5m depth subject to ship contam
2010-08-24 | 0815 | 8004 | 49 17. | N | 134 40. | W | P16 | 60 | Pump | Asti | 29 | 10 | 0.028312 |  | 0.038499 |  | 0.023608
2010-08-24 | 0745 | 8004 | 49 17. | N | 134 40. | W | P16 | 60 | Pump | Asti | 28 | 25 | 0.024841 |  | 0.031628 |  | 0.0155
2010-08-24 | 0730 | 8004 | 49 17. | N | 134 40. | W | P16 | 60 | Pump | Asti | 27 | 40 | 0.029245 |  | 0.024225 |  | 0.015789
2010-08-24 | 0055 | 8004 | 49 17. | N | 134 40. | W | P16 | 54 | XN12 | #10 | 21 | 75 | 0.039207 |  | 0.039034 |  | 0.036774 | [8 empty] | 32.7391 |  | 11.6 |  | 13.4 |  | 1.09
2010-08-24 | 0055 | 8004 | 49 17. | N | 134 40. | W | P16 | 54 | XN12 | #7 | 22 | 100 | 0.27152 | 3 | 0.076905 |  | 0.076632 | [7 empty] | FB: higher than UFB | 33.4034 |  | 19.6 |  | 23.3 |  | 1.41
2010-08-24 | 0055 | 8004 | 49 17. | N | 134 40. | W | P16 | 54 | XN12 | #12 | 23 | 150 | 0.080588 |  | 0.085139 |  | 0.10367 | [8 empty] | 33.8049 |  | 26.1 |  | 37.2 |  | 1.76
2010-08-24 | 0435 | 8004 | 49 17. | N | 134 40. | W | P16 | 57 | XN12 | #10 | 24 | 200 | 0.15744 |  | 0.23037 |  | 0.17494 | [8 empty] | 33.7982 |  | 30 |  | 47 |  | 2.01
2010-08-24 | 0435 | 8004 | 49 17. | N | 134 40. | W | P16 | 57 | XN12 | #7 | 25 | 300 | 0.23825 |  | 0.34687 |  | 0.31069 | [8 empty] | 33.8611 |  | 38.1 |  | 68.5 |  | 2.54
2010-08-24 | 0435 | 8004 | 49 17. | N | 134 40. | W | P16 | 57 | XN12 | #12 | 26 | 400 | 0.35319 |  | 0.51059 |  | 0.32495 | [8 empty] | 33.9772 |  | 41.1 |  | 84.9 |  | 2.82
2010-08-25 | 1230 | 8005 | 49 34. | N | 138 40. | W | P20 | 71 | Pump | Asti | 40 | 5 | 0.029572 |  | 0.25479 |  | 0.010411
2010-08-25 | 1215 | 8005 | 49 34. | N | 138 40. | W | P20 | 71 | Pump | Asti | 39 | 10 | 0.02704 |  | 0.030856 |  | 0.010323
2010-08-25 | 1200 | 8005 | 49 34. | N | 138 40. | W | P20 | 71 | Pump | Asti | 38 | 25 | 0.020268 |  | 0.031976 |  | 0.0084727
2010-08-25 | 1135 | 8005 | 49 34. | N | 138 40. | W | P20 | 71 | Pump | Asti | 37 | 40 | 0.018141 |  | 0.026045 |  | 0.010301
2010-08-25 | 1005 | 8005 | 49 34. | N | 138 40. | W | P20 | 70 | XN12 | #10 | 34 | 75 | 0.0307 |  | 0.040001 |  | 0.012157 | [8 empty] | 32.7367 |  | 13 |  | 14.3 |  | 1.13
2010-08-25 | 1005 | 8005 | 49 34. | N | 138 40. | W | P20 | 70 | XN12 | #7 | 35 | 100 | 0.034512 |  | 0.059672 |  | 0.021321 | [8 empty] | 32.9627 |  | 15.5 |  | 17.3 |  | 1.24
2010-08-25 | 1005 | 8005 | 49 34. | N | 138 40. | W | P20 | 70 | XN12 | #12 | 36 | 150 | 0.085632 |  | 0.088834 |  | 0.062427 | [8 empty] | 33.7857 |  | 26.1 |  | 37.2 |  | 1.74
2010-08-25 | 0750 | 8005 | 49 34. | N | 138 40. | W | P20 | 67 | XN12 | #12 | 31 | 200 | 0.16171 |  | 0.21991 |  | 0.11283 | [8 empty] | 33.7816 |  | 32.9 |  | 54.8 |  | 2.22
2010-08-25 | 0750 | 8005 | 49 34. | N | 138 40. | W | P20 | 67 | XN12 | #7 | 32 | 300 | 0.29889 |  | 0.3587 |  | 0.28803 | [8 empty] | 33.8757 |  | 41 |  | 76.1 |  | 2.72
2010-08-25 | 0750 | 8005 | 49 34. | N | 138 40. | W | P20 | 67 | XN12 | #10 | 33 | 400 | 0.33271 |  | 0.43273 |  | 0.32948 | [8 empty] | 34.0051 |  | 42.8 |  | 91.4 |  | 2.93
2010-08-26 | 2030 | 8006 | 49 59.85 | N | 144 59.79 | W | P26 | 85 | Zodiac | Hand | 54 | 0(skim) | 0.032262 |  | 0.044596 |  | 0.040029 |  | 0.063349
2010-08-26 | 2030 | 8006 | 49 59.85 | N | 144 59.79 | W | P26 | 85 | Zodiac | Hand | 55 | 0.1subsurf | 0 |  | 0.034596 |  | 0.051624 |  | 0.044736 |  |  | 1 |  | 1
2010-08-27 | 1250 | 8006 | 50 00. | N | 145 00. | W | P26 | 94 | Pump | Asti | 53 | 5 | 0.029678 |  | 0.83638 | 3 | 0.19038 | 3 | 0 |  |  | 1 |  | 1 | UFB,FG: high, 5m depth subject to ship contamination
2010-08-27 | 1215 | 8006 | 50 00. | N | 145 00. | W | P26 | 94 | Pump | Asti | 52 | 10 | 0.023976 |  | 0.032558 |  | 0.036731 |  | 0.042733 |  |  | 1 |  | 1
2010-08-27 | 1140 | 8006 | 50 00. | N | 145 00. | W | P26 | 94 | Pump | Asti | 51 | 25 | 0.015873 | 6 | 0.021033 | 6 | 0.045862 | 6 | 0.029596 |  |  | 1 |  | 1
2010-08-27 | 1110 | 8006 | 50 00. | N | 145 00. | W | P26 | 94 | Pump | Asti | 50 | 40 | 0.024727 |  | 0.03601 |  | 0.030098 |  | 0.10209 |  |  | 1 |  | 1
2010-08-27 | 0825 | 8006 | 50 00. | N | 145 00. | W | P26 | 91 | XN12 | #10? | 47 | 50 | 0.014661 |  | 0.029136 |  | 0.04596 |  | 0.12495 |  |  | 1 |  | 1 |  |  |  | 12.5 |  | 16.9 |  | 1.15
2010-08-27 | 0825 | 8006 | 50 00. | N | 145 00. | W | P26 | 91 | XN12 | #7? | 48 | 75 | 0.019388 | 6 | 0.051533 |  | 0.033873 | 6,3 | 0.076608 |  |  | 1 |  | 1 | 3:FG-one rep w poor peak shape, not used |  |  | 15.8 |  | 19.9 |  | 1.28
2010-08-27 | 0825 | 8006 | 50 00. | N | 145 00. | W | P26 | 91 | XN12 | #12? | 49 | 100 | 0.035879 |  | 0.10409 |  | 0.051373 |  |  |  |  | 1 |  | 1 |  | 33.0311 |  | 20.9 |  | 28.2 |  | 1.54
2010-08-27 | 0515 | 8006 | 50 00. | N | 145 00. | W | P26 | 89 | XN12 | #10? | 44 | 150 | 0.14367 |  | 0.21743 |  | 0.20621 |  | 0.27357 |  |  | 1 |  | 1 |  | 33.7355 |  | 35 |  | 59.3 |  | 2.35
2010-08-27 | 0515 | 8006 | 50 00. | N | 145 00. | W | P26 | 89 | XN12 | #7? | 45 | 200 | 0.28107 | 3,6 | 0.28618 | 6 | 0.32063 | 6 | 0.38654 |  |  | 1 |  | 1 | 3:FB-one rep high&suspect | 33.7777 |  | 38.5 |  | 69.1 |  | 2.57
2010-08-27 | 0515 | 8006 | 50 00. | N | 145 00. | W | P26 | 89 | XN12 | #12? | 46 | 300 | 0.28409 |  | 0.43472 |  | 0.40316 |  | 0.38501 |  |  | 1 |  | 1 |  | 33.9055 |  | 43.4 |  | 86 |  | 2.86
2010-08-27 | 0250 | 8006 | 50 00. | N | 145 00. | W | P26 | 87 | XN12 | #10 | 41 | 400 | 0.34712 |  | 0.47623 |  | 0.50389 |  | 0.70369 |  |  | 1 |  | 1 |  | 34.0207 |  | 46.2 |  | 99.9 |  | 3.06
2010-08-27 | 0250 | 8006 | 50 00. | N | 145 00. | W | P26 | 87 | XN12 | #7 | 42 | 600 | 0.42473 |  | 0.49896 |  | 0.62032 |  | 0.73691 |  |  | 1 |  | 1 |  | 34.2038 |  | 46.8 |  | 120.6 |  | 3.13
2010-08-27 | 0250 | 8006 | 50 00. | N | 145 00. | W | P26 | 87 | XN12 | #12 | 43 | 800 | 0.40734 | 6 | 0.523 | 6 | 0.62889 | 6 | 0.57486 |  |  | 1 |  | 1 |  | 34.3095 |  | 45.6 |  | 134 |  | 3.15

## Metadata
Metadata for Fe III - Cruise 2010-14
Cruise |  |  | 2010-14
Ship |  |  | CCGS John P. Tully
Dates |  |  | August 18 - September 2, 2010
Chief Scientist |  |  | Marie Robert
Iron Analysts |  |  | Nes Sutherland & Keith Johnson
The objective of the iron team was to sample and analyse Iron(III) at regularly visited/monitored stations along Line P, and provide support for the Univ. of Laval and UBC students' incubation studies
The incubation data have not been included in this file, as they are the property of U Laval and UBC
Additional FA and UFA samples from Cruise 2009-09 Stn P26 were analysed as time permitted
Sample Collection:
Seawater samples for Iron (III) analyses were collected by hand (bottles only opened and closed while totally submerged, ~0.1m depth) from a zodiac positioned away from the ship; by Teflon compressed air activated Asti pump with Teflon tubing (5-40m);
and by 12L X-Niskins (XN numbered) on a Kevlar line spooled over a Delrin block (50-800m).
LDPE bottles had been previously acid cleaned to Geotraces standards. Filtration was through 0.22u Duropore 47mm flat membrane filters on Teflon apparatus in laminar hood,
or by cartidge type filters (Opti 0.22u Duropore) direct from the pump or XNs
Sample Treatment- Current and IOS Historical:
Iron analysis can be performed in several different ways, therefore it is necessary to operationally define the treatments used, if one wishes to compare results with other researchers.
At IOS we have traditionally followed the suggestions of Obata and Nishioka for treatment and nomenclature.
IOS protocol originally called for treatment of filtered and unfiltered samples with a mildly acidic buffered leach, measured onboard, as well as a strongly acidic leach measured after a storage period of 6 months or longer.
In recent years, IOS has also added the Geotraces method of acid leach for a minimum of 12 hours before analysis.
The following provides a description of these treatments, their abbreviations and nomenclature:
Buffered Sample Analysis - FB or UFB - traditional analysis performed for IOS Line P cruises - a mild leach where sample is buffered to pH3.2 with Ammonium formate,
then analysed within ~2 hours; thought to be immediate bioavailable iron
| Iron:Filtered:Buffered |  | FB | 0.22u filtered, buffered, also called dissolved Fe
| Iron:Unfiltered:Buffered |  | UFB | unfiltered, buffered, also considered to be labile or bioavailable
|  |  | UFB-FB | this difference is known as labile particulate fraction
Strongly Acidified Sample Analysis - FA or UFA - samples acidified to pH~1.6 with 1:1 HCl for 6 months or more, then brought back up to pH3.2, the methodological requirement for analysis of Iron(III) in seawater using the IOS FIA instrument
IOS has traditionally used this strong acidification in the past, utilizing 2mL of 1:1 SeaStar HCl per 250mL sample for acidification, as suggested by Nishioka
(personal communication) for a complete digestion of iron, excepting what would be geologically bound compounds
It is thought that by microwaving the FA or UFA 24 hours after collection, the leaching of particles might be sped up to result in iron conc similar to the long term storage (Nishioka pers com), but this has not been verified by the IOS lab
| Iron:Filtered:StrongAcid |  | FA | 0.22u filtered, acidified to 1.6, into storage for minimum of 6 months - referred to as Total Dissolved fraction
This fraction tends to be similar to FB
| Iron:Unfiltered:StrongAcid |  | UFA | unfiltered, acidified to 1.6, then into storage for minimum of 6 months - also known as Total Dissolvable
|  |  | UFA-FA | the difference provides leachable particulate, a measure of nonlabile particulate iron
|  |  | FA-FB | the difference reflects the nonlabile dissolved fraction
|  |  | UFA-UFB | the difference reflects the nonlabile fraction
Geotraces Acidified Sample - FG or UFG - samples acidified to <pH2 with 1:1 HCl for at least 12 hours, then brought back up to pH3.2, which is the methodological requirement for analysis of Iron(III) in seawater using the IOS FIA instrument
The Geo (Geotraces) method is a stronger leach of iron than the Buffered Sample Analysis, especially on particulates in sea water.
It is becoming the norm for iron analyses, and therefore IOS has started to incorporate this treatment in its sampling protocol for Line P cruises
IOS protocol for Geotraces samples has been modified somewhat from when first run in 2009:
In 2009: 24 hour treatment, but with strong acid conc: 2.0mL 1:1 HCl per 250mL smp (->pH~1.6) as opposed to the then Geo suggested 0.5mL (->pH~1.9) Abbreviated to FGA and UFGA to reflect the stronger acid conc
In 2010: IOS followed the suggested addition of 0.5mL SS 1:1 HCl per 250mL sample (->pH~1.9) for 24 hour minimum digestion; called FG2010 and UFG2010
In 2011: it was noted that the Geotraces protocol now calls for addition of 1.0 mL of SeaStar 1:1 HCl per 250mL of sample, achieving a pH ~1.8, (min 12 hour digest), and will simply be abbreviated as FG or UFG
| Iron:Filtered:Geotrace2010 |  | FG2010 | 0.22u filtered, acidified to <2 for >12 hours, then pH3.2 for analysis - see above for 2010 modification; FG is also referred to as D(Fe), or Dissolved Fe
| Iron:Unfiltered:Geotrace2010 |  | UFG2010 | unfiltered, acidified to <2 for >12hours, then pH3.2 for analysis - see above for 2010 modification; UFG is also referred to as TD(Fe), or Total Dissolvable Fe
Rough comparison of Treatments:
It is possible that over a 24 hour digest, the Geo results might be similar between the different acid concentrations, but this has not been tested in our lab.
We have noted that the long term FA and UFA leaches result in greater iron concentration than the short digest of FG and UFG.
In 2009, FB~FGA, sometimes FB>FGA, but inconclusive, as known problems with contamination and calibration issues, however both FB&FGA < FA; UFB < UFGA < UFA
In 2010, FB and FG2000 were variable, no real trend observed; UFG2000 also tended to be similar or somewhat greater than UFB. However, for Stn P4 we used FGA, a stronger acid, and FGA was consistently > FB
In 2011, when comparing FB and FG, FG ~ > than FB, and UFG is also greater than UFB particularly in deeper waters; perhaps this trend shows the effect of increasing the amount of acid in the Geo method this year
In this cruise, samples were treated in up to six ways - FB, UFB, FG, UFG, FA and UFA to determine Fe III levels. As of Jan 2012, FA & UFA samples still not analysed
Sample Analysis:
Samples were analysed onboard using a chemiluminescent reaction with preconcentration according to the method of Obata et al (1993), incorporating
modifications made in Obata et al (1997). Details can be found in Johnson et al (2005)
For acidified samples, whether following strong acidified or Geotraces treatments, the samples were treated, within hours of actual analysis, by addition of ammonium formate buffer pH3.2
(1.25mL per 250mL smp), H2O2 (25uL of 1% per 250mL smp), and concentrated ammonium hydroxide to reach pH3.2 +/- 0.1.
Duplicate runs are taken from one sampler bottle.
References: | Johnson, W.K., Miller, L.A., Sutherland, N.E., Wong, C.S., 2005. Iron transport by mesoscale Haida eddies in the Gulf of Alaska. Deep-Sea Research II 52, 933-953
Obata, H., Karatani, H., and E. Nakayama, 1993. Automated determination of iron in seawater by chlating resin concentration and chemiluminescence detection, Anal. Chem., 65, 1524 – 1528
Obata, H., Karatani, H., Matsui, M. and Nakayama, E., 1997. Fundamental studies for chemical speciation of iron in seawater with an improved analytical method. Mar. Chem., 56: 97-106.
Standards and Blanks Analysis:
The primary standard was a Fisher Fe 1000ppm, 2010. From this a secondary 10ppm was prepared, then further diluted to stock solutions of 100 and 10ppb.
Working standards were prepared fresh from these stock solutions to bracket the expected range of samples, using low iron seawater collected
in previous cruises, and run within 15 minutes of preparation.
Blanks for the standards were from the same low iron seawater. This typically has a small (<0.05nM) amount of Fe. For the samples the instrument zero was
determined by loading only 5s of the blank. This way the amount of iron present is negligable, yet the same procedure and chemical quantities used as for the samples applies.
For more on blanks, see separate section below.
QAQC & Daily Reference Standards (DRS) & Comments
Replication Statistics:
Pooled variance (sp) is used to report error associated with analyses, whether it be from duplicate analyses within
a sample bottle, or between duplicate samples taken from one depth.
Where three or more analyses were run from within one bottle, the abs(diff)^2 for the two most divergent values was used in determining sp.
The Average Fe reported with the sp is the average of only the data used in calculating sp, and provided for determining relative standard deviation (%RSD).
All Samples, including long term storage 2009-09:
|  | Replicate Analysis within a Sample Bottle | [5 empty] | Replicate Analysis Between Duplicate Bottles
|  | FB&FG |  | UFB&UFG |  | ALL smp analysed in 2010-14 |  | FB&FG | UFB&UFG | ALL smp analysed in 2010-14
|  | w/in a smp |  | w/in a smp |  | w/in a smp |  | btw rep btl | btw rep btl | btw rep btl
| Pooled Variance (sp): | 0.012293 |  | 0.023468 |  | 0.018192 |  | 0.05082 | 0.09718 | 0.071803
| Avg Fe: | 0.17271 |  | 0.30612 |  | 0.23275 |  | 0.29674 | 0.57809 | 0.40225
| %RSD: | 7.1174 |  | 7.6663 |  | 7.8162 |  | 17.126 | 16.8105 | 17.8504
| n: | 66 |  | 54 |  | 120 |  | 10 | 6 | 16
As might be expected, replicate bottles show slightly more variability than duplicates within the same bottles. As well, unfiltered samples tend to be more variable
than filtered, possibly due to unequal particulate loading
Fe Incubation Experiments:
Data proprietary to U Laval and UBC, not included here
Daily Reference Standards (DRS)
DRSs are run frequently to check on instrument performance and drift. In this cruise only a low DRS was used, and is reported below.
DRS - Low Fe made from previous buffered, filtered sea water taken from P16, P20 and P26 upper 100m
| Avg&Stdev: | 0.31978 | 0.029384
| n: | 37
Date | Time
100820 | 145 | 0.30465 |  |  | 120s
| 200 | 0.30026 |  |  | 120s
100821 | 1741 | 0.25417 |  |  | 60s
| 1755 | 0.28716 |  |  | 60s
100823 | 1727 | 0.40011 |  | 3, suspect | 120s
| 1743 | 0.36235
| 1758 | 0.34651
100824 | 856 | 0.29006
| 911 | 0.28044
100825 | 54 | 0.33485
| 109 | 0.33529
| 1139 | 0.33793
| 1154 | 0.33693
100826 | 202 | 0.29061
| 218 | 0.32907
100827 | 422 | 0.32469
| 438 | 0.29817
100828 | 38 | 0.3938
| 48 | 0.34845
| 110 | 0.32629 |  |  |  | tu rgts
| 125 | 0.296
| 1740 | 0.33488
| 1756 | 0.31619 |  |  |  | tu with more DRS
100829 | 503 | 0.3319
| 519 | 0.30834
| 534 | 0.31829 |  |  |  | tu rgts
| 549 | 0.31802
| 611 | 0.32439
| 627 | 0.29658
100830 | 1753 | 0.30065 |  |  | 90s
| 1808 | 0.30256 |  |  | 90s
| 2142 | 0.34583
100831 | 1349 | 0.31925 |  |  | 90s
100901 | 534 | 0.29031
| 550 | 0.30588
| 605 | 0.34015
100902 | 323 | 0.30072 |  |  | 90s
Intercalibration Standards
The following intercalibration samples made available from the Geotraces committee have been run intermittently as another check on the
iron standards and system. These are S287, D2-565 & D2-123, and D1-158
S287 - Intercalibration Sample - Low iron
| Expected: | 0.094 +/- 0.008 nM |  |  | Comments:
| ObservedAvg&Stdev: | 0.067701 | 0.011253
| n: | 10
100827 | 321 | 0.065179 | 120s
| 336 | 0.066961
| 1618 | 0.058752
| 1634 | 0.050424
100828 | 1538 | 0.080934
| 1553 | 0.074682
100830 | 1654 | 0.075045 | 90s
| 1709 | 0.079765 | 90s
100901 | 236 | 0.050811 | 90s
| 1548 | 0.074456 | 90s
D2 - Intercalibration Samples
| Expected: | 0.923 +/- 0.029 nM
| ObservedAvg&Stdev: | 0.91341 | 0.050249
| n: | 6
#565 | Previously opened (2008) and subsampled; was still acidified, now treated with buffer and NH4OH
100821 | 1328 | 0.87572 |  | 60s
| 1342 | 0.90466
100826 | 532 | 0.8799 |  | 120s
| 548 | 0.92831
| 1748 | 0.88401
| 1802 | 1.0078
#123 | Newly opened and treated
| ObservedAvg&Stdev: | 0.89971 | 0.028516
| n: | 4
100821 | 1356 | 0.91028 |  | 60s
| 1411 | 0.93126
100830 | 1922 | 0.86372 |  | 90s
| 1937 | 0.89359
D1 - Intercalibration Sample
| Expected: | 0.55-0.70 |  |  | Comments:
| Observed: | 0.63195 |  |  | The expected concentrations varied from 0.55 to 0.70nM: the 0.70nM reported for the earliest filled bottles,
the 0.55 for the latest filled bottles, due to loss of some dissolved iron to the walls of the tank during the bottling period.
reference:(http://es.ucsc.edu/~kbruland/GeotracesSaFe/kwbGeotracesSaFe.html)
#158
| ObservedAvg&Stdev: | 0.63195 | 0.045351
| n: | 7
100821 | 1259 | 0.64974 |  |  | 60s
| 1314 | 0.6648
100823 | 1657 | 0.65693 |  |  | 120s
| 1712 | 0.67453
100824 | 926 | 0.55754
| 942 | 0.64178
| 1034 | 0.57834
Summary of Buffered Sea Water Blanks Used in Calibration and Determining Zero, and Detection Limits
Blanks:
Calibrations are run using standard additions of Fe to a volume of filtered low iron seawater collected from OSPapa, 050N 145W, or that general vicinity
This seawater source, without the additions, is sometimes referred to as BSW - Buffered SeaWater - and forms the 0 point or blank for the regressions
Because there is invariably some iron in this water, it is necessary to correct samples to a zero iron or instrument blank, by using a preconcentration time of only 0 or 5s, rather
than the 90-240s time for samples. This very short preconc time allows all reagents and a small quantity of seawater to still affect the column,
but keeps iron addition negligible. On our system, even with a 0s load, there is still a small amount of low iron seawater between the valves, that flushes through the column.
This zero blank for sample correction is actually the concentration of the low iron seawater, and thus varies with the seawater batches used in calibration.
Following is a list of blanks used in calibration, but corrected with the zero blank to determine actual iron of the BSW used this cruise
The average blank for the standard seawater was 0.04nM Fe
Please see discussion of Determining Detection Limit in a section below this one
Date | Time | Preconc | Raw |  | [Fe] of BSW
Time (s)
|  |  | Avg: |  | 0.04416
|  |  | Stdev: |  | 0.012245
|  |  | n: |  | 42
|  |  | D.L.: |  | 0.036734
100821 | 1627 | 60 | 119972 |  | 0.028743 |  | FreshStdSW(75m+10m 2009)
| 1658 | 60 | 115284 |  | 0.026884
| 1924 | 60 | 167484 |  | 0.043223 |  | NF - tu rgt
| 1938 | 60 | 171452 |  | 0.045011
100820 | 1608 | 120 | 960812 |  | 0.07521
| 1623 | 120 | 877848 |  | 0.06792
100822 | 1151 | 120 | 286492 |  | 0.039918
| 1206 | 120 | 278364 |  | 0.03845
| 214 | 120 | 506340 |  | 0.0642
| 229 | 120 | 503312 |  | 0.063773
100823 | 1317 | 120 | 737088 |  | 0.035626 |  | variable pk times
| 1333 | 120 | 800124 |  | 0.039119
| 1403 | 120 | 805212 |  | 0.0394
100824 | 1210 | 120 | 341484 |  | 0.028427
| 1226 | 120 | 376204 |  | 0.032374 |  | bit of afterhump
| 1241 | 120 | 403656 |  | 0.035486
| 1256 | 120 | 391144 |  | 0.034069
100825 | 919 | 120 | 455440 |  | 0.033915
| 934 | 120 | 552776 |  | 0.042593
100826 | 259 | 120 | 637324 |  | 0.044172
| 315 | 120 | 483364 |  | 0.032008
| 330 | 120 | 589344 |  | 0.040411 |  | new luminol on here
| 1923 | 120 | 852176 |  | 0.060706
| 1943 | 120 | 821080 |  | 0.058343
100827 | 106 | 120 | 802276 |  | 0.028959
| 121 | 120 | 823312 |  | 0.029903
| 149 | 120 | 946288 |  | 0.035404
100828 | 1420 | 120 | 867972 |  | 0.047163
| 1450 | 120 | 1039212 |  | 0.05809
100829 | 1659 | 120 | 1121828 |  | 0.047729 |  | NF
| 1715 | 120 | 1175780 |  | 0.050359
| 1731 | 120 | 1189432 |  | 0.051023
100830 | 1607 | 90 | 1109404 |  | 0.049484
| 1637 | 90 | 1157864 |  | 0.052902
100831 | 1604 | 90 | 778960 |  | 0.028641 |  | 2xH, use 247
| 1619 | 90 | 1038884 |  | 0.049063 |  | 2xH, use 250
100831 | 1856 | 90 | 964696 |  | 0.054892
| 1910 | 90 | 791196 |  | 0.040877
100901 | 1512 | 90 | 981892 |  | 0.056266
| 1533 | 90 | 981320 |  | 0.05622
| 1946 | 90 | 688088 |  | 0.032413
| 2003 | 90 | 723928 |  | 0.035367
Determining Detection Limit (D.L.):
The detection limit can be determined as 3 x Stdev of the Average Blank FeIII concentration, depending on whether the stock batches used are the same, and have low iron content(<0.1nM).
For the blanks of this cruise, given above, the DL was ~0.04 nM
However, as there were numerous very low seawater samples, the DL can also be determined using 3* SP for all samples <0.1nM:
Using the data for this cruise, DL is ~0.03nM
| Avg: | 0.077689
| n: | 52
| sp: | 0.010868
| DL: | 0.032603
Overall D.L. ~0.03-0.04

## WorkSumLine P
Summary of Iron Samples Analysed on 2010-14 Line P Cruise
Abbreviations: | FB | 0.22u filtered, buffered, also called dissolved Fe
(see Metadata | UFB | unfiltered, buffered, also called labile
sheet for more | FG… | 0.22u filtered, acidified to <2, then pH3.2: | [5 empty] | FGA P4-used 2.0mL/sample |  |  | FG2010 P12-P26: used 0.5mL/sample
info) | UFG… | unfiltered, acidified to <2, then pH3.2 (Geotraces method) | [8 empty] | UFG2010 P12-P26: used 0.5mL/sample
| FA | 0.22u filtered, acidified to pH1.6 for >6 months with 2.0mL 1:1HCl/250mL smp, then pH3.2 for analysis
| UFA | unfiltered, acidified to pH1.6 for >6 months (as for FA), then pH3.2 for analysis
| a,b,c.. | replicate analysis within one sample
|  |  | Replicate Analysis within a Sample Bottle | [6 empty] | Replicate Smp Btls |  |  | Replicate Analysis within a Sample Bottle | [6 empty] | Replicate Smp Btls |  |  | Chart
Stn | Depth | Sample | F a | F b | F c |  | Avg nM | abs(dif)^2 | AvgStdev | Avg nM | abs(diff)^2 | Notes | UF a | UF b | UF c |  | Avg nM | abs(dif)^2 | AvgStdev | Avg nM | abs(diff)^2 | Notes | Depth
[8 empty] | n=2 | n=3 | [8 empty] | n=2 | n=3 |  |  |  | (m)
|  |  | ALL F&UF |  |  | for Fsmp<0.2nM |  | all smp |  |  |  | ALL F&UFReps | <0.2 ALL |  |  | forUF smp<0.2nM |  |  |  | fresh only | all smp
| Avg: |  | 0.23275 |  |  | 0.076159 |  | 0.17271 |  |  | 0.29674 | 0.40225 | 0.077689 |  |  | 0.080136 |  | 0.30612 |  | 0.27674 | 0.57809
| n: |  | 120 |  |  | 32 |  | 66 | 5 |  | 10 | 16 | 52 |  |  | 20 |  | 54 | 3 | 3 | 6
| Total d^2: |  | 0.079428 |  |  | 0.0020898 |  | 0.019946 |  |  | 0.051654 | 0.16498 | 0.012283 |  |  | 0.010193 |  | 0.059482 |  | 0.00078653 | 0.11333
| sp: |  | 0.018192 |  |  | 0.0057143 |  | 0.012293 | 0.013436 |  | 0.05082 | 0.071803 | 0.010868 |  |  | 0.015964 |  | 0.023468 | 0.016135 | 0.011449 | 0.09718
| DL: |  | 0.054576 |  |  | 0.017143 | [6 empty] | 0.032603 |  |  | 0.047891
[8 empty] | Avg(Geo-Buff): | 0.025814 | [8 empty] | Avg(Geo-Buff): | 0.02824
P04 |  |  | FB a | FB b | [8 empty] | UFB a | UFB b
Buffered | 0 | Zodiac | 0.28804 | 0.28098 |  |  | 0.28451 | 4.9732e-05 |  |  |  |  | 0.61159 | 0.61669 |  |  | 0.61414 | 2.5982e-05 |  |  |  |  | 0
| 5 | Pump | 0.27942 | 0.27174 |  |  | 0.27558 | 5.9061e-05 |  |  |  |  | 0.50974 | 0.64774 |  |  | 0.57874 | 0.019045 |  |  |  |  | 5
| 10 | " | 0.23712 |  |  |  | 0.23712 | [5 empty] | 0.57192 | 0.56791 |  |  | 0.56992 | 1.6052e-05 |  |  |  |  | 10
| 25 | " | 0.34942 | 0.38513 |  |  | 0.36727 | 0.0012758 |  |  |  |  | 0.80091 | 0.79989 |  |  | 0.8004 | 1.0407e-06 |  |  |  |  | 25
| 40 | " | 0.116 | 0.11178 |  |  | 0.11389 | 1.782e-05 |  |  |  |  | 0.44024 | 0.39009 |  |  | 0.41516 | 0.0025149 |  |  |  |  | 40
P04 |  |  | FGA a | FGA b |  |  | Avg nM | abs(diff)^2
Geo | 0 | Zodiac | 0.33946 | 0.32943 |  |  | 0.33445 | 0.00010053 | [14 empty] | 0.05
Acidified | 5 | Pump | 0.33656 | 0.341 |  |  | 0.33878 | 1.9741e-05 | [14 empty] | 5
2.0mL 1:1HCl | 10 | " | 0.35153 | 0.35129 |  |  | 0.35141 | 5.6454e-08 | [14 empty] | 10
per 250mL smp | 25 | " | 0.46279 | 0.46728 |  |  | 0.46503 | 2.0135e-05 | [14 empty] | 25
| 40 | " | 0.15997 | 0.14078 |  |  | 0.15037 | 0.00036848 | [14 empty] | 40
P04 | [7 empty] | Avg Diff: | 0.072331
Comparison: | 0 | Zodiac |  |  |  |  | 0.049935 | [15 empty] | 0
Geo-Buff | 5 | Pump |  |  |  |  | 0.063196 | [15 empty] | 5
| 10 | " |  |  |  |  | 0.11429 | [15 empty] | 10
| 25 | " |  |  |  |  | 0.097758 | [15 empty] | 25
| 40 | " |  |  |  |  | 0.036482 | [15 empty] | 40
P09 |  | Collected to test cleanliness of XN bottles: | [10 empty] | UFB a | UFB b
Buffered |  | Pump | [10 empty] | 0.18072 | 0.19829 |  |  | 0.18951 | 0.00030869
|  | XN10 | [10 empty] | 0.11866 |  |  |  | 0.11866
|  | XN7 | [10 empty] | 0.1202 |  |  |  | 0.1202
|  | XN12 | [10 empty] | 0.11237 |  |  |  | 0.11237
P12 |  |  | FB a | FB b | [8 empty] | UFB a | UFB b
Buffered | 0 |  | 0.045158 |  |  |  | 0.045158 | [5 empty] | 0.12154 | 0.12744 |  |  | 0.12449 | 3.491e-05 |  |  |  |  | 0
| 5 |  | 0.048505 | 0.048511 |  |  | 0.048508 | 3.9599e-11 |  |  |  |  | 0.18647 | 0.16411 |  |  | 0.17529 | 0.00049967 |  |  |  |  | 5
| 10 |  | 0.038512 |  |  |  | 0.038512 | [5 empty] | 0.13962 |  |  |  | 0.13962 | [5 empty] | 10
| 25 |  | 0.043378 | 0.045451 |  |  | 0.044415 | 4.2955e-06 |  |  |  |  | 0.14363 |  |  |  | 0.14363 | [5 empty] | 25
| 40 |  | 0.39024 | 0.42993 |  |  | 0.41008 | 0.0015755 |  |  |  |  | 0.56466 | 0.55677 |  |  | 0.56072 | 6.223e-05 |  |  |  |  | 40
| 75 |  | 0.20893 |  |  |  | 0.20893 | [5 empty] | 0.37381 | 0.41663 |  |  | 0.39522 | 0.0018339 |  |  |  |  | 75
| 100 |  | 0.36908 | 0.32555 |  |  | 0.34732 | 0.001895 |  |  |  |  | 0.83953 | 0.79696 |  |  | 0.81825 | 0.0018127 |  |  |  |  | 100
| 150 |  | 0.16688 | 0.14573 |  |  | 0.1563 | 0.00044712 |  |  |  |  | 0.21935 | 0.22259 |  |  | 0.22097 | 1.0537e-05 |  |  |  |  | 150
| 200 |  | 0.30403 | 0.31697 |  |  | 0.3105 | 0.00016762 |  |  |  |  | 0.49002 | 0.49476 |  |  | 0.49239 | 2.2491e-05 |  |  |  |  | 200
| 300 |  | 0.55555 | 0.57607 |  |  | 0.56581 | 0.00042106 |  |  |  |  | 0.82617 |  |  |  | 0.82617 | [5 empty] | 300
|  |  | FG2010: | [9 empty] | UFG2010:
P12 |  |  | FG a | FG b |  |  | Avg nM | abs(diff)^2 |  |  |  |  | UFG a | UFG b | UFG c |  | Avg nM | abs(diff)/2
Geo | 0 |  | 0.079208 |  |  |  | 0.079208 | [5 empty] | 0.18521 | 0.19762 | 0.18074 |  | 0.18786 | 0.008747 |  |  |  |  | 0
Acidified2010 | 5 |  | 0.081978 | 0.079236 |  |  | 0.080607 | 7.519e-06 | [14 empty] | 5
| 10 |  | 0.087605 |  |  |  | 0.087605 | [15 empty] | 10
| 25 |  | 0.089651 |  |  |  | 0.089651 | [15 empty] | 25
| 40 |  | 0.36948 | 0.3787 |  |  | 0.37409 | 8.4885e-05 | [14 empty] | 40
| 75 |  | 0.24331 | 0.27125 |  |  | 0.25728 | 0.00078053 |  |  |  |  | 0.47526 | 0.47243 |  |  | 0.47385 | 8.0051e-06 |  |  |  |  | 75
| 100 |  | 0.32461 | 0.33957 |  |  | 0.33209 | 0.00022369 |  |  |  |  | 0.84252 | 0.84226 |  |  | 0.84239 | 6.8922e-08 |  |  |  |  | 100
| 150 |  | 0.17903 | 0.17262 |  |  | 0.17583 | 4.1082e-05 |  |  |  |  | 0.10898 | 0.096221 |  |  | 0.1026 | 0.00016278 |  |  |  |  | 150
| 200 |  | 0.25739 | 0.25737 |  |  | 0.25738 | 2.6352e-10 |  |  |  |  | 0.36815 | 0.33266 |  |  | 0.35041 | 0.0012594 |  |  |  |  | 200
| 300 |  | 0.47593 | 0.47776 |  |  | 0.47685 | 3.3414e-06 |  |  |  |  | 0.63299 | 0.62518 |  |  | 0.62909 | 6.0931e-05 |  |  |  |  | 300
P12 | [7 empty] | Avg Diff: | 0.0035052 | [8 empty] | Avg Diff: | -0.04855
Comparison: | 0 | [5 empty] | 0.034049 | Stdev: | 0.048882 | [7 empty] | 0.063365 | Stdev: | 0.11803 |  |  |  | 0
Geo-Buff | 5 | [5 empty] | 0.032099 | [15 empty] | 5
| 10 | [5 empty] | 0.049093 | [15 empty] | 10
| 25 | [5 empty] | 0.045236 | [15 empty] | 25
| 40 | [5 empty] | -0.035995 | [15 empty] | 40
| 75 | [5 empty] | 0.048352 | [9 empty] | 0.078627 | [5 empty] | 75
| 100 | [5 empty] | -0.015227 | [9 empty] | 0.024145 | [5 empty] | 100
| 150 | [5 empty] | 0.019525 | [9 empty] | -0.11837 | [5 empty] | 150
| 200 | [5 empty] | -0.053122 | [9 empty] | -0.14198 | [5 empty] | 200
| 300 | [5 empty] | -0.088958 | [9 empty] | -0.19708 | [5 empty] | 300
P16 |  |  | FB a | FB b | [8 empty] | UFB a | UFB b
Buffered | 0 |  | 0.058833 | 0.06309 |  |  | 0.060961 | 1.8129e-05 |  |  |  |  | 0.054185 |  |  |  | 0.054185 | [5 empty] | 0
| 5 |  | 0.10392 | 0.11989 |  |  | 0.1119 | 0.00025498 |  |  |  |  | 0.043816 | 0.037275 |  |  | 0.040546 | 4.2783e-05 |  |  |  |  | 5
| 10 |  | 0.028908 | 0.027716 |  |  | 0.028312 | 1.4214e-06 |  |  |  |  | 0.038499 |  |  |  | 0.038499 | [5 empty] | 10
| 25 |  | 0.024841 |  |  |  | 0.024841 | [5 empty] | 0.031628 |  |  |  | 0.031628 | [5 empty] | 25
| 40 |  | 0.031429 | 0.027061 |  |  | 0.029245 | 1.908e-05 |  |  |  |  | 0.024225 |  |  |  | 0.024225 | [5 empty] | 40
| 75 |  | 0.039207 |  |  |  | 0.039207 | [5 empty] | 0.039034 |  |  |  | 0.039034 | [5 empty] | 75
| 100 |  | 0.26089 | 0.28216 |  |  | 0.27152 | 0.00045257 |  |  |  |  | 0.073035 | 0.080776 |  |  | 0.076905 | 5.9924e-05 |  |  |  |  | 100
| 150 |  | 0.080408 | 0.080767 |  |  | 0.080588 | 1.2905e-07 |  |  |  |  | 0.12976 | 0.13932 |  |  | 0.085139 | 9.1426e-05 |  |  |  |  | 150
| 200 |  | 0.16273 | 0.15215 |  |  | 0.15744 | 0.00011207 |  |  |  |  | 0.23645 | 0.22429 |  |  | 0.23037 | 0.0001477 |  |  |  |  | 200
| 300 |  | 0.23116 | 0.24535 |  |  | 0.23825 | 0.00020156 |  |  |  |  | 0.35327 | 0.34048 |  |  | 0.34687 | 0.00016354 |  |  |  |  | 300
| 400 |  | 0.36031 | 0.34606 |  |  | 0.35319 | 0.00020317 |  |  |  |  | 0.52747 | 0.49372 |  |  | 0.51059 | 0.0011385 |  |  |  |  | 400
|  |  | FG2010: | [9 empty] | UFG2010:
P16 |  |  | FG a | FG b |  |  | Avg nM | abs(diff)/2 |  |  |  |  | UFG a | UFG b | UFG c |  | Avg nM | abs(diff)/2
Geo | 0 |  | 0.032755 | 0.031922 |  |  | 0.032338 | 6.939e-07 |  |  |  |  | 0.048255 | 0.04266 |  |  | 0.045457 | 3.1305e-05 |  |  |  |  | 0
Acidified2010 | 5 |  | 0.20781 |  |  |  | 0.20781 | [15 empty] | 5
| 10 |  | 0.032953 | 0.021665 | 0.016205 |  | 0.023608 | 0.008541 | [14 empty] | 10
| 25 |  | 0.018203 | 0.012796 |  |  | 0.0155 | 2.9244e-05 | [14 empty] | 25
| 40 |  | 0.015789 |  |  |  | 0.015789 | [15 empty] | 40
| 75 |  | 0.03702 | 0.036527 |  |  | 0.036774 | 2.4327e-07 | [14 empty] | 75
| 100 |  | 0.074526 | 0.078738 |  |  | 0.076632 | 1.7744e-05 | [14 empty] | 100
| 150 |  | 0.10367 |  |  |  | 0.10367 | [15 empty] | 150
| 200 |  | 0.17051 | 0.17936 |  |  | 0.17494 | 7.8282e-05 | [14 empty] | 200
| 300 |  | 0.31098 | 0.31039 |  |  | 0.31069 | 3.4941e-07 | [14 empty] | 300
| 400 |  | 0.30579 | 0.34785 | 0.32121 |  | 0.32495 | 0.021278 | [14 empty] | 400
P16 | [7 empty] | Avg Diff: | -0.0066145 |  | 0.0029135
Comparison: | 0 | [5 empty] | -0.028623 | Stdev: | 0.073958 |  | 0.031469 | [5 empty] | -0.0087274 | [5 empty] | 0
Geo-Buff | 5 | [5 empty] | 0.095909 | [15 empty] | 5
| 10 | [5 empty] | -0.0047044 | [15 empty] | 10
| 25 | [5 empty] | -0.0093411 | [15 empty] | 25
| 40 | [5 empty] | -0.013456 | [15 empty] | 40
| 75 | [5 empty] | -0.0024335 | [15 empty] | 75
| 100 | [5 empty] | -0.19489 | [15 empty] | 100
| 150 | [5 empty] | 0.023087 | [15 empty] | 150
| 200 | [5 empty] | 0.0175 | [15 empty] | 200
| 300 | [5 empty] | 0.072432 | [15 empty] | 300
| 400 | [5 empty] | -0.02824 | [15 empty] | 400
P20 |  |  | FB a | FB b | [8 empty] | UFB a | UFB b
Buffered | 0 | [21 empty] | 0
| 5 |  | 0.029572 |  |  |  | 0.029572 | [5 empty] | 0.26205 | 0.24753 |  |  | 0.25479 | 0.00021093 |  |  |  |  | 5
| 10 |  | 0.027546 | 0.026535 |  |  | 0.02704 | 1.0213e-06 |  |  |  |  | 0.031951 | 0.02824 | 0.032378 |  | 0.030856 | 1.3774e-05 |  |  |  |  | 10
| 25 |  | 0.020268 |  |  |  | 0.020268 | [5 empty] | 0.031976 |  |  |  | 0.031976 | [5 empty] | 25
| 40 |  | 0.018141 |  |  |  | 0.018141 | [5 empty] | 0.026045 |  |  |  | 0.026045 | [5 empty] | 40
| 75 |  | 0.033307 | 0.028094 |  |  | 0.0307 | 2.7177e-05 |  |  |  |  | 0.038758 | 0.042189 | 0.039055 |  | 0.040001 | 1.1775e-05 | 0.001901 |  |  |  | 75
| 100 |  | 0.034512 |  |  |  | 0.034512 | [5 empty] | 0.059672 |  |  |  | 0.059672 | [5 empty] | 100
| 150 |  | 0.086399 | 0.084865 |  |  | 0.085632 | 2.3525e-06 |  |  |  |  | 0.14171 | 0.1344 |  |  | 0.088834 | 5.3353e-05 |  |  |  |  | 150
| 200 |  | 0.16044 | 0.16299 |  |  | 0.16171 | 6.4961e-06 |  |  |  |  | 0.21714 | 0.22268 |  |  | 0.21991 | 3.0663e-05 |  |  |  |  | 200
| 300 |  | 0.31045 | 0.28734 |  |  | 0.29889 | 0.00053428 |  |  |  |  | 0.34552 | 0.37187 |  |  | 0.3587 | 0.00069432 |  |  |  |  | 300
| 400 |  | 0.33271 |  |  |  | 0.33271 | [5 empty] | 0.44215 | 0.4233 |  |  | 0.43273 | 0.00035529 |  |  |  |  | 400
|  |  | FG2010: | [9 empty] | UFG2010:
P20 |  |  | FG a | FG b |  |  | Avg nM | abs(diff)^2 |  |  |  |  | UFG a | UFG b | UFG c |  | Avg nM | abs(diff)^2
Geo | 0 | [21 empty] | 0
Acidified2010 | 5 |  | 0.011325 | 0.0094965 |  |  | 0.010411 | 3.3433e-06 | [14 empty] | 5
| 10 |  | 0.010666 | 0.0099792 |  |  | 0.010323 | [15 empty] | 10
| 25 |  | 0.0084727 |  |  |  | 0.0084727 | [15 empty] | 25
| 40 |  | 0.010301 |  |  |  | 0.010301 | [15 empty] | 40
| 75 |  | 0.012157 |  |  |  | 0.012157 | [15 empty] | 75
| 100 |  | 0.021321 |  |  |  | 0.021321 | [15 empty] | 100
| 150 |  | 0.05652 | 0.068334 |  |  | 0.062427 | 0.00013956 | [14 empty] | 150
| 200 |  | 0.1036 | 0.12206 |  |  | 0.11283 | 0.00034067 | [14 empty] | 200
| 300 |  | 0.27957 | 0.28547 | 0.29906 |  | 0.28803 | 0.009993 | [14 empty] | 300
| 400 |  | 0.29163 | 0.36734 |  |  | 0.32948 | 0.005732 | [14 empty] | 400
P20 | [7 empty] | Avg Diff: | -0.017343
Comparison: | 0 | [6 empty] | Stdev: | 0.012534 | [13 empty] | 0
Geo-Buff | 5 | [5 empty] | -0.019161 | [15 empty] | 5
| 10 | [5 empty] | -0.016718 | [15 empty] | 10
| 25 | [5 empty] | -0.011795 | [15 empty] | 25
| 40 | [5 empty] | -0.0078399 | [15 empty] | 40
| 75 | [5 empty] | -0.018543 | [15 empty] | 75
| 100 | [5 empty] | -0.013191 | [15 empty] | 100
| 150 | [5 empty] | -0.023205 | [15 empty] | 150
| 200 | [5 empty] | -0.048883 | [15 empty] | 200
| 300 | [5 empty] | -0.010861 | [15 empty] | 300
| 400 | [5 empty] | -0.0032286 | [15 empty] | 400
P26 |  |  | FB a | FB b | [8 empty] | UFB a | UFB b
Buffered | 0(skim) |  | 0.034764 | 0.02976 |  |  | 0.032262 | 2.5043e-05 |  |  |  |  | 0.045607 | 0.043586 |  |  | 0.044596 | 4.0845e-06 |  |  |  |  | 0
| 0.1subsurface | [11 empty] | 0.034596 |  |  |  | 0.034596 | [5 empty] | 0.1
| 5 |  | 0.029678 |  |  |  | 0.029678 | [5 empty] | 0.78882 | 0.88394 |  |  | 0.83638 | 0.0090476 |  |  |  |  | 5
| 10 |  | 0.026188 | 0.021764 |  |  | 0.023976 | 1.9568e-05 |  |  |  |  | 0.032558 |  |  |  | 0.032558 | [5 empty] | 10
| 25 |  | 0.020516 | 0.013439 |  |  | 0.016977 | 5.0085e-05 |  | 0.015873 | 4.8801e-06 |  | 0.01585 | 0.014026 |  |  | 0.014938 | 3.3292e-06 |  | 0.021033 | 0.00014859 |  | 25
| 25 |  | 0.014768 |  |  |  | 0.014768 | [5 empty] | 0.027128 |  |  |  | 0.027128 | [5 empty] | 25
| 40 |  | 0.024727 |  |  |  | 0.024727 | [5 empty] | 0.033408 | 0.038612 |  |  | 0.03601 | 2.7084e-05 |  |  |  |  | 40
| 50 |  | 0.014661 |  |  |  | 0.014661 | [5 empty] | 0.029136 |  |  |  | 0.029136 | [5 empty] | 50
| 75 |  | 0.020706 |  |  |  | 0.020706 |  |  | 0.019388 | 6.942e-06 |  | 0.050009 | 0.053057 |  |  | 0.051533 | 9.2885e-06 |  |  |  |  | 75
| 75 |  | 0.018071 |  |  |  | 0.018071 | [15 empty] | 75
| 100 |  | 0.036748 | 0.03501 |  |  | 0.035879 | 3.0201e-06 |  |  |  |  | 0.10467 | 0.10351 |  |  | 0.10409 | 1.3489e-06 |  |  |  |  | 100
| 150 |  | 0.14545 | 0.1419 |  |  | 0.14367 | 1.2595e-05 |  |  |  |  | 0.21353 | 0.22134 |  |  | 0.21743 | 6.1082e-05 |  |  |  |  | 150
| 200 |  | 0.19818 | 0.19228 |  |  | 0.19523 | 3.4862e-05 |  | 0.28107 | 0.029474 |  | 0.2752 | 0.31497 |  |  | 0.29508 | 0.0015817 |  | 0.28618 | 0.00031664 |  | 200
| 200 |  | 0.34596 | 0.38786 |  |  | 0.36691 | 0.0017553 |  |  |  | suspect | 0.26696 | 0.28761 |  |  | 0.27729 | 0.00042654 |  |  |  |  | 200
| 300 |  | 0.28915 | 0.27904 |  |  | 0.28409 | 0.00010221 |  |  |  |  | 0.39934 | 0.4701 |  |  | 0.43472 | 0.0050064 |  |  |  |  | 300
| 400 |  | 0.34602 | 0.34823 |  |  | 0.34712 | 4.8758e-06 |  |  |  |  | 0.46858 | 0.48388 |  |  | 0.47623 | 0.00023384 |  |  |  |  | 400
| 600 |  | 0.42153 | 0.42793 |  |  | 0.42473 | 4.0988e-05 |  |  |  |  | 0.48495 | 0.51297 |  |  | 0.49896 | 0.00078538 |  |  |  |  | 600
| 800 |  | 0.4113 |  |  |  | 0.4113 |  |  | 0.40734 | 6.3e-05 |  | 0.51404 |  |  |  | 0.51404 |  |  | 0.523 | 0.00032131 |  | 800
| 800 |  | 0.40337 |  |  |  | 0.40337 | [5 empty] | 0.53196 |  |  |  | 0.53196 | [5 empty] | 800
P26 |  |  | FG2010: | [9 empty] | UFG2010:
Geo | 0 |  | 0.040029 |  |  |  | 0.040029 | [5 empty] | 0.063349 |  |  |  | 0.063349 | [5 empty] | 0
Acidified2010 | 0.1 |  | 0.052659 | 0.050588 |  |  | 0.051624 | 4.2914e-06 |  |  |  |  | 0.043186 | 0.046286 |  |  | 0.044736 | 9.6147e-06 |  |  |  |  | 0.1
| 5 |  | 0.19038 |  |  |  | 0.19038 |  |  |  |  | GF 5m is fat peak, ? | [10 empty] | 5
| 10 |  | 0.037455 | 0.028074 | 0.044664 |  | 0.036731 | 0.0083186 |  |  |  |  | 0.044664 | 0.040802 |  |  | 0.042733 | 1.4918e-05 |  |  |  |  | 10
| 25 |  | 0.031925 |  |  |  | 0.031925 |  |  | 0.045862 | 0.00077688 |  | 0.029596 |  |  |  | 0.029596 | [5 empty] | 25
| 25 |  | 0.059798 |  |  |  | 0.059798 | [15 empty] | 25
| 40 |  | 0.030098 |  |  |  | 0.030098 | [5 empty] | 0.10209 |  |  |  | 0.10209 | [5 empty] | 40
| 50 |  | 0.04596 |  |  |  | 0.04596 | [5 empty] | 0.12495 |  |  |  | 0.12495 | [5 empty] | 50
| 75 |  | 0.035278 | 0.032467 |  |  | 0.033873 | 7.9025e-06 |  | 0.10114 | 0.018098 |  | 0.080681 | 0.072536 |  |  | 0.076608 | 6.6339e-05 |  |  |  |  | 75
| 75 |  | 0.1684 |  |  |  | 0.1684 |  |  |  |  | pk late -?effect; poss btl not changed from previous? | [10 empty] | 75
| 100 |  | 0.051373 |  |  |  | 0.051373 | [15 empty] | 100
| 150 |  | 0.20195 | 0.21046 |  |  | 0.20621 | 7.2522e-05 |  |  |  |  | 0.27357 |  |  |  | 0.27357 | [5 empty] | 150
| 200 |  | 0.33586 | 0.30017 |  |  | 0.31802 | 0.0012738 |  | 0.32063 | 2.7258e-05 |  | 0.38163 | 0.39146 |  |  | 0.38654 | 9.6716e-05 |  |  |  |  | 200
| 200 |  | 0.32324 |  |  |  | 0.32324 | [15 empty] | 200
| 300 |  | 0.40316 |  |  |  | 0.40316 | [5 empty] | 0.37569 | 0.39434 |  |  | 0.38501 | 0.00034793 |  |  |  |  | 300
| 400 |  | 0.50078 | 0.507 |  |  | 0.50389 | 3.866e-05 |  |  |  |  | 0.70858 | 0.6988 |  |  | 0.70369 | 9.5667e-05 |  |  |  |  | 400
| 600 |  | 0.61015 | 0.63048 |  |  | 0.62032 | 0.00041362 |  |  |  | GeoF might be a bit high, follows high smp | 0.74753 | 0.7263 |  |  | 0.73691 | 0.00045064 |  |  |  |  | 600
| 800 |  | 0.5917 | 0.60443 | 0.62917 |  | 0.60843 | 0.01905 |  | 0.62889 | 0.0016735 |  | 0.54434 | 0.61708 | 0.56317 |  | 0.57486 | 0.0052918 | 0.037756 |  |  |  | 800
| 800 |  | 0.64934 |  |  |  | 0.64934 | [15 empty] | 800
P26 |  |  |  |  | Comparison: | Geo-Buff |  | Avg Diff: | 0.081442 | 0.074812 | 0.025596 | [6 empty] | Avg Diff: | 0.066525 |  | 0.043144
Comparison: | 0(skim) | [5 empty] | 0.0077669 | Stdev: | 0.075236 | 0.077914 | 0.019291 | [5 empty] | 0.018752 | Stdev: | 0.083398 |  | 0.034845 |  | 0
Geo-Buff | 0.1subsurface | [15 empty] | 0.01014 | [5 empty] | 0.1
| 5 | [5 empty] | 0.1607 |  |  |  | 0.17324 | [9 empty] | 0.11913 |  | 5
| 10 | [5 empty] | 0.012755 |  |  |  | 0.044866 | [5 empty] | 0.010175 |  |  |  | 0.13875 |  | 10
| 25 | [5 empty] | 0.029989 | [9 empty] | 0.014658 | [5 empty] | 25
| 25 | [21 empty] | 25
| 40 | [5 empty] | 0.0053706 | [9 empty] | 0.066084 | [5 empty] | 40
| 50 | [5 empty] | 0.031299 | [9 empty] | 0.095816 | [5 empty] | 50
| 75 | [5 empty] | 0.081748 | [9 empty] | 0.025075 | [5 empty] | 75
| 75 | [21 empty] | 75
| 100 | [5 empty] | 0.015494 | [15 empty] | 100
| 150 | [5 empty] | 0.062533 | [9 empty] | 0.056137 | [5 empty] | 150
| 200 | [5 empty] | 0.03956 | [9 empty] | 0.091463 | [5 empty] | 200
| 200 | [21 empty] | 200
| 300 | [5 empty] | 0.11907 | [9 empty] | -0.049705 | [5 empty] | 300
| 400 | [5 empty] | 0.15677 | [9 empty] | 0.22746 | [5 empty] | 400
| 600 | [5 empty] | 0.19558 | [9 empty] | 0.23795 | [5 empty] | 600
| 800 | [5 empty] | 0.22155 | [9 empty] | 0.060824 | [5 empty] | 800
| 800 | [21 empty] | 800
2009-09 P26 |  |  | FA a | FA b |  |  | Avg nM | abs(diff)^2 |  |  |  |  | UFA a | UFA b
Acidified | 0
5
10
25
40
50
75
100
150
| 200 |  | 0.41831 | 0.43309 |  |  | 0.4257 | 0.00021854 |  | 0.44201 | 0.0010647 |  | 0.8949 | 0.91409 |  |  | 0.9045 | 0.00036807 |  | 0.76855 | 0.073924
| 200 |  | 0.45833 |  |  |  | 0.45833 | [5 empty] | 0.63261 |  |  |  | 0.63261
| 300 |  | 0.4674 | 0.47129 |  |  | 0.46934 | 1.515e-05 |  |  |  |  | 0.70943 | 0.70995 |  |  | 0.70969 | 2.6389e-07
| 400 |  | 0.71069 | 0.72135 |  |  | 0.71602 | 0.00011364 |  | 0.70524 | 0.00046493 |  | 0.76055 |  |  |  | 0.76055 |  |  | 0.79543 | 0.0048661
| 400 |  | 0.69446 |  |  |  | 0.69446 | [5 empty] | 0.83031 |  |  |  | 0.83031
| 600 |  | 0.78872 | 0.77903 |  |  | 0.78388 | 9.3944e-05 |  |  |  |  | 0.85782 | 0.95007 |  |  | 0.90394 | 0.0085092
| 800 | [11 empty] | 1.0026 | 0.96236 |  |  | 0.98249 | 0.0016219 |  | 1.0744 | 0.03375
| 800 | [11 empty] | 1.1662 |  |  |  | 1.1662
Note on I107: User: n=3
Note on I115: User: n=3
Note on I154: User: n=3
Note on I196: User: n=3
Note on I210: User: n=3
Note on J20: User: Avg Stdev where n=3analyses
Note on V67: User: n=3
Note on W20: User: Avg Stdev where n=3analyses
Note on W137: User: n=3
Note on W210: User: n=3
Note on Y16: User: only smp collected fresh this cruise
Note on Z16: User: includes one yr acidified smp run in spare time on this cruise