## File List
Number of Files= |  | 7
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 2010-14-0001.mrg | 2010-14-0001.sam | 11 | 21 | 2010-14-0001.mrg & 2010-14-0001.sam
2 | 2010-14-0005.mrg | 2010-14-0005.sam | 23 | 30 | 2010-14-0005.mrg & 2010-14-0005.sam
3 | 2010-14-0012.mrg | 2010-14-0012.sam | 32 | 50 | 2010-14-0012.mrg & 2010-14-0012.sam
4 | 2010-14-0022.mrg | 2010-14-0022.sam | 52 | 71 | 2010-14-0022.mrg & 2010-14-0022.sam
5 | 2010-14-0055.mrg | 2010-14-0055.sam | 73 | 96 | 2010-14-0055.mrg & 2010-14-0055.sam
6 | 2010-14-0073.mrg | 2010-14-0073.sam | 98 | 121 | 2010-14-0073.mrg & 2010-14-0073.sam
7 | 2010-14-0086.mrg | 2010-14-0086.sam | 123 | 146 | 2010-14-0086.mrg & 2010-14-0086.sam

## (DOX_CTD - DOX_BOT)
Calculation of Linear Least Squares Fit For
(DOX_CTD - DOX_BOT)
2
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (DOX_CTD - DOX_BOT), Prop=DOX_CTD
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.36921 |  | X | CALC Y
m= | -0.048812 | 0.010633 |  | Std Dev of Resid |  | 0.1442 |  | 0.077411 | 0.0042023
b= | 0.0079808 | 0.036646 |  | Resid Sum of Squares |  | 0.74856 |  | 8.1835 | -0.39147
# of Values Extracted = |  |  | 58
# of Values Used in Fit = |  |  | 38
File | Use | Pressure | DOX_CTD | DOX_CTD | Diff (DOX_CTD - DOX_BOT) |  |  |  | Fit vs. | DOX_CTD
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 220.557 | 0.097129 | 0.0018875 | 0.097129 | 0.0032398 | -0.093889 |  | 0.097129 | 0.097129
1 | YES | 200.99 | 0.087004 | 0.0015982 | 0.087004 | 0.003734 | -0.08327 |  | 0.087004 | 0.087004
1 | YES | 175.645 | 0.081427 | 0.001439 | 0.081427 | 0.0040062 | -0.077421 |  | 0.081427 | 0.081427
1 | YES | 150.882 | 0.077411 | 0.0021295 | 0.077411 | 0.0042023 | -0.073209 |  | 0.077411 | 0.077411
1 | YES | 125.62 | 1.1754 | 0.0034451 | -0.069585 | -0.049393 | 0.020192 |  | 1.1754 | -0.069585
1 | YES | 100.973 | 1.5489 | 0.0022523 | -0.14212 | -0.067622 | 0.074498 |  | 1.5489 | -0.14212
1 | YES | 75.7464 | 1.3814 | 0.0061747 | -0.075585 | -0.059448 | 0.016137 |  | 1.3814 | -0.075585
1 | YES | 50.8471 | 3.2044 | 0.0054944 | -0.20057 | -0.14843 | 0.052135 |  | 3.2044 | -0.20057
1 | YES | 25.8125 | 4.0075 | 0.0037604 | -0.81855 | -0.18763 | 0.63092 |  | 4.0075 | -0.81855 | 4.826
1 | YES | 10.504 | 5.8733 | 0.0182 | -0.40867 | -0.27871 | 0.12997 |  | 5.8733 | -0.40867
1 | YES | 5.8004 | 8.1835 | 0.21899 | 0.02347 | -0.39147 | -0.41494 |  | 8.1835 | 0.02347 | 8.16
2 | YES | 108.611 | 1.7361 | 0.0022767 | -0.054888 | -0.076761 | -0.021873 |  | 1.7361 | -0.054888
2 | YES | 101.434 | 1.7346 | 0.0023783 | -0.075394 | -0.076688 | -0.0012941 |  | 1.7346 | -0.075394
2 | YES | 75.7605 | 1.9461 | 0.0067188 | -0.074866 | -0.087013 | -0.012146 |  | 1.9461 | -0.074866
2 | YES | 75.7605 | 1.9461 | 0.0067188 | -0.062867 | -0.087013 | -0.024146 |  | 1.9461 | -0.062867
2 | YES | 51.7454 | 2.4331 | 0.011269 | -0.11385 | -0.11079 | 0.0030609 |  | 2.4331 | -0.11385
2 | YES | 26.6291 | 3.0902 | 0.0046616 | -0.18078 | -0.14286 | 0.037922 |  | 3.0902 | -0.18078
2 | YES | 11.0876 | 4.4749 | 0.20895 | 0.077909 | -0.21045 | -0.28836 |  | 4.4749 | 0.077909 | 6.922
2 | YES | 6.3947 | 6.5483 | 0.033353 | -0.37368 | -0.31165 | 0.062025 |  | 6.5483 | -0.37368
3 | YES | 1301.15 | 0.50789 | 0.0035609 | -0.012108 | -0.01681 | -0.0047024 |  | 0.50789 | -0.012108
3 | YES | 1251 | 0.43748 | 0.0029581 | 0.005482 | -0.013373 | -0.018855 |  | 0.43748 | 0.005482
3 | YES | 1251 | 0.43748 | 0.0029581 | 0.007482 | -0.013373 | -0.020855 |  | 0.43748 | 0.007482
3 | YES | 1001.42 | 0.27965 | 0.0027536 | 0.015648 | -0.0056693 | -0.021317 |  | 0.27965 | 0.015648
3 | YES | 801.798 | 0.23019 | 0.0027095 | 0.013186 | -0.0032549 | -0.016441 |  | 0.23019 | 0.013186
3 | YES | 602.298 | 0.38122 | 0.0023921 | -0.0037801 | -0.010627 | -0.0068471 |  | 0.38122 | -0.0037801
3 | YES | 401.413 | 0.85287 | 0.0024703 | -0.041132 | -0.033649 | 0.0074831 |  | 0.85287 | -0.041132
3 | YES | 301.793 | 1.4175 | 0.0021602 | -0.085535 | -0.061208 | 0.024328 |  | 1.4175 | -0.085535
3 | YES | 250.965 | 1.8307 | 0.0036754 | -0.073257 | -0.081381 | -0.0081232 |  | 1.8307 | -0.073257
3 | YES | 201.11 | 2.326 | 0.0024367 | -0.117 | -0.10555 | 0.011449 |  | 2.326 | -0.117
3 | YES | 176.023 | 2.5981 | 0.0034758 | -0.12388 | -0.11884 | 0.0050414 |  | 2.5981 | -0.12388
3 | YES | 151.638 | 3.3546 | 0.0051582 | -0.15736 | -0.15576 | 0.0015965 |  | 3.3546 | -0.15736
3 | YES | 125.98 | 3.7694 | 0.0051959 | -0.18164 | -0.17601 | 0.0056354 |  | 3.7694 | -0.18164 | 3.951
3 | YES | 101.32 | 4.3811 | 0.0069293 | -0.17488 | -0.20587 | -0.030989 |  | 4.3811 | -0.17488 | 4.556
3 | YES | 76.0445 | 4.9925 | 0.0060166 | -0.18854 | -0.23571 | -0.047169 |  | 4.9925 | -0.18854 | 5.181
3 | YES | 50.7813 | 6.1048 | 0.0058245 | -0.30424 | -0.29 | 0.014239 |  | 6.1048 | -0.30424 | 6.409
3 | YES | 26.0458 | 5.3234 | 0.0096065 | -0.42462 | -0.25186 | 0.17276 |  | 5.3234 | -0.42462 | 5.748
3 | YES | 11.4721 | 5.9517 | 0.010167 | -0.28332 | -0.28253 | 0.00078587 |  | 5.9517 | -0.28332 | 6.235
3 | YES | 6.432 | 6.0061 | 0.0044814 | -0.28086 | -0.28519 | -0.0043339 |  | 6.0061 | -0.28086 | 6.287
4 | NO | 2000.88 | 1.0609 | 0.0084106 | -0.34114 | -0.043801 | 0.29734
4 | NO | 1501.18 | 0.38517 | 0.0066649 | -0.28683 | -0.01082 | 0.27601
4 | NO | 1501.18 | 0.38517 | 0.0066649 | -0.29783 | -0.01082 | 0.28701
4 | NO | 1251.37 | 0.10332 | 0.0067529 | -0.25068 | 0.0029376 | 0.25362
4 | NO | 1000.83 | 0.0020332 | 0.0058913 | -0.24397 | 0.0078816 | 0.25185
4 | NO | 801.33 | 0.048398 | 0.0069353 | -0.2446 | 0.0056184 | 0.25022
4 | NO | 601.133 | 0.1799 | 0.0054751 | -0.2401 | -0.00080021 | 0.2393
4 | NO | 401.179 | 1.0135 | 0.0066239 | -0.28549 | -0.04149 | 0.244
4 | NO | 300.883 | 1.5808 | 0.0046122 | -0.31817 | -0.069182 | 0.24898
4 | NO | 250.793 | 2.3156 | 0.0091187 | -0.35237 | -0.10505 | 0.24732
4 | NO | 200.898 | 3.4708 | 0.0061568 | -0.40822 | -0.16143 | 0.24679
4 | NO | 176.16 | 3.7674 | 0.0043824 | -0.40264 | -0.17591 | 0.22673
4 | NO | 150.905 | 3.9483 | 0.0051978 | -0.39069 | -0.18474 | 0.20594
4 | NO | 126.447 | 4.1281 | 0.0070589 | -0.42788 | -0.19352 | 0.23436
4 | NO | 101.006 | 5.0645 | 0.0052242 | -0.46148 | -0.23923 | 0.22226
4 | NO | 76.3731 | 5.9756 | 0.0045307 | -0.51241 | -0.2837 | 0.22872
4 | NO | 51.2358 | 5.6976 | 0.0083838 | -0.48239 | -0.27013 | 0.21226
4 | NO | 26.4322 | 5.4656 | 0.0088152 | -0.44938 | -0.2588 | 0.19057
4 | NO | 11.476 | 5.498 | 0.007709 | -0.44299 | -0.26039 | 0.1826
4 | NO | 6.3995 | 5.505 | 0.0058312 | -0.43696 | -0.26073 | 0.17623
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
FIT vs. Pressure
FIT vs. DOX_CTD
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (DOX_CTD - DOX_BOT) (2)
Calculation of Linear Least Squares Fit For
(DOX_CTD - DOX_BOT)
2
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (DOX_CTD - DOX_BOT), Prop=DOX_CTD
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.94727 |  | X | CALC Y
m= | -0.049681 | 0.0023443 |  | Std Dev of Resid |  | 0.021743 |  | 0.23019 | 6.9605e-05
b= | 0.011505 | 0.0069914 |  | Resid Sum of Squares |  | 0.011819 |  | 6.1048 | -0.29178
# of Values Extracted = |  |  | 38
# of Values Used in Fit = |  |  | 27
File | Use | Pressure | DOX_CTD | DOX_CTD | Diff (DOX_CTD - DOX_BOT) |  |  |  | Fit vs. | DOX_CTD
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 220.557 | 0.097129 | 0.0018875 | 0.097129 | 0.00668 | -0.090449 |  | 1.1754 | -0.069585
1 | NO | 200.99 | 0.087004 | 0.0015982 | 0.087004 | 0.007183 | -0.079821 |  | 1.3814 | -0.075585
1 | NO | 175.645 | 0.081427 | 0.001439 | 0.081427 | 0.0074601 | -0.073967 |  | 3.2044 | -0.20057
1 | NO | 150.882 | 0.077411 | 0.0021295 | 0.077411 | 0.0076596 | -0.069751 |  | 1.7361 | -0.054888
1 | YES | 125.62 | 1.1754 | 0.0034451 | -0.069585 | -0.04689 | 0.022695 |  | 1.7346 | -0.075394
1 | NO | 100.973 | 1.5489 | 0.0022523 | -0.14212 | -0.065444 | 0.076676 |  | 1.9461 | -0.074866
1 | YES | 75.7464 | 1.3814 | 0.0061747 | -0.075585 | -0.057124 | 0.018461 |  | 1.9461 | -0.062867
1 | YES | 50.8471 | 3.2044 | 0.0054944 | -0.20057 | -0.14769 | 0.052874 |  | 2.4331 | -0.11385
1 | NO | 25.8125 | 4.0075 | 0.0037604 | -0.81855 | -0.18759 | 0.63096 |  | 3.0902 | -0.18078
1 | NO | 10.504 | 5.8733 | 0.0182 | -0.40867 | -0.28029 | 0.12838 |  | 0.50789 | -0.012108
1 | NO | 5.8004 | 8.1835 | 0.21899 | 0.02347 | -0.39506 | -0.41853 |  | 0.43748 | 0.005482
2 | YES | 108.611 | 1.7361 | 0.0022767 | -0.054888 | -0.074746 | -0.019858 |  | 0.43748 | 0.007482
2 | YES | 101.434 | 1.7346 | 0.0023783 | -0.075394 | -0.074672 | 0.00072262 |  | 0.27965 | 0.015648
2 | YES | 75.7605 | 1.9461 | 0.0067188 | -0.074866 | -0.08518 | -0.010314 |  | 0.23019 | 0.013186
2 | YES | 75.7605 | 1.9461 | 0.0067188 | -0.062867 | -0.08518 | -0.022313 |  | 0.38122 | -0.0037801
2 | YES | 51.7454 | 2.4331 | 0.011269 | -0.11385 | -0.10938 | 0.0044703 |  | 0.85287 | -0.041132
2 | YES | 26.6291 | 3.0902 | 0.0046616 | -0.18078 | -0.14202 | 0.03876 |  | 1.4175 | -0.085535
2 | NO | 11.0876 | 4.4749 | 0.20895 | 0.077909 | -0.21081 | -0.28872 |  | 1.8307 | -0.073257
2 | NO | 6.3947 | 6.5483 | 0.033353 | -0.37368 | -0.31382 | 0.059857 |  | 2.326 | -0.117
3 | YES | 1301.15 | 0.50789 | 0.0035609 | -0.012108 | -0.013727 | -0.0016193 |  | 2.5981 | -0.12388
3 | YES | 1251 | 0.43748 | 0.0029581 | 0.005482 | -0.010229 | -0.015711 |  | 3.3546 | -0.15736
3 | YES | 1251 | 0.43748 | 0.0029581 | 0.007482 | -0.010229 | -0.017711 |  | 3.7694 | -0.18164
3 | YES | 1001.42 | 0.27965 | 0.0027536 | 0.015648 | -0.0023877 | -0.018035 |  | 4.3811 | -0.17488
3 | YES | 801.798 | 0.23019 | 0.0027095 | 0.013186 | 6.9605e-05 | -0.013116 |  | 4.9925 | -0.18854
3 | YES | 602.298 | 0.38122 | 0.0023921 | -0.0037801 | -0.0074339 | -0.0036538 |  | 6.1048 | -0.30424
3 | YES | 401.413 | 0.85287 | 0.0024703 | -0.041132 | -0.030866 | 0.010266 |  | 5.9517 | -0.28332
3 | YES | 301.793 | 1.4175 | 0.0021602 | -0.085535 | -0.058915 | 0.02662 |  | 6.0061 | -0.28086
3 | YES | 250.965 | 1.8307 | 0.0036754 | -0.073257 | -0.079447 | -0.0061901
3 | YES | 201.11 | 2.326 | 0.0024367 | -0.117 | -0.10405 | 0.012952
3 | YES | 176.023 | 2.5981 | 0.0034758 | -0.12388 | -0.11757 | 0.0063074
3 | YES | 151.638 | 3.3546 | 0.0051582 | -0.15736 | -0.15516 | 0.0022048
3 | YES | 125.98 | 3.7694 | 0.0051959 | -0.18164 | -0.17576 | 0.0058832
3 | YES | 101.32 | 4.3811 | 0.0069293 | -0.17488 | -0.20615 | -0.031273
3 | YES | 76.0445 | 4.9925 | 0.0060166 | -0.18854 | -0.23652 | -0.047985
3 | YES | 50.7813 | 6.1048 | 0.0058245 | -0.30424 | -0.29178 | 0.012456
3 | NO | 26.0458 | 5.3234 | 0.0096065 | -0.42462 | -0.25297 | 0.17166
3 | YES | 11.4721 | 5.9517 | 0.010167 | -0.28332 | -0.28418 | -0.00086354
3 | YES | 6.432 | 6.0061 | 0.0044814 | -0.28086 | -0.28689 | -0.0060307
NO
NO
NO
NO
YES
NO
YES
YES
NO
NO
NO
YES
YES
YES
YES
YES
YES
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
FIT vs. Pressure
FIT vs. DOX_CTD
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (DOX_CTD - DOX_BOT) (3)
Calculation of Linear Least Squares Fit For
(DOX_CTD - DOX_BOT)
2
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (DOX_CTD - DOX_BOT), Prop=DOX_CTD
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.94965 |  | X | CALC Y
m= | -0.037792 | 0.0020511 |  | Std Dev of Resid |  | 0.020399 |  | 0.0020332 | -0.25884
b= | -0.25876 | 0.0073017 |  | Resid Sum of Squares |  | 0.0074901 |  | 5.9756 | -0.48459
# of Values Extracted = |  |  | 20
# of Values Used in Fit = |  |  | 20
File | Use | Pressure | DOX_CTD | DOX_CTD | Diff (DOX_CTD - DOX_BOT) |  |  |  | Fit vs. | DOX_CTD
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
4 | YES | 2000.88 | 1.0609 | 0.0084106 | -0.34114 | -0.29885 | 0.042293 |  | 1.0609 | -0.34114
4 | YES | 1501.18 | 0.38517 | 0.0066649 | -0.28683 | -0.27332 | 0.013513 |  | 0.38517 | -0.28683
4 | YES | 1501.18 | 0.38517 | 0.0066649 | -0.29783 | -0.27332 | 0.024513 |  | 0.38517 | -0.29783
4 | YES | 1251.37 | 0.10332 | 0.0067529 | -0.25068 | -0.26266 | -0.011982 |  | 0.10332 | -0.25068
4 | YES | 1000.83 | 0.0020332 | 0.0058913 | -0.24397 | -0.25884 | -0.014869 |  | 0.0020332 | -0.24397
4 | YES | 801.33 | 0.048398 | 0.0069353 | -0.2446 | -0.26059 | -0.015986 |  | 0.048398 | -0.2446
4 | YES | 601.133 | 0.1799 | 0.0054751 | -0.2401 | -0.26556 | -0.025453 |  | 0.1799 | -0.2401
4 | YES | 401.179 | 1.0135 | 0.0066239 | -0.28549 | -0.29706 | -0.011567 |  | 1.0135 | -0.28549
4 | YES | 300.883 | 1.5808 | 0.0046122 | -0.31817 | -0.3185 | -0.00033483 |  | 1.5808 | -0.31817
4 | YES | 250.793 | 2.3156 | 0.0091187 | -0.35237 | -0.34627 | 0.0060989 |  | 2.3156 | -0.35237
4 | YES | 200.898 | 3.4708 | 0.0061568 | -0.40822 | -0.38992 | 0.018295 |  | 3.4708 | -0.40822
4 | YES | 176.16 | 3.7674 | 0.0043824 | -0.40264 | -0.40113 | 0.0015098 |  | 3.7674 | -0.40264
4 | YES | 150.905 | 3.9483 | 0.0051978 | -0.39069 | -0.40797 | -0.017287 |  | 3.9483 | -0.39069
4 | YES | 126.447 | 4.1281 | 0.0070589 | -0.42788 | -0.41477 | 0.013117 |  | 4.1281 | -0.42788
4 | YES | 101.006 | 5.0645 | 0.0052242 | -0.46148 | -0.45015 | 0.011327 |  | 5.0645 | -0.46148
4 | YES | 76.3731 | 5.9756 | 0.0045307 | -0.51241 | -0.48459 | 0.02783 |  | 5.9756 | -0.51241
4 | YES | 51.2358 | 5.6976 | 0.0083838 | -0.48239 | -0.47408 | 0.0083097 |  | 5.6976 | -0.48239
4 | YES | 26.4322 | 5.4656 | 0.0088152 | -0.44938 | -0.46531 | -0.015937 |  | 5.4656 | -0.44938
4 | YES | 11.476 | 5.498 | 0.007709 | -0.44299 | -0.46654 | -0.02355 |  | 5.498 | -0.44299
4 | YES | 6.3995 | 5.505 | 0.0058312 | -0.43696 | -0.4668 | -0.02984 |  | 5.505 | -0.43696
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. DOX_CTD
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (DOX_CTD - DOX_BOT) (4)
Calculation of Linear Least Squares Fit For
(DOX_CTD - DOX_BOT)
2
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (DOX_CTD - DOX_BOT), Prop=DOX_CTD
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.9778 |  | X | CALC Y
m= | -0.14422 | 0.0031363 |  | Std Dev of Resid |  | 0.045537 |  | 0.25183 | -0.030363
b= | 0.0059553 | 0.010487 |  | Resid Sum of Squares |  | 0.099536 |  | 6.1388 | -0.87938
# of Values Extracted = |  |  | 72
# of Values Used in Fit = |  |  | 50
File | Use | Pressure | DOX_CTD | DOX_CTD | Diff (DOX_CTD - DOX_BOT) |  |  |  | Fit vs. | DOX_CTD
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
5 | NO | 3685.45 | 2.2995 | 0.0050215 | -0.44055 | -0.32567 | 0.11488 |  | 1.0369 | -0.17309
5 | NO | 3500.91 | 2.2777 | 0.0069109 | -0.41827 | -0.32254 | 0.095724 |  | 0.41827 | -0.071735
5 | NO | 3500.91 | 2.2777 | 0.0069109 | -0.42227 | -0.32254 | 0.099724 |  | 0.25753 | -0.059467
5 | NO | 3000.17 | 2.0818 | 0.0034269 | -0.3752 | -0.29428 | 0.080914 |  | 0.25183 | -0.070174
5 | NO | 2501.01 | 1.6581 | 0.0060625 | -0.28587 | -0.23318 | 0.052689 |  | 0.33403 | -0.065975
5 | YES | 2001.36 | 1.0369 | 0.0040015 | -0.17309 | -0.14359 | 0.029507 |  | 0.58223 | -0.10977
5 | YES | 1501.92 | 0.41827 | 0.0035561 | -0.071735 | -0.054368 | 0.017367 |  | 1.3441 | -0.23192
5 | YES | 1251.7 | 0.25753 | 0.0016252 | -0.059467 | -0.031186 | 0.028281 |  | 2.2494 | -0.34964
5 | YES | 1001.47 | 0.25183 | 0.002568 | -0.070174 | -0.030363 | 0.039811 |  | 2.9381 | -0.46095
5 | YES | 801.373 | 0.33403 | 0.0013383 | -0.065975 | -0.042218 | 0.023757 |  | 3.5868 | -0.55416
5 | YES | 601.075 | 0.58223 | 0.0025356 | -0.10977 | -0.078015 | 0.031753 |  | 3.8474 | -0.59261
5 | YES | 401.369 | 1.3441 | 0.0026704 | -0.23192 | -0.18789 | 0.044031 |  | 4.1542 | -0.61482
5 | YES | 301.724 | 2.2494 | 0.0027044 | -0.34964 | -0.31845 | 0.031193 |  | 4.6484 | -0.68356
5 | YES | 250.858 | 2.9381 | 0.0028668 | -0.46095 | -0.41777 | 0.04318 |  | 5.4366 | -0.79143 | 3.399
5 | YES | 201.975 | 3.5868 | 0.0077878 | -0.55416 | -0.51134 | 0.042813 |  | 5.8261 | -0.85295 | 4.141
5 | YES | 175.828 | 3.8474 | 0.0061413 | -0.59261 | -0.54892 | 0.043686 |  | 5.8875 | -0.87747 | 4.44
5 | YES | 151.066 | 4.1542 | 0.0061583 | -0.61482 | -0.59317 | 0.021652 |  | 5.2286 | -0.83642 | 4.769
5 | YES | 126.286 | 4.6484 | 0.0091413 | -0.68356 | -0.66445 | 0.019115 |  | 5.219 | -0.84204 | 5.332
5 | YES | 101.357 | 5.4366 | 0.0036862 | -0.79143 | -0.77811 | 0.013318 |  | 1.0999 | -0.14706 | 6.228
5 | YES | 75.8634 | 5.8261 | 0.011638 | -0.85295 | -0.83429 | 0.018665 |  | 0.46659 | -0.041415 | 6.679
5 | YES | 50.8061 | 5.8875 | 0.007719 | -0.87747 | -0.84315 | 0.034311 |  | 0.28808 | -0.027925 | 6.765
5 | NO | 25.9505 | 5.2606 | 0.012291 | -0.87438 | -0.75274 | 0.12164 |  | 0.26017 | -0.022826 | 6.135
5 | YES | 11.4237 | 5.2286 | 0.011093 | -0.83642 | -0.74812 | 0.088305 |  | 0.37115 | -0.039851 | 6.065
5 | YES | 5.5131 | 5.219 | 0.006199 | -0.84204 | -0.74673 | 0.095307 |  | 0.5183 | -0.061701 | 6.061
6 | NO | 4024.87 | 2.4663 | 0.007088 | -0.50275 | -0.34973 | 0.15302 |  | 1.0914 | -0.13157
6 | NO | 3501.65 | 2.353 | 0.0062267 | -0.48599 | -0.3334 | 0.15259 |  | 1.921 | -0.22802
6 | NO | 3501.65 | 2.353 | 0.0062267 | -0.48298 | -0.3334 | 0.14959 |  | 2.7101 | -0.33293
6 | NO | 3000.2 | 2.0618 | 0.0029226 | -0.40216 | -0.29141 | 0.11075 |  | 3.4431 | -0.40489
6 | NO | 2501.51 | 1.6506 | 0.0043063 | -0.27035 | -0.2321 | 0.038245 |  | 3.7431 | -0.46987
6 | YES | 2001.13 | 1.0999 | 0.003171 | -0.14706 | -0.15268 | -0.0056215 |  | 4.0548 | -0.49219
6 | YES | 1499.86 | 0.46659 | 0.0026837 | -0.041415 | -0.061336 | -0.019921 |  | 4.3738 | -0.54416
6 | YES | 1251.27 | 0.28808 | 0.0019458 | -0.027925 | -0.035591 | -0.007666 |  | 6.0558 | -0.78218
6 | YES | 1000.71 | 0.26017 | 0.0023916 | -0.022826 | -0.031567 | -0.0087417 |  | 6.1388 | -0.91624
6 | YES | 801.728 | 0.37115 | 0.0025484 | -0.039851 | -0.047572 | -0.0077217 |  | 1.1645 | -0.16049
6 | YES | 598.714 | 0.5183 | 0.001539 | -0.061701 | -0.068794 | -0.0070933 |  | 0.57554 | -0.064456
6 | YES | 400.897 | 1.0914 | 0.0021242 | -0.13157 | -0.15145 | -0.019879 |  | 0.37067 | -0.056332
6 | YES | 300.847 | 1.921 | 0.0024255 | -0.22802 | -0.27109 | -0.043075 |  | 0.31054 | -0.041461
6 | YES | 251.018 | 2.7101 | 0.0029797 | -0.33293 | -0.38489 | -0.051961 |  | 0.37624 | -0.047755
6 | YES | 200.852 | 3.4431 | 0.0043551 | -0.40489 | -0.49061 | -0.085727 |  | 0.41297 | -0.051033
6 | YES | 175.66 | 3.7431 | 0.0027128 | -0.46987 | -0.53388 | -0.064008 |  | 0.76454 | -0.10746
6 | YES | 150.772 | 4.0548 | 0.0049074 | -0.49219 | -0.57883 | -0.086638 |  | 1.5197 | -0.19526
6 | YES | 126.114 | 4.3738 | 0.0066408 | -0.54416 | -0.62485 | -0.080688 |  | 1.9381 | -0.27586
6 | NO | 101.001 | 5.1925 | 0.0041635 | -0.62149 | -0.74292 | -0.12142 |  | 2.6343 | -0.35073
6 | NO | 75.5444 | 5.9005 | 0.0054649 | -0.73555 | -0.84502 | -0.10947 |  | 2.901 | -0.38098
6 | YES | 50.6567 | 6.0558 | 0.0037502 | -0.78218 | -0.86742 | -0.085245 |  | 3.2084 | -0.40663
6 | YES | 26.0889 | 6.1388 | 0.01147 | -0.91624 | -0.87938 | 0.036851 |  | 3.793 | -0.51
6 | NO | 10.5053 | 5.1014 | 0.002713 | -0.84159 | -0.72978 | 0.11181 |  | 5.4638 | -0.72924
6 | NO | 5.4688 | 5.082 | 0.0060783 | -0.86198 | -0.72698 | 0.135 |  | 6.02 | -0.78402
7 | NO | 4318.28 | 2.6406 | 0.011382 | -0.56737 | -0.37488 | 0.19249 |  | 5.3567 | -0.84932
7 | NO | 4001.02 | 2.6099 | 0.0040872 | -0.56206 | -0.37045 | 0.1916 |  | 5.3612 | -0.84079
7 | NO | 3499.95 | 2.4493 | 0.0034856 | -0.50266 | -0.34729 | 0.15537
7 | NO | 3000.14 | 2.1614 | 0.0032085 | -0.39262 | -0.30576 | 0.08686
7 | NO | 2498.79 | 1.6919 | 0.0055463 | -0.27312 | -0.23805 | 0.035066
7 | YES | 2001.07 | 1.1645 | 0.0049118 | -0.16049 | -0.16199 | -0.0015019
7 | YES | 1500.09 | 0.57554 | 0.0042406 | -0.064456 | -0.07705 | -0.012594
7 | YES | 1251.18 | 0.37067 | 0.0036029 | -0.056332 | -0.047503 | 0.0088289
7 | YES | 1000.23 | 0.31054 | 0.0030821 | -0.041461 | -0.038831 | 0.0026295
7 | YES | 801.411 | 0.37624 | 0.001042 | -0.047755 | -0.048307 | -0.00055207
7 | YES | 600.79 | 0.41297 | 0.0037348 | -0.051033 | -0.053603 | -0.0025702
7 | YES | 399.816 | 0.76454 | 0.0024697 | -0.10746 | -0.10431 | 0.0031534
7 | YES | 300.174 | 1.5197 | 0.0031322 | -0.19526 | -0.21322 | -0.017963
7 | YES | 251.625 | 1.9381 | 0.0039224 | -0.27586 | -0.27357 | 0.0022971
7 | YES | 202.384 | 2.6343 | 0.0032307 | -0.35073 | -0.37396 | -0.023229
7 | YES | 176.02 | 2.901 | 0.0035695 | -0.38098 | -0.41243 | -0.031451
7 | YES | 151.535 | 3.2084 | 0.0045845 | -0.40663 | -0.45676 | -0.050129
7 | YES | 126.171 | 3.793 | 0.0056624 | -0.51 | -0.54108 | -0.031072
7 | YES | 101.248 | 5.4638 | 0.0035835 | -0.72924 | -0.78204 | -0.052796
7 | NO | 76.1665 | 5.9343 | 0.0056376 | -0.74573 | -0.84989 | -0.10417
7 | YES | 51.18 | 6.02 | 0.0046842 | -0.78402 | -0.86225 | -0.078237
7 | NO | 25.6832 | 6.0412 | 0.030539 | -0.57384 | -0.86531 | -0.29147
7 | YES | 11.1444 | 5.3567 | 0.0065367 | -0.84932 | -0.76659 | 0.082731
7 | YES | 6.2646 | 5.3612 | 0.0055041 | -0.84079 | -0.76725 | 0.073538
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
YES
YES
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
NO
YES
YES
FIT vs. Pressure
FIT vs. DOX_CTD
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (DOX_CTD - DOX_BOT) (5)
Calculation of Linear Least Squares Fit For
(DOX_CTD - DOX_BOT)
2
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (DOX_CTD - DOX_BOT), Prop=DOX_CTD
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.99887 |  | X | CALC Y
m= | -0.1432 | 0.0012874 |  | Std Dev of Resid |  | 0.01058 |  | 0.25183 | -0.062995
b= | -0.026934 | 0.0043422 |  | Resid Sum of Squares |  | 0.001567 |  | 5.8875 | -0.87002
# of Values Extracted = |  |  | 24
# of Values Used in Fit = |  |  | 16
File | Use | Pressure | DOX_CTD | DOX_CTD | Diff (DOX_CTD - DOX_BOT) |  |  |  | Fit vs. | DOX_CTD
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
5 | NO | 3685.45 | 2.2995 | 0.0050215 | -0.44055 | -0.35621 | 0.084341 |  | 1.0369 | -0.17309
5 | NO | 3500.91 | 2.2777 | 0.0069109 | -0.41827 | -0.3531 | 0.065165 |  | 0.41827 | -0.071735
5 | NO | 3500.91 | 2.2777 | 0.0069109 | -0.42227 | -0.3531 | 0.069165 |  | 0.25753 | -0.059467
5 | NO | 3000.17 | 2.0818 | 0.0034269 | -0.3752 | -0.32504 | 0.050155 |  | 0.25183 | -0.070174
5 | NO | 2501.01 | 1.6581 | 0.0060625 | -0.28587 | -0.26438 | 0.021496 |  | 0.33403 | -0.065975
5 | YES | 2001.36 | 1.0369 | 0.0040015 | -0.17309 | -0.17542 | -0.0023214 |  | 0.58223 | -0.10977
5 | YES | 1501.92 | 0.41827 | 0.0035561 | -0.071735 | -0.086829 | -0.015095 |  | 1.3441 | -0.23192
5 | YES | 1251.7 | 0.25753 | 0.0016252 | -0.059467 | -0.063812 | -0.0043449 |  | 2.2494 | -0.34964
5 | YES | 1001.47 | 0.25183 | 0.002568 | -0.070174 | -0.062995 | 0.007179 |  | 2.9381 | -0.46095
5 | YES | 801.373 | 0.33403 | 0.0013383 | -0.065975 | -0.074766 | -0.0087909 |  | 3.5868 | -0.55416
5 | YES | 601.075 | 0.58223 | 0.0025356 | -0.10977 | -0.11031 | -0.00054082 |  | 3.8474 | -0.59261
5 | YES | 401.369 | 1.3441 | 0.0026704 | -0.23192 | -0.2194 | 0.012517 |  | 4.1542 | -0.61482
5 | YES | 301.724 | 2.2494 | 0.0027044 | -0.34964 | -0.34904 | 0.00060463 |  | 4.6484 | -0.68356
5 | YES | 250.858 | 2.9381 | 0.0028668 | -0.46095 | -0.44766 | 0.013297 |  | 5.4366 | -0.79143
5 | YES | 201.975 | 3.5868 | 0.0077878 | -0.55416 | -0.54056 | 0.013594 |  | 5.8261 | -0.85295
5 | YES | 175.828 | 3.8474 | 0.0061413 | -0.59261 | -0.57787 | 0.014733 |  | 5.8875 | -0.87747
5 | YES | 151.066 | 4.1542 | 0.0061583 | -0.61482 | -0.6218 | -0.006987
5 | YES | 126.286 | 4.6484 | 0.0091413 | -0.68356 | -0.69258 | -0.0090181
5 | YES | 101.357 | 5.4366 | 0.0036862 | -0.79143 | -0.80544 | -0.014009
5 | YES | 75.8634 | 5.8261 | 0.011638 | -0.85295 | -0.86121 | -0.0082636
5 | YES | 50.8061 | 5.8875 | 0.007719 | -0.87747 | -0.87002 | 0.0074462
5 | NO | 25.9505 | 5.2606 | 0.012291 | -0.87438 | -0.78025 | 0.094133
5 | NO | 11.4237 | 5.2286 | 0.011093 | -0.83642 | -0.77566 | 0.060766
5 | NO | 5.5131 | 5.219 | 0.006199 | -0.84204 | -0.77428 | 0.067758
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
FIT vs. Pressure
FIT vs. DOX_CTD
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (DOX_CTD - DOX_BOT) (6)
Calculation of Linear Least Squares Fit For
(DOX_CTD - DOX_BOT)
2
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (DOX_CTD - DOX_BOT), Prop=DOX_CTD
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.99778 |  | X | CALC Y
m= | -0.12593 | 0.0015891 |  | Std Dev of Resid |  | 0.012959 |  | 0.26017 | -0.023924
b= | 0.0088407 | 0.0052417 |  | Resid Sum of Squares |  | 0.0023511 |  | 6.0558 | -0.7538
# of Values Extracted = |  |  | 24
# of Values Used in Fit = |  |  | 16
File | Use | Pressure | DOX_CTD | DOX_CTD | Diff (DOX_CTD - DOX_BOT) |  |  |  | Fit vs. | DOX_CTD
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
6 | NO | 4024.87 | 2.4663 | 0.007088 | -0.50275 | -0.30175 | 0.201 |  | 1.0999 | -0.14706
6 | NO | 3501.65 | 2.353 | 0.0062267 | -0.48599 | -0.28749 | 0.1985 |  | 0.46659 | -0.041415
6 | NO | 3501.65 | 2.353 | 0.0062267 | -0.48298 | -0.28749 | 0.1955 |  | 0.28808 | -0.027925
6 | NO | 3000.2 | 2.0618 | 0.0029226 | -0.40216 | -0.25082 | 0.15134 |  | 0.26017 | -0.022826
6 | NO | 2501.51 | 1.6506 | 0.0043063 | -0.27035 | -0.19903 | 0.071315 |  | 0.37115 | -0.039851
6 | YES | 2001.13 | 1.0999 | 0.003171 | -0.14706 | -0.12968 | 0.017378 |  | 0.5183 | -0.061701
6 | YES | 1499.86 | 0.46659 | 0.0026837 | -0.041415 | -0.049919 | -0.0085038 |  | 1.0914 | -0.13157
6 | YES | 1251.27 | 0.28808 | 0.0019458 | -0.027925 | -0.027438 | 0.00048725 |  | 1.921 | -0.22802
6 | YES | 1000.71 | 0.26017 | 0.0023916 | -0.022826 | -0.023924 | -0.0010986 |  | 2.7101 | -0.33293
6 | YES | 801.728 | 0.37115 | 0.0025484 | -0.039851 | -0.0379 | 0.0019506 |  | 3.4431 | -0.40489
6 | YES | 598.714 | 0.5183 | 0.001539 | -0.061701 | -0.056431 | 0.0052699 |  | 3.7431 | -0.46987
6 | YES | 400.897 | 1.0914 | 0.0021242 | -0.13157 | -0.12861 | 0.0029645 |  | 4.0548 | -0.49219
6 | YES | 300.847 | 1.921 | 0.0024255 | -0.22802 | -0.23308 | -0.0050619 |  | 4.3738 | -0.54416
6 | YES | 251.018 | 2.7101 | 0.0029797 | -0.33293 | -0.33245 | 0.00048214 |  | 5.1925 | -0.62149
6 | YES | 200.852 | 3.4431 | 0.0043551 | -0.40489 | -0.42477 | -0.019879 |  | 5.9005 | -0.73555
6 | YES | 175.66 | 3.7431 | 0.0027128 | -0.46987 | -0.46255 | 0.007326 |  | 6.0558 | -0.78218
6 | YES | 150.772 | 4.0548 | 0.0049074 | -0.49219 | -0.5018 | -0.0096054
6 | YES | 126.114 | 4.3738 | 0.0066408 | -0.54416 | -0.54198 | 0.0021794
6 | YES | 101.001 | 5.1925 | 0.0041635 | -0.62149 | -0.64508 | -0.023584
6 | YES | 75.5444 | 5.9005 | 0.0054649 | -0.73555 | -0.73423 | 0.0013158
6 | YES | 50.6567 | 6.0558 | 0.0037502 | -0.78218 | -0.7538 | 0.028379
6 | NO | 26.0889 | 6.1388 | 0.01147 | -0.91624 | -0.76424 | 0.15199
6 | NO | 10.5053 | 5.1014 | 0.002713 | -0.84159 | -0.63361 | 0.20798
6 | NO | 5.4688 | 5.082 | 0.0060783 | -0.86198 | -0.63116 | 0.23082
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
FIT vs. Pressure
FIT vs. DOX_CTD
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (DOX_CTD - DOX_BOT) (7)
Calculation of Linear Least Squares Fit For
(DOX_CTD - DOX_BOT)
2
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (DOX_CTD - DOX_BOT), Prop=DOX_CTD
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits | [6 empty] | Difference between the two fits for sensor 1438
| Value | Std Err. |  | Coeff of Determination |  | 0.99786 |  | X | CALC Y | [5 empty] | Fit #55 | Fit 73/86
m= | -0.1295 | 0.001601 |  | Std Dev of Resid |  | 0.012694 |  | 0.31054 | -0.044328 | [5 empty] | 1.143+.027 | 1.1269 | Diff | %diff
b= | -0.0041133 | 0.0049057 |  | Resid Sum of Squares |  | 0.0022558 |  | 6.02 | -0.78369
[14 empty] | 0 | 0.0269 | 0 | 0.0269
# of Values Extracted = |  |  | 24 | [10 empty] | 1 | 1.1699 | 1.1269 | 0.043 | 4.3
# of Values Used in Fit = |  |  | 16 | [10 empty] | 2 | 2.3129 | 2.2538 | 0.0591 | 2.955
[14 empty] | 3 | 3.4559 | 3.3807 | 0.0752 | 2.5067
File | Use | Pressure | DOX_CTD | DOX_CTD | Diff (DOX_CTD - DOX_BOT) |  |  |  | Fit vs. | DOX_CTD |  |  |  | 4 | 4.5989 | 4.5076 | 0.0913 | 2.2825
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y |  |  |  | 5 | 5.7419 | 5.6345 | 0.1074 | 2.148
7 | NO | 4318.28 | 2.6406 | 0.011382 | -0.56737 | -0.34607 | 0.2213 |  | 1.1645 | -0.16049 |  |  |  | 6 | 6.8849 | 6.7614 | 0.1235 | 2.0583
7 | NO | 4001.02 | 2.6099 | 0.0040872 | -0.56206 | -0.3421 | 0.21996 |  | 0.57554 | -0.064456 |  |  |  | 7 | 8.0279 | 7.8883 | 0.1396 | 1.9943
7 | NO | 3499.95 | 2.4493 | 0.0034856 | -0.50266 | -0.3213 | 0.18136 |  | 0.37067 | -0.056332 |  |  |  | 0.2 | 0.2555 | 0.22538 | 0.03012 | 15.06
7 | NO | 3000.14 | 2.1614 | 0.0032085 | -0.39262 | -0.28401 | 0.10861 |  | 0.31054 | -0.041461
7 | NO | 2498.79 | 1.6919 | 0.0055463 | -0.27312 | -0.22321 | 0.049907 |  | 0.37624 | -0.047755
7 | YES | 2001.07 | 1.1645 | 0.0049118 | -0.16049 | -0.15492 | 0.0055744 |  | 0.41297 | -0.051033
7 | YES | 1500.09 | 0.57554 | 0.0042406 | -0.064456 | -0.078645 | -0.014189 |  | 0.76454 | -0.10746
7 | YES | 1251.18 | 0.37067 | 0.0036029 | -0.056332 | -0.052114 | 0.0042176 |  | 1.5197 | -0.19526
7 | YES | 1000.23 | 0.31054 | 0.0030821 | -0.041461 | -0.044328 | -0.002867 |  | 1.9381 | -0.27586
7 | YES | 801.411 | 0.37624 | 0.001042 | -0.047755 | -0.052836 | -0.0050813 |  | 2.6343 | -0.35073
7 | YES | 600.79 | 0.41297 | 0.0037348 | -0.051033 | -0.057592 | -0.0065587 |  | 2.901 | -0.38098
7 | YES | 399.816 | 0.76454 | 0.0024697 | -0.10746 | -0.10312 | 0.004341 |  | 3.2084 | -0.40663
7 | YES | 300.174 | 1.5197 | 0.0031322 | -0.19526 | -0.20092 | -0.0056564 |  | 3.793 | -0.51
7 | YES | 251.625 | 1.9381 | 0.0039224 | -0.27586 | -0.2551 | 0.020763 |  | 5.4638 | -0.72924
7 | YES | 202.384 | 2.6343 | 0.0032307 | -0.35073 | -0.34525 | 0.0054866 |  | 5.9343 | -0.74573
7 | YES | 176.02 | 2.901 | 0.0035695 | -0.38098 | -0.37979 | 0.0011919 |  | 6.02 | -0.78402
7 | YES | 151.535 | 3.2084 | 0.0045845 | -0.40663 | -0.41959 | -0.012962 |  |  |  |  | P12 min
7 | YES | 126.171 | 3.793 | 0.0056624 | -0.51 | -0.4953 | 0.014703 |  |  |  | min | cast | recal1 est | recal2 est |  | recal1 - based on casts #73 and #86 |  |  | recal 2 based on cast #55
7 | YES | 101.248 | 5.4638 | 0.0035835 | -0.72924 | -0.71166 | 0.017578 |  |  |  | 0.2 | 128 | 0.22538 | 0.25554
7 | YES | 76.1665 | 5.9343 | 0.0056376 | -0.74573 | -0.77259 | -0.026867 |  |  |  | 0.02 | 29 if quiet | 0.0095
7 | YES | 51.18 | 6.02 | 0.0046842 | -0.78402 | -0.78369 | 0.0003251 |  |  |  | 0.02 | 29 if noisy | 0.27956
7 | NO | 25.6832 | 6.0412 | 0.030539 | -0.57384 | -0.78643 | -0.21259 |  |  |  | minima at P12 in past June/Aug cruises
7 | NO | 11.1444 | 5.3567 | 0.0065367 | -0.84932 | -0.6978 | 0.15153 |  |  |  | 2010-06-01 | 0.24
7 | NO | 6.2646 | 5.3612 | 0.0055041 | -0.84079 | -0.69838 | 0.1424 |  |  |  | 2009-08-01 | 0.25
[11 empty] | 2009-06-01 | 0.2
[11 empty] | 2008-08-01 | 0.24
[11 empty] | 2008-06-01 | 0.24
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
FIT vs. Pressure
FIT vs. DOX_CTD
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (DOX_CTD - DOX_BOT) (8)
Calculation of Linear Least Squares Fit For
(DOX_CTD - DOX_BOT)
3
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (DOX_CTD - DOX_BOT), Prop=File Pair #
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.89965 |  | X | CALC Y
m= | -0.044488 | 0.0085784 |  | Std Dev of Resid |  | 0.014354 |  | 5 | -0.42684
b= | -0.20441 | 0.050167 |  | Resid Sum of Squares |  | 0.00061815 |  | 7 | -0.51582
# of Values Extracted = |  |  | 72
# of Values Used in Fit = |  |  | 5
File | Use | Pressure | DOX_CTD | DOX_CTD | Diff (DOX_CTD - DOX_BOT) |  |  |  | Fit vs. | File Pair #
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
5 | NO | 3685.45 | 2.2995 | 0.0050215 | -0.44055 | -0.42684 | 0.013709 |  | 5 | -0.41827
5 | YES | 3500.91 | 2.2777 | 0.0069109 | -0.41827 | -0.42684 | -0.0085773 |  | 5 | -0.42227
5 | YES | 3500.91 | 2.2777 | 0.0069109 | -0.42227 | -0.42684 | -0.0045773 |  | 6 | -0.48599
5 | NO | 3000.17 | 2.0818 | 0.0034269 | -0.3752 | -0.42684 | -0.051644 |  | 6 | -0.48298
5 | NO | 2501.01 | 1.6581 | 0.0060625 | -0.28587 | -0.42684 | -0.14097 |  | 7 | -0.50266
5 | NO | 2001.36 | 1.0369 | 0.0040015 | -0.17309 | -0.42684 | -0.25375
5 | NO | 1501.92 | 0.41827 | 0.0035561 | -0.071735 | -0.42684 | -0.35511
5 | NO | 1251.7 | 0.25753 | 0.0016252 | -0.059467 | -0.42684 | -0.36738
5 | NO | 1001.47 | 0.25183 | 0.002568 | -0.070174 | -0.42684 | -0.35667
5 | NO | 801.373 | 0.33403 | 0.0013383 | -0.065975 | -0.42684 | -0.36087
5 | NO | 601.075 | 0.58223 | 0.0025356 | -0.10977 | -0.42684 | -0.31708
5 | NO | 401.369 | 1.3441 | 0.0026704 | -0.23192 | -0.42684 | -0.19492
5 | NO | 301.724 | 2.2494 | 0.0027044 | -0.34964 | -0.42684 | -0.0772
5 | NO | 250.858 | 2.9381 | 0.0028668 | -0.46095 | -0.42684 | 0.034111
5 | NO | 201.975 | 3.5868 | 0.0077878 | -0.55416 | -0.42684 | 0.12731
5 | NO | 175.828 | 3.8474 | 0.0061413 | -0.59261 | -0.42684 | 0.16576
5 | NO | 151.066 | 4.1542 | 0.0061583 | -0.61482 | -0.42684 | 0.18797
5 | NO | 126.286 | 4.6484 | 0.0091413 | -0.68356 | -0.42684 | 0.25672
5 | NO | 101.357 | 5.4366 | 0.0036862 | -0.79143 | -0.42684 | 0.36459
5 | NO | 75.8634 | 5.8261 | 0.011638 | -0.85295 | -0.42684 | 0.42611
5 | NO | 50.8061 | 5.8875 | 0.007719 | -0.87747 | -0.42684 | 0.45062
5 | NO | 25.9505 | 5.2606 | 0.012291 | -0.87438 | -0.42684 | 0.44753
5 | NO | 11.4237 | 5.2286 | 0.011093 | -0.83642 | -0.42684 | 0.40958
5 | NO | 5.5131 | 5.219 | 0.006199 | -0.84204 | -0.42684 | 0.41519
6 | NO | 4024.87 | 2.4663 | 0.007088 | -0.50275 | -0.47133 | 0.031416
6 | YES | 3501.65 | 2.353 | 0.0062267 | -0.48599 | -0.47133 | 0.014655
6 | YES | 3501.65 | 2.353 | 0.0062267 | -0.48298 | -0.47133 | 0.011654
6 | NO | 3000.2 | 2.0618 | 0.0029226 | -0.40216 | -0.47133 | -0.069173
6 | NO | 2501.51 | 1.6506 | 0.0043063 | -0.27035 | -0.47133 | -0.20098
6 | NO | 2001.13 | 1.0999 | 0.003171 | -0.14706 | -0.47133 | -0.32427
6 | NO | 1499.86 | 0.46659 | 0.0026837 | -0.041415 | -0.47133 | -0.42992
6 | NO | 1251.27 | 0.28808 | 0.0019458 | -0.027925 | -0.47133 | -0.44341
6 | NO | 1000.71 | 0.26017 | 0.0023916 | -0.022826 | -0.47133 | -0.44851
6 | NO | 801.728 | 0.37115 | 0.0025484 | -0.039851 | -0.47133 | -0.43148
6 | NO | 598.714 | 0.5183 | 0.001539 | -0.061701 | -0.47133 | -0.40963
6 | NO | 400.897 | 1.0914 | 0.0021242 | -0.13157 | -0.47133 | -0.33976
6 | NO | 300.847 | 1.921 | 0.0024255 | -0.22802 | -0.47133 | -0.24331
6 | NO | 251.018 | 2.7101 | 0.0029797 | -0.33293 | -0.47133 | -0.1384
6 | NO | 200.852 | 3.4431 | 0.0043551 | -0.40489 | -0.47133 | -0.066443
6 | NO | 175.66 | 3.7431 | 0.0027128 | -0.46987 | -0.47133 | -0.0014559
6 | NO | 150.772 | 4.0548 | 0.0049074 | -0.49219 | -0.47133 | 0.020864
6 | NO | 126.114 | 4.3738 | 0.0066408 | -0.54416 | -0.47133 | 0.072827
6 | NO | 101.001 | 5.1925 | 0.0041635 | -0.62149 | -0.47133 | 0.15016
6 | NO | 75.5444 | 5.9005 | 0.0054649 | -0.73555 | -0.47133 | 0.26422
6 | NO | 50.6567 | 6.0558 | 0.0037502 | -0.78218 | -0.47133 | 0.31085
6 | NO | 26.0889 | 6.1388 | 0.01147 | -0.91624 | -0.47133 | 0.44491
6 | NO | 10.5053 | 5.1014 | 0.002713 | -0.84159 | -0.47133 | 0.37025
6 | NO | 5.4688 | 5.082 | 0.0060783 | -0.86198 | -0.47133 | 0.39065
7 | NO | 4318.28 | 2.6406 | 0.011382 | -0.56737 | -0.51582 | 0.05155
7 | NO | 4001.02 | 2.6099 | 0.0040872 | -0.56206 | -0.51582 | 0.046239
7 | YES | 3499.95 | 2.4493 | 0.0034856 | -0.50266 | -0.51582 | -0.013155
7 | NO | 3000.14 | 2.1614 | 0.0032085 | -0.39262 | -0.51582 | -0.1232
7 | NO | 2498.79 | 1.6919 | 0.0055463 | -0.27312 | -0.51582 | -0.2427
7 | NO | 2001.07 | 1.1645 | 0.0049118 | -0.16049 | -0.51582 | -0.35533
7 | NO | 1500.09 | 0.57554 | 0.0042406 | -0.064456 | -0.51582 | -0.45136
7 | NO | 1251.18 | 0.37067 | 0.0036029 | -0.056332 | -0.51582 | -0.45949
7 | NO | 1000.23 | 0.31054 | 0.0030821 | -0.041461 | -0.51582 | -0.47436
7 | NO | 801.411 | 0.37624 | 0.001042 | -0.047755 | -0.51582 | -0.46806
7 | NO | 600.79 | 0.41297 | 0.0037348 | -0.051033 | -0.51582 | -0.46479
7 | NO | 399.816 | 0.76454 | 0.0024697 | -0.10746 | -0.51582 | -0.40836
7 | NO | 300.174 | 1.5197 | 0.0031322 | -0.19526 | -0.51582 | -0.32056
7 | NO | 251.625 | 1.9381 | 0.0039224 | -0.27586 | -0.51582 | -0.23996
7 | NO | 202.384 | 2.6343 | 0.0032307 | -0.35073 | -0.51582 | -0.16508
7 | NO | 176.02 | 2.901 | 0.0035695 | -0.38098 | -0.51582 | -0.13484
7 | NO | 151.535 | 3.2084 | 0.0045845 | -0.40663 | -0.51582 | -0.10919
7 | NO | 126.171 | 3.793 | 0.0056624 | -0.51 | -0.51582 | -0.0058146
7 | NO | 101.248 | 5.4638 | 0.0035835 | -0.72924 | -0.51582 | 0.21342
7 | NO | 76.1665 | 5.9343 | 0.0056376 | -0.74573 | -0.51582 | 0.22991
7 | NO | 51.18 | 6.02 | 0.0046842 | -0.78402 | -0.51582 | 0.2682
7 | NO | 25.6832 | 6.0412 | 0.030539 | -0.57384 | -0.51582 | 0.058023
7 | NO | 11.1444 | 5.3567 | 0.0065367 | -0.84932 | -0.51582 | 0.3335
7 | NO | 6.2646 | 5.3612 | 0.0055041 | -0.84079 | -0.51582 | 0.32497
NO
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
FIT vs. Pressure
FIT vs. DOX_CTD
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (DOX_CTD - DOX_BOT) (9)
Calculation of Linear Least Squares Fit For
(DOX_CTD - DOX_BOT)
2
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (DOX_CTD - DOX_BOT), Prop=DOX_CTD
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.99585 |  | X | CALC Y
m= | -0.12732 | 0.0015008 |  | Std Dev of Resid |  | 0.017105 |  | 0.26017 | -0.031504
b= | 0.0016227 | 0.004778 |  | Resid Sum of Squares |  | 0.0087779 |  | 6.0558 | -0.76943
# of Values Extracted = |  |  | 48
# of Values Used in Fit = |  |  | 32
File | Use | Pressure | DOX_CTD | DOX_CTD | Diff (DOX_CTD - DOX_BOT) |  |  |  | Fit vs. | DOX_CTD
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
6 | NO | 4024.87 | 2.4663 | 0.007088 | -0.50275 | -0.31239 | 0.19036 |  | 1.0999 | -0.14706
6 | NO | 3501.65 | 2.353 | 0.0062267 | -0.48599 | -0.29797 | 0.18802 |  | 0.46659 | -0.041415
6 | NO | 3501.65 | 2.353 | 0.0062267 | -0.48298 | -0.29797 | 0.18501 |  | 0.28808 | -0.027925
6 | NO | 3000.2 | 2.0618 | 0.0029226 | -0.40216 | -0.2609 | 0.14126 |  | 0.26017 | -0.022826
6 | NO | 2501.51 | 1.6506 | 0.0043063 | -0.27035 | -0.20854 | 0.061805 |  | 0.37115 | -0.039851
6 | YES | 2001.13 | 1.0999 | 0.003171 | -0.14706 | -0.13843 | 0.0086325 |  | 0.5183 | -0.061701
6 | YES | 1499.86 | 0.46659 | 0.0026837 | -0.041415 | -0.057785 | -0.01637 |  | 1.0914 | -0.13157
6 | YES | 1251.27 | 0.28808 | 0.0019458 | -0.027925 | -0.035056 | -0.0071307 |  | 1.921 | -0.22802
6 | YES | 1000.71 | 0.26017 | 0.0023916 | -0.022826 | -0.031504 | -0.0086778 |  | 2.7101 | -0.33293
6 | YES | 801.728 | 0.37115 | 0.0025484 | -0.039851 | -0.045633 | -0.0057827 |  | 3.4431 | -0.40489
6 | YES | 598.714 | 0.5183 | 0.001539 | -0.061701 | -0.064369 | -0.0026677 |  | 3.7431 | -0.46987
6 | YES | 400.897 | 1.0914 | 0.0021242 | -0.13157 | -0.13734 | -0.0057689 |  | 4.0548 | -0.49219
6 | YES | 300.847 | 1.921 | 0.0024255 | -0.22802 | -0.24296 | -0.014947 |  | 4.3738 | -0.54416
6 | YES | 251.018 | 2.7101 | 0.0029797 | -0.33293 | -0.34343 | -0.010499 |  | 5.1925 | -0.62149
6 | YES | 200.852 | 3.4431 | 0.0043551 | -0.40489 | -0.43677 | -0.031878 |  | 5.9005 | -0.73555
6 | YES | 175.66 | 3.7431 | 0.0027128 | -0.46987 | -0.47496 | -0.0050893 |  | 6.0558 | -0.78218
6 | YES | 150.772 | 4.0548 | 0.0049074 | -0.49219 | -0.51465 | -0.022453 |  | 1.1645 | -0.16049
6 | YES | 126.114 | 4.3738 | 0.0066408 | -0.54416 | -0.55527 | -0.011112 |  | 0.57554 | -0.064456
6 | YES | 101.001 | 5.1925 | 0.0041635 | -0.62149 | -0.65951 | -0.038012 |  | 0.37067 | -0.056332
6 | YES | 75.5444 | 5.9005 | 0.0054649 | -0.73555 | -0.74964 | -0.014095 |  | 0.31054 | -0.041461
6 | YES | 50.6567 | 6.0558 | 0.0037502 | -0.78218 | -0.76943 | 0.012753 |  | 0.37624 | -0.047755
6 | NO | 26.0889 | 6.1388 | 0.01147 | -0.91624 | -0.77999 | 0.13625 |  | 0.41297 | -0.051033
6 | NO | 10.5053 | 5.1014 | 0.002713 | -0.84159 | -0.64791 | 0.19368 |  | 0.76454 | -0.10746
6 | NO | 5.4688 | 5.082 | 0.0060783 | -0.86198 | -0.64544 | 0.21654 |  | 1.5197 | -0.19526
7 | NO | 4318.28 | 2.6406 | 0.011382 | -0.56737 | -0.33459 | 0.23278 |  | 1.9381 | -0.27586
7 | NO | 4001.02 | 2.6099 | 0.0040872 | -0.56206 | -0.33068 | 0.23137 |  | 2.6343 | -0.35073
7 | NO | 3499.95 | 2.4493 | 0.0034856 | -0.50266 | -0.31024 | 0.19243 |  | 2.901 | -0.38098
7 | NO | 3000.14 | 2.1614 | 0.0032085 | -0.39262 | -0.27357 | 0.11905 |  | 3.2084 | -0.40663
7 | NO | 2498.79 | 1.6919 | 0.0055463 | -0.27312 | -0.21379 | 0.059323 |  | 3.793 | -0.51
7 | YES | 2001.07 | 1.1645 | 0.0049118 | -0.16049 | -0.14665 | 0.013843 |  | 5.4638 | -0.72924
7 | YES | 1500.09 | 0.57554 | 0.0042406 | -0.064456 | -0.071658 | -0.0072011 |  | 5.9343 | -0.74573
7 | YES | 1251.18 | 0.37067 | 0.0036029 | -0.056332 | -0.045572 | 0.01076 |  | 6.02 | -0.78402
7 | YES | 1000.23 | 0.31054 | 0.0030821 | -0.041461 | -0.037916 | 0.0035444
7 | YES | 801.411 | 0.37624 | 0.001042 | -0.047755 | -0.046282 | 0.0014731
7 | YES | 600.79 | 0.41297 | 0.0037348 | -0.051033 | -0.050958 | 7.5518e-05
7 | YES | 399.816 | 0.76454 | 0.0024697 | -0.10746 | -0.095721 | 0.01174
7 | YES | 300.174 | 1.5197 | 0.0031322 | -0.19526 | -0.19188 | 0.0033852
7 | YES | 251.625 | 1.9381 | 0.0039224 | -0.27586 | -0.24515 | 0.030715
7 | YES | 202.384 | 2.6343 | 0.0032307 | -0.35073 | -0.33378 | 0.016952
7 | YES | 176.02 | 2.901 | 0.0035695 | -0.38098 | -0.36775 | 0.013238
7 | YES | 151.535 | 3.2084 | 0.0045845 | -0.40663 | -0.40688 | -0.00024705
7 | YES | 126.171 | 3.793 | 0.0056624 | -0.51 | -0.48132 | 0.028689
7 | YES | 101.248 | 5.4638 | 0.0035835 | -0.72924 | -0.69404 | 0.035198
7 | YES | 76.1665 | 5.9343 | 0.0056376 | -0.74573 | -0.75395 | -0.0082231
7 | YES | 51.18 | 6.02 | 0.0046842 | -0.78402 | -0.76486 | 0.019155
7 | NO | 25.6832 | 6.0412 | 0.030539 | -0.57384 | -0.76756 | -0.19372
7 | NO | 11.1444 | 5.3567 | 0.0065367 | -0.84932 | -0.68041 | 0.16891
7 | NO | 6.2646 | 5.3612 | 0.0055041 | -0.84079 | -0.68099 | 0.1598
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
FIT vs. Pressure
FIT vs. DOX_CTD
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Main
# Channels= | 2 |  |  |  | COMPARE Version 3.3 | Run at 2011/03/25 16:41:38
| Primary | Secondary |  | Comparison Name
Ref | Pressure | Pressure |  | Pressure - Pressure
Comp 1 | DOX_BOT | DOX_CTD |  | DOX_CTD - DOX_BOT
Average Size: | 2
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | Pressure | Pressure | Pressure | (S-P) | DOX_BOT | DOX_CTD | DOX_CTD | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
2010-14-0001.mrg | 2010-14-0001.sam | 241 | 220.557 | 220.557 | 0.035256 | 0.00027466 | 0 | 0.097129 | 0.0018875 | 0.097129
2010-14-0001.mrg | 2010-14-0001.sam | 241 | 200.99 | 200.99 | 0.03427 | 0.00015259 | 0 | 0.087004 | 0.0015982 | 0.087004
2010-14-0001.mrg | 2010-14-0001.sam | 241 | 175.645 | 175.645 | 0.032482 | 0.00038147 | 0 | 0.081427 | 0.001439 | 0.081427
2010-14-0001.mrg | 2010-14-0001.sam | 241 | 150.882 | 150.882 | 0.030253 | -0.00022888 | 0 | 0.077411 | 0.0021295 | 0.077411
2010-14-0001.mrg | 2010-14-0001.sam | 241 | 125.62 | 125.62 | 0.029277 | 0.00045776 | 1.245 | 1.1754 | 0.0034451 | -0.069585
2010-14-0001.mrg | 2010-14-0001.sam | 241 | 100.973 | 100.973 | 0.029831 | -0.00041199 | 1.691 | 1.5489 | 0.0022523 | -0.14212
2010-14-0001.mrg | 2010-14-0001.sam | 241 | 75.746 | 75.7464 | 0.036978 | 0.00038147 | 1.457 | 1.3814 | 0.0061747 | -0.075585
2010-14-0001.mrg | 2010-14-0001.sam | 241 | 50.847 | 50.8471 | 0.032342 | 8.3923e-05 | 3.405 | 3.2044 | 0.0054944 | -0.20057
2010-14-0001.mrg | 2010-14-0001.sam | 241 | 25.813 | 25.8125 | 0.03064 | -0.00045586 | 4.826 | 4.0075 | 0.0037604 | -0.81855
2010-14-0001.mrg | 2010-14-0001.sam | 241 | 10.504 | 10.504 | 0.02797 | -2.0027e-05 | 6.282 | 5.8733 | 0.0182 | -0.40867
2010-14-0001.mrg | 2010-14-0001.sam | 1080 | 5.766 | 5.8004 | 0.036603 | 0.03436 | 8.16 | 8.1835 | 0.21899 | 0.02347
2010-14-0005.mrg | 2010-14-0005.sam | 241 | 108.611 | 108.611 | 0.18738 | -0.00048828 | 1.791 | 1.7361 | 0.0022767 | -0.054888
2010-14-0005.mrg | 2010-14-0005.sam | 241 | 101.434 | 101.434 | 0.23813 | 0.00020599 | 1.81 | 1.7346 | 0.0023783 | -0.075394
2010-14-0005.mrg | 2010-14-0005.sam | 352 | 75.69 | 75.7605 | 0.20615 | 0.070518 | 2.021 | 1.9461 | 0.0067188 | -0.074866
2010-14-0005.mrg | 2010-14-0005.sam | 352 | 75.793 | 75.7605 | 0.20615 | -0.032478 | 2.009 | 1.9461 | 0.0067188 | -0.062867
2010-14-0005.mrg | 2010-14-0005.sam | 241 | 51.745 | 51.7454 | 0.11439 | 0.00037384 | 2.547 | 2.4331 | 0.011269 | -0.11385
2010-14-0005.mrg | 2010-14-0005.sam | 241 | 26.629 | 26.6291 | 0.20903 | 5.9128e-05 | 3.271 | 3.0902 | 0.0046616 | -0.18078
2010-14-0005.mrg | 2010-14-0005.sam | 241 | 11.088 | 11.0876 | 0.21005 | -0.00040722 | 4.397 | 4.4749 | 0.20895 | 0.077909
2010-14-0005.mrg | 2010-14-0005.sam | 413 | 6.32 | 6.3947 | 0.1264 | 0.074678 | 6.922 | 6.5483 | 0.033353 | -0.37368
2010-14-0012.mrg | 2010-14-0012.sam | 241 | 1301.15 | 1301.15 | 0.56993 | -0.00036621 | 0.52 | 0.50789 | 0.0035609 | -0.012108
2010-14-0012.mrg | 2010-14-0012.sam | 305 | 1250.66 | 1251 | 0.31199 | 0.33801 | 0.432 | 0.43748 | 0.0029581 | 0.005482
2010-14-0012.mrg | 2010-14-0012.sam | 305 | 1251.09 | 1251 | 0.31199 | -0.089966 | 0.43 | 0.43748 | 0.0029581 | 0.007482
2010-14-0012.mrg | 2010-14-0012.sam | 332 | 1001.56 | 1001.42 | 0.16647 | -0.14331 | 0.264 | 0.27965 | 0.0027536 | 0.015648
2010-14-0012.mrg | 2010-14-0012.sam | 307 | 801.784 | 801.798 | 0.31214 | 0.014465 | 0.217 | 0.23019 | 0.0027095 | 0.013186
2010-14-0012.mrg | 2010-14-0012.sam | 241 | 602.298 | 602.298 | 0.23269 | 0.00042725 | 0.385 | 0.38122 | 0.0023921 | -0.0037801
2010-14-0012.mrg | 2010-14-0012.sam | 318 | 401.412 | 401.413 | 0.32402 | 0.0011597 | 0.894 | 0.85287 | 0.0024703 | -0.041132
2010-14-0012.mrg | 2010-14-0012.sam | 241 | 301.793 | 301.793 | 0.15196 | 0.00048828 | 1.503 | 1.4175 | 0.0021602 | -0.085535
2010-14-0012.mrg | 2010-14-0012.sam | 241 | 250.965 | 250.965 | 0.20919 | 0.00033569 | 1.904 | 1.8307 | 0.0036754 | -0.073257
2010-14-0012.mrg | 2010-14-0012.sam | 241 | 201.11 | 201.11 | 0.38549 | 6.1035e-05 | 2.443 | 2.326 | 0.0024367 | -0.117
2010-14-0012.mrg | 2010-14-0012.sam | 241 | 176.023 | 176.023 | 0.34476 | 0.00019836 | 2.722 | 2.5981 | 0.0034758 | -0.12388
2010-14-0012.mrg | 2010-14-0012.sam | 241 | 151.638 | 151.638 | 0.27615 | 0.0004425 | 3.512 | 3.3546 | 0.0051582 | -0.15736
2010-14-0012.mrg | 2010-14-0012.sam | 241 | 125.98 | 125.98 | 0.070437 | -0.00032806 | 3.951 | 3.7694 | 0.0051959 | -0.18164
2010-14-0012.mrg | 2010-14-0012.sam | 241 | 101.32 | 101.32 | 0.33886 | -0.00016022 | 4.556 | 4.3811 | 0.0069293 | -0.17488
2010-14-0012.mrg | 2010-14-0012.sam | 241 | 76.044 | 76.0445 | 0.19108 | 0.00045776 | 5.181 | 4.9925 | 0.0060166 | -0.18854
2010-14-0012.mrg | 2010-14-0012.sam | 241 | 50.781 | 50.7813 | 0.097884 | 0.00033951 | 6.409 | 6.1048 | 0.0058245 | -0.30424
2010-14-0012.mrg | 2010-14-0012.sam | 241 | 26.046 | 26.0458 | 0.19225 | -0.0001564 | 5.748 | 5.3234 | 0.0096065 | -0.42462
2010-14-0012.mrg | 2010-14-0012.sam | 241 | 11.472 | 11.4721 | 0.12824 | 8.6784e-05 | 6.235 | 5.9517 | 0.010167 | -0.28332
2010-14-0012.mrg | 2010-14-0012.sam | 241 | 6.432 | 6.432 | 0.1513 | 2.4796e-05 | 6.287 | 6.0061 | 0.0044814 | -0.28086
2010-14-0022.mrg | 2010-14-0022.sam | 476 | 2001.04 | 2000.88 | 0.43833 | -0.16065 | 1.402 | 1.0609 | 0.0084106 | -0.34114
2010-14-0022.mrg | 2010-14-0022.sam | 482 | 1501.16 | 1501.18 | 0.36068 | 0.01709 | 0.672 | 0.38517 | 0.0066649 | -0.28683
2010-14-0022.mrg | 2010-14-0022.sam | 482 | 1501.2 | 1501.18 | 0.36068 | -0.016968 | 0.683 | 0.38517 | 0.0066649 | -0.29783
2010-14-0022.mrg | 2010-14-0022.sam | 241 | 1251.37 | 1251.37 | 0.27075 | -0.00024414 | 0.354 | 0.10332 | 0.0067529 | -0.25068
2010-14-0022.mrg | 2010-14-0022.sam | 241 | 1000.83 | 1000.83 | 0.19463 | -0.00036621 | 0.246 | 0.0020332 | 0.0058913 | -0.24397
2010-14-0022.mrg | 2010-14-0022.sam | 241 | 801.33 | 801.33 | 0.31636 | 0.00042725 | 0.293 | 0.048398 | 0.0069353 | -0.2446
2010-14-0022.mrg | 2010-14-0022.sam | 241 | 601.133 | 601.133 | 0.37911 | -0.00018311 | 0.42 | 0.1799 | 0.0054751 | -0.2401
2010-14-0022.mrg | 2010-14-0022.sam | 241 | 401.179 | 401.179 | 0.47953 | 0.00048828 | 1.299 | 1.0135 | 0.0066239 | -0.28549
2010-14-0022.mrg | 2010-14-0022.sam | 241 | 300.883 | 300.883 | 0.14153 | -0.00045776 | 1.899 | 1.5808 | 0.0046122 | -0.31817
2010-14-0022.mrg | 2010-14-0022.sam | 241 | 250.793 | 250.793 | 0.36225 | 9.1553e-05 | 2.668 | 2.3156 | 0.0091187 | -0.35237
2010-14-0022.mrg | 2010-14-0022.sam | 241 | 200.898 | 200.898 | 0.27345 | 0.0004425 | 3.879 | 3.4708 | 0.0061568 | -0.40822
2010-14-0022.mrg | 2010-14-0022.sam | 241 | 176.16 | 176.16 | 0.11619 | -0.00041199 | 4.17 | 3.7674 | 0.0043824 | -0.40264
2010-14-0022.mrg | 2010-14-0022.sam | 241 | 150.905 | 150.905 | 0.15121 | -0.00045776 | 4.339 | 3.9483 | 0.0051978 | -0.39069
2010-14-0022.mrg | 2010-14-0022.sam | 241 | 126.447 | 126.447 | 0.18294 | 0.00048065 | 4.556 | 4.1281 | 0.0070589 | -0.42788
2010-14-0022.mrg | 2010-14-0022.sam | 241 | 101.006 | 101.006 | 0.18077 | 0.00026703 | 5.526 | 5.0645 | 0.0052242 | -0.46148
2010-14-0022.mrg | 2010-14-0022.sam | 241 | 76.373 | 76.3731 | 0.18232 | 0.00010681 | 6.488 | 5.9756 | 0.0045307 | -0.51241
2010-14-0022.mrg | 2010-14-0022.sam | 241 | 51.236 | 51.2358 | 0.16504 | -0.00015259 | 6.18 | 5.6976 | 0.0083838 | -0.48239
2010-14-0022.mrg | 2010-14-0022.sam | 482 | 26.501 | 26.4322 | 0.19681 | -0.068789 | 5.915 | 5.4656 | 0.0088152 | -0.44938
2010-14-0022.mrg | 2010-14-0022.sam | 241 | 11.476 | 11.476 | 0.11667 | 1.7166e-05 | 5.941 | 5.498 | 0.007709 | -0.44299
2010-14-0022.mrg | 2010-14-0022.sam | 482 | 6.382 | 6.3995 | 0.21516 | 0.017477 | 5.942 | 5.505 | 0.0058312 | -0.43696
2010-14-0055.mrg | 2010-14-0055.sam | 241 | 3685.45 | 3685.45 | 0.8291 | -0.00024414 | 2.74 | 2.2995 | 0.0050215 | -0.44055
2010-14-0055.mrg | 2010-14-0055.sam | 327 | 3500.74 | 3500.91 | 0.58309 | 0.16284 | 2.696 | 2.2777 | 0.0069109 | -0.41827
2010-14-0055.mrg | 2010-14-0055.sam | 327 | 3500.96 | 3500.91 | 0.58309 | -0.05835 | 2.7 | 2.2777 | 0.0069109 | -0.42227
2010-14-0055.mrg | 2010-14-0055.sam | 241 | 3000.17 | 3000.17 | 0.76 | -0.00024414 | 2.457 | 2.0818 | 0.0034269 | -0.3752
2010-14-0055.mrg | 2010-14-0055.sam | 241 | 2501.01 | 2501.01 | 0.5942 | 0 | 1.944 | 1.6581 | 0.0060625 | -0.28587
2010-14-0055.mrg | 2010-14-0055.sam | 241 | 2001.36 | 2001.36 | 0.53882 | 0 | 1.21 | 1.0369 | 0.0040015 | -0.17309
2010-14-0055.mrg | 2010-14-0055.sam | 241 | 1501.92 | 1501.92 | 0.73152 | -0.00024414 | 0.49 | 0.41827 | 0.0035561 | -0.071735
2010-14-0055.mrg | 2010-14-0055.sam | 231 | 1251.61 | 1251.7 | 1.1464 | 0.087891 | 0.317 | 0.25753 | 0.0016252 | -0.059467
2010-14-0055.mrg | 2010-14-0055.sam | 241 | 1001.47 | 1001.47 | 0.57477 | -0.00030518 | 0.322 | 0.25183 | 0.002568 | -0.070174
2010-14-0055.mrg | 2010-14-0055.sam | 241 | 801.373 | 801.373 | 0.61079 | -0.00024414 | 0.4 | 0.33403 | 0.0013383 | -0.065975
2010-14-0055.mrg | 2010-14-0055.sam | 241 | 601.075 | 601.075 | 0.39379 | -0.00024414 | 0.692 | 0.58223 | 0.0025356 | -0.10977
2010-14-0055.mrg | 2010-14-0055.sam | 241 | 401.369 | 401.369 | 0.71218 | -6.1035e-05 | 1.576 | 1.3441 | 0.0026704 | -0.23192
2010-14-0055.mrg | 2010-14-0055.sam | 241 | 301.724 | 301.724 | 0.37491 | 9.1553e-05 | 2.599 | 2.2494 | 0.0027044 | -0.34964
2010-14-0055.mrg | 2010-14-0055.sam | 241 | 250.858 | 250.858 | 0.41026 | 9.1553e-05 | 3.399 | 2.9381 | 0.0028668 | -0.46095
2010-14-0055.mrg | 2010-14-0055.sam | 241 | 201.975 | 201.975 | 0.54819 | 0.00030518 | 4.141 | 3.5868 | 0.0077878 | -0.55416
2010-14-0055.mrg | 2010-14-0055.sam | 241 | 175.828 | 175.828 | 0.24602 | -0.00047302 | 4.44 | 3.8474 | 0.0061413 | -0.59261
2010-14-0055.mrg | 2010-14-0055.sam | 241 | 151.066 | 151.066 | 0.45748 | 0 | 4.769 | 4.1542 | 0.0061583 | -0.61482
2010-14-0055.mrg | 2010-14-0055.sam | 241 | 126.286 | 126.286 | 0.13883 | -0.00028992 | 5.332 | 4.6484 | 0.0091413 | -0.68356
2010-14-0055.mrg | 2010-14-0055.sam | 241 | 101.357 | 101.357 | 0.38783 | -0.00016022 | 6.228 | 5.4366 | 0.0036862 | -0.79143
2010-14-0055.mrg | 2010-14-0055.sam | 241 | 75.863 | 75.8634 | 0.64475 | 0.00041962 | 6.679 | 5.8261 | 0.011638 | -0.85295
2010-14-0055.mrg | 2010-14-0055.sam | 241 | 50.806 | 50.8061 | 0.15998 | 9.1553e-05 | 6.765 | 5.8875 | 0.007719 | -0.87747
2010-14-0055.mrg | 2010-14-0055.sam | 241 | 25.95 | 25.9505 | 0.31188 | 0.00048447 | 6.135 | 5.2606 | 0.012291 | -0.87438
2010-14-0055.mrg | 2010-14-0055.sam | 241 | 11.424 | 11.4237 | 0.37966 | -0.00031948 | 6.065 | 5.2286 | 0.011093 | -0.83642
2010-14-0055.mrg | 2010-14-0055.sam | 241 | 5.513 | 5.5131 | 0.23134 | 9.9659e-05 | 6.061 | 5.219 | 0.006199 | -0.84204
2010-14-0073.mrg | 2010-14-0073.sam | 241 | 4024.87 | 4024.87 | 0.5202 | -0.00024414 | 2.969 | 2.4663 | 0.007088 | -0.50275
2010-14-0073.mrg | 2010-14-0073.sam | 482 | 3501.55 | 3501.65 | 0.74717 | 0.097412 | 2.839 | 2.353 | 0.0062267 | -0.48599
2010-14-0073.mrg | 2010-14-0073.sam | 482 | 3501.74 | 3501.65 | 0.74717 | -0.097412 | 2.836 | 2.353 | 0.0062267 | -0.48298
2010-14-0073.mrg | 2010-14-0073.sam | 241 | 3000.2 | 3000.2 | 0.74808 | -0.00024414 | 2.464 | 2.0618 | 0.0029226 | -0.40216
2010-14-0073.mrg | 2010-14-0073.sam | 241 | 2501.51 | 2501.51 | 0.22308 | -0.00024414 | 1.921 | 1.6506 | 0.0043063 | -0.27035
2010-14-0073.mrg | 2010-14-0073.sam | 241 | 2001.13 | 2001.13 | 0.62122 | 0.00024414 | 1.247 | 1.0999 | 0.003171 | -0.14706
2010-14-0073.mrg | 2010-14-0073.sam | 241 | 1499.86 | 1499.86 | 0.65522 | -0.00036621 | 0.508 | 0.46659 | 0.0026837 | -0.041415
2010-14-0073.mrg | 2010-14-0073.sam | 241 | 1251.27 | 1251.27 | 0.46304 | 0.00024414 | 0.316 | 0.28808 | 0.0019458 | -0.027925
2010-14-0073.mrg | 2010-14-0073.sam | 241 | 1000.71 | 1000.71 | 0.61876 | 0.00036621 | 0.283 | 0.26017 | 0.0023916 | -0.022826
2010-14-0073.mrg | 2010-14-0073.sam | 241 | 801.728 | 801.728 | 0.30123 | 0 | 0.411 | 0.37115 | 0.0025484 | -0.039851
2010-14-0073.mrg | 2010-14-0073.sam | 241 | 598.714 | 598.714 | 0.4674 | 0.00012207 | 0.58 | 0.5183 | 0.001539 | -0.061701
2010-14-0073.mrg | 2010-14-0073.sam | 241 | 400.897 | 400.897 | 0.43366 | 0.00036621 | 1.223 | 1.0914 | 0.0021242 | -0.13157
2010-14-0073.mrg | 2010-14-0073.sam | 241 | 300.847 | 300.847 | 0.212 | -0.00021362 | 2.149 | 1.921 | 0.0024255 | -0.22802
2010-14-0073.mrg | 2010-14-0073.sam | 241 | 251.018 | 251.018 | 0.16903 | -9.1553e-05 | 3.043 | 2.7101 | 0.0029797 | -0.33293
2010-14-0073.mrg | 2010-14-0073.sam | 241 | 200.852 | 200.852 | 0.23492 | -0.00012207 | 3.848 | 3.4431 | 0.0043551 | -0.40489
2010-14-0073.mrg | 2010-14-0073.sam | 241 | 175.66 | 175.66 | 0.47182 | -9.1553e-05 | 4.213 | 3.7431 | 0.0027128 | -0.46987
2010-14-0073.mrg | 2010-14-0073.sam | 241 | 150.772 | 150.772 | 0.36292 | -0.00015259 | 4.547 | 4.0548 | 0.0049074 | -0.49219
2010-14-0073.mrg | 2010-14-0073.sam | 241 | 126.114 | 126.114 | 0.2421 | 0.00017548 | 4.918 | 4.3738 | 0.0066408 | -0.54416
2010-14-0073.mrg | 2010-14-0073.sam | 241 | 101.001 | 101.001 | 0.35623 | 0.00043487 | 5.814 | 5.1925 | 0.0041635 | -0.62149
2010-14-0073.mrg | 2010-14-0073.sam | 241 | 75.544 | 75.5444 | 0.1829 | 0.0004425 | 6.636 | 5.9005 | 0.0054649 | -0.73555
2010-14-0073.mrg | 2010-14-0073.sam | 241 | 50.657 | 50.6567 | 0.067913 | -0.00027084 | 6.838 | 6.0558 | 0.0037502 | -0.78218
2010-14-0073.mrg | 2010-14-0073.sam | 241 | 26.089 | 26.0889 | 0.0947 | -8.3923e-05 | 7.055 | 6.1388 | 0.01147 | -0.91624
2010-14-0073.mrg | 2010-14-0073.sam | 241 | 10.505 | 10.5053 | 0.16259 | 0.00032806 | 5.943 | 5.1014 | 0.002713 | -0.84159
2010-14-0073.mrg | 2010-14-0073.sam | 241 | 5.469 | 5.4688 | 0.31622 | -0.0002532 | 5.944 | 5.082 | 0.0060783 | -0.86198
2010-14-0086.mrg | 2010-14-0086.sam | 241 | 4318.28 | 4318.28 | 0.41052 | 0 | 3.208 | 2.6406 | 0.011382 | -0.56737
2010-14-0086.mrg | 2010-14-0086.sam | 241 | 4001.02 | 4001.02 | 0.24736 | -0.00048828 | 3.172 | 2.6099 | 0.0040872 | -0.56206
2010-14-0086.mrg | 2010-14-0086.sam | 241 | 3499.95 | 3499.95 | 0.40324 | -0.00024414 | 2.952 | 2.4493 | 0.0034856 | -0.50266
2010-14-0086.mrg | 2010-14-0086.sam | 241 | 3000.14 | 3000.14 | 0.49349 | 0.00024414 | 2.554 | 2.1614 | 0.0032085 | -0.39262
2010-14-0086.mrg | 2010-14-0086.sam | 241 | 2498.79 | 2498.79 | 0.24967 | -0.00024414 | 1.965 | 1.6919 | 0.0055463 | -0.27312
2010-14-0086.mrg | 2010-14-0086.sam | 241 | 2001.07 | 2001.07 | 0.15358 | 0.00036621 | 1.325 | 1.1645 | 0.0049118 | -0.16049
2010-14-0086.mrg | 2010-14-0086.sam | 241 | 1500.09 | 1500.09 | 0.38164 | -0.00036621 | 0.64 | 0.57554 | 0.0042406 | -0.064456
2010-14-0086.mrg | 2010-14-0086.sam | 241 | 1251.18 | 1251.18 | 0.43655 | -0.00012207 | 0.427 | 0.37067 | 0.0036029 | -0.056332
2010-14-0086.mrg | 2010-14-0086.sam | 241 | 1000.23 | 1000.23 | 0.35159 | -0.00042725 | 0.352 | 0.31054 | 0.0030821 | -0.041461
2010-14-0086.mrg | 2010-14-0086.sam | 241 | 801.411 | 801.411 | 0.2437 | -0.00036621 | 0.424 | 0.37624 | 0.001042 | -0.047755
2010-14-0086.mrg | 2010-14-0086.sam | 241 | 600.79 | 600.79 | 0.13617 | 0.00018311 | 0.464 | 0.41297 | 0.0037348 | -0.051033
2010-14-0086.mrg | 2010-14-0086.sam | 241 | 399.816 | 399.816 | 0.26572 | -0.00039673 | 0.872 | 0.76454 | 0.0024697 | -0.10746
2010-14-0086.mrg | 2010-14-0086.sam | 241 | 300.174 | 300.174 | 0.41279 | -0.00048828 | 1.715 | 1.5197 | 0.0031322 | -0.19526
2010-14-0086.mrg | 2010-14-0086.sam | 241 | 251.625 | 251.625 | 0.27082 | 0.00028992 | 2.214 | 1.9381 | 0.0039224 | -0.27586
2010-14-0086.mrg | 2010-14-0086.sam | 241 | 202.384 | 202.384 | 0.31793 | 7.6294e-05 | 2.985 | 2.6343 | 0.0032307 | -0.35073
2010-14-0086.mrg | 2010-14-0086.sam | 241 | 176.02 | 176.02 | 0.073205 | 0.0004425 | 3.282 | 2.901 | 0.0035695 | -0.38098
2010-14-0086.mrg | 2010-14-0086.sam | 241 | 151.535 | 151.535 | 0.22007 | -0.00038147 | 3.615 | 3.2084 | 0.0045845 | -0.40663
2010-14-0086.mrg | 2010-14-0086.sam | 241 | 126.171 | 126.171 | 0.29101 | 0.00014496 | 4.303 | 3.793 | 0.0056624 | -0.51
2010-14-0086.mrg | 2010-14-0086.sam | 241 | 101.248 | 101.248 | 0.26384 | -0.00035095 | 6.193 | 5.4638 | 0.0035835 | -0.72924
2010-14-0086.mrg | 2010-14-0086.sam | 241 | 76.166 | 76.1665 | 0.26936 | 0.00049591 | 6.68 | 5.9343 | 0.0056376 | -0.74573
2010-14-0086.mrg | 2010-14-0086.sam | 241 | 51.18 | 51.18 | 0.14153 | -1.1444e-05 | 6.804 | 6.02 | 0.0046842 | -0.78402
2010-14-0086.mrg | 2010-14-0086.sam | 241 | 25.683 | 25.6832 | 0.2248 | 0.00021553 | 6.615 | 6.0412 | 0.030539 | -0.57384
2010-14-0086.mrg | 2010-14-0086.sam | 241 | 11.144 | 11.1444 | 0.28054 | 0.00038624 | 6.206 | 5.3567 | 0.0065367 | -0.84932
2010-14-0086.mrg | 2010-14-0086.sam | 241 | 6.265 | 6.2646 | 0.28349 | -0.00043154 | 6.202 | 5.3612 | 0.0055041 | -0.84079
Create Fit Sheet