## File List
Number of Files= |  | 8
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 2010-14-0001.mrgcor1 | 2010-14-0001.samcor1 | 11 | 21 | 2010-14-0001.mrgcor1 & 2010-14-0001.samcor1
2 | 2010-14-0005.mrgcor1 | 2010-14-0005.samcor1 | 23 | 30 | 2010-14-0005.mrgcor1 & 2010-14-0005.samcor1
3 | 2010-14-0012.mrgcor1 | 2010-14-0012.samcor1 | 32 | 50 | 2010-14-0012.mrgcor1 & 2010-14-0012.samcor1
4 | 2010-14-0022.mrgcor1 | 2010-14-0022.samcor1 | 52 | 71 | 2010-14-0022.mrgcor1 & 2010-14-0022.samcor1
5 | 2010-14-0040.mrgcor1 | 2010-14-0040.samcor1 | 73 | 90 | 2010-14-0040.mrgcor1 & 2010-14-0040.samcor1
6 | 2010-14-0055.mrgcor1 | 2010-14-0055.samcor1 | 92 | 115 | 2010-14-0055.mrgcor1 & 2010-14-0055.samcor1
7 | 2010-14-0073.mrgcor1 | 2010-14-0073.samcor1 | 117 | 140 | 2010-14-0073.mrgcor1 & 2010-14-0073.samcor1
8 | 2010-14-0086.mrgcor1 | 2010-14-0086.samcor1 | 142 | 165 | 2010-14-0086.mrgcor1 & 2010-14-0086.samcor1

## (DOX_CTD - DOX_BOT)
Calculation of Linear Least Squares Fit For
(DOX_CTD - DOX_BOT)
2
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (DOX_CTD - DOX_BOT), Prop=DOX_CTD
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.010995 |  | X | CALC Y
m= | -0.001 | 0.0011025 |  | Std Dev of Resid |  | 0.020753 |  | 0.23019 | -0.0027119
b= | -0.0024817 | 0.0038372 |  | Resid Sum of Squares |  | 0.03187 |  | 6.8251 | -0.009307
# of Values Extracted = |  |  | 148
# of Values Used in Fit = |  |  | 76
File | Use | Pressure | DOX_CTD | DOX_CTD | Diff (DOX_CTD - DOX_BOT) |  |  |  | Fit vs. | DOX_CTD
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 220.557 | 0.090149 | 0.0019393 | 0.090149 | -0.0025719 | -0.092721 |  | 1.2224 | -0.022585
1 | NO | 200.99 | 0.080004 | 0.0015982 | 0.080004 | -0.0025617 | -0.082566 |  | 1.4385 | -0.018452
1 | NO | 175.645 | 0.07422 | 0.0016997 | 0.07422 | -0.002556 | -0.076776 |  | 1.8111 | 0.020108
1 | NO | 150.882 | 0.069456 | 0.002234 | 0.069456 | -0.0025512 | -0.072008 |  | 1.8096 | -0.00042319
1 | YES | 125.62 | 1.2224 | 0.0034451 | -0.022585 | -0.0037042 | 0.018881 |  | 2.0313 | 0.010273
1 | NO | 100.973 | 1.6143 | 0.0026662 | -0.076743 | -0.004096 | 0.072647 |  | 2.0313 | 0.022273
1 | YES | 75.7464 | 1.4385 | 0.0064277 | -0.018452 | -0.0039203 | 0.014532 |  | 2.5427 | -0.004282
1 | NO | 50.8471 | 3.3522 | 0.0058363 | -0.052797 | -0.005834 | 0.046963 |  | 3.2322 | -0.03878
1 | NO | 25.8125 | 4.1952 | 0.0041186 | -0.63081 | -0.006677 | 0.62413 |  | 0.52175 | 0.0017511
1 | NO | 10.504 | 6.1538 | 0.019104 | -0.12821 | -0.0086356 | 0.11957 |  | 0.44753 | 0.015525
1 | NO | 5.8004 | 8.5787 | 0.22988 | 0.41868 | -0.011061 | -0.42974 |  | 0.44753 | 0.017525
2 | YES | 108.611 | 1.8111 | 0.0022887 | 0.020108 | -0.0042929 | -0.024401 |  | 0.2819 | 0.017895
2 | YES | 101.434 | 1.8096 | 0.0024434 | -0.00042319 | -0.0042913 | -0.0038682 |  | 0.23019 | 0.013186
2 | YES | 75.7605 | 2.0313 | 0.0070266 | 0.010273 | -0.004513 | -0.014786 |  | 0.3885 | 0.0035021
2 | YES | 75.7605 | 2.0313 | 0.0070266 | 0.022273 | -0.004513 | -0.026786 |  | 0.88386 | -0.010138
2 | YES | 51.7454 | 2.5427 | 0.011735 | -0.004282 | -0.0050245 | -0.0007425 |  | 1.4765 | -0.026535
2 | YES | 26.6291 | 3.2322 | 0.0046821 | -0.03878 | -0.005714 | 0.033066 |  | 1.9103 | 0.0062655
2 | NO | 11.0876 | 4.6858 | 0.21933 | 0.28883 | -0.0071677 | -0.29599 |  | 2.43 | -0.013004
2 | NO | 6.3947 | 6.8623 | 0.035056 | -0.059729 | -0.0093441 | 0.050384 |  | 2.7158 | -0.006166
3 | YES | 1301.15 | 0.52175 | 0.0038107 | 0.0017511 | -0.0030035 | -0.0047546 |  | 3.5098 | -0.0021868
3 | YES | 1251 | 0.44753 | 0.0030511 | 0.015525 | -0.0029293 | -0.018454 |  | 3.9453 | -0.0057344
3 | YES | 1251 | 0.44753 | 0.0030511 | 0.017525 | -0.0029293 | -0.020454 |  | 4.5873 | 0.031328
3 | YES | 1001.42 | 0.2819 | 0.0030689 | 0.017895 | -0.0027636 | -0.020658 |  | 5.2292 | 0.048158
3 | YES | 801.798 | 0.23019 | 0.0027095 | 0.013186 | -0.0027119 | -0.015898 |  | 6.3967 | -0.012344
3 | YES | 602.298 | 0.3885 | 0.0027811 | 0.0035021 | -0.0028702 | -0.0063723 |  | 6.2359 | 0.00094175
3 | YES | 401.413 | 0.88386 | 0.0024941 | -0.010138 | -0.0033656 | 0.0067727 |  | 6.2931 | 0.0061407
3 | YES | 301.793 | 1.4765 | 0.0021602 | -0.026535 | -0.0039582 | 0.022577 |  | 0.63692 | -0.035083
3 | YES | 250.965 | 1.9103 | 0.0041034 | 0.0062655 | -0.004392 | -0.010658 |  | 0.63692 | -0.046083
3 | YES | 201.11 | 2.43 | 0.0024367 | -0.013004 | -0.0049118 | 0.0080925 |  | 0.34529 | -0.0087095
3 | YES | 176.023 | 2.7158 | 0.0038348 | -0.006166 | -0.0051976 | 0.00096836 |  | 0.2403 | -0.0057013
3 | YES | 151.638 | 3.5098 | 0.0054561 | -0.0021868 | -0.0059916 | -0.0038048 |  | 0.28837 | -0.0046307
3 | YES | 125.98 | 3.9453 | 0.0053607 | -0.0057344 | -0.0064271 | -0.00069264 |  | 0.42446 | 0.0044564
3 | YES | 101.32 | 4.5873 | 0.0072368 | 0.031328 | -0.0070692 | -0.038397 |  | 1.287 | -0.012013
3 | YES | 76.0445 | 5.2292 | 0.0063914 | 0.048158 | -0.007711 | -0.055869 |  | 1.8739 | -0.025145
3 | YES | 50.7813 | 6.3967 | 0.0060829 | -0.012344 | -0.0088785 | 0.0034659 |  | 2.6343 | -0.033747
3 | NO | 26.0458 | 5.5765 | 0.010109 | -0.17152 | -0.0080583 | 0.16346 |  | 3.8297 | -0.049311
3 | YES | 11.4721 | 6.2359 | 0.01073 | 0.00094175 | -0.0087178 | -0.0096595 |  | 4.1364 | -0.033643
3 | YES | 6.432 | 6.2931 | 0.0045347 | 0.0061407 | -0.008775 | -0.014916 |  | 4.3235 | -0.015548
4 | NO | 2000.88 | 1.3359 | 0.0086176 | -0.066076 | -0.0038177 | 0.062258 |  | 4.5097 | -0.046291
4 | YES | 1501.18 | 0.63692 | 0.0070077 | -0.035083 | -0.0031187 | 0.031964 |  | 5.4785 | -0.047482
4 | YES | 1501.18 | 0.63692 | 0.0070077 | -0.046083 | -0.0031187 | 0.042964 |  | 6.1336 | -0.046419
4 | YES | 1251.37 | 0.34529 | 0.0068336 | -0.0087095 | -0.002827 | 0.0058825 |  | 5.8936 | -0.021413
4 | YES | 1000.83 | 0.2403 | 0.0062211 | -0.0057013 | -0.002722 | 0.0029792 |  | 5.927 | -0.014004
4 | YES | 801.33 | 0.28837 | 0.0070107 | -0.0046307 | -0.0027701 | 0.0018606 |  | 5.9342 | -0.0077987
4 | YES | 601.133 | 0.42446 | 0.00587 | 0.0044564 | -0.0029062 | -0.0073626 |  | 1.2383 | -0.0087178
4 | YES | 401.179 | 1.287 | 0.0070324 | -0.012013 | -0.0037687 | 0.0082438 |  | 0.52442 | 0.016419
4 | YES | 300.883 | 1.8739 | 0.0046672 | -0.025145 | -0.0043556 | 0.02079 |  | 0.32306 | 0.0070622
4 | YES | 250.793 | 2.6343 | 0.0094933 | -0.033747 | -0.005116 | 0.028631 |  | 0.29149 | 0.0084938
4 | YES | 200.898 | 3.8297 | 0.0063179 | -0.049311 | -0.0063115 | 0.043 |  | 0.41683 | 0.005834
4 | YES | 176.16 | 4.1364 | 0.0043824 | -0.033643 | -0.0066182 | 0.027025 |  | 0.58245 | 0.0024481
4 | YES | 150.905 | 4.3235 | 0.0053997 | -0.015548 | -0.0068053 | 0.0087425 |  | 1.2287 | 0.0056888
4 | YES | 126.447 | 4.5097 | 0.0074804 | -0.046291 | -0.0069915 | 0.039299 |  | 2.1639 | 0.014942
4 | YES | 101.006 | 5.4785 | 0.0052242 | -0.047482 | -0.0079604 | 0.039521 |  | 3.0535 | 0.010523
4 | NO | 76.3731 | 6.4214 | 0.0048015 | -0.066614 | -0.0089032 | 0.057711 |  | 3.8798 | 0.031751
4 | YES | 51.2358 | 6.1336 | 0.0084633 | -0.046419 | -0.0086154 | 0.037804 |  | 4.218 | 0.0050211
4 | YES | 26.4322 | 5.8936 | 0.0090175 | -0.021413 | -0.0083754 | 0.013037 |  | 4.5694 | 0.022378
4 | YES | 11.476 | 5.927 | 0.0077859 | -0.014004 | -0.0084088 | 0.0055954 |  | 4.9291 | 0.011083
4 | YES | 6.3995 | 5.9342 | 0.0060592 | -0.0077987 | -0.008416 | -0.00061738 |  | 5.8519 | 0.037884
5 | NO | 3052.32 | -2.48 | 0.001001 | -4.79 | -1.7319e-06 | 4.7899 |  | 6.65 | 0.013983
5 | NO | 3001.27 | -2.466 | 5.3083e-05 | -4.729 | -1.5682e-05 | 4.729 |  | 6.8251 | -0.012855
5 | NO | 3001.27 | -2.466 | 5.3083e-05 | -4.74 | -1.5682e-05 | 4.74 |  | 1.3111 | -0.013871
5 | NO | 2500.39 | -2.31 | 0 | -4.174 | -0.00017169 | 4.1738 |  | 0.64721 | 0.0072116
5 | NO | 2001.18 | -2.1553 | 0.00046722 | -3.5293 | -0.00032637 | 3.529 |  | 0.41636 | -0.010635
5 | NO | 1502.93 | -1.9955 | 0.00050085 | -2.6815 | -0.0004862 | 2.681 |  | 0.3484 | -0.0036017
5 | NO | 1251.66 | -1.9097 | 0.00044892 | -2.2647 | -0.00057197 | 2.2641 |  | 0.42233 | -0.0016722
5 | NO | 1001.19 | -1.824 | 0 | -2.097 | -0.0006577 | 2.0963 |  | 0.46395 | -4.5627e-05
5 | NO | 800.861 | -1.765 | 0 | -2.153 | -0.0007167 | 2.1523 |  | 0.86036 | -0.011639
5 | NO | 601.773 | -1.697 | 0 | -2.277 | -0.0007847 | 2.2762 |  | 1.7117 | -0.003332
5 | NO | 400.458 | -1.616 | 0 | -2.741 | -0.0008657 | 2.7401 |  | 2.1832 | -0.030763
5 | NO | 300.974 | -1.578 | 0 | -3.572 | -0.0009037 | 3.5711 |  | 2.968 | -0.016971
5 | NO | 250.819 | -1.553 | 0 | -4.411 | -0.0009287 | 4.4101 |  | 3.2687 | -0.013282
5 | NO | 200.95 | -1.526 | 0 | -5.651 | -0.0009557 | 5.65 |  | 3.6152 | 0.00018668
5 | NO | 175.636 | -1.514 | 0 | -6.117 | -0.0009677 | 6.116 |  | 4.2742 | -0.02876
5 | NO | 151.78 | -1.5084 | 0.00049569 | -6.6934 | -0.00097327 | 6.6925 |  | 6.1577 | -0.035344
5 | NO | 125.969 | -1.499 | 0 | -7.251 | -0.0009827 | 7.25 |  | 6.6882 | 0.0082202
5 | NO | 101.136 | -1.478 | 0.00011625 | -7.662 | -0.0010037 | 7.661 |  | 6.7846 | -0.019378
6 | NO | 3685.45 | 2.5906 | 0.005598 | -0.14943 | -0.0050724 | 0.14435
6 | NO | 3500.91 | 2.5661 | 0.0078613 | -0.12992 | -0.0050479 | 0.12487
6 | NO | 3500.91 | 2.5661 | 0.0078613 | -0.13392 | -0.0050479 | 0.12887
6 | NO | 3000.17 | 2.3451 | 0.0039057 | -0.11189 | -0.0048269 | 0.10707
6 | NO | 2501.01 | 1.8676 | 0.0068613 | -0.076415 | -0.0043494 | 0.072066
6 | NO | 2001.36 | 1.1674 | 0.0045464 | -0.042622 | -0.0036491 | 0.038973
6 | NO | 1501.92 | 0.46982 | 0.0040401 | -0.020178 | -0.0029516 | 0.017227
6 | NO | 1251.7 | 0.28858 | 0.0017989 | -0.02842 | -0.0027703 | 0.02565
6 | NO | 1001.47 | 0.28229 | 0.0029803 | -0.03971 | -0.002764 | 0.036945
6 | NO | 801.373 | 0.375 | 0.0014916 | -0.025 | -0.0028567 | 0.022143
6 | NO | 601.075 | 0.65461 | 0.0029547 | -0.03739 | -0.0031364 | 0.034254
6 | NO | 401.369 | 1.5137 | 0.0030597 | -0.062324 | -0.0039954 | 0.058328
6 | NO | 301.724 | 2.5342 | 0.0030912 | -0.064834 | -0.005016 | 0.059818
6 | NO | 250.858 | 3.3106 | 0.00325 | -0.088427 | -0.0057924 | 0.082635
6 | NO | 201.975 | 4.0419 | 0.0087951 | -0.099095 | -0.0065237 | 0.092572
6 | NO | 175.828 | 4.3356 | 0.0069527 | -0.10439 | -0.0068174 | 0.097573
6 | NO | 151.066 | 4.6813 | 0.0069487 | -0.087722 | -0.0071631 | 0.080559
6 | NO | 126.286 | 5.2386 | 0.010286 | -0.093361 | -0.0077205 | 0.08564
6 | NO | 101.357 | 6.1271 | 0.0041933 | -0.10091 | -0.0086089 | 0.0923
6 | NO | 75.8634 | 6.5662 | 0.013069 | -0.11282 | -0.009048 | 0.10377
6 | NO | 50.8061 | 6.6354 | 0.0086364 | -0.12957 | -0.0091173 | 0.12045
6 | NO | 25.9505 | 5.9287 | 0.013857 | -0.20633 | -0.0084105 | 0.19792
6 | NO | 11.4237 | 5.8926 | 0.012453 | -0.17242 | -0.0083744 | 0.16405
6 | NO | 5.5131 | 5.8817 | 0.0070244 | -0.17927 | -0.0083636 | 0.17091
7 | NO | 4024.87 | 2.7786 | 0.0079596 | -0.19044 | -0.0052603 | 0.18518
7 | NO | 3501.65 | 2.651 | 0.0069856 | -0.18804 | -0.0051327 | 0.18291
7 | NO | 3501.65 | 2.651 | 0.0069856 | -0.18504 | -0.0051327 | 0.17991
7 | NO | 3000.2 | 2.3228 | 0.003234 | -0.14117 | -0.0048046 | 0.13637
7 | NO | 2501.51 | 1.8592 | 0.0048325 | -0.061838 | -0.0043409 | 0.057497
7 | YES | 2001.13 | 1.2383 | 0.0035956 | -0.0087178 | -0.00372 | 0.0049977
7 | YES | 1499.86 | 0.52442 | 0.0030541 | 0.016419 | -0.0030062 | -0.019425
7 | YES | 1251.27 | 0.32306 | 0.002139 | 0.0070622 | -0.0028048 | -0.009867
7 | YES | 1000.71 | 0.29149 | 0.0028049 | 0.0084938 | -0.0027732 | -0.011267
7 | YES | 801.728 | 0.41683 | 0.0029264 | 0.005834 | -0.0028986 | -0.0087326
7 | YES | 598.714 | 0.58245 | 0.0017954 | 0.0024481 | -0.0030642 | -0.0055123
7 | YES | 400.897 | 1.2287 | 0.0024847 | 0.0056888 | -0.0037104 | -0.0093992
7 | YES | 300.847 | 2.1639 | 0.002583 | 0.014942 | -0.0046457 | -0.019588
7 | YES | 251.018 | 3.0535 | 0.0034473 | 0.010523 | -0.0055353 | -0.016058
7 | YES | 200.852 | 3.8798 | 0.0048738 | 0.031751 | -0.0063616 | -0.038112
7 | YES | 175.66 | 4.218 | 0.0030461 | 0.0050211 | -0.0066998 | -0.011721
7 | YES | 150.772 | 4.5694 | 0.005547 | 0.022378 | -0.0070512 | -0.029429
7 | YES | 126.114 | 4.9291 | 0.007418 | 0.011083 | -0.0074109 | -0.018494
7 | YES | 101.001 | 5.8519 | 0.0047155 | 0.037884 | -0.0083337 | -0.046218
7 | YES | 75.5444 | 6.65 | 0.0061941 | 0.013983 | -0.0091318 | -0.023115
7 | YES | 50.6567 | 6.8251 | 0.0042632 | -0.012855 | -0.009307 | 0.0035476
7 | NO | 26.0889 | 6.9186 | 0.012898 | -0.13636 | -0.0094005 | 0.12696
7 | NO | 10.5053 | 5.7494 | 0.0030258 | -0.19364 | -0.0082312 | 0.18541
7 | NO | 5.4688 | 5.7273 | 0.0068321 | -0.2167 | -0.0082091 | 0.20849
8 | NO | 4318.28 | 2.9752 | 0.01283 | -0.23281 | -0.005457 | 0.22736
8 | NO | 4001.02 | 2.9407 | 0.0045781 | -0.2313 | -0.0054225 | 0.22587
8 | NO | 3499.95 | 2.7595 | 0.003921 | -0.19246 | -0.0052413 | 0.18722
8 | NO | 3000.14 | 2.4349 | 0.0036796 | -0.11912 | -0.0049167 | 0.1142
8 | NO | 2498.79 | 1.9057 | 0.0062244 | -0.059319 | -0.0043874 | 0.054932
8 | YES | 2001.07 | 1.3111 | 0.0054822 | -0.013871 | -0.0037929 | 0.010079
8 | YES | 1500.09 | 0.64721 | 0.0047759 | 0.0072116 | -0.003129 | -0.010341
8 | YES | 1251.18 | 0.41636 | 0.0040824 | -0.010635 | -0.0028981 | 0.0077367
8 | YES | 1000.23 | 0.3484 | 0.0034688 | -0.0036017 | -0.0028301 | 0.00077153
8 | YES | 801.411 | 0.42233 | 0.0012334 | -0.0016722 | -0.0029041 | -0.0012319
8 | YES | 600.79 | 0.46395 | 0.0042615 | -4.5627e-05 | -0.0029457 | -0.0029001
8 | YES | 399.816 | 0.86036 | 0.0027881 | -0.011639 | -0.0033421 | 0.0082969
8 | YES | 300.174 | 1.7117 | 0.0034686 | -0.003332 | -0.0041934 | -0.00086142
8 | YES | 251.625 | 2.1832 | 0.0043996 | -0.030763 | -0.004665 | 0.026098
8 | YES | 202.384 | 2.968 | 0.0036667 | -0.016971 | -0.0054498 | 0.011521
8 | YES | 176.02 | 3.2687 | 0.0040768 | -0.013282 | -0.0057505 | 0.0075318
8 | YES | 151.535 | 3.6152 | 0.0051594 | 0.00018668 | -0.006097 | -0.0062837
8 | YES | 126.171 | 4.2742 | 0.0064038 | -0.02876 | -0.0067561 | 0.022003
8 | YES | 101.248 | 6.1577 | 0.0040837 | -0.035344 | -0.0086395 | 0.026705
8 | YES | 76.1665 | 6.6882 | 0.0063395 | 0.0082202 | -0.0091701 | -0.01739
8 | YES | 51.18 | 6.7846 | 0.0053637 | -0.019378 | -0.0092665 | 0.010111
8 | NO | 25.6832 | 6.8086 | 0.034404 | 0.19358 | -0.0092904 | -0.20287
8 | NO | 11.1444 | 6.037 | 0.0073008 | -0.16905 | -0.0085188 | 0.16054
8 | NO | 6.2646 | 6.0421 | 0.0062227 | -0.15994 | -0.0085239 | 0.15142
NO
NO
NO
NO
YES
NO
YES
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
FIT vs. Pressure
FIT vs. DOX_CTD
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (DOX_CTD - DOX_BOT) (2)
Calculation of Linear Least Squares Fit For
(DOX_CTD - DOX_BOT)
3
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (DOX_CTD - DOX_BOT), Prop=File Pair #
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.00051334 |  | X | CALC Y
m= | 0.00021986 | 0.0010847 |  | Std Dev of Resid |  | 0.021408 |  | 1 | -0.0080832
b= | -0.008303 | 0.005989 |  | Resid Sum of Squares |  | 0.036664 |  | 8 | -0.0065441
# of Values Extracted = |  |  | 148
# of Values Used in Fit = |  |  | 82
File | Use | Pressure | DOX_CTD | DOX_CTD | Diff (DOX_CTD - DOX_BOT) |  |  |  | Fit vs. | File Pair #
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 220.557 | 0.090149 | 0.0019393 | 0.090149 | -0.0080832 | -0.098233 |  | 1 | -0.022585
1 | NO | 200.99 | 0.080004 | 0.0015982 | 0.080004 | -0.0080832 | -0.088087 |  | 1 | -0.018452
1 | NO | 175.645 | 0.07422 | 0.0016997 | 0.07422 | -0.0080832 | -0.082303 |  | 2 | 0.020108
1 | NO | 150.882 | 0.069456 | 0.002234 | 0.069456 | -0.0080832 | -0.07754 |  | 2 | -0.00042319
1 | YES | 125.62 | 1.2224 | 0.0034451 | -0.022585 | -0.0080832 | 0.014502 |  | 2 | 0.010273
1 | NO | 100.973 | 1.6143 | 0.0026662 | -0.076743 | -0.0080832 | 0.06866 |  | 2 | 0.022273
1 | YES | 75.7464 | 1.4385 | 0.0064277 | -0.018452 | -0.0080832 | 0.010369 |  | 2 | -0.004282
1 | NO | 50.8471 | 3.3522 | 0.0058363 | -0.052797 | -0.0080832 | 0.044713 |  | 2 | -0.03878
1 | NO | 25.8125 | 4.1952 | 0.0041186 | -0.63081 | -0.0080832 | 0.62273 |  | 3 | 0.0017511
1 | NO | 10.504 | 6.1538 | 0.019104 | -0.12821 | -0.0080832 | 0.12012 |  | 3 | 0.015525
1 | NO | 5.8004 | 8.5787 | 0.22988 | 0.41868 | -0.0080832 | -0.42676 |  | 3 | 0.017525
2 | YES | 108.611 | 1.8111 | 0.0022887 | 0.020108 | -0.0078633 | -0.027971 |  | 3 | 0.017895
2 | YES | 101.434 | 1.8096 | 0.0024434 | -0.00042319 | -0.0078633 | -0.0074401 |  | 3 | 0.013186
2 | YES | 75.7605 | 2.0313 | 0.0070266 | 0.010273 | -0.0078633 | -0.018136 |  | 3 | 0.0035021
2 | YES | 75.7605 | 2.0313 | 0.0070266 | 0.022273 | -0.0078633 | -0.030136 |  | 3 | -0.010138
2 | YES | 51.7454 | 2.5427 | 0.011735 | -0.004282 | -0.0078633 | -0.0035813 |  | 3 | -0.026535
2 | YES | 26.6291 | 3.2322 | 0.0046821 | -0.03878 | -0.0078633 | 0.030917 |  | 3 | 0.0062655
2 | NO | 11.0876 | 4.6858 | 0.21933 | 0.28883 | -0.0078633 | -0.29669 |  | 3 | -0.013004
2 | NO | 6.3947 | 6.8623 | 0.035056 | -0.059729 | -0.0078633 | 0.051865 |  | 3 | -0.006166
3 | YES | 1301.15 | 0.52175 | 0.0038107 | 0.0017511 | -0.0076435 | -0.0093945 |  | 3 | -0.0021868
3 | YES | 1251 | 0.44753 | 0.0030511 | 0.015525 | -0.0076435 | -0.023168 |  | 3 | -0.0057344
3 | YES | 1251 | 0.44753 | 0.0030511 | 0.017525 | -0.0076435 | -0.025168 |  | 3 | 0.031328
3 | YES | 1001.42 | 0.2819 | 0.0030689 | 0.017895 | -0.0076435 | -0.025538 |  | 3 | 0.048158
3 | YES | 801.798 | 0.23019 | 0.0027095 | 0.013186 | -0.0076435 | -0.020829 |  | 3 | -0.012344
3 | YES | 602.298 | 0.3885 | 0.0027811 | 0.0035021 | -0.0076435 | -0.011146 |  | 3 | 0.00094175
3 | YES | 401.413 | 0.88386 | 0.0024941 | -0.010138 | -0.0076435 | 0.0024948 |  | 3 | 0.0061407
3 | YES | 301.793 | 1.4765 | 0.0021602 | -0.026535 | -0.0076435 | 0.018892 |  | 4 | -0.035083
3 | YES | 250.965 | 1.9103 | 0.0041034 | 0.0062655 | -0.0076435 | -0.013909 |  | 4 | -0.046083
3 | YES | 201.11 | 2.43 | 0.0024367 | -0.013004 | -0.0076435 | 0.0053608 |  | 4 | -0.0087095
3 | YES | 176.023 | 2.7158 | 0.0038348 | -0.006166 | -0.0076435 | -0.0014775 |  | 4 | -0.0057013
3 | YES | 151.638 | 3.5098 | 0.0054561 | -0.0021868 | -0.0076435 | -0.0054567 |  | 4 | -0.0046307
3 | YES | 125.98 | 3.9453 | 0.0053607 | -0.0057344 | -0.0076435 | -0.001909 |  | 4 | 0.0044564
3 | YES | 101.32 | 4.5873 | 0.0072368 | 0.031328 | -0.0076435 | -0.038971 |  | 4 | -0.012013
3 | YES | 76.0445 | 5.2292 | 0.0063914 | 0.048158 | -0.0076435 | -0.055801 |  | 4 | -0.025145
3 | YES | 50.7813 | 6.3967 | 0.0060829 | -0.012344 | -0.0076435 | 0.0047009 |  | 4 | -0.033747
3 | NO | 26.0458 | 5.5765 | 0.010109 | -0.17152 | -0.0076435 | 0.16387 |  | 4 | -0.049311
3 | YES | 11.4721 | 6.2359 | 0.01073 | 0.00094175 | -0.0076435 | -0.0085852 |  | 4 | -0.033643
3 | YES | 6.432 | 6.2931 | 0.0045347 | 0.0061407 | -0.0076435 | -0.013784 |  | 4 | -0.015548
4 | NO | 2000.88 | 1.3359 | 0.0086176 | -0.066076 | -0.0074236 | 0.058652 |  | 4 | -0.046291
4 | YES | 1501.18 | 0.63692 | 0.0070077 | -0.035083 | -0.0074236 | 0.027659 |  | 4 | -0.047482
4 | YES | 1501.18 | 0.63692 | 0.0070077 | -0.046083 | -0.0074236 | 0.038659 |  | 4 | -0.046419
4 | YES | 1251.37 | 0.34529 | 0.0068336 | -0.0087095 | -0.0074236 | 0.001286 |  | 4 | -0.021413
4 | YES | 1000.83 | 0.2403 | 0.0062211 | -0.0057013 | -0.0074236 | -0.0017223 |  | 4 | -0.014004
4 | YES | 801.33 | 0.28837 | 0.0070107 | -0.0046307 | -0.0074236 | -0.0027929 |  | 4 | -0.0077987
4 | YES | 601.133 | 0.42446 | 0.00587 | 0.0044564 | -0.0074236 | -0.01188 |  | 6 | -0.042622
4 | YES | 401.179 | 1.287 | 0.0070324 | -0.012013 | -0.0074236 | 0.0045889 |  | 6 | -0.020178
4 | YES | 300.883 | 1.8739 | 0.0046672 | -0.025145 | -0.0074236 | 0.017722 |  | 6 | -0.02842
4 | YES | 250.793 | 2.6343 | 0.0094933 | -0.033747 | -0.0074236 | 0.026323 |  | 6 | -0.03971
4 | YES | 200.898 | 3.8297 | 0.0063179 | -0.049311 | -0.0074236 | 0.041888 |  | 6 | -0.025
4 | YES | 176.16 | 4.1364 | 0.0043824 | -0.033643 | -0.0074236 | 0.02622 |  | 6 | -0.03739
4 | YES | 150.905 | 4.3235 | 0.0053997 | -0.015548 | -0.0074236 | 0.0081242 |  | 7 | -0.0087178
4 | YES | 126.447 | 4.5097 | 0.0074804 | -0.046291 | -0.0074236 | 0.038867 |  | 7 | 0.016419
4 | YES | 101.006 | 5.4785 | 0.0052242 | -0.047482 | -0.0074236 | 0.040058 |  | 7 | 0.0070622
4 | NO | 76.3731 | 6.4214 | 0.0048015 | -0.066614 | -0.0074236 | 0.059191 |  | 7 | 0.0084938
4 | YES | 51.2358 | 6.1336 | 0.0084633 | -0.046419 | -0.0074236 | 0.038996 |  | 7 | 0.005834
4 | YES | 26.4322 | 5.8936 | 0.0090175 | -0.021413 | -0.0074236 | 0.013989 |  | 7 | 0.0024481
4 | YES | 11.476 | 5.927 | 0.0077859 | -0.014004 | -0.0074236 | 0.0065806 |  | 7 | 0.0056888
4 | YES | 6.3995 | 5.9342 | 0.0060592 | -0.0077987 | -0.0074236 | 0.00037508 |  | 7 | 0.014942
5 | NO | 3052.32 | -2.48 | 0.001001 | -4.79 | -0.0072037 | 4.7827 |  | 7 | 0.010523
5 | NO | 3001.27 | -2.466 | 5.3083e-05 | -4.729 | -0.0072037 | 4.7218 |  | 7 | 0.031751
5 | NO | 3001.27 | -2.466 | 5.3083e-05 | -4.74 | -0.0072037 | 4.7328 |  | 7 | 0.0050211
5 | NO | 2500.39 | -2.31 | 0 | -4.174 | -0.0072037 | 4.1668 |  | 7 | 0.022378
5 | NO | 2001.18 | -2.1553 | 0.00046722 | -3.5293 | -0.0072037 | 3.5221 |  | 7 | 0.011083
5 | NO | 1502.93 | -1.9955 | 0.00050085 | -2.6815 | -0.0072037 | 2.6743 |  | 7 | 0.037884
5 | NO | 1251.66 | -1.9097 | 0.00044892 | -2.2647 | -0.0072037 | 2.2575 |  | 7 | 0.013983
5 | NO | 1001.19 | -1.824 | 0 | -2.097 | -0.0072037 | 2.0898 |  | 7 | -0.012855
5 | NO | 800.861 | -1.765 | 0 | -2.153 | -0.0072037 | 2.1458 |  | 8 | -0.013871
5 | NO | 601.773 | -1.697 | 0 | -2.277 | -0.0072037 | 2.2698 |  | 8 | 0.0072116
5 | NO | 400.458 | -1.616 | 0 | -2.741 | -0.0072037 | 2.7338 |  | 8 | -0.010635
5 | NO | 300.974 | -1.578 | 0 | -3.572 | -0.0072037 | 3.5648 |  | 8 | -0.0036017
5 | NO | 250.819 | -1.553 | 0 | -4.411 | -0.0072037 | 4.4038 |  | 8 | -0.0016722
5 | NO | 200.95 | -1.526 | 0 | -5.651 | -0.0072037 | 5.6438 |  | 8 | -4.5627e-05
5 | NO | 175.636 | -1.514 | 0 | -6.117 | -0.0072037 | 6.1098 |  | 8 | -0.011639
5 | NO | 151.78 | -1.5084 | 0.00049569 | -6.6934 | -0.0072037 | 6.6862 |  | 8 | -0.003332
5 | NO | 125.969 | -1.499 | 0 | -7.251 | -0.0072037 | 7.2438 |  | 8 | -0.030763
5 | NO | 101.136 | -1.478 | 0.00011625 | -7.662 | -0.0072037 | 7.6548 |  | 8 | -0.016971
6 | NO | 3685.45 | 2.5906 | 0.005598 | -0.14943 | -0.0069839 | 0.14244 |  | 8 | -0.013282
6 | NO | 3500.91 | 2.5661 | 0.0078613 | -0.12992 | -0.0069839 | 0.12293 |  | 8 | 0.00018668
6 | NO | 3500.91 | 2.5661 | 0.0078613 | -0.13392 | -0.0069839 | 0.12693 |  | 8 | -0.02876
6 | NO | 3000.17 | 2.3451 | 0.0039057 | -0.11189 | -0.0069839 | 0.10491 |  | 8 | -0.035344
6 | NO | 2501.01 | 1.8676 | 0.0068613 | -0.076415 | -0.0069839 | 0.069431 |  | 8 | 0.0082202
6 | YES | 2001.36 | 1.1674 | 0.0045464 | -0.042622 | -0.0069839 | 0.035639 |  | 8 | -0.019378
6 | YES | 1501.92 | 0.46982 | 0.0040401 | -0.020178 | -0.0069839 | 0.013195
6 | YES | 1251.7 | 0.28858 | 0.0017989 | -0.02842 | -0.0069839 | 0.021436
6 | YES | 1001.47 | 0.28229 | 0.0029803 | -0.03971 | -0.0069839 | 0.032726
6 | YES | 801.373 | 0.375 | 0.0014916 | -0.025 | -0.0069839 | 0.018016
6 | YES | 601.075 | 0.65461 | 0.0029547 | -0.03739 | -0.0069839 | 0.030406
6 | NO | 401.369 | 1.5137 | 0.0030597 | -0.062324 | -0.0069839 | 0.05534
6 | NO | 301.724 | 2.5342 | 0.0030912 | -0.064834 | -0.0069839 | 0.05785
6 | NO | 250.858 | 3.3106 | 0.00325 | -0.088427 | -0.0069839 | 0.081443
6 | NO | 201.975 | 4.0419 | 0.0087951 | -0.099095 | -0.0069839 | 0.092111
6 | NO | 175.828 | 4.3356 | 0.0069527 | -0.10439 | -0.0069839 | 0.097406
6 | NO | 151.066 | 4.6813 | 0.0069487 | -0.087722 | -0.0069839 | 0.080738
6 | NO | 126.286 | 5.2386 | 0.010286 | -0.093361 | -0.0069839 | 0.086377
6 | NO | 101.357 | 6.1271 | 0.0041933 | -0.10091 | -0.0069839 | 0.093925
6 | NO | 75.8634 | 6.5662 | 0.013069 | -0.11282 | -0.0069839 | 0.10584
6 | NO | 50.8061 | 6.6354 | 0.0086364 | -0.12957 | -0.0069839 | 0.12259
6 | NO | 25.9505 | 5.9287 | 0.013857 | -0.20633 | -0.0069839 | 0.19935
6 | NO | 11.4237 | 5.8926 | 0.012453 | -0.17242 | -0.0069839 | 0.16544
6 | NO | 5.5131 | 5.8817 | 0.0070244 | -0.17927 | -0.0069839 | 0.17229
7 | NO | 4024.87 | 2.7786 | 0.0079596 | -0.19044 | -0.006764 | 0.18367
7 | NO | 3501.65 | 2.651 | 0.0069856 | -0.18804 | -0.006764 | 0.18127
7 | NO | 3501.65 | 2.651 | 0.0069856 | -0.18504 | -0.006764 | 0.17827
7 | NO | 3000.2 | 2.3228 | 0.003234 | -0.14117 | -0.006764 | 0.13441
7 | NO | 2501.51 | 1.8592 | 0.0048325 | -0.061838 | -0.006764 | 0.055074
7 | YES | 2001.13 | 1.2383 | 0.0035956 | -0.0087178 | -0.006764 | 0.0019538
7 | YES | 1499.86 | 0.52442 | 0.0030541 | 0.016419 | -0.006764 | -0.023183
7 | YES | 1251.27 | 0.32306 | 0.002139 | 0.0070622 | -0.006764 | -0.013826
7 | YES | 1000.71 | 0.29149 | 0.0028049 | 0.0084938 | -0.006764 | -0.015258
7 | YES | 801.728 | 0.41683 | 0.0029264 | 0.005834 | -0.006764 | -0.012598
7 | YES | 598.714 | 0.58245 | 0.0017954 | 0.0024481 | -0.006764 | -0.0092121
7 | YES | 400.897 | 1.2287 | 0.0024847 | 0.0056888 | -0.006764 | -0.012453
7 | YES | 300.847 | 2.1639 | 0.002583 | 0.014942 | -0.006764 | -0.021706
7 | YES | 251.018 | 3.0535 | 0.0034473 | 0.010523 | -0.006764 | -0.017287
7 | YES | 200.852 | 3.8798 | 0.0048738 | 0.031751 | -0.006764 | -0.038515
7 | YES | 175.66 | 4.218 | 0.0030461 | 0.0050211 | -0.006764 | -0.011785
7 | YES | 150.772 | 4.5694 | 0.005547 | 0.022378 | -0.006764 | -0.029142
7 | YES | 126.114 | 4.9291 | 0.007418 | 0.011083 | -0.006764 | -0.017847
7 | YES | 101.001 | 5.8519 | 0.0047155 | 0.037884 | -0.006764 | -0.044648
7 | YES | 75.5444 | 6.65 | 0.0061941 | 0.013983 | -0.006764 | -0.020747
7 | YES | 50.6567 | 6.8251 | 0.0042632 | -0.012855 | -0.006764 | 0.0060906
7 | NO | 26.0889 | 6.9186 | 0.012898 | -0.13636 | -0.006764 | 0.12959
7 | NO | 10.5053 | 5.7494 | 0.0030258 | -0.19364 | -0.006764 | 0.18688
7 | NO | 5.4688 | 5.7273 | 0.0068321 | -0.2167 | -0.006764 | 0.20994
8 | NO | 4318.28 | 2.9752 | 0.01283 | -0.23281 | -0.0065441 | 0.22627
8 | NO | 4001.02 | 2.9407 | 0.0045781 | -0.2313 | -0.0065441 | 0.22475
8 | NO | 3499.95 | 2.7595 | 0.003921 | -0.19246 | -0.0065441 | 0.18592
8 | NO | 3000.14 | 2.4349 | 0.0036796 | -0.11912 | -0.0065441 | 0.11258
8 | NO | 2498.79 | 1.9057 | 0.0062244 | -0.059319 | -0.0065441 | 0.052775
8 | YES | 2001.07 | 1.3111 | 0.0054822 | -0.013871 | -0.0065441 | 0.0073273
8 | YES | 1500.09 | 0.64721 | 0.0047759 | 0.0072116 | -0.0065441 | -0.013756
8 | YES | 1251.18 | 0.41636 | 0.0040824 | -0.010635 | -0.0065441 | 0.0040907
8 | YES | 1000.23 | 0.3484 | 0.0034688 | -0.0036017 | -0.0065441 | -0.0029425
8 | YES | 801.411 | 0.42233 | 0.0012334 | -0.0016722 | -0.0065441 | -0.0048719
8 | YES | 600.79 | 0.46395 | 0.0042615 | -4.5627e-05 | -0.0065441 | -0.0064985
8 | YES | 399.816 | 0.86036 | 0.0027881 | -0.011639 | -0.0065441 | 0.0050949
8 | YES | 300.174 | 1.7117 | 0.0034686 | -0.003332 | -0.0065441 | -0.0032121
8 | YES | 251.625 | 2.1832 | 0.0043996 | -0.030763 | -0.0065441 | 0.024219
8 | YES | 202.384 | 2.968 | 0.0036667 | -0.016971 | -0.0065441 | 0.010427
8 | YES | 176.02 | 3.2687 | 0.0040768 | -0.013282 | -0.0065441 | 0.0067382
8 | YES | 151.535 | 3.6152 | 0.0051594 | 0.00018668 | -0.0065441 | -0.0067308
8 | YES | 126.171 | 4.2742 | 0.0064038 | -0.02876 | -0.0065441 | 0.022215
8 | YES | 101.248 | 6.1577 | 0.0040837 | -0.035344 | -0.0065441 | 0.0288
8 | YES | 76.1665 | 6.6882 | 0.0063395 | 0.0082202 | -0.0065441 | -0.014764
8 | YES | 51.18 | 6.7846 | 0.0053637 | -0.019378 | -0.0065441 | 0.012834
8 | NO | 25.6832 | 6.8086 | 0.034404 | 0.19358 | -0.0065441 | -0.20012
8 | NO | 11.1444 | 6.037 | 0.0073008 | -0.16905 | -0.0065441 | 0.16251
8 | NO | 6.2646 | 6.0421 | 0.0062227 | -0.15994 | -0.0065441 | 0.1534
NO
NO
NO
NO
YES
NO
YES
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
FIT vs. Pressure
FIT vs. DOX_CTD
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (DOX_CTD - DOX_BOT) (3)
Calculation of Linear Least Squares Fit For
(DOX_CTD - DOX_BOT)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (DOX_CTD - DOX_BOT), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.0030935 |  | X | CALC Y
m= | 2.1477e-05 | 6.4259e-05 |  | Std Dev of Resid |  | 0.14398 |  | 5.8004 | -0.0065163
b= | -0.0066409 | 0.028531 |  | Resid Sum of Squares |  | 0.74624 |  | 1301.15 | 0.021304
# of Values Extracted = |  |  | 58
# of Values Used in Fit = |  |  | 38
File | Use | Pressure | DOX_CTD | DOX_CTD | Diff (DOX_CTD - DOX_BOT) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 220.557 | 0.090149 | 0.0019393 | 0.090149 | -0.0019039 | -0.092053 |  | 220.557 | 0.090149
1 | YES | 200.99 | 0.080004 | 0.0015982 | 0.080004 | -0.0023242 | -0.082328 |  | 200.99 | 0.080004
1 | YES | 175.645 | 0.07422 | 0.0016997 | 0.07422 | -0.0028685 | -0.077088 |  | 175.645 | 0.07422
1 | YES | 150.882 | 0.069456 | 0.002234 | 0.069456 | -0.0034003 | -0.072857 |  | 150.882 | 0.069456
1 | YES | 125.62 | 1.2224 | 0.0034451 | -0.022585 | -0.0039429 | 0.018642 |  | 125.62 | -0.022585
1 | YES | 100.973 | 1.6143 | 0.0026662 | -0.076743 | -0.0044722 | 0.072271 |  | 100.973 | -0.076743
1 | YES | 75.7464 | 1.4385 | 0.0064277 | -0.018452 | -0.005014 | 0.013438 |  | 75.7464 | -0.018452
1 | YES | 50.8471 | 3.3522 | 0.0058363 | -0.052797 | -0.0055488 | 0.047248 |  | 50.8471 | -0.052797
1 | YES | 25.8125 | 4.1952 | 0.0041186 | -0.63081 | -0.0060865 | 0.62472 |  | 25.8125 | -0.63081
1 | YES | 10.504 | 6.1538 | 0.019104 | -0.12821 | -0.0064153 | 0.12179 |  | 10.504 | -0.12821
1 | YES | 5.8004 | 8.5787 | 0.22988 | 0.41868 | -0.0065163 | -0.4252 |  | 5.8004 | 0.41868
2 | YES | 108.611 | 1.8111 | 0.0022887 | 0.020108 | -0.0043082 | -0.024416 |  | 108.611 | 0.020108
2 | YES | 101.434 | 1.8096 | 0.0024434 | -0.00042319 | -0.0044623 | -0.0040391 |  | 101.434 | -0.00042319
2 | YES | 75.7605 | 2.0313 | 0.0070266 | 0.010273 | -0.0050137 | -0.015286 |  | 75.7605 | 0.010273
2 | YES | 75.7605 | 2.0313 | 0.0070266 | 0.022273 | -0.0050137 | -0.027286 |  | 75.7605 | 0.022273
2 | YES | 51.7454 | 2.5427 | 0.011735 | -0.004282 | -0.0055295 | -0.0012475 |  | 51.7454 | -0.004282
2 | YES | 26.6291 | 3.2322 | 0.0046821 | -0.03878 | -0.0060689 | 0.032711 |  | 26.6291 | -0.03878
2 | YES | 11.0876 | 4.6858 | 0.21933 | 0.28883 | -0.0064027 | -0.29523 |  | 11.0876 | 0.28883
2 | YES | 6.3947 | 6.8623 | 0.035056 | -0.059729 | -0.0065035 | 0.053225 |  | 6.3947 | -0.059729
3 | YES | 1301.15 | 0.52175 | 0.0038107 | 0.0017511 | 0.021304 | 0.019553 |  | 1301.15 | 0.0017511
3 | YES | 1251 | 0.44753 | 0.0030511 | 0.015525 | 0.020227 | 0.0047025 |  | 1251 | 0.015525
3 | YES | 1251 | 0.44753 | 0.0030511 | 0.017525 | 0.020227 | 0.0027025 |  | 1251 | 0.017525
3 | YES | 1001.42 | 0.2819 | 0.0030689 | 0.017895 | 0.014867 | -0.0030278 |  | 1001.42 | 0.017895
3 | YES | 801.798 | 0.23019 | 0.0027095 | 0.013186 | 0.01058 | -0.0026062 |  | 801.798 | 0.013186
3 | YES | 602.298 | 0.3885 | 0.0027811 | 0.0035021 | 0.0062948 | 0.0027927 |  | 602.298 | 0.0035021
3 | YES | 401.413 | 0.88386 | 0.0024941 | -0.010138 | 0.0019804 | 0.012119 |  | 401.413 | -0.010138
3 | YES | 301.793 | 1.4765 | 0.0021602 | -0.026535 | -0.00015919 | 0.026376 |  | 301.793 | -0.026535
3 | YES | 250.965 | 1.9103 | 0.0041034 | 0.0062655 | -0.0012508 | -0.0075163 |  | 250.965 | 0.0062655
3 | YES | 201.11 | 2.43 | 0.0024367 | -0.013004 | -0.0023216 | 0.010683 |  | 201.11 | -0.013004
3 | YES | 176.023 | 2.7158 | 0.0038348 | -0.006166 | -0.0028604 | 0.0033056 |  | 176.023 | -0.006166
3 | YES | 151.638 | 3.5098 | 0.0054561 | -0.0021868 | -0.0033841 | -0.0011973 |  | 151.638 | -0.0021868
3 | YES | 125.98 | 3.9453 | 0.0053607 | -0.0057344 | -0.0039352 | 0.0017993 |  | 125.98 | -0.0057344
3 | YES | 101.32 | 4.5873 | 0.0072368 | 0.031328 | -0.0044648 | -0.035792 |  | 101.32 | 0.031328
3 | YES | 76.0445 | 5.2292 | 0.0063914 | 0.048158 | -0.0050076 | -0.053165 |  | 76.0445 | 0.048158
3 | YES | 50.7813 | 6.3967 | 0.0060829 | -0.012344 | -0.0055502 | 0.0067942 |  | 50.7813 | -0.012344
3 | YES | 26.0458 | 5.5765 | 0.010109 | -0.17152 | -0.0060815 | 0.16543 |  | 26.0458 | -0.17152
3 | YES | 11.4721 | 6.2359 | 0.01073 | 0.00094175 | -0.0063945 | -0.0073362 |  | 11.4721 | 0.00094175
3 | YES | 6.432 | 6.2931 | 0.0045347 | 0.0061407 | -0.0065027 | -0.012643 |  | 6.432 | 0.0061407
4 | NO | 2000.88 | 1.3359 | 0.0086176 | -0.066076 | 0.036332 | 0.10241
4 | NO | 1501.18 | 0.63692 | 0.0070077 | -0.035083 | 0.0256 | 0.060683
4 | NO | 1501.18 | 0.63692 | 0.0070077 | -0.046083 | 0.0256 | 0.071683
4 | NO | 1251.37 | 0.34529 | 0.0068336 | -0.0087095 | 0.020235 | 0.028945
4 | NO | 1000.83 | 0.2403 | 0.0062211 | -0.0057013 | 0.014854 | 0.020555
4 | NO | 801.33 | 0.28837 | 0.0070107 | -0.0046307 | 0.010569 | 0.0152
4 | NO | 601.133 | 0.42446 | 0.00587 | 0.0044564 | 0.0062698 | 0.0018134
4 | NO | 401.179 | 1.287 | 0.0070324 | -0.012013 | 0.0019753 | 0.013988
4 | NO | 300.883 | 1.8739 | 0.0046672 | -0.025145 | -0.00017873 | 0.024967
4 | NO | 250.793 | 2.6343 | 0.0094933 | -0.033747 | -0.0012545 | 0.032492
4 | NO | 200.898 | 3.8297 | 0.0063179 | -0.049311 | -0.0023261 | 0.046985
4 | NO | 176.16 | 4.1364 | 0.0043824 | -0.033643 | -0.0028574 | 0.030786
4 | NO | 150.905 | 4.3235 | 0.0053997 | -0.015548 | -0.0033998 | 0.012148
4 | NO | 126.447 | 4.5097 | 0.0074804 | -0.046291 | -0.0039251 | 0.042366
4 | NO | 101.006 | 5.4785 | 0.0052242 | -0.047482 | -0.0044715 | 0.04301
4 | NO | 76.3731 | 6.4214 | 0.0048015 | -0.066614 | -0.0050006 | 0.061614
4 | NO | 51.2358 | 6.1336 | 0.0084633 | -0.046419 | -0.0055404 | 0.040879
4 | NO | 26.4322 | 5.8936 | 0.0090175 | -0.021413 | -0.0060732 | 0.01534
4 | NO | 11.476 | 5.927 | 0.0077859 | -0.014004 | -0.0063944 | 0.0076098
4 | NO | 6.3995 | 5.9342 | 0.0060592 | -0.0077987 | -0.0065034 | 0.0012953
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
FIT vs. Pressure
FIT vs. DOX_CTD
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (DOX_CTD - DOX_BOT) (4)
Calculation of Linear Least Squares Fit For
(DOX_CTD - DOX_BOT)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (DOX_CTD - DOX_BOT), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.072721 |  | X | CALC Y
m= | -1.6496e-05 | 9.6839e-06 |  | Std Dev of Resid |  | 0.036404 |  | 25.6832 | 0.010181
b= | 0.010605 | 0.0085451 |  | Resid Sum of Squares |  | 0.049035 |  | 2001.36 | -0.022409
# of Values Extracted = |  |  | 72
# of Values Used in Fit = |  |  | 39
File | Use | Pressure | DOX_CTD | DOX_CTD | Diff (DOX_CTD - DOX_BOT) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
6 | NO | 3685.45 | 2.5906 | 0.005598 | -0.14943 | -0.05019 | 0.099237 |  | 2001.36 | -0.042622
6 | NO | 3500.91 | 2.5661 | 0.0078613 | -0.12992 | -0.047146 | 0.082772 |  | 1501.92 | -0.020178
6 | NO | 3500.91 | 2.5661 | 0.0078613 | -0.13392 | -0.047146 | 0.086772 |  | 1251.7 | -0.02842
6 | NO | 3000.17 | 2.3451 | 0.0039057 | -0.11189 | -0.038885 | 0.073007 |  | 1001.47 | -0.03971
6 | NO | 2501.01 | 1.8676 | 0.0068613 | -0.076415 | -0.030651 | 0.045763 |  | 801.373 | -0.025
6 | YES | 2001.36 | 1.1674 | 0.0045464 | -0.042622 | -0.022409 | 0.020213 |  | 601.075 | -0.03739
6 | YES | 1501.92 | 0.46982 | 0.0040401 | -0.020178 | -0.014171 | 0.0060079 |  | 2001.13 | -0.0087178
6 | YES | 1251.7 | 0.28858 | 0.0017989 | -0.02842 | -0.010043 | 0.018377 |  | 1499.86 | 0.016419
6 | YES | 1001.47 | 0.28229 | 0.0029803 | -0.03971 | -0.0059151 | 0.033794 |  | 1251.27 | 0.0070622
6 | YES | 801.373 | 0.375 | 0.0014916 | -0.025 | -0.0026144 | 0.022386 |  | 1000.71 | 0.0084938
6 | YES | 601.075 | 0.65461 | 0.0029547 | -0.03739 | 0.00068974 | 0.03808 |  | 801.728 | 0.005834
6 | NO | 401.369 | 1.5137 | 0.0030597 | -0.062324 | 0.0039841 | 0.066308 |  | 598.714 | 0.0024481
6 | NO | 301.724 | 2.5342 | 0.0030912 | -0.064834 | 0.0056278 | 0.070462 |  | 400.897 | 0.0056888
6 | NO | 250.858 | 3.3106 | 0.00325 | -0.088427 | 0.0064669 | 0.094894 |  | 300.847 | 0.014942
6 | NO | 201.975 | 4.0419 | 0.0087951 | -0.099095 | 0.0072732 | 0.10637 |  | 251.018 | 0.010523
6 | NO | 175.828 | 4.3356 | 0.0069527 | -0.10439 | 0.0077046 | 0.11209 |  | 200.852 | 0.031751
6 | NO | 151.066 | 4.6813 | 0.0069487 | -0.087722 | 0.008113 | 0.095835 |  | 175.66 | 0.0050211
6 | NO | 126.286 | 5.2386 | 0.010286 | -0.093361 | 0.0085218 | 0.10188 |  | 150.772 | 0.022378
6 | NO | 101.357 | 6.1271 | 0.0041933 | -0.10091 | 0.008933 | 0.10984 |  | 126.114 | 0.011083
6 | NO | 75.8634 | 6.5662 | 0.013069 | -0.11282 | 0.0093536 | 0.12218 |  | 101.001 | 0.037884
6 | NO | 50.8061 | 6.6354 | 0.0086364 | -0.12957 | 0.0097669 | 0.13934 |  | 75.5444 | 0.013983
6 | NO | 25.9505 | 5.9287 | 0.013857 | -0.20633 | 0.010177 | 0.21651 |  | 50.6567 | -0.012855
6 | NO | 11.4237 | 5.8926 | 0.012453 | -0.17242 | 0.010417 | 0.18284 |  | 2001.07 | -0.013871
6 | NO | 5.5131 | 5.8817 | 0.0070244 | -0.17927 | 0.010514 | 0.18979 |  | 1500.09 | 0.0072116
7 | NO | 4024.87 | 2.7786 | 0.0079596 | -0.19044 | -0.055789 | 0.13465 |  | 1251.18 | -0.010635
7 | NO | 3501.65 | 2.651 | 0.0069856 | -0.18804 | -0.047158 | 0.14088 |  | 1000.23 | -0.0036017
7 | NO | 3501.65 | 2.651 | 0.0069856 | -0.18504 | -0.047158 | 0.13788 |  | 801.411 | -0.0016722
7 | NO | 3000.2 | 2.3228 | 0.003234 | -0.14117 | -0.038886 | 0.10228 |  | 600.79 | -4.5627e-05
7 | NO | 2501.51 | 1.8592 | 0.0048325 | -0.061838 | -0.03066 | 0.031179 |  | 399.816 | -0.011639
7 | YES | 2001.13 | 1.2383 | 0.0035956 | -0.0087178 | -0.022405 | -0.013688 |  | 300.174 | -0.003332
7 | YES | 1499.86 | 0.52442 | 0.0030541 | 0.016419 | -0.014137 | -0.030556 |  | 251.625 | -0.030763
7 | YES | 1251.27 | 0.32306 | 0.002139 | 0.0070622 | -0.010036 | -0.017098 |  | 202.384 | -0.016971
7 | YES | 1000.71 | 0.29149 | 0.0028049 | 0.0084938 | -0.0059026 | -0.014396 |  | 176.02 | -0.013282
7 | YES | 801.728 | 0.41683 | 0.0029264 | 0.005834 | -0.0026202 | -0.0084542 |  | 151.535 | 0.00018668
7 | YES | 598.714 | 0.58245 | 0.0017954 | 0.0024481 | 0.00072868 | -0.0017195 |  | 126.171 | -0.02876
7 | YES | 400.897 | 1.2287 | 0.0024847 | 0.0056888 | 0.0039919 | -0.0016969 |  | 101.248 | -0.035344
7 | YES | 300.847 | 2.1639 | 0.002583 | 0.014942 | 0.0056423 | -0.0092996 |  | 76.1665 | 0.0082202
7 | YES | 251.018 | 3.0535 | 0.0034473 | 0.010523 | 0.0064642 | -0.0040586 |  | 51.18 | -0.019378
7 | YES | 200.852 | 3.8798 | 0.0048738 | 0.031751 | 0.0072918 | -0.024459 |  | 25.6832 | 0.19358
7 | YES | 175.66 | 4.218 | 0.0030461 | 0.0050211 | 0.0077073 | 0.0026862
7 | YES | 150.772 | 4.5694 | 0.005547 | 0.022378 | 0.0081179 | -0.01426
7 | YES | 126.114 | 4.9291 | 0.007418 | 0.011083 | 0.0085246 | -0.002558
7 | YES | 101.001 | 5.8519 | 0.0047155 | 0.037884 | 0.0089389 | -0.028945
7 | YES | 75.5444 | 6.65 | 0.0061941 | 0.013983 | 0.0093588 | -0.0046244
7 | YES | 50.6567 | 6.8251 | 0.0042632 | -0.012855 | 0.0097694 | 0.022624
7 | NO | 26.0889 | 6.9186 | 0.012898 | -0.13636 | 0.010175 | 0.14653
7 | NO | 10.5053 | 5.7494 | 0.0030258 | -0.19364 | 0.010432 | 0.20407
7 | NO | 5.4688 | 5.7273 | 0.0068321 | -0.2167 | 0.010515 | 0.22722
8 | NO | 4318.28 | 2.9752 | 0.01283 | -0.23281 | -0.060629 | 0.17218
8 | NO | 4001.02 | 2.9407 | 0.0045781 | -0.2313 | -0.055395 | 0.1759
8 | NO | 3499.95 | 2.7595 | 0.003921 | -0.19246 | -0.04713 | 0.14533
8 | NO | 3000.14 | 2.4349 | 0.0036796 | -0.11912 | -0.038885 | 0.080235
8 | NO | 2498.79 | 1.9057 | 0.0062244 | -0.059319 | -0.030615 | 0.028705
8 | YES | 2001.07 | 1.3111 | 0.0054822 | -0.013871 | -0.022404 | -0.008533
8 | YES | 1500.09 | 0.64721 | 0.0047759 | 0.0072116 | -0.01414 | -0.021352
8 | YES | 1251.18 | 0.41636 | 0.0040824 | -0.010635 | -0.010034 | 0.00060047
8 | YES | 1000.23 | 0.3484 | 0.0034688 | -0.0036017 | -0.0058947 | -0.002293
8 | YES | 801.411 | 0.42233 | 0.0012334 | -0.0016722 | -0.002615 | -0.00094278
8 | YES | 600.79 | 0.46395 | 0.0042615 | -4.5627e-05 | 0.00069444 | 0.00074006
8 | YES | 399.816 | 0.86036 | 0.0027881 | -0.011639 | 0.0040097 | 0.015649
8 | YES | 300.174 | 1.7117 | 0.0034686 | -0.003332 | 0.0056534 | 0.0089854
8 | YES | 251.625 | 2.1832 | 0.0043996 | -0.030763 | 0.0064542 | 0.037218
8 | YES | 202.384 | 2.968 | 0.0036667 | -0.016971 | 0.0072665 | 0.024237
8 | YES | 176.02 | 3.2687 | 0.0040768 | -0.013282 | 0.0077014 | 0.020984
8 | YES | 151.535 | 3.6152 | 0.0051594 | 0.00018668 | 0.0081053 | 0.0079186
8 | YES | 126.171 | 4.2742 | 0.0064038 | -0.02876 | 0.0085237 | 0.037283
8 | YES | 101.248 | 6.1577 | 0.0040837 | -0.035344 | 0.0089348 | 0.044279
8 | YES | 76.1665 | 6.6882 | 0.0063395 | 0.0082202 | 0.0093486 | 0.0011284
8 | YES | 51.18 | 6.7846 | 0.0053637 | -0.019378 | 0.0097607 | 0.029138
8 | YES | 25.6832 | 6.8086 | 0.034404 | 0.19358 | 0.010181 | -0.1834
8 | NO | 11.1444 | 6.037 | 0.0073008 | -0.16905 | 0.010421 | 0.17948
8 | NO | 6.2646 | 6.0421 | 0.0062227 | -0.15994 | 0.010502 | 0.17044
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
FIT vs. Pressure
FIT vs. DOX_CTD
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Main
# Channels= | 2 |  |  |  | COMPARE Version 3.3 | Run at 2011/05/05 13:49:56
| Primary | Secondary |  | Comparison Name
Ref | Pressure | Pressure |  | Pressure - Pressure
Comp 1 | DOX_BOT | DOX_CTD |  | DOX_CTD - DOX_BOT
Average Size: | 2
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | Pressure | Pressure | Pressure | (S-P) | DOX_BOT | DOX_CTD | DOX_CTD | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
2010-14-0001.mrgcor1 | 2010-14-0001.samcor1 | 241 | 220.557 | 220.557 | 0.035256 | 0.00027466 | 0 | 0.090149 | 0.0019393 | 0.090149
2010-14-0001.mrgcor1 | 2010-14-0001.samcor1 | 241 | 200.99 | 200.99 | 0.03427 | 0.00015259 | 0 | 0.080004 | 0.0015982 | 0.080004
2010-14-0001.mrgcor1 | 2010-14-0001.samcor1 | 241 | 175.645 | 175.645 | 0.032482 | 0.00038147 | 0 | 0.07422 | 0.0016997 | 0.07422
2010-14-0001.mrgcor1 | 2010-14-0001.samcor1 | 241 | 150.882 | 150.882 | 0.030253 | -0.00022888 | 0 | 0.069456 | 0.002234 | 0.069456
2010-14-0001.mrgcor1 | 2010-14-0001.samcor1 | 241 | 125.62 | 125.62 | 0.029277 | 0.00045776 | 1.245 | 1.2224 | 0.0034451 | -0.022585
2010-14-0001.mrgcor1 | 2010-14-0001.samcor1 | 241 | 100.973 | 100.973 | 0.029831 | -0.00041199 | 1.691 | 1.6143 | 0.0026662 | -0.076743
2010-14-0001.mrgcor1 | 2010-14-0001.samcor1 | 241 | 75.746 | 75.7464 | 0.036978 | 0.00038147 | 1.457 | 1.4385 | 0.0064277 | -0.018452
2010-14-0001.mrgcor1 | 2010-14-0001.samcor1 | 241 | 50.847 | 50.8471 | 0.032342 | 8.3923e-05 | 3.405 | 3.3522 | 0.0058363 | -0.052797
2010-14-0001.mrgcor1 | 2010-14-0001.samcor1 | 241 | 25.813 | 25.8125 | 0.03064 | -0.00045586 | 4.826 | 4.1952 | 0.0041186 | -0.63081
2010-14-0001.mrgcor1 | 2010-14-0001.samcor1 | 241 | 10.504 | 10.504 | 0.02797 | -2.0027e-05 | 6.282 | 6.1538 | 0.019104 | -0.12821
2010-14-0001.mrgcor1 | 2010-14-0001.samcor1 | 1080 | 5.766 | 5.8004 | 0.036603 | 0.03436 | 8.16 | 8.5787 | 0.22988 | 0.41868
2010-14-0005.mrgcor1 | 2010-14-0005.samcor1 | 241 | 108.611 | 108.611 | 0.18738 | -0.00048828 | 1.791 | 1.8111 | 0.0022887 | 0.020108
2010-14-0005.mrgcor1 | 2010-14-0005.samcor1 | 241 | 101.434 | 101.434 | 0.23813 | 0.00020599 | 1.81 | 1.8096 | 0.0024434 | -0.00042319
2010-14-0005.mrgcor1 | 2010-14-0005.samcor1 | 352 | 75.69 | 75.7605 | 0.20615 | 0.070518 | 2.021 | 2.0313 | 0.0070266 | 0.010273
2010-14-0005.mrgcor1 | 2010-14-0005.samcor1 | 352 | 75.793 | 75.7605 | 0.20615 | -0.032478 | 2.009 | 2.0313 | 0.0070266 | 0.022273
2010-14-0005.mrgcor1 | 2010-14-0005.samcor1 | 241 | 51.745 | 51.7454 | 0.11439 | 0.00037384 | 2.547 | 2.5427 | 0.011735 | -0.004282
2010-14-0005.mrgcor1 | 2010-14-0005.samcor1 | 241 | 26.629 | 26.6291 | 0.20903 | 5.9128e-05 | 3.271 | 3.2322 | 0.0046821 | -0.03878
2010-14-0005.mrgcor1 | 2010-14-0005.samcor1 | 241 | 11.088 | 11.0876 | 0.21005 | -0.00040722 | 4.397 | 4.6858 | 0.21933 | 0.28883
2010-14-0005.mrgcor1 | 2010-14-0005.samcor1 | 413 | 6.32 | 6.3947 | 0.1264 | 0.074678 | 6.922 | 6.8623 | 0.035056 | -0.059729
2010-14-0012.mrgcor1 | 2010-14-0012.samcor1 | 241 | 1301.15 | 1301.15 | 0.56993 | -0.00036621 | 0.52 | 0.52175 | 0.0038107 | 0.0017511
2010-14-0012.mrgcor1 | 2010-14-0012.samcor1 | 305 | 1250.66 | 1251 | 0.31199 | 0.33801 | 0.432 | 0.44753 | 0.0030511 | 0.015525
2010-14-0012.mrgcor1 | 2010-14-0012.samcor1 | 305 | 1251.09 | 1251 | 0.31199 | -0.089966 | 0.43 | 0.44753 | 0.0030511 | 0.017525
2010-14-0012.mrgcor1 | 2010-14-0012.samcor1 | 332 | 1001.56 | 1001.42 | 0.16647 | -0.14331 | 0.264 | 0.2819 | 0.0030689 | 0.017895
2010-14-0012.mrgcor1 | 2010-14-0012.samcor1 | 307 | 801.784 | 801.798 | 0.31214 | 0.014465 | 0.217 | 0.23019 | 0.0027095 | 0.013186
2010-14-0012.mrgcor1 | 2010-14-0012.samcor1 | 241 | 602.298 | 602.298 | 0.23269 | 0.00042725 | 0.385 | 0.3885 | 0.0027811 | 0.0035021
2010-14-0012.mrgcor1 | 2010-14-0012.samcor1 | 318 | 401.412 | 401.413 | 0.32402 | 0.0011597 | 0.894 | 0.88386 | 0.0024941 | -0.010138
2010-14-0012.mrgcor1 | 2010-14-0012.samcor1 | 241 | 301.793 | 301.793 | 0.15196 | 0.00048828 | 1.503 | 1.4765 | 0.0021602 | -0.026535
2010-14-0012.mrgcor1 | 2010-14-0012.samcor1 | 241 | 250.965 | 250.965 | 0.20919 | 0.00033569 | 1.904 | 1.9103 | 0.0041034 | 0.0062655
2010-14-0012.mrgcor1 | 2010-14-0012.samcor1 | 241 | 201.11 | 201.11 | 0.38549 | 6.1035e-05 | 2.443 | 2.43 | 0.0024367 | -0.013004
2010-14-0012.mrgcor1 | 2010-14-0012.samcor1 | 241 | 176.023 | 176.023 | 0.34476 | 0.00019836 | 2.722 | 2.7158 | 0.0038348 | -0.006166
2010-14-0012.mrgcor1 | 2010-14-0012.samcor1 | 241 | 151.638 | 151.638 | 0.27615 | 0.0004425 | 3.512 | 3.5098 | 0.0054561 | -0.0021868
2010-14-0012.mrgcor1 | 2010-14-0012.samcor1 | 241 | 125.98 | 125.98 | 0.070437 | -0.00032806 | 3.951 | 3.9453 | 0.0053607 | -0.0057344
2010-14-0012.mrgcor1 | 2010-14-0012.samcor1 | 241 | 101.32 | 101.32 | 0.33886 | -0.00016022 | 4.556 | 4.5873 | 0.0072368 | 0.031328
2010-14-0012.mrgcor1 | 2010-14-0012.samcor1 | 241 | 76.044 | 76.0445 | 0.19108 | 0.00045776 | 5.181 | 5.2292 | 0.0063914 | 0.048158
2010-14-0012.mrgcor1 | 2010-14-0012.samcor1 | 241 | 50.781 | 50.7813 | 0.097884 | 0.00033951 | 6.409 | 6.3967 | 0.0060829 | -0.012344
2010-14-0012.mrgcor1 | 2010-14-0012.samcor1 | 241 | 26.046 | 26.0458 | 0.19225 | -0.0001564 | 5.748 | 5.5765 | 0.010109 | -0.17152
2010-14-0012.mrgcor1 | 2010-14-0012.samcor1 | 241 | 11.472 | 11.4721 | 0.12824 | 8.6784e-05 | 6.235 | 6.2359 | 0.01073 | 0.00094175
2010-14-0012.mrgcor1 | 2010-14-0012.samcor1 | 241 | 6.432 | 6.432 | 0.1513 | 2.4796e-05 | 6.287 | 6.2931 | 0.0045347 | 0.0061407
2010-14-0022.mrgcor1 | 2010-14-0022.samcor1 | 476 | 2001.04 | 2000.88 | 0.43833 | -0.16065 | 1.402 | 1.3359 | 0.0086176 | -0.066076
2010-14-0022.mrgcor1 | 2010-14-0022.samcor1 | 482 | 1501.16 | 1501.18 | 0.36068 | 0.01709 | 0.672 | 0.63692 | 0.0070077 | -0.035083
2010-14-0022.mrgcor1 | 2010-14-0022.samcor1 | 482 | 1501.2 | 1501.18 | 0.36068 | -0.016968 | 0.683 | 0.63692 | 0.0070077 | -0.046083
2010-14-0022.mrgcor1 | 2010-14-0022.samcor1 | 241 | 1251.37 | 1251.37 | 0.27075 | -0.00024414 | 0.354 | 0.34529 | 0.0068336 | -0.0087095
2010-14-0022.mrgcor1 | 2010-14-0022.samcor1 | 241 | 1000.83 | 1000.83 | 0.19463 | -0.00036621 | 0.246 | 0.2403 | 0.0062211 | -0.0057013
2010-14-0022.mrgcor1 | 2010-14-0022.samcor1 | 241 | 801.33 | 801.33 | 0.31636 | 0.00042725 | 0.293 | 0.28837 | 0.0070107 | -0.0046307
2010-14-0022.mrgcor1 | 2010-14-0022.samcor1 | 241 | 601.133 | 601.133 | 0.37911 | -0.00018311 | 0.42 | 0.42446 | 0.00587 | 0.0044564
2010-14-0022.mrgcor1 | 2010-14-0022.samcor1 | 241 | 401.179 | 401.179 | 0.47953 | 0.00048828 | 1.299 | 1.287 | 0.0070324 | -0.012013
2010-14-0022.mrgcor1 | 2010-14-0022.samcor1 | 241 | 300.883 | 300.883 | 0.14153 | -0.00045776 | 1.899 | 1.8739 | 0.0046672 | -0.025145
2010-14-0022.mrgcor1 | 2010-14-0022.samcor1 | 241 | 250.793 | 250.793 | 0.36225 | 9.1553e-05 | 2.668 | 2.6343 | 0.0094933 | -0.033747
2010-14-0022.mrgcor1 | 2010-14-0022.samcor1 | 241 | 200.898 | 200.898 | 0.27345 | 0.0004425 | 3.879 | 3.8297 | 0.0063179 | -0.049311
2010-14-0022.mrgcor1 | 2010-14-0022.samcor1 | 241 | 176.16 | 176.16 | 0.11619 | -0.00041199 | 4.17 | 4.1364 | 0.0043824 | -0.033643
2010-14-0022.mrgcor1 | 2010-14-0022.samcor1 | 241 | 150.905 | 150.905 | 0.15121 | -0.00045776 | 4.339 | 4.3235 | 0.0053997 | -0.015548
2010-14-0022.mrgcor1 | 2010-14-0022.samcor1 | 241 | 126.447 | 126.447 | 0.18294 | 0.00048065 | 4.556 | 4.5097 | 0.0074804 | -0.046291
2010-14-0022.mrgcor1 | 2010-14-0022.samcor1 | 241 | 101.006 | 101.006 | 0.18077 | 0.00026703 | 5.526 | 5.4785 | 0.0052242 | -0.047482
2010-14-0022.mrgcor1 | 2010-14-0022.samcor1 | 241 | 76.373 | 76.3731 | 0.18232 | 0.00010681 | 6.488 | 6.4214 | 0.0048015 | -0.066614
2010-14-0022.mrgcor1 | 2010-14-0022.samcor1 | 241 | 51.236 | 51.2358 | 0.16504 | -0.00015259 | 6.18 | 6.1336 | 0.0084633 | -0.046419
2010-14-0022.mrgcor1 | 2010-14-0022.samcor1 | 482 | 26.501 | 26.4322 | 0.19681 | -0.068789 | 5.915 | 5.8936 | 0.0090175 | -0.021413
2010-14-0022.mrgcor1 | 2010-14-0022.samcor1 | 241 | 11.476 | 11.476 | 0.11667 | 1.7166e-05 | 5.941 | 5.927 | 0.0077859 | -0.014004
2010-14-0022.mrgcor1 | 2010-14-0022.samcor1 | 482 | 6.382 | 6.3995 | 0.21516 | 0.017477 | 5.942 | 5.9342 | 0.0060592 | -0.0077987
2010-14-0040.mrgcor1 | 2010-14-0040.samcor1 | 241 | 3052.32 | 3052.32 | 0.35607 | 0 | 2.31 | -2.48 | 0.001001 | -4.79
2010-14-0040.mrgcor1 | 2010-14-0040.samcor1 | 355 | 3001.01 | 3001.27 | 0.49017 | 0.25903 | 2.263 | -2.466 | 5.3083e-05 | -4.729
2010-14-0040.mrgcor1 | 2010-14-0040.samcor1 | 355 | 3001.4 | 3001.27 | 0.49017 | -0.12207 | 2.274 | -2.466 | 5.3083e-05 | -4.74
2010-14-0040.mrgcor1 | 2010-14-0040.samcor1 | 241 | 2500.39 | 2500.39 | 0.42705 | -0.00048828 | 1.864 | -2.31 | 0 | -4.174
2010-14-0040.mrgcor1 | 2010-14-0040.samcor1 | 241 | 2001.18 | 2001.18 | 0.2266 | 0.00012207 | 1.374 | -2.1553 | 0.00046722 | -3.5293
2010-14-0040.mrgcor1 | 2010-14-0040.samcor1 | 241 | 1502.94 | 1502.93 | 0.68725 | -0.00012207 | 0.686 | -1.9955 | 0.00050085 | -2.6815
2010-14-0040.mrgcor1 | 2010-14-0040.samcor1 | 241 | 1251.66 | 1251.66 | 0.26925 | 0.00048828 | 0.355 | -1.9097 | 0.00044892 | -2.2647
2010-14-0040.mrgcor1 | 2010-14-0040.samcor1 | 241 | 1001.19 | 1001.19 | 0.10626 | 0.00036621 | 0.273 | -1.824 | 0 | -2.097
2010-14-0040.mrgcor1 | 2010-14-0040.samcor1 | 241 | 800.861 | 800.861 | 0.15419 | -0.00042725 | 0.388 | -1.765 | 0 | -2.153
2010-14-0040.mrgcor1 | 2010-14-0040.samcor1 | 241 | 601.773 | 601.773 | 0.2484 | -6.1035e-05 | 0.58 | -1.697 | 0 | -2.277
2010-14-0040.mrgcor1 | 2010-14-0040.samcor1 | 241 | 400.458 | 400.458 | 0.26622 | -0.00045776 | 1.125 | -1.616 | 0 | -2.741
2010-14-0040.mrgcor1 | 2010-14-0040.samcor1 | 241 | 300.974 | 300.974 | 0.33308 | -0.00015259 | 1.994 | -1.578 | 0 | -3.572
2010-14-0040.mrgcor1 | 2010-14-0040.samcor1 | 241 | 250.819 | 250.819 | 0.17376 | -3.0518e-05 | 2.858 | -1.553 | 0 | -4.411
2010-14-0040.mrgcor1 | 2010-14-0040.samcor1 | 241 | 200.95 | 200.95 | 0.28861 | -0.00012207 | 4.125 | -1.526 | 0 | -5.651
2010-14-0040.mrgcor1 | 2010-14-0040.samcor1 | 241 | 175.636 | 175.636 | 0.11508 | 3.0518e-05 | 4.603 | -1.514 | 0 | -6.117
2010-14-0040.mrgcor1 | 2010-14-0040.samcor1 | 241 | 151.78 | 151.78 | 0.42136 | 0.00038147 | 5.185 | -1.5084 | 0.00049569 | -6.6934
2010-14-0040.mrgcor1 | 2010-14-0040.samcor1 | 241 | 125.969 | 125.969 | 0.51999 | -0.00041962 | 5.752 | -1.499 | 0 | -7.251
2010-14-0040.mrgcor1 | 2010-14-0040.samcor1 | 74 | 101.136 | 101.136 | 0.050413 | 0.00016022 | 6.184 | -1.478 | 0.00011625 | -7.662
2010-14-0055.mrgcor1 | 2010-14-0055.samcor1 | 241 | 3685.45 | 3685.45 | 0.8291 | -0.00024414 | 2.74 | 2.5906 | 0.005598 | -0.14943
2010-14-0055.mrgcor1 | 2010-14-0055.samcor1 | 327 | 3500.74 | 3500.91 | 0.58309 | 0.16284 | 2.696 | 2.5661 | 0.0078613 | -0.12992
2010-14-0055.mrgcor1 | 2010-14-0055.samcor1 | 327 | 3500.96 | 3500.91 | 0.58309 | -0.05835 | 2.7 | 2.5661 | 0.0078613 | -0.13392
2010-14-0055.mrgcor1 | 2010-14-0055.samcor1 | 241 | 3000.17 | 3000.17 | 0.76 | -0.00024414 | 2.457 | 2.3451 | 0.0039057 | -0.11189
2010-14-0055.mrgcor1 | 2010-14-0055.samcor1 | 241 | 2501.01 | 2501.01 | 0.5942 | 0 | 1.944 | 1.8676 | 0.0068613 | -0.076415
2010-14-0055.mrgcor1 | 2010-14-0055.samcor1 | 241 | 2001.36 | 2001.36 | 0.53882 | 0 | 1.21 | 1.1674 | 0.0045464 | -0.042622
2010-14-0055.mrgcor1 | 2010-14-0055.samcor1 | 241 | 1501.92 | 1501.92 | 0.73152 | -0.00024414 | 0.49 | 0.46982 | 0.0040401 | -0.020178
2010-14-0055.mrgcor1 | 2010-14-0055.samcor1 | 231 | 1251.61 | 1251.7 | 1.1464 | 0.087891 | 0.317 | 0.28858 | 0.0017989 | -0.02842
2010-14-0055.mrgcor1 | 2010-14-0055.samcor1 | 241 | 1001.47 | 1001.47 | 0.57477 | -0.00030518 | 0.322 | 0.28229 | 0.0029803 | -0.03971
2010-14-0055.mrgcor1 | 2010-14-0055.samcor1 | 241 | 801.373 | 801.373 | 0.61079 | -0.00024414 | 0.4 | 0.375 | 0.0014916 | -0.025
2010-14-0055.mrgcor1 | 2010-14-0055.samcor1 | 241 | 601.075 | 601.075 | 0.39379 | -0.00024414 | 0.692 | 0.65461 | 0.0029547 | -0.03739
2010-14-0055.mrgcor1 | 2010-14-0055.samcor1 | 241 | 401.369 | 401.369 | 0.71218 | -6.1035e-05 | 1.576 | 1.5137 | 0.0030597 | -0.062324
2010-14-0055.mrgcor1 | 2010-14-0055.samcor1 | 241 | 301.724 | 301.724 | 0.37491 | 9.1553e-05 | 2.599 | 2.5342 | 0.0030912 | -0.064834
2010-14-0055.mrgcor1 | 2010-14-0055.samcor1 | 241 | 250.858 | 250.858 | 0.41026 | 9.1553e-05 | 3.399 | 3.3106 | 0.00325 | -0.088427
2010-14-0055.mrgcor1 | 2010-14-0055.samcor1 | 241 | 201.975 | 201.975 | 0.54819 | 0.00030518 | 4.141 | 4.0419 | 0.0087951 | -0.099095
2010-14-0055.mrgcor1 | 2010-14-0055.samcor1 | 241 | 175.828 | 175.828 | 0.24602 | -0.00047302 | 4.44 | 4.3356 | 0.0069527 | -0.10439
2010-14-0055.mrgcor1 | 2010-14-0055.samcor1 | 241 | 151.066 | 151.066 | 0.45748 | 0 | 4.769 | 4.6813 | 0.0069487 | -0.087722
2010-14-0055.mrgcor1 | 2010-14-0055.samcor1 | 241 | 126.286 | 126.286 | 0.13883 | -0.00028992 | 5.332 | 5.2386 | 0.010286 | -0.093361
2010-14-0055.mrgcor1 | 2010-14-0055.samcor1 | 241 | 101.357 | 101.357 | 0.38783 | -0.00016022 | 6.228 | 6.1271 | 0.0041933 | -0.10091
2010-14-0055.mrgcor1 | 2010-14-0055.samcor1 | 241 | 75.863 | 75.8634 | 0.64475 | 0.00041962 | 6.679 | 6.5662 | 0.013069 | -0.11282
2010-14-0055.mrgcor1 | 2010-14-0055.samcor1 | 241 | 50.806 | 50.8061 | 0.15998 | 9.1553e-05 | 6.765 | 6.6354 | 0.0086364 | -0.12957
2010-14-0055.mrgcor1 | 2010-14-0055.samcor1 | 241 | 25.95 | 25.9505 | 0.31188 | 0.00048447 | 6.135 | 5.9287 | 0.013857 | -0.20633
2010-14-0055.mrgcor1 | 2010-14-0055.samcor1 | 241 | 11.424 | 11.4237 | 0.37966 | -0.00031948 | 6.065 | 5.8926 | 0.012453 | -0.17242
2010-14-0055.mrgcor1 | 2010-14-0055.samcor1 | 241 | 5.513 | 5.5131 | 0.23134 | 9.9659e-05 | 6.061 | 5.8817 | 0.0070244 | -0.17927
2010-14-0073.mrgcor1 | 2010-14-0073.samcor1 | 241 | 4024.87 | 4024.87 | 0.5202 | -0.00024414 | 2.969 | 2.7786 | 0.0079596 | -0.19044
2010-14-0073.mrgcor1 | 2010-14-0073.samcor1 | 482 | 3501.55 | 3501.65 | 0.74717 | 0.097412 | 2.839 | 2.651 | 0.0069856 | -0.18804
2010-14-0073.mrgcor1 | 2010-14-0073.samcor1 | 482 | 3501.74 | 3501.65 | 0.74717 | -0.097412 | 2.836 | 2.651 | 0.0069856 | -0.18504
2010-14-0073.mrgcor1 | 2010-14-0073.samcor1 | 241 | 3000.2 | 3000.2 | 0.74808 | -0.00024414 | 2.464 | 2.3228 | 0.003234 | -0.14117
2010-14-0073.mrgcor1 | 2010-14-0073.samcor1 | 241 | 2501.51 | 2501.51 | 0.22308 | -0.00024414 | 1.921 | 1.8592 | 0.0048325 | -0.061838
2010-14-0073.mrgcor1 | 2010-14-0073.samcor1 | 241 | 2001.13 | 2001.13 | 0.62122 | 0.00024414 | 1.247 | 1.2383 | 0.0035956 | -0.0087178
2010-14-0073.mrgcor1 | 2010-14-0073.samcor1 | 241 | 1499.86 | 1499.86 | 0.65522 | -0.00036621 | 0.508 | 0.52442 | 0.0030541 | 0.016419
2010-14-0073.mrgcor1 | 2010-14-0073.samcor1 | 241 | 1251.27 | 1251.27 | 0.46304 | 0.00024414 | 0.316 | 0.32306 | 0.002139 | 0.0070622
2010-14-0073.mrgcor1 | 2010-14-0073.samcor1 | 241 | 1000.71 | 1000.71 | 0.61876 | 0.00036621 | 0.283 | 0.29149 | 0.0028049 | 0.0084938
2010-14-0073.mrgcor1 | 2010-14-0073.samcor1 | 241 | 801.728 | 801.728 | 0.30123 | 0 | 0.411 | 0.41683 | 0.0029264 | 0.005834
2010-14-0073.mrgcor1 | 2010-14-0073.samcor1 | 241 | 598.714 | 598.714 | 0.4674 | 0.00012207 | 0.58 | 0.58245 | 0.0017954 | 0.0024481
2010-14-0073.mrgcor1 | 2010-14-0073.samcor1 | 241 | 400.897 | 400.897 | 0.43366 | 0.00036621 | 1.223 | 1.2287 | 0.0024847 | 0.0056888
2010-14-0073.mrgcor1 | 2010-14-0073.samcor1 | 241 | 300.847 | 300.847 | 0.212 | -0.00021362 | 2.149 | 2.1639 | 0.002583 | 0.014942
2010-14-0073.mrgcor1 | 2010-14-0073.samcor1 | 241 | 251.018 | 251.018 | 0.16903 | -9.1553e-05 | 3.043 | 3.0535 | 0.0034473 | 0.010523
2010-14-0073.mrgcor1 | 2010-14-0073.samcor1 | 241 | 200.852 | 200.852 | 0.23492 | -0.00012207 | 3.848 | 3.8798 | 0.0048738 | 0.031751
2010-14-0073.mrgcor1 | 2010-14-0073.samcor1 | 241 | 175.66 | 175.66 | 0.47182 | -9.1553e-05 | 4.213 | 4.218 | 0.0030461 | 0.0050211
2010-14-0073.mrgcor1 | 2010-14-0073.samcor1 | 241 | 150.772 | 150.772 | 0.36292 | -0.00015259 | 4.547 | 4.5694 | 0.005547 | 0.022378
2010-14-0073.mrgcor1 | 2010-14-0073.samcor1 | 241 | 126.114 | 126.114 | 0.2421 | 0.00017548 | 4.918 | 4.9291 | 0.007418 | 0.011083
2010-14-0073.mrgcor1 | 2010-14-0073.samcor1 | 241 | 101.001 | 101.001 | 0.35623 | 0.00043487 | 5.814 | 5.8519 | 0.0047155 | 0.037884
2010-14-0073.mrgcor1 | 2010-14-0073.samcor1 | 241 | 75.544 | 75.5444 | 0.1829 | 0.0004425 | 6.636 | 6.65 | 0.0061941 | 0.013983
2010-14-0073.mrgcor1 | 2010-14-0073.samcor1 | 241 | 50.657 | 50.6567 | 0.067913 | -0.00027084 | 6.838 | 6.8251 | 0.0042632 | -0.012855
2010-14-0073.mrgcor1 | 2010-14-0073.samcor1 | 241 | 26.089 | 26.0889 | 0.0947 | -8.3923e-05 | 7.055 | 6.9186 | 0.012898 | -0.13636
2010-14-0073.mrgcor1 | 2010-14-0073.samcor1 | 241 | 10.505 | 10.5053 | 0.16259 | 0.00032806 | 5.943 | 5.7494 | 0.0030258 | -0.19364
2010-14-0073.mrgcor1 | 2010-14-0073.samcor1 | 241 | 5.469 | 5.4688 | 0.31622 | -0.0002532 | 5.944 | 5.7273 | 0.0068321 | -0.2167
2010-14-0086.mrgcor1 | 2010-14-0086.samcor1 | 241 | 4318.28 | 4318.28 | 0.41052 | 0 | 3.208 | 2.9752 | 0.01283 | -0.23281
2010-14-0086.mrgcor1 | 2010-14-0086.samcor1 | 241 | 4001.02 | 4001.02 | 0.24736 | -0.00048828 | 3.172 | 2.9407 | 0.0045781 | -0.2313
2010-14-0086.mrgcor1 | 2010-14-0086.samcor1 | 241 | 3499.95 | 3499.95 | 0.40324 | -0.00024414 | 2.952 | 2.7595 | 0.003921 | -0.19246
2010-14-0086.mrgcor1 | 2010-14-0086.samcor1 | 241 | 3000.14 | 3000.14 | 0.49349 | 0.00024414 | 2.554 | 2.4349 | 0.0036796 | -0.11912
2010-14-0086.mrgcor1 | 2010-14-0086.samcor1 | 241 | 2498.79 | 2498.79 | 0.24967 | -0.00024414 | 1.965 | 1.9057 | 0.0062244 | -0.059319
2010-14-0086.mrgcor1 | 2010-14-0086.samcor1 | 241 | 2001.07 | 2001.07 | 0.15358 | 0.00036621 | 1.325 | 1.3111 | 0.0054822 | -0.013871
2010-14-0086.mrgcor1 | 2010-14-0086.samcor1 | 241 | 1500.09 | 1500.09 | 0.38164 | -0.00036621 | 0.64 | 0.64721 | 0.0047759 | 0.0072116
2010-14-0086.mrgcor1 | 2010-14-0086.samcor1 | 241 | 1251.18 | 1251.18 | 0.43655 | -0.00012207 | 0.427 | 0.41636 | 0.0040824 | -0.010635
2010-14-0086.mrgcor1 | 2010-14-0086.samcor1 | 241 | 1000.23 | 1000.23 | 0.35159 | -0.00042725 | 0.352 | 0.3484 | 0.0034688 | -0.0036017
2010-14-0086.mrgcor1 | 2010-14-0086.samcor1 | 241 | 801.411 | 801.411 | 0.2437 | -0.00036621 | 0.424 | 0.42233 | 0.0012334 | -0.0016722
2010-14-0086.mrgcor1 | 2010-14-0086.samcor1 | 241 | 600.79 | 600.79 | 0.13617 | 0.00018311 | 0.464 | 0.46395 | 0.0042615 | -4.5627e-05
2010-14-0086.mrgcor1 | 2010-14-0086.samcor1 | 241 | 399.816 | 399.816 | 0.26572 | -0.00039673 | 0.872 | 0.86036 | 0.0027881 | -0.011639
2010-14-0086.mrgcor1 | 2010-14-0086.samcor1 | 241 | 300.174 | 300.174 | 0.41279 | -0.00048828 | 1.715 | 1.7117 | 0.0034686 | -0.003332
2010-14-0086.mrgcor1 | 2010-14-0086.samcor1 | 241 | 251.625 | 251.625 | 0.27082 | 0.00028992 | 2.214 | 2.1832 | 0.0043996 | -0.030763
2010-14-0086.mrgcor1 | 2010-14-0086.samcor1 | 241 | 202.384 | 202.384 | 0.31793 | 7.6294e-05 | 2.985 | 2.968 | 0.0036667 | -0.016971
2010-14-0086.mrgcor1 | 2010-14-0086.samcor1 | 241 | 176.02 | 176.02 | 0.073205 | 0.0004425 | 3.282 | 3.2687 | 0.0040768 | -0.013282
2010-14-0086.mrgcor1 | 2010-14-0086.samcor1 | 241 | 151.535 | 151.535 | 0.22007 | -0.00038147 | 3.615 | 3.6152 | 0.0051594 | 0.00018668
2010-14-0086.mrgcor1 | 2010-14-0086.samcor1 | 241 | 126.171 | 126.171 | 0.29101 | 0.00014496 | 4.303 | 4.2742 | 0.0064038 | -0.02876
2010-14-0086.mrgcor1 | 2010-14-0086.samcor1 | 241 | 101.248 | 101.248 | 0.26384 | -0.00035095 | 6.193 | 6.1577 | 0.0040837 | -0.035344
2010-14-0086.mrgcor1 | 2010-14-0086.samcor1 | 241 | 76.166 | 76.1665 | 0.26936 | 0.00049591 | 6.68 | 6.6882 | 0.0063395 | 0.0082202
2010-14-0086.mrgcor1 | 2010-14-0086.samcor1 | 241 | 51.18 | 51.18 | 0.14153 | -1.1444e-05 | 6.804 | 6.7846 | 0.0053637 | -0.019378
2010-14-0086.mrgcor1 | 2010-14-0086.samcor1 | 241 | 25.683 | 25.6832 | 0.2248 | 0.00021553 | 6.615 | 6.8086 | 0.034404 | 0.19358
2010-14-0086.mrgcor1 | 2010-14-0086.samcor1 | 241 | 11.144 | 11.1444 | 0.28054 | 0.00038624 | 6.206 | 6.037 | 0.0073008 | -0.16905
2010-14-0086.mrgcor1 | 2010-14-0086.samcor1 | 241 | 6.265 | 6.2646 | 0.28349 | -0.00043154 | 6.202 | 6.0421 | 0.0062227 | -0.15994
Create Fit Sheet