File List for SeaBird Data          Cruise Number: _2010-15____

The files to be archived are a combination of files from the original processing and those created in reprocessing after an error was found in the identification of the Dissolved Oxygen sensor.

The files created in the original processing are saved as many were used for the reprocessing.

Reprocessing had no effect on the TSG files or the RAW files.

[osdcommon\cruise_data\2010-15\ARCHIVE]

[osdcommon\cruise_data\2010-15\ARCHIVE\Bottle] *.CHE

[osdcommon\cruise_data\2010-15\ARCHIVE\CTD] *.CTD

[osdcommon\cruise_data\2010-15\ARCHIVE\DOC] most documents from RAW and PROCESSING

[osdcommon\cruise_data\2010-15\ARCHIVE\DOC\HYDRO] COMPARE files

[osdcommon\cruise_data\2010-15\ARCHIVE\DOC\TSG] all TSG documents

[osdcommon\cruise_data\2010-15\ARCHIVE\TSG] *.TOB

[osdcommon\cruise_data\2010-15\PROCESSING-Original] from before discovery of DO sensor error

[osdcommon\cruise_data\2010-15\PROCESSING-Original-ARCHIVE] most of these files were replaced in reprocessing.

[osdcommon\cruise_data\2010-15\PROCESSING-Orignal\Angelica] files for use of A. Peña

[osdcommon\cruise_data\2010-15\PROCESSING-Original\CONVERT]	*.CNV – after conversion

[osdcommon\cruise_data\2010-15\PROCESSING-Original\DERIVE]*.CNV – after convert/wildedit/celltm/derive

[osdcommon\cruise_data\2010-15\PROCESSING-Original\DOC]

2010-15-recal1.ccf – calibration control file for all CTD and CHE files

2010-15-ctd-orig.con – configuration file used in ORIGINAL processing – has wrong DO sensor info

2010-15_file.doc - this document

2010-15_proc.doc - processing notes

2010-15-che-final.rpt – CTD file header check including channel summary

2010-15-ctd-final.rpt – CHE file header check including channel summary

2010-15-altimeter-ctd.csv – report on header entries for altimetry

2010-15-sal-duplicates.xls – study of Salinity sample duplicates

*hdr.txt – header files with comments for TSG, CTD and CHE files

[osdcommon\cruise_data\2010-15\PROCESSING-Orignal\DOC\hydro]

2010-15-che-altimeter.csv – report on header entries for altimetry from bottle files

2010-15-chl.csv – extracted chlorophyll data simplified from analyst’s s/s

2010-15-NH4.csv – edited version of DMS spreadsheet

2010-15-nuts.csv – nutrients simplified from analyst’s s/s

2010-15-oxy.csv – nutrients simplified from analyst’s s/s

2010-15-sal.csv – salinity data from Autosal, simplified from analyst’s s/s

2010-15-fl-chl-comp1.csv & .xls – comparison of extracted CHL and CTD Fluorescence

2010-15-dox-comp1.csv & .xls – initial comparison of titrated DO & CTD DO run early

2010-15-dox-comp2.csv & .xls – comparison of titrated DO and CTD DO after 1st recal

2010-15-dox-comp3.csv & .xls – comparison of titrated DO and downcast CTD DO

2010-15-sal-comp1.csv & xls –salinity COMPARE file

addsamp.csv – spreadsheet relating bottle numbers to sample numbers

outliers-do-xls – study of outliers in DO comparison

2010-15-bottles.xls – summary of bottle data in CHE files

[osdcommon\cruise_data\2010-15\PROCESSING-Orignal\DOC\tsg]

2010-15-tsg-recal1.ccf – calibration control file for recalibration of all TSG files

2010-15-CTD-TSG-comp.xls – comparison of CTD rosette data and TSG data

2010-15-tsg.con – configuration file for conversion of TSG HEX files.

2010-15-positions-orig.csv – including some bad positions for file #1

2010-15-positions-fixed.csv – replacing bad positions for file #1

[osdcommon\cruise_data\2010-15\PROCESSING-Original\HYDRO]

*.add – bottle from analyst after editing, formats fixed

*.bot  - *.ros files converted to IOS HEADERS + added event numbers

*.che – final bottle-averaged rosette files merged with chemistry data

*.chl – extracted chlorophyll data converted from simplified version of spreadsheet

*.cst – base files for bottle merges

*.ed1 – editing output  3 files

*.log – log files for the editing of 3 files

*.mrg – after addition of oxygen and salinity bottle data to BOT files

*.nh4 – DMS files converted from simplified version of analyst’s spreadsheet

*.nut – nutrient files converted from simplified version of analyst’s spreadsheet

*.ros  - rosette files created by DATCNV, no other processing done.

*.sal – salinity files converted from simplified version of analyst’s spreadsheet

*.sam – bottle files with sample numbers added

[osdcommon\cruise_data\2010-15\PROCESSING-Original\IOS] after conversion to IOS SHELL

*.avg - data after metre-averaging using BINAVE

*.cln - data after conversion to IOS HEADERS and initial CLEAN run

*.ctd - final files

*.del – after DELETE

*.delrev - DEL file for upcast of one cast

*.edt - data after editing has been done (an EDT file is prepared even if no editing is required.)

*.log* - log files created by CTDEDIT

*.rev – upcast of one file

Delete.log - log from routine DELETE

[osdcommon\cruise_data\2010-15\PROCESSING-Original\TSG] before conversion to IOS SHELL

*.cnv – files after Sea-Bird conversion

[osdcommon\cruise_data\2010-15\PROCESSING-Original\TSG\IOS] after conversion to IOS SHELL

*.atc – after adding positions and times to headers and time/date channel

*.edt– after editing using CTDEDIT

*.ios – after conversion to IOS HEADERS

*.ios2 – file with correct positions for file #1

*.mrg – repaired file with ship positions corrected

*.tob – final TSG files

_____________________________________________________________________________

[osdcommon\cruise_data\2010-15\RAW]

[osdcommon\cruise_data\2010-15\RAW\Chemistry] data from analysts

[osdcommon\cruise_data\2010-15\RAW\CTD] raw CTD data

[osdcommon\cruise_data\2010-15\RAW\Documents] cruise documents

[osdcommon\cruise_data\2010-15\RAW\TSG files] raw TSG data

_____________________________________________________________________________

[osdcommon\cruise_data\2010-15\Reprocessing]

All files used for fixing error in DO sensor identification in the original processing

[osdcommon\cruise_data\2010-15\Reprocessing\Archive]all files created in reprocessing that should be placed in the archive – most are additions to the original, but there are new CHE, CTD files to replace the originals

[osdcommon\cruise_data\2010-15\Reprocessing\Doc]

2010-15-1483-recal1.ccf – recalibration for just the DO sensor

2010-15-che-correction.rpt – header check of CHE files after corrections

2010-15-ctd-correction.rpt – header check of CTD files after corrections

2010-15-file*.doc – file list after reprocessing – complete list of what should be backed up

2010-15-proc*.doc – most up to date processing report including reprocessing notes

*hdr.txt – new header files with comments including reprocessing steps

2010-15-ctd.con – Configuration file with correct DO sensor (1483)

2010-15-bottles-reprocess-comp.xls – comparison of original and reprocessed bottle files

[osdcommon\cruise_data\2010-15\Reprocessing\Doc\Hydro]

2010-15-dox-corrected1.csv&xls – comparison of corrected SBE DO with bottles

2010-15-dox-corrected2.csv&xls – comparison of corrected SBE DO with bottles after recalibration

2010-15-bottles-#.csv – summary of DO values from the 2 sensors – original and corrected

[osdcommon\cruise_data\2010-15\Reprocessing\Hydro]

*.bot – new version with correct DO data

*.che – new files for archive

*.che1cl – channels from original processing to be merged with *.samavghdr

*.che2 – merge of new DO with rest of data from original processing

*.mrgsort – just before adding final header

*.ros – bottle files with correct DO

*sam – new version of SAM with correct DO

*samavghdr – channels from reprocessing to be merged with *.che1cl

[osdcommon\cruise_data\2010-15\Reprocessing\IOS]

*.avgnew – bin-averaged files with corrected DO

*.ctd – new CTD files with corrected DO

*.ctd1 – original CTD data with wrong DO

*.delnew – after DELETE with new DO

*.ios - corrected files after conversion to IOS headers

*.mrg – merge of CTD1(original except DO) and OXNEW (2 DO channels only)

*.oxnew – corrected files with 2 DO channels

*.shfo – just before DELETE is run