## File List
Number of Files= |  | 21
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 2010-15-0003.mrg | 2010-15-0003.sam | 12 | 12 | 2010-15-0003.mrg & 2010-15-0003.sam
2 | 2010-15-0005.mrg | 2010-15-0005.sam | 14 | 14 | 2010-15-0005.mrg & 2010-15-0005.sam
3 | 2010-15-0009.mrg | 2010-15-0009.sam | 16 | 16 | 2010-15-0009.mrg & 2010-15-0009.sam
4 | 2010-15-0023.mrg | 2010-15-0023.sam | 18 | 18 | 2010-15-0023.mrg & 2010-15-0023.sam
5 | 2010-15-0025.mrg | 2010-15-0025.sam | 20 | 20 | 2010-15-0025.mrg & 2010-15-0025.sam
6 | 2010-15-0027.mrg | 2010-15-0027.sam | 22 | 22 | 2010-15-0027.mrg & 2010-15-0027.sam
7 | 2010-15-0029.mrg | 2010-15-0029.sam | 24 | 24 | 2010-15-0029.mrg & 2010-15-0029.sam
8 | 2010-15-0031.mrg | 2010-15-0031.sam | 26 | 26 | 2010-15-0031.mrg & 2010-15-0031.sam
9 | 2010-15-0037.mrg | 2010-15-0037.sam | 28 | 30 | 2010-15-0037.mrg & 2010-15-0037.sam
10 | 2010-15-0039.mrg | 2010-15-0039.sam | 32 | 34 | 2010-15-0039.mrg & 2010-15-0039.sam
11 | 2010-15-0060.mrg | 2010-15-0060.sam | 36 | 36 | 2010-15-0060.mrg & 2010-15-0060.sam
12 | 2010-15-0069.mrg | 2010-15-0069.sam | 38 | 39 | 2010-15-0069.mrg & 2010-15-0069.sam
13 | 2010-15-0074.mrg | 2010-15-0074.sam | 41 | 41 | 2010-15-0074.mrg & 2010-15-0074.sam
14 | 2010-15-0076.mrg | 2010-15-0076.sam | 43 | 43 | 2010-15-0076.mrg & 2010-15-0076.sam
15 | 2010-15-0079.mrg | 2010-15-0079.sam | 45 | 45 | 2010-15-0079.mrg & 2010-15-0079.sam
16 | 2010-15-0081.mrg | 2010-15-0081.sam | 47 | 47 | 2010-15-0081.mrg & 2010-15-0081.sam
17 | 2010-15-0085.mrg | 2010-15-0085.sam | 49 | 49 | 2010-15-0085.mrg & 2010-15-0085.sam
18 | 2010-15-0091.mrg | 2010-15-0091.sam | 51 | 52 | 2010-15-0091.mrg & 2010-15-0091.sam
19 | 2010-15-0104.mrg | 2010-15-0104.sam | 54 | 73 | 2010-15-0104.mrg & 2010-15-0104.sam
20 | 2010-15-0110.mrg | 2010-15-0110.sam | 75 | 75 | 2010-15-0110.mrg & 2010-15-0110.sam
21 | 2010-15-0138.mrg | 2010-15-0138.sam | 77 | 77 | 2010-15-0138.mrg & 2010-15-0138.sam

## (Sal0 - Sal_bot)
Calculation of Linear Least Squares Fit For
(Sal0 - Sal_bot)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal0 - Sal_bot), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.0087429 |  | X | CALC Y
m= | 1.6812e-07 | 4.1069e-07 |  | Std Dev of Resid |  | 0.0011963 |  | 30.5217 | 0.0027662
b= | 0.0027611 | 0.00038845 |  | Resid Sum of Squares |  | 2.7191e-05 |  | 2006.43 | 0.0030984
# of Values Extracted = |  |  | 46
# of Values Used in Fit = |  |  | 21
File | Use | Pressure | Sal0 | Sal0 | Diff (Sal0 - Sal_bot) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 5.688 | 31.192 | 0.00029588 | 0.0004406 | 0.002762 | 0.0023214 |  | 1251.1 | 0.0027161
2 | NO | 6.3492 | 31.6742 | 0.1197 | 0.40758 | 0.0027621 | -0.40482 |  | 1000.84 | 0.0019569
3 | NO | 5.9108 | 32.2941 | 0.00081698 | -0.00043487 | 0.0027621 | 0.0031969 |  | 500.867 | 0.0035477
4 | NO | 5.5933 | 32.3861 | 0.00064628 | -0.0011406 | 0.002762 | 0.0039026 |  | 400.833 | 0.0037422 |  | ctd | 32.3577
5 | NO | 5.4829 | 32.3577 | 0.0013156 | -0.013824 | 0.002762 | 0.016586 |  | 1500.64 | 0.0033569 |  | bot-avg | 32.3715 | bot1 | 32.3868 | bot2 | 32.3564
6 | NO | 10.9702 | 31.5644 | 0.00057676 | -0.0010147 | 0.0027629 | 0.0037776 |  | 2005.91 | 0.0018272
7 | NO | 10.1818 | 31.7702 | 0.025198 | 0.034672 | 0.0027628 | -0.031909 |  | 2006.43 | 0.0055656 |  | ctd-bot | -0.01382 |  | -0.0291 |  | 0.0013
8 | NO | 5.8553 | 31.7252 | 0.00020725 | 0.00012779 | 0.0027621 | 0.0026343 |  | 1501.6 | 0.0030594
9 | YES | 1251.1 | 34.4625 | 0.00027505 | 0.0027161 | 0.0029714 | 0.00025535 |  | 1248.59 | 0.0020142
9 | YES | 1000.84 | 34.4079 | 0.00056864 | 0.0019569 | 0.0029293 | 0.00097239 |  | 1002.12 | 0.0027809
9 | NO | 5.6025 | 32.2146 | 0.0011906 | -0.0017319 | 0.002762 | 0.0044939 |  | 501.544 | 0.0018234
10 | YES | 500.867 | 34.1114 | 0.0002454 | 0.0035477 | 0.0028453 | -0.00070239 |  | 400.746 | 0.0017242
10 | YES | 400.833 | 34.0548 | 0.00030338 | 0.0037422 | 0.0028285 | -0.00091376 |  | 301.3 | 0.0027809
10 | NO | 5.5451 | 31.5908 | 0.0021142 | -0.0013313 | 0.002762 | 0.0040933 |  | 250.914 | 0.0030289
11 | NO | 6.228 | 31.9986 | 0.0002508 | -0.00053215 | 0.0027621 | 0.0032943 |  | 200.763 | 0.0023804
12 | YES | 1500.64 | 34.5133 | 0.00039848 | 0.0033569 | 0.0030134 | -0.00034357 |  | 175.681 | 0.0030823 | 0.0028367
12 | NO | 5.3624 | 32.0359 | 0.0019959 | -0.012688 | 0.002762 | 0.01545 |  | 150.866 | 0.0018997
13 | NO | 5.0864 | 32.0552 | 0.0017104 | -0.0012245 | 0.0027619 | 0.0039864 |  | 126.16 | 0.0025253
14 | NO | 6.6251 | 32.1565 | 0.00030406 | -0.0047531 | 0.0027622 | 0.0075153 |  | 100.087 | 0.0013618
15 | NO | 5.4093 | 32.1455 | 0.0041871 | 0.0037117 | 0.002762 | -0.00094972 |  | 51.1201 | 0.0059929
16 | NO | 5.918 | 32.1143 | 0.0025123 | 0.0018692 | 0.0027621 | 0.00089287 |  | 30.5217 | 0.0032883
17 | NO | 5.327 | 32.2723 | 0.0024442 | 0.00038528 | 0.002762 | 0.0023767
18 | YES | 2005.91 | 34.5834 | 0.00028036 | 0.0018272 | 0.0030983 | 0.0012711 |  |  |  | 0.0028788
18 | NO | 10.8787 | 32.0635 | 0.0025737 | -0.0018845 | 0.0027629 | 0.0046474
19 | YES | 2006.43 | 34.5747 | 0.00023097 | 0.0055656 | 0.0030984 | -0.0024672
19 | YES | 1501.6 | 34.5025 | 0.00023794 | 0.0030594 | 0.0030135 | -4.5868e-05
19 | YES | 1248.59 | 34.435 | 0.0002321 | 0.0020142 | 0.002971 | 0.00095683
19 | YES | 1002.12 | 34.3606 | 0.00027041 | 0.0027809 | 0.0029295 | 0.00014864
19 | NO | 750.841 | 34.2275 | 0.00025725 | -0.00088501 | 0.0028873 | 0.0037723
19 | YES | 501.544 | 34.0812 | 0.00024731 | 0.0018234 | 0.0028454 | 0.001022
19 | YES | 400.746 | 34.0305 | 0.00024679 | 0.0017242 | 0.0028284 | 0.0011042
19 | YES | 301.3 | 33.9914 | 0.00024893 | 0.0027809 | 0.0028117 | 3.0816e-05
19 | YES | 250.914 | 33.9679 | 0.00023838 | 0.0030289 | 0.0028033 | -0.00022562
19 | YES | 200.763 | 33.9476 | 0.00024491 | 0.0023804 | 0.0027948 | 0.00041445
19 | YES | 175.681 | 33.9346 | 0.00037151 | 0.0030823 | 0.0027906 | -0.00029167
19 | YES | 150.866 | 33.8905 | 0.00034758 | 0.0018997 | 0.0027864 | 0.00088671
19 | YES | 126.16 | 33.7406 | 0.004565 | 0.0025253 | 0.0027823 | 0.00025695
19 | YES | 100.087 | 33.669 | 0.00071457 | 0.0013618 | 0.0027779 | 0.001416
19 | NO | 75.6636 | 33.2569 | 0.0052967 | 0.011875 | 0.0027738 | -0.0091014
19 | YES | 51.1201 | 32.8543 | 0.0013885 | 0.0059929 | 0.0027697 | -0.0032232
19 | YES | 30.5217 | 32.6165 | 0.00078484 | 0.0032883 | 0.0027662 | -0.00052207
19 | NO | 21.5669 | 32.4268 | 0.01378 | 0.033245 | 0.0027647 | -0.03048
19 | NO | 10.7636 | 31.8142 | 0.0067764 | 0.0017033 | 0.0027629 | 0.0010596
19 | NO | 5.6151 | 31.8028 | 0.00028233 | -0.0013332 | 0.002762 | 0.0040953
20 | NO | 5.6939 | 32.2757 | 0.010121 | -0.0028229 | 0.002762 | 0.0055849
21 | NO | 6.2276 | 30.5295 | 0.0064818 | -0.97213 | 0.0027621 | 0.97489
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
NO
YES
YES
NO
NO
YES
NO
NO
NO
NO
NO
NO
YES
NO
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
NO
NO
NO
NO
NO
FIT vs. Pressure
FIT vs. Sal0
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (Sal1 - Sal_bot)
Calculation of Linear Least Squares Fit For
(Sal1 - Sal_bot)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal1 - Sal_bot), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.00095786 |  | X | CALC Y
m= | -6.1456e-08 | 4.5533e-07 |  | Std Dev of Resid |  | 0.0013263 |  | 30.5217 | 0.0065975
b= | 0.0065994 | 0.00043067 |  | Resid Sum of Squares |  | 3.3424e-05 |  | 2006.43 | 0.0064761
# of Values Extracted = |  |  | 46
# of Values Used in Fit = |  |  | 21
File | Use | Pressure | Sal1 | Sal1 | Diff (Sal1 - Sal_bot) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 5.688 | 31.1938 | 0.00024759 | 0.0022068 | 0.0065991 | 0.0043923 |  | 1251.1 | 0.0056686
2 | NO | 6.3492 | 31.6467 | 0.16324 | 0.38014 | 0.006599 | -0.37354 |  | 1000.84 | 0.0043831
3 | NO | 5.9108 | 32.298 | 0.0006438 | 0.0034637 | 0.0065991 | 0.0031353 |  | 500.867 | 0.0058899
4 | NO | 5.5933 | 32.39 | 0.0005449 | 0.0028305 | 0.0065991 | 0.0037686 |  | 400.833 | 0.0066567
5 | NO | 5.4829 | 32.3616 | 0.0011005 | -0.0098572 | 0.0065991 | 0.016456 |  | 1500.64 | 0.0073051
6 | NO | 10.9702 | 31.5675 | 0.0015704 | 0.0020809 | 0.0065987 | 0.0045178 |  | 2005.91 | 0.0052834
7 | NO | 10.1818 | 31.773 | 0.024401 | 0.037519 | 0.0065988 | -0.030921 |  | 2006.43 | 0.0091324
8 | NO | 5.8553 | 31.7275 | 0.00022079 | 0.0023766 | 0.0065991 | 0.0042225 |  | 1501.6 | 0.0069084
9 | YES | 1251.1 | 34.4655 | 0.00026691 | 0.0056686 | 0.0065225 | 0.00085389 |  | 1248.59 | 0.0057945
9 | YES | 1000.84 | 34.4103 | 0.00047123 | 0.0043831 | 0.0065379 | 0.0021548 |  | 1002.12 | 0.0067062
9 | NO | 5.6025 | 32.2193 | 0.00079515 | 0.0029526 | 0.0065991 | 0.0036465 |  | 501.544 | 0.0059318
10 | YES | 500.867 | 34.1138 | 0.00024683 | 0.0058899 | 0.0065686 | 0.00067875 |  | 400.746 | 0.0058021
10 | YES | 400.833 | 34.0578 | 0.0002749 | 0.0066567 | 0.0065748 | -8.1863e-05 |  | 301.3 | 0.0068321
10 | NO | 5.5451 | 31.5936 | 0.0031809 | 0.0015278 | 0.0065991 | 0.0050713 |  | 250.914 | 0.0070305
11 | NO | 6.228 | 32.0026 | 0.00037239 | 0.0034599 | 0.006599 | 0.0031391 |  | 200.763 | 0.0063171
12 | YES | 1500.64 | 34.5172 | 0.00047073 | 0.0073051 | 0.0065072 | -0.00079795 |  | 175.681 | 0.0069199 | 0.0064101
12 | NO | 5.3624 | 32.0395 | 0.0016314 | -0.0091286 | 0.0065991 | 0.015728 |  | 150.866 | 0.0056496
13 | NO | 5.0864 | 32.0603 | 0.0027335 | 0.0038528 | 0.0065991 | 0.0027463 |  | 126.16 | 0.0073242
14 | NO | 6.6251 | 32.1611 | 0.00024263 | -0.00016403 | 0.006599 | 0.006763 |  | 100.087 | 0.0048752
15 | NO | 5.4093 | 32.1524 | 0.010381 | 0.010643 | 0.0065991 | -0.0040439 |  | 51.1201 | 0.0099793
16 | NO | 5.918 | 32.1176 | 0.0029177 | 0.0052071 | 0.0065991 | 0.001392 |  | 30.5217 | 0.0072937
17 | NO | 5.327 | 32.2769 | 0.0021978 | 0.0049553 | 0.0065991 | 0.0016438
18 | YES | 2005.91 | 34.5869 | 0.00033306 | 0.0052834 | 0.0064761 | 0.0011928 |  |  |  | 0.0065564
18 | NO | 10.8787 | 32.0671 | 0.001835 | 0.0016518 | 0.0065988 | 0.004947
19 | YES | 2006.43 | 34.5782 | 0.00025122 | 0.0091324 | 0.0064761 | -0.0026563
19 | YES | 1501.6 | 34.5063 | 0.00025356 | 0.0069084 | 0.0065071 | -0.00040128
19 | YES | 1248.59 | 34.4388 | 0.00024356 | 0.0057945 | 0.0065227 | 0.00072816
19 | YES | 1002.12 | 34.3645 | 0.00027065 | 0.0067062 | 0.0065378 | -0.00016841
19 | NO | 750.841 | 34.2317 | 0.00026887 | 0.0032539 | 0.0065533 | 0.0032993
19 | YES | 501.544 | 34.0853 | 0.00024113 | 0.0059318 | 0.0065686 | 0.00063675
19 | YES | 400.746 | 34.0346 | 0.00024367 | 0.0058021 | 0.0065748 | 0.00077264
19 | YES | 301.3 | 33.9954 | 0.00054485 | 0.0068321 | 0.0065809 | -0.00025122
19 | YES | 250.914 | 33.9719 | 0.00020956 | 0.0070305 | 0.006584 | -0.00044649
19 | YES | 200.763 | 33.9515 | 0.00025237 | 0.0063171 | 0.0065871 | 0.00026994
19 | YES | 175.681 | 33.9384 | 0.00037781 | 0.0069199 | 0.0065886 | -0.00033124
19 | YES | 150.866 | 33.8942 | 0.00061477 | 0.0056496 | 0.0065901 | 0.00094058
19 | YES | 126.16 | 33.7454 | 0.0063122 | 0.0073242 | 0.0065917 | -0.00073255
19 | YES | 100.087 | 33.6725 | 0.00062009 | 0.0048752 | 0.0065933 | 0.0017181
19 | NO | 75.6636 | 33.2614 | 0.0081887 | 0.016399 | 0.0065948 | -0.0098046
19 | YES | 51.1201 | 32.8583 | 0.0015143 | 0.0099793 | 0.0065963 | -0.003383
19 | YES | 30.5217 | 32.6205 | 0.0010802 | 0.0072937 | 0.0065975 | -0.00069616
19 | NO | 21.5669 | 32.4333 | 0.018086 | 0.0397 | 0.0065981 | -0.033102
19 | NO | 10.7636 | 31.819 | 0.0083656 | 0.0065098 | 0.0065988 | 8.8979e-05
19 | NO | 5.6151 | 31.8071 | 0.00029893 | 0.0030079 | 0.0065991 | 0.0035912
20 | NO | 5.6939 | 32.2805 | 0.00032256 | 0.0020332 | 0.0065991 | 0.0045658
21 | NO | 6.2276 | 30.5282 | 0.0076152 | -0.9734 | 0.006599 | 0.98
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
NO
YES
YES
NO
NO
YES
NO
NO
NO
NO
NO
NO
YES
NO
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
NO
NO
NO
NO
NO
FIT vs. Pressure
FIT vs. Sal1
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (Sal0 - Sal_bot) (2)
Calculation of Linear Least Squares Fit For
(Sal0 - Sal_bot)
3
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal0 - Sal_bot), Prop=File Pair #
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.00070343 |  | X | CALC Y
m= | 1.6332e-05 | 0.00013433 |  | Std Dev of Resid |  | 0.0024029 |  | 9 | 0.0029757
b= | 0.0028287 | 0.0023379 |  | Resid Sum of Squares |  | 0.00012126 |  | 19 | 0.003139
# of Values Extracted = |  |  | 46
# of Values Used in Fit = |  |  | 23
File | Use | Pressure | Sal0 | Sal0 | Diff (Sal0 - Sal_bot) |  |  |  | Fit vs. | File Pair #
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 5.688 | 31.192 | 0.00029588 | 0.0004406 | 0.002845 | 0.0024044 |  | 9 | 0.0027161
2 | NO | 6.3492 | 31.6742 | 0.1197 | 0.40758 | 0.0028613 | -0.40472 |  | 9 | 0.0019569
3 | NO | 5.9108 | 32.2941 | 0.00081698 | -0.00043487 | 0.0028777 | 0.0033126 |  | 10 | 0.0035477
4 | NO | 5.5933 | 32.3861 | 0.00064628 | -0.0011406 | 0.002894 | 0.0040346 |  | 10 | 0.0037422
5 | NO | 5.4829 | 32.3577 | 0.0013156 | -0.013824 | 0.0029103 | 0.016735 |  | 12 | 0.0033569
6 | NO | 10.9702 | 31.5644 | 0.00057676 | -0.0010147 | 0.0029267 | 0.0039414 |  | 18 | 0.0018272
7 | NO | 10.1818 | 31.7702 | 0.025198 | 0.034672 | 0.002943 | -0.031729 |  | 19 | 0.0055656
8 | NO | 5.8553 | 31.7252 | 0.00020725 | 0.00012779 | 0.0029593 | 0.0028315 |  | 19 | 0.0030594
9 | YES | 1251.1 | 34.4625 | 0.00027505 | 0.0027161 | 0.0029757 | 0.00025961 |  | 19 | 0.0020142
9 | YES | 1000.84 | 34.4079 | 0.00056864 | 0.0019569 | 0.0029757 | 0.0010187 |  | 19 | 0.0027809
9 | NO | 5.6025 | 32.2146 | 0.0011906 | -0.0017319 | 0.0029757 | 0.0047075 |  | 19 | -0.00088501
10 | YES | 500.867 | 34.1114 | 0.0002454 | 0.0035477 | 0.002992 | -0.00055567 |  | 19 | 0.0018234
10 | YES | 400.833 | 34.0548 | 0.00030338 | 0.0037422 | 0.002992 | -0.00075022 |  | 19 | 0.0017242
10 | NO | 5.5451 | 31.5908 | 0.0021142 | -0.0013313 | 0.002992 | 0.0043233 |  | 19 | 0.0027809
11 | NO | 6.228 | 31.9986 | 0.0002508 | -0.00053215 | 0.0030083 | 0.0035405 |  | 19 | 0.0030289
12 | YES | 1500.64 | 34.5133 | 0.00039848 | 0.0033569 | 0.0030247 | -0.00033226 |  | 19 | 0.0023804
12 | NO | 5.3624 | 32.0359 | 0.0019959 | -0.012688 | 0.0030247 | 0.015712 |  | 19 | 0.0030823
13 | NO | 5.0864 | 32.0552 | 0.0017104 | -0.0012245 | 0.003041 | 0.0042655 |  | 19 | 0.0018997
14 | NO | 6.6251 | 32.1565 | 0.00030406 | -0.0047531 | 0.0030573 | 0.0078104 |  | 19 | 0.0025253
15 | NO | 5.4093 | 32.1455 | 0.0041871 | 0.0037117 | 0.0030737 | -0.00063804 |  | 19 | 0.0013618
16 | NO | 5.918 | 32.1143 | 0.0025123 | 0.0018692 | 0.00309 | 0.0012208 |  | 19 | 0.011875
17 | NO | 5.327 | 32.2723 | 0.0024442 | 0.00038528 | 0.0031063 | 0.002721 |  | 19 | 0.0059929
18 | YES | 2005.91 | 34.5834 | 0.00028036 | 0.0018272 | 0.0031227 | 0.0012954 |  | 19 | 0.0032883
18 | NO | 10.8787 | 32.0635 | 0.0025737 | -0.0018845 | 0.0031227 | 0.0050071
19 | YES | 2006.43 | 34.5747 | 0.00023097 | 0.0055656 | 0.003139 | -0.0024266
19 | YES | 1501.6 | 34.5025 | 0.00023794 | 0.0030594 | 0.003139 | 7.9601e-05
19 | YES | 1248.59 | 34.435 | 0.0002321 | 0.0020142 | 0.003139 | 0.0011248
19 | YES | 1002.12 | 34.3606 | 0.00027041 | 0.0027809 | 0.003139 | 0.00035808
19 | YES | 750.841 | 34.2275 | 0.00025725 | -0.00088501 | 0.003139 | 0.004024
19 | YES | 501.544 | 34.0812 | 0.00024731 | 0.0018234 | 0.003139 | 0.0013156
19 | YES | 400.746 | 34.0305 | 0.00024679 | 0.0017242 | 0.003139 | 0.0014148
19 | YES | 301.3 | 33.9914 | 0.00024893 | 0.0027809 | 0.003139 | 0.00035808
19 | YES | 250.914 | 33.9679 | 0.00023838 | 0.0030289 | 0.003139 | 0.00011012
19 | YES | 200.763 | 33.9476 | 0.00024491 | 0.0023804 | 0.003139 | 0.00075862
19 | YES | 175.681 | 33.9346 | 0.00037151 | 0.0030823 | 0.003139 | 5.6711e-05
19 | YES | 150.866 | 33.8905 | 0.00034758 | 0.0018997 | 0.003139 | 0.0012393
19 | YES | 126.16 | 33.7406 | 0.004565 | 0.0025253 | 0.003139 | 0.00061366
19 | YES | 100.087 | 33.669 | 0.00071457 | 0.0013618 | 0.003139 | 0.0017771
19 | YES | 75.6636 | 33.2569 | 0.0052967 | 0.011875 | 0.003139 | -0.0087362
19 | YES | 51.1201 | 32.8543 | 0.0013885 | 0.0059929 | 0.003139 | -0.0028539
19 | YES | 30.5217 | 32.6165 | 0.00078484 | 0.0032883 | 0.003139 | -0.00014928
19 | NO | 21.5669 | 32.4268 | 0.01378 | 0.033245 | 0.003139 | -0.030106
19 | NO | 10.7636 | 31.8142 | 0.0067764 | 0.0017033 | 0.003139 | 0.0014357
19 | NO | 5.6151 | 31.8028 | 0.00028233 | -0.0013332 | 0.003139 | 0.0044722
20 | NO | 5.6939 | 32.2757 | 0.010121 | -0.0028229 | 0.0031553 | 0.0059782
21 | NO | 6.2276 | 30.5295 | 0.0064818 | -0.97213 | 0.0031717 | 0.9753
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
NO
YES
YES
NO
NO
YES
NO
NO
NO
NO
NO
NO
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
FIT vs. Pressure
FIT vs. Sal0
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (Sal1 - Sal_bot) (2)
Calculation of Linear Least Squares Fit For
(Sal1 - Sal_bot)
3
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal1 - Sal_bot), Prop=File Pair #
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.045035 |  | X | CALC Y
m= | 0.00014006 | 0.00014074 |  | Std Dev of Resid |  | 0.0025177 |  | 9 | 0.0057203
b= | 0.0044597 | 0.0024495 |  | Resid Sum of Squares |  | 0.00013311 |  | 19 | 0.0071209
# of Values Extracted = |  |  | 46
# of Values Used in Fit = |  |  | 23
File | Use | Pressure | Sal1 | Sal1 | Diff (Sal1 - Sal_bot) |  |  |  | Fit vs. | File Pair #
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 5.688 | 31.1938 | 0.00024759 | 0.0022068 | 0.0045998 | 0.002393 |  | 9 | 0.0056686
2 | NO | 6.3492 | 31.6467 | 0.16324 | 0.38014 | 0.0047399 | -0.3754 |  | 9 | 0.0043831
3 | NO | 5.9108 | 32.298 | 0.0006438 | 0.0034637 | 0.0048799 | 0.0014162 |  | 10 | 0.0058899
4 | NO | 5.5933 | 32.39 | 0.0005449 | 0.0028305 | 0.00502 | 0.0021895 |  | 10 | 0.0066567
5 | NO | 5.4829 | 32.3616 | 0.0011005 | -0.0098572 | 0.00516 | 0.015017 |  | 12 | 0.0073051
6 | NO | 10.9702 | 31.5675 | 0.0015704 | 0.0020809 | 0.0053001 | 0.0032192 |  | 18 | 0.0052834
7 | NO | 10.1818 | 31.773 | 0.024401 | 0.037519 | 0.0054402 | -0.032079 |  | 19 | 0.0091324
8 | NO | 5.8553 | 31.7275 | 0.00022079 | 0.0023766 | 0.0055802 | 0.0032037 |  | 19 | 0.0069084
9 | YES | 1251.1 | 34.4655 | 0.00026691 | 0.0056686 | 0.0057203 | 5.1637e-05 |  | 19 | 0.0057945
9 | YES | 1000.84 | 34.4103 | 0.00047123 | 0.0043831 | 0.0057203 | 0.0013372 |  | 19 | 0.0067062
9 | NO | 5.6025 | 32.2193 | 0.00079515 | 0.0029526 | 0.0057203 | 0.0027677 |  | 19 | 0.0032539
10 | YES | 500.867 | 34.1138 | 0.00024683 | 0.0058899 | 0.0058603 | -2.9554e-05 |  | 19 | 0.0059318
10 | YES | 400.833 | 34.0578 | 0.0002749 | 0.0066567 | 0.0058603 | -0.00079631 |  | 19 | 0.0058021
10 | NO | 5.5451 | 31.5936 | 0.0031809 | 0.0015278 | 0.0058603 | 0.0043325 |  | 19 | 0.0068321
11 | NO | 6.228 | 32.0026 | 0.00037239 | 0.0034599 | 0.0060004 | 0.0025405 |  | 19 | 0.0070305
12 | YES | 1500.64 | 34.5172 | 0.00047073 | 0.0073051 | 0.0061405 | -0.0011647 |  | 19 | 0.0063171
12 | NO | 5.3624 | 32.0395 | 0.0016314 | -0.0091286 | 0.0061405 | 0.015269 |  | 19 | 0.0069199
13 | NO | 5.0864 | 32.0603 | 0.0027335 | 0.0038528 | 0.0062805 | 0.0024277 |  | 19 | 0.0056496
14 | NO | 6.6251 | 32.1611 | 0.00024263 | -0.00016403 | 0.0064206 | 0.0065846 |  | 19 | 0.0073242
15 | NO | 5.4093 | 32.1524 | 0.010381 | 0.010643 | 0.0065606 | -0.0040824 |  | 19 | 0.0048752
16 | NO | 5.918 | 32.1176 | 0.0029177 | 0.0052071 | 0.0067007 | 0.0014936 |  | 19 | 0.016399
17 | NO | 5.327 | 32.2769 | 0.0021978 | 0.0049553 | 0.0068407 | 0.0018855 |  | 19 | 0.0099793
18 | YES | 2005.91 | 34.5869 | 0.00033306 | 0.0052834 | 0.0069808 | 0.0016974 |  | 19 | 0.0072937
18 | NO | 10.8787 | 32.0671 | 0.001835 | 0.0016518 | 0.0069808 | 0.005329
19 | YES | 2006.43 | 34.5782 | 0.00025122 | 0.0091324 | 0.0071209 | -0.0020115
19 | YES | 1501.6 | 34.5063 | 0.00025356 | 0.0069084 | 0.0071209 | 0.00021245
19 | YES | 1248.59 | 34.4388 | 0.00024356 | 0.0057945 | 0.0071209 | 0.0013263
19 | YES | 1002.12 | 34.3645 | 0.00027065 | 0.0067062 | 0.0071209 | 0.00041463
19 | YES | 750.841 | 34.2317 | 0.00026887 | 0.0032539 | 0.0071209 | 0.0038669
19 | YES | 501.544 | 34.0853 | 0.00024113 | 0.0059318 | 0.0071209 | 0.001189
19 | YES | 400.746 | 34.0346 | 0.00024367 | 0.0058021 | 0.0071209 | 0.0013187
19 | YES | 301.3 | 33.9954 | 0.00054485 | 0.0068321 | 0.0071209 | 0.00028875
19 | YES | 250.914 | 33.9719 | 0.00020956 | 0.0070305 | 0.0071209 | 9.0377e-05
19 | YES | 200.763 | 33.9515 | 0.00025237 | 0.0063171 | 0.0071209 | 0.00080373
19 | YES | 175.681 | 33.9384 | 0.00037781 | 0.0069199 | 0.0071209 | 0.00020101
19 | YES | 150.866 | 33.8942 | 0.00061477 | 0.0056496 | 0.0071209 | 0.0014713
19 | YES | 126.16 | 33.7454 | 0.0063122 | 0.0073242 | 0.0071209 | -0.00020335
19 | YES | 100.087 | 33.6725 | 0.00062009 | 0.0048752 | 0.0071209 | 0.0022457
19 | YES | 75.6636 | 33.2614 | 0.0081887 | 0.016399 | 0.0071209 | -0.0092785
19 | YES | 51.1201 | 32.8583 | 0.0015143 | 0.0099793 | 0.0071209 | -0.0028584
19 | YES | 30.5217 | 32.6205 | 0.0010802 | 0.0072937 | 0.0071209 | -0.00017283
19 | NO | 21.5669 | 32.4333 | 0.018086 | 0.0397 | 0.0071209 | -0.032579
19 | NO | 10.7636 | 31.819 | 0.0083656 | 0.0065098 | 0.0071209 | 0.00061109
19 | NO | 5.6151 | 31.8071 | 0.00029893 | 0.0030079 | 0.0071209 | 0.004113
20 | NO | 5.6939 | 32.2805 | 0.00032256 | 0.0020332 | 0.0072609 | 0.0052277
21 | NO | 6.2276 | 30.5282 | 0.0076152 | -0.9734 | 0.007401 | 0.9808
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
NO
YES
YES
NO
NO
YES
NO
NO
NO
NO
NO
NO
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
FIT vs. Pressure
FIT vs. Sal1
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (Sal0 - Sal_bot) (3)
Calculation of Linear Least Squares Fit For
(Sal0 - Sal_bot)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal0 - Sal_bot), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.022323 |  | X | CALC Y
m= | -1.9218e-06 | 2.9977e-06 |  | Std Dev of Resid |  | 0.0074226 |  | 5.6151 | 0.0052413
b= | 0.0052521 | 0.0021306 |  | Resid Sum of Squares |  | 0.0009917 |  | 2006.43 | 0.0013962
# of Values Extracted = |  |  | 20
# of Values Used in Fit = |  |  | 20
File | Use | Pressure | Sal0 | Sal0 | Diff (Sal0 - Sal_bot) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
19 | YES | 2006.43 | 34.5747 | 0.00023097 | 0.0055656 | 0.0013962 | -0.0041694 |  | 2006.43 | 0.0055656
19 | YES | 1501.6 | 34.5025 | 0.00023794 | 0.0030594 | 0.0023664 | -0.000693 |  | 1501.6 | 0.0030594
19 | YES | 1248.59 | 34.435 | 0.0002321 | 0.0020142 | 0.0028526 | 0.00083846 |  | 1248.59 | 0.0020142
19 | YES | 1002.12 | 34.3606 | 0.00027041 | 0.0027809 | 0.0033263 | 0.00054536 |  | 1002.12 | 0.0027809
19 | YES | 750.841 | 34.2275 | 0.00025725 | -0.00088501 | 0.0038092 | 0.0046942 |  | 750.841 | -0.00088501
19 | YES | 501.544 | 34.0812 | 0.00024731 | 0.0018234 | 0.0042883 | 0.0024648 |  | 501.544 | 0.0018234
19 | YES | 400.746 | 34.0305 | 0.00024679 | 0.0017242 | 0.004482 | 0.0027577 |  | 400.746 | 0.0017242
19 | YES | 301.3 | 33.9914 | 0.00024893 | 0.0027809 | 0.0046731 | 0.0018922 |  | 301.3 | 0.0027809
19 | YES | 250.914 | 33.9679 | 0.00023838 | 0.0030289 | 0.0047699 | 0.001741 |  | 250.914 | 0.0030289
19 | YES | 200.763 | 33.9476 | 0.00024491 | 0.0023804 | 0.0048663 | 0.0024859 |  | 200.763 | 0.0023804
19 | YES | 175.681 | 33.9346 | 0.00037151 | 0.0030823 | 0.0049145 | 0.0018322 |  | 175.681 | 0.0030823
19 | YES | 150.866 | 33.8905 | 0.00034758 | 0.0018997 | 0.0049622 | 0.0030625 |  | 150.866 | 0.0018997
19 | YES | 126.16 | 33.7406 | 0.004565 | 0.0025253 | 0.0050096 | 0.0024843 |  | 126.16 | 0.0025253
19 | YES | 100.087 | 33.669 | 0.00071457 | 0.0013618 | 0.0050598 | 0.0036979 |  | 100.087 | 0.0013618
19 | YES | 75.6636 | 33.2569 | 0.0052967 | 0.011875 | 0.0051067 | -0.0067685 |  | 75.6636 | 0.011875
19 | YES | 51.1201 | 32.8543 | 0.0013885 | 0.0059929 | 0.0051539 | -0.00083903 |  | 51.1201 | 0.0059929
19 | YES | 30.5217 | 32.6165 | 0.00078484 | 0.0032883 | 0.0051934 | 0.0019052 |  | 30.5217 | 0.0032883
19 | YES | 21.5669 | 32.4268 | 0.01378 | 0.033245 | 0.0052107 | -0.028034 |  | 21.5669 | 0.033245
19 | YES | 10.7636 | 31.8142 | 0.0067764 | 0.0017033 | 0.0052314 | 0.0035282 |  | 10.7636 | 0.0017033
19 | YES | 5.6151 | 31.8028 | 0.00028233 | -0.0013332 | 0.0052413 | 0.0065745 |  | 5.6151 | -0.0013332
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. Sal0
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (Sal1 - Sal_bot) (3)
Calculation of Linear Least Squares Fit For
(Sal1 - Sal_bot)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal1 - Sal_bot), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.029421 |  | X | CALC Y
m= | -2.3626e-06 | 3.1984e-06 |  | Std Dev of Resid |  | 0.0079197 |  | 5.6151 | 0.009608
b= | 0.0096213 | 0.0022733 |  | Resid Sum of Squares |  | 0.001129 |  | 2006.43 | 0.0048809
# of Values Extracted = |  |  | 20
# of Values Used in Fit = |  |  | 20
File | Use | Pressure | Sal1 | Sal1 | Diff (Sal1 - Sal_bot) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
19 | YES | 2006.43 | 34.5782 | 0.00025122 | 0.0091324 | 0.0048809 | -0.0042515 |  | 2006.43 | 0.0091324
19 | YES | 1501.6 | 34.5063 | 0.00025356 | 0.0069084 | 0.0060736 | -0.00083482 |  | 1501.6 | 0.0069084
19 | YES | 1248.59 | 34.4388 | 0.00024356 | 0.0057945 | 0.0066714 | 0.00087683 |  | 1248.59 | 0.0057945
19 | YES | 1002.12 | 34.3645 | 0.00027065 | 0.0067062 | 0.0072537 | 0.00054743 |  | 1002.12 | 0.0067062
19 | YES | 750.841 | 34.2317 | 0.00026887 | 0.0032539 | 0.0078473 | 0.0045934 |  | 750.841 | 0.0032539
19 | YES | 501.544 | 34.0853 | 0.00024113 | 0.0059318 | 0.0084363 | 0.0025045 |  | 501.544 | 0.0059318
19 | YES | 400.746 | 34.0346 | 0.00024367 | 0.0058021 | 0.0086745 | 0.0028723 |  | 400.746 | 0.0058021
19 | YES | 301.3 | 33.9954 | 0.00054485 | 0.0068321 | 0.0089094 | 0.0020773 |  | 301.3 | 0.0068321
19 | YES | 250.914 | 33.9719 | 0.00020956 | 0.0070305 | 0.0090285 | 0.001998 |  | 250.914 | 0.0070305
19 | YES | 200.763 | 33.9515 | 0.00025237 | 0.0063171 | 0.0091469 | 0.0028298 |  | 200.763 | 0.0063171
19 | YES | 175.681 | 33.9384 | 0.00037781 | 0.0069199 | 0.0092062 | 0.0022863 |  | 175.681 | 0.0069199
19 | YES | 150.866 | 33.8942 | 0.00061477 | 0.0056496 | 0.0092648 | 0.0036153 |  | 150.866 | 0.0056496
19 | YES | 126.16 | 33.7454 | 0.0063122 | 0.0073242 | 0.0093232 | 0.001999 |  | 126.16 | 0.0073242
19 | YES | 100.087 | 33.6725 | 0.00062009 | 0.0048752 | 0.0093848 | 0.0045096 |  | 100.087 | 0.0048752
19 | YES | 75.6636 | 33.2614 | 0.0081887 | 0.016399 | 0.0094425 | -0.0069569 |  | 75.6636 | 0.016399
19 | YES | 51.1201 | 32.8583 | 0.0015143 | 0.0099793 | 0.0095005 | -0.00047877 |  | 51.1201 | 0.0099793
19 | YES | 30.5217 | 32.6205 | 0.0010802 | 0.0072937 | 0.0095491 | 0.0022554 |  | 30.5217 | 0.0072937
19 | YES | 21.5669 | 32.4333 | 0.018086 | 0.0397 | 0.0095703 | -0.030129 |  | 21.5669 | 0.0397
19 | YES | 10.7636 | 31.819 | 0.0083656 | 0.0065098 | 0.0095958 | 0.003086 |  | 10.7636 | 0.0065098
19 | YES | 5.6151 | 31.8071 | 0.00029893 | 0.0030079 | 0.009608 | 0.0066001 |  | 5.6151 | 0.0030079
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. Sal1
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (Sal0 - Sal_bot) (4)
Calculation of Linear Least Squares Fit For
(Sal0 - Sal_bot)
3
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal0 - Sal_bot), Prop=File Pair #
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.16851 |  | X | CALC Y
m= | -0.014467 | 0.0070127 |  | Std Dev of Resid |  | 0.20884 |  | 1 | 0.13156
b= | 0.14602 | 0.092862 |  | Resid Sum of Squares |  | 0.91591 |  | 21 | -0.15779
# of Values Extracted = |  |  | 46
# of Values Used in Fit = |  |  | 23
File | Use | Pressure | Sal0 | Sal0 | Diff (Sal0 - Sal_bot) |  |  |  | Fit vs. | File Pair #
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 5.688 | 31.192 | 0.00029588 | 0.0004406 | 0.13156 | 0.13112 |  | 1 | 0.0004406
2 | YES | 6.3492 | 31.6742 | 0.1197 | 0.40758 | 0.11709 | -0.29049 |  | 2 | 0.40758
3 | YES | 5.9108 | 32.2941 | 0.00081698 | -0.00043487 | 0.10262 | 0.10306 |  | 3 | -0.00043487
4 | YES | 5.5933 | 32.3861 | 0.00064628 | -0.0011406 | 0.088155 | 0.089296 |  | 4 | -0.0011406
5 | YES | 5.4829 | 32.3577 | 0.0013156 | -0.013824 | 0.073688 | 0.087512 |  | 5 | -0.013824
6 | YES | 10.9702 | 31.5644 | 0.00057676 | -0.0010147 | 0.059221 | 0.060236 |  | 6 | -0.0010147
7 | YES | 10.1818 | 31.7702 | 0.025198 | 0.034672 | 0.044754 | 0.010082 |  | 7 | 0.034672
8 | YES | 5.8553 | 31.7252 | 0.00020725 | 0.00012779 | 0.030287 | 0.030159 |  | 8 | 0.00012779
9 | NO | 1251.1 | 34.4625 | 0.00027505 | 0.0027161 | 0.01582 | 0.013104 |  | 9 | -0.0017319
9 | NO | 1000.84 | 34.4079 | 0.00056864 | 0.0019569 | 0.01582 | 0.013863 |  | 10 | -0.0013313
9 | YES | 5.6025 | 32.2146 | 0.0011906 | -0.0017319 | 0.01582 | 0.017551 |  | 11 | -0.00053215
10 | NO | 500.867 | 34.1114 | 0.0002454 | 0.0035477 | 0.0013525 | -0.0021952 |  | 12 | -0.012688
10 | NO | 400.833 | 34.0548 | 0.00030338 | 0.0037422 | 0.0013525 | -0.0023897 |  | 13 | -0.0012245
10 | YES | 5.5451 | 31.5908 | 0.0021142 | -0.0013313 | 0.0013525 | 0.0026838 |  | 14 | -0.0047531
11 | YES | 6.228 | 31.9986 | 0.0002508 | -0.00053215 | -0.013115 | -0.012582 |  | 15 | 0.0037117
12 | NO | 1500.64 | 34.5133 | 0.00039848 | 0.0033569 | -0.027582 | -0.030939 |  | 16 | 0.0018692
12 | YES | 5.3624 | 32.0359 | 0.0019959 | -0.012688 | -0.027582 | -0.014894 |  | 17 | 0.00038528
13 | YES | 5.0864 | 32.0552 | 0.0017104 | -0.0012245 | -0.042049 | -0.040824 |  | 18 | -0.0018845
14 | YES | 6.6251 | 32.1565 | 0.00030406 | -0.0047531 | -0.056516 | -0.051763 |  | 19 | 0.033245
15 | YES | 5.4093 | 32.1455 | 0.0041871 | 0.0037117 | -0.070983 | -0.074695 |  | 19 | 0.0017033
16 | YES | 5.918 | 32.1143 | 0.0025123 | 0.0018692 | -0.08545 | -0.087319 |  | 19 | -0.0013332
17 | YES | 5.327 | 32.2723 | 0.0024442 | 0.00038528 | -0.099917 | -0.1003 |  | 20 | -0.0028229
18 | NO | 2005.91 | 34.5834 | 0.00028036 | 0.0018272 | -0.11438 | -0.11621 |  | 21 | -0.97213
18 | YES | 10.8787 | 32.0635 | 0.0025737 | -0.0018845 | -0.11438 | -0.1125
19 | NO | 2006.43 | 34.5747 | 0.00023097 | 0.0055656 | -0.12885 | -0.13442
19 | NO | 1501.6 | 34.5025 | 0.00023794 | 0.0030594 | -0.12885 | -0.13191
19 | NO | 1248.59 | 34.435 | 0.0002321 | 0.0020142 | -0.12885 | -0.13087
19 | NO | 1002.12 | 34.3606 | 0.00027041 | 0.0027809 | -0.12885 | -0.13163
19 | NO | 750.841 | 34.2275 | 0.00025725 | -0.00088501 | -0.12885 | -0.12797
19 | NO | 501.544 | 34.0812 | 0.00024731 | 0.0018234 | -0.12885 | -0.13067
19 | NO | 400.746 | 34.0305 | 0.00024679 | 0.0017242 | -0.12885 | -0.13058
19 | NO | 301.3 | 33.9914 | 0.00024893 | 0.0027809 | -0.12885 | -0.13163
19 | NO | 250.914 | 33.9679 | 0.00023838 | 0.0030289 | -0.12885 | -0.13188
19 | NO | 200.763 | 33.9476 | 0.00024491 | 0.0023804 | -0.12885 | -0.13123
19 | NO | 175.681 | 33.9346 | 0.00037151 | 0.0030823 | -0.12885 | -0.13193
19 | NO | 150.866 | 33.8905 | 0.00034758 | 0.0018997 | -0.12885 | -0.13075
19 | NO | 126.16 | 33.7406 | 0.004565 | 0.0025253 | -0.12885 | -0.13138
19 | NO | 100.087 | 33.669 | 0.00071457 | 0.0013618 | -0.12885 | -0.13021
19 | NO | 75.6636 | 33.2569 | 0.0052967 | 0.011875 | -0.12885 | -0.14073
19 | NO | 51.1201 | 32.8543 | 0.0013885 | 0.0059929 | -0.12885 | -0.13484
19 | NO | 30.5217 | 32.6165 | 0.00078484 | 0.0032883 | -0.12885 | -0.13214
19 | YES | 21.5669 | 32.4268 | 0.01378 | 0.033245 | -0.12885 | -0.1621
19 | YES | 10.7636 | 31.8142 | 0.0067764 | 0.0017033 | -0.12885 | -0.13055
19 | YES | 5.6151 | 31.8028 | 0.00028233 | -0.0013332 | -0.12885 | -0.12752
20 | YES | 5.6939 | 32.2757 | 0.010121 | -0.0028229 | -0.14332 | -0.1405
21 | YES | 6.2276 | 30.5295 | 0.0064818 | -0.97213 | -0.15779 | 0.81434
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
YES
NO
NO
YES
YES
NO
YES
YES
YES
YES
YES
YES
NO
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. Sal0
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Main
# Channels= | 3 |  |  |  | COMPARE Version 3.3 | Run at 2011/05/03 15:09:00
| Primary | Secondary |  | Comparison Name
Ref | Pressure | Pressure |  | Pressure - Pressure
Comp 1 | Sal_bot | Sal0 |  | Sal0 - Sal_bot
Comp 2 | Sal_bot | Sal1 |  | Sal1 - Sal_bot
Average Size: | 1
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | Pressure | Pressure | Pressure | (S-P) | Sal_bot | Sal0 | Sal0 | (S-P) | Sal_bot | Sal1 | Sal1 | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff | Value | Sal1 | Std Dev | Diff
2010-15-0003.mrg | 2010-15-0003.sam | 241 | 5.688 | 5.688 | 0.21016 | -2.5272e-05 | 31.1916 | 31.192 | 0.00029588 | 0.0004406 | 31.1916 | 31.1938 | 0.00024759 | 0.0022068
2010-15-0005.mrg | 2010-15-0005.sam | 241 | 6.349 | 6.3492 | 0.2841 | 0.00022411 | 31.2666 | 31.6742 | 0.1197 | 0.40758 | 31.2666 | 31.6467 | 0.16324 | 0.38014
2010-15-0009.mrg | 2010-15-0009.sam | 241 | 5.911 | 5.9108 | 0.099884 | -0.00024033 | 32.2945 | 32.2941 | 0.00081698 | -0.00043487 | 32.2945 | 32.298 | 0.0006438 | 0.0034637
2010-15-0023.mrg | 2010-15-0023.sam | 241 | 5.593 | 5.5933 | 0.068571 | 0.00033188 | 32.3872 | 32.3861 | 0.00064628 | -0.0011406 | 32.3872 | 32.39 | 0.0005449 | 0.0028305
2010-15-0025.mrg | 2010-15-0025.sam | 241 | 5.483 | 5.4829 | 0.23032 | -9.5367e-05 | 32.3715 | 32.3577 | 0.0013156 | -0.013824 | 32.3715 | 32.3616 | 0.0011005 | -0.0098572
2010-15-0027.mrg | 2010-15-0027.sam | 241 | 10.97 | 10.9702 | 0.20639 | 0.00022411 | 31.5654 | 31.5644 | 0.00057676 | -0.0010147 | 31.5654 | 31.5675 | 0.0015704 | 0.0020809
2010-15-0029.mrg | 2010-15-0029.sam | 210 | 10.35 | 10.1818 | 0.58909 | -0.16817 | 31.7355 | 31.7702 | 0.025198 | 0.034672 | 31.7355 | 31.773 | 0.024401 | 0.037519
2010-15-0031.mrg | 2010-15-0031.sam | 241 | 5.855 | 5.8553 | 0.22184 | 0.00025701 | 31.7251 | 31.7252 | 0.00020725 | 0.00012779 | 31.7251 | 31.7275 | 0.00022079 | 0.0023766
2010-15-0037.mrg | 2010-15-0037.sam | 241 | 1251.1 | 1251.1 | 0.36322 | 0 | 34.4598 | 34.4625 | 0.00027505 | 0.0027161 | 34.4598 | 34.4655 | 0.00026691 | 0.0056686
2010-15-0037.mrg | 2010-15-0037.sam | 241 | 1000.84 | 1000.84 | 0.11909 | -0.00036621 | 34.4059 | 34.4079 | 0.00056864 | 0.0019569 | 34.4059 | 34.4103 | 0.00047123 | 0.0043831
2010-15-0037.mrg | 2010-15-0037.sam | 241 | 5.602 | 5.6025 | 0.33961 | 0.00047684 | 32.2163 | 32.2146 | 0.0011906 | -0.0017319 | 32.2163 | 32.2193 | 0.00079515 | 0.0029526
2010-15-0039.mrg | 2010-15-0039.sam | 241 | 500.867 | 500.867 | 0.30944 | -6.1035e-05 | 34.1079 | 34.1114 | 0.0002454 | 0.0035477 | 34.1079 | 34.1138 | 0.00024683 | 0.0058899
2010-15-0039.mrg | 2010-15-0039.sam | 241 | 400.833 | 400.833 | 0.20565 | 0.00012207 | 34.0511 | 34.0548 | 0.00030338 | 0.0037422 | 34.0511 | 34.0578 | 0.0002749 | 0.0066567
2010-15-0039.mrg | 2010-15-0039.sam | 433 | 5.52 | 5.5451 | 0.15532 | 0.025072 | 31.5921 | 31.5908 | 0.0021142 | -0.0013313 | 31.5921 | 31.5936 | 0.0031809 | 0.0015278
2010-15-0060.mrg | 2010-15-0060.sam | 117 | 6.048 | 6.228 | 0.60772 | 0.18 | 31.9991 | 31.9986 | 0.0002508 | -0.00053215 | 31.9991 | 32.0026 | 0.00037239 | 0.0034599
2010-15-0069.mrg | 2010-15-0069.sam | 209 | 1500.71 | 1500.64 | 0.60331 | -0.074951 | 34.5099 | 34.5133 | 0.00039848 | 0.0033569 | 34.5099 | 34.5172 | 0.00047073 | 0.0073051
2010-15-0069.mrg | 2010-15-0069.sam | 241 | 5.362 | 5.3624 | 0.072306 | 0.00041914 | 32.0486 | 32.0359 | 0.0019959 | -0.012688 | 32.0486 | 32.0395 | 0.0016314 | -0.0091286
2010-15-0074.mrg | 2010-15-0074.sam | 241 | 5.086 | 5.0864 | 0.41739 | 0.00035286 | 32.0564 | 32.0552 | 0.0017104 | -0.0012245 | 32.0564 | 32.0603 | 0.0027335 | 0.0038528
2010-15-0076.mrg | 2010-15-0076.sam | 241 | 6.625 | 6.6251 | 0.37132 | 0.00012875 | 32.1613 | 32.1565 | 0.00030406 | -0.0047531 | 32.1613 | 32.1611 | 0.00024263 | -0.00016403
2010-15-0079.mrg | 2010-15-0079.sam | 314 | 5.138 | 5.4093 | 0.4679 | 0.27133 | 32.1418 | 32.1455 | 0.0041871 | 0.0037117 | 32.1418 | 32.1524 | 0.010381 | 0.010643
2010-15-0081.mrg | 2010-15-0081.sam | 1623 | 5.83 | 5.918 | 0.2148 | 0.088038 | 32.1124 | 32.1143 | 0.0025123 | 0.0018692 | 32.1124 | 32.1176 | 0.0029177 | 0.0052071
2010-15-0085.mrg | 2010-15-0085.sam | 241 | 5.327 | 5.327 | 0.39984 | 0 | 32.2719 | 32.2723 | 0.0024442 | 0.00038528 | 32.2719 | 32.2769 | 0.0021978 | 0.0049553
2010-15-0091.mrg | 2010-15-0091.sam | 63 | 2005.79 | 2005.91 | 0.61729 | 0.12 | 34.5816 | 34.5834 | 0.00028036 | 0.0018272 | 34.5816 | 34.5869 | 0.00033306 | 0.0052834
2010-15-0091.mrg | 2010-15-0091.sam | 241 | 10.879 | 10.8787 | 0.24496 | -0.00026989 | 32.0654 | 32.0635 | 0.0025737 | -0.0018845 | 32.0654 | 32.0671 | 0.001835 | 0.0016518
2010-15-0104.mrg | 2010-15-0104.sam | 226 | 2006.37 | 2006.43 | 0.6216 | 0.057373 | 34.5691 | 34.5747 | 0.00023097 | 0.0055656 | 34.5691 | 34.5782 | 0.00025122 | 0.0091324
2010-15-0104.mrg | 2010-15-0104.sam | 241 | 1501.6 | 1501.6 | 0.36871 | -0.00048828 | 34.4994 | 34.5025 | 0.00023794 | 0.0030594 | 34.4994 | 34.5063 | 0.00025356 | 0.0069084
2010-15-0104.mrg | 2010-15-0104.sam | 241 | 1248.59 | 1248.59 | 0.32031 | 0 | 34.433 | 34.435 | 0.0002321 | 0.0020142 | 34.433 | 34.4388 | 0.00024356 | 0.0057945
2010-15-0104.mrg | 2010-15-0104.sam | 241 | 1002.12 | 1002.12 | 0.41811 | -0.00030518 | 34.3578 | 34.3606 | 0.00027041 | 0.0027809 | 34.3578 | 34.3645 | 0.00027065 | 0.0067062
2010-15-0104.mrg | 2010-15-0104.sam | 241 | 750.841 | 750.841 | 0.47792 | -0.00048828 | 34.2284 | 34.2275 | 0.00025725 | -0.00088501 | 34.2284 | 34.2317 | 0.00026887 | 0.0032539
2010-15-0104.mrg | 2010-15-0104.sam | 241 | 501.544 | 501.544 | 0.14756 | 0.00012207 | 34.0794 | 34.0812 | 0.00024731 | 0.0018234 | 34.0794 | 34.0853 | 0.00024113 | 0.0059318
2010-15-0104.mrg | 2010-15-0104.sam | 241 | 400.746 | 400.746 | 0.1893 | -3.0518e-05 | 34.0288 | 34.0305 | 0.00024679 | 0.0017242 | 34.0288 | 34.0346 | 0.00024367 | 0.0058021
2010-15-0104.mrg | 2010-15-0104.sam | 241 | 301.3 | 301.3 | 0.25078 | 0.00012207 | 33.9886 | 33.9914 | 0.00024893 | 0.0027809 | 33.9886 | 33.9954 | 0.00054485 | 0.0068321
2010-15-0104.mrg | 2010-15-0104.sam | 241 | 250.914 | 250.914 | 0.15355 | -0.0004425 | 33.9649 | 33.9679 | 0.00023838 | 0.0030289 | 33.9649 | 33.9719 | 0.00020956 | 0.0070305
2010-15-0104.mrg | 2010-15-0104.sam | 241 | 200.763 | 200.763 | 0.28498 | 0.00036621 | 33.9452 | 33.9476 | 0.00024491 | 0.0023804 | 33.9452 | 33.9515 | 0.00025237 | 0.0063171
2010-15-0104.mrg | 2010-15-0104.sam | 241 | 175.681 | 175.681 | 0.31053 | -0.00021362 | 33.9315 | 33.9346 | 0.00037151 | 0.0030823 | 33.9315 | 33.9384 | 0.00037781 | 0.0069199
2010-15-0104.mrg | 2010-15-0104.sam | 241 | 150.866 | 150.866 | 0.19642 | 6.1035e-05 | 33.8886 | 33.8905 | 0.00034758 | 0.0018997 | 33.8886 | 33.8942 | 0.00061477 | 0.0056496
2010-15-0104.mrg | 2010-15-0104.sam | 241 | 126.16 | 126.16 | 0.33927 | -0.00049591 | 33.7381 | 33.7406 | 0.004565 | 0.0025253 | 33.7381 | 33.7454 | 0.0063122 | 0.0073242
2010-15-0104.mrg | 2010-15-0104.sam | 241 | 100.087 | 100.087 | 0.57436 | -0.00019836 | 33.6676 | 33.669 | 0.00071457 | 0.0013618 | 33.6676 | 33.6725 | 0.00062009 | 0.0048752
2010-15-0104.mrg | 2010-15-0104.sam | 241 | 75.664 | 75.6636 | 0.38672 | -0.00041962 | 33.245 | 33.2569 | 0.0052967 | 0.011875 | 33.245 | 33.2614 | 0.0081887 | 0.016399
2010-15-0104.mrg | 2010-15-0104.sam | 241 | 51.12 | 51.1201 | 0.19059 | 0.00014877 | 32.8483 | 32.8543 | 0.0013885 | 0.0059929 | 32.8483 | 32.8583 | 0.0015143 | 0.0099793
2010-15-0104.mrg | 2010-15-0104.sam | 241 | 30.522 | 30.5217 | 0.25407 | -0.00030136 | 32.6132 | 32.6165 | 0.00078484 | 0.0032883 | 32.6132 | 32.6205 | 0.0010802 | 0.0072937
2010-15-0104.mrg | 2010-15-0104.sam | 241 | 21.567 | 21.5669 | 0.38954 | -8.2016e-05 | 32.3936 | 32.4268 | 0.01378 | 0.033245 | 32.3936 | 32.4333 | 0.018086 | 0.0397
2010-15-0104.mrg | 2010-15-0104.sam | 146 | 10.639 | 10.7636 | 0.57852 | 0.12458 | 31.8125 | 31.8142 | 0.0067764 | 0.0017033 | 31.8125 | 31.819 | 0.0083656 | 0.0065098
2010-15-0104.mrg | 2010-15-0104.sam | 241 | 5.615 | 5.6151 | 0.36963 | 6.2466e-05 | 31.8041 | 31.8028 | 0.00028233 | -0.0013332 | 31.8041 | 31.8071 | 0.00029893 | 0.0030079
2010-15-0110.mrg | 2010-15-0110.sam | 241 | 5.694 | 5.6939 | 0.24265 | -9.1076e-05 | 32.2785 | 32.2757 | 0.010121 | -0.0028229 | 32.2785 | 32.2805 | 0.00032256 | 0.0020332
2010-15-0138.mrg | 2010-15-0138.sam | 426 | 6.245 | 6.2276 | 0.051353 | -0.017396 | 31.5016 | 30.5295 | 0.0064818 | -0.97213 | 31.5016 | 30.5282 | 0.0076152 | -0.9734
Create Fit Sheet