## QF Data
Cruise 2010-15 WCVI Ammonia Data
Ammonia Data Summary
Precision was determined by analyzing replicate samples drawn from one Niskin.
Pooled standard deviation of pairs of samples (Sp) was calculated by:
Sp = SQRT{sum (d*d)/2k}
where k = no. of pairs and d = difference between pairs
Ammonia Sp = 0.104 uM for the range 0.00 to 1.942 uM, k = 83
Cruise | Cast | Stn | Niskin | S.N. | Depth | Ammonia | Flag:NH4 | Comments
|  |  | No. |  | db | uM
2010-15 | 2 | LB01 | 2 | 2 | 5 | 0.86505 | f
2010-15 | 2 | LB01 | 3 | 3 | 10 | 0.39687 | f
2010-15 | 2 | LB01 | 4 | 4 | 20 | 0.34167 | f
2010-15 | 3 | LB02 | 3 | 7 | 5 | 0.54508 | f
2010-15 | 3 | LB02 | 4 | 8 | 10 | 0.57459 | f
2010-15 | 3 | LB02 | 5 | 9 | 20 | 0.38859 | f
2010-15 | 5 | LB04 | 5 | 14 | 5 | 0.43488 | f
2010-15 | 5 | LB04 | 6 | 15 | 10 | 0.8642 | f
2010-15 | 5 | LB04 | 7 | 16 | 20 | 0.82626 | f
2010-15 | 9 | LB06 | 5 | 21 | 5 | 0 | f
2010-15 | 9 | LB06 | 6 | 22 | 10 | 0.85507 | f
2010-15 | 9 | LB06 | 7 | 23 | 20 | 0.7833 | f
2010-15 | 23 | LB08 | 7 | 30 | 5 | 0.58011 | f
2010-15 | 23 | LB08 | 8 | 31 | 10 | 0.70835 | f
2010-15 | 23 | LB08 | 9 | 32 | 20 | 0.55845 | f
2010-15 |  | LB09 |  | 39 | 5 | 0.38626 | f | Page missing in copy of log
2010-15 |  | LB09 |  | 40 | 10 | 0.40516 | f
2010-15 |  | LB09 |  | 41 | 20 | 0.41662 | f
2010-15 | 27 | LB11 | 9 | 50 | 5 | 1.0496 | f
2010-15 | 27 | LB11 | 10 | 51 | 10 | 0.399 | f
2010-15 | 27 | LB11 | 11 | 52 | 20 | 0.25122 | f
2010-15 | 29 | LB12 | 13 | 65 | 5 | 1.1067 | f
2010-15 | 29 | LB12 | 14 | 66 | 10 | 0.77247 | f
2010-15 | 29 | LB12 | 15 | 67 | 20 | 0.84233 | f
2010-15 | 31 | LB14 | 16 | 85 | 5 | 1.7601
2010-15 | 31 | LB14 | 17 | 86 | 10 | 0.62491 | f
2010-15 | 31 | LB 14 | 18 | 87 | 20 | 0.44997 | f
2010-15 | 37 | LC11 | 17 | 105 | 5 | 0.26391 | f
2010-15 | 37 | LC11 | 18 | 106 | 10 | 0.069183 | f
2010-15 | 37 | LC11 | 19 | 107 | 20 | 0.059192 | f
2010-15 | 39 | LC09 | 14 | 121 | 5 | 1.8253 | f
2010-15 | 39 | LC09 | 15 | 122 | 10 | 1.5814 | f
2010-15 | 39 | LC09 | 16 | 123 | 20 | 1.5313 | f
2010-15 | 42 | LC08 | 9 | 138 | 5 | 0.85658 | f
2010-15 | 42 | LC08 | 10 | 139 | 10 | 0.22791 | f
2010-15 | 42 | LC08 | 11 | 140 | 20 | 0.21151 | f
2010-15 | 45 | LC06 | 5 | 145 | 5 | 0.50558 | f
2010-15 | 45 | LC06 | 6 | 146 | 10 | 0.52405 | f
2010-15 | 45 | LC06 | 7 | 147 | 20 | 0.23564 | f
2010-15 | 48 | LC04 | 7 | 154 | 5 | 0.87732 | f
2010-15 | 48 | LC04 | 8 | 155 | 10 | 1.2253 | f
2010-15 | 48 | LC04 | 9 | 156 | 20 | 1.1226 | f
2010-15 | 51 | LC02 | 5 | 167 | 5 | 1.2641 | f
2010-15 | 51 | LC02 | 6 | 168 | 10 | 0.59154 | f
2010-15 | 51 | LC02 | 7 | 169 | 20 | 0.2281 | f
2010-15 | 52 | LC01 | 4 | 173 | 5 | 1.0564 | f
2010-15 | 52 | LC01 | 5 | 174 | 10 | 0.32329 | f
2010-15 | 52 | LC01 | 6 | 175 | 20 | 0.23168 | f
2010-15 | 66 | LD06 | 6 | 181 | 5 | 0.31236 | f
2010-15 | 60 | LD06 | 7 | 182 | 10 | 0.034497 | f
2010-15 | 60 | LD06 | 8 | 183 | 20 | 0 | f
2010-15 | 69 | LG09 | 18 | 201 | 5 | 1.5313 | f
2010-15 | 69 | LG09 | 19 | 202 | 10 | 0.63471 | f
2010-15 | 69 | LG09 | 20 | 203 | 20 | 0.21773 | f
2010-15 | 74 | LG06 | 14 | 219 | 5 | 0 | f
2010-15 | 74 | LG06 | 15 | 220 | 10 | 0.55496 | f
2010-15 | 74 | LG06 | 16 | 221 | 20 | 0.14461 | f
2010-15 | 76 | LG04 | 7 | 229 | 5 | 0.81118 | f
2010-15 | 76 | LG04 | 8 | 230 | 10 | 0.66387 | f
2010-15 | 76 | LG04 | 9 | 231 | 20 | 0.86204 | f
2010-15 | 79 | LG02 | 6 | 237 | 5 | 0 | f
2010-15 | 79 | LG02 | 8 | 239 | 10 | 0.8221 | f
2010-15 | 79 | LG02 | 9 | 240 | 20 | 0.97778 | f
2010-15 | 81 | LG01 | 3 | 244 | 5 | 0.66353 | f
2010-15 | 81 | LG01 | 4 | 245 | 10 | 1.1299 | f
2010-15 | 81 | LG01 | 5 | 246 | 20 | 1.1594 | f
2010-15 | 85 | LBP3 | 8 | 254 | 5 | 0.61556 | f
2010-15 | 85 | LBP3 | 9 | 255 | 10 | 0.75673 | f
2010-15 | 85 | LBP3 | 10 | 256 | 20 | 0.79872 | f
2010-15 | 88 | LBP5 | 16 | 272 | 5 | 1.0585 | f
2010-15 | 88 | LBP5 | 17 | 273 | 10 | 0.87946 | f
2010-15 | 88 | LBP5 | 18 | 274 | 20 | 0.69886 | f
2010-15 | 91 | LBP7 | 18 | 292 | 5 | 0.24925 | f
2010-15 | 91 | LBP7 | 19 | 293 | 10 | 0.12259 | f
2010-15 | 91 | LBP7 | 20 | 294 | 20 | 0.23593 | f
2010-15 | 104 | CS01 | 18 | 312 | 5 | 0 | f
2010-15 | 104 | CS01 | 19 | 313 | 10 | 0 | f
2010-15 | 104 | CS01 | 20 | 314 | 20 | 0 | f
2010-15 | 110 | CS04 | 5 | 321 | 5 | 0.96924 | f
2010-15 | 110 | CS04 | 6 | 322 | 10 | 0.93015 | f
2010-15 | 110 | CS04 | 7 | 323 | 20 | 0.45391 | f
2010-15 | 122 | CS07 | 4 | 327 | 5 | 1.0787 | f
2010-15 | 122 | CS07 | 5 | 328 | 10 | 0.64577 | f
2010-15 | 122 | CS07 | 6 | 329 | 20 | 0.027687 | f

## Sp calc
Station | Sample | Depth | Raw Fluor | Conc | Avg | DIFF | Diff Sq | Chauvenet value | reject? | Critical values for Chauvenet statistic
[10 empty] | n | Chauvenet
lb01 | 2 | 0 | 310.1 | 0.90157 | 0.86505 | 0.073039 | 0.0053347 | 0.50084 |  | 3 | 1.37
lb01 | 2 |  | 292.9 | 0.82853 | [5 empty] | 4 | 1.53
lb01 | 3 | 0 | 186.8 | 0.37798 | 0.39687 | -0.037794 | 0.0014284 | -0.24665 |  | 5 | 1.64
lb01 | 3 |  | 195.7 | 0.41577 | [5 empty] | 6 | 1.73
lb01 | 4 | 0 | 201.1 | 0.4387 | 0.34167 | 0.19406 | 0.037661 | 1.3171 |  | 7 | 1.8
lb01 | 4 |  | 155.4 | 0.24464 | [5 empty] | 8 | 1.87
lb02 | 7 | 0 | 198.3 | 0.42681 | 0.54508 | -0.23653 | 0.055946 | -1.587 |  | 9 | 1.91
lb02 | 7 |  | 254 | 0.66334 | [5 empty] | 10 | 1.97
lb02 | 8 | 0 | 226.6 | 0.54699 | 0.57459 | -0.055204 | 0.0030475 | -0.36407 |  | 20 | 2.24
lb02 | 8 |  | 239.6 | 0.60219 | [5 empty] | 30 | 2.39
lb02 | 9 | 0 | 184.1 | 0.36651 | 0.38859 | -0.044163 | 0.0019504 | -0.28961 |  | 50 | 2.57
lb02 | 9 |  | 194.5 | 0.41068 | [5 empty] | 80 | 2.74
lb04 | 14 | 0 | 191.9 | 0.39963 | 0.43488 | -0.070491 | 0.004969 | -0.46718 |  | 100 | 2.81
lb04 | 14 |  | 208.5 | 0.47013 | [5 empty] | 150 | 2.93
lb04 | 15 | 0 | 307.6 | 0.89095 | 0.8642 | 0.053505 | 0.0028628 | 0.3691 |  | 200 | 3.02
lb04 | 15 |  | 295 | 0.83745
lb04 | 16 | 0 | 301.3 | 0.8642 | 0.82626 | 0.075884 | 0.0057584 | 0.52003
lb04 | 16 |  | 283.43 | 0.78831
lb06 | 21 | 0 | 93.1 | -0.019916 | 0 | 0.07219 | 0.0052114 | 0.49511
lb06 | 21 |  | 76.1 | -0.092106
lb06 | 22 | 0 | 301 | 0.86292 | 0.85507 | 0.015712 | 0.00024686 | 0.11421
lb06 | 22 |  | 297.3 | 0.84721
lb06 | 23 | 0 | 297.1 | 0.84636 | 0.7833 | 0.12612 | 0.015906 | 0.85883
lb06 | 23 |  | 267.4 | 0.72024
lb08 | 30 | 0 | 217.5 | 0.50834 | 0.58011 | -0.14353 | 0.020601 | -0.95977
lb08 | 30 |  | 251.3 | 0.65187
lb08 | 31 | 0 | 277.1 | 0.76143 | 0.70835 | 0.10616 | 0.01127 | 0.72423
lb08 | 31 |  | 252.1 | 0.65527
lb08 | 32 | 0 | 211.4 | 0.48244 | 0.55845 | -0.15202 | 0.023111 | -1.0171
lb08 | 32 |  | 247.2 | 0.63446
lb09 | 39 | 0 | 164.6 | 0.28371 | 0.38626 | -0.2051 | 0.042068 | -1.375
lb09 | 39 |  | 212.9 | 0.48881
lb09 | 40 | 0 | 178.7 | 0.34358 | 0.40516 | -0.12315 | 0.015165 | -0.82231
lb09 | 40 |  | 207.7 | 0.46673
lb09 | 41 | 0 | 230.1 | 0.56185 | 0.41662 | 0.29046 | 0.084366 | 1.9672
lb09 | 41 |  | 161.7 | 0.27139
lb11 | 50 | 0 | 350 | 1.071 | 1.0496 | 0.042889 | 0.0018395 | 0.2975
lb11 | 50 |  | 339.9 | 1.0281
lb11 | 51 | 0 | 151.2 | 0.2268 | 0.399 | -0.34439 | 0.1186 | -2.3144 | no
lb11 | 51 |  | 232.3 | 0.57119
lb11 | 52 | 0 | 155.9 | 0.24676 | 0.25122 | -0.0089176 | 7.9523e-05 | -0.051903
lb11 | 52 |  | 158 | 0.25568
lb12 | 65 | 0 | 391.6 | 1.2477 | 1.1067 | 0.28197 | 0.079504 | 1.9099
lb12 | 65 |  | 325.2 | 0.96569
lb12 | 66 | 0 | 289 | 0.81197 | 0.77247 | 0.078984 | 0.0062385 | 0.54093
lb12 | 66 |  | 270.4 | 0.73298
lb12 | 67 | 0 | 257.6 | 0.67863 | 0.84233 | -0.3274 | 0.10719 | -2.1999
lb12 | 67 |  | 334.7 | 1.006
LB14 | 85 |  | 545.6 | 1.7601 | 1.7601
LB14 | 86 | 0 | 218.7 | 0.52764 | 0.62491 | -0.19454 | 0.037846 | -1.3038
LB14 | 86 |  | 270.3 | 0.72218
LB 14 | 87 | 0 | 179.6 | 0.38022 | 0.44997 | -0.1395 | 0.019459 | -0.93257
LB14 | 87 |  | 216.6 | 0.51972
LC11 | 105 | 0 | 129.3 | 0.19058 | 0.26391 | -0.14666 | 0.021509 | -0.98088
LC11 | 105 |  | 168.2 | 0.33724
LC11 | 106 | 0 | 86.8 | 0.03035 | 0.069183 | -0.077666 | 0.0060319 | -0.51556
LC11 | 106 |  | 107.4 | 0.10802
LC11 | 107 | 0 | 89.4 | 0.040152 | 0.059192 | -0.038079 | 0.00145 | -0.24858
LC11 | 107 |  | 99.5 | 0.078231
LC09 | 121 | 0 | 531.9 | 1.7085 | 1.8253 | -0.23375 | 0.054639 | -1.5682
LC09 | 121 |  | 593.9 | 1.9422
LC09 | 122 | 0 | 535.7 | 1.7228 | 1.5814 | 0.28276 | 0.079955 | 1.9153
LC09 | 122 |  | 460.7 | 1.44
LC09 | 123 | 0 | 457.3 | 1.4272 | 1.5313 | -0.20811 | 0.043311 | -1.3953
LC09 | 123 |  | 512.5 | 1.6353
LC08 | 138 | 0 | 284.8 | 0.77684 | 0.85658 | -0.15948 | 0.025433 | -1.0673
LC08 | 138 |  | 327.1 | 0.93632
LC08 | 139 | 0 | 164.8 | 0.32442 | 0.22791 | 0.19303 | 0.037262 | 1.3101
LC08 | 139 |  | 113.6 | 0.13139
LC08 | 140 | 0 | 190 | 0.41943 | 0.21151 | 0.41585 | 0.17293 | 2.8129 | no
LC08 | 140 |  | 79.7 | 0.0035817
LC06 | 145 | 0 | 195 | 0.43828 | 0.50558 | -0.1346 | 0.018116 | -0.89951
LC06 | 145 |  | 230.7 | 0.57288
LC06 | 146 | 0 | 198.9 | 0.45299 | 0.52405 | -0.14214 | 0.020202 | -0.95037
LC06 | 146 |  | 236.6 | 0.59512
LC06 | 147 | 0 | 176.2 | 0.3674 | 0.23564 | 0.26353 | 0.069451 | 1.7856
LC06 | 147 |  | 106.3 | 0.10387
LC04 | 154 | 0 | 319.9 | 0.90918 | 0.87732 | 0.063716 | 0.0040597 | 0.43796
LC04 | 154 |  | 303 | 0.84546
LC04 | 155 | 0 | 408.5 | 1.2432 | 1.2253 | 0.035817 | 0.0012828 | 0.2498
LC04 | 155 |  | 399 | 1.2074
LC04 | 156 | 0 | 348.6 | 1.0174 | 1.1226 | -0.21038 | 0.044258 | -1.4106
LC04 | 156 |  | 404.4 | 1.2278
LC02 | 167 | 0 | 437.3 | 1.3518 | 1.2641 | 0.17531 | 0.030735 | 1.1906
LC02 | 167 |  | 390.8 | 1.1765
LC02 | 168 | 0 | 240.9 | 0.61133 | 0.59154 | 0.039587 | 0.0015671 | 0.27523
LC02 | 168 |  | 230.4 | 0.57175
LC02 | 169 | 0 | 145.3 | 0.2509 | 0.2281 | 0.045619 | 0.0020811 | 0.31591
LC02 | 169 |  | 133.2 | 0.20529
LC01 | 173 | 0 | 379.9 | 1.1354 | 1.0564 | 0.15797 | 0.024955 | 1.0736
LC01 | 173 |  | 338 | 0.97742
LC01 | 174 | 0 | 155.1 | 0.28785 | 0.32329 | -0.070879 | 0.0050239 | -0.46979
LC01 | 174 |  | 173.9 | 0.35873
LC01 | 175 | 0 | 123.5 | 0.16872 | 0.23168 | -0.12592 | 0.015857 | -0.84103
LC01 | 175 |  | 156.9 | 0.29464
LD06 | 181 | 0 | 165.6 | 0.32744 | 0.31236 | 0.030161 | 0.00090971 | 0.21166
LD06 | 181 |  | 157.6 | 0.29728
LD06 | 182 | 0 | 91.5 | 0.04807 | 0.034497 | 0.027145 | 0.00073686 | 0.19132
LD06 | 182 |  | 84.3 | 0.020924
LD06 | 183 | 0 | 78.7 | -0.00018851 | 0 | 0.020736 | 0.00042998 | 0.14809
LD06 | 183 |  | 73.2 | -0.020924
LG09 | 201 | 0 | 482.3 | 1.5215 | 1.5313 | -0.019605 | 0.00038435 | -0.12398
LG09 | 201 |  | 487.5 | 1.5411
LG09 | 202 | 0 | 281.1 | 0.76289 | 0.63471 | 0.25637 | 0.065726 | 1.7373
LG09 | 202 |  | 213.1 | 0.50652
LG09 | 203 | 0 | 138.8 | 0.2264 | 0.21773 | 0.017343 | 0.00030077 | 0.1252
LG09 | 203 |  | 134.2 | 0.20906
LG06 | 219 | 0 | 35.3 | -0.085996 | 0 | -0.01229 | 0.00015105 | -0.074648
LG06 | 219 |  | 38.9 | -0.073706
LG06 | 220 | 0 | 240.3 | 0.61385 | 0.55496 | 0.11778 | 0.013872 | 0.80258
LG06 | 220 |  | 205.8 | 0.49607
LG06 | 221 | 0 | 89.4 | 0.098696 | 0.14461 | -0.091834 | 0.0084335 | -0.61112
LG06 | 221 |  | 116.3 | 0.19053
LG04 | 229 | 0 | 292.8 | 0.79308 | 0.81118 | -0.036187 | 0.0013095 | -0.23582
LG04 | 229 |  | 303.4 | 0.82927
LG04 | 230 | 0 | 238.1 | 0.60634 | 0.66387 | -0.11505 | 0.013236 | -0.76768
LG04 | 230 |  | 271.8 | 0.72139
LG04 | 231 | 0 | 334.9 | 0.93681 | 0.86204 | 0.14953 | 0.022359 | 1.0167
LG04 | 231 |  | 291.1 | 0.78728
LG02 | 237 | 0 | 92.9 | 0.11064 | 0 | 0.1625 | 0.026407 | 1.1042
LG02 | 237 |  | 45.3 | -0.051857
LG02 | 239 | 0 | 314.9 | 0.86853 | 0.8221 | 0.092858 | 0.0086226 | 0.6345
LG02 | 239 |  | 287.7 | 0.77567
LG02 | 240 | 0 | 333.2 | 0.93101 | 0.97778 | -0.093541 | 0.0087499 | -0.62263
LG02 | 240 |  | 360.6 | 1.0245
LG01 | 244 | 0 | 244 | 0.62649 | 0.66353 | -0.074082 | 0.0054881 | -0.49139
LG01 | 244 |  | 265.7 | 0.70057
LG01 | 245 | 0 | 382.9 | 1.1007 | 1.1299 | -0.058378 | 0.003408 | -0.38548
LG01 | 245 |  | 400 | 1.1591
LG01 | 246 | 0 | 389 | 1.1215 | 1.1594 | -0.075789 | 0.0057439 | -0.5029
LG01 | 246 |  | 411.2 | 1.1973
LBP3 | 254 | 0 | 246.9 | 0.63639 | 0.61556 | 0.04165 | 0.0017347 | 0.28914
LBP3 | 254 |  | 234.7 | 0.59474
LBP3 | 255 | 0 | 291.3 | 0.78796 | 0.75673 | 0.062474 | 0.0039031 | 0.42959
LBP3 | 255 |  | 273 | 0.72549
LBP3 | 256 | 0 | 311.3 | 0.85624 | 0.79872 | 0.11505 | 0.013236 | 0.78416
LBP3 | 256 |  | 277.6 | 0.74119
LBP5 | 272 | 0 | 393.4 | 1.1365 | 1.0585 | 0.15602 | 0.024341 | 1.0605
LBP5 | 272 |  | 347.7 | 0.98051
LBP5 | 273 | 0 | 275.4 | 0.73368 | 0.87946 | -0.29155 | 0.085 | -1.958
LBP5 | 273 |  | 360.8 | 1.0252
LBP5 | 274 | 0 | 248.8 | 0.64287 | 0.69886 | -0.11198 | 0.012539 | -0.74696
LBP5 | 274 |  | 281.6 | 0.75485
LBP7 | 292 | 0 | 129.3 | 0.23491 | 0.24925 | -0.028677 | 0.00082236 | -0.18517
LBP7 | 292 |  | 137.7 | 0.26359
LBP7 | 293 | 0 | 131.3 | 0.24174 | 0.12259 | 0.23829 | 0.056782 | 1.6153
LBP7 | 293 |  | 61.5 | 0.003448
LBP7 | 294 | 0 | 123.9 | 0.21648 | 0.23593 | -0.038918 | 0.0015146 | -0.25424
LBP7 | 294 |  | 135.3 | 0.25539
CS01 | 312 | 0 | 29.1 | -0.10716 | 0 | 0.014338 | 0.00020559 | 0.10494
CS01 | 312 |  | 24.9 | -0.1215
CS01 | 313 | 0 | 30.8 | -0.10136 | 0 | 0.00034139 | 1.1655e-07 | 0.010542
CS01 | 313 |  | 30.7 | -0.1017
CS01 | 314 | 0 | 26.9 | -0.11467 | 0 | -0.030384 | 0.00092317 | -0.19668
CS01 | 314 |  | 35.8 | -0.084289
CS04 | 321 | 0 | 327.2 | 0.91052 | 0.96924 | -0.11744 | 0.013792 | -0.7838
CS04 | 321 |  | 361.6 | 1.028
CS04 | 322 | 0 | 326.5 | 0.90813 | 0.93015 | -0.044039 | 0.0019395 | -0.28878
CS04 | 322 |  | 339.4 | 0.95217
CS04 | 323 | 0 | 195.5 | 0.46091 | 0.45391 | 0.013997 | 0.00019592 | 0.10264
CS04 | 323 |  | 191.4 | 0.44691
CS07 | 327 | 0 | 389.1 | 1.1218 | 1.0787 | 0.086372 | 0.0074601 | 0.59076
CS07 | 327 |  | 363.8 | 1.0355
CS07 | 328 | 0 | 259.1 | 0.67803 | 0.64577 | 0.064523 | 0.0041632 | 0.4434
CS07 | 328 |  | 240.2 | 0.61351
CS07 | 329 | 0 | 71.1 | 0.036221 | 0.027687 | 0.01707 | 0.00029137 | 0.12336
CS07 | 329 |  | 66.1 | 0.019152
[5 empty] | mean diff | -0.0012217
[5 empty] | stdev | 0.14827
[5 empty] | MIN | 0
[5 empty] | MAX | 1.9422
[6 empty] | count | 83
[6 empty] | SUM | 1.8029
[6 empty] | Sp | 0.10422

## Sep 6, 2010
Cruise 2010-12 WCVI Ammonia Calculations | [9 empty] | Conc uM | Raw Fluor
(all times and dates are local) | [7 empty] | Standards | Zero | 0 | 97.3
Monday 6th September, 2010 | [8 empty] | Zero | 0 |  | 152.2
Start time of reaction |  |  | 22:04 | [5 empty] | S1 | 0.5 | 216.5
End time of reaction |  |  | 10:20 | [5 empty] | S1 | 0.5 | 227.9
[9 empty] | S2 | 1 | 338.8
Sensitivity Factor |  | 25 | [6 empty] | S2 | 1 | 302.6
S3 mid-range |  | 500 | [6 empty] | S3 | 1.5 | 447.2
[9 empty] | S3 | 1.5 | 467.2
Std water collected at LB12 samples 68/69 taken at 250m. Only used seawater from 68
WR Using WR prepared by JEB-C Aug 31, 2010
| Station | Sample | Depth | Raw Fluor | Conc | Avg | DIFF | Diff Sq
| lb01 | 2 |  | 310.1 | 0.90157 | 0.86505 | -0.073039 | 0.0053347
| lb01 | 2 |  | 292.9 | 0.82853
| lb01 | 3 |  | 186.8 | 0.37798 | 0.39687 | 0.037794 | 0.0014284
| lb01 | 3 |  | 195.7 | 0.41577
| lb01 | 4 |  | 201.1 | 0.4387 | 0.34167 | -0.19406 | 0.037661
| lb01 | 4 |  | 155.4 | 0.24464
| lb02 | 7 |  | 198.3 | 0.42681 | 0.54508 | 0.23653 | 0.055946
| lb02 | 7 |  | 254 | 0.66334
| lb02 | 8 |  | 226.6 | 0.54699 | 0.57459 | 0.055204 | 0.0030475
| lb02 | 8 |  | 239.6 | 0.60219
| lb02 | 9 |  | 184.1 | 0.36651 | 0.38859 | 0.044163 | 0.0019504
| lb02 | 9 |  | 194.5 | 0.41068
| lb04 | 14 |  | 191.9 | 0.39963 | 0.43488 | 0.070491 | 0.004969
| lb04 | 14 |  | 208.5 | 0.47013
| lb04 | 15 |  | 307.6 | 0.89095 | 0.8642 | -0.053505 | 0.0028628
| lb04 | 15 |  | 295 | 0.83745
| lb04 | 16 |  | 301.3 | 0.8642 | 0.82626 | -0.075884 | 0.0057584
| lb04 | 16 |  | 283.43 | 0.78831
| lb06 | 21 |  | 93.1 | -0.019916 | -0.056011 | -0.07219 | 0.0052114
| lb06 | 21 |  | 76.1 | -0.092106
| lb06 | 22 |  | 301 | 0.86292 | 0.85507 | -0.015712 | 0.00024686
| lb06 | 22 |  | 297.3 | 0.84721
| lb06 | 23 |  | 297.1 | 0.84636 | 0.7833 | -0.12612 | 0.015906
| lb06 | 23 |  | 267.4 | 0.72024
| lb08 | 30 |  | 217.5 | 0.50834 | 0.58011 | 0.14353 | 0.020601
| lb08 | 30 |  | 251.3 | 0.65187
| lb08 | 31 |  | 277.1 | 0.76143 | 0.70835 | -0.10616 | 0.01127
| lb08 | 31 |  | 252.1 | 0.65527
| lb08 | 32 |  | 211.4 | 0.48244 | 0.55845 | 0.15202 | 0.023111
| lb08 | 32 |  | 247.2 | 0.63446
| lb09 | 39 |  | 164.6 | 0.28371 | 0.38626 | 0.2051 | 0.042068
| lb09 | 39 |  | 212.9 | 0.48881
| lb09 | 40 |  | 178.7 | 0.34358 | 0.40516 | 0.12315 | 0.015165
| lb09 | 40 |  | 207.7 | 0.46673
| lb09 | 41 |  | 230.1 | 0.56185 | 0.41662 | -0.29046 | 0.084366
| lb09 | 41 |  | 161.7 | 0.27139
| lb11 | 50 |  | 350 | 1.071 | 1.0496 | -0.042889 | 0.0018395
| lb11 | 50 |  | 339.9 | 1.0281
| lb11 | 51 |  | 151.2 | 0.2268 | 0.399 | 0.34439 | 0.1186
| lb11 | 51 |  | 232.3 | 0.57119
| lb11 | 52 |  | 155.9 | 0.24676 | 0.25122 | 0.0089176 | 7.9523e-05
| lb11 | 52 |  | 158 | 0.25568
| lb12 | 65 |  | 391.6 | 1.2477 | 1.1067 | -0.28197 | 0.079504
| lb12 | 65 |  | 325.2 | 0.96569
| lb12 | 66 |  | 289 | 0.81197 | 0.77247 | -0.078984 | 0.0062385
| lb12 | 66 |  | 270.4 | 0.73298
| lb12 | 67 |  | 257.6 | 0.67863 | 0.84233 | 0.3274 | 0.10719
| lb12 | 67 |  | 334.7 | 1.006

## Sept 8, 2010
Cruise 2010-12 WCVI Ammonia Calculations | [9 empty] | Conc uM | Raw Fluor
(all times and dates are local) | [7 empty] | Standards | Zero | 0 | 87.2
Weds, 8th Sept, 2010 | [8 empty] | Zero | 0 | 81.6
Start time of reaction |  |  | 21:20 | [5 empty] | S1 | 0.5 |  | 363.1
End time of reaction | [8 empty] | S1 | 0.5 |  | 509.2
[9 empty] | S2 | 1 | 331.8
Sensitivity Factor |  | 26 | [6 empty] | S2 | 1 | 322.3
S3 mid-range |  | 500 | [6 empty] | S3 | 1.5 |  | 566.6
[9 empty] | S3 | 1.5 | 499.2
Std water collected at LB12 samples 68/69 taken at 250m. Only used seawater from 68
WR Using WR prepared by JEB-C Aug 31, 2010
| Station | Sample | Depth | Raw Fluor | Conc | Avg | diff | Diff Sq
| LC01 | 174 |  | 155.1 | 0.28785 | 0.32329 | 0.070879 | 0.0050239
| LC01 | 174 |  | 173.9 | 0.35873
| LC01 | 175 |  | 123.5 | 0.16872 | 0.23168 | 0.12592 | 0.015857
| LC01 | 175 |  | 156.9 | 0.29464
| LC02 | 169 |  | 145.3 | 0.2509 | 0.80135 | 1.1009 | 1.212
| LC02 | 167 |  | 437.3 | 1.3518
| LC02 | 169 |  | 133.2 | 0.20529 | 0.72425 | 1.0379 | 1.0773
| LC04 | 155 |  | 408.5 | 1.2432
| LC04 | 155 |  | 399 | 1.2074 | 1.1124 | -0.19002 | 0.036106
| LC04 | 156 |  | 348.6 | 1.0174
| LC04 | 156 |  | 404.4 | 1.2278 | 0.83302 | -0.78947 | 0.62327
| LC06 | 145 |  | 195 | 0.43828
| LC06 | 145 |  | 230.7 | 0.57288 | 0.51293 | -0.11989 | 0.014374
| LC06 | 146 |  | 198.9 | 0.45299
| LC06 | 146 |  | 236.6 | 0.59512 | 0.48126 | -0.22772 | 0.051856
| LC06 | 147 |  | 176.2 | 0.3674
| LC02 | 167 |  | 390.8 | 1.1765 | 0.89391 | -0.56515 | 0.31939
| LC02 | 168 |  | 240.9 | 0.61133
| LC02 | 168 |  | 230.4 | 0.57175 | 0.44808 | -0.24732 | 0.061169
| LC08 | 139 |  | 164.8 | 0.32442
| LC06 | 147 |  | 106.3 | 0.10387 | 0.50652 | 0.80531 | 0.64852
| LC04 | 154 |  | 319.9 | 0.90918
| LC01 | 173 |  | 379.9 | 1.1354 | 1.0564 | -0.15797 | 0.024955
| LC01 | 173 |  | 338 | 0.97742
| LC08 | 140 |  | 190 | 0.41943 | 0.63245 | 0.42603 | 0.1815
| LC04 | 154 |  | 303 | 0.84546
| LC08 | 139 |  | 113.6 | 0.13139 | 0.067486 | -0.12781 | 0.016335
| LC08 | 140 |  | 79.7 | 0.0035817
| LC09 | 123 |  | 457.3 | 1.4272 | 1.102 | -0.65035 | 0.42296
| LC08 | 138 |  | 284.8 | 0.77684
| LC08 | 138 |  | 327.1 | 0.93632 | 1.3296 | 0.78646 | 0.61852
| LC09 | 122 |  | 535.7 | 1.7228
| LC09 | 122 |  | 460.7 | 1.44 | 1.5377 | 0.19529 | 0.03814
| LC09 | 123 |  | 512.5 | 1.6353
| LC09 | 121 |  | 531.9 | 1.7085 | 1.8253 | 0.23375 | 0.054639
| LC09 | 121 |  | 593.9 | 1.9422
| LC11 | 105 |  | 129.3 | 0.19058 | 0.11047 | -0.16023 | 0.025674
| LC11 | 106 |  | 86.8 | 0.03035
| LC11 | 105 |  | 168.2 | 0.33724 | 1.0487 | 1.4229 | 2.0245
| LB14 | 85 |  | 545.6 | 1.7601
| LB14 | 86 |  | 218.7 | 0.52764 | 0.62491 | 0.19454 | 0.037846
| LB14 | 86 |  | 270.3 | 0.72218
| LB 14 | 87 |  | 179.6 | 0.38022 | 0.44997 | 0.1395 | 0.019459
| LB14 | 87 |  | 216.6 | 0.51972
| LC11 | 106 |  | 107.4 | 0.10802 | 0.074084 | -0.067863 | 0.0046054
| LC11 | 107 |  | 89.4 | 0.040152
| LC11 | 107 |  | 99.5 | 0.078231 | 0.20284 | 0.24921 | 0.062105
| LD06 | 181 |  | 165.6 | 0.32744
| LD06 | 181 |  | 157.6 | 0.29728 | 0.17267 | -0.24921 | 0.062105
| LD06 | 182 |  | 91.5 | 0.04807
| LG09 | 202 |  | 281.1 | 0.76289 | 0.39191 | -0.74197 | 0.55052
| LD06 | 182 |  | 84.3 | 0.020924
| LD06 | 183 |  | 78.7 | -0.00018851 | -0.010556 | -0.020736 | 0.00042998
| LD06 | 183 |  | 73.2 | -0.020924
| LG09 | 201 |  | 482.3 | 1.5215 | 1.5313 | 0.019605 | 0.00038435
| LG09 | 201 |  | 487.5 | 1.5411
| LG09 | 202 |  | 213.1 | 0.50652 | 0.36646 | -0.28012 | 0.078469
| LG09 | 203 |  | 138.8 | 0.2264
| LG09 | 203 |  | 134.2 | 0.20906 | 0.20906 | -0.20906 | 0.043704

## Sep 11, 2010
Cruise 2010-12 WCVI Ammonia Calculations | [9 empty] | Conc uM | Raw Fluor
(all times and dates are local) | [7 empty] | Standards | Zero | 0 | 48.3
Fri, 11th Sep, 2010 | [8 empty] | Zero | 0 | 59.5
Start time of reaction |  |  | 21:40 | [5 empty] | S1 | 0.5 | 216.8
End time of reaction |  |  | 9:20 | [5 empty] | S1 | 0.5 | 223.4
[9 empty] | S2 | 1 | 308.2
Sensitivity Factor |  | 26 | [6 empty] | S2 | 1 | 385.6
S3 mid-range |  | 500 | [6 empty] | S3 | 1.5 |  | 577
[9 empty] | S3 | 1.5 | 499.8
Std water collected at LB12 samples 68/69 taken at 250m. Only used seawater from 68
WR Using WR prepared by JEB-C Aug 31, 2010
| Station | Sample | Depth | Raw Fluor | Conc | Avg | diff | Diff Sq
| CS07 | 329 |  | 71.1 | 0.036221 | 0.027687 | -0.01707 | 0.00029137
| CS07 | 329 |  | 66.1 | 0.019152
| CS07 | 328 |  | 259.1 | 0.67803 | 0.64577 | -0.064523 | 0.0041632
| CS07 | 328 |  | 240.2 | 0.61351
| CS07 | 327 |  | 389.1 | 1.1218 | 1.0787 | -0.086372 | 0.0074601
| CS07 | 327 |  | 363.8 | 1.0355
| CS04 | 323 |  | 195.5 | 0.46091 | 0.45391 | -0.013997 | 0.00019592
| CS04 | 323 |  | 191.4 | 0.44691
| CS04 | 322 |  | 326.5 | 0.90813 | 0.93015 | 0.044039 | 0.0019395
| CS04 | 322 |  | 339.4 | 0.95217
| CS04 | 321 |  | 327.2 | 0.91052 | 0.96924 | 0.11744 | 0.013792
| CS04 | 321 |  | 361.6 | 1.028
| LBP7 | 294 |  | 123.9 | 0.21648 | 0.23593 | 0.038918 | 0.0015146
| LBP7 | 294 |  | 135.3 | 0.25539
| CS01 | 313 |  | 30.8 | -0.10136 | -0.10153 | -0.00034139 | 1.1655e-07
| CS01 | 313 |  | 30.7 | -0.1017
| CS01 | 312 |  | 29.1 | -0.10716 | -0.11433 | -0.014338 | 0.00020559
| CS01 | 312 |  | 24.9 | -0.1215
| CS01 | 314 |  | 26.9 | -0.11467 | -0.099481 | 0.030384 | 0.00092317
| CS01 | 314 |  | 35.8 | -0.084289
| LBP5 | 273 |  | 275.4 | 0.73368 | 0.87946 | 0.29155 | 0.085
| LBP5 | 273 |  | 360.8 | 1.0252
| LBP5 | 274 |  | 248.8 | 0.64287 | 0.69886 | 0.11198 | 0.012539
| LBP5 | 274 |  | 281.6 | 0.75485
| LBP7 | 292 |  | 129.3 | 0.23491 | 0.24925 | 0.028677 | 0.00082236
| LBP7 | 292 |  | 137.7 | 0.26359
| LBP7 | 293 |  | 131.3 | 0.24174 | 0.12259 | -0.23829 | 0.056782
| LBP7 | 293 |  | 61.5 | 0.003448
| LBP5 | 272 |  | 393.4 | 1.1365 | 1.0585 | -0.15602 | 0.024341
| LBP5 | 272 |  | 347.7 | 0.98051
| LBP3 | 256 |  | 311.3 | 0.85624 | 0.79872 | -0.11505 | 0.013236
| LBP3 | 256 |  | 277.6 | 0.74119
| LBP3 | 255 |  | 291.3 | 0.78796 | 0.75673 | -0.062474 | 0.0039031
| LBP3 | 255 |  | 273 | 0.72549
| LBP3 | 254 |  | 246.9 | 0.63639 | 0.61556 | -0.04165 | 0.0017347
| LBP3 | 254 |  | 234.7 | 0.59474
| LG01 | 246 |  | 389 | 1.1215 | 1.1111 | -0.020825 | 0.00043367
| LG01 | 245 |  | 382.9 | 1.1007
| LG01 | 246 |  | 411.2 | 1.1973 | 1.1782 | -0.038236 | 0.001462
| LG01 | 245 |  | 400 | 1.1591
| LG01 | 244 |  | 244 | 0.62649 | 0.66353 | 0.074082 | 0.0054881
| LG01 | 244 |  | 265.7 | 0.70057
| LG02 | 240 |  | 333.2 | 0.93101 | 0.97778 | 0.093541 | 0.0087499
| LG02 | 240 |  | 360.6 | 1.0245
| LG02 | 239 |  | 314.9 | 0.86853 | 0.8221 | -0.092858 | 0.0086226
| LG02 | 239 |  | 287.7 | 0.77567
| LG02 | 237 |  | 92.9 | 0.11064 | 0.029394 | -0.1625 | 0.026407
| LG02 | 237 |  | 45.3 | -0.051857
| LG04 | 231 |  | 334.9 | 0.93681 | 0.86204 | -0.14953 | 0.022359
| LG04 | 231 |  | 291.1 | 0.78728
| LG04 | 230 |  | 238.1 | 0.60634 | 0.66387 | 0.11505 | 0.013236
| LG04 | 230 |  | 271.8 | 0.72139
| LG04 | 229 |  | 292.8 | 0.79308 | 0.81118 | 0.036187 | 0.0013095
| LG04 | 229 |  | 303.4 | 0.82927
| LG06 | 221 |  | 89.4 | 0.098696 | 0.14461 | 0.091834 | 0.0084335
| LG06 | 221 |  | 116.3 | 0.19053
| LG06 | 220 |  | 240.3 | 0.61385 | 0.55496 | -0.11778 | 0.013872
| LG06 | 220 |  | 205.8 | 0.49607
| LG06 | 219 |  | 35.3 | -0.085996 | -0.079851 | 0.01229 | 0.00015105
| LG06 | 219 |  | 38.9 | -0.073706