## QF Data
Cruise 2010-15 WCVI Chlorophyll Data
Chlorophyll Data Summary
Precision was determined by analyzing replicate samples drawn from one Niskin.
Pooled standard deviation of pairs of samples (Sp) was calculated by:
Sp = SQRT{sum (d*d)/2k}
where k = no. of pairs and d = difference between pairs
Chauvenet Outliers 155, 174, 240 removed for chlorophyll
Chlorophyll Sp = 0.0480 ug/L for the range 0.309 to 6.224 ug/L, k = 83
Chauvenet Outliers 313 removed for pheopigments
Pheopigment Sp = 0.0441 ug/L for the range 0.106 to 0.957 ug/L, k = 85
Cruise | Cast | Stn | Niskin | S.N. | Depth | Chlorophyll | Flag:CHL | Pheopigment | Flag:Pheo | Comments
|  |  | No. |  | db | ug/L |  | ug/L
2010-15 | 2 | LB01 | 2 | 2 | 5 | 0.74443 | f | 0.26074 | f
2010-15 | 2 | LB01 | 3 | 3 | 10 | 0.57126 | f | 0.57126 | f
2010-15 | 2 | LB01 | 4 | 4 | 20 | 1.6452 | f | 0.62087 | f
2010-15 | 3 | LB02 | 3 | 7 | 5 | 1.4893 | f | 0.43801 | f
2010-15 | 3 | LB02 | 4 | 8 | 10 | 1.3189 | f | 0.33514 | f
2010-15 | 3 | LB02 | 5 | 9 | 20 | 1.564 | f | 0.35032 | f
2010-15 | 5 | LB04 | 5 | 14 | 5 | 1.2007 | f | 0.46266 | f
2010-15 | 5 | LB04 | 6 | 15 | 10 | 1.8179 | f | 0.3684 | f
2010-15 | 5 | LB04 | 7 | 16 | 20 | 1.5583 | f | 0.29828 | f
2010-15 | 9 | LB06 | 5 | 21 | 5 | 0.89447 | f | 0.5828 | f
2010-15 | 9 | LB06 | 6 | 22 | 10 | 1.4197 | f | 0.42682 | f
2010-15 | 9 | LB06 | 7 | 23 | 20 | 1.5174 | f | 0.41481 | f
2010-15 | 23 | LB08 | 7 | 30 | 5 | 1.1053 | f | 0.595 | f
2010-15 | 23 | LB08 | 8 | 31 | 10 | 1.9317 | f | 0.49565 | f
2010-15 | 23 | LB08 | 9 | 32 | 20 | 1.8104 | f | 0.43538 | f
2010-15 |  | LB09 |  | 39 | 5 | 1.0046 | f | 0.61935 | f | Page missing in copy of log
2010-15 |  | LB09 |  | 40 | 10 | 1.297 | f | 0.49578 | f
2010-15 |  | LB09 |  | 41 | 20 | 1.389 | f | 0.47041 | f
2010-15 | 27 | LB11 | 9 | 50 | 5 | 0.86055 | f | 0.6147 | f
2010-15 | 27 | LB11 | 10 | 51 | 10 | 2.3461 | f | 0.57013 | f
2010-15 | 27 | LB11 | 11 | 52 | 20 | 2.693 | f | 0.53934 | f
2010-15 | 29 | LB12 | 13 | 65 | 5 | 0.68695 | f | 0.48097 | f
2010-15 | 29 | LB12 | 14 | 66 | 10 | 2.1454 | f | 0.60292 | f
2010-15 | 29 | LB12 | 15 | 67 | 20 | 2.5614 | f | 0.60604 | f
2010-15 | 31 | LB14 | 16 | 85 | 5 | 0.98047 | f | 0.43479 | f
2010-15 | 31 | LB14 | 17 | 86 | 10 | 3.8821 | f | 0.87754 | f
2010-15 | 31 | LB 14 | 18 | 87 | 20 | 4.1076 | f | 0.83285 | f
2010-15 | 37 | LC11 | 17 | 105 | 5 | 0.52761 | f | 0.12391 | f
2010-15 | 37 | LC11 | 18 | 106 | 10 | 0.54414 | f | 0.12798 | f
2010-15 | 37 | LC11 | 19 | 107 | 20 | 0.55724 | f | 0.124 | f
2010-15 | 39 | LC09 | 14 | 121 | 5 | 0.54028 | f | 0.25641 | f
2010-15 | 39 | LC09 | 15 | 122 | 10 | 3.2463 | f | 0.4883 | f
2010-15 | 39 | LC09 | 16 | 123 | 20 | 3.7496 | f | 0.61792 | f
2010-15 | 42 | LC08 | 9 | 138 | 5 | 1.1592 | f | 0.54525 | f
2010-15 | 42 | LC08 | 10 | 139 | 10 | 1.6912 | f | 0.64844 | f
2010-15 | 42 | LC08 | 11 | 140 | 20 | 2.0263 | f | 0.80654 | f
2010-15 | 45 | LC06 | 5 | 145 | 5 | 0.82982 | f | 0.55796 | f
2010-15 | 45 | LC06 | 6 | 146 | 10 | 1.7196 | f | 0.57691 | f
2010-15 | 45 | LC06 | 7 | 147 | 20 | 2.2094 | f | 0.48708 | f
2010-15 | 48 | LC04 | 7 | 154 | 5 | 0.47487 | f | 0.45184 | f
2010-15 | 48 | LC04 | 8 | 155 | 10 | 2.1166 | f | 0.42077 | f
2010-15 | 48 | LC04 | 9 | 156 | 20 | 3.0004 | f | 0.39879 | f
2010-15 | 51 | LC02 | 5 | 167 | 5 | 1.2765 | f | 0.38714 | f
2010-15 | 51 | LC02 | 6 | 168 | 10 | 2.7539 | f | 0.58114 | f
2010-15 | 51 | LC02 | 7 | 169 | 20 | 4.4736 | f | 0.76391 | f
2010-15 | 52 | LC01 | 4 | 173 | 5 | 1.5898 | f | 0.64882 | f
2010-15 | 52 | LC01 | 5 | 174 | 10 | 5.3632 | f | 0.78111 | f
2010-15 | 52 | LC01 | 6 | 175 | 20 | 6.1641 | f | 0.92872 | f
2010-15 | 66 | LD06 | 6 | 181 | 5 | 1.3921 | f | 0.68163 | f
2010-15 | 60 | LD06 | 7 | 182 | 10 | 1.8241 | f | 0.5728 | f
2010-15 | 60 | LD06 | 8 | 183 | 20 | 1.8713 | f | 0.51087 | f
2010-15 | 69 | LG09 | 18 | 201 | 5 | 0.66883 | f | 0.39183 | f
2010-15 | 69 | LG09 | 19 | 202 | 10 | 1.4976 | f | 0.701 | f
2010-15 | 69 | LG09 | 20 | 203 | 20 | 1.8424 | f | 0.65381 | f
2010-15 | 74 | LG06 | 14 | 219 | 5 | 0.36918 | f | 0.29295 | f
2010-15 | 74 | LG06 | 15 | 220 | 10 | 1.3524 | f | 0.47836 | f
2010-15 | 74 | LG06 | 16 | 221 | 20 | 1.6478 | f | 0.65228 | f
2010-15 | 76 | LG04 | 7 | 229 | 5 | 1.0578 | f | 0.53867 | f
2010-15 | 76 | LG04 | 8 | 230 | 10 | 1.7756 | f | 0.50375 | f
2010-15 | 76 | LG04 | 9 | 231 | 20 | 2.6061 | f | 0.64093 | f
2010-15 | 79 | LG02 | 6 | 237 | 5 | 0.5322 | f | 0.36749 | f
2010-15 | 79 | LG02 | 8 | 239 | 10 | 1.7994 | f | 0.64025 | f
2010-15 | 79 | LG02 | 9 | 240 | 20 | 2.5529 | f | 0.54492 | f
2010-15 | 81 | LG01 | 3 | 244 | 5 | 0.32471 | f | 0.78222 | f
2010-15 | 81 | LG01 | 4 | 245 | 10 | 1.511 | f | 0.5524 | f
2010-15 | 81 | LG01 | 5 | 246 | 20 | 1.9988 | f | 0.58973 | f
2010-15 | 85 | LBP3 | 8 | 254 | 5 | 0.72631 | f | 0.68473 | f
2010-15 | 85 | LBP3 | 9 | 255 | 10 | 2.4312 | f | 0.70359 | f
2010-15 | 85 | LBP3 | 10 | 256 | 20 | 3.0273 |  | 0.708 |  | No duplicate
2010-15 | 88 | LBP5 | 16 | 272 | 5 | 2.5756 | f | 0.6295 | f
2010-15 | 88 | LBP5 | 17 | 273 | 10 | 2.831 | f | 0.61176 | f
2010-15 | 88 | LBP5 | 18 | 274 | 20 | 2.8793 | f | 0.55411 | f
2010-15 | 91 | LBP7 | 18 | 292 | 5 | 1.63 | f | 0.41697 | f
2010-15 | 91 | LBP7 | 19 | 293 | 10 | 1.7461 | f | 0.43757 | f
2010-15 | 91 | LBP7 | 20 | 294 | 20 | 1.7804 | f | 0.44598 | f
2010-15 | 104 | CS01 | 18 | 312 | 5 | 0.36346 | f | 0.24274 | f
2010-15 | 104 | CS01 | 19 | 313 | 10 | 1.3433 | f | 0.52514 | f
2010-15 | 104 | CS01 | 20 | 314 | 20 | 1.3301 | f | 0.40737 | f
2010-15 | 110 | CS04 | 5 | 321 | 5 | 0.72031 | f | 0.27565 | f
2010-15 | 110 | CS04 | 6 | 322 | 10 | 0.93254 | f | 0.22991 | f
2010-15 | 110 | CS04 | 7 | 323 | 20 | 1.0652 | f | 0.27115 | f
2010-15 | 122 | CS07 | 4 | 327 | 5 | 0.64388 | f | 0.38131 | f
2010-15 | 122 | CS07 | 5 | 328 | 10 | 1.9619 | f | 0.56887 | f
2010-15 | 122 | CS07 | 6 | 329 | 20 | 2.4969 | f | 0.66218 | f
2010-15 | 126 | CS09 | 11 | 342 | 5 | 2.3025 | f | 0.58575 | f
2010-15 | 126 | CS09 | 10 | 341 | 10 | 2.3609 | f | 0.57905 | f
2010-15 | 126 | CS09 | 9 | 340 | 20 | 1.6669 | f | 0.53438 | f

## Precision+CV %
Averaging Duplicates
[5 empty] | Chlorophyll | Pheopigments
Sample # | Station | Niskin # | Cast | Depth | Chl a | Pheo | Avg Chl | CV% | FINAL CHL | Avg Phaeo | CV% | Flag:CHL | Flag Comments for archive
2a | LB01 | 2 | 2 | 20 | 0.76659 | 0.28067 | 0.74443 | 4.2097 | 0.74443 | 0.26074 | 10.811
2b | LB01 | 2 | 2 | 20 | 0.72227 | 0.2408
2 |  |  |  |  | 0.74443 | 0.26074
3a | LB01 | 3 | 2 | 10 | 0.57688 | 0.57688 | 0.57126 | 1.3922 | 0.57126 | 0.57126 | 1.3922
3b | LB01 | 3 | 2 | 10 | 0.56563 | 0.56563
3 |  |  |  |  | 0.57126 | 0.57126
4a | LB01 | 4 | 2 | 5 | 1.622 | 0.61832 | 1.6452 | 1.9969 | 1.6452 | 0.62087 | 0.58032
4b | LB01 | 4 | 2 | 5 | 1.6685 | 0.62342
4 |  |  |  |  | 1.6452 | 0.62087
7a | LB02 | 3 | 3 | 20 | 1.467 | 0.47157 | 1.4893 | 2.1187 | 1.4893 | 0.43801 | 10.8363
7b | LB02 | 3 | 3 | 20 | 1.5116 | 0.40445
7 |  |  |  |  | 1.4893 | 0.43801
8a | LB02 | 4 | 3 | 10 | 1.3491 | 0.33537 | 1.3189 | 3.2426 | 1.3189 | 0.33514 | 0.09635
8b | LB02 | 4 | 3 | 10 | 1.2886 | 0.33491
8 |  |  |  |  | 1.3189 | 0.33514
9a | LB02 | 5 | 3 | 5 | 1.5411 | 0.39359 | 1.564 | 2.0729 | 1.564 | 0.35032 | 17.4659
9b | LB02 | 5 | 3 | 5 | 1.5869 | 0.30706
9 |  |  |  |  | 1.564 | 0.35032
14a | LB04 | 5 | 5 | 20 | 1.1933 | 0.46463 | 1.2007 | 0.86881 | 1.2007 | 0.46266 | 0.60138
14b | LB04 | 5 | 5 | 20 | 1.2081 | 0.4607
14 |  |  |  |  | 1.2007 | 0.46266
15a | LB04 | 6 | 5 | 10 | 1.8669 | 0.33221 | 1.8179 | 3.8048 | 1.8179 | 0.3684 | 13.8939
15b | LB04 | 6 | 5 | 10 | 1.769 | 0.4046
15 |  |  |  |  | 1.8179 | 0.3684
16a | LB04 | 7 | 5 | 5 | 1.5608 | 0.24516 | 1.5583 | 0.22778 | 1.5583 | 0.29828 | 25.1847
16b | LB04 | 7 | 5 | 5 | 1.5558 | 0.35139
16 |  |  |  |  | 1.5583 | 0.29828
22a | LB06 | 6 | 9 | 10 | 1.4373 | 0.43446 | 1.4197 | 1.747 | 1.4197 | 0.42682 | 2.5302
22b | LB06 | 6 | 9 | 10 | 1.4022 | 0.41919
22 |  |  |  |  | 1.4197 | 0.42682
23a | LB06 | 7 | 9 | 5 | 1.5799 | 0.39132 | 1.5174 | 5.828 | 1.5174 | 0.41481 | 8.008
23b | LB06 | 7 | 9 | 5 | 1.4548 | 0.4383
23 |  |  |  |  | 1.5174 | 0.41481
31a | LB08 | 8 | 23 | 10 | 1.9924 | 0.48746 | 1.9317 | 4.4434 | 1.9317 | 0.49565 | 2.3361
31b | LB08 | 8 | 23 | 10 | 1.871 | 0.50384
31 |  |  |  |  | 1.9317 | 0.49565
32a | LB08 | 9 | 23 | 5 | 1.8172 | 0.46115 | 1.8104 | 0.5308 | 1.8104 | 0.43538 | 8.372
32b | LB08 | 9 | 23 | 5 | 1.8036 | 0.4096
32 |  |  |  |  | 1.8104 | 0.43538
39a | LB09 | 7 | 25 | 20 | 1.0231 | 0.65035 | 1.0046 | 2.5981 | 1.0046 | 0.61935 | 7.0787
39b | LB09 | 7 | 25 | 20 | 0.98616 | 0.58835
39 |  |  |  |  | 1.0046 | 0.61935
40a | LB09 | 8 | 25 | 10 | 1.3329 | 0.48105 | 1.297 | 3.9214 | 1.297 | 0.49578 | 4.2019
40b | LB09 | 8 | 25 | 10 | 1.261 | 0.51051
40 |  |  |  |  | 1.297 | 0.49578
41a | LB09 | 9 | 25 | 5 | 1.3174 | 0.4741 | 1.389 | 7.295 | 1.389 | 0.47041 | 1.1108
41b | LB09 | 9 | 25 | 5 | 1.4607 | 0.46671
41 |  |  |  |  | 1.389 | 0.47041
50a | LB11 | 9 | 27 | 20 | 0.84458 | 0.6076 | 0.86055 | 2.6256 | 0.86055 | 0.6147 | 1.6328
50b | LB11 | 9 | 27 | 20 | 0.87653 | 0.6218
50 |  |  |  |  | 0.86055 | 0.6147
51a | LB11 | 10 | 27 | 10 | 2.3046 | 0.56902 | 2.3461 | 2.5 | 2.3461 | 0.57013 | 0.27483
51b | LB11 | 10 | 27 | 10 | 2.3875 | 0.57124
51 |  |  |  |  | 2.3461 | 0.57013
52a | LB11 | 11 | 27 | 5 | 2.6906 | 0.5324 | 2.693 | 0.12376 | 2.693 | 0.53934 | 1.8188
52b | LB11 | 11 | 27 | 5 | 2.6953 | 0.54627
52 |  |  |  |  | 2.693 | 0.53934
65a | LB12 | 13 | 29 | 20 | 0.71333 | 0.47392 | 0.68695 | 5.4315 | 0.68695 | 0.48097 | 2.0728
65b | LB12 | 13 | 29 | 20 | 0.66057 | 0.48802
65 |  |  |  |  | 0.68695 | 0.48097
66a | LB12 | 14 | 29 | 10 | 2.1566 | 0.60293 | 2.1454 | 0.7445 | 2.1454 | 0.60292 | 0.0030153
66b | LB12 | 14 | 29 | 10 | 2.1341 | 0.60291
66 |  |  |  |  | 2.1454 | 0.60292
67a | LB12 | 15 | 29 | 5 | 2.5777 | 0.57082 | 2.5614 | 0.89733 | 2.5614 | 0.60604 | 8.217
67b | LB12 | 15 | 29 | 5 | 2.5452 | 0.64125
67 |  |  |  |  | 2.5614 | 0.60604
85a | LB14 | 16 | 31 | 20 | 0.9801 | 0.42454 | 0.98047 | 0.052977 | 0.98047 | 0.43479 | 3.3337
85b | LB14 | 16 | 31 | 20 | 0.98084 | 0.44504
85 |  |  |  |  | 0.98047 | 0.43479
86a | LB14 | 17 | 31 | 10 | 3.8882 | 0.89337 | 3.8821 | 0.21965 | 3.8821 | 0.87754 | 2.5521
86b | LB14 | 17 | 31 | 10 | 3.8761 | 0.8617
86 |  |  |  |  | 3.8821 | 0.87754
87a | LB14 | 18 | 31 | 5 | 4.0924 | 0.76224 | 4.1076 | 0.52478 | 4.1076 | 0.83285 | 11.9898
87b | LB14 | 18 | 31 | 5 | 4.1229 | 0.90346
87 |  |  |  |  | 4.1076 | 0.83285
105a | LC11 | 17 | 37 | 20 | 0.5243 | 0.10595 | 0.52761 | 0.88604 | 0.52761 | 0.12391 | 20.4941
105b | LC11 | 17 | 37 | 20 | 0.53091 | 0.14186
105 |  |  |  |  | 0.52761 | 0.12391
106a | LC11 | 18 | 37 | 10 | 0.5412 | 0.1226 | 0.54414 | 0.76367 | 0.54414 | 0.12798 | 5.9412
106b | LC11 | 18 | 37 | 10 | 0.54707 | 0.13336
106 |  |  |  |  | 0.54414 | 0.12798
107a | LC11 | 19 | 37 | 5 | 0.55466 | 0.1203 | 0.55724 | 0.6525 | 0.55724 | 0.124 | 4.221
107b | LC11 | 19 | 37 | 5 | 0.55981 | 0.1277
107 |  |  |  |  | 0.55724 | 0.124
121a | LC09 | 14 | 39 | 20 | 0.53452 | 0.26496 | 0.54028 | 1.5062 | 0.54028 | 0.25641 | 4.7128
121b | LC09 | 14 | 39 | 20 | 0.54603 | 0.24787
121 |  |  |  |  | 0.54028 | 0.25641
122a | LC09 | 15 | 39 | 10 | 3.2573 | 0.47595 | 3.2463 | 0.48268 | 3.2463 | 0.4883 | 3.5756
122b | LC09 | 15 | 39 | 10 | 3.2352 | 0.50065
122 |  |  |  |  | 3.2463 | 0.4883
123a | LC09 | 16 | 39 | 5 | 3.6434 | 0.64095 | 3.7496 | 4.0057 | 3.7496 | 0.61792 | 5.271
123b | LC09 | 16 | 39 | 5 | 3.8558 | 0.59489
123 |  |  |  |  | 3.7496 | 0.61792
138a | LC08 | 9 | 42 | 20 | 1.146 | 0.45659 | 1.1592 | 1.6168 | 1.1592 | 0.54525 | 22.994
138b | LC08 | 9 | 42 | 20 | 1.1725 | 0.6339
138 |  |  |  |  | 1.1592 | 0.54525
139a | LC08 | 10 | 42 | 10 | 1.5978 | 0.69988 | 1.6912 | 7.8115 | 1.6912 | 0.64844 | 11.2181
139b | LC08 | 10 | 42 | 10 | 1.7846 | 0.597
139 |  |  |  |  | 1.6912 | 0.64844
140a | LC08 | 11 | 42 | 5 | 2.033 | 0.81831 | 2.0263 | 0.46782 | 2.0263 | 0.80654 | 2.0634
140b | LC08 | 11 | 42 | 5 | 2.0196 | 0.79477
140 |  |  |  |  | 2.0263 | 0.80654
145a | LC06 | 5 | 45 | 20 | 0.82805 | 0.56423 | 0.82982 | 0.30254 | 0.82982 | 0.55796 | 1.5875
145b | LC06 | 5 | 45 | 20 | 0.8316 | 0.5517
145 |  |  |  |  | 0.82982 | 0.55796
146a | LC06 | 6 | 45 | 10 | 1.6837 | 0.57383 | 1.7196 | 2.9551 | 1.7196 | 0.57691 | 0.7551
146b | LC06 | 6 | 45 | 10 | 1.7556 | 0.57999
146 |  |  |  |  | 1.7196 | 0.57691
147a | LC06 | 7 | 45 | 5 | 2.1611 | 0.48005 | 2.2094 | 3.0916 | 2.2094 | 0.48708 | 2.0406
147b | LC06 | 7 | 45 | 5 | 2.2576 | 0.4941
147 |  |  |  |  | 2.2094 | 0.48708
154a | LC04 | 7 | 48 | 20 | 0.47606 | 0.45093 | 0.47487 | 0.35549 | 0.47487 | 0.45184 | 0.28356
154b | LC04 | 7 | 48 | 20 | 0.47368 | 0.45274
154 |  |  |  |  | 0.47487 | 0.45184
155a | LC04 | 8 | 48 | 10 | 1.9313 | 0.43267 | 2.1166 | 12.3809 | 2.1166 | 0.42077 | 3.9977
155b | LC04 | 8 | 48 | 10 | 2.3018 | 0.40888
155 |  |  |  |  | 2.1166 | 0.42077
156a | LC04 | 9 | 48 | 5 | 2.9906 | 0.38206 | 3.0004 | 0.46309 | 3.0004 | 0.39879 | 5.9331
156b | LC04 | 9 | 48 | 5 | 3.0102 | 0.41552
156 |  |  |  |  | 3.0004 | 0.39879
167a | LC02 | 5 | 51 | 20 | 1.3128 | 0.40372 | 1.2765 | 4.0181 | 1.2765 | 0.38714 | 6.0576
167b | LC02 | 5 | 51 | 20 | 1.2403 | 0.37055
167 |  |  |  |  | 1.2765 | 0.38714
168a | LC02 | 6 | 51 | 10 | 2.8192 | 0.62026 | 2.7539 | 3.3558 | 2.7539 | 0.58114 | 9.52
168b | LC02 | 6 | 51 | 10 | 2.6885 | 0.54202
168 |  |  |  |  | 2.7539 | 0.58114
169a | LC02 | 7 | 51 | 5 | 4.4389 | 0.74628 | 4.4736 | 1.0963 | 4.4736 | 0.76391 | 3.2633
169b | LC02 | 7 | 51 | 5 | 4.5083 | 0.78154
169 |  |  |  |  | 4.4736 | 0.76391
173a | LC01 | 4 | 52 | 20 | 1.5928 | 0.59919 | 1.5898 | 0.26409 | 1.5898 | 0.64882 | 10.8187
173b | LC01 | 4 | 52 | 20 | 1.5869 | 0.69846
173 |  |  |  |  | 1.5898 | 0.64882
174a | LC01 | 5 | 52 | 10 | 5.4933 | 0.81559 | 5.3632 | 3.4325 | 5.3632 | 0.78111 | 6.2432
174b | LC01 | 5 | 52 | 10 | 5.233 | 0.74663
174 |  |  |  |  | 5.3632 | 0.78111
175a | LC01 | 6 | 52 | 5 | 6.1041 | 0.95692 | 6.1641 | 1.3756 | 6.1641 | 0.92872 | 4.2936
175b | LC01 | 6 | 52 | 5 | 6.224 | 0.90053
175 |  |  |  |  | 6.1641 | 0.92872
181a | LD06 | 6 | 60 | 20 | 1.3797 | 0.69104 | 1.3921 | 1.2562 | 1.3921 | 0.68163 | 1.9507
181b | LD06 | 6 | 60 | 20 | 1.4044 | 0.67223
181 |  |  |  |  | 1.3921 | 0.68163
182a | LD06 | 7 | 60 | 10 | 1.8368 | 0.52977 | 1.8241 | 0.98717 | 1.8241 | 0.5728 | 10.6235
182b | LD06 | 7 | 60 | 10 | 1.8113 | 0.61583
182 |  |  |  |  | 1.8241 | 0.5728
183a | LD06 | 8 | 60 | 5 | 1.8759 | 0.51781 | 1.8713 | 0.34696 | 1.8713 | 0.51087 | 1.9228
183b | LD06 | 8 | 60 | 5 | 1.8667 | 0.50392
183 |  |  |  |  | 1.8713 | 0.51087
30a | LB08 | 7 | 23 | 20 | 1.1144 | 0.5795 | 1.1053 | 1.1591 | 1.1053 | 0.595 | 3.6851
30b | LB08 | 7 | 23 | 20 | 1.0963 | 0.61051
30 |  |  |  |  | 1.1053 | 0.595
21a | LB06 | 5 | 9 | 20 | 0.90322 | 0.53498 | 0.89447 | 1.384 | 0.89447 | 0.5828 | 11.605
21b | LB06 | 5 | 9 | 20 | 0.88571 | 0.63062
21 |  |  |  |  | 0.89447 | 0.5828
201a | LG09 | 18 | 69 | 20 | 0.67654 | 0.3084 | 0.66883 | 1.6309 | 0.66883 | 0.39183 | 30.1144
201b | LG09 | 18 | 69 | 20 | 0.66112 | 0.47527
201 |  |  |  |  | 0.66883 | 0.39183
202a | LG09 | 19 | 69 | 10 | 1.4887 | 0.64393 | 1.4976 | 0.83822 | 1.4976 | 0.701 | 11.5128
202b | LG09 | 19 | 69 | 10 | 1.5064 | 0.75806
202 |  |  |  |  | 1.4976 | 0.701
203a | LG09 | 20 | 69 | 5 | 1.8017 | 0.61882 | 1.8424 | 3.127 | 1.8424 | 0.65381 | 7.5677
203b | LG09 | 20 | 69 | 5 | 1.8831 | 0.6888
203 |  |  |  |  | 1.8424 | 0.65381
219a | LG06 | 14 | 74 | 20 | 0.37053 | 0.23458 | 0.36918 | 0.51588 | 0.36918 | 0.29295 | 28.1786
219b | LG06 | 14 | 74 | 20 | 0.36784 | 0.35132
219 |  |  |  |  | 0.36918 | 0.29295
220a | LG06 | 15 | 74 | 10 | 1.3424 | 0.43681 | 1.3524 | 1.0434 | 1.3524 | 0.47836 | 12.2839
220b | LG06 | 15 | 74 | 10 | 1.3624 | 0.51991
220 |  |  |  |  | 1.3524 | 0.47836
221a | LG06 | 16 | 74 | 5 | 1.6481 | 0.61158 | 1.6478 | 0.026269 | 1.6478 | 0.65228 | 8.8242
221b | LG06 | 16 | 74 | 5 | 1.6475 | 0.69298
221 |  |  |  |  | 1.6478 | 0.65228
229a | LG04 | 7 | 76 | 20 | 1.0932 | 0.55471 | 1.0578 | 4.722 | 1.0578 | 0.53867 | 4.2098
229b | LG04 | 7 | 76 | 20 | 1.0225 | 0.52264
229 |  |  |  |  | 1.0578 | 0.53867
230a | LG04 | 8 | 76 | 10 | 1.7416 | 0.51091 | 1.7756 | 2.7108 | 1.7756 | 0.50375 | 2.011
230b | LG04 | 8 | 76 | 10 | 1.8096 | 0.49659
230 |  |  |  |  | 1.7756 | 0.50375
231a | LG04 | 9 | 76 | 5 | 2.6817 | 0.61119 | 2.6061 | 4.1075 | 2.6061 | 0.64093 | 6.5631
231b | LG04 | 9 | 76 | 5 | 2.5304 | 0.67068
231 |  |  |  |  | 2.6061 | 0.64093
237a | LG02 | 6 | 79 | 20 | 0.55075 | 0.35335 | 0.5322 | 4.9288 | 0.5322 | 0.36749 | 5.4438
237b | LG02 | 6 | 79 | 20 | 0.51365 | 0.38164
237 |  |  |  |  | 0.5322 | 0.36749
239a | LG02 | 8 | 79 | 10 | 1.7733 | 0.61114 | 1.7994 | 2.0519 | 1.7994 | 0.64025 | 6.4285
239b | LG02 | 8 | 79 | 10 | 1.8255 | 0.66935
239 |  |  |  |  | 1.7994 | 0.64025
240a | LG02 | 9 | 79 | 5 | 2.3505 | 0.52271 | 2.5529 | 11.2109 | 2.5529 | 0.54492 | 5.764
240b | LG02 | 9 | 79 | 5 | 2.7553 | 0.56713
240 |  |  |  |  | 2.5529 | 0.54492
244a | LG01 | 3 | 81 | 20 | 0.30901 | 0.79769 | 0.32471 | 6.8385 | 0.32471 | 0.78222 | 2.7972
244b | LG01 | 3 | 81 | 20 | 0.34041 | 0.76674
244 |  |  |  |  | 0.32471 | 0.78222
245a | LG01 | 4 | 81 | 10 | 1.4679 | 0.58275 | 1.511 | 4.0336 | 1.511 | 0.5524 | 7.7699
245b | LG01 | 4 | 81 | 10 | 1.5541 | 0.52205
245 |  |  |  |  | 1.511 | 0.5524
246a | LG01 | 5 | 81 | 5 | 1.9785 | 0.50872 | 1.9988 | 1.4358 | 1.9988 | 0.58973 | 19.4265
246b | LG01 | 5 | 81 | 5 | 2.0191 | 0.67074
246 |  |  |  |  | 1.9988 | 0.58973
254a | LBP3 | 8 | 85 | 20 | 0.71296 | 0.67931 | 0.72631 | 2.5984 | 0.72631 | 0.68473 | 1.1182
254b | LBP3 | 8 | 85 | 20 | 0.73965 | 0.69014
254 |  |  |  |  | 0.72631 | 0.68473
255a | LBP3 | 9 | 85 | 10 | 2.4943 | 0.70863 | 2.4312 | 3.673 | 2.4312 | 0.70359 | 1.0139
255b | LBP3 | 9 | 85 | 10 | 2.368 | 0.69854
255 |  |  |  |  | 2.4312 | 0.70359
272a | LBP5 | 16 | 88 | 20 | 2.5405 | 0.64665 | 2.5756 | 1.9243 | 2.5756 | 0.6295 | 3.8528
272b | LBP5 | 16 | 88 | 20 | 2.6106 | 0.61235
272 |  |  |  |  | 2.5756 | 0.6295
273a | LBP5 | 17 | 88 | 10 | 2.8808 | 0.65189 | 2.831 | 2.4876 | 2.831 | 0.61176 | 9.2792
273b | LBP5 | 17 | 88 | 10 | 2.7812 | 0.57162
273 |  |  |  |  | 2.831 | 0.61176
274a | LBP5 | 18 | 88 | 5 | 2.8439 | 0.54041 | 2.8793 | 1.7364 | 2.8793 | 0.55411 | 3.4973
274b | LBP5 | 18 | 88 | 5 | 2.9146 | 0.56781
274 |  |  |  |  | 2.8793 | 0.55411
292a | LBP7 | 18 | 91 | 20 | 1.5876 | 0.45093 | 1.63 | 3.6779 | 1.63 | 0.41697 | 11.5185
292b | LBP7 | 18 | 91 | 20 | 1.6724 | 0.38301
292 |  |  |  |  | 1.63 | 0.41697
293a | LBP7 | 19 | 91 | 10 | 1.7338 | 0.40458 | 1.7461 | 0.98913 | 1.7461 | 0.43757 | 10.6613
293b | LBP7 | 19 | 91 | 10 | 1.7583 | 0.47055
293 |  |  |  |  | 1.7461 | 0.43757
294a | LBP7 | 20 | 91 | 5 | 1.8046 | 0.43434 | 1.7804 | 1.9231 | 1.7804 | 0.44598 | 3.6903
294b | LBP7 | 20 | 91 | 5 | 1.7562 | 0.45762
294 |  |  |  |  | 1.7804 | 0.44598
312a | CS01 | 18 | 104 | 20 | 0.35976 | 0.24495 | 0.36346 | 1.441 | 0.36346 | 0.24274 | 1.286
312b | CS01 | 18 | 104 | 20 | 0.36716 | 0.24053
312 |  |  |  |  | 0.36346 | 0.24274
313a | CS01 | 19 | 104 | 10 | 1.3984 | 0.3987 | 1.3433 | 5.8002 | 1.3433 | 0.52514 | 34.0516
313b | CS01 | 19 | 104 | 10 | 1.2882 | 0.65159
313 |  |  |  |  | 1.3433 | 0.52514
314a | CS01 | 20 | 104 | 5 | 1.3674 | 0.35752 | 1.3301 | 3.9636 | 1.3301 | 0.40737 | 17.3067
314b | CS01 | 20 | 104 | 5 | 1.2928 | 0.45722
314 |  |  |  |  | 1.3301 | 0.40737
321a | CS04 | 5 | 110 | 20 | 0.72968 | 0.2792 | 0.72031 | 1.8388 | 0.72031 | 0.27565 | 1.8225
321b | CS04 | 5 | 110 | 20 | 0.71094 | 0.2721
321 |  |  |  |  | 0.72031 | 0.27565
322a | CS04 | 6 | 110 | 10 | 0.92948 | 0.20478 | 0.93254 | 0.46416 | 0.93254 | 0.22991 | 15.4605
322b | CS04 | 6 | 110 | 10 | 0.9356 | 0.25505
322 |  |  |  |  | 0.93254 | 0.22991
323a | CS04 | 7 | 110 | 5 | 1.0855 | 0.26119 | 1.0652 | 2.6941 | 1.0652 | 0.27115 | 5.1967
323b | CS04 | 7 | 110 | 5 | 1.0449 | 0.28112
323 |  |  |  |  | 1.0652 | 0.27115
327a | CS07 | 4 | 122 | 20 | 0.63418 | 0.37774 | 0.64388 | 2.131 | 0.64388 | 0.38131 | 1.3207
327b | CS07 | 4 | 122 | 20 | 0.65359 | 0.38487
327 |  |  |  |  | 0.64388 | 0.38131
328a | CS07 | 5 | 122 | 10 | 2.0093 | 0.59261 | 1.9619 | 3.4198 | 1.9619 | 0.56887 | 5.9012
328b | CS07 | 5 | 122 | 10 | 1.9144 | 0.54514
328 |  |  |  |  | 1.9619 | 0.56887
329a | CS07 | 6 | 122 | 5 | 2.5454 | 0.66782 | 2.4969 | 2.7459 | 2.4969 | 0.66218 | 1.2037
329b | CS07 | 6 | 122 | 5 | 2.4485 | 0.65655
329 |  |  |  |  | 2.4969 | 0.66218
340a | CS09 | 9 | 126 | 20 | 1.6726 | 0.59964 | 1.6669 | 0.483 | 1.6669 | 0.53438 | 17.2696
340b | CS09 | 9 | 126 | 20 | 1.6612 | 0.46913
340 |  |  |  |  | 1.6669 | 0.53438
341a | CS09 | 10 | 126 | 10 | 2.3775 | 0.55027 | 2.3609 | 0.9937 | 2.3609 | 0.57905 | 7.0308
341b | CS09 | 10 | 126 | 10 | 2.3443 | 0.60784
341 |  |  |  |  | 2.3609 | 0.57905
342a | CS09 | 11 | 126 | 5 | 2.3444 | 0.60318 | 2.3025 | 2.5736 | 2.3025 | 0.58575 | 4.2068
342b | CS09 | 11 | 126 | 5 | 2.2606 | 0.56833
342 |  |  |  |  | 2.3025 | 0.58575
SUM OF (X-Y)SQ
COUNT
SUM/2*COUNT
SQRT(SUM/2*COUNT)
[5 empty] | mean diff | mean diff
[5 empty] | stdev | stdev
[5 empty] | MIN | MIN
[5 empty] | MAX | MAX

## rawdata
May 2010 Chlorophyll Calibration Factors for the OSD fluorometer
Analyzed using Water Properties Turner 10 AU calibrated with pure chlorophyll a May 12, 2010
May 12, 2010: chl (ug/L)= 0.9788*(1.94/(1.94-1)*(Fo-Fa)*(vol ext/vol filtered)
May 12, 2010: phaeo (ug/L)= 0.9788*(1.94/(1.94-1)*((1.94*Fa)-Fo)*1(vol ext/vol filtered)
Date | Sample | Station | Sampling | Niskin | Cast | Nominal | Volume | Vol.acet. | Before | After | Chl.a | Phaeo | RATIO | Comments
(analyzed) | Number |  | Date | Number | no. | Depth | Filtered | (ml) | acid | acid | ug/l | ug/L | Rb/Ra
(local) |  |  | UTC |  |  |  | (ml)
2010-09-05 | 2a | LB01 | 2010-09-04 | 2 | 2 | 20 | 330 | 10 | 30.723 | 18.2 | 0.76659 | 0.28067 | 1.6881
2010-09-05 | 2b | LB01 | 2010-09-04 | 2 | 2 | 20 | 330 | 10 | 28.536 | 16.737 | 0.72227 | 0.2408 | 1.705
2010-09-05 | 3a | LB01 | 2010-09-04 | 3 | 2 | 10 | 330 | 10 | 58.802 | 35.168 | 1.4467 | 0.57688 | 1.672
2010-09-05 | 3b | LB01 | 2010-09-04 | 3 | 2 | 10 | 330 | 10 | 59.624 | 35.497 | 1.4769 | 0.56563 | 1.6797
2010-09-05 | 4a | LB01 | 2010-09-04 | 4 | 2 | 5 | 330 | 10 | 65.431 | 38.934 | 1.622 | 0.61832 | 1.6806
2010-09-05 | 4b | LB01 | 2010-09-04 | 4 | 2 | 5 | 330 | 10 | 67.086 | 39.83 | 1.6685 | 0.62342 | 1.6843
2010-09-05 | 7a | LB02 | 2010-09-04 | 3 | 3 | 20 | 330 | 10 | 57.655 | 33.69 | 1.467 | 0.47157 | 1.7113
2010-09-05 | 7b | LB02 | 2010-09-04 | 3 | 3 | 20 | 330 | 10 | 57.993 | 33.299 | 1.5116 | 0.40445 | 1.7416
2010-09-05 | 8a | LB02 | 2010-09-04 | 4 | 3 | 10 | 330 | 10 | 51.313 | 29.274 | 1.3491 | 0.33537 | 1.7529
2010-09-05 | 8b | LB02 | 2010-09-04 | 4 | 3 | 10 | 330 | 10 | 49.266 | 28.215 | 1.2886 | 0.33491 | 1.7461
2010-09-05 | 9a | LB02 | 2010-09-04 | 5 | 3 | 5 | 330 | 10 | 58.797 | 33.622 | 1.5411 | 0.39359 | 1.7488
2010-09-05 | 9b | LB02 | 2010-09-04 | 5 | 3 | 5 | 330 | 10 | 58.839 | 32.915 | 1.5869 | 0.30706 | 1.7876
2010-09-05 | 14a | LB04 | 2010-09-04 | 5 | 5 | 20 | 330 | 10 | 48.307 | 28.813 | 1.1933 | 0.46463 | 1.6766
2010-09-05 | 14b | LB04 | 2010-09-04 | 5 | 5 | 20 | 330 | 10 | 48.736 | 29.001 | 1.2081 | 0.4607 | 1.6805
2010-09-05 | 15a | LB04 | 2010-09-04 | 6 | 5 | 10 | 330 | 10 | 68.714 | 38.217 | 1.8669 | 0.33221 | 1.798
2010-09-05 | 15b | LB04 | 2010-09-04 | 6 | 5 | 10 | 330 | 10 | 66.674 | 37.775 | 1.769 | 0.4046 | 1.765
2010-09-05 | 16a | LB04 | 2010-09-04 | 7 | 5 | 5 | 330 | 10 | 56.882 | 31.385 | 1.5608 | 0.24516 | 1.8124
2010-09-05 | 16b | LB04 | 2010-09-04 | 7 | 5 | 5 | 330 | 10 | 58.559 | 33.144 | 1.5558 | 0.35139 | 1.7668
2010-09-05 | 22a | LB06 | 2010-09-04 | 6 | 9 | 10 | 330 | 10 | 56.007 | 32.528 | 1.4373 | 0.43446 | 1.7218
2010-09-05 | 22b | LB06 | 2010-09-04 | 6 | 9 | 10 | 330 | 10 | 54.559 | 31.653 | 1.4022 | 0.41919 | 1.7237
2010-09-05 | 23a | LB06 | 2010-09-04 | 7 | 9 | 5 | 330 | 10 | 60.066 | 34.257 | 1.5799 | 0.39132 | 1.7534
2010-09-05 | 23b | LB06 | 2010-09-04 | 7 | 9 | 5 | 330 | 10 | 56.666 | 32.9 | 1.4548 | 0.4383 | 1.7224
2010-09-07 | 31a | LB08 | 2010-09-05 | 8 | 23 | 10 | 330 | 10 | 75.645 | 43.097 | 1.9924 | 0.48746 | 1.7552
2010-09-07 | 31b | LB08 | 2010-09-05 | 8 | 23 | 10 | 330 | 10 | 71.837 | 41.272 | 1.871 | 0.50384 | 1.7406
2010-09-07 | 32a | LB08 | 2010-09-05 | 9 | 23 | 5 | 330 | 10 | 69.279 | 39.594 | 1.8172 | 0.46115 | 1.7497
2010-09-07 | 32b | LB08 | 2010-09-05 | 9 | 23 | 5 | 330 | 10 | 67.925 | 38.462 | 1.8036 | 0.4096 | 1.766
2010-09-07 | 39a | LB09 | 2010-09-05 | 7 | 25 | 20 | 330 | 10 | 45.795 | 29.082 | 1.0231 | 0.65035 | 1.5747
2010-09-07 | 39b | LB09 | 2010-09-05 | 7 | 25 | 20 | 330 | 10 | 43.473 | 27.363 | 0.98616 | 0.58835 | 1.5888
2010-09-07 | 40a | LB09 | 2010-09-05 | 8 | 25 | 10 | 330 | 10 | 53.3 | 31.525 | 1.3329 | 0.48105 | 1.6907
2010-09-07 | 40b | LB09 | 2010-09-05 | 8 | 25 | 10 | 330 | 10 | 51.387 | 30.787 | 1.261 | 0.51051 | 1.6691
2010-09-07 | 41a | LB09 | 2010-09-05 | 9 | 25 | 5 | 330 | 10 | 52.655 | 31.134 | 1.3174 | 0.4741 | 1.6912
2010-09-07 | 41b | LB09 | 2010-09-05 | 9 | 25 | 5 | 330 | 10 | 57.358 | 33.496 | 1.4607 | 0.46671 | 1.7124
2010-09-07 | 50a | LB11 | 2010-09-05 | 9 | 27 | 20 | 330 | 10 | 39.034 | 25.237 | 0.84458 | 0.6076 | 1.5467
2010-09-07 | 50b | LB11 | 2010-09-05 | 9 | 27 | 20 | 330 | 10 | 40.358 | 26.039 | 0.87653 | 0.6218 | 1.5499
2010-09-07 | 51a | LB11 | 2010-09-05 | 10 | 27 | 10 | 330 | 10 | 87.588 | 49.94 | 2.3046 | 0.56902 | 1.7539
2010-09-07 | 51b | LB11 | 2010-09-05 | 10 | 27 | 10 | 330 | 10 | 90.423 | 51.42 | 2.3875 | 0.57124 | 1.7585
2010-09-07 | 52a | LB11 | 2010-09-05 | 11 | 27 | 5 | 330 | 10 | 99.966 | 56.012 | 2.6906 | 0.5324 | 1.7847
2010-09-07 | 52b | LB11 | 2010-09-05 | 11 | 27 | 5 | 330 | 10 | 100.366 | 56.335 | 2.6953 | 0.54627 | 1.7816
2010-09-07 | 65a | LB12 | 2010-09-06 | 13 | 29 | 20 | 330 | 10 | 32.286 | 20.633 | 0.71333 | 0.47392 | 1.5648
2010-09-07 | 65b | LB12 | 2010-09-06 | 13 | 29 | 20 | 330 | 10 | 30.752 | 19.961 | 0.66057 | 0.48802 | 1.5406
2010-09-07 | 66a | LB12 | 2010-09-06 | 14 | 29 | 10 | 330 | 10 | 83.189 | 47.958 | 2.1566 | 0.60293 | 1.7346
2010-09-07 | 66b | LB12 | 2010-09-06 | 14 | 29 | 10 | 330 | 10 | 82.427 | 47.565 | 2.1341 | 0.60291 | 1.7329
2010-09-07 | 67a | LB12 | 2010-09-06 | 15 | 29 | 5 | 330 | 10 | 96.826 | 54.717 | 2.5777 | 0.57082 | 1.7696
2010-09-07 | 67b | LB12 | 2010-09-06 | 15 | 29 | 5 | 330 | 10 | 96.954 | 55.376 | 2.5452 | 0.64125 | 1.7508
2010-09-07 | 85a | LB14 | 2010-09-06 | 16 | 31 | 20 | 330 | 10 | 40.422 | 24.411 | 0.9801 | 0.42454 | 1.6559
2010-09-07 | 85b | LB14 | 2010-09-06 | 16 | 31 | 20 | 330 | 10 | 40.803 | 24.78 | 0.98084 | 0.44504 | 1.6466
2010-09-07 | 86a | LB14 | 2010-09-06 | 17 | 31 | 10 | 330 | 10 | 146.614 | 83.097 | 3.8882 | 0.89337 | 1.7644
2010-09-07 | 86b | LB14 | 2010-09-06 | 17 | 31 | 10 | 330 | 10 | 145.657 | 82.337 | 3.8761 | 0.8617 | 1.769
2010-09-07 | 87a | LB14 | 2010-09-06 | 18 | 31 | 5 | 330 | 10 | 151.22 | 84.367 | 4.0924 | 0.76224 | 1.7924
2010-09-07 | 87b | LB14 | 2010-09-06 | 18 | 31 | 5 | 330 | 10 | 154.702 | 87.351 | 4.1229 | 0.90346 | 1.771
2010-09-07 | 105a | LC11 | 2010-09-06 | 17 | 37 | 20 | 330 | 10 | 19.518 | 10.953 | 0.5243 | 0.10595 | 1.782
2010-09-07 | 105b | LC11 | 2010-09-06 | 17 | 37 | 20 | 330 | 10 | 20.365 | 11.692 | 0.53091 | 0.14186 | 1.7418
2010-09-07 | 106a | LC11 | 2010-09-06 | 18 | 37 | 10 | 330 | 10 | 20.377 | 11.536 | 0.5412 | 0.1226 | 1.7664
2010-09-07 | 106b | LC11 | 2010-09-06 | 18 | 37 | 10 | 330 | 10 | 20.762 | 11.825 | 0.54707 | 0.13336 | 1.7558
2010-09-07 | 107a | LC11 | 2010-09-06 | 19 | 37 | 5 | 330 | 10 | 20.791 | 11.73 | 0.55466 | 0.1203 | 1.7725
2010-09-07 | 107b | LC11 | 2010-09-06 | 19 | 37 | 5 | 330 | 10 | 21.093 | 11.948 | 0.55981 | 0.1277 | 1.7654
2010-09-08 | 121a | LC09 | 2010-09-06 | 14 | 39 | 20 | 330 | 10 | 22.626 | 13.894 | 0.53452 | 0.26496 | 1.6285
2010-09-08 | 121b | LC09 | 2010-09-06 | 14 | 39 | 20 | 330 | 10 | 22.717 | 13.797 | 0.54603 | 0.24787 | 1.6465
2010-09-08 | 122a | LC09 | 2010-09-06 | 15 | 39 | 10 | 330 | 10 | 118.092 | 64.88 | 3.2573 | 0.47595 | 1.8202
2010-09-08 | 122b | LC09 | 2010-09-06 | 15 | 39 | 10 | 330 | 10 | 117.774 | 64.924 | 3.2352 | 0.50065 | 1.814
2010-09-08 | 123a | LC09 | 2010-09-06 | 16 | 39 | 5 | 330 | 10 | 133.976 | 74.457 | 3.6434 | 0.64095 | 1.7994
2010-09-08 | 123b | LC09 | 2010-09-06 | 16 | 39 | 5 | 330 | 10 | 140.337 | 77.348 | 3.8558 | 0.59489 | 1.8144
2010-09-08 | 138a | LC08 | 2010-09-06 | 9 | 42 | 20 | 330 | 10 | 46.572 | 27.851 | 1.146 | 0.45659 | 1.6722
2010-09-08 | 138b | LC08 | 2010-09-06 | 9 | 42 | 20 | 330 | 10 | 50.547 | 31.393 | 1.1725 | 0.6339 | 1.6101
2010-09-08 | 139a | LC08 | 2010-09-06 | 10 | 42 | 10 | 330 | 10 | 66.031 | 39.93 | 1.5978 | 0.69988 | 1.6537
2010-09-08 | 139b | LC08 | 2010-09-06 | 10 | 42 | 10 | 330 | 10 | 70.542 | 41.389 | 1.7846 | 0.597 | 1.7044
2010-09-08 | 140a | LC08 | 2010-09-06 | 11 | 42 | 5 | 330 | 10 | 82.763 | 49.552 | 2.033 | 0.81831 | 1.6702
2010-09-08 | 140b | LC08 | 2010-09-06 | 11 | 42 | 5 | 330 | 10 | 81.902 | 48.91 | 2.0196 | 0.79477 | 1.6745
2010-09-08 | 145a | LC06 | 2010-09-07 | 5 | 45 | 20 | 330 | 10 | 37.723 | 24.196 | 0.82805 | 0.56423 | 1.5591
2010-09-08 | 145b | LC06 | 2010-09-07 | 5 | 45 | 20 | 330 | 10 | 37.625 | 24.04 | 0.8316 | 0.5517 | 1.5651
2010-09-08 | 146a | LC06 | 2010-09-07 | 6 | 45 | 10 | 330 | 10 | 66.738 | 39.233 | 1.6837 | 0.57383 | 1.7011
2010-09-08 | 146b | LC06 | 2010-09-07 | 6 | 45 | 10 | 330 | 10 | 69.268 | 40.589 | 1.7556 | 0.57999 | 1.7066
2010-09-08 | 147a | LC06 | 2010-09-07 | 7 | 45 | 5 | 330 | 10 | 81.202 | 45.899 | 2.1611 | 0.48005 | 1.7691
2010-09-08 | 147b | LC06 | 2010-09-07 | 7 | 45 | 5 | 330 | 10 | 84.703 | 47.822 | 2.2576 | 0.4941 | 1.7712
2010-09-08 | 154a | LC04 | 2010-09-07 | 7 | 48 | 20 | 330 | 10 | 23.887 | 16.11 | 0.47606 | 0.45093 | 1.4827
2010-09-08 | 154b | LC04 | 2010-09-07 | 7 | 48 | 20 | 330 | 10 | 23.838 | 16.1 | 0.47368 | 0.45274 | 1.4806
2010-09-08 | 155a | LC04 | 2010-09-07 | 8 | 48 | 10 | 330 | 10 | 72.631 | 41.082 | 1.9313 | 0.43267 | 1.768
2010-09-08 | 155b | LC04 | 2010-09-07 | 8 | 48 | 10 | 330 | 10 | 84.712 | 47.109 | 2.3018 | 0.40888 | 1.7982
2010-09-08 | 156a | LC04 | 2010-09-07 | 9 | 48 | 5 | 330 | 10 | 107.466 | 58.612 | 2.9906 | 0.38206 | 1.8335
2010-09-08 | 156b | LC04 | 2010-09-07 | 9 | 48 | 5 | 330 | 10 | 108.71 | 59.535 | 3.0102 | 0.41552 | 1.826
2010-09-08 | 167a | LC02 | 2010-09-07 | 5 | 51 | 20 | 330 | 10 | 51.277 | 29.831 | 1.3128 | 0.40372 | 1.7189
2010-09-08 | 167b | LC02 | 2010-09-07 | 5 | 51 | 20 | 330 | 10 | 48.255 | 27.994 | 1.2403 | 0.37055 | 1.7238
2010-09-08 | 168a | LC02 | 2010-09-07 | 6 | 51 | 10 | 330 | 10 | 105.829 | 59.774 | 2.8192 | 0.62026 | 1.7705
2010-09-08 | 168b | LC02 | 2010-09-07 | 6 | 51 | 10 | 330 | 10 | 100.063 | 56.143 | 2.6885 | 0.54202 | 1.7823
2010-09-08 | 169a | LC02 | 2010-09-07 | 7 | 51 | 5 | 330 | 10 | 162.626 | 90.112 | 4.4389 | 0.74628 | 1.8047
2010-09-08 | 169b | LC02 | 2010-09-07 | 7 | 51 | 5 | 330 | 10 | 165.577 | 91.93 | 4.5083 | 0.78154 | 1.8011
2010-09-08 | 173a | LC01 | 2010-09-07 | 4 | 52 | 20 | 330 | 10 | 64.114 | 38.094 | 1.5928 | 0.59919 | 1.683
2010-09-08 | 173b | LC01 | 2010-09-07 | 4 | 52 | 20 | 330 | 10 | 65.639 | 39.716 | 1.5869 | 0.69846 | 1.6527
2010-09-08 | 174a | LC01 | 2010-09-07 | 5 | 52 | 10 | 330 | 10 | 199.38 | 109.641 | 5.4933 | 0.81559 | 1.8185
2010-09-08 | 174b | LC01 | 2010-09-07 | 5 | 52 | 10 | 330 | 10 | 189.404 | 103.918 | 5.233 | 0.74663 | 1.8226
2010-09-08 | 175a | LC01 | 2010-09-07 | 6 | 52 | 5 | 330 | 10 | 222.429 | 122.712 | 6.1041 | 0.95692 | 1.8126
2010-09-08 | 175b | LC01 | 2010-09-07 | 6 | 52 | 5 | 330 | 10 | 225.492 | 123.816 | 6.224 | 0.90053 | 1.8212
2010-09-08 | 181a | LD06 | 2010-09-07 | 6 | 60 | 20 | 330 | 10 | 58.526 | 35.987 | 1.3797 | 0.69104 | 1.6263
2010-09-08 | 181b | LD06 | 2010-09-07 | 6 | 60 | 20 | 330 | 10 | 59.033 | 36.09 | 1.4044 | 0.67223 | 1.6357
2010-09-08 | 182a | LD06 | 2010-09-07 | 7 | 60 | 10 | 330 | 10 | 71.134 | 41.128 | 1.8368 | 0.52977 | 1.7296
2010-09-08 | 182b | LD06 | 2010-09-07 | 7 | 60 | 10 | 330 | 10 | 71.771 | 42.181 | 1.8113 | 0.61583 | 1.7015
2010-09-08 | 183a | LD06 | 2010-09-07 | 8 | 60 | 5 | 330 | 10 | 72.245 | 41.6 | 1.8759 | 0.51781 | 1.7367
2010-09-08 | 183b | LD06 | 2010-09-07 | 8 | 60 | 5 | 330 | 10 | 71.694 | 41.199 | 1.8667 | 0.50392 | 1.7402
2010-09-08 | 30a | LB08 | 2010-09-05 | 7 | 23 | 20 | 330 | 10 | 47.643 | 29.438 | 1.1144 | 0.5795 | 1.6184 | "Pink" samples
2010-09-08 | 30b | LB08 | 2010-09-05 | 7 | 23 | 20 | 330 | 10 | 47.571 | 29.662 | 1.0963 | 0.61051 | 1.6038 | "Pink" samples
2010-09-08 | 21a | LB06 | 2010-09-04 | 5 | 9 | 20 | 330 | 10 | 39.749 | 24.994 | 0.90322 | 0.53498 | 1.5903 | "Pink" samples
2010-09-08 | 21b | LB06 | 2010-09-04 | 5 | 9 | 20 | 330 | 10 | 40.821 | 26.352 | 0.88571 | 0.63062 | 1.5491 | "Pink" samples
2010-09-09 | 201a | LG09 | 2010-09-08 | 18 | 69 | 20 | 330 | 10 | 28.169 | 17.117 | 0.67654 | 0.3084 | 1.6457
2010-09-09 | 201b | LG09 | 2010-09-08 | 18 | 69 | 20 | 330 | 10 | 30.549 | 19.749 | 0.66112 | 0.47527 | 1.5469
2010-09-09 | 202a | LG09 | 2010-09-08 | 19 | 69 | 10 | 330 | 10 | 61.381 | 37.062 | 1.4887 | 0.64393 | 1.6562
2010-09-09 | 202b | LG09 | 2010-09-08 | 19 | 69 | 10 | 330 | 10 | 63.963 | 39.354 | 1.5064 | 0.75806 | 1.6253
2010-09-09 | 203a | LG09 | 2010-09-08 | 20 | 69 | 5 | 330 | 10 | 71.497 | 42.065 | 1.8017 | 0.61882 | 1.6997
2010-09-09 | 203b | LG09 | 2010-09-08 | 20 | 69 | 5 | 330 | 10 | 75.46 | 44.697 | 1.8831 | 0.6888 | 1.6883
2010-09-09 | 219a | LG06 | 2010-09-08 | 14 | 74 | 20 | 330 | 10 | 16.569 | 10.516 | 0.37053 | 0.23458 | 1.5756
2010-09-09 | 219b | LG06 | 2010-09-08 | 14 | 74 | 20 | 330 | 10 | 18.507 | 12.498 | 0.36784 | 0.35132 | 1.4808
2010-09-09 | 220a | LG06 | 2010-09-08 | 15 | 74 | 10 | 330 | 10 | 52.851 | 30.921 | 1.3424 | 0.43681 | 1.7092
2010-09-09 | 220b | LG06 | 2010-09-08 | 15 | 74 | 10 | 330 | 10 | 54.968 | 32.712 | 1.3624 | 0.51991 | 1.6804
2010-09-09 | 221a | LG06 | 2010-09-08 | 16 | 74 | 5 | 330 | 10 | 66.193 | 39.27 | 1.6481 | 0.61158 | 1.6856
2010-09-09 | 221b | LG06 | 2010-09-08 | 16 | 74 | 5 | 330 | 10 | 67.587 | 40.674 | 1.6475 | 0.69298 | 1.6617
2010-09-09 | 229a | LG04 | 2010-09-08 | 7 | 76 | 20 | 330 | 10 | 46.496 | 28.638 | 1.0932 | 0.55471 | 1.6236
2010-09-09 | 229b | LG04 | 2010-09-08 | 7 | 76 | 20 | 330 | 10 | 43.557 | 26.853 | 1.0225 | 0.52264 | 1.6221
2010-09-09 | 230a | LG04 | 2010-09-08 | 8 | 76 | 10 | 330 | 10 | 67.595 | 39.145 | 1.7416 | 0.51091 | 1.7268
2010-09-09 | 230b | LG04 | 2010-09-08 | 8 | 76 | 10 | 330 | 10 | 69.641 | 40.079 | 1.8096 | 0.49659 | 1.7376
2010-09-09 | 231a | LG04 | 2010-09-08 | 9 | 76 | 5 | 330 | 10 | 101.036 | 57.227 | 2.6817 | 0.61119 | 1.7655
2010-09-09 | 231b | LG04 | 2010-09-08 | 9 | 76 | 5 | 330 | 10 | 96.966 | 55.63 | 2.5304 | 0.67068 | 1.7431
2010-09-09 | 237a | LG02 | 2010-09-08 | 6 | 79 | 20 | 330 | 10 | 24.709 | 15.712 | 0.55075 | 0.35335 | 1.5726
2010-09-09 | 237b | LG02 | 2010-09-08 | 6 | 79 | 20 | 330 | 10 | 23.95 | 15.559 | 0.51365 | 0.38164 | 1.5393
2010-09-09 | 239a | LG02 | 2010-09-08 | 8 | 79 | 10 | 330 | 10 | 70.408 | 41.439 | 1.7733 | 0.61114 | 1.6991
2010-09-09 | 239b | LG02 | 2010-09-08 | 8 | 79 | 10 | 330 | 10 | 73.18 | 43.358 | 1.8255 | 0.66935 | 1.6878
2010-09-09 | 240a | LG02 | 2010-09-08 | 9 | 79 | 5 | 330 | 10 | 88.331 | 49.933 | 2.3505 | 0.52271 | 1.769 | Mis-sample?
2010-09-09 | 240b | LG02 | 2010-09-08 | 9 | 79 | 5 | 330 | 10 | 102.749 | 57.739 | 2.7553 | 0.56713 | 1.7795 | Mis-sample?
2010-09-09 | 244a | LG01 | 2010-09-08 | 3 | 81 | 20 | 330 | 10 | 24.281 | 19.233 | 0.30901 | 0.79769 | 1.2625
2010-09-09 | 244b | LG01 | 2010-09-08 | 3 | 81 | 20 | 330 | 10 | 24.802 | 19.241 | 0.34041 | 0.76674 | 1.289
2010-09-09 | 245a | LG01 | 2010-09-08 | 4 | 81 | 10 | 330 | 10 | 59.616 | 35.637 | 1.4679 | 0.58275 | 1.6729
2010-09-09 | 245b | LG01 | 2010-09-08 | 4 | 81 | 10 | 330 | 10 | 61.467 | 36.08 | 1.5541 | 0.52205 | 1.7036
2010-09-09 | 246a | LG01 | 2010-09-08 | 5 | 81 | 5 | 330 | 10 | 75.546 | 43.225 | 1.9785 | 0.50872 | 1.7477
2010-09-09 | 246b | LG01 | 2010-09-08 | 5 | 81 | 5 | 330 | 10 | 79.73 | 46.746 | 2.0191 | 0.67074 | 1.7056
2010-09-11 | 254a | LBP3 | 2010-09-08 | 8 | 85 | 20 | 330 | 10 | 35.843 | 24.196 | 0.71296 | 0.67931 | 1.4814
2010-09-11 | 254b | LBP3 | 2010-09-08 | 8 | 85 | 20 | 330 | 10 | 36.931 | 24.848 | 0.73965 | 0.69014 | 1.4863
2010-09-11 | 255a | LBP3 | 2010-09-08 | 9 | 85 | 10 | 330 | 10 | 96.41 | 55.663 | 2.4943 | 0.70863 | 1.732
2010-09-11 | 255b | LBP3 | 2010-09-08 | 9 | 85 | 10 | 330 | 10 | 91.977 | 53.293 | 2.368 | 0.69854 | 1.7259
2010-09-11 | 256 | LBP3 | 2010-09-08 | 10 | 85 | 5 | 330 | 10 | 114.377 | 64.923 | 3.0273 | 0.70847 | 1.7617
2010-09-11 | 272a | LBP5 | 2010-09-09 | 16 | 88 | 20 | 330 | 10 | 96.891 | 55.389 | 2.5405 | 0.64665 | 1.7493
2010-09-11 | 272b | LBP5 | 2010-09-09 | 16 | 88 | 20 | 330 | 10 | 98.658 | 56.011 | 2.6106 | 0.61235 | 1.7614
2010-09-11 | 273a | LBP5 | 2010-09-09 | 17 | 88 | 10 | 330 | 10 | 108.455 | 61.394 | 2.8808 | 0.65189 | 1.7665
2010-09-11 | 273b | LBP5 | 2010-09-09 | 17 | 88 | 10 | 330 | 10 | 103.702 | 58.268 | 2.7812 | 0.57162 | 1.7797
2010-09-11 | 274a | LBP5 | 2010-09-09 | 18 | 88 | 5 | 330 | 10 | 105.273 | 58.815 | 2.8439 | 0.54041 | 1.7899
2010-09-11 | 274b | LBP5 | 2010-09-09 | 18 | 88 | 5 | 330 | 10 | 108.133 | 60.52 | 2.9146 | 0.56781 | 1.7867
2010-09-11 | 292a | LBP7 | 2010-09-09 | 18 | 91 | 20 | 330 | 10 | 61.362 | 35.427 | 1.5876 | 0.45093 | 1.7321
2010-09-11 | 292b | LBP7 | 2010-09-09 | 18 | 91 | 20 | 330 | 10 | 63.04 | 35.72 | 1.6724 | 0.38301 | 1.7648
2010-09-11 | 293a | LBP7 | 2010-09-09 | 19 | 91 | 10 | 330 | 10 | 65.487 | 37.163 | 1.7338 | 0.40458 | 1.7622
2010-09-11 | 293b | LBP7 | 2010-09-09 | 19 | 91 | 10 | 330 | 10 | 67.457 | 38.734 | 1.7583 | 0.47055 | 1.7415
2010-09-11 | 294a | LBP7 | 2010-09-09 | 20 | 91 | 5 | 330 | 10 | 68.39 | 38.91 | 1.8046 | 0.43434 | 1.7576
2010-09-11 | 294b | LBP7 | 2010-09-09 | 20 | 91 | 5 | 330 | 10 | 67.162 | 38.473 | 1.7562 | 0.45762 | 1.7457
2010-09-11 | 312a | CS01 | 2010-09-10 | 18 | 104 | 20 | 330 | 10 | 16.386 | 10.509 | 0.35976 | 0.24495 | 1.5592
2010-09-11 | 312b | CS01 | 2010-09-10 | 18 | 104 | 20 | 330 | 10 | 16.559 | 10.561 | 0.36716 | 0.24053 | 1.5679
2010-09-11 | 313a | CS01 | 2010-09-10 | 19 | 104 | 10 | 330 | 10 | 54.075 | 31.231 | 1.3984 | 0.3987 | 1.7315
2010-09-11 | 313b | CS01 | 2010-09-10 | 19 | 104 | 10 | 330 | 10 | 54.755 | 33.711 | 1.2882 | 0.65159 | 1.6242
2010-09-11 | 314a | CS01 | 2010-09-10 | 20 | 104 | 5 | 330 | 10 | 52.315 | 29.977 | 1.3674 | 0.35752 | 1.7452
2010-09-11 | 314b | CS01 | 2010-09-10 | 20 | 104 | 5 | 330 | 10 | 51.534 | 30.414 | 1.2928 | 0.45722 | 1.6944
2010-09-12 | 321a | CS04 | 2010-09-10 | 5 | 110 | 20 | 330 | 10 | 29.453 | 17.533 | 0.72968 | 0.2792 | 1.6799
2010-09-12 | 321b | CS04 | 2010-09-10 | 5 | 110 | 20 | 330 | 10 | 28.698 | 17.084 | 0.71094 | 0.2721 | 1.6798
2010-09-12 | 322a | CS04 | 2010-09-10 | 6 | 110 | 10 | 330 | 10 | 34.896 | 19.712 | 0.92948 | 0.20478 | 1.7703
2010-09-12 | 322b | CS04 | 2010-09-10 | 6 | 110 | 10 | 330 | 10 | 35.976 | 20.692 | 0.9356 | 0.25505 | 1.7386
2010-09-12 | 323a | CS04 | 2010-09-10 | 7 | 110 | 5 | 330 | 10 | 41.137 | 23.404 | 1.0855 | 0.26119 | 1.7577
2010-09-12 | 323b | CS04 | 2010-09-10 | 7 | 110 | 5 | 330 | 10 | 40.115 | 23.045 | 1.0449 | 0.28112 | 1.7407
2010-09-12 | 327a | CS07 | 2010-09-11 | 4 | 122 | 20 | 330 | 10 | 27.946 | 17.586 | 0.63418 | 0.37774 | 1.5891
2010-09-12 | 327b | CS07 | 2010-09-11 | 4 | 122 | 20 | 330 | 10 | 28.724 | 18.047 | 0.65359 | 0.38487 | 1.5916
2010-09-12 | 328a | CS07 | 2010-09-11 | 5 | 122 | 10 | 330 | 10 | 78.042 | 45.218 | 2.0093 | 0.59261 | 1.7259
2010-09-12 | 328b | CS07 | 2010-09-11 | 5 | 122 | 10 | 330 | 10 | 74.018 | 42.744 | 1.9144 | 0.54514 | 1.7317
2010-09-12 | 329a | CS07 | 2010-09-11 | 6 | 122 | 5 | 330 | 10 | 97.424 | 55.842 | 2.5454 | 0.66782 | 1.7446
2010-09-12 | 329b | CS07 | 2010-09-11 | 6 | 122 | 5 | 330 | 10 | 93.959 | 53.961 | 2.4485 | 0.65655 | 1.7412
2010-09-12 | 340a | CS09 | 2010-09-11 | 9 | 126 | 20 | 330 | 10 | 66.811 | 39.488 | 1.6726 | 0.59964 | 1.6919
2010-09-12 | 340b | CS09 | 2010-09-11 | 9 | 126 | 20 | 330 | 10 | 64.159 | 37.022 | 1.6612 | 0.46913 | 1.733
2010-09-12 | 341a | CS09 | 2010-09-11 | 10 | 126 | 10 | 330 | 10 | 89.72 | 50.881 | 2.3775 | 0.55027 | 1.7633
2010-09-12 | 341b | CS09 | 2010-09-11 | 10 | 126 | 10 | 330 | 10 | 89.602 | 51.305 | 2.3443 | 0.60784 | 1.7465
2010-09-12 | 342a | CS09 | 2010-09-11 | 11 | 126 | 5 | 330 | 10 | 89.523 | 51.225 | 2.3444 | 0.60318 | 1.7476
2010-09-12 | 342b | CS09 | 2010-09-11 | 11 | 126 | 5 | 330 | 10 | 86.092 | 49.163 | 2.2606 | 0.56833 | 1.7512

## Std & blanks
|  | Blank | Low | High | Stand-by
2010-09-05 | before | -0.023 | 12.139 | 66.743 | -0.043
2010-09-05 | after | 0.007 | 11.946 | 65.283 | -0.05
2010-09-07 | before | 0.054 | 12.05 | 66.214 | -0.046 | another blank: | -0.025
2010-09-07 | after | -0.011 | 11.897 | 65.309 | -0.05
2010-09-08 | before | 0.002 | 12.26 | 66.599 | -0.046
2010-09-08 | after | -0.027 | 11.954 | 65.881 | -0.048
2010-09-09 | before | -0.024 | 12.173 | 66.861 | -0.045
2010-09-09 | after | -0.029 | 12.136 | 65.804 | -0.047
2010-09-11 | before | -0.009 | 12.101 | 66.504 | -0.043
2010-09-11 | after | -0.007 | 12.019 | 65.816 | -0.046
2010-09-12 | before | -0.003 | 12.184 | 66.934 | -0.046
2010-09-12 | after | -0.029 | 12.081 | 65.972 | -0.045