## File List
Number of Files= |  | 2
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 2010-16-0012.mrgcor1 | 2010-16-0012.th1 | 11 | 21 | 2010-16-0012.mrgcor1 & 2010-16-0012.th1
2 | 2010-16-0013.mrgcor1 | 2010-16-0013.th1 | 23 | 32 | 2010-16-0013.mrgcor1 & 2010-16-0013.th1

## (DOX_CTD - DOX_BOT)
Calculation of Linear Least Squares Fit For
(DOX_CTD - DOX_BOT)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (DOX_CTD - DOX_BOT), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.0011965 |  | X | CALC Y
m= | 6.3971e-06 | 4.7723e-05 |  | Std Dev of Resid |  | 0.021622 |  | 3.985 | -0.0081642
b= | -0.0081897 | 0.0073469 |  | Resid Sum of Squares |  | 0.0070124 |  | 336.027 | -0.0060401
# of Values Extracted = |  |  | 21
# of Values Used in Fit = |  |  | 17
File | Use | Pressure | DOX_CTD | DOX_CTD | Diff (DOX_CTD - DOX_BOT) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 336.027 | 2.872 | 0 | 0.004 | -0.0060401 | -0.01004 |  | 336.027 | 0.004
1 | YES | 248.999 | 3.18 | 0.0056568 | 0.018 | -0.0065969 | -0.024597 |  | 248.999 | 0.018
1 | YES | 201.33 | 3.3233 | 0.0020816 | -0.015667 | -0.0069018 | 0.0087649 |  | 201.33 | -0.015667
1 | YES | 148.333 | 3.7163 | 0.021502 | -0.010667 | -0.0072408 | 0.0034258 |  | 148.333 | -0.010667
1 | YES | 103.507 | 5.0555 | 0.14354 | -0.0515 | -0.0075276 | 0.043972 |  | 103.507 | -0.0515
1 | YES | 78 | 5.4845 | 0.028991 | -0.0295 | -0.0076908 | 0.021809 |  | 78 | -0.0295
1 | YES | 26.997 | 5.9947 | 0.01365 | 0.014667 | -0.008017 | -0.022684 |  | 26.997 | 0.014667
1 | YES | 15.0047 | 6.1527 | 0.031565 | 0.014667 | -0.0080938 | -0.02276 |  | 15.0047 | 0.014667
1 | YES | 10.996 | 6.3227 | 0.037554 | -0.017334 | -0.0081194 | 0.0092141 |  | 10.996 | -0.017334
1 | YES | 8.9985 | 6.3925 | 0.047376 | -0.0175 | -0.0081322 | 0.0093677 |  | 8.9985 | -0.0175
1 | YES | 4.001 | 6.462 | 0 | 0.033 | -0.0081641 | -0.041164 |  | 4.001 | 0.033
2 | YES | 313.988 | 2.909 | 0 | -0.0090001 | -0.0061811 | 0.0028189 |  | 313.988 | -0.0090001
2 | YES | 201.333 | 3.604 | 0.032741 | -0.018 | -0.0069018 | 0.011098 |  | 201.333 | -0.018
2 | NO | 149.97 | 4.775 | 0 | 0.081 | -0.0072304 | -0.088231 |  | 76.0045 | 0.0030003
2 | NO | 99.976 | 5.399 | 0 | -0.149 | -0.0075502 | 0.14145 |  | 50.4938 | 0.0030003
2 | YES | 76.0045 | 5.572 | 0.011314 | 0.0030003 | -0.0077035 | -0.010704 |  | 5.0017 | -0.027667
2 | YES | 50.4938 | 5.664 | 0.0074834 | 0.0030003 | -0.0078667 | -0.010867 |  | 3.985 | -0.021
2 | NO | 14.982 | 6.0757 | 0.030238 | -0.084333 | -0.0080939 | 0.076239
2 | NO | 11.012 | 6.142 | 0.019975 | -0.208 | -0.0081193 | 0.19988
2 | YES | 5.0017 | 6.3963 | 0.010786 | -0.027667 | -0.0081577 | 0.019509
2 | YES | 3.985 | 6.404 | 0 | -0.021 | -0.0081642 | 0.012836
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
YES
YES
NO
NO
YES
YES
FIT vs. Pressure
FIT vs. DOX_CTD
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Main
# Channels= | 2 |  |  |  | COMPARE Version 3.3 | Run at 2011/01/24 16:54:00
| Primary | Secondary |  | Comparison Name
Ref | Pressure | Pressure |  | Pressure - Pressure
Comp 1 | DOX_BOT | DOX_CTD |  | DOX_CTD - DOX_BOT
Average Size: | 2
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | Pressure | Pressure | Pressure | (S-P) | Oxygen_Dissolved | DOX_CTD | DOX_CTD | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
2010-16-0012.mrgcor1 | 2010-16-0012.th1 | 1 | 336.363 | 336.027 | 0 | -0.336 | 2.868 | 2.872 | 0 | 0.004
2010-16-0012.mrgcor1 | 2010-16-0012.th1 | 2 | 248.765 | 248.999 | 1.4029 | 0.23399 | 3.162 | 3.18 | 0.0056568 | 0.018
2010-16-0012.mrgcor1 | 2010-16-0012.th1 | 3 | 201.104 | 201.33 | 1.5265 | 0.22633 | 3.339 | 3.3233 | 0.0020816 | -0.015667
2010-16-0012.mrgcor1 | 2010-16-0012.th1 | 3 | 148.908 | 148.333 | 1.533 | -0.57533 | 3.727 | 3.7163 | 0.021502 | -0.010667
2010-16-0012.mrgcor1 | 2010-16-0012.th1 | 2 | 102.866 | 103.507 | 0.70357 | 0.6405 | 5.107 | 5.0555 | 0.14354 | -0.0515
2010-16-0012.mrgcor1 | 2010-16-0012.th1 | 2 | 78.585 | 78 | 1.4227 | -0.585 | 5.514 | 5.4845 | 0.028991 | -0.0295
2010-16-0012.mrgcor1 | 2010-16-0012.th1 | 3 | 27.554 | 26.997 | 1 | -0.557 | 5.98 | 5.9947 | 0.01365 | 0.014667
2010-16-0012.mrgcor1 | 2010-16-0012.th1 | 3 | 15.723 | 15.0047 | 0.98951 | -0.71833 | 6.138 | 6.1527 | 0.031565 | 0.014667
2010-16-0012.mrgcor1 | 2010-16-0012.th1 | 3 | 10.824 | 10.996 | 0.9945 | 0.172 | 6.34 | 6.3227 | 0.037554 | -0.017334
2010-16-0012.mrgcor1 | 2010-16-0012.th1 | 2 | 8.047 | 8.9985 | 1.4163 | 0.9515 | 6.41 | 6.3925 | 0.047376 | -0.0175
2010-16-0012.mrgcor1 | 2010-16-0012.th1 | 1 | 2.179 | 4.001 | 0 | 1.822 | 6.429 | 6.462 | 0 | 0.033
2010-16-0013.mrgcor1 | 2010-16-0013.th1 | 1 | 314.035 | 313.988 | 0 | -0.046997 | 2.918 | 2.909 | 0 | -0.0090001
2010-16-0013.mrgcor1 | 2010-16-0013.th1 | 3 | 201.685 | 201.333 | 1.5319 | -0.35199 | 3.622 | 3.604 | 0.032741 | -0.018
2010-16-0013.mrgcor1 | 2010-16-0013.th1 | 1 | 150.211 | 149.97 | 0 | -0.241 | 4.694 | 4.775 | 0 | 0.081
2010-16-0013.mrgcor1 | 2010-16-0013.th1 | 1 | 100.342 | 99.976 | 0 | -0.36601 | 5.548 | 5.399 | 0 | -0.149
2010-16-0013.mrgcor1 | 2010-16-0013.th1 | 2 | 75.547 | 76.0045 | 1.3965 | 0.4575 | 5.569 | 5.572 | 0.011314 | 0.0030003
2010-16-0013.mrgcor1 | 2010-16-0013.th1 | 4 | 50.782 | 50.4938 | 1.2848 | -0.28825 | 5.661 | 5.664 | 0.0074834 | 0.0030003
2010-16-0013.mrgcor1 | 2010-16-0013.th1 | 3 | 15.157 | 14.982 | 1.004 | -0.175 | 6.16 | 6.0757 | 0.030238 | -0.084333
2010-16-0013.mrgcor1 | 2010-16-0013.th1 | 3 | 10.381 | 11.012 | 1.043 | 0.631 | 6.35 | 6.142 | 0.019975 | -0.208
2010-16-0013.mrgcor1 | 2010-16-0013.th1 | 3 | 5.381 | 5.0017 | 1.0096 | -0.37933 | 6.424 | 6.3963 | 0.010786 | -0.027667
2010-16-0013.mrgcor1 | 2010-16-0013.th1 | 1 | 2.01 | 3.985 | 0 | 1.975 | 6.425 | 6.404 | 0 | -0.021
Create Fit Sheet