## FINAL_CHL_archive
Note: flags and comments apply to chl values only. No flags or comments are assigned for phaeopigment values
Notes: | Chlorophyll samples were filtered onto 25mm GF/F filters and stored in glass scintillation vials at -20C prior to analysis
Samples were extracted in 90% acetone for 24 hours in the lab 4 days post cruise and analyzed on a Turner 10AU flourometer
calibrated with commercially pure chlorophyll a (Sigma),
fluorescence readings taken before and after acification were used to calculate chlorophyll and phaeopigment concentrations (Holm-Hansen 1978)
Analysis: | Analyzed Apr 26-28 by Melissa Hennekes
Cruise | Station | Sample | FINAL Chl | Avg Phaeo | Flag:CHL | comments:CHL
2010-19 | SI | 4 | 53.2567 | 9.0759 | 36 | variability of reps >15% CV
2010-19 | SI | 5 | 3.053 | 0.85433 | 6
2010-19 | SI | 7 | 1.0851 | 0.49056 | 6
2010-19 | 59 | 17 | 2.3378 | 0.95174 | 6
2010-19 | 59 | 18 | 2.5558 | 0.97512 | 6
2010-19 | 59 | 20 | 2.1111 | 0.76482 | 6
2010-19 | 102 | 31 | 2.0113 | 0.89905 | 6
2010-19 | 102 | 32 | 1.8792 | 0.92571 | 6
2010-19 | 102 | 34 | 1.7244 | 0.90712 | 6
2010-19 | 75 | 44 | 0.32946 | 0.40024 | 6
2010-19 | 75 | 45 | 1.632 | 0.99684 | 6
2010-19 | 75 | 47 | 2.2279 | 0.88456 | 6
2010-19 | 72 | 56 | 0.95798 | 0.63338 | 6
2010-19 | 72 | 57 | 2.1106 | 0.77955 | 6
2010-19 | 72 | 59 | 2.3987 | 0.68352 | 6
2010-19 | 69 | 68 | 1.1709 | 0.60757 | 6
2010-19 | 69 | 69 | 1.1513 | 0.39728 | 6
2010-19 | 69 | 71 | 1.2205 | 0.40325 | 6
2010-19 | ADCP | 77 | 0.36957 | 0.46477 | 6
2010-19 | ADCP | 78 | 0.56581 | 0.52246 | 6
2010-19 | ADCP | 80 | 1.5895 | 0.58798 | 6
2010-19 | 65 | 86 | 1.7048 | 0.60462 | 6
2010-19 | 65 | 87 | 1.6747 | 0.61258 | 6
2010-19 | 65 | 89 | 1.5849 | 0.6509 | 6
2010-19 | 62 | 96 | 1.2647 | 0.80735 | 6
2010-19 | 62 | 97 | 1.1035 | 0.77725 | 6
2010-19 | 62 | 99 | 1.0961 | 0.70775 | 6
2010-19 | 56 | 109 | 4.1158 | 1.0225 | 6
2010-19 | 56 | 110 | 5.0179 | 1.2368 | 6
2010-19 | 56 | 112 | 7.7916 | 2.0958 | 6
2010-19 | 46 | 120 | 14.0504 | 3.3099 | 6
2010-19 | 46 | 121 | 19.9402 | 3.581 | 6
2010-19 | 46 | 123 | 10.6855 | 2.3726 | 6
2010-19 | 42 | 135 | 2.9448 | 1.6168 | 6
2010-19 | 42 | 136 | 11.5252 | 2.7655 | 6
2010-19 | 42 | 138 | 14.902 | 3.2815 | 6
2010-19 | 39 | 151 | 8.0896 | 2.5361 | 6
2010-19 | 39 | 152 | 9.5089 | 2.2642 | 6
2010-19 | 39 | 154 | 12.0288 | 2.6324 | 6
2010-19 | 27 | 166 | 3.1188 | 1.573 | 6
2010-19 | 27 | 167 | 9.3031 | 2.041 | 6
2010-19 | 27 | 169 | 7.7987 | 1.5849 | 36 | variability of reps >15% CV
2010-19 | 2 | 180 | 15.9906 | 3.6437 | 6
2010-19 | 2 | 181 | 17.7681 | 3.3173 | 6
2010-19 | 2 | 183 | 3.5982 | 0.84856 | 6
2010-19 | 3 | 195 | 4.9241 | 1.8 | 6
2010-19 | 3 | 196 | 5.1171 | 1.8778 | 6
2010-19 | 3 | 198 | 5.8813 | 2.0889 | 6
2010-19 | 6 | 207 | 4.4217 | 1.646 | 6
2010-19 | 6 | 208 | 10.1063 | 2.7827 | 6
2010-19 | 6 | 210 | 6.8258 | 1.8356 | 6
2010-19 | 9 | 218 | 3.9938 | 0.81724 | 6
2010-19 | 9 | 219 | 4.2159 | 0.96442 | 6
2010-19 | 9 | 221 | 3.3972 | 0.63978 | 6
2010-19 | 12 | 233 | 1.7572 | 1.2862 | 6
2010-19 | 12 | 234 | 6.3069 | 2.0624 | 6
2010-19 | 12 | 236 | 10.3665 | 2.0329 | 6
2010-19 | 16 | 243 | 3.4413 | 1.2872 | 6
2010-19 | 16 | 244 | 4.6053 | 1.1476 | 6
2010-19 | 16 | 246 | 9.4948 | 1.663 | 6
2010-19 | 14 | 257 | 11.992 | 3.2873 | 6
2010-19 | 14 | 258 | 11.3574 | 2.4336 | 6
2010-19 | 14 | 260 | 11.9641 | 2.2983 | 6

## Raw-data
Cruise: | 2010-19 | April 18-22
Notes: | Chlorophyll samples were filtered onto 25mm GF/F filters and stored in glass scintillation vials at -20C prior to analysis
Samples were extracted in 90% acetone for 24 hours in the lab 4 days post cruise and analyzed on a Turner 10AU flourometer
calibrated with commercially pure chlorophyll a (Sigma),
fluorescence readings taken before and after acification were used to calculate chlorophyll and phaeopigment concentrations (Holm-Hansen 1978)
Analysis: | Analyzed Apr 26-28 by Melissa Hennekes
Fluorometer calibration equation used: |  |  |  | Feb 23, 2009: chl (ug/L)= (1.703/(1.703-1)*(Fo-Fa)*(0.9696)*(vol ext/vol filtered)* (dilution factor)
Feb 23, 2009: phaeo (ug/L)= (1.703/(1.703-1)*((1.703*Fa)-Fo)*0.9696)*(vol ext/vol filtered)* (dilution factor)
Station | Sample | REP | size fraction | Volume Acetone | Volume filtered | Fo | Fa | Dilution | Chorophyll a (ug/L) | Phaeopigments (ug/L) | Flag | Comments
SI | 4 | A | total | 10 | 331 | 248 | 155 | 10 | 65.9944 | 11.329
SI | 4 | B | total | 10 | 331 | 152 | 94.9 | 10 | 40.5191 | 6.8228
SI | 5 | A | total | 10 | 331 | 127 | 81.9 | 1 | 3.2004 | 0.8853
SI | 5 | B | total | 10 | 329 | 115 | 74.3 | 1 | 2.9057 | 0.82337
SI | 7 | A | total | 10 | 329 | 42.1 | 28.3 | 1 | 0.98522 | 0.43513
SI | 7 | B | total | 10 | 331 | 51.4 | 34.7 | 1 | 1.1851 | 0.54599
59 | 17 | A | total | 10 | 331 | 103 | 68.5 | 1 | 2.4482 | 0.96902
59 | 17 | B | total | 10 | 329 | 94.2 | 63 | 1 | 2.2275 | 0.93446
59 | 18 | A | total | 10 | 329 | 114 | 75.6 | 1 | 2.7415 | 1.0528
59 | 18 | B | total | 10 | 331 | 98.9 | 65.5 | 1 | 2.3701 | 0.89742
59 | 20 | A | total | 10 | 331 | 90.1 | 59.8 | 1 | 2.1501 | 0.83305
59 | 20 | B | total | 10 | 331 | 84.7 | 55.5 | 1 | 2.0721 | 0.6966
102 | 31 | A | total | 10 | 329 | 92.9 | 62.3 | 1 | 2.1846 | 0.94217
102 | 31 | B | total | 10 | 331 | 79.9 | 54 | 1 | 1.8379 | 0.85594
102 | 32 | A | total | 10 | 329 | 84.6 | 57.8 | 1 | 1.9133 | 0.98761
102 | 32 | B | total | 10 | 331 | 80.3 | 54.3 | 1 | 1.845 | 0.86381
102 | 34 | A | total | 10 | 331 | 77.5 | 53.3 | 1 | 1.7173 | 0.94165
102 | 34 | B | total | 10 | 331 | 76.6 | 52.2 | 1 | 1.7315 | 0.87259
75 | 44 | A | total | 10 | 333 | 19.5 | 14.8 | 1 | 0.33152 | 0.40236
75 | 44 | B | total | 10 | 330 | 19.1 | 14.5 | 1 | 0.32741 | 0.39813
75 | 45 | A | total | 10 | 332 | 77.7 | 54 | 1 | 1.6767 | 1.009
75 | 45 | B | total | 10 | 330 | 73.7 | 51.4 | 1 | 1.5872 | 0.98467
75 | 47 | A | total | 10 | 331 | 92.6 | 61.5 | 1 | 2.2069 | 0.86108
75 | 47 | B | total | 10 | 329 | 94.4 | 62.9 | 1 | 2.2489 | 0.90803
72 | 56 | A | total | 10 | 331 | 46.9 | 32.8 | 1 | 1.0006 | 0.6357
72 | 56 | B | total | 10 | 331 | 43.9 | 31 | 1 | 0.91541 | 0.63106 |  | touched sample with forceps
72 | 57 | A | total | 10 | 331 | 89.9 | 59.1 | 1 | 2.1856 | 0.76265
72 | 57 | B | total | 10 | 330 | 85.2 | 56.6 | 1 | 2.0357 | 0.79645
72 | 59 | A | total | 10 | 329 | 94.5 | 60.8 | 1 | 2.4059 | 0.64556
72 | 59 | B | total | 10 | 331 | 96.1 | 62.4 | 1 | 2.3914 | 0.72148
69 | 68 | A | total | 10 | 331 | 53.8 | 36.8 | 1 | 1.2063 | 0.62946
69 | 68 | B | total | 10 | 331 | 50.5 | 34.5 | 1 | 1.1354 | 0.58568
69 | 69 | A | total | 10 | 329 | 48 | 31.6 | 1 | 1.1708 | 0.41514
69 | 69 | B | total | 10 | 330 | 46.1 | 30.2 | 1 | 1.1317 | 0.37941
69 | 71 | A | total | 10 | 331 | 48 | 31.5 | 1 | 1.1709 | 0.40054
69 | 71 | B | total | 10 | 331 | 51.5 | 33.6 | 1 | 1.2702 | 0.40596
ADCP | 77 | A | total | 10 | 330 | 21.8 | 16.5 | 1 | 0.37724 | 0.44838
ADCP | 77 | B | total | 10 | 331 | 22 | 16.9 | 1 | 0.3619 | 0.48117
ADCP | 78 | A | total | 10 | 331 | 30.3 | 22.1 | 1 | 0.58189 | 0.5206
ADCP | 78 | B | total | 10 | 329 | 29.1 | 21.4 | 1 | 0.54973 | 0.52432
ADCP | 80 | A | total | 10 | 331 | 65.4 | 43.4 | 1 | 1.5612 | 0.6039
ADCP | 80 | B | total | 10 | 331 | 66.7 | 43.9 | 1 | 1.6179 | 0.57207
65 | 86 | A | total | 10 | 329 | 72.2 | 47.6 | 1 | 1.7563 | 0.63274
65 | 86 | B | total | 10 | 331 | 68 | 44.7 | 1 | 1.6534 | 0.5765 |  | Hair on filter: not mine?
65 | 87 | A | total | 10 | 331 | 70.5 | 46.4 | 1 | 1.7102 | 0.60454
65 | 87 | B | total | 10 | 331 | 68.4 | 45.3 | 1 | 1.6392 | 0.62062
65 | 89 | A | total | 10 | 330 | 68.2 | 45.2 | 1 | 1.6371 | 0.62462
65 | 89 | B | total | 10 | 331 | 65.9 | 44.3 | 1 | 1.5328 | 0.67718
62 | 96 | A | total | 10 | 332 | 61.9 | 43.2 | 1 | 1.323 | 0.8256
62 | 96 | B | total | 10 | 331 | 57 | 40 | 1 | 1.2063 | 0.78909
62 | 97 | A | total | 10 | 331 | 54.7 | 38.9 | 1 | 1.1212 | 0.81937
62 | 97 | B | total | 10 | 331 | 51.8 | 36.5 | 1 | 1.0857 | 0.73513
62 | 99 | A | total | 10 | 331 | 51.3 | 35.9 | 1 | 1.0928 | 0.6981
62 | 99 | B | total | 10 | 329 | 51.6 | 36.2 | 1 | 1.0995 | 0.7174
56 | 109 | A | total | 10 | 331 | 162 | 103 | 1 | 4.1867 | 0.95153
56 | 109 | B | total | 10 | 331 | 160 | 103 | 1 | 4.0448 | 1.0934
56 | 110 | A | total | 10 | 331 | 196 | 125 | 1 | 5.0383 | 1.1975
56 | 110 | B | total | 10 | 329 | 195 | 125 | 1 | 4.9975 | 1.2762
56 | 112 | A | total | 10 | 331 | 164 | 104 | 2 | 8.5154 | 1.8609
56 | 112 | B | total | 10 | 331 | 144 | 94.2 | 2 | 7.0678 | 2.3308
46 | 120 | A | total | 10 | 331 | 195 | 124 | 3 | 15.1148 | 3.4428
46 | 120 | B | total | 10 | 331 | 169 | 108 | 3 | 12.986 | 3.1771
46 | 121 | A | total | 10 | 331 | 150 | 94.3 | 5 | 19.7628 | 3.7585
46 | 121 | B | total | 10 | 331 | 151 | 94.3 | 5 | 20.1176 | 3.4036
46 | 123 | A | total | 10 | 329 | 207 | 131 | 2 | 10.8517 | 2.2979
46 | 123 | B | total | 10 | 326 | 201 | 128 | 2 | 10.5193 | 2.4474 |  | lost ~5ml
42 | 135 | A | total | 10 | 326 | 138 | 95.1 | 1 | 3.0909 | 1.726 |  | lost ~5ml
42 | 135 | B | total | 10 | 329 | 125 | 85.8 | 1 | 2.7986 | 1.5076
42 | 136 | A | total | 10 | 326 | 147 | 94.2 | 3 | 11.4127 | 2.9013 |  | lost ~5ml, touched sample with forceps
42 | 136 | B | total | 10 | 331 | 225 | 143 | 2 | 11.6377 | 2.6297
42 | 138 | A | total | 10 | 331 | 185 | 119 | 3 | 14.0504 | 3.7589 |  | touched sample with forceps
42 | 138 | B | total | 10 | 331 | 198 | 124 | 3 | 15.7535 | 2.8041
39 | 151 | A | total | 10 | 331 | 169 | 111 | 2 | 8.2316 | 2.8432
39 | 151 | B | total | 10 | 331 | 158 | 102 | 2 | 7.9477 | 2.229
39 | 152 | A | total | 10 | 331 | 186 | 118 | 2 | 9.6508 | 2.1223
39 | 152 | B | total | 10 | 331 | 184 | 118 | 2 | 9.3669 | 2.4062
39 | 154 | A | total | 10 | 331 | 231 | 146 | 2 | 12.0635 | 2.5032
39 | 154 | B | total | 10 | 329 | 231 | 147 | 2 | 11.994 | 2.7616
27 | 166 | A | total | 10 | 331 | 134 | 91.8 | 1 | 2.9946 | 1.585
27 | 166 | B | total | 10 | 331 | 142 | 96.3 | 1 | 3.2429 | 1.5611
27 | 167 | A | total | 10 | 331 | 121 | 76.6 | 3 | 9.4521 | 2.0117
27 | 167 | B | total | 10 | 331 | 118 | 75 | 3 | 9.1541 | 2.0703
27 | 169 | A | total | 10 | 331 | 182 | 114 | 2 | 9.6508 | 1.7232
27 | 169 | B | total | 10 | 331 | 116 | 74.1 | 2 | 5.9466 | 1.4465
2 | 180 | A | total | 10 | 330 | 203 | 128 | 3 | 16.0148 | 3.1995
2 | 180 | B | total | 10 | 331 | 209 | 134 | 3 | 15.9664 | 4.0878
2 | 181 | A | total | 10 | 329 | 135 | 84.6 | 5 | 17.9911 | 3.239
2 | 181 | B | total | 10 | 330 | 133 | 83.7 | 5 | 17.5451 | 3.3955
2 | 183 | A | total | 10 | 329 | 141 | 89.7 | 1 | 3.6625 | 0.83952
2 | 183 | B | total | 10 | 329 | 137 | 87.5 | 1 | 3.534 | 0.85761
3 | 195 | A | total | 10 | 331 | 198 | 131 | 1 | 4.7544 | 1.7806
3 | 195 | B | total | 10 | 332 | 211 | 139 | 1 | 5.0939 | 1.8194
3 | 196 | A | total | 10 | 330 | 216 | 143 | 1 | 5.1959 | 1.9594
3 | 196 | B | total | 10 | 331 | 208 | 137 | 1 | 5.0383 | 1.7961
3 | 198 | A | total | 10 | 332 | 117 | 77 | 2 | 5.6598 | 1.9995
3 | 198 | B | total | 10 | 331 | 126 | 83 | 2 | 6.1027 | 2.1784
6 | 207 | A | total | 10 | 332 | 181 | 120 | 1 | 4.3156 | 1.6527
6 | 207 | B | total | 10 | 332 | 188 | 124 | 1 | 4.5279 | 1.6394
6 | 208 | A | total | 10 | 332 | 140 | 90.1 | 3 | 10.591 | 2.8526
6 | 208 | B | total | 10 | 332 | 192 | 124 | 2 | 9.6217 | 2.7128
6 | 210 | A | total | 10 | 330 | 136 | 85.9 | 2 | 7.1319 | 1.4645
6 | 210 | B | total | 10 | 330 | 133 | 87.2 | 2 | 6.5198 | 2.2067
9 | 218 | A | total | 10 | 330 | 146 | 92.6 | 1 | 3.8008 | 0.83261
9 | 218 | B | total | 10 | 331 | 159 | 100 | 1 | 4.1867 | 0.80187
9 | 219 | A | total | 10 | 331 | 164 | 104 | 1 | 4.2577 | 0.93045
9 | 219 | B | total | 10 | 332 | 163 | 104 | 1 | 4.1741 | 0.9984
9 | 221 | A | total | 10 | 332 | 134 | 83.5 | 1 | 3.5728 | 0.58017
9 | 221 | B | total | 10 | 331 | 124 | 78.6 | 1 | 3.2217 | 0.69938
12 | 233 | A | total | 10 | 331 | 85.3 | 60.5 | 1 | 1.7598 | 1.2583
12 | 233 | B | total | 10 | 332 | 86.5 | 61.7 | 1 | 1.7545 | 1.3142
12 | 234 | A | total | 10 | 331 | 139 | 90.7 | 2 | 6.8549 | 2.1944
12 | 234 | B | total | 10 | 332 | 118 | 77.3 | 2 | 5.7589 | 1.9303
12 | 236 | A | total | 10 | 330 | 141 | 89.1 | 3 | 11.0822 | 2.2927
12 | 236 | B | total | 10 | 331 | 365 | 229 | 1 | 9.6508 | 1.7731
16 | 243 | A | total | 9.5 | 331 | 157 | 104 | 1 | 3.5729 | 1.3558 | c | sm. Amount of acetone leaked from cap when vortexed
16 | 243 | B | total | 10 | 330 | 137 | 90.5 | 1 | 3.3097 | 1.2187
16 | 244 | A | total | 10 | 332 | 186 | 119 | 1 | 4.7401 | 1.1784
16 | 244 | B | total | 10 | 331 | 175 | 112 | 1 | 4.4706 | 1.1167
16 | 246 | A | total | 10 | 331 | 181 | 113 | 2 | 9.6508 | 1.6235
16 | 246 | B | total | 10 | 332 | 118 | 74 | 3 | 9.3387 | 1.7026
14 | 257 | A | total | 10 | 331 | 94.5 | 60.9 | 5 | 11.9216 | 3.2687
14 | 257 | B | total | 10 | 332 | 95.9 | 61.8 | 5 | 12.0625 | 3.3058
14 | 258 | A | total | 10 | 331 | 157 | 100 | 3 | 12.1344 | 2.8314
14 | 258 | B | total | 10 | 331 | 134 | 84.3 | 3 | 10.5804 | 2.0358
14 | 260 | A | total | 10 | 331 | 154 | 97.1 | 3 | 12.1132 | 2.4187
14 | 260 | B | total | 10 | 331 | 149 | 93.5 | 3 | 11.8151 | 2.1779

## Total-chl
Cruise | 2010-19
Average of two samples is reported. Variability is assessed as the % (std dev/mean*100).
Date | Latitude | Longitude | Event | Station | Sample | Rep. | Depth | Chl ug/L | Phaeo ug/L | Avg Chl | CV% | FINAL CHL | Avg Phaeo | CV% | Flag:CHL | Flag Comments for Archive
|  |  |  | SI | 4 | A | 20 | 65.9944 | 11.329 | 53.2567 | 33.8243 | 53.2567 | 9.0759 | 35.1086 | 36 | variability of reps >15% CV
|  |  |  | SI | 4 | B | 20 | 40.5191 | 6.8228
|  |  |  | SI | 5 | A | 10 | 3.2004 | 0.8853 | 3.053 | 6.8249 | 3.053 | 0.85433 | 5.1256 | 6
|  |  |  | SI | 5 | B | 10 | 2.9057 | 0.82337
|  |  |  | SI | 7 | A | 0 | 0.98522 | 0.43513 | 1.0851 | 13.0218 | 1.0851 | 0.49056 | 15.9786 | 6
|  |  |  | SI | 7 | B | 0 | 1.1851 | 0.54599
|  |  |  | 59 | 17 | A | 20 | 2.4482 | 0.96902 | 2.3378 | 6.6758 | 2.3378 | 0.95174 | 2.5672 | 6
|  |  |  | 59 | 17 | B | 20 | 2.2275 | 0.93446
|  |  |  | 59 | 18 | A | 10 | 2.7415 | 1.0528 | 2.5558 | 10.2747 | 2.5558 | 0.97512 | 11.269 | 6
|  |  |  | 59 | 18 | B | 10 | 2.3701 | 0.89742
|  |  |  | 59 | 20 | A | 0 | 2.1501 | 0.83305 | 2.1111 | 2.6145 | 2.1111 | 0.76482 | 12.6155 | 6
|  |  |  | 59 | 20 | B | 0 | 2.0721 | 0.6966
|  |  |  | 102 | 31 | A | 20 | 2.1846 | 0.94217 | 2.0113 | 12.1897 | 2.0113 | 0.89905 | 6.7818 | 6
|  |  |  | 102 | 31 | B | 20 | 1.8379 | 0.85594
|  |  |  | 102 | 32 | A | 10 | 1.9133 | 0.98761 | 1.8792 | 2.5712 | 1.8792 | 0.92571 | 9.4565 | 6
|  |  |  | 102 | 32 | B | 10 | 1.845 | 0.86381
|  |  |  | 102 | 34 | A | 0 | 1.7173 | 0.94165 | 1.7244 | 0.58198 | 1.7244 | 0.90712 | 5.3838 | 6
|  |  |  | 102 | 34 | B | 0 | 1.7315 | 0.87259
|  |  |  | 75 | 44 | A | 20 | 0.33152 | 0.40236 | 0.32946 | 0.88079 | 0.32946 | 0.40024 | 0.74831 | 6
|  |  |  | 75 | 44 | B | 20 | 0.32741 | 0.39813
|  |  |  | 75 | 45 | A | 10 | 1.6767 | 1.009 | 1.632 | 3.8772 | 1.632 | 0.99684 | 1.7261 | 6
|  |  |  | 75 | 45 | B | 10 | 1.5872 | 0.98467
|  |  |  | 75 | 47 | A | 0 | 2.2069 | 0.86108 | 2.2279 | 1.3322 | 2.2279 | 0.88456 | 3.7525 | 6
|  |  |  | 75 | 47 | B | 0 | 2.2489 | 0.90803
|  |  |  | 72 | 56 | A | 20 | 1.0006 | 0.6357 | 0.95798 | 6.2854 | 0.95798 | 0.63338 | 0.51811 | 6
|  |  |  | 72 | 56 | B | 20 | 0.91541 | 0.63106
|  |  |  | 72 | 57 | A | 10 | 2.1856 | 0.76265 | 2.1106 | 5.0242 | 2.1106 | 0.77955 | 3.0665 | 6
|  |  |  | 72 | 57 | B | 10 | 2.0357 | 0.79645
|  |  |  | 72 | 59 | A | 0 | 2.4059 | 0.64556 | 2.3987 | 0.42855 | 2.3987 | 0.68352 | 7.8536 | 6
|  |  |  | 72 | 59 | B | 0 | 2.3914 | 0.72148
|  |  |  | 69 | 68 | A | 20 | 1.2063 | 0.62946 | 1.1709 | 4.2855 | 1.1709 | 0.60757 | 5.0948 | 6
|  |  |  | 69 | 68 | B | 20 | 1.1354 | 0.58568
|  |  |  | 69 | 69 | A | 10 | 1.1708 | 0.41514 | 1.1513 | 2.4037 | 1.1513 | 0.39728 | 6.3581 | 6
|  |  |  | 69 | 69 | B | 10 | 1.1317 | 0.37941
|  |  |  | 69 | 71 | A | 0 | 1.1709 | 0.40054 | 1.2205 | 5.7555 | 1.2205 | 0.40325 | 0.94942 | 6
|  |  |  | 69 | 71 | B | 0 | 1.2702 | 0.40596
|  |  |  | ADCP | 77 | A | 20 | 0.37724 | 0.44838 | 0.36957 | 2.9335 | 0.36957 | 0.46477 | 4.989 | 6
|  |  |  | ADCP | 77 | B | 20 | 0.3619 | 0.48117
|  |  |  | ADCP | 78 | A | 10 | 0.58189 | 0.5206 | 0.56581 | 4.019 | 0.56581 | 0.52246 | 0.50465 | 6
|  |  |  | ADCP | 78 | B | 10 | 0.54973 | 0.52432
|  |  |  | ADCP | 80 | A | 0 | 1.5612 | 0.6039 | 1.5895 | 2.5254 | 1.5895 | 0.58798 | 3.8274 | 6
|  |  |  | ADCP | 80 | B | 0 | 1.6179 | 0.57207
|  |  |  | 65 | 86 | A | 20 | 1.7563 | 0.63274 | 1.7048 | 4.2664 | 1.7048 | 0.60462 | 6.5776 | 6
|  |  |  | 65 | 86 | B | 20 | 1.6534 | 0.5765
|  |  |  | 65 | 87 | A | 10 | 1.7102 | 0.60454 | 1.6747 | 2.9962 | 1.6747 | 0.61258 | 1.8569 | 6
|  |  |  | 65 | 87 | B | 10 | 1.6392 | 0.62062
|  |  |  | 65 | 89 | A | 0 | 1.6371 | 0.62462 | 1.5849 | 4.653 | 1.5849 | 0.6509 | 5.7101 | 6
|  |  |  | 65 | 89 | B | 0 | 1.5328 | 0.67718
|  |  |  | 62 | 96 | A | 20 | 1.323 | 0.8256 | 1.2647 | 6.5215 | 1.2647 | 0.80735 | 3.1974 | 6
|  |  |  | 62 | 96 | B | 20 | 1.2063 | 0.78909
|  |  |  | 62 | 97 | A | 10 | 1.1212 | 0.81937 | 1.1035 | 2.2737 | 1.1035 | 0.77725 | 7.6643 | 6
|  |  |  | 62 | 97 | B | 10 | 1.0857 | 0.73513
|  |  |  | 62 | 99 | A | 0 | 1.0928 | 0.6981 | 1.0961 | 0.42855 | 1.0961 | 0.70775 | 1.9283 | 6
|  |  |  | 62 | 99 | B | 0 | 1.0995 | 0.7174
|  |  |  | 56 | 109 | A | 20 | 4.1867 | 0.95153 | 4.1158 | 2.4383 | 4.1158 | 1.0225 | 9.8148 | 6
|  |  |  | 56 | 109 | B | 20 | 4.0448 | 1.0934
|  |  |  | 56 | 110 | A | 10 | 5.0383 | 1.1975 | 5.0179 | 0.57445 | 5.0179 | 1.2368 | 4.4978 | 6
|  |  |  | 56 | 110 | B | 10 | 4.9975 | 1.2762
|  |  |  | 56 | 112 | A | 0 | 8.5154 | 1.8609 | 7.7916 | 13.1375 | 7.7916 | 2.0958 | 15.8522 | 6
|  |  |  | 56 | 112 | B | 0 | 7.0678 | 2.3308
|  |  |  | 46 | 120 | A | 20 | 15.1148 | 3.4428 | 14.0504 | 10.7137 | 14.0504 | 3.3099 | 5.6758 | 6
|  |  |  | 46 | 120 | B | 20 | 12.986 | 3.1771
|  |  |  | 46 | 121 | A | 10 | 19.7628 | 3.7585 | 19.9402 | 1.2582 | 19.9402 | 3.581 | 7.006 | 6
|  |  |  | 46 | 121 | B | 10 | 20.1176 | 3.4036
|  |  |  | 46 | 123 | A | 0 | 10.8517 | 2.2979 | 10.6855 | 2.1999 | 10.6855 | 2.3726 | 4.4567 | 6
|  |  |  | 46 | 123 | B | 0 | 10.5193 | 2.4474
|  |  |  | 42 | 135 | A | 20 | 3.0909 | 1.726 | 2.9448 | 7.0197 | 2.9448 | 1.6168 | 9.5493 | 6
|  |  |  | 42 | 135 | B | 20 | 2.7986 | 1.5076
|  |  |  | 42 | 136 | A | 10 | 11.4127 | 2.9013 | 11.5252 | 1.3804 | 11.5252 | 2.7655 | 6.9445 | 6
|  |  |  | 42 | 136 | B | 10 | 11.6377 | 2.6297
|  |  |  | 42 | 138 | A | 0 | 14.0504 | 3.7589 | 14.902 | 8.0812 | 14.902 | 3.2815 | 20.574 | 6
|  |  |  | 42 | 138 | B | 0 | 15.7535 | 2.8041
|  |  |  | 39 | 151 | A | 20 | 8.2316 | 2.8432 | 8.0896 | 2.4811 | 8.0896 | 2.5361 | 17.1222 | 6
|  |  |  | 39 | 151 | B | 20 | 7.9477 | 2.229
|  |  |  | 39 | 152 | A | 10 | 9.6508 | 2.1223 | 9.5089 | 2.1108 | 9.5089 | 2.2642 | 8.8643 | 6
|  |  |  | 39 | 152 | B | 10 | 9.3669 | 2.4062
|  |  |  | 39 | 154 | A | 0 | 12.0635 | 2.5032 | 12.0288 | 0.40827 | 12.0288 | 2.6324 | 6.9405 | 6
|  |  |  | 39 | 154 | B | 0 | 11.994 | 2.7616
|  |  |  | 27 | 166 | A | 20 | 2.9946 | 1.585 | 3.1188 | 5.6311 | 3.1188 | 1.573 | 1.0734 | 6
|  |  |  | 27 | 166 | B | 20 | 3.2429 | 1.5611
|  |  |  | 27 | 167 | A | 10 | 9.4521 | 2.0117 | 9.3031 | 2.2653 | 9.3031 | 2.041 | 2.0297 | 6
|  |  |  | 27 | 167 | B | 10 | 9.1541 | 2.0703
|  |  |  | 27 | 169 | A | 0 | 9.6508 | 1.7232 | 7.7987 | 33.586 | 7.7987 | 1.5849 | 12.3456 | 36 | variability of reps >15% CV
|  |  |  | 27 | 169 | B | 0 | 5.9466 | 1.4465
|  |  |  | 2 | 180 | A | 20 | 16.0148 | 3.1995 | 15.9906 | 0.21395 | 15.9906 | 3.6437 | 17.2384 | 6
|  |  |  | 2 | 180 | B | 20 | 15.9664 | 4.0878
|  |  |  | 2 | 181 | A | 10 | 17.9911 | 3.239 | 17.7681 | 1.7749 | 17.7681 | 3.3173 | 3.3357 | 6
|  |  |  | 2 | 181 | B | 10 | 17.5451 | 3.3955
|  |  |  | 2 | 183 | A | 0 | 3.6625 | 0.83952 | 3.5982 | 2.5254 | 3.5982 | 0.84856 | 1.5075 | 6
|  |  |  | 2 | 183 | B | 0 | 3.534 | 0.85761
|  |  |  | 3 | 195 | A | 20 | 4.7544 | 1.7806 | 4.9241 | 4.8741 | 4.9241 | 1.8 | 1.5235 | 6
|  |  |  | 3 | 195 | B | 20 | 5.0939 | 1.8194
|  |  |  | 3 | 196 | A | 10 | 5.1959 | 1.9594 | 5.1171 | 2.1781 | 5.1171 | 1.8778 | 6.1498 | 6
|  |  |  | 3 | 196 | B | 10 | 5.0383 | 1.7961
|  |  |  | 3 | 198 | A | 0 | 5.6598 | 1.9995 | 5.8813 | 5.3246 | 5.8813 | 2.0889 | 6.0559 | 6
|  |  |  | 3 | 198 | B | 0 | 6.1027 | 2.1784
|  |  |  | 6 | 207 | A | 20 | 4.3156 | 1.6527 | 4.4217 | 3.3941 | 4.4217 | 1.646 | 0.57137 | 6
|  |  |  | 6 | 207 | B | 20 | 4.5279 | 1.6394
|  |  |  | 6 | 208 | A | 10 | 10.591 | 2.8526 | 10.1063 | 6.7815 | 10.1063 | 2.7827 | 3.554 | 6
|  |  |  | 6 | 208 | B | 10 | 9.6217 | 2.7128
|  |  |  | 6 | 210 | A | 0 | 7.1319 | 1.4645 | 6.8258 | 6.3411 | 6.8258 | 1.8356 | 28.5916 | 6
|  |  |  | 6 | 210 | B | 0 | 6.5198 | 2.2067
|  |  |  | 9 | 218 | A | 20 | 3.8008 | 0.83261 | 3.9938 | 6.8325 | 3.9938 | 0.81724 | 2.6601 | 6
|  |  |  | 9 | 218 | B | 20 | 4.1867 | 0.80187
|  |  |  | 9 | 219 | A | 10 | 4.2577 | 0.93045 | 4.2159 | 1.4017 | 4.2159 | 0.96442 | 4.9817 | 6
|  |  |  | 9 | 219 | B | 10 | 4.1741 | 0.9984
|  |  |  | 9 | 221 | A | 0 | 3.5728 | 0.58017 | 3.3972 | 7.3081 | 3.3972 | 0.63978 | 13.1762 | 6
|  |  |  | 9 | 221 | B | 0 | 3.2217 | 0.69938
|  |  |  | 12 | 233 | A | 20 | 1.7598 | 1.2583 | 1.7572 | 0.21331 | 1.7572 | 1.2862 | 3.0728 | 6
|  |  |  | 12 | 233 | B | 20 | 1.7545 | 1.3142
|  |  |  | 12 | 234 | A | 10 | 6.8549 | 2.1944 | 6.3069 | 12.2882 | 6.3069 | 2.0624 | 9.0571 | 6
|  |  |  | 12 | 234 | B | 10 | 5.7589 | 1.9303
|  |  |  | 12 | 236 | A | 0 | 11.0822 | 2.2927 | 10.3665 | 9.7639 | 10.3665 | 2.0329 | 18.0737 | 6
|  |  |  | 12 | 236 | B | 0 | 9.6508 | 1.7731
|  |  |  | 16 | 243 | A | 20 | 3.5729 | 1.3558 | 3.4413 | 5.4082 | 3.4413 | 1.2872 | 7.535 | 6
|  |  |  | 16 | 243 | B | 20 | 3.3097 | 1.2187
|  |  |  | 16 | 244 | A | 10 | 4.7401 | 1.1784 | 4.6053 | 4.1383 | 4.6053 | 1.1476 | 3.8078 | 6
|  |  |  | 16 | 244 | B | 10 | 4.4706 | 1.1167
|  |  |  | 16 | 246 | A | 0 | 9.6508 | 1.6235 | 9.4948 | 2.324 | 9.4948 | 1.663 | 3.3657 | 6
|  |  |  | 16 | 246 | B | 0 | 9.3387 | 1.7026
|  |  |  | 14 | 257 | A | 20 | 11.9216 | 3.2687 | 11.992 | 0.83117 | 11.992 | 3.2873 | 0.79794 | 6
|  |  |  | 14 | 257 | B | 20 | 12.0625 | 3.3058
|  |  |  | 14 | 258 | A | 10 | 12.1344 | 2.8314 | 11.3574 | 9.6755 | 11.3574 | 2.4336 | 23.1163 | 6
|  |  |  | 14 | 258 | B | 10 | 10.5804 | 2.0358
|  |  |  | 14 | 260 | A | 0 | 12.1132 | 2.4187 | 11.9641 | 1.7615 | 11.9641 | 2.2983 | 7.4065 | 6
|  |  |  | 14 | 260 | B | 0 | 11.8151 | 2.1779