## REVISION NOTICE TABLE

| ### DATE | ### DESCRIPTION OF REVISION |
| --- | --- |
| ### 24 Nov 2021 | ### Correcting Salinity:Bottle precision lost during HPLC addition. S.H. |
| ### 14 Dec 2020 | ### Added HPLC Data. S.H. |
| 18 July 2014 | Removed duplicate column Salinity:Bottle from 2010-19-0069.CHE G.G. |
| 21 July 2011 | Extracted CHL flags and analysis comments corrected. G.G. |

## PROCESSING NOTES

Cruise: 2010-19

Agency: OSD

Location: Strait of Georgia / Juan de Fuca Strait

Project: SoG/JdeF

Party Chief: Chandler P.

Platform: Vector

Date: 18 April 2010 – 22 April 2010

Processed by: Germaine Gatien

Date of Processing: 10 November 2010 – 30 November 2010

Number of original CTD casts:  77		Number of CTD casts processed: 74

Number of bottle casts:	75 (many empty)	Number of bottle casts processed: 21

# INSTRUMENT SUMMARY

A SeaBird Model SBE 911+ CTD (#0550) was mounted in a rosette and attached were a Wetlabs CSTAR transmissometer (#1005DR), an SBE 43 DO sensor (#1119), a Seapoint Fluorometer (#2356) with a 30X cable (and later a 3X cable), a Biospherical QSP-400 PAR sensor (#4565), a QSR-2240 Reference PAR sensor (#16504) and an altimeter (#1024).

A SeaBird Model SBE 911+ CTD (#0443) was mounted in a rosette and attached were a Wetlabs CSTAR transmissometer (#1005DR), an SBE 43 DO sensor (#1119), a Seapoint Fluorometer (#2356) with a 3X cable, a Biospherical QSP-400 PAR sensor (#4565), a QSR-2240 Reference PAR sensor (#16504) and an altimeter (#1252).

# SUMMARY OF QUALITY AND CONCERNS

The Daily Science Log Book contained many notes about problems encountered during the cruise. While they are not always clear, they do give an adequate heads-up. Pressure spikes, system freezes, poor performance of the altimeter and off-scale fluorescence were all issues. There was no mention in the log that a Surface PAR was mounted on the CTD. While it was entered in the configuration file, there are often entries in those files for instruments not actually in use, so it is a good idea to list everything in the log to ensure no data are missed.

Two CTD systems were used and there were errors in the configuration files used at sea, with the most serious errors in the conductivity for CTD #0443. The altimeter serial number does not match the one listed in the log book. The log was assumed to be correct.

There were also many spikes in data in the CTD files that were not removed by WILDEDIT. Graphical editing removed many of these spikes, but the overall quality of the data is likely to be lower than usual.

Cast #34 at station 48 was aborted at 150m of the downcast due to an alarm sounding. The cast was rerun as #35, starting 43 minutes after the first cast. Both casts will be archived, but a note was placed in the header of #34 explaining why it is incomplete. The data from the top 25m show large changes, but they look believable, given that the station is near the Fraser plume, and the 2 casts were 6km apart.

CTD data collected during bottle firing were heavily corrupted for 5 casts (26, 53, 64, 67 & 69). Editing removed the obvious bad values, but the quality of the remaining data may be lower than usual. This impacts the comparisons with rosette samples.

Fluorescence data became very spiky late in the cruise and that channel has been removed for casts #64 to the end. Cast #1 and many of the casts between #37 and the end of the cruise had off-scale fluorescence values. Off-scale values were replaced with pad values. Some SBE Dissolved Oxygen data had to be edited in the same way to remove negative values; these were large negative numbers associated with spikes in other channels that had not been caught earlier, not something that would be caused by small calibration errors.

With the exception noted in the previous paragraph, Fluorescence and Transmissivity data are nominal and unedited, except that some records were removed in editing temperature and salinity.

The PAR channel was removed from casts 30-34 because there was no signal.

The pumped channels were removed from file 2010-19-0069.CHE because the pumps were not on for the upcast.

There were a number of cases where it appears that salinity samples were taken from Niskin #1 but the sample numbers and log entries indicate they really came from higher up. Dissolved oxygen and nutrient samples make it clear that the Niskins did not close at the wrong depth.

The SBE dissolved oxygen data in the CTD files are considered, roughly:

•	±0.5  ml/l from  0– 25db

•	±0.2  ml/l from 25– 200db

•	±0.06  ml/l below 200db

# PROCESSING SUMMARY

##### Seasave

This step was completed at sea; the raw data files have extension HEX. There were 3 cases of split or repeat files with irregular names, such as 2010-19-0032A.

##### Preliminary Steps

The Log Book and rosette log sheets were obtained. There were obviously many problems during the cruise including pressure spikes, computer crashes, altimeter malfunction, fluorescence going off-scale and numerous reports of leaking bottles. The notes were not always completely clear, but gave a pretty good idea of what to look for. The surface PAR was not listed in the log, but was in the configuration file. There was a pH listed for one configuration file, but that instrument was not actually mounted.

Extracted chlorophyll, dissolved oxygen, nutrients and salinity data were obtained in spreadsheet format.

The cruise summary sheet was completed.

The histories of the conductivity, DO and pressure sensors were obtained.

The CON files used during the cruise fell into 3 groups:

- Casts 1-65 – CTD #0550

- Casts 66-67 – as above but with a change of fluorometer gain

- Casts 68-74 – CTD #0443

All the configuration files had errors.

For CTD #0550

- The most recent pressure offset had not been entered, so that was changed from 0.1 to 0.8db.

- The transmissivity date and parameters were wrong as they have been for a few recent cruises. For those other cruises checks were made to see if the serial number might be wrong. The only transmissivity calibrations for that date had different values and no calibration could be found with those values. It was assumed that this really was 1005DR and the appropriate numbers were entered in the con files. Note that this is the transmissometer that has drifted very significantly and is producing odd deep profiles; a correction factor (2.382) will have to be applied later.

- The altimeter serial number does not agree with the log book; the latter was assumed to be correct.

- The dissolved oxygen sensor entries were for the Owens-Millard algorithm. We should be using the SeaBird algorithm, so those were entered.

For CTD #0443

- The secondary conductivity parameters were wrong.

- The calibration date on the transmissivity calibration was wrong. Note that as mentioned for CTD #0550 this data will have to be recalibrated later.

- The fluorometer gain was entered as 10X, but there is no note in the log of such a change. 3X will be used, but this should be checked later.

- The surface PAR was included in the configuration but is not mentioned in the log; there is a signal, so this channel will be converted. (The chief scientist confirms that it was mounted.)

- The pH channel was included, and again is not mentioned in the log, and there is no signal, so it will not be converted.

After these corrections the 3 configurations were saved as:

2010-19-ctd1-0550.con – casts 1-65

2010-19-ctd2-0550.con – casts 66-67

2010-19-ctd3-0443.con – casts 68-74

##### Conversion of Raw Data

Rosette files were converted using a start time of -5s and duration of 10s and the three configuration files listed in the previous section. The Tau correction was chosen, but not the hysteresis correction for DO calculation. There were many ROS files without any data. Those were deleted.

The ROS files were converted to IOS HEADER format. Conversion failed for 2 casts, #53 and #64. The files are full of pressure spikes, but so are the CNV files and those could be converted. No error could be found in headers. Attempts were made to save the data using the following steps:
1. Running FIXDAT on the HEX file had no effect.

2. Examination of the HEX files shows no irregularities.

3. Editing the ROS file to put pad values in where there were spikes in pressure did not help.

4. Rerunning conversion without descent rate since pressure was bad did not help.

5. The SeaSoft Bottle Summary routine was run to see if the average would be usable in SAMAVG files, but the pressure spikes are included in the averages, so that is no use.

6. Removing the bottle data that were corrupted by pressure spikes (75, 100 and 125db) enabled conversion, but leaves nothing to use for the SAMAVG files.

7. Since it would be better to have some data from those bottles, Ultraedit was used to replace bad pressure values with pad values. Obvious outliers in temperature, salinity and dissolved oxygen were also replaced with pad values. That was then converted without problem. Some smaller spikes remain, so further editing will be needed. Conversion to IOS Headers was successful.

CLEAN was then run to add event numbers to the headers and those files were named *.BOT.

All BOT files were plotted to check for outliers. Many were found in the 2 casts already edited (53 and 64) plus casts #26, 67 and 69.  Those 5 casts were edited further using Ultraedit and NOTEPAD. They were cleaned to fix the headers then replotted, re-edited until all major spikes were removed. This was very time-consuming and for some bottles there was a large loss of data.

It was also noted that the two salinity channels are very far apart for cast #69. This was the only rosette cast using the second CTD system, and there is only one salinity sample, but it indicates that the secondary salinity is way off. The configuration file was checked again but no errors were found. These sensors performed reasonably during 2010-01 in February 2010. (This problem was later found to be because the pumps were not turned on.)

CNV files were converted using the Tau correction.

After conversion the split files were examined.

Casts 32/32b: 	All the downcast data are in file #32. So there will be no CTD file prepared for #32b.

The rosette cast is split between 32 and 32b – they will need to be combined after the SAMAVG files are prepared.

Casts 68/68a:	The downcast looks ok until 60m then is full of spikes. 68a is a repeat and looks ok. Only 68a will be processed for CTD file. Cast 68 was removed and 68a renamed 68.

There was no rosette file produced for 68A because of a problem with the con file. So there will be no file 68.CHE or 68a.CHE.

Casts 69/69a:	According to the log 69 is the upcast for 68/68a, but no mention is made of 69a. A look at the headers show that 69 and 69a are at a different site from 68 and 68a.

File 69.CNV contains downcast data only and looks ok. A CTD file will be prepared.

File 69a.CNV is upcast data only so no CTD file will be needed. The pumps were off for all bottles of 69a. A CHE file will be prepared. Pumped channels can be removed later  The 69a rosette file was renamed 69.ROS.

A few CNV casts were examined and all expected channels are present.

- There are spikes in pressure especially near the surface. The differences between up and downcasts seems larger than usual.

- For CTD #0550 the two temperature channels are mostly in reasonable agreement on the downcasts though there are some excursions. The upcast data are much noisier with some casts especially so. The difference between upcast and downcast is larger than usual as though the pumps were not working well on the upcast or the rosette package was swinging a lot. This was also noted during 2009-64 with the same equipment. It is not clear that one T/C pair were performing better than the other.

- The fluorescence values are frequently spiky and off-scale. There is no signal for casts 70 – 74, so perhaps the fluorometer had been removed though that is not mentioned in the log.

- Dissolved oxygen voltage looks as usual with an offset but some detail to help alignment.

- The descent rate looks reasonably steady except near the mouth of Juan de Fuca Strait where it is very noisy.

- PAR and transmissivity look ok, though the latter is low as usual for this sensor.

- The altimetry looks fine near the bottom early in the cruise, but from cast #14 it looks unusable.

- For CTD #0443, the two conductivity channels are very far apart. A preliminary examination suggests the problem is with the secondary conductivity. (It was later discovered that the problem was due to pumps being off for the upcast.)

##### WILDEDIT

Program WILDEDIT was run to remove spikes from the pressure, conductivity and temperature channels only.  Parameters used were: 	Pass 1    Std Dev = 2

Pass 2    Std Dev = 5

Points per block = 50

A few casts were examined and there is some improvement in mid-depth pressure spikes. Some spikes in surface values remain, but those are unlikely to be a problem. If necessary a return will be made to this stage for a more vigorous application of WILDEDIT.

##### CELLTM

Tests were run on 2 casts for CTD #0550 and 1 for CTD #0443 using a variety of settings for CELLTM. The differences among the various choices were very slight. Overall the best choices were found to be (α = 0.02, β=7) for both sensors and for both CTDs. CELLTM was run applying those settings to all casts.

##### DERIVE

Program DERIVE was run twice:

on all casts to calculate primary and secondary salinity and dissolved oxygen concentration. The Tau correction was chosen for the DO derivation.

on a few casts to calculate the differences between primary and secondary channels for temperature, conductivity and salinity. These were placed in a test directory and will not be archived.

##### Test Plots and Channel Check

A sample of casts using was plotted to check for agreement between the pairs of T and C sensors. The differences are extremely noisy despite steady descent rates, so these are very rough averages.

| Cast # (CTD#) | Press | T1-T0 | C1-C0 | S1-S0 | Descent Rate |
| --- | --- | --- | --- | --- | --- |
| 2 (550) | 300 | +0.0015 | +0.0002 | -0.003 | Mod., steady |
| 51 (550) | 300 | +0.0015 | +0.0003 | -0.0032 | High, steady |
| 64 (550) | 300 | +0.0008 | +0.00025 | -0.003 | High, steady |
| 73 (443) | 300 | -0.0003 | -0.00024 VN | +0.0028 VN | High, steady |
| 77 (443) | 300 | -0.0007 VN | -0.00024 VN | +0.0026 VN | High, steady |

The differences are a little larger than usual. Looking at a plot of the two temperature channels with the temperature differences suggests that the differences are due to slight misalignment with differences only significant in gradients. Where gradients are small, the differences are very small. The sensors look ok.

##### Conversion to IOS Headers

The IOSSHELL routine was used to convert SEA-Bird 911+ CNV files to IOS Headers.

The initial conversion failed for files 34, 57, 64, 67, 68 and 69a. Each of these casts was examined in detail:

- 34 – The log notes that an alarm sounded at 159db. The record starts to look bad at 149db of the downcast, is full of spikes until 159db and appears to come up again although the data is so full of spikes this is not completely clear. The records stop at 124db. Further runs of WILDEDIT were ineffective in removing these spikes. Since all the data below 149db looks unreliable, the CNV file was truncated at 149db and a few header limits were adjusted. The file was then converted successfully. Cast #35 was a rerun of cast #34, so a full profile is available.

- 57, 64, 67 – These files also contained some extremely spiky data, too many to edit and further runs of WILDEDIT were no help. It is not important in these cases since only upcast data are involved. The files were truncated and then converted successfully. Some spikes remain in DO in the upcasts.

- 69a – This file only contains upcast data, so will not be processed further

After conversion file 68 was deleted (cast was aborted and started over as 68a) and 68a was renamed as 68. Cast 32b will not be processed further as it contains only upcast data.

HEADER CHECK was run and revealed further problems as follows:

- Casts #4 and 7 had a few bad pressure records; a second run of WILDEDIT fixed that. They were then put through the CELLTM, DERIVE, CONVERT and CLEAN stages a second time.

- Cast #11 had data acquisition stop at 133db during the upcast, a little data was then recorded at 88db but it was full of spikes. A second run of WILDEDIT did not help, so the bad data were removed. The downcast is complete.

- Casts #26 and 53 have bad data in their upcast sections; a second run of WILDEDIT did not help, so the bad data were removed.

- Cast #54 has spikes in the secondary temperature, conductivity and salinity, in both the downcast and upcast. There are too many to correct using a text editor.  WILDEDIT did not help, so since the conversion did work, dealing with the problem will be left until later. Either the primary channels will be selected, or heavy editing will be required.

- Cast #72 has spikes in the DO channel and the primary conductivity and salinity. A further run of WILDEDIT did identify some of the spikes, but did not get the pad value right. A text editor was used to replace some obvious bad values, for example 99.000000, with -99, but there were still problems in the conductivity channel. A text editor was used to replace the larger (easily identified) spikes throughout and some smaller ones from the downcast section of the file. There remains some downcast noise in the primary conductivity, but this can be addressed in CTDEDIT. Dissolved Oxygen will have to be examined carefully for this cast as well.

CLEAN was run to add event numbers and to replace pad values in the Pressure channel using linear interpolation based on scan number; it was also used to reset the header limits.

##### Checking Headers

The header check was run. It showed up many cases of spiky data, so a return was made to the previous step until no major problems remained. As noted earlier the SBE:fluorescence went off-scale. Each cast will have to be examined carefully later so see if fluorescence needs to be edited.

The cross-reference check was compared with the log book, and no errors were found.

The cruise track was plotted and added to the end of this report. No problems were found.

The surface values program shows the average surface pressure to be 1.6db for CTD #0550 and 0.8db for CTD #0443. The latter value is low and suggests that pressures may need adjusting. A few casts were checked where pressure was low enough that we might find evidence of the CTD being at the surface. For casts using CTD #0550, there are no negative pressures and in cases where pressures were <1db the salinity values are low but the CTD was clearly in seawater, so the pressure offset looks appropriate. For CTD #0443 the surface appeared to be around -0.5db for cast #68. For cast #71 it is clearly in the water at -0.3db. This is one of the older sensors so drift is expected and applying an offset of +0.5db looks appropriate.

The altimeter readings and water depths were exported from the headers to a spreadsheet. Plots were made of all casts because of the frequent log notes about altimeter malfunction, and there were many cases where there was no signal from the altimeter in the relevant area. For those casts the header entry was removed. For some casts there was no signal for much of the profile, but near the bottom a trend could be observed amid the noise enabling a reasonable estimate. In those cases the header entry and comment were adjusted.

##### BOTTLE FILE PREPARATION

The BOT files were averaged to enable an addsamp file to be created. This file was edited to add sample numbers taken from the rosette sheets. One sample from cast #1 was labelled 0A.This was changed to 0 to enable merging. The first 5 bottles of cast 32b were dummy firings since those 5 levels had already been sampled on cast 32, so pad values were put in for the sample numbers.

The ADDSAMP file was used to create SAM files. The files from 32 and 32A were joined, and then a text editor was used to remove the bottles with the pad values for sample numbers. CLEAN was then run to fix the headers. A problem arose with file #64 because even the bottle number column had become corrupted. The bad value was fixed with an editor.

SALINITY

The salinity data were delivered in spreadsheet 2010-19.xls which was renamed as 2010-19-sal.xls; there were no duplicates. The spreadsheet was simplified (unneeded columns removed, separate columns were created to replace the one with sample #s and station names combined, event #s were added and headers changed to standard format) and saved as 2010-19-sal.csv which was then converted to individual SAL files.

DISSOLVED OXGYEN

The dissolved oxygen data was provided in spreadsheet 2010-19oxy.xls with quality flags and comments. There was an analysis of duplicates and two were rejected based on Chauvenet’s criterion. The spreadsheet was simplified and saved as 2010-19-oxy.csv which was converted into individual ADD files.

NUTRIENTS

The nutrient data were obtained in spreadsheet QF2010-19nuts.xls which included a report on precision. The spreadsheet was simplified, reordered on sample number and saved as 2010-19-nuts.csv. File 2010-19-nuts.csv was then converted to individual NUT files.

EXTRACTED CHLOROPHYLL

Extracted chlorophyll data were obtained in file 2010-19chlarc.xls with c flags assigned by the analyst where the duplicates differed by >10%. The file was saved as 2010-19-chl.csv, header names were edited, “CHL:” was entered before the comments and event numbers were added. All data were the average of duplicates so “f” flags were added to all. The file was then converted to individual CHL files.

The SAL, CHL, ADD and NUT files were merged with CST files in four steps. (Output: MRG1, MRG2, MRG3 and MRG4), MRG4 was put through CLEAN to reduce the headers to File and Comment sections only. That file was then merged with SAMAVG files. (Output:MRG).

Plots were made of Salinity versus DO from the CTD and Titrated DO. The only outliers were from cast #69 for which the pumps were off, and a titrated value that is slightly low for the 30db sample of cast #32. For the latter, the full profile does suggest there could be a small reversal, so the bottle may well have captured that better than the CTD.

##### Compare

Salinity

There was no calibration sampling for CTD #0443. The DO sensor and fluorometer were not changed, but the conductivity and temperature sensors were different. There was sampling for cast #69 but the CTD pumps were not turned on, so no comparisons with salinity were possible.

COMPARE was run and there are a lot of severe outliers. When outliers (differences >0.01) were excluded the primary was found to be lower than bottles by 0.001, but the standard deviation was 0.005. The secondary was found to be low by 0.004 with a standard deviation of 0.005. This is consistent with the salinity differences noted in section 7.

Since there were a lot of problems with spiking in this cruise, the MRG and BOT files were examined carefully for the casts with significant outliers (difference >0.01), to see if explanations could be found. The differences are given in parentheses as (primary/secondary). In most cases the differences for the two CTD channels are of similar size suggesting a problem with sampling or salinity analysis. For cast #1 the differences are of the opposite sign from the other outliers. For cast #69 the secondary had a much larger difference than the primary.

- 1 – (+0.22/+0.11) The primary differences are twice the size of the secondary and that is matched by a higher standard deviation in SAL0 than SAL1, though both are high. A plot of CTD salinity during the stop at the bottom shows very bad CTD data. The bottle value will not be flagged.

- 3 – (-0.35/-0.35) Extreme outlier. The bottle value is close to the maximum measured by the CTD, so it likely came from the bottom bottle at 228db rather than 200db. There is some noise in the CTD but not enough to explain the difference. This is not a case of a misfire, since the DO looks ok compared to the titrated value and the nutrient profiles look reasonable. The bottle was reassigned, flagged “c” and a comment added to the header.

- 16 – (-0.02/-0.02) The bottle value is close to the CTD values at the bottom. If that reassignment is made, the differences fall into line with the averages given in the previous paragraph. The bottle was reassigned and flag “c” was added with a note of explanation.

- 19 – (-0.09/-0.10) Once again it looks like the sample really came from the bottom bottle. The standard deviations in the CTD salinity are a little high, but not enough to explain the differences from bottles. The bottle will be reassigned and flagged “c” with an explanation.

- 23 – (-0.05/-0.05) The standard deviations in the CTD are not particularly large, the differences are about the same for both channels, so this looks like a sampling/analysis problem. The bottle value does not match any stop level. The DO sample agrees well with the CTD value, so this does not look like a premature bottle closing. The sample was flagged “c”.

- 40 – (-0.05/-0.06) No evidence of mis-fire, or mis-sample. The CTD data look odd, never really settling down during the stop. No flag will be attached, but a note was added to the header.

- 56 – (-0.04/-0.04) The rosette sheet and sample # show this sample as coming from 175db, but the only CTD salinity close to the sample value is at 250db. The DO sampling shows no evidence of bottles closing at the wrong level. The sample value was moved to 250db but flagged “c”.

- 69 – (-0.02/-0.54) The pumps were off for all bottles, so the pumped CTD channels should be removed and this cast should not be included in comparisons. A note was added to the SAL file to explain why the pumped CTD channels were removed.

After applying the changes to the SAL files, the MRG files were recompiled and COMPARE was run again. When outliers are excluded the primary salinity appears to be low by ~0.002 and the secondary low by ~0.005; the standard deviations for both are ~0.003. If we include only the 5 bottles below 200db the primary is very close to the bottles and the secondary is low by 0.003, but again, there is a lot of scatter here. The choice of outliers affects the averages but not the differences between the two CTD channels. The slope of differences versus time is identical for the two CTD salinity channels indicating that the changes are unlikely to be due to calibration drift. A plot of differences against salinity value shows there is a lot more noise at lower salinity values, which in most cases are towards the CTD being lower than at higher salinity. While that might suggest a problem with the salinometer linearity, there are a few “good” values at low salinity. Another explanation might be sampling problems such as salt crystals in bottles which would have a relatively larger effect on lower salinity values, or just that the lower salinity samples come from areas where there is more mixing, hence a poorer comparison. There are not a lot of samples, so any of the observations could be random. We don’t normally expect a great comparison in samples above 200m in an area and we have few of those from this cruise. (See 2010-19-sal-comp1.xls.)

Dissolved Oxygen –

COMPARE was run using the SBE DO and the Titrated bottle DO data. There were many large outliers, but almost all came from cast #69 when the CTD pumps were not turned on. A few minor outliers were from 5 or 10db where the gradient was high, or were associated with high standard deviation in the CTD data. A few other outliers were examined in greater detail:

- 0 (file 1) – This sample is from near the hypoxic layer and the local DO gradient was very high. The distance between the Niskin and the CTD may be sufficient to explain the large difference, or possibly incomplete flushing of the Niskin occurred. The duplicates were in reasonably good agreement. No flag was applied.

- 1 (file 1) – The analyst noted that there was a software problem and 2 titres were added. This is only a very slightly outlier, but given the analyst’s doubts the flag was upgraded to “c”.

- 29 (file 7) – This sample is from 50db at a local temperature minimum. The CTD data look noisy during the stop. The bottle is likely more reliable than the CTD. No flag was applied.

- 48 (cast #13) – Flagged “b” by analyst due to software problem that led to 3 titres being added. It is only a very mild outlier, but given the analyst’s doubts a “c” flag was added.

- 52 (cast #13) – Flagged “b” by analyst due to bad curve and “critter” in sample. It is only a very mild outlier, but given all the doubts a “c” flag was added.

- 114 (file #40) – Neither temperature nor SBE:DO ever equilibrated for this bottle. The DO sample is likely fine. No flag was applied.

- 194 (file 56) – This sample is from 30db at a local temperature minimum. The CTD data look somewhat noisy during the stop. The bottle is probably fine. No flag was applied.

All samples from cast #1 were excluded from the comparison because the very high gradients there tend to distort fits, though the inclusion of the top bottle did not affect the fit much at all.

The fit found when the outliers were excluded was:

CTD-BOT = 1.0378 DOX-CTD + 0.0259

(See 2010-19-dox-comp1.xls.)

Besides those mentioned above, there were other samples flagged  “b” to indicate that a check should be made against the CTD data to confirm they are ok. COMPARE does not suggest that any of these are major outliers, and so the flags were removed, except for one from cast #69. Since there is no means of confirming that one since the SBE:DO is not reliable, it was changed to a “c” flag since there was nothing really wrong with the analysis, it just looks odd in profile. There was one other sample from the cast that had been flagged “c” and again, COMPARE is not useful in deciding whether there was a serious problem or not, so it was left as “c”.

The ADD files were adjusted and MERGE run again.

Fluorescence

COMPARE was run using the CTD CHL and the Extracted Chlorophyll from bottles. Plots were prepared of titrated CHLa versus CTD Fluorescence. There were 4 major outliers, the 20m sample from cast #1 and all samples from cast #67. For Cast #1 the SBE fluorescence was off-scale frequently during the 20db stop, though not during the period around the firing time. But it was very noisy data and went off scale immediately after firing, showing that there was great variability. For cast #67 all channels have problems with spikes, and the fluorescence was frequently off-scale near the surface.

When those two casts are removed, the average ratio of SBE Fluorescence to Extracted CHL is ~.4. Florescence was somewhat higher with respect to Extracted CHL in Juan de Fuca Strait and the northern end of the Strait of Georgia, and generally lower in the southern and central Strait of Georgia.

(See 2010-19-fl-chl-comp1.xls.)

Data from the MRG files were exported to a spreadsheet to check that everything looks ok. A few problems were found and corrected, most notably most bottles from cast #32 and the nutrients from one bottle for cast #40 had gone astray! Cast #32 was a cast that had to be stitched together. The problem was in the CST file which had not been adjusted. The problems in casts #40 and 69 were due to errors in the ADDSAMP file. The MRG and SAMAVG files were recompiled, as needed.

These data problems did not affect the COMPARE runs.

##### 12. Shift

Fluorescence

The usual method to find what shift is needed for the fluorescence is to examine upcast and downcast profiles to determine the vertical offset of the temperature and fluorescence traces. The differences between these two offsets are treated as a measure of how much the fluorescence needs to be shifted. The “excess” offset for the fluorescence was divided by the averaged descent/ascent rate and divided by 2(since the shift will be applied to both up and downcast) to find the shift (in seconds) to remove that offset. This is always rough estimate as the upcast data are usually very noisy. The usual shift of +24 records (1s) was found to improve the alignment. This is the shift that has been used in most other cruises, and it was applied to these data. (Output: SHFFL)

Conductivity

Tests were run on a few casts for each CTD. While the differences were not large, the best choice was -0.5 for both conductivity channels and for both CTDs. SHIFT was run on the primary and secondary conductivity for all casts with a setting of -0.5 records. (Output: *.SHFC1)

Dissolved Oxygen

Tests were run on a few casts to determine the best SHIFT value to apply to the Dissolved Oxygen channel. This was judged by how the vertical offset between downcast and upcast traces compares with that of the temperature. Because there is an offset in values between upcast and downcast due to the time response, alignment will not produce traces that overlie each other exactly. Distinctive features aid this judgment. In recent uses of this sensor shift values of +65 were used. For this cruise values from +55 to +65 looked best for different features, with +60 best overall . SHIFT was run with a setting of +60.

##### 13. DELETE

The following DELETE parameters were used:

Surface Record Removal: Last Press Min   	Maximum Surface Pressure (relative): 10.00

Surface Pressure Tolerance: 1.0               	Pressure filtered over 15 points

Swells deleted. Warning message if pressure difference of 2.00

Drop rates <   0.30m/s (calculated over 11 points) will be deleted.

Drop rate applies in the range:  10db to 10db less than the maximum pressure

Sample interval = 0.042 seconds. (taken from header)

COMMENTS ON WARNINGS: The following warnings were investigated:

Cast #54 – around 140db there is an abrupt drop in pressure and temperature and then a fairly quick recovery. DELETE removed the section after the drop, but it is possible that it is the section above the drop that is not right. It is impossible to say.

Cast #57 – This warning is at the point where the file ends prematurely due to a system crash. This occurred during an upcast and there was no rosette sampling, so no further investigation is needed.

Cast #72 – This was a very messy cast and one warning is similar to the one for cast #54 except that after the abrupt pressure drop, the pressure is quite noisy. There are other warnings for this cast, but they are in a spiky zone, but there are no large changes in pressure.

##### 14. DETAILED EDITING

COMPARE indicates that the primary salinity is closer to the bottles. There are more spikes in the secondary data, so the primary channels were selected for editing.

Graphical editing was done using program CTDEDIT. On-screen plots of descent rate and pump status were also used.

A few problems were encountered:

Cast #24: The DELETE process did not select the best near-surface data. A text editor was used to remove data from an initial soak period from the SHFO file, and then DELETE was rerun.

Cast #54: It is hard to know what to do with this cast. The secondary temperature and conductivity are full of spikes below 150db. The primary conductivity has many spikes as well, though the primary temperature does not look bad. The oxygen data are harder to interpret, but look unreliable in some areas. At times the oxygen voltage seems ok, but the concentration does not. This is not due to poor primary temperature and the sensor was mounted on the primary pump. It was decided to make several passes through CTDEDIT. First, any records corrupted by shed wakes were removed and spiky primary salinity values were removed. A second pass through CTDEDIT focused on the dissolved oxygen channels, removing any records that looked bad.

T-S plots were examined and no further editing was found appropriate.

Fluorescence editing –For casts #1 and 37-40, 42-44, 46, 53, 55, 57-59, 62-64 the fluorescence goes off-scale. Based on extracted chlorophyll samples it is believed this is not a malfunction of the fluorometer, but that values were really high enough that the fluorometer would have gone off-scale with the 30X cable. However, large spikes begin to appear at cast #53 and get much worse. For cast #65 the spikes are off-scale at great depth and the extracted chlorophyll do not match the off-scale values even near the surface. After that cast the cable was changed to 3X, but despite that values continue to go off-scale and extracted chlorophyll values are not high enough to suggest that is reasonable. There are even off-scale values at great depth after the cable switch. There is some doubt about what cable was in use from cast #68 onwards. Investigations were complicated by the fact the CTD hit the bottom and the pumps were turned off for the upcast of #69 which was the only cast with bottle sampling for CTD #0443. For casts #70-74 there is no signal at all from the fluorometer. Perhaps it was removed, though that is not noted in the log.

A text editor was used to replace off-scale values with pad values where applicable up to cast #64. For casts #64-74 Angelica Peña recommended that the fluorescence channel be removed.

Diane Masson was consulted on whether cast #34 should be archived. That cast was aborted at ~150db because of an alarm. Cast #35 was a repeat. From 25 to 150m the two profiles look similar though #35 has a little more variability around 60db. Above 25m there is a lot of variability with the later cast having higher temperature, lower salinity, lower transmissivity, higher dissolved oxygen and higher fluorescence. There is no indication that the sensors performed poorly before the alarm went. There were a few spikes in the secondary temperature and conductivity, but not many and the primary sensors look fine. The data look reasonable so the cast will be archived, but a note was added to the header explaining why the cast is incomplete.

##### 15. Initial Recalibration

The primary salinity is low by an average of 0.002 (standard deviation 0.004) for CTD #0550, but the comparison is noisy and the 5 deepest samples suggest the CTD is very close to the bottles. The history of the sensor is not helpful and there have been many suggestions of sampling problems from other recent cruises. Given little confidence in the comparison, no recalibration will be applied. There was no calibration sampling for the second CTD used. Salinity calibration can be reconsidered when these sensors are next examined at the factory.

File 2010-19-recal.ccf was prepared to correct the transmissivity by multiplying by 2.382 and to recalibrate the Dissolved Oxygen by applying equation:

CTD-BOT = 1.0378 DOX-CTD + 0.0259

And for casts 68-74 only a +0.5db offset was applied to the pressure channel.

This was applied to the SAM and MRGCLN2 files to create SAMCOR1 and MRGCOR1 files. COMPARE was rerun to see that the corrections were applied correctly and they were. (See 2010-19-dox-comp2.xls and 2010-19-fl-chl-comp2.xls.)

The EDT files were then recalibrated to create COR1 files.

##### 16. Final Calibration of DO

The first recalibration of dissolved oxygen corrects for calibration drift. Shift corrects for transit time errors. Those 2 steps correct for response time errors, but a further correction is sometimes found appropriate. To check for this downcast CTD data is compared to bottle data from the same pressure.

Downcast files were bin-averaged to 0.5m bins for the casts with DO bottle samples. Those files were then thinned to the usual levels for bottles and compared to the bottle values in the MRG files. COMPARE was used to study the differences between the downcast CTD DO data and the upcast bottles. There is a little pressure dependence, though it is hard to distinguish noise from signal at the near-surface higher DO levels. But even when bottles with DO>7mL/L and those from above 10db are excluded, there remains some pressure dependence. The following correction looks reasonable:

DOX(corrected) =  DOX +0.0001*Pressure -0.0329

This is a small correction but will be applied since it reduces the pressure dependence. The above correction was applied first to the thinned files and COMPARE was rerun. The results show it was effective. (See 2010-19-dox-comp3.xls and 2010-19-dox-comp4.xls.)

The correction was then applied to the COR1 files with output COR2.

##### 17. Special Fluorometer Processing

The COR1 files were clipped to 200db and processed separately for A. Peña. The clipped files were bin-averaged (0.25db bins), put through REMOVE and HEADEDIT and named as *.FCTD1 and saved. A second set, *.FCTD2, were created by filtering before bin-averaging. The SAMCOR1 files were put through REMOVE and named *.BOF and saved. A readme.doc file was prepared with some notes on the preparation of those files.

A median filter, fixed size=11, was applied to the fluorescence channel in the COR1 files to reduce spikiness. One cast was examined before and after this step and showed that the filter was effective.

##### 18. BIN AVERAGE of CTD files

The following Bin Average values were applied to the FIL files (output AVG):

Bin channel = pressure	Averaging interval = 1.000	Minimum bin value =   .000

Average value will be used.	Interpolated values are NOT used for empty bins.

After averaging, page plots were examined on screen. There were some unstable features, but these are small and in areas of active mixing. No further editing was applied.

##### 19.Other Comparisons

Previous experience with these sensors –

1. Salinity - CTD#0550: Both conductivity sensors have been used many times since their last recalibrations in 2007. The results are highly variable with none of the comparison thought to be very reliable. In most cases the primary was higher than the secondary with the most reliable in recent times showing the primary to be within 0.001 of the bottles and the secondary to be low by 0.004.

Salinity - CTD#0443: The primary sensor has been used for 2 other cruises with bottles and was found high by 0.002 to 0.02 for one and low by 0.006 for the other. The secondary has more history, but the variability in sign and magnitude of the differences is noteworthy. None of the comparisons for either sensor are considered reliable.

2. Dissolved Oxygen – There are 4 other cruises since the last factory calibration from which there is enough DO calibration sampling for a reasonable fit. The fits from those were:

CTD-BOT = 1.0414 DOX-CTD + 0.0005 (2009-14 - September)

CTD-BOT = 1.0388 DOX-CTD + 0.0088 (2009-26 – April)

CTD-BOT = 1.0209 DOX-CTD + 0.0668 (2009-27 - March)

CTD-BOT = 1.0203 DOX-CTD + 0.0696 (2009-64 - November)

3. Pressure –The sensor for CTD #0550 was recalibrated in August 2007 and an offset of +0.7db has used for 3 recent cruises. The pressure sensor for CTD #0443 was recalibrated in Dec. 2009 when the offset was determined to be 6.5db. Both sensors are old enough for drift to be expected.

Historic ranges (3 standard deviations) - All data feel within the local climatology except for a few low salinity values at the northern side of the mouth of Juan de Fuca Strait and cast #66 which was very well mixed and is a special spot, which may not be well represented in the climatology. These excursions do not look indicative of instrumental problems.

##### 20. FINAL CTD files steps (REMOVE and HEADEDIT)

Profiles and T-S plots were examined to see what channels should be removed. And Header Check was run to look for odd values. A few problems were noted:

- Fluorescence - Up to cast #63 the only problem is the off-scale values which were addressed in the editing step. For casts #64 & 65 the near-surface data may be ok, but the spikes at depth are so frequent and so large that they cast doubt about all the data. After cast #66 the data look unrealistic and compare poorly with extracted chlorophyll. The fluorometer cable was changed before cast #66, so this would appear to be the cause of that problem. However, from cast #70 onwards there is no signal at all, and the reason for that may be that the CTD hit bottom during cast #69 and mud may have gotten into the system. The pumps were off for the upcast of #69. One other possibility that must be checked is that the gain for the 2nd CTD system. The con file used at sea had a gain of 10X but there is no note in the log to suggest that is correct. If it was 10X then the fluorescence values would make more sense near the surface of casts #68 and 69, but deep spikes would remain. As noted before there is no comparison possible with bottles for CTD 0443. The fluorescence channel from casts #64 to the end will be removed.

- PAR – there is no PAR signal for casts 31-34 and for cast #30 there are a few very high values (mostly offscale) embedded among 0 values with an unbelievable profile. The reference PAR does show a signal but it is not particularly high for #30. PAR will be removed for casts #30-34.

- Dissolved Oxygen for cast #72 – there are many negative values. A text editor was used to replace those with pad values in the EDT file. The file was then put through the 2 calibrations again.

The following channels were removed from all casts: Scan_Number, Temperature:Secondary, Salinity:T1:C1, Conductivity:Primary, Conductivity:Secondary, Oxygen:Voltage:SBE, Descent_Rate, Altimeter, Status:Pump and Flag.

The SBE:Fluorescence channel was removed from casts 64 to 74.

The PAR channel was removed from casts 30-34.

A second SBE DO channel (with umol/kg units) was added. REORDER was run to get the two DO channels together.

HEADER EDIT was used to fix formats and channel names and to add the following comments:

Transmissivity and fluorescence data are nominal and unedited except that

some records were removed in editing temperature and salinity.

Transmissometer #1005DR was calibrated in March 2008, and drifted significantly

but steadily until July 2009; then a sudden shift occurred, so that maximum values

between September 2009 and July 2010 were very low, ~25%/m. In August 2010 a study

was made of transmissivity that led to a decision to apply corrections to all

cruises between March 2008 and June 2010. The data are still considered nominal.

For details see file Transmissometer 1005DR Corrections.doc in

OSD_Data_Library:\Cruise_Data\DOCUMENTS

Fluorescence data were removed from casts #64-74 due to very spiky data

throughout the profile or because there was no signal at all.

The PAR channel was removed from casts #30-34 because there was no signal.

The SBE dissolved oxygen data in the CTD files are considered, roughly:

•	±0.5  ml/l from  0– 25db

•	±0.2  ml/l from 25– 200db

•	±0.06  ml/l below 200db

The Standards Check routine was run and HEADEDIT adjusted until no further problems were found. 
The cross-reference list was produced and no problems were found.

The final files were named CTD.

Profile plots were made and no problems were found.

The track plot looks ok.

As a final check of dissolved oxygen data, % saturation was calculated and plotted. The near-surface values varied from 85% to 160%. The lowest saturations were in Haro Strait, Juan de Fuca Strait and well-mixed casts in narrow passages at the northern end of the survey. Values in the Strait of Georgia were mostly very high. A few casts with especially high saturation were checked to see how well extracted chlorophyll matched the surface SBE Dissolved Oxygen and the sensor was slightly lower than the sample values, so this does not seem to be a matter of poor DO calibration.

##### 21. Final Bottle Files

The MRGCOR1 files were put through SORT to order on increasing pressure.

The following channels were removed from all casts: Scan_Number, Temperature:Primary, Salinity:T0:C0, Conductivity:Primary, Conductivity:Secondary, Oxygen:Voltage:SBE, Status:Pump, Descent_Rate, Altimeter and Flag.

The SBE:Fluorescence channel was removed from casts 64 to 74.

The PAR channel was removed from casts 30-34.

For cast #69 all pumped channels were removed because the pumps were off for the upcast.

A second SBE DO channel was added with different units.

HEADER EDIT was run to fix formats and units and to add a comment about quality flags and analysis methods.

Standards check was run on all files and HEADEDIT adjusted until all format problems were resolved.

A cross-reference list was produced and turned up no errors.

##### 22. Producing final files

A cross-reference listing was produced for CTD and CHE files.

The sensor history was updated.

Particulars:

3. Cast redone. Spigots on #3 and #7 leaking.

11. SeaSave locked up on the upcast – cast stopped.

14-35. Altimeter malfunctioning

19. Large wire angle, hard to hold depth

32. Files 32 and 32A. No explanation in log.

34/35. Alarm sounded at 159m first run, recast ok.

36 Altimeter worked

42. bottle #15 leaking

46. Surface bottle in prop wash

49. Winch problem at 90m on downcast

57. System froze on upcast

64. Spikes on upcast –  continued with upcast to get bottles. System froze 100m depth during upcast – bottles continued to be fired

66. Fluorometer cable swapped to 3X cable but still saturating

67. Major spikes but tripped bottles. Changed CTD after this cast thinking problem was pressure sensor.

68. New CTD - Spikes persisted

68A. Rerun of 68 on another winch which had just been reterminated.

69. Problems with con file – couldn’t fire bottles. Restarted and 69A is the upcast. Pumps off on upcast.

69. CTD may have hit bottom – mud could affect data.

70. Bottle 11 leaking from bottom (not sure which cast is referred to)

74. Winch paused at ~300m.

# Institute of Ocean Sciences

# CRUISE SUMMARY

CTD

| CTD# | Make | Model | Serial# | Used with Rosette? | CTD Calibration Sheet Competed? |
| --- | --- | --- | --- | --- | --- |
| 1 | SEABIRD | 911+ | 0550 | Yes | Yes |

| Calibration Information CTD #0550 |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Sensor |  | Pre-Cruise |  | Post Cruise |  |
| Name | S/N | Date | Location | Date | Location |
| Temperature | 4883 | 22Dec07 | Factory “ |  |  |
| Conductivity | 1763 | 11Oct07 | “ |  |  |
| Secondary Temp. | 2095 | 16Oct07 | “ |  |  |
| Secondary Cond. | 2754 | 25Apr07 | “ |  |  |
| Transmissometer | 1005DR | 5Mar08 | IOS |  |  |
| SBE 43 DO sensor | 1119 | 12Feb2008 | Factory |  |  |
| PAR | 4565 | 3Mar2010 | IOS |  |  |
| Fluorometer | 2356 |  |  |  |  |
| Pressure Sensor | 75636 | 20/Aug/2007 | Factory |  |  |
| Altimeter | 1024 |  |  |  |  |
| Calibration Information CTD #0443 |  |  |  |  |  |
| Sensor |  | Pre-Cruise |  | Post Cruise |  |
| Name | S/N | Date | Location | Date | Location |
| Temperature | 4752 | 6Mar07 | Factory “ |  |  |
| Conductivity | 2173 | 7May08 | “ |  |  |
| Secondary Temp. | 2968 | 22Aug07 | “ |  |  |
| Secondary Cond. | 2399 | 15Jan08 | “ |  |  |
| Transmissometer | 1005DR | 5Mar08 | IOS |  |  |
| SBE 43 DO sensor | 1483 | 3Feb2009 | Factory |  |  |
| PAR | 4565 | 3Mar2010 | IOS |  |  |
| Fluorometer | 2356 |  |  |  |  |
| Pressure Sensor | 63507 | 11/Dec/2007 | Factory |  |  |
| Altimeter | 1024 |  |  |  |  |