## File List
Number of Files= |  | 21
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 2010-19-0001.mrg | 2010-19-0001.sam | 11 | 13 | 2010-19-0001.mrg & 2010-19-0001.sam
2 | 2010-19-0003.mrg | 2010-19-0003.sam | 15 | 17 | 2010-19-0003.mrg & 2010-19-0003.sam
3 | 2010-19-0007.mrg | 2010-19-0007.sam | 19 | 21 | 2010-19-0007.mrg & 2010-19-0007.sam
4 | 2010-19-0010.mrg | 2010-19-0010.sam | 23 | 25 | 2010-19-0010.mrg & 2010-19-0010.sam
5 | 2010-19-0013.mrg | 2010-19-0013.sam | 27 | 29 | 2010-19-0013.mrg & 2010-19-0013.sam
6 | 2010-19-0016.mrg | 2010-19-0016.sam | 31 | 33 | 2010-19-0016.mrg & 2010-19-0016.sam
7 | 2010-19-0019.mrg | 2010-19-0019.sam | 35 | 37 | 2010-19-0019.mrg & 2010-19-0019.sam
8 | 2010-19-0023.mrg | 2010-19-0023.sam | 39 | 41 | 2010-19-0023.mrg & 2010-19-0023.sam
9 | 2010-19-0026.mrg | 2010-19-0026.sam | 43 | 44 | 2010-19-0026.mrg & 2010-19-0026.sam
10 | 2010-19-0032.mrg | 2010-19-0032.sam | 46 | 48 | 2010-19-0032.mrg & 2010-19-0032.sam
11 | 2010-19-0040.mrg | 2010-19-0040.sam | 50 | 52 | 2010-19-0040.mrg & 2010-19-0040.sam
12 | 2010-19-0042.mrg | 2010-19-0042.sam | 54 | 56 | 2010-19-0042.mrg & 2010-19-0042.sam
13 | 2010-19-0046.mrg | 2010-19-0046.sam | 58 | 60 | 2010-19-0046.mrg & 2010-19-0046.sam
14 | 2010-19-0049.mrg | 2010-19-0049.sam | 62 | 64 | 2010-19-0049.mrg & 2010-19-0049.sam
15 | 2010-19-0053.mrg | 2010-19-0053.sam | 66 | 68 | 2010-19-0053.mrg & 2010-19-0053.sam
16 | 2010-19-0056.mrg | 2010-19-0056.sam | 70 | 72 | 2010-19-0056.mrg & 2010-19-0056.sam
17 | 2010-19-0058.mrg | 2010-19-0058.sam | 74 | 76 | 2010-19-0058.mrg & 2010-19-0058.sam
18 | 2010-19-0061.mrg | 2010-19-0061.sam | 78 | 80 | 2010-19-0061.mrg & 2010-19-0061.sam
19 | 2010-19-0064.mrg | 2010-19-0064.sam | 82 | 84 | 2010-19-0064.mrg & 2010-19-0064.sam
20 | 2010-19-0067.mrg | 2010-19-0067.sam | 86 | 88 | 2010-19-0067.mrg & 2010-19-0067.sam
21 | 2010-19-0069.mrg | 2010-19-0069.sam | 90 | 92 | 2010-19-0069.mrg & 2010-19-0069.sam

## (FLUOR_SBE - CHL_Extracted)
Calculation of Linear Least Squares Fit For
(FLUOR_SBE - CHL_Extracted)
2
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (FLUOR_SBE - CHL_Extracted), Prop=FLUOR_SBE
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.34436 |  | X | CALC Y
m= | 0.82479 | 0.14693 |  | Std Dev of Resid |  | 7.7044 |  | 0.207 | -5.5682
b= | -5.7389 | 1.0906 |  | Resid Sum of Squares |  | 3561.439 |  | 46.0508 | 32.2433
# of Values Extracted = |  |  | 62
# of Values Used in Fit = |  |  | 62
File | Use | Pressure | FLUOR_SBE | FLUOR_SBE | Diff (FLUOR_SBE - CHL_Extracted) |  |  |  | Fit vs. | FLUOR_SBE
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y | cast | FLUOR | Extracted CHL | FL/CHL
1 | YES | 20.7814 | 3.1452 | 0.77865 | -50.1148 | -3.1448 | 46.97 |  | 3.1452 | -50.1148 | 1 | 3.1452 | 53.26 | 0.059054
1 | YES | 10.4813 | 1.962 | 0.44692 | -1.088 | -4.1207 | -3.0327 |  | 1.962 | -1.088 | 1 | 1.962 | 3.05 | 0.64326
1 | YES | 1.5613 | 1.278 | 0.1667 | 0.18801 | -4.6848 | -4.8728 |  | 1.278 | 0.18801 | 1 | 1.278 | 1.09 | 1.1725
2 | YES | 20.75 | 2.0467 | 0.54286 | -0.29326 | -4.0508 | -3.7575 |  | 2.0467 | -0.29326 | 3 | 2.0467 | 2.34 | 0.87467
2 | YES | 10.9022 | 2.0013 | 0.53338 | -0.5587 | -4.0883 | -3.5296 |  | 2.0013 | -0.5587 | 3 | 2.0013 | 2.56 | 0.78176
2 | YES | 1.9244 | 2.0937 | 0.29202 | -0.016289 | -4.012 | -3.9958 |  | 2.0937 | -0.016289 | 3 | 2.0937 | 2.11 | 0.99228
3 | YES | 20.6835 | 1.1757 | 0.029484 | -0.83426 | -4.7692 | -3.9349 |  | 1.1757 | -0.83426 | 7 | 1.1757 | 2.01 | 0.58494
3 | YES | 10.4168 | 1.1481 | 0.02248 | -0.73186 | -4.7919 | -4.0601 |  | 1.1481 | -0.73186 | 7 | 1.1481 | 1.88 | 0.61071
3 | YES | 2.1864 | 1.0207 | 0.022388 | -0.69928 | -4.897 | -4.1977 |  | 1.0207 | -0.69928 | 7 | 1.0207 | 1.72 | 0.59344
4 | YES | 20.2468 | 0.23878 | 0.008512 | -0.091215 | -5.542 | -5.4507 |  | 0.23878 | -0.091215 | 10 | 0.23878 | 0.33 | 0.72359
4 | YES | 10.5415 | 1.0492 | 0.029801 | -0.58077 | -4.8735 | -4.2927 |  | 1.0492 | -0.58077 | 10 | 1.0492 | 1.63 | 0.6437
4 | YES | 1.9709 | 1.1245 | 0.029206 | -1.1055 | -4.8115 | -3.7059 |  | 1.1245 | -1.1055 | 10 | 1.1245 | 2.23 | 0.50424
5 | YES | 20.4631 | 0.87645 | 0.018103 | -0.083545 | -5.016 | -4.9325 |  | 0.87645 | -0.083545 | 13 | 0.87645 | 0.96 | 0.91297
5 | YES | 10.5819 | 1.3489 | 0.019069 | -0.76109 | -4.6263 | -3.8653 |  | 1.3489 | -0.76109 | 13 | 1.3489 | 2.11 | 0.63929
5 | YES | 1.7097 | 0.76763 | 0.010625 | -1.6324 | -5.1058 | -3.4734 |  | 0.76763 | -1.6324 | 13 | 0.76763 | 2.4 | 0.31985
6 | YES | 20.757 | 0.56126 | 0.069667 | -0.60874 | -5.276 | -4.6672 |  | 0.56126 | -0.60874 | 16 | 0.56126 | 1.17 | 0.47971
6 | YES | 11.0287 | 0.45678 | 0.030458 | -0.69322 | -5.3622 | -4.6689 |  | 0.45678 | -0.69322 | 16 | 0.45678 | 1.15 | 0.3972
6 | YES | 1.6623 | 0.39501 | 0.045104 | -0.82499 | -5.4131 | -4.5881 |  | 0.39501 | -0.82499 | 16 | 0.39501 | 1.22 | 0.32378
7 | YES | 20.8558 | 0.207 | 0.014701 | -0.163 | -5.5682 | -5.4052 |  | 0.207 | -0.163 | 19 | 0.207 | 0.37 | 0.55946
7 | YES | 10.2398 | 0.26749 | 0.015967 | -0.30251 | -5.5183 | -5.2158 |  | 0.26749 | -0.30251 | 19 | 0.26749 | 0.57 | 0.46928
7 | YES | 1.7846 | 0.71643 | 0.17341 | -0.87357 | -5.148 | -4.2744 |  | 0.71643 | -0.87357 | 19 | 0.71643 | 1.59 | 0.45058
8 | YES | 20.3246 | 0.61307 | 0.09937 | -1.0869 | -5.2333 | -4.1463 |  | 0.61307 | -1.0869 | 23 | 0.61307 | 1.7 | 0.36063
8 | YES | 10.7935 | 0.58483 | 0.091043 | -1.0852 | -5.2565 | -4.1714 |  | 0.58483 | -1.0852 | 23 | 0.58483 | 1.67 | 0.3502
8 | YES | 2.2725 | 0.61943 | 0.10251 | -0.96057 | -5.228 | -4.2674 |  | 0.61943 | -0.96057 | 23 | 0.61943 | 1.58 | 0.39204
9 | YES | 20.8699 | 0.36007 | 0.058903 | -0.89993 | -5.4419 | -4.542 |  | 0.36007 | -0.89993 | 26 | 0.36007 | 1.26 | 0.28577
9 | YES | 10.6955 | 0.33548 | 0.030515 | -0.76452 | -5.4622 | -4.6977 |  | 0.33548 | -0.76452 | 26 | 0.33548 | 1.1 | 0.30498
10 | YES | 21.6527 | 1.1115 | 0.12208 | -3.0085 | -4.8221 | -1.8137 |  | 1.1115 | -3.0085 | 26 | 1.1115 | 4.12 | 0.26979
10 | YES | 11.1846 | 1.2479 | 0.15127 | -3.7721 | -4.7096 | -0.93756 |  | 1.2479 | -3.7721 | 32 | 1.2479 | 5.02 | 0.24859
10 | YES | 2.2344 | 1.8734 | 0.3031 | -5.9166 | -4.1937 | 1.7228 |  | 1.8734 | -5.9166 | 32 | 1.8734 | 7.79 | 0.24049
11 | YES | 21.1796 | 3.4704 | 0.22821 | -10.5796 | -2.8765 | 7.7031 |  | 3.4704 | -10.5796 | 32 | 3.4704 | 14.05 | 0.24701
11 | YES | 10.9265 | 4.95 | 0.00028823 | -14.99 | -1.6562 | 13.3338 |  | 4.95 | -14.99 | 40 | 4.95 | 19.94 | 0.24824
11 | YES | 1.8344 | 3.9254 | 0.25675 | -6.7646 | -2.5013 | 4.2633 |  | 3.9254 | -6.7646 | 40 | 3.9254 | 10.69 | 0.36721
12 | YES | 20.5061 | 0.72315 | 0.1076 | -2.2168 | -5.1425 | -2.9256 |  | 0.72315 | -2.2168 | 40 | 0.72315 | 2.94 | 0.24597
12 | YES | 10.7507 | 2.794 | 0.2199 | -8.736 | -3.4345 | 5.3016 |  | 2.794 | -8.736 | 42 | 2.794 | 11.53 | 0.24232
12 | YES | 2.0594 | 4.9498 | 0.00038727 | -9.9502 | -1.6564 | 8.2938 |  | 4.9498 | -9.9502 | 42 | 4.9498 | 14.9 | 0.3322
13 | YES | 20.8667 | 1.9504 | 0.12645 | -6.1396 | -4.1303 | 2.0094 |  | 1.9504 | -6.1396 | 42 | 1.9504 | 8.09 | 0.24108
13 | YES | 10.4324 | 1.995 | 0.15746 | -7.515 | -4.0935 | 3.4216 |  | 1.995 | -7.515 | 46 | 1.995 | 9.51 | 0.20978
13 | YES | 2.114 | 4.8341 | 0.16984 | -7.1959 | -1.7518 | 5.4441 |  | 4.8341 | -7.1959 | 46 | 4.8341 | 12.03 | 0.40183
14 | YES | 20.5563 | 0.83413 | 0.08133 | -2.2859 | -5.0509 | -2.7651 |  | 0.83413 | -2.2859 | 46 | 0.83413 | 3.12 | 0.26735
14 | YES | 11.0635 | 3.0401 | 0.21928 | -6.2599 | -3.2315 | 3.0284 |  | 3.0401 | -6.2599 | 49 | 3.0401 | 9.3 | 0.32689
14 | YES | 2.9283 | 3.1309 | 0.20797 | -4.6692 | -3.1566 | 1.5125 |  | 3.1309 | -4.6692 | 49 | 3.1309 | 7.8 | 0.40139
15 | YES | 21.7023 | 4.9395 | 0.033482 | -11.0505 | -1.6649 | 9.3856 |  | 4.9395 | -11.0505 | 49 | 4.9395 | 15.99 | 0.30891
15 | YES | 11.6857 | 4.9482 | 0.010911 | -12.8219 | -1.6577 | 11.1642 |  | 4.9482 | -12.8219 | 53 | 4.9482 | 17.7701 | 0.27845
15 | YES | 2.4972 | 0.81854 | 0.10063 | -2.7815 | -5.0638 | -2.2823 |  | 0.81854 | -2.7815 | 53 | 0.81854 | 3.6 | 0.22737
16 | YES | 20.5899 | 1.7853 | 0.21711 | -3.1347 | -4.2665 | -1.1317 |  | 1.7853 | -3.1347 | 53 | 1.7853 | 4.92 | 0.36286
16 | YES | 10.5847 | 1.6249 | 0.16243 | -3.4951 | -4.3987 | -0.90361 |  | 1.6249 | -3.4951 | 56 | 1.6249 | 5.12 | 0.31736
16 | YES | 1.7898 | 0.52026 | 0.062666 | -5.3597 | -5.3098 | 0.049933 |  | 0.52026 | -5.3597 | 56 | 0.52026 | 5.88 | 0.088479
17 | YES | 20.5753 | 1.7371 | 0.45902 | -2.6829 | -4.3062 | -1.6233 |  | 1.7371 | -2.6829 | 56 | 1.7371 | 4.42 | 0.393
17 | YES | 10.3648 | 4.1905 | 0.38289 | -5.9195 | -2.2826 | 3.6369 |  | 4.1905 | -5.9195 | 58 | 4.1905 | 10.11 | 0.41449
17 | YES | 2.0156 | 0.64474 | 0.11779 | -6.1853 | -5.2071 | 0.97812 |  | 0.64474 | -6.1853 | 58 | 0.64474 | 6.83 | 0.094398
18 | YES | 20.578 | 3.0766 | 1.2873 | -0.91344 | -3.2014 | -2.288 |  | 3.0766 | -0.91344 | 61 | 3.0766 | 3.99 | 0.77107
18 | YES | 10.7377 | 2.1769 | 0.50881 | -2.0431 | -3.9434 | -1.9003 |  | 2.1769 | -2.0431 | 61 | 2.1769 | 4.22 | 0.51585
18 | YES | 2.223 | 1.3092 | 0.29539 | -2.0908 | -4.6591 | -2.5683 |  | 1.3092 | -2.0908 | 61 | 1.3092 | 3.4 | 0.38506
19 | YES | 22.1 | 1.0402 | 0.8131 | -0.71979 | -4.881 | -4.1612 |  | 1.0402 | -0.71979 | 64 | 1.0402 | 1.76 | 0.59102
19 | YES | 12.0588 | 2.3426 | 0.7765 | -3.9674 | -3.8068 | 0.16064 |  | 2.3426 | -3.9674 | 64 | 2.3426 | 6.31 | 0.37125
19 | YES | 1.5208 | 4.7632 | 0.19541 | -5.6068 | -1.8103 | 3.7965 |  | 4.7632 | -5.6068 | 64 | 4.7632 | 10.37 | 0.45933
20 | YES | 20.9769 | 17.7155 | 4.2723 | 14.2755 | 8.8726 | -5.4029 |  | 17.7155 | 14.2755 | 69 | 3.6517 | 11.99 | 0.30456
20 | YES | 11.2489 | 25.229 | 5.234 | 20.619 | 15.0697 | -5.5493 |  | 25.229 | 20.619 | 69 | 3.7298 | 11.36 | 0.32832
20 | YES | 2.686 | 46.0508 | 3.5877 | 36.5608 | 32.2433 | -4.3175 |  | 46.0508 | 36.5608 | 69 | 3.766 | 11.96 | 0.31489
21 | YES | 19.9005 | 3.6517 | 0.0092041 | -8.3383 | -2.727 | 5.6113 |  | 3.6517 | -8.3383 | 67 | 17.7155 | 3.44 | 5.1499
21 | YES | 9.741 | 3.7298 | 0.0075142 | -7.6302 | -2.6626 | 4.9676 |  | 3.7298 | -7.6302 | 67 | 25.229 | 4.61 | 5.4727
21 | YES | 1.8122 | 3.766 | 0.012585 | -8.194 | -2.6327 | 5.5612 |  | 3.766 | -8.194 | 67 | 46.0508 | 9.49 | 4.8526
0.43427
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. FLUOR_SBE
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (FLUOR_SBE - CHL_Extracted (2)
Calculation of Linear Least Squares Fit For
(FLUOR_SBE - CHL_Extracted)
2
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (FLUOR_SBE - CHL_Extracted), Prop=FLUOR_SBE
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.34436 |  | X | CALC Y
m= | 0.82479 | 0.14693 |  | Std Dev of Resid |  | 7.7044 |  | 0.207 | -5.5682
b= | -5.7389 | 1.0906 |  | Resid Sum of Squares |  | 3561.439 |  | 46.0508 | 32.2433
# of Values Extracted = |  |  | 62
# of Values Used in Fit = |  |  | 62
File | Use | Pressure | FLUOR_SBE | FLUOR_SBE | Diff (FLUOR_SBE - CHL_Extracted) |  |  |  | Fit vs. | FLUOR_SBE
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 20.7814 | 3.1452 | 0.77865 | -50.1148 | -3.1448 | 46.97 |  | 3.1452 | -50.1148
1 | YES | 10.4813 | 1.962 | 0.44692 | -1.088 | -4.1207 | -3.0327 |  | 1.962 | -1.088
1 | YES | 1.5613 | 1.278 | 0.1667 | 0.18801 | -4.6848 | -4.8728 |  | 1.278 | 0.18801
2 | YES | 20.75 | 2.0467 | 0.54286 | -0.29326 | -4.0508 | -3.7575 |  | 2.0467 | -0.29326
2 | YES | 10.9022 | 2.0013 | 0.53338 | -0.5587 | -4.0883 | -3.5296 |  | 2.0013 | -0.5587
2 | YES | 1.9244 | 2.0937 | 0.29202 | -0.016289 | -4.012 | -3.9958 |  | 2.0937 | -0.016289
3 | YES | 20.6835 | 1.1757 | 0.029484 | -0.83426 | -4.7692 | -3.9349 |  | 1.1757 | -0.83426
3 | YES | 10.4168 | 1.1481 | 0.02248 | -0.73186 | -4.7919 | -4.0601 |  | 1.1481 | -0.73186
3 | YES | 2.1864 | 1.0207 | 0.022388 | -0.69928 | -4.897 | -4.1977 |  | 1.0207 | -0.69928
4 | YES | 20.2468 | 0.23878 | 0.008512 | -0.091215 | -5.542 | -5.4507 |  | 0.23878 | -0.091215
4 | YES | 10.5415 | 1.0492 | 0.029801 | -0.58077 | -4.8735 | -4.2927 |  | 1.0492 | -0.58077
4 | YES | 1.9709 | 1.1245 | 0.029206 | -1.1055 | -4.8115 | -3.7059 |  | 1.1245 | -1.1055
5 | YES | 20.4631 | 0.87645 | 0.018103 | -0.083545 | -5.016 | -4.9325 |  | 0.87645 | -0.083545
5 | YES | 10.5819 | 1.3489 | 0.019069 | -0.76109 | -4.6263 | -3.8653 |  | 1.3489 | -0.76109
5 | YES | 1.7097 | 0.76763 | 0.010625 | -1.6324 | -5.1058 | -3.4734 |  | 0.76763 | -1.6324
6 | YES | 20.757 | 0.56126 | 0.069667 | -0.60874 | -5.276 | -4.6672 |  | 0.56126 | -0.60874
6 | YES | 11.0287 | 0.45678 | 0.030458 | -0.69322 | -5.3622 | -4.6689 |  | 0.45678 | -0.69322
6 | YES | 1.6623 | 0.39501 | 0.045104 | -0.82499 | -5.4131 | -4.5881 |  | 0.39501 | -0.82499
7 | YES | 20.8558 | 0.207 | 0.014701 | -0.163 | -5.5682 | -5.4052 |  | 0.207 | -0.163
7 | YES | 10.2398 | 0.26749 | 0.015967 | -0.30251 | -5.5183 | -5.2158 |  | 0.26749 | -0.30251
7 | YES | 1.7846 | 0.71643 | 0.17341 | -0.87357 | -5.148 | -4.2744 |  | 0.71643 | -0.87357
8 | YES | 20.3246 | 0.61307 | 0.09937 | -1.0869 | -5.2333 | -4.1463 |  | 0.61307 | -1.0869
8 | YES | 10.7935 | 0.58483 | 0.091043 | -1.0852 | -5.2565 | -4.1714 |  | 0.58483 | -1.0852
8 | YES | 2.2725 | 0.61943 | 0.10251 | -0.96057 | -5.228 | -4.2674 |  | 0.61943 | -0.96057
9 | YES | 20.8699 | 0.36007 | 0.058903 | -0.89993 | -5.4419 | -4.542 |  | 0.36007 | -0.89993
9 | YES | 10.6955 | 0.33548 | 0.030515 | -0.76452 | -5.4622 | -4.6977 |  | 0.33548 | -0.76452
10 | YES | 21.6527 | 1.1115 | 0.12208 | -3.0085 | -4.8221 | -1.8137 |  | 1.1115 | -3.0085
10 | YES | 11.1846 | 1.2479 | 0.15127 | -3.7721 | -4.7096 | -0.93756 |  | 1.2479 | -3.7721
10 | YES | 2.2344 | 1.8734 | 0.3031 | -5.9166 | -4.1937 | 1.7228 |  | 1.8734 | -5.9166
11 | YES | 21.1796 | 3.4704 | 0.22821 | -10.5796 | -2.8765 | 7.7031 |  | 3.4704 | -10.5796
11 | YES | 10.9265 | 4.95 | 0.00028823 | -14.99 | -1.6562 | 13.3338 |  | 4.95 | -14.99
11 | YES | 1.8344 | 3.9254 | 0.25675 | -6.7646 | -2.5013 | 4.2633 |  | 3.9254 | -6.7646
12 | YES | 20.5061 | 0.72315 | 0.1076 | -2.2168 | -5.1425 | -2.9256 |  | 0.72315 | -2.2168
12 | YES | 10.7507 | 2.794 | 0.2199 | -8.736 | -3.4345 | 5.3016 |  | 2.794 | -8.736
12 | YES | 2.0594 | 4.9498 | 0.00038727 | -9.9502 | -1.6564 | 8.2938 |  | 4.9498 | -9.9502
13 | YES | 20.8667 | 1.9504 | 0.12645 | -6.1396 | -4.1303 | 2.0094 |  | 1.9504 | -6.1396
13 | YES | 10.4324 | 1.995 | 0.15746 | -7.515 | -4.0935 | 3.4216 |  | 1.995 | -7.515
13 | YES | 2.114 | 4.8341 | 0.16984 | -7.1959 | -1.7518 | 5.4441 |  | 4.8341 | -7.1959
14 | YES | 20.5563 | 0.83413 | 0.08133 | -2.2859 | -5.0509 | -2.7651 |  | 0.83413 | -2.2859
14 | YES | 11.0635 | 3.0401 | 0.21928 | -6.2599 | -3.2315 | 3.0284 |  | 3.0401 | -6.2599
14 | YES | 2.9283 | 3.1309 | 0.20797 | -4.6692 | -3.1566 | 1.5125 |  | 3.1309 | -4.6692
15 | YES | 21.7023 | 4.9395 | 0.033482 | -11.0505 | -1.6649 | 9.3856 |  | 4.9395 | -11.0505
15 | YES | 11.6857 | 4.9482 | 0.010911 | -12.8219 | -1.6577 | 11.1642 |  | 4.9482 | -12.8219
15 | YES | 2.4972 | 0.81854 | 0.10063 | -2.7815 | -5.0638 | -2.2823 |  | 0.81854 | -2.7815
16 | YES | 20.5899 | 1.7853 | 0.21711 | -3.1347 | -4.2665 | -1.1317 |  | 1.7853 | -3.1347
16 | YES | 10.5847 | 1.6249 | 0.16243 | -3.4951 | -4.3987 | -0.90361 |  | 1.6249 | -3.4951
16 | YES | 1.7898 | 0.52026 | 0.062666 | -5.3597 | -5.3098 | 0.049933 |  | 0.52026 | -5.3597
17 | YES | 20.5753 | 1.7371 | 0.45902 | -2.6829 | -4.3062 | -1.6233 |  | 1.7371 | -2.6829
17 | YES | 10.3648 | 4.1905 | 0.38289 | -5.9195 | -2.2826 | 3.6369 |  | 4.1905 | -5.9195
17 | YES | 2.0156 | 0.64474 | 0.11779 | -6.1853 | -5.2071 | 0.97812 |  | 0.64474 | -6.1853
18 | YES | 20.578 | 3.0766 | 1.2873 | -0.91344 | -3.2014 | -2.288 |  | 3.0766 | -0.91344
18 | YES | 10.7377 | 2.1769 | 0.50881 | -2.0431 | -3.9434 | -1.9003 |  | 2.1769 | -2.0431
18 | YES | 2.223 | 1.3092 | 0.29539 | -2.0908 | -4.6591 | -2.5683 |  | 1.3092 | -2.0908
19 | YES | 22.1 | 1.0402 | 0.8131 | -0.71979 | -4.881 | -4.1612 |  | 1.0402 | -0.71979
19 | YES | 12.0588 | 2.3426 | 0.7765 | -3.9674 | -3.8068 | 0.16064 |  | 2.3426 | -3.9674
19 | YES | 1.5208 | 4.7632 | 0.19541 | -5.6068 | -1.8103 | 3.7965 |  | 4.7632 | -5.6068
20 | YES | 20.9769 | 17.7155 | 4.2723 | 14.2755 | 8.8726 | -5.4029 |  | 17.7155 | 14.2755
20 | YES | 11.2489 | 25.229 | 5.234 | 20.619 | 15.0697 | -5.5493 |  | 25.229 | 20.619
20 | YES | 2.686 | 46.0508 | 3.5877 | 36.5608 | 32.2433 | -4.3175 |  | 46.0508 | 36.5608
21 | YES | 19.9005 | 3.6517 | 0.0092041 | -8.3383 | -2.727 | 5.6113 |  | 3.6517 | -8.3383
21 | YES | 9.741 | 3.7298 | 0.0075142 | -7.6302 | -2.6626 | 4.9676 |  | 3.7298 | -7.6302
21 | YES | 1.8122 | 3.766 | 0.012585 | -8.194 | -2.6327 | 5.5612 |  | 3.766 | -8.194
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. FLUOR_SBE
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Main
# Channels= | 2 |  |  |  | COMPARE Version 3.3 | Run at 2010/11/20 16:46:05
| Primary | Secondary |  | Comparison Name
Ref | Pressure | Pressure |  | Pressure - Pressure
Comp 1 | CHL_Extracted | FLUOR_SBE |  | FLUOR_SBE - CHL_Extracted
Average Size: | 1
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | Pressure | Pressure | Pressure | (S-P) | CHL_Extracted | FLUOR_SBE | FLUOR_SBE | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
2010-19-0001.mrg | 2010-19-0001.sam | 121 | 20.781 | 20.7814 | 0.026366 | 0.00035477 | 53.26 | 3.1452 | 0.77865 | -50.1148
2010-19-0001.mrg | 2010-19-0001.sam | 121 | 10.481 | 10.4813 | 0.025702 | 0.00028896 | 3.05 | 1.962 | 0.44692 | -1.088
2010-19-0001.mrg | 2010-19-0001.sam | 121 | 1.561 | 1.5613 | 0.028254 | 0.00029755 | 1.09 | 1.278 | 0.1667 | 0.18801
2010-19-0003.mrg | 2010-19-0003.sam | 121 | 20.75 | 20.75 | 0.028073 | 1.7166e-05 | 2.34 | 2.0467 | 0.54286 | -0.29326
2010-19-0003.mrg | 2010-19-0003.sam | 121 | 10.902 | 10.9022 | 0.029976 | 0.00016499 | 2.56 | 2.0013 | 0.53338 | -0.5587
2010-19-0003.mrg | 2010-19-0003.sam | 121 | 1.924 | 1.9244 | 0.024841 | 0.0004462 | 2.11 | 2.0937 | 0.29202 | -0.016289
2010-19-0007.mrg | 2010-19-0007.sam | 121 | 20.683 | 20.6835 | 0.24084 | 0.00046921 | 2.01 | 1.1757 | 0.029484 | -0.83426
2010-19-0007.mrg | 2010-19-0007.sam | 121 | 10.417 | 10.4168 | 0.27531 | -0.00022316 | 1.88 | 1.1481 | 0.02248 | -0.73186
2010-19-0007.mrg | 2010-19-0007.sam | 121 | 2.186 | 2.1864 | 0.1937 | 0.00036359 | 1.72 | 1.0207 | 0.022388 | -0.69928
2010-19-0010.mrg | 2010-19-0010.sam | 121 | 20.247 | 20.2468 | 0.6061 | -0.00021362 | 0.33 | 0.23878 | 0.008512 | -0.091215
2010-19-0010.mrg | 2010-19-0010.sam | 121 | 10.541 | 10.5415 | 0.22277 | 0.00048733 | 1.63 | 1.0492 | 0.029801 | -0.58077
2010-19-0010.mrg | 2010-19-0010.sam | 121 | 1.971 | 1.9709 | 0.14224 | -4.9591e-05 | 2.23 | 1.1245 | 0.029206 | -1.1055
2010-19-0013.mrg | 2010-19-0013.sam | 121 | 20.463 | 20.4631 | 0.052803 | 0.00010872 | 0.96 | 0.87645 | 0.018103 | -0.083545
2010-19-0013.mrg | 2010-19-0013.sam | 121 | 10.582 | 10.5819 | 0.11706 | -9.9182e-05 | 2.11 | 1.3489 | 0.019069 | -0.76109
2010-19-0013.mrg | 2010-19-0013.sam | 121 | 1.71 | 1.7097 | 0.057753 | -0.00033891 | 2.4 | 0.76763 | 0.010625 | -1.6324
2010-19-0016.mrg | 2010-19-0016.sam | 121 | 20.757 | 20.757 | 0.078913 | 2.4796e-05 | 1.17 | 0.56126 | 0.069667 | -0.60874
2010-19-0016.mrg | 2010-19-0016.sam | 121 | 11.029 | 11.0287 | 0.10377 | -0.00025654 | 1.15 | 0.45678 | 0.030458 | -0.69322
2010-19-0016.mrg | 2010-19-0016.sam | 121 | 1.662 | 1.6623 | 0.032844 | 0.00033891 | 1.22 | 0.39501 | 0.045104 | -0.82499
2010-19-0019.mrg | 2010-19-0019.sam | 121 | 20.856 | 20.8558 | 0.083072 | -0.00017357 | 0.37 | 0.207 | 0.014701 | -0.163
2010-19-0019.mrg | 2010-19-0019.sam | 121 | 10.24 | 10.2398 | 0.22535 | -0.0001564 | 0.57 | 0.26749 | 0.015967 | -0.30251
2010-19-0019.mrg | 2010-19-0019.sam | 121 | 1.785 | 1.7846 | 0.11793 | -0.00037181 | 1.59 | 0.71643 | 0.17341 | -0.87357
2010-19-0023.mrg | 2010-19-0023.sam | 121 | 20.325 | 20.3246 | 0.088863 | -0.00035667 | 1.7 | 0.61307 | 0.09937 | -1.0869
2010-19-0023.mrg | 2010-19-0023.sam | 121 | 10.794 | 10.7935 | 0.09563 | -0.00047016 | 1.67 | 0.58483 | 0.091043 | -1.0852
2010-19-0023.mrg | 2010-19-0023.sam | 121 | 2.272 | 2.2725 | 0.053549 | 0.00049591 | 1.58 | 0.61943 | 0.10251 | -0.96057
2010-19-0026.mrg | 2010-19-0026.sam | 121 | 20.87 | 20.8699 | 0.035336 | -7.6294e-05 | 1.26 | 0.36007 | 0.058903 | -0.89993
2010-19-0026.mrg | 2010-19-0026.sam | 121 | 10.696 | 10.6955 | 0.030406 | -0.0004549 | 1.1 | 0.33548 | 0.030515 | -0.76452
2010-19-0032.mrg | 2010-19-0032.sam | 121 | 21.653 | 21.6527 | 0.035986 | -0.00033951 | 4.12 | 1.1115 | 0.12208 | -3.0085
2010-19-0032.mrg | 2010-19-0032.sam | 121 | 11.185 | 11.1846 | 0.026569 | -0.00038052 | 5.02 | 1.2479 | 0.15127 | -3.7721
2010-19-0032.mrg | 2010-19-0032.sam | 121 | 2.234 | 2.2344 | 0.024626 | 0.00040483 | 7.79 | 1.8734 | 0.3031 | -5.9166
2010-19-0040.mrg | 2010-19-0040.sam | 121 | 21.18 | 21.1796 | 0.036704 | -0.0004139 | 14.05 | 3.4704 | 0.22821 | -10.5796
2010-19-0040.mrg | 2010-19-0040.sam | 121 | 10.926 | 10.9265 | 0.039829 | 0.0004549 | 19.94 | 4.95 | 0.00028823 | -14.99
2010-19-0040.mrg | 2010-19-0040.sam | 121 | 1.834 | 1.8344 | 0.026637 | 0.00041318 | 10.69 | 3.9254 | 0.25675 | -6.7646
2010-19-0042.mrg | 2010-19-0042.sam | 121 | 20.506 | 20.5061 | 0.059266 | 0.00012398 | 2.94 | 0.72315 | 0.1076 | -2.2168
2010-19-0042.mrg | 2010-19-0042.sam | 121 | 10.751 | 10.7507 | 0.041536 | -0.00027275 | 11.53 | 2.794 | 0.2199 | -8.736
2010-19-0042.mrg | 2010-19-0042.sam | 121 | 2.059 | 2.0594 | 0.14969 | 0.00043798 | 14.9 | 4.9498 | 0.00038727 | -9.9502
2010-19-0046.mrg | 2010-19-0046.sam | 121 | 20.867 | 20.8667 | 0.047491 | -0.00026512 | 8.09 | 1.9504 | 0.12645 | -6.1396
2010-19-0046.mrg | 2010-19-0046.sam | 121 | 10.432 | 10.4324 | 0.39212 | 0.00041294 | 9.51 | 1.995 | 0.15746 | -7.515
2010-19-0046.mrg | 2010-19-0046.sam | 121 | 2.114 | 2.114 | 0.50776 | 4.1246e-05 | 12.03 | 4.8341 | 0.16984 | -7.1959
2010-19-0049.mrg | 2010-19-0049.sam | 121 | 20.556 | 20.5563 | 0.25322 | 0.00028038 | 3.12 | 0.83413 | 0.08133 | -2.2859
2010-19-0049.mrg | 2010-19-0049.sam | 121 | 11.063 | 11.0635 | 0.12354 | 0.0004549 | 9.3 | 3.0401 | 0.21928 | -6.2599
2010-19-0049.mrg | 2010-19-0049.sam | 121 | 2.928 | 2.9283 | 0.30941 | 0.00033879 | 7.8 | 3.1309 | 0.20797 | -4.6692
2010-19-0053.mrg | 2010-19-0053.sam | 120 | 21.702 | 21.7023 | 0.12545 | 0.00028419 | 15.99 | 4.9395 | 0.033482 | -11.0505
2010-19-0053.mrg | 2010-19-0053.sam | 121 | 11.686 | 11.6857 | 0.18971 | -0.00025654 | 17.77 | 4.9482 | 0.010911 | -12.8219
2010-19-0053.mrg | 2010-19-0053.sam | 121 | 2.497 | 2.4972 | 0.11729 | 0.00019836 | 3.6 | 0.81854 | 0.10063 | -2.7815
2010-19-0056.mrg | 2010-19-0056.sam | 121 | 20.59 | 20.5899 | 0.035743 | -0.00014114 | 4.92 | 1.7853 | 0.21711 | -3.1347
2010-19-0056.mrg | 2010-19-0056.sam | 121 | 10.585 | 10.5847 | 0.044556 | -0.00029755 | 5.12 | 1.6249 | 0.16243 | -3.4951
2010-19-0056.mrg | 2010-19-0056.sam | 121 | 1.79 | 1.7898 | 0.038108 | -0.00019824 | 5.88 | 0.52026 | 0.062666 | -5.3597
2010-19-0058.mrg | 2010-19-0058.sam | 121 | 20.575 | 20.5753 | 0.049432 | 0.00033951 | 4.42 | 1.7371 | 0.45902 | -2.6829
2010-19-0058.mrg | 2010-19-0058.sam | 121 | 10.365 | 10.3648 | 0.066669 | -0.00015736 | 10.11 | 4.1905 | 0.38289 | -5.9195
2010-19-0058.mrg | 2010-19-0058.sam | 121 | 2.016 | 2.0156 | 0.044108 | -0.00042987 | 6.83 | 0.64474 | 0.11779 | -6.1853
2010-19-0061.mrg | 2010-19-0061.sam | 121 | 20.578 | 20.578 | 0.036858 | 4.9591e-05 | 3.99 | 3.0766 | 1.2873 | -0.91344
2010-19-0061.mrg | 2010-19-0061.sam | 121 | 10.738 | 10.7377 | 0.033844 | -0.00034714 | 4.22 | 2.1769 | 0.50881 | -2.0431
2010-19-0061.mrg | 2010-19-0061.sam | 121 | 2.223 | 2.223 | 0.036665 | -3.314e-05 | 3.4 | 1.3092 | 0.29539 | -2.0908
2010-19-0064.mrg | 2010-19-0064.sam | 88 | 22.1 | 22.1 | 0.022571 | 1.1444e-05 | 1.76 | 1.0402 | 0.8131 | -0.71979
2010-19-0064.mrg | 2010-19-0064.sam | 83 | 12.059 | 12.0588 | 0.082926 | -0.0001564 | 6.31 | 2.3426 | 0.7765 | -3.9674
2010-19-0064.mrg | 2010-19-0064.sam | 82 | 1.521 | 1.5208 | 0.030155 | -0.0002439 | 10.37 | 4.7632 | 0.19541 | -5.6068
2010-19-0067.mrg | 2010-19-0067.sam | 116 | 20.977 | 20.9769 | 0.026114 | -9.346e-05 | 3.44 | 17.7155 | 4.2723 | 14.2755
2010-19-0067.mrg | 2010-19-0067.sam | 90 | 11.249 | 11.2489 | 0.023993 | -6.5804e-05 | 4.61 | 25.229 | 5.234 | 20.619
2010-19-0067.mrg | 2010-19-0067.sam | 121 | 2.686 | 2.686 | 0.02094 | 3.2902e-05 | 9.49 | 46.0508 | 3.5877 | 36.5608
2010-19-0069.mrg | 2010-19-0069.sam | 121 | 19.901 | 19.9005 | 0.032847 | -0.00047874 | 11.99 | 3.6517 | 0.0092041 | -8.3383
2010-19-0069.mrg | 2010-19-0069.sam | 121 | 9.741 | 9.741 | 0.028703 | -2.4796e-05 | 11.36 | 3.7298 | 0.0075142 | -7.6302
2010-19-0069.mrg | 2010-19-0069.sam | 62 | 1.812 | 1.8122 | 0.038675 | 0.00022578 | 11.96 | 3.766 | 0.012585 | -8.194
Create Fit Sheet