## File List
Number of Files= |  | 21
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 2010-20-0001.mrg | 2010-20-0001.sam | 12 | 12 | 2010-20-0001.mrg & 2010-20-0001.sam
2 | 2010-20-0003.mrg | 2010-20-0003.sam | 14 | 14 | 2010-20-0003.mrg & 2010-20-0003.sam
3 | 2010-20-0007.mrg | 2010-20-0007.sam | 16 | 16 | 2010-20-0007.mrg & 2010-20-0007.sam
4 | 2010-20-0010.mrg | 2010-20-0010.sam | 18 | 18 | 2010-20-0010.mrg & 2010-20-0010.sam
5 | 2010-20-0013.mrg | 2010-20-0013.sam | 20 | 20 | 2010-20-0013.mrg & 2010-20-0013.sam
6 | 2010-20-0016.mrg | 2010-20-0016.sam | 22 | 22 | 2010-20-0016.mrg & 2010-20-0016.sam
7 | 2010-20-0019.mrg | 2010-20-0019.sam | 24 | 24 | 2010-20-0019.mrg & 2010-20-0019.sam
8 | 2010-20-0023.mrg | 2010-20-0023.sam | 26 | 26 | 2010-20-0023.mrg & 2010-20-0023.sam
9 | 2010-20-0026.mrg | 2010-20-0026.sam | 28 | 28 | 2010-20-0026.mrg & 2010-20-0026.sam
10 | 2010-20-0031.mrg | 2010-20-0031.sam | 30 | 30 | 2010-20-0031.mrg & 2010-20-0031.sam
11 | 2010-20-0038.mrg | 2010-20-0038.sam | 32 | 32 | 2010-20-0038.mrg & 2010-20-0038.sam
12 | 2010-20-0042.mrg | 2010-20-0042.sam | 34 | 34 | 2010-20-0042.mrg & 2010-20-0042.sam
13 | 2010-20-0047.mrg | 2010-20-0047.sam | 36 | 36 | 2010-20-0047.mrg & 2010-20-0047.sam
14 | 2010-20-0050.mrg | 2010-20-0050.sam | 38 | 38 | 2010-20-0050.mrg & 2010-20-0050.sam
15 | 2010-20-0054.mrg | 2010-20-0054.sam | 40 | 40 | 2010-20-0054.mrg & 2010-20-0054.sam
16 | 2010-20-0057.mrg | 2010-20-0057.sam | 42 | 42 | 2010-20-0057.mrg & 2010-20-0057.sam
17 | 2010-20-0059.mrg | 2010-20-0059.sam | 44 | 44 | 2010-20-0059.mrg & 2010-20-0059.sam
18 | 2010-20-0062.mrg | 2010-20-0062.sam | 46 | 46 | 2010-20-0062.mrg & 2010-20-0062.sam
19 | 2010-20-0065.mrg | 2010-20-0065.sam | 48 | 48 | 2010-20-0065.mrg & 2010-20-0065.sam
20 | 2010-20-0070.mrg | 2010-20-0070.sam | 50 | 50 | 2010-20-0070.mrg & 2010-20-0070.sam
21 | 2010-20-0073.mrg | 2010-20-0073.sam | 52 | 52 | 2010-20-0073.mrg & 2010-20-0073.sam

## (Sal0 - Sal_Bot)
Calculation of Linear Least Squares Fit For
(Sal0 - Sal_Bot)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal0 - Sal_Bot), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.16366 |  | X | CALC Y
m= | 4.9584e-05 | 2.8022e-05 |  | Std Dev of Resid |  | 0.009594 |  | 76.0383 | -0.012079
b= | -0.015849 | 0.006256 |  | Resid Sum of Squares |  | 0.0014727 |  | 351.563 | 0.001583
# of Values Extracted = |  |  | 21
# of Values Used in Fit = |  |  | 18
File | Use | Pressure | Sal0 | Sal0 | Diff (Sal0 - Sal_Bot) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 76.0383 | 30.3104 | 0.00090152 | -0.022024 | -0.012079 | 0.0099455 |  | 76.0383 | -0.022024
2 | NO | 201.601 | 32.0495 | 0.000597 | -0.065288 | -0.0058527 | 0.059436 |  | 248.631 | -0.011352
3 | YES | 248.631 | 33.9199 | 0.00034682 | -0.011352 | -0.0035208 | 0.0078317 |  | 201.78 | -0.0086975 | -0.014025 | -0.010025
4 | YES | 201.78 | 33.9028 | 0.00025246 | -0.0086975 | -0.0058439 | 0.0028537 |  | 176.083 | -0.00037003
5 | YES | 176.083 | 33.8682 | 0.00028802 | -0.00037003 | -0.007118 | -0.006748 |  | 150.768 | -0.019714
6 | YES | 150.768 | 33.8354 | 0.00023183 | -0.019714 | -0.0083732 | 0.011341 |  | 101.758 | -0.014771
7 | NO | 101.022 | 33.5335 | 0.00029317 | -0.066826 | -0.01084 | 0.055986 |  | 101.974 | 0.013554
8 | YES | 101.758 | 32.6498 | 0.0048329 | -0.014771 | -0.010803 | 0.0039671 |  | 175.897 | 0.0025654
9 | YES | 101.974 | 31.9117 | 0.0076476 | 0.013554 | -0.010793 | -0.024346 |  | 301.469 | 0.0017624
10 | YES | 175.897 | 31.5771 | 0.00049256 | 0.0025654 | -0.0071272 | -0.0096926 |  | 351.563 | 0.0074978
11 | NO | 151.133 | 30.457 | 0.00027605 | -0.083631 | -0.0083551 | 0.075276 |  | 302.003 | -0.0059471
12 | YES | 301.469 | 30.9001 | 0.00039942 | 0.0017624 | -0.00090085 | -0.0026632 |  | 251.291 | 0.0099335
13 | YES | 351.563 | 30.9444 | 0.00021704 | 0.0074978 | 0.001583 | -0.0059148 |  | 301.087 | -0.0033588
14 | YES | 302.003 | 30.8342 | 0.00058672 | -0.0059471 | -0.00087438 | 0.0050727 |  | 175.945 | -0.012562
15 | YES | 251.291 | 30.901 | 0.0027788 | 0.0099335 | -0.0033889 | -0.013322 |  | 151.234 | -0.014147
16 | YES | 301.087 | 30.9068 | 0.00022164 | -0.0033588 | -0.00091979 | 0.002439 |  | 126.14 | -0.012451
17 | YES | 175.945 | 30.5759 | 0.00030875 | -0.012562 | -0.0071249 | 0.0054369 |  | 252.244 | 0.00086594
18 | YES | 151.234 | 30.4516 | 0.00027072 | -0.014147 | -0.0083501 | 0.0057967 |  | 300.899 | -0.010282 | -0.0038283 | 6.7305e-05
19 | YES | 126.14 | 30.1844 | 0.00077429 | -0.012451 | -0.0095944 | 0.0028568
20 | YES | 252.244 | 30.6127 | 0.00021791 | 0.00086594 | -0.0033416 | -0.0042076
21 | YES | 300.899 | 30.6689 | 0.00025154 | -0.010282 | -0.00092912 | 0.0093534
YES
NO
YES
YES
YES
YES
NO
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. Sal0
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (Sal1 - Sal_Bot)
Calculation of Linear Least Squares Fit For
(Sal1 - Sal_Bot)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal1 - Sal_Bot), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.18812 |  | X | CALC Y
m= | 5.0892e-05 | 2.7298e-05 |  | Std Dev of Resid |  | 0.0093026 |  | 76.0383 | -0.010506
b= | -0.014376 | 0.0061617 |  | Resid Sum of Squares |  | 0.0012981 |  | 351.563 | 0.0035161
# of Values Extracted = |  |  | 21
# of Values Used in Fit = |  |  | 17
File | Use | Pressure | Sal1 | Sal1 | Diff (Sal1 - Sal_Bot) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 76.0383 | 30.3164 | 0.00085996 | -0.015997 | -0.010506 | 0.0054911 |  | 76.0383 | -0.015997
2 | NO | 201.601 | 32.0579 | 0.00064412 | -0.056942 | -0.0041157 | 0.052826 |  | 248.631 | -0.0029182
3 | YES | 248.631 | 33.9284 | 0.00040975 | -0.0029182 | -0.0017223 | 0.001196 |  | 201.78 | 1.5259e-05
4 | YES | 201.78 | 33.9115 | 0.00027335 | 1.5259e-05 | -0.0041066 | -0.0041219 |  | 150.768 | -0.018196
5 | NO | 176.083 | 7.4459 | 5.9872e-05 | -26.4228 | -0.0054144 | 26.4174 |  | 101.758 | -0.015095
6 | YES | 150.768 | 33.8369 | 0.00021114 | -0.018196 | -0.0067027 | 0.011493 |  | 101.974 | 0.014475
7 | NO | 101.022 | 33.534 | 0.00030873 | -0.066269 | -0.0092344 | 0.057035 |  | 175.897 | 0.0035248
8 | YES | 101.758 | 32.6495 | 0.0063393 | -0.015095 | -0.0091969 | 0.0058979 |  | 301.469 | 0.0032158
9 | YES | 101.974 | 31.9126 | 0.0079528 | 0.014475 | -0.0091859 | -0.023661 |  | 351.563 | 0.0088406
10 | YES | 175.897 | 31.578 | 0.00071583 | 0.0035248 | -0.0054238 | -0.0089486 |  | 302.003 | -0.0047054
11 | NO | 151.133 | 30.4587 | 0.00028796 | -0.08194 | -0.0066841 | 0.075256 |  | 251.291 | 0.010712
12 | YES | 301.469 | 30.9015 | 0.00039903 | 0.0032158 | 0.00096674 | -0.002249 |  | 301.087 | -0.0021057
13 | YES | 351.563 | 30.9457 | 0.00029136 | 0.0088406 | 0.0035161 | -0.0053244 |  | 175.945 | -0.01128
14 | YES | 302.003 | 30.8354 | 0.00053485 | -0.0047054 | 0.00099392 | 0.0056993 |  | 151.234 | -0.01399
15 | YES | 251.291 | 30.9018 | 0.0022561 | 0.010712 | -0.0015869 | -0.012299 |  | 126.14 | -0.012114
16 | YES | 301.087 | 30.9081 | 0.00021213 | -0.0021057 | 0.0009473 | 0.003053 |  | 252.244 | 0.0019627
17 | YES | 175.945 | 30.5772 | 0.00056528 | -0.01128 | -0.0054214 | 0.0058587 |  | 300.899 | -0.0090084 | -0.0036861 | 0.00066758
18 | YES | 151.234 | 30.4517 | 0.000323 | -0.01399 | -0.006679 | 0.0073114
19 | YES | 126.14 | 30.1848 | 0.00087018 | -0.012114 | -0.0079561 | 0.0041575
20 | YES | 252.244 | 30.6138 | 0.00027957 | 0.0019627 | -0.0015384 | -0.0035011
21 | YES | 300.899 | 30.6702 | 0.00026661 | -0.0090084 | 0.00093774 | 0.0099461
YES
NO
YES
YES
NO
YES
NO
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. Sal1
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (Sal0 - Sal_Bot) (2)
Calculation of Linear Least Squares Fit For
(Sal0 - Sal_Bot)
3
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal0 - Sal_Bot), Prop=File Pair #
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.014602 |  | X | CALC Y
m= | -0.0002372 | 0.00054043 |  | Std Dev of Resid |  | 0.010307 |  | 5 | -0.0018042
b= | -0.00061824 | 0.0077829 |  | Resid Sum of Squares |  | 0.001381 |  | 21 | -0.0055994
# of Values Extracted = |  |  | 21
# of Values Used in Fit = |  |  | 15
File | Use | Pressure | Sal0 | Sal0 | Diff (Sal0 - Sal_Bot) |  |  |  | Fit vs. | File Pair #
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 76.0383 | 30.3104 | 0.00090152 | -0.022024 | -0.00085544 | 0.021169 |  | 5 | -0.00037003
2 | NO | 201.601 | 32.0495 | 0.000597 | -0.065288 | -0.0010926 | 0.064196 |  | 6 | -0.019714
3 | NO | 248.631 | 33.9199 | 0.00034682 | -0.011352 | -0.0013298 | 0.010023 |  | 8 | -0.014771
4 | NO | 201.78 | 33.9028 | 0.00025246 | -0.0086975 | -0.001567 | 0.0071305 |  | 9 | 0.013554
5 | YES | 176.083 | 33.8682 | 0.00028802 | -0.00037003 | -0.0018042 | -0.0014342 |  | 10 | 0.0025654
6 | YES | 150.768 | 33.8354 | 0.00023183 | -0.019714 | -0.0020414 | 0.017673 |  | 12 | 0.0017624
7 | NO | 101.022 | 33.5335 | 0.00029317 | -0.066826 | -0.0022786 | 0.064547 |  | 13 | 0.0074978
8 | YES | 101.758 | 32.6498 | 0.0048329 | -0.014771 | -0.0025158 | 0.012255 |  | 14 | -0.0059471
9 | YES | 101.974 | 31.9117 | 0.0076476 | 0.013554 | -0.002753 | -0.016307 |  | 15 | 0.0099335
10 | YES | 175.897 | 31.5771 | 0.00049256 | 0.0025654 | -0.0029902 | -0.0055556 |  | 16 | -0.0033588
11 | NO | 151.133 | 30.457 | 0.00027605 | -0.083631 | -0.0032274 | 0.080404 |  | 17 | -0.012562
12 | YES | 301.469 | 30.9001 | 0.00039942 | 0.0017624 | -0.0034646 | -0.005227 |  | 18 | -0.014147
13 | YES | 351.563 | 30.9444 | 0.00021704 | 0.0074978 | -0.0037018 | -0.0112 |  | 19 | -0.012451
14 | YES | 302.003 | 30.8342 | 0.00058672 | -0.0059471 | -0.003939 | 0.0020081 |  | 20 | 0.00086594
15 | YES | 251.291 | 30.901 | 0.0027788 | 0.0099335 | -0.0041762 | -0.01411 |  | 21 | -0.010282
16 | YES | 301.087 | 30.9068 | 0.00022164 | -0.0033588 | -0.0044134 | -0.0010546
17 | YES | 175.945 | 30.5759 | 0.00030875 | -0.012562 | -0.0046506 | 0.0079112
18 | YES | 151.234 | 30.4516 | 0.00027072 | -0.014147 | -0.0048878 | 0.009259
19 | YES | 126.14 | 30.1844 | 0.00077429 | -0.012451 | -0.005125 | 0.0073262
20 | YES | 252.244 | 30.6127 | 0.00021791 | 0.00086594 | -0.0053622 | -0.0062281
21 | YES | 300.899 | 30.6689 | 0.00025154 | -0.010282 | -0.0055994 | 0.0046831
NO
NO
NO
NO
YES
YES
NO
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. Sal0
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (Sal1 - Sal_Bot) (2)
Calculation of Linear Least Squares Fit For
(Sal1 - Sal_Bot)
3
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal1 - Sal_Bot), Prop=File Pair #
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.0038032 |  | X | CALC Y
m= | 9.9374e-05 | 0.00041526 |  | Std Dev of Resid |  | 0.010305 |  | 1 | -0.0047909
b= | -0.0048903 | 0.0056185 |  | Resid Sum of Squares |  | 0.0015928 |  | 21 | -0.0028034
# of Values Extracted = |  |  | 21
# of Values Used in Fit = |  |  | 17
File | Use | Pressure | Sal1 | Sal1 | Diff (Sal1 - Sal_Bot) |  |  |  | Fit vs. | File Pair #
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 76.0383 | 30.3164 | 0.00085996 | -0.015997 | -0.0047909 | 0.011206 |  | 1 | -0.015997
2 | NO | 201.601 | 32.0579 | 0.00064412 | -0.056942 | -0.0046916 | 0.05225 |  | 3 | -0.0029182
3 | YES | 248.631 | 33.9284 | 0.00040975 | -0.0029182 | -0.0045922 | -0.0016739 |  | 4 | 1.5259e-05
4 | YES | 201.78 | 33.9115 | 0.00027335 | 1.5259e-05 | -0.0044928 | -0.0045081 |  | 6 | -0.018196
5 | NO | 176.083 | 7.4459 | 5.9872e-05 | -26.4228 | -0.0043934 | 26.4184 |  | 8 | -0.015095
6 | YES | 150.768 | 33.8369 | 0.00021114 | -0.018196 | -0.0042941 | 0.013902 |  | 9 | 0.014475
7 | NO | 101.022 | 33.534 | 0.00030873 | -0.066269 | -0.0041947 | 0.062074 |  | 10 | 0.0035248
8 | YES | 101.758 | 32.6495 | 0.0063393 | -0.015095 | -0.0040953 | 0.010999 |  | 12 | 0.0032158
9 | YES | 101.974 | 31.9126 | 0.0079528 | 0.014475 | -0.0039959 | -0.018471 |  | 13 | 0.0088406
10 | YES | 175.897 | 31.578 | 0.00071583 | 0.0035248 | -0.0038966 | -0.0074213 |  | 14 | -0.0047054
11 | NO | 151.133 | 30.4587 | 0.00028796 | -0.08194 | -0.0037972 | 0.078143 |  | 15 | 0.010712
12 | YES | 301.469 | 30.9015 | 0.00039903 | 0.0032158 | -0.0036978 | -0.0069136 |  | 16 | -0.0021057
13 | YES | 351.563 | 30.9457 | 0.00029136 | 0.0088406 | -0.0035984 | -0.012439 |  | 17 | -0.01128
14 | YES | 302.003 | 30.8354 | 0.00053485 | -0.0047054 | -0.0034991 | 0.0012064 |  | 18 | -0.01399
15 | YES | 251.291 | 30.9018 | 0.0022561 | 0.010712 | -0.0033997 | -0.014111 |  | 19 | -0.012114
16 | YES | 301.087 | 30.9081 | 0.00021213 | -0.0021057 | -0.0033003 | -0.0011946 |  | 20 | 0.0019627
17 | YES | 175.945 | 30.5772 | 0.00056528 | -0.01128 | -0.0032009 | 0.0080792 |  | 21 | -0.0090084
18 | YES | 151.234 | 30.4517 | 0.000323 | -0.01399 | -0.0031016 | 0.010889
19 | YES | 126.14 | 30.1848 | 0.00087018 | -0.012114 | -0.0030022 | 0.0091114
20 | YES | 252.244 | 30.6138 | 0.00027957 | 0.0019627 | -0.0029028 | -0.0048655
21 | YES | 300.899 | 30.6702 | 0.00026661 | -0.0090084 | -0.0028034 | 0.006205
YES
NO
YES
YES
NO
YES
NO
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. Sal1
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (Sal0 - Sal_Bot) (3)
Calculation of Linear Least Squares Fit For
(Sal0 - Sal_Bot)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal0 - Sal_Bot), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.10125 |  | X | CALC Y
m= | 5.5348e-05 | 6.2326e-05 |  | Std Dev of Resid |  | 0.0077934 |  | 201.78 | -0.0064492
b= | -0.017617 | 0.017582 |  | Resid Sum of Squares |  | 0.00042516 |  | 351.563 | 0.001841
# of Values Extracted = |  |  | 21
# of Values Used in Fit = |  |  | 9
File | Use | Pressure | Sal0 | Sal0 | Diff (Sal0 - Sal_Bot) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 76.0383 | 30.3104 | 0.00090152 | -0.022024 | -0.013409 | 0.0086155 |  | 248.631 | -0.011352
2 | NO | 201.601 | 32.0495 | 0.000597 | -0.065288 | -0.0064591 | 0.058829 |  | 201.78 | -0.0086975
3 | YES | 248.631 | 33.9199 | 0.00034682 | -0.011352 | -0.0038561 | 0.0074964 |  | 301.469 | 0.0017624
4 | YES | 201.78 | 33.9028 | 0.00025246 | -0.0086975 | -0.0064492 | 0.0022483 |  | 351.563 | 0.0074978
5 | NO | 176.083 | 33.8682 | 0.00028802 | -0.00037003 | -0.0078714 | -0.0075014 |  | 302.003 | -0.0059471
6 | NO | 150.768 | 33.8354 | 0.00023183 | -0.019714 | -0.0092726 | 0.010442 |  | 251.291 | 0.0099335
7 | NO | 101.022 | 33.5335 | 0.00029317 | -0.066826 | -0.012026 | 0.0548 |  | 301.087 | -0.0033588
8 | NO | 101.758 | 32.6498 | 0.0048329 | -0.014771 | -0.011985 | 0.0027854 |  | 252.244 | 0.00086594
9 | NO | 101.974 | 31.9117 | 0.0076476 | 0.013554 | -0.011973 | -0.025527 |  | 300.899 | -0.010282
10 | NO | 175.897 | 31.5771 | 0.00049256 | 0.0025654 | -0.0078817 | -0.010447
11 | NO | 151.133 | 30.457 | 0.00027605 | -0.083631 | -0.0092524 | 0.074379
12 | YES | 301.469 | 30.9001 | 0.00039942 | 0.0017624 | -0.00093162 | -0.002694
13 | YES | 351.563 | 30.9444 | 0.00021704 | 0.0074978 | 0.001841 | -0.0056568
14 | YES | 302.003 | 30.8342 | 0.00058672 | -0.0059471 | -0.00090207 | 0.005045 |  |  |  | -0.0021754
15 | YES | 251.291 | 30.901 | 0.0027788 | 0.0099335 | -0.0037089 | -0.013642
16 | YES | 301.087 | 30.9068 | 0.00022164 | -0.0033588 | -0.00095277 | 0.0024061
17 | NO | 175.945 | 30.5759 | 0.00030875 | -0.012562 | -0.0078791 | 0.0046827
18 | NO | 151.234 | 30.4516 | 0.00027072 | -0.014147 | -0.0092468 | 0.0049
19 | NO | 126.14 | 30.1844 | 0.00077429 | -0.012451 | -0.010636 | 0.0018155
20 | YES | 252.244 | 30.6127 | 0.00021791 | 0.00086594 | -0.0036561 | -0.004522
21 | YES | 300.899 | 30.6689 | 0.00025154 | -0.010282 | -0.00096317 | 0.0093193
NO
NO
YES
YES
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
NO
NO
NO
YES
YES
FIT vs. Pressure
FIT vs. Sal0
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (Sal1 - Sal_Bot) (3)
Calculation of Linear Least Squares Fit For
(Sal1 - Sal_Bot)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal1 - Sal_Bot), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.0019979 |  | X | CALC Y
m= | 6.3876e-06 | 5.396e-05 |  | Std Dev of Resid |  | 0.0067473 |  | 201.78 | 0.00017435
b= | -0.0011145 | 0.015222 |  | Resid Sum of Squares |  | 0.00031868 |  | 351.563 | 0.0011311
# of Values Extracted = |  |  | 21
# of Values Used in Fit = |  |  | 9
File | Use | Pressure | Sal1 | Sal1 | Diff (Sal1 - Sal_Bot) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 76.0383 | 30.3164 | 0.00085996 | -0.015997 | -0.00062884 | 0.015368 |  | 248.631 | -0.0029182
2 | NO | 201.601 | 32.0579 | 0.00064412 | -0.056942 | 0.0001732 | 0.057115 |  | 201.78 | 1.5259e-05
3 | YES | 248.631 | 33.9284 | 0.00040975 | -0.0029182 | 0.00047361 | 0.0033919 |  | 301.469 | 0.0032158
4 | YES | 201.78 | 33.9115 | 0.00027335 | 1.5259e-05 | 0.00017435 | 0.00015909 |  | 351.563 | 0.0088406
5 | NO | 176.083 | 7.4459 | 5.9872e-05 | -26.4228 | 1.0205e-05 | 26.4228 |  | 302.003 | -0.0047054
6 | NO | 150.768 | 33.8369 | 0.00021114 | -0.018196 | -0.0001515 | 0.018045 |  | 251.291 | 0.010712
7 | NO | 101.022 | 33.534 | 0.00030873 | -0.066269 | -0.00046926 | 0.0658 |  | 301.087 | -0.0021057
8 | NO | 101.758 | 32.6495 | 0.0063393 | -0.015095 | -0.00046455 | 0.01463 |  | 252.244 | 0.0019627
9 | NO | 101.974 | 31.9126 | 0.0079528 | 0.014475 | -0.00046317 | -0.014938 |  | 300.899 | -0.0090084 | 0.00066758
10 | NO | 175.897 | 31.578 | 0.00071583 | 0.0035248 | 9.0172e-06 | -0.0035158
11 | NO | 151.133 | 30.4587 | 0.00028796 | -0.08194 | -0.00014917 | 0.081791
12 | YES | 301.469 | 30.9015 | 0.00039903 | 0.0032158 | 0.00081112 | -0.0024047
13 | YES | 351.563 | 30.9457 | 0.00029136 | 0.0088406 | 0.0011311 | -0.0077095
14 | YES | 302.003 | 30.8354 | 0.00053485 | -0.0047054 | 0.00081453 | 0.00552
15 | YES | 251.291 | 30.9018 | 0.0022561 | 0.010712 | 0.0004906 | -0.010221
16 | YES | 301.087 | 30.9081 | 0.00021213 | -0.0021057 | 0.00080868 | 0.0029144
17 | NO | 175.945 | 30.5772 | 0.00056528 | -0.01128 | 9.3238e-06 | 0.011289
18 | NO | 151.234 | 30.4517 | 0.000323 | -0.01399 | -0.00014852 | 0.013842
19 | NO | 126.14 | 30.1848 | 0.00087018 | -0.012114 | -0.00030881 | 0.011805
20 | YES | 252.244 | 30.6138 | 0.00027957 | 0.0019627 | 0.00049669 | -0.001466
21 | YES | 300.899 | 30.6702 | 0.00026661 | -0.0090084 | 0.00080748 | 0.0098159
NO
NO
YES
YES
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
NO
NO
NO
YES
YES
FIT vs. Pressure
FIT vs. Sal1
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Main
# Channels= | 3 |  |  |  | COMPARE Version 3.3 | Run at 2011/04/23 17:17:51
| Primary | Secondary |  | Comparison Name
Ref | Pressure | Pressure |  | Pressure - Pressure
Comp 1 | Sal_Bot | Sal0 |  | Sal0 - Sal_Bot
Comp 2 | Sal_Bot | Sal1 |  | Sal1 - Sal_Bot
Average Size: | 1
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | Pressure | Pressure | Pressure | (S-P) | Sal_Bot | Sal0 | Sal0 | (S-P) | Sal_Bot | Sal1 | Sal1 | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
2010-20-0001.mrg | 2010-20-0001.sam | 241 | 76.038 | 76.0383 | 0.032905 | 0.00030518 | 30.3324 | 30.3104 | 0.00090152 | -0.022024 | 30.3324 | 30.3164 | 0.00085996 | -0.015997
2010-20-0003.mrg | 2010-20-0003.sam | 241 | 201.601 | 201.601 | 0.034264 | 0.00022888 | 32.1148 | 32.0495 | 0.000597 | -0.065288 | 32.1148 | 32.0579 | 0.00064412 | -0.056942
2010-20-0007.mrg | 2010-20-0007.sam | 378 | 248.441 | 248.631 | 0.3419 | 0.18984 | 33.9313 | 33.9199 | 0.00034682 | -0.011352 | 33.9313 | 33.9284 | 0.00040975 | -0.0029182
2010-20-0010.mrg | 2010-20-0010.sam | 241 | 201.78 | 201.78 | 0.53323 | 0.00013733 | 33.9115 | 33.9028 | 0.00025246 | -0.0086975 | 33.9115 | 33.9115 | 0.00027335 | 1.5259e-05
2010-20-0013.mrg | 2010-20-0013.sam | 241 | 176.083 | 176.083 | 0.20228 | 0.00027466 | 33.8686 | 33.8682 | 0.00028802 | -0.00037003 | 33.8686 | 7.4459 | 5.9872e-05 | -26.4228
2010-20-0016.mrg | 2010-20-0016.sam | 241 | 150.768 | 150.768 | 0.1325 | 0.00047302 | 33.8551 | 33.8354 | 0.00023183 | -0.019714 | 33.8551 | 33.8369 | 0.00021114 | -0.018196
2010-20-0019.mrg | 2010-20-0019.sam | 241 | 101.022 | 101.022 | 0.047818 | 9.1553e-05 | 33.6003 | 33.5335 | 0.00029317 | -0.066826 | 33.6003 | 33.534 | 0.00030873 | -0.066269
2010-20-0023.mrg | 2010-20-0023.sam | 241 | 101.758 | 101.758 | 0.11972 | -0.00016022 | 32.6646 | 32.6498 | 0.0048329 | -0.014771 | 32.6646 | 32.6495 | 0.0063393 | -0.015095
2010-20-0026.mrg | 2010-20-0026.sam | 241 | 101.974 | 101.974 | 0.041679 | 0.00036621 | 31.8981 | 31.9117 | 0.0076476 | 0.013554 | 31.8981 | 31.9126 | 0.0079528 | 0.014475
2010-20-0031.mrg | 2010-20-0031.sam | 241 | 175.897 | 175.897 | 0.035237 | -0.00022888 | 31.5745 | 31.5771 | 0.00049256 | 0.0025654 | 31.5745 | 31.578 | 0.00071583 | 0.0035248
2010-20-0038.mrg | 2010-20-0038.sam | 241 | 151.133 | 151.133 | 0.032521 | 0.00027466 | 30.5406 | 30.457 | 0.00027605 | -0.083631 | 30.5406 | 30.4587 | 0.00028796 | -0.08194
2010-20-0042.mrg | 2010-20-0042.sam | 241 | 301.469 | 301.469 | 0.039131 | 0.00030518 | 30.8983 | 30.9001 | 0.00039942 | 0.0017624 | 30.8983 | 30.9015 | 0.00039903 | 0.0032158
2010-20-0047.mrg | 2010-20-0047.sam | 241 | 351.563 | 351.563 | 0.027711 | -0.00024414 | 30.9369 | 30.9444 | 0.00021704 | 0.0074978 | 30.9369 | 30.9457 | 0.00029136 | 0.0088406
2010-20-0050.mrg | 2010-20-0050.sam | 241 | 302.003 | 302.003 | 0.053739 | -0.00030518 | 30.8401 | 30.8342 | 0.00058672 | -0.0059471 | 30.8401 | 30.8354 | 0.00053485 | -0.0047054
2010-20-0054.mrg | 2010-20-0054.sam | 241 | 251.291 | 251.291 | 0.074818 | -0.00048828 | 30.8911 | 30.901 | 0.0027788 | 0.0099335 | 30.8911 | 30.9018 | 0.0022561 | 0.010712
2010-20-0057.mrg | 2010-20-0057.sam | 241 | 301.087 | 301.087 | 0.034025 | -0.00027466 | 30.9102 | 30.9068 | 0.00022164 | -0.0033588 | 30.9102 | 30.9081 | 0.00021213 | -0.0021057
2010-20-0059.mrg | 2010-20-0059.sam | 241 | 175.945 | 175.945 | 0.037842 | -0.00035095 | 30.5885 | 30.5759 | 0.00030875 | -0.012562 | 30.5885 | 30.5772 | 0.00056528 | -0.01128
2010-20-0062.mrg | 2010-20-0062.sam | 241 | 151.234 | 151.234 | 0.032375 | 0.00010681 | 30.4657 | 30.4516 | 0.00027072 | -0.014147 | 30.4657 | 30.4517 | 0.000323 | -0.01399
2010-20-0065.mrg | 2010-20-0065.sam | 225 | 126.055 | 126.14 | 0.27215 | 0.085091 | 30.1969 | 30.1844 | 0.00077429 | -0.012451 | 30.1969 | 30.1848 | 0.00087018 | -0.012114
2010-20-0070.mrg | 2010-20-0070.sam | 241 | 252.244 | 252.244 | 0.05331 | 0.00021362 | 30.6118 | 30.6127 | 0.00021791 | 0.00086594 | 30.6118 | 30.6138 | 0.00027957 | 0.0019627
2010-20-0073.mrg | 2010-20-0073.sam | 241 | 300.899 | 300.899 | 0.035262 | -0.00021362 | 30.6792 | 30.6689 | 0.00025154 | -0.010282 | 30.6792 | 30.6702 | 0.00026661 | -0.0090084
Create Fit Sheet