## REVISION NOTICE TABLE

| ### DATE | ### DESCRIPTION OF REVISION |
| --- | --- |
| ### 24 Nov 2021 | ### Correcting Salinity:Bottle precision lost during HPLC addition. S.H. |
| 14 Dec 2020 | Added HPLC Data. S.H. |

## PROCESSING NOTES

Cruise: 2010-21

Agency: OSD

Location: Strait of Georgia / Juan de Fuca Strait

Project: SoG/JdeF

Party Chief: Chandler P.

Platform: Vector

Date: 29 Sept. 2010 – 3 October 2010

Processed by: Germaine Gatien

Date of Processing: 25 January 2011 – 7 July 2011

Number of original CTD casts:  84 (77 stns +7 from splits)	Number of CTD casts processed: 76**

Number of bottle casts:	24 (21 stns +3 from splits)		Number of bottle casts processed: 21

** 1 file was prepared for the use of UV Experiment researchers, but was not suitable for the archive.

# INSTRUMENT SUMMARY

A SeaBird Model SBE 911+ CTD (#0550) was mounted in a rosette and attached were a Wetlabs CSTAR transmissometer (#498DR), an SBE 43 DO sensor (#1119), a Seapoint Fluorometer (serial number unknown) with a 10X cable, a Biospherical QSP-400 PAR sensor (#4656), a QSR-2240 Reference PAR sensor (#16504) and an altimeter (#1024).

# SUMMARY OF QUALITY AND CONCERNS

The Daily Science Log was missing an equipment list. A configuration file is not sufficient as it can contain errors. It is vital to have a visual check of sensor serial numbers. As well as obvious risks to data quality, there are often sensors included in the configuration files that were not actually mounted. Without a list, time is wasted trying to establish whether the data logged are “real” or “phantom”. All sections of both sides of the first page in the log should be completed. I recommend that if a section is not relevant, enter “N/A” or draw a line through it.

The Daily Science Log Book contained clear notes about the many problems encountered during the cruise including pressure spikes, computer crashes and reboots. These were very helpful in piecing together the split casts. The approach of deliberately stopping acquisition whenever spikes began was successful in minimizing the loss of data.

Salinity sampling was done using Niskin #2. In general, this is a good plan for the SoG program, but not when 2 bottles are fired at the bottom as happened once. In that case using Niskin #3 is better in order to avoid potential problems for calibration from poor flushing of the Niskin bottle or turbid waters affecting the sample analysis or bottom currents causing large fluctuations in the CTD data.

Cast #42 was very shallow with a very low descent rate and the data are not suitable for archiving. However, the data were collected as part of a UV experiment, so a special file (2010-21-0049.UV) was prepared for the use of the researcher and includes all the data logged. Temperature, salinity and dissolved oxygen in that file are considered of lower quality than usual. The pumps were not turned on for the beginning and end of the file.

There were many spikes in data in the CTD files that were not removed by WILDEDIT. Text editing was used to fix some problems and graphical editing removed more.

Fluorescence, PAR, Reference PAR and Transmissivity data are nominal and unedited, except that some records were removed in editing temperature and salinity.

The SBE dissolved oxygen data in the CTD files are considered, roughly:

•	±0.5  ml/l from  0 to 25db

•	±0.2  ml/l from 25 to 75db

•	±0.1  ml/l from 75 to 150db

•	±0.03  ml/l below 150db

# PROCESSING SUMMARY

##### Seasave

This step was completed at sea; the raw data files have extension HEX.

##### Preliminary Steps

The Log Book and rosette log sheets were obtained. There was no list of equipment in the log book. This is a serious problem as it indicates there was no visual check of what sensors were mounted on the CTD. The configuration file is thus the only source for this information and can be in error. We had a recent case where this was the case and data were processed based on the wrong information. Even if the same equipment was used on the previous cruise, visual checks are vital.

There were obviously many problems during the cruise including severe spiking that led to either a computer crash or a decision to start over, so there will be many cases where casts will have to be combined to create full cast files. There was no record of sample numbers in the latter half of the log book. The information is available on the rosette log sheets, but the duplication is often helpful in catching errors.

Extracted chlorophyll, dissolved oxygen, nutrients and salinity data were obtained in spreadsheet format.

The cruise summary sheet was completed.

The histories of the conductivity, DO and pressure sensors were obtained.

There was a note in the log that some science crew felt the ROS entry should not be used if no bottles were fired. It should be noted that the presence of the rosette affects how the CTD performs and it is relevant to know that it was mounted in a rosette.

Only one configuration was used during the cruise and that was saved as 2010-21-ctd.con.

A few changes were made to the configuration file used at sea

- The most recent pressure offset had not been entered, so that was changed from 0.1 to 0.8db.

- The transmissivity parameters used were from 2006. There is a post-cruise calibration from November 2010. This looks like a better choice for Sept. 2010.

- The dissolved oxygen sensor entries were for the Owens-Millard algorithm. We should be using the SeaBird algorithm, so those were entered.

##### Conversion of Raw Data

Rosette files were converted using a start time of -5s and duration of 10s and the three configuration files listed in the previous section. The Tau correction was chosen, but not the hysteresis correction for DO calculation. There were many ROS files without any data. Those were deleted.

The ROS files were converted to IOS HEADER format. Conversion failed for cast #9. The file is full of pressure spikes, but so are the CNV files and those could be converted. No error could be found in headers. Attempts were made to save the data using the following steps:
1. Running FIXDAT on the HEX file had no effect.

2. Examination of the HEX files shows no line-length irregularities, though the bad records stand out as having a different pattern near the beginning.

3. Editing the ROS file to put pad values in where there were spikes in pressure did not help.

4. Rerunning conversion without descent rate since pressure was bad did not help.

5. The SeaSoft Bottle Summary routine was run to see if the average would be usable in SAMAVG files, but the pressure spikes are included in the averages, so that is no use.

6. Removing the bottle data that were corrupted by pressure spikes (75, 100 and 125db) enabled conversion, but leaves nothing to use for the SAMAVG files.

7. Since it would be better to have some data from those bottles, a text editor was used to replace bad pressure values with pad values. When that did not work, obvious outliers in dissolved oxygen were also replaced with pad values. (Bad values in salinity and temperature were all in the same records as the bad pressure values, but oxygen gets “spread” a bit.) The file could then be converted to IOS headers without problem. Some smaller spikes remain, so further editing will be needed.

CLEAN was then run to add event numbers to the headers and those files were named *.BOT.

Header Check was run to see if there were any off-scale fluorescence values and there were none.

All BOT files were plotted to check for outliers. The only ones found were for cast #9, which is not unexpected given the pressure spiking. CTDEDIT was used to remove bad primary and secondary temperature and salinity values.

CNV files were converted using the Tau correction, but not the hysteresis correction.

After conversion the split files were examined.

Those that need to be combined to achieve a full upcast for bottles are: 3/4, 37/38 and 77/78.

Those that need to be combined to achieve a full downcast are: 5/6 and 69/70.

There may be a few others that crashed right at the bottom that need some work: 14, 37.

A few CNV casts were examined and all expected channels are present.

- There are spikes in pressure for some casts.

- The two temperature and salinity channels are mostly in reasonable agreement on the downcasts though there are some excursions. The upcast data are much noisier with some casts especially so. The secondary channels look noisier on the downcast but both seem noisy on the upcast. Similar problems have been noted with this equipment on other cruises.

- Dissolved oxygen voltage looks as usual with an offset but some detail to help alignment.

- The descent rate is very noisy near the mouth of Juan de Fuca Strait but reasonably steady elsewhere.

- Fluorescence, PAR, PAR:Reference and transmissivity look ok.

- The altimetry looks fine near the bottom but there are many spikes above that..

##### WILDEDIT

A study was done of WILDEDIT parameters because for 6 casts many spikes were not removed from the secondary temperature channel. One unanticipated observation was that the parameters usually applied to 911+ data removed some primary temperature data that looked fine. At the same time many obviously bad values were not removed from the secondary temperature. The latter is presumably because there were so many of the spikes that the standard deviations were very large in the secondary channel. Increasing the number of standard deviations in Pass 2 from 5 to 10 stopped the problem with removal of good primary temperature data. We could do a second run applied only to the secondary temperature, but no settings were found that reduced the spikes without removing a significant amount of good data. Neither varying the points per block nor the number of standard deviations allowed produced satisfactory results. WILDEDIT cannot fix this problem and this is likely because the spikes are too close together.

A few more checks were made and it was found that using 50 points per block led to some good pressure data being removed, so that setting was reduced to 30 and that worked well. Generally this setting is the number of records in 2m, which at an average descent rate of ~0.7m/s would be about 32.

Program WILDEDIT was run to remove spikes from the pressure, conductivity and temperature channels only.  Parameters used were: 	Pass 1    Std Dev = 2

Pass 2    Std Dev = 10

Points per block = 30

Spikes remain in some casts and reasonable plots could not be produced. This sort of problem has occurred on many recent cruises and it has proved necessary to do some early editing to replace bad values with pad values to enable conversion to IOS Headers. For some casts this only requires removal of data from the end of the casts because the spiking occurred during the upcast. Where the spikes were during the downcast or at the bottom, records at the end of the file are usually removed because they are so full of spikes and there are few records worth saving. But there are usually also spikes before the major trouble, and those need to be replaced with pad values in order to save the good data. So the files are opened in Ultraedit since the column feature can be used to edit large sections of bad values for a particular variable – descent rate is the worst, and oxygen voltage is also affected. Descent rate could be removed if it is too noisy, but if it can be edited it is useful later. There appears to be a lot of noise in the secondary conductivity in some sections. While the noise is likely too small to prevent conversion, it will lead to spiky salinity. If it is just in the secondary this is not a great problem since that channel is unlikely to be archived, but the primary may need extensive editing later. Dissolved oxygen is another channel that tends to be affected by the spiking problem, so that will probably require more editing later.

The following files were examined either because of reports of spikes, or problems converting:

Cast #3 – part of split - just removed bad data at end of file – part of upcast

Cast #5 - part of a split, but looks fine

Cast #9 – as for 3

Cast 14 – a group of records were removed from the bottom and spikes above the bottom were replaced with pad values.

Cast #37 – replaced spikes with pad values in pressure, DO, descent rate; bad bottom records removed.

Cast #56 – part of split - just removed bad data at end of file – part of upcast

Cast #63 – not a split cast, but upcast bad, so most upcast data removed.

Cast #69 - part of a split, but looks fine

Cast #77 - split cast, some bad upcast data removed

Cast #81 – not a split cast, but near-surface upcast bad, so those data were removed.

##### CELLTM

Tests were run on 4 casts using a variety of settings for CELLTM. The differences among the various choices were very slight and varied from feature to feature and cast to cast, but the choice of (α = 0.0245, β=9.5) seemed best overall for both sensors. CELLTM was run applying those settings to all casts.

##### DERIVE

Program DERIVE was run twice:

on all casts to calculate primary and secondary salinity and dissolved oxygen concentration. The Tau correction was chosen for the DO derivation.

on a few casts to calculate the differences between primary and secondary channels for temperature, conductivity and salinity. These were placed in a test directory and will not be archived.

Cast #37 was edited furhter because there are large sections of bad dissolved oxygen data.

##### Test Plots and Channel Check

A sample of casts using was plotted to check for agreement between the pairs of T and C sensors. The differences are extremely noisy despite steady descent rates, so these are very rough averages. A few comparisons from 2010-19 are included to investigate time dependence.

| Cast # (CTD#) | Press | T1-T0 | C1-C0 | S1-S0 | Descent Rate |
| --- | --- | --- | --- | --- | --- |
| 2010-19-0002 | 300 | +0.0015 | +0.0002 | -0.003 | Mod., steady |
| 2010-19-0051 | 300 | +0.0015 | +0.0003 | -0.0032 | High, steady |
| 2010-19-0064 | 300 | +0.0008 | +0.00025 | -0.003 | High, steady |
| 2010-21-0002 | 200 300 | +0.002 +0.002 | ~0 but v. noisy | -0.0018 -0.002 | Moderate,steady |
| 2010-21-0048 | 200 300 | +0.002 +0.0021 | +0.00003 +0.00003 | -0.0012 -0.0015 | High, very steady |
| 2010-21-0067 | 200 300 | +0.0019 +0.002 | ~0 but v. noisy | -0.0016 -0.0018 | High, steady |

The salinity differences are slightly lower than during 2010-19. The temperature differences are unusually large and a little higher than for 2010-19. The conductivity differences are very low, so the salinity difference is largely due to the temperature difference. During 2010-19 it was found that the temperature differences were due to slight misalignments in the two channels, with the problem being most notable in higher gradients; the cause is unknown.

##### Conversion to IOS Headers

The IOSSHELL routine was used to convert SEA-Bird 911+ CNV files to IOS Headers.

When conversion still failed on file #37, the descent rate channel was removed using STRIP and then conversion worked.

CLEAN was run to add event numbers and to replace pad values in the Pressure channel using linear interpolation based on scan number; it was also used to reset the header limits.

##### Checking Headers

The header check turned up some unreasonable values that will need to be addressed with an editor later.

The SBE:Fluorescence trace went close to off-scale for event #1 around 5db during the downcast. Most of the values in that section are lower than the maximum but it does look suspicious. However, the CTD was moving slowly, so after file #1 has been through DELETE this should be checked again to see if some values should be replaced with pad values. Head check was run again excluding cast #1 to ensure there are no other off-scale cases, and there were none.

The cross-reference check was compared with the log book, and no errors were found.

The cruise track was plotted and added to the end of this report. No problems were found.

The surface values program shows the average surface pressure to be 1.3db. The primary conductivity at 0.6db looks definitely “in water”. The secondary conductivity looks much lower as though it might be right at the surface, but the pumps had not been turned on yet.

The altimeter readings and water depths were exported from the headers to a spreadsheet. Plots were made of a selection of casts including those that with crashes and reboots, and the header entries all look to be correct.

##### BOTTLE FILE PREPARATION

The BOT files were averaged to enable an addsamp file to be created. This file was edited to add sample numbers taken from the rosette sheets. For the 3 casts with split upcasts (3/4, 37/38 and 77/78), the first few bottles fired in the 2nd of each pair are dummy firings of an equal number as the firings in the first of the pair. Those dummy firings were removed from the ADDSAMP file so pad numbers will be inserted in the sample number channel for those firings.

The ADDSAMP file was used to create SAM files. Then a text editor was used to remove the bottles with the pad values for sample numbers for SAM files for events 4, 38 and 78; the output was saved as SAM2. CLEAN was then run to fix the headers of the SAM2 files with output files named *.SAM4. Then the 1st of each pair had the extension changed to SAM3 and the 2nd of each pair was renamed to match the first file. Then JOIN was used to create a single file for the pair, with extension SAM.

The ADDSAMP file was then adjusted to have the same event number for both parts of the split casts; it  was then converted to CST files which will form the building blocks for the chemistry files.

SALINITY

The salinity data were delivered in spreadsheet 2010-21.xls which was renamed as 2010-21-sal.xls; there were no duplicates. The spreadsheet was simplified (unneeded columns removed, separate columns were created to replace the one with sample #s and station names combined, event #s were added and headers changed to standard format) and saved as 2010-21-sal.csv which was then converted to individual SAL files.

DISSOLVED OXGYEN

The dissolved oxygen data was provided in spreadsheet 2010-21oxy.xlsx with quality flags and comments. There was an analysis of duplicates and one value was rejected based on Chauvenet’s criterion. The spreadsheet was simplified and saved as 2010-21oxy.csv which was converted into individual ADD files.

NUTRIENTS

The nutrient data were obtained in spreadsheet QF2010-21nuts.xls which included a report on precision. The spreadsheet was simplified, reordered on sample number and saved as 2010-21-nuts.csv. File 2010-21-nuts.csv was then converted to individual NUT files.

Note: Sample 265, cast #77 – The nutrient analyst suspected a misfire but the titirated DO sample agrees with SBE DO, though it shows an odd profile too, so this suggests just odd conditions. This bottle was right after a computer crash. The nutrient flag was left in place since this is an outlier, but the comment was edited to suggest the value is probably ok.

EXTRACTED CHLOROPHYLL

Extracted chlorophyll data were obtained in file 2010-21_chl.xlsx with flags and comments and a study of replicates. The file was saved as 2010-21-chl.csv, header names were edited, “CHL:” was entered before the comments and event numbers were added. The file was then converted to individual CHL files.

The SAL, CHL, ADD and NUT files were merged with CST files in four steps. (Output: MRG1, MRG2, MRG3 and MRG4), MRG4 was put through CLEAN to reduce the headers to File and Comment sections only. That file was then merged with SAMAVG files. (Output:MRG).

##### Compare

Salinity

COMPARE was run and there was a lot of scatter. When outliers (differences >0.005) were excluded the primary salinity channel was found to be lower than the CTD by an average of 0.0003 and standard deviation of 0.003. The secondary salinity was found to be lower than bottles by an average of 0.002 with a standard deviation of ~0.004. This result is reasonably consistent with the salinity differences noted in section 7.

Neither channel shows significant time or pressure dependence. The outliers are common to both sensor pairs. Outliers were investigated to see if flags should be added to the bottle values:

- Cast 1 – standard deviation in CTD data was low at firing time, but there was a shed wake at the beginning of the stop that contained water with salinity matching the bottle quite well. There was very little motion during the stop, so perhaps this is a case of poor flushing – a “c” flag will be assigned – there is likely no problem with analysis, just that the water is likely not from the level stated.

- Cast 9 – moderate standard deviation – at the mouth of Juan de Fuca and CTD was moving throughout stop, minor outlier and it looks as though the pressure never settled, no flag justified.

- Cast 22 - standard deviations moderate – in active mixing area south of the San Juan Islands and std dev higher just before and after bottle firing – bottle likely fine - no flag justified

- Cast 29 – standard deviations moderate at firing time, but higher just before and after that – in active mixing area east of the San Juan Islands – bottle likely ok - no flag justified

- Cast 35 – standard deviation high, near San Juan Islands so expect noise in CTD data – no flag

- Cast 56 – standard deviation in CTD data is low but there was a shift in values during the stop, so problem likely with CTD, no flag is justified.

- Cast 61 – standard deviation in CTD data is low but there were shed wakes at the beginning and salinity never reached equilibrium during this stop– bottom sample (2 fired at bottom) – comparisons often bad at bottom – hard to say which is more reliable. No flag added.

- Cast 64 – standard deviations in CTD data are very low, but this is only a very slight outlier and CTD salinity was slowly changing through the stop, so no flag is justified.

- Cast 68 – standard deviation in CTD data low but salinity was falling through the stop and bottle value close to that at beginning of stop – possible poor flush, but a minor outlier so no flag justified.

Dissolved Oxygen –

COMPARE was run using the SBE DO and the Titrated DO data. There was a lot of noise in the fit, but no extreme outliers. The most severe outlier is clearly due to an odd CTD value. The only other outlier of note is not significant since it is from 2db where high gradients are likely present.

All cast #1 bottles were excluded because most do not fit well, and from other cruises it is known that the Saanich Inlet data rarely do fit well, presumably because the large gradient is too challenging for the DO sensor to respond as efficiently as it does elsewhere. A few other outliers were excluded based on differences and then more were excluded based on residuals. The fit found when outliers were excluded was:

CTD-BOT = 1.0197 * DOX-CTD + 0.024

(See 2010-21-dox-comp1.xls.)

Two samples were flagged “2” by the analyst to indicate that a check should be made against the CTD data to confirm they are ok. Both look fine in COMPARE, so the flags were removed. The comment was left with the addition of a remark about the COMPARE results.

Fluorescence

COMPARE was run using the CTD CHL and the Extracted Chlorophyll from bottles. Plots were prepared of titrated CHLa versus CTD Fluorescence and of the ratio of SBE Fluorescence to Extracted CHL versus Extracted CHL. On average, the SBE Fluorescence is 75% of the extracted chlorophyll, with the ratio between 80and 140% for values of CHL <1 and closer to 40% for CHL>3. The lowest ratios are in the western half of the Strait of Juan de Fuca where higher extracted chlorophyll values were found.

(See 2010-21-fl-chl-comp1.xls.)

When corrections had been made to the ADD and SAL files, the MERGE process was repeated. Data from the MRG files were exported to a spreadsheet to check that everything looks ok and no problems were found.

Plots were made of titrated and SBE dissolved oxygen data against SBE Salinity. The only significant outlier was in cast 3 which had bad SBE DO data. The raw data was very noisy and the average value stands out in profile and in the comparison with bottles. The average in the MRG file was replaced with a pad value.

CLEAN was run on the MRG file to remove SeaBird headers and comments from the secondary file.

##### 12. Shift

Fluorescence

The usual method to find what shift is needed for the fluorescence is to examine upcast and downcast profiles to determine the vertical offset of the temperature and fluorescence traces. The differences between these two offsets are treated as a measure of how much the fluorescence needs to be shifted. The “excess” offset for the fluorescence was divided by the averaged descent/ascent rate and divided by 2(since the shift will be applied to both up and downcast) to find the shift (in seconds) to remove that offset. This is always rough estimate as the upcast data are usually very noisy. The usual shift of +24 records (1s) was found to improve the alignment. This is the shift that has been used in almost every cruise when the sensor is pumped, and it was applied to these data. (Output: SHFFL)

Conductivity

Tests were run on a few casts for each CTD. While the differences were not large, the best choice was no adjustment for the primary and -0.5 records for the secondary conductivity channels. SHIFT was run on the secondary conductivity for all casts with a setting of -0.5 records. (Output: *.SHFC1)

Dissolved Oxygen

Tests were run on a few casts to determine the best SHIFT value to apply to the Dissolved Oxygen channel. This was judged by how the vertical offset between downcast and upcast traces compares with that of the temperature. Because there is an offset in values between upcast and downcast due to the time response, alignment will not produce traces that overlie each other exactly. Distinctive features aid this judgment. In recent uses of this sensor shift values of +65 were used except for the most recent use when +60 was used. For this cruise values from +55 to +60 looked best for different features, with +60 best overall. SHIFT was run with a setting of +60.

##### 13. DELETE

The following DELETE parameters were used:

Surface Record Removal: Last Press Min   	Maximum Surface Pressure (relative): 10.00

Surface Pressure Tolerance: 1.0               	Pressure filtered over 15 points

Swells deleted. Warning message if pressure difference of 2.00

Drop rates <   0.30m/s (calculated over 11 points) will be deleted.

Drop rate applies in the range:  10db to 10db less than the maximum pressure

Sample interval = 0.042 seconds. (taken from header)

COMMENTS ON WARNINGS: The following warnings were investigated:

Casts #4, 15, 38, 57 and 78 were <10m because these were upcast files only.

Cast #42 was <10m. This was deliberate – UV experiment.

Cast #14 – There was a section of data that looks like a repeat. It has been noted before when there is pressure spiking, a block of data can get dumped twice. In this case the temperature values are repeating, but the pressure values are very slightly different. It appears that DELETE picked the repeated section which has a lot of spikes in it; the first section is cleaner, so a text editor was used to remove the repeat from the SHFO file and DELETE was rerun. One warning remained but it referred to a large pressure spike which was appropriately removed by DELETE.

Cast #37 – like #14 with a duplicate block of data, but DELETE selected the better set of data.

At this point JOIN was used to combine the DEL files for casts 5&6 and 69&70. In each case the first file was renamed with extension DELX and the second DELY and the files names of the 2nd in each pair was renamed to match the 1st. JOIN was used to produce a combined DEL file.

The file list was adjusted by removing the following casts which have either been joined to another file or contain only upcast data: 4, 6, 15, 38, 57, 78 and 70.

##### 14. Other Comparisons

Previous experience with these sensors –

1. Salinity: Both conductivity sensors have been used many times since their last recalibrations in 2007. The results are highly variable with none of the comparison thought to be very reliable. In most cases the primary was higher than the secondary with the most reliable in recent times showing the primary to be within 0.001 of the bottles and the secondary to be low by 0.004.

2. Dissolved Oxygen – There have been 4 cruises since the last factory calibration from which there is enough DO calibration sampling for a reasonable fit. The fits from those were:

CTD-BOT = 1.0388 DOX-CTD + 0.0088 (2009-26 – April)

CTD-BOT = 1.0414 DOX-CTD + 0.0005 (2009-14 - September)

CTD-BOT = 1.0203 DOX-CTD + 0.0696 (2009-64 - November)

CTD-BOT = 1.0378 DOX-CTD + 0.0259 (2010-19 - April)

3. Pressure –The sensor was recalibrated in August 2007; an offset of +0.7db has used for cruises in late 2009 and +0.8db for the most recent in April 2010. The sensor is old enough for drift to be expected.

Post-cruise Calibrations –

The conductivity sensors drifted so as to produce salinity lower by 0.0041 and 0.0047 between the 2007 calibrations and those in March 2011.

The temperature sensors had drifted higher by ~0.0008C° and 0.0002C° since 2007.

The cumulative effect of T and C drift would produce salinity low by about 0.005 for each sensor.

Historic ranges (3 standard deviations) – There were a few excursions from the local climatology. Salinity values were low near the surface for the bottom of Saanich Inlet, high at the bottom of two southern Strait of Georgia sites and low near the bottom at the northern side of the mouth of Juan de Fuca Strait. Temperature was slightly high for a very small section around 45m for cast #72 and from 40-70db for cast #74. It is not unusual to have some excursions from the 3-standard-deviation climatology this close to shore. These do not look like evidence of instrumental problems.

##### 15. DETAILED EDITING

The decision of which sensor pair to archive is quite straight-forward for this cruise because there is so much noise in the secondary channels. The primary pair has been selected for the past 6 cruises for which they were used.

Graphical editing was done using program CTDEDIT. On-screen plots of descent rate and pump status were also used. All casts required some editing.

A few very spiky casts were encountered:

Cast #24: There were many spikes in the salinity channel with no corresponding spikes in temperature, so only the salinity values were removed.

Cast #37: Similar salinity spikes as for #24 so salinity points removed, but also some spikes in both T and C, so those records were removed.

T-S plots were examined and no further editing was found appropriate.

Cast #1 was re-examined to see if the fluorescence still looks off-scale and it does. So pad values were entered in the EDT file from 4.3db to 5.0db. There was no extracted CHL sample from that level of the upcast, but the SBE fluorescence was <2mg/m^3. At 5db the downcast temperature was also higher than for the upcast and the transmissivity was ~10%/m for the downcast but ~50%/m for the upcast, so the high downcast fluorescence is likely real.

Casts #14 and 37 contain many spikes in fluorescence, large but not off-scale. These are at depths where they are unbelievable. A second run of CTDEDIT was applied to those casts, to remove the largest spikes.

##### 16. Initial Recalibration

The post-cruise calibration shows little drift in temperature, but as noted earlier there appears to be an alignment problem that leads to a significant temperature difference. The post-cruise calibration indicates that both salinity channels were low by about 0.005 as of March 2011, so likely low by ~0.004 at the time of this cruise. However, if the temperature has an error other than that due to calibration drift, the best we can do is accept the results of the salinity bottle comparison. This is unfortunate given the limited sampling for this cruise and others for which this equipment has been used recently.

The primary salinity will not be recalibrated, but 0.002 will be added to the secondary salinity in case that should be needed later. The DO will be recalibrated using the information from section 11.

File 2010-21-recal.ccf was prepared to add 0.002 to the secondary salinity and to correct the Dissolved Oxygen by applying equation:

CTD-BOT = 1.0197 DOX-CTD + 0.024

This was applied to the SAM and MRGCLN2 files to create SAMCOR1 and MRGCOR1 files. COMPARE was rerun to see that the corrections were applied correctly and they were. (See 2010-21-dox-comp2.xls and 2010-21-fl-chl-comp2.xls.)

The EDT files were then recalibrated to create COR1 files.

##### 17. Final Calibration of DO

The first recalibration of dissolved oxygen corrects for calibration drift. Shift corrects for transit time errors. Those 2 steps at least partly correct for response time errors, but a further correction is sometimes found appropriate. To check for this downcast CTD data is compared to upcast bottle data from the same pressure.

Downcast files were bin-averaged to 0.5m bins for the casts with DO bottle samples. Those files were then thinned to the usual levels for bottles and compared to the bottle values in the MRG files. COMPARE was used to study the differences between the downcast CTD DO data and the upcast bottles. When cast #1 and a few other outliers are excluded there is fairly flat fit against DO with the SBE DO high by ~0.01mL/L. The fit against pressure looks noisy, but most of the pressure dependence disappears if bottom bottles are excluded. Recalibration by subtracting 0.01mL/L looks appropriate.

File 2010-21-recal2.ccf was prepared to apply the following correction:

DOX(corrected) =  DOX - 0.01

This was applied first to the thinned files and COMPARE was rerun. The results show it was effective. (See 2010-21-dox-comp3.xls and 2010-21-dox-comp4.xls.)

The correction was then applied to the COR1 files with output COR2.

##### 18. Special Fluorometer Processing

The COR2 files were clipped to 200db and processed separately for A. Peña. The clipped files were bin-averaged (0.25db bins), put through REMOVE and HEADEDIT and named as *.FCTD1 and saved. A second set, *.FCTD2, were created by filtering before bin-averaging. The SAMCOR1 files were put through REMOVE and named *.BOF and saved. A readme.doc file was prepared with some notes on the preparation of those files.

A median filter, fixed size=11, was applied to the fluorescence channel in the COR2 files to reduce spikiness. One cast was examined before and after this step and showed that the filter was effective.

##### 19. BIN AVERAGE of CTD files

The following Bin Average values were applied to the FIL files (output AVG):

Bin channel = pressure	Averaging interval = 1.000	Minimum bin value =   .000

Average value will be used.	Interpolated values are NOT used for empty bins.

After averaging, page plots were examined on screen. There were some unstable features, but these are small and in areas of active mixing. No further editing was applied.

Plots were made of fluorescence, PAR, SPAR and Transmissivity to ensure there were no further problems and none were found.

##### 20. FINAL CTD files steps (REMOVE and HEADEDIT)

Remove was run twice, first to remove the following channels from all files: Scan_Number, Temperature:Secondary, Salinity:T1:C1, Conductivity:Primary, Conductivity:Secondary, Oxygen:Voltage:SBE, Descent_Rate, Altimeter, Status:Pump and Flag. The output files were given the extension REMpH to indicate that they include the pH:SBE channel.

The second run removed all the above files PLUS pH:SBE and were given extension REM.

A second SBE DO channel (with umol/kg units) was added to each set. REORDER was run to get the two DO channels together.

HEADER EDIT was used to fix formats and channel names and to add the following comments:

Transmissivity, PAR, PAR:Reference and fluorescence data are nominal and

unedited except that some records were removed in editing temperature and

salinity, and large spikes in fluorescence were removed from casts #14 and 37.

The SBE dissolved oxygen data in the CTD files are considered, roughly:

•	±0.5  ml/l from  0 to 25db

•	±0.2  ml/l from 25 to 75db

•	±0.1  ml/l from 75 to 150db

•	±0.03  ml/l below 150db

The Standards Check routine was run and HEADEDIT adjusted until no further problems were found. 
The cross-reference list was produced and no problems were found.

The final files were named CTD.

Profile plots were made and no problems were found.

The track plot looks ok.

As a final check of dissolved oxygen data, % saturation was calculated and plotted. The near-surface values varied from 60% to 140%. The lowest saturations were in well-mixed areas: Haro Strait, eastern Juan de Fuca Strait and at the northern end of the survey. Intermediate values (70-90%) were found in the middle parts of Juan de Fuca Strait and near Victoria and the southern Strait of Georgia. Values in the Strait of Georgia were mostly between 90 and 110%, as were those at the mouth of Juan de Fuca Strait. The Saanich Inlet value was, as usual, very high at 140%.

The REMpH channels were put through similar steps to produce files with extension CTDpH. Those will not be placed in the OSD_DATA_ARCHIVE but will be backed up elsewhere. The pH channel was not aligned as it was not clear what part of the offset is due to hysteresis and what due to misalignment. If it is later decided that these data should be aligned, the CLN files are the ones that should be selected for use in SHIFT. Then DELETE and BIN AVERAGE should be run as done on the archived data so the pH data can be merged with the CTD files based on pressure. If required CALIBRATE and HEAD EDIT should be run.

##### 21. Final Bottle Files

The MRGCOR1 files were put through SORT to order on increasing pressure.

The following channels were removed from all casts: Scan_Number, Temperature:Primary, Salinity:T0:C0, Conductivity:Primary, Conductivity:Secondary, Oxygen:Voltage:SBE, Status:Pump, Descent_Rate, Altimeter and Flag.

A second SBE DO channel was added with different units.

HEADER EDIT was run to fix formats and units and to add a comment about quality flags and analysis methods.

Standards check was run on all files and HEADEDIT adjusted until all format problems were resolved.

A cross-reference list was produced and turned up no errors.

A second set of files were prepared following all the same steps except that pH:SBE channel was not removed. Those files have extension CHEpH and are not intended to go in the OSD_DATA_ARCHIVE.

A final check was made by exporting the data from the CHE files to a spreadsheet, 2010-21-bottles.csv and comparing that to the rosette sheet. One flag had the wrong format and was fixed. Problems were found in the CHL samples from casts #9 and 26. After consultation with the analyst, corrections were entered. For cast #9 one bottle had not tripped, so it is clear that the sample labelled as #38 should have been #37. For cast #26 it appears that the sample numbers 114, 115 and 117 should really have been 94, 95 and 97, since the numbers recorded belong to a different station and were assigned to bottles that are too deep for CHL sampling. The CHE files were adjusted and a comment entered about that. The data were exported to spreadsheet again and no further errors were found.

##### 22. Producing final files

A cross-reference listing was produced for CTD and CHE files.

The sensor history was updated.

Particulars:

3-4. Two files due to spiking.

5-6. Two files due to computer crash. The 1st file contains part of the downcast, the 2nd contains the rest plus the upcast.

9. Bad spikes in the upcast

14-15. separate files for downcast and upcast

37-38 – Spikes – separate files for upcast and downcast

55. Spikes on 1st attempt, but 2nd try was written over the 1st.

56-57 – Spikes. 1st file includes part of upcast, 2nd file for the rest.

63. Spikes, but only 1 file.

69-70. Two files due to computer crash. Need both for downcast.

77-78. Spikes. 1st file includes part of upcast, 2nd file for the rest.

# Institute of Ocean Sciences

# CRUISE SUMMARY

CTD

| CTD# | Make | Model | Serial# | Used with Rosette? | CTD Calibration Sheet Competed? |
| --- | --- | --- | --- | --- | --- |
| 1 | SEABIRD | 911+ | 0550 | Yes | Yes |

| Calibration Information CTD #0550 |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Sensor |  | Pre-Cruise |  | Post Cruise |  |
| Name | S/N | Date | Location | Date | Location |
| Temperature | 4883 | 22Dec07 | Factory “ |  |  |
| Conductivity | 1763 | 11Oct07 | “ |  |  |
| Secondary Temp. | 2095 | 16Oct07 | “ |  |  |
| Secondary Cond. | 2754 | 25Apr07 | “ |  |  |
| Transmissometer | 498DR | S8Dec06 | IOS | 1Nov10 | IOS |
| SBE 43 DO sensor | 1119 | 12Feb2008 | Factory |  |  |
| PAR | 4656 | 29Jan2009 | IOS |  |  |
| SPAR | 16504 | 3Mar10 |  |  |  |
| Fluorometer | ? |  |  |  |  |
| Pressure Sensor | 75636 | 20/Aug/2007 | Factory |  |  |
| pH | 0692 | 06Feb09 |  |  |  |
| Altimeter | 1252 |  |  |  |  |

Filename          Event  Station  Latitude    Longitude        Date       Time

----------------  -----  -------  ----------  -----------  -------------- -----

2010-21-0001.cln   0001  SI       48 39.39 N  123 29.97 W  UTC 2010/09/29 23:32

2010-21-0002.cln   0002  58       48 42.99 N  123 14.27 W  UTC 2010/09/30 01:25

2010-21-0003.cln   0003  59       48 37.80 N  123 14.67 W  UTC 2010/09/30 02:25

2010-21-0004.cln   0004  59       48 37.76 N  123 14.76 W  UTC 2010/09/30 02:44

2010-21-0005.cln   0005  60       48 33.85 N  123 12.76 W  UTC 2010/09/30 03:28

----------------  -----  -------  ----------  -----------  ---------- ---------

2010-21-0006.cln   0006  60       48 33.81 N  123 12.75 W  UTC 2010/09/30 03:38

2010-21-0007.cln   0007  61       48 29.22 N  123  9.22 W  UTC 2010/09/30 04:35

2010-21-0008.cln   0008  101     48 25.44 N  124 45.16 W  UTC 2010/09/30 11:23

2010-21-0009.cln   0009  102     48 30.00 N  124 43.98 W  UTC 2010/09/30 12:16

2010-21-0010.cln   0010  103     48 33.06 N  124 42.99 W  UTC 2010/09/30 13:16

----------------  -----  -------  ----------  -----------  ---------- ---------

2010-21-0011.cln   0011  76       48 31.37 N  124 30.03 W  UTC 2010/09/30 14:22

2010-21-0012.cln   0012  75       48 28.16 N  124 32.92 W  UTC 2010/09/30 14:57

2010-21-0013.cln   0013  74       48 25.04 N  124 35.66 W  UTC 2010/09/30 15:51

2010-21-0014.cln   0014  73       48 15.00 N  124  6.58 W  UTC 2010/09/30 18:25

2010-21-0015.cln   0015  73       48 15.06 N  124  6.54 W  UTC 2010/09/30 18:32

----------------  -----  -------  ----------  -----------  ---------- ---------

2010-21-0016.cln   0016  72       48 18.66 N  124  4.03 W  UTC 2010/09/30 19:10

2010-21-0017.cln   0017  71       48 22.16 N  123 59.52 W  UTC 2010/09/30 20:12

2010-21-0018.cln   0018  70       48 19.19 N  123 43.22 W  UTC 2010/09/30 21:40

2010-21-0019.cln   0019  69       48 15.65 N  123 43.27 W  UTC 2010/09/30 22:21

2010-21-0020.cln   0020  68       48 12.23 N  123 43.09 W  UTC 2010/09/30 23:27

----------------  -----  -------  ----------  -----------  ---------- ---------

2010-21-0021.cln   0021  105      48 10.98 N  123 19.02 W  UTC 2010/10/01 01:17

2010-21-0022.cln   0022  ADCP 48 13.96 N  123 18.00 W  UTC 2010/10/01 01:48

2010-21-0023.cln   0023  104      48 19.97 N  123 18.02 W  UTC 2010/10/01 02:46

2010-21-0024.cln   0024  67       48 22.67 N  123 18.09 W  UTC 2010/10/01 03:18

2010-21-0025.cln   0025  66       48 19.31 N  123 14.15 W  UTC 2010/10/01 03:57

----------------  -----  -------  ----------  -----------  ---------- ---------

2010-21-0026.cln   0026  65       48 15.86 N  123  9.86 W  UTC 2010/10/01 04:33

2010-21-0027.cln   0027  64       48 12.81 N  123  5.87 W  UTC 2010/10/01 05:30

2010-21-0028.cln   0028  63       48 14.61 N  122 58.61 W  UTC 2010/10/01 06:22

2010-21-0029.cln   0029  62       48 22.83 N  123  2.65 W  UTC 2010/10/01 07:29

2010-21-0030.cln   0030  54       48 26.66 N  122 44.32 W  UTC 2010/10/01 09:40

----------------  -----  -------  ----------  -----------  ---------- ---------

2010-21-0031.cln   0031  53       48 33.24 N  122 44.99 W  UTC 2010/10/01 10:48

2010-21-0032.cln   0032  52       48 39.05 N  122 43.31 W  UTC 2010/10/01 11:54

2010-21-0033.cln   0033  51       48 46.91 N  122 51.62 W  UTC 2010/10/01 13:31

2010-21-0034.cln   0034  57       48 43.98 N  123  8.07 W  UTC 2010/10/01 15:07

2010-21-0035.cln   0035  56       48 46.21 N  123  2.01 W  UTC 2010/10/01 15:44

----------------  -----  -------  ----------  -----------  ---------- ---------

2010-21-0036.cln   0036  47       48 49.28 N  123  6.17 W  UTC 2010/10/01 16:46

2010-21-0037.cln   0037  48       48 51.70 N  123  3.23 W  UTC 2010/10/01 17:18

2010-21-0038.cln   0038  48       48 51.74 N  123  3.28 W  UTC 2010/10/01 17:25

2010-21-0039.cln   0039  49       48 55.01 N  122 59.60 W  UTC 2010/10/01 18:01

2010-21-0040.cln   0040  50       48 57.68 N  122 56.03 W  UTC 2010/10/01 18:34

----------------  -----  -------  ----------  -----------  -------------- -----

2010-21-0041.cln   0041  44       48 56.75 N  123  6.01 W  UTC 2010/10/01 19:25

2010-21-0042.cln   0042  UV      48 52.69 N  123  9.60 W  UTC 2010/10/01 20:03

2010-21-0043.cln   0043  45       48 53.86 N  123  8.35 W  UTC 2010/10/01 20:40

2010-21-0044.cln   0044  46       48 51.39 N  123 10.78 W  UTC 2010/10/01 21:10

2010-21-0045.cln   0045  106     49  1.04 N  123 13.26 W  UTC 2010/10/01 22:38

Filename          Event  Station  Latitude    Longitude        Date       Time

----------------  -----  -------  ----------  -----------  ---------- ---------

2010-21-0046.cln   0046  107     48 58.44 N  123 17.88 W  UTC 2010/10/01 23:18

2010-21-0047.cln   0047  43       49  0.19 N  123 30.08 W  UTC 2010/10/02 00:26

2010-21-0048.cln   0048  42       49  1.75 N  123 26.22 W  UTC 2010/10/02 00:58

2010-21-0049.cln   0049  41       49  3.25 N  123 22.30 W  UTC 2010/10/02 02:00

2010-21-0050.cln   0050  108     49  4.39 N  123 19.20 W  UTC 2010/10/02 02:36

----------------  -----  -------  ----------  -----------  ---------- ---------

2010-21-0051.cln   0051  37       49 13.60 N  123 20.70 W  UTC 2010/10/02 03:47

2010-21-0052.cln   0052  38       49 12.00 N  123 26.33 W  UTC 2010/10/02 04:28

2010-21-0053.cln   0053  39       49  9.75 N  123 32.89 W  UTC 2010/10/02 05:18

2010-21-0054.cln   0054  40       49  8.60 N  123 36.73 W  UTC 2010/10/02 06:22

2010-21-0055.cln   0055  26       49 14.31 N  123 50.79 W  UTC 2010/10/02 07:47

----------------  -----  -------  ----------  -----------  ---------- ---------

2010-21-0056.cln   0056  27       49 19.13 N  123 48.04 W  UTC 2010/10/02 08:36

2010-21-0057.cln   0057  27       49 19.15 N  123 48.03 W  UTC 2010/10/02 08:58

2010-21-0058.cln   0058  28       49 24.14 N  123 45.44 W  UTC 2010/10/02 09:54

2010-21-0059.cln   0059  24       49 30.34 N  124  5.93 W  UTC 2010/10/02 11:40

2010-21-0060.cln   0060  25       49 27.72 N  124  7.47 W  UTC 2010/10/02 12:41

----------------  -----  -------  ----------  -----------  ---------- ---------

2010-21-0061.cln   0061  2        49 24.11 N  124  9.28 W  UTC 2010/10/02 13:44

2010-21-0062.cln   0062  1        49 20.45 N  124 11.98 W  UTC 2010/10/02 14:35

2010-21-0063.cln   0063  4        49 24.48 N  124 22.10 W  UTC 2010/10/02 15:41

2010-21-0064.cln   0064  3        49 26.59 N  124 20.22 W  UTC 2010/10/02 16:16

2010-21-0065.cln   0065  5        49 27.40 N  124 30.77 W  UTC 2010/10/02 17:29

----------------  -----  -------  ----------  -----------  ---------- ---------

2010-21-0066.cln   0066  6        49 30.62 N  124 27.84 W  UTC 2010/10/02 18:12

2010-21-0067.cln   0067  7        49 34.43 N  124 24.23 W  UTC 2010/10/02 19:03

2010-21-0068.cln   0068  9        49 35.51 N  124 38.28 W  UTC 2010/10/02 20:17

2010-21-0069.cln   0069  8        49 39.28 N  124 32.96 W  UTC 2010/10/02 21:15

2010-21-0070.cln   0070  8        49 39.25 N  124 33.01 W  UTC 2010/10/02 21:24

----------------  -----  -------  ----------  -----------  ---------- ---------

2010-21-0071.cln   0071  12       49 43.58 N  124 40.78 W  UTC 2010/10/02 22:22

2010-21-0072.cln   0072  11       49 42.42 N  124 43.39 W  UTC 2010/10/02 23:18

2010-21-0073.cln   0073  10       49 40.69 N  124 47.28 W  UTC 2010/10/02 23:53

2010-21-0074.cln   0074  15       49 51.59 N  125  1.53 W  UTC 2010/10/03 01:35

2010-21-0075.cln   0075  16       49 57.65 N  125  8.84 W  UTC 2010/10/03 02:32

----------------  -----  -------  ----------  -----------  ---------- ---------

2010-21-0076.cln   0076  21       50  1.98 N  125 13.59 W  UTC 2010/10/03 03:39

2010-21-0077.cln   0077  14       49 53.01 N  124 59.64 W  UTC 2010/10/03 05:06

2010-21-0078.cln   0078  14       49 52.94 N  124 59.62 W  UTC 2010/10/03 05:23

2010-21-0079.cln   0079  13       49 55.30 N  124 55.18 W  UTC 2010/10/03 06:02

2010-21-0080.cln   0080  17       49 58.81 N  125  4.30 W  UTC 2010/10/03 07:01

----------------  -----  -------  ----------  -----------  ---------- ---------

2010-21-0081.cln   0081  18       49 59.22 N  124 58.83 W  UTC 2010/10/03 07:42

2010-21-0082.cln   0082  19       50  1.28 N   124 52.90 W  UTC 2010/10/03 08:27

2010-21-0083.cln   0083  20       49 47.20 N  124 32.29 W  UTC 2010/10/03 10:39

2010-21-0084.cln   0084  22       49 40.16 N  124 16.24 W  UTC 2010/10/03 12:09