## REVISION NOTICE TABLE

| ### DATE | ### DESCRIPTION OF REVISION |
| --- | --- |

## PROCESSING NOTES

Cruise: 2010-24

Agency: MEAD

Location: Strait of Georgia

Project: E.R.I.

Party Chief: Sutherland T.

Platform: Vector

Date: 13 April 2010 – 18 April 2010

Processed by: Germaine Gatien

Date of Processing: 15 February 2011 – 7 March 2011

Number of original CTD casts:  37	Number of CTD casts processed: 38 (separate upcast file for 48)

Number of bottle casts:		27	Number of bottle casts processed: 27

# INSTRUMENT SUMMARY

A SeaBird Model SBE 911+ CTD (#0550) was mounted in a rosette and attached were a Wetlabs CSTAR transmissometer (#1005DR), SBE 43 DO sensor (#1119), Seapoint Fluorometer (#2356) with a 30X cable, Biospherical QSP-400 PAR sensor (#4615), QSR-2240 Reference PAR sensor (#16504) and an altimeter (#1252).

# SUMMARY OF QUALITY AND CONCERNS

The Daily Science Log Book contained many notes about problems encountered during the cruise with spikes, failure to log downcasts, NMEA not being logged and conductivity cables needing cleaning. There was a list of personnel and equipment which is very helpful.

There were many spikes in data that were not removed by WILDEDIT. As has been noted in other recent cruises the spikes are too regular and frequent to be removed by that technique because they get included in the standard deviation calculation. Some of the spikes prevent conversion to IOS SHELL format. A text editor was used to replace clearly bad values with pad values. This is a slow process and several passes were made before conversion was enabled. Graphical editing removes more of the spiky data, but the overall quality of the data is likely to be lower than usual for casts #38, 44 and 80.

For casts #42 and 44 there are only upcast data available. These data were processed to provide a profile, but the quality is considered lower than usual because of the stirring effect of the rosette on the upcast.

For cast #48 there were no downcast data from the surface to 97db, so a separate file was created from upcast file, 2010-24-9048; while of lower quality, it provides data above 97db.

Some fluorescence data were off-scale and were replaced with pad values.

Dissolved oxygen values were very high and the comparison between CTD and bottles was noisy above 6mL/L, but when high DO values were excluded, the comparison looked similar to that of 2010-19.

Many of the salinity samples which came from the bottom of casts were outliers in the comparison with CTD data. This has been observed frequently in the past and it is recommended that the 2nd or 3rd bottles fired be used for salinity calibration sampling instead.

The SBE dissolved oxygen data in the CTD files are considered, roughly:

•	±1 ml/l from 0–10 db

•	±0.3 ml/l from 10– 200db

•	±0.03 ml/l below 200db

# PROCESSING SUMMARY

##### Seasave

This step was completed at sea; the raw data files have extension HEX.

An error in the raw file names for event #9 was corrected.

##### Preliminary Steps

The Log Book and rosette log sheets were obtained. There were obviously many problems during the cruise with NMEA not being recorded for some casts, frequent spikes occurring and failure to record some data and some aborted casts. Cables were cleaned several times. The technician reported that water got in the primary conductivity bulkhead connector.

Dissolved oxygen, nutrients and salinity data were obtained in spreadsheet format.

The cruise summary sheet was completed.

The histories of the conductivity, DO and pressure sensors were obtained.

A single configuration was used during the cruise.

The configuration file used at sea had errors:

- The most recent pressure offset had not been entered, so that was changed from 0.1 to 0.8db.

- The transmissivity date and parameters were wrong as they have been for many recent cruises. For those other cruises checks were made to see if the serial number might be wrong. The only transmissivity calibrations for that date had different values and no calibration could be found with those values. It was assumed that this really was 1005DR and the appropriate numbers were entered in the con files. Note that this is the transmissometer that has drifted very significantly and is producing odd deep profiles; a correction factor (2.382) will be applied later.

- The dissolved oxygen sensor entries were for the Owens-Millard algorithm. We should be using the SeaBird algorithm, so those were entered.

- The fluorometer serial number is not entered, but #2356 was used on the cruises bracketing this one, so was probably used for this one as well. This does not affect the conversion, but it is useful to know which instrument it is if there is a malfunction.

- The offset was missing for the PAR configuration.

The configurations are the same as those used for 2010-19 except that there was a different PAR sensor. The configuration used to process 2010-19 was used after changing the PAR serial number and settings. The file was then saved as 2010-24.con.

There are channels for a pH sensor and reference PAR listed in the con file used at sea, but neither is in the Daily Log equipment list and a test conversion showed no reasonable data for them, so they will not be converted.

##### Conversion of Raw Data

Rosette files were converted using a start time of -5s and duration of 10s. The Tau correction was chosen, but not the hysteresis correction for DO calculation. There were ROS files created for every cast but 10 contained no data so those were deleted. (SPAR and pH were accidentally converted – they will be removed later.)

The ROS files were converted to IOS HEADER format. The log says that no data were acquired for Event #1, but there is a file #1. The times match Event #3, so the file names were changed to match that.

The times in the log and headers differ by 1 hour. The rosette logs list both UTC and local time and make it clear that the header times need to be adjusted by subtracting 1 hour. The times for GRAB casts were in local time and support this conclusion. The time adjustment will be done later.

CLEAN was then run to add event numbers to the headers and to replace off-scale fluorescence values with pad values (for fluorescence from 4.95 to 5.0) and those files were named *.BOT.

All BOT files were plotted to check for outliers. The only problems found were in the cast #44 which was corrupted by spikes. Two passes through CTDEDIT were used to remove spikes in pressure, temperature and salinity channels. The output file was copied to 2010-24-0044.BOT

CNV files were converted using the Tau correction.

A few CNV casts were examined and all expected channels are present.

- A number of casts are heavily corrupted by spikes. These are similar to spikes noted in other cruises where bad values are frequent and fairly regularly spaced, so WILDEDIT does not work well because the bad values are included in the calculation of the standard deviation, so they are not identified as outliers. Where they are not too extensive, the most effective way to fix this sort of spiking is to use a text editor and replace clearly bad values with pad values. Most common are spikes in one or the other temperature channel (rarely both) and there are some in pressure.

- The temperature and conductivity track reasonably well on the downcasts. The upcasts are noisier, as usual, but there are also some odd excursions in the upcast secondary channels.

- The fluorescence values are frequently off-scale. For example, cast #22 has data close to the maximum between the surface and 13db. The trace suggests the values were not much greater than the maximum since there are some points with values less than the cut-off. There are no CHL data to confirm what fluorometer cable was used. There were CHL data from cruise 2010-19 which visited the same area 6 days later. Those data suggest the maximum was around 15ug/L rather than 5ug/L which would imply that the 10X cable had been used, but it is more likely that this cruise was just before the maximum bloom. The cruise just before used most of the same equipment and is said to have used the 30X cable and the one that followed started with the 30X cable, so it is likely that it really was the 30X cable that was used.

- Dissolved oxygen voltage looks as usual with an offset between downcast and upcast.

- The descent rate looks steady and reasonably high until 20 or 30m from the bottom where it usually slows markedly.

- PAR and transmissivity look ok, though the latter is low as expected since transmissivity calibration is known to have drifted and will need recalibration.

- There are a few spikes in the altimetry near the bottom, but they do not look likely to affect the algorithm estimate.

After determining that WILDEDIT would not remove spikes, every cast was plotted and 3 were found to require careful editing: 38, 44 and 80. For file #38 a lot of spikes were during the upcast, so those data were removed from the file. Cast #38 also included some conductivity spikes – some were removed, but these were not as easy to find, so many may have been missed. For file #80 there is a sudden drop in pressure from ~108db to 105db; there is then a gradual rise. This is a complete repeat of a block of 119 records. A similar thing happened during 2010-16. DELETE will remove one of the blocks and it doesn’t matter which. Cast #80 was not completed due to the spikes and there is no rosette file, so only the downcast data were edited to remove spikes. The upcast was removed. The files were opened in a text editor and obviously bad values were replaced with pad values. This process is slow.

##### WILDEDIT

A few casts were examined and for at least one the spikes were worse after WILDEDIT than before, so a return was made to the previous step to edit the files before running this routine.

Program WILDEDIT was run to remove spikes from the pressure, conductivity and temperature channels only.  Parameters used were: 	Pass 1    Std Dev = 2 	Pass 2    Std Dev = 5     Points per block = 50

Further editing was applied to casts 38, 44 and 80.

##### CELLTM

Tests were run on a few casts using a variety of settings for CELLTM. The results were not clear, but the setting used for 2010-19 improve the data slightly. CELLTM was run applying settings α = 0.02, β=7 for both channels

For casts #38, 44 and 80 STRIP was run to remove the Descent_Rate channel since it is full of spikes and they appear to prevent successful conversion to IOS SHELL format.

##### DERIVE

Program DERIVE was run twice:

on all casts to calculate primary and secondary salinity and dissolved oxygen concentration. The Tau correction was chosen for the DO derivation.

on a few casts to calculate the differences between primary and secondary channels for temperature, conductivity and salinity. These were placed in a test directory and will not be archived.

##### Test Plots and Channel Check

Three casts were checked for agreement between the pairs of T and C sensors. The differences are fairly noisy despite steady descent rates, so these are rough averages. One cast is included from the cruise that followed and used the same equipment.

| Cast # (CTD#) | Press | T1-T0 | C1-C0 | S1-S0 | Descent Rate |
| --- | --- | --- | --- | --- | --- |
| 31 | 200 | +0.0012 | +0.0002 | -0.0032 | high., steady |
| 70 | 225 | +0.0012 | -0.0001 | -0.0025 | High, steady |
| 78 | 200 | +0.0009 | -0.0015 | -0.0025 N |  |
| 2010-19-0002 | 300 | +0.0015 | +0.0002 | -0.003 | Mod, steady |

The temperature differences are a little larger than usual. Looking at a plot of the two temperature channels with the temperature differences suggests that the differences are due to slight misalignment with differences only significant in gradients. As for 2010-19 where gradients are small, the differences are very small. The sensors look ok.

##### Conversion to IOS Headers

The IOSSHELL routine was used to convert SEA-Bird 911+ CNV files to IOS Headers.

The initial conversion failed for files 38, 44 and 80. The descent rate channel had many spikes (deriving from the pressure spikes), so it was removed using Sea-Bird routine STRIP. Then conversion worked but salinity and oxygen were missing. When those were derived first conversion failed again, and DO values look wrong. There were spikes in salinity because some conductivity spikes had been missed, so a return was made to the editing phase to replace those with pad values.

The positions and water depth (based on log entries) were added to each file using a text editor.

A few plots were examined to see what values of fluorescence look off-scale. In casts #23 and 25 there are many repeated values between 4.950 and 4.952mg/m3.

CLEAN was run to add event numbers and to replace pad values in the Pressure channel using linear interpolation based on scan number and to replace all fluorescence data with values 4.95 to 5.0 mg/m3.

ADD TIME CHANNEL was used to subtract 1 hour from each header time.

##### Checking Headers

The header check was run and no further problems were found.

The cross-reference check was compared with the log book, and a few errors were found in positions and those were corrected.

Two versions of the cruise track were produced (station name and station number) and after some manipulation to save the output as GIF files they were added to the end of this report. No problems were found in the track.

The surface values program shows the average surface pressure to be 2.6db which is reasonable.

The altimeter readings and water depths were exported from the headers to a spreadsheet. Plots were made of all casts because of the spikiness of the data. Despite many spikes right at the bottom, the algorithm worked well and no adjustments were made to the header entries. There are some cases where with no entry either because there was only upcast data or the CTD did not get within 15m of the bottom.

##### BOTTLE FILE PREPARATION

The latitude, longitude and water depth (where available) were added to the BOT files.

Header Check was run and more spikes were found in cast #44, so a text editor was used to replace those with pad values. CLEAN was run to fix the headers. This took several passes after which the Header Check then looked fine. The cleaned files were copied to 2010-24-0044.BOT.

The BOT files were averaged to enable an addsamp file to be created. That file was edited to add sample numbers taken from the rosette sheets. There were only 10 bottles for cast #44 but the rosette sheet indicates 11 bottles and there are samples from 11 bottles. There is CTD data from the right level in the full data file, but not in the bottle file.

The ADDSAMP file was converted to CST files with event #, bottle # and sample #.

The ADDSAMP file was used to create SAM files from BOT files. Those files were bin-averaged as SAMAVG files.

The full CTD file (2010-24-0044.ATC) was opened in Excel to create data to go with bottle #1. Data acquisition did not start until 56 scans before the bottle fired, so a window was chosen with 112 scans centred on the start of firing. The data were averaged and saved as 2010-24-0044.xls; those data were then added to 2010-24-0044.SAMAVG; bottle and sample numbers were realigned to match the rosette sheet records.

ADD TIME CHANNEL was run to subtract 1 hour from the SAMAVG files.

SALINITY

The salinity data were delivered in spreadsheet 2010-24.xls which was renamed as 2010-24-sal.xls; there were no duplicates. The spreadsheet was simplified (unneeded columns removed, separate columns were created to replace the one with sample #s and station names combined, event #s were added and headers changed to standard format) and saved as 2010-24-sal.csv. There were some errors in sample numbers which were corrected based on the rosette sheet records. The file was then converted to individual SAL files.

DISSOLVED OXGYEN

The dissolved oxygen data was provided in spreadsheet 2010-24oxy.xls with quality flags and comments. There was only one duplicate pair and they differed a lot. The average was entered in the spreadsheet but when COMPARE is run this should be checked to see if one sample is clearly better than the other. The spreadsheet was simplified and saved as 2010-24-oxy.csv which was converted into individual ADD files.

NUTRIENTS

The nutrient data were obtained in spreadsheet QF2010-24nuts.xls which included a report on precision. The spreadsheet includes an analysis of duplicates. The nutrients were analyzed frozen. The spreadsheet was simplified, reordered on sample number and saved as 2010-24-nuts.csv. File 2010-24-nuts.csv was then converted to individual NUT files.

The SAL, ADD and NUT files were merged with CST files in three steps. (Output: MRG1, MRG3 and MRG4), MRG4 was put through CLEAN to reduce the headers to File and Comment sections only. That file was then merged with SAMAVGATC files. (Output:MRG).

A note was added to the header of file 2010-24-0044.MRG indicate how the data for bottle #1 were created.

##### Compare

Salinity

COMPARE was run and there are a lot of outliers. One salinity sample that had been flagged “3” was an outlier, but the associated CTD data were very noisy and fully account for the poor match.

Other bottles with differences >0.02 were investigated:

Cast #3 – Samples 9 and 10 -Two near-surface bottles were in a sufficiently large gradient that the fact that the bottle is 1.5m above the CTD easily explains the outliers. No flags were assigned.

Cast #5 – Sample 12 -The CTD data are a little noisy, but not enough to explain the bottle value which is  lower than the other 2 bottles above it. The sample was flagged “3”.

Cast #15 – Sample 52 -While the CTD data are a little noisy, there are no values close to the bottles. The sample was flagged “3”.

Cast #17 – Sample 62 –CTD was a little noisy during the stop, but not sufficient to explain the difference. The sample was flagged “3”.

Cast #62 - Sample 230 – CTD data were not noisy. The sample was flagged “3”. There was a large shed wake that contains salinity close to the bottle, so it may not have flushed well enough after that passed. The pressure was very steady suggesting quiet waters.

Cast #64 - Sample 238 – CTD was only a little noisy - The sample was flagged “3”.

Cast #74 - Sample 260 – CTD was noisy but there were no values close to the bottle value. - The sample was flagged “3”.

Cast #76 - Sample 269- CTD data was not noisy - The sample was flagged “3”.

In only one of these cases was there any hint that a sample might have come from the wrong bottle, so what accounts for so many large outliers? 2 were from high-gradient surface waters and 1 was at mid-depths near a large shed wake. The other 6 are from the bottom of the casts. It has been noted before that bottom samples are often outliers. This might be due to rapidly changing conditions in boundary currents, though there is no evidence of that in the CTD record. It could be due to sediment in the samples if the bottom was muddy; the CTD did get very close to the bottom for these casts. There is also a possibility that the Niskin bottle does not flush well at the bottom which would certainly account for the bottle values being lower than the CTD for all 6. It is generally recommended that salinity bottles not be taken right at the bottom if they are intended for CTD calibration.

When those outliers are excluded, there is a similar pressure dependence in both sensors, which is most unlikely to be due to calibration errors. Removing further points to achieve a flat trendline is not practical given the scatter and limited sampling. The average of the points left in the fit is +0.0001 for the primary and -0.0036 for the secondary. When the same outliers are removed from a fit against file pair number, the primary shows little variation with time, while there is a very slight drift in the secondary salinity differences, too small to be considered significant.

The difference between the primary and secondary salinity based on COMPARE is slightly higher than the differences found between salinity channels reported in section 7, but as close as can be expected given the noise in the comparison and the few casts examined. (See 2010-24-sal-comp1.xls.)

Dissolved Oxygen –

COMPARE was run using the SBE DO and the Titrated bottle DO data. There was a lot of scatter and no values of DO <2mL/L. When some obvious outliers were removed and other outliers identified based on standard deviations in the CTD data and residuals, the fit found was:

CTD-BOT = 1.0239 DOX-CTD + 0.0607

Varying the methods used for identifying outliers had little effect on the fit, and it resembles the results of 2010-16 which was in the same area a short time before this cruise.

The major outliers were examined, as were a few samples identified by the analyst as suspicious but not necessarily needing flags:

Cast #3 – Sample 5 had been flagged “4”; it is a slight outlier, so a comment was added to the ADD file.

Cast #5 – Sample 17 was an average of duplicates, but they differed by 0.3; the lower value looked better in compare so it was changed in the ADD file.

Cast #5 – Sample #20 is an outlier but the CTD data are very noisy and it is very shallow, so no flag was added.

Cast #9 – Sample #27 had been flagged “4”; it is possibly a slight outlier, so a comment was added to the ADD file.

Cast #11 – Sample #32 had been flagged “2” but looks ok so flag was removed from the ADD file.

Cast #13 – Sample #49 is a clear outlier in COMPARE – flagged “3”.

Cast #17 – Sample #63 – outlier in COMPARE and in profile - flagged “3”.

Cast #23 – Sample #97 had been flagged “4”; looks ok in COMPARE – noted added to the ADD file.

Cast #44 – Sample #184 had been flagged “2” but looks ok, so flag was removed from the ADD file.

Cast #44 – Sample #174 looks like an outlier, but that is only because there is no CTD data available for that bottle in the SAM file. In profile it looks fine. No flag was attached.

Cast #66 – Sample #248 – had been flagged “2” but looks ok in COMPARE so flag was removed.

Cast #66 – Sample #253 – had been flagged “2” - looks bad in COMPARE so flag was changed to “4”.

Cast #76 – Sample #275 – already flagged “4” – outlier, so note added.

Cast #76 – Sample #276 - already flagged “4” – looks ok in COMPARE, note added to ADD file.

Other outliers were minor and from the surface. (See 2010-24-dox-comp1.xls.)

The ADD files were adjusted.

The MERGE process was run again.

Plots were made of Salinity versus DO from the CTD and Titrated DO. The only significant outliers were from casts #5, 13 and 17 which were addressed in the COMPARE process above.

Finally, sample data were exported to a spreadsheet. The entries were checked against spreadsheets and all expected data were present. The nutrients were checked to see if any of the problems noted in the salinity and DO are more general due to mis-fires or mis-sampling. There are some odd features in the profiles around 50db, but these did not come from a single Niskin bottle and there are temperature minima near that level, so these are assumed to be normal variations.

The altimetry headers in the bottle files were examined and no problems were found.

##### 12. Shift

Fluorescence

The usual method to find what shift is needed for the fluorescence is to examine upcast and downcast profiles to determine the vertical offset of the temperature and fluorescence traces. The differences between these two offsets are treated as a measure of how much the fluorescence needs to be shifted. The “excess” offset for the fluorescence was divided by the averaged descent/ascent rate and divided by 2(since the shift will be applied to both up and downcast) to find the shift (in seconds) to remove that offset. This is always rough estimate as the upcast data are usually very noisy and in this case there is off-scale data complicating the issue, so no tests were possible.

The usual shift of +24 records (1s) was applied to these data. (Output: SHFFL)

Conductivity

Tests were run on a few casts. For the primary conductivity the best results varied from cast to cast, but applying no shift produced the best results overall for the primary salinity. For the secondary conductivity a shift of -0.5 records did reduce unstable features in the T-S plots.

SHIFT was run on the secondary conductivity only, using a setting of -0.5 records.

Dissolved Oxygen

Tests were run on a few casts to determine the best SHIFT value to apply to the Dissolved Oxygen channel. This was judged by how the vertical offset between downcast and upcast traces compares with that of the temperature. For this cruise +60 looked best as it has for several other recent cruises with this sensor. SHIFT was run with a setting of +60.

##### 13. DELETE

The following DELETE parameters were used:

Surface Record Removal: Last Press Min   	Maximum Surface Pressure (relative): 10.00

Surface Pressure Tolerance: 1.0               	Pressure filtered over 15 points

Swells deleted. Warning message if pressure difference of 2.00

Drop rates <   0.30m/s (calculated over 11 points) will be deleted.

Drop rate applies in the range:  10db to 10db less than the maximum pressure

Sample interval = 0.042 seconds. (taken from header)

COMMENTS ON WARNINGS: The following warnings were investigated:

Cast #38 – This data was aborted due to spikes, and a closer examination shows odd jumps in pressure and other variables. It is impossible to establish what, if any data are reliable, but it will be examined in CTDEDIT before a decision is made on whether to process it further.

Casts #42 and 44 contain only upcast data, so they were put through REVERSE and DELETE to see if the upcast data can be used to obtain a profile. Both of those upcast files have odd salinity shifts around 12db. A decision on whether to process these files or not will be made later after examination in CTD EDIT.

Cast #48 contains only a partial downcast, so REVERSE was run on that cast; it will be processed as #9048. The reversed file will have lower quality, but will include data from the top 100db.

##### 14. DETAILED EDITING

COMPARE indicates that the primary salinity is closer to the bottles, so the primary channels were selected for editing.

Graphical editing was done using program CTDEDIT. On-screen plots of descent rate and pump status were also used.

A few casts looked odd and will be investigated further (See section 19.) Because some casts were corrupted by spikes, there is more cause for concern than usual.

Cast #38 is difficult to judge – the data after editing do fit within the climatology, but when compared to nearby stations, the data above 100db show a lot more variability than casts #33 and 35.

T-S plots were examined and no further editing was found appropriate, though a few problems were noted:

Cast #42 – upcast data, so noisy and it is hard to judge what editing to apply.

Cast #44 – upcast data, so noisy and it is hard to judge what editing to apply.

Cast #46 – has a few sections of odd temperature variation with no associated salinity variation.

Cast #48 – starts at 97db – has some very odd unstable features.

##### 15. Initial Recalibration

The primary salinity data were very close to the bottle salinity. No recalibration will be applied.

File 2010-24-recal.ccf was prepared to correct the transmissivity by multiplying by 2.382 and to recalibrate the Dissolved Oxygen by applying equation:

CTD-BOT = 1.0239 DOX-CTD + 0.0607

This was applied to the SAM and MRGCLN2 files to create SAMCOR1 and MRGCOR1 files. COMPARE was rerun to see that the corrections were applied correctly and they were. (See 2010-24-dox-comp2.xls.)

At this point it was discovered that something went wrong in the conversion of dissolved oxygen channel for casts 38 and 44-80; the values were much too high. Conversion was rerun with no problem except that casts #38 and 44 had a lot of spikes and cast #80 had a single spike; those were replaced with pad values.

CLEAN was rerun on these files and then SHIFT for dissolved oxygen only with output SHFO2.

Cast #44 had to be put through REVERSE since it contains only upcast data.

Because the data had already been edited, DELETE was run on the SHFO2 files (REV2 for cast #44) to produce files DEL2. MERGE was run to combine the DO from DEL2 files with all other channels from the ED1 files, with output named ED2.

The ED1 files were copied to EDT, then the ED2 files were copied to EDT.

The EDT files were then recalibrated to create COR1 files.

##### 16. Final Calibration of DO

The first recalibration of dissolved oxygen corrects for calibration drift. Shift corrects for transit time errors. Those 2 steps correct for response time errors, but a further correction is sometimes found appropriate. To check for this downcast CTD data is compared to bottle data from the same pressure.

Downcast files were bin-averaged to 0.5m bins for the casts with DO bottle samples. Those files were then thinned to the usual levels for bottles and compared to the bottle values in the MRG files.

COMPARE was used to study the differences between the downcast CTD DO data and the upcast bottles. There is so much noise at the surface that it is difficult to distinguish noise from signal. But even when bottles with DO>7mL/L are excluded, there remains some pressure dependence. The following correction looks reasonable:

DOX(corrected) =  DOX +0.0001*Pressure -0.0372

which is remarkably close to the results found for 2010-19:

DOX(corrected) =  DOX +0.0001*Pressure -0.0329

That is surprising given the 1st calibration applied was different.

This is a small correction but will be applied since it reduces the pressure dependence. The above correction was applied first to the thinned files and COMPARE was rerun. The results show it was effective. (See 2010-24-dox-comp3.xls and 2010-24-dox-comp4.xls.)

The correction was then applied to the COR1 files with output COR2.

##### 17. Special Fluorometer Processing

A median filter, fixed size=11, was applied to the fluorescence channel in the COR2 files to reduce spikiness. One cast was examined before and after this step and showed that the filter was effective.

##### 18. BIN AVERAGE of CTD files

The following Bin Average values were applied to the FIL files (output AVG):

Bin channel = pressure	Averaging interval = 1.000	Minimum bin value =   .000

Average value will be used.	Interpolated values are NOT used for empty bins.

After averaging, page plots were examined on screen.

There was a deep unstable feature in cast #48, but there is no evidence of spiky data or a shed wake. The upcast data contain no such feature. The downcast file was re-examined, but the unstable area is quite large and it was impossible to distinguish which data are good and which not, so no further editing was applied.

##### 19. Other Comparisons

Previous experience with these sensors –

1. Salinity - Both conductivity sensors have been used many times since their last recalibrations in 2007. The results are highly variable with none of the comparison thought to be very reliable. In most cases the primary was higher than the secondary with the most reliable in recent times showing the primary to be within 0.001 of the bottles and the secondary to be low by 0.004. For 2010-19 below 200db the primary was very close to the bottles and the secondary was low by ~0.003.

2. Dissolved Oxygen – There are 6 other cruises since the last factory calibration from which there is enough DO calibration sampling for a reasonable fit. The range of DO values from these cruises varies a lot, so we do not expect to see a steady drift in the fits. The fits were:

CTD-BOT = 1.0414 DOX-CTD + 0.0005 (2009-14 - September)

CTD-BOT = 1.0388 DOX-CTD + 0.0088 (2009-26 – April)

CTD-BOT = 1.0209 DOX-CTD + 0.0668 (2009-27 - March)

CTD-BOT = 1.0203 DOX-CTD + 0.0696 (2009-64 - November)

CTD-BOT = 1.0258 DOX-CTD + 0.076 (2010-16 – April))

CTD-BOT = 1.0378 DOX-CTD + 0.0259 (2010-19 - April)

3. Pressure –The sensor was recalibrated in August 2007 and an offset of +0.7db was used until this year when +0.8db was applied.

Historic ranges (3 standard deviations) - All data fell within the local climatology except for cast #3 which had low salinity values below 200db.

Inter-comparisons – Groups of casts were plotted together to look for problems. A few casts that stood out from their neighbours were #3, #15, #50, #61 and #62. The latter 3 of those were somewhat similar to each other, so likely they are ok.

Other casts were of particular concern due to spiking: casts #38, 42 and 80.

And casts #42 and 44 came from upcasts, so those were compared with casts from 2010-19.

- Cast #3 – There are no indications of problems with spikes in either editing or log notes. The cast did stand out in the comparison with cast #5 but they are quite far apart and this is an area known for large variations and mixing. Cast #3 looks well mixed from about 120db to 200db and that is seen in both the upcast and downcast. Nutrient and dissolved oxygen samples are consistent with a well-mixed layer; there are no salinity samples from those depths. The cast looks very different from 2010-19-0040 which occurred about 4km from this site and 6 days later when all data fell within the climatology. During the later cruise there were some low salinity values along the northern edge of the Juan de Fuca Strait near the mouth, but not in the Gulf Islands area. This cast is probably ok – the region is noted for rapidly varying conditions.

- Cast #15 – There is a bulge in temperature above 50db, but both downcast and upcast traces have the feature and there are casts during 2010-19 with similar shapes. From the bottle file we see reasonable matches between CTD and samples, and it is notable that at 25db there are reversals in dissolved oxygen and nutrients, so something interesting was going on. There were no spikes noted and no reason to doubt these data.

- Cast #38 – This cast did have spikes and there are neither upcast data nor a bottle file to check. There are odd features in temperature in the top 100db but cast #41 from 2010-19 shows similar features. There is no cause to doubt these data.

- Cast #42 – This cast had only upcast data and so the quality of the data are not as high as usual and there are gaps. There is no cast really close to this from 2010-19. There is less structure from 50-120 than from 2010-19-0041 which is the closest, but this could be due to being close to the eastern coast or from using upcast data which does tend to smear variations somewhat. These data are worth archiving but only with a warning about being from the upcast.

- Cast #44 – This cast has only upcast data and was corrupted by spikes, so needs a careful check. The bottle file shows good correspondence between DO and salinity samples and CTD data. The traces do not stand out among nearby casts. There is a nearby cast from 2010-19 and the traces are close, but as expected this cast has much smoother features as expected from upcast data.

- Cast #50 – This cast has a temperature minimum around 50db and another around 120-140db. The upper feature is also seen in 2010-19-0042. The deeper minimum is also seen in the later cruise, but it is much shallower and not as extensive. Cast #44, which is nearby, has a similar feature but again it is not as dramatic, though that may be explained because it is from the upcast. There were no spikes in this cast, so little cause to doubt the data. They are within the climatology.

- Cast #61 – This cast has a temperature minimum around 100-120db. It looks somewhat like that of cast #50 though not as extensive.

- Cast #62 – Similar to cast #61 but even less extensive. Looking at 50, 60 and 61 and cast #42 from 2010-19 suggests these features are real.

- Cast #80 – This cast was corrupted by spikes. Cast #44 from 2010-19 was close to the site and temperature and salinity traces are reasonably close. The data look ok.

So, in conclusion there does not appear to be any need to remove more data.

##### 20. FINAL CTD files steps (REMOVE and HEADEDIT)

The following channels were removed from all casts: Scan_Number, Temperature:Secondary, Salinity:T1:C1, Conductivity:Primary, Conductivity:Secondary, Oxygen:Voltage:SBE, Descent_Rate, Altimeter, Status:Pump and Flag.

A second SBE DO channel (with umol/kg units) was added. REORDER was run to get the two DO channels together.

HEADER EDIT was used to fix formats and channel names and to add the following comments:

Transmissivity and fluorescence data are nominal and unedited except that

some records were removed in editing temperature and salinity.

Transmissometer #1005DR was calibrated in March 2008, and drifted significantly

but steadily until July 2009; then a sudden shift occurred, so that maximum values

between September 2009 and July 2010 were very low, ~25%/m. In August 2010 a study

was made of transmissivity that led to a decision to apply corrections to all

cruises between March 2008 and June 2010. The data are still considered nominal.

For details see file Transmissometer 1005DR Corrections.doc in

OSD_Data_Library:\Cruise_Data\DOCUMENTS

The SBE dissolved oxygen data in the CTD files are considered, roughly:

•	±1 ml/l from  0–10 db

•	±0.3 ml/l from 10– 200db

•	±0.03  ml/l below 200db

The Standards Check routine was run and HEADEDIT adjusted until no further problems were found. 
The cross-reference list was produced and no problems were found.

The final files were named CTD.

Profile plots were made and no problems were found.

The track plot looks ok.

As a final check of dissolved oxygen data, % saturation was calculated and plotted. The near-surface values were very high, varying from 100% to 180%. A few casts with especially high saturation were checked to see how well extracted chlorophyll matched the surface SBE Dissolved Oxygen and the sensor values were close to the sample values (some higher, some lower), so this does not seem to be a matter of poor DO calibration.

##### 21. Final Bottle Files

The MRGCOR1 files were put through SORT to order on increasing pressure.

The following channels were removed from all casts: Scan_Number, Temperature:Secondary, Salinity:T1:C1, Conductivity:Primary, Conductivity:Secondary, Oxygen:Voltage:SBE, PAR:Reference, pH:SBE, Status:Pump, Descent_Rate, Altimeter and Flag.

A second SBE DO channel was added with different units.

HEADER EDIT was run to fix formats and units and to add a comment about quality flags and analysis methods.

Standards check was run on all files and HEADEDIT adjusted until all format problems were resolved.

A cross-reference list was produced and turned up no errors.

##### 22. Producing final files

A cross-reference listing was produced for CTD and CHE files.

The sensor history was updated.

Particulars:

1. Cast cancelled but cast #3 was saved as #1.

3. No NMEA. (There is a log note about this for 3-9 but there was actually no NMEA for any cast.)

38. Abort cast – too much noise.

42 & 44. Logged upcast only.

80. Cast cancelled because of spikes.

# Institute of Ocean Sciences

# CRUISE SUMMARY

CTD

| CTD# | Make | Model | Serial# | Used with Rosette? | CTD Calibration Sheet Competed? |
| --- | --- | --- | --- | --- | --- |
| 1 | SEABIRD | 911+ | 0550 | Yes | Yes |

| Calibration Information CTD #0550 |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Sensor |  | Pre-Cruise |  | Post Cruise |  |
| Name | S/N | Date | Location | Date | Location |
| Temperature | 4883 | 22Dec07 | Factory “ |  |  |
| Conductivity | 1763 | 11Oct07 | “ |  |  |
| Secondary Temp. | 2095 | 16Oct07 | “ |  |  |
| Secondary Cond. | 2754 | 25Apr07 | “ |  |  |
| Transmissometer | 1005DR | 5Mar08 | IOS |  |  |
| SBE 43 DO sensor | 1119 | 12Feb2008 | Factory |  |  |
| PAR | 4615 | 15Dec2000 | IOS |  |  |
| Fluorometer | ? | ? |  |  |  |
| Pressure Sensor | 75636 | 20/Aug/2007 | Factory |  |  |
| Altimeter | 1252 |  |  |  |  |