## Notes
2010-12-10 |  | KS
Phosphate duplicate and deep water sample concentrations (Bottom 3 that are ~2 m apart) show much variability as compared to the same Silicate and Nitrate concentrations. This may indicate a problem with phosphate contamination by those individuals sampling or some other source of phosphate contamination.
It should be noted that, in order to reduce the risk of phosphate contamination, those individuals sampling the rosette should wear gloves at all times
Reproduceability in phosphate reference materials and calibration samples looks very good. This suggests that instrument and analytical methods are less likely a cause of this variability
Some varaibility in duplication may be accounted for by the fact that these samples have been sitting frozen for app 8 months before analysis as well
2010-12-14
Chauvenet’s criterion is applied to the experimental data to aid in the removal of suspected outliers
Quality Flags for IOS Water Samples
Each water sample measurement is assigned a quality flag generated by the analyst or sample collector for every parameter measured on a cruise.
Flag | Value Definition
1 | Sample for this measurement was drawn from water bottle but not analyzed (not normally used)
2 | Acceptable measurement (not normally used).
3 | Questionable measurement (no problem observed in sampling or analysis, but value is not trusted, nonetheless; includes outliers).
4 | Bad measurement (known problem with sampling or analysis, for example there’s a little bubble in the oxygen sample, or the chlorophyll sample sat in the fridge for 12 hours instead of 4; but the problem is not serious enough to completely discard | the value)
5 | Not reported (the Niskin was sampled but the results were lost for some reason such as a broken oxygen flask, or a broken nutrient tube, or the results were lost and couldn’t be recovered). The sample was taken but there is no data for it.
6 | Mean of replicate measurements (summary of replicates and table of replicate data should be included in the metadata file).
7 | Manual chromatographic peak measurement.
8 | Irregular digital chromatographic peak integration.
9 | Sample not drawn for this measurement from this bottle (planning to sample this bottle, but it didn’t get collected because for example the bottle didn’t close, or there was no water left in the Niskin, or the Niskin was emptied before it was sampled).
DO NOT use any flag if you never intended to sample water from that Niskin in the first place. For example on LineP: the ONAR or UBC Niskins: we do NOT plan to take water for us from these niskins, so the value is -99.9 but there is no flag entered.
If flags 5 or 9 are used, then a PAD value is entered (-99.9) for the data when the data is archived.

## Frozen
2010-24 Sutherland FROZ
Nutrient Data analyzed at IOS on Astoria-Pacific analyzer - JEB-C/KS
**See Notes worksheet for additional comments about Phosphate replication and exessive variability
Cruise | Station | Cast | Niskin | Sample # | Depth | NO3 | Flag:NO3 | SiO3 | Flag:SIL | PO4 | Flag:PO4 | Comments
|  |  | Number |  | (nominal) | µM |  | µM |  | µM
2010-24 | TS02 | 3 | 11 | 11 | 0 | 5.7 |  | 10 |  | 0.52
2010-24 | TS02 | 3 | 10 | 10 | 5 | 13.2 |  | 17 |  | 0.79
2010-24 | TS02 | 3 | 9 | 9 | 10 | 21.45 | 6 | 38.45 | 6 | 1.57 | 6
2010-24 | TS02 | 3 | 8 | 8 | 25 | 22.8 |  | 38.5 |  | 1.93
2010-24 | TS02 | 3 | 7 | 7 | 50 | 24.3 |  | 42.1 |  | 1.94
2010-24 | TS02 | 3 | 6 | 6 | 100 | 22.4 |  | 38.8 |  | 1.89
2010-24 | TS02 | 3 | 5 | 5 | 150 | 23.4 |  | 40 |  | 1.89
2010-24 | TS02 | 3 | 4 | 4 | 200 | 23.1 |  | 40.5 |  | 1.95
2010-24 | TS02 | 3 | 3 | 3 | 246 | 27.3 |  | 52.5 |  | 2.61
2010-24 | TS02 | 3 | 2 | 2 | 248 | 27.1 |  | 52.6 |  | 2.27
2010-24 | TS02 | 3 | 1 | 1 | 250 | 27.1 |  | 51.6 |  | 2.15
2010-24 | TS03 | 5 | 10 | 21 | 0 | 8.5 |  | 13.1 |  | 0.58
2010-24 | TS03 | 5 | 9 | 20 | 5 | 11.35 | 6 | 29.3 | 63 | 0.85 | 6 | bad Si dup
2010-24 | TS03 | 5 | 8 | 19 | 10 | 14.4 |  | 23.4 |  | 1.15
2010-24 | TS03 | 5 | 7 | 18 | 25 | 18.9 |  | 32.6 |  | 1.57
2010-24 | TS03 | 5 | 6 | 17 | 50 | 25.9 |  | 48.6 |  | 2.03
2010-24 | TS03 | 5 | 5 | 16 | 100 | 24.2 |  | 44.5 |  | 1.97
2010-24 | TS03 | 5 | 4 | 15 | 150 | 23.5 |  | 43.8 |  | 1.8
2010-24 | TS03 | 5 | 3 | 14 | 212 | 28.3 |  | 59.6 |  | 2.4
2010-24 | TS03 | 5 | 2 | 13 | 214 | 29.2 |  | 60 |  | 2.62
2010-24 | TS03 | 5 | 1 | 12 | 217 | 28.4 |  | 58.9 |  | 2.45
2010-24 | TS04 | 9 | 10 | 31 | 0 | 6.1 |  | 9 |  | 0.76
2010-24 | TS04 | 9 | 9 | 30 | 5 | 11 |  | 14.9 |  | 1.11
2010-24 | TS04 | 9 | 8 | 29 | 10 | 17.5 | 6 | 27.2 | 6 | 1.405 | 6
2010-24 | TS04 | 9 | 7 | 28 | 25 | 26.6 |  | 48.4 |  | 1.25
2010-24 | TS04 | 9 | 6 | 27 | 50 | 28.1 |  | 52.1 |  | 1.78
2010-24 | TS04 | 9 | 5 | 26 | 100 | 25 |  | 44.8 |  | 1.09
2010-24 | TS04 | 9 | 4 | 25 | 150 | 24.9 |  | 45.2 |  | 1.9
2010-24 | TS04 | 9 | 3 | 24 | 210.7 | 29.8 |  | 63.3 |  | 1.97
2010-24 | TS04 | 9 | 2 | 23 | 212.7 | 29.9 |  | 63.2 |  | 2.66
2010-24 | TS04 | 9 | 1 | 22 | 214.7 | 30.1 |  | 63.4 |  | 2.57
2010-24 | TS05 | 11 | 10 | 41 | 0 | 7.3 |  | 39.2 |  | 0.77
2010-24 | TS05 | 11 | 9 | 40 | 5 | 16.7 |  | 26.1 |  | 1.52
2010-24 | TS05 | 11 | 8 | 39 | 10 | 18.8 | 63 | 31.75 | 63 | 1.595 | 63 | bad dups
2010-24 | TS05 | 11 | 7 | 38 | 25 | 22.2 |  | 38.3 |  | 1.23
2010-24 | TS05 | 11 | 6 | 37 | 50 | 27.9 |  | 61.1 |  | 2.15
2010-24 | TS05 | 11 | 5 | 36 | 100 | 25.2 |  | 44.8 |  | 1.71
2010-24 | TS05 | 11 | 4 | 35 | 150 | 27.4 |  | 53.3 |  | 2.24
2010-24 | TS05 | 11 | 3 | 34 | 193.1 | 29.9 |  | 63.3 |  | 2.55
2010-24 | TS05 | 11 | 2 | 33 | 195.2 | 30.3 |  | 63.4 |  | 2.61
2010-24 | TS05 | 11 | 1 | 32 | 197.5 | 30 |  | 62.7 |  | 2.34
2010-24 | TS06 | 13 | 10 | 51 | 0 | 11.4 |  | 16.5 |  | 0.8
2010-24 | TS06 | 13 | 9 | 50 | 5 | 12.8 |  | 18 |  | 1.31
2010-24 | TS06 | 13 | 8 | 49 | 10 | 19.35 | 6 | 32.15 | 6 | 1.405 | 6
2010-24 | TS06 | 13 | 7 | 48 | 25 | 22.3 |  | 38.2 |  | 1.71
2010-24 | TS06 | 13 | 6 | 47 | 50 | 27.8 |  | 50.3 |  | 2.11
2010-24 | TS06 | 13 | 5 | 46 | 100 | 24.8 |  | 44 |  | 1.39
2010-24 | TS06 | 13 | 4 | 45 | 150 | 26.1 |  | 48.4 |  | 1.95
2010-24 | TS06 | 13 | 3 | 44 | 189.3 | 30.5 |  | 63.5 |  | 2.59
2010-24 | TS06 | 13 | 2 | 43 | 191.4 | 30.3 |  | 69.4 |  | 1.78
2010-24 | TS06 | 13 | 1 | 42 | 193.7 | 30.4 |  | 62.9 |  | 2.57
2010-24 | TS07 | 15 | 10 | 61 | 0 | 13.9 |  | 19.6 |  | 1.21
2010-24 | TS07 | 15 | 9 | 60 | 5 | 17.2 |  | 26.2 |  | 1.5
2010-24 | TS07 | 15 | 8 | 59 | 10 | 20.3 |  | 33.5 |  | 1.77
2010-24 | TS07 | 15 | 7 | 58 | 25 | 17.5 |  | 29 |  | 1.22
2010-24 | TS07 | 15 | 6 | 57 | 50 | 21.8 | 6 | 37.15 | 6 | 1.64 | 6
2010-24 | TS07 | 15 | 5 | 56 | 100 | 24.2 |  | 42.9 |  | 1.98
2010-24 | TS07 | 15 | 4 | 55 | 150 | 26.9 |  | 52.4 |  | 2.23
2010-24 | TS07 | 15 | 3 | 54 | 180.9 | 29.9 |  | 62.8 |  | 2.59
2010-24 | TS07 | 15 | 2 | 53 | 182.6 | 29.7 |  | 62.6 |  | 1.95
2010-24 | TS07 | 15 | 1 | 52 | 184.9 | 30 |  | 62.7 |  | 1.82
2010-24 | TS08 | 17 | 10 | 71 | 0 | 11.1 |  | 14.5 |  | 0.69
2010-24 | TS08 | 17 | 9 | 70 | 5 | 13.5 |  | 19 |  | 1.15
2010-24 | TS08 | 17 | 8 | 69 | 10 | 18 |  | 28.6 |  | 1.18
2010-24 | TS08 | 17 | 7 | 68 | 25 | 18 |  | 28.7 |  | 1.59
2010-24 | TS08 | 17 | 6 | 67 | 50 | 25.85 | 6 | 45.8 | 6 | 1.835 | 6
2010-24 | TS08 | 17 | 5 | 66 | 100 | 26.2 |  | 46.2 |  | 1.93
2010-24 | TS08 | 17 | 4 | 65 | 150 | 23.5 |  | 42.2 |  | 1.97
2010-24 | TS08 | 17 | 3 | 64 | 179 | 27.7 |  | 56.4 |  | 2.33
2010-24 | TS08 | 17 | 2 | 63 | 181.2 | 28 |  | 57.8 |  | 2.25
2010-24 | TS08 | 17 | 1 | 62 | 183.7 | 28.9 |  | 60.3 |  | 1.73
2010-24 | TS09 | 21 | 10 | 81 | 0 | 4.3 |  | 5.2 |  | 0.96
2010-24 | TS09 | 21 | 9 | 80 | 5 | 7.6 |  | 8.1 |  | 0.64
2010-24 | TS09 | 21 | 8 | 79 | 10 | 14.5 |  | 19 |  | 1.07
2010-24 | TS09 | 21 | 7 | 78 | 25 | 23.3 | 6 | 42.8 | 6 | 1.585 | 6
2010-24 | TS09 | 21 | 6 | 77 | 50 | 25.9 |  | 47.3 |  | 1.52
2010-24 | TS09 | 21 | 5 | 76 | 100 | 24.6 |  | 43.9 |  | 1.91
2010-24 | TS09 | 21 | 4 | 75 | 150 | 23.9 |  | 43 |  | 1.3
2010-24 | TS09 | 21 | 3 | 74 | 187.6 | 30.2 |  | 64.3 |  | 2.66
2010-24 | TS09 | 21 | 2 | 73 | 189.4 | 30 |  | 64.5 |  | 2.08
2010-24 | TS09 | 21 | 1 | 72 | 191.7 | 29.9 |  | 64.1 |  | 1.86
2010-24 | TS10 | 22 | 10 | 91 | 0 | 4.6 |  | 13.2 |  | 0.57
2010-24 | TS10 | 22 | 9 | 90 | 5 | 5.6 |  | 6.6 |  | 0.73
2010-24 | TS10 | 22 | 8 | 89 | 10 | 11 |  | 12.2 |  | 0.74
2010-24 | TS10 | 22 | 7 | 88 | 25 | 22.85 | 6 | 38.85 | 6 | 1.525 | 6
2010-24 | TS10 | 22 | 6 | 87 | 50 | 26.7 |  | 48 |  | 2.03
2010-24 | TS10 | 22 | 5 | 86 | 100 | 24.5 |  | 43.5 |  | 1.94
2010-24 | TS10 | 22 | 4 | 85 | 150 | 24.9 |  | 44.6 |  | 1.35
2010-24 | TS10 | 22 | 3 | 84 | 191.2 | 29.9 |  | 64.1 |  | 1.92
2010-24 | TS10 | 22 | 2 | 83 | 193.2 | 30.1 |  | 64.1 |  | 2.58
2010-24 | TS10 | 22 | 1 | 82 | 195.2 | 26.7 |  | 58.3 |  | 2.11
2010-24 | TS11 | 23 | 10 | 101 | 0 | 2 |  | 8.2 |  | 0.48
2010-24 | TS11 | 23 | 9 | 100 | 5 | 9.8 |  | 12.5 |  | 1
2010-24 | TS11 | 23 | 8 | 99 | 10 | 17.7 |  | 26.7 |  | 1.58
2010-24 | TS11 | 23 | 7 | 98 | 25 | 25.85 | 6 | 46 | 6 | 1.74 | 6
2010-24 | TS11 | 23 | 6 | 97 | 50 | 26.4 |  | 47.4 |  | 1.91
2010-24 | TS11 | 23 | 5 | 96 | 100 | 23.9 |  | 42.4 |  | 1.9
2010-24 | TS11 | 23 | 4 | 95 | 150 | 24.8 |  | 45.2 |  | 1.83
2010-24 | TS11 | 23 | 3 | 94 | 210.8 | 30.7 |  | 67.1 |  | 2.23
2010-24 | TS11 | 23 | 2 | 93 | 213.4 | 30.7 |  | 67.4 |  | 2.19
2010-24 | TS11 | 23 | 1 | 92 | 215.5 | 30.8 |  | 67.2 |  | 2.75
2010-24 | TS12 | 25 | 10 | 111 | 0 | 1.7 |  | 6.8 |  | 0.6
2010-24 | TS12 | 25 | 9 | 110 | 5 | 3.1 |  | 8.7 |  | 0.45
2010-24 | TS12 | 25 | 8 | 109 | 10 | 17.8 |  | 28 |  | 1.52
2010-24 | TS12 | 25 | 7 | 108 | 25 | 24.9 | 6 | 44.3 | 6 | 1.66 | 6
2010-24 | TS12 | 25 | 6 | 107 | 50 | 24.9 |  | 44.4 |  | 1.92
2010-24 | TS12 | 25 | 5 | 106 | 100 | 23.5 |  | 42 |  | 1.87
2010-24 | TS12 | 25 | 4 | 105 | 150 | 26.3 |  | 50.4 |  | 2.05
2010-24 | TS12 | 25 | 3 | 104 | 193 | 30.5 |  | 66.5 |  | 2.45
2010-24 | TS12 | 25 | 2 | 103 | 204 | 30 |  | 66.2 |  | 2.11
2010-24 | TS12 | 25 | 1 | 102 | 215 | 30.7 |  | 67.3 |  | 2.81
2010-24 | TS13 | 27 | 10 | 121 | 0 | 1.4 |  | 6.5 |  | 0.62
2010-24 | TS13 | 27 | 9 | 120 | 5 | 3.3 |  | 7.5 |  | 0.53
2010-24 | TS13 | 27 | 8 | 119 | 10 | 16.2 |  | 24.7 |  | 1.21
2010-24 | TS13 | 27 | 7 | 118 | 25 | 26.75 | 6 | 48.45 | 6 | 1.745 | 6
2010-24 | TS13 | 27 | 6 | 117 | 50 | 24.3 |  | 42.9 |  | 1.37
2010-24 | TS13 | 27 | 5 | 116 | 100 | 23.8 |  | 42.2 |  | 1.39
2010-24 | TS13 | 27 | 4 | 115 | 150 | 28.8 |  | 60.9 |  | 1.93
2010-24 | TS13 | 27 | 3 | 114 | 215 | 31 |  | 68 |  | 1.86
2010-24 | TS13 | 27 | 2 | 113 | 225 | 30.5 |  | 67.7 |  | 2.6
2010-24 | TS13 | 27 | 1 | 112 | 233.6 | 30.6 |  | 68 |  | 2.01
2010-24 | TS14 | 29 | 11 | 132 | 0 | 0.9 |  | 8.1 |  | 0.39
2010-24 | TS14 | 29 | 10 | 131 | 5 | 1 |  | 6.2 |  | 0.44
2010-24 | TS14 | 29 | 9 | 130 | 10 | 9.7 |  | 14.2 |  | 0.96
2010-24 | TS14 | 29 | 8 | 129 | 25 | 25.35 | 6 | 45.75 | 6 | 1.955 | 6
2010-24 | TS14 | 29 | 7 | 128 | 50 | 19.6 |  | 36.3 |  | 1.7
2010-24 | TS14 | 29 | 6 | 127 | 100 | 23.3 |  | 42.4 |  | 1.28
2010-24 | TS14 | 29 | 5 | 126 | 150 | 30.1 |  | 63.8 |  | 1.62
2010-24 | TS14 | 29 | 4 | 125 | 200 | 25.8 |  | 58.3 |  | 2.38
2010-24 | TS14 | 29 | 3 | 124 | 217 | 30.5 |  | 69.2 |  | 1.86
2010-24 | TS14 | 29 | 2 | 123 | 227 | 29.9 |  | 67.9 |  | 2.75
2010-24 | TS14 | 29 | 1 | 122 | 237 | 30.8 |  | 69 |  | 2.77
2010-24 | TS15 | 31 | 11 | 143 | 0 | 0.8 |  | 6.3 |  | 0.27
2010-24 | TS15 | 31 | 10 | 142 | 5 | 3.1 |  | 7.6 |  | 0.52
2010-24 | TS15 | 31 | 9 | 141 | 10 | 10.3 |  | 15.2 |  | 1.07
2010-24 | TS15 | 31 | 8 | 140 | 25 | 25.5 | 6 | 45.05 | 6 | 1.955 | 6
2010-24 | TS15 | 31 | 7 | 139 | 50 | 25 |  | 44.8 |  | 1.74
2010-24 | TS15 | 31 | 6 | 138 | 100 | 22.7 |  | 40.5 |  | 1.58
2010-24 | TS15 | 31 | 5 | 137 | 150 | 29.1 |  | 60.3 |  | 2.33
2010-24 | TS15 | 31 | 4 | 136 | 200 | 30.3 |  | 66.4 |  | 1.24 | 3 | Does not follow the profile very well
2010-24 | TS15 | 31 | 3 | 135 | 231 | 29.3 |  | 65.1 |  | 2.59
2010-24 | TS15 | 31 | 2 | 134 | 241 | 29.2 |  | 65.2 |  | 2.58
2010-24 | TS15 | 31 | 1 | 133 | 251 | 31.2 |  | 68.4 |  | 2.62
2010-24 | TS16 | 33 | 11 | 154 | 0 | 0.5 |  | 5.7 |  | 0.33
2010-24 | TS16 | 33 | 10 | 153 | 5 | 4.4 |  | 10.9 |  | 0.64
2010-24 | TS16 | 33 | 9 | 152 | 10 | 16.6 |  | 26.4 |  | 1.48
2010-24 | TS16 | 33 | 8 | 151 | 25 | 25.8 | 6 | 46.15 | 6 | 2.15 | 6
2010-24 | TS16 | 33 | 7 | 150 | 50 | 25.9 |  | 46.3 |  | 2
2010-24 | TS16 | 33 | 6 | 149 | 100 | 22.6 |  | 41.5 |  | 1.81
2010-24 | TS16 | 33 | 5 | 148 | 150 | 25 |  | 46.8 |  | 2.05
2010-24 | TS16 | 33 | 4 | 147 | 200 | 30.4 |  | 66 |  | 2.53
2010-24 | TS16 | 33 | 3 | 146 | 250 | 30.6 |  | 68.6 |  | 1.9
2010-24 | TS16 | 33 | 2 | 145 | 255 | 30.7 |  | 68.8 |  | 1.96
2010-24 | TS16 | 33 | 1 | 144 | 260 | 30.7 |  | 67.7 |  | 2.03
2010-24 | TS17 | 35 | 11 | 165 | 0 | 0.9 |  | 2.7 |  | 0.3
2010-24 | TS17 | 35 | 10 | 164 | 5 | 1.2 |  | 3 |  | 0.32
2010-24 | TS17 | 35 | 9 | 163 | 10 | 5 |  | 5.3 |  | 0.68
2010-24 | TS17 | 35 | 8 | 162 | 25 | 17.55 | 6 | 28.1 | 6 | 1.635 | 6
2010-24 | TS17 | 35 | 7 | 161 | 50 | 27.5 |  | 50.8 |  | 2.2
2010-24 | TS17 | 35 | 6 | 160 | 100 | 24.2 |  | 43 |  | 1.88
2010-24 | TS17 | 35 | 5 | 159 | 150 | 24.6 |  | 44.7 |  | 1.94
2010-24 | TS17 | 35 | 4 | 158 | 200 | 30.2 |  | 64.1 |  | 2.65
2010-24 | TS17 | 35 | 3 | 157 | 202 | 30 |  | 65 |  | 1.66
2010-24 | TS17 | 35 | 2 | 156 | 205 | 30.4 |  | 65 |  | 2.7
2010-24 | TS17 | 35 | 1 | 155 | 208 | 30.1 |  | 65 |  | 1.98
2010-24 | TS22 | 42 | 8 | 173 | 0 | 1.7 |  | 4.9 |  | 0.47
2010-24 | TS22 | 42 | 7 | 172 | 5 | 3.3 |  | 5.3 |  | 0.47
2010-24 | TS22 | 42 | 6 | 171 | 10 | 20 |  | 31.6 |  | 1.78
2010-24 | TS22 | 42 | 5 | 170 | 25 | 23.75 | 6 | 42.05 | 6 | 1.49 | 6
2010-24 | TS22 | 42 | 4 | 169 | 50 | 22.3 |  | 38.7 |  | 1.87
2010-24 | TS22 | 42 | 3 | 168 | 106 | 22.6 |  | 40.3 |  | 1.29
2010-24 | TS22 | 42 | 2 | 167 | 108 | 21.4 |  | 35.8 |  | 2.26
2010-24 | TS22 | 42 | 1 | 166 | 110 | 22.6 |  | 40.4 |  | 1.23
2010-24 | TS19 | 44 | 11 | 184 | 0 | 3.1 |  | 19.9 |  | 0.41
2010-24 | TS19 | 44 | 10 | 183 | 5 | 3.5 |  | 21.3 |  | 0.44
2010-24 | TS19 | 44 | 9 | 182 | 10 | 19.9 |  | 31.7 |  | 1.58
2010-24 | TS19 | 44 | 8 | 181 | 25 | 26.65 | 6 | 47.25 | 6 | 1.515 | 6
2010-24 | TS19 | 44 | 7 | 180 | 50 | 23.2 |  | 40.8 |  | 1.65
2010-24 | TS19 | 44 | 6 | 179 | 100 | 23.4 |  | 41.2 |  | 1.63
2010-24 | TS19 | 44 | 5 | 178 | 150 | 22.8 |  | 42 |  | 1.91
2010-24 | TS19 | 44 | 4 | 177 | 200 | 30.6 |  | 65.1 |  | 1.83
2010-24 | TS19 | 44 | 3 | 176 | 312 | 30.2 |  | 69.9 |  | 1.51
2010-24 | TS19 | 44 | 2 | 175 | 315 | 29.9 |  | 69.1 |  | 1.5
2010-24 | TS19 | 44 | 1 | 174 | 320 | 30.9 |  | 70.2 |  | 2.69
2010-24 | TS25 | 48 | 12 | 196 | 0 | 0.6 |  | 3.5 |  | 0.17
2010-24 | TS25 | 48 | 11 | 195 | 5 | 1.4 |  | 4.3 |  | 0.31
2010-24 | TS25 | 48 | 10 | 194 | 10 | 19 |  | 31.4 |  | 0.99
2010-24 | TS25 | 48 | 9 | 193 | 25 | 23.5 | 6 | 40.7 | 6 | 1.51 | 6
2010-24 | TS25 | 48 | 8 | 192 | 50 | 22.4 |  | 38.7 |  | 1.19
2010-24 | TS25 | 48 | 7 | 191 | 100 | 27.2 |  | 50 |  | 2.15
2010-24 | TS25 | 48 | 6 | 190 | 150 | 24.9 |  | 43.8 |  | 1.28 |  | Tube dropped and cracked while frozen, thawed in air, did not leak, transferred to new tube before analysis
2010-24 | TS25 | 48 | 5 | 189 | 200 | 27.4 |  | 57.2 |  | 1.87
2010-24 | TS25 | 48 | 4 | 188 | 250 | 30.7 |  | 67.5 |  | 1.52 |  | Tube had two small cracks, no leaks
2010-24 | TS25 | 48 | 3 | 187 | 289 | 30.8 |  | 72.1 |  | 2.48
2010-24 | TS25 | 48 | 2 | 186 | 320 | 30.9 |  | 71.9 |  | 2.06
2010-24 | TS25 | 48 | 1 | 185 | 322 | 30.8 |  | 70.7 |  | 1.65
2010-24 | TS28 | 54 | 8 | 204 | 0 | 15.4 |  | 30.1 |  | 0.87
2010-24 | TS28 | 54 | 7 | 203 | 5 | 20.7 |  | 35.4 |  | 1.73
2010-24 | TS28 | 54 | 6 | 202 | 10 | 23.2 |  | 39.7 |  | 1.36
2010-24 | TS28 | 54 | 5 | 201 | 25 | 22.85 | 6 | 39.4 | 6 | 1.8 | 6
2010-24 | TS28 | 54 | 4 | 200 | 50 | 22.5 |  | 38.9 |  | 1.28
2010-24 | TS28 | 54 | 3 | 199 | 107 | 25.6 |  | 47.6 |  | 2.23
2010-24 | TS28 | 54 | 2 | 198 | 111 | 25.6 |  | 47.9 |  | 2.29
2010-24 | TS28 | 54 | 1 | 197 | 115 | 25.6 |  | 48.3 |  | 1.76
2010-24 | TS32 | 56 | 10 | 214 | 0 | 3.1 |  | 13.6 |  | 0.53
2010-24 | TS32 | 56 | 9 | 213 | 5 | 7.4 |  | 10.4 |  | 0.91
2010-24 | TS32 | 56 | 8 | 212 | 10 | 22.3 |  | 40.2 |  | 1.73
2010-24 | TS32 | 56 | 7 | 211 | 25 | 27.2 |  | 49.2 |  | 1.46
2010-24 | TS32 | 56 | 6 | 210 | 50 | 29.5 | 6 | 53.25 | 6 | 1.895 | 6
2010-24 | TS32 | 56 | 5 | 209 | 100 | 26.9 |  | 48.3 |  | 1.42
2010-24 | TS32 | 56 | 4 | 208 | 150 | 28.9 |  | 59.6 |  | 1.85
2010-24 | TS32 | 56 | 3 | 207 | 179 | 30.6 |  | 67 |  | 1.94
2010-24 | TS32 | 56 | 2 | 206 | 182 | 30.1 |  | 66.4 |  | 1.87
2010-24 | TS32 | 56 | 1 | 205 | 186 | 30.7 |  | 66.9 |  | 1.74
2010-24 | TS30 | 61 | 12 | 226 | 0 | 1.8 |  | 6.9 |  | 0.48
2010-24 | TS30 | 61 | 11 | 225 | 5 | 5.2 |  | 6.7 |  | 0.7
2010-24 | TS30 | 61 | 10 | 224 | 10 | 18.7 |  | 28.9 |  | 1.48
2010-24 | TS30 | 61 | 9 | 223 | 25 | 25.8 |  | 48.1 |  | 2.12
2010-24 | TS30 | 61 | 8 | 222 | 50 | 24.3 |  | 43.9 |  | 1.97
2010-24 | TS30 | 61 | 7 | 221 | 100 | 25.95 | 63 | 48.3 | 63 | 1.905 | 63 | bad dups
2010-24 | TS30 | 61 | 6 | 220 | 150 | 25 |  | 45.4 |  | 2
2010-24 | TS30 | 61 | 5 | 219 | 200 | 27.7 |  | 59.5 |  | 1.51
2010-24 | TS30 | 61 | 4 | 218 | 250 | 29.6 |  | 68.4 |  | 2.19
2010-24 | TS30 | 61 | 3 | 217 | 325 | 29.3 |  | 69.4 |  | 2.78
2010-24 | TS30 | 61 | 2 | 216 | 328 | 29.6 |  | 71.1 |  | 2.13
2010-24 | TS30 | 61 | 1 | 215 | 330 | 28.8 |  | 68.3 |  | 2.51
2010-24 | TS29 | 62 | 11 | 237 | 0 | 0.5 |  | 2 |  | 0.28
2010-24 | TS29 | 62 | 10 | 236 | 5 | 1.3 |  | 4.2 |  | 0.44
2010-24 | TS29 | 62 | 9 | 235 | 10 | 4.5 |  | 4.7 |  | 0.68
2010-24 | TS29 | 62 | 8 | 234 | 25 | 21.7 |  | 39 |  | 2
2010-24 | TS29 | 62 | 7 | 233 | 50 | 27.2 |  | 48.9 |  | 1.94
2010-24 | TS29 | 62 | 6 | 232 | 100 | 24 | 6 | 42.55 | 6 | 1.44 | 6
2010-24 | TS29 | 62 | 5 | 231 | 150 | 24.8 |  | 45.1 |  | 1.03
2010-24 | TS29 | 62 | 4 | 230 | 200 | 29.5 |  | 61.2 |  | 2.54
2010-24 | TS29 | 62 | 3 | 229 | 235 | 28.7 |  | 63.3 |  | 2.68
2010-24 | TS29 | 62 | 2 | 228 | 237 | 30.4 |  | 66.5 |  | 2.06
2010-24 | TS29 | 62 | 1 | 227 | 239 | 30.3 |  | 65.7 |  | 2.71
2010-24 | TS33 | 64 | 10 | 247 | 0 | 0.7 |  | 2.6 |  | 0.34
2010-24 | TS33 | 64 | 9 | 246 | 5 | 0.8 |  | 1.1 |  | 0.63
2010-24 | TS33 | 64 | 8 | 245 | 10 | 5.9 |  | 5.2 |  | 0.79
2010-24 | TS33 | 64 | 7 | 244 | 25 | 23.4 |  | 42.7 |  | 1.55
2010-24 | TS33 | 64 | 6 | 243 | 50 | 27.3 |  | 51.8 |  | 2.29
2010-24 | TS33 | 64 | 5 | 242 | 100 | 26.8 | 6 | 48.75 | 6 | 2.175 | 6
2010-24 | TS33 | 64 | 4 | 241 | 150 | 29.6 |  | 59.2 |  | 2.32
2010-24 | TS33 | 64 | 3 | 240 | 197 | 30.2 |  | 63 |  | 2.64
2010-24 | TS33 | 64 | 2 | 239 | 199 | 30.4 |  | 63.3 |  | 2.56
2010-24 | TS33 | 64 | 1 | 238 | 201 | 30.3 |  | 63.5 |  | 1.86
2010-24 | TS34 | 66 | 12 | 259 | 0 | 0.7 |  | 2.5 |  | 0.3
2010-24 | TS34 | 66 | 11 | 258 | 5 | 0.5 |  | 2.7 |  | 0.25
2010-24 | TS34 | 66 | 10 | 257 | 10 | 5.1 |  | 7.2 |  | 0.64
2010-24 | TS34 | 66 | 9 | 256 | 25 | 25.5 |  | 48.9 |  | 2.23
2010-24 | TS34 | 66 | 8 | 255 | 50 | 28.3 |  | 55 |  | 2.4
2010-24 | TS34 | 66 | 7 | 254 | 100 | 27 | 6 | 49.7 | 6 | 1.595 | 6
2010-24 | TS34 | 66 | 6 | 253 | 150 | 25.5 |  | 48.1 |  | 1.38
2010-24 | TS34 | 66 | 5 | 252 | 200 | 24.5 |  | 53.7 |  | 2.28
2010-24 | TS34 | 66 | 4 | 251 | 250 | 29.3 |  | 63.4 |  | 2.64
2010-24 | TS34 | 66 | 3 | 250 | 362 | 30.3 |  | 73.1 |  | 3
2010-24 | TS34 | 66 | 2 | 249 | 367 | 30.5 |  | 73.1 |  | 2.65
2010-24 | TS34 | 66 | 1 | 248 | 374 | 30.7 |  | 72.6 |  | 2.28
2010-24 | TS38 | 74 | 9 | 268 | 0 | 4.3 |  | 9.2 |  | 0.54
2010-24 | TS38 | 74 | 8 | 267 | 5 | 11.6 |  | 16.2 |  | 1.34
2010-24 | TS38 | 74 | 7 | 266 | 10 | 20.3 |  | 38.1 |  | 1.16
2010-24 | TS38 | 74 | 6 | 265 | 25 | 27.4 |  | 51.6 |  | 2.04
2010-24 | TS38 | 74 | 5 | 264 | 50 | 28.8 |  | 52.9 |  | 2.36
2010-24 | TS38 | 74 | 4 | 263 | 100 | 26.2 | 6 | 47.9 | 6 | 1.74 | 6
2010-24 | TS38 | 74 | 3 | 262 | 149 | 27.8 |  | 57.4 |  | 1.76
2010-24 | TS38 | 74 | 2 | 261 | 152 | 28.5 |  | 60.6 |  | 1.84
2010-24 | TS38 | 74 | 1 | 260 | 160 | 28.4 |  | 58.5 |  | 2.35
2010-24 | TS45 | 76 | 8 | 276 | 0 | 4.3 |  | 7.4 |  | 0.55
2010-24 | TS45 | 76 | 7 | 275 | 5 | 10.9 |  | 12.7 |  | 0.98
2010-24 | TS45 | 76 | 6 | 274 | 10 | 19.5 | 6 | 30.2 | 6 | 1.235 | 6
2010-24 | TS45 | 76 | 5 | 273 | 25 | 21.8 |  | 38.2 |  | 1.38
2010-24 | TS45 | 76 | 4 | 272 | 50 | 27.4 |  | 49.9 |  | 1.54
2010-24 | TS45 | 76 | 3 | 271 | 67 | 23.4 |  | 41.8 |  | 1.32
2010-24 | TS45 | 76 | 2 | 270 | 73 | 22.6 |  | 40.6 |  | 1.43
2010-24 | TS45 | 76 | 1 | 269 | 80 | 22.7 |  | 41.1 |  | 1.79

## Precision
Cruise 2010-24
Nutrients analysed from frozen samples using Astoria system
Analyst: Kenny Scozzafava
Precision was determined by analyzing replicate samples drawn from the same Niskin
Pooled standard deviation of pairs of samples (Sp) was calucalated by:
Sp = SQRT{sum (d*d)/2k}
where k = no. of pairs and d = difference between pairs
For replicate samples drawn from the same Niskin bottle with outliers removed by Chauvenet criterion
Nitrate = 0.27 for the range 11.2 to 29.6 uM, k = 25
Silicate = 0.42 for the range 16.1 to 53.3 uM, k = 24
Phosphate = 0.329 for the range 0.62 to 2.25 uM, k = 25

## Sp same nisk
2010-24 Sutherland FROZ
Nutrient Data analyzed at IOS on Astoria-Pacific analyzer - JEB-C/KS
Sp for duplicates taken from the same niskin
[8 empty] | Diff |  |  | Diff Sq |  |  | μ |  |  | Chauvenet Reject |  |  | Critical values for Chauvenet statistic
Cruise | Stn | Cast | Niskin | Sample | NO3 | SIL | PO4 | NO3 | SIL | PO4 | NO3 | SIL | PO4 | NO3 | SIL | PO4 | NO3 | SIL | PO4
|  |  | No. | Number | µM | µM | µM | µM | µM | µM | µM | µM | µM | µM | µM | µM | µM | µM | µM
2010-24 | TS02 | 3 | 9 | 9A | 21.1 | 38 | 1.83 | -0.7 | -0.9 | 0.52 | 0.49 | 0.81 | 0.2704 | 21.45 | 38.45 | 1.57 | 1.4073 | 1.7465 | 0.66217 | n | Chauvenet
2010-24 | TS02 | 3 | 9 | 9B | 21.8 | 38.9 | 1.31 | [12 empty] | 3 | 1.37
2010-24 | TS03 | 5 | 9 | 20A | 11.2 | 42.5 | 1.08 | -0.3 | 26.4 | 0.46 | 0.09 | 696.96 | 0.2116 | 11.35 | 29.3 | 0.85 | 0.72876 | 44.5613 | 0.56039 | 4 | 1.53
2010-24 | TS03 | 5 | 9 | 20B | 11.5 | 16.1 | 0.62 | [12 empty] | 5 | 1.64
2010-24 | TS04 | 9 | 8 | 29A | 17.4 | 27.1 | 1.52 | -0.2 | -0.2 | 0.23 | 0.04 | 0.04 | 0.0529 | 17.5 | 27.2 | 1.405 | 0.55914 | 0.55914 | 0.17025 | 6 | 1.73
2010-24 | TS04 | 9 | 8 | 29B | 17.6 | 27.3 | 1.29 | [12 empty] | 7 | 1.8
2010-24 | TS05 | 11 | 8 | 39A | 19.2 | 32.5 | 1.63 | 0.8 | 1.5 | 0.07 | 0.64 | 2.25 | 0.0049 | 18.8 | 31.75 | 1.595 | 1.1371 | 2.3245 | 0.10115 | 8 | 1.87
2010-24 | TS05 | 11 | 8 | 39B | 18.4 | 31 | 1.56 | [12 empty] | 9 | 1.91
2010-24 | TS06 | 13 | 8 | 49A | 19.3 | 32.1 | 1.67 | -0.1 | -0.1 | 0.53 | 0.01 | 0.01 | 0.2809 | 19.35 | 32.15 | 1.405 | 0.38951 | 0.38951 | 0.67913 | 10 | 1.97
2010-24 | TS06 | 13 | 8 | 49B | 19.4 | 32.2 | 1.14 | [12 empty] | 20 | 2.24
2010-24 | TS07 | 15 | 6 | 57A | 21.7 | 36.9 | 1.88 | -0.2 | -0.5 | 0.48 | 0.04 | 0.25 | 0.2304 | 21.8 | 37.15 | 1.64 | 0.55914 | 1.068 | 0.59432 | 30 | 2.39
2010-24 | TS07 | 15 | 6 | 57B | 21.9 | 37.4 | 1.4 | [12 empty] | 50 | 2.57
2010-24 | TS08 | 17 | 6 | 67A | 25.7 | 46 | 1.6 | -0.3 | 0.4 | -0.47 | 0.09 | 0.16 | 0.2209 | 25.85 | 45.8 | 1.835 | 0.72876 | 0.45862 | 1.0171 | 80 | 2.74
2010-24 | TS08 | 17 | 6 | 67B | 26 | 45.6 | 2.07 | [12 empty] | 100 | 2.81
2010-24 | TS09 | 21 | 7 | 78A | 23.5 | 43.4 | 1.24 | 0.4 | 1.2 | -0.69 | 0.16 | 1.44 | 0.4761 | 23.3 | 42.8 | 1.585 | 0.45862 | 1.8156 | 1.3903 | 150 | 2.93
2010-24 | TS09 | 21 | 7 | 78B | 23.1 | 42.2 | 1.93 | [12 empty] | 200 | 3.02
2010-24 | TS10 | 22 | 7 | 88A | 23.1 | 39.1 | 1.83 | 0.5 | 0.5 | 0.61 | 0.25 | 0.25 | 0.3721 | 22.85 | 38.85 | 1.525 | 0.62824 | 0.62824 | 0.81483
2010-24 | TS10 | 22 | 7 | 88B | 22.6 | 38.6 | 1.22
2010-24 | TS11 | 23 | 7 | 98A | 25.8 | 46.1 | 1.58 | -0.1 | 0.2 | -0.32 | 0.01 | 0.04 | 0.1024 | 25.85 | 46 | 1.74 | 0.38951 | 0.11937 | 0.76269
2010-24 | TS11 | 23 | 7 | 98B | 25.9 | 45.9 | 1.9
2010-24 | TS12 | 25 | 7 | 108A | 24.7 | 44.2 | 1.37 | -0.4 | -0.2 | -0.58 | 0.16 | 0.04 | 0.3364 | 24.9 | 44.3 | 1.66 | 0.89839 | 0.55914 | 1.2037
2010-24 | TS12 | 25 | 7 | 108B | 25.1 | 44.4 | 1.95
2010-24 | TS13 | 27 | 7 | 118A | 26.7 | 48.3 | 2.06 | -0.1 | -0.3 | 0.63 | 0.01 | 0.09 | 0.3969 | 26.75 | 48.45 | 1.745 | 0.38951 | 0.72876 | 0.84876
2010-24 | TS13 | 27 | 7 | 118B | 26.8 | 48.6 | 1.43
2010-24 | TS14 | 29 | 8 | 129A | 25.4 | 45.8 | 1.87 | 0.1 | 0.1 | -0.17 | 0.01 | 0.01 | 0.0289 | 25.35 | 45.75 | 1.955 | 0.050259 | 0.050259 | 0.50825
2010-24 | TS14 | 29 | 8 | 129B | 25.3 | 45.7 | 2.04
2010-24 | TS15 | 31 | 8 | 140A | 25.4 | 45.1 | 2.05 | -0.2 | 0.1 | 0.19 | 0.04 | 0.01 | 0.0361 | 25.5 | 45.05 | 1.955 | 0.55914 | 0.050259 | 0.1024
2010-24 | TS15 | 31 | 8 | 140B | 25.6 | 45 | 1.86
2010-24 | TS16 | 33 | 8 | 151A | 25.5 | 45.9 | 2.05 | -0.6 | -0.5 | -0.2 | 0.36 | 0.25 | 0.04 | 25.8 | 46.15 | 2.15 | 1.2376 | 1.068 | 0.55914
2010-24 | TS16 | 33 | 8 | 151B | 26.1 | 46.4 | 2.25
2010-24 | TS17 | 35 | 8 | 162A | 17.6 | 28.2 | 1.67 | 0.1 | 0.2 | 0.07 | 0.01 | 0.04 | 0.0049 | 17.55 | 28.1 | 1.635 | 0.050259 | 0.11937 | 0.10115
2010-24 | TS17 | 35 | 8 | 162B | 17.5 | 28 | 1.6
2010-24 | TS22 | 42 | 5 | 170A | 24.1 | 42.6 | 1.62 | 0.7 | 1.1 | 0.26 | 0.49 | 1.21 | 0.0676 | 23.75 | 42.05 | 1.49 | 0.96749 | 1.646 | 0.22114
2010-24 | TS22 | 42 | 5 | 170B | 23.4 | 41.5 | 1.36
2010-24 | TS19 | 44 | 8 | 181A | 26.7 | 47.8 | 1.1 | 0.1 | 1.1 | -0.83 | 0.01 | 1.21 | 0.6889 | 26.65 | 47.25 | 1.515 | 0.050259 | 1.646 | 1.6278
2010-24 | TS19 | 44 | 8 | 181B | 26.6 | 46.7 | 1.93
2010-24 | TS25 | 48 | 9 | 193A | 23.4 | 41.1 | 1.14 | -0.2 | 0.8 | -0.74 | 0.04 | 0.64 | 0.5476 | 23.5 | 40.7 | 1.51 | 0.55914 | 1.1371 | 1.4751
2010-24 | TS25 | 48 | 9 | 193B | 23.6 | 40.3 | 1.88
2010-24 | TS28 | 54 | 5 | 201A | 22.9 | 39.4 | 1.76 | 0.1 | 0 | -0.08 | 0.01 | 0 | 0.0064 | 22.85 | 39.4 | 1.8 | 0.050259 | 0.21989 | 0.35559
2010-24 | TS28 | 54 | 5 | 201B | 22.8 | 39.4 | 1.84
2010-24 | TS32 | 56 | 6 | 210A | 29.6 | 53.3 | 1.61 | 0.2 | 0.1 | -0.57 | 0.04 | 0.01 | 0.3249 | 29.5 | 53.25 | 1.895 | 0.11937 | 0.050259 | 1.1868
2010-24 | TS32 | 56 | 6 | 210B | 29.4 | 53.2 | 2.18
2010-24 | TS30 | 61 | 7 | 221A | 27.1 | 50.1 | 1.73 | 2.3 | 3.6 | -0.35 | 5.29 | 12.96 | 0.1225 | 25.95 | 48.3 | 1.905 | 3.6815 | 5.8866 | 0.81357
2010-24 | TS30 | 61 | 7 | 221B | 24.8 | 46.5 | 2.08
2010-24 | TS29 | 62 | 6 | 232A | 24.5 | 43.1 | 1.2 | 1 | 1.1 | -0.48 | 1 | 1.21 | 0.2304 | 24 | 42.55 | 1.44 | 1.4764 | 1.646 | 1.0341
2010-24 | TS29 | 62 | 6 | 232B | 23.5 | 42 | 1.68
2010-24 | TS33 | 64 | 5 | 242A | 27 | 49.2 | 2.21 | 0.4 | 0.9 | 0.07 | 0.16 | 0.81 | 0.0049 | 26.8 | 48.75 | 2.175 | 0.45862 | 1.3067 | 0.10115
2010-24 | TS33 | 64 | 5 | 242B | 26.6 | 48.3 | 2.14
2010-24 | TS34 | 66 | 7 | 254A | 27.1 | 49.8 | 1.51 | 0.2 | 0.2 | -0.17 | 0.04 | 0.04 | 0.0289 | 27 | 49.7 | 1.595 | 0.11937 | 0.11937 | 0.50825
2010-24 | TS34 | 66 | 7 | 254B | 26.9 | 49.6 | 1.68
2010-24 | TS38 | 74 | 4 | 263A | 26.2 | 47.8 | 2.07 | 0 | -0.2 | 0.66 | 0 | 0.04 | 0.4356 | 26.2 | 47.9 | 1.74 | 0.21989 | 0.55914 | 0.89964
2010-24 | TS38 | 74 | 4 | 263B | 26.2 | 48 | 1.41
2010-24 | TS45 | 76 | 6 | 274A | 19.5 | 30.3 | 1.27 | 0 | 0.2 | 0.07 | 0 | 0.04 | 0.0049 | 19.5 | 30.2 | 1.235 | 0.21989 | 0.11937 | 0.10115
2010-24 | TS45 | 76 | 6 | 274B | 19.5 | 30.1 | 1.2
[10 empty] | SUM Diff Sq | 9.49 | 720.82 | 5.5284
[10 empty] | COUNT | 27 | 27 | 27
[10 empty] | μ | 0.12963 | 1.363 | -0.02963
[10 empty] | σ | 0.58953 | 5.0789 | 0.46013
[10 empty] | Sp | 0.41921 | 3.6536 | 0.31997
[10 empty] | MIN | 11.2 | 16.1 | 0.62
[10 empty] | MAX | 29.6 | 53.3 | 2.25
Outliers Removed
[10 empty] | SUM Diff Sq | 3.56 | 8.65 | 5.401
[10 empty] | COUNT | 25 | 24 | 25
[10 empty] | Sp | 0.26683 | 0.42451 | 0.32866