## 2010-28 OXY FINAL
LOC:EVENT_NUMBER | Sample_number | Pressure [DBARS] | new OXY | flag | comment
10 | 20 | 247 | 3.2579
10 | 21 | 200 | 3.4103 | f
10 | 22 | 175 | 3.7452
10 | 23 | 150 | 3.9649
10 | 24 | 125 | -99 | i | no water
10 | 25 | 100 | 4.1385
10 | 26 | 75 | 4.2824 | f
10 | 27 | 50 | 4.9754
10 | 28 | 30 | 6.2684
10 | 29 | 20 | 6.5862
10 | 30 | 10 | 7.43
10 | 31 | 0 | 8.0169
12 | 32 | 91 | 5.7722 | d | overshot endpoint
12 | 33 | 75 | 5.7199
12 | 34 | 50 | -99 | e | titration problem both dups
12 | 35 | 25 | 5.6462
12 | 36 | 10 | 5.6667
12 | 37 | 0 | 5.837
14 | 38 | 300 | 5.7358
14 | 39 | 250 | 5.6134
14 | 40 | 200 | 5.4121
14 | 41 | 175 | 5.4375
14 | 42 | 150 | 5.3867
14 | 43 | 125 | 5.4531
14 | 44 | 100 | 5.3235 | d | leaky Niskin
14 | 45 | 75 | 5.3444 | f
14 | 46 | 50 | 5.3821
14 | 47 | 25 | 5.4026
14 | 48 | 10 | 5.5477
14 | 49 | 0 | 5.6673
15 | 50 | 203 | 5.8455
15 | 51 | 175 | 5.8193
15 | 52 | 150 | 5.8061 | f
15 | 53 | 125 | 5.7975
15 | 54 | 100 | 5.759 | b | bad curve possible overshot endpoint
15 | 55 | 75 | 5.7198
15 | 56 | 50 | 5.6842
15 | 57 | 25 | 5.6181
15 | 58 | 10 | 5.7192
15 | 58 | 10 | 5.7158
15 | 59 | 0 | 5.9701
16 | 60 | 234 | -99 | i | misfired Niskin
16 | 61 | 200 | 5.6989
16 | 62 | 175 | 5.7094
16 | 63 | 150 | 5.7002 | f
16 | 64 | 125 | 5.7053
16 | 65 | 100 | 5.699
16 | 66 | 75 | 5.7148
16 | 67 | 50 | 5.6921
16 | 68 | 25 | 5.6945
16 | 69 | 10 | 5.6665
16 | 70 | 0 | 5.6788
17 | 71 | 25 | 5.5214
17 | 72 | 10 | 6.1672 | f
17 | 73 | 0 | 6.505
18 | 74 | 49 | 4.9617
18 | 75 | 30 | 5.3219 | f
18 | 76 | 20 | 5.654
18 | 77 | 10 | 6.1247
18 | 78 | 0 | 6.8195
20 | 79 | 101 | 3.4223
20 | 80 | 75 | 4.4597
20 | 81 | 50 | 4.7701 | f
20 | 82 | 30 | 5.2053
20 | 83 | 20 | 6.2309
20 | 84 | 10 | 6.8126
20 | 85 | 0 | 6.8329
22 | 86 | 98 | 4.7841
22 | 87 | 75 | 5.0764
22 | 88 | 50 | 5.682
22 | 89 | 30 | 5.6803
22 | 90 | 20 | 5.7871 | f
22 | 91 | 10 | 6.4038
22 | 92 | 0 | 6.8466
23 | 93 | 85 | 5.0802
23 | 94 | 75 | 5.4184
23 | 95 | 50 | 5.6138
23 | 96 | 30 | 5.622 | f
23 | 97 | 20 | 5.6673
23 | 98 | 10 | 6.6169
23 | 99 | 0 | 6.9835
24 | 100 | 100 | 4.8935
24 | 101 | 75 | 5.5443
24 | 102 | 50 | 5.638
24 | 103 | 30 | 5.6436 | f
24 | 104 | 20 | 5.9043
24 | 105 | 10 | 7.2463
24 | 106 | 0 | 7.3419
25 | 107 | 96 | 5.2859
25 | 108 | 75 | 5.5381
25 | 109 | 50 | 5.6997
25 | 110 | 30 | 5.1498
25 | 111 | 20 | 6.0588
25 | 112 | 10 | 5.9232 | f
25 | 113 | 0 | 7.3771
26 | 114 | 90 | 5.2227
26 | 115 | 75 | 5.4304 | f
26 | 116 | 50 | 5.4704
26 | 117 | 30 | 5.0375
26 | 118 | 20 | 5.3066
26 | 119 | 10 | 5.4915
26 | 120 | 0 | 6.9671
28 | 121 | 29 | 2.65
28 | 122 | 20 | 2.5562 |  | no duplicate
28 | 123 | 10 | 2.4918
28 | 124 | 0 | 8.2725
29 | 125 | 63 | 0.67608
29 | 126 | 50 | 2.6616
29 | 127 | 30 | 3.3056
29 | 128 | 20 | 3.5331 | f
29 | 129 | 10 | 3.4221
29 | 130 | 0 | 8.0925
30 | 131 | 112 | 0
30 | 132 | 100 | 0
30 | 133 | 75 | 0
30 | 134 | 50 | 2.1207
30 | 135 | 30 | 3.5517
30 | 136 | 20 | 3.8364 | f
30 | 137 | 10 | 4.7483
30 | 138 | 1 | 8.0303
31 | 139 | 56 | 4.1645 | f
31 | 140 | 30 | 3.8239
31 | 141 | 20 | 4.0228
31 | 142 | 10 | 4.4348
31 | 143 | 0 | 7.8612
32 | 144 | 194 | 0
32 | 145 | 175 | 0.029954
32 | 146 | 150 | 0.070707 | f
32 | 147 | 125 | 0.064437
32 | 148 | 100 | 0.12762
32 | 149 | 75 | 4.1579
32 | 150 | 50 | 4.3598
32 | 151 | 30 | 3.7679
32 | 152 | 20 | 4.3279
32 | 153 | 10 | 4.6002
32 | 154 | 0 | 7.6577
33 | 155 | 140 | 0.076663
33 | 156 | 125 | 0.042414
33 | 157 | 100 | 0.083155
33 | 158 | 75 | 4.3013
33 | 159 | 50 | 4.5405
33 | 160 | 30 | 4.0397
33 | 161 | 20 | 4.4157 | f
33 | 162 | 10 | 4.6103
33 | 163 |  | -99 | i | bottle wasn't fired
34 | 164 | 110 | 0.13765
34 | 165 | 100 | 0.13967
34 | 166 | 75 | 4.5415
34 | 167 | 50 | 4.6406 | f
34 | 168 | 30 | 4.3812
34 | 169 | 20 | 4.7192
34 | 170 | 10 | 5.4275
34 | 171 | 0 | 7.4525
35 | 172 | 75 | 5.0236 | f
35 | 173 | 50 | 4.8209
35 | 174 | 30 | 4.6264
35 | 175 | 20 | 4.7332
35 | 176 | 10 | 5.6445 | b | bad curve possible overshot endpoint
35 | 177 | 0 | 7.391
36 | 178 | 53 | 4.9166
36 | 179 | 30 | 4.7103
36 | 180 | 20 | 4.8362
36 | 181 | 10 | 5.594 | f
36 | 182 | 0 | 7.3164
37 | 183 | 90 | 5.3514
37 | 184 | 75 | 5.3974
37 | 185 |  | -99 | e | not sampled, open Niskin
37 | 186 | 30 | 4.7126 | f
37 | 187 | 20 | 4.9264
37 | 188 | 10 | 6.7231 | d | leaky spigot
37 | 189 | 0 | 7.4077
38 | 190 | 80 | 5.5733
38 | 191 | 50 | 5.5051
38 | 192 | 30 | 4.8676 | d | low trans, bad curve
38 | 193 | 20 | 5.037 | f
38 | 194 | 10 | 5.7688
38 | 195 | 0 | 7.125

## 2010-28oxy manual temp
File Name | LOC:EVENT_NUMBER | Sample_number | Pressure [DBARS] | Oxygen:Dissolved [mL/L] | Thiosulfate_titer [cm**3] | THIO corr, | Flask_Number | Flask_Volume [cm**3] | Blank [cm**3] | Standard [cm**3] | KIO3 Std volume ml | KIO3 Normality | new OXY | flag | comment | samplers
2010-28-0010.oxy | 10 | 20 | 247 | 3.231 | 0.593 | 0.593 | 3126 | 145.42 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 3.2579
2010-28-0010.oxy | 10 | 21 | 200 | 3.396 | 0.625 | 0.625 | 3180 | 145.9 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 3.4232 |  |  | HM/SR/CW
2010-28-0010.oxy | 10 | 21 | 200 | 3.369 | 0.573 | 0.573 | 3199 | 134.87 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 3.3973
2010-28-0010.oxy | 10 | 22 | 175 | 3.721 | 0.668 | 0.6671 | 2059 | 142.44 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 3.7452
2010-28-0010.oxy | 10 | 23 | 150 | 3.938 | 0.715 | 0.7145 | 2049 | 144.13 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 3.9649
2010-28-0010.oxy | 10 | 24 | 125 | [5 empty] | 0.0013 | 0.7093 |  |  | -99 | i | no water
2010-28-0010.oxy | 10 | 25 | 100 | 4.107 | 0.732 | 0.732 | 3067 | 141.52 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 4.1385
2010-28-0010.oxy | 10 | 26 | 75 | 4.256 | 0.735 | 0.734 | 3201 | 137.21 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 4.2822 |  |  | HM/SR/CW
2010-28-0010.oxy | 10 | 26 | 75 | 4.256 | 0.706 | 0.705 | 3190 | 131.83 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 4.2826
2010-28-0010.oxy | 10 | 27 | 50 | 4.94 | 0.892 | 0.892 | 2085 | 143.54 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 4.9754
2010-28-0010.oxy | 10 | 28 | 30 | 0 | 0 | 1.12 | 2061 | 143.17 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 6.2684
2010-28-0010.oxy | 10 | 29 | 20 | 6.542 | 1.184 | 1.184 | 3113 | 144.06 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 6.5862
2010-28-0010.oxy | 10 | 30 | 10 | 7.381 | 1.255 | 1.255 | 3047 | 135.5 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 7.43
2010-28-0010.oxy | 10 | 31 | 0 | 7.963 | 1.427 | 1.4274 | 2047 | 142.77 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 8.0169
2010-28-0012.oxy | 12 | 32 | 91 | 5.733 | 1.048 | 1.048 | 3126 | 145.42 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 5.7722 | d | overshot endpoint
2010-28-0012.oxy | 12 | 33 | 75 | 5.681 | 1.042 | 1.042 | 3180 | 145.9 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 5.7199
2010-28-0012.oxy | 12 | 34 | 50 | 10.383 | 1.755 | 1.755 | 3199 | 134.87 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | -99 | e | titration problem
2010-28-0012.oxy | 12 | 34 | 50 | 2.924 | 0.526 | 0.526 | 2059 | 142.44 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | -99 | e | titration problem
2010-28-0012.oxy | 12 | 35 | 25 | 5.607 | 1.016 | 1.016 | 2049 | 144.13 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 5.6462
2010-28-0012.oxy | 12 | 36 | 10 | 5.627 | 0.972 | 0.972 | 3019 | 137.46 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 5.6667
2010-28-0012.oxy | 12 | 37 | 0 | 5.797 | 1.031 | 1.031 | 3067 | 141.52 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 5.837
2010-28-0014.oxy | 14 | 38 | 300 | 5.696 | 0.982 | 0.982 | 3201 | 137.21 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 5.7358
2010-28-0014.oxy | 14 | 39 | 250 | 5.574 | 0.923 | 0.923 | 3190 | 131.83 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 5.6134
2010-28-0014.oxy | 14 | 40 | 200 | 5.375 | 0.97 | 0.97 | 2085 | 143.54 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 5.4121
2010-28-0014.oxy | 14 | 41 | 175 | 5.4 | 0.972 | 0.972 | 2061 | 143.17 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 5.4375
2010-28-0014.oxy | 14 | 42 | 150 | 5.349 | 0.969 | 0.969 | 3113 | 144.06 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 5.3867
2010-28-0014.oxy | 14 | 43 | 125 | 5.414 | 0.922 | 0.922 | 3047 | 135.5 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 5.4531
2010-28-0014.oxy | 14 | 44 | 100 | 5.286 | 0.949 | 0.949 | 2047 | 142.77 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 5.3235 | d | leaky Niskin
2010-28-0014.oxy | 14 | 45 | 75 | 5.297 | 0.892 | 0.892 | 3090 | 133.99 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 5.3353 |  |  | HM/SR/CW
2010-28-0014.oxy | 14 | 45 | 75 | 5.316 | 0.949 | 0.949 | 2068 | 141.98 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 5.3535
2010-28-0014.oxy | 14 | 46 | 50 | 5.345 | 0.962 | 0.962 | 3151 | 143.15 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 5.3821
2010-28-0014.oxy | 14 | 47 | 25 | 5.365 | 0.973 | 0.973 | 3121 | 144.23 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 5.4026
2010-28-0014.oxy | 14 | 48 | 10 | 5.509 | 0.945 | 0.945 | 3198 | 136.51 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 5.5477
2010-28-0014.oxy | 14 | 49 | 0 | 5.628 | 1.021 | 1.021 | 3161 | 144.3 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 5.6673
2010-28-0015.oxy | 15 | 50 | 203 | 5.806 | 1.037 | 1.037 | 3007 | 142.13 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 5.8455
2010-28-0015.oxy | 15 | 51 | 175 | 5.779 | 1.04 | 1.04 | 2069 | 143.17 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 5.8193
2010-28-0015.oxy | 15 | 52 | 150 | 5.778 | 0.952 | 0.9503 | 1464 | 131.19 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 5.8086 |  |  | JE/CS
2010-28-0015.oxy | 15 | 52 | 150 | 5.763 | 0.977 | 0.977 | 3191 | 134.95 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 5.8035
2010-28-0015.oxy | 15 | 53 | 125 | 0 | 0 | 1.055 | 3166 | 145.75 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 5.7975
2010-28-0015.oxy | 15 | 54 | 100 | 5.725 | 0.939 | 0.938 | 1478 | 130.61 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 5.759 | b | bad curve possible overshot endpoint
2010-28-0015.oxy | 15 | 55 | 75 | 5.681 | 1.03 | 1.03 | 2064 | 144.24 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 5.7198
2010-28-0015.oxy | 15 | 56 | 50 | 5.645 | 0.998 | 0.998 | 3009 | 140.67 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 5.6842
2010-28-0015.oxy | 15 | 57 | 25 | 5.579 | 0.979 | 0.979 | 1497 | 139.62 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 5.6181
2010-28-0015.oxy | 15 | 58 | 10 | 5.68 | 1.012 | 1.012 | 3038 | 141.76 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 5.7192
2010-28-0015.oxy | 15 | 58 | 10 | 5.676 | 0.94 | 0.94 | 3204 | 131.86 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 5.7158
2010-28-0015.oxy | 15 | 59 | 0 | 5.946 | 1.056 | 1.053 | 3174 | 141.33 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 5.9701
| 16 | 60 | 234 | [5 empty] | 0.0013 | 0.7093 |  |  | -99 | i | misfired Niskin
2010-28-0017.oxy | 16 | 61 | 200 | 5.668 | 0.976 | 0.9744 | 3203 | 137.03 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 5.6989
2010-28-0017.oxy | 16 | 62 | 175 | 5.669 | 0.944 | 0.944 | 3040 | 132.56 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 5.7094
2010-28-0017.oxy | 16 | 63 | 150 | 5.661 | 1.019 | 1.019 | 2032 | 143.2 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 5.7002 |  |  | HM/SR/CW
2010-28-0017.oxy | 16 | 63 | 150 | 5.661 | 1.003 | 1.003 | 3055 | 140.98 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 5.7
2010-28-0017.oxy | 16 | 64 | 125 | 5.666 | 1.03 | 1.03 | 3098 | 144.6 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 5.7053
2010-28-0017.oxy | 16 | 65 | 100 | 5.66 | 0.985 | 0.985 | 3057 | 138.5 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 5.699
2010-28-0017.oxy | 16 | 66 | 75 | 5.675 | 0.957 | 0.957 | 2035 | 134.24 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 5.7148
2010-28-0017.oxy | 16 | 67 | 50 | 5.653 | 1.018 | 1.018 | 3109 | 143.26 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 5.6921
2010-28-0017.oxy | 16 | 68 | 25 | 5.655 | 0.995 | 0.995 | 1492 | 140 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 5.6945
2010-28-0017.oxy | 16 | 69 | 10 | 5.627 | 1.012 | 1.012 | 3171 | 143.06 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 5.6665
2010-28-0017.oxy | 16 | 70 | 0 | 5.639 | 0.975 | 0.975 | 3052 | 137.59 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 5.6788
2010-28-0017.oxy | 17 | 71 | 25 | 5.483 | 0.917 | 0.917 | 94 | 133.13 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 5.5214
2010-28-0017.oxy | 17 | 72 | 10 | 6.16 | 1.006 | 1.006 | 745 | 130.09 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 6.2032 |  |  | HM/SR/CW
2010-28-0017.oxy | 17 | 72 | 10 | 6.09 | 1.103 | 1.103 | 1247 | 144.13 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 6.1313
2010-28-0017.oxy | 17 | 73 | 0 | 6.462 | 1.16 | 1.16 | 1298 | 142.91 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 6.505
2010-28-0018.oxy | 18 | 74 | 49 | 4.926 | 0.85 | 0.85 | 1300 | 137.22 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 4.9617
2010-28-0018.oxy | 18 | 75 | 30 | 5.286 | 0.884 | 0.884 | 1307 | 133.08 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 5.324 |  |  | HM/SR/CW
2010-28-0018.oxy | 18 | 75 | 30 | 5.282 | 0.887 | 0.887 | 1318 | 133.63 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 5.3198
2010-28-0018.oxy | 18 | 76 | 20 | 5.614 | 0.948 | 0.948 | 1330 | 134.4 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 5.654
2010-28-0018.oxy | 18 | 77 | 10 | 6.1 | 1.044 | 1.041 | 1338 | 136.26 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 6.1247
2010-28-0018.oxy | 18 | 78 | 0 | 6.773 | 1.123 | 1.123 | 1392 | 132.11 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 6.8195
2010-28-0020.oxy | 20 | 79 | 101 | 3.394 | 0.58 | 0.58 | 1395 | 135.52 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 3.4223
2010-28-0020.oxy | 20 | 80 | 75 | 4.426 | 0.751 | 0.751 | 1397 | 134.85 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 4.4597
2010-28-0020.oxy | 20 | 81 | 50 | 4.731 | 0.777 | 0.777 | 1408 | 130.64 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 4.7658 |  |  | JE/CS
2010-28-0020.oxy | 20 | 81 | 50 | 4.74 | 0.831 | 0.831 | 1421 | 139.37 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 4.7745
2010-28-0020.oxy | 20 | 82 | 30 | 5.168 | 0.898 | 0.898 | 1488 | 138.2 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 5.2053
2010-28-0020.oxy | 20 | 83 | 20 | 6.189 | 1.084 | 1.084 | 3033 | 139.44 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 6.2309
2010-28-0020.oxy | 20 | 84 | 10 | 6.767 | 1.189 | 1.189 | 708 | 139.92 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 6.8126
2010-28-0020.oxy | 20 | 85 | 0 | 6.788 | 1.159 | 1.159 | 1322 | 136.03 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 6.8329
2010-28-0022.oxy | 22 | 86 | 98 | 4.777 | 0.788 | 0.788 | 2065 | 131.97 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 4.7841
2010-28-0022.oxy | 22 | 87 | 75 | 5.069 | 0.88 | 0.88 | 1317 | 138.85 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 5.0764
2010-28-0022.oxy | 22 | 88 | 50 | 5.674 | 0.982 | 0.982 | 3207 | 138.49 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 5.682
2010-28-0022.oxy | 22 | 89 | 30 | 5.672 | 0.963 | 0.963 | 3184 | 135.88 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 5.6803
2010-28-0022.oxy | 22 | 90 | 20 | 5.769 | 1.002 | 1.002 | 3069 | 138.99 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 5.777 |  |  | JE/CS
2010-28-0022.oxy | 22 | 90 | 20 | 5.789 | 1.037 | 1.037 | 3108 | 143.3 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 5.7971
2010-28-0022.oxy | 22 | 91 | 10 | 6.395 | 1.156 | 1.156 | 3124 | 144.64 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 6.4038
2010-28-0022.oxy | 22 | 92 | 0 | 6.837 | 1.136 | 1.136 | 1485 | 133.1 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 6.8466
2010-28-0023.oxy | 23 | 93 | 85 | 5.073 | 0.874 | 0.874 | 2040 | 137.81 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 5.0802
2010-28-0023.oxy | 23 | 94 | 75 | 5.411 | 0.958 | 0.958 | 2073 | 141.62 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 5.4184
2010-28-0023.oxy | 23 | 95 | 50 | 5.606 | 0.923 | 0.923 | 2082 | 131.82 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 5.6138
2010-28-0023.oxy | 23 | 96 | 30 | 5.614 | 0.953 | 0.953 | 3043 | 135.86 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 5.622 |  |  | JE/CS
2010-28-0023.oxy | 23 | 96 | 30 | 5.614 | 0.921 | 0.921 | 2055 | 131.34 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 5.6224
2010-28-0023.oxy | 23 | 97 | 20 | 5.659 | 1.009 | 1.009 | 2015 | 142.62 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 5.6673
2010-28-0023.oxy | 23 | 98 | 10 | 6.608 | 1.102 | 1.102 | 1489 | 133.58 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 6.6169
2010-28-0023.oxy | 23 | 99 | 0 | 6.974 | 1.15 | 1.15 | 690 | 132.12 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 6.9835
2010-28-0024.oxy | 24 | 100 | 100 | 4.887 | 0.821 | 0.821 | 2019 | 134.41 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 4.8935
2010-28-0024.oxy | 24 | 101 | 75 | 5.536 | 0.982 | 0.982 | 2027 | 141.88 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 5.5443
2010-28-0024.oxy | 24 | 102 | 50 | 5.63 | 0.954 | 0.954 | 3182 | 135.62 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 5.638
2010-28-0024.oxy | 24 | 103 | 30 | 5.646 | 0.988 | 0.988 | 1492 | 140 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 5.6543 |  |  | HM/SR/CW
2010-28-0024.oxy | 24 | 103 | 30 | 5.625 | 0.996 | 0.996 | 1393 | 141.65 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 5.6329
2010-28-0024.oxy | 24 | 104 | 20 | 5.896 | 1.062 | 1.062 | 2088 | 144.09 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 5.9043
2010-28-0024.oxy | 24 | 105 | 10 | 7.236 | 1.31 | 1.31 | 3160 | 144.9 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 7.2463
2010-28-0024.oxy | 24 | 106 | 0 | 7.342 | 1.254 | 1.2523 | 1389 | 136.81 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 7.3419
2010-28-0025.oxy | 25 | 107 | 96 | 5.278 | 0.96 | 0.96 | 3126 | 145.42 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 5.2859
2010-28-0025.oxy | 25 | 108 | 75 | 5.53 | 1.009 | 1.009 | 3180 | 145.9 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 5.5381
2010-28-0025.oxy | 25 | 109 | 50 | 5.691 | 0.959 | 0.959 | 3199 | 134.87 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 5.6997
2010-28-0025.oxy | 25 | 110 | 30 | 5.142 | 0.916 | 0.916 | 2059 | 142.44 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 5.1498
2010-28-0025.oxy | 25 | 111 | 20 | 6.05 | 1.09 | 1.09 | 2049 | 144.13 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 6.0588
2010-28-0025.oxy | 25 | 112 | 10 | 5.916 | 1.016 | 1.016 | 3019 | 137.46 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 5.9242 |  |  | HM/SR/CW
2010-28-0025.oxy | 25 | 112 | 10 | 5.914 | 1.046 | 1.046 | 3067 | 141.52 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 5.9222
2010-28-0025.oxy | 25 | 113 | 0 | 7.367 | 1.262 | 1.262 | 3201 | 137.21 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 7.3771
2010-28-0026.oxy | 26 | 114 | 90 | 5.215 | 0.859 | 0.859 | 3190 | 131.83 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 5.2227
2010-28-0026.oxy | 26 | 115 | 75 | 5.421 | 0.973 | 0.973 | 2085 | 143.54 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 5.4289 |  |  | HM/SR/CW
2010-28-0026.oxy | 26 | 115 | 75 | 5.43 | 0.972 | 0.971 | 2061 | 143.17 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 5.4319
2010-28-0026.oxy | 26 | 116 | 50 | 5.463 | 0.984 | 0.984 | 3113 | 144.06 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 5.4704
2010-28-0026.oxy | 26 | 117 | 30 | 5.03 | 0.852 | 0.852 | 3047 | 135.5 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 5.0375
2010-28-0026.oxy | 26 | 118 | 20 | 5.299 | 0.946 | 0.946 | 2047 | 142.77 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 5.3066
2010-28-0026.oxy | 26 | 119 | 10 | 5.484 | 0.918 | 0.918 | 3090 | 133.99 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 5.4915
2010-28-0026.oxy | 26 | 120 | 0 | 6.957 | 1.234 | 1.234 | 2068 | 141.98 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 6.9671
2010-28-0028.oxy | 28 | 121 | 29 | 2.646 | 0.483 | 0.483 | 3126 | 145.42 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 2.65
2010-28-0028.oxy | 28 | 122 | 20 | 0 | 0 | 0 | 3180 | 145.9 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | -99 | e | analyst's error | HM/SR/CW
2010-28-0028.oxy | 28 | 122 | 20 | 2.553 | 0.432 | 0.432 | 3199 | 134.87 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 2.5562
2010-28-0028.oxy | 28 | 123 | 10 | 2.488 | 0.445 | 0.445 | 2059 | 142.44 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 2.4918
2010-28-0028.oxy | 28 | 124 | 0 | 8.261 | 1.487 | 1.487 | 2049 | 144.13 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 8.2725
2010-28-0029.oxy | 29 | 125 | 63 | 0.675 | 0.119 | 0.119 | 3019 | 137.46 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 0.67608
2010-28-0029.oxy | 29 | 126 | 50 | 2.658 | 0.472 | 0.472 | 3067 | 141.52 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 2.6616
2010-28-0029.oxy | 29 | 127 | 30 | 3.305 | 0.568 | 0.5674 | 3201 | 137.21 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 3.3056
2010-28-0029.oxy | 29 | 128 | 20 | 3.539 | 0.584 | 0.5817 | 3190 | 131.83 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 3.5299 |  |  | HM/SR/CW
2010-28-0029.oxy | 29 | 128 | 20 | 3.537 | 0.636 | 0.635 | 2085 | 143.54 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 3.5363
2010-28-0029.oxy | 29 | 129 | 10 | 3.417 | 0.613 | 0.613 | 2061 | 143.17 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 3.4221
2010-28-0029.oxy | 29 | 130 | 0 | 8.081 | 1.454 | 1.454 | 3113 | 144.06 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 8.0925
2010-28-0030.oxy | 30 | 131 | 112 | 0.021 | 0.007 | 0 | 3047 | 135.5 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 0
2010-28-0030.oxy | 30 | 132 | 100 | 0.014 | 0.006 | 0 | 2047 | 142.77 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 0
2010-28-0030.oxy | 30 | 133 | 75 | 0.009 | 0.005 | 0 | 3090 | 133.99 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 0
2010-28-0030.oxy | 30 | 134 | 50 | 2.118 | 0.378 | 0.378 | 2068 | 141.98 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 2.1207
2010-28-0030.oxy | 30 | 135 | 30 | 3.547 | 0.636 | 0.636 | 3151 | 143.15 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 3.5517
2010-28-0030.oxy | 30 | 136 | 20 | 3.839 | 0.656 | 0.6564 | 3198 | 136.51 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 3.8472 |  |  | HM/SR/CW
2010-28-0030.oxy | 30 | 136 | 20 | 3.82 | 0.69 | 0.69 | 3121 | 144.23 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 3.8256
2010-28-0030.oxy | 30 | 137 | 10 | 4.742 | 0.856 | 0.856 | 3161 | 144.3 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 4.7483
2010-28-0030.oxy | 30 | 138 | 1 | 8.019 | 1.462 | 1.462 | 2020 | 145.95 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 8.0303
2010-28-0031.oxy | 31 | 139 | 56 | 3.967 | 0.725 | 0.724 | 1317 | 138.85 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 4.1729 |  |  | JE/CS
2010-28-0031.oxy | 31 | 139 | 56 | 4.15 | 0.685 | 0.685 | 2065 | 131.97 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 4.156
2010-28-0031.oxy | 31 | 140 | 30 | 3.819 | 0.662 | 0.662 | 3207 | 138.49 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 3.8239
2010-28-0031.oxy | 31 | 141 | 20 | 4.017 | 0.683 | 0.683 | 3184 | 135.88 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 4.0228
2010-28-0031.oxy | 31 | 142 | 10 | 4.428 | 0.77 | 0.77 | 3069 | 138.99 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 4.4348
2010-28-0031.oxy | 31 | 143 | 0 | 7.85 | 1.405 | 1.405 | 3108 | 143.3 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 7.8612
2010-28-0032.oxy | 32 | 144 | 194 | 0.175 | 0.035 | 0 | 3124 | 144.64 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 0
2010-28-0032.oxy | 32 | 145 | 175 | 0.027 | 0.008 | 0.0084 | 1485 | 133.1 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 0.029954
2010-28-0032.oxy | 32 | 146 | 150 | 0.079 | 0.017 | 0.0178 | 2040 | 137.81 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 0.08377 |  |  | JE/CS
2010-28-0032.oxy | 32 | 146 | 150 | 0.06 | 0.014 | 0.0136 | 2073 | 141.62 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 0.057644
2010-28-0032.oxy | 32 | 147 | 125 | 0.064 | 0.014 | 0.014 | 2082 | 131.82 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 0.064437
2010-28-0032.oxy | 32 | 148 | 100 | 0.127 | 0.025 | 0.025 | 3043 | 135.86 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 0.12762
2010-28-0032.oxy | 32 | 149 | 75 | 4.152 | 0.682 | 0.682 | 2055 | 131.34 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 4.1579
2010-28-0032.oxy | 32 | 150 | 50 | 4.354 | 0.777 | 0.777 | 2015 | 142.62 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 4.3598
2010-28-0032.oxy | 32 | 151 | 30 | 3.763 | 0.629 | 0.629 | 1489 | 133.58 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 3.7679
2010-28-0032.oxy | 32 | 152 | 20 | 4.322 | 0.714 | 0.714 | 690 | 132.12 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 4.3279
2010-28-0032.oxy | 32 | 153 | 10 | 4.594 | 0.772 | 0.772 | 2019 | 134.41 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 4.6002
2010-28-0032.oxy | 32 | 154 | 0 | 7.647 | 1.355 | 1.355 | 2027 | 141.88 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 7.6577
2010-28-0033.oxy | 33 | 155 | 140 | 0.077 | 0.017 | 0.017 | 3007 | 142.13 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 0.076663
2010-28-0033.oxy | 33 | 156 | 125 | 0.042 | 0.011 | 0.011 | 2069 | 143.17 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 0.042414
2010-28-0033.oxy | 33 | 157 | 100 | 0.083 | 0.017 | 0.017 | 1464 | 131.19 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 0.083155
2010-28-0033.oxy | 33 | 158 | 75 | 4.295 | 0.725 | 0.725 | 3191 | 134.95 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 4.3013
2010-28-0033.oxy | 33 | 159 | 50 | 4.534 | 0.827 | 0.827 | 3166 | 145.75 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 4.5405
2010-28-0033.oxy | 33 | 160 | 30 | 4.034 | 0.659 | 0.659 | 1478 | 130.61 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 4.0397
2010-28-0033.oxy | 33 | 161 | 20 | 4.404 | 0.795 | 0.795 | 2064 | 144.24 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 4.4104 |  |  | JE/CS
2010-28-0033.oxy | 33 | 161 | 20 | 4.415 | 0.777 | 0.777 | 3009 | 140.67 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 4.4211
2010-28-0033.oxy | 33 | 162 | 10 | 4.604 | 0.804 | 0.804 | 1497 | 139.62 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 4.6103
| 33 | 163 | [10 empty] | -99 | i | bottle wasn't fired
2010-28-0034.oxy | 34 | 164 | 110 | 0.137 | 0.026 | 0.026 | 3204 | 131.86 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 0.13765
2010-28-0034.oxy | 34 | 165 | 100 | 0.139 | 0.028 | 0.028 | 3174 | 141.33 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 0.13967
2010-28-0034.oxy | 34 | 166 | 75 | 4.535 | 0.812 | 0.812 | 2051 | 143.1 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 4.5415
2010-28-0034.oxy | 34 | 167 | 50 | 4.633 | 0.794 | 0.794 | 3203 | 137.03 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 4.64 |  |  | JE/CS
2010-28-0034.oxy | 34 | 167 | 50 | 4.634 | 0.768 | 0.768 | 3040 | 132.56 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 4.6411
2010-28-0034.oxy | 34 | 168 | 30 | 4.375 | 0.784 | 0.784 | 2032 | 143.2 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 4.3812
2010-28-0034.oxy | 34 | 169 | 20 | 4.713 | 0.831 | 0.831 | 3055 | 140.98 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 4.7192
2010-28-0034.oxy | 34 | 170 | 10 | 5.42 | 0.98 | 0.98 | 3098 | 144.6 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 5.4275
2010-28-0034.oxy | 34 | 171 | 0 | 7.442 | 1.287 | 1.287 | 3057 | 138.5 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 7.4525
2010-28-0035.oxy | 35 | 172 | 75 | 5.019 | 0.835 | 0.835 | 94 | 133.13 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 5.0258 |  |  | JE/CS
2010-28-0035.oxy | 35 | 172 | 75 | 5.014 | 0.815 | 0.815 | 745 | 130.09 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 5.0214
2010-28-0035.oxy | 35 | 173 | 50 | 4.814 | 0.868 | 0.868 | 1247 | 144.13 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 4.8209
2010-28-0035.oxy | 35 | 174 | 30 | 4.62 | 0.826 | 0.826 | 1298 | 142.91 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 4.6264
2010-28-0035.oxy | 35 | 175 | 20 | 4.727 | 0.811 | 0.811 | 1300 | 137.22 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 4.7332
2010-28-0035.oxy | 35 | 176 | 10 | 5.661 | 0.941 | 0.937 | 1307 | 133.08 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 5.6445 | b | bad curve possible overshot endpoint
2010-28-0035.oxy | 35 | 177 | 0 | 7.381 | 1.231 | 1.231 | 1318 | 133.63 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 7.391
2010-28-0036.oxy | 36 | 178 | 53 | 4.917 | 0.826 | 0.8248 | 1330 | 134.4 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 4.9166 |  |  |  | on file -0038.o2???
2010-28-0036.oxy | 36 | 179 | 30 | 4.707 | 0.802 | 0.8014 | 1338 | 136.26 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 4.7103 |  |  |  | on file -0038.o2???
2010-28-0036.oxy | 36 | 180 | 20 | 4.833 | 0.798 | 0.7974 | 1392 | 132.11 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 4.8362 |  |  |  | on file -0038.o2???
2010-28-0036.oxy | 36 | 181 | 10 | 5.575 | 0.944 | 0.9432 | 1395 | 135.52 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 5.5781 |  |  | JE/CS | on file -0038.o2???
2010-28-0036.oxy | 36 | 181 | 10 | 5.609 | 0.945 | 0.9438 | 1397 | 134.85 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 5.6098 |  |  |  | on file -0038.o2???
2010-28-0036.oxy | 36 | 182 | 0 | 7.306 | 1.191 | 1.191 | 1408 | 130.64 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 7.3164 |  |  |  | on file -0038.o2???
2010-28-0037.oxy | 37 | 183 | 90 | 5.344 | 0.931 | 0.931 | 1421 | 139.37 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 5.3514 |  |  |  | on file -0036.o2???
2010-28-0037.oxy | 37 | 184 | 75 | 5.39 | 0.931 | 0.931 | 1488 | 138.2 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 5.3974 |  |  |  | on file -0036.o2???
| 37 | 185 | [10 empty] | -99 | e | not sampled, open Niskin
2010-28-0037.oxy | 37 | 186 | 30 | 4.714 | 0.825 | 0.825 | 708 | 139.92 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 4.7209 |  |  | JE/CS | on file -0036.o2???
2010-28-0037.oxy | 37 | 186 | 30 | 4.698 | 0.799 | 0.799 | 1322 | 136.03 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 4.7042 |  |  |  | on file -0036.o2???
2010-28-0037.oxy | 37 | 187 | 20 | 4.919 | 0.884 | 0.884 | 3016 | 143.66 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 4.9264 |  |  |  | on file -0036.o2???
2010-28-0037.oxy | 37 | 188 | 10 | 6.72 | 1.108 | 1.107 | 1312 | 132.09 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 6.7231 | d | leaky spigot |  | on file -0036.o2???
2010-28-0037.oxy | 37 | 189 | 0 | 7.403 | 1.243 | 1.242 | 471 | 134.51 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 7.4077 |  |  |  | on file -0036.o2???
2010-28-0038.oxy | 38 | 190 | 80 | 5.565 | 1.012 | 1.012 | 3126 | 145.42 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 5.5733 |  |  |  | on file -0035.o2???
2010-28-0038.oxy | 38 | 191 | 50 | 5.497 | 1.003 | 1.003 | 3180 | 145.9 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 5.5051 |  |  |  | on file -0035.o2???
2010-28-0038.oxy | 38 | 192 | 30 | 4.861 | 0.866 | 0.866 | 2059 | 142.44 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 4.8676 | d | low trans, bad curve |  | on file -0035.o2???
2010-28-0038.oxy | 38 | 193 | 20 | 5.048 | 0.91 | 0.9086 | 2049 | 144.13 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 5.0473 |  |  |  | on file -0035.o2???
2010-28-0038.oxy | 38 | 193 | 20 | 5.022 | 0.863 | 0.8626 | 3019 | 137.46 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 5.0267 |  |  |  | on file -0035.o2???
2010-28-0038.oxy | 38 | 194 | 10 | 5.761 | 1.019 | 1.019 | 3067 | 141.52 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 5.7688 |  |  |  | on file -0035.o2???
2010-28-0038.oxy | 38 | 195 | 0 | 7.115 | 1.219 | 1.219 | 3201 | 137.21 | 0.0013 | 0.7093 | 10.0158 | 0.010008 | 7.125 |  |  |  | on file -0035.o2???
[7 empty] | count | 198

## Sp dups
Outliers are discarded on the basis of Chauevenet's criteria. The statistic is calculated by the difference between the outlier and the mean, divided by the stdev.
If this absolute value is greater than the critical value of the Chauevenet criterion for the given n, the datapoint can be discarded
Duplicate samples from a single bottle
Event # | Sample# | pressure | DO1 | DO2 | Flask1 | Flask2 | Average | Difference | Diff^2 | Chauvenet | reject? | comment | Critical values for Chauvenet statistic
10 | 21 | 200 | 3.4232 | 3.3973 | 3180 | 3199 | 3.4103 | -0.025992 | 0.00067556 |  |  |  | n | Chauvenet
10 | 26 | 75 | 4.2822 | 4.2826 | 3201 | 3190 | 4.2824 | 0.00041969 | 1.7614e-07 |  |  |  | 3 | 1.37
14 | 45 | 75 | 5.3353 | 5.3535 | 3090 | 2068 | 5.3444 | 0.018182 | 0.0003306 |  |  |  | 4 | 1.53
15 | 52 | 150 | 5.8086 | 5.8035 | 1464 | 3191 | 5.8061 | -0.0051127 | 2.614e-05 |  |  |  | 5 | 1.64
16 | 63 | 150 | 5.7002 | 5.7 | 2032 | 3055 | 5.7001 | -0.00018852 | 3.554e-08 |  |  |  | 6 | 1.73
17 | 72 | 10 | 6.2032 | 6.1313 | 745 | 1247 | 6.1672 | -0.071879 | 0.0051666 | -3.1441 | yes |  | 7 | 1.8
18 | 75 | 30 | 5.324 | 5.3198 | 1307 | 1318 | 5.3219 | -0.0041829 | 1.7497e-05 |  |  |  | 8 | 1.87
20 | 81 | 50 | 4.7658 | 4.7745 | 1408 | 1421 | 4.7701 | 0.0086749 | 7.5254e-05 |  |  |  | 9 | 1.91
22 | 90 | 20 | 5.777 | 5.7971 | 3069 | 3108 | 5.7871 | 0.020098 | 0.00040395 |  |  |  | 10 | 1.97
23 | 96 | 30 | 5.622 | 5.6224 | 3043 | 2055 | 5.6222 | 0.00038765 | 1.5028e-07 |  |  |  | 20 | 2.24
24 | 103 | 30 | 5.6543 | 5.6329 | 1492 | 1393 | 5.6436 | -0.021406 | 0.00045821 |  |  |  | 30 | 2.39
25 | 112 | 10 | 5.9242 | 5.9222 | 3019 | 3067 | 5.9232 | -0.0019782 | 3.9132e-06 |  |  |  | 50 | 2.57
26 | 115 | 75 | 5.4289 | 5.4319 | 2085 | 2061 | 5.4304 | 0.0030008 | 9.0048e-06 |  |  |  | 80 | 2.74
29 | 128 | 20 | 3.5299 | 3.5363 | 3190 | 2085 | 3.5331 | 0.0064077 | 4.1059e-05 |  |  |  | 100 | 2.81
30 | 136 | 20 | 3.8472 | 3.8256 | 3198 | 3121 | 3.8364 | -0.021594 | 0.00046632 |  |  |  | 150 | 2.93
31 | 139 | 56 | 4.1729 | 4.156 | 1317 | 2065 | 4.1645 | -0.01692 | 0.0002863 |  |  |  | 200 | 3.02
32 | 146 | 150 | 0.08377 | 0.057644 | 2040 | 2073 | 0.070707 | -0.026127 | 0.00068261
33 | 161 | 20 | 4.4104 | 4.4211 | 2064 | 3009 | 4.4157 | 0.010669 | 0.00011383
34 | 167 | 50 | 4.64 | 4.6411 | 3203 | 3040 | 4.6406 | 0.001034 | 1.0692e-06
35 | 172 | 75 | 5.0258 | 5.0214 | 94 | 745 | 5.0236 | -0.0044671 | 1.9955e-05
36 | 181 | 10 | 5.5781 | 5.6098 | 1395 | 1397 | 5.594 | 0.031711 | 0.0010056
37 | 186 | 30 | 4.7209 | 4.7042 | 708 | 1322 | 4.7126 | -0.016724 | 0.00027968
38 | 193 | 20 | 5.0473 | 5.0267 | 2049 | 3019 | 5.037 | -0.020607 | 0.00042464
[7 empty] | mean diff | -0.0059388
[7 empty] | stdev | 0.020973
[9 empty] | ALL | 1 Outlier excluded
[8 empty] | count | 23 | 22
[8 empty] | SUM | 0.010488 | 0.0053216
[8 empty] | Sp | 0.0151 | 0.010997
Pooled standard deviation of pairs of samples (Sp) was calculated by:
Sp = SQRT{sum (d*d)/2k}
where k = no. of pairs and d = difference between pairs