## File List
Number of Files= |  | 11
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 2010-28-0006.mrg | 2010-28-0006.sam | 12 | 14 | 2010-28-0006.mrg & 2010-28-0006.sam
2 | 2010-28-0010.mrg | 2010-28-0010.sam | 16 | 18 | 2010-28-0010.mrg & 2010-28-0010.sam
3 | 2010-28-0012.mrg | 2010-28-0012.sam | 20 | 21 | 2010-28-0012.mrg & 2010-28-0012.sam
4 | 2010-28-0014.mrg | 2010-28-0014.sam | 23 | 24 | 2010-28-0014.mrg & 2010-28-0014.sam
5 | 2010-28-0020.mrg | 2010-28-0020.sam | 26 | 26 | 2010-28-0020.mrg & 2010-28-0020.sam
6 | 2010-28-0025.mrg | 2010-28-0025.sam | 28 | 28 | 2010-28-0025.mrg & 2010-28-0025.sam
7 | 2010-28-0026.mrg | 2010-28-0026.sam | 30 | 30 | 2010-28-0026.mrg & 2010-28-0026.sam
8 | 2010-28-0032.mrg | 2010-28-0032.sam | 32 | 32 | 2010-28-0032.mrg & 2010-28-0032.sam
9 | 2010-28-0033.mrg | 2010-28-0033.sam | 34 | 34 | 2010-28-0033.mrg & 2010-28-0033.sam
10 | 2010-28-0037.mrg | 2010-28-0037.sam | 36 | 36 | 2010-28-0037.mrg & 2010-28-0037.sam
11 | 2010-28-0039.mrg | 2010-28-0039.sam | 38 | 38 | 2010-28-0039.mrg & 2010-28-0039.sam

## (Sal0 - Sal_Bot)
Calculation of Linear Least Squares Fit For
(Sal0 - Sal_Bot)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal0 - Sal_Bot), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.00017727 |  | X | CALC Y
m= | 1.5622e-07 | 3.71e-06 |  | Std Dev of Resid |  | 0.0038018 |  | 11.1836 | 0.0053933
b= | 0.0053915 | 0.0013797 |  | Resid Sum of Squares |  | 0.00014454 |  | 1144.18 | 0.0055703
# of Values Extracted = |  |  | 17
# of Values Used in Fit = |  |  | 12
File | Use | Pressure | Sal0 | Sal0 | Diff (Sal0 - Sal_Bot) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 273.492 | 30.7986 | 0.00025915 | 0.010151 | 0.0054342 | -0.0047167 |  | 273.492 | 0.010151
1 | NO | 253.521 | 30.7147 | 0.00036825 | -0.024191 | 0.0054311 | 0.029622 |  | 250.489 | 0.008316
1 | NO | 10.9146 | 28.417 | 0.0002396 | -0.0095367 | 0.0053932 | 0.01493 |  | 11.5544 | -0.0012493
2 | YES | 250.489 | 30.616 | 0.00096612 | 0.008316 | 0.0054307 | -0.0028854 |  | 11.2347 | 0.0025692
2 | NO | 203.135 | 30.5736 | 0.00046023 | 0.013939 | 0.0054233 | -0.0085156 |  | 303.887 | 0.0031414 |  | 30.5597
2 | YES | 11.5544 | 28.728 | 0.0083087 | -0.0012493 | 0.0053933 | 0.0066426 |  | 253.95 | 0.0026169 |  | 28.7292
3 | NO | 92.7316 | 29.34 | 0.00021711 | -0.0062828 | 0.005406 | 0.011689 |  | 11.1836 | 0.00881 |  | 29.3463
3 | YES | 11.2347 | 29.2169 | 0.00017059 | 0.0025692 | 0.0053933 | 0.0028241 |  | 98.4682 | 0.0096741
4 | YES | 303.887 | 29.465 | 0.00023146 | 0.0031414 | 0.005439 | 0.0022976 |  | 91.3535 | 0.0088844
4 | YES | 253.95 | 29.4283 | 0.0026619 | 0.0026169 | 0.0054312 | 0.0028143 |  | 178.01 | 0.003437
5 | YES | 11.1836 | 31.2225 | 0.0019371 | 0.00881 | 0.0053933 | -0.0034168 |  | 76.4192 | 0.0038986
6 | YES | 98.4682 | 32.4635 | 0.00079645 | 0.0096741 | 0.0054069 | -0.0042672 |  | 1144.18 | 0.0048714
7 | YES | 91.3535 | 32.3986 | 0.00089106 | 0.0088844 | 0.0054058 | -0.0034786
8 | YES | 178.01 | 32.8022 | 0.00080152 | 0.003437 | 0.0054193 | 0.0019823 |  |  |  | 0.0054267 | 0.0036252
9 | NO | 127.202 | 32.7589 | 0.0004852 | -0.0021591 | 0.0054114 | 0.0075705
10 | YES | 76.4192 | 32.3427 | 0.00062434 | 0.0038986 | 0.0054035 | 0.0015048
11 | YES | 1144.18 | 34.4397 | 0.00030251 | 0.0048714 | 0.0055703 | 0.00069889
YES
NO
NO
YES
NO
YES
NO
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
FIT vs. Pressure
FIT vs. Sal0
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (Sal1 - Sal_Bot)
Calculation of Linear Least Squares Fit For
(Sal1 - Sal_Bot)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal1 - Sal_Bot), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.10836 |  | X | CALC Y
m= | -3.3907e-06 | 3.0758e-06 |  | Std Dev of Resid |  | 0.0031519 |  | 11.1836 | -0.015807
b= | -0.015769 | 0.0011438 |  | Resid Sum of Squares |  | 9.9343e-05 |  | 1144.18 | -0.019649
# of Values Extracted = |  |  | 17
# of Values Used in Fit = |  |  | 12
File | Use | Pressure | Sal1 | Sal1 | Diff (Sal1 - Sal_Bot) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 273.492 | 30.7766 | 0.00034624 | -0.011753 | -0.016697 | -0.0049437 |  | 273.492 | -0.011753
1 | NO | 253.521 | 30.6922 | 0.00047849 | -0.04669 | -0.016629 | 0.030061 |  | 250.489 | -0.011789
1 | NO | 10.9146 | 28.3979 | 0.00021594 | -0.028629 | -0.015806 | 0.012823 |  | 11.5544 | -0.016396
2 | YES | 250.489 | 30.5959 | 0.00044892 | -0.011789 | -0.016619 | -0.0048295 |  | 11.2347 | -0.017784
2 | NO | 203.135 | 30.5519 | 0.00033868 | -0.0077934 | -0.016458 | -0.0086648 |  | 303.887 | -0.018011
2 | YES | 11.5544 | 28.7128 | 0.0079068 | -0.016396 | -0.015809 | 0.00058699 |  | 253.95 | -0.017265
3 | NO | 92.7316 | 29.32 | 0.00023772 | -0.026295 | -0.016084 | 0.010211 |  | 11.1836 | -0.013004
3 | YES | 11.2347 | 29.1965 | 0.00028659 | -0.017784 | -0.015808 | 0.0019766 |  | 98.4682 | -0.015526
4 | YES | 303.887 | 29.4439 | 0.00025027 | -0.018011 | -0.0168 | 0.0012113 |  | 91.3535 | -0.015446
4 | YES | 253.95 | 29.4084 | 0.0013275 | -0.017265 | -0.016631 | 0.0006348 |  | 178.01 | -0.019928
5 | YES | 11.1836 | 31.2007 | 0.00084846 | -0.013004 | -0.015807 | -0.0028031 |  | 76.4192 | -0.020847
6 | YES | 98.4682 | 32.4383 | 0.00065816 | -0.015526 | -0.016103 | -0.00057751 |  | 1144.18 | -0.020653 | -0.016534 | 0.0031826
7 | YES | 91.3535 | 32.3743 | 0.00087072 | -0.015446 | -0.016079 | -0.00063348
8 | YES | 178.01 | 32.7789 | 0.00071943 | -0.019928 | -0.016373 | 0.003555
9 | NO | 127.202 | 32.7353 | 0.00031032 | -0.025772 | -0.016201 | 0.0095714
10 | YES | 76.4192 | 32.318 | 0.00034991 | -0.020847 | -0.016029 | 0.0048188
11 | YES | 1144.18 | 34.4141 | 0.0002565 | -0.020653 | -0.019649 | 0.0010038
YES
NO
NO
YES
NO
YES
NO
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
FIT vs. Pressure
FIT vs. Sal1
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (Sal0 - Sal_Bot) (2)
Calculation of Linear Least Squares Fit For
(Sal0 - Sal_Bot)
3
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal0 - Sal_Bot), Prop=File Pair #
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.00038001 |  | X | CALC Y
m= | -2.1928e-05 | 0.00035565 |  | Std Dev of Resid |  | 0.0038014 |  | 1 | 0.0055199
b= | 0.0055418 | 0.0021657 |  | Resid Sum of Squares |  | 0.00014451 |  | 11 | 0.0053006
# of Values Extracted = |  |  | 17
# of Values Used in Fit = |  |  | 12
File | Use | Pressure | Sal0 | Sal0 | Diff (Sal0 - Sal_Bot) |  |  |  | Fit vs. | File Pair #
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 273.492 | 30.7986 | 0.00025915 | 0.010151 | 0.0055199 | -0.004631 |  | 1 | 0.010151
1 | NO | 253.521 | 30.7147 | 0.00036825 | -0.024191 | 0.0055199 | 0.029711 |  | 2 | 0.008316
1 | NO | 10.9146 | 28.417 | 0.0002396 | -0.0095367 | 0.0055199 | 0.015057 |  | 2 | -0.0012493
2 | YES | 250.489 | 30.616 | 0.00096612 | 0.008316 | 0.005498 | -0.0028181 |  | 3 | 0.0025692
2 | NO | 203.135 | 30.5736 | 0.00046023 | 0.013939 | 0.005498 | -0.0084409 |  | 4 | 0.0031414
2 | YES | 11.5544 | 28.728 | 0.0083087 | -0.0012493 | 0.005498 | 0.0067473 |  | 4 | 0.0026169
3 | NO | 92.7316 | 29.34 | 0.00021711 | -0.0062828 | 0.0054761 | 0.011759 |  | 5 | 0.00881
3 | YES | 11.2347 | 29.2169 | 0.00017059 | 0.0025692 | 0.0054761 | 0.0029069 |  | 6 | 0.0096741
4 | YES | 303.887 | 29.465 | 0.00023146 | 0.0031414 | 0.0054541 | 0.0023127 |  | 7 | 0.0088844
4 | YES | 253.95 | 29.4283 | 0.0026619 | 0.0026169 | 0.0054541 | 0.0028373 |  | 8 | 0.003437
5 | YES | 11.1836 | 31.2225 | 0.0019371 | 0.00881 | 0.0054322 | -0.0033778 |  | 10 | 0.0038986
6 | YES | 98.4682 | 32.4635 | 0.00079645 | 0.0096741 | 0.0054103 | -0.0042638 |  | 11 | 0.0048714
7 | YES | 91.3535 | 32.3986 | 0.00089106 | 0.0088844 | 0.0053883 | -0.0034961
8 | YES | 178.01 | 32.8022 | 0.00080152 | 0.003437 | 0.0053664 | 0.0019294
9 | NO | 127.202 | 32.7589 | 0.0004852 | -0.0021591 | 0.0053445 | 0.0075036
10 | YES | 76.4192 | 32.3427 | 0.00062434 | 0.0038986 | 0.0053226 | 0.0014239
11 | YES | 1144.18 | 34.4397 | 0.00030251 | 0.0048714 | 0.0053006 | 0.00042927
YES
NO
NO
YES
NO
YES
NO
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
FIT vs. Pressure
FIT vs. Sal0
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (Sal1 - Sal_Bot) (2)
Calculation of Linear Least Squares Fit For
(Sal1 - Sal_Bot)
3
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal1 - Sal_Bot), Prop=File Pair #
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.53265 |  | X | CALC Y
m= | -0.00072072 | 0.00021348 |  | Std Dev of Resid |  | 0.0022819 |  | 1 | -0.01347
b= | -0.01275 | 0.0013 |  | Resid Sum of Squares |  | 5.207e-05 |  | 11 | -0.020678
# of Values Extracted = |  |  | 17
# of Values Used in Fit = |  |  | 12
File | Use | Pressure | Sal1 | Sal1 | Diff (Sal1 - Sal_Bot) |  |  |  | Fit vs. | File Pair #
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 273.492 | 30.7766 | 0.00034624 | -0.011753 | -0.01347 | -0.0017174 |  | 1 | -0.011753
1 | NO | 253.521 | 30.6922 | 0.00047849 | -0.04669 | -0.01347 | 0.03322 |  | 2 | -0.011789
1 | NO | 10.9146 | 28.3979 | 0.00021594 | -0.028629 | -0.01347 | 0.015159 |  | 2 | -0.016396
2 | YES | 250.489 | 30.5959 | 0.00044892 | -0.011789 | -0.014191 | -0.0024019 |  | 3 | -0.017784
2 | NO | 203.135 | 30.5519 | 0.00033868 | -0.0077934 | -0.014191 | -0.0063978 |  | 4 | -0.018011
2 | YES | 11.5544 | 28.7128 | 0.0079068 | -0.016396 | -0.014191 | 0.0022044 |  | 4 | -0.017265
3 | NO | 92.7316 | 29.32 | 0.00023772 | -0.026295 | -0.014912 | 0.011383 |  | 5 | -0.013004
3 | YES | 11.2347 | 29.1965 | 0.00028659 | -0.017784 | -0.014912 | 0.0028722 |  | 6 | -0.015526
4 | YES | 303.887 | 29.4439 | 0.00025027 | -0.018011 | -0.015633 | 0.0023785 |  | 7 | -0.015446
4 | YES | 253.95 | 29.4084 | 0.0013275 | -0.017265 | -0.015633 | 0.0016327 |  | 8 | -0.019928
5 | YES | 11.1836 | 31.2007 | 0.00084846 | -0.013004 | -0.016353 | -0.0033491 |  | 10 | -0.020847
6 | YES | 98.4682 | 32.4383 | 0.00065816 | -0.015526 | -0.017074 | -0.0015483 |  | 11 | -0.020653
7 | YES | 91.3535 | 32.3743 | 0.00087072 | -0.015446 | -0.017795 | -0.0023491
8 | YES | 178.01 | 32.7789 | 0.00071943 | -0.019928 | -0.018516 | 0.0014125
9 | NO | 127.202 | 32.7353 | 0.00031032 | -0.025772 | -0.019236 | 0.0065359
10 | YES | 76.4192 | 32.318 | 0.00034991 | -0.020847 | -0.019957 | 0.00089035
11 | YES | 1144.18 | 34.4141 | 0.0002565 | -0.020653 | -0.020678 | -2.487e-05
YES
NO
NO
YES
NO
YES
NO
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
FIT vs. Pressure
FIT vs. Sal1
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (Sal0 - Sal_Bot) (3)
Calculation of Linear Least Squares Fit For
(Sal0 - Sal_Bot)
2
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal0 - Sal_Bot), Prop=Sal0
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.18739 |  | X | CALC Y
m= | 0.00089159 | 0.00058713 |  | Std Dev of Resid |  | 0.0034275 |  | 28.728 | 0.0032582
b= | -0.022355 | 0.018322 |  | Resid Sum of Squares |  | 0.00011747 |  | 34.4397 | 0.0083507
# of Values Extracted = |  |  | 17
# of Values Used in Fit = |  |  | 12
File | Use | Pressure | Sal0 | Sal0 | Diff (Sal0 - Sal_Bot) |  |  |  | Fit vs. | Sal0
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 273.492 | 30.7986 | 0.00025915 | 0.010151 | 0.0051044 | -0.0050465 |  | 30.7986 | 0.010151
1 | NO | 253.521 | 30.7147 | 0.00036825 | -0.024191 | 0.0050296 | 0.02922 |  | 30.616 | 0.008316
1 | NO | 10.9146 | 28.417 | 0.0002396 | -0.0095367 | 0.002981 | 0.012518 |  | 28.728 | -0.0012493
2 | YES | 250.489 | 30.616 | 0.00096612 | 0.008316 | 0.0049416 | -0.0033745 |  | 29.2169 | 0.0025692
2 | NO | 203.135 | 30.5736 | 0.00046023 | 0.013939 | 0.0049037 | -0.0090352 |  | 29.465 | 0.0031414
2 | YES | 11.5544 | 28.728 | 0.0083087 | -0.0012493 | 0.0032582 | 0.0045075 |  | 29.4283 | 0.0026169
3 | NO | 92.7316 | 29.34 | 0.00021711 | -0.0062828 | 0.0038039 | 0.010087 |  | 31.2225 | 0.00881
3 | YES | 11.2347 | 29.2169 | 0.00017059 | 0.0025692 | 0.0036941 | 0.0011249 |  | 32.4635 | 0.0096741
4 | YES | 303.887 | 29.465 | 0.00023146 | 0.0031414 | 0.0039153 | 0.00077393 |  | 32.3986 | 0.0088844
4 | YES | 253.95 | 29.4283 | 0.0026619 | 0.0026169 | 0.0038826 | 0.0012657 |  | 32.8022 | 0.003437
5 | YES | 11.1836 | 31.2225 | 0.0019371 | 0.00881 | 0.0054823 | -0.0033277 |  | 32.3427 | 0.0038986
6 | YES | 98.4682 | 32.4635 | 0.00079645 | 0.0096741 | 0.0065888 | -0.0030853 |  | 34.4397 | 0.0048714
7 | YES | 91.3535 | 32.3986 | 0.00089106 | 0.0088844 | 0.0065309 | -0.0023535
8 | YES | 178.01 | 32.8022 | 0.00080152 | 0.003437 | 0.0068907 | 0.0034537
9 | NO | 127.202 | 32.7589 | 0.0004852 | -0.0021591 | 0.0068521 | 0.0090113
10 | YES | 76.4192 | 32.3427 | 0.00062434 | 0.0038986 | 0.0064811 | 0.0025824
11 | YES | 1144.18 | 34.4397 | 0.00030251 | 0.0048714 | 0.0083507 | 0.0034793
YES
NO
NO
YES
NO
YES
NO
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
FIT vs. Pressure
FIT vs. Sal0
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Main
# Channels= | 3 |  |  |  | COMPARE Version 3.3 | Run at 2011/03/10 11:25:03
| Primary | Secondary |  | Comparison Name
Ref | Pressure | Pressure |  | Pressure - Pressure
Comp 1 | Sal_Bot | Sal0 |  | Sal0 - Sal_Bot
Comp 2 | Sal_Bot | Sal1 |  | Sal1 - Sal_Bot
Average Size: | 1
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | Pressure | Pressure | Pressure | (S-P) | Sal_Bot | Sal0 | Sal0 | (S-P) | Sal_Bot | Sal1 | Sal1 | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
2010-28-0006.mrg | 2010-28-0006.sam | 121 | 273.492 | 273.492 | 0.03631 | -9.1553e-05 | 30.7884 | 30.7986 | 0.00025915 | 0.010151 | 30.7884 | 30.7766 | 0.00034624 | -0.011753
2010-28-0006.mrg | 2010-28-0006.sam | 121 | 253.521 | 253.521 | 0.032004 | 0.00024414 | 30.7389 | 30.7147 | 0.00036825 | -0.024191 | 30.7389 | 30.6922 | 0.00047849 | -0.04669
2010-28-0006.mrg | 2010-28-0006.sam | 121 | 10.915 | 10.9146 | 0.032681 | -0.00037193 | 28.4265 | 28.417 | 0.0002396 | -0.0095367 | 28.4265 | 28.3979 | 0.00021594 | -0.028629
2010-28-0010.mrg | 2010-28-0010.sam | 121 | 250.489 | 250.489 | 0.031025 | -0.00038147 | 30.6077 | 30.616 | 0.00096612 | 0.008316 | 30.6077 | 30.5959 | 0.00044892 | -0.011789
2010-28-0010.mrg | 2010-28-0010.sam | 121 | 203.135 | 203.135 | 0.051888 | -0.00022888 | 30.5597 | 30.5736 | 0.00046023 | 0.013939 | 30.5597 | 30.5519 | 0.00033868 | -0.0077934
2010-28-0010.mrg | 2010-28-0010.sam | 121 | 11.554 | 11.5544 | 0.031217 | 0.00044632 | 28.7292 | 28.728 | 0.0083087 | -0.0012493 | 28.7292 | 28.7128 | 0.0079068 | -0.016396
2010-28-0012.mrg | 2010-28-0012.sam | 121 | 92.732 | 92.7316 | 0.031583 | -0.00038147 | 29.3463 | 29.34 | 0.00021711 | -0.0062828 | 29.3463 | 29.32 | 0.00023772 | -0.026295
2010-28-0012.mrg | 2010-28-0012.sam | 121 | 11.235 | 11.2347 | 0.0366 | -0.00033855 | 29.2143 | 29.2169 | 0.00017059 | 0.0025692 | 29.2143 | 29.1965 | 0.00028659 | -0.017784
2010-28-0014.mrg | 2010-28-0014.sam | 121 | 303.887 | 303.887 | 0.032418 | 9.1553e-05 | 29.4619 | 29.465 | 0.00023146 | 0.0031414 | 29.4619 | 29.4439 | 0.00025027 | -0.018011
2010-28-0014.mrg | 2010-28-0014.sam | 121 | 253.95 | 253.95 | 0.040375 | 0.00036621 | 29.4257 | 29.4283 | 0.0026619 | 0.0026169 | 29.4257 | 29.4084 | 0.0013275 | -0.017265
2010-28-0020.mrg | 2010-28-0020.sam | 121 | 11.184 | 11.1836 | 0.19806 | -0.00042152 | 31.2137 | 31.2225 | 0.0019371 | 0.00881 | 31.2137 | 31.2007 | 0.00084846 | -0.013004
2010-28-0025.mrg | 2010-28-0025.sam | 121 | 98.468 | 98.4682 | 0.35161 | 0.00021362 | 32.4538 | 32.4635 | 0.00079645 | 0.0096741 | 32.4538 | 32.4383 | 0.00065816 | -0.015526
2010-28-0026.mrg | 2010-28-0026.sam | 121 | 91.354 | 91.3535 | 0.20723 | -0.00049591 | 32.3897 | 32.3986 | 0.00089106 | 0.0088844 | 32.3897 | 32.3743 | 0.00087072 | -0.015446
2010-28-0032.mrg | 2010-28-0032.sam | 121 | 178.01 | 178.01 | 0.030703 | -0.00048828 | 32.7988 | 32.8022 | 0.00080152 | 0.003437 | 32.7988 | 32.7789 | 0.00071943 | -0.019928
2010-28-0033.mrg | 2010-28-0033.sam | 121 | 127.202 | 127.202 | 0.036891 | 8.3923e-05 | 32.7611 | 32.7589 | 0.0004852 | -0.0021591 | 32.7611 | 32.7353 | 0.00031032 | -0.025772
2010-28-0037.mrg | 2010-28-0037.sam | 121 | 76.419 | 76.4192 | 0.033619 | 0.00021362 | 32.3388 | 32.3427 | 0.00062434 | 0.0038986 | 32.3388 | 32.318 | 0.00034991 | -0.020847
2010-28-0039.mrg | 2010-28-0039.sam | 121 | 1144.18 | 1144.18 | 0.26865 | -0.00036621 | 34.4348 | 34.4397 | 0.00030251 | 0.0048714 | 34.4348 | 34.4141 | 0.0002565 | -0.020653
Create Fit Sheet