## File List
Number of Files= |  | 11
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 2010-57-0001.mrgcln2 | 2010-57-0001.sam | 12 | 12 | 2010-57-0001.mrgcln2 & 2010-57-0001.sam
2 | 2010-57-0002.mrgcln2 | 2010-57-0002.sam | 14 | 14 | 2010-57-0002.mrgcln2 & 2010-57-0002.sam
3 | 2010-57-0003.mrgcln2 | 2010-57-0003.sam | 16 | 16 | 2010-57-0003.mrgcln2 & 2010-57-0003.sam
4 | 2010-57-0004.mrgcln2 | 2010-57-0004.sam | 18 | 18 | 2010-57-0004.mrgcln2 & 2010-57-0004.sam
5 | 2010-57-0005.mrgcln2 | 2010-57-0005.sam | 20 | 20 | 2010-57-0005.mrgcln2 & 2010-57-0005.sam
6 | 2010-57-0007.mrgcln2 | 2010-57-0007.sam | 22 | 22 | 2010-57-0007.mrgcln2 & 2010-57-0007.sam
7 | 2010-57-0008.mrgcln2 | 2010-57-0008.sam | 24 | 24 | 2010-57-0008.mrgcln2 & 2010-57-0008.sam
8 | 2010-57-0009.mrgcln2 | 2010-57-0009.sam | 26 | 26 | 2010-57-0009.mrgcln2 & 2010-57-0009.sam
9 | 2010-57-0010.mrgcln2 | 2010-57-0010.sam | 28 | 28 | 2010-57-0010.mrgcln2 & 2010-57-0010.sam
10 | 2010-57-0011.mrgcln2 | 2010-57-0011.sam | 30 | 32 | 2010-57-0011.mrgcln2 & 2010-57-0011.sam
11 | 2010-57-0013.mrgcln2 | 2010-57-0013.sam | 34 | 36 | 2010-57-0013.mrgcln2 & 2010-57-0013.sam

## (Sal0 - Sal_Bot)
Calculation of Linear Least Squares Fit For
(Sal0 - Sal_Bot)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal0 - Sal_Bot), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.61049 |  | X | CALC Y
m= | -1.0267e-05 | 8.201e-06 |  | Std Dev of Resid |  | 0.0013411 |  | 100.472 | 0.00022109
b= | 0.0012527 | 0.0018933 |  | Resid Sum of Squares |  | 1.7985e-06 |  | 331.06 | -0.0021464
# of Values Extracted = |  |  | 15
# of Values Used in Fit = |  |  | 3
File | Use | Pressure | Sal0 | Sal0 | Diff (Sal0 - Sal_Bot) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 1.1995 | 20.4834 | 0.23262 | -0.49851 | 0.0012403 | 0.49975 |  | 331.06 | -0.0016727
2 | NO | 1.5101 | 16.2107 | 2.0106 | 7.3581 | 0.0012372 | -7.3569 |  | 200.509 | -0.0018978
3 | NO | 3.3331 | 22.2031 | 0.84971 | 5.0482 | 0.0012184 | -5.047 |  | 100.472 | 0.00083923 | -0.00091044 | 0.0015194
4 | NO | 2.4424 | 13.2685 | 0.10004 | 0.40566 | 0.0012276 | -0.40443
5 | NO | 3.0495 | 11.9741 | 0.21396 | 0.65575 | 0.0012213 | -0.65453
6 | NO | 2.7703 | 14.743 | 0.43912 | 0.035269 | 0.0012242 | -0.034045
7 | NO | 2.0515 | 16.6866 | 0.029688 | -0.17916 | 0.0012316 | 0.18039
8 | NO | 2.2201 | 19.1608 | 0.11417 | 1.6292 | 0.0012299 | -1.628
9 | NO | 2.2762 | 17.6626 | 0.18055 | 0.8086 | 0.0012293 | -0.80737
10 | YES | 331.06 | 30.6627 | 0.00019969 | -0.0016727 | -0.0021464 | -0.00047366
10 | YES | 200.509 | 30.5561 | 0.00020777 | -0.0018978 | -0.00080601 | 0.0010918
10 | YES | 100.472 | 30.1469 | 0.0002477 | 0.00083923 | 0.00022109 | -0.00061814
11 | NO | 306.004 | 31.4529 | 0.0052423 | 0.013861 | -0.0018891 | -0.01575
11 | NO | 199.972 | 30.8172 | 0.00022058 | -0.011746 | -0.00080049 | 0.010945
11 | NO | 100.54 | 30.3486 | 0.0012821 | -0.020994 | 0.00022039 | 0.021215
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
NO
NO
NO
FIT vs. Pressure
FIT vs. Sal0
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (Sal1 - Sal_Bot)
Calculation of Linear Least Squares Fit For
(Sal1 - Sal_Bot)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal1 - Sal_Bot), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.15195 |  | X | CALC Y
m= | 2.3445e-05 | 3.9165e-05 |  | Std Dev of Resid |  | 0.0064148 |  | 100.472 | -0.011841
b= | -0.014197 | 0.0087552 |  | Resid Sum of Squares |  | 8.23e-05 |  | 331.06 | -0.0064347
# of Values Extracted = |  |  | 15
# of Values Used in Fit = |  |  | 4
File | Use | Pressure | Sal1 | Sal1 | Diff (Sal1 - Sal_Bot) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 1.1995 | 20.5881 | 0.18685 | -0.39385 | -0.014168 | 0.37968 |  | 331.06 | -0.0025425
2 | NO | 1.5101 | 15.8903 | 1.6157 | 7.0377 | -0.014161 | -7.0519 |  | 200.509 | -0.014585
3 | NO | 3.3331 | 21.7304 | 1.0003 | 4.5755 | -0.014118 | -4.5896 |  | 100.472 | -0.0067406
4 | NO | 2.4424 | 13.2133 | 0.054852 | 0.35053 | -0.014139 | -0.36467 |  | 199.972 | -0.013411 | -0.0093198 | 0.0056876
5 | NO | 3.0495 | 12.1097 | 0.29234 | 0.79143 | -0.014125 | -0.80556
6 | NO | 2.7703 | 14.9713 | 0.63865 | 0.2636 | -0.014132 | -0.27773
7 | NO | 2.0515 | 16.6842 | 0.024602 | -0.18162 | -0.014148 | 0.16747
8 | NO | 2.2201 | 19.4707 | 0.25506 | 1.939 | -0.014144 | -1.9532
9 | NO | 2.2762 | 17.7694 | 0.14852 | 0.91535 | -0.014143 | -0.92949
10 | YES | 331.06 | 30.6619 | 0.00021129 | -0.0025425 | -0.0064347 | -0.0038922
10 | YES | 200.509 | 30.5434 | 0.00042279 | -0.014585 | -0.0094955 | 0.00509
10 | YES | 100.472 | 30.1394 | 0.000298 | -0.0067406 | -0.011841 | -0.0051003
11 | NO | 306.004 | 31.4526 | 0.0043556 | 0.01359 | -0.0070221 | -0.020612
11 | YES | 199.972 | 30.8155 | 0.00021212 | -0.013411 | -0.0095081 | 0.0039025
11 | NO | 100.54 | 30.3476 | 0.0010585 | -0.021975 | -0.011839 | 0.010135
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
NO
YES
NO
FIT vs. Pressure
FIT vs. Sal1
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Main
# Channels= | 3 |  |  |  | COMPARE Version 3.3 | Run at 2011/05/12 11:29:11
| Primary | Secondary |  | Comparison Name
Ref | Pressure | Pressure |  | Pressure - Pressure
Comp 1 | Sal_Bot | Sal0 |  | Sal0 - Sal_Bot
Comp 2 | Sal_Bot | Sal1 |  | Sal1 - Sal_Bot
Average Size: | 1
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | Pressure | Pressure | Pressure | (S-P) | Sal_Bot | Sal0 | Sal0 | (S-P) | Sal_Bot | Sal1 | Sal1 | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
2010-57-0001.mrgcln2 | 2010-57-0001.sam | 345 | 1.201 | 1.1995 | 0.037581 | -0.0014522 | 20.9819 | 20.4834 | 0.23262 | -0.49851 | 20.9819 | 20.5881 | 0.18685 | -0.39385
2010-57-0002.mrgcln2 | 2010-57-0002.sam | 302 | 1.467 | 1.5101 | 0.16221 | 0.04306 | 8.8526 | 16.2107 | 2.0106 | 7.3581 | 8.8526 | 15.8903 | 1.6157 | 7.0377
2010-57-0003.mrgcln2 | 2010-57-0003.sam | 272 | 3.336 | 3.3331 | 0.037049 | -0.0028603 | 17.1549 | 22.2031 | 0.84971 | 5.0482 | 17.1549 | 21.7304 | 1.0003 | 4.5755
2010-57-0004.mrgcln2 | 2010-57-0004.sam | 275 | 2.444 | 2.4424 | 0.025977 | -0.001611 | 12.8628 | 13.2685 | 0.10004 | 0.40566 | 12.8628 | 13.2133 | 0.054852 | 0.35053
2010-57-0005.mrgcln2 | 2010-57-0005.sam | 327 | 3.048 | 3.0495 | 0.036345 | 0.0014861 | 11.3183 | 11.9741 | 0.21396 | 0.65575 | 11.3183 | 12.1097 | 0.29234 | 0.79143
2010-57-0007.mrgcln2 | 2010-57-0007.sam | 313 | 2.769 | 2.7703 | 0.029138 | 0.0013163 | 14.7077 | 14.743 | 0.43912 | 0.035269 | 14.7077 | 14.9713 | 0.63865 | 0.2636
2010-57-0008.mrgcln2 | 2010-57-0008.sam | 271 | 2.051 | 2.0515 | 0.038365 | 0.00045753 | 16.8658 | 16.6866 | 0.029688 | -0.17916 | 16.8658 | 16.6842 | 0.024602 | -0.18162
2010-57-0009.mrgcln2 | 2010-57-0009.sam | 400 | 2.221 | 2.2201 | 0.02709 | -0.00090241 | 17.5316 | 19.1608 | 0.11417 | 1.6292 | 17.5316 | 19.4707 | 0.25506 | 1.939
2010-57-0010.mrgcln2 | 2010-57-0010.sam | 366 | 2.274 | 2.2762 | 0.04343 | 0.0022242 | 16.854 | 17.6626 | 0.18055 | 0.8086 | 16.854 | 17.7694 | 0.14852 | 0.91535
2010-57-0011.mrgcln2 | 2010-57-0011.sam | 285 | 331.063 | 331.06 | 0.034453 | -0.0029297 | 30.6644 | 30.6627 | 0.00019969 | -0.0016727 | 30.6644 | 30.6619 | 0.00021129 | -0.0025425
2010-57-0011.mrgcln2 | 2010-57-0011.sam | 293 | 200.508 | 200.509 | 0.034114 | 0.00057983 | 30.558 | 30.5561 | 0.00020777 | -0.0018978 | 30.558 | 30.5434 | 0.00042279 | -0.014585
2010-57-0011.mrgcln2 | 2010-57-0011.sam | 293 | 100.473 | 100.472 | 0.027908 | -0.00087738 | 30.1461 | 30.1469 | 0.0002477 | 0.00083923 | 30.1461 | 30.1394 | 0.000298 | -0.0067406
2010-57-0013.mrgcln2 | 2010-57-0013.sam | 281 | 306.004 | 306.004 | 0.047482 | -0.00033569 | 31.439 | 31.4529 | 0.0052423 | 0.013861 | 31.439 | 31.4526 | 0.0043556 | 0.01359
2010-57-0013.mrgcln2 | 2010-57-0013.sam | 297 | 199.973 | 199.972 | 0.045866 | -0.0013275 | 30.8289 | 30.8172 | 0.00022058 | -0.011746 | 30.8289 | 30.8155 | 0.00021212 | -0.013411
2010-57-0013.mrgcln2 | 2010-57-0013.sam | 276 | 100.544 | 100.54 | 0.047727 | -0.004097 | 30.3696 | 30.3486 | 0.0012821 | -0.020994 | 30.3696 | 30.3476 | 0.0010585 | -0.021975
Create Fit Sheet