## REVISION NOTICE TABLE

| ### DATE | ### DESCRIPTION OF REVISION |
| --- | --- |
| 1 April 2025 | Updated channel names & formats in TOB files. GG |

## PROCESSING NOTES

Cruise: 2010-69

Agency: OSD

Location: WCVI / Discovery Islands / Effingham Inlet

Project: La Perouse, Aquaculture, Effingham, Neptune

Party Chief: Juhasz

Platform: John P. Tully

Date: September 14, 2010 – 22 September 2010

Processed by: Germaine Gatien

Date of Processing: 26 June 2011 – 20 July 2011

Number of CTD files:   30     		Number of CTD casts processed:  29 (1 up only)

Number of bottle casts:	17			Number of bottle casts processed: 17

Number of original TSG files:  1	         	Number of TSG files processed:  1

# INSTRUMENT SUMMARY

Two SeaBird Model SBE 911+ CTDs were used for this cruise.

- CTD #0443 was used for casts 1-13. It was mounted in a rosette and attached were a Wetlabs CSTAR transmissometer (#1185DR), an SBE 43 DO sensor (#1483), a Seapoint Fluorometer (#2356) with a 3X cable, an altimeter (#1252) and a Biospherical QSP-400 PAR sensor #4694.

- CTD #0506 was used for casts 14-30. It was mounted in a rosette and attached were a Wetlabs CSTAR transmissometer (#1185DR), an SBE 43 DO sensor (#1176) on the primary pump), a Seapoint Fluorometer (#2356) with a 3X cable and an altimeter (#1024).

Seasave version 7.20 was used for all casts.

The salinometer used at IOS was a Guildline model 8400B Autosal, serial # 68572.

A thermosalinograph (SeaBird 21 S/N 2488) was mounted with a Wetlab/Wetstar fluorometer (WS3S-713P), remote temperature sensor #2416 and a flow meter.

# SUMMARY OF QUALITY AND CONCERNS

The CTD log lacked an equipment list. This cruise immediately followed 2010-14 and 2010-15, and there may have been an assumption that nothing had changed and the previous entries were correct. In fact, there had been an error in the configuration file used for CTD #0443 on both those cruises. This was discovered later and noted on only one copy of the configuration file in the folder for 2010-69, but no correction was noted on the con file stapled into the log. The error was not noted anywhere in the logs or other documents for the two other cruses. Processing of dissolved oxygen for 2010-14 and 2010-15 had to be redone when this error was discovered. This highlights the need for a list of equipment in the log and the necessity to check the entries by visual inspection of the CTD. It also highlights the need to alert the data processor and chief scientist when an error is found.

For this cruise, and the previous one, no one recorded that a thermosalinograph was in use. If the data are not delivered to the data processor, as often happens with TSG data, and the log gives no clue that the TSG was in use, the data could be lost. Completing both sides of the 1st page in the log book is important – you can enter N/A or draw a line through those parts that don’t apply to your cruise. Even noting that you don’t know is more useful than a complete blank.

There were errors in the rosette logs from cast #8 onwards with 2 salinity samples not recorded and 2 entered in the wrong column. Some oxygen sampling was not noted. Once again, if a sample goes missing we won’t know to look for it unless this is recorded in the log.

CTD #0443 shows evidence of the two T/C sensor pairs being slightly out of alignment with each other and having spikes that suggest flow rate irregularities. Both channels are affected.

Two DO sensors were used and both proved problematic on other recent cruises. For the first system DO sensor #1483 appears to have performed reasonably well, which suggests that the problems during 2010-15 may have been largely due to unusual conditions that made a good fit difficult. For the second system DO #1176 does not show any evidence of the problem seen on 2010-14 and 2010-15 when some casts had  “noisy” oxygen voltage and the fits against bottles had a significantly larger offset than for other casts. The problems in the earlier cruise may have been caused by pressure spiking which was only a minor issue for this cruise.

The comparison between SBE Dissolved Oxygen and bottle samples always shows a lot of scatter in the Effingham Inlet casts, but for this cruise the problems were worse than usual. The dissolved oxygen analyst noted that many samples from Effingham Inlet had chunky precipitate and apparently had not been shaken well enough. There were no duplicates among those samples.

A rough estimate of DO precision for sensor #1483 (CTD #0443) is:

•	±0.4ml/l from 0-100 db

•	±0.2ml/l from 100-300 db

•	±0.05ml/l below 300db

No estimate could be made for sensor #1176 (CTD #0506) due to the poor calibration sampling.

Salinity calibration was also problematic for this cruise. One bottle, at most, was fired during each cast and since the sensors were changed mid-way this provides little evidence, particularly for the second CTD since sampling with that was all shallow. Complicating the issues are some inconsistencies between the history of the sensors and the results of post-cruise calibrations.

It would be helpful to sample DO and Salinity for a full profile for at least one cast for each CTD, at the deepest cast possible. If there is no time for a full profile, at least a few bottles would help. There were deep casts available after the CTD switch, but no sampling was done at those.

Thermosalinograph acquisition did not start until the ship entered Effingham Inlet. There was a new channel included that is very interesting; “Position:New” will be archived as it distinguishes between times when the ship was moving (1) or stopped (0). During stops there are frequent 0 entries. In areas of high surface gradients such as Effingham Inlet this factor enables us to see that the water sampled while steaming comes from higher in the water column than when the ship is stopped.

There was no loop sampling and the only CTD casts that overlap with the TSG record come from an area of high variability. The flow rate in the loop was about 1.9; the manufacturer recommends a rate of 1. Changes in flow rate have been found to affect salinity values in the past, perhaps because it affects how much bubbling occurs. The salinity channel was recalibrated based on the results of 2010-14 and 2010-15, but since those cruises had a flow rate of about 1, the number of significant figures was reduced by one to reflect that confidence in the salinity accuracy is lower than usual.

# PROCESSING SUMMARY

##### Seasave

This step was completed at sea; the raw data files have extension HEX.

##### Preliminary Steps

The Log Book and rosette log sheets were obtained. There was no list of equipment, though 2 configuration files were printed and attached to the log. Unfortunately the list for CTD #0443 was incorrect, as it had the wrong serial number for the DO sensor and the parameters entered were wrong. The discovery of this error was not entered in the log or communicated to the CTD data processor or chief scientist. Moreover, the error had occurred on two previous cruises which were completely processed before it was discovered; there was no note in the folders or logs of either of those cruises. This highlights a need to improve record keeping:

- An equipment list in the log is essential and it must be confirmed by visual inspection of the CTD just before use.

- If changes in equipment are made during the cruise, note this in the log, and if the change was due to a malfunction give a brief explanation as this may affect how the data is treated later.

- When errors are discovered they should be communicated immediately to the data processor and chief scientist of any cruise that might be affected.

- When a configuration file is changed during the cruise, mention it in the log with an explanation.

The rosette sheets contain errors with sampling ticked off in the wrong column or not entered at all.

Dissolved oxygen and salinity data were obtained in spreadsheet format from the analysts. The file creation date was added to the names of those files to avoid confusion in case some changes need to be made later.

The cruise summary sheet was completed.

The history of the pressure sensor, conductivity and DO sensors were obtained.

A few of the raw files had non-standard file names, just a missing “0”, so that was added, as needed.

The calibration constants were checked for all instruments for the 2 configurations. There were a number of errors in the con files:

For CTD #0443

- The pressure offset has been increased to +7db based on other 2010 cruises.

- The dissolved oxygen serial number was wrong so the parameters were wrong. The #1483 data were entered.

After those changes were made, the configuration file was saved as 2010-69-0443.con

For CTD #0506:

- The pressure slope and offset were wrong, so were corrected.

- The data entered for the dissolved oxygen sensor were from an earlier calibration; a more recent one in November 2009 should have been used.

After those changes were made, the configuration file was saved as 2010-69-0550.con

##### Conversion of Raw Data

Data were converted using configuration files:

2010-69-0443.con for casts #1-13

2010-69-0506.con for casts #14-30

The configurations each had a PAR:Reference channel, but there was no signal, so the data were reconverted without it. PAR was present only for casts 1-7, so will need to be removed later from casts #8-13.

A few casts were examined and all expected channels are present.

- For CTD #0443 the differences between temperature channels is small during the downcast, but larger for the upcast where both traces are noisy. There downcast spikes look like the result of shed wakes, but the upcast spikes are more numerous and not obviously due to shed wakes. This looks like some sort of alignment problem in the upcast either due to erratic flow in the plumbing or package motion. Similar features have been noted in other cruises and with other CTDs. The conductivity channels are much like the temperature pair. The DO voltage looks normal. The fluorescence dark value is ~0.07-0.1ug/L and noisy.  PAR looks fine. The altimetry looks fine and transmissivity values are reasonable at ~88.4%/m in deep water.

- For CTD #0506 the results were similar except that the fluorescence dark value was lower at ~0.02ug/L, there was no PAR sensor, and while the temperature and conductivity traces look very close on the downcasts with little spiking, the upcasts show even greater alignment problems than for #0443.

During 2010-36 and 2010-14 the DO sensor used on CTD #0506 flipped between two states with different fits of SBE versus bottles and with a different basic noise level in the DO voltage.

During 2010-14 and 2010-15 the DO sensor used on CTD #0443 showed evidence of hysteresis and the fits against titrated DO varied more than expected between different casts and in the case of 2010-15 between different depths and geographic areas. The deepest cast for this cruise is ~2200db so hysteresis should not be a problem.

The only cast affected by spikes for this cruise was #12/13. The connection to the CTD was lost at 1176m on the upcast. There is a file #13 which contains only data from 831.6db to 818.8db. Since there was no rosette sampling and the full downcast is available, there is no need join casts. Cast #13 will not be processed further.

##### Rosette File Conversion and Study of Split Casts

Rosette files were converted using a start time of -5s and duration of 10s. The Tau and hysteresis corrections were chosen. Bottle Position in Carousel was converted.

The rosette files were then converted to IOS SHELL files. CLEAN was run to add event numbers, with output named *.BOT. Temperature and salinity were plotted for all BOT files and no individual spikes were found, though some casts looked noisy at the bottom and/or surface. No editing is appropriate in those cases as there is no way to distinguish noise from signal.

##### WILDEDIT

Program WILDEDIT was run to remove spikes from the pressure, conductivity & temperature only.

Parameters used were: 	Pass 1    Std Dev = 2 	Pass 2    Std Dev = 5 	Points per block = 50

The parameter “Keep data within this distance of the mean” was set to 0 so all spikes would be removed.

##### CELLTM

Tests were run comparing a variety of settings for CELLTM using 2 casts from each CTD. The results were not very satisfactory with too much noise in the data to make the best choice clear, though all settings tested were an improvement over the original data. Overall (α = 0.02, β=7) or (α = 0.02, β=9) seemed best for the primary conductivity for CTD #0443 and (α = 0.02, β=9) was best for the secondary for CTD #0443 and for both channels for CTD #0506.

CELLTM was run on all casts using (α = 0.02, β=9) for both channels.

##### DERIVE

Program DERIVE was run twice:

on all casts to calculate primary and secondary salinity and dissolved oxygen concentration.

on a few casts to calculate the differences between primary and secondary channels for temperature, conductivity and salinity. These were placed in a test directory and will not be archived.

##### Test Plots and Channel Check

A sample of casts was plotted to check for agreement between the pairs of T and C sensors. Included in the table are results from tests done for CTD #0443 during 2010-14, and 2010-15 for CTD #0506 during 2010-14. Those 2 cruises immediately preceded this cruise and had the same sensors as 2010-69. The differences are often noisy so these are very rough estimates and if there was a spike at the given depth, nearby values were chosen.

| Cast # | Press | T1-T0 | C1-C0 | S1-S0 | Descent Rate |
| --- | --- | --- | --- | --- | --- |
| CTD #0443 |  |  |  |  |  |
| 2010-14-0045 #0443 | 500 1000 1900 | -0.0008 VN ~0 VN -0.0001 | +0.0001 +0.0003 +0.00035 | +0.002 +0.0035 +0.0045 | Noisy, High |
| 2010-14-0073 #0443 | 500 1000 1900 3800 | +0.0002 0.0000 -0.0002 -0.0002 | +0.0001 +0.0002 +0.0003 +0.00035 | +0.001 +0.003 +0.0035 +0.0045 | V noisy, High |
| 2010-14-0090 #0443 | 500 1000 1900 3800 | 0.0000 0.0000 -0.0001 -0.00015 | +0.0001 +0.00025 +0.0003 +0.00035 | +0.0015 +0.003 +0.0035 +0.005 | V noisy, High |
| 2010-15-0034 #0443 | 500 1000 1500 | +0.0003 +0.0005 +0.0006 | +0.0008VN +0.00018 +0.00024VN | +0.0007 +0.0017 +0.0024 | V Noisy, High |
| 2010-15-0112 #0443 | 500 1000 1500 1900 | ~0 XN +0.0005 +0.0003 +0.0003 | +0.0001XN +0.0002VN +0.00023 +0.00025 | +0.001XN +0.0022VN +0.0025 +0.0028 | Moderate, High |
| 2010-69-0003 | 465 | +0.0005 | +0.00003 | -0.0007 | High steady |
| 2010-69-0012 #0443 | 500 1000 1500 1920 | +0.0008 +0.0005 +0.0007 +0.0005 | -0.0002 +0.0002 +0.0002 +0.0002 | -0.0025 +0.0014 +0.0022 VN +0.0026 | High Noisy Noisy Very Noisy |
| CTD #0506 |  |  |  |  |  |
| 2010-14-0016 #506 | 500 1000 1900 | -0.0005 -0.001 -0.0005 | +0.00025 +0.0002 +0.00025 | +0.0035 +0.004 VN +0.003 | Noisy, High |
| 2010-14-0022 #506 | 500 1000 1900 | -0.002 VN -0.0002 -0.0005 | +0.0001 +0.0002 +0.0002 | +0.003 N +0.003 +0.003 | Noisy, High |
| 2010-69-0020 #0506 | 500 1000 1500 | -0.0006 XN -0.0003 VN -0.0002 | +0.0003 +0.0002 +0.0001 | +0.0025 +0.0025 +0.0021 | V. Noisy V. Noisy X. Noisy |
| 2010-69-0021 #506 | 500 1000 1500 1900 | +0.0001 -0.0009 VN -0.0006 VN -0.0003 | +0.0001 +0.0002 +0.0001 +0.0001 | +0.0018 N +0.0035 N +0.0036 +0.0010 | V. Noisy Noisy V. Noisy Noisy |

For CTD #0443 the temperature differences changed between 2010-14 and 2010-15 and appear to have continued to grow, though they do not show the large difference one might expect given a factory observation in December that the secondary T sensor had drifted by ~0.0034C°. The temperature differences are noisier than usual. Conductivity shows a slight decrease from the two previous cruises and is generally quiet. From the earlier cruises it appeared that the salinity differences were gradually getting smaller, but cast #12 has salinity differences similar to 2010-15. The 500db level suggests drift was continuing, though issues of alignment are likely significant at shallower levels so over-interpretation is dangerous.

For CTD #0506 there was an observation of growing differences through 2010-36 and 2010-14, but this cruise shows smaller differences.

##### Conversion to IOS Headers

The IOSSHELL routine was used to convert SEA-Bird 911+ CNV files to IOS Headers.

CLEAN was run to add event numbers and to replace pad values in the Pressure channel using linear interpolation based on scan number.

##### Checking Headers

The header check was run.

Fluorescence went off-scale for cast #14 but examination of the file showed that was a spike during the soak period before the pumps were turned on, so should be removed by DELETE. Header Check was rerun on groups of casts (excluding #14) and no further problems were found.

Surface check was run.

- For CTD #0443 the average was 0.35db. There are some negative values but they occur with pumps off. In some cases there are low conductivity values when the pressure was 0.2db and higher conductivity for slightly negative values. The pressure appears to be within ±0.2db is appropriate. No recalibration will be applied.

- For CTD #0506 the average was 0.83db with a minimum of 0.11db. At about 0.3db the data looks like it is close to the surface, but in water. No recalibration will be applied.

The cross-reference check was compared with the log book and no problems were found.

The cruise track was plotted and added to the end of this report. No problems were found.

The altimeter readings from the headers of the CLN files were exported to a spreadsheet. Plots were made to check the values. In some cases the data were very noisy, but the header values look ok.

Water depths were also checked. For cast 4 the headers were updated since the maximum pressure was higher than the header entry and the log entry was 507db. There were other cases of differences, but they were from long-standing stations and it is assumed the entries are based on historical records; small distances from the standard location would account for the differences. No changes were made to those.

The altimeter readings from the headers of the BOT files were exported to a spreadsheet. A few were checked and no problems were found.

##### BOTTLE FILE PREPARATION

The BOT files were averaged to enable an addsamp file to be created. This file was edited to add sample numbers taken from the rosette sheets. The rosette log record for cast #11 was difficult to interpret. It is at least clear that a bottle was inadvertently fired at 1500db and Niskin #23 was used to replace the intended 1200db sample. What is not clear is how the sample numbers were assigned. The dissolved oxygen data make it seem that the sample #106 was used for Niskin #3 and sample #107 for Niskin #23. This was assumed, but should be checked when COMPARE is run to ensure this is correct.

The addsamp.csv file was converted to CST files which were then ordered on sample #s (CST1). Those provide the framework for the bottle files.

The addsamp file was also used to add sample numbers to the BOT files. The SAM files were then bin-averaged. They were then sorted on sample number since there are some pad values that will not allow the next Merge to work. (SAMAVGSORT)

SALINITY

Salinity analysis was done at IOS using Guildline Autosal #Model 8400B, serial #68572. There was a comments column, with no entries and there was no quality flag column. The sheet from the analyst was saved as 2010-69-sal.csv. Some columns were removed or renamed, the station name and sample number were in a single column, so those were separated and a column was added for the event number – the latter information was found in the log book. There were no salinity duplicates.

File 2010-69-sal.csv was converted to individual SAL files.

DISSOLVED OXGYEN

Dissolved oxygen data were provided in spreadsheet 2010-69oxy.xls which includes a precision study and comments. The spreadsheet was simplified, an event number column was added and filled based on log records, flags were changed to numeric format and headings changed to standard format. There were some samples flagged “2” which should be re-examined after COMPARE is run, but they were changed to “4” for now, since the problems with the DO sensor mean it is unlikely that the comparison will be strong enough to give confidence about these samples. “DO:” was inserted in front of comments to make it clear which quantity is referred to in the merged files. The spreadsheet was then saved as 2010-69-oxy.csv and that file was converted into individual *.ADD files.

NUTRIENTS

There were two nutrient samples noted on the rosette log, but this is believed to have been an error. The entries correspond to two salinity samples that were not entered on the sheet.

The SAL and ADD files were merged with CST1 files in 2 steps.

After the 2nd step the files were put through CLEAN to reduce the headers to File and Comment sections only.

Those files were then merged with SAMAVGSORT files choosing the Sample_Number from the SAMAVG files. The files were then put through CLEAN to remove the SeaBird headers and comments from the secondary file.

##### 12) Compare

Salinity

Compare was run for all the casts, but then separated into groups for each CTD with pressure as the reference channel.

For CTD #0443 there are only 6 bottles and 1 stands out as an outlier for both sensors. For that bottle the sample value looks midway between the CTD salinity from Niskins #1 and 2, so even if it was taken from the bottom bottle by mistake, it would still be an outlier, and the dissolved oxygen looks ok, so it does not look like a misfire. The analyst did not note any problems with this or any other sample. When that bottle is excluded from the comparison the average differences show both salinity channels to be low by ~0.007. These bottles are mostly too shallow to be reliable for recalibration. As seen in section 8 the CTD salinity channel differences grow larger with pressure. There may be some real pressure dependence, but it may be partly due to misalignment of sensors. If one is slightly higher than the other, this difference becomes less critical at depth as gradients are lower. The one bottle comparison from 1000db that looks reliable indicates that the primary and secondary CTD salinity channels are low by 0.0064 and 0.0047. That is likely the best indicator we have from this comparison.

For CTD #0506 there is a lot of scatter that looks the same in both channels. It is not clear what should be considered outliers. Two of the samples were not noted on rosette sheets and are said to be from Niskin #1 which is unusual. If they were really from Niskin #2, as usual, then the differences change sign for cast #22 but are not much smaller, while they look a little better for cast #23. If those two samples are excluded the primary CTD salinity is low by an average of 0.0002 and the secondary high by 0.002. Both channels have a standard deviation of 0.008. In section 8 we found a salinity difference between the two channels of 0.003 to 0.004, so the difference in the averages looks a little low. The CTD salinity standard deviation during the bottle stop was a little high for one of the two casts excluded and might explain the differences, but for the other this does not look likely. All of these samples are shallow and most are from Effingham Inlet where there are sometimes problems with CTD operation, so we would not normally expect a great comparison.

Flag “3” was added to sample 86 from cast #9 as it is a clear outlier in the comparison.

No other samples were flagged because the sampling was mostly shallow and the paucity of bottles makes it impossible to establish which are outliers.

For details see 2010-69-sal-comp1.xls.

Dissolved Oxygen

As a first quality check plots were made of DO from both CTD and Bottles versus CTD Salinity. There were many outliers but all had been flagged by the analyst. Many of those were from Effingham Inlet and the analyst noted that samples had not been shaken enough. If these are also outliers in COMPARE, a note should be added to the comments.

COMPARE was run for Dissolved Oxygen. Plots were run in separate groups for the two CTDs.

CTD #0443 (DO sensor #1483)

For sensor #1483 most of the data fell into a linear fit. Most of the outliers had already been flagged by the analyst. The only significant outlier not already flagged by the analyst was sample #30, cast #3. That cast has a complex DO profile, so it is not clear that there is a problem with the bottle. The DO had a local minimum above this level, so the fit would have a different character there since any response time error would have the opposite sign to those for other bottles.

Two replicate values flagged by the analyst were examined in light of COMPARE and one sample was found that looked clearly better than the other in each case. The better value was used and a note with the other value was placed in the header. The flags were removed.

A few other outliers were excluded to produce the fit:

Bottle DO = 1.0882 * CTD DO + 0.0009

For 2010-15 two fits were found for this CTD. The fit for on-shelf casts was chosen for recalibration as there were odd features in the data seawards of the 200db contour between 0 and 200db:

SBE DO corrected = 1.0954 *SBD DO – 0.0049 (On-shelf casts)

SBE DO corrected = 1.0737 *SBD DO – 0.0203 (Off-shelf casts)

Based on that result, the 2010-69 data were examined in two groups to see if that produced similar results to 2010-15 and the following fits were found:

Bottle DO = 1.0910 * CTD DO + 0.0023 (Fit #1 - offshore)

Bottle DO = 1.0881 * CTD DO + 0.0054 (Fit #2- onshore)

The differences are slight and too dependent on the subjective choice of outliers, so the fit using all casts will be used for recalibration.

For CTD #0443 the only outliers had already been flagged, or look to be due to CTD problems. Where appropriate, comments were added to the headers.

CTD #0506 (DO sensor #1176)

The COMPARE results show huge scatter and when obvious outliers are removed the trendline is overly dependent on individual values. It is not unusual to have outliers in Effingham Inlet, though this is far worse than usual, probably because so many samples had particulate matter in them. The analyst had flagged those. The fit found when all cases where titrated samples read higher than the CTD were excluded, as well as the flagged values, was:

Bottle DO = 1.0542 * CTD DO - 0.025

(See 2010-69-dox-comp1*.xls.)

Because there are insufficient calibration data available to determine if there was a problem with an offset in sensor #1176 as noted during two previous cruises, all casts were examined closely to see if the DO voltage signal looks more like the regular casts or the odd ones from those cruises. This is only obvious in low-gradient areas, but near the bottom of Effingham Inlet the gradient is low enough that it was clear that there was no problem with an offset. So these data can be treated like the “good” casts for 2010-36 and 2010-14.

All MRG files were put through CLEAN to remove Sea-Bird headers and comments from the secondary files.

The MRG file data were exported to a spreadsheet to check that all samples were included. The only discrepancies noted were samples in the spreadsheet that were not recorded on the rosette log sheets, but these are assumed to be errors in the logs.

##### 13. Shift

Fluorescence

The usual test to find what shift is needed for the fluorescence is to examine upcast and downcast profiles to determine the vertical offset of the temperature and fluorescence traces. The differences between these two offsets are treated as a measure of how much the fluorescence needs to be shifted. The “excess” offset for the fluorescence is divided by the sum of the descent and ascent rates to find the shift (in seconds) to remove that offset. The shift applied is almost always +24 records. For this cruise there were few casts without stops and with a steady descent rate, so only a rough judgment could be made. A few casts were examined for each fluorometer and the usual setting seems appropriate.

SHIFT was run on all casts to advance the fluorescence channel by +24 records. (Output: SHFFL)

Conductivity

Tests were run on the two conductivity channels using a variety of shifts on 2 casts from each CTD system and then examining the results on a T-S plot to see what setting best minimizes unstable features without oversmoothing.

(a) Casts #1-13: CTD #0443 – The best overall result was with a setting of -0.7 records for the primary conductivity and -0.5 records for the secondary conductivity channels.

(b) Casts #14-30: CTD #0506 - The results looked best overall when a shift of -0.5s was applied to the primary and +0.2 records to the secondary conductivity.

SHIFT was run on all casts for both conductivity channels using the settings given above.

Dissolved Oxygen

Casts 1-13: For sensor #1483 an advance by 60 or 65 records looked best for cast #10 and 55 and 60 looks good for cast #8, so choosing +60 looks reasonable and has been used in the past for this sensor.

Casts 14-30: For sensor #1176 an advance by 90 records looks reasonable and has been used for other 2010 cruises with the same sensor.

SHIFT was run on the SBE Dissolved Oxygen channel using those settings.

##### 14. DELETE

The following DELETE parameters were used:

Surface Record Removal: Last Press Min

Maximum Surface Pressure (relative): 10.00

Surface Pressure Tolerance: 1.0                  Pressure filtered over 15 points

Swells deleted. Warning message if pressure difference of 2.00

Drop rates <   0.30m/s (calculated over 11 points) will be deleted.

Drop rate applies in the range:  10db to 10db less than the maximum pressure

Sample interval = 0.042 seconds. (taken from header)

COMMENTS ON WARNINGS: The only warning was for cast #13 which contained only a little upcast data and will not be processed further.

The CTD was often first lowered to 10db and then brought to the surface for the full cast. This is normal, but the acquisition system is not usually turned on until the beginning of the full cast. An initial run of DELETE showed that for many casts records from the original drop were patched to the full drop causing odd jumps around 10db. To avoid this, a text editor was used to remove records from the initial soak period from the SHFO files. DELETE was then rerun.

##### Other Comparisons

Previous experience with these sensors –

1. Salinity:

(a) The primary conductivity sensor for CTD #0443 had been used many times with a variety of temperature sensors. Bottle comparisons were often unavailable or limited to surface samples or showing a lot of scatter that led to concerns about sampling protocols. Poor seals and long waits for analysis likely led to bottle salinity being too high, thus making CTD salinity look low. During 2010-14 the primary salinity was thought to be low by ~0.006 and the secondary low by ~0.0015. The results of 2010-15 were not trusted due to analysis problems. A comparison with an Argo float during 2010-14 showed the primary to be low by ~0.006 and the secondary to be within 0.001.

(b) The primary sensors for CTD #0506 have been used for 2010-20, 2010-36 and 2010-14 while the secondary have been used for the same cruises plus 2 earlier ones. For the primary there is a history of time dependence in the comparisons with salinity low by 0.003 during 2010-14. For the secondary result results showed salinity to be higher than bottles by less than 0.001.

2. Dissolved Oxygen

(a) Sensor #1483 has been used for 3 other cruises since it was last recalibrated and the last 2 had problems with some casts looking different from others.

SBE DO corrected = 1.0335 *SBD DO – 0.0115 (2010-14) based on 2 out of 3 bottle casts

SBE DO corrected = 1.0954 *SBD DO – 0.0049 (2010-15) based on onshore bottle casts

(b) Since being calibrated in Nov. 2009, DO sensor #1176 has been used for 4 cruises that have been processed. The corrections found for the first 2 were:

Bottle DO = 1.0339 * CTD DO - 0.0043 (2010-12)

Bottle DO = 1.0414 * CTD DO + 0.0057 (2010-13)

For 2010-36 serious problems were found with the sensor and the bottle comparison suggested 2 possible fits that were randomly spread through the cruise. The fits were associated with a different level of noise in the DO voltage.

Bottle DO = 1.0491 * CTD DO - 0.0237 (Fit for quiet DO voltage)

Bottle DO = 1.0347 * CTD DO + 0.2383 (Fit for noisy DO voltage)

For 2010-14 there was again a complex calibration with 2 different fits, the second of which was based on only one cast.

Bottle DO = 1.0497 * CTD DO - 0.0115 (Fit for quiet DO voltage)

Bottle DO = 1.0378 * CTD DO + 0.2588 (Fit for noisy DO voltage)

3. Pressure

Since its latest factory recalibration in Dec 2009 sensor #63507 (CTD 443) has been used 4 times and for the past 3 an offset of 0.5db was added to the one determined at the factory, for a net offset of 7db. For sensor #0506 an offset of +0.7db has been added to last factory recalibration for a net offset of 0db.

Post-Cruise Calibration

CTD#0443

- Temperature and Conductivity Sensors– A post-cruise calibration on Dec. 28, 2010 indicates that the drift in primary and secondary conductivity sensors would both lead to salinity values low by ~0.0025. A further error would arise from the secondary temperature calibration drift since it was reading high by ~0.0025 C° which would lead to secondary salinity being low by a further ~0.0025 for a cumulative error of ~ -0.005 in the secondary salinity. The primary temperature drifted low by just 0.0002 C°.

- Dissolved Oxygen Sensor –A post cruise calibration of sensor #1483 in Dec. 2010 showed a drift of ~6%.

- Pressures Sensor – The slope and offset were changed slightly.

CTD#0506

- Temperature and Conductivity Sensors– A post-cruise calibration on March 2011 showed a drift downwards of about 0.0025 in the primary conductivity and with a decrease in primary temperature of about 0.0001, for a net effect on salinity of ~0.0024. For the secondary the temperature went down by 0.0004 and the conductivity drift was ~0, for a net effect of increasing salinity by about 0.0004.

- Dissolved Oxygen Sensor – A post-cruise calibration of sensor #1176 in March 2011 showed a drift of ~1.7%.

- Pressures Sensor – The slope and offset were changed slightly.

Historic ranges – Profile plots were made with historic ranges of T and S superimposed. There were only a few minor excursions from the historic ranges, with salinity a little low in one spot and a little high at another, so there are no systematic excursions. Both temperature channels went below the historic minimum from 200 - 225db for cast #10 at station LGB6. The salinity also looks odd there, but within the climatology. The feature looks stable on a T-S plot. Similar features were seen around that depth at stations LG6, LG7 and LGP7, so this feature is not likely to be due to instrumental error.

##### Calibration study and choice of T/S pairs for archive

The recalibrations for DO are discussed in section 12. The slopes of 9% and 5% are higher than the post-cruise calibration result of 6% and 1.7% drifts in calibration, but the correction applied in CALIBRATE likely does some correction for errors associated with response time and/or transit time.

For CTD #0443 the choice of which T/S channels to archive and how to recalibrate is far from simple. The salinity bottle-CTD comparisons from all cruises using these sensors since they were last recalibrated shows a lot of variability. Much of that is due to salinometer problems. For 2010-14 when the salinometer is thought to have worked reasonably well, the primary salinity was found to be low by 0.006 and the secondary by 0.0015. The differences between channels during downcasts and upcasts were consistent with that. And from 2010-01 there was a comparison with an Argo Float that showed the primary to be low by 0.007 and the secondary to be within 0.001 of the float.

The salinometer is believed to have malfunctioned for 2010-15, and for 2010-69 the bottle comparison is too sparse and too noisy to be useful. The downcast differences could be affected by alignment problems, so differences between channels during upcast stops were examined because any alignment problems should not be relevant while stopped especially below 1000db where gradient were low.

| Cruise | Pressure | Sec. Temp. – Pri. Temp. | Sec. Sal. – Pri. Sal. |
| --- | --- | --- | --- |
| 2010-14 | 1500 | -0.0002 | +0.0043 |
| 2010-15 | 1500 | -0.0002 | +0.0040 |
| 2010-69 | 1500 | +0.0003 | +0.0026 |

This does suggest that the primary temperature could be drifting very slightly upwards (or secondary downwards), but only enough to account for a change in salinity differences of about 0.0005. The salinity differences suggest that the conductivity contribution to salinity might also be drifting.

Post-cruise calibration of these sensors indicate that the primary salinity was low by ~0.003 in December 2010 and the secondary low by about 0.005 based on equal contributions due to conductivity and temperature drift. So there is either some source of error other than calibration drift, or most of the drift occurred after this cruise. No other cruises were found that had used these sensors. It is hard to imagine what error would occur while stopped for bottles, but the two earlier cruises did experience problems with pressure spikes, especially 2010-14. There is no way to know if drift was linear, so a choice of how to recalibrate salinity is arbitrary. Ultimately, it seems best to split the difference and assume that for this cruise the secondary was low by 0.0050 and the secondary low by 0.0025. That moves them both toward the post-cruise calibration results while accepting that the temperature had not drifted much.

The secondary sensors have been chosen in most other uses of this equipment and the large temperature drift noted in December is not evident in September 2010, so it seems best to choose the secondary sensors for the archive. Recalibration will be applied by adding 0.005 to the primary salinity and 0.0025 to the secondary salinity.

For CTD #0506 the secondary T/S pair have been selected for the past 5 cruises using this CTD, and generally been found to be within 0.001 of bottles. The results of COMPARE suggest the primary are closer, but there were very few samples and they were all quite shallow and the results scattered, with a few in the ±0.001 range. The post-cruise calibration indicates that the primary was low by ~0.0025 in March 2011 and the secondary high by ~0.0004. This is close to the results of cruise 2010-14 when the primary was low by 0.0032 and the secondary was high by an average of 0.0005. Recalibration of salinity will be done by adding 0.0032 to the primary and subtracting 0.0005 from the secondary.

##### DETAILED EDITING

The secondary T and S sensors were chosen for archiving, except for cast #15 when the secondary T and S channels had bad records that look like they are due to flow interruption. The primary sensors also had some bad records but they were not as extensive.

All EDU files were copied to EDT.

T-S plots were examined; there were a few slightly unstable features, but they are near-surface and could be real. No further editing will be applied.

##### Initial Recalibration

No recalibration is required for either pressure sensor.

File 2010-69 was prepared to recalibrate sensors from both CTDs as follows:

- For Casts 1-13 primary salinity was increased by 0.005, secondary salinity increased by 0.0025 and the SBE Dissolved Oxygen was corrected using the fit from this cruise since it is reasonably close to the results of 2010-15:

CTD DO (corrected) = 1.0882 * CTD DO + 0.0009

- For Casts #14-30 primary salinity was increased by 0.0032 and secondary salinity decreased by 0.0005 and the SBE Dissolved Oxygen was recalibrated using the fit from 2010-14 which is reasonably close to the trendline found during 2010-69 and that of 2010-36:

CTD DO (corrected) = 1.0497 * CTD DO - 0.0115

The SAM files were recalibrated using file 2010-69-recal1.ccf.

COMPARE was rerun and shows that the recalibrations were applied correctly, though it doesn’t work any miracles on this scattered data. (See 2010-69-sal-comp2.xls and 2010-69-dox-comp2.xls.)

The MRGCLN2 files were then recalibrated using the same calibration control file.

The same calibrations were applied to the EDT files.

##### Final Calibration of DO

The first recalibration of dissolved oxygen corrects for calibration drift. Shift corrects for transit time errors. Those 2 steps may partly correct for response time errors, but a further correction is sometimes found appropriate to further correct for response time errors found by comparing downcast CTD data to bottle data from the same pressure. For this cruise the results are not likely to be useful given the scatter found in the original comparison, but the tests were run in case there is evidence of a systematic error.

Downcast files were bin-averaged to 0.5m bins for the casts with DO bottle samples. Those files were then thinned to the usual levels for bottles and compared to the bottle values in the MRG files. COMPARE was used to study the differences between the downcast CTD DO data and the upcast bottles. The scatter in the differences against DO concentration is very high so that interpretation is overly dependent on the choice of outliers. For CTD #0443 (DO# 1483) the average differences are likely <0.01mL/L, but the scatter is large. For CTD #0506 (DO #1176) as noted in the earlier comparisons, the SBE DO looks a little high but there are so many flagged bottles and so much scatter in the fit, that no conclusions can be drawn. A 2nd calibration was not applied to either of these sensors when they were used during other recent cruises.

No further corrections will be applied to the SBE Dissolved Oxygen channel.

##### Special Fluorometer Processing

There were no off-scale fluorescence data.

A median filter, fixed size=11, was applied to the fluorescence channel in the COR1 files to reduce spikiness. A few casts were examined before and after this step and showed that the filter was effective.

##### BIN AVERAGE of CTD files

The following Bin Average values were applied to the FIL files (output AVG):

Bin channel = pressure	Averaging interval = 1.000	Minimum bin value =   .000

Average value will be used.	Interpolated values are NOT used for empty bins.

After averaging, page plots were examined on screen and no further editing appeared to be necessary.

The fluorescence data show some odd features for both sensors. For casts 1-12 the deep values seem slightly higher than usual (0.07 to 1.1mg/m^3) and there some large spikes at depth for cast #8. The obvious deep spikes were replaced with pad values.

For casts #14-30 the dark values are very small (~0.02mg/m^3), but occasionally the signal disappears below 300db.

##### Final CTD File Steps (REMOVE and HEADEDIT)

REMOVE was on casts 1-7 to remove the following channels:

Scan_Number, Temperature:Primary, Salinity:T0:C0, Conductivity:Primary, Conductivity:Secondary, Oxygen:Voltage:SBE, Altimeter, Status:Pump, Descent_Rate and Flag

REMOVE was on casts 8-14 & 16-30 to remove the following channels:

Scan_Number, Temperature:Primary, Salinity:T0:C0, Conductivity:Primary, Conductivity:Secondary, PAR, Oxygen:Voltage:SBE, Altimeter, Status:Pump, Descent_Rate and Flag

REMOVE was on cast 15 to remove the following channels:

Scan_Number, Temperature:Secondary, Salinity:T1:C1, Conductivity:Primary, Conductivity:Secondary, PAR, Oxygen:Voltage:SBE, Altimeter, Status:Pump, Descent_Rate and Flag

A second SBE DO channel (with umol/kg units) was added.

REORDER was run to get the two DO channels together.

HEADER EDIT was used to fix formats and channel names, to fix the CTD serial number, to add “Mid-ship” to the instrument location section, fix the geographic name, the scientist’s name and to add the following comments for CTD #0443:

Fluorescence, Transmissivity and PAR data are nominal and unedited except

that some records were removed in editing temperature and salinity.

The precision of the SBE dissolved oxygen channel is difficult to estimate

because the comparison with bottles was complex and noisy, and the history

of the sensor confusing, but roughly, DO from sensor #1483 (CTD #0443) is

considered:

•	±0.4ml/l from 0-100 db

•	±0.2ml/l from 100-300 db

•	±0.05ml/l below 300db

For details on the processing see processing report: 2010-69-proc.doc.

HEADER EDIT was used to fix formats and channel names, to add “Mid-ship” to the instrument location section, correct the location and scientist’s name, fix the CTD serial number and add the following comments for CTD #0506:

Fluorescence, Transmissivity and PAR data are nominal and unedited except

that some records were removed in editing temperature and salinity.

There is insufficient information to make a precision estimate for the

SBE dissolved oxygen channel for sensor #1176 (CTD #0506). Almost half the

samples had been flagged by the analyst due to sampling problems, and many

others were major outliers in the comparison with the CTD. All sampling was

in Effingham Inlet where shallow casts, large gradients and other challenging

conditions make comparisons unreliable.

For details on the processing see processing report: 2010-69-proc.doc.

The Standards Check routine was run and no problems were found. 
The cross-reference list was produced and no problems were found.

The final files were named CTD.

Profile plots were made and no problems were found.

The track plot looks ok.

##### Dissolved Oxygen Study

As a final check of dissolved oxygen data, % saturation was calculated and plotted. The near-surface values were between 90% and 110% with the highest values in Johnstone Strait and the lowest values in Effingham Inlet.

##### 24. Final Bottle Files

The MRGCOR1 files were put through SORT to order on increasing pressure.

REMOVE was run using the same settings as for the CTD files.

A second SBE DO channel was added with different units and REORDER to get the 2 SBE DO channels together.

HEADER EDIT was run to fix formats and units, fix a few headers, change the channel name Bottle_Number to Bottle:Firing_Sequence and the name Bottle:Position to Bottle_Number and to add a comment about quality flags and analysis methods and a few notes about the CTD data..

For a final check the CHE bottle data were exported to a spreadsheet and compared with the rosette log sheets and no discrepancies were found.

Plots were made of CTD Salinity versus SBE Dissolved Oxygen and bottle DO and no problems were found other than those already noted.

Standards check was run on all files and no errors were found.

##### 25. Thermosalinograph Data

Data were provided in 1hex file. There was no loop sampling.

a.) Checking calibrations

The calibrations were checked and the only problems were in the fluorometer entry which had the wrong date and scale factor. After that correction the CON file was saved as 2010-69-tsg.con.

b.) The files were converted to CNV files using the configuration files mentioned above. There was a channel NEW POSITION that was not in the current list of Seabird channels in the conversion routine. The information shows whether the position changed from the previous reading. It looks useful for comparing on-station data to that collected while steaming.

CLEAN was run to add End times and Longitude and Latitude minima and maxima to the headers.

Time-series plots were produced. TSG acquisition did not begin until the ship was in Effingham Inlet. The flow rate was much higher than usual. There is no note in the log as to why.

A plot of salinity or fluorescence with POSITION:NEW superimposed makes it very clear that the water sampled during steaming comes from higher in the water column than when stopped.

The data look reasonably smooth when the difference between stops and steaming are taken into account.

c.)  Checking Time Channel

The CTD data, after editing, but before metre-averaging, were thinned to reduce the files to a single point from the downcast at or within 0.5db of 4.5db and exported to a spreadsheet which was saved as 2010-69-ctd-tsg-comp.xls. All the data came from ~4.5db.

The ATC file was opened in EXCEL, median and standard deviations (over 5 records) were calculated for intake temperature, salinity and fluorescence and the files were reduced to the times of CTD files. Those data were added to 2010-69-ctd-tsg-comp.xls.

File 2010-69-ctd-tsg-comp.xls has 9 matches. In some recent uses of this equipment latitude and longitude have become stuck, or times have been wrong due to missing scans. In this file the times from the CTD and TSG are matched, so comparing positions will turn up problems of that sort. The differences in latitude and longitude were all <0.0002°. This shows both the times and positions are reliable for both systems.

This spreadsheet will also be used in step (d) to compare temperature, salinity and fluorescence.

d.) Comparison of T, S and Fl from Loop and Rosette samples and TSG and CTD data

- T1 vs T2 The intake thermistor was connected throughout the cruise. The lab temperature was higher than the intake temperature by a median value of 0.147 for the whole record and by 0.151 for the second half when the data were smoother. The average temperature was lower later so we might expect the differences to become larger. The differences are about what is expected for the intake temperature range, though we might have expected them to be lower in light of the fact that the flow rate is much higher than usual. However, other factors such as ambient ship temperature may be significant.

- TSG vs CTD The spreadsheets comparing CTD and TSG files were then examined to find the differences between the salinity, fluorescence and temperature channels for the CTD and the TSG.

The TSG intake temperature was lower than the CTD by an average of 0.62Cº while the median difference was 0.56Cº. We normally see differences <0.1 Cº. A plot of differences between lab and intake TSG temperatures shows that the CTD casts occurred during the noisiest part of the record. The TSG salinity was higher than the CTD salinity by an average of 1 and a median of 1.1, but the standard deviation is 1.6. Based on the history of these sensors we expect differences closer to 0.1 in salinity. Plots of differences against standard deviations of TSG temperature or salinity show no trend.

Individual casts were examined and the level at which the CTD temperature matched the TSG record was found, as was the CTD salinity at that level. The results varied from 4.6db to 9.2db. The differences between TSG and CTD salinity when temperatures matched varied from the TSG being lower by 3.8 to higher by 1.1. The median has the TSG being low by 0.32.

The ratio of TSG fluorescence to CTD fluorescence ranges from 1.1 to 7.9 and a median of 1.5. These results are similar to those seen from other cruises. (See 2010-69-ctd-tsg-comp.xls.)

- Loop Bottle - TSG Comparisons  N/A

- Rosette – TSG Comparisons

There are no near-surface salinity samples. An attempt to compare the CTD data from the bottle   stops with the TSG data was not very useful because the stops were generally shallower than the loop intake level. There were two bottles at about 6db and those indicate large differences.

- Loop Bottle - Rosette Comparisons N/A.

- Calibration History

The TSG primary temperature and conductivity were recalibrated in April 2009 and were used for many other cruises in 2009 and 2010. The salinity was low by about 0.06 in spring 2010 and 0.011 in summer 2010. Problems have been noted on some cruises due to biological fouling and flow rate variations seem to have some effect on results, with salinity differences between TSG and CTD becoming smaller when the flow is increased and temperature warming less in the loop.

Conclusions

1. The TSG clock appears to have worked well.

2. The flow rate was steady but at 1.9 is very high; we have no history to guide our expectations for such a high rate, but the loop heating does not seem particularly out of line.

3. The temperature in the loop increases by an average of 0.15Cº between intake and lab.

4. The difference between the TSG intake temperature and CTD temperature at 4.5db is much higher than usual, with a huge scatter. To find water with a temperature close to that of the TSG we need CTD water from an average of 6.8db.

5. Salinity differences are also large and noisy, with TSG salinity mostly higher than CTD salinity. Historically this TSG has read low, so this is a surprise.

6. The variability in the ratio of TSG fluorescence to either CTD fluorescence is not remarkable, though that ratio is normally highly variable, so this may not be saying much. This may be because the local fluorescence gradient at 5db is less significant than those in T and S.

7. Comparisons of the water in the loop with CTD data indicates that either the loop water is from deeper than usual or the CTD data is corrupted by surface waters. The latter is certainly possible and would be a particular problem in an area of very high surface gradients. But could the high flow rate affect how water is drawn into the loop?

8. The records are unusually noisy. There are many possible sources of noise in the comparison. Local variability is very high so that small differences in timing are very significant; both vertical and horizontal gradients can be high in this area. The high flow rate might lead to more bubbles and that would be lead to noisy salinity, but we would expect single point spikes which is generally not the case in these data. Debris in the TSG cell can lead to noisy data and Effingham Inlet is a place where debris is likely to be found. Biological fouling was noted for this equipment in other 2010 cruises. Finally the near-surface CTD data are not of the highest quality; rapid changes seen during the soak period and in a large gradient that effect is likely significant down to 10db.

8. There is insufficient information on which to base recalibration. There are no loop samples, the CTD data available are not useful and the high flow rate means the historical trend cannot be trusted. It is unknown why a high flow rate should affect the salinity error but it has been found to do so in the past. Debris in the TSG cell can lead to noisy data.

f.) Editing

The ATC file was opened in CTDEDIT. There was a lot of noise in salinity but also in temperature so these are assumed to be real variations, not corrupted salinity. No editing was applied.

g.) Recalibration

File 2010-69-tsg-recal1.ccf was prepared to adjust salinity by adding 0.11 based on two previous cruises. A few values were checked to ensure it was applied correctly and the results looked right.

h.) Preparing Final Files

REMOVE was used to remove the following channels from all casts: Record #, Scan Number, Temperature:Difference, Conductivity:Primary, Uploy0 and Flag. The channel Position:New was not removed as this looks like it is worth archiving.

REORDER was used to place Temperature:Secondary ahead of Temperature:Primary and to rename them as Temperature:Intake and Temperature:Lab. The reorder is to ensure that programs pick the intake temperature preferentially.

HEADER EDIT was used to add a comment, change the DATA TYPE to THERMOSALINOGRAPH and add the depth of sampling to the header. The salinity format was changed from the usual F9.4 to F8.3 because the salinity calibration could not be confirmed and is likely to have drifted. Those files were saved as TOB files.

The TSG sensor history was updated.

As a final check plots were made of the cruise track and data; no problems were noted.

The TSG plot was added to the end of this report.

##### 26. Producing final files

A cross-reference listing was produced for CTD and CHE files.

The sensor history was updated.

Particulars

8. PAR off

11. Bottle #4 fired by accident at 1500m so #23 was fired at 1200m

12. Connection to CTD lost at 1176m on upcast

14. Changed CTD to S/N 506

# CRUISE SUMMARY     CTDs

|  | CTD# | Make | Model |  | Serial# |  | Used with Rosette? |  | CTD Calibration Sheet Competed? |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | 1 | SEABIRD | 911+ |  | 0443 |  | Yes |  | Yes |  |  |  |
|  | 2 | SEABIRD | 911+ |  | 0506 |  | Yes |  | Yes |  |  |  |
| Calibration Information CTD #443 |  |  |  |  |  |  |  |  |  |  |  |  |
| Sensor |  |  |  |  |  | Pre-Cruise |  |  |  | Post Cruise |  |  |
| Name |  |  |  | S/N |  | Date |  | Location |  | Date | Location |  |
| Temperature |  |  |  | 4752 |  | 06Mar07 |  | Factory “ |  | 5Jan11 | factory |  |
| Conductivity |  |  |  | 2173 |  | 7May08 |  | “ |  | 28Dec10 | factory |  |
| Secondary Temp. |  |  |  | 2968 |  | 22Aug07 |  | “ |  | 30Dec10 | factory |  |
| Secondary Cond. |  |  |  | 2399 |  | 13Jun08 |  | “ |  | 28Dec10 | factory |  |
| Transmissometer |  |  |  | 1185DR |  | 15Aug10 |  | IOS |  |  |  |  |
| SBE 43 DO sensor |  |  |  | 1438 |  | 03Feb2009 |  | Factory |  |  |  |  |
| PAR |  |  |  | 4694 |  | 03Mar2010 |  | IOS |  |  |  |  |
| Fluorometer |  |  |  | 2356 |  |  |  | IOS |  |  |  |  |
| Pressure Sensor |  |  |  | 63507 |  | 11Dec2009 |  | Factory |  |  |  |  |
| Altimeter |  |  |  | 1252 |  |  |  |  |  |  |  |  |
| Calibration Information CTD #506 |  |  |  |  |  |  |  |  |  |  |  |  |
| Sensor |  |  |  |  |  | Pre-Cruise |  |  |  | Post Cruise |  |  |
| Name |  |  |  | S/N |  | Date |  | Location |  | Date | Location |  |
| Temperature |  |  |  | 2449 |  | 06May08 |  | Factory “ |  |  |  |  |
| Conductivity |  |  |  | 1764 |  | 10Feb09 |  | “ |  |  |  |  |
| Secondary Temp. |  |  |  | 2038 |  | 06May08 |  | “ |  |  |  |  |
| Secondary Cond. |  |  |  | 3394 |  | 06Mar09 |  | “ |  |  |  |  |
| Transmissometer |  |  |  | 1185DR |  | 15Aug10 |  | IOS |  |  |  |  |
| SBE 43 DO sensor |  |  |  | 1176 |  | 10Nov2009 |  | Factory |  |  |  |  |
| Fluorometer |  |  |  | 2356 |  |  |  | IOS |  |  |  |  |
| Pressure Sensor |  |  |  | 69698 |  | 26May2006 |  | Factory |  |  |  |  |
| Altimeter |  |  |  | 1024? |  |  |  |  |  |  |  |  |

# TSG

Make/Model/Serial#:	SEABIRD/21/2488       Cruise ID#:	2010-69

| Calibration Information |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Sensor |  | Pre-Cruise |  | Post Cruise |  |
| Name | S/N | Date | Location | Date | Location |
| Temperature | 2488 | 24Apr09 | Factory |  |  |
| Conductivity | 2488 | 24Apr09 | “ |  |  |
| Wetlab/Wetstar FL | WS3S-713P | 18Jan01 | “ |  |  |
| Temperature:Secondary | 2416 | 23Dec06 |  |  |  |