## File List
Number of Files= |  | 12
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 2010-69-0001.mrgcor1 | 2010-69-0001.samcor1 | 12 | 12 | 2010-69-0001.mrgcor1 & 2010-69-0001.samcor1
2 | 2010-69-0002.mrgcor1 | 2010-69-0002.samcor1 | 14 | 14 | 2010-69-0002.mrgcor1 & 2010-69-0002.samcor1
3 | 2010-69-0003.mrgcor1 | 2010-69-0003.samcor1 | 16 | 16 | 2010-69-0003.mrgcor1 & 2010-69-0003.samcor1
4 | 2010-69-0004.mrgcor1 | 2010-69-0004.samcor1 | 18 | 18 | 2010-69-0004.mrgcor1 & 2010-69-0004.samcor1
5 | 2010-69-0008.mrgcor1 | 2010-69-0008.samcor1 | 20 | 20 | 2010-69-0008.mrgcor1 & 2010-69-0008.samcor1
6 | 2010-69-0009.mrgcor1 | 2010-69-0009.samcor1 | 22 | 22 | 2010-69-0009.mrgcor1 & 2010-69-0009.samcor1
7 | 2010-69-0022.mrgcor1 | 2010-69-0022.samcor1 | 24 | 24 | 2010-69-0022.mrgcor1 & 2010-69-0022.samcor1
8 | 2010-69-0023.mrgcor1 | 2010-69-0023.samcor1 | 26 | 26 | 2010-69-0023.mrgcor1 & 2010-69-0023.samcor1
9 | 2010-69-0025.mrgcor1 | 2010-69-0025.samcor1 | 28 | 28 | 2010-69-0025.mrgcor1 & 2010-69-0025.samcor1
10 | 2010-69-0026.mrgcor1 | 2010-69-0026.samcor1 | 30 | 30 | 2010-69-0026.mrgcor1 & 2010-69-0026.samcor1
11 | 2010-69-0027.mrgcor1 | 2010-69-0027.samcor1 | 32 | 32 | 2010-69-0027.mrgcor1 & 2010-69-0027.samcor1
12 | 2010-69-0028.mrgcor1 | 2010-69-0028.samcor1 | 34 | 34 | 2010-69-0028.mrgcor1 & 2010-69-0028.samcor1

## (Sal0 - Sal_BOT)
Calculation of Linear Least Squares Fit For
(Sal0 - Sal_BOT)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal0 - Sal_BOT), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.048805 |  | X | CALC Y
m= | 7.7426e-07 | 1.9735e-06 |  | Std Dev of Resid |  | 0.0011972 |  | 201.037 | -0.002379
b= | -0.0025347 | 0.00109 |  | Resid Sum of Squares |  | 4.2995e-06 |  | 1001.09 | -0.0017596
# of Values Extracted = |  |  | 6
# of Values Used in Fit = |  |  | 5
File | Use | Pressure | Sal0 | Sal0 | Diff (Sal0 - Sal_BOT) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 201.037 | 30.6881 | 0.00021564 | -0.0013618 | -0.002379 | -0.0010172 |  | 201.037 | -0.0013618
2 | YES | 401.416 | 30.6632 | 0.00022425 | -0.0039234 | -0.0022239 | 0.0016995 |  | 401.416 | -0.0039234
3 | YES | 400.657 | 30.6648 | 0.00020398 | -0.0017357 | -0.0022245 | -0.00048879 |  | 400.657 | -0.0017357
4 | YES | 401.442 | 30.6553 | 0.00022247 | -0.0023708 | -0.0022239 | 0.00014696 |  | 401.442 | -0.0023708
5 | YES | 1001.09 | 34.3612 | 0.00023465 | -0.0014191 | -0.0017596 | -0.00034051 |  | 1001.09 | -0.0014191
6 | NO | 1000.56 | 34.3576 | 0.00026976 | -0.014065 | -0.00176 | 0.012305
YES
YES
YES
YES
YES
NO
FIT vs. Pressure
FIT vs. Sal0
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (Sal1 - Sal_BOT)
Calculation of Linear Least Squares Fit For
(Sal1 - Sal_BOT)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal1 - Sal_BOT), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.42896 |  | X | CALC Y
m= | 3.4499e-06 | 2.2981e-06 |  | Std Dev of Resid |  | 0.0013941 |  | 201.037 | -0.0053822
b= | -0.0060757 | 0.0012693 |  | Resid Sum of Squares |  | 5.8302e-06 |  | 1001.09 | -0.0026221
# of Values Extracted = |  |  | 6
# of Values Used in Fit = |  |  | 5
File | Use | Pressure | Sal1 | Sal1 | Diff (Sal1 - Sal_BOT) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 201.037 | 30.6852 | 0.00020632 | -0.0043182 | -0.0053822 | -0.0010639 |  | 201.037 | -0.0043182
2 | YES | 401.416 | 30.6603 | 0.00025891 | -0.0067596 | -0.0046909 | 0.0020687 |  | 401.416 | -0.0067596
3 | YES | 400.657 | 30.6623 | 0.00020704 | -0.0041676 | -0.0046935 | -0.00052595 |  | 400.657 | -0.0041676
4 | YES | 401.442 | 30.6531 | 0.0002012 | -0.0045681 | -0.0046908 | -0.0001227 |  | 401.442 | -0.0045681
5 | YES | 1001.09 | 34.3603 | 0.00023459 | -0.0022659 | -0.0026221 | -0.00035617 |  | 1001.09 | -0.0022659
6 | NO | 1000.56 | 34.3573 | 0.00024534 | -0.014355 | -0.0026239 | 0.011731
YES
YES
YES
YES
YES
NO
FIT vs. Pressure
FIT vs. Sal1
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (Sal0 - Sal_BOT) (2)
Calculation of Linear Least Squares Fit For
(Sal0 - Sal_BOT)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal0 - Sal_BOT), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.25277 |  | X | CALC Y
m= | 0.00027249 | 0.00023425 |  | Std Dev of Resid |  | 0.0085393 |  | 66.318 | 0.0035784
b= | -0.014493 | 0.019183 |  | Resid Sum of Squares |  | 0.00029168 |  | 112.851 | 0.016258
# of Values Extracted = |  |  | 6
# of Values Used in Fit = |  |  | 6
File | Use | Pressure | Sal0 | Sal0 | Diff (Sal0 - Sal_BOT) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
7 | YES | 66.318 | 32.4949 | 0.0087382 | 0.012531 | 0.0035784 | -0.0089529 |  | 66.318 | 0.012531
8 | YES | 112.851 | 32.5794 | 0.0012372 | 0.018547 | 0.016258 | -0.002289 |  | 112.851 | 0.018547
9 | YES | 75.8348 | 32.812 | 0.00074091 | 0.0014076 | 0.0061716 | 0.004764 |  | 75.8348 | 0.0014076
10 | YES | 75.9078 | 32.8058 | 0.00034689 | -0.0062141 | 0.0061915 | 0.012406 |  | 75.9078 | -0.0062141
11 | YES | 76.1924 | 32.8111 | 0.00067022 | 0.0067711 | 0.0062691 | -0.00050202 |  | 76.1924 | 0.0067711
12 | YES | 76.056 | 32.8248 | 0.00023803 | 0.011658 | 0.0062319 | -0.0054258 |  | 76.056 | 0.011658
YES
YES
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. Sal0
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (Sal1 - Sal_BOT) (2)
Calculation of Linear Least Squares Fit For
(Sal1 - Sal_BOT)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal1 - Sal_BOT), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.18825 |  | X | CALC Y
m= | 0.00023602 | 0.00024505 |  | Std Dev of Resid |  | 0.0089331 |  | 66.318 | 0.0024156
b= | -0.013237 | 0.020068 |  | Resid Sum of Squares |  | 0.0003192 |  | 112.851 | 0.013398
# of Values Extracted = |  |  | 6
# of Values Used in Fit = |  |  | 6
File | Use | Pressure | Sal1 | Sal1 | Diff (Sal1 - Sal_BOT) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
7 | YES | 66.318 | 32.4946 | 0.0058974 | 0.012226 | 0.0024156 | -0.0098105 |  | 66.318 | 0.012226
8 | YES | 112.851 | 32.5768 | 0.00088071 | 0.015911 | 0.013398 | -0.0025129 |  | 112.851 | 0.015911
9 | YES | 75.8348 | 32.8104 | 0.001146 | -0.00022507 | 0.0046617 | 0.0048868 |  | 75.8348 | -0.00022507
10 | YES | 75.9078 | 32.8037 | 0.00026684 | -0.0082703 | 0.004679 | 0.012949 |  | 75.9078 | -0.0082703
11 | YES | 76.1924 | 32.8096 | 0.00075672 | 0.0052795 | 0.0047461 | -0.00053341 |  | 76.1924 | 0.0052795
12 | YES | 76.056 | 32.8228 | 0.00034782 | 0.0096931 | 0.0047139 | -0.0049792 |  | 76.056 | 0.0096931
YES
YES
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. Sal1
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Main
# Channels= | 3 |  |  |  | COMPARE Version 3.3 | Run at 2011/07/14 15:35:54
| Primary | Secondary |  | Comparison Name
Ref | Pressure | Pressure |  | Pressure - Pressure
Comp 1 | Sal_BOT | Sal0 |  | Sal0 - Sal_BOT
Comp 2 | Sal_BOT | Sal1 |  | Sal1 - Sal_BOT
Average Size: | 1
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | Pressure | Pressure | Pressure | (S-P) | Sal_BOT | Sal0 | Sal0 | (S-P) | Sal_BOT | Sal1 | Sal1 | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
2010-69-0001.mrgcor1 | 2010-69-0001.samcor1 | 241 | 201.037 | 201.037 | 0.035444 | 9.1553e-05 | 30.6895 | 30.6881 | 0.00021564 | -0.0013618 | 30.6895 | 30.6852 | 0.00020632 | -0.0043182
2010-69-0002.mrgcor1 | 2010-69-0002.samcor1 | 241 | 401.416 | 401.416 | 0.023901 | 0.00027466 | 30.6671 | 30.6632 | 0.00022425 | -0.0039234 | 30.6671 | 30.6603 | 0.00025891 | -0.0067596
2010-69-0003.mrgcor1 | 2010-69-0003.samcor1 | 241 | 400.657 | 400.657 | 0.033858 | -9.1553e-05 | 30.6665 | 30.6648 | 0.00020398 | -0.0017357 | 30.6665 | 30.6623 | 0.00020704 | -0.0041676
2010-69-0004.mrgcor1 | 2010-69-0004.samcor1 | 241 | 401.442 | 401.442 | 0.034163 | -0.00030518 | 30.6577 | 30.6553 | 0.00022247 | -0.0023708 | 30.6577 | 30.6531 | 0.0002012 | -0.0045681
2010-69-0008.mrgcor1 | 2010-69-0008.samcor1 | 241 | 1001.09 | 1001.09 | 0.24338 | 0.00012207 | 34.3626 | 34.3612 | 0.00023465 | -0.0014191 | 34.3626 | 34.3603 | 0.00023459 | -0.0022659
2010-69-0009.mrgcor1 | 2010-69-0009.samcor1 | 241 | 1000.56 | 1000.56 | 0.30951 | 0.00036621 | 34.3717 | 34.3576 | 0.00026976 | -0.014065 | 34.3717 | 34.3573 | 0.00024534 | -0.014355
2010-69-0022.mrgcor1 | 2010-69-0022.samcor1 | 241 | 66.318 | 66.318 | 0.025293 | 7.6294e-06 | 32.4824 | 32.4949 | 0.0087382 | 0.012531 | 32.4824 | 32.4946 | 0.0058974 | 0.012226
2010-69-0023.mrgcor1 | 2010-69-0023.samcor1 | 241 | 112.851 | 112.851 | 0.028663 | 0.00010681 | 32.5609 | 32.5794 | 0.0012372 | 0.018547 | 32.5609 | 32.5768 | 0.00088071 | 0.015911
2010-69-0025.mrgcor1 | 2010-69-0025.samcor1 | 241 | 75.835 | 75.8348 | 0.033503 | -0.00018311 | 32.8106 | 32.812 | 0.00074091 | 0.0014076 | 32.8106 | 32.8104 | 0.001146 | -0.00022507
2010-69-0026.mrgcor1 | 2010-69-0026.samcor1 | 241 | 75.908 | 75.9078 | 0.031296 | -0.00016785 | 32.812 | 32.8058 | 0.00034689 | -0.0062141 | 32.812 | 32.8037 | 0.00026684 | -0.0082703
2010-69-0027.mrgcor1 | 2010-69-0027.samcor1 | 241 | 76.192 | 76.1924 | 0.036897 | 0.00043487 | 32.8043 | 32.8111 | 0.00067022 | 0.0067711 | 32.8043 | 32.8096 | 0.00075672 | 0.0052795
2010-69-0028.mrgcor1 | 2010-69-0028.samcor1 | 241 | 76.056 | 76.056 | 0.033159 | 2.2888e-05 | 32.8131 | 32.8248 | 0.00023803 | 0.011658 | 32.8131 | 32.8228 | 0.00034782 | 0.0096931
Create Fit Sheet