## REVISION NOTICE TABLE

| ### DATE | ### DESCRIPTION OF REVISION |
| --- | --- |
| 15 Apr 2024 | Fixed PAD value formats. SH |
| 31May2018 | Added DIC and Alkalinity data to 2 CHE casts. For details see document Carbon_Data_Addition.docx. |

## PROCESSING NOTES

Cruise: 2010-73

Agency: OSD

Location: Strait of Georgia

Project: SoG Moorings

Party Chief: Macdonald R.

Platform: Vector

Date: 29 October 2010 – 1 November 2010

Processed by: Germaine Gatien

Date of Processing: 3 August – 9 August 2011

Number of original CTD casts: 13 (1split cast)	Number of CTD casts processed: 2

Number of bottle casts:	13 (1 split cast)		Number of bottle casts processed: 12

# INSTRUMENT SUMMARY

A SeaBird Model SBE 911+ CTD (#0550) was mounted in a rosette and attached were a Wetlabs CSTAR transmissometer (#498DR), an SBE 43 DO sensor (#1119), a Seapoint Fluorometer (#2228) with a 10X cable and an altimeter (#1252).

# SUMMARY OF QUALITY AND CONCERNS

The Daily Science Log Book contained good notes about problems encountered during the cruise. There was no equipment list, leaving the configuration file as the only source for what sensors were mounted. There should be a list in the log and the entries must be checked visually to ensure the sensor serial numbers and fluorescence gain are entered correctly.

There were a few problems with data spikes during this cruise, but the practice of stopping acquisition when that happens and starting a new file ensured minimal data loss.

File 2010-73-0011.CHE contains data from two original files due to a computer crash.

The bottles for Event #11 did not fire in the manner indicated on the rosette log sheet. Only 1 bottle fired at 100m where 2 were intended. As well Niskin #21 did not fire, though it likely closed at about 14m where Niskins #20 and 22 closed. A line has been added to the CHE file for Niskin #21 with CTD data copied from Niskin #22, pressure replace with a pad value and Depth:Nominal entered for all the bottles and a note of explanation added to the header.

The salinity spreadsheet did not contain sample numbers, just a reference to Niskin bottle # and station name. This was likely because the information was not on the bottle labels. It is important to put the sample number on every sample label. The two salinity duplicates were both from about 2db and differed by 0.030 and 0.015 giving an indication of the small-scale variability at this level.

Fluorescence and transmissivity data are nominal and unedited, except that some records were removed in editing temperature and salinity.

A pH sensor was in use for this cruise but has not been included in the data to be archived due to quality concerns. The pH data have been provided to the chief scientist.

The membrane of the SBE Dissolved Oxygen sensor was found to be damaged when examined at the factory in spring 2011. Cruises before and after this one had unusual fits in the comparisons between SBE DO and bottles. For this cruise the problems are not as severe, likely due to lower gradients, but there is little near-surface data available in order to judge the area most likely to be affected by the problem. There was a lot of scatter in the fit. Corrections have been applied and worked reasonably well, but the quality must be considered lower than usual.

The SBE dissolved oxygen data in the CTD files are considered, roughly:

•	±0.3 ml/l from 10 to 60db (mostly too high)

•	±0.06  ml/l from 60 to 150db (mostly too high)

•	±0.02  ml/l below 150db (mostly too high)

The downcast data above 10db could not be assessed.

# PROCESSING SUMMARY

##### Seasave

This step was completed at sea; the raw data files have extension HEX.

The Chief Scientist requires special files with the pH channel if those are not to be archived.

##### Preliminary Steps

The Log Book and rosette log sheets were obtained. There was no list of equipment in the log book. The transmissometer and pH sensors have different serial numbers from those said to be on 2010-22 which otherwise had the same equipment, but those sensors are more likely to be changed than the others, so the information from the configuration files will be assumed to be correct.

The configuration files used at sea had some errors. The SBE Dissolved Oxygen sensor entry used the parameters for the Owens-Millard algorithm rather than the Seabird algorithm. The transmissivity calibration was out of date. The pressure offset was not up to date. After corrections to those parameters the configuration was saved as 2010-73-test-ctd.con.

A test conversion of one file, showed that there is no signal for Surface PAR (as expected since there are only null parameters entered), so that variable will not be converted. It was reported by one of the participants that the pH data did not look right at sea, and that is the case for this test conversion. There are only negative values for pH.

A few tests were done to see if the pH was really mounted on a different voltage, and indeed when it is entered for voltage 7 instead of voltage 6 (where it was entered at sea), the data look reasonable. The file prepared for the test was saved as 2010-73-ctd.con.

All casts were converted using file 2010-73-ctd.con.

There was one case of a split cast – files #11 and 12 are at the same site, with the interruption during the upcast, so no special steps will be required for the CTD files.

Files 1-10 only went to 2db so only bottle files will be prepared for archiving, though downcast data will be partially processed in order to study surface gradients.

The pumps were not on for cast #1. A bottle file will be prepared but the pumped channels should be replaced with pad values. For the use of the researcher the full temperature and salinity data from the BOT file will be provided.

Dissolved oxygen, nutrient and salinity data were obtained in spreadsheet format.

The cruise summary sheet was completed.

The histories of the conductivity, DO and pressure sensors were obtained.

##### Conversion of Raw Data

Rosette files were converted using a start time of -5s and duration of 10s. The Tau correction was chosen, but not the hysteresis correction for DO calculation.

The ROS files were converted to IOS HEADER format. There was a problem with cast #12 so that only data up to 103db were converted. There was a pressure spike at scan 15938 and a few other conductivity and dissolved oxygen and salinity values that were way out of line, so those values were replaced with pad values in the ROS file and it was converted again successfully, although Niskin #21 is missing. The “bl” file confirms that that bottle was not fired, though the rosette sheet implies that it closed. There were no DO, salinity or nutrient samples from that bottle.

CLEAN was then run to add event numbers to the headers and those files were named *.BOT.

All BOT files were plotted and no significant outliers were found.

CNV files were converted using the Tau correction, but not the hysteresis correction.

A few CNV casts were examined and all expected channels are present. There was a problem with spikes and a computer crash at SOGN, but data from the deep cast at SOGS look ok.

- The two temperature channels are further apart than usual, but similar to 2010-21 and 2010-22 which bracket this cruise. The profile shapes and noise levels are similar during the downcast, though there are a few spikes. For the upcast there is more noise. The differences between upcasts and downcasts are larger than usual as though the pumps were not working well on the upcast or the rosette package was swinging a lot. On the whole the primary seems less spiky than the secondary, but this is not as clear as it was for 2010-22.

- Conductivity traces are similar to the temperature traces.

- The fluorescence and transmissivity traces look fine.

- Dissolved oxygen voltage has an offset, as usual.

- The descent rate looks steady.

- The altimetry looks ok near the bottom.

##### WILDEDIT

Program WILDEDIT was run to remove spikes from the pressure, conductivity and temperature channels only.  Parameters used were: 	Pass 1    Std Dev = 2 	Pass 2    Std Dev = 10	Points per block = 50

##### CELLTM

There is only one cast with data below 5m and not interrupted by a computer crash suitable to test parameter choice for CELLTM. Even that cast has a very noisy T-S curve so is of limited use. Since the same equipment was in use as for 2010-22, the parameters selected for that cruise were tested on cast #13. The results showed a slight improvement to the primary T-S. The secondary was not adjusted for 2010-22. There is no evidence to come up with a better choice, so that will be applied.

CELLTM was run applying the setting (α = 0.02, β=7) to the primary conductivity for all casts.

##### DERIVE

Program DERIVE was run twice:

on all casts to calculate primary and secondary salinity and dissolved oxygen concentration. The Tau correction was chosen for the DO derivation.

on the deep casts to calculate the differences between primary and secondary channels for temperature, conductivity and salinity. These were placed in a test directory and will not be archived.

##### Test Plots and Channel Check

A sample of casts using was plotted to check for agreement between the pairs of T and C sensors. Included in the table are differences from cruises 2010-19 in April, 2010-21 in September and 2010-22 in December when the same equipment was used.

| Cast # (CTD#) | Press | T1-T0 | C1-C0 | S1-S0 | Descent Rate |
| --- | --- | --- | --- | --- | --- |
| 2010-19-0051 | 300 | +0.0015 | +0.0003 | -0.0032 | High, steady |
| 2010-19 0064 | 300 | +0.0008 | +0.00025 | -0.003 | High, steady |
| 2010-21-0048 | 300 | +0.0021 | +0.00003 | -0.0015 | High, v. steady |
| 2010-21-0067 | 300 | +0.002 | ~0 very noisy | -0.0018 | High, steady |
| 2010-73-0011 | 300 | +0.002 noisy | +0.00007 | -0.0010 | High noisy |
| 2010-73-0013 | 300 | +/-0.002 | +0.00004 | -0.0014 | High, steady |
| 2010-22-0047 | 300 | +0.0016 | -0.00002 | -0.0016 | High, v steady |
| 2010-22-0053 | 300 400 | +0.0018 +0.0021 | -0.0001 -0.00002 | -0.0017 -0.0019 | High, v. steady |

The temperature differences are larger than generally found, but similar to the other cruises using these particular sensors. Conductivity differences are small. Salinity differences are slightly smaller than the other cruises. There is a post-cruise factory report on the temperature sensors and neither drifted significantly, so the differences must have more to do with plumbing than the sensors themselves.

##### Conversion to IOS Headers

The IOSSHELL routine was used to convert SEA-Bird 911+ CNV files to IOS Headers.

CLEAN was run to add event numbers and to replace pad values in the Pressure channel using linear interpolation based on scan number; it was also used to reset the header limits.

##### Checking Headers

The header check was run. It does show there are spikes. The SBE:Fluorescence did not go off-scale.

The cross-reference check was compared with the log book, and no errors were found.

The cruise track was plotted and added to the end of this report. No problems were found.

The surface values program shows the average surface pressure to be 0.9db. While the average is low, this project was focused on shallow sampling, so it is believed to be accurate.

The altimeter readings and water depths were exported from the headers to a spreadsheet and compared with information from the log and plots of altimetry. The altimetry algorithm often fails when there is only very shallow sampling and that was the case here for casts #5-6 and #8-10; those header lines were removed. Some water depths were missing that were available from the log so those were added to the headers and one was entered incorrectly so was amended. The BOT files were also checked and the same depths were missing but only cast #5 required removal of the header.

See spreadsheets 2010-73-ctd-altimetry.csv and 2010-73-che-altimetry.csv.

##### BOTTLE FILE PREPARATION

The BOT files were averaged to enable an addsamp file to be created. This file was edited to add sample numbers taken from the rosette sheets. Adjustments had to be made to the entries for event #12. There are 23 bottles fired where 24 were expected. Of those, 4 were at about 300db because 2 had really closed on the first cast, so they were fired again to ensure the Niskin number got recorded correctly for the rest of the bottles. Two bottles continued to fire at each level up to 100db where only one fired. There are then 2 bottles at each level to the surface. Niskin #21 was not fired but according to the rosette sheet samples were taken, so the bottle must have closed without firing.

Study of the BOT file and bottle samples confirm that Niskin #12 closed at 75db, not 100db.

Study of samples from Niskin #21 (DIC, Alkalinity, pH) are consistent with the bottle having closed at about 14db where Niskins #20 and 22 closed. A line will be created at the end in the CHE file to accommodate those samples, but Depth:Nominal will be used to indicate some uncertainty about the level from which the samples came.

The ADDSAMP file was used to create SAM files which were bin-averaged on bottle # to create SAMAVG files.

The ADDSAMP file was converted to CST files (Bottle_Number, Bottle:Position, Sample _Number) to serve as  the backbone of the CHE files.

SALINITY

The salinity data were delivered in spreadsheet 2010-73sog.xls which was renamed as 2010-73-sal.xls. There were no sample numbers, only station names and bottle numbers written in a single column. This is presumably what was given on the labels. There were 2 duplicates - they were not averaged, but were entered on separate lines. The duplicates were transferred to a separate sheet and averaged. The differences were 0.030 and 0.015. Another sheet was added and named “FINAL”. That page includes columns for event number, station, sample number, bottle value, flag and comments. There is just one line for each of the duplicate pairs with the average value entered and flag “36” for each since the differences were 0.030 and 0.015. While these differences are not surprising so near the surface it means the analysis is not useful in assessing the sampling protocols or Autosal performance. Deeper duplicates would be more useful. However, it does provide some indication of the variability implicit in salinity surface sampling.

The final sheet was also saved 2010-73-sal.csv which was then converted to individual SAL files.

DISSOLVED OXGYEN

The dissolved oxygen data was provided in spreadsheet 2010-73-oxy.xls with quality flags and comments. There was an analysis of duplicates and 5 pairs were flagged and 2 were rejected based on Chauvenet’s criterion. The spreadsheet was simplified, flags changed from letters to numbers to be consistent with the other analysis results and saved as 2010-73SoG-oxy.csv which was converted into individual ADD files.

NUTRIENTS

The nutrient data were obtained in spreadsheet QF2010-73nuts.xls which included a report on precision. The entries for station SOGN are all entered as event #11. That will be the case later so will not be changed in the main spreadsheet, but in the working copy samples #23-44 will be listed as event #12. The working spreadsheet was simplified, reordered on sample number and saved as 2010-73-nuts.csv. File 2010-73-nuts.csv was then converted to individual NUT files.

The SAL, ADD and NUT files were merged with CST files in 3 steps. (Output: MRG1, MRG3 and MRG4), MRG4 was put through CLEAN to reduce the headers to File and Comment sections only. That file was then merged with SAMAVG files to form MRG files. The MRG files for casts 11 and 12 were then renamed 2010-73-0011.MRG1 and 2010-73-0011.MRG2 and joined to form 2010-73-0011.MRG.

Data was exported from the MRG files to a spreadsheet for comparison with the rosette logs. There was a problem with cast #11. That was fixed.

At that point the SAM files for events #11 and 12 were joined and bin-averaged. If the merge process needs to be redone for any reason, then 2010-73-0011.SAMAVGa and 2010-73-0011.SAMAVGb should be used rather than SAMAVG; they will need renaming as events 11 and 12 first.

Plots were made of Salinity versus DO from the CTD and Titrated DO and no outliers were noted.

##### Compare

Salinity

COMPARE was run. The differences at the surface vary from the CTD value being low by 0.6 to being high by 8.5, with most being high. This is reasonable given that the 1.5m distance from CTD to bottle will be significant in these very shallow samples.

When data below 100db are examined the average differences show the CTD to be low by 0.0046 and 0.0056 for primary and secondary sensor pairs respectively. When the two samples close to the bottom are excluded those differences are 0.0041 and 0.0051 and the standard deviations are 0.002 for both. There are only 9 bottles in those fits. The differences between the two pairs are a little lower than the differences noted in section 7.  (See 2010-73-sal-comp1.xls.)

Dissolved Oxygen –

COMPARE was run using the SBE DO and the Titrated bottle DO data. The surface values are way off, but the worst was from cast #1 when the pumps were off. When outliers were excluded based on residuals the fit found was:

CTD-BOT = 1.0447 * DOX-CTD - 0.0243

When the bottles from above 3db are first excluded followed by a few more bottles based on residuals the fit is:

CTD-BOT = 1.0365 * DOX-CTD + 0.0011

That is quite close to the fit for cast #11 but cast #13 has a smaller slope. (See 2010-73-dox-comp1.xls.)

##### 12. Shift

Fluorescence

The usual method to find what shift is needed for the fluorescence is to examine upcast and downcast profiles to determine the vertical offset of the temperature and fluorescence traces. The differences between these two offsets are treated as a measure of how much the fluorescence needs to be shifted. The “excess” offset for the fluorescence was divided by the averaged descent/ascent rate and divided by 2(since the shift will be applied to both up and downcast) to find the shift (in seconds) to remove that offset. This is always rough estimate as the upcast data are usually very noisy. The usual shift of +24 records (1s) was found to improve the alignment. This is the shift that has been used in most other cruises, and it was applied to these data. (Output: SHFFL)

Conductivity

The parameters used for 2010-22 were tested on cast #11 and T-S plots showed slight improvements for both primary and secondary channels, with traces less noisy and more stable.

SHIFT was run on all casts using an advancement of +0.2 records to the primary and -0.5 records to the secondary.

Dissolved Oxygen

Only cast #13 was suitable for testing for the best SHIFT value to apply to the Dissolved Oxygen channel. This was judged by how the vertical offset between downcast and upcast traces compares with that of the temperature. Because there is an offset in values between upcast and downcast due to the time response, alignment will not produce traces that overlie each other exactly. Distinctive features aid this judgment. In recent uses of this sensor shift values of +60 was used, but for 2010-22 a setting of +120 records was needed to produce a reasonable result. For cast #13 +90 records looks sufficient. This increase from 2010-21 is likely due to the damage to the membrane that has produced poor response times, and the membrane problem may have grown worse through 2010-22. The early data is not suitable for an assessment. The DO run of COMPARE shows a small slope suggesting there had not been a large drift in DO since 2010-21, but the range of DO was relatively small, so this may just mean there was little “testing” of the ability of this sensor to respond.

SHIFT was run with a setting of +90.

pH

The pH does not seem to require alignment, though it is hard to judge due to the small range in temperature and pH, so that noise is hard to separate from signal.

##### 13. DELETE

The following DELETE parameters were used:

Surface Record Removal: Last Press Min   	Maximum Surface Pressure (relative): 10.00

Surface Pressure Tolerance: 1.0               	Pressure filtered over 15 points

Swells deleted. Warning message if pressure difference of 2.00

Drop rates <   0.30m/s (calculated over 11 points) will be deleted.

Drop rate applies in the range:  10db to 10db less than the maximum pressure

Sample interval = 0.042 seconds. (taken from header)

COMMENTS ON WARNINGS: All warnings were either from the upcast only file #12, or from casts with pressure<10db.

The DEL files were copied to EDT except for cast #12 for which a profile will not be produced. However, the file for event #12 was put through REVERSE and then DELETE so that the near surface data could be examined.

##### 14. DETAILED EDITING

COMPARE indicates that the primary salinity is closer to the bottles and the primary channels have been chosen for archiving in all cruises for which these sensors have been used since they were last serviced.

Graphical editing was done using program CTDEDIT. On-screen plots of descent rate and pump status were also used.

Casts #2-10 were examined, but there were very little data available with pumps on and undisturbed by shed wakes. There is no way to determine the validity of so few data so the downcast files will not be processed further.

For cast #11 the descent rate was extremely noisy with many complete reversals of direction, so editing was heavy and the quality of what remains is considered lower than usual. Cast #13 required only the removal of surface records.

##### 15. Other Comparisons

Previous experience with these sensors –

1. Salinity - Both conductivity sensors have been used many times since their last recalibrations in 2007. The results are highly variable with none of the comparison thought to be very reliable. In most cases the primary was within 0.004 with most differences less than that. For the two uses bracketing this one the primary was found to be low by ~0 and ~0.0027. The secondary was low by 0.002 and 0.0045.

2. Dissolved Oxygen – This sensor has been used many times since the last factory calibration. The slope of the fits of differences against SBE DO has been less than 1.04 for all recent uses until 2010-57 when it was ~1.12. For 2010-22 which followed this cruise the slope was 1.5.

3. Pressure –The sensor was recalibrated in August 2007 and an offset of +0.8db has used for 5 recent cruises.

Post-cruise calibrations

1. Salinity (T/C) – The primary conductivity had drifting downwards by roughly 0.004 salinity units and the temperature drift would produce salinity higher by ~0.0008. The secondary conductivity drift is roughly low by 0.0047 and temperature would produce salinity higher by ~0.0002.

2. Dissolved Oxygen – The membrane was found to be wrinkled due to impact. No estimate was made of calibration change.

Historic ranges (3 standard deviations) – The only excursion from the local climatology was low salinity from 30 - 50m at SOGN where it looks like a deeper mixed layer than usual might have occurred. This does not look indicative of calibration problems.

Calibration Conclusions

COMPARE indicates that the two salinity channels are reading low by 0.0041 and 0.0051 but those results are a little further off than the post-cruise calibrations suggest. The difference between them is similar to what was observed in section 7 for event #11, but lower than that for event #13. The descent rate was noisy for #11 but quiet for #13, so the latter is probably more reliable. Both COMPARE observations are larger than the 2010-22 result. The difference between the 2010-22 primary and salinity corrections is closer to what was observed during Event #13 of this cruise. There was considerable scatter for both cruises, so the picture is not clear. Overall, the results of 2010-22 look more reliable so will be applied to salinity.

For dissolved oxygen the results of 2010-22 are clearly not appropriate. There is some evidence that the damage to the sensor membrane occurred before 2010-73, but it either got much worse after this cruise, or the narrow range of DO sampled meant that having poor response time was not as significant. The fit found in COMPARE suits the data below 3db.A 2nd recalibration will be attempted for data above that. When one cast with the pumps off (#1) and 4 others with large standard deviation in the SBE DO are excluded there is a near-constant offset at the surface. This will be checked again after the initial correction.

##### 15. Initial Recalibration

File 2010-73-recal.ccf was prepared to correct the primary salinity by adding 0.0027 and the secondary salinity by adding 0.0045 and to apply the following equation to the Oxygen:Dissolved:SBE channel:

CTD-DOX (Corrected) = 1.0365 * DOX-CTD + 0.0011

This was applied to the SAM and MRGCLN2 files to create SAMCOR1 and MRGCOR1 files. COMPARE was rerun to see that the corrections were applied correctly. When the same bottles are excluded as in the original fit, the average difference between SBE DO and bottles is 0.0001. As noted earlier the surface SBE DO values are low, on average. When only the surface bottles are included in a fit, excluding 1 cast for which pumps were off and 4 other outliers, the SBE DO is low by an average of 0.032mL/L. Applying a pressure-dependent correction will improve these data. (See 2010-73-dox-comp2.xls.)

A second correction was applied using formula 12 so that data below 10db were not changed, but above 10db the following correction was applied:

CTD-DOX (Corrected) = DOX-CTD + 0.032

COMPARE was rerun. The surface data that were included in the fit are much better and the other surface values are no worse, on average. (See 2010-73-dox-comp3.xls.)

The EDT files were then recalibrated using both corrections in 2 steps to create COR1 files and COR2 files.

##### 16. Final Calibration of DO

The first recalibration of dissolved oxygen corrects for calibration drift. Shift corrects for transit time errors. Those 2 steps correct for response time errors, but a further correction is sometimes found appropriate. To check for this downcast CTD data are compared to bottle data from the same pressure. For this particular cruise there are no useful downcast CTD data at 2db.

Downcast files were bin-averaged to 0.25m bins for the casts with DO bottle samples. Those files were then thinned to the levels for bottles and compared to the bottle values in the MRG files. COMPARE was used to study the differences between the downcast CTD DO data and the upcast bottles. Below 110db the SBE DO is high by an average of ~0.006 when 2 outliers are excluded. While some bottles look like outliers there is too much noise to make confident exclusions. Excluding 2 bottles with differences >0.2mL/L shows that the average difference between 0 and 110db is +0.02mL/L (SBE DO high).  Below 10db the CTD DO is high by an average of 0.006 or 0mL/L, depending on how outliers are chosen. Given the scatter, the low number of bottles and the knowledge that the sensor was damaged, it seems unjustified to recalibrate this data further. A note will be made in the headers that the values are likely a little high.

Unlike 2010-22 there is no data in the CTD files above 10db, so we cannot evaluate how well the sensor behaved at that level except from bottle files. (See 2010-73-dox-comp4.xls)

##### 17. Special Fluorometer Processing

There was no chlorophyll sampling, so no special files were prepared for Dr. Peña.

A median filter, fixed size=11, was applied to the fluorescence channel in the COR1 files to reduce spikiness. One cast was examined before and after this step and showed that the filter was effective.

##### 18. BIN AVERAGE of CTD files

The following Bin Average values were applied to the FIL files (output AVG):

Bin channel = pressure	Averaging interval = 1.000	Minimum bin value =   .000

Average value will be used.	Interpolated values are NOT used for empty bins.

After averaging, page plots were examined on screen and no further editing appeared necessary.

##### 19. Study of Near-Surface Gradients

##### For the shallow casts near the Fraser River there is a question of whether the vertical gradients are large enough to explain the differences between bottles and CTD. The only casts where there was sufficient information to make a guess are events #9 and 10. The salinity varies by about 0.4 between 1db and 2db, while the differences between the upcast bottles and CTD for those 2 casts were 1.3 and 0.3. So the differences can be explained by local gradients only if the gradient is high in the top 0.5db for #9. That could well be the case.

##### For station SOGN a close examination of the downcast data is possible between 0.5db and 2db, the level at which the surface bottles were fired. During the downcast there was a long stay at the surface with pumps on so useful data were captured. The differences between values at 0.5db and 2db in salinity and dissolved oxygen were ~0.35 and ~0.07mL/L. The Dissolved Oxygen data differ little between down and upcasts, ~0.01 to 0.02mL/L. COMPARE indicates the CTD salinity was reading lower than the bottle by only ~0.015 after recalibration. The SBE dissolved oxygen is lower than the bottle by 0.019mL/L after recalibration, which is also closer to the bottle than expected. This may show conditions changed during the cast, but imperfect flushing of Niskin bottles seems more likely.

##### For the cast at SOGS the pumps were not turned on until the CTD was at 1.8db and they were turned off at 2db on the way up, so study of local gradients is impossible.

##### 20. FINAL CTD files steps (REMOVE and HEADEDIT)

Only casts #11 and 13 were processed from this point onwards for CTD files.

The following channels were removed: Scan_Number, Temperature:Secondary, Salinity:T1:C1, Conductivity:Primary, Conductivity:Secondary, SBE:pH, Oxygen:Voltage:SBE, Descent_Rate, Altimeter, Status:Pump and Flag.

A second set of files were prepared that contain the SBE:pH channel. They will be processed in the same way as the first set except that they will contain the pH channel; they will have “pH” at the end of the extension.

A second SBE DO channel (with umol/kg units) was added. REORDER was run to get the two DO channels together.

HEADER EDIT was used to fix formats and channel names and to add the following comments:

Transmissivity  and fluorescence data are nominal and unedited except that

some records were removed in editing temperature and salinity.

SBE:pH data were collected on this cruise but are not included due to quality

concerns.

The membrane of the SBE Dissolved Oxygen sensor was found to be damaged when

examined at the factory in spring 2011.

Cruises before and after this one had unusual SBE DO comparison with bottles.

For this cruise the problems are not as severe, likely due to lower DO gradients, but

There is little near-surface data available in order to judge the are area most likely to

be affected by the problem. There was a lot of scatter in the fit. Corrections have been applied and worked reasonably well, but the quality must be considered lower than usual.

The SBE dissolved oxygen data in the CTD files are considered, roughly:

•	±0.3 ml/l from 10 to 60db (mostly too high)

•	±0.06  ml/l from 60 to 150db

•	±0.02  ml/l below 150db

The downcast data above 10db could not be assessed.

The Standards Check routine was run and no problems were found. 
The cross-reference list was produced and no problems were found.

The final files were named CTD.

A header check found no obvious errors.

Profile plots were made and no problems were found.

The track plot looks ok.

As a final check of dissolved oxygen data, % saturation was calculated and plotted. There are no data really close to the surface but values at 5db were between 85% and 90%. This is a little lower than we might expect, but the SBE DO values are 5.6 and 5.8mL/L at ~5db and the bottle values at 2db are about the same for cast #11, though higher for #13. The surface was likely better mixed for #11 than #13 given the high winds reported during the mooring work. So the results are not unreasonable.

##### 21. Final Bottle Files

The MRGCOR2 files were put through SORT to order on increasing pressure.

The following channels were removed from all casts: Scan_Number, Temperature:Secondary, Salinity:T1:C1, Conductivity:Primary, Conductivity:Secondary, Oxygen:Voltage:SBE, pH:SBE, Status:Pump, Descent_Rate, Altimeter and Flag.

A second set of files was produced which included the pH:SBE channel. These will be put through the same steps as the first pair but will have extensions that end in “ph”.

A second SBE DO channel was added with different units. REORDER was run to get the two SBE DO channels together.

HEADER EDIT was run to fix units and formats, change the chief scientists name to standard format and to add a comment about quality flags and analysis methods.

A note was added to the cast #1 header to explain why pumped channels had been replaced with pad values.

For cast #11 both MRGREO and MRGREOph were put through routine ADD CHANNEL routine to add Depth: Nominal. A line was added for sample #41, Niskin #21 with CTD data from Niskin #22 entered except that pressure was replaced with a pad value. Depths were entered in the new channel with deep values taken from the rosette log sheet and from 24db upward the pressure was entered since there were significant differences there between the plan and what happened. The following note was added to the headers to explain what happened.

NOTE: Sample #41: ALL: Niskin bottle #21 did not fire; no CTD data were acquired.

However, the bottle did close and samples were taken from it. The pH, DIC and

alkalinity samples are consistent with the bottle having closed at 14m, the same as

Niskins #20 and 22. CTD data were copied from Niskin #22, but given the uncertainty,

pressure was removed for that bottle, and channel Depth: Nominal was added. The

depths entered come from the Rosette sheet except near the surface where the

approximate CTD pressure was used.

Note also that only 1 bottle closed at 100m although 2 were planned, so the

sampling levels do not match the rosette log sheet entries.

CLEAN was run to fix the headers.

Standards check was run on all files and HEADEDIT adjusted until all format problems were resolved.

##### 22. Producing final files

A cross-reference listing was produced for CTD and CHE files.

The sensor history was updated.

pH NOTE: SBE:pH data from this cruise were removed from the files to be archived. They are provided to the chief scientist but they have not been aligned or recalibrated pending further understanding of how the data should be handled. Should calibration methods become available, then to complete the processing the first step will be to find out if the data need alignment. If the sensor was pumped alignment is usually required, but initial examination of these data was unclear about whether there was an offset between temperature and DO, perhaps because there was so little variation in either. If it is found necessary then put the SHFO files through SHIFT to align the SBE DO data. Then use programs, DELETE, CALIBRATE and BIN AVERAGE (for DELETE and BIN AVERAGE use the same parameters as chosen for the CTD file preparation). Then MERGE can be used to add the SBE:pH channel to the CTD files. HEADEDIT should be used to add a comment and ensure the format is correct.

For the bottle files alignment is not appropriate, so processing is likely to just involve recalibration of the CHEpH file. Again a comment should be added and format checked using HEAD EDIT.

The pumps were not working during cast #1 so if SBE:pH processing is done later, cast #1 should not be included.

Particulars:

1. Pumps not turned on.

11. CTD crash part-way through upcast.

12. Continuation of event 11. Need to combine 11/12 for bottle file.

11-13. Notes on rosette sheets indicate sample numbers are wrong on DO samples – should be even numbered samples, not odd. For example, there is no DO sample 45, should be 46a/46b.

# Institute of Ocean Sciences CRUISE SUMMARY

CTD

| CTD# | Make | Model | Serial# | Used with Rosette? | CTD Calibration Sheet Competed? |
| --- | --- | --- | --- | --- | --- |
| 1 | SEABIRD | 911+ | 0550 | Yes | Yes |

| Calibration Information CTD #0550 |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Sensor |  | Pre-Cruise |  | Post Cruise |  |
| Name | S/N | Date | Location | Date | Location |
| Temperature | 4883 | 22Dec07 | Factory “ |  |  |
| Conductivity | 1763 | 11Oct07 | “ |  |  |
| Secondary Temp. | 2095 | 16Oct07 | “ |  |  |
| Secondary Cond. | 2754 | 25Apr07 | “ |  |  |
| Transmissometer | 498DR | 20Jul10 | IOS | 1Nov10 | IOS |
| SBE 43 DO sensor | 1119 | 12Feb2008 | Factory |  |  |
| Fluorometer | 2228 |  |  |  |  |
| Pressure Sensor | 75636 | 20/Aug/2007 | Factory |  |  |
| pH | 0691 | 06Feb09 |  |  |  |
| Altimeter | 1252 |  |  |  |  |