## File List
Number of Files= |  | 12
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 2010-73-0001.mrgcor1 | 2010-73-0001.samcor1 | 11 | 11 | 2010-73-0001.mrgcor1 & 2010-73-0001.samcor1
2 | 2010-73-0002.mrgcor1 | 2010-73-0002.samcor1 | 13 | 13 | 2010-73-0002.mrgcor1 & 2010-73-0002.samcor1
3 | 2010-73-0003.mrgcor1 | 2010-73-0003.samcor1 | 15 | 15 | 2010-73-0003.mrgcor1 & 2010-73-0003.samcor1
4 | 2010-73-0004.mrgcor1 | 2010-73-0004.samcor1 | 17 | 17 | 2010-73-0004.mrgcor1 & 2010-73-0004.samcor1
5 | 2010-73-0005.mrgcor1 | 2010-73-0005.samcor1 | 19 | 19 | 2010-73-0005.mrgcor1 & 2010-73-0005.samcor1
6 | 2010-73-0006.mrgcor1 | 2010-73-0006.samcor1 | 21 | 21 | 2010-73-0006.mrgcor1 & 2010-73-0006.samcor1
7 | 2010-73-0007.mrgcor1 | 2010-73-0007.samcor1 | 23 | 23 | 2010-73-0007.mrgcor1 & 2010-73-0007.samcor1
8 | 2010-73-0008.mrgcor1 | 2010-73-0008.samcor1 | 25 | 25 | 2010-73-0008.mrgcor1 & 2010-73-0008.samcor1
9 | 2010-73-0009.mrgcor1 | 2010-73-0009.samcor1 | 27 | 27 | 2010-73-0009.mrgcor1 & 2010-73-0009.samcor1
10 | 2010-73-0010.mrgcor1 | 2010-73-0010.samcor1 | 29 | 29 | 2010-73-0010.mrgcor1 & 2010-73-0010.samcor1
11 | 2010-73-0011.mrgcor1 | 2010-73-0011.samcor1 | 31 | 42 | 2010-73-0011.mrgcor1 & 2010-73-0011.samcor1
12 | 2010-73-0013.mrgcor1 | 2010-73-0013.samcor1 | 44 | 55 | 2010-73-0013.mrgcor1 & 2010-73-0013.samcor1

## (DOX_CTD - DOX_BOT)
Calculation of Linear Least Squares Fit For
(DOX_CTD - DOX_BOT)
2
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (DOX_CTD - DOX_BOT), Prop=DOX_CTD
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.0027665 |  | X | CALC Y
m= | -0.010513 | 0.089267 |  | Std Dev of Resid |  | 0.041527 |  | 5.7187 | -0.027411
b= | 0.032711 | 0.54827 |  | Resid Sum of Squares |  | 0.0086227 |  | 6.2784 | -0.033296
# of Values Extracted = |  |  | 34
# of Values Used in Fit = |  |  | 7
File | Use | Pressure | DOX_CTD | DOX_CTD | Diff (DOX_CTD - DOX_BOT) |  |  |  | Fit vs. | DOX_CTD
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y |  | bottle
1 | NO | 2.3 | 4.7561 | 0.13855 | -1.4509 | -0.017292 | 1.4336 |  | 6.2448 | 0.030831 |  | 6.207 | pumps off
2 | NO | 1.9567 | 5.728 | 0.067416 | -0.33602 | -0.027509 | 0.30851 |  | 6.2033 | -0.054697 |  | 6.064
3 | NO | 2.0143 | 5.8052 | 0.071763 | -0.26676 | -0.028322 | 0.23844 |  | 6.1619 | -0.016102 |  | 6.072
4 | YES | 2.3394 | 6.2448 | 0.013018 | 0.030831 | -0.032943 | -0.063774 |  | 6.1727 | -0.053319 |  | 6.214
5 | NO | 2.0646 | 6.2502 | 0.011157 | 0.19322 | -0.033 | -0.22622 |  | 6.1964 | -0.088638 |  | 6.057
6 | YES | 1.9729 | 6.2033 | 0.013484 | -0.054697 | -0.032506 | 0.022191 |  | 6.2784 | -0.021569 |  | 6.258
7 | YES | 1.9136 | 6.1619 | 0.024244 | -0.016102 | -0.032071 | -0.015969 |  | 5.7187 | -0.019352 | -0.031835 | 6.178
8 | YES | 2.2149 | 6.1727 | 0.013053 | -0.053319 | -0.032185 | 0.021134 |  |  |  |  | 6.226
9 | YES | 2.3649 | 6.1964 | 0.0040371 | -0.088638 | -0.032434 | 0.056204 |  |  |  |  | 6.285
10 | YES | 2.0879 | 6.2784 | 0.013936 | -0.021569 | -0.033296 | -0.011727 |  |  |  |  | 6.3
11 | NO | 325.182 | 2.7769 | 0.0043619 | 0.006948 | 0.0035161 | -0.0034319 |  |  |  |  | 2.77
11 | NO | 303.241 | 2.7996 | 0.0028541 | 0.082639 | 0.0032775 | -0.079361 |  |  |  |  | 2.717
11 | NO | 251.236 | 2.8445 | 0.002999 | -0.0085051 | 0.002806 | 0.011311 |  |  |  |  | 2.853
11 | NO | 202.699 | 2.8738 | 0.0023914 | -0.038204 | 0.0024979 | 0.040702 |  |  |  |  | 2.912
11 | NO | 152.372 | 2.9257 | 0.0026858 | -0.0083077 | 0.0019523 | 0.01026 |  |  |  |  | 2.934
11 | NO | 79.0167 | 2.978 | 0.0087227 | -0.068021 | 0.0014026 | 0.069424 |  |  |  |  | 3.046
11 | NO | 53.9246 | 4.496 | 0.077185 | -0.16198 | -0.014557 | 0.14743 |  |  |  |  | 4.658
11 | NO | 33.6497 | 5.3445 | 0.008061 | -0.043505 | -0.023478 | 0.020027 |  |  |  |  | 5.388
11 | NO | 24.3728 | 5.3306 | 0.0073051 | -0.0033689 | -0.023332 | -0.019963 |  |  |  |  | 5.334
11 | NO | 14.2098 | 5.7038 | 0.0053168 | 0.016766 | -0.027255 | -0.044021 |  |  |  |  | 5.687
11 | NO | 14.2098 | 5.7038 | 0.0053168 | -0.081234 | -0.027255 | 0.053979 |  |  |  |  | 5.785
11 | YES | 2.0026 | 5.7187 | 0.027477 | -0.019352 | -0.027411 | -0.0080588 |  |  |  |  | 5.738
12 | NO | 324.005 | 2.8122 | 0.0028236 | -0.0007751 | 0.0031453 | 0.0039204 |  |  |  |  | 2.813
12 | NO | 303.184 | 2.8325 | 0.0026463 | 0.0064797 | 0.0029323 | -0.0035475 |  |  |  |  | 2.826
12 | NO | 252.049 | 2.8935 | 0.0033271 | 0.009474 | 0.0022911 | -0.007183 |  |  |  |  | 2.884
12 | NO | 202.169 | 2.9666 | 0.0027866 | -0.0033987 | 0.0015222 | 0.0049209 |  |  |  |  | 2.97
12 | NO | 152.05 | 3.2975 | 0.0029163 | 0.0084767 | -0.0019564 | -0.010433 |  |  |  |  | 3.289
12 | NO | 101.779 | 3.0916 | 0.003352 | 0.011634 | 0.00020774 | -0.011427 |  |  |  |  | 3.08
12 | NO | 75.9035 | 3.1854 | 0.0029906 | 0.0063558 | -0.00077769 | -0.0071334 |  |  |  |  | 3.179
12 | NO | 50.7897 | 3.3684 | 0.0028328 | 0.00036573 | -0.0027017 | -0.0030675 |  |  |  |  | 3.368
12 | NO | 31.0126 | 4.2526 | 0.0090186 | 0.025559 | -0.011998 | -0.037556 |  |  |  |  | 4.227
12 | NO | 20.9694 | 4.6689 | 0.0060307 | 0.01591 | -0.016375 | -0.032285 |  |  |  |  | 4.653
12 | NO | 10.6272 | 5.6062 | 0.0056673 | 0.12222 | -0.026229 | -0.14845 |  |  |  |  | 5.484
12 | NO | 1.8093 | 5.8883 | 0.055927 | -0.64273 | -0.029194 | 0.61354 |  |  |  |  | 6.531
NO
NO
NO
YES
NO
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
FIT vs. Pressure
FIT vs. DOX_CTD
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (DOX_CTD - DOX_BOT) (2)
Calculation of Linear Least Squares Fit For
(DOX_CTD - DOX_BOT)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (DOX_CTD - DOX_BOT), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.0028135 |  | X | CALC Y
m= | -0.011588 | 0.10908 |  | Std Dev of Resid |  | 0.045937 |  | 1.9136 | -0.031188
b= | -0.009014 | 0.23515 |  | Resid Sum of Squares |  | 0.008441 |  | 2.3649 | -0.036418
# of Values Extracted = |  |  | 10
# of Values Used in Fit = |  |  | 6
File | Use | Pressure | DOX_CTD | DOX_CTD | Diff (DOX_CTD - DOX_BOT) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 2.3 | 4.7561 | 0.13855 | -1.4509 | -0.035666 | 1.4152 |  | 2.3394 | 0.030831
2 | NO | 1.9567 | 5.728 | 0.067416 | -0.33602 | -0.031689 | 0.30433 |  | 1.9729 | -0.054697
3 | NO | 2.0143 | 5.8052 | 0.071763 | -0.26676 | -0.032356 | 0.2344 |  | 1.9136 | -0.016102
4 | YES | 2.3394 | 6.2448 | 0.013018 | 0.030831 | -0.036123 | -0.066954 |  | 2.2149 | -0.053319
5 | NO | 2.0646 | 6.2502 | 0.011157 | 0.19322 | -0.032939 | -0.22616 |  | 2.3649 | -0.088638
6 | YES | 1.9729 | 6.2033 | 0.013484 | -0.054697 | -0.031876 | 0.022821 |  | 2.0879 | -0.021569 | -0.033916
7 | YES | 1.9136 | 6.1619 | 0.024244 | -0.016102 | -0.031188 | -0.015086
8 | YES | 2.2149 | 6.1727 | 0.013053 | -0.053319 | -0.03468 | 0.018639
9 | YES | 2.3649 | 6.1964 | 0.0040371 | -0.088638 | -0.036418 | 0.052219
10 | YES | 2.0879 | 6.2784 | 0.013936 | -0.021569 | -0.033208 | -0.011639
NO
NO
NO
YES
NO
YES
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. DOX_CTD
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (DOX_CTD - DOX_BOT) (3)
Calculation of Linear Least Squares Fit For
(DOX_CTD - DOX_BOT)
2
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (DOX_CTD - DOX_BOT), Prop=DOX_CTD
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 1.6182e-05 |  | X | CALC Y
m= | 7.0001e-05 | 0.004493 |  | Std Dev of Resid |  | 0.018497 |  | 2.7769 | 5.4554e-05
b= | -0.00013983 | 0.016777 |  | Resid Sum of Squares |  | 0.005132 |  | 5.7038 | 0.00025943
# of Values Extracted = |  |  | 34
# of Values Used in Fit = |  |  | 17
File | Use | Pressure | DOX_CTD | DOX_CTD | Diff (DOX_CTD - DOX_BOT) |  |  |  | Fit vs. | DOX_CTD
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 2.3 | 4.7561 | 0.13855 | -1.4509 | 0.0001931 | 1.4511 |  | 2.7769 | 0.006948
2 | NO | 1.9567 | 5.728 | 0.067416 | -0.33602 | 0.00026113 | 0.33628 |  | 2.8445 | -0.0085051
3 | NO | 2.0143 | 5.8052 | 0.071763 | -0.26676 | 0.00026654 | 0.26703 |  | 2.8738 | -0.038204
4 | NO | 2.3394 | 6.2448 | 0.013018 | 0.030831 | 0.00029731 | -0.030534 |  | 2.9257 | -0.0083077
5 | NO | 2.0646 | 6.2502 | 0.011157 | 0.19322 | 0.00029768 | -0.19292 |  | 5.3445 | -0.043505
6 | NO | 1.9729 | 6.2033 | 0.013484 | -0.054697 | 0.0002944 | 0.054991 |  | 5.3306 | -0.0033689
7 | NO | 1.9136 | 6.1619 | 0.024244 | -0.016102 | 0.0002915 | 0.016394 |  | 5.7038 | 0.016766
8 | NO | 2.2149 | 6.1727 | 0.013053 | -0.053319 | 0.00029226 | 0.053611 |  | 2.8122 | -0.0007751
9 | NO | 2.3649 | 6.1964 | 0.0040371 | -0.088638 | 0.00029391 | 0.088932 |  | 2.8325 | 0.0064797
10 | NO | 2.0879 | 6.2784 | 0.013936 | -0.021569 | 0.00029966 | 0.021869 |  | 2.8935 | 0.009474
11 | YES | 325.182 | 2.7769 | 0.0043619 | 0.006948 | 5.4554e-05 | -0.0068934 |  | 2.9666 | -0.0033987
11 | NO | 303.241 | 2.7996 | 0.0028541 | 0.082639 | 5.6142e-05 | -0.082583 |  | 3.2975 | 0.0084767
11 | YES | 251.236 | 2.8445 | 0.002999 | -0.0085051 | 5.9282e-05 | 0.0085644 |  | 3.0916 | 0.011634
11 | YES | 202.699 | 2.8738 | 0.0023914 | -0.038204 | 6.1333e-05 | 0.038266 |  | 3.1854 | 0.0063558
11 | YES | 152.372 | 2.9257 | 0.0026858 | -0.0083077 | 6.4966e-05 | 0.0083727 |  | 3.3684 | 0.00036573
11 | NO | 79.0167 | 2.978 | 0.0087227 | -0.068021 | 6.8626e-05 | 0.06809 |  | 4.2526 | 0.025559
11 | NO | 53.9246 | 4.496 | 0.077185 | -0.16198 | 0.00017489 | 0.16216 |  | 4.6689 | 0.01591 | 0.00011204
11 | YES | 33.6497 | 5.3445 | 0.008061 | -0.043505 | 0.00023428 | 0.043739
11 | YES | 24.3728 | 5.3306 | 0.0073051 | -0.0033689 | 0.00023331 | 0.0036022
11 | YES | 14.2098 | 5.7038 | 0.0053168 | 0.016766 | 0.00025943 | -0.016507
11 | NO | 14.2098 | 5.7038 | 0.0053168 | -0.081234 | 0.00025943 | 0.081493
11 | NO | 2.0026 | 5.7187 | 0.027477 | -0.019352 | 0.00026047 | 0.019613
12 | YES | 324.005 | 2.8122 | 0.0028236 | -0.0007751 | 5.7023e-05 | 0.00083212
12 | YES | 303.184 | 2.8325 | 0.0026463 | 0.0064797 | 5.8441e-05 | -0.0064213
12 | YES | 252.049 | 2.8935 | 0.0033271 | 0.009474 | 6.271e-05 | -0.0094113
12 | YES | 202.169 | 2.9666 | 0.0027866 | -0.0033987 | 6.7829e-05 | 0.0034665
12 | YES | 152.05 | 3.2975 | 0.0029163 | 0.0084767 | 9.0991e-05 | -0.0083857
12 | YES | 101.779 | 3.0916 | 0.003352 | 0.011634 | 7.6582e-05 | -0.011558
12 | YES | 75.9035 | 3.1854 | 0.0029906 | 0.0063558 | 8.3143e-05 | -0.0062726
12 | YES | 50.7897 | 3.3684 | 0.0028328 | 0.00036573 | 9.5953e-05 | -0.00026978
12 | YES | 31.0126 | 4.2526 | 0.0090186 | 0.025559 | 0.00015785 | -0.025401
12 | YES | 20.9694 | 4.6689 | 0.0060307 | 0.01591 | 0.00018699 | -0.015723
12 | NO | 10.6272 | 5.6062 | 0.0056673 | 0.12222 | 0.0002526 | -0.12197
12 | NO | 1.8093 | 5.8883 | 0.055927 | -0.64273 | 0.00027235 | 0.643
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
NO
YES
YES
YES
NO
NO
YES
YES
YES
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
FIT vs. Pressure
FIT vs. DOX_CTD
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Main
# Channels= | 2 |  |  |  | COMPARE Version 3.3 | Run at 2011/08/04 17:10:03
| Primary | Secondary |  | Comparison Name
Ref | Pressure | Pressure |  | Pressure - Pressure
Comp 1 | DOX_BOT | DOX_CTD |  | DOX_CTD - DOX_BOT
Average Size: | 2
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | Pressure | Pressure | Pressure | (S-P) | DOX_BOT | DOX_CTD | DOX_CTD | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
2010-73-0001.mrgcor1 | 2010-73-0001.samcor1 | 296 | 2.295 | 2.3 | 0.063579 | 0.0049829 | 6.207 | 4.7561 | 0.13855 | -1.4509
2010-73-0002.mrgcor1 | 2010-73-0002.samcor1 | 283 | 1.954 | 1.9567 | 0.032621 | 0.0027102 | 6.064 | 5.728 | 0.067416 | -0.33602
2010-73-0003.mrgcor1 | 2010-73-0003.samcor1 | 278 | 2.01 | 2.0143 | 0.032506 | 0.0043058 | 6.072 | 5.8052 | 0.071763 | -0.26676
2010-73-0004.mrgcor1 | 2010-73-0004.samcor1 | 416 | 2.329 | 2.3394 | 0.049198 | 0.010356 | 6.214 | 6.2448 | 0.013018 | 0.030831
2010-73-0005.mrgcor1 | 2010-73-0005.samcor1 | 285 | 2.063 | 2.0646 | 0.026662 | 0.0016351 | 6.057 | 6.2502 | 0.011157 | 0.19322
2010-73-0006.mrgcor1 | 2010-73-0006.samcor1 | 294 | 1.979 | 1.9729 | 0.03201 | -0.006085 | 6.258 | 6.2033 | 0.013484 | -0.054697
2010-73-0007.mrgcor1 | 2010-73-0007.samcor1 | 284 | 1.919 | 1.9136 | 0.034414 | -0.0054401 | 6.178 | 6.1619 | 0.024244 | -0.016102
2010-73-0008.mrgcor1 | 2010-73-0008.samcor1 | 304 | 2.215 | 2.2149 | 0.041231 | -0.00013471 | 6.226 | 6.1727 | 0.013053 | -0.053319
2010-73-0009.mrgcor1 | 2010-73-0009.samcor1 | 301 | 2.365 | 2.3649 | 0.026695 | -0.00012946 | 6.285 | 6.1964 | 0.0040371 | -0.088638
2010-73-0010.mrgcor1 | 2010-73-0010.samcor1 | 283 | 2.087 | 2.0879 | 0.031791 | 0.00085521 | 6.3 | 6.2784 | 0.013936 | -0.021569
2010-73-0011.mrgcor1 | 2010-73-0011.samcor1 | 308 | 325.431 | 325.182 | 1.0378 | -0.24948 | 2.77 | 2.7769 | 0.0043619 | 0.006948
2010-73-0011.mrgcor1 | 2010-73-0011.samcor1 | 656 | 302.949 | 303.241 | 0.43366 | 0.29175 | 2.717 | 2.7996 | 0.0028541 | 0.082639
2010-73-0011.mrgcor1 | 2010-73-0011.samcor1 | 297 | 251.29 | 251.236 | 0.53958 | -0.053741 | 2.853 | 2.8445 | 0.002999 | -0.0085051
2010-73-0011.mrgcor1 | 2010-73-0011.samcor1 | 289 | 202.776 | 202.699 | 0.3081 | -0.077225 | 2.912 | 2.8738 | 0.0023914 | -0.038204
2010-73-0011.mrgcor1 | 2010-73-0011.samcor1 | 325 | 152.51 | 152.372 | 0.32557 | -0.13825 | 2.934 | 2.9257 | 0.0026858 | -0.0083077
2010-73-0011.mrgcor1 | 2010-73-0011.samcor1 | 281 | 79.41 | 79.0167 | 1.0218 | -0.39333 | 3.046 | 2.978 | 0.0087227 | -0.068021
2010-73-0011.mrgcor1 | 2010-73-0011.samcor1 | 339 | 53.736 | 53.9246 | 0.44598 | 0.18864 | 4.658 | 4.496 | 0.077185 | -0.16198
2010-73-0011.mrgcor1 | 2010-73-0011.samcor1 | 311 | 33.52 | 33.6497 | 0.39834 | 0.12974 | 5.388 | 5.3445 | 0.008061 | -0.043505
2010-73-0011.mrgcor1 | 2010-73-0011.samcor1 | 309 | 24.253 | 24.3728 | 0.3098 | 0.1198 | 5.334 | 5.3306 | 0.0073051 | -0.0033689
2010-73-0011.mrgcor1 | 2010-73-0011.samcor1 | 431 | 14.148 | 14.2098 | 0.41729 | 0.06177 | 5.687 | 5.7038 | 0.0053168 | 0.016766
2010-73-0011.mrgcor1 | 2010-73-0011.samcor1 | 431 | 14.259 | 14.2098 | 0.41729 | -0.04923 | 5.785 | 5.7038 | 0.0053168 | -0.081234
2010-73-0011.mrgcor1 | 2010-73-0011.samcor1 | 312 | 2.066 | 2.0026 | 0.22989 | -0.063359 | 5.738 | 5.7187 | 0.027477 | -0.019352
2010-73-0013.mrgcor1 | 2010-73-0013.samcor1 | 298 | 324.01 | 324.005 | 0.091896 | -0.0054627 | 2.813 | 2.8122 | 0.0028236 | -0.0007751
2010-73-0013.mrgcor1 | 2010-73-0013.samcor1 | 296 | 303.184 | 303.184 | 0.05646 | 0.00021362 | 2.826 | 2.8325 | 0.0026463 | 0.0064797
2010-73-0013.mrgcor1 | 2010-73-0013.samcor1 | 289 | 252.058 | 252.049 | 0.080926 | -0.0085754 | 2.884 | 2.8935 | 0.0033271 | 0.009474
2010-73-0013.mrgcor1 | 2010-73-0013.samcor1 | 291 | 202.186 | 202.169 | 0.082529 | -0.016815 | 2.97 | 2.9666 | 0.0027866 | -0.0033987
2010-73-0013.mrgcor1 | 2010-73-0013.samcor1 | 300 | 152.053 | 152.05 | 0.065255 | -0.003418 | 3.289 | 3.2975 | 0.0029163 | 0.0084767
2010-73-0013.mrgcor1 | 2010-73-0013.samcor1 | 298 | 101.776 | 101.779 | 0.060868 | 0.0029526 | 3.08 | 3.0916 | 0.003352 | 0.011634
2010-73-0013.mrgcor1 | 2010-73-0013.samcor1 | 298 | 75.905 | 75.9035 | 0.05912 | -0.0014801 | 3.179 | 3.1854 | 0.0029906 | 0.0063558
2010-73-0013.mrgcor1 | 2010-73-0013.samcor1 | 328 | 50.793 | 50.7897 | 0.0755 | -0.0033379 | 3.368 | 3.3684 | 0.0028328 | 0.00036573
2010-73-0013.mrgcor1 | 2010-73-0013.samcor1 | 288 | 31.01 | 31.0126 | 0.048713 | 0.0025864 | 4.227 | 4.2526 | 0.0090186 | 0.025559
2010-73-0013.mrgcor1 | 2010-73-0013.samcor1 | 287 | 20.962 | 20.9694 | 0.055347 | 0.0073719 | 4.653 | 4.6689 | 0.0060307 | 0.01591
2010-73-0013.mrgcor1 | 2010-73-0013.samcor1 | 294 | 10.628 | 10.6272 | 0.032549 | -0.00078583 | 5.484 | 5.6062 | 0.0056673 | 0.12222
2010-73-0013.mrgcor1 | 2010-73-0013.samcor1 | 275 | 1.817 | 1.8093 | 0.093135 | -0.0076946 | 6.531 | 5.8883 | 0.055927 | -0.64273
Create Fit Sheet