## Notes
Cruise 2010-73
Nutrient Data analyzed at IOS on Astoria-Pacific analyzer - JEB-C/KS
Some confusion on sample labelling.
According to my copy of log sheets for event no. 11 - all samples were taken from even numbered bottles.
Again, according to my copy of the log sheets for event no. 13 - DO and DIC were taken out of even numbered niskins.
All other samples, including nutrients, were taken out of odd numbered niskins.
Outliers:
I have edited the QF columns for samples 6 and 10 as they were outliers.

## QF nuts final
2010-73 SOG
Cruise | Cast | Stn | Niskin | S.N. | Depth | Nitrate | Flag:NO3 | Silicate | Flag:SIL | Phosphate | Flag:PO4 | Comments
|  |  | No. |  | db | uM |  | uM |  | uM
2010-73 | 1 | FR1 | 2 | 2 | 1.5 | 15.7 |  | 60.4 |  | 1.26
2010-73 | 2 | FR2 | 2 | 4 | 1.2 | 16.7 |  | 57.9 |  | 1.41
2010-73 | 3 | FR3 | 2 | 6 | 1.3 | 16.85 | 6 | 49.8 | 36 | 1.46 | 6 | SIL- Chauvenet outlier
2010-73 | 4 | FR4 | 2 | 8 | 1.6 | 15.7 |  | 41.6 |  | 1.36
2010-73 | 5 | FR5 | 2 | 10 | 1.4 | 15.4 | 36 | 40.6 | 6 | 1.42 | 6 | NO3 - Chauvenet outlier
2010-73 | 6 | FR6 | 2 | 12 | 1.3 | 12.4 |  | 34.7 |  | 1.25
2010-73 | 7 | FR7 | 2 | 14 | 1.3 | 11.1 |  | 29.6 |  | 1.09
2010-73 | 8 | FR8 | 2 | 16 | 1.6 | 13.1 |  | 35.3 |  | 1.23
2010-73 | 9 | FR9 | 2 | 18 | 1.6 | 13.4 |  | 38.3 |  | 1.25
2010-73 | 10 | FR10 | 2 | 20 | 1.4 | 14.5 |  | 40.3 |  | 1.3
2010-73 | 11 | SOGN | 2 | 22 | 320 | 29 | 6 | 66.3 | 6 | 2.665 | 6
2010-73 | 11 | SOGN | 4 | 24 | 300 | 29 |  | 65.1 |  | 2.65
2010-73 | 11 | SOGN | 6 | 26 | 250 | 29 |  | 62.9 |  | 2.61
2010-73 | 11 | SOGN | 8 | 28 | 200 | 29.1 |  | 60.8 |  | 2.59
2010-73 | 11 | SOGN | 10 | 30 | 150 | 29.2 |  | 57.2 |  | 2.55
2010-73 | 11 | SOGN | 12 | 32 | 100 | 30.6 | 6 | 61.5 | 6 | 2.68 | 6
2010-73 | 11 | SOGN | 14 | 34 | 75 | 26 |  | 55.7 |  | 2.28
2010-73 | 11 | SOGN | 16 | 36 | 50 | 23.5 |  | 52.7 |  | 2.09
2010-73 | 11 | SOGN | 18 | 38 | 30 | 22.8 |  | 52.1 |  | 2.04
2010-73 | 11 | SOGN | 20 | 40 | 20 | 21.1 |  | 49.6 |  | 1.88
2010-73 | 11 | SOGN | 22 | 42 | 10 | 20.9 |  | 49.5 |  | 1.87
2010-73 | 11 | SOGN | 24 | 44 | 0 | 20.8 | 6 | 49.4 | 6 | 1.87 | 6
2010-73 | 13 | SOGS | 1 | 45 | 323 | 28.6 | 6 | 58.2 | 6 | 2.555 | 6
2010-73 | 13 | SOGS | 3 | 47 | 300 | 29 |  | 58.1 |  | 2.55
2010-73 | 13 | SOGS | 5 | 49 | 250 | 28.6 |  | 56.3 |  | 2.49
2010-73 | 13 | SOGS | 7 | 51 | 200 | 28.6 |  | 54.9 |  | 2.43
2010-73 | 13 | SOGS | 9 | 53 | 150 | 28 |  | 51.3 |  | 2.35
2010-73 | 13 | SOGS | 11 | 55 | 100 | 28.95 | 6 | 50.25 | 6 | 2.375 | 6
2010-73 | 13 | SOGS | 13 | 57 | 75 | 28.4 |  | 48.3 |  | 2.3
2010-73 | 13 | SOGS | 15 | 59 | 50 | 30 |  | 53.8 |  | 2.52
2010-73 | 13 | SOGS | 17 | 61 | 30 | 27.6 |  | 53.7 |  | 2.38
2010-73 | 13 | SOGS | 19 | 63 | 20 | 26.2 |  | 51.3 |  | 2.25
2010-73 | 13 | SOGS | 21 | 65 | 10 | 21.3 |  | 45.7 |  | 1.86
2010-73 | 13 | SOGS | 23 | 67 | 0 | 16.4 | 6 | 57.05 | 6 | 1.37 | 6

## Precision
Cruise 2010-73
Precision was determined by analyzing replicate samples drawn from one Niskin.
Pooled standard deviation of pairs of samples (Sp) was calculated by:
Sp = SQRT{sum (d*d)/2k}
where k = no. of pairs and d = difference between pairs
Precision with Chauvenet outliers removed for silicate sample 6 and nitrate sample 10.
Sp for nitrate for the range 14.5 to 30.7 uM was 0.24 uM, k = 7
Sp for silicate for the range 40.5 to 66.4 uM was 0.22 uM, k = 7
Sp for phosphate for the range 1.37 to 2.68 uM was 0.014, k = 8

## Duplicates
2010-173 SOG FROZ
Nutrient Data analyzed at IOS on Astoria-Pacific analyzer - JEB-C/KS
Sp for duplicates taken from the same niskin
Cruise | Cast | Stn | Niskin | S.N. | Nitrate | Silicate | Phosphate |  | diff sq |  |  | avg
|  |  | No. |  | uM | uM | uM | NO3 | SIL | PO4 | NO3 | SIL | PO4 |  | CHAUVENET DIFF |  |  | CHAUV REJECT |  | Critical values
[14 empty] | NO3 | SIL | PO4 | NO3 | SIL | PO4 | Chauvenet statistic
2010-73 | 3 | FR3 | 2 | 6 | 16.5 | 49.1 | 1.44 | 0.49 | 1.96 | 0.0016 | 16.85 | 49.8 | 1.46 | 0.7 | 1.4 | 0.04 | 0.42344 | 2.1889 | 1.7431 | n | Chauvenet
2010-73 | 3 | FR3 | 2 | 6 | 17.2 | 50.5 | 1.48 | [12 empty] | 3 | 1.37
2010-73 | 5 | FR5 | 2 | 10 | 16.3 | 40.7 | 1.43 | 3.24 | 0.04 | 0.0004 | 15.4 | 40.6 | 1.42 | 1.8 | 0.2 | 0.02 | 2.2866 | 0.37371 | 0.41502 | 4 | 1.53
2010-73 | 5 | FR5 | 2 | 10 | 14.5 | 40.5 | 1.41 | [12 empty] | 5 | 1.64
2010-73 | 13 | SOGS | 23 | 67 | 16.5 | 57.3 | 1.37 | 0.04 | 0.25 | 0 | 16.4 | 57.05 | 1.37 | 0.2 | 0.5 | 0 | 0.42344 | 0.26693 | 0.91305 | 6 | 1.73
2010-73 | 13 | SOGS | 23 | 67 | 16.3 | 56.8 | 1.37 | [12 empty] | 7 | 1.8
2010-73 | 13 | SOGS | 11 | 55 | 28.8 | 50.3 | 2.38 | 0.09 | 0.01 | 0.0001 | 28.95 | 50.25 | 2.375 | 0.3 | 0.1 | 0.01 | 0.25407 | 0.58726 | 0.24901 | 8 | 1.87
2010-73 | 13 | SOGS | 11 | 55 | 29.1 | 50.2 | 2.37 | [12 empty] | 9 | 1.91
2010-73 | 13 | SOGS | 1 | 45 | 28.8 | 58.5 | 2.57 | 0.16 | 0.36 | 0.0009 | 28.6 | 58.2 | 2.555 | 0.4 | 0.6 | 0.03 | 0.084688 | 0.48048 | 1.0791 | 10 | 1.97
2010-73 | 13 | SOGS | 1 | 45 | 28.4 | 57.9 | 2.54 | [12 empty] | 20 | 2.24
2010-73 | 11 | SOGN | 24 | 44 | 20.8 | 49.4 | 1.87 | 0 | 0 | 0 | 20.8 | 49.4 | 1.87 | 0 | 0 | 0 | 0.7622 | 0.8008 | 0.91305 | 30 | 2.39
2010-73 | 11 | SOGN | 24 | 44 | 20.8 | 49.4 | 1.87 | [12 empty] | 50 | 2.57
2010-73 | 11 | SOGN | 2 | 32 | 30.5 | 61.5 | 2.68 | 0.04 | 0 | 0 | 30.6 | 61.5 | 2.68 | 0.2 | 0 | 0 | 0.42344 | 0.8008 | 0.91305 | 80 | 2.74
2010-73 | 11 | SOGN | 2 | 32 | 30.7 | 61.5 | 2.68 | [12 empty] | 100 | 2.81
2010-73 | 11 | SOGN | 12 | 22 | 29 | 66.4 | 2.66 | 0 | 0.04 | 0.0001 | 29 | 66.3 | 2.665 | 0 | 0.2 | 0.01 | 0.7622 | 0.37371 | 0.24901 | 150 | 2.93
2010-73 | 11 | SOGN | 12 | 22 | 29 | 66.2 | 2.67 | [12 empty] | 200 | 3.02
[7 empty] | SUM OF (X-Y)SQ | 4.06 | 2.66 | 0.0031
[7 empty] | COUNT | 8 | 8 | 8 |  |  | mean diff | 0.45 | 0.375 | 0.01375
[7 empty] | SUM/2*COUNT | 0.25375 | 0.16625 | 0.00019375 |  |  | stdev | 0.5904 | 0.46828 | 0.015059
[7 empty] | SQRT(SUM/2*COUNT) | 0.50374 | 0.40774 | 0.013919
|  |  |  | Remove outliers |  |  | SUM OF (X-Y)SQ | 0.82 | 0.7
[7 empty] | COUNT | 7 | 7
[7 empty] | SUM/2*COUNT | 0.058571 | 0.05
[7 empty] | SQRT(SUM/2*COUNT) | 0.24202 | 0.22361 | 0.013919
[7 empty] | min | 14.5 | 40.5 | 1.37
[7 empty] | max | 30.7 | 66.4 | 2.68

## stnplots
2010-73 SOG
Nutrient Data analyzed at IOS on Astoria-Pacific analyzer - JEB-C/KS
Cruise | Cast | Stn | Niskin | S.N. | Depth | Nitrate | Flag:NO3 | Silicate | Flag:SIL | Phosphate | Flag:PO4 | Flag:NH4 | Comments | PO4 x 10
|  |  | No. |  | db | uM |  | uM |  | uM
2010-73 | 1 | FR1 | 2 | 2 | 1.5 | 15.7 |  | 60.4 |  | 1.26 |  |  |  | 12.6
2010-73 | 2 | FR2 | 2 | 4 | 1.2 | 16.7 |  | 57.9 |  | 1.41 |  |  |  | 14.1
2010-73 | 3 | FR3 | 2 | 6 | 1.3 | 16.85 | 6 | 49.8 | 6 | 1.46 | 6 |  |  | 14.6
2010-73 | 4 | FR4 | 2 | 8 | 1.6 | 15.7 |  | 41.6 |  | 1.36 |  |  |  | 13.6
2010-73 | 5 | FR5 | 2 | 10 | 1.4 | 15.4 | 6 | 40.6 | 6 | 1.42 | 6 |  |  | 14.2
2010-73 | 6 | FR6 | 2 | 12 | 1.3 | 12.4 |  | 34.7 |  | 1.25 |  |  |  | 12.5
2010-73 | 7 | FR7 | 2 | 14 | 1.3 | 11.1 |  | 29.6 |  | 1.09 |  |  |  | 10.9
2010-73 | 8 | FR8 | 2 | 16 | 1.6 | 13.1 |  | 35.3 |  | 1.23 |  |  |  | 12.3
2010-73 | 9 | FR9 | 2 | 18 | 1.6 | 13.4 |  | 38.3 |  | 1.25 |  |  |  | 12.5
2010-73 | 10 | FR10 | 2 | 20 | 1.4 | 14.5 |  | 40.3 |  | 1.3 |  |  |  | 13
2010-73 | 11 | SOGN | 2 | 22 | 320 | 29 | 6 | 66.3 | 6 | 2.665 | 6 |  |  | 26.65
2010-73 | 11 | SOGN | 4 | 24 | 300 | 29 |  | 65.1 |  | 2.65 |  |  |  | 26.5
2010-73 | 11 | SOGN | 6 | 26 | 250 | 29 |  | 62.9 |  | 2.61 |  |  |  | 26.1
2010-73 | 11 | SOGN | 8 | 28 | 200 | 29.1 |  | 60.8 |  | 2.59 |  |  |  | 25.9
2010-73 | 11 | SOGN | 10 | 30 | 150 | 29.2 |  | 57.2 |  | 2.55 |  |  |  | 25.5
2010-73 | 11 | SOGN | 12 | 32 | 100 | 30.6 | 6 | 61.5 | 6 | 2.68 | 6 |  |  | 26.8
2010-73 | 11 | SOGN | 14 | 34 | 75 | 26 |  | 55.7 |  | 2.28 |  |  |  | 22.8
2010-73 | 11 | SOGN | 16 | 36 | 50 | 23.5 |  | 52.7 |  | 2.09 |  |  |  | 20.9
2010-73 | 11 | SOGN | 18 | 38 | 30 | 22.8 |  | 52.1 |  | 2.04 |  |  |  | 20.4
2010-73 | 11 | SOGN | 20 | 40 | 20 | 21.1 |  | 49.6 |  | 1.88 |  |  |  | 18.8
2010-73 | 11 | SOGN | 22 | 42 | 10 | 20.9 |  | 49.5 |  | 1.87 |  |  |  | 18.7
2010-73 | 11 | SOGN | 24 | 44 | 0 | 20.8 | 6 | 49.4 | 6 | 1.87 | 6 |  |  | 18.7
2010-73 | 13 | SOGS | 1 | 45 | 323 | 28.6 | 6 | 58.2 | 6 | 2.555 | 6 |  |  | 25.55
2010-73 | 13 | SOGS | 3 | 47 | 300 | 29 |  | 58.1 |  | 2.55 |  |  |  | 25.5
2010-73 | 13 | SOGS | 5 | 49 | 250 | 28.6 |  | 56.3 |  | 2.49 |  |  |  | 24.9
2010-73 | 13 | SOGS | 7 | 51 | 200 | 28.6 |  | 54.9 |  | 2.43 |  |  |  | 24.3
2010-73 | 13 | SOGS | 9 | 53 | 150 | 28 |  | 51.3 |  | 2.35 |  |  |  | 23.5
2010-73 | 13 | SOGS | 11 | 55 | 100 | 28.95 | 6 | 50.25 | 6 | 2.375 | 6 |  |  | 23.75
2010-73 | 13 | SOGS | 13 | 57 | 75 | 28.4 |  | 48.3 |  | 2.3 |  |  |  | 23
2010-73 | 13 | SOGS | 15 | 59 | 50 | 30 |  | 53.8 |  | 2.52 |  |  |  | 25.2
2010-73 | 13 | SOGS | 17 | 61 | 30 | 27.6 |  | 53.7 |  | 2.38 |  |  |  | 23.8
2010-73 | 13 | SOGS | 19 | 63 | 20 | 26.2 |  | 51.3 |  | 2.25 |  |  |  | 22.5
2010-73 | 13 | SOGS | 21 | 65 | 10 | 21.3 |  | 45.7 |  | 1.86 |  |  |  | 18.6
2010-73 | 13 | SOGS | 23 | 67 | 0 | 16.4 | 6 | 57.05 | 6 | 1.37 | 6 |  |  | 13.7
34
42