2010-79 Salinity Calibration

SBE-25 #334

There was no bottle sampling for this cruise, but the CTD was tested in a tank at IOS before being taken to sea.

The tank data are in file “sal cal tank.hex” and “sal cal tank.cnv”.

A bottle sample was taken from the centre of the tank and analyzed on an Autosal. The salinity value was 23.7321.