## Data Combo avg dup + QF
Cruise 2011-01 February Papa Nutrient data Summary | [12 empty] | File: QF2011-01nuts.xls
Date: May 4, 2011
Samples were collected in plastic test tubes.
Most samples were analysed frozen at IOS by Wendy Richardson, Janet Barwell-Clarke, and Kenny Scozzafava.
Deep Silicate samples (400m and deeper) analyzed cool at IOS by Wendy Richardson and Janet Barwell-Clarke.
The Astoria Analyzer was used for sample analyses.
Duplicates |  |  | Stored Cool
Loop samples
Niskins same depth
Important comments
Niskin didn't close
Quality Flags:
3 = Questionable measurement (no problem observed in sampling or analysis,
but value is not trusted, nonetheless; includes outlyers)
4 = bad measurement (known problem with sampling or analysis,
but not serious enough to completely discard the value)
5 = Not reported (lost sample; unredeemably bad measurement)
6 = average of duplicate samples
9 = sample not drawn for this measurement from this bottle
Cruise | Station | Cast | Sample # | Depth | Pressure | Niskin | NO3 | NO3 | SiO3 | SiO3 | PO4 | PO4 | Comments
|  |  |  | (nominal) | (actual) |  | uM | QF | uM | QF | uM | QF
2011-01 | Si03 | 1 | 11 | 5 | 4.937 | 11 | 26.0746 |  | 58.2 |  | 2.3212
2011-01 | Si03 | 1 | 10 | 10 | 10.464 | 10 | 27.252 |  | 58.2 |  | 2.392
2011-01 | Si03 | 1 | 9 | 25 | 25.126 | 9 | 27.8407 |  | 56.8 |  | 2.5235
2011-01 | Si03 | 1 | 8 | 50 | 51.086 | 8 | 27.6445 |  | 55.6 |  | 2.4729
2011-01 | Si03 | 1 | 7 | 75 | 75.154 | 7 | 27.5464 |  | 58.7 |  | 2.6853
2011-01 | Si03 | 1 | 6 | 100 | 100.995 | 6 |  | 1 | 84.9 |  | 4.0913 |  | Anoxic, NO3 not analyzed
2011-01 | Si03 | 1 | 5 | 125 | 125.012 | 5 |  | 1 | 95 |  | 4.8398 |  | Anoxic, NO3 not analyzed
2011-01 | Si03 | 1 | 4 | 150 | 150.293 | 4 |  | 1 | 104.7 |  | 5.3253 |  | Anoxic, NO3 not analyzed
2011-01 | Si03 | 1 | 3 | 175 | 175.857 | 3 |  | 1 | 107.6 | 36 | 5.6844 | 36 | Anoxic, poor dup
2011-01 | Si03 | 1 | 2 | 200 | 200.698 | 13 |  | 1 | 112.9 |  | 6.0334 |  | Anoxic, NO3 not analyzed
2011-01 | Si03 | 1 | 1 | Bot-10 | 215.673 | 12 |  | 1 | 115.1 |  | 6.4177 |  | Anoxic, NO3 not analyzed
2011-01 | JF1 |  | Loop |  |  |  | 24.8971 |  | 45.9 |  | 2.0683
2011-01 | JF2 |  | Loop |  |  |  | 24.799 |  | 45.3 |  | 2.0784
2011-01 | JF3 |  | Loop |  |  |  | 17.44 |  | 42.7 |  | 1.4917
2011-01 | JF4 |  | Loop |  |  |  | 19.5987 |  | 38.6 |  | 1.6637
2011-01 | P1 | 3 | 14 | 5 | 5.076 | 2 | 15.772 |  | 34.4 |  | 1.3602
2011-01 | P2 | 4 | 25 | 0 | 1.783 | 11 | 13.9077 |  | 33.1 |  | 1.2186
2011-01 | P2 | 4 | 24 | 5 | 5.516 | 10 | 13.9077 |  | 32.9 |  | 1.2186
2011-01 | P2 | 4 | 23 | 10 | 10.284 | 9 | 13.7115 |  | 32.4 |  | 1.2085
2011-01 | P2 | 4 | 22 | 15 | 15.369 | 8 | 12.534 |  | 27.4 |  | 1.1782
2011-01 | P2 | 4 | 21 | 20 | 20.516 | 7 | 10.1791 |  | 18.4 |  | 1.0871
2011-01 | P2 | 4 | 20 | 25 | 25.275 | 6 | 6.5487 | 6 | 10.8 | 6 | 0.8899 | 6
2011-01 | P2 | 4 | 19 | 30 | 30.347 | 5 | 5.6656 |  | 8.7 |  | 0.83427
2011-01 | P2 | 4 | 18 | 40 | 40.134 | 4 | 6.7449 |  | 8.7 |  | 0.83427
2011-01 | P2 | 4 | 17 | 50 | 50.813 | 3 | 5.7637 |  | 8.6 |  | 0.86462
2011-01 | P2 | 4 | 16 | 75 | 75.265 | 2 | 13.6133 |  | 18.3 |  | 1.3198
2011-01 | P2 | 4 | 15 | 100 | 99.708 | 1 | 22.1498 |  | 29.5 |  | 1.8255
2011-01 | P2 | 6 | 36 | 5 | 5.761 | 8 | 13.319 |  | 31.6 |  | 1.1681
2011-01 | P2 | 6 | 35 | 10 | 10.604 | 7 | 13.4662 | 6 | 31.75 | 6 | 1.2035 | 6
2011-01 | P2 | 6 | 34 | 25 | 25.119 | 6 | 6.0581 |  | 9.4 |  | 0.86462
2011-01 | P2 | 6 | 33 | 50 | 49.907 | 5 | 5.96 |  | 8.7 |  | 0.84439
2011-01 | P2 | 6 | 32 | 75 | 75.409 | 4 | 14.0058 |  | 19.1 |  | 1.3299
2011-01 | P2 | 6 | 31 | 75 | 75.396 | 3 | 13.7115 |  | 18.5 |  | 1.3097
2011-01 | P2 | 6 | 30 | 100 | 101.062 | 2 | 25.2896 |  | 35.1 |  | 1.957
2011-01 | P2 | 6 | 29 | Bot-10 | 106.476 | 1 | 28.5276 |  | 39.2 |  | 2.1694
2011-01 | P3 | 7 | 39 | 5 | 5.325 | 3 | 14.5945 |  | 33.3 |  | 1.2793
2011-01 | P4 | 8 | 52 | 0 | 1.92 | 13 | 9.0017 |  | 16 |  | 0.98599
2011-01 | P4 | 8 | 51 | 5 | 5.438 | 12 | 9.0998 |  | 16 |  | 1.0163
2011-01 | P4 | 8 | 50 | 10 | 10.655 | 11 | 9.0017 |  | 15.7 |  | 0.99611
2011-01 | P4 | 8 | 49 | 15 | 15.413 | 10 | 8.8055 |  | 15.4 |  | 0.99611
2011-01 | P4 | 8 | 48 | 20 | 20.417 | 9 | 8.8055 |  | 15.1 |  | 0.98599
2011-01 | P4 | 8 | 47 | 25 | 25.357 | 8 | 8.8055 |  | 15 |  | 0.98599
2011-01 | P4 | 8 | 46 | 30 | 30.586 | 7 | 8.8055 |  | 14.9 |  | 0.98599
2011-01 | P4 | 8 | 45 | 40 | 41.085 | 6 | 7.2355 |  | 10.6 |  | 0.90507
2011-01 | P4 | 8 | 44 | 50 | 50.118 | 5 | 6.3525 |  | 7.7 |  | 0.86462
2011-01 | P4 | 8 | 43 | 75 | 74.586 | 4 | 19.1081 |  | 20.7 |  | 1.5828
2011-01 | P4 | 8 | 42 | 100 | 100.151 | 3 | 24.9953 |  | 28.3 |  | 1.9065
2011-01 | P4 | 8 | 41 | 175 | 175.634 | 2 | 32.8939 | 6 | 44.45 | 6 | 2.392 | 6
2011-01 | P4 | 8 | 40 | 200 | 200.138 | 1 | 34.1204 |  | 47.7 |  | 2.4527
2011-01 | P4 | 10/11/12 | 74 | 5 | 3.876 | 19 | 9.6885 |  | 17.5 |  | 1.0265
2011-01 | P4 | 10/11/12 | 73 | 10 | 10.279 | 18 | 9.2961 |  | 16.7 |  | 1.0163
2011-01 | P4 | 10/11/12 | 72 | 25 | 24.882 | 17 | 8.8055 |  | 14.7 |  | 0.98599
2011-01 | P4 | 10/11/12 | 71 | 50 | 49.413 | 16 | 6.4996 | 6 | 7.85 | 6 | 0.86967 | 6
2011-01 | P4 | 10/11/12 | 70 | 75 | 76.213 | 15 | 15.8701 |  | 18 |  | 1.4007
2011-01 | P4 | 10/11/12 | 69 | 100 | 101.073 | 14 | 25.1915 |  | 28.5 |  | 1.9065
2011-01 | P4 | 10/11/12 | 68 | 125 | 125.877 | 13 | 30.3919 |  | 39.4 |  | 2.2908
2011-01 | P4 | 10/11/12 | 67 | 150 | 152.045 | 12 | 32.158 |  | 42.1 |  | 2.3515
2011-01 | P4 | 10/11/12 | 66 | 175 | 175.139 | 11 | 33.2864 | 6 | 45.25 | 6 | 2.4021 | 6
2011-01 | P4 | 10/11/12 | 65 | 200 | 201.415 | 10 | 34.2185 |  | 48.9 |  | 2.483
2011-01 | P4 | 10/11/12 | 64 | 250 | 250.876 | 9 | 37.064 |  | 57 |  | 2.6752
2011-01 | P4 | 10/11/12 | 63 | 300 | 301.076 | 8 | 38.7321 |  | 62.5 |  | 2.7966
2011-01 | P4 | 10/11/12 | 62 | 400 | 401.14 | 7 | 41.4794 |  | 75.3 |  | 2.9787
2011-01 | P4 | 10/11/12 | 61 | 600 | 601.843 | 6 | 42.8531 |  | 96.9 |  | 3.1304
2011-01 | P4 | 10/11/12 | 60 | 800 | 800.47 | 5 | 45.0117 |  | 113.3 |  | 3.3124
2011-01 | P4 | 10/11/12 | 59 | 1000 | 1000.511 | 4 | 45.4533 | 6 | 130.05 | 6 | 3.3428 | 6
2011-01 | P4 | 10/11/12 | 58 | 1250 | 1252.115 | 3 | 45.0117 |  | 143.4 |  | 3.3124
2011-01 | P4 | 10/11/12 | 57 | 1250 | 1251.887 | 2 | 44.2268 |  | 143.5 |  | 3.2619
2011-01 | P4 | 10/11/12 | 56 | Bot-10 | 1299.32 | 1 | 44.7174 |  | 146.1 |  | 3.2922
2011-01 | P4 | 15 | 84 | 10 | 10.238 | 10 | 9.8848 |  | 18.1 |  | 1.0568
2011-01 | P4 | 15 | 81 | 500 | 499.933 | 7 | 42.6569 |  | 85.5 |  | 3.1101
2011-01 | P4 | 15 | 78 | 1000 | 1000.501 | 4 | 45.4042 |  | 130 |  | 3.3226 |  | loose cap
2011-01 | P4 | 15 | 75 | 1300 | 1299.341 | 1 | 44.8155 |  | 147 |  | 3.2821
2011-01 | P5 | 17 | 88 | 5 | 5.607 | 2 | 6.2543 |  | 7.1 |  | 0.86462
2011-01 | P6 | 18 | 90 | 5 | 5.142 | 2 | 6.6468 |  | 6.4 |  | 0.87473
2011-01 | P7 | 19 | 92 | 5 | 6.171 | 2 | 6.7449 |  | 8.3 |  | 0.87473
2011-01 | P8 | 21 | 113 | 5 | 3.904 | 21 | 7.4318 |  | 8.3 |  | 0.92531 |  | Water for the 5l carboy
2011-01 | P8 | 21 | 112 | 5 | 4.135 | 20 | 7.3337 |  | 8.3 |  | 0.94554
2011-01 | P8 | 21 | 111 | 10 | 10.195 | 19 | 7.4318 |  | 8.3 |  | 0.92531
2011-01 | P8 | 21 | 110 | 25 | 25.261 | 18 | 7.4318 |  | 8.3 |  | 0.92531
2011-01 | P8 | 21 | 109 | 50 | 50.735 | 17 | 7.4318 |  | 8.3 |  | 0.92531
2011-01 | P8 | 21 | 108 | 75 | 74.104 | 16 | 7.628 | 6 | 8.4 | 6 | 0.93542 | 6
2011-01 | P8 | 21 | 107 | 100 | 100.344 | 15 | 23.6216 |  | 28.8 |  | 1.8357
2011-01 | P8 | 21 | 106 | 125 | 123.48 | 14 | 27.3501 |  | 35.5 |  | 2.038
2011-01 | P8 | 21 | 105 | 150 | 150.876 | 13 | 29.6069 |  | 40.9 |  | 2.1593
2011-01 | P8 | 21 | 104 | 175 | 176.256 | 12 | 30.8825 |  | 45 |  | 2.2403
2011-01 | P8 | 21 | 103 | 200 | 200.464 | 11 | 32.2561 |  | 48.4 |  | 2.3212
2011-01 | P8 | 21 | 102 | 250 | 250.335 | 10 | 35.4941 |  | 58.1 |  | 2.5538
2011-01 | P8 | 21 | 101 | 300 | 301.33 | 9 | 38.3396 |  | 66.8 |  | 2.7561
2011-01 | P8 | 21 | 100 | 400 | 400.536 | 8 | 41.97 |  | 80.7 |  | 3.0191
2011-01 | P8 | 21 | 99 | 600 | 600.465 | 7 | 44.423 |  | 103.4 |  | 3.2315 |  | Water for the 5l carboy
2011-01 | P8 | 21 | 98 | 600 | 601.572 | 6 | 44.5211 |  | 103.6 |  | 3.2619
2011-01 | P8 | 21 | 97 | 800 | 802.058 | 5 | 45.4042 |  | 121.2 |  | 3.2821
2011-01 | P8 | 21 | 96 | 1000 | 1002.007 | 4 | 45.8948 |  | 134.9 |  | 3.3327
2011-01 | P8 | 21 | 95 | 1250 | 1249.357 | 3 | 45.5023 |  | 148.3 |  | 3.2922
2011-01 | P8 | 21 | 94 | 1500 | 1499.101 | 2 | 44.8155 |  | 160.5 |  | 3.2113
2011-01 | P8 | 21 | 93 | 2000 | 2002.403 | 1 | 42.755 | 6 | 174.3 | 6 | 3.0596 | 6 | Air valve not tight
2011-01 | P9 | 22 | 123 | 5 | 4.367 | 7 | 8.7073 |  | 10 |  | 0.98599
2011-01 | P10 | 23 | 127 | 5 | 3.451 | 2 | 9.0998 |  | 10.9 |  | 1.0265
2011-01 | P11 | 21 | 131 | 5 | 5.957 | 2 | 8.5111 |  | 11.3 |  | 0.97588
2011-01 | P12 | 26 | 141 | 10 | 10.616 | 10 | 10.4735 |  | 14.8 |  | 1.1074
2011-01 | P12 | 26 | 138 | 500 | 499.201 | 7 | 43.7362 |  | 101.1 |  | 3.1203
2011-01 | P12 | 26 | 135 | 1000 | 1000.101 | 4 | 45.9929 |  | 141.7 |  | 3.3023
2011-01 | P12 | 26 | 132 | 2000 | 2001.181 | 1 | 43.1475 |  | 172.8 |  | 3.0393
2011-01 | P12 | 32 | 190 | 5 | 6.029 | 23 | 11.2585 |  | 16.2 |  | 1.158
2011-01 | P12 | 32 | 189 | 10 | 10.78 | 22 | 11.3566 |  | 16.2 |  | 1.158
2011-01 | P12 | 32 | 188 | 25 | 26.095 | 21 | 11.2585 |  | 16.1 |  | 1.158
2011-01 | P12 | 32 | 187 | 50 | 50.23 | 20 | 11.3566 | 6 | 16.2 | 6 | 1.163 | 6
2011-01 | P12 | 32 | 186 | 75 | 75.697 | 19 | 14.2021 |  | 18.2 |  | 1.3097
2011-01 | P12 | 32 | 185 | 100 | 99.379 | 18 | 25.1915 |  | 34.8 |  | 1.9166
2011-01 | P12 | 32 | 184 | 125 | 126.297 | 17 | 28.4295 |  | 41.4 |  | 2.1088
2011-01 | P12 | 32 | 183 | 150 | 150.125 | 16 | 30.6862 |  | 46.8 |  | 2.2504
2011-01 | P12 | 32 | 182 | 175 | 176.772 | 15 | 31.9618 |  | 50 |  | 2.3212
2011-01 | P12 | 32 | 181 | 200 | 199.822 | 14 | 33.6298 |  | 54.7 |  | 2.4223
2011-01 | P12 | 32 | 180 | 250 | 250.611 | 13 | 36.1809 |  | 62.1 |  | 2.6246
2011-01 | P12 | 32 | 179 | 300 | 299.338 | 12 | 38.1433 |  | 70.2 |  | 2.7359
2011-01 | P12 | 32 | 178 | 400 | 399.785 | 11 | 41.5775 |  | 86.4 |  | 2.9584
2011-01 | P12 | 32 | 177 | 600 | 600.715 | 10 | 44.7174 |  | 111 |  | 3.2012
2011-01 | P12 | 32 | 176 | 800 | 799.884 | 9 | 45.0117 | 6 | 126.75 | 6 | 3.277 | 6
2011-01 | P12 | 32 | 175 | 1000 | 1001.515 | 8 | 45.6986 |  | 139.5 |  | 3.2922
2011-01 | P12 | 32 | 174 | 1250 | 1251.34 | 7 | 45.6005 |  | 152.9 |  | 3.2619
2011-01 | P12 | 32 | 173 | 1500 | 1499.329 | 6 | 44.6193 |  | 163.1 |  | 3.2113
2011-01 | P12 | 32 | 172 | 2000 | 2001.057 | 5 | 42.8531 |  | 172.8 |  | 3.0495
2011-01 | P12 | 32 | 171 | 2500 | 2503.332 | 4 | 41.3813 |  | 179 |  | 2.9787 |  | Potential contamination
2011-01 | P12 | 32 | 170 | 3000 | 2997.045 | 3 | 40.2039 |  | 177.1 |  | 2.8876 |  | Lanyards crossed
2011-01 | P12 | 32 | 169 | 3000 | 2997.611 | 2 | 40.4982 | 6 | 176.85 | 6 | 2.8876 | 6
2011-01 | P12 | 32 | 168 | Bot-10 | 2998.4 | 1 | 40.4001 |  | 176.7 |  | 2.8876
2011-01 | P12 | 33 | 203 | 0 | 2.896 | 13 | 11.2585 |  | 16 |  | 1.158
2011-01 | P12 | 33 | 202 | 5 | 6.185 | 12 | 11.1603 |  | 16 |  | 1.158
2011-01 | P12 | 33 | 201 | 10 | 11.293 | 11 | 11.2585 |  | 16.1 |  | 1.1681
2011-01 | P12 | 33 | 200 | 15 | 15.712 | 10 | 11.2585 |  | 16.1 |  | 1.1681
2011-01 | P12 | 33 | 199 | 20 | 20.101 | 9 | 11.2585 |  | 16.1 |  | 1.1681
2011-01 | P12 | 33 | 198 | 25 | 26.229 | 8 | 11.2585 |  | 16.1 |  | 1.1681
2011-01 | P12 | 33 | 197 | 30 | 30.712 | 7 | 11.2585 |  | 16.1 |  | 1.1681
2011-01 | P12 | 33 | 196 | 40 | 39.102 | 6 | 11.2585 |  | 16.1 |  | 1.1681
2011-01 | P12 | 33 | 195 | 50 | 50.884 | 5 | 11.1603 |  | 16 |  | 1.1681
2011-01 | P12 | 33 | 194 | 75 | 75.375 | 4 | 20.1874 |  | 27.1 |  | 1.6738
2011-01 | P12 | 33 | 193 | 100 | 100.12 | 3 | 26.3689 |  | 36.9 |  | 1.9975 |  | Top valve open
2011-01 | P12 | 33 | 192 | 175 | 175.027 | 2 | 32.4033 | 6 | 51.75 | 6 | 2.3718 | 6
2011-01 | P12 | 33 | 191 | 200 | 201.44 | 1 | 33.7279 |  | 55.8 |  | 2.4729 |  | Top valve open
2011-01 | P13 | 34 | 216 | 5 | 3.353 | 3 | 7.0393 |  | 8.6 |  | 0.8545
2011-01 | P14 | 35 | 218 | 5 | 5.713 | 2 | 7.5299 |  | 9.5 |  | 0.88484
2011-01 | P15 | 36 | 220 | 5 | 5.135 | 2 | 8.0205 |  | 10.8 |  | 0.93542
2011-01 | P16 | 39 | 233 | 0 | 1.975 | 13 | 8.2167 |  | 11 |  | 0.92531
2011-01 | P16 | 39 | 232 | 5 | 5.182 | 12 | 8.2167 |  | 11 |  | 0.93542
2011-01 | P16 | 39 | 231 | 10 | 9.809 | 11 | 8.2167 |  | 11 |  | 0.93542
2011-01 | P16 | 39 | 230 | 15 | 15.2 | 10 | 8.2167 |  | 11 |  | 0.92531
2011-01 | P16 | 39 | 229 | 20 | 20.214 | 9 | 8.1186 |  | 10.9 |  | 0.93542
2011-01 | P16 | 39 | 228 | 25 | 23.826 | 8 | 8.1186 |  | 10.9 |  | 0.92531
2011-01 | P16 | 39 | 227 | 30 | 28.55 | 7 | 8.2167 |  | 11 |  | 0.93542
2011-01 | P16 | 39 | 226 | 40 | 40.92 | 6 | 8.2167 |  | 11 |  | 0.93542
2011-01 | P16 | 39 | 225 | 50 | 50.614 | 5 | 8.2167 |  | 11 |  | 0.93542
2011-01 | P16 | 39 | 224 | 75 | 75.234 | 4 | 8.3149 |  | 11 |  | 0.93542
2011-01 | P16 | 39 | 223 | 100 | 99.471 | 3 | 15.3304 | 6 | 18.3 | 6 | 1.3046 | 6
2011-01 | P16 | 39 | 222 | 175 | 176.263 | 2 | 26.2708 |  | 42.1 |  | 1.8963
2011-01 | P16 | 39 | 221 | 200 | 198.52 | 1 | 28.6257 |  | 48.5 |  | 2.0784
2011-01 | P16 | 44 | 290 | 5 | 5.965 | 24 | 8.3149 |  | 11 |  | 0.91519
2011-01 | P16 | 44 | 289 | 10 | 10.601 | 23 | 8.3149 | 6 | 10.95 | 6 | 0.92531 | 6
2011-01 | P16 | 44 | 288 | 25 | 24.971 | 22 | 8.1186 |  | 10.9 |  | 0.93542 |  | air valve not tight
2011-01 | P16 | 44 | 287 | 50 | 49.515 | 21 | 8.2167 |  | 10.9 |  | 0.93542
2011-01 | P16 | 44 | 286 | 75 | 76.833 | 20 | 8.413 |  | 11.1 |  | 0.93542
2011-01 | P16 | 44 | 285 | 100 | 101.062 | 19 | 13.5152 |  | 16.1 |  | 1.2288
2011-01 | P16 | 44 | 284 | 125 | 125.841 | 18 | 20.9723 |  | 28.2 |  | 1.5727
2011-01 | P16 | 44 | 283 | 150 | 149.818 | 17 | 24.9953 |  | 37.6 |  | 1.8154
2011-01 | P16 | 44 | 282 | 175 | 176.052 | 16 | 26.8595 |  | 43.4 |  | 1.957
2011-01 | P16 | 44 | 281 | 200 | 200.783 | 15 | 29.5088 |  | 49.7 |  | 2.1189
2011-01 | P16 | 44 | 280 | 250 | 250.533 | 14 | 33.4336 |  | 60.8 |  | 2.4021
2011-01 | P16 | 44 | 279 | 300 | 300.926 | 13 | 36.6715 |  | 69.8 |  | 2.6145
2011-01 | P16 | 44 | 278 | 400 | 398.855 | 12 | 40.6945 |  | 86.6 |  | 2.9281
2011-01 | P16 | 44 | 277 | 600 | 600.689 | 11 | 44.1287 |  | 109.6 |  | 3.1304
2011-01 | P16 | 44 | 276 | 800 | 799.905 | 10 | 44.8155 |  | 126.9 |  | 3.2113 |  | Cool tube broken
2011-01 | P16 | 44 | 275 | 1000 | 998.692 | 9 | 44.9136 |  | 140 |  | 3.2619
2011-01 | P16 | 44 | 274 | 1250 | 1248.916 | 8 | 45.8948 |  | 153.4 |  | 3.2518
2011-01 | P16 | 44 | 273 | 1500 | 1499.77 | 7 | 44.5211 | 36 | 163.25 | 36 | 3.1961 | 36 | poor dup
2011-01 | P16 | 44 | 272 | 2000 | 2000.907 | 6 | 42.755 |  | 172.2 |  | 3.0393
2011-01 | P16 | 44 | 271 | 2500 | 2497.455 | 5 | 41.3813 |  | 175 |  | 2.9483
2011-01 | P16 | 44 | 270 | 3000 | 2998.947 | 4 | 40.2039 |  | 174.5 |  | 2.8472
2011-01 | P16 | 44 | 269 | 3500 | 3499.948 | 3 | 39.0264 |  | 175.9 |  | 2.7561
2011-01 | P16 | 44 | 268 | 3500 | 3499.69 | 2 | 39.517 |  | 176.1 |  | 2.7865
2011-01 | P16 | 44 | 267 | Bot-10 | 3695.446 | 1 | 39.0264 | 6 | 176.3 | 6 | 2.7662 | 6
2011-01 | P18 | 46 | 292 | 5 | 5.097 | 2 | 9.2961 |  | 12.1 |  | 0.99611
2011-01 | P19 | 48 | 294 | 5 | 4.918 | 2 | 8.8055 |  | 11.7 |  | 0.98599
2011-01 | P20 | 55 | 342 | 5 | 4.794 | 24 | 8.6092 |  | 11.9 |  | 0.97588
2011-01 | P20 | 55 | 341 | 10 | 10.873 | 23 | 8.6092 |  | 11.8 |  | 0.97588
2011-01 | P20 | 55 | 340 | 25 | 24.597 | 22 | 8.6092 |  | 11.8 |  | 0.97588
2011-01 | P20 | 55 | 339 | 50 | 50.586 | 21 | 8.5111 |  | 11.7 |  | 0.96576
2011-01 | P20 | 55 | 338 | 75 | 75.14 | 20 | 8.7564 | 6 | 11.85 | 6 | 0.98599 | 6
2011-01 | P20 | 55 | 337 | 100 | 100.686 | 19 | 8.9036 |  | 12 |  | 0.99611
2011-01 | P20 | 55 | 336 | 125 | 124.312 | 18 | 22.346 |  | 30.1 |  | 1.7345
2011-01 | P20 | 55 | 335 | 150 | 149.969 | 17 | 25.8783 |  | 37.7 |  | 1.9065
2011-01 | P20 | 55 | 334 | 175 | 175.046 | 16 | 28.7238 |  | 46 |  | 2.0986
2011-01 | P20 | 55 | 333 | 200 | 200.882 | 15 | 31.9618 |  | 54.1 |  | 2.3212
2011-01 | P20 | 55 | 332 | 250 | 251.024 | 14 | 35.6903 |  | 66.5 |  | 2.5943
2011-01 | P20 | 55 | 331 | 300 | 300.009 | 13 | 38.2415 |  | 75.6 |  | 2.7561
2011-01 | P20 | 55 | 330 | 400 | 398.835 | 12 | 40.6945 |  | 88.9 |  | 2.918
2011-01 | P20 | 55 | 329 | 600 | 600.013 | 11 | 44.2268 |  | 112.6 |  | 3.181
2011-01 | P20 | 55 | 328 | 800 | 800.67 | 10 | 44.5211 |  | 130.5 |  | 3.2012
2011-01 | P20 | 55 | 327 | 1000 | 1000.577 | 9 | 45.0117 |  | 142.3 |  | 3.2518 |  | Cool tube broken
2011-01 | P20 | 55 | 326 | 1250 | 1249.3 | 8 | 45.0117 |  | 154.3 |  | 3.2518
2011-01 | P20 | 55 | 325 | 1500 | 1499.793 | 7 | 44.7174 |  | 163.3 |  | 3.2113
2011-01 | P20 | 55 | 324 | 2000 | 1998.725 | 6 | 42.6569 |  | 171.5 |  | 3.0697
2011-01 | P20 | 55 | 323 | 2500 | 2498.748 | 5 | 40.9398 | 6 | 173.2 | 6 | 2.9281 | 6
2011-01 | P20 | 55 | 322 | 3000 | 3001.671 | 4 | 39.1245 |  | 172 |  | 2.7763
2011-01 | P20 | 55 | 321 | 3500 | 3499.994 | 3 | 38.2415 |  | 171.7 |  | 2.7359
2011-01 | P20 | 55 | 320 | 3500 | 3500.37 | 2 | 38.4377 |  | 172.4 |  | 2.7359
2011-01 | P20 | 55 | 319 | Bot-10 | 4022.189 | 1 | 38.1433 |  | 177 |  | 2.6954
2011-01 | P20 | 56 | 355 | 0 | 1.776 | 13 | 8.8055 |  | 11.8 |  | 0.97588
2011-01 | P20 | 56 | 354 | 5 | 4.954 | 12 | 8.7073 |  | 11.8 |  | 0.97588
2011-01 | P20 | 56 | 353 | 10 | 9.886 | 11 | 8.8055 |  | 11.8 |  | 0.98599
2011-01 | P20 | 56 | 352 | 15 | 14.697 | 10 | 8.8055 |  | 11.8 |  | 1.0467
2011-01 | P20 | 56 | 351 | 20 | 20.278 | 9 | 8.7073 |  | 11.8 |  | 0.98599
2011-01 | P20 | 56 | 350 | 25 | 25.06 | 8 | 8.6092 |  | 11.7 |  | 0.99611
2011-01 | P20 | 56 | 349 | 30 | 31.061 | 7 | 8.7073 | 6 | 11.8 | 6 | 0.99105 | 6
2011-01 | P20 | 56 | 348 | 40 | 40.911 | 6 | 8.7073 |  | 11.7 |  | 0.98599
2011-01 | P20 | 56 | 347 | 50 | 49.683 | 5 | 8.7073 |  | 11.8 |  | 0.99611
2011-01 | P20 | 56 | 346 | 75 | 75.417 | 4 | 8.7073 |  | 11.8 |  | 0.99611
2011-01 | P20 | 56 | 345 | 100 | 100.489 | 3 | 15.4776 |  | 19.8 |  | 1.3704
2011-01 | P20 | 56 | 344 | 175 | 175.21 | 2 | 29.6069 |  | 48 |  | 2.1593
2011-01 | P20 | 56 | 343 | 200 | 199.663 | 1 | 32.943 |  | 55.9 |  | 2.3819
2011-01 | Loop 1 |  | Loop 1 |  |  |  | 8.8055 |  | 11.7 |  | 0.99611
2011-01 | Loop 2 |  | Loop 2 |  |  |  | 11.4547 |  | 15.1 |  | 1.1276
2011-01 | Loop 3 |  | Loop 3 |  |  |  | 12.9265 |  | 18.5 |  | 1.2793
2011-01 | Loop 4 |  | Loop 4 |  |  |  | 13.7115 |  | 19.1 |  | 1.3198
2011-01 | Loop 5 |  | Loop 5 |  |  |  | 14.0058 |  | 19.5 |  | 1.3198
2011-01 | P26 | 58 | 410 | 5 | 5.378 | 24 | 13.8096 |  | 19.4 |  | 1.2996 |  | Rerun
2011-01 | P26 | 58 | 409 | 10 | 10.058 | 23 | 13.9077 |  | 19.4 |  | 1.3097 |  | Rerun
2011-01 | P26 | 58 | 408 | 25 | 24.046 | 22 | 14.0058 |  | 19.5 |  | 1.3097 |  | Rerun
2011-01 | P26 | 58 | 407 | 50 | 49.644 | 21 | 14.0058 |  | 19.5 |  | 1.3097 |  | Rerun
2011-01 | P26 | 58 | 406 | 75 | 75.892 | 20 | 14.2021 |  | 19.7 |  | 1.3198 |  | Rerun
2011-01 | P26 | 58 | 405 | 100 | 99.334 | 19 | 16.4588 |  | 23.6 |  | 1.4513 |  | Rerun
2011-01 | P26 | 58 | 404 | 125 | 124.46 | 18 | 29.5088 | 6 | 47.8 | 6 | 2.1998 | 6 | Rerun
2011-01 | P26 | 58 | 403 | 150 | 150.544 | 17 | 34.7091 |  | 60.7 |  | 2.5235 |  | Rerun
2011-01 | P26 | 58 | 402 | 175 | 176.147 | 16 | 38.0452 |  | 70 |  | 2.746 |  | Rerun
2011-01 | P26 | 58 | 401 | 200 | 200.609 | 15 | 39.9095 |  | 75.6 |  | 2.8674 |  | Rerun
2011-01 | P26 | 58 | 400 | 250 | 249.301 | 14 | 41.8719 |  | 83.3 |  | 2.9989 |  | Rerun, loose cap
2011-01 | P26 | 58 | 399 | 300 | 302.327 | 13 | 42.5587 |  | 90.9 |  | 3.0393 |  | Rerun
2011-01 | P26 | 58 | 398 | 400 | 401.895 | 12 | 43.4418 |  | 103.9 |  | 3.1304 |  | Rerun
2011-01 | P26 | 58 | 397 | 600 | 602.077 | 11 | 45.0117 |  | 124.7 |  | 3.2315 |  | Rerun
2011-01 | P26 | 58 | 396 | 800 | 801.81 | 10 | 45.0608 | 6 | 136.35 | 6 | 3.277 | 6 | Rerun
2011-01 | P26 | 58 | 395 | 1000 | 1001.192 | 9 | 45.0117 |  | 147.5 |  | 3.2619 |  | Rerun
2011-01 | P26 | 58 | 394 | 1250 | 1250.599 | 8 | 45.3061 |  | 157.7 |  | 3.2821 |  | Rerun
2011-01 | P26 | 58 | 393 | 1500 | 1501.42 | 7 | 45.0117 |  | 164.5 |  | 3.2214 |  | Rerun
2011-01 | P26 | 58 | 392 | 2000 | 2001.208 | 6 | 43.0493 |  | 172 |  | 3.0798 |  | Rerun
2011-01 | P26 | 58 | 391 | 2500 | 2500.992 | 5 | 40.9398 | 6 | 172.4 | 6 | 2.9281 | 6 | Rerun
2011-01 | P26 | 58 | 390 | 3000 | 3001.683 | 4 | 39.4189 |  | 170 |  | 2.8168 |  | Rerun
2011-01 | P26 | 58 | 389 | 3500 | 3501.071 | 3 | 38.6339 |  | 167.8 |  | 2.746 |  | Rerun
2011-01 | P26 | 58 | 388 | 4000 | 4000.983 | 2 | 37.2603 |  | 169.1 |  | 2.655 |  | Rerun, loose cap
2011-01 | P26 | 58 | 387 | Bot-10 | 4309.352 | 1 | 37.849 |  | 171.6 |  | 2.6853 |  | Rerun
2011-01 | Loop 6 |  | Loop 6 |  |  |  | 14.0058 |  | 19.5 |  | 1.3097
2011-01 | Loop 7 |  | Loop 7 |  |  |  | 13.6133 |  | 19.2 |  | 1.2692
2011-01 | Loop 8 |  | Loop 8 |  |  |  | 13.2209 |  | 18.8 |  | 1.249
2011-01 | Loop 9 |  | Loop 9 |  |  |  | 8.8055 |  | 11.8 |  | 0.97588
2011-01 | Loop 10 |  | Loop 10 |  |  |  | 8.7073 |  | 11.7 |  | 0.98599
2011-01 | Loop 11 |  | Loop 11 |  |  |  | 9.1979 |  | 11.7 |  | 1.0062
2011-01 | Loop 12 |  | Loop 12 |  |  |  | 8.7073 |  | 11.3 |  | 0.96576
2011-01 | Loop 13 |  | Loop 13 |  |  |  | 8.0205 |  | 11 |  | 0.92531
2011-01 | Loop 14 |  | Loop 14 |  |  |  | 8.2167 |  | 10.9 |  | 0.95565
2011-01 | Loop 15 |  | Loop 15 |  |  |  | 8.3149 |  | 11.1 |  | 0.94554
2011-01 | Loop 16 |  | Loop 16 |  |  |  | 8.1186 |  | 10.9 |  | 0.92531
2011-01 | Loop 17 |  | Loop 17 |  |  |  | 7.1374 |  | 8.9 |  | 0.87473
2011-01 | Loop 18 |  | Loop 18 |  |  |  | 7.7261 |  | 9.8 |  | 0.99611
2011-01 | Loop 19 |  | Loop 19 |  |  |  | 7.3337 |  | 8.1 |  | 0.93542
2011-01 | Loop 20 |  | Loop 20 |  |  |  | 6.0581 |  | 5.4 |  | 0.83427
2011-01 | Loop 21 |  | Loop 21 |  |  |  | 18.7156 |  | 35.3 |  | 1.5929

## Calc Combo Avg Dup & Prec
Averaging Duplicates from same Niskin and Calculating Precision | [15 empty] | File: QF2011-01nuts.xls
Calculating Combined (most Frozen, deep Silicate cool) Average Duplicates & Precision | [15 empty] | Date: May 4, 2011
Used only samples that had duplicates for all three parameters to calculate precision.
Cruise | Station | Cast | Sample # | Depth | Pressure | Niskin | NO3 | SiO3 | PO4
|  |  |  | (nominal) | (actual) |  | uM | uM | uM | Avg N | Avg Si | Avg P | NO3 diff sq | Si diff sq | PO4 diff sq | Comments
2011-01 | Si03 | 1 | 3 | 175 | 175.857 | 3 |  | 108.1 | 5.6591
2011-01 | Si03 | 1 | 3 | 175 | 175.9 | 3 |  | 107.1 | 5.7097 |  | 107.6 | 5.6844 |  | 1 | 0.0025578
2011-01 | P2 | 4 | 20 | 25 | 25.275 | 6 | 6.5487 | 10.8 | 0.89496
2011-01 | P2 | 4 | 20 | 25 | 25.3 | 6 | 6.5487 | 10.8 | 0.88484 | 6.5487 | 10.8 | 0.8899 | 0 | 0 | 0.00010231
2011-01 | P2 | 6 | 35 | 10 | 10.604 | 7 | 13.4171 | 31.6 | 1.1984
2011-01 | P2 | 6 | 35 | 10 | 10.604 | 7 | 13.5152 | 31.9 | 1.2085 | 13.4662 | 31.75 | 1.2035 | 0.0096275 | 0.09 | 0.00010231
2011-01 | P4 | 8 | 41 | 175 | 175.634 | 2 | 32.943 | 44.5 | 2.392
2011-01 | P4 | 8 | 41 | 175 | 175.634 | 2 | 32.8449 | 44.4 | 2.392 | 32.8939 | 44.45 | 2.392 | 0.0096275 | 0.01 | 0
2011-01 | P4 | 10/11/12 | 71 | 50 | 49.413 | 16 | 6.5487 | 7.9 | 0.87473
2011-01 | P4 | 10/11/12 | 71 | 50 | 49.413 | 16 | 6.4506 | 7.8 | 0.86462 | 6.4996 | 7.85 | 0.86967 | 0.0096275 | 0.01 | 0.00010231
2011-01 | P4 | 10/11/12 | 66 | 175 | 175.139 | 11 | 33.2373 | 45.2 | 2.4021
2011-01 | P4 | 10/11/12 | 66 | 175 | 175.139 | 11 | 33.3355 | 45.3 | 2.4021 | 33.2864 | 45.25 | 2.4021 | 0.0096275 | 0.01 | 0
2011-01 | P4 | 10/11/12 | 59 | 1000 | 1000.511 | 4 | 45.5023 | 129.9 | 3.3428
2011-01 | P4 | 10/11/12 | 59 | 1000 | 1000.511 | 4 | 45.4042 | 130.2 | 3.3428 | 45.4533 | 130.05 | 3.3428 | 0.0096275 | 0.09 | 0
2011-01 | P8 | 21 | 108 | 75 | 74.104 | 16 | 7.628 | 8.4 | 0.93542
2011-01 | P8 | 21 | 108 | 75 | 74.104 | 16 | 7.628 | 8.4 | 0.93542 | 7.628 | 8.4 | 0.93542 | 0 | 0 | 0
2011-01 | P8 | 21 | 93 | 2000 | 2002.403 | 1 | 42.755 | 174.4 | 3.0596
2011-01 | P8 | 21 | 93 | 2000 | 2002.403 | 1 | 42.755 | 174.2 | 3.0596 | 42.755 | 174.3 | 3.0596 | 0 | 0.04 | 0 | Air valve not tight
2011-01 | P12 | 32 | 187 | 50 | 50.23 | 20 | 11.3566 | 16.2 | 1.158
2011-01 | P12 | 32 | 187 | 50 | 50.23 | 20 | 11.3566 | 16.2 | 1.1681 | 11.3566 | 16.2 | 1.163 | 0 | 0 | 0.00010231
2011-01 | P12 | 32 | 176 | 800 | 799.884 | 9 | 45.0117 | 126.7 | 3.2821
2011-01 | P12 | 32 | 176 | 800 | 799.884 | 9 | 45.0117 | 126.8 | 3.272 | 45.0117 | 126.75 | 3.277 | 0 | 0.01 | 0.00010231
2011-01 | P12 | 32 | 169 | 3000 | 2997.611 | 2 | 40.4001 | 177 | 2.8876
2011-01 | P12 | 32 | 169 | 3000 | 2997.611 | 2 | 40.5963 | 176.7 | 2.8876 | 40.4982 | 176.85 | 2.8876 | 0.03851 | 0.09 | 0
2011-01 | P12 | 33 | 192 | 175 | 175.027 | 2 | 32.2561 | 51.7 | 2.3616
2011-01 | P12 | 33 | 192 | 175 | 175.027 | 2 | 32.5505 | 51.8 | 2.3819 | 32.4033 | 51.75 | 2.3718 | 0.086648 | 0.01 | 0.00040925
2011-01 | P16 | 39 | 223 | 100 | 99.471 | 3 | 15.2814 | 18.3 | 1.3097
2011-01 | P16 | 39 | 223 | 100 | 99.471 | 3 | 15.3795 | 18.3 | 1.2996 | 15.3304 | 18.3 | 1.3046 | 0.0096275 | 0 | 0.00010231
2011-01 | P16 | 44 | 289 | 10 | 10.601 | 23 | 8.3149 | 11 | 0.92531
2011-01 | P16 | 44 | 289 | 10 | 10.601 | 23 | 8.3149 | 10.9 | 0.92531 | 8.3149 | 10.95 | 0.92531 | 0 | 0.01 | 0
2011-01 | P16 | 44 | 273 | 1500 | 1499.77 | 7 | 43.9324 | 163 | 3.1708
2011-01 | P16 | 44 | 273 | 1500 | 1499.77 | 7 | 45.1099 | 163.5 | 3.2214 | 44.5211 | 163.25 | 3.1961 | 1.3864 | 0.25 | 0.0025578
2011-01 | P16 | 44 | 267 | Bot-10 | 3695.446 | 1 | 38.8302 | 176.5 | 2.7662
2011-01 | P16 | 44 | 267 | Bot-10 | 3695.446 | 1 | 39.2227 | 176.1 | 2.7662 | 39.0264 | 176.3 | 2.7662 | 0.15404 | 0.16 | 0
2011-01 | P20 | 55 | 338 | 75 | 75.14 | 20 | 8.8055 | 11.9 | 0.98599
2011-01 | P20 | 55 | 338 | 75 | 75.14 | 20 | 8.7073 | 11.8 | 0.98599 | 8.7564 | 11.85 | 0.98599 | 0.0096275 | 0.01 | 0
2011-01 | P20 | 55 | 323 | 2500 | 2498.748 | 5 | 40.8907 | 173.2 | 2.9281
2011-01 | P20 | 55 | 323 | 2500 | 2498.748 | 5 | 40.9888 | 173.2 | 2.9281 | 40.9398 | 173.2 | 2.9281 | 0.0096275 | 0 | 0
2011-01 | P20 | 56 | 349 | 30 | 31.061 | 7 | 8.7073 | 11.8 | 0.99611
2011-01 | P20 | 56 | 349 | 30 | 31.061 | 7 | 8.7073 | 11.8 | 0.98599 | 8.7073 | 11.8 | 0.99105 | 0 | 0 | 0.00010231
2011-01 | P26 | 58 | 404 | 125 | 124.46 | 18 | 29.6069 | 47.8 | 2.1998
2011-01 | P26 | 58 | 404 | 125 | 124.46 | 18 | 29.4107 | 47.8 | 2.1998 | 29.5088 | 47.8 | 2.1998 | 0.03851 | 0 | 0
2011-01 | P26 | 58 | 396 | 800 | 801.81 | 10 | 45.208 | 136.3 | 3.2922
2011-01 | P26 | 58 | 396 | 800 | 801.81 | 10 | 44.9136 | 136.4 | 3.2619 | 45.0608 | 136.35 | 3.277 | 0.086648 | 0.01 | 0.00092082
2011-01 | P26 | 58 | 391 | 2500 | 2500.992 | 5 | 40.9888 | 172.8 | 2.918
2011-01 | P26 | 58 | 391 | 2500 | 2500.992 | 5 | 40.8907 | 172 | 2.9382 | 40.9398 | 172.4 | 2.9281 | 0.0096275 | 0.64 | 0.00040925
[9 empty] | SUM OF (X-Y)SQ |  |  |  | 1.8774 | 2.44 | 0.0075712
[9 empty] | COUNT |  |  |  | 22 | 23 | 23
[9 empty] | SUM/2*COUNT |  |  |  | 0.042667 | 0.053043 | 0.00016459
[9 empty] | SQRT(SUM/2*COUNT) |  |  |  | 0.20656 | 0.23031 | 0.012829
[9 empty] | min |  |  |  | 6.4506 | 7.8 | 0.86462
[9 empty] | max |  |  |  | 45.5023 | 177 | 5.7097

## Precision Statement & Notes
Cruise 2011-01 February Papa Nutrient data Summary |  | File: QF2011-01nuts.xls
Precision Statement |  | Date: May 4, 2011
Samples were collected in plastic test tubes.
Most samples were analysed frozen at IOS by Wendy Richardson, Janet Barwell-Clarke, and Kenny Scozzafava.
Deep Silicate samples (400m and below) analyzed cool at IOS by Wendy Richardson and Janet Barwell-Clarke.
The Astoria Analyzer was used for sample analyses.
Precision was determined by analyzing replicate samples drawn from one Niskin
Pooled standard deviation of pairs of samples (Sp) was calucalated by:
Sp = SQRT{sum (d*d)/2k}
where k = no. of pairs and d = difference between pairs
For replicate samples drawn from the same Niskin bottle:
Sp for nitrate for the range 6.5 to 45.5 uM was 0.21, k = 22
Sp for silicate for the range 7.8 to 177.0 uM was 0.23, k = 23
Sp for phosphate for the range 0.86 to 5.71 uM was 0.013, k = 23
Accuracy of the stock standard batch was determined by using commercially available standards from WAKO Chemicals
(Sagami Chemical Company of Japan).
The values were within 0.15 % of the 20 uM Nitrate Standard.
The values were within 0.80 % of the 100 uM Silicate Standard.
Feb 10, 2011 Nitrate stock standard solution was used for this cruise analyses.
Feb 10, 2011 Silicate stock standard solution was used for this cruise analyses.
Feb 10, 2011 Phosphate stock standard solution ( Feb 23 secondary) was used for this cruise analyses.
The Phosphate values were the same as the previous (May 2010) stock solution.
Notes
Corrections made as follows on 27-Jan-2014 by Mark Belton
Nitrate and phosphate values were corrected for this cruise according to calculations made by Janet Barwell-Clarke to account
for system differences between technicon and astoria analyzing systems. For further details please see "Corrections to Nitrate and Phosphate Data 2009-2012"
Located on the OSD_DATA_ARCHIVE drive: L:\Cruise_Data\DOCUMENTS\Analysis Reference Papers