## Notes
There were a number of filtration problems encountered during this cruise. There was a strange phytoplankton blookm at the time (likley Heterosigma) that was causing filters to clog very quickly despite
not overly high chl levels. i.e. biomass was much higher in April with nofiltration problems encountered vs. this cruise where there were lots of problems depsite lower chl numbers. A number of samples
were collected on 2 filters or had volume removed…this could lead to potential errors.

## Final CHL archive
Header: | Chlorophyll samples were filtered onto 25mm GF/F filters and stored in glass scintillation vials at -80C prior to analysis
Samples were extracted in 90% acetone for 24 hours in the lab ~1 week post cruise
and analyzed on a Turner 10AU flourometer calibrated annually with commerically pure chlorophyll a standard (Sigma)
fluorescence readings taken before and after acification were used to calculate chlorophyll and phaeopigment concentrations (Holm-Hansen et al. 1965)
Note: flags and comments apply to chl values only. No flags or comments are assigned for phaeopigment values
The average of two samples is reported. Variability is assessed as the CV % (std dev/mean*100).
For details see worksheet "CV %" in file QF2010-09chl.xls
Analysis: | July 5-7th, 2011 by Nina Nemcek
Cruise | Station | Sample | FINAL Chl | Avg Phaeo | Flag:CHL | comments:CHL
2011-09 | SI | 6 | 0.48838 | 0.46834 | 6
2011-09 | SI | 7 | 1.3236 | 0.58487 | 6
2011-09 | SI | 9 | 4.261 | 0.61233 |  | CHL:~100 ml spill, rep A not used
2011-09 | 59 | 20 | 2.8984 | 0.34045 | 36 | CHL:variability of replicates >15%CV
2011-09 | 59 | 21 | 3.8327 | 0.04646 | 6
2011-09 | 59 | 23 | 8.9678 | -0.50684 | 36 | CHL:variability of replicates >15%CV
2011-09 | 102 | 35 | 0.51669 | 0.41511 | 6
2011-09 | 102 | 36 | 1.5182 | 0.58207 | 6
2011-09 | 102 | 38 | 2.5127 | 0.36992 | 36 | CHL:variability of replicates >15%CV
2011-09 | 75 | 47 | 1.0334 | 0.3693 | 6
2011-09 | 75 | 48 | 1.9535 | 0.5753 | 6
2011-09 | 75 | 50 | 3.1497 | 0.26358 | 6
2011-09 | 72 | 60 | 1.4156 | 0.41313 | 6
2011-09 | 72 | 61 | 1.4793 | 0.42915 | 6
2011-09 | 72 | 63 | 1.589 | 0.3917 | 6
2011-09 | 69 | 72 | 0.73611 | 0.41245 | 6
2011-09 | 69 | 73 | 1.2882 | 0.41098 | 6
2011-09 | 69 | 75 | 1.2634 | 0.4208 | 6
2011-09 | ADCP | 82 | 0.36806 | 0.52139 | 6
2011-09 | ADCP | 83 | 1.1891 | 0.32321 | 6
2011-09 | ADCP | 85 | 1.2316 | 0.35549 | 6
2011-09 | 65 | 92 | 1.8226 | 0.42471 | 6
2011-09 | 65 | 93 | 2.3287 | 0.44682 | 6
2011-09 | 65 | 95 | 2.4985 | 0.30186 | 6
2011-09 | 62 | 107 | 3.6912 | 0.11328 | 6
2011-09 | 62 | 108 | 6.0517 | -0.29643 | 6
2011-09 | 62 | 110 | 7.4673 | -0.24207 | 6
2011-09 | 56 | 121 | 4.3353 | -0.23683 | 6
2011-09 | 56 | 122 | 3.3231 | 0.11758 | 6
2011-09 | 56 | 124 | 7.2196 | -0.14382 | 6
2011-09 | 46 | 133 | 1.2386 | 0.30854 | 6
2011-09 | 46 | 134 | 1.32 | 0.40902 | 6
2011-09 | 46 | 136 | 7.0072 | 0.218 | 46 | CHL:variability of replicates >50%CV
2011-09 | 42 | 149 | 0.088829 | 0.12718 | 6
2011-09 | 42 | 150 | 0.31356 | 0.13092 | 6
2011-09 | 42 | 152 | 17.8677 | -1.1355 | 36 | CHL:volume removed during filtration
2011-09 | 39 | 166 | 0.18403 | 0.18944 | 6
2011-09 | 39 | 167 | 0.83874 | 0.5191 | 6
2011-09 | 39 | 169 | 17.058 | -1.0628 | 6
2011-09 | 27 | 182 | 5.174 | -0.41534 | 6
2011-09 | 27 | 183 | 6.5471 | -0.31851 | 6
2011-09 | 27 | 185 | 17.1464 | 0.081963 | 6
2011-09 | 2 | 197 | 6.7666 | -0.16919 | 6
2011-09 | 2 | 198 | 13.6605 | -0.87937 | 6
2011-09 | 2 | 200 | 5.6624 | 0.71573 | 6
2011-09 | 3 | 213 | 16.5625 | -1.5141 | 6
2011-09 | 3 | 214 | 11.9795 | 0.49022 | 6
2011-09 | 3 | 216 | 2.9551 | 1.1384 | 6
2011-09 | 6 | 225 | 0.55562 | 0.42103 | 6
2011-09 | 6 | 226 | 1.2882 | 0.33125 | 6
2011-09 | 6 | 229 | 11.6645 | -0.29354 | 46 | CHL:variability of replicates >50%CV
2011-09 | 9 | 238 | 2.4561 | 0.20481 | 6
2011-09 | 9 | 239 | 8.1468 | -0.32859 | 6
2011-09 | 9 | 241 | 4.7493 | 0.38306 | 6
2011-09 | 12 | 254 | 7.9981 | -0.748 | 6
2011-09 | 12 | 255 | 8.1751 | 0.0218 | 36 | CHL:variability of replicates >15%CV
2011-09 | 12 | 257 | 7.0426 | 0.70582 | 6
2011-09 | 14 | 258 | 4.0628 | -0.12627 | 6
2011-09 | 14 | 259 | 10.9567 | -1.5789 | 6
2011-09 | 14 | 260 | 20.9509 | -1.2684 | 36 | CHL:variability of replicates >15%CV

## Raw-data
Cruise: | 2011-09 | June 21-25
Notes: | Chlorophyll samples were filtered onto 25mm GF/F filters and stored in glass scintillation vials at -80C prior to analysis
Samples were extracted in 90% acetone for 24 hours in the lab ~1 week post cruise
and analyzed on a Turner 10AU flourometer calibrated with commerically pure chlorophyll a standard (Sigma)
fluorescence readings taken before and after acification were used to calculate chlorophyll and phaeopigment concentrations (Holm-Hansen 1978)
Analysis: | July 5-7th, 2011 by Nina Nemcek
Fluorometer calibration |  | May 9, 2011: chl (ug/L) = (1.704/(1.704-1)*(Fo-Fa)*(0.965)*(vol ext/vol filtered)*dilution factor
May 9, 2011: phaeo (ug/L)= (1.704/(1.704-1)*((1.704*Fa)-Fo)*0.965)*(vol ext/vol filtered)* dilution factor
Calibration linear up to a fluoresence reading of 475, no need to dilute samples
Analysis Date | Station | Sample | Rep | Size fraction | Volume Acetone | Volume filtered | Fo | Fa | Dilution | Chorophyll a (ug/L) | Phaeopigments (ug/L) | Flag | Comments from Filtration Log and Analyst
2011-07-07 | SI | 6 | A | total | 10 | 330 | 25.2 | 18.8 | 1 | 0.45299 | 0.4838
2011-07-05 | SI | 6 | B | total | 10 | 330 | 27 | 19.6 | 1 | 0.52377 | 0.45288
2011-07-07 | SI | 7 | A | total | 10 | 330 | 58.4 | 39.1 | 1 | 1.3661 | 0.58226
2011-07-05 | SI | 7 | B | total | 10 | 330 | 55.6 | 37.5 | 1 | 1.2811 | 0.58747
2011-07-05 | SI | 9 | A | total | 10 | 230 | 120 | 72.2 | 1 | 4.8543 | 0.30759 | 4 | ~100 ml spill, no filter in place
2011-07-05 | SI | 9 | B | total | 10 | 330 | 158 | 97.8 | 1 | 4.261 | 0.61233
2011-07-07 | 59 | 20 | A | total | 10 | 330 | 97.9 | 61.3 | 1 | 2.5905 | 0.46398
2011-07-06 | 59 | 20 | B | total | 10 | 330 | 114 | 68.7 | 1 | 3.2063 | 0.21693
2011-07-05 | 59 | 21 | A | total | 10 | 330 | 129 | 77.1 | 1 | 3.6735 | 0.16834
2011-07-05 | 59 | 21 | B | total | 10 | 330 | 135 | 78.6 | 1 | 3.992 | -0.075423
2011-07-07 | 59 | 23 | A | total | 20 | 330 | 166 | 94.3 | 1 | 10.1498 | -0.75208
2011-07-05 | 59 | 23 | B | total | 10 | 330 | 261 | 151 | 1 | 7.7858 | -0.2616
2011-07-05 | 102 | 35 | A | total | 10 | 330 | 25.7 | 18.6 | 1 | 0.50254 | 0.42428
2011-07-07 | 102 | 35 | B | total | 10 | 330 | 26.3 | 18.8 | 1 | 0.53085 | 0.40594
2011-07-05 | 102 | 36 | A | total | 10 | 330 | 62.8 | 41.7 | 1 | 1.4935 | 0.58442
2011-07-07 | 102 | 36 | B | total | 10 | 330 | 64.4 | 42.6 | 1 | 1.543 | 0.57972
2011-07-05 | 102 | 38 | A | total | 10 | 330 | 102 | 61.2 | 1 | 2.8878 | 0.16172
2011-07-05 | 102 | 38 | B | total | 10 | 330 | 84.7 | 54.5 | 1 | 2.1376 | 0.57813
2011-07-05 | 75 | 47 | A | total | 10 | 330 | 44.2 | 29.7 | 1 | 1.0263 | 0.45361
2011-07-05 | 75 | 47 | B | total | 10 | 330 | 41.3 | 26.6 | 1 | 1.0405 | 0.28499
2011-07-07 | 75 | 48 | A | total | 10 | 330 | 79 | 52 | 1 | 1.9111 | 0.68005
2011-07-05 | 75 | 48 | B | total | 10 | 330 | 77.7 | 49.5 | 1 | 1.996 | 0.47055
2011-07-06 | 75 | 50 | A | total | 10 | 330 | 110 | 66.8 | 1 | 3.0577 | 0.27089
2011-07-05 | 75 | 50 | B | total | 10 | 330 | 116 | 70.2 | 1 | 3.2417 | 0.25628
2011-07-05 | 72 | 60 | A | total | 10 | 330 | 55.9 | 36.1 | 1 | 1.4014 | 0.39739
2011-07-07 | 72 | 60 | B | total | 10 | 330 | 57.5 | 37.3 | 1 | 1.4298 | 0.42887
2011-07-05 | 72 | 61 | A | total | 10 | 330 | 57.4 | 36.8 | 1 | 1.4581 | 0.37564
2011-07-07 | 72 | 61 | B | total | 10 | 330 | 61 | 39.8 | 1 | 1.5005 | 0.48266
2011-07-05 | 72 | 63 | A | total | 10 | 330 | 61.4 | 39 | 1 | 1.5855 | 0.35786
2011-07-06 | 72 | 63 | B | total | 10 | 330 | 63 | 40.5 | 1 | 1.5925 | 0.42553
2011-07-05 | 69 | 72 | A | total | 10 | 330 | 33.9 | 23.4 | 1 | 0.74319 | 0.42281
2011-07-07 | 69 | 72 | B | total | 10 | 330 | 33 | 22.7 | 1 | 0.72903 | 0.40209
2011-07-05 | 69 | 73 | A | total | 10 | 330 | 54 | 35.2 | 1 | 1.3307 | 0.42332
2011-07-07 | 69 | 73 | B | total | 10 | 330 | 50.6 | 33 | 1 | 1.2457 | 0.39863
2011-07-05 | 69 | 75 | A | total | 10 | 330 | 52.5 | 34.1 | 1 | 1.3024 | 0.39682
2011-07-07 | 69 | 75 | B | total | 10 | 330 | 50.8 | 33.5 | 1 | 1.2245 | 0.44478
2011-07-06 | ADCP | 82 | A | total | 10 | 330 | 21.1 | 16 | 1 | 0.36098 | 0.43629
2011-07-05 | ADCP | 82 | B | total | 10 | 330 | 25 | 19.7 | 1 | 0.37513 | 0.6065
2011-07-05 | ADCP | 83 | A | total | 10 | 330 | 46.6 | 30.2 | 1 | 1.1608 | 0.34405
2011-07-06 | ADCP | 83 | B | total | 10 | 330 | 47.7 | 30.5 | 1 | 1.2174 | 0.30237
2011-07-05 | ADCP | 85 | A | total | 10 | 330 | 47.7 | 31.4 | 1 | 1.1537 | 0.41092
2011-07-05 | ADCP | 85 | B | total | 10 | 330 | 50.8 | 32.3 | 1 | 1.3094 | 0.30005
2011-07-07 | 65 | 92 | A | total | 10 | 330 | 72.5 | 46.4 | 1 | 1.8474 | 0.46471
2011-07-05 | 65 | 92 | B | total | 10 | 330 | 69.2 | 43.8 | 1 | 1.7978 | 0.3847
2011-07-05 | 65 | 93 | A | total | 10 | 330 | 88.5 | 54 | 1 | 2.4419 | 0.24886
2011-07-07 | 65 | 93 | B | total | 10 | 330 | 88.7 | 57.4 | 1 | 2.2154 | 0.64478
2011-07-05 | 65 | 95 | A | total | 10 | 330 | 87 | 53.7 | 1 | 2.357 | 0.31885
2011-07-05 | 65 | 95 | B | total | 10 | 330 | 96 | 58.7 | 1 | 2.6401 | 0.28488
2011-07-05 | 62 | 107 | A | total | 10 | 330 | 136 | 81.6 | 1 | 3.8504 | 0.21562
2011-07-07 | 62 | 107 | B | total | 10 | 330 | 121 | 71.1 | 1 | 3.5319 | 0.010928
2011-07-05 | 62 | 108 | A | total | 10 | 330 | 198 | 114 | 1 | 5.9455 | -0.265
2011-07-05 | 62 | 108 | B | total | 10 | 330 | 204 | 117 | 1 | 6.1579 | -0.32785
2011-07-05 | 62 | 110 | A | total | 10 | 330 | 258 | 149 | 1 | 7.715 | -0.29048
2011-07-05 | 62 | 110 | B | total | 10 | 330 | 243 | 141 | 1 | 7.2196 | -0.19365
2011-07-07 | 56 | 121 | A | total | 10 | 330 | 155 | 87.8 | 1 | 4.7564 | -0.38142
2011-07-05 | 56 | 121 | B | total | 10 | 330 | 132 | 76.7 | 1 | 3.9141 | -0.09224
2011-07-07 | 56 | 122 | A | total | 10 | 330 | 116 | 70.6 | 1 | 3.2134 | 0.30452
2011-07-07 | 56 | 122 | B | total | 10 | 330 | 116 | 67.5 | 1 | 3.4328 | -0.069364
2011-07-05 | 56 | 124 | A | total | 10 | 330 | 248 | 143 | 1 | 7.4319 | -0.30634
2011-07-05 | 56 | 124 | B | total | 10 | 330 | 240 | 141 | 1 | 7.0072 | 0.018686
2011-07-06 | 46 | 133 | A | total | 10 | 330 | 48.7 | 31.3 | 1 | 1.2316 | 0.32808
2011-07-05 | 46 | 133 | B | total | 10 | 330 | 48.4 | 30.8 | 1 | 1.2457 | 0.28901
2011-07-06 | 46 | 134 | A | total | 10 | 330 | 51 | 33.7 | 1 | 1.2245 | 0.45475
2011-07-05 | 46 | 134 | B | total | 10 | 330 | 55.7 | 35.7 | 1 | 1.4156 | 0.3633
2011-07-06 | 46 | 136 | A | total | 10 | 330 | 122 | 77 | 1 | 3.1851 | 0.65174
2011-07-05 | 46 | 136 | B | total | 10 | 330 | 366 | 213 | 1 | 10.8293 | -0.21574
2011-07-05 | 42 | 149 | A | total | 10 | 330 | 5.46 | 4.3 | 1 | 0.082105 | 0.13216
2011-07-07 | 42 | 149 | B | total | 10 | 330 | 5.72 | 4.37 | 1 | 0.095553 | 0.1222
2011-07-05 | 42 | 150 | A | total | 10 | 330 | 13.9 | 9.3 | 1 | 0.32559 | 0.13782
2011-07-07 | 42 | 150 | B | total | 10 | 330 | 12.8 | 8.54 | 1 | 0.30152 | 0.12402
2011-07-05 | 42 | 152 | A | total | 20 | 143 | 128 | 72.4 | 1 | 18.1632 | -1.5126 | 3 | volume removed from filters
2011-07-06 | 42 | 152 | B | total | 20 | 151 | 134 | 77.2 | 1 | 17.5722 | -0.75833 | 3 | volume removed from filters
2011-07-06 | 39 | 166 | A | total | 10 | 330 | 9.89 | 7.32 | 1 | 0.1819 | 0.18284
2011-07-05 | 39 | 166 | B | total | 10 | 330 | 10.3 | 7.67 | 1 | 0.18615 | 0.19604
2011-07-07 | 39 | 167 | A | total | 10 | 330 | 39.7 | 27.9 | 1 | 0.8352 | 0.55503
2011-07-05 | 39 | 167 | B | total | 10 | 330 | 38.5 | 26.6 | 1 | 0.84228 | 0.48317
2011-07-07 | 39 | 169 | A | total | 20 | 330 | 278 | 159 | 1 | 16.8456 | -0.99998 |  | sample on 2 filters
2011-07-05 | 39 | 169 | B | total | 20 | 330 | 284 | 162 | 1 | 17.2703 | -1.1257 |  | sample on 2 filters
2011-07-07 | 27 | 182 | A | total | 20 | 330 | 79.1 | 45.5 | 1 | 4.7564 | -0.22197
2011-07-05 | 27 | 182 | B | total | 10 | 330 | 179 | 100 | 1 | 5.5916 | -0.60871
2011-07-05 | 27 | 183 | A | total | 10 | 330 | 223 | 129 | 1 | 6.6533 | -0.22536
2011-07-07 | 27 | 183 | B | total | 10 | 330 | 212 | 121 | 1 | 6.441 | -0.41166
2011-07-05 | 27 | 185 | A | total | 10 | 330 | 120 | 70.3 | 5 | 17.5888 | -0.073894 |  | sample on 2 filters
2011-07-07 | 27 | 185 | B | total | 20 | 330 | 288 | 170 | 1 | 16.7041 | 0.23782 |  | sample on 2 filters
2011-07-07 | 2 | 197 | A | total | 20 | 330 | 116 | 68.4 | 1 | 6.7383 | 0.078368
2011-07-06 | 2 | 197 | B | total | 10 | 330 | 224 | 128 | 1 | 6.7949 | -0.41675
2011-07-05 | 2 | 198 | A | total | 10 | 330 | 431 | 245 | 1 | 13.1651 | -0.95695
2011-07-07 | 2 | 198 | B | total | 20 | 330 | 234 | 134 | 1 | 14.156 | -0.8018
2011-07-05 | 2 | 200 | A | total | 10 | 330 | 190 | 117 | 1 | 5.1669 | 0.66307
2011-07-05 | 2 | 200 | B | total | 20 | 330 | 113 | 69.5 | 1 | 6.1579 | 0.76839
2011-07-07 | 3 | 213 | A | total | 20 | 330 | 252 | 142 | 1 | 15.5716 | -1.4201 |  | sample on 2 filters
2011-07-07 | 3 | 213 | B | total | 20 | 330 | 284 | 160 | 1 | 17.5534 | -1.6081 |  | sample on 2 filters
2011-07-05 | 3 | 214 | A | total | 10 | 330 | 81 | 48.5 | 5 | 11.5017 | 0.58181 |  | sample on 2 filters
2011-07-07 | 3 | 214 | B | total | 20 | 330 | 217 | 129 | 1 | 12.4573 | 0.39863 |  | sample on 2 filters
2011-07-07 | 3 | 216 | A | total | 20 | 330 | 59.4 | 39.4 | 1 | 2.8312 | 1.0953 |  | sample on 2 filters
2011-07-05 | 3 | 216 | B | total | 10 | 330 | 129 | 85.5 | 1 | 3.0789 | 1.1815 |  | sample on 2 filters
2011-07-06 | 6 | 225 | A | total | 10 | 330 | 28.5 | 19.9 | 1 | 0.60871 | 0.38289
2011-07-06 | 6 | 225 | B | total | 10 | 330 | 26.4 | 19.3 | 1 | 0.50254 | 0.45916
2011-07-06 | 6 | 226 | A | total | 10 | 330 | 52.9 | 34 | 1 | 1.3377 | 0.35645
2011-07-06 | 6 | 226 | B | total | 10 | 330 | 48.5 | 31 | 1 | 1.2386 | 0.30605
2011-07-06 | 6 | 229 | A | total | 20 | 330 | 117 | 71.2 | 1 | 6.4834 | 0.61222
2011-07-06 | 6 | 229 | B | total | 20 | 330 | 276 | 157 | 1 | 16.8456 | -1.1993
2011-07-06 | 9 | 238 | A | total | 10 | 330 | 89.7 | 54.3 | 1 | 2.5056 | 0.20011
2011-07-06 | 9 | 238 | B | total | 10 | 330 | 86.5 | 52.5 | 1 | 2.4065 | 0.20951
2011-07-06 | 9 | 239 | A | total | 10 | 330 | 276 | 159 | 1 | 8.2813 | -0.35843
2011-07-06 | 9 | 239 | B | total | 20 | 330 | 134 | 77.4 | 1 | 8.0123 | -0.29875
2011-07-06 | 9 | 241 | A | total | 10 | 330 | 172 | 105 | 1 | 4.7423 | 0.4898
2011-07-06 | 9 | 241 | B | total | 20 | 330 | 84.1 | 50.5 | 1 | 4.7564 | 0.27632
2011-07-06 | 12 | 254 | A | total | 10 | 330 | 273 | 154 | 1 | 8.4228 | -0.74914
2011-07-06 | 12 | 254 | B | total | 10 | 330 | 244 | 137 | 1 | 7.5735 | -0.74687
2011-07-06 | 12 | 255 | A | total | 10 | 330 | 301 | 173 | 1 | 9.0598 | -0.4394
2011-07-06 | 12 | 255 | B | total | 10 | 330 | 259 | 156 | 1 | 7.2903 | 0.483
2011-07-06 | 12 | 257 | A | total | 20 | 330 | 118 | 70.9 | 1 | 6.6675 | 0.39829
2011-07-06 | 12 | 257 | B | total | 20 | 330 | 137 | 84.6 | 1 | 7.4177 | 1.0133
2011-07-06 | 14 | 258 | A | total | 20 | 330 | 64.4 | 38 | 1 | 3.7372 | 0.049829
2011-07-06 | 14 | 258 | B | total | 10 | 330 | 144 | 82 | 1 | 4.3884 | -0.30237
2011-07-06 | 14 | 259 | A | total | 20 | 330 | 168 | 89.1 | 1 | 11.1691 | -2.2895
2011-07-06 | 14 | 259 | B | total | 20 | 330 | 175 | 99.1 | 1 | 10.7444 | -0.86827
2011-07-06 | 14 | 260 | A | total | 20 | 330 | 376 | 211 | 1 | 23.3574 | -2.3295
2011-07-06 | 14 | 260 | B | total | 20 | 330 | 315 | 184 | 1 | 18.5443 | -0.20724

## %CV
Cruise | 2011-09
Average of two samples is reported. Variability is assessed as the % (std dev/mean*100).
DATE | Latitude | Longitude | Event | Station | Sample | rep | Depth | Chl ug/L | Phaeo ug/L | Avg Chl | CV% | FINAL CHL | Avg Phaeo | CV% | FLAG:CHL | Flag Comments for Archive
2011-06-21 |  |  |  | SI | 6 | A | 20 | 0.45299 | 0.4838 | 0.48838 | 10.2479 | 0.48838 | 0.46834 | 4.6679 | 6 |  | 6 | 20
2011-06-21 |  |  |  | SI | 6 | B | 20 | 0.52377 | 0.45288 | [7 empty] | 6 | 20
2011-06-21 |  |  |  | SI | 7 | A | 10 | 1.3661 | 0.58226 | 1.3236 | 4.5376 | 1.3236 | 0.58487 | 0.62982 | 6
2011-06-21 |  |  |  | SI | 7 | B | 10 | 1.2811 | 0.58747
2011-06-21 |  |  |  | SI | 9 | A | 0 | 4.8543 | 0.30759 | 4.5576 | 9.2053 | 4.261 | 0.61233 |  |  | ~100 ml spill, rep A not used
2011-06-21 |  |  |  | SI | 9 | B | 0 | 4.261 | 0.61233
2011-06-21 |  |  |  | 59 | 20 | A | 20 | 2.5905 | 0.46398 | 2.8984 | 15.0228 | 2.8984 | 0.34045 | 51.3115 | 36 | variability of replicates >15%CV
2011-06-21 |  |  |  | 59 | 20 | B | 20 | 3.2063 | 0.21693
2011-06-21 |  |  |  | 59 | 21 | A | 10 | 3.6735 | 0.16834 | 3.8327 | 5.8762 | 3.8327 | 0.04646 | 371.0048 | 6
2011-06-21 |  |  |  | 59 | 21 | B | 10 | 3.992 | -0.075423
2011-06-21 |  |  |  | 59 | 23 | A | 0 | 10.1498 | -0.75208 | 8.9678 | 18.6404 | 8.9678 | -0.50684 | -68.4276 | 36 | variability of replicates >15%CV
2011-06-21 |  |  |  | 59 | 23 | B | 0 | 7.7858 | -0.2616 | [7 empty] | 23 | 0
2011-06-22 |  |  |  | 102 | 35 | A | 20 | 0.50254 | 0.42428 | 0.51669 | 3.8746 | 0.51669 | 0.41511 | 3.1251 | 6 |  | 35 | 20
2011-06-22 |  |  |  | 102 | 35 | B | 20 | 0.53085 | 0.40594 | [7 empty] | 35 | 20
2011-06-22 |  |  |  | 102 | 36 | A | 10 | 1.4935 | 0.58442 | 1.5182 | 2.3076 | 1.5182 | 0.58207 | 0.57094 | 6 |  | 36 | 10
2011-06-22 |  |  |  | 102 | 36 | B | 10 | 1.543 | 0.57972 | [7 empty] | 36 | 10
2011-06-22 |  |  |  | 102 | 38 | A | 0 | 2.8878 | 0.16172 | 2.5127 | 21.1136 | 2.5127 | 0.36992 | 79.5969 | 36 | variability of replicates >15%CV | 38 | 0
2011-06-22 |  |  |  | 102 | 38 | B | 0 | 2.1376 | 0.57813 | [7 empty] | 38 | 0
2011-06-22 |  |  |  | 75 | 47 | A | 20 | 1.0263 | 0.45361 | 1.0334 | 0.96864 | 1.0334 | 0.3693 | 32.2871 | 6 |  | 49 | 20
2011-06-22 |  |  |  | 75 | 47 | B | 20 | 1.0405 | 0.28499 | [7 empty] | 49 | 20
2011-06-22 |  |  |  | 75 | 48 | A | 10 | 1.9111 | 0.68005 | 1.9535 | 3.0744 | 1.9535 | 0.5753 | 25.7509 | 6 |  | 50 | 10
2011-06-22 |  |  |  | 75 | 48 | B | 10 | 1.996 | 0.47055 | [7 empty] | 50 | 10
2011-06-22 |  |  |  | 75 | 50 | A | 0 | 3.0577 | 0.27089 | 3.1497 | 4.1314 | 3.1497 | 0.26358 | 3.9191 | 6 |  | 52 | 0
2011-06-22 |  |  |  | 75 | 50 | B | 0 | 3.2417 | 0.25628 | [7 empty] | 52 | 0
2011-06-22 |  |  |  | 72 | 60 | A | 20 | 1.4014 | 0.39739 | 1.4156 | 1.4142 | 1.4156 | 0.41313 | 5.3886 | 6 |  | 53 | 5
2011-06-22 |  |  |  | 72 | 60 | B | 20 | 1.4298 | 0.42887 | [7 empty] | 53 | 5
2011-06-22 |  |  |  | 72 | 61 | A | 10 | 1.4581 | 0.37564 | 1.4793 | 2.03 | 1.4793 | 0.42915 | 17.6334 | 6 |  | 63 | 20
2011-06-22 |  |  |  | 72 | 61 | B | 10 | 1.5005 | 0.48266 | [7 empty] | 63 | 20
2011-06-22 |  |  |  | 72 | 63 | A | 0 | 1.5855 | 0.35786 | 1.589 | 0.31497 | 1.589 | 0.3917 | 12.2153 | 6 |  | 64 | 10
2011-06-22 |  |  |  | 72 | 63 | B | 0 | 1.5925 | 0.42553 | [7 empty] | 64 | 10
2011-06-22 |  |  |  | 69 | 72 | A | 20 | 0.74319 | 0.42281 | 0.73611 | 1.3598 | 0.73611 | 0.41245 | 3.553 | 6 |  | 65 | 5
2011-06-22 |  |  |  | 69 | 72 | B | 20 | 0.72903 | 0.40209 | [7 empty] | 65 | 5
2011-06-22 |  |  |  | 69 | 73 | A | 10 | 1.3307 | 0.42332 | 1.2882 | 4.6622 | 1.2882 | 0.41098 | 4.2477 | 6 |  | 66 | 0
2011-06-22 |  |  |  | 69 | 73 | B | 10 | 1.2457 | 0.39863 | [7 empty] | 66 | 0
2011-06-22 |  |  |  | 69 | 75 | A | 0 | 1.3024 | 0.39682 | 1.2634 | 4.3575 | 1.2634 | 0.4208 | 8.0592 | 6 |  | 67 | 5
2011-06-22 |  |  |  | 69 | 75 | B | 0 | 1.2245 | 0.44478 | [7 empty] | 67 | 5
2011-06-22 |  |  |  | ADCP | 82 | A | 20 | 0.36098 | 0.43629 | 0.36806 | 2.7196 | 0.36806 | 0.52139 | 23.0839 | 6 |  | 76 | 20
2011-06-22 |  |  |  | ADCP | 82 | B | 20 | 0.37513 | 0.6065 | [7 empty] | 76 | 20
2011-06-22 |  |  |  | ADCP | 83 | A | 10 | 1.1608 | 0.34405 | 1.1891 | 3.3672 | 1.1891 | 0.32321 | 9.1176 | 6 |  | 77 | 10
2011-06-22 |  |  |  | ADCP | 83 | B | 10 | 1.2174 | 0.30237 | [7 empty] | 77 | 10
2011-06-22 |  |  |  | ADCP | 85 | A | 0 | 1.1537 | 0.41092 | 1.2316 | 8.9404 | 1.2316 | 0.35549 | 22.0534 | 6 |  | 79 | 0
2011-06-22 |  |  |  | ADCP | 85 | B | 0 | 1.3094 | 0.30005 | [7 empty] | 79 | 0
2011-06-23 |  |  |  | 65 | 92 | A | 20 | 1.8474 | 0.46471 | 1.8226 | 1.9222 | 1.8226 | 0.42471 | 13.321 | 6 |  | 86 | 20
2011-06-23 |  |  |  | 65 | 92 | B | 20 | 1.7978 | 0.3847 | [7 empty] | 86 | 20
2011-06-23 |  |  |  | 65 | 93 | A | 10 | 2.4419 | 0.24886 | 2.3287 | 6.8776 | 2.3287 | 0.44682 | 62.6548 | 6 |  | 87 | 10
2011-06-23 |  |  |  | 65 | 93 | B | 10 | 2.2154 | 0.64478 | [7 empty] | 87 | 10
2011-06-23 |  |  |  | 65 | 95 | A | 0 | 2.357 | 0.31885 | 2.4985 | 8.0125 | 2.4985 | 0.30186 | 7.9584 | 6 |  | 89 | 0
2011-06-23 |  |  |  | 65 | 95 | B | 0 | 2.6401 | 0.28488 | [7 empty] | 89 | 0
2011-06-23 |  |  |  | 62 | 107 | A | 20 | 3.8504 | 0.21562 | 3.6912 | 6.1016 | 3.6912 | 0.11328 | 127.7776 | 6 |  | 96 | 20
2011-06-23 |  |  |  | 62 | 107 | B | 20 | 3.5319 | 0.010928 | [7 empty] | 96 | 20
2011-06-23 |  |  |  | 62 | 108 | A | 10 | 5.9455 | -0.265 | 6.0517 | 2.4811 | 6.0517 | -0.29643 | -14.9931 | 6 |  | 97 | 10
2011-06-23 |  |  |  | 62 | 108 | B | 10 | 6.1579 | -0.32785 | [7 empty] | 97 | 10
2011-06-23 |  |  |  | 62 | 110 | A | 0 | 7.715 | -0.29048 | 7.4673 | 4.6917 | 7.4673 | -0.24207 | -28.2843 | 6 |  | 99 | 0
2011-06-23 |  |  |  | 62 | 110 | B | 0 | 7.2196 | -0.19365 | [7 empty] | 99 | 0
2011-06-23 |  |  |  | 56 | 121 | A | 20 | 4.7564 | -0.38142 | 4.3353 | 13.7381 | 4.3353 | -0.23683 | -86.3406 | 6 |  | 107 | 20
2011-06-23 |  |  |  | 56 | 121 | B | 20 | 3.9141 | -0.09224 | [7 empty] | 107 | 20
2011-06-23 |  |  |  | 56 | 122 | A | 10 | 3.2134 | 0.30452 | 3.3231 | 4.6689 | 3.3231 | 0.11758 | 224.8508 | 6 |  | 108 | 10
2011-06-23 |  |  |  | 56 | 122 | B | 10 | 3.4328 | -0.069364 | [7 empty] | 108 | 10
2011-06-23 |  |  |  | 56 | 124 | A | 0 | 7.4319 | -0.30634 | 7.2196 | 4.1595 | 7.2196 | -0.14382 | -159.795 | 6 |  | 110 | 0
2011-06-23 |  |  |  | 56 | 124 | B | 0 | 7.0072 | 0.018686 | [7 empty] | 110 | 0
2011-06-23 |  |  |  | 46 | 133 | A | 20 | 1.2316 | 0.32808 | 1.2386 | 0.80812 | 1.2386 | 0.30854 | 8.954 | 6 |  | 120 | 20
2011-06-23 |  |  |  | 46 | 133 | B | 20 | 1.2457 | 0.28901 | [7 empty] | 120 | 20
2011-06-23 |  |  |  | 46 | 134 | A | 10 | 1.2245 | 0.45475 | 1.32 | 10.2369 | 1.32 | 0.40902 | 15.8092 | 6 |  | 121 | 10
2011-06-23 |  |  |  | 46 | 134 | B | 10 | 1.4156 | 0.3633 | [7 empty] | 121 | 10
2011-06-23 |  |  |  | 46 | 136 | A | 0 | 3.1851 | 0.65174 | 7.0072 | 77.1389 | 7.0072 | 0.218 | 281.3734 | 46 | variability of replicates >50%CV | 123 | 0
2011-06-23 |  |  |  | 46 | 136 | B | 0 | 10.8293 | -0.21574 | [7 empty] | 123 | 0
2011-06-23 |  |  |  | 42 | 149 | A | 20 | 0.082105 | 0.13216 | 0.088829 | 10.7052 | 0.088829 | 0.12718 | 5.5377 | 6 |  | 124 | 5
2011-06-23 |  |  |  | 42 | 149 | B | 20 | 0.095553 | 0.1222 | [7 empty] | 124 | 5
2011-06-23 |  |  |  | 42 | 150 | A | 10 | 0.32559 | 0.13782 | 0.31356 | 5.427 | 0.31356 | 0.13092 | 7.4561 | 6 |  | 125 | 5
2011-06-23 |  |  |  | 42 | 150 | B | 10 | 0.30152 | 0.12402 | [7 empty] | 125 | 5
2011-06-23 |  |  |  | 42 | 152 | A | 0 | 18.1632 | -1.5126 | 17.8677 | 2.339 | 17.8677 | -1.1355 | -46.974 | 36 | volume removed during filtration | 126 | 5
2011-06-23 |  |  |  | 42 | 152 | B | 0 | 17.5722 | -0.75833 | [7 empty] | 126 | 5
2011-06-24 |  |  |  | 39 | 166 | A | 20 | 0.1819 | 0.18284 | 0.18403 | 1.6318 | 0.18403 | 0.18944 | 4.9246 | 6 |  | 135 | 20
2011-06-24 |  |  |  | 39 | 166 | B | 20 | 0.18615 | 0.19604 | [7 empty] | 135 | 20
2011-06-24 |  |  |  | 39 | 167 | A | 10 | 0.8352 | 0.55503 | 0.83874 | 0.59671 | 0.83874 | 0.5191 | 9.788 | 6 |  | 136 | 10
2011-06-24 |  |  |  | 39 | 167 | B | 10 | 0.84228 | 0.48317 | [7 empty] | 136 | 10
2011-06-24 |  |  |  | 39 | 169 | A | 0 | 16.8456 | -0.99998 | 17.058 | 1.7604 | 17.058 | -1.0628 | -8.3632 | 6 | samples collected on 2 filters | 137 | 5
2011-06-24 |  |  |  | 39 | 169 | B | 0 | 17.2703 | -1.1257 | [7 empty] | 137 | 5
2011-06-24 |  |  |  | 27 | 182 | A | 20 | 4.7564 | -0.22197 | 5.174 | 11.4143 | 5.174 | -0.41534 | -65.8424 | 6 |  | 138 | 0
2011-06-24 |  |  |  | 27 | 182 | B | 20 | 5.5916 | -0.60871 | [7 empty] | 138 | 0
2011-06-24 |  |  |  | 27 | 183 | A | 10 | 6.6533 | -0.22536 | 6.5471 | 2.2933 | 6.5471 | -0.31851 | -41.3579 | 6 |  | 139 | 5
2011-06-24 |  |  |  | 27 | 183 | B | 10 | 6.441 | -0.41166 | [7 empty] | 139 | 5
2011-06-24 |  |  |  | 27 | 185 | A | 0 | 17.5888 | -0.073894 | 17.1464 | 3.6486 | 17.1464 | 0.081963 | 268.9204 | 6 | samples collected on 2 filters | 140 | 5
2011-06-24 |  |  |  | 27 | 185 | B | 0 | 16.7041 | 0.23782 | [7 empty] | 140 | 5
2011-06-24 |  |  |  | 2 | 197 | A | 20 | 6.7383 | 0.078368 | 6.7666 | 0.59172 | 6.7666 | -0.16919 | -206.9258 | 6 |  | 153 | 20
2011-06-24 |  |  |  | 2 | 197 | B | 20 | 6.7949 | -0.41675 | [7 empty] | 153 | 20
2011-06-24 |  |  |  | 2 | 198 | A | 10 | 13.1651 | -0.95695 | 13.6605 | 5.1293 | 13.6605 | -0.87937 | -12.4757 | 6 |  | 154 | 10
2011-06-24 |  |  |  | 2 | 198 | B | 10 | 14.156 | -0.8018 | [7 empty] | 154 | 10
2011-06-24 |  |  |  | 2 | 200 | A | 0 | 5.1669 | 0.66307 | 5.6624 | 12.3744 | 5.6624 | 0.71573 | 10.4052 | 6 |  | 155 | 5
2011-06-24 |  |  |  | 2 | 200 | B | 0 | 6.1579 | 0.76839 | [7 empty] | 155 | 5
2011-06-24 |  |  |  | 3 | 213 | A | 20 | 15.5716 | -1.4201 | 16.5625 | 8.4611 | 16.5625 | -1.5141 | -8.7793 | 6 | samples collected on 2 filters | 156 | 0
2011-06-24 |  |  |  | 3 | 213 | B | 20 | 17.5534 | -1.6081 | [7 empty] | 156 | 0
2011-06-24 |  |  |  | 3 | 214 | A | 10 | 11.5017 | 0.58181 | 11.9795 | 5.6401 | 11.9795 | 0.49022 | 26.4221 | 6 | samples collected on 2 filters | 157 | 0
2011-06-24 |  |  |  | 3 | 214 | B | 10 | 12.4573 | 0.39863 | [7 empty] | 157 | 0
2011-06-24 |  |  |  | 3 | 216 | A | 0 | 2.8312 | 1.0953 | 2.9551 | 5.9278 | 2.9551 | 1.1384 | 5.3496 | 6 | samples collected on 2 filters | 158 | 10
2011-06-24 |  |  |  | 3 | 216 | B | 0 | 3.0789 | 1.1815 | [7 empty] | 158 | 10
2011-06-24 |  |  |  | 6 | 225 | A | 30 | 0.60871 | 0.38289 | 0.55562 | 13.5116 | 0.55562 | 0.42103 | 12.8098 | 6 |  | 159 | 2
2011-06-24 |  |  |  | 6 | 225 | B | 30 | 0.50254 | 0.45916 | [7 empty] | 159 | 2
2011-06-24 |  |  |  | 6 | 226 | A | 10 | 1.3377 | 0.35645 | 1.2882 | 5.4393 | 1.2882 | 0.33125 | 10.7577 | 6 |  | 173 | 20
2011-06-24 |  |  |  | 6 | 226 | B | 10 | 1.2386 | 0.30605 | [7 empty] | 173 | 20
2011-06-24 |  |  |  | 6 | 229 | A | 0 | 6.4834 | 0.61222 | 11.6645 | 62.8158 | 11.6645 | -0.29354 | -436.3765 | 46 | variability of replicates >50%CV | 174 | 10
2011-06-24 |  |  |  | 6 | 229 | B | 0 | 16.8456 | -1.1993 | [7 empty] | 174 | 10
2011-06-24 |  |  |  | 9 | 238 | A | 20 | 2.5056 | 0.20011 | 2.4561 | 2.8529 | 2.4561 | 0.20481 | 3.2452 | 6 |  | 175 | 5
2011-06-24 |  |  |  | 9 | 238 | B | 20 | 2.4065 | 0.20951 | [7 empty] | 175 | 5
2011-06-24 |  |  |  | 9 | 239 | A | 10 | 8.2813 | -0.35843 | 8.1468 | 2.3345 | 8.1468 | -0.32859 | -12.8432 | 6 |  | 176 | 0
2011-06-24 |  |  |  | 9 | 239 | B | 10 | 8.0123 | -0.29875 | [7 empty] | 176 | 0
2011-06-24 |  |  |  | 9 | 241 | A | 0 | 4.7423 | 0.4898 | 4.7493 | 0.21076 | 4.7493 | 0.38306 | 39.4057 | 6 |  | 190 | 20
2011-06-24 |  |  |  | 9 | 241 | B | 0 | 4.7564 | 0.27632 | [7 empty] | 190 | 20
2011-06-24 |  |  |  | 12 | 254 | A | 20 | 8.4228 | -0.74914 | 7.9981 | 7.5091 | 7.9981 | -0.748 | -0.21411 | 6 |  | 191 | 10
2011-06-24 |  |  |  | 12 | 254 | B | 20 | 7.5735 | -0.74687 | [7 empty] | 191 | 10
2011-06-24 |  |  |  | 12 | 255 | A | 10 | 9.0598 | -0.4394 | 8.1751 | 15.3053 | 8.1751 | 0.0218 | 2991.8882 | 36 | variability of replicates >15%CV | 192 | 5
2011-06-24 |  |  |  | 12 | 255 | B | 10 | 7.2903 | 0.483 | [7 empty] | 192 | 5
2011-06-24 |  |  |  | 12 | 257 | A | 0 | 6.6675 | 0.39829 | 7.0426 | 7.533 | 7.0426 | 0.70582 | 61.6173 | 6 |  | 193 | 0
2011-06-24 |  |  |  | 12 | 257 | B | 0 | 7.4177 | 1.0133 | [7 empty] | 193 | 0
2011-06-24 |  |  |  | 14 | 258 | A | 20 | 3.7372 | 0.049829 | 4.0628 | 11.3334 | 4.0628 | -0.12627 | -197.2289 | 6 |  | 207 | 20
2011-06-24 |  |  |  | 14 | 258 | B | 20 | 4.3884 | -0.30237 | [7 empty] | 207 | 20
2011-06-24 |  |  |  | 14 | 259 | A | 10 | 11.1691 | -2.2895 | 10.9567 | 2.7407 | 10.9567 | -1.5789 | -63.6508 | 6 |  | 208 | 10
2011-06-24 |  |  |  | 14 | 259 | B | 10 | 10.7444 | -0.86827 | [7 empty] | 208 | 10
2011-06-24 |  |  |  | 14 | 260 | A | 0 | 23.3574 | -2.3295 | 20.9509 | 16.2443 | 20.9509 | -1.2684 | -118.3141 | 36 | variability of replicates >15%CV | 210 | 0
2011-06-24 |  |  |  | 14 | 260 | B | 0 | 18.5443 | -0.20724 | [7 empty] | 210 | 0