## REVISION NOTICE TABLE

| ### DATE | ### DESCRIPTION OF REVISION |
| --- | --- |
| ### 29 Nov 2021 | Corrected the Salinity:Bottle precision lost during HPLC addition. S.H. |
| ### 30 Nov 2020 | ### Added HPLC data. S.H. |
| 31 May 2018 | Added DIC and Alkalinity data to 5 CHE casts. For details see document Carbon_Data_Addition.docx. |

## PROCESSING NOTES

Cruise: 2011-10

Agency: OSD

Location: Strait of Georgia / Juan de Fuca Strait

Project: Strait of Georgia / Juan de Fuca Water Properties Survey

Party Chief: Chandler P.

Platform: Vector

Date: September 9, 2011 – September 14, 2011

Processed by: Germaine Gatien

Date of Processing: 29 February 2012 – 5 March 2012

Number of original HEX files: 76

Number of CTD files:   76

Number of bottle casts:	 21

# INSTRUMENT SUMMARY

SeaBird Model SBE 911+ CTD (#0443) was used for this cruise. It was mounted in a rosette and attached were a Wetlabs CSTAR transmissometer (#1185DR), an SBE 43 DO sensor (#0997), a Wet Labs Eco-AFL/FL Fluorometer (#2215), a PAR sensor (#4656) and an altimeter (# 2013380).

The deck unit was an SBE 11+ (#0425). Seasave V7 was used.

The salinometer used at IOS was a Guildline model 8400B Autosal, serial # 68572.

# SUMMARY OF QUALITY AND CONCERNS

The Rosette and CTD logs were in excellent order with a list of all equipment and clear notes about problems encountered, though there were 2 errors in serial numbers.

The SBE data are considered of lower quality than normal because 24 scans were averaged in acquisition due to an improper setting in the configuration file. These averages may contain spikes that would normally be removed in processing and might be systematic in nature. Fine-tuning of alignment settings and CELLTM correction are also less sensitive with smoothed data. Unfortunately the same error was made on several other cruises using the same equipment, so we can not rely on settings determined from those data sets. Given that sampling was in an area that is not usually affected much by shed wakes and the CTD is believed to have worked well with few spikes, it is likely the errors caused by this are small.

The comparison of CTD salinity with bottles was not considered reliable enough to justify recalibration. The bottles were stored 4 months before analysis and several were rejected because they had no liners. This cruise was the 3rd to use these temperature and conductivity sensors since their last visit to the factory for service, so it is likely that they are working well.

Two changes have been made to processing methods for all cruises that occurred from January 2011 onwards:

- A new approach is being taken to the recalibration of the SBE Dissolved Oxygen data. The voltage channel is compared with bottles to find the slope and offset to enter in the configuration files. This method is the standard approach and is recommended by SeaBird.

- The transmissivity conversion has also been changed slightly so that it follows the method outlined in SeaBird Application Note 91. For more information on this see the document in folder: OSD_data_Archive\Cruise_Data\DOCUMENTS\Transmissivity

# PROCESSING SUMMARY

##### Seasave

This step was completed at sea; the raw data files have extension HEX.

##### Preliminary Steps

The Log Book and rosette log sheets were obtained. The CTD is listed in the log as #0404, but it assumed to be #0443 based on the pressure sensor #. The DO sensor is listed as #97 but is believed to be #997. The rosette log notes problems with bubbles on the lens for 2 DO samples and from cast #43 onwards there were problems with Niskin #4 leaking. There was a cruise report available which mentioned no problems with the CTD.

Extracted Chlorophyll, nutrients, dissolved oxygen and salinity data were obtained in spreadsheet format from the analysts. The file creation date was added to the names of those files to avoid confusion in case some changes need to be made later.

The cruise summary sheet was completed.

The history of the pressure sensor, conductivity and DO sensors were obtained. All had been used twice (2011-60 and 2011-63) since the latest factory calibrations were done. Only 2011-60 has been processed.

The calibration constants were checked for all instruments. There were a number of errors in the con files:

- The transmissometer calibration was entered correctly, but starting with 2011 cruises the algorithm for determining the slope and offset has been changed slightly to fit the method recommended by Sea-Bird. So the slope and offset were recalculated and those values entered in the configuration file. The result will be higher values by <1%.

- The dissolved oxygen sensor serial number was changed from #0097 to #0997.

- The calibration for the Wetlabs Eco fluorometer could not be confirmed. The parameters entered are close to those on the characterization sheet from the factory, but a field test was done just before cruise 2011-60 in August and no record is available for that, but it looks reasonable

- The most serious error is that “Scans to average” was set to 24. This should be set to 1. There is no way to fix this and acquiring metre-averaged data only.  Single bad points will be included in the average since there is no opportunity to remove them first and fine-tuning of settings will be limited or impossible.

A configuration file used at sea was corrected and saved as 2011-10-ctd.xmlcon.

##### Initial Rosette File Conversion and DO Calibration Study

In order to study the SBE Dissolved Oxygen sensor calibration, rosette files were converted that included Oxygen Saturation (ml/l) and bottle position. The ROS files were converted to IOS HEADER format. Those files were put through CLEAN to add event numbers (*.BOT). The BOT files were then averaged to enable an ADDSAMP file to be prepared so that sample numbers can be added to the BOT files to produce SAM files. Sample numbers were added to the ADDSAMP file based on rosette log records.

The ADDSAMP file was then used to add sample numbers to the BOT files and those files were bin-averaged on bottle numbers to produce SAMAVG files. Those files were then exported to a spreadsheet 2011-10-DO-cal.csv. The titrated DO values were added to that file and lines removed for which there was no DO sampling. A calculation was made of Ф using the equation:

Ф = Oxsol (T,S) * (1.0 + A*T + B*T2 + C*T3) * e (E*P/K)

where A, B, C and E are taken from the calibration sheet for the sensor and P,T and K are from the CTD channels – K is temperature in Kelvin degrees. Then the ratio Titrated DO/ Ф was calculated and plotted against the SBE DO Voltage. This fit provides the M and B for the following equation:

Titrated DO/ Ф = M*(SBE DO Voltage) + B

From M and B the parameters Soc and Voffset that are to be entered in the DO configuration are:

Soc = M

Voffset = B/M

The fit using all data gave M = 0.4769 and B = -0.2546 with an R2 value of 0.9971. The initial estimates of M and B were used to calculate a difference between each point and the fit:
  	Difference = M*Voltage – B – DO/Phi

When the data were sorted on that difference, plots could be made varying the severity of the outlier removal. The fit with all unflagged bottles was used to update the value of M and B. When removing a little more data has little effect on the fit, it is judged that a reasonable value has been found unless, in so doing, a whole class of points has been removed such as all high values, or all values from late in the cruise. When differences >0.01 were used the fit looks smooth, but that is the first fit in which the range is reduced. The following table shows that results:

| Summary of Soc Voffset including the original values in the factory calibration |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | m | b | Soc | Voffset | R2 |
| Bottles used | Original | 0.4348 | -0.2110 | 0.4348 | -0.4853 |  |
| 258 | all unflagged bottles | 0.4378 | -0.1914 | 0.4378 | -0.4372 | 0.9965 |
| 256 | excl. outliers diff>0.05 | 0.4410 | -0.1962 | 0.4410 | -0.4449 | 0.9977 |
| 253 | excl. outliers diff>0.04 | 0.4418 | -0.1975 | 0.4418 | -0.4470 | 0.9980 |
| 249 | excl. outliers diff>0.03 | 0.4415 | -0.1973 | 0.4415 | -0.4469 | 0.9984 |
| 241 | excl. outliers diff>0.02 | 0.4417 | -0.1979 | 0.4417 | -0.4480 | 0.9989 |
| 214 | excl. outliers diff>0.01 | 0.4406 | -0.1963 | 0.4406 | -0.4455 | 0.9992 |

A choice of 0.02 as a cutoff difference looks reasonable. Removing more data reduces the range of DO values. These values are quite different from those selected for this sensor for 2011-60 but that cruise had few samples. Of the flagged values the only one that looks like a significant outlier in this comparison is sample #87 from 100db during cast #23. The analyst noted a bubble on the lens and a poor endpoint.

The configuration files were updated with the new parameters Soc and Voffset and saved with name 2011-10-ctd-new.xmlcon.

##### Hysteresis Study

This sensor has been recalibrated since the last hysteresis checks were done. There was no deep sampling during this cruise, so hysteresis is not going to be a problem and there is not enough deep data to enable reliable tests to be done to fine-tune H1, H3 and E.

##### BOTTLE FILE PREPARATION

The ROS files were recreated with the new configuration parameters.

The ROS files were converted to IOS header format.

The files were put through CLEAN to create BOT files.

A track plot and header check turned up no problems.

Fluorescence values varied from -0.03 to +17, so there are no off-scale values, but fluorescence will need a small offset correction to remove negative values.

Temperature and salinity were plotted for all BOT files. No outliers were noted which is not as meaningful as usual given the averaging on acquisition.

The addsamp.csv file prepared in the DO calibration step is already ordered on sample #s. It was converted to CST files to be used as a framework for the bottle files. It was also used to create SAM files with bottle #s and bottle positions. The SAM files were then bin-averaged.

Next, each of the analysis spreadsheets was examined to see what comments the analyst wanted included in the header file. These were used to create file 2011-10-bot-hdr.txt.

Dates of creation were added to the names of spreadsheets from analysts. In future references to these files the * stands for the date.

EXTRACTED CHLOROPHYLL

Extracted chlorophyll and phaeo-pigment data were obtained in file QF2011-10chl*.xls which includes an analysis of variability. A simplified version of the spreadsheet was prepared and saved as 2011-10chl.csv which was then converted to individual CHL files.

NUTRIENTS

The nutrient data were obtained in spreadsheet QF2011-10nuts*.xls which included a report on precisions.  The file was simplified, reordered on sample numbers and the file was saved as 2011-10-nuts.csv. The file was converted to individual NUT files.

DISSOLVED OXGYEN

Dissolved oxygen data were provided in spreadsheet 2011-10oxy*.xls which includes flags, comments and a precision study. The spreadsheet page with the final data was simplified; the file was then saved as 2011-10oxy.csv. That file was converted into individual *.ADD files.

SALINITY

Salinity analysis was done at IOS and saved in file 2011-10sal*.xls. The file was simplified, and saved as 2011-10sal.csv. There were no duplicate samples. They were then converted to individual SAL files.

The SAL, CHL, OXY and NUT files were merged with CST files in 4 steps. After the 4th step the files were put through CLEAN to reduce the headers to File and Comment sections only.

Data from the MRGCLN2 files were exported to a spreadsheet to check for errors. A few were found:

- Cast #19 – the bottle samples were missing because they were all named #18, which matches the rosette log, but in fact event #18 was not a rosette cast and the cast at station ADCP was event #19. The file names were changed and the merges were rerun.

- Cast #31 – The ship drifted into shallower water during the cast so that samples could not be taken at the intended levels. 4 Niskins were fired at 125db (samples #108-111). The rosette log indicates no samples from #108-110. The rosette log does have a salinity sample #111. In the salinity file the only sample is given as #108. Given that #108 and 111 are at the same depth this is not serious, but the salinity value looks as though it came from a deeper level. It is more like the bottom bottle, but not close enough to justify re-assignment. It will be left as #108. It will be left to the COMPARE step to decide if it needs a quality flag.

- Cast #43 – The rosette log indicates there was a salinity sample #134 but the salinity file has a sample #135. The value looks close to the CTD for #135, so the spreadsheet data looks right.

- Cast #66 – there is a typo in the sample # for salinity in the spreadsheet – it should be #238 not 338.

##### Compare

Salinity

Compare was run with pressure as reference channel. There was a lot of scatter. When differences >0.02 were excluded, the primary salinity was found to be low by 0.0042 and the secondary was low by 0.0034. The standard deviation in both fits was 0.006. All of the salinity samples that were flagged (due to the absence of liners) were severe outliers in COMPARE. The other outliers were:

- Cast #1 – sample #1 – The bottle value is lower than the CTD salinity, so this does not look like a problem due to delays in analysis. The bottle value does not look close to any CTD rosette data, so it is not a mis-sample. The CTD salinity standard deviation is low. Normally a flag would be assigned under these conditions, but the quality of the CTD data does not support doing this.

- Cast #19 – sample #78 – This bottle is lower than the CTD by 0.165. It does not look like CTD salinity at any other bottle level, so the problem does not look like a case of mis-sampling. The other variables and draw temperature look ok for this level, so it does not look like a misfire. This standard deviation in the CTD data is very high and the CTD sank throughout the CTD stop, so the CTD data are likely the cause of the differerence. The bottle will not be flagged.

- Cast #26 – sample #97 – The bottle salinity is higher than the CTD by 0.022. If considered to be sample #96 from the bottom, it would differ from the CTD by 0.003. This could be a mis-sample, but a high bottle value could be caused by the 4-month wait to analyze. The CTD salinity standard deviation is not high. Normally a flag would be assigned under these conditions, but the quality of the CTD data does not support doing this.

- Cast #31 – sample #108 – This was discussed in section 10. It does not match the CTD at 125db; it is closer to the bottom bottle at 140db, but not close enough to avoid being flagged as an outlier. The high value could be due to the delay in analysis, but the standard deviation in the CTD salinity was very high and likely explains the difference. No flag will be assigned.

There is no evidence of time dependence and while the primary sensors may suggest some pressure dependence, the quality of the CTD data is too low to support that conclusion.

For details see 2011-10-sal-comp1.xls.

Dissolved Oxygen

COMPARE was run with pressure as the reference channel. When 8 outliers from above 10db were excluded plus one deeper outlier, the CTD values were lower than bottles by 0.0026mL/L with a standard deviation of 0.05mL/L. This is as good a result as we can expect given the quality of the CTD data. There is no obvious time dependence. The only outlier from below 10db had been flagged by the analyst and was the most severe outlier. As mentioned in section 3 the header comment was adjusted for that sample (#87, cast #23) to indicate that it was also a major outlier in comparison to CTD DO.

The comparison does not suggest that the leaky Niskin bottle (#4) was a significant problem.

For details see 2011-10-dox-comp1*.xls.

Extracted Chlorophyll

COMPARE was run with pressure as the reference channel.

For the lowest values of CHL the fluorescence was higher than the CHL with the ratio of CTD fluorescence to extracted chlorophyll samples starting at ~1.8 for CHL=0.22 and gradually decreasing as CHL increases. For CHL>0.5 the fluorescence was lower than the extracted CHL (with 2 exceptions). For CHL>1.0 there is no obvious trend and the ratio is about 0.7.

The MERGE steps were rerun so that added flags and comments were captured.

Plots of Titrated DO and CTD DO against CTD salinity were examined and no further problems were detected.

##### Conversion of Full Files from Raw Data

All files were converted using 2011-10-ctd-new.con.

A few casts were examined and all expected channels are present. The conductivity channels track reasonably well during downcasts and are close – they are a bit noisier on the upcasts, but not bad. The two temperature traces track well especially during the downcasts though the differences are a little larger than expected in newly calibrated sensors.

The fluorescence looks reasonable with the usual vertical offset.

The DO voltage looks as expected with a vertical offset with some detail to help alignment.

PAR, SPAR, transmissivity and altimetry look reasonable.

##### WILDEDIT

Program WILDEDIT is usually run to remove spikes from the pressure, conductivity & temperature channels. Because the data are already averaged, this step will be skipped.

##### ALIGN DO

Tests were done on 3 casts to determine the offset between the DO voltage and the primary temperature. It is very hard to judge in these data because of the lack of detail due to averaging during acquisition, but a setting of +4.5s looks reasonable.

ALIGNCTD was used to advance the DO Voltage by 4.5s relative to the pressure.

##### CELLTM

Tests were run comparing a variety of settings for CELLTM for a few casts. The goal is to make upcasts look closer to downcasts on a T-S surface. The test did not work very well since there is so little detail in the data, but all choices looked better than no application, with the choice of (α = 0.0245, β=9.5) seeming best overall for both channels.

CELLTM was run on all casts using setting (α = 0.0245, β=9.5) for both channels.

##### DERIVE

Program DERIVE was run twice:

on all casts to calculate primary and secondary salinity and dissolved oxygen concentration. The Tau correction feature was turned off since it caused some bad data that prevented conversion to IOS headers, and is unlikely to have any good effect on averaged data.

on 2 casts to calculate the differences between primary and secondary channels for temperature, conductivity and salinity. These were placed in a test directory and will not be archived.

##### Test Plots and Channel Check

The two deep casts were plotted to check for agreement between the pairs of T and C sensors. They were compared with 2 casts from an August cruise when the same sensors were used.

| Cast # | Press | T1-T0 | C1-C0 | S1-S0 | Descent Rate |
| --- | --- | --- | --- | --- | --- |
| 2011-60-0013 | 320 | +0.0005 | -0.00004 | -0.0008 | High, F. Steady |
| 2011-60-0015 | 300 | +0.0007 | -0.00003 | -0.0009 | High, F. Steady |
| 2011-10-0047 | 290 | +0.0010 | +0.0001 | +0.0006 | High, Steady |
| 2011-10-0053 | 380 | +0.0009 | +0.00012 | +0.0003 | High, Steady |

The differences in conductivity are very small and possibly drifting. The salinity differences are very small, while those in temperature are a little higher than might be expected so soon after recalibration. The differences in salinity are in reasonable agreement with the results of COMPARE when the 2 channels differed by 0.0008, on average, but by ~0.0006 below 250db..

##### Conversion to IOS Headers

The IOSSHELL routine was used to convert SEA-Bird 911+ CNV files to IOS Headers.

CLEAN was run to add event numbers and to replace pad values in the pressure channel with interpolated values based on record number.

##### Checking Headers

A header checks was run and the minimum fluorescence value was -0.061mg/m^3, so CALIBRATE will be used to add that amount so there are no negative values. This is higher than was found for the bottle files, so using that value will be adequate to ensure there are no negative values there as well.

Surface check was run and shows an average surface pressure for the cruise was 2.7db which is slightly deeper than usual for the Vector, but given that the data were averaged in acquisition it looks about right.

The cross-reference check was compared with the log book and one station name was found to be wrong; that was corrected in the CLN file.

The cruise track was plotted and added to the end of this report. No problems were found.

The altimeter readings from the headers of the CLN files were exported to a spreadsheet. The values for the 14 casts were checked and look reasonable. There were a few cases of spikes at the bottom but the algorithm dealt with them appropriately.

The Water Depth headers have some readings that differ from the log book. In some cases it was clearly a typo, or had not been changed since the previous cast, but for others there was a change made to the log entry, but not the header. Each case was examined carefully and changes were made to those in casts #5, 15, 25, 26, 31, 40, 47 and 71. Changes were also made to bottle files #26 and 31. There are extensive notes in the log about cast #31 when the ship drifted into shallower water while the CTD was near the bottom. 185m was used for the header entry for the full files since the maximum pressure reached was 160db when the CTD was about 20m off the bottom, but for the bottle file the maximum pressure was 147db and the CTD was close to the bottom, so 155m was used for the depth header.

##### 13. Shift

Fluorescence

Fluorometers usually require alignment, either to remove the effects of pumping for SeaPoint sensors or to correct for slow response time in ECO sensors. A number of cruises using ECO sensor (#2216) have been processed and it was found that an advance of ~2s suited those data. The 2011-10 data are from a different sensor (#2215) which has only been used for cruise 2011-60; there were only 2 casts available for testing, and just as for this cruise, the data had been averaged in acquisition.

The usual method to find what shift is needed for the fluorescence is to examine upcast and downcast profiles for a few casts to determine the vertical offset of the temperature and fluorescence traces. The differences between these two offsets are treated as a measure of how much the fluorescence needs to be shifted. The “excess” offset for the fluorescence was divided by the sum of the descent and ascent rates to find the shift (in seconds) to remove that offset. Usually an advance of +48 records is found appropriate. Dividing by 24 to allow for the averaging, this is equivalent to +2 records. Tests using that setting show the resulting offset in fluorescence sometimes seemed too high, sometimes too low, but overall, the results look reasonable. SHIFT was applied with a +2 records setting.

Conductivity

The pre-averaging makes the alignment more difficult to assess. During 2011-60 tests were run using values from -0.1 records to +0.1 and none looked any better than the original. For these data there were few unstable features to aid this assessment. No shift was applied.

Dissolved Oxygen

The Dissolved Oxygen voltage channel was aligned earlier. A few casts were checked and no further alignment was found necessary. SHIFT was not run on DO.

##### 14. DELETE

The following DELETE parameters were used (adjustments were made to the usual settings to allow for the fact the data are already averaged):

Surface Record Removal: Last Press Min

Maximum Surface Pressure (relative): 10.00

Surface Pressure Tolerance: 1.0

**Pressure filtered over 15 points**NOT APPLIED

Swells deleted. Warning message if pressure difference of 2.00

**Drop rates <   0.30m/s (calculated over 11 points) **NOT APPLIED.

**Drop rate applies in the range:  10db to 10db less than the maximum pressure **NOT APPLIED

Sample interval:  taken from header

COMMENTS ON WARNINGS: All warnings pertained to upcast sections of casts except for cast #10. There were 3 warning for that cast that there were differences of >2db between successive records during the downcast section. This is not too surprising when the data have been averaged on acquisition, but it would be interesting to understand why the descent rate was >2m/s at one of those jumps. None of these warnings indicate any problem in how DELETE worked.

##### Other Comparisons

Previous experience with these sensors –

1. Salinity:  During 2011-60 in August there were only 5 bottles with a lot of scatter, but both CTD salinity channels appeared to be close to the bottles.

2. Dissolved Oxygen: The DO sensor was repaired and recalibrated in April 2011. During 2011-60 there were too many problems with the comparison with bottles to justify a 2nd recalibration.

3. Pressure: The sensor was recalibrated in April 2011. Because all data were averaged on acquisition surface tests are not very useful, but no problem was detected..

Historic ranges – Profile plots were made with 3-standard deviation climatology ranges of T and S superimposed. All temperature data fell within the ranges with the exception of a cast just south of Texada Island which had low temperatures from 100db down. Salinity was all within the climatology for Juan de Fuca Strait except for some low values right at the surface for a cast at the mouth. Salinity values were below the minimum for most casts in the Strait of Georgia. In the southern Strait the low values were seen only in the top 10 to 50db, but in the northern Strait there were low values at greater depths except for east of Texada Island where values were all normal. During 2011-60 (in August) salinity was found to be near the minimum above 35db at station SOGS. This was thought likely due to the high run-off from the Fraser River in spring 2011. High run-off into the Strait of Georgia likely accounts for the September results too. Excursions of this sort are not unexpected in inland waters where the 3-standard deviation climatology is too rigid a standard. There is no evidence of CTD calibration problems.

Repeat Casts –

There were no repeat casts.

Post-Cruise Calibration

There were no post-cruise calibrations available.

##### DETAILED EDITING

At this stage a decision had to be made about whether to edit primary or secondary channels. While the secondary salinity was slightly closer to the bottles than the primary, there are doubts about the bottle values due to the 4 month wait for analysis, so the comparison is not a great criterion for the selection. Examination of a few plots shows the secondary to be slightly less spiky, though neither was particularly noisy. Secondary channels were selected.

CTDEDIT was used to remove surface and bottom records and a few records obviously corrupted by shed wakes (mostly near the bottom) and to clean salinity very lightly. No casts needed heavy editing and 22 casts needed no editing.

##### Initial Recalibration

File 2011-10-recal1.ccf was prepared to add 0.061mg/m^3 to the fluorescence to avoid negative values in the files.

##### Final Calibration of DO

The first recalibration of dissolved oxygen corrects for calibration drift. Shift corrects for transit time errors. Those 2 steps correct for response-time errors, but a further correction is sometimes found appropriate. To check for this downcast CTD data are compared to bottle data from the same pressure. For this cruise the problem of data smoothed during acquisition means the comparison is unlikely to be sensitive enough to justify further recalibration, but is still worth doing to get some idea of the accuracy of the DO:SBE data.

The downcast files are usually averaged in 0.5m bins, but in this case the full files were thinned to the levels at which bottles are usually fired. COMPARE was then run to compare the CTD and bottle data. When differences are plotted against pressure and a few outliers are excluded (~4% of data) the CTD DO is high by an average of 0.003mL/L with a standard deviation of 0.12. No significant pressure dependence was found. No further recalibration is justified.

##### Special Fluorometer Processing

Special files were prepared for Dr. Peña by clipping the COR1 files to 150db. The clipped files were bin-averaged (0.25db bins), put through REMOVE and HEADEDIT and named as *.FCTD and saved. Since there was only an ECO fluorometer which does not need filtering, the usual second set was not prepared. The SAMCOR1 files were put through REMOVE and named *.BOF and saved. A readme.doc file was prepared with some notes on the preparation of those files. Special note was made that the data is of lower quality and that most bins are either empty or contain only 1 point.

No filtering is required for the ECO fluorescence.

##### BIN AVERAGE of CTD files

While the data were average over 24 scans, the descent rate is often less than 1m/s so Bin Average was still run on the COR1 files using the following settings:

Bin channel = pressure	Averaging interval = 1.000	Minimum bin value =   .000

Average value will be used.	Interpolated values are NOT used for empty bins.

After averaging, page plots were examined on screen and no further editing appeared to be necessary.

##### Final CTD File Steps (REMOVE and HEADEDIT)

REMOVE was run on all casts with to remove the following channels:

Scan_Number, Temperature:Primary, Salinity:T0:C0, Conductivity:Primary, Conductivity:Secondary, Oxygen:Voltage:SBE, Altimeter, Status:Pump, Descent_Rate and Flag

A second SBE DO channel (with umol/kg units) was added.

REORDER was run to get the two DO channels together.

HEADER EDIT was used to fix formats and channel names, and to add the following comments:

Data Processing Notes:

----------------------

The SBE data are considered of lower quality than normal because 24 scans

were averaged in acquisition. These averages may contain spikes that

would normally be removed in processing and might be systematic in nature.

Fine-tuning of alignment settings and CELLTM correction are also less

sensitive with smoothed data. Unfortunately the same error was made on

several other cruises using the same equipment, so we can not rely on

settings determined from those data sets. Given the area is in protected

waters and the CTD is believed to have worked well with few spikes, it is

likely the errors caused by this problem are small.

Fluorescence and Transmissivity data are nominal and unedited.

For details on how the transmissivity calibration parameters were calculated

see the document in folder "\cruise_data\documents\transmissivity".

SBE DO calibration was done using the method described in the SeaBird

Application Note #64-2.

The tests for accuracy of Oxygen:Dissolved:SBE data are less reliable than

usual, but the data are considered, very roughly, to be:

±1mL/L from 0 to 20db

±0.4mL/L from 20 to 100db

±0.1mL/L below 100db

For details on the processing see processing report: 2011-10-proc.doc.

The cross-reference list was produced and no problems were found.

The Standards Check routine was run and no problems were found except for formats that were deliberately changed to reflect quality concerns.

The final files were named CTD.

Profile and T-S plots were examined and no problems found.

The track plot looks ok.

##### Dissolved Oxygen Study

As a final check of dissolved oxygen data, % saturation was calculated and plotted. The near-surface values in the central part of the Strait of Georgia were between 100% and 120%. Lower values (60%-90%) were seen in the far northern and southern parts of the Strait of Georgia and in Juan de Fuca Strait.

##### 24. Final Bottle Files

The MRGCLN2 files were put through SORT to order on increasing pressure.

REMOVE was run on all casts to remove the following channels:

Scan_Number, Temperature:Secondary, Salinity:T1:C1, Conductivity:Primary, Conductivity:Secondary, Oxygen:Voltage:SBE, Altimeter, Status:Pump, Descent_Rate and Flag

A second SBE DO channel was added with different units and REORDER to get the 2 SBE DO channels together.

HEADER EDIT was run to fix formats and units, change the channel name Bottle_Number to Bottle:Firing_Sequence and the name Bottle:Position to Bottle_Number and to add a comment about quality flags and analysis methods and a few notes about the CTD data. Those files were named *.CHE.

A header check was run on the final files and no problems were found.

Plots were made of CTD Salinity versus SBE Dissolved Oxygen and bottle DO and no further outliers were identified.

Data from the CHE files were exported to spreadsheet 2011-10-bottles-final.xls; no errors were found.

Standards check was run on all files and no errors were found except some formats that were changed deliberately to reflect data quality.

##### 26. Producing final files

A cross-reference listing was produced for CTD and CHE files.

The sensor history was updated.

Particulars (Notes from log book and sampling notes)

12. Altimeter changed suddenly from 30 to 6.5

24. Very close to bottom

30. Close to bottom

31. Large tidal current; drifted into shallower water so planned deep sampling impossible

43. Spigot dripping for bottle #4

58/60/63. Leaking bottle #4, partial seal

66. Chain too tight – popped lid – bottle #4

68. Bottle #4 leaked

CRUISE SUMMARY - CTDs

| CTD# | Make | Model | Serial# | Used with Rosette? | CTD Calibration Sheet Competed? |
| --- | --- | --- | --- | --- | --- |
| 1 | SEABIRD | 911+ | 0443 | Yes | Yes |

| Calibration Information CTD #443 |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Sensor |  | Pre-Cruise |  | Post Cruise |  |
| Name | S/N | Date | Location | Date | Location |
| Temperature | 2106 | 1Apr2011 | Factory |  |  |
| Conductivity | 1764 | 29Mar2011 | Factory |  |  |
| Secondary Temp. | 2710 | 1Apr2011 | Factory |  |  |
| Secondary Cond. | 2128 | 29Mar2011 | Factory |  |  |
| Transmissometer | 1185DR | 4Aug2011 | IOS |  |  |
| SBE 43 DO sensor | 0997 | 23Apr2011 | Factory |  |  |
| PAR | 4656 | 16Mar2011 | IOS |  |  |
| Eco-AFL Fluorometer | 2215 | 4Aug2011 | IOS |  |  |
| Surface PAR | 16504 | 16Mar2011 |  |  |  |
| Pressure Sensor | 63507 | 12Apr2011 | Factory |  |  |
| Altimeter | 2013380 |  |  |  |  |