## Final CHL archive
HEADER: | Chlorophyll samples were filtered onto 25mm GF/F filters and stored in glass scintillation vials at -20C prior to analysis
Samples were extracted in 90% acetone at -20C for 24 hours in the lab ~1 week after collection
and analyzed on a Turner 10AU flourometer calibrated with commerically pure chlorophyll a standard (Sigma)
fluorescence readings taken before and after acification were used to calculate chlorophyll and phaeopigment concentrations (Holm-Hansen et al 1965)
The average of two samples is reported. Variability is assessed as the CV % (std dev/mean*100).
For details see worksheet "CV %" in file QF2011-10chl.xls
Note: flags and comments apply to chl values only. No flags or comments are assigned for phaeopigment values
Cruise_Number | Event_Number | Station | Sample_Number | CHL:extracted | Flag:CHL Extracted | Phaeo-Pigment:Extracted | Comments (preceded by CHL:)
2011-10 | 1 | SI | 6 | 0.20023 | 6 | 0.47733
2011-10 | 1 | SI | 7 | 1.315 | 6 | 1.0259
2011-10 | 1 | SI | 9 | 4.7672 | 6 | 0.3064
2011-10 | 3 | 59 | 20 | 4.5285 | 6 | 0.21578
2011-10 | 3 | 59 | 21 | 4.6822 | 6 | 0.40876
2011-10 | 3 | 59 | 23 | 5.307 | 6 | 0.45385
2011-10 | 7 | 102 | 34 | 0.42798 | 6 | 0.19094
2011-10 | 7 | 102 | 35 | 0.76815 | 6 | 0.24584
2011-10 | 7 | 102 | 37 | 1.0217 | 6 | 0.15458
2011-10 | 10 | 75 | 48 | 0.55546 | 6 | 0.27412
2011-10 | 10 | 75 | 49 | 0.58513 | 6 | 0.25245
2011-10 | 10 | 75 | 51 | 0.91979 | 6 | 0.25582
2011-10 | 13 | 72 | 61 | 0.67906 |  | 0.20868 | CHL:replicate not used, filter dropped face down
2011-10 | 13 | 72 | 62 | 1.2921 | 6 | 0.11861
2011-10 | 13 | 72 | 64 | 1.92 | 6 | 0.13983
2011-10 | 16 | 69 | 73 | 1.6278 | 6 | 0.37278
2011-10 | 16 | 69 | 74 | 4.6408 | 6 | 0.22148
2011-10 | 16 | 69 | 76 | 4.5043 | 6 | 0.074299
2011-10 | 19 | ADCP | 82 | 1.4795 | 36 | 0.37577 | CHL: variability >15%
2011-10 | 19 | ADCP | 83 | 1.4744 | 6 | 0.34211
2011-10 | 19 | ADCP | 85 | 3.2658 |  | 0.15467 | CHL: replicate not used, suspect mis-sample
2011-10 | 23 | 65 | 92 | 2.645 | 6 | 0.43567
2011-10 | 23 | 65 | 93 | 4.0328 | 6 | 0.38019
2011-10 | 23 | 65 | 95 | 3.907 | 6 | 0.16273
2011-10 | 26 | 62 | 103 | 2.6186 | 6 | 0.44421
2011-10 | 26 | 62 | 104 | 2.6703 | 6 | 0.38204
2011-10 | 26 | 62 | 106 | 2.5328 | 6 | 0.40209
2011-10 | 31 | 56 | 117 | 2.693 | 6 | 0.3788
2011-10 | 31 | 56 | 118 | 3.006 | 6 | 0.38729
2011-10 | 31 | 56 | 120 | 9.0647 | 6 | 0.45782
2011-10 | 39 | 46 | 129 | 0.58327 | 6 | 0.34102
2011-10 | 39 | 46 | 130 | 3.2337 | 6 | 0.42229
2011-10 | 39 | 46 | 132 | 8.7408 | 6 | 0.24964
2011-10 | 43 | 42 | 144 | 0.24853 | 6 | 0.33139
2011-10 | 43 | 42 | 145 | 3.1351 | 6 | 0.2554
2011-10 | 43 | 42 | 147 | 9.282 | 6 | 0.42376
2011-10 | 48 | 39 | 161 | 0.21396 | 36 | 0.29704 | CHL: variability >15%
2011-10 | 48 | 39 | 162 | 1.0204 |  | 0.59029 | CHL: no replicate, vial dropped
2011-10 | 48 | 39 | 164 | 10.7845 | 6 | 0.39796
2011-10 | 51 | 27 | 177 | 0.15567 | 6 | 0.27281
2011-10 | 51 | 27 | 178 | 0.68693 | 6 | 0.46251
2011-10 | 51 | 27 | 180 | 9.7453 | 6 | 1.4746
2011-10 | 55 | 2 | 192 | 0.16191 | 6 | 0.18092
2011-10 | 55 | 2 | 193 | 0.7347 | 6 | 0.40418
2011-10 | 55 | 2 | 195 | 5.2379 | 6 | 0.51456
2011-10 | 58 | 3 | 208 | 0.1804 | 6 | 0.21516
2011-10 | 58 | 3 | 209 | 0.9337 | 6 | 0.46545
2011-10 | 58 | 3 | 211 | 8.3688 | 6 | 0.6352
2011-10 | 60 | 6 | 221 | 0.55218 | 6 | 0.21958
2011-10 | 60 | 6 | 222 | 0.81465 | 6 | 0.42202
2011-10 | 60 | 6 | 224 | 4.6176 | 36 | 0.47204 | CHL: variability >15%
2011-10 | 63 | 9 | 233 | 0.42078 | 6 | 0.23317
2011-10 | 63 | 9 | 234 | 0.77836 | 6 | 0.25665
2011-10 | 63 | 9 | 236 | 3.6765 | 6 | 0.34756
2011-10 | 66 | 12 | 249 | 0.11767 | 6 | 0.15133
2011-10 | 66 | 12 | 250 | 0.86085 | 6 | 0.40994
2011-10 | 66 | 12 | 252 | 4.1503 | 6 | 0.60619
2011-10 | 68 | 14 | 264 | 0.84955 | 6 | 0.15399
2011-10 | 68 | 14 | 265 | 1.7943 | 6 | 0.18319
2011-10 | 68 | 14 | 267 | 3.9576 | 6 | 0.33924
2011-10 | 70 | 16 | 275 | 0.95501 | 6 | 0.21241
2011-10 | 70 | 16 | 276 | 1.4001 | 6 | 0.26835
2011-10 | 70 | 16 | 278 | 1.5744 | 6 | 0.26209

## Raw-data
Cruise: | 2011-10 | Sept 9-13, 2011
Notes: | Chlorophyll samples were filtered onto 25mm GF/F filters and stored in glass scintillation vials at -20C prior to analysis
Samples were extracted in 90% acetone for 24 hours in the lab ~1 week after collection
and analyzed on a Turner 10AU flourometer calibrated with commerically pure chlorophyll a standard (Sigma)
fluorescence readings taken before and after acification were used to calculate chlorophyll and phaeopigment concentrations (Holm-Hansen 1978)
Analysis: | Sept 20-21 by Melissa Hennekes
Fluorometer calibration |  | May 9, 2011: chl (ug/L) = (1.704/(1.704-1)*(Fo-Fa)*(0.965)*(vol ext/vol filtered)*dilution factor
May 9, 2011: phaeo (ug/L)= (1.704/(1.704-1)*((1.704*Fa)-Fo)*0.965)*(vol ext/vol filtered)* dilution factor
Calibration linear up to a fluoresence reading of 475, no need to dilute samples
Analyzed_Date | Station | Sample_Number | Depth | Vol. filt | Vol.ext | Dilution | Fo | Fa | Chl.a | Phaeo | RATIO | Comments
[5 empty] | (ml) | Factor |  |  | µg/L | µg/L | Rb/Ra
9/20/11 | SI | 6 | 20 | 331 | 10 | 1 | 15.894 | 13.172 | 0.19208 | 0.46228
9/20/11 | SI | 6 | 20 | 331 | 10 | 1 | 17.059 | 14.106 | 0.20838 | 0.49238
9/20/11 | SI | 7 | 10 | 331 | 10 | 1 | 62.776 | 45.616 | 1.2109 | 1.0552
9/20/11 | SI | 7 | 10 | 331 | 10 | 1 | 68.737 | 48.627 | 1.4191 | 0.99663
9/20/11 | SI | 9 | 0 | 331 | 10 | 1 | 171.8 | 104.054 | 4.7806 | 0.38868 |  | stinky sample DMS
9/20/11 | SI | 9 | 0 | 331 | 10 | 1 | 167.57 | 100.203 | 4.7538 | 0.22411 |  | stinky sample DMS
9/20/11 | 59 | 20 | 20 | 331 | 10 | 1 | 155.705 | 93.77 | 4.3705 | 0.28784
9/20/11 | 59 | 20 | 20 | 331 | 10 | 1 | 163.645 | 97.231 | 4.6866 | 0.14372
9/20/11 | 59 | 21 | 10 | 331 | 10 | 1 | 171 | 102.429 | 4.8388 | 0.24973
9/20/11 | 59 | 21 | 10 | 331 | 10 | 1 | 166.66 | 102.527 | 4.5256 | 0.56778
9/20/11 | 59 | 23 | 0 | 331 | 10 | 1 | 188.111 | 114.481 | 5.1958 | 0.49147
9/20/11 | 59 | 23 | 0 | 331 | 10 | 1 | 194.226 | 117.444 | 5.4182 | 0.41624
9/20/11 | 102 | 34 | 20 | 331 | 10 | 1 | 18.656 | 12.532 | 0.43215 | 0.19042
9/20/11 | 102 | 34 | 20 | 331 | 10 | 1 | 18.391 | 12.385 | 0.42382 | 0.19145
9/20/11 | 102 | 35 | 10 | 331 | 10 | 1 | 32.698 | 21.198 | 0.81151 | 0.24158
9/20/11 | 102 | 35 | 10 | 331 | 10 | 1 | 29.895 | 19.624 | 0.72478 | 0.25011
9/20/11 | 102 | 37 | 0 | 331 | 10 | 1 | 37.941 | 23.65 | 1.0085 | 0.16644
9/20/11 | 102 | 37 | 0 | 331 | 10 | 1 | 38.369 | 23.704 | 1.0349 | 0.14273
9/20/11 | 75 | 48 | 20 | 331 | 10 | 1 | 24.525 | 16.662 | 0.55486 | 0.27288
9/20/11 | 75 | 48 | 20 | 331 | 10 | 1 | 24.616 | 16.736 | 0.55606 | 0.27536
9/20/11 | 75 | 49 | 10 | 331 | 10 | 1 | 25.968 | 17.399 | 0.60468 | 0.25968
9/20/11 | 75 | 49 | 10 | 331 | 10 | 1 | 24.336 | 16.321 | 0.56559 | 0.24522
9/20/11 | 75 | 51 | 0 | 331 | 10 | 1 | 36.166 | 23.322 | 0.90635 | 0.25225
9/20/11 | 75 | 51 | 0 | 331 | 10 | 1 | 37.232 | 24.007 | 0.93324 | 0.2594
9/20/11 | 72 | 61 | 20 | 331 | 10 | 1 | 27.523 | 17.9 | 0.67906 | 0.21019
9/20/11 | 72 | 61 | 20 | 331 | 10 | 1 | 22.493 | 14.923 | 0.53419 | 0.20717 |  | dropped filter sample side down
9/20/11 | 72 | 62 | 10 | 331 | 10 | 1 | 48.091 | 29.095 | 1.3405 | 0.10492
9/20/11 | 72 | 62 | 10 | 331 | 10 | 1 | 45.326 | 27.7 | 1.2438 | 0.1323
9/20/11 | 72 | 64 | 0 | 331 | 10 | 1 | 70.663 | 43.037 | 1.9495 | 0.18856
9/20/11 | 72 | 64 | 0 | 331 | 10 | 1 | 66.678 | 39.888 | 1.8905 | 0.091112
9/20/11 | 69 | 73 | 20 | 330 | 10 | 1 | 63.254 | 40.041 | 1.643 | 0.35219
9/20/11 | 69 | 73 | 20 | 332 | 10 | 1 | 63.419 | 40.499 | 1.6125 | 0.39337
9/20/11 | 69 | 74 | 10 | 331 | 10 | 1 | 159.013 | 94.59 | 4.5461 | 0.15301
9/20/11 | 69 | 74 | 10 | 330 | 10 | 1 | 167.757 | 100.853 | 4.7355 | 0.28995
9/21/11 | 69 | 76 | 0 | 331 | 10 | 1 | 153.384 | 90.063 | 4.4683 | 0.0058818
9/21/11 | 69 | 76 | 0 | 330 | 10 | 1 | 158.129 | 93.982 | 4.5403 | 0.14272
9/21/11 | ADCP | 82 | 20 | 331 | 10 | 1 | 64.718 | 41.273 | 1.6544 | 0.39596
9/21/11 | ADCP | 82 | 20 | 331 | 10 | 1 | 51.902 | 33.416 | 1.3045 | 0.35557
9/21/11 | ADCP | 83 | 10 | 331 | 10 | 1 | 53.444 | 33.897 | 1.3794 | 0.3046
9/21/11 | ADCP | 83 | 10 | 331 | 10 | 1 | 61.475 | 39.234 | 1.5695 | 0.37963
9/21/11 | ADCP | 85 | 0 | 331 | 10 | 1 | 52.696 | 33.99 | 1.32 | 0.36856
9/21/11 | ADCP | 85 | 0 | 331 | 10 | 1 | 115.132 | 68.852 | 3.2658 | 0.15467
9/21/11 | 65 | 92 | 20 | 331 | 10 | 1 | 98.542 | 61.082 | 2.6434 | 0.39106
9/21/11 | 65 | 92 | 20 | 331 | 10 | 1 | 100.447 | 62.942 | 2.6466 | 0.48028
9/21/11 | 65 | 93 | 10 | 331 | 10 | 1 | 150.031 | 90.35 | 4.2115 | 0.277
9/21/11 | 65 | 93 | 10 | 331 | 10 | 1 | 141.928 | 87.311 | 3.8541 | 0.48337
9/21/11 | 65 | 95 | 0 | 331 | 10 | 1 | 137.788 | 82.419 | 3.9072 | 0.18728
9/21/11 | 65 | 95 | 0 | 331 | 10 | 1 | 136.785 | 81.422 | 3.9068 | 0.13817
9/21/11 | 62 | 103 | 20 | 332 | 10 | 1 | 103.716 | 65.238 | 2.7071 | 0.5241
9/21/11 | 62 | 103 | 20 | 332 | 10 | 1 | 94.4 | 58.438 | 2.5301 | 0.36432
9/21/11 | 62 | 104 | 10 | 332 | 10 | 1 | 100.264 | 61.796 | 2.7064 | 0.35433
9/21/11 | 62 | 104 | 10 | 332 | 10 | 1 | 98.902 | 61.459 | 2.6342 | 0.40975
9/21/11 | 62 | 106 | 0 | 332 | 10 | 1 | 96.472 | 59.751 | 2.5835 | 0.37595
9/21/11 | 62 | 106 | 0 | 332 | 10 | 1 | 94.042 | 58.761 | 2.4821 | 0.42822
9/21/11 | 56 | 117 | 20 | 332 | 10 | 1 | 95.883 | 58.642 | 2.62 | 0.28444
9/21/11 | 56 | 117 | 20 | 332 | 10 | 1 | 104.716 | 65.4 | 2.766 | 0.47317
9/21/11 | 56 | 118 | 10 | 332 | 10 | 1 | 112.666 | 69.961 | 3.0044 | 0.46064
9/21/11 | 56 | 118 | 10 | 332 | 10 | 1 | 109.813 | 67.063 | 3.0076 | 0.31394
9/21/11 | 56 | 120 | 0 | 332 | 10 | 1 | 292.821 | 175 | 8.2891 | 0.37843
9/21/11 | 56 | 120 | 0 | 332 | 10 | 2 | 166.561 | 100.185 | 9.3396 | 0.58453
9/21/11 | 56 | 120 | 0 | 332 | 10 | 2 | 154.546 | 92.077 | 8.7898 | 0.33111
9/21/11 | 46 | 129 | 20 | 332 | 10 | 1 | 25.223 | 17.437 | 0.54777 | 0.31586
9/21/11 | 46 | 129 | 20 | 332 | 10 | 1 | 28.681 | 19.886 | 0.61876 | 0.36617
9/21/11 | 46 | 130 | 10 | 332 | 10 | 1 | 118.61 | 73.424 | 3.179 | 0.45761
9/21/11 | 46 | 130 | 10 | 332 | 10 | 1 | 120.945 | 74.205 | 3.2883 | 0.38697
9/21/11 | 46 | 132 | 0 | 332 | 10 | 2 | 157.526 | 94.451 | 8.8751 | 0.48101
9/21/11 | 46 | 132 | 0 | 332 | 10 | 2 | 148.234 | 87.068 | 8.6065 | 0.018274
9/21/11 | 42 | 144 | 20 | 331 | 10 | 1 | 14.883 | 11.384 | 0.24691 | 0.31863
9/21/11 | 42 | 144 | 20 | 331 | 10 | 1 | 15.508 | 11.963 | 0.25016 | 0.34415
9/21/11 | 42 | 145 | 10 | 331 | 10 | 1 | 113.855 | 69.26 | 3.1469 | 0.29384 |  | copepods in sample
9/21/11 | 42 | 145 | 10 | 331 | 10 | 1 | 111.499 | 67.238 | 3.1233 | 0.21696 |  | copepods in sample
9/21/11 | 42 | 147 | 0 | 331 | 10 | 2 | 167.229 | 99.676 | 9.5339 | 0.36961
9/21/11 | 42 | 147 | 0 | 331 | 10 | 2 | 159.678 | 95.695 | 9.0301 | 0.47791
9/21/11 | 39 | 161 | 20 | 331 | 10 | 1 | 15.142 | 11.761 | 0.23858 | 0.34569
9/21/11 | 39 | 161 | 20 | 331 | 10 | 1 | 11.494 | 8.811 | 0.18933 | 0.24839
9/21/11 | 39 | 162 | 10 | 331 | 10 | 1 | 46.882 | 32.422 | 1.0204 | 0.59029 |  | dropped vial with sample 162A
9/21/11 | 39 | 164 | 0 | 331 | 10 | 2 | 198.837 | 119.243 | 11.2333 | 0.61436 |  | lost ~5ml
9/21/11 | 39 | 164 | 0 | 331 | 10 | 2 | 179.087 | 105.853 | 10.3357 | 0.18157
9/21/11 | 27 | 177 | 20 | 331 | 10 | 1 | 10.515 | 8.401 | 0.14918 | 0.26817
9/21/11 | 27 | 177 | 20 | 331 | 10 | 1 | 11.147 | 8.849 | 0.16216 | 0.27744
9/21/11 | 27 | 178 | 10 | 331 | 10 | 1 | 31.667 | 22.45 | 0.65041 | 0.46488
9/21/11 | 27 | 178 | 10 | 331 | 10 | 1 | 34.077 | 23.825 | 0.72344 | 0.46015 |  | lightly touched filter with finger
9/21/11 | 27 | 180 | 0 | 331 | 10 | 2 | 177.31 | 115.524 | 8.72 | 2.7581
9/21/11 | 27 | 180 | 0 | 331 | 10 | 2 | 186.641 | 110.326 | 10.7705 | 0.19116 |  | lightly touched filter with finger
9/21/11 | 2 | 192 | 20 | 331 | 10 | 1 | 9.344 | 7.011 | 0.16463 | 0.18367
9/21/11 | 2 | 192 | 20 | 331 | 10 | 1 | 9.047 | 6.791 | 0.1592 | 0.17817
9/21/11 | 2 | 193 | 10 | 331 | 10 | 1 | 33.772 | 23.054 | 0.75633 | 0.38896
9/21/11 | 2 | 193 | 10 | 331 | 10 | 1 | 32.901 | 22.796 | 0.71307 | 0.4194
9/21/11 | 2 | 195 | 0 | 331 | 10 | 1 | 192.144 | 116.638 | 5.3282 | 0.46624 |  | lightly touched filter with finger
9/21/11 | 2 | 195 | 0 | 331 | 10 | 1 | 187.9 | 114.951 | 5.1477 | 0.56287
9/21/11 | 3 | 208 | 20 | 331 | 10 | 1 | 10.402 | 7.898 | 0.1767 | 0.21566
9/21/11 | 3 | 208 | 20 | 331 | 10 | 1 | 10.636 | 8.027 | 0.18411 | 0.21466
9/21/11 | 3 | 209 | 10 | 331 | 10 | 1 | 42.725 | 29.007 | 0.96803 | 0.473
9/21/11 | 3 | 209 | 10 | 331 | 10 | 1 | 40.066 | 27.321 | 0.89937 | 0.4579
9/21/11 | 3 | 211 | 0 | 331 | 10 | 2 | 151.984 | 91.937 | 8.4746 | 0.66003
9/21/11 | 3 | 211 | 0 | 331 | 10 | 2 | 147.856 | 89.308 | 8.263 | 0.61037
9/21/11 | 6 | 221 | 20 | 331 | 10 | 1 | 23.345 | 15.65 | 0.54301 | 0.23446
9/21/11 | 6 | 221 | 20 | 331 | 10 | 1 | 23.375 | 15.42 | 0.56135 | 0.20469
9/21/11 | 6 | 222 | 10 | 331 | 10 | 1 | 36.572 | 25.022 | 0.81504 | 0.42802
9/21/11 | 6 | 222 | 10 | 331 | 10 | 1 | 36.304 | 24.765 | 0.81426 | 0.41603
9/20/11 | 6 | 224 | 0 | 331 | 10 | 1 | 186.776 | 113.578 | 5.1653 | 0.47709
9/20/11 | 6 | 224 | 0 | 331 | 10 | 1 | 149 | 91.325 | 4.0699 | 0.46699
9/20/11 | 9 | 233 | 20 | 332 | 10 | 1 | 18.789 | 13.295 | 0.38652 | 0.27196
9/20/11 | 9 | 233 | 20 | 332 | 10 | 1 | 19.58 | 13.112 | 0.45505 | 0.19438
9/20/11 | 9 | 234 | 10 | 332 | 10 | 1 | 29.569 | 19.617 | 0.70016 | 0.27145
9/20/11 | 9 | 234 | 10 | 332 | 10 | 1 | 34.352 | 22.177 | 0.85655 | 0.24185
9/20/11 | 9 | 236 | 0 | 332 | 10 | 1 | 133.334 | 81.003 | 3.6817 | 0.33032
9/20/11 | 9 | 236 | 0 | 332 | 10 | 1 | 133.677 | 81.492 | 3.6714 | 0.36481
9/20/11 | 12 | 249 | 20 | 332 | 10 | 1 | 6.925 | 5.28 | 0.11573 | 0.14578
9/20/11 | 12 | 249 | 20 | 332 | 10 | 1 | 7.282 | 5.582 | 0.1196 | 0.15687
9/20/11 | 12 | 250 | 10 | 332 | 10 | 1 | 38.894 | 26.087 | 0.90102 | 0.39104
9/20/11 | 12 | 250 | 10 | 332 | 10 | 1 | 36.893 | 25.228 | 0.82067 | 0.42884
9/20/11 | 12 | 252 | 0 | 332 | 10 | 1 | 149.534 | 93.542 | 3.9392 | 0.6938
9/20/11 | 12 | 252 | 0 | 332 | 10 | 1 | 160.519 | 98.527 | 4.3614 | 0.51858
9/20/11 | 14 | 264 | 20 | 331 | 10 | 1 | 32.183 | 20.202 | 0.84545 | 0.15815
9/20/11 | 14 | 264 | 20 | 331 | 10 | 1 | 32.296 | 20.199 | 0.85364 | 0.14982
9/20/11 | 14 | 265 | 10 | 331 | 10 | 1 | 66.778 | 41.157 | 1.808 | 0.23665
9/20/11 | 14 | 265 | 10 | 331 | 10 | 1 | 63.687 | 38.454 | 1.7806 | 0.12974
9/20/11 | 14 | 267 | 0 | 331 | 10 | 1 | 142.371 | 86.179 | 3.9653 | 0.316
9/20/11 | 14 | 267 | 0 | 331 | 10 | 1 | 142.784 | 86.808 | 3.95 | 0.36249
9/20/11 | 16 | 275 | 20 | 332 | 10 | 1 | 38.999 | 24.764 | 1.0015 | 0.22505
9/20/11 | 16 | 275 | 20 | 332 | 10 | 1 | 35.291 | 22.377 | 0.90855 | 0.19976
9/20/11 | 16 | 276 | 10 | 332 | 10 | 1 | 54.357 | 34.322 | 1.4095 | 0.2904
9/20/11 | 16 | 276 | 10 | 332 | 10 | 1 | 52.818 | 33.051 | 1.3907 | 0.2463
9/20/11 | 16 | 278 | 0 | 332 | 10 | 1 | 57.3 | 35.889 | 1.5063 | 0.2712 |  | lightly touched filter with finger
9/20/11 | 16 | 278 | 0 | 332 | 10 | 1 | 61.613 | 38.268 | 1.6424 | 0.25297 |  | lightly touched filter with finger

## %CV
Cruise | 2011-10
Average of two samples is reported. Variability is assessed as the % (std dev/mean*100).
Analysis date | Latitude | Longitude | Event | Station | Sample | rep | Depth | Chl ug/L | Phaeo ug/L | Avg Chl | CV% | FINAL CHL | Avg Phaeo | CV% | FLAG:CHL | Flag Comments for Archive
9/20/11 |  |  |  | SI | 6 | A | 20 | 0.19208 | 0.46228 | 0.20023 | 5.7565 | 0.20023 | 0.47733 | 4.4588 | 6 |  | 6 | 20
9/20/11 |  |  |  | SI | 6 | B | 20 | 0.20838 | 0.49238 | [7 empty] | 6 | 20
9/20/11 |  |  |  | SI | 7 | A | 10 | 1.2109 | 1.0552 | 1.315 | 11.1938 | 1.315 | 1.0259 | 4.0381 | 6
9/20/11 |  |  |  | SI | 7 | B | 10 | 1.4191 | 0.99663
9/20/11 |  |  |  | SI | 9 | A | 0 | 4.7806 | 0.38868 | 4.7672 | 0.3967 | 4.7672 | 0.3064 | 37.9793 | 6 | stinky sample DMS
9/20/11 |  |  |  | SI | 9 | B | 0 | 4.7538 | 0.22411 | [6 empty] | stinky sample DMS
9/20/11 |  |  |  | 59 | 20 | A | 20 | 4.3705 | 0.28784 | 4.5285 | 4.9352 | 4.5285 | 0.21578 | 47.2304 | 6
9/20/11 |  |  |  | 59 | 20 | B | 20 | 4.6866 | 0.14372
9/20/11 |  |  |  | 59 | 21 | A | 10 | 4.8388 | 0.24973 | 4.6822 | 4.7295 | 4.6822 | 0.40876 | 55.018 | 6
9/20/11 |  |  |  | 59 | 21 | B | 10 | 4.5256 | 0.56778
9/20/11 |  |  |  | 59 | 23 | A | 0 | 5.1958 | 0.49147 | 5.307 | 2.9636 | 5.307 | 0.45385 | 11.7204 | 6
9/20/11 |  |  |  | 59 | 23 | B | 0 | 5.4182 | 0.41624 | [7 empty] | 23 | 0
9/20/11 |  |  |  | 102 | 34 | A | 20 | 0.43215 | 0.19042 | 0.42798 | 1.3757 | 0.42798 | 0.19094 | 0.37924 | 6 |  | 35 | 20
9/20/11 |  |  |  | 102 | 34 | B | 20 | 0.42382 | 0.19145 | [7 empty] | 35 | 20
9/20/11 |  |  |  | 102 | 35 | A | 10 | 0.81151 | 0.24158 | 0.76815 | 7.9834 | 0.76815 | 0.24584 | 2.454 | 6 |  | 36 | 10
9/20/11 |  |  |  | 102 | 35 | B | 10 | 0.72478 | 0.25011 | [7 empty] | 36 | 10
9/20/11 |  |  |  | 102 | 37 | A | 0 | 1.0085 | 0.16644 | 1.0217 | 1.8266 | 1.0217 | 0.15458 | 10.8452 | 6 |  | 38 | 0
9/20/11 |  |  |  | 102 | 37 | B | 0 | 1.0349 | 0.14273 | [7 empty] | 38 | 0
9/20/11 |  |  |  | 75 | 48 | A | 20 | 0.55486 | 0.27288 | 0.55546 | 0.15271 | 0.55546 | 0.27412 | 0.63885 | 6 |  | 49 | 20
9/20/11 |  |  |  | 75 | 48 | B | 20 | 0.55606 | 0.27536 | [7 empty] | 49 | 20
9/20/11 |  |  |  | 75 | 49 | A | 10 | 0.60468 | 0.25968 | 0.58513 | 4.7243 | 0.58513 | 0.25245 | 4.0502 | 6 |  | 50 | 10
9/20/11 |  |  |  | 75 | 49 | B | 10 | 0.56559 | 0.24522 | [7 empty] | 50 | 10
9/20/11 |  |  |  | 75 | 51 | A | 0 | 0.90635 | 0.25225 | 0.91979 | 2.0669 | 0.91979 | 0.25582 | 1.9747 | 6 |  | 52 | 0
9/20/11 |  |  |  | 75 | 51 | B | 0 | 0.93324 | 0.2594 | [7 empty] | 52 | 0
9/20/11 |  |  |  | 72 | 61 | A | 20 | 0.67906 | 0.21019 | 0.60662 | 16.887 | 0.67906 | 0.20868 | 1.0236 |  | Rep B thrown out | 53 | 5
9/20/11 |  |  |  | 72 | 61 | B | 20 | 0.53419 | 0.20717 | [6 empty] | dropped filter sample side down | 53 | 5
9/20/11 |  |  |  | 72 | 62 | A | 10 | 1.3405 | 0.10492 | 1.2921 | 5.2905 | 1.2921 | 0.11861 | 16.3193 | 6 |  | 63 | 20
9/20/11 |  |  |  | 72 | 62 | B | 10 | 1.2438 | 0.1323 | [7 empty] | 63 | 20
9/20/11 |  |  |  | 72 | 64 | A | 0 | 1.9495 | 0.18856 | 1.92 | 2.1727 | 1.92 | 0.13983 | 49.2754 | 6 |  | 64 | 10
9/20/11 |  |  |  | 72 | 64 | B | 0 | 1.8905 | 0.091112 | [7 empty] | 64 | 10
9/20/11 |  |  |  | 69 | 73 | A | 20 | 1.643 | 0.35219 | 1.6278 | 1.3254 | 1.6278 | 0.37278 | 7.8105 | 6 |  | 65 | 5
9/20/11 |  |  |  | 69 | 73 | B | 20 | 1.6125 | 0.39337 | [7 empty] | 65 | 5
9/20/11 |  |  |  | 69 | 74 | A | 10 | 4.5461 | 0.15301 | 4.6408 | 2.8856 | 4.6408 | 0.22148 | 43.7191 | 6 |  | 66 | 0
9/20/11 |  |  |  | 69 | 74 | B | 10 | 4.7355 | 0.28995 | [7 empty] | 66 | 0
9/21/11 |  |  |  | 69 | 76 | A | 0 | 4.4683 | 0.0058818 | 4.5043 | 1.1304 | 4.5043 | 0.074299 | 130.2258 | 6 |  | 67 | 5
9/21/11 |  |  |  | 69 | 76 | B | 0 | 4.5403 | 0.14272 | [7 empty] | 67 | 5
9/21/11 |  |  |  | ADCP | 82 | A | 20 | 1.6544 | 0.39596 | 1.4795 | 16.7253 | 1.4795 | 0.37577 | 7.5999 | 36 | variability >15% | 76 | 20
9/21/11 |  |  |  | ADCP | 82 | B | 20 | 1.3045 | 0.35557 | [7 empty] | 76 | 20
9/21/11 |  |  |  | ADCP | 83 | A | 10 | 1.3794 | 0.3046 | 1.4744 | 9.1172 | 1.4744 | 0.34211 | 15.5077 | 6 |  | 77 | 10
9/21/11 |  |  |  | ADCP | 83 | B | 10 | 1.5695 | 0.37963 | [7 empty] | 77 | 10
9/21/11 |  |  |  | ADCP | 85 | A | 0 | 1.32 | 0.36856 | 2.2929 | 60.006 | 3.2658 | 0.15467 |  |  | variability >15%, looks like A may have been mis-sampled, not used | 79 | 0
9/21/11 |  |  |  | ADCP | 85 | B | 0 | 3.2658 | 0.15467 | [7 empty] | 79 | 0
9/21/11 |  |  |  | 65 | 92 | A | 20 | 2.6434 | 0.39106 | 2.645 | 0.084892 | 2.645 | 0.43567 | 14.4817 | 6 |  | 86 | 20
9/21/11 |  |  |  | 65 | 92 | B | 20 | 2.6466 | 0.48028 | [7 empty] | 86 | 20
9/21/11 |  |  |  | 65 | 93 | A | 10 | 4.2115 | 0.277 | 4.0328 | 6.2657 | 4.0328 | 0.38019 | 38.3833 | 6 |  | 87 | 10
9/21/11 |  |  |  | 65 | 93 | B | 10 | 3.8541 | 0.48337 | [7 empty] | 87 | 10
9/21/11 |  |  |  | 65 | 95 | A | 0 | 3.9072 | 0.18728 | 3.907 | 0.0076629 | 3.907 | 0.16273 | 21.3383 | 6 |  | 89 | 0
9/21/11 |  |  |  | 65 | 95 | B | 0 | 3.9068 | 0.13817 | [7 empty] | 89 | 0
9/21/11 |  |  |  | 62 | 103 | A | 20 | 2.7071 | 0.5241 | 2.6186 | 4.7799 | 2.6186 | 0.44421 | 25.4354 | 6 |  | 96 | 20
9/21/11 |  |  |  | 62 | 103 | B | 20 | 2.5301 | 0.36432 | [7 empty] | 96 | 20
9/21/11 |  |  |  | 62 | 104 | A | 10 | 2.7064 | 0.35433 | 2.6703 | 1.9096 | 2.6703 | 0.38204 | 10.2578 | 6 |  | 97 | 10
9/21/11 |  |  |  | 62 | 104 | B | 10 | 2.6342 | 0.40975 | [7 empty] | 97 | 10
9/21/11 |  |  |  | 62 | 106 | A | 0 | 2.5835 | 0.37595 | 2.5328 | 2.8283 | 2.5328 | 0.40209 | 9.1931 | 6 |  | 99 | 0
9/21/11 |  |  |  | 62 | 106 | B | 0 | 2.4821 | 0.42822 | [7 empty] | 99 | 0
9/21/11 |  |  |  | 56 | 117 | A | 20 | 2.62 | 0.28444 | 2.693 | 3.8331 | 2.693 | 0.3788 | 35.2304 | 6 |  | 107 | 20
9/21/11 |  |  |  | 56 | 117 | B | 20 | 2.766 | 0.47317 | [7 empty] | 107 | 20
9/21/11 |  |  |  | 56 | 118 | A | 10 | 3.0044 | 0.46064 | 3.006 | 0.074471 | 3.006 | 0.38729 | 26.7841 | 6 |  | 108 | 10
9/21/11 |  |  |  | 56 | 118 | B | 10 | 3.0076 | 0.31394 | [7 empty] | 108 | 10
9/21/11 |  |  |  | 56 | 120 | A | 0 | 9.3396 | 0.58453 | 9.0647 | 4.2884 | 9.0647 | 0.45782 | 39.1404 | 6 |  | 110 | 0
9/21/11 |  |  |  | 56 | 120 | B | 0 | 8.7898 | 0.33111 | [7 empty] | 110 | 0
9/21/11 |  |  |  | 46 | 129 | A | 20 | 0.54777 | 0.31586 | 0.58327 | 8.6059 | 0.58327 | 0.34102 | 10.4318 | 6 |  | 120 | 20
9/21/11 |  |  |  | 46 | 129 | B | 20 | 0.61876 | 0.36617 | [7 empty] | 120 | 20
9/21/11 |  |  |  | 46 | 130 | A | 10 | 3.179 | 0.45761 | 3.2337 | 2.3907 | 3.2337 | 0.42229 | 11.8296 | 6 |  | 121 | 10
9/21/11 |  |  |  | 46 | 130 | B | 10 | 3.2883 | 0.38697 | [7 empty] | 121 | 10
9/21/11 |  |  |  | 46 | 132 | A | 0 | 8.8751 | 0.48101 | 8.7408 | 2.173 | 8.7408 | 0.24964 | 131.0692 | 6 |  | 123 | 0
9/21/11 |  |  |  | 46 | 132 | B | 0 | 8.6065 | 0.018274 | [7 empty] | 123 | 0
9/21/11 |  |  |  | 42 | 144 | A | 20 | 0.24691 | 0.31863 | 0.24853 | 0.92354 | 0.24853 | 0.33139 | 5.4449 | 6 |  | 124 | 5
9/21/11 |  |  |  | 42 | 144 | B | 20 | 0.25016 | 0.34415 | [7 empty] | 124 | 5
9/21/11 |  |  |  | 42 | 145 | A | 10 | 3.1469 | 0.29384 | 3.1351 | 0.53159 | 3.1351 | 0.2554 | 21.2855 | 6 | copepods in sample | 125 | 5
9/21/11 |  |  |  | 42 | 145 | B | 10 | 3.1233 | 0.21696 | [6 empty] | copepods in sample | 125 | 5
9/21/11 |  |  |  | 42 | 147 | A | 0 | 9.5339 | 0.36961 | 9.282 | 3.8383 | 9.282 | 0.42376 | 18.0716 | 6 |  | 126 | 5
9/21/11 |  |  |  | 42 | 147 | B | 0 | 9.0301 | 0.47791 | [7 empty] | 126 | 5
9/21/11 |  |  |  | 39 | 161 | A | 20 | 0.23858 | 0.34569 | 0.21396 | 16.2784 | 0.21396 | 0.29704 | 23.1618 | 36 | variability >15% | 135 | 20
9/21/11 |  |  |  | 39 | 161 | B | 20 | 0.18933 | 0.24839 | [7 empty] | 135 | 20
9/21/11 |  |  |  | 39 | 162 | B | 10 | 1.0204 | 0.59029 | 1.0204 |  | 1.0204 | 0.59029 |  |  | dropped vial with sample 162A | 136 | 10
9/21/11 |  |  |  | 39 | 164 | A | 0 | 11.2333 | 0.61436 | 10.7845 | 5.8853 | 10.7845 | 0.39796 | 76.8988 | 6 | lost ~5ml | 136 | 10
9/21/11 |  |  |  | 39 | 164 | B | 0 | 10.3357 | 0.18157 | [7 empty] | 137 | 5
9/21/11 |  |  |  | 27 | 177 | A | 20 | 0.14918 | 0.26817 | 0.15567 | 5.8979 | 0.15567 | 0.27281 | 2.4032 | 6 |  | 137 | 5
9/21/11 |  |  |  | 27 | 177 | B | 20 | 0.16216 | 0.27744 | [7 empty] | 138 | 0
9/21/11 |  |  |  | 27 | 178 | A | 10 | 0.65041 | 0.46488 | 0.68693 | 7.5182 | 0.68693 | 0.46251 | 0.72283 | 6 |  | 138 | 0
9/21/11 |  |  |  | 27 | 178 | B | 10 | 0.72344 | 0.46015 | [6 empty] | lightly touched filter with finger | 139 | 5
9/21/11 |  |  |  | 27 | 180 | A | 0 | 8.72 | 2.7581 | 9.7453 | 14.8783 | 9.7453 | 1.4746 | 123.0884 | 6 |  | 139 | 5
9/21/11 |  |  |  | 27 | 180 | B | 0 | 10.7705 | 0.19116 | [6 empty] | lightly touched filter with finger | 140 | 5
9/21/11 |  |  |  | 2 | 192 | A | 20 | 0.16463 | 0.18367 | 0.16191 | 2.3729 | 0.16191 | 0.18092 | 2.148 | 6 |  | 140 | 5
9/21/11 |  |  |  | 2 | 192 | B | 20 | 0.1592 | 0.17817 | [7 empty] | 153 | 20
9/21/11 |  |  |  | 2 | 193 | A | 10 | 0.75633 | 0.38896 | 0.7347 | 4.1632 | 0.7347 | 0.40418 | 5.3254 | 6 |  | 153 | 20
9/21/11 |  |  |  | 2 | 193 | B | 10 | 0.71307 | 0.4194 | [7 empty] | 154 | 10
9/21/11 |  |  |  | 2 | 195 | A | 0 | 5.3282 | 0.46624 | 5.2379 | 2.4359 | 5.2379 | 0.51456 | 13.2789 | 6 | lightly touched filter with finger | 154 | 10
9/21/11 |  |  |  | 2 | 195 | B | 0 | 5.1477 | 0.56287 | [7 empty] | 155 | 5
9/21/11 |  |  |  | 3 | 208 | A | 20 | 0.1767 | 0.21566 | 0.1804 | 2.9042 | 0.1804 | 0.21516 | 0.32894 | 6 |  | 155 | 5
9/21/11 |  |  |  | 3 | 208 | B | 20 | 0.18411 | 0.21466 | [7 empty] | 156 | 0
9/21/11 |  |  |  | 3 | 209 | A | 10 | 0.96803 | 0.473 | 0.9337 | 5.1998 | 0.9337 | 0.46545 | 2.2935 | 6 |  | 156 | 0
9/21/11 |  |  |  | 3 | 209 | B | 10 | 0.89937 | 0.4579 | [7 empty] | 157 | 0
9/21/11 |  |  |  | 3 | 211 | A | 0 | 8.4746 | 0.66003 | 8.3688 | 1.7875 | 8.3688 | 0.6352 | 5.5273 | 6 |  | 157 | 0
9/21/11 |  |  |  | 3 | 211 | B | 0 | 8.263 | 0.61037 | [7 empty] | 158 | 10
9/21/11 |  |  |  | 6 | 221 | A | 20 | 0.54301 | 0.23446 | 0.55218 | 2.3495 | 0.55218 | 0.21958 | 9.588 | 6 |  | 158 | 10
9/21/11 |  |  |  | 6 | 221 | B | 20 | 0.56135 | 0.20469 | [7 empty] | 159 | 2
9/21/11 |  |  |  | 6 | 222 | A | 10 | 0.81504 | 0.42802 | 0.81465 | 0.067376 | 0.81465 | 0.42202 | 2.0091 | 6 |  | 159 | 2
9/21/11 |  |  |  | 6 | 222 | B | 10 | 0.81426 | 0.41603 | [7 empty] | 173 | 20
9/20/11 |  |  |  | 6 | 224 | A | 0 | 5.1653 | 0.47709 | 4.6176 | 16.7742 | 4.6176 | 0.47204 | 1.5128 | 36 | variability >15% | 173 | 20
9/20/11 |  |  |  | 6 | 224 | B | 0 | 4.0699 | 0.46699 | [7 empty] | 174 | 10
9/20/11 |  |  |  | 9 | 233 | A | 20 | 0.38652 | 0.27196 | 0.42078 | 11.5152 | 0.42078 | 0.23317 | 23.5292 | 6 |  | 174 | 10
9/20/11 |  |  |  | 9 | 233 | B | 20 | 0.45505 | 0.19438 | [7 empty] | 175 | 5
9/20/11 |  |  |  | 9 | 234 | A | 10 | 0.70016 | 0.27145 | 0.77836 | 14.208 | 0.77836 | 0.25665 | 8.1558 | 6 |  | 175 | 5
9/20/11 |  |  |  | 9 | 234 | B | 10 | 0.85655 | 0.24185 | [7 empty] | 176 | 0
9/20/11 |  |  |  | 9 | 236 | A | 0 | 3.6817 | 0.33032 | 3.6765 | 0.19755 | 3.6765 | 0.34756 | 7.0171 | 6 |  | 176 | 0
9/20/11 |  |  |  | 9 | 236 | B | 0 | 3.6714 | 0.36481 | [7 empty] | 190 | 20
9/20/11 |  |  |  | 12 | 249 | A | 20 | 0.11573 | 0.14578 | 0.11767 | 2.3253 | 0.11767 | 0.15133 | 5.1813 | 6 |  | 190 | 20
9/20/11 |  |  |  | 12 | 249 | B | 20 | 0.1196 | 0.15687 | [7 empty] | 191 | 10
9/20/11 |  |  |  | 12 | 250 | A | 10 | 0.90102 | 0.39104 | 0.86085 | 6.5995 | 0.86085 | 0.40994 | 6.5198 | 6 |  | 191 | 10
9/20/11 |  |  |  | 12 | 250 | B | 10 | 0.82067 | 0.42884 | [7 empty] | 192 | 5
9/20/11 |  |  |  | 12 | 252 | A | 0 | 3.9392 | 0.6938 | 4.1503 | 7.1919 | 4.1503 | 0.60619 | 20.4391 | 6 |  | 192 | 5
9/20/11 |  |  |  | 12 | 252 | B | 0 | 4.3614 | 0.51858 | [7 empty] | 193 | 0
9/20/11 |  |  |  | 14 | 264 | A | 20 | 0.84545 | 0.15815 | 0.84955 | 0.68132 | 0.84955 | 0.15399 | 3.8273 | 6 |  | 193 | 0
9/20/11 |  |  |  | 14 | 264 | B | 20 | 0.85364 | 0.14982 | [7 empty] | 207 | 20
9/20/11 |  |  |  | 14 | 265 | A | 10 | 1.808 | 0.23665 | 1.7943 | 1.079 | 1.7943 | 0.18319 | 41.2625 | 6 |  | 207 | 20
9/20/11 |  |  |  | 14 | 265 | B | 10 | 1.7806 | 0.12974 | [7 empty] | 208 | 10
9/20/11 |  |  |  | 14 | 267 | A | 0 | 3.9653 | 0.316 | 3.9576 | 0.27233 | 3.9576 | 0.33924 | 9.6903 | 6 |  | 208 | 10
9/20/11 |  |  |  | 14 | 267 | B | 0 | 3.95 | 0.36249 | [7 empty] | 210 | 0
9/20/11 |  |  |  | 16 | 275 | A | 20 | 1.0015 | 0.22505 | 0.95501 | 6.8812 | 0.95501 | 0.21241 | 8.4186 | 6 |  | 210 | 0
9/20/11 |  |  |  | 16 | 275 | B | 20 | 0.90855 | 0.19976 | [7 empty] | 223 | 20
9/20/11 |  |  |  | 16 | 276 | A | 10 | 1.4095 | 0.2904 | 1.4001 | 0.95224 | 1.4001 | 0.26835 | 11.6195 | 6 |  | 223 | 20
9/20/11 |  |  |  | 16 | 276 | B | 10 | 1.3907 | 0.2463 | [7 empty] | 224 | 10
9/20/11 |  |  |  | 16 | 278 | A | 0 | 1.5063 | 0.2712 | 1.5744 | 6.1111 | 1.5744 | 0.26209 | 4.9197 | 6 | lightly touched filter with finger | 224 | 10
9/20/11 |  |  |  | 16 | 278 | B | 0 | 1.6424 | 0.25297 | [6 empty] | lightly touched filter with finger | 226 | 0