## Notes
Analysis: Melissa Hennekes, 11-JAN-2012 using Water Properties' Guildline 8400B Salinometer Serial Number 68572. Data processing by Melissa Hennekes and Kenny Scozzafava
2012-01-19 | KS
No duplicate samples were taken therefore no precision analysis was performed
4 samples did not have a poly insert. (See below)
2012-03-05 | KS
Updated Event #18 to Event #19 (Station ADCP) as per Germaines email below:
"Hi All,
I am pulling together the bottle files for 2011-10. The rosette log for station ADCP indicates it was event #18 and you all used that information in your spreadsheets.
However, event #18 was not a rosette cast and was at station 108. The rosette cast at station ADCP was event #19. I have changed the event #s for my purposes and
can update your spreadsheets if you like. If you accept this conclusion, either send me updated spreadsheets or give me permission to do the update.
Thanks, Germaine"
Changed sample number 338 to number 238. Was a typo during analysis
Changed all flags to a four. Germaine confirmed that theses values were severe outliers in comparison to the ctd. Since there is a clear problem with the data, the flag was downngraded to a 4 instead of 3.

## QF 2011-10 SAL FINAL
Header: | Salinity samples were collected in 200 mL type II glass bottles with disposable plastic inserts and screw cap
supplied by Ocean Scientific International Limited. They were analyzed in a temperature-controlled lab on a Guildline 8400B Salinometer
standardized with IAPSO standard seawater 04 months after collection. For details including a duplicate analysis, see document QF2011-10SAL.xls.
Cruise_Number | Event_Number | Station | Sample_Number | Flag:Salinity Bottle | Salinity:Bottle | Comments
2011-10 | 1 | SI | 1 |  | 31.0284
2011-10 | 3 | 59 | 11 |  | 32.3145
2011-10 | 7 | 102 | 25 |  | 33.9229
2011-10 | 10 | 75 | 39 |  | 33.9337
2011-10 | 13 | 72 | 53 |  | 33.8756
2011-10 | 16 | 69 | 66 |  | 33.8394
2011-10 | 19 | ADCP | 78 |  | 33.0328
2011-10 | 23 | 65 | 87 |  | 33.1476
2011-10 | 26 | 62 | 97 |  | 33.0899
2011-10 | 31 | 56 | 108 |  | 31.4449
2011-10 | 39 | 46 | 122 |  | 31.367
2011-10 | 43 | 42 | 135 |  | 30.9698
2011-10 | 48 | 39 | 149 | 4 | 31.4154 | SAL: No liner, screw cap only
2011-10 | 51 | 27 | 166 | 4 | 31.2204 | SAL: No liner, screw cap only
2011-10 | 55 | 2 | 182 | 4 | 31.1272 | SAL: No liner, screw cap only
2011-10 | 58 | 3 | 197 |  | 31.0518
2011-10 | 60 | 6 | 213 |  | 30.7222
2011-10 | 63 | 9 | 226 |  | 30.619
2011-10 | 66 | 12 | 238 |  | 30.6724
2011-10 | 68 | 14 | 254 |  | 30.6085
2011-10 | 70 | 16 | 269 | 4 | 30.594 | SAL: No liner, screw cap only

## Flags
Institute of Ocean Sciences - Quality Flags for Water Sampling | Last Updated: October 2011
Double click document to use.

## Salinity Data
Event | Station | Bottle Label | DateTime | Bath Temperature | Uncorrected Ratio | Uncorrected Ratio StandDev | Correction | Adjusted Ratio | Calculated Salinity | Calculated Salinity StandDev | Flag | New Calculated Salinity | Comments
1 | SI | 1 | 2012-01-11 11:58 | 24C | 0.89816 | 6.9448e-06 | 2.9802e-06 | 0.89816 | 31.0284 | 0.0002693 |  | #VALUE!
3 | 59 | 11 | 2012-01-11 12:00 | 24C | 0.93134 | 9.0338e-06 | 3.0398e-06 | 0.93135 | 32.3144 | 0.00035079 |  | #VALUE!
7 | 102 | 25 | 2012-01-11 12:02 | 24C | 0.97256 | 4.1126e-05 | 3.0398e-06 | 0.97257 | 33.9229 | 0.0016085 |  | #VALUE!
10 | 75 | 39 | 2012-01-11 13:12 | 24C | 0.97284 | 4.189e-06 | 2.9802e-06 | 0.97284 | 33.9337 | 0.00016438 |  | #VALUE!
13 | 72 | 53 | 2012-01-11 13:14 | 24C | 0.97136 | 5.1542e-06 | 2.9802e-06 | 0.97136 | 33.8756 | 0.00020491 |  | #VALUE!
16 | 69 | 66 | 2012-01-11 13:16 | 24C | 0.97043 | 2.4911e-06 | 3.0398e-06 | 0.97043 | 33.8394 | 9.6822e-05 |  | #VALUE!
19 | ADCP | 78 | 2012-01-11 13:18 | 24C | 0.94979 | 4.4649e-06 | 2.9802e-06 | 0.94979 | 33.0328 | 0.00017317 |  | #VALUE!
23 | 65 | 87 | 2012-01-11 13:20 | 24C | 0.95273 | 3.3587e-06 | 2.9802e-06 | 0.95274 | 33.1476 | 0.0001298 |  | #VALUE!
26 | 62 | 97 | 2012-01-11 13:22 | 24C | 0.95125 | 3.5941e-06 | 2.9802e-06 | 0.95126 | 33.0899 | 0.00013924 |  | #VALUE!
31 | 56 | 108 | 2012-01-11 13:24 | 24C | 0.90893 | 1.4046e-06 | 2.9802e-06 | 0.90893 | 31.4449 | 5.3295e-05 |  | #VALUE!
39 | 46 | 122 | 2012-01-11 13:26 | 24C | 0.90691 | 7.4211e-06 | 2.9802e-06 | 0.90692 | 31.367 | 0.00028718 |  | #VALUE!
43 | 42 | 135 | 2012-01-11 13:28 | 24C | 0.89664 | 4.2257e-06 | 3.0398e-06 | 0.89665 | 30.9698 | 0.00016336 |  | #VALUE!
48 | 39 | 149 | 2012-01-11 13:30 | 24C | 0.90816 | 8.3638e-06 | 2.9802e-06 | 0.90817 | 31.4154 | 0.00032438 | 4 | #VALUE! | SAL: No liner, screw cap only
51 | 27 | 166 | 2012-01-11 13:32 | 24C | 0.90312 | 3.865e-06 | 3.0398e-06 | 0.90313 | 31.2204 | 0.00014904 | 4 | #VALUE! | SAL: No liner, screw cap only
55 | 2 | 182 | 2012-01-11 13:34 | 24C | 0.90072 | 7.8373e-06 | 2.861e-06 | 0.90072 | 31.1272 | 0.000302 | 4 | #VALUE! | SAL: No liner, screw cap only
58 | 3 | 197 | 2012-01-11 13:36 | 24C | 0.89876 | 3.5406e-06 | 3.0398e-06 | 0.89877 | 31.0518 | 0.00013724 |  | #VALUE!
60 | 6 | 213 | 2012-01-11 13:38 | 24C | 0.89023 | 2.1278e-06 | 2.9802e-06 | 0.89023 | 30.7222 | 8.0704e-05 |  | #VALUE!
63 | 9 | 226 | 2012-01-11 13:39 | 24C | 0.88755 | 4.1137e-06 | 3.0398e-06 | 0.88755 | 30.619 | 0.00015828 |  | #VALUE!
66 | 12 | 238 | 2012-01-11 13:41 | 24C | 0.88894 | 2.4912e-06 | 2.9802e-06 | 0.88894 | 30.6724 | 9.7211e-05 |  | #VALUE!
68 | 14 | 254 | 2012-01-11 13:44 | 24C | 0.88728 | 4.8368e-06 | 2.9802e-06 | 0.88728 | 30.6085 | 0.00018616 |  | #VALUE!
70 | 16 | 269 | 2012-01-11 13:46 | 24C | 0.8869 | 6.5495e-06 | 3.0398e-06 | 0.88691 | 30.594 | 0.00025095 | 4 | #VALUE! | SAL: No liner, screw cap only

## RAW Salinometer Output
Bottle Label | DateTime | Bath Temperature | Uncorrected Ratio | Uncorrected Ratio StandDev | Correction | Adjusted Ratio | Calculated Salinity | Calculated Salinity StandDev | Comments
1 | 2012-01-11 11:58 | 24C | 0.89816 | 6.9448e-06 | 2.9802e-06 | 0.89816 | 31.0284 | 0.0002693
11 | 2012-01-11 12:00 | 24C | 0.93134 | 9.0338e-06 | 3.0398e-06 | 0.93135 | 32.3144 | 0.00035079
25 | 2012-01-11 12:02 | 24C | 0.97256 | 4.1126e-05 | 3.0398e-06 | 0.97257 | 33.9229 | 0.0016085
39 | 2012-01-11 13:12 | 24C | 0.97284 | 4.189e-06 | 2.9802e-06 | 0.97284 | 33.9337 | 0.00016438
53 | 2012-01-11 13:14 | 24C | 0.97136 | 5.1542e-06 | 2.9802e-06 | 0.97136 | 33.8756 | 0.00020491
66 | 2012-01-11 13:16 | 24C | 0.97043 | 2.4911e-06 | 3.0398e-06 | 0.97043 | 33.8394 | 9.6822e-05
78 | 2012-01-11 13:18 | 24C | 0.94979 | 4.4649e-06 | 2.9802e-06 | 0.94979 | 33.0328 | 0.00017317
87 | 2012-01-11 13:20 | 24C | 0.95273 | 3.3587e-06 | 2.9802e-06 | 0.95274 | 33.1476 | 0.0001298
97 | 2012-01-11 13:22 | 24C | 0.95125 | 3.5941e-06 | 2.9802e-06 | 0.95126 | 33.0899 | 0.00013924
108 | 2012-01-11 13:24 | 24C | 0.90893 | 1.4046e-06 | 2.9802e-06 | 0.90893 | 31.4449 | 5.3295e-05
122 | 2012-01-11 13:26 | 24C | 0.90691 | 7.4211e-06 | 2.9802e-06 | 0.90692 | 31.367 | 0.00028718
135 | 2012-01-11 13:28 | 24C | 0.89664 | 4.2257e-06 | 3.0398e-06 | 0.89665 | 30.9698 | 0.00016336
149 | 2012-01-11 13:30 | 24C | 0.90816 | 8.3638e-06 | 2.9802e-06 | 0.90817 | 31.4154 | 0.00032438
166 | 2012-01-11 13:32 | 24C | 0.90312 | 3.865e-06 | 3.0398e-06 | 0.90313 | 31.2204 | 0.00014904
182 | 2012-01-11 13:34 | 24C | 0.90072 | 7.8373e-06 | 2.861e-06 | 0.90072 | 31.1272 | 0.000302
197 | 2012-01-11 13:36 | 24C | 0.89876 | 3.5406e-06 | 3.0398e-06 | 0.89877 | 31.0518 | 0.00013724
213 | 2012-01-11 13:38 | 24C | 0.89023 | 2.1278e-06 | 2.9802e-06 | 0.89023 | 30.7222 | 8.0704e-05
226 | 2012-01-11 13:39 | 24C | 0.88755 | 4.1137e-06 | 3.0398e-06 | 0.88755 | 30.619 | 0.00015828
338 | 2012-01-11 13:41 | 24C | 0.88894 | 2.4912e-06 | 2.9802e-06 | 0.88894 | 30.6724 | 9.7211e-05 | 338 is a typo. It should be 228. Changed in the other worksheets
254 | 2012-01-11 13:44 | 24C | 0.88728 | 4.8368e-06 | 2.9802e-06 | 0.88728 | 30.6085 | 0.00018616
269 | 2012-01-11 13:46 | 24C | 0.8869 | 6.5495e-06 | 3.0398e-06 | 0.88691 | 30.594 | 0.00025095