## Notes
Cruise 2011-10 September Chandler |  |  | File: Cocc2011-10\QF2011-10nuts.xls
Date : November 15, 2011
Analyst: Wendy Richardson
Data compiled by: Wendy Richardson
The Chauevent criteria was used to aid in the evaluation of the precision of duplicates.
Chauvenet outliers and other suspicious results were omitted from the Precision Statement.
If two nutrients had a Chauvenet reject value and the third nutrient was poor (even though not quiet at the Chauvenet value)
all three were omitted for the 'omit outliers' precision quote since there was obviously something wrong with the samples.
The rosette log said #110 was redundant, but I did have a tube labeled #110 and a sample in it .
Sample #110 had a labeled test tube with Bot 4 crossed out and Bot 5 penciled in.
For sample #41, omitted bad duplicate.
For sample #249, omitted bad duplicate.
Mar.3, 2012 | Changed event #18 to #19 - error on rosette sheet | G.Gatien

## QF NUTS Final
Cruise 2011-10 September Chandler |  |  |  |  | File: Cocc2011-10\QF2011-10nuts.xls
Nutrient data summary with Quality Flags |  |  |  |  | Date : November 15, 2011
Nutrient samples were collected in plastic tubes and quick frozen in aluminum blocks stored in -20 freezer
They were later analyzed at IOS using an Astoria analyzer following methods described in
Barwell-Clarke and Whitney (1996).
IOS Nutrient Methods (1996) Barwell-Clarke, J. and F. Whitney
For precision and duplicate details see worksheets in file QF2011-10nut.xls
Cruise_Number | Event_Number | Station | Sample_Number | Nitrate_plus_Nitrite | Flag:Nitrate_plus_Nitrite | Silicate | Flag:Silicate | Phosphate | Flag:Phosphate | Comments
|  |  |  | uM |  | uM |  | uM
2011-10 | 1 | SI | 9 | 4.4 |  | 32.4 |  | 1.01
2011-10 | 1 | SI | 8 | 7.3 |  | 34.3 |  | 1.18
2011-10 | 1 | SI | 7 | 10.5 |  | 34.6 |  | 1.32
2011-10 | 1 | SI | 6 | 21.1 |  | 43.7 |  | 2.01
2011-10 | 1 | SI | 5 | 25.2 |  | 43.5 |  | 2.24
2011-10 | 1 | SI | 4 | 26.7 | 6 | 49.2 | 6 | 2.395 | 6
2011-10 | 1 | SI | 3 | 27 |  | 52.6 |  | 2.47
2011-10 | 1 | SI | 2 | 25 |  | 75.2 |  | 3.68
2011-10 | 1 | SI | 1 | 24.7 |  | 75.7 |  | 3.69
2011-10 | 3 | 59 | 23 | 17.4 |  | 42.8 |  | 1.64
2011-10 | 3 | 59 | 22 | 19.1 |  | 43.4 |  | 1.73
2011-10 | 3 | 59 | 21 | 19.8 |  | 43.8 |  | 1.76
2011-10 | 3 | 59 | 20 | 20 |  | 44 |  | 1.78
2011-10 | 3 | 59 | 19 | 20.1 | 6 | 43.95 | 6 | 1.805 | 6
2011-10 | 3 | 59 | 18 | 21.3 |  | 44.7 |  | 1.88
2011-10 | 3 | 59 | 17 | 23 |  | 45.7 |  | 1.95
2011-10 | 3 | 59 | 16 | 27 |  | 47 |  | 2.16
2011-10 | 3 | 59 | 15 | 27.5 |  | 47.1 |  | 2.18
2011-10 | 3 | 59 | 14 | 28.95 | 6 | 47.65 | 6 | 2.265 | 6
2011-10 | 3 | 59 | 13 | 29.5 |  | 47.7 |  | 2.27
2011-10 | 3 | 59 | 12 | 30.4 |  | 48 |  | 2.36
2011-10 | 3 | 59 | 11 | 30.5 |  | 48.2 |  | 2.33
2011-10 | 3 | 59 | 10 | 30.4 |  | 48.2 |  | 2.39
2011-10 | 7 | 102 | 37 | 22.5 |  | 43.4 |  | 1.93
2011-10 | 7 | 102 | 36 | 25.1 |  | 44.5 |  | 2.04
2011-10 | 7 | 102 | 35 | 26.5 |  | 44.8 |  | 2.07
2011-10 | 7 | 102 | 34 | 27.1 |  | 43.3 |  | 2.12
2011-10 | 7 | 102 | 33 | 30.35 | 6 | 44.9 | 6 | 2.265 | 6
2011-10 | 7 | 102 | 32 | 30.8 |  | 44 |  | 2.27
2011-10 | 7 | 102 | 31 | 30.7 |  | 43.5 |  | 2.23
2011-10 | 7 | 102 | 30 | 32.5 |  | 45.7 |  | 2.34
2011-10 | 7 | 102 | 29 | 33.1 |  | 46 |  | 2.38
2011-10 | 7 | 102 | 28 | 32.85 | 6 | 45.55 | 6 | 2.36 | 6
2011-10 | 7 | 102 | 27 | 34.1 |  | 49.3 |  | 2.43
2011-10 | 7 | 102 | 26 | 35.8 |  | 53.3 |  | 2.53
2011-10 | 7 | 102 | 25 | 35.9 |  | 54.3 |  | 2.55
2011-10 | 7 | 102 | 24 | 33.7 |  | 52.4 |  | 2.45
2011-10 | 10 | 75 | 51 | 24.5 |  | 44.3 |  | 1.99
2011-10 | 10 | 75 | 50 | 24.2 |  | 42.8 |  | 2
2011-10 | 10 | 75 | 49 | 24.9 |  | 43.2 |  | 2.03
2011-10 | 10 | 75 | 48 | 25.75 | 36 | 43.95 | 36 | 2.075 | 36 | Nut: very poor duplicates
2011-10 | 10 | 75 | 47 | 27 |  | 45.7 |  | 2.15
2011-10 | 10 | 75 | 46 | 28 |  | 45.6 |  | 2.18
2011-10 | 10 | 75 | 45 | 28.3 |  | 44.5 |  | 2.19
2011-10 | 10 | 75 | 44 | 28 |  | 38 |  | 2.03
2011-10 | 10 | 75 | 43 | 30.2 |  | 40.3 |  | 2.15
2011-10 | 10 | 75 | 42 | 32.1 |  | 44.5 |  | 2.22
2011-10 | 10 | 75 | 41 | 33.3 |  | 48.2 |  | 2.31
2011-10 | 10 | 75 | 40 | 32.8 |  | 48.5 |  | 2.3
2011-10 | 10 | 75 | 39 | 33.4 |  | 49.6 |  | 2.35
2011-10 | 10 | 75 | 38 | 33.4 |  | 49.8 |  | 2.37
2011-10 | 13 | 72 | 64 | 22.2 |  | 43.4 |  | 1.91
2011-10 | 13 | 72 | 63 | 22.2 |  | 43.5 |  | 1.93
2011-10 | 13 | 72 | 62 | 22.6 |  | 43.4 |  | 1.93
2011-10 | 13 | 72 | 61 | 26 | 6 | 45.1 | 6 | 2.11 | 6
2011-10 | 13 | 72 | 60 | 27.7 |  | 46.5 |  | 2.19
2011-10 | 13 | 72 | 59 | 28.8 |  | 45.9 |  | 2.24
2011-10 | 13 | 72 | 58 | 30.3 |  | 45.6 |  | 2.26
2011-10 | 13 | 72 | 57 | 32.3 |  | 43.9 |  | 2.32
2011-10 | 13 | 72 | 56 | 33.7 | 36 | 48.5 | 36 | 2.405 | 36 | Nut: very poor duplicates
2011-10 | 13 | 72 | 55 | 34.2 |  | 49.9 |  | 2.46
2011-10 | 13 | 72 | 54 | 34.4 |  | 50 |  | 2.48
2011-10 | 13 | 72 | 53 | 34.9 |  | 50.9 |  | 2.51
2011-10 | 13 | 72 | 52 | 33.5 |  | 49.1 |  | 2.45
2011-10 | 16 | 69 | 76 | 21.3 |  | 42.5 |  | 1.9
2011-10 | 16 | 69 | 75 | 21.2 |  | 42.4 |  | 1.93
2011-10 | 16 | 69 | 74 | 22.25 | 6 | 42.7 | 6 | 1.96 | 6
2011-10 | 16 | 69 | 73 | 26 |  | 45.1 |  | 2.1
2011-10 | 16 | 69 | 72 | 27.8 | 6 | 46.75 | 6 | 2.195 | 6
2011-10 | 16 | 69 | 71 | 29.3 |  | 47.1 |  | 2.26
2011-10 | 16 | 69 | 70 | 33.2 |  | 49 |  | 2.45
2011-10 | 16 | 69 | 69 | 33.5 |  | 46.8 |  | 2.42
2011-10 | 16 | 69 | 68 | 34.7 |  | 49.7 |  | 2.48
2011-10 | 16 | 69 | 67 | 35.2 |  | 50.1 |  | 2.54
2011-10 | 16 | 69 | 66 | 34.6 |  | 49.5 |  | 2.48
2011-10 | 16 | 69 | 65 | 34.8 |  | 49.9 |  | 2.5
2011-10 | 19 | ADCP | 85 | 23.5 |  | 43.2 |  | 1.99
2011-10 | 19 | ADCP | 84 | 23.5 |  | 43 |  | 2.03
2011-10 | 19 | ADCP | 83 | 26.45 | 6 | 45.35 | 6 | 2.17 | 6
2011-10 | 19 | ADCP | 82 | 27.1 |  | 46.1 |  | 2.13
2011-10 | 19 | ADCP | 81 | 28.6 |  | 46.9 |  | 2.46
2011-10 | 19 | ADCP | 80 | 29.6 |  | 47.1 |  | 2.27
2011-10 | 19 | ADCP | 79 | 30.1 |  | 47.7 |  | 2.32
2011-10 | 19 | ADCP | 78 | 32.9 |  | 49.1 |  | 2.41
2011-10 | 19 | ADCP | 77 | 34.2 |  | 49.3 |  | 2.49
2011-10 | 23 | 65 | 95 | 21.9 |  | 43.7 |  | 1.89
2011-10 | 23 | 65 | 94 | 22 |  | 43.7 |  | 1.91
2011-10 | 23 | 65 | 93 | 22.8 |  | 43.8 |  | 1.95
2011-10 | 23 | 65 | 92 | 24.3 | 6 | 44.65 | 6 | 2.04 | 6
2011-10 | 23 | 65 | 91 | 25.7 |  | 44.3 |  | 2.12
2011-10 | 23 | 65 | 90 | 28.7 |  | 46.8 |  | 2.24
2011-10 | 23 | 65 | 89 | 30 |  | 47.7 |  | 2.3
2011-10 | 23 | 65 | 88 | 31 |  | 47.4 |  | 2.35
2011-10 | 23 | 65 | 87 | 33.3 |  | 49.2 |  | 2.45
2011-10 | 23 | 65 | 86 | 34.2 |  | 49.8 |  | 2.48
2011-10 | 26 | 62 | 106 | 23.8 |  | 45 |  | 1.98
2011-10 | 26 | 62 | 105 | 24.3 |  | 45.1 |  | 1.99
2011-10 | 26 | 62 | 104 | 24.2 |  | 45.3 |  | 1.99
2011-10 | 26 | 62 | 103 | 24.4 |  | 45.3 |  | 2.01
2011-10 | 26 | 62 | 102 | 24.8 |  | 45.4 |  | 2.09
2011-10 | 26 | 62 | 101 | 26.25 | 6 | 46.25 | 6 | 2.115 | 6
2011-10 | 26 | 62 | 100 | 26.3 |  | 45.8 |  | 2.12
2011-10 | 26 | 62 | 99 | 29.7 |  | 48.2 |  | 2.27
2011-10 | 26 | 62 | 98 | 32.4 |  | 49.5 |  | 2.39
2011-10 | 26 | 62 | 97 | 33.3 |  | 49.9 |  | 2.44
2011-10 | 26 | 62 | 96 | 33 |  | 49.7 |  | 2.46
2011-10 | 31 | 56 | 120 | 5.7 |  | 39.3 |  | 0.79
2011-10 | 31 | 56 | 119 | 11.4 |  | 42.4 |  | 1.19
2011-10 | 31 | 56 | 118 | 17.4 |  | 44.6 |  | 1.57
2011-10 | 31 | 56 | 117 | 17.8 |  | 44.7 |  | 1.62
2011-10 | 31 | 56 | 116 | 23.7 |  | 46.8 |  | 1.99
2011-10 | 31 | 56 | 115 | 23.1 |  | 45.8 |  | 1.96
2011-10 | 31 | 56 | 114 | 24.4 |  | 46.8 |  | 2.03
2011-10 | 31 | 56 | 113 | 25 |  | 47.3 |  | 2.07
2011-10 | 31 | 56 | 112 | 26.1 |  | 47.8 |  | 2.13
2011-10 | 31 | 56 | 111 | 29.1 |  | 48.9 |  | 2.32
2011-10 | 31 | 56 | 110 | 28.2 |  | 48.3 |  | 2.33
2011-10 | 31 | 56 | 107 | 28.8 |  | 48.6 |  | 2.3
2011-10 | 39 | 46 | 132 | 0.2 |  | 34.8 |  | 0.45
2011-10 | 39 | 46 | 131 | 0.4 |  | 33.6 |  | 0.43
2011-10 | 39 | 46 | 130 | 9.4 |  | 40.9 |  | 1.07
2011-10 | 39 | 46 | 129 | 23 |  | 48.5 |  | 2
2011-10 | 39 | 46 | 128 | 25.5 |  | 48.4 |  | 2.09
2011-10 | 39 | 46 | 127 | 25.8 | 6 | 48.65 | 6 | 2.105 | 6
2011-10 | 39 | 46 | 126 | 26.4 |  | 49.1 |  | 2.16
2011-10 | 39 | 46 | 125 | 27 |  | 49.4 |  | 2.18
2011-10 | 39 | 46 | 124 | 27 |  | 48.8 |  | 2.16
2011-10 | 39 | 46 | 123 | 27.7 |  | 48.4 |  | 2.43
2011-10 | 39 | 46 | 122 | 28.5 |  | 48.6 |  | 2.29
2011-10 | 39 | 46 | 121 | 28.7 |  | 49.1 |  | 2.4
2011-10 | 43 | 42 | 147 | 1.7 |  | 34.8 |  | 0.59
2011-10 | 43 | 42 | 146 | 2 |  | 35.2 |  | 0.65
2011-10 | 43 | 42 | 145 | 12.05 | 6 | 42.45 | 6 | 1.29 | 6
2011-10 | 43 | 42 | 144 | 23.9 |  | 49.7 |  | 2.07
2011-10 | 43 | 42 | 143 | 26.3 |  | 48.3 |  | 2.16
2011-10 | 43 | 42 | 142 | 26.9 |  | 47.6 |  | 2.21
2011-10 | 43 | 42 | 141 | 27.6 |  | 47.6 |  | 2.23
2011-10 | 43 | 42 | 140 | 27.5 |  | 49.2 |  | 2.2
2011-10 | 43 | 42 | 139 | 28 |  | 49.4 |  | 2.27
2011-10 | 43 | 42 | 138 | 28.6 |  | 54.7 |  | 2.44
2011-10 | 43 | 42 | 137 | 28.8 |  | 55.9 |  | 2.48
2011-10 | 43 | 42 | 136 | 28.75 | 6 | 56.1 | 6 | 2.485 | 6
2011-10 | 43 | 42 | 135 | 29.1 |  | 56.2 |  | 2.5
2011-10 | 43 | 42 | 134 | 29.2 |  | 56.5 |  | 2.56
2011-10 | 43 | 42 | 133 | 29.3 |  | 56.8 |  | 2.55
2011-10 | 48 | 39 | 164 | 0.1 |  | 32.8 |  | 0.61
2011-10 | 48 | 39 | 163 | 0.9 |  | 33.3 |  | 0.73
2011-10 | 48 | 39 | 162 | 17.45 | 6 | 45.45 | 6 | 1.65 | 6
2011-10 | 48 | 39 | 161 | 24.6 |  | 51.8 |  | 2.15
2011-10 | 48 | 39 | 160 | 26.3 |  | 52.7 |  | 2.29
2011-10 | 48 | 39 | 159 | 25.9 |  | 47.1 |  | 2.26
2011-10 | 48 | 39 | 158 | 26.6 |  | 46.9 |  | 2.29
2011-10 | 48 | 39 | 157 | 27.9 | 6 | 46.8 | 6 | 2.275 | 6
2011-10 | 48 | 39 | 156 | 27.9 |  | 48.3 |  | 2.3
2011-10 | 48 | 39 | 155 | 27.9 |  | 49.8 |  | 2.32
2011-10 | 48 | 39 | 154 | 28.3 |  | 54 |  | 2.43
2011-10 | 48 | 39 | 153 | 28.9 |  | 58.8 |  | 2.56
2011-10 | 48 | 39 | 152 | 28.9 |  | 60.4 |  | 2.61
2011-10 | 48 | 39 | 151 | 28.6 |  | 54.8 |  | 2.46
2011-10 | 48 | 39 | 150 | 28.7 |  | 54.1 |  | 2.47
2011-10 | 48 | 39 | 149 | 28.7 |  | 56.2 |  | 2.58
2011-10 | 48 | 39 | 148 | 27.9 |  | 55.5 |  | 2.5
2011-10 | 51 | 27 | 180 | 2.5 |  | 35.1 |  | 0.78
2011-10 | 51 | 27 | 179 | 17.4 |  | 46 |  | 1.66
2011-10 | 51 | 27 | 178 | 22.8 |  | 48.1 |  | 2
2011-10 | 51 | 27 | 177 | 25.8 |  | 52.2 |  | 2.24
2011-10 | 51 | 27 | 176 | 27 | 6 | 52 | 6 | 2.33 | 6
2011-10 | 51 | 27 | 175 | 27.2 |  | 49 |  | 2.33
2011-10 | 51 | 27 | 174 | 27.8 |  | 49.5 |  | 2.36
2011-10 | 51 | 27 | 173 | 28.3 |  | 47.9 |  | 2.34
2011-10 | 51 | 27 | 172 | 28.2 |  | 48.9 |  | 2.26
2011-10 | 51 | 27 | 171 | 28.3 |  | 51.6 |  | 2.33
2011-10 | 51 | 27 | 170 | 28.4 |  | 54.6 |  | 2.44
2011-10 | 51 | 27 | 169 | 28.8 | 6 | 56.9 | 6 | 2.51 | 6
2011-10 | 51 | 27 | 168 | 28.3 |  | 59.6 |  | 2.57
2011-10 | 51 | 27 | 167 | 29 |  | 57.1 |  | 2.51
2011-10 | 51 | 27 | 166 | 29.1 |  | 55.9 |  | 2.5
2011-10 | 51 | 27 | 165 | 29.1 |  | 54.7 |  | 2.46
2011-10 | 55 | 2 | 195 | 0.2 |  | 31.9 |  | 0.47
2011-10 | 55 | 2 | 194 | 1.4 |  | 34.1 |  | 0.63
2011-10 | 55 | 2 | 193 | 17.4 |  | 47.3 |  | 1.64
2011-10 | 55 | 2 | 192 | 24.8 |  | 53.2 |  | 2.18
2011-10 | 55 | 2 | 191 | 26.7 | 6 | 54.3 | 6 | 2.32 | 6
2011-10 | 55 | 2 | 190 | 27.6 |  | 54.3 |  | 2.38
2011-10 | 55 | 2 | 189 | 27.5 |  | 47.9 |  | 2.31
2011-10 | 55 | 2 | 188 | 28.6 |  | 48.5 |  | 2.36
2011-10 | 55 | 2 | 187 | 28.3 |  | 49.4 |  | 2.35
2011-10 | 55 | 2 | 186 | 28.5 |  | 51.6 |  | 2.4
2011-10 | 55 | 2 | 185 | 28.75 | 6 | 55.1 | 6 | 2.53 | 36 | PO4: Poor duplicate
2011-10 | 55 | 2 | 184 | 29.1 |  | 57 |  | 2.53
2011-10 | 55 | 2 | 183 | 29.1 |  | 60.3 |  | 2.61
2011-10 | 55 | 2 | 182 | 29 |  | 61.7 |  | 2.61
2011-10 | 55 | 2 | 181 | 29.1 |  | 61.2 |  | 2.6
2011-10 | 58 | 3 | 211 | 0.8 |  | 34.3 |  | 0.71
2011-10 | 58 | 3 | 210 | 2.2 |  | 35.8 |  | 0.75
2011-10 | 58 | 3 | 209 | 16.6 |  | 47.8 |  | 1.67
2011-10 | 58 | 3 | 208 | 25.1 |  | 52.3 |  | 2.13
2011-10 | 58 | 3 | 207 | 27.4 |  | 51.6 |  | 2.38
2011-10 | 58 | 3 | 206 | 28.1 |  | 52.8 |  | 2.33
2011-10 | 58 | 3 | 205 | 29.05 | 6 | 52.1 | 6 | 2.475 | 36 | PO4: Poor duplicate
2011-10 | 58 | 3 | 204 | 28.6 |  | 48.8 |  | 2.24
2011-10 | 58 | 3 | 203 | 28.4 |  | 50.9 |  | 2.24
2011-10 | 58 | 3 | 202 | 27.2 |  | 46.7 |  | 2.3
2011-10 | 58 | 3 | 201 | 28.6 |  | 57.1 |  | 2.52
2011-10 | 58 | 3 | 200 | 29.3 |  | 63.1 |  | 2.67
2011-10 | 58 | 3 | 199 | 29.5 | 6 | 68.45 | 6 | 2.78 | 6
2011-10 | 58 | 3 | 198 | 29 |  | 64.5 |  | 2.66
2011-10 | 58 | 3 | 197 | 29.1 |  | 60.1 |  | 2.55
2011-10 | 58 | 3 | 196 | 29 |  | 61.6 |  | 2.58
2011-10 | 60 | 6 | 224 | 0.1 |  | 30.7 |  | 0.49
2011-10 | 60 | 6 | 223 | 0 |  | 31.6 |  | 0.64
2011-10 | 60 | 6 | 222 | 13.5 |  | 45.1 |  | 1.44
2011-10 | 60 | 6 | 221 | 25.3 | 6 | 53.8 | 6 | 2.215 | 6
2011-10 | 60 | 6 | 220 | 25.4 |  | 54.2 |  | 2.24
2011-10 | 60 | 6 | 219 | 26.05 | 6 | 54.55 | 6 | 2.275 | 6
2011-10 | 60 | 6 | 218 | 27 |  | 55 |  | 2.33
2011-10 | 60 | 6 | 217 | 28.9 |  | 51.7 |  | 2.48
2011-10 | 60 | 6 | 216 | 29.2 |  | 51.9 |  | 2.46
2011-10 | 60 | 6 | 215 | 29 |  | 54.6 |  | 2.47
2011-10 | 60 | 6 | 214 | 29.1 |  | 59.3 |  | 2.57
2011-10 | 60 | 6 | 213 | 29.3 |  | 65.8 |  | 2.71
2011-10 | 60 | 6 | 212 | 29.1 |  | 68.9 |  | 2.75
2011-10 | 63 | 9 | 236 | 4.3 |  | 35.4 |  | 0.84
2011-10 | 63 | 9 | 235 | 7 |  | 38.6 |  | 1.06
2011-10 | 63 | 9 | 234 | 17.9 |  | 48.2 |  | 1.78
2011-10 | 63 | 9 | 233 | 23.3 |  | 51.8 |  | 2.04
2011-10 | 63 | 9 | 232 | 25.8 |  | 54 |  | 2.27
2011-10 | 63 | 9 | 231 | 26.3 |  | 53.9 |  | 2.33
2011-10 | 63 | 9 | 230 | 26.65 | 6 | 54.95 | 6 | 2.355 | 6
2011-10 | 63 | 9 | 229 | 29.2 |  | 56.3 |  | 2.56
2011-10 | 63 | 9 | 228 | 29.2 |  | 53.5 |  | 2.5
2011-10 | 63 | 9 | 227 | 29.3 |  | 60.6 |  | 2.55
2011-10 | 63 | 9 | 226 | 28.8 |  | 71.2 |  | 2.75
2011-10 | 63 | 9 | 225 | 27.6 |  | 72.2 |  | 2.74
2011-10 | 66 | 12 | 252 | 0.9 |  | 34.2 |  | 0.71
2011-10 | 66 | 12 | 251 | 4.5 |  | 37.4 |  | 0.96
2011-10 | 66 | 12 | 250 | 15.2 |  | 47 |  | 1.54
2011-10 | 66 | 12 | 249 | 25.1 |  | 53.9 |  | 2.14
2011-10 | 66 | 12 | 248 | 27.4 |  | 54.8 |  | 2.41
2011-10 | 66 | 12 | 247 | 27.5 |  | 54.7 |  | 2.4
2011-10 | 66 | 12 | 246 | 28.1 |  | 55.8 |  | 2.44
2011-10 | 66 | 12 | 245 | 29 |  | 52.2 |  | 2.49
2011-10 | 66 | 12 | 244 | 28.7 |  | 51.7 |  | 2.41
2011-10 | 66 | 12 | 243 | 28.6 | 6 | 52.55 | 6 | 2.425 | 6
2011-10 | 66 | 12 | 242 | 28.5 |  | 55.1 |  | 2.47
2011-10 | 66 | 12 | 241 | 29.3 |  | 61.9 |  | 2.64
2011-10 | 66 | 12 | 240 | 29.4 |  | 62 |  | 2.64
2011-10 | 66 | 12 | 239 | 29.2 |  | 63.8 |  | 2.66
2011-10 | 66 | 12 | 238 | 29.5 |  | 66.5 |  | 2.71
2011-10 | 66 | 12 | 237 | 29.3 |  | 72.4 |  | 2.8
2011-10 | 68 | 14 | 267 | 12.5 |  | 43.7 |  | 1.39
2011-10 | 68 | 14 | 266 | 16.2 |  | 46.4 |  | 1.64
2011-10 | 68 | 14 | 265 | 19.2 |  | 48.7 |  | 1.84
2011-10 | 68 | 14 | 264 | 24.05 | 6 | 52.9 | 6 | 2.165 | 6
2011-10 | 68 | 14 | 263 | 24.8 |  | 53.5 |  | 2.2
2011-10 | 68 | 14 | 262 | 25.1 |  | 53.9 |  | 2.25
2011-10 | 68 | 14 | 261 | 26.5 |  | 54 |  | 2.16
2011-10 | 68 | 14 | 260 | 29.6 |  | 53.8 |  | 2.4
2011-10 | 68 | 14 | 259 | 29.9 |  | 51.8 |  | 2.34
2011-10 | 68 | 14 | 258 | 30.1 |  | 54.7 |  | 2.37
2011-10 | 68 | 14 | 257 | 30.2 | 6 | 61.65 | 6 | 2.55 | 36 | PO4: Poor duplicate
2011-10 | 68 | 14 | 256 | 30 |  | 63.1 |  | 2.68
2011-10 | 68 | 14 | 255 | 30 |  | 65.5 |  | 2.51
2011-10 | 68 | 14 | 254 | 29.7 |  | 64.2 |  | 2.73
2011-10 | 68 | 14 | 253 | 29.7 |  | 67.1 |  | 2.73
2011-10 | 70 | 16 | 278 | 21.5 |  | 51.1 |  | 2.01
2011-10 | 70 | 16 | 277 | 22.2 |  | 51.5 |  | 2.05
2011-10 | 70 | 16 | 276 | 23.9 |  | 53 |  | 2.18
2011-10 | 70 | 16 | 275 | 24.8 |  | 53.9 |  | 2.23
2011-10 | 70 | 16 | 274 | 25.5 |  | 54.5 |  | 2.37
2011-10 | 70 | 16 | 273 | 26.9 |  | 55.4 |  | 2.38
2011-10 | 70 | 16 | 272 | 28.3 | 6 | 55.4 | 6 | 2.435 | 6
2011-10 | 70 | 16 | 271 | 29.5 |  | 55.6 |  | 2.54
2011-10 | 70 | 16 | 270 | 30 |  | 57.6 |  | 2.6
2011-10 | 70 | 16 | 269 | 29.6 |  | 64.3 |  | 2.66
2011-10 | 70 | 16 | 268 | 29.7 |  | 66.7 |  | 2.43

## Precision Statement
Cruise 2011-10 September Chandler |  | File: Cocc2011-10\QF2011-10nuts.xls
Date : November 15, 2011
Precision was determined by analyzing replicate samples drawn from one Niskin.
Pooled standard deviation of pairs of samples (Sp) was calucalated by:
Sp = SQRT{sum (d*d)/2k}
where k = no. of pairs and d = difference between pairs
This is the precision with outliers removed:
Sp for nitrate for the range 12.0 to 34.6 uM, k = 29, was 0.19
Sp for silicate for the range 41.6 to 68.5 uM, k = 29, was 0.25
Sp for phosphate for the range 1.29 to 2.79 uM, k = 29, was 0.025
Accuracy of the stock standard batch was determined by using commercially available standards from WAKO Chemicals
(Sagami Chemical Company of Japan).
The values were within 0.01% of the 20 uM Nitrate Standard.
The values were within 0.91% of the 100 uM Silicate Standard.
The Phosphate values were within 0.69% of the previous (Feb 23, 2011 secondary) stock solution.
Sept 26, 2011 Nitrate stock standard solution was used for this cruise analyses.
Sept 26, 2011 Silicate stock standard solution was used for this cruise analyses.
Sept 26, 2011 Phosphate stock standard solution ( Sept 27th secondary) was used for this cruise analyses.

## Duplicates
Averaging Duplicates from same Niskin and Calculating Precision | [11 empty] | File: Cocc2011-10\QF2011-10nuts.xls
Chavevent reject |  | Poor duplicates | [9 empty] | Date : November 15, 2011
Critical values
Station | Cast | Sample # | NO3 | SiO3 | PO4 |  | Average |  | NO3 diff sq | Si diff sq | PO4 diff sq | Comments |  | CHAUVENET DIFF |  |  | CHAUV REJECT |  | Chauvenet statistic
|  |  | uM | uM | uM | NO3 | SiO3 | PO4 |  |  |  |  | NO3 | SIL | PO4 | NO3 | SIL | PO4 | n | Chauvenet
SI | 1 | 4 | 26.7 | 49.2 | 2.39 | [7 empty] | 0 | 0 | 0.01 | 0.62071 | 0.5633 | 0.52512 | 3 | 1.37
SI | 1 | 4 dup | 26.7 | 49.2 | 2.4 | 26.7 | 49.2 | 2.395 | 0 | 0 | 0.0001 | [7 empty] | 4 | 1.53
59 | 3 | 19 | 20.1 | 43.9 | 1.8 | [7 empty] | 0 | 0.1 | 0.01 | 0.62071 | 0.3814 | 0.52512 | 5 | 1.64
59 | 3 | 19 dup | 20.1 | 44 | 1.81 | 20.1 | 43.95 | 1.805 | 0 | 0.01 | 0.0001 | [7 empty] | 6 | 1.73
59 | 3 | 14 | 28.9 | 47.6 | 2.25 | [7 empty] | 0.1 | 0.1 | 0.03 | 0.37714 | 0.3814 | 0.039188 | 7 | 1.8
59 | 3 | 14 dup | 29 | 47.7 | 2.28 | 28.95 | 47.65 | 2.265 | 0.01 | 0.01 | 0.0009 | [7 empty] | 8 | 1.87
102 | 7 | 33 | 30.1 | 44.9 | 2.25 | [7 empty] | 0.5 | 0 | 0.03 | 0.59714 | 0.5633 | 0.039188 | 9 | 1.91
102 | 7 | 33 dup | 30.6 | 44.9 | 2.28 | 30.35 | 44.9 | 2.265 | 0.25 | 0 | 0.0009 | [7 empty] | 10 | 1.97
102 | 7 | 28 | 32.8 | 45.4 | 2.36 | [7 empty] | 0.1 | 0.3 | 0 | 0.37714 | 0.017603 | 0.76809 | 20 | 2.24
102 | 7 | 28 dup | 32.9 | 45.7 | 2.36 | 32.85 | 45.55 | 2.36 | 0.01 | 0.09 | 0 | [7 empty] | 30 | 2.39
75 | 10 | 48 | 25.1 | 43 | 2.04 | [7 empty] | 1.3 | 1.9 | 0.07 | 2.5457 | 2.8928 | 0.93268 | 50 | 2.57
75 | 10 | 48 dup | 26.4 | 44.9 | 2.11 | 25.75 | 43.95 | 2.075 | 1.69 | 3.61 | 0.0049 | bad dups | [6 empty] | 80 | 2.74
75 | 10 | 41 | 33.3 | 48.2 | 2.31 | [13 empty] | 100 | 2.81
75 | 10 | 41 dup | 31 | 45.2 | 2.21 | [6 empty] | Omit dup | [6 empty] | 150 | 2.93
72 | 13 | 61 | 26.5 | 45.8 | 2.12 | [7 empty] | 1 | 1.4 | 0.02 | 1.815 | 1.9833 | 0.28215 | 200 | 3.02
72 | 13 | 61 dup | 25.5 | 44.4 | 2.1 | 26 | 45.1 | 2.11 | 1 | 1.96 | 0.0004
72 | 13 | 56 | 32.8 | 47.4 | 2.37 | [7 empty] | 1.8 | 2.2 | 0.07 | 3.7635 | 3.4384 | 0.93268
72 | 13 | 56 dup | 34.6 | 49.6 | 2.44 | 33.7 | 48.5 | 2.405 | 3.24 | 4.84 | 0.0049 | bad dups
69 | 16 | 74 | 22.3 | 42.9 | 1.94 | [7 empty] | 0.1 | 0.4 | 0.04 | 0.37714 | 0.16429 | 0.20378
69 | 16 | 74 dup | 22.2 | 42.5 | 1.98 | 22.25 | 42.7 | 1.96 | 0.01 | 0.16 | 0.0016
69 | 16 | 72 | 27.9 | 46.8 | 2.18 | [7 empty] | 0.2 | 0.1 | 0.03 | 0.13357 | 0.3814 | 0.039188
69 | 16 | 72 dup | 27.7 | 46.7 | 2.21 | 27.8 | 46.75 | 2.195 | 0.04 | 0.01 | 0.0009
ADCP | 19 | 83 | 26.2 | 45.1 | 2.2 | [7 empty] | 0.5 | 0.5 | 0.06 | 0.59714 | 0.34619 | 0.68971
ADCP | 19 | 83 dup | 26.7 | 45.6 | 2.14 | 26.45 | 45.35 | 2.17 | 0.25 | 0.25 | 0.0036
65 | 23 | 92 | 24.4 | 44.7 | 2.03 | [7 empty] | 0.2 | 0.1 | 0.02 | 0.13357 | 0.3814 | 0.28215
65 | 23 | 92 dup | 24.2 | 44.6 | 2.05 | 24.3 | 44.65 | 2.04 | 0.04 | 0.01 | 0.0004
62 | 26 | 101 | 26.4 | 46.4 | 2.13 | [7 empty] | 0.3 | 0.3 | 0.03 | 0.11 | 0.017603 | 0.039188
62 | 26 | 101 dup | 26.1 | 46.1 | 2.1 | 26.25 | 46.25 | 2.115 | 0.09 | 0.09 | 0.0009
46 | 39 | 127 | 25.8 | 48.6 | 2.11 | [7 empty] | 0 | 0.1 | 0.01 | 0.62071 | 0.3814 | 0.52512
46 | 39 | 127 dup | 25.8 | 48.7 | 2.1 | 25.8 | 48.65 | 2.105 | 0 | 0.01 | 0.0001
42 | 43 | 145 | 12 | 42.4 | 1.29 | [7 empty] | 0.1 | 0.1 | 0 | 0.37714 | 0.3814 | 0.76809
42 | 43 | 145 dup | 12.1 | 42.5 | 1.29 | 12.05 | 42.45 | 1.29 | 0.01 | 0.01 | 0
42 | 43 | 136 | 28.7 | 56 | 2.48 | [7 empty] | 0.1 | 0.2 | 0.01 | 0.37714 | 0.1995 | 0.52512
42 | 43 | 136 dup | 28.8 | 56.2 | 2.49 | 28.75 | 56.1 | 2.485 | 0.01 | 0.04 | 0.0001
39 | 48 | 162 | 17.7 | 45.9 | 1.66 | [7 empty] | 0.5 | 0.9 | 0.02 | 0.59714 | 1.0738 | 0.28215
39 | 48 | 162 dup | 17.2 | 45 | 1.64 | 17.45 | 45.45 | 1.65 | 0.25 | 0.81 | 0.0004
39 | 48 | 157 | 27.9 | 46.8 | 2.28 | [7 empty] | 0 | 0 | 0.01 | 0.62071 | 0.5633 | 0.52512
39 | 48 | 157 dup | 27.9 | 46.8 | 2.27 | 27.9 | 46.8 | 2.275 | 0 | 0 | 0.0001
27 | 51 | 176 | 27 | 52 | 2.33 | [7 empty] | 0 | 0 | 0 | 0.62071 | 0.5633 | 0.76809
27 | 51 | 176 dup | 27 | 52 | 2.33 | 27 | 52 | 2.33 | 0 | 0 | 0
27 | 51 | 169 | 28.9 | 57 | 2.51 | [7 empty] | 0.2 | 0.2 | 0 | 0.13357 | 0.1995 | 0.76809
27 | 51 | 169 dup | 28.7 | 56.8 | 2.51 | 28.8 | 56.9 | 2.51 | 0.04 | 0.04 | 0
2 | 55 | 191 | 26.6 | 54.2 | 2.32 | [7 empty] | 0.2 | 0.2 | 0 | 0.13357 | 0.1995 | 0.76809
2 | 55 | 191 dup | 26.8 | 54.4 | 2.32 | 26.7 | 54.3 | 2.32 | 0.04 | 0.04 | 0
2 | 55 | 185 | 28.8 | 55.1 | 2.48 | [6 empty] | PO4 poor dup | 0.1 | 0 | 0.1 | 0.37714 | 0.5633 | 1.6616
2 | 55 | 185 dup | 28.7 | 55.1 | 2.58 | 28.75 | 55.1 | 2.53 | 0.01 | 0 | 0.01
3 | 58 | 205 | 29.1 | 52.1 | 2.52 | [6 empty] | PO4 poor dup | 0.1 | 0 | 0.09 | 0.37714 | 0.5633 | 1.4186
3 | 58 | 205 dup | 29 | 52.1 | 2.43 | 29.05 | 52.1 | 2.475 | 0.01 | 0 | 0.0081
3 | 58 | 199 | 29.5 | 68.4 | 2.79 | [7 empty] | 0 | 0.1 | 0.02 | 0.62071 | 0.3814 | 0.28215
3 | 58 | 199 dup | 29.5 | 68.5 | 2.77 | 29.5 | 68.45 | 2.78 | 0 | 0.01 | 0.0004
6 | 60 | 221 | 25.2 | 53.8 | 2.22 | [7 empty] | 0.2 | 0 | 0.01 | 0.13357 | 0.5633 | 0.52512
6 | 60 | 221 dup | 25.4 | 53.8 | 2.21 | 25.3 | 53.8 | 2.215 | 0.04 | 0 | 0.0001
6 | 60 | 219 | 26 | 54.5 | 2.27 | [7 empty] | 0.1 | 0.1 | 0.01 | 0.37714 | 0.3814 | 0.52512
6 | 60 | 219 dup | 26.1 | 54.6 | 2.28 | 26.05 | 54.55 | 2.275 | 0.01 | 0.01 | 0.0001
9 | 63 | 230 | 26.6 | 54.9 | 2.35 | [7 empty] | 0.1 | 0.1 | 0.01 | 0.37714 | 0.3814 | 0.52512
9 | 63 | 230 dup | 26.7 | 55 | 2.36 | 26.65 | 54.95 | 2.355 | 0.01 | 0.01 | 0.0001
12 | 66 | 249 | 25.1 | 53.9 | 2.14
12 | 66 | 249 dup | 19.1 | 41.6 | 1.88 | [6 empty] | Omit dup
12 | 66 | 243 | 28.6 | 52.5 | 2.42 | [7 empty] | 0 | 0.1 | 0.01 | 0.62071 | 0.3814 | 0.52512
12 | 66 | 243 dup | 28.6 | 52.6 | 2.43 | 28.6 | 52.55 | 2.425 | 0 | 0.01 | 0.0001
14 | 68 | 264 | 24 | 52.9 | 2.17 | [7 empty] | 0.1 | 0 | 0.01 | 0.37714 | 0.5633 | 0.52512
14 | 68 | 264 dup | 24.1 | 52.9 | 2.16 | 24.05 | 52.9 | 2.165 | 0.01 | 0 | 0.0001
14 | 68 | 257 | 30.2 | 61.6 | 2.65 | [6 empty] | PO4 bad dup | 0 | 0.1 | 0.2 | 0.62071 | 0.3814 | 4.0912
14 | 68 | 257 dup | 30.2 | 61.7 | 2.45 | 30.2 | 61.65 | 2.55 | 0 | 0.01 | 0.04
16 | 70 | 272 | 28.3 | 55.4 | 2.46 | [7 empty] | 0 | 0 | 0.05 | 0.62071 | 0.5633 | 0.44674
16 | 70 | 272 dup | 28.3 | 55.4 | 2.41 | 28.3 | 55.4 | 2.435 | 0 | 0 | 0.0025
[5 empty] | SUM OF (X-Y)SQ |  |  |  | 7.07 | 12.04 | 0.0818
[5 empty] | COUNT |  |  |  | 31 | 31 | 31
[5 empty] | SUM/2*COUNT |  |  |  | 0.11403 | 0.19419 | 0.0013194
[5 empty] | SQRT(SUM/2*COUNT) |  |  |  | 0.33769 | 0.44067 | 0.036323 | mean diff | 0.25484 | 0.30968 | 0.031613
[12 empty] | stdev | 0.41056 | 0.54976 | 0.041158
[5 empty] | min |  |  |  | 12 | 41.6 | 1.29
[5 empty] | max |  |  |  | 34.6 | 68.5 | 2.79
Omit Outliers
[5 empty] | SUM OF (X-Y)SQ |  |  |  | 2.14 | 3.59 | 0.0369
[5 empty] | COUNT |  |  |  | 29 | 29 | 29
[5 empty] | SUM/2*COUNT |  |  |  | 0.036897 | 0.061897 | 0.00063621
[5 empty] | SQRT(SUM/2*COUNT) |  |  |  | 0.19208 | 0.24879 | 0.025223

## Flags
Quality Flags for Water Samples
No comment is necessary for flag "6".
For all flags other than "6" always enter a comment explaining the reason for the flag.
Preface comment with a three letter tag for the specific parameter ie: NUT-comment if the comment
applies to all nutrients, or NO3-comment, SIL-comment etc. if it only applies to one nutrient.
Enter comments relating to nutrient analysis only.
Do not repeat comments already noted for the cast - e.g. niskin tripped at wrong depth,
but do include comments explaining a missing sample - e.g. flag "9" niskin did not close.
Specific Nutrient Analysis Quality Flags
1 | Nitrate sample drawn but not analyzed because of anoxic water; frozen test tube overfilled
and broken – lost sample
3 | Suspected misfire/mis-sample as sample doesn’t fit profile; poor duplicates; some salt
crystals on test tube rim
4 | Frozen test tube cracked and sample may have been contaminated during thawing; many salt
crystals on test tube rim
5 | Phosphate sample clearly contaminated and value is unreasonable
9 | Planning to sample but for some reason (see above) sample not drawn; nutrient tube empty,
sample missing (as per log sheet – it should have been taken).
Flag | Value Definition
1 | Sample for this measurement was drawn from water bottle but not analyzed (e.g. broken sample
bottle; nitrate not analyzed in anoxic water; sample lost).
2 | Acceptable measurement (not normally used).
3 | Questionable measurement (potential problem observed in sampling, analysis, or value; e.g.
poor agreement between reps but unclear which is better; Niskin integrity questionable but not
severe). Suspected misfire or mis-sample would be noted as an outlier and would be flagged “3”.
4 | Bad measurement (known problem with sampling or analysis but not serious enough to
completely discard the value; e.g. Niskin integrity was badly compromised; bubble in oxygen
sample; chlorophyll filter askew on funnel).
5 | Measurement not reported because the value was clearly bad. Use only when a value is clearly
unreasonable or unavailable.
6 | Mean of replicate measurements (summary of replicates and table of replicate data must be included
in the quality flagged file).
7 | Manual chromatographic peak measurement.
8 | Irregular digital chromatographic peak integration.
9 | Sample not drawn for this measurement from this bottle (planning to sample this bottle, but it didn’t
get collected because the Niskin did not close; there was no water left in the Niskin; the Niskin was
emptied before it was sampled; or we simply forgot).