## File List
Number of Files= |  | 21
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 2011-11-0001.mrgcln2 | 2011-11-0001.sam | 12 | 12 | 2011-11-0001.mrgcln2 & 2011-11-0001.sam
2 | 2011-11-0003.mrgcln2 | 2011-11-0003.sam | 14 | 14 | 2011-11-0003.mrgcln2 & 2011-11-0003.sam
3 | 2011-11-0007.mrgcln2 | 2011-11-0007.sam | 16 | 16 | 2011-11-0007.mrgcln2 & 2011-11-0007.sam
4 | 2011-11-0010.mrgcln2 | 2011-11-0010.sam | 18 | 18 | 2011-11-0010.mrgcln2 & 2011-11-0010.sam
5 | 2011-11-0013.mrgcln2 | 2011-11-0013.sam | 20 | 20 | 2011-11-0013.mrgcln2 & 2011-11-0013.sam
6 | 2011-11-0016.mrgcln2 | 2011-11-0016.sam | 22 | 22 | 2011-11-0016.mrgcln2 & 2011-11-0016.sam
7 | 2011-11-0019.mrgcln2 | 2011-11-0019.sam | 24 | 24 | 2011-11-0019.mrgcln2 & 2011-11-0019.sam
8 | 2011-11-0023.mrgcln2 | 2011-11-0023.sam | 26 | 26 | 2011-11-0023.mrgcln2 & 2011-11-0023.sam
9 | 2011-11-0026.mrgcln2 | 2011-11-0026.sam | 28 | 28 | 2011-11-0026.mrgcln2 & 2011-11-0026.sam
10 | 2011-11-0032.mrgcln2 | 2011-11-0032.sam | 30 | 30 | 2011-11-0032.mrgcln2 & 2011-11-0032.sam
11 | 2011-11-0039.mrgcln2 | 2011-11-0039.sam | 32 | 32 | 2011-11-0039.mrgcln2 & 2011-11-0039.sam
12 | 2011-11-0043.mrgcln2 | 2011-11-0043.sam | 34 | 34 | 2011-11-0043.mrgcln2 & 2011-11-0043.sam
13 | 2011-11-0048.mrgcln2 | 2011-11-0048.sam | 36 | 36 | 2011-11-0048.mrgcln2 & 2011-11-0048.sam
14 | 2011-11-0051.mrgcln2 | 2011-11-0051.sam | 38 | 38 | 2011-11-0051.mrgcln2 & 2011-11-0051.sam
15 | 2011-11-0055.mrgcln2 | 2011-11-0055.sam | 40 | 40 | 2011-11-0055.mrgcln2 & 2011-11-0055.sam
16 | 2011-11-0058.mrgcln2 | 2011-11-0058.sam | 42 | 42 | 2011-11-0058.mrgcln2 & 2011-11-0058.sam
17 | 2011-11-0060.mrgcln2 | 2011-11-0060.sam | 44 | 44 | 2011-11-0060.mrgcln2 & 2011-11-0060.sam
18 | 2011-11-0063.mrgcln2 | 2011-11-0063.sam | 46 | 46 | 2011-11-0063.mrgcln2 & 2011-11-0063.sam
19 | 2011-11-0066.mrgcln2 | 2011-11-0066.sam | 48 | 48 | 2011-11-0066.mrgcln2 & 2011-11-0066.sam
20 | 2011-11-0070.mrgcln2 | 2011-11-0070.sam | 50 | 50 | 2011-11-0070.mrgcln2 & 2011-11-0070.sam
21 | 2011-11-0075.mrgcln2 | 2011-11-0075.sam | 52 | 52 | 2011-11-0075.mrgcln2 & 2011-11-0075.sam

## (Sal0 - Sal_Bot)
Calculation of Linear Least Squares Fit For
(Sal0 - Sal_Bot)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal0 - Sal_Bot), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.012528 |  | X | CALC Y
m= | 2.7422e-06 | 6.5068e-06 |  | Std Dev of Resid |  | 0.0019011 |  | 100.248 | -0.00077576
b= | -0.0010507 | 0.0014552 |  | Resid Sum of Squares |  | 5.0599e-05 |  | 353.272 | -8.1912e-05
# of Values Extracted = |  |  | 21
# of Values Used in Fit = |  |  | 16
File | Use | Pressure | Sal0 | Sal0 | Diff (Sal0 - Sal_Bot) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 75.7551 | 30.6399 | 0.0024195 | -0.061474 | -0.00084293 | 0.060631 |  | 201.317 | 0.0026817
2 | YES | 201.317 | 31.1301 | 0.00016003 | 0.0026817 | -0.00049861 | -0.0031803 |  | 197.278 | -0.0001297
3 | YES | 197.278 | 33.5086 | 0.0044786 | -0.0001297 | -0.00050968 | -0.00037998 |  | 201.003 | 0.0011978
4 | YES | 201.003 | 33.5622 | 0.00095302 | 0.0011978 | -0.00049947 | -0.0016973 |  | 175.581 | 0.0021935
5 | YES | 175.581 | 33.3 | 5.3495e-05 | 0.0021935 | -0.00056918 | -0.0027626 |  | 102.344 | -0.00095367
6 | NO | 150.202 | 32.6716 | 0.0010326 | 0.012356 | -0.00063878 | -0.012995 |  | 100.248 | -0.0039921
7 | YES | 102.344 | 31.2469 | 0.00056789 | -0.00095367 | -0.00077001 | 0.00018366 |  | 125.728 | -0.0011807
8 | YES | 100.248 | 31.0685 | 0.0014927 | -0.0039921 | -0.00077576 | 0.0032163 |  | 200.139 | 0.0014191
9 | YES | 125.728 | 31.1024 | 0.00066712 | -0.0011807 | -0.00070589 | 0.00047476 |  | 149.733 | -0.00071716
10 | YES | 200.139 | 30.7647 | 0.00019387 | 0.0014191 | -0.00050184 | -0.0019209 |  | 299.799 | 0.00046349
11 | YES | 149.733 | 30.4585 | 0.00020883 | -0.00071716 | -0.00064006 | 7.7101e-05 |  | 353.272 | -0.0025997
12 | YES | 299.799 | 31.1231 | 0.0001287 | 0.00046349 | -0.00022855 | -0.00069203 |  | 299.965 | -0.00027275
13 | YES | 353.272 | 31.1644 | 0.00012666 | -0.0025997 | -8.1912e-05 | 0.0025178 |  | 250.74 | -0.001545
14 | YES | 299.965 | 31.064 | 9.0635e-05 | -0.00027275 | -0.00022809 | 4.4659e-05 |  | 300.764 | 6.2943e-05
15 | YES | 250.74 | 31.0039 | 0.00039868 | -0.001545 | -0.00036308 | 0.0011819 |  | 174.484 | -0.003191
16 | YES | 300.764 | 31.0863 | 0.0001026 | 6.2943e-05 | -0.0002259 | -0.00028884 |  | 249.78 | -0.00097275
17 | YES | 174.484 | 30.9076 | 0.00013032 | -0.003191 | -0.00057219 | 0.0026188
18 | NO | 149.43 | 30.6709 | 0.0013408 | -0.0089912 | -0.00064089 | 0.0083503
19 | NO | 299.961 | 30.79 | 0.0001027 | -0.0050354 | -0.0002281 | 0.0048073 |  |  |  | -0.000471 | 0.0018483
20 | YES | 249.78 | 30.7572 | 4.6328e-05 | -0.00097275 | -0.00036571 | 0.00060704
21 | NO | 123.889 | 30.0528 | 0.018159 | -0.049538 | -0.00071093 | 0.048827
NO
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
YES
NO
FIT vs. Pressure
FIT vs. Sal0
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (Sal1 - Sal_Bot)
Calculation of Linear Least Squares Fit For
(Sal1 - Sal_Bot)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal1 - Sal_Bot), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.0046381 |  | X | CALC Y
m= | -1.6665e-06 | 6.3036e-06 |  | Std Dev of Resid |  | 0.0019197 |  | 100.248 | -7.2571e-05
b= | 9.4496e-05 | 0.0014425 |  | Resid Sum of Squares |  | 5.528e-05 |  | 353.272 | -0.00049424
# of Values Extracted = |  |  | 21
# of Values Used in Fit = |  |  | 17
File | Use | Pressure | Sal1 | Sal1 | Diff (Sal1 - Sal_Bot) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 75.7551 | 30.6415 | 0.0018357 | -0.059936 | -3.1752e-05 | 0.059905 |  | 201.317 | 0.003128
2 | YES | 201.317 | 31.1305 | 0.0001346 | 0.003128 | -0.00024101 | -0.0033691 |  | 197.278 | 1.5259e-05
3 | YES | 197.278 | 33.5087 | 0.005008 | 1.5259e-05 | -0.00023427 | -0.00024953 |  | 201.003 | 0.00057221
4 | YES | 201.003 | 33.5616 | 0.00037932 | 0.00057221 | -0.00024048 | -0.00081269 |  | 175.581 | 0.0025825
5 | YES | 175.581 | 33.3004 | 0.00016488 | 0.0025825 | -0.00019812 | -0.0027807 |  | 102.344 | -0.00028229
6 | NO | 150.202 | 32.6716 | 0.0012665 | 0.012402 | -0.00015582 | -0.012557 |  | 100.248 | -0.0028362
7 | YES | 102.344 | 31.2476 | 0.00057952 | -0.00028229 | -7.6064e-05 | 0.00020622 |  | 125.728 | -0.00079918
8 | YES | 100.248 | 31.0697 | 0.00062011 | -0.0028362 | -7.2571e-05 | 0.0027637 |  | 200.139 | 0.0018825
9 | YES | 125.728 | 31.1028 | 0.00067532 | -0.00079918 | -0.00011503 | 0.00068415 |  | 149.733 | -0.00028992
10 | YES | 200.139 | 30.7652 | 0.00028572 | 0.0018825 | -0.00023904 | -0.0021216 |  | 299.799 | 0.00085449
11 | YES | 149.733 | 30.4589 | 0.00018173 | -0.00028992 | -0.00015504 | 0.00013488 |  | 353.272 | -0.0020905
12 | YES | 299.799 | 31.1235 | 0.00026973 | 0.00085449 | -0.00040513 | -0.0012596 |  | 299.965 | 0.00022697
13 | YES | 353.272 | 31.1649 | 0.0001298 | -0.0020905 | -0.00049424 | 0.0015962 |  | 250.74 | -0.0015278
14 | YES | 299.965 | 31.0645 | 7.8601e-05 | 0.00022697 | -0.00040541 | -0.00063238 |  | 300.764 | 0.00055313
15 | YES | 250.74 | 31.0039 | 0.00065874 | -0.0015278 | -0.00032337 | 0.0012044 |  | 174.484 | -0.0024834
16 | YES | 300.764 | 31.0868 | 0.00023823 | 0.00055313 | -0.00040674 | -0.00095987 |  | 299.961 | -0.0036716
17 | YES | 174.484 | 30.9083 | 0.00020912 | -0.0024834 | -0.00019629 | 0.0022871 |  | 249.78 | -0.0003643 | -0.00026647 | 0.0018631
18 | NO | 149.43 | 30.6719 | 0.0013475 | -0.0080357 | -0.00015453 | 0.0078811
19 | YES | 299.961 | 30.7913 | 0.00011074 | -0.0036716 | -0.0004054 | 0.0032663
20 | YES | 249.78 | 30.7578 | 6.7771e-05 | -0.0003643 | -0.00032177 | 4.2534e-05
21 | NO | 123.889 | 30.0581 | 0.018509 | -0.044237 | -0.00011197 | 0.044125
NO
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
NO
FIT vs. Pressure
FIT vs. Sal1
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (Sal0 - Sal_Bot) (2)
Calculation of Linear Least Squares Fit For
(Sal0 - Sal_Bot)
3
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal0 - Sal_Bot), Prop=File Pair #
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.23723 |  | X | CALC Y
m= | -0.00016897 | 8.0977e-05 |  | Std Dev of Resid |  | 0.0016709 |  | 2 | 0.00094415
b= | 0.0012821 | 0.00093825 |  | Resid Sum of Squares |  | 3.9085e-05 |  | 20 | -0.0020974
# of Values Extracted = |  |  | 21
# of Values Used in Fit = |  |  | 16
File | Use | Pressure | Sal0 | Sal0 | Diff (Sal0 - Sal_Bot) |  |  |  | Fit vs. | File Pair #
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 75.7551 | 30.6399 | 0.0024195 | -0.061474 | 0.0011131 | 0.062587 |  | 2 | 0.0026817
2 | YES | 201.317 | 31.1301 | 0.00016003 | 0.0026817 | 0.00094415 | -0.0017376 |  | 3 | -0.0001297
3 | YES | 197.278 | 33.5086 | 0.0044786 | -0.0001297 | 0.00077518 | 0.00090488 |  | 4 | 0.0011978
4 | YES | 201.003 | 33.5622 | 0.00095302 | 0.0011978 | 0.0006062 | -0.00059161 |  | 5 | 0.0021935
5 | YES | 175.581 | 33.3 | 5.3495e-05 | 0.0021935 | 0.00043723 | -0.0017562 |  | 7 | -0.00095367
6 | NO | 150.202 | 32.6716 | 0.0010326 | 0.012356 | 0.00026826 | -0.012088 |  | 8 | -0.0039921
7 | YES | 102.344 | 31.2469 | 0.00056789 | -0.00095367 | 9.9287e-05 | 0.001053 |  | 9 | -0.0011807
8 | YES | 100.248 | 31.0685 | 0.0014927 | -0.0039921 | -6.9686e-05 | 0.0039224 |  | 10 | 0.0014191
9 | YES | 125.728 | 31.1024 | 0.00066712 | -0.0011807 | -0.00023866 | 0.00094199 |  | 11 | -0.00071716
10 | YES | 200.139 | 30.7647 | 0.00019387 | 0.0014191 | -0.00040763 | -0.0018267 |  | 12 | 0.00046349
11 | YES | 149.733 | 30.4585 | 0.00020883 | -0.00071716 | -0.0005766 | 0.00014056 |  | 13 | -0.0025997
12 | YES | 299.799 | 31.1231 | 0.0001287 | 0.00046349 | -0.00074558 | -0.0012091 |  | 14 | -0.00027275
13 | YES | 353.272 | 31.1644 | 0.00012666 | -0.0025997 | -0.00091455 | 0.0016852 |  | 15 | -0.001545
14 | YES | 299.965 | 31.064 | 9.0635e-05 | -0.00027275 | -0.0010835 | -0.00081077 |  | 16 | 6.2943e-05
15 | YES | 250.74 | 31.0039 | 0.00039868 | -0.001545 | -0.0012525 | 0.00029246 |  | 17 | -0.003191
16 | YES | 300.764 | 31.0863 | 0.0001026 | 6.2943e-05 | -0.0014215 | -0.0014844 |  | 20 | -0.00097275
17 | YES | 174.484 | 30.9076 | 0.00013032 | -0.003191 | -0.0015904 | 0.0016006
18 | NO | 149.43 | 30.6709 | 0.0013408 | -0.0089912 | -0.0017594 | 0.0072318
19 | NO | 299.961 | 30.79 | 0.0001027 | -0.0050354 | -0.0019284 | 0.003107
20 | YES | 249.78 | 30.7572 | 4.6328e-05 | -0.00097275 | -0.0020974 | -0.0011246
21 | NO | 123.889 | 30.0528 | 0.018159 | -0.049538 | -0.0022663 | 0.047271
NO
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
YES
NO
FIT vs. Pressure
FIT vs. Sal0
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (Sal1 - Sal_Bot) (2)
Calculation of Linear Least Squares Fit For
(Sal1 - Sal_Bot)
3
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal1 - Sal_Bot), Prop=File Pair #
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.31074 |  | X | CALC Y
m= | -0.00018658 | 7.1747e-05 |  | Std Dev of Resid |  | 0.0015975 |  | 2 | 0.0013908
b= | 0.0017639 | 0.00087162 |  | Resid Sum of Squares |  | 3.828e-05 |  | 20 | -0.0019676
# of Values Extracted = |  |  | 21
# of Values Used in Fit = |  |  | 17
File | Use | Pressure | Sal1 | Sal1 | Diff (Sal1 - Sal_Bot) |  |  |  | Fit vs. | File Pair #
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 75.7551 | 30.6415 | 0.0018357 | -0.059936 | 0.0015773 | 0.061514 |  | 2 | 0.003128
2 | YES | 201.317 | 31.1305 | 0.0001346 | 0.003128 | 0.0013908 | -0.0017373 |  | 3 | 1.5259e-05
3 | YES | 197.278 | 33.5087 | 0.005008 | 1.5259e-05 | 0.0012042 | 0.0011889 |  | 4 | 0.00057221
4 | YES | 201.003 | 33.5616 | 0.00037932 | 0.00057221 | 0.0010176 | 0.00044541 |  | 5 | 0.0025825
5 | YES | 175.581 | 33.3004 | 0.00016488 | 0.0025825 | 0.00083104 | -0.0017515 |  | 7 | -0.00028229
6 | NO | 150.202 | 32.6716 | 0.0012665 | 0.012402 | 0.00064446 | -0.011757 |  | 8 | -0.0028362
7 | YES | 102.344 | 31.2476 | 0.00057952 | -0.00028229 | 0.00045788 | 0.00074017 |  | 9 | -0.00079918
8 | YES | 100.248 | 31.0697 | 0.00062011 | -0.0028362 | 0.00027131 | 0.0031075 |  | 10 | 0.0018825
9 | YES | 125.728 | 31.1028 | 0.00067532 | -0.00079918 | 8.4733e-05 | 0.00088391 |  | 11 | -0.00028992
10 | YES | 200.139 | 30.7652 | 0.00028572 | 0.0018825 | -0.00010184 | -0.0019844 |  | 12 | 0.00085449
11 | YES | 149.733 | 30.4589 | 0.00018173 | -0.00028992 | -0.00028842 | 1.4982e-06 |  | 13 | -0.0020905
12 | YES | 299.799 | 31.1235 | 0.00026973 | 0.00085449 | -0.00047499 | -0.0013295 |  | 14 | 0.00022697
13 | YES | 353.272 | 31.1649 | 0.0001298 | -0.0020905 | -0.00066157 | 0.0014289 |  | 15 | -0.0015278
14 | YES | 299.965 | 31.0645 | 7.8601e-05 | 0.00022697 | -0.00084815 | -0.0010751 |  | 16 | 0.00055313
15 | YES | 250.74 | 31.0039 | 0.00065874 | -0.0015278 | -0.0010347 | 0.00049307 |  | 17 | -0.0024834
16 | YES | 300.764 | 31.0868 | 0.00023823 | 0.00055313 | -0.0012213 | -0.0017744 |  | 19 | -0.0036716
17 | YES | 174.484 | 30.9083 | 0.00020912 | -0.0024834 | -0.0014079 | 0.0010755 |  | 20 | -0.0003643
18 | NO | 149.43 | 30.6719 | 0.0013475 | -0.0080357 | -0.0015944 | 0.0064412
19 | YES | 299.961 | 30.7913 | 0.00011074 | -0.0036716 | -0.001781 | 0.0018906
20 | YES | 249.78 | 30.7578 | 6.7771e-05 | -0.0003643 | -0.0019676 | -0.0016033
21 | NO | 123.889 | 30.0581 | 0.018509 | -0.044237 | -0.0021542 | 0.042083
NO
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
NO
FIT vs. Pressure
FIT vs. Sal1
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (Sal0 - Sal_Bot) (3)
Calculation of Linear Least Squares Fit For
(Sal0 - Sal_Bot)
2
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal0 - Sal_Bot), Prop=Sal0
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.16936 |  | X | CALC Y
m= | 0.006991 | 0.0035518 |  | Std Dev of Resid |  | 0.016004 |  | 30.0528 | -0.014701
b= | -0.2248 | 0.11136 |  | Resid Sum of Squares |  | 0.0048662 |  | 33.5622 | 0.0098327
# of Values Extracted = |  |  | 21
# of Values Used in Fit = |  |  | 21
File | Use | Pressure | Sal0 | Sal0 | Diff (Sal0 - Sal_Bot) |  |  |  | Fit vs. | Sal0
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 75.7551 | 30.6399 | 0.0024195 | -0.061474 | -0.010597 | 0.050877 |  | 30.6399 | -0.061474
2 | YES | 201.317 | 31.1301 | 0.00016003 | 0.0026817 | -0.00717 | -0.0098517 |  | 31.1301 | 0.0026817
3 | YES | 197.278 | 33.5086 | 0.0044786 | -0.0001297 | 0.009458 | 0.0095877 |  | 33.5086 | -0.0001297
4 | YES | 201.003 | 33.5622 | 0.00095302 | 0.0011978 | 0.0098327 | 0.0086349 |  | 33.5622 | 0.0011978
5 | YES | 175.581 | 33.3 | 5.3495e-05 | 0.0021935 | 0.0079997 | 0.0058062 |  | 33.3 | 0.0021935
6 | YES | 150.202 | 32.6716 | 0.0010326 | 0.012356 | 0.0036066 | -0.0087492 |  | 32.6716 | 0.012356
7 | YES | 102.344 | 31.2469 | 0.00056789 | -0.00095367 | -0.0063534 | -0.0053998 |  | 31.2469 | -0.00095367
8 | YES | 100.248 | 31.0685 | 0.0014927 | -0.0039921 | -0.0076006 | -0.0036085 |  | 31.0685 | -0.0039921
9 | YES | 125.728 | 31.1024 | 0.00066712 | -0.0011807 | -0.0073636 | -0.006183 |  | 31.1024 | -0.0011807
10 | YES | 200.139 | 30.7647 | 0.00019387 | 0.0014191 | -0.0097245 | -0.011144 |  | 30.7647 | 0.0014191
11 | YES | 149.733 | 30.4585 | 0.00020883 | -0.00071716 | -0.011865 | -0.011148 |  | 30.4585 | -0.00071716
12 | YES | 299.799 | 31.1231 | 0.0001287 | 0.00046349 | -0.0072189 | -0.0076824 |  | 31.1231 | 0.00046349
13 | YES | 353.272 | 31.1644 | 0.00012666 | -0.0025997 | -0.0069302 | -0.0043305 |  | 31.1644 | -0.0025997
14 | YES | 299.965 | 31.064 | 9.0635e-05 | -0.00027275 | -0.0076321 | -0.0073593 |  | 31.064 | -0.00027275
15 | YES | 250.74 | 31.0039 | 0.00039868 | -0.001545 | -0.0080522 | -0.0065073 |  | 31.0039 | -0.001545
16 | YES | 300.764 | 31.0863 | 0.0001026 | 6.2943e-05 | -0.0074762 | -0.0075391 |  | 31.0863 | 6.2943e-05
17 | YES | 174.484 | 30.9076 | 0.00013032 | -0.003191 | -0.0087255 | -0.0055345 |  | 30.9076 | -0.003191
18 | YES | 149.43 | 30.6709 | 0.0013408 | -0.0089912 | -0.01038 | -0.001389 |  | 30.6709 | -0.0089912
19 | YES | 299.961 | 30.79 | 0.0001027 | -0.0050354 | -0.0095476 | -0.0045122 |  | 30.79 | -0.0050354
20 | YES | 249.78 | 30.7572 | 4.6328e-05 | -0.00097275 | -0.0097769 | -0.0088042 |  | 30.7572 | -0.00097275
21 | YES | 123.889 | 30.0528 | 0.018159 | -0.049538 | -0.014701 | 0.034836 |  | 30.0528 | -0.049538
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. Sal0
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Main
# Channels= | 3 |  |  |  | COMPARE Version 3.3 | Run at 2012/03/13 09:40:28
| Primary | Secondary |  | Comparison Name
Ref | Pressure | Pressure |  | Pressure - Pressure
Comp 1 | Sal_Bot | Sal0 |  | Sal0 - Sal_Bot
Comp 2 | Sal_Bot | Sal1 |  | Sal1 - Sal_Bot
Average Size: | 2
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | Pressure | Pressure | Pressure | (S-P) | Sal_Bot | Sal0 | Sal0 | (S-P) | Sal_Bot | Sal1 | Sal1 | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
2011-11-0001.mrgcln2 | 2011-11-0001.sam | 11 | 75.755 | 75.7551 | 0.0052072 | 9.1553e-05 | 30.7014 | 30.6399 | 0.0024195 | -0.061474 | 30.7014 | 30.6415 | 0.0018357 | -0.059936
2011-11-0003.mrgcln2 | 2011-11-0003.sam | 11 | 201.317 | 201.317 | 0.02312 | -0.00045776 | 31.1274 | 31.1301 | 0.00016003 | 0.0026817 | 31.1274 | 31.1305 | 0.0001346 | 0.003128
2011-11-0007.mrgcln2 | 2011-11-0007.sam | 11 | 197.278 | 197.278 | 1.1735 | -0.00027466 | 33.5087 | 33.5086 | 0.0044786 | -0.0001297 | 33.5087 | 33.5087 | 0.005008 | 1.5259e-05
2011-11-0010.mrgcln2 | 2011-11-0010.sam | 11 | 201.003 | 201.003 | 0.45463 | 0.00018311 | 33.561 | 33.5622 | 0.00095302 | 0.0011978 | 33.561 | 33.5616 | 0.00037932 | 0.00057221
2011-11-0013.mrgcln2 | 2011-11-0013.sam | 11 | 175.581 | 175.581 | 0.1568 | -0.0004425 | 33.2978 | 33.3 | 5.3495e-05 | 0.0021935 | 33.2978 | 33.3004 | 0.00016488 | 0.0025825
2011-11-0016.mrgcln2 | 2011-11-0016.sam | 11 | 150.202 | 150.202 | 0.31244 | 9.1553e-05 | 32.6592 | 32.6716 | 0.0010326 | 0.012356 | 32.6592 | 32.6716 | 0.0012665 | 0.012402
2011-11-0019.mrgcln2 | 2011-11-0019.sam | 11 | 102.344 | 102.344 | 0.1599 | 9.1553e-05 | 31.2479 | 31.2469 | 0.00056789 | -0.00095367 | 31.2479 | 31.2476 | 0.00057952 | -0.00028229
2011-11-0023.mrgcln2 | 2011-11-0023.sam | 11 | 100.248 | 100.248 | 0.18375 | 0.00018311 | 31.0725 | 31.0685 | 0.0014927 | -0.0039921 | 31.0725 | 31.0697 | 0.00062011 | -0.0028362
2011-11-0026.mrgcln2 | 2011-11-0026.sam | 11 | 125.728 | 125.728 | 0.060476 | 0.00045776 | 31.1036 | 31.1024 | 0.00066712 | -0.0011807 | 31.1036 | 31.1028 | 0.00067532 | -0.00079918
2011-11-0032.mrgcln2 | 2011-11-0032.sam | 11 | 200.139 | 200.139 | 0.083842 | -1.5259e-05 | 30.7633 | 30.7647 | 0.00019387 | 0.0014191 | 30.7633 | 30.7652 | 0.00028572 | 0.0018825
2011-11-0039.mrgcln2 | 2011-11-0039.sam | 11 | 149.733 | 149.733 | 0.043248 | 0.00045776 | 30.4592 | 30.4585 | 0.00020883 | -0.00071716 | 30.4592 | 30.4589 | 0.00018173 | -0.00028992
2011-11-0043.mrgcln2 | 2011-11-0043.sam | 11 | 299.799 | 299.799 | 0.02846 | -0.00027466 | 31.1226 | 31.1231 | 0.0001287 | 0.00046349 | 31.1226 | 31.1235 | 0.00026973 | 0.00085449
2011-11-0048.mrgcln2 | 2011-11-0048.sam | 11 | 353.272 | 353.272 | 0.014781 | 0.00036621 | 31.167 | 31.1644 | 0.00012666 | -0.0025997 | 31.167 | 31.1649 | 0.0001298 | -0.0020905
2011-11-0051.mrgcln2 | 2011-11-0051.sam | 11 | 299.965 | 299.965 | 0.023628 | 0.00036621 | 31.0643 | 31.064 | 9.0635e-05 | -0.00027275 | 31.0643 | 31.0645 | 7.8601e-05 | 0.00022697
2011-11-0055.mrgcln2 | 2011-11-0055.sam | 11 | 250.74 | 250.74 | 0.087206 | 0.0002594 | 31.0054 | 31.0039 | 0.00039868 | -0.001545 | 31.0054 | 31.0039 | 0.00065874 | -0.0015278
2011-11-0058.mrgcln2 | 2011-11-0058.sam | 11 | 300.764 | 300.764 | 0.061706 | 0.00018311 | 31.0862 | 31.0863 | 0.0001026 | 6.2943e-05 | 31.0862 | 31.0868 | 0.00023823 | 0.00055313
2011-11-0060.mrgcln2 | 2011-11-0060.sam | 11 | 174.484 | 174.484 | 0.014584 | 9.1553e-05 | 30.9108 | 30.9076 | 0.00013032 | -0.003191 | 30.9108 | 30.9083 | 0.00020912 | -0.0024834
2011-11-0063.mrgcln2 | 2011-11-0063.sam | 11 | 149.43 | 149.43 | 0.028807 | 0 | 30.6799 | 30.6709 | 0.0013408 | -0.0089912 | 30.6799 | 30.6719 | 0.0013475 | -0.0080357
2011-11-0066.mrgcln2 | 2011-11-0066.sam | 11 | 299.961 | 299.961 | 0.024161 | 0.00045776 | 30.795 | 30.79 | 0.0001027 | -0.0050354 | 30.795 | 30.7913 | 0.00011074 | -0.0036716
2011-11-0070.mrgcln2 | 2011-11-0070.sam | 11 | 249.78 | 249.78 | 0.019898 | -0.00036621 | 30.7582 | 30.7572 | 4.6328e-05 | -0.00097275 | 30.7582 | 30.7578 | 6.7771e-05 | -0.0003643
2011-11-0075.mrgcln2 | 2011-11-0075.sam | 11 | 123.889 | 123.889 | 0.16478 | -9.1553e-05 | 30.1023 | 30.0528 | 0.018159 | -0.049538 | 30.1023 | 30.0581 | 0.018509 | -0.044237
Create Fit Sheet