## File List
Number of Files= |  | 27
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 2011-16-0001.mrg | 2011-16-0001.sam | 12 | 13 | 2011-16-0001.mrg & 2011-16-0001.sam
2 | 2011-16-0002.mrg | 2011-16-0002.sam | 15 | 15 | 2011-16-0002.mrg & 2011-16-0002.sam
3 | 2011-16-0003.mrg | 2011-16-0003.sam | 17 | 17 | 2011-16-0003.mrg & 2011-16-0003.sam
4 | 2011-16-0023.mrg | 2011-16-0023.sam | 19 | 19 | 2011-16-0023.mrg & 2011-16-0023.sam
5 | 2011-16-0026.mrg | 2011-16-0026.sam | 21 | 21 | 2011-16-0026.mrg & 2011-16-0026.sam
6 | 2011-16-0028.mrg | 2011-16-0028.sam | 23 | 23 | 2011-16-0028.mrg & 2011-16-0028.sam
7 | 2011-16-0030.mrg | 2011-16-0030.sam | 25 | 26 | 2011-16-0030.mrg & 2011-16-0030.sam
8 | 2011-16-0037.mrg | 2011-16-0037.sam | 28 | 29 | 2011-16-0037.mrg & 2011-16-0037.sam
9 | 2011-16-0040.mrg | 2011-16-0040.sam | 31 | 32 | 2011-16-0040.mrg & 2011-16-0040.sam
10 | 2011-16-0044.mrg | 2011-16-0044.sam | 34 | 34 | 2011-16-0044.mrg & 2011-16-0044.sam
11 | 2011-16-0047.mrg | 2011-16-0047.sam | 36 | 36 | 2011-16-0047.mrg & 2011-16-0047.sam
12 | 2011-16-0049.mrg | 2011-16-0049.sam | 38 | 38 | 2011-16-0049.mrg & 2011-16-0049.sam
13 | 2011-16-0053.mrg | 2011-16-0053.sam | 40 | 40 | 2011-16-0053.mrg & 2011-16-0053.sam
14 | 2011-16-0055.mrg | 2011-16-0055.sam | 42 | 42 | 2011-16-0055.mrg & 2011-16-0055.sam
15 | 2011-16-0058.mrg | 2011-16-0058.sam | 44 | 44 | 2011-16-0058.mrg & 2011-16-0058.sam
16 | 2011-16-0061.mrg | 2011-16-0061.sam | 46 | 46 | 2011-16-0061.mrg & 2011-16-0061.sam
17 | 2011-16-0063.mrg | 2011-16-0063.sam | 48 | 48 | 2011-16-0063.mrg & 2011-16-0063.sam
18 | 2011-16-0067.mrg | 2011-16-0067.sam | 50 | 50 | 2011-16-0067.mrg & 2011-16-0067.sam
19 | 2011-16-0073.mrg | 2011-16-0073.sam | 52 | 52 | 2011-16-0073.mrg & 2011-16-0073.sam
20 | 2011-16-0078.mrg | 2011-16-0078.sam | 54 | 54 | 2011-16-0078.mrg & 2011-16-0078.sam
21 | 2011-16-0084.mrg | 2011-16-0084.sam | 56 | 56 | 2011-16-0084.mrg & 2011-16-0084.sam
22 | 2011-16-0088.mrg | 2011-16-0088.sam | 58 | 59 | 2011-16-0088.mrg & 2011-16-0088.sam
23 | 2011-16-0092.mrg | 2011-16-0092.sam | 61 | 62 | 2011-16-0092.mrg & 2011-16-0092.sam
24 | 2011-16-0102.mrg | 2011-16-0102.sam | 64 | 65 | 2011-16-0102.mrg & 2011-16-0102.sam
25 | 2011-16-0106.mrg | 2011-16-0106.sam | 67 | 68 | 2011-16-0106.mrg & 2011-16-0106.sam
26 | 2011-16-0109.mrg | 2011-16-0109.sam | 70 | 70 | 2011-16-0109.mrg & 2011-16-0109.sam
27 | 2011-16-0126.mrg | 2011-16-0126.sam | 72 | 72 | 2011-16-0126.mrg & 2011-16-0126.sam

## (Sal0 - Sal_Bot)
Calculation of Linear Least Squares Fit For
(Sal0 - Sal_Bot)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal0 - Sal_Bot), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.00011101 |  | X | CALC Y
m= | -3.3183e-08 | 9.0912e-07 |  | Std Dev of Resid |  | 0.0016156 |  | 4.9902 | -0.0032039
b= | -0.0032038 | 0.00059102 |  | Resid Sum of Squares |  | 3.1323e-05 |  | 1499.09 | -0.0032535
# of Values Extracted = |  |  | 35
# of Values Used in Fit = |  |  | 14
File | Use | Pressure | Sal0 | Sal0 | Diff (Sal0 - Sal_Bot) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 199.987 | 31.2769 | 0.00019975 | -0.0031357 | -0.0032104 | -7.4741e-05 |  | 199.987 | -0.0031357
1 | NO | 5.0106 | 28.989 | 0.0126 | 0.026871 | -0.003204 | -0.030075 |  | 398.633 | -0.0049286
2 | NO | 6.0433 | 31.3503 | 0.0056671 | 0.045689 | -0.003204 | -0.048893 |  | 1253.73 | -0.0038109
3 | NO | 4.865 | 31.1303 | 0.0072171 | -0.055801 | -0.0032039 | 0.052597 |  | 499.532 | -0.0018234
4 | NO | 4.6357 | 31.1951 | 0.0030534 | 0.012314 | -0.0032039 | -0.015518 |  | 5.437 | -0.004921
5 | NO | 174.598 | 33.9117 | 0.0026758 | -0.00043869 | -0.0032096 | -0.0027709 |  | 175.934 | -0.00038528
6 | YES | 398.633 | 34.0677 | 0.00076214 | -0.0049286 | -0.003217 | 0.0017116 |  | 75.7222 | -0.0035744
7 | NO | 999.936 | 34.3712 | 0.00033433 | -0.011604 | -0.003237 | 0.0083673 |  | 125.593 | -0.003685
7 | NO | 30.4564 | 32.433 | 0.0035998 | -0.0053062 | -0.0032048 | 0.0021014 |  | 50.3162 | -0.0055084
8 | YES | 1253.73 | 34.4607 | 0.00030065 | -0.0038109 | -0.0032454 | 0.00056549 |  | 1000.31 | -0.0014076
8 | NO | 5.2591 | 31.7488 | 0.00025665 | -0.0093498 | -0.003204 | 0.0061459 |  | 1499.09 | -0.0050087
9 | YES | 499.532 | 34.1064 | 0.00065077 | -0.0018234 | -0.0032204 | -0.0013969 |  | 750.328 | -0.0018921
9 | YES | 5.437 | 31.3842 | 0.00023221 | -0.004921 | -0.003204 | 0.001717 |  | 4.9902 | -0.002861
10 | YES | 175.934 | 33.9706 | 0.00067901 | -0.00038528 | -0.0032096 | -0.0028243 |  | 175.066 | -0.0021172 | -0.0032185
11 | YES | 75.7222 | 33.2011 | 0.00062983 | -0.0035744 | -0.0032063 | 0.00036807
12 | YES | 125.593 | 32.9043 | 0.00084778 | -0.003685 | -0.003208 | 0.00047705
13 | NO | 5.0642 | 30.7156 | 0.0063419 | 0.0063057 | -0.003204 | -0.0095096
14 | NO | 4.8088 | 30.8316 | 0.00087959 | -0.0064506 | -0.0032039 | 0.0032467
15 | YES | 50.3162 | 32.5052 | 0.00021588 | -0.0055084 | -0.0032055 | 0.002303
16 | NO | 100.578 | 33.7058 | 0.0025444 | -0.0095406 | -0.0032071 | 0.0063334
17 | NO | 500.266 | 34.1223 | 0.0002428 | -0.011299 | -0.0032204 | 0.0080787
18 | NO | 1500.32 | 34.5085 | 0.00021638 | -0.011208 | -0.0032536 | 0.007954
19 | NO | 749.834 | 34.2546 | 0.00026704 | -0.0080147 | -0.0032287 | 0.004786
20 | NO | 76.8524 | 32.8823 | 0.011806 | 0.028355 | -0.0032063 | -0.031561
21 | NO | 5.4663 | 30.8925 | 0.0013998 | -0.00634 | -0.003204 | 0.0031361
22 | YES | 1000.31 | 34.3504 | 0.00026964 | -0.0014076 | -0.003237 | -0.0018294
22 | NO | 31.4052 | 32.0745 | 0.0069267 | 0.030979 | -0.0032048 | -0.034184
23 | YES | 1499.09 | 34.5067 | 0.00029127 | -0.0050087 | -0.0032535 | 0.0017552
23 | NO | 5.179 | 31.6085 | 0.035988 | -0.040081 | -0.003204 | 0.036877
24 | NO | 1499.5 | 34.4933 | 0.00022412 | -0.0062523 | -0.0032535 | 0.0029987
24 | NO | 5.385 | 31.8173 | 0.00032716 | -0.0072117 | -0.003204 | 0.0040077
25 | YES | 750.328 | 34.268 | 0.00033654 | -0.0018921 | -0.0032287 | -0.0013366
25 | YES | 4.9902 | 31.9528 | 0.00092048 | -0.002861 | -0.0032039 | -0.00034293
26 | NO | 75.1434 | 32.8192 | 0.019334 | 0.014732 | -0.0032063 | -0.017939
27 | YES | 175.066 | 33.887 | 0.00046695 | -0.0021172 | -0.0032096 | -0.0010924
YES
NO
NO
NO
NO
NO
YES
NO
NO
YES
NO
YES
YES
YES
YES
YES
NO
NO
YES
NO
NO
NO
NO
NO
NO
YES
NO
YES
NO
NO
NO
YES
YES
NO
YES
FIT vs. Pressure
FIT vs. Sal0
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (Sal1 - Sal_Bot)
Calculation of Linear Least Squares Fit For
(Sal1 - Sal_Bot)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal1 - Sal_Bot), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.0050636 |  | X | CALC Y
m= | 2.127e-07 | 8.607e-07 |  | Std Dev of Resid |  | 0.0017376 |  | 4.8088 | -0.0031247
b= | -0.0031257 | 0.00065607 |  | Resid Sum of Squares |  | 3.6231e-05 |  | 1499.5 | -0.0028067
# of Values Extracted = |  |  | 35
# of Values Used in Fit = |  |  | 14
File | Use | Pressure | Sal1 | Sal1 | Diff (Sal1 - Sal_Bot) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 199.987 | 31.2782 | 0.00030515 | -0.0018024 | -0.0030831 | -0.0012807 |  | 199.987 | -0.0018024
1 | NO | 5.0106 | 28.9939 | 0.0072275 | 0.031837 | -0.0031246 | -0.034962 |  | 398.633 | -0.0044594
2 | NO | 6.0433 | 31.3498 | 0.0048684 | 0.045162 | -0.0031244 | -0.048287 |  | 1253.73 | -0.0026588
3 | NO | 4.865 | 31.1323 | 0.0031627 | -0.053831 | -0.0031246 | 0.050706 |  | 499.532 | -0.00103
4 | NO | 4.6357 | 31.1951 | 0.0021163 | 0.012251 | -0.0031247 | -0.015376 |  | 5.437 | -0.0046387
5 | NO | 174.598 | 33.9123 | 0.0022979 | 0.00022125 | -0.0030885 | -0.0033098 |  | 75.7222 | -0.0030899
6 | YES | 398.633 | 34.0681 | 0.00079369 | -0.0044594 | -0.0030409 | 0.0014185 |  | 125.593 | -0.0025864
7 | NO | 999.936 | 34.3705 | 0.0003929 | -0.012268 | -0.002913 | 0.0093551 |  | 4.8088 | -0.0055676
7 | NO | 30.4564 | 32.4319 | 0.0035176 | -0.0064468 | -0.0031192 | 0.0033276 |  | 50.3162 | -0.0044174
8 | YES | 1253.73 | 34.4618 | 0.00035399 | -0.0026588 | -0.002859 | -0.00020017 |  | 1000.31 | -0.00060654
8 | NO | 5.2591 | 31.7491 | 0.00030097 | -0.0091 | -0.0031246 | 0.0059754 |  | 1499.09 | -0.0039635
9 | YES | 499.532 | 34.1072 | 0.00083528 | -0.00103 | -0.0030194 | -0.0019895 |  | 1499.5 | -0.0049934
9 | YES | 5.437 | 31.3845 | 0.00031718 | -0.0046387 | -0.0031245 | 0.0015141 |  | 750.328 | -0.00098419
10 | NO | 175.934 | 33.9712 | 0.00065522 | 0.00021362 | -0.0030883 | -0.0033019 |  | 175.066 | -0.001358 | -0.0030112
11 | YES | 75.7222 | 33.2016 | 0.00083032 | -0.0030899 | -0.0031096 | -1.9677e-05
12 | YES | 125.593 | 32.9054 | 0.00063159 | -0.0025864 | -0.003099 | -0.00051261
13 | NO | 5.0642 | 30.7137 | 0.0071865 | 0.0043697 | -0.0031246 | -0.0074943
14 | YES | 4.8088 | 30.8325 | 0.00080608 | -0.0055676 | -0.0031247 | 0.0024429
15 | YES | 50.3162 | 32.5063 | 0.00035889 | -0.0044174 | -0.003115 | 0.0013024
16 | NO | 100.578 | 33.7043 | 0.0015317 | -0.011036 | -0.0031043 | 0.0079316
17 | NO | 500.266 | 34.1231 | 0.00036919 | -0.010544 | -0.0030193 | 0.0075245
18 | NO | 1500.32 | 34.5098 | 0.00035594 | -0.0099335 | -0.0028066 | 0.0071269
19 | NO | 749.834 | 34.2555 | 0.00038328 | -0.0071106 | -0.0029662 | 0.0041444
20 | NO | 76.8524 | 32.8919 | 0.011072 | 0.038006 | -0.0031093 | -0.041115
21 | NO | 5.4663 | 30.8935 | 0.0024732 | -0.0052795 | -0.0031245 | 0.002155
22 | YES | 1000.31 | 34.3512 | 0.0003526 | -0.00060654 | -0.0029129 | -0.0023064
22 | NO | 31.4052 | 32.0772 | 0.0059482 | 0.03371 | -0.003119 | -0.03683
23 | YES | 1499.09 | 34.5077 | 0.00034712 | -0.0039635 | -0.0028068 | 0.0011566
23 | NO | 5.179 | 31.6208 | 0.042687 | -0.027847 | -0.0031246 | 0.024723
24 | YES | 1499.5 | 34.4946 | 0.00030829 | -0.0049934 | -0.0028067 | 0.0021867
24 | NO | 5.385 | 31.8179 | 0.00040301 | -0.0066452 | -0.0031245 | 0.0035207
25 | YES | 750.328 | 34.2689 | 0.00034164 | -0.00098419 | -0.0029661 | -0.0019819
25 | NO | 4.9902 | 31.954 | 0.001036 | -0.0016899 | -0.0031246 | -0.0014347
26 | NO | 75.1434 | 32.8205 | 0.012131 | 0.016029 | -0.0031097 | -0.019139
27 | YES | 175.066 | 33.8877 | 0.00046727 | -0.001358 | -0.0030884 | -0.0017304
YES
NO
NO
NO
NO
NO
YES
NO
NO
YES
NO
YES
YES
NO
YES
YES
NO
YES
YES
NO
NO
NO
NO
NO
NO
YES
NO
YES
NO
YES
NO
YES
NO
NO
YES
FIT vs. Pressure
FIT vs. Sal1
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (Sal0 - Sal_Bot) (2)
Calculation of Linear Least Squares Fit For
(Sal0 - Sal_Bot)
3
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal0 - Sal_Bot), Prop=File Pair #
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.0031991 |  | X | CALC Y
m= | 2.4518e-05 | 9.4443e-05 |  | Std Dev of Resid |  | 0.0033279 |  | 1 | -0.0056926
b= | -0.0057171 | 0.0016144 |  | Resid Sum of Squares |  | 0.00023257 |  | 27 | -0.0050551
# of Values Extracted = |  |  | 35
# of Values Used in Fit = |  |  | 23
File | Use | Pressure | Sal0 | Sal0 | Diff (Sal0 - Sal_Bot) |  |  |  | Fit vs. | File Pair #
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 199.987 | 31.2769 | 0.00019975 | -0.0031357 | -0.0056926 | -0.0025569 |  | 1 | -0.0031357
1 | NO | 5.0106 | 28.989 | 0.0126 | 0.026871 | -0.0056926 | -0.032563 |  | 6 | -0.0049286
2 | NO | 6.0433 | 31.3503 | 0.0056671 | 0.045689 | -0.0056681 | -0.051357 |  | 7 | -0.011604
3 | NO | 4.865 | 31.1303 | 0.0072171 | -0.055801 | -0.0056435 | 0.050158 |  | 8 | -0.0038109
4 | NO | 4.6357 | 31.1951 | 0.0030534 | 0.012314 | -0.005619 | -0.017933 |  | 8 | -0.0093498
5 | NO | 174.598 | 33.9117 | 0.0026758 | -0.00043869 | -0.0055945 | -0.0051558 |  | 9 | -0.0018234
6 | YES | 398.633 | 34.0677 | 0.00076214 | -0.0049286 | -0.00557 | -0.0006414 |  | 9 | -0.004921
7 | YES | 999.936 | 34.3712 | 0.00033433 | -0.011604 | -0.0055455 | 0.0060588 |  | 10 | -0.00038528
7 | NO | 30.4564 | 32.433 | 0.0035998 | -0.0053062 | -0.0055455 | -0.00023923 |  | 11 | -0.0035744
8 | YES | 1253.73 | 34.4607 | 0.00030065 | -0.0038109 | -0.005521 | -0.0017101 |  | 12 | -0.003685
8 | YES | 5.2591 | 31.7488 | 0.00025665 | -0.0093498 | -0.005521 | 0.0038289 |  | 14 | -0.0064506
9 | YES | 499.532 | 34.1064 | 0.00065077 | -0.0018234 | -0.0054964 | -0.003673 |  | 15 | -0.0055084
9 | YES | 5.437 | 31.3842 | 0.00023221 | -0.004921 | -0.0054964 | -0.00057548 |  | 17 | -0.011299
10 | YES | 175.934 | 33.9706 | 0.00067901 | -0.00038528 | -0.0054719 | -0.0050866 |  | 18 | -0.011208
11 | YES | 75.7222 | 33.2011 | 0.00062983 | -0.0035744 | -0.0054474 | -0.001873 |  | 19 | -0.0080147
12 | YES | 125.593 | 32.9043 | 0.00084778 | -0.003685 | -0.0054229 | -0.0017379 |  | 21 | -0.00634
13 | NO | 5.0642 | 30.7156 | 0.0063419 | 0.0063057 | -0.0053984 | -0.011704 |  | 22 | -0.0014076
14 | YES | 4.8088 | 30.8316 | 0.00087959 | -0.0064506 | -0.0053738 | 0.0010768 |  | 23 | -0.0050087
15 | YES | 50.3162 | 32.5052 | 0.00021588 | -0.0055084 | -0.0053493 | 0.00015909 |  | 24 | -0.0062523
16 | NO | 100.578 | 33.7058 | 0.0025444 | -0.0095406 | -0.0053248 | 0.0042158 |  | 24 | -0.0072117
17 | YES | 500.266 | 34.1223 | 0.0002428 | -0.011299 | -0.0053003 | 0.0059988 |  | 25 | -0.0018921
18 | YES | 1500.32 | 34.5085 | 0.00021638 | -0.011208 | -0.0052758 | 0.0059318 |  | 25 | -0.002861
19 | YES | 749.834 | 34.2546 | 0.00026704 | -0.0080147 | -0.0052513 | 0.0027634 |  | 27 | -0.0021172
20 | NO | 76.8524 | 32.8823 | 0.011806 | 0.028355 | -0.0052267 | -0.033581
21 | YES | 5.4663 | 30.8925 | 0.0013998 | -0.00634 | -0.0052022 | 0.0011378
22 | YES | 1000.31 | 34.3504 | 0.00026964 | -0.0014076 | -0.0051777 | -0.0037701
22 | NO | 31.4052 | 32.0745 | 0.0069267 | 0.030979 | -0.0051777 | -0.036157
23 | YES | 1499.09 | 34.5067 | 0.00029127 | -0.0050087 | -0.0051532 | -0.00014448
23 | NO | 5.179 | 31.6085 | 0.035988 | -0.040081 | -0.0051532 | 0.034928
24 | YES | 1499.5 | 34.4933 | 0.00022412 | -0.0062523 | -0.0051287 | 0.0011236
24 | YES | 5.385 | 31.8173 | 0.00032716 | -0.0072117 | -0.0051287 | 0.002083
25 | YES | 750.328 | 34.268 | 0.00033654 | -0.0018921 | -0.0051041 | -0.0032121
25 | YES | 4.9902 | 31.9528 | 0.00092048 | -0.002861 | -0.0051041 | -0.0022431
26 | NO | 75.1434 | 32.8192 | 0.019334 | 0.014732 | -0.0050796 | -0.019812
27 | YES | 175.066 | 33.887 | 0.00046695 | -0.0021172 | -0.0050551 | -0.002938
YES
NO
NO
NO
NO
NO
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
NO
YES
YES
YES
NO
YES
YES
NO
YES
NO
YES
YES
YES
YES
NO
YES
FIT vs. Pressure
FIT vs. Sal0
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (Sal1 - Sal_Bot) (2)
Calculation of Linear Least Squares Fit For
(Sal1 - Sal_Bot)
3
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal1 - Sal_Bot), Prop=File Pair #
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.0082046 |  | X | CALC Y
m= | 4.4897e-05 | 0.00010772 |  | Std Dev of Resid |  | 0.0037469 |  | 1 | -0.0054326
b= | -0.0054775 | 0.0018159 |  | Resid Sum of Squares |  | 0.00029482 |  | 27 | -0.0042653
# of Values Extracted = |  |  | 35
# of Values Used in Fit = |  |  | 23
File | Use | Pressure | Sal1 | Sal1 | Diff (Sal1 - Sal_Bot) |  |  |  | Fit vs. | File Pair #
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 199.987 | 31.2782 | 0.00030515 | -0.0018024 | -0.0054326 | -0.0036302 |  | 1 | -0.0018024
1 | NO | 5.0106 | 28.9939 | 0.0072275 | 0.031837 | -0.0054326 | -0.03727 |  | 6 | -0.0044594
2 | NO | 6.0433 | 31.3498 | 0.0048684 | 0.045162 | -0.0053877 | -0.05055 |  | 7 | -0.012268
3 | NO | 4.865 | 31.1323 | 0.0031627 | -0.053831 | -0.0053429 | 0.048488 |  | 8 | -0.0026588
4 | NO | 4.6357 | 31.1951 | 0.0021163 | 0.012251 | -0.005298 | -0.017549 |  | 8 | -0.0091
5 | NO | 174.598 | 33.9123 | 0.0022979 | 0.00022125 | -0.0052531 | -0.0054743 |  | 9 | -0.00103
6 | YES | 398.633 | 34.0681 | 0.00079369 | -0.0044594 | -0.0052082 | -0.00074878 |  | 9 | -0.0046387
7 | YES | 999.936 | 34.3705 | 0.0003929 | -0.012268 | -0.0051633 | 0.0071048 |  | 10 | 0.00021362
7 | NO | 30.4564 | 32.4319 | 0.0035176 | -0.0064468 | -0.0051633 | 0.0012836 |  | 11 | -0.0030899
8 | YES | 1253.73 | 34.4618 | 0.00035399 | -0.0026588 | -0.0051184 | -0.0024595 |  | 12 | -0.0025864
8 | YES | 5.2591 | 31.7491 | 0.00030097 | -0.0091 | -0.0051184 | 0.0039816 |  | 14 | -0.0055676
9 | YES | 499.532 | 34.1072 | 0.00083528 | -0.00103 | -0.0050735 | -0.0040435 |  | 15 | -0.0044174
9 | YES | 5.437 | 31.3845 | 0.00031718 | -0.0046387 | -0.0050735 | -0.0004348 |  | 16 | -0.011036
10 | YES | 175.934 | 33.9712 | 0.00065522 | 0.00021362 | -0.0050286 | -0.0052422 |  | 17 | -0.010544
11 | YES | 75.7222 | 33.2016 | 0.00083032 | -0.0030899 | -0.0049837 | -0.0018938 |  | 18 | -0.0099335
12 | YES | 125.593 | 32.9054 | 0.00063159 | -0.0025864 | -0.0049388 | -0.0023524 |  | 19 | -0.0071106
13 | NO | 5.0642 | 30.7137 | 0.0071865 | 0.0043697 | -0.0048939 | -0.0092636 |  | 22 | -0.00060654
14 | YES | 4.8088 | 30.8325 | 0.00080608 | -0.0055676 | -0.004849 | 0.00071857 |  | 23 | -0.0039635
15 | YES | 50.3162 | 32.5063 | 0.00035889 | -0.0044174 | -0.0048041 | -0.00038667 |  | 24 | -0.0049934
16 | YES | 100.578 | 33.7043 | 0.0015317 | -0.011036 | -0.0047592 | 0.0062767 |  | 24 | -0.0066452
17 | YES | 500.266 | 34.1231 | 0.00036919 | -0.010544 | -0.0047143 | 0.0058295 |  | 25 | -0.00098419
18 | YES | 1500.32 | 34.5098 | 0.00035594 | -0.0099335 | -0.0046694 | 0.0052641 |  | 25 | -0.0016899
19 | YES | 749.834 | 34.2555 | 0.00038328 | -0.0071106 | -0.0046245 | 0.0024861 |  | 27 | -0.001358
20 | NO | 76.8524 | 32.8919 | 0.011072 | 0.038006 | -0.0045796 | -0.042585
21 | NO | 5.4663 | 30.8935 | 0.0024732 | -0.0052795 | -0.0045347 | 0.00074484
22 | YES | 1000.31 | 34.3512 | 0.0003526 | -0.00060654 | -0.0044898 | -0.0038833
22 | NO | 31.4052 | 32.0772 | 0.0059482 | 0.03371 | -0.0044898 | -0.0382
23 | YES | 1499.09 | 34.5077 | 0.00034712 | -0.0039635 | -0.0044449 | -0.00048144
23 | NO | 5.179 | 31.6208 | 0.042687 | -0.027847 | -0.0044449 | 0.023402
24 | YES | 1499.5 | 34.4946 | 0.00030829 | -0.0049934 | -0.0044 | 0.00059343
24 | YES | 5.385 | 31.8179 | 0.00040301 | -0.0066452 | -0.0044 | 0.0022452
25 | YES | 750.328 | 34.2689 | 0.00034164 | -0.00098419 | -0.0043551 | -0.0033709
25 | YES | 4.9902 | 31.954 | 0.001036 | -0.0016899 | -0.0043551 | -0.0026652
26 | NO | 75.1434 | 32.8205 | 0.012131 | 0.016029 | -0.0043102 | -0.02034
27 | YES | 175.066 | 33.8877 | 0.00046727 | -0.001358 | -0.0042653 | -0.0029073
YES
NO
NO
NO
NO
NO
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
NO
NO
YES
NO
YES
NO
YES
YES
YES
YES
NO
YES
FIT vs. Pressure
FIT vs. Sal1
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (Sal0 - Sal_Bot) (3)
Calculation of Linear Least Squares Fit For
(Sal0 - Sal_Bot)
2
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal0 - Sal_Bot), Prop=Sal0
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.0004698 |  | X | CALC Y
m= | -5.7019e-05 | 0.00058809 |  | Std Dev of Resid |  | 0.0034071 |  | 30.8316 | -0.0051514
b= | -0.0033934 | 0.019607 |  | Resid Sum of Squares |  | 0.00023216 |  | 34.5085 | -0.005361
# of Values Extracted = |  |  | 35
# of Values Used in Fit = |  |  | 22
File | Use | Pressure | Sal0 | Sal0 | Diff (Sal0 - Sal_Bot) |  |  |  | Fit vs. | Sal0
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 199.987 | 31.2769 | 0.00019975 | -0.0031357 | -0.0051768 | -0.0020411 |  | 31.2769 | -0.0031357
1 | NO | 5.0106 | 28.989 | 0.0126 | 0.026871 | -0.0050463 | -0.031917 |  | 34.0677 | -0.0049286
2 | NO | 6.0433 | 31.3503 | 0.0056671 | 0.045689 | -0.005181 | -0.05087 |  | 34.3712 | -0.011604
3 | NO | 4.865 | 31.1303 | 0.0072171 | -0.055801 | -0.0051684 | 0.050633 |  | 34.4607 | -0.0038109
4 | NO | 4.6357 | 31.1951 | 0.0030534 | 0.012314 | -0.0051721 | -0.017486 |  | 31.7488 | -0.0093498
5 | NO | 174.598 | 33.9117 | 0.0026758 | -0.00043869 | -0.005327 | -0.0048883 |  | 34.1064 | -0.0018234
6 | YES | 398.633 | 34.0677 | 0.00076214 | -0.0049286 | -0.0053359 | -0.00040732 |  | 31.3842 | -0.004921
7 | YES | 999.936 | 34.3712 | 0.00033433 | -0.011604 | -0.0053532 | 0.0062511 |  | 33.9706 | -0.00038528
7 | NO | 30.4564 | 32.433 | 0.0035998 | -0.0053062 | -0.0052427 | 6.3533e-05 |  | 33.2011 | -0.0035744
8 | YES | 1253.73 | 34.4607 | 0.00030065 | -0.0038109 | -0.0053583 | -0.0015474 |  | 32.9043 | -0.003685
8 | YES | 5.2591 | 31.7488 | 0.00025665 | -0.0093498 | -0.0052037 | 0.0041461 |  | 30.8316 | -0.0064506
9 | YES | 499.532 | 34.1064 | 0.00065077 | -0.0018234 | -0.0053381 | -0.0035147 |  | 32.5052 | -0.0055084
9 | YES | 5.437 | 31.3842 | 0.00023221 | -0.004921 | -0.0051829 | -0.00026195 |  | 34.1223 | -0.011299
10 | YES | 175.934 | 33.9706 | 0.00067901 | -0.00038528 | -0.0053304 | -0.0049451 |  | 34.5085 | -0.011208
11 | YES | 75.7222 | 33.2011 | 0.00062983 | -0.0035744 | -0.0052865 | -0.0017121 |  | 34.2546 | -0.0080147
12 | YES | 125.593 | 32.9043 | 0.00084778 | -0.003685 | -0.0052696 | -0.0015846 |  | 34.3504 | -0.0014076
13 | NO | 5.0642 | 30.7156 | 0.0063419 | 0.0063057 | -0.0051448 | -0.01145 |  | 34.5067 | -0.0050087
14 | YES | 4.8088 | 30.8316 | 0.00087959 | -0.0064506 | -0.0051514 | 0.0012993 |  | 34.4933 | -0.0062523
15 | YES | 50.3162 | 32.5052 | 0.00021588 | -0.0055084 | -0.0052468 | 0.0002616 |  | 31.8173 | -0.0072117
16 | NO | 100.578 | 33.7058 | 0.0025444 | -0.0095406 | -0.0053153 | 0.0042253 |  | 34.268 | -0.0018921
17 | YES | 500.266 | 34.1223 | 0.0002428 | -0.011299 | -0.005339 | 0.0059601 |  | 31.9528 | -0.002861
18 | YES | 1500.32 | 34.5085 | 0.00021638 | -0.011208 | -0.005361 | 0.0058466 |  | 33.887 | -0.0021172
19 | YES | 749.834 | 34.2546 | 0.00026704 | -0.0080147 | -0.0053466 | 0.0026681
20 | NO | 76.8524 | 32.8823 | 0.011806 | 0.028355 | -0.0052683 | -0.033623
21 | NO | 5.4663 | 30.8925 | 0.0013998 | -0.00634 | -0.0051549 | 0.0011852
22 | YES | 1000.31 | 34.3504 | 0.00026964 | -0.0014076 | -0.005352 | -0.0039444
22 | NO | 31.4052 | 32.0745 | 0.0069267 | 0.030979 | -0.0052223 | -0.036201
23 | YES | 1499.09 | 34.5067 | 0.00029127 | -0.0050087 | -0.0053609 | -0.00035225
23 | NO | 5.179 | 31.6085 | 0.035988 | -0.040081 | -0.0051957 | 0.034885
24 | YES | 1499.5 | 34.4933 | 0.00022412 | -0.0062523 | -0.0053602 | 0.00089211
24 | YES | 5.385 | 31.8173 | 0.00032716 | -0.0072117 | -0.0052076 | 0.0020041
25 | YES | 750.328 | 34.268 | 0.00033654 | -0.0018921 | -0.0053473 | -0.0034552
25 | YES | 4.9902 | 31.9528 | 0.00092048 | -0.002861 | -0.0052153 | -0.0023543
26 | NO | 75.1434 | 32.8192 | 0.019334 | 0.014732 | -0.0052647 | -0.019997
27 | YES | 175.066 | 33.887 | 0.00046695 | -0.0021172 | -0.0053256 | -0.0032085
YES
NO
NO
NO
NO
NO
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
NO
YES
YES
YES
NO
NO
YES
NO
YES
NO
YES
YES
YES
YES
NO
YES
FIT vs. Pressure
FIT vs. Sal0
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (Sal1 - Sal_Bot) (3)
Calculation of Linear Least Squares Fit For
(Sal1 - Sal_Bot)
2
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal1 - Sal_Bot), Prop=Sal1
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.0006367 |  | X | CALC Y
m= | 7.0702e-05 | 0.00064261 |  | Std Dev of Resid |  | 0.0036131 |  | 30.8325 | -0.0048253
b= | -0.0070052 | 0.021467 |  | Resid Sum of Squares |  | 0.00024804 |  | 34.5098 | -0.0045653
# of Values Extracted = |  |  | 35
# of Values Used in Fit = |  |  | 21
File | Use | Pressure | Sal1 | Sal1 | Diff (Sal1 - Sal_Bot) |  |  |  | Fit vs. | Sal1
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 199.987 | 31.2782 | 0.00030515 | -0.0018024 | -0.0047938 | -0.0029913 |  | 31.2782 | -0.0018024
1 | NO | 5.0106 | 28.9939 | 0.0072275 | 0.031837 | -0.0049553 | -0.036793 |  | 34.0681 | -0.0044594
2 | NO | 6.0433 | 31.3498 | 0.0048684 | 0.045162 | -0.0047887 | -0.049951 |  | 34.3705 | -0.012268
3 | NO | 4.865 | 31.1323 | 0.0031627 | -0.053831 | -0.0048041 | 0.049027 |  | 34.4618 | -0.0026588
4 | NO | 4.6357 | 31.1951 | 0.0021163 | 0.012251 | -0.0047997 | -0.017051 |  | 31.7491 | -0.0091
5 | NO | 174.598 | 33.9123 | 0.0022979 | 0.00022125 | -0.0046075 | -0.0048288 |  | 34.1072 | -0.00103
6 | YES | 398.633 | 34.0681 | 0.00079369 | -0.0044594 | -0.0045965 | -0.00013715 |  | 31.3845 | -0.0046387
7 | YES | 999.936 | 34.3705 | 0.0003929 | -0.012268 | -0.0045752 | 0.0076929 |  | 33.9712 | 0.00021362
7 | NO | 30.4564 | 32.4319 | 0.0035176 | -0.0064468 | -0.0047122 | 0.0017346 |  | 33.2016 | -0.0030899
8 | YES | 1253.73 | 34.4618 | 0.00035399 | -0.0026588 | -0.0045687 | -0.0019099 |  | 32.9054 | -0.0025864
8 | YES | 5.2591 | 31.7491 | 0.00030097 | -0.0091 | -0.0047605 | 0.0043395 |  | 30.8325 | -0.0055676
9 | YES | 499.532 | 34.1072 | 0.00083528 | -0.00103 | -0.0045938 | -0.0035638 |  | 32.5063 | -0.0044174
9 | YES | 5.437 | 31.3845 | 0.00031718 | -0.0046387 | -0.0047863 | -0.0001476 |  | 34.1231 | -0.010544
10 | YES | 175.934 | 33.9712 | 0.00065522 | 0.00021362 | -0.0046034 | -0.004817 |  | 34.5098 | -0.0099335
11 | YES | 75.7222 | 33.2016 | 0.00083032 | -0.0030899 | -0.0046578 | -0.0015679 |  | 34.2555 | -0.0071106
12 | YES | 125.593 | 32.9054 | 0.00063159 | -0.0025864 | -0.0046787 | -0.0020924 |  | 34.3512 | -0.00060654
13 | NO | 5.0642 | 30.7137 | 0.0071865 | 0.0043697 | -0.0048337 | -0.0092034 |  | 34.5077 | -0.0039635
14 | YES | 4.8088 | 30.8325 | 0.00080608 | -0.0055676 | -0.0048253 | 0.00074225 |  | 34.4946 | -0.0049934
15 | YES | 50.3162 | 32.5063 | 0.00035889 | -0.0044174 | -0.004707 | -0.00028954 |  | 31.8179 | -0.0066452
16 | NO | 100.578 | 33.7043 | 0.0015317 | -0.011036 | -0.0046223 | 0.0064136 |  | 34.2689 | -0.00098419
17 | YES | 500.266 | 34.1231 | 0.00036919 | -0.010544 | -0.0045926 | 0.0059512 |  | 33.8877 | -0.001358
18 | YES | 1500.32 | 34.5098 | 0.00035594 | -0.0099335 | -0.0045653 | 0.0053682
19 | YES | 749.834 | 34.2555 | 0.00038328 | -0.0071106 | -0.0045833 | 0.0025273
20 | NO | 76.8524 | 32.8919 | 0.011072 | 0.038006 | -0.0046797 | -0.042685
21 | NO | 5.4663 | 30.8935 | 0.0024732 | -0.0052795 | -0.004821 | 0.00045856
22 | YES | 1000.31 | 34.3512 | 0.0003526 | -0.00060654 | -0.0045765 | -0.00397
22 | NO | 31.4052 | 32.0772 | 0.0059482 | 0.03371 | -0.0047373 | -0.038448
23 | YES | 1499.09 | 34.5077 | 0.00034712 | -0.0039635 | -0.0045655 | -0.00060198
23 | NO | 5.179 | 31.6208 | 0.042687 | -0.027847 | -0.0047696 | 0.023078
24 | YES | 1499.5 | 34.4946 | 0.00030829 | -0.0049934 | -0.0045664 | 0.00042706
24 | YES | 5.385 | 31.8179 | 0.00040301 | -0.0066452 | -0.0047556 | 0.0018896
25 | YES | 750.328 | 34.2689 | 0.00034164 | -0.00098419 | -0.0045823 | -0.0035981
25 | NO | 4.9902 | 31.954 | 0.001036 | -0.0016899 | -0.004746 | -0.0030561
26 | NO | 75.1434 | 32.8205 | 0.012131 | 0.016029 | -0.0046847 | -0.020714
27 | YES | 175.066 | 33.8877 | 0.00046727 | -0.001358 | -0.0046093 | -0.0032513
YES
NO
NO
NO
NO
NO
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
NO
YES
YES
YES
NO
NO
YES
NO
YES
NO
YES
YES
YES
NO
NO
YES
FIT vs. Pressure
FIT vs. Sal1
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (Sal0 - Sal_Bot) (4)
Calculation of Linear Least Squares Fit For
(Sal0 - Sal_Bot)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal0 - Sal_Bot), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.057117 |  | X | CALC Y
m= | -7.3693e-07 | 8.3043e-07 |  | Std Dev of Resid |  | 0.0017015 |  | 4.9902 | -0.0030455
b= | -0.0030418 | 0.0006127 |  | Resid Sum of Squares |  | 3.7636e-05 |  | 1499.5 | -0.0041468
# of Values Extracted = |  |  | 35
# of Values Used in Fit = |  |  | 15
File | Use | Pressure | Sal0 | Sal0 | Diff (Sal0 - Sal_Bot) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 199.987 | 31.2769 | 0.00019975 | -0.0031357 | -0.0031892 | -5.3475e-05 |  | 199.987 | -0.0031357
1 | NO | 5.0106 | 28.989 | 0.0126 | 0.026871 | -0.0030455 | -0.029916 |  | 398.633 | -0.0049286
2 | NO | 6.0433 | 31.3503 | 0.0056671 | 0.045689 | -0.0030462 | -0.048735 |  | 1253.73 | -0.0038109
3 | NO | 4.865 | 31.1303 | 0.0072171 | -0.055801 | -0.0030454 | 0.052756 |  | 499.532 | -0.0018234
4 | NO | 4.6357 | 31.1951 | 0.0030534 | 0.012314 | -0.0030452 | -0.015359 |  | 5.437 | -0.004921
5 | NO | 174.598 | 33.9117 | 0.0026758 | -0.00043869 | -0.0031704 | -0.0027318 |  | 175.934 | -0.00038528
6 | YES | 398.633 | 34.0677 | 0.00076214 | -0.0049286 | -0.0033355 | 0.001593 |  | 75.7222 | -0.0035744
7 | NO | 999.936 | 34.3712 | 0.00033433 | -0.011604 | -0.0037787 | 0.0078256 |  | 125.593 | -0.003685
7 | NO | 30.4564 | 32.433 | 0.0035998 | -0.0053062 | -0.0030642 | 0.002242 |  | 50.3162 | -0.0055084
8 | YES | 1253.73 | 34.4607 | 0.00030065 | -0.0038109 | -0.0039657 | -0.00015481 |  | 1000.31 | -0.0014076
8 | NO | 5.2591 | 31.7488 | 0.00025665 | -0.0093498 | -0.0030457 | 0.0063042 |  | 1499.09 | -0.0050087
9 | YES | 499.532 | 34.1064 | 0.00065077 | -0.0018234 | -0.0034099 | -0.0015865 |  | 1499.5 | -0.0062523 | -0.0037034
9 | YES | 5.437 | 31.3842 | 0.00023221 | -0.004921 | -0.0030458 | 0.0018752 |  | 750.328 | -0.0018921
10 | YES | 175.934 | 33.9706 | 0.00067901 | -0.00038528 | -0.0031714 | -0.0027861 |  | 4.9902 | -0.002861
11 | YES | 75.7222 | 33.2011 | 0.00062983 | -0.0035744 | -0.0030976 | 0.00047679 |  | 175.066 | -0.0021172 | -0.0034208
12 | YES | 125.593 | 32.9043 | 0.00084778 | -0.003685 | -0.0031343 | 0.00055067
13 | NO | 5.0642 | 30.7156 | 0.0063419 | 0.0063057 | -0.0030455 | -0.0093512
14 | NO | 4.8088 | 30.8316 | 0.00087959 | -0.0064506 | -0.0030453 | 0.0034053
15 | YES | 50.3162 | 32.5052 | 0.00021588 | -0.0055084 | -0.0030789 | 0.0024296
16 | NO | 100.578 | 33.7058 | 0.0025444 | -0.0095406 | -0.0031159 | 0.0064247
17 | NO | 500.266 | 34.1223 | 0.0002428 | -0.011299 | -0.0034104 | 0.0078887 |  |  |  |  | 34.1336
18 | NO | 1500.32 | 34.5085 | 0.00021638 | -0.011208 | -0.0041474 | 0.0070602 |  |  |  |  | 34.5197
19 | NO | 749.834 | 34.2546 | 0.00026704 | -0.0080147 | -0.0035944 | 0.0044203 |  |  |  |  | 34.2626
20 | NO | 76.8524 | 32.8823 | 0.011806 | 0.028355 | -0.0030984 | -0.031453 |  |  |  |  | 32.8539
21 | NO | 5.4663 | 30.8925 | 0.0013998 | -0.00634 | -0.0030458 | 0.0032942 |  |  |  |  | 30.8988
22 | YES | 1000.31 | 34.3504 | 0.00026964 | -0.0014076 | -0.0037789 | -0.0023713 |  |  |  |  | 34.3518
22 | NO | 31.4052 | 32.0745 | 0.0069267 | 0.030979 | -0.0030649 | -0.034044 |  |  |  |  | 32.0435
23 | YES | 1499.09 | 34.5067 | 0.00029127 | -0.0050087 | -0.0041465 | 0.00086219 |  |  |  |  | 34.5117
23 | NO | 5.179 | 31.6085 | 0.035988 | -0.040081 | -0.0030456 | 0.037035 |  |  |  |  | 31.6486
24 | YES | 1499.5 | 34.4933 | 0.00022412 | -0.0062523 | -0.0041468 | 0.0021055 |  |  |  |  | 34.4996
24 | NO | 5.385 | 31.8173 | 0.00032716 | -0.0072117 | -0.0030457 | 0.0041659 |  |  |  |  | 31.8245
25 | YES | 750.328 | 34.268 | 0.00033654 | -0.0018921 | -0.0035947 | -0.0017026
25 | YES | 4.9902 | 31.9528 | 0.00092048 | -0.002861 | -0.0030455 | -0.00018444
26 | NO | 75.1434 | 32.8192 | 0.019334 | 0.014732 | -0.0030972 | -0.01783
27 | YES | 175.066 | 33.887 | 0.00046695 | -0.0021172 | -0.0031708 | -0.0010536
YES
NO
NO
NO
NO
NO
YES
NO
NO
YES
NO
YES
YES
YES
YES
YES
NO
NO
YES
NO
NO
NO
NO
NO
NO
YES
NO
YES
NO
YES
NO
YES
YES
NO
YES
FIT vs. Pressure
FIT vs. Sal0
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (Sal0 - Sal_Bot) (5)
Calculation of Linear Least Squares Fit For
(Sal0 - Sal_Bot)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal0 - Sal_Bot), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.061509 |  | X | CALC Y
m= | -1.8707e-06 | 1.4614e-06 |  | Std Dev of Resid |  | 0.0038987 |  | 4.8088 | -0.004072
b= | -0.004063 | 0.00098521 |  | Resid Sum of Squares |  | 0.00038 |  | 1500.32 | -0.0068697
# of Values Extracted = |  |  | 35
# of Values Used in Fit = |  |  | 27
File | Use | Pressure | Sal0 | Sal0 | Diff (Sal0 - Sal_Bot) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 199.987 | 31.2769 | 0.00019975 | -0.0031357 | -0.0044372 | -0.0013015 |  | 199.987 | -0.0031357
1 | NO | 5.0106 | 28.989 | 0.0126 | 0.026871 | -0.0040724 | -0.030943 |  | 174.598 | -0.00043869
2 | NO | 6.0433 | 31.3503 | 0.0056671 | 0.045689 | -0.0040743 | -0.049763 |  | 398.633 | -0.0049286
3 | NO | 4.865 | 31.1303 | 0.0072171 | -0.055801 | -0.0040721 | 0.051729 |  | 999.936 | -0.011604
4 | NO | 4.6357 | 31.1951 | 0.0030534 | 0.012314 | -0.0040717 | -0.016386 |  | 30.4564 | -0.0053062
5 | YES | 174.598 | 33.9117 | 0.0026758 | -0.00043869 | -0.0043897 | -0.003951 |  | 1253.73 | -0.0038109
6 | YES | 398.633 | 34.0677 | 0.00076214 | -0.0049286 | -0.0048088 | 0.00011983 |  | 5.2591 | -0.0093498
7 | YES | 999.936 | 34.3712 | 0.00033433 | -0.011604 | -0.0059336 | 0.0056707 |  | 499.532 | -0.0018234
7 | YES | 30.4564 | 32.433 | 0.0035998 | -0.0053062 | -0.00412 | 0.0011862 |  | 5.437 | -0.004921
8 | YES | 1253.73 | 34.4607 | 0.00030065 | -0.0038109 | -0.0064084 | -0.0025975 |  | 175.934 | -0.00038528
8 | YES | 5.2591 | 31.7488 | 0.00025665 | -0.0093498 | -0.0040729 | 0.0052769 |  | 75.7222 | -0.0035744
9 | YES | 499.532 | 34.1064 | 0.00065077 | -0.0018234 | -0.0049975 | -0.0031741 |  | 125.593 | -0.003685
9 | YES | 5.437 | 31.3842 | 0.00023221 | -0.004921 | -0.0040732 | 0.00084775 |  | 5.0642 | 0.0063057
10 | YES | 175.934 | 33.9706 | 0.00067901 | -0.00038528 | -0.0043922 | -0.0040069 |  | 4.8088 | -0.0064506
11 | YES | 75.7222 | 33.2011 | 0.00062983 | -0.0035744 | -0.0042047 | -0.00063032 |  | 50.3162 | -0.0055084
12 | YES | 125.593 | 32.9043 | 0.00084778 | -0.003685 | -0.004298 | -0.00061299 |  | 100.578 | -0.0095406
13 | YES | 5.0642 | 30.7156 | 0.0063419 | 0.0063057 | -0.0040725 | -0.010378 |  | 500.266 | -0.011299
14 | YES | 4.8088 | 30.8316 | 0.00087959 | -0.0064506 | -0.004072 | 0.0023786 |  | 1500.32 | -0.011208
15 | YES | 50.3162 | 32.5052 | 0.00021588 | -0.0055084 | -0.0041572 | 0.0013513 |  | 749.834 | -0.0080147
16 | YES | 100.578 | 33.7058 | 0.0025444 | -0.0095406 | -0.0042512 | 0.0052894 |  | 5.4663 | -0.00634
17 | YES | 500.266 | 34.1223 | 0.0002428 | -0.011299 | -0.0049989 | 0.0063002 |  | 1000.31 | -0.0014076
18 | YES | 1500.32 | 34.5085 | 0.00021638 | -0.011208 | -0.0068697 | 0.0043379 |  | 1499.09 | -0.0050087
19 | YES | 749.834 | 34.2546 | 0.00026704 | -0.0080147 | -0.0054658 | 0.0025489 |  | 1499.5 | -0.0062523
20 | NO | 76.8524 | 32.8823 | 0.011806 | 0.028355 | -0.0042068 | -0.032561 |  | 5.385 | -0.0072117
21 | YES | 5.4663 | 30.8925 | 0.0013998 | -0.00634 | -0.0040733 | 0.0022668 |  | 750.328 | -0.0018921
22 | YES | 1000.31 | 34.3504 | 0.00026964 | -0.0014076 | -0.0059343 | -0.0045267 |  | 4.9902 | -0.002861
22 | NO | 31.4052 | 32.0745 | 0.0069267 | 0.030979 | -0.0041218 | -0.035101 |  | 175.066 | -0.0021172
23 | YES | 1499.09 | 34.5067 | 0.00029127 | -0.0050087 | -0.0068674 | -0.0018587
23 | NO | 5.179 | 31.6085 | 0.035988 | -0.040081 | -0.0040727 | 0.036008
24 | YES | 1499.5 | 34.4933 | 0.00022412 | -0.0062523 | -0.0068682 | -0.00061587
24 | YES | 5.385 | 31.8173 | 0.00032716 | -0.0072117 | -0.0040731 | 0.0031386
25 | YES | 750.328 | 34.268 | 0.00033654 | -0.0018921 | -0.0054667 | -0.0035746
25 | YES | 4.9902 | 31.9528 | 0.00092048 | -0.002861 | -0.0040724 | -0.0012114
26 | NO | 75.1434 | 32.8192 | 0.019334 | 0.014732 | -0.0042036 | -0.018936
27 | YES | 175.066 | 33.887 | 0.00046695 | -0.0021172 | -0.0043905 | -0.0022734
YES
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
NO
YES
NO
YES
YES
YES
YES
NO
YES
FIT vs. Pressure
FIT vs. Sal0
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Main
# Channels= | 3 |  |  |  | COMPARE Version 3.3 | Run at 2011/10/13 15:52:41
| Primary | Secondary |  | Comparison Name
Ref | Pressure | Pressure |  | Pressure - Pressure
Comp 1 | Sal_Bot | Sal0 |  | Sal0 - Sal_Bot
Comp 2 | Sal_Bot | Sal1 |  | Sal1 - Sal_Bot
Average Size: | 1
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | Pressure | Pressure | Pressure | (S-P) | Sal_Bot | Sal0 | Sal0 | (S-P) | Sal_Bot | Sal1 | Sal1 | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
2011-16-0001.mrg | 2011-16-0001.sam | 241 | 199.987 | 199.987 | 0.02626 | -0.00030518 | 31.28 | 31.2769 | 0.00019975 | -0.0031357 | 31.28 | 31.2782 | 0.00030515 | -0.0018024
2011-16-0001.mrg | 2011-16-0001.sam | 241 | 5.011 | 5.0106 | 0.02352 | -0.00042343 | 28.9621 | 28.989 | 0.0126 | 0.026871 | 28.9621 | 28.9939 | 0.0072275 | 0.031837
2011-16-0002.mrg | 2011-16-0002.sam | 241 | 6.043 | 6.0433 | 0.12008 | 0.00025701 | 31.3046 | 31.3503 | 0.0056671 | 0.045689 | 31.3046 | 31.3498 | 0.0048684 | 0.045162
2011-16-0003.mrg | 2011-16-0003.sam | 241 | 4.865 | 4.865 | 0.13058 | -2.0504e-05 | 31.1861 | 31.1303 | 0.0072171 | -0.055801 | 31.1861 | 31.1323 | 0.0031627 | -0.053831
2011-16-0023.mrg | 2011-16-0023.sam | 241 | 4.636 | 4.6357 | 0.26196 | -0.00027418 | 31.1828 | 31.1951 | 0.0030534 | 0.012314 | 31.1828 | 31.1951 | 0.0021163 | 0.012251
2011-16-0026.mrg | 2011-16-0026.sam | 241 | 174.598 | 174.598 | 0.42581 | -0.00027466 | 33.9121 | 33.9117 | 0.0026758 | -0.00043869 | 33.9121 | 33.9123 | 0.0022979 | 0.00022125
2011-16-0028.mrg | 2011-16-0028.sam | 240 | 398.637 | 398.633 | 0.70684 | -0.004364 | 34.0726 | 34.0677 | 0.00076214 | -0.0049286 | 34.0726 | 34.0681 | 0.00079369 | -0.0044594
2011-16-0030.mrg | 2011-16-0030.sam | 208 | 1000.12 | 999.936 | 0.56002 | -0.18054 | 34.3828 | 34.3712 | 0.00033433 | -0.011604 | 34.3828 | 34.3705 | 0.0003929 | -0.012268
2011-16-0030.mrg | 2011-16-0030.sam | 482 | 30.542 | 30.4564 | 0.42248 | -0.085554 | 32.4383 | 32.433 | 0.0035998 | -0.0053062 | 32.4383 | 32.4319 | 0.0035176 | -0.0064468
2011-16-0037.mrg | 2011-16-0037.sam | 165 | 1253.52 | 1253.73 | 0.41068 | 0.21387 | 34.4645 | 34.4607 | 0.00030065 | -0.0038109 | 34.4645 | 34.4618 | 0.00035399 | -0.0026588
2011-16-0037.mrg | 2011-16-0037.sam | 241 | 5.259 | 5.2591 | 0.25843 | 0.00010395 | 31.7582 | 31.7488 | 0.00025665 | -0.0093498 | 31.7582 | 31.7491 | 0.00030097 | -0.0091
2011-16-0040.mrg | 2011-16-0040.sam | 241 | 499.532 | 499.532 | 0.58171 | 6.1035e-05 | 34.1082 | 34.1064 | 0.00065077 | -0.0018234 | 34.1082 | 34.1072 | 0.00083528 | -0.00103
2011-16-0040.mrg | 2011-16-0040.sam | 215 | 5.309 | 5.437 | 0.53514 | 0.12801 | 31.3891 | 31.3842 | 0.00023221 | -0.004921 | 31.3891 | 31.3845 | 0.00031718 | -0.0046387
2011-16-0044.mrg | 2011-16-0044.sam | 241 | 175.934 | 175.934 | 0.47957 | -9.1553e-05 | 33.971 | 33.9706 | 0.00067901 | -0.00038528 | 33.971 | 33.9712 | 0.00065522 | 0.00021362
2011-16-0047.mrg | 2011-16-0047.sam | 212 | 75.568 | 75.7222 | 0.48575 | 0.15419 | 33.2047 | 33.2011 | 0.00062983 | -0.0035744 | 33.2047 | 33.2016 | 0.00083032 | -0.0030899
2011-16-0049.mrg | 2011-16-0049.sam | 241 | 125.593 | 125.593 | 0.25696 | 0.00016022 | 32.908 | 32.9043 | 0.00084778 | -0.003685 | 32.908 | 32.9054 | 0.00063159 | -0.0025864
2011-16-0053.mrg | 2011-16-0053.sam | 316 | 5.029 | 5.0642 | 0.45726 | 0.035244 | 30.7093 | 30.7156 | 0.0063419 | 0.0063057 | 30.7093 | 30.7137 | 0.0071865 | 0.0043697
2011-16-0055.mrg | 2011-16-0055.sam | 241 | 4.809 | 4.8088 | 0.27783 | -0.00016165 | 30.8381 | 30.8316 | 0.00087959 | -0.0064506 | 30.8381 | 30.8325 | 0.00080608 | -0.0055676
2011-16-0058.mrg | 2011-16-0058.sam | 241 | 50.316 | 50.3162 | 0.29026 | 0.00017166 | 32.5107 | 32.5052 | 0.00021588 | -0.0055084 | 32.5107 | 32.5063 | 0.00035889 | -0.0044174
2011-16-0061.mrg | 2011-16-0061.sam | 241 | 100.578 | 100.578 | 0.47904 | 0.00017548 | 33.7153 | 33.7058 | 0.0025444 | -0.0095406 | 33.7153 | 33.7043 | 0.0015317 | -0.011036
2011-16-0063.mrg | 2011-16-0063.sam | 186 | 500.432 | 500.266 | 0.58785 | -0.16626 | 34.1336 | 34.1223 | 0.0002428 | -0.011299 | 34.1336 | 34.1231 | 0.00036919 | -0.010544
2011-16-0067.mrg | 2011-16-0067.sam | 241 | 1500.32 | 1500.32 | 0.40741 | 0.00048828 | 34.5197 | 34.5085 | 0.00021638 | -0.011208 | 34.5197 | 34.5098 | 0.00035594 | -0.0099335
2011-16-0073.mrg | 2011-16-0073.sam | 203 | 750.028 | 749.834 | 0.59777 | -0.19391 | 34.2626 | 34.2546 | 0.00026704 | -0.0080147 | 34.2626 | 34.2555 | 0.00038328 | -0.0071106
2011-16-0078.mrg | 2011-16-0078.sam | 241 | 76.852 | 76.8524 | 0.4273 | 0.00041199 | 32.8539 | 32.8823 | 0.011806 | 0.028355 | 32.8539 | 32.8919 | 0.011072 | 0.038006
2011-16-0084.mrg | 2011-16-0084.sam | 386 | 5.433 | 5.4663 | 0.16858 | 0.03334 | 30.8988 | 30.8925 | 0.0013998 | -0.00634 | 30.8988 | 30.8935 | 0.0024732 | -0.0052795
2011-16-0088.mrg | 2011-16-0088.sam | 241 | 1000.31 | 1000.31 | 0.54738 | -0.00042725 | 34.3518 | 34.3504 | 0.00026964 | -0.0014076 | 34.3518 | 34.3512 | 0.0003526 | -0.00060654
2011-16-0088.mrg | 2011-16-0088.sam | 241 | 31.405 | 31.4052 | 0.19846 | 0.0001812 | 32.0435 | 32.0745 | 0.0069267 | 0.030979 | 32.0435 | 32.0772 | 0.0059482 | 0.03371
2011-16-0092.mrg | 2011-16-0092.sam | 162 | 1499.18 | 1499.09 | 0.63794 | -0.098511 | 34.5117 | 34.5067 | 0.00029127 | -0.0050087 | 34.5117 | 34.5077 | 0.00034712 | -0.0039635
2011-16-0092.mrg | 2011-16-0092.sam | 299 | 5.11 | 5.179 | 0.37371 | 0.06901 | 31.6486 | 31.6085 | 0.035988 | -0.040081 | 31.6486 | 31.6208 | 0.042687 | -0.027847
2011-16-0102.mrg | 2011-16-0102.sam | 241 | 1499.5 | 1499.5 | 0.3085 | 0.00012207 | 34.4996 | 34.4933 | 0.00022412 | -0.0062523 | 34.4996 | 34.4946 | 0.00030829 | -0.0049934
2011-16-0102.mrg | 2011-16-0102.sam | 482 | 5.419 | 5.385 | 0.2006 | -0.033958 | 31.8245 | 31.8173 | 0.00032716 | -0.0072117 | 31.8245 | 31.8179 | 0.00040301 | -0.0066452
2011-16-0106.mrg | 2011-16-0106.sam | 241 | 750.328 | 750.328 | 0.17208 | 0.00018311 | 34.2699 | 34.268 | 0.00033654 | -0.0018921 | 34.2699 | 34.2689 | 0.00034164 | -0.00098419
2011-16-0106.mrg | 2011-16-0106.sam | 390 | 4.991 | 4.9902 | 0.16654 | -0.00079775 | 31.9557 | 31.9528 | 0.00092048 | -0.002861 | 31.9557 | 31.954 | 0.001036 | -0.0016899
2011-16-0109.mrg | 2011-16-0109.sam | 241 | 75.143 | 75.1434 | 0.12757 | 0.00035858 | 32.8045 | 32.8192 | 0.019334 | 0.014732 | 32.8045 | 32.8205 | 0.012131 | 0.016029
2011-16-0126.mrg | 2011-16-0126.sam | 235 | 175.04 | 175.066 | 0.39883 | 0.026505 | 33.8891 | 33.887 | 0.00046695 | -0.0021172 | 33.8891 | 33.8877 | 0.00046727 | -0.001358
Create Fit Sheet