## Notes
Cruise 2011-16 May WCVI | File: QF 2011-16nuts.xls
Date: July 7, 2011
Compiled by Wendy Richardson
Samples were collected in plastic test tubes.
Most samples were analysed frozen at IOS by Wendy Richardson and Janet Barwell-Clarke
Deep Silicate samples (400m and below) were analyzed cool at IOS by Wendy Richardson and Janet Barwell-Clarke.
The Astoria Analyzer was used for sample analyses.
The Chauvenet criteria was used to evaluate precision of duplicates.
Outliers were omitted from the Precision Statement.
Samples 147 and 148 have similar results. Perhaps this is due to a mistrip or mis-sampled?
Samples 145 and 146 have similar results. Perhaps this is due to a mistrip or mis-sampled?
Samples 314 and 315 have similar results. Perhaps this is due to a mistrip or mis-sampled?
For sample 365 the bad PO4 duplicate result was omitted. There was a strange mark inside that tube.
Other samples that are commented with poor duplicates have no obvious reason to discard, the tubes look fine (no cracks).
Sample 133 the tube was cracked and the sample leaked out.
Samples 389 and 390 give an unusual shape to the profile.
Corrections made as follows on 27-Jan-2014 by Mark Belton
Nitrate and phosphate values were corrected for this cruise according to calculations made by Janet Barwell-Clarke to account
for system differences between technicon and astoria analyzing systems. For further details please see "Corrections to Nitrate and Phosphate Data 2009-2012"
Located on the OSD_DATA_ARCHIVE drive: L:\Cruise_Data\DOCUMENTS\Analysis Reference Papers

## Method
Cruise 2011-16 May WCVI |  | File: QF 2011-16nuts.xls
Date: July 7, 2011
Samples were collected in plastic test tubes. |  | Compiled by Wendy Richardson
Most samples were analysed frozen at IOS by Wendy Richardson and Janet Barwell-Clarke.
Deep Silicate samples (400m and deeper) analyzed cool at IOS by Wendy Richardson and Janet Barwell-Clarke.
The Astoria Analyzer was used for sample analyses.
Quality Flags for Water Samples
Flag | Value Definition
1 | Sample for this measurement was drawn from water bottle but not analyzed (e.g. broken sample
bottle; nitrate not analyzed in anoxic water; sample lost).
2 | Acceptable measurement (not normally used).
3 | Questionable measurement (potential problem observed in sampling, analysis, or value; e.g.
poor agreement between reps but unclear which is better; Niskin integrity questionable but not
severe). Suspected misfire or mis-sample would be noted as an outlier and would be flagged “3”.
4 | Bad measurement (known problem with sampling or analysis but not serious enough to
completely discard the value; e.g. Niskin integrity was badly compromised; bubble in oxygen
sample; chlorophyll filter askew on funnel).
5 | Measurement not reported because the value was clearly bad. Use only when a value is clearly
unreasonable or unavailable.
6 | Mean of replicate measurements (summary of replicates and table of replicate data must be included
in the quality flagged file).
7 | Manual chromatographic peak measurement.
8 | Irregular digital chromatographic peak integration.
9 | Sample not drawn for this measurement from this bottle (planning to sample this bottle, but it didn’t
get collected because the Niskin did not close; there was no water left in the Niskin; the Niskin was
emptied before it was sampled; or we simply forgot).
Nutrient Analysis specific examples for quality flags
1 | Nitrate sample drawn but not analyzed because of anoxic water; frozen test tube overfilled
and broken – lost sample
3 | Suspected misfire/mis-sample as sample doesn’t fit profile; poor duplicates; some salt
crystals on test tube rim
4 | Frozen test tube cracked and sample may have been contaminated during thawing; many salt
crystals on test tube rim
5 | Phosphate sample clearly contaminated and value is unreasonable
9 | Planning to sample but for some reason (see above) sample not drawn; nutrient tube empty,
sample missing (as per log sheet – it should have been taken).

## Station Data
Cruise 2011-16 May WCVI | [12 empty] | File: QF 2011-16nuts.xls
Nutrient data summary with Quality Flags | [12 empty] | Date: July 7, 2011
Combination of frozen and cool data, duplicate values averaged | [12 empty] | Compiled by Wendy Richardson
Updated: October 14, 2011
Duplicates |  | Sample stored cool
Loop samples |  | Si cool dup only
Niskins same depth
Important comments
Niskin didn't close |  | Niskin Comment
Quality Flags:
1 | Sample for this measurement was drawn from water bottle but not analyzed
3 | Questionable measurement
4 | Bad measurement (known problem with sampling or analysis but not serious enough to
completely discard the value
5 | Measurement not reported because the value was clearly bad.
6 | Mean of replicate measurements
9 | Sample not drawn for this measurement from this bottle
Cruise | Station | Cast | Sample # | Depth | Pressure | Niskin | NO3 | NO3 | SiO3 | SiO3 | PO4 | PO4 | Comments
|  |  |  | (nominal) | (actual) |  | uM | QF | uM | QF | uM | QF
2011-16 | SI03 | 1 | 12 | 5 | 5.011 | 12 | 6.6468 |  | 10.5 |  | 0.86462
2011-16 | SI03 | 1 | 11 | 10 | 10.531 | 11 | 7.9224 |  | 11.6 |  | 1.0467
2011-16 | SI03 | 1 | 10 | 20 | 20.021 | 10 | 14.2021 |  | 18.4 |  | 1.7345
2011-16 | SI03 | 1 | 9 | 30 | 30.149 | 9 | 16.1645 |  | 24.2 |  | 1.9773
2011-16 | SI03 | 1 | 8 | 50 | 50.617 | 8 | 27.5464 |  | 53.3 |  | 2.5437
2011-16 | SI03 | 1 | 7 | 75 | 74.347 | 7 | 26.1727 |  | 52.3 |  | 2.6347
2011-16 | SI03 | 1 | 6 | 100 | 100.612 | 6 | 25.4859 |  | 72.7 |  | 3.717
2011-16 | SI03 | 1 | 5 | 125 | 125.17 | 5 |  | 1 | 96.95 | 6 | 4.9359 | 6 | Anoxic, NO3 not analyzed
2011-16 | SI03 | 1 | 4 | 150 | 150.117 | 4 |  | 1 | 106.1 |  | 5.4973 |  | Anoxic, NO3 not analyzed
2011-16 | SI03 | 1 | 3 | 175 | 175.802 | 3 |  | 1 | 109.2 |  | 5.8513 |  | Anoxic, NO3 not analyzed
2011-16 | SI03 | 1 | 2 | 200 | 199.982 | 2 |  | 1 | 124.2 |  | 6.883 |  | Anoxic, NO3 not analyzed
2011-16 | SI03 | 1 | 1 | Bot-10 | 216.98 | 1 |  | 1 | 134.3 |  | 7.3787 |  | Anoxic, NO3 not analyzed
2011-16 | LB01 | 2 | 15 | 5 | 6.067 | 3 | 0.95586 | 6 | 1.45 | 6 | 0.4145 | 6
2011-16 | LB01 | 2 | 14 | 10 | 10.83 | 2 | 8.3149 |  | 6.4 |  | 1.0062
2011-16 | LB01 | 2 | 13 | 20 | 25.916 | 1 | 24.4065 |  | 35.3 |  | 2.0177
2011-16 | LB02 | 3 | 20 | 5 | 4.854 | 5 | 1.6427 |  | 2.1 |  | 0.42967
2011-16 | LB02 | 3 | 19 | 10 | 10.075 | 4 | 13.5152 |  | 16 |  | 1.34
2011-16 | LB02 | 3 | 18 | 20 | 19.145 | 3 | 23.0329 |  | 32.9 |  | 1.957
2011-16 | LB02 | 3 | 17 | 30 | 30.085 | 2 | 24.5537 | 6 | 35.9 | 6 | 2.038 | 6
2011-16 | LB02 | 3 | 16 | Bot-10 | 45.417 | 1 | 26.1727 |  | 38.7 |  | 2.1694
2011-16 | LB04 | 5 | 27 | 5 | 4.559 | 7 | 1.6427 |  | 1.9 |  | 0.39932
2011-16 | LB04 | 5 | 26 | 10 | 10.193 | 6 | 16.5079 | 6 | 19.35 | 6 | 1.5828 | 6
2011-16 | LB04 | 5 | 25 | 20 | 20.397 | 5 | 19.893 |  | 26.5 |  | 1.7952
2011-16 | LB04 | 5 | 24 | 30 | 30.53 | 4 | 23.131 |  | 32.7 |  | 1.9874
2011-16 | LB04 | 5 | 23 | 50 | 50.654 | 3 | 25.7802 |  | 37.1 |  | 2.0986
2011-16 | LB04 | 5 | 22 | 75 | 75.091 | 2 | 27.5464 |  | 39.3 |  | 2.1998
2011-16 | LB04 | 5 | 21 | Bot-10 | 103.685 | 1 | 29.6069 |  | 42 |  | 2.2807
2011-16 | LB06 | 9 | 34 | 5 | 5.362 | 7 | 0.1709 |  | 0.3 |  | 0.19703
2011-16 | LB06 | 9 | 33 | 10 | 9.611 | 6 | 0.1709 | 6 | 0.45 | 6 | 0.25772 |  | Bad PO4 dup, omitted
2011-16 | LB06 | 9 | 32 | 20 | 19.797 | 5 | 18.1269 |  | 22.2 |  | 1.8357
2011-16 | LB06 | 9 | 31 | 30 | 29.954 | 4 | 21.7573 |  | 30.3 |  | 1.9065
2011-16 | LB06 | 9 | 30 | 50 | 50.585 | 3 | 25.2896 |  | 35.9 |  | 2.0784
2011-16 | LB06 | 9 | 29 | 75 | 76.057 | 2 | 26.2708 |  | 36.7 |  | 2.1189
2011-16 | LB06 | 9 | 28 | Bot-10 | 75.988 | 1 | 26.2708 |  | 36.6 |  | 2.1189
2011-16 | LB08 | 22 | 44 | 5 | 4.652 | 9 | 2.2314 |  | 5 |  | 0.49036
2011-16 | LB08 | 22 | 43 | 10 | 9.858 | 8 | 3.8013 |  | 5.6 |  | 0.63197
2011-16 | LB08 | 22 | 42 | 20 | 20.298 | 7 | 17.9306 |  | 22.5 |  | 1.6839
2011-16 | LB08 | 22 | 41 | 30 | 29.544 | 6 | 21.1686 |  | 29.7 |  | 1.8761
2011-16 | LB08 | 22 | 40 | 50 | 50.243 | 5 | 24.75 | 6 | 36.65 | 6 | 2.0835 | 6
2011-16 | LB08 | 22 | 39 | 75 | 75.007 | 4 | 25.8783 |  | 36.5 |  | 2.0885
2011-16 | LB08 | 22 | 38 | 100 | 99.538 | 3 | 29.6069 |  | 42.1 |  | 2.2908
2011-16 | LB08 | 22 | 37 | 125 | 125.066 | 2 | 33.7279 |  | 52.1 |  | 2.5943
2011-16 | LB08 | 22 | 36 | Bot-10 | 156.1 | 1 | 34.4148 |  | 56.6 |  | 2.6954
2011-16 | LB09 | 24 | 54 | 5 | 5.539 | 8 | 0.1709 |  | 3.1 |  | 0.27794 |  | All samples labelled as LB07
2011-16 | LB09 | 24 | 53 | 10 | 10.055 | 7 | 0.1709 |  | 3.2 |  | 0.28806
2011-16 | LB09 | 24 | 52 | 20 | 20.664 | 6 | 0.6615 |  | 6.5 |  | 0.49036
2011-16 | LB09 | 24 | 51 | 30 | 29.809 | 5 | 6.5487 | 6 | 9.15 | 6 | 0.86462 | 6
2011-16 | LB09 | 24 | 50 | 50 | 51.468 | 4 | 13.5152 |  | 15.7 |  | 1.2591
2011-16 | LB09 | 24 | 49 | 75 | 76.053 | 3 | 23.7197 |  | 31.6 |  | 1.8963
2011-16 | LB09 | 24 | 48 | 100 | 100.526 | 2 | 31.4712 |  | 47 |  | 2.4122
2011-16 | LB09 | 24 | 47 | Bot-10 | 140.573 | 1 | 35.2979 |  | 53.4 |  | 2.6347
2011-16 | LB11 | 26 | 65 | 5 | 5.685 | 11 | 0.1709 |  | 3.2 |  | 0.29818
2011-16 | LB11 | 26 | 64 | 10 | 10.037 | 10 | 0.1709 |  | 3.2 |  | 0.29818
2011-16 | LB11 | 26 | 63 | 20 | 21.035 | 9 | 3.7032 |  | 10.9 |  | 0.70278
2011-16 | LB11 | 26 | 62 | 30 | 30.583 | 8 | 6.7449 |  | 11.7 |  | 0.90507
2011-16 | LB11 | 26 | 61 | 50 | 51.557 | 7 | 9.1979 |  | 10.9 |  | 1.0467
2011-16 | LB11 | 26 | 60 | 75 | 76.733 | 6 | 16.1645 | 6 | 17.8 | 6 | 1.4311 | 6
2011-16 | LB11 | 26 | 59 | 100 | 100.364 | 5 | 26.3689 |  | 31.9 |  | 2.0076
2011-16 | LB11 | 26 | 58 | 125 | 124.047 | 4 | 31.1768 |  | 41.1 |  | 2.3111
2011-16 | LB11 | 26 | 57 | 150 | 150.054 | 3 | 32.943 |  | 45.5 |  | 2.3819
2011-16 | LB11 | 26 | 56 | 175 | 174.732 | 2 | 33.8261 |  | 48.4 |  | 2.4931
2011-16 | LB11 | 26 | 55 | Bot-10 | 194.643 | 1 | 35.0035 |  | 53.1 |  | 2.655
2011-16 | LB12 | 28 | 80 | 5 | 4.011 | 15 | 0.1709 | 3 | 4 | 3 | 0.33864 | 3 | Leaky spigot
2011-16 | LB12 | 28 | 79 | 10 | 10.437 | 14 | 0.1709 |  | 4 |  | 0.33864
2011-16 | LB12 | 28 | 78 | 20 | 20.056 | 13 | 0.1709 | 6 | 4.5 | 6 | 0.35381 | 6
2011-16 | LB12 | 28 | 77 | 30 | 30.072 | 12 |  | 9 |  | 9 |  | 9 | No nut taken
2011-16 | LB12 | 28 | 76 | 50 | 49.88 | 11 |  | 9 |  | 9 |  | 9 | No nut taken
2011-16 | LB12 | 28 | 75 | 75 | 75.356 | 10 | 21.0705 |  | 23.5 |  | 1.694
2011-16 | LB12 | 28 | 74 | 100 | 100.637 | 9 | 26.5652 |  | 31.2 |  | 2.0076
2011-16 | LB12 | 28 | 73 | 125 | 125.799 | 8 | 28.4295 |  | 34.9 |  | 2.1189
2011-16 | LB12 | 28 | 72 | 150 | 149.422 | 7 |  | 9 |  | 9 |  | 9 | Niskin closed but no water
2011-16 | LB12 | 28 | 71 | 175 | 175.351 | 6 | 30.7843 |  | 41.1 |  | 2.1998
2011-16 | LB12 | 28 | 70 | 200 | 200.584 | 5 | 32.7467 |  | 46.3 |  | 2.3616
2011-16 | LB12 | 28 | 69 | 250 | 248.598 | 4 | 35.5922 |  | 54.4 |  | 2.5639
2011-16 | LB12 | 28 | 68 | 300 | 299.548 | 3 | 38.3396 |  | 62.4 |  | 2.7662
2011-16 | LB12 | 28 | 67 | 400 | 398.269 | 2 | 40.4982 |  | 73 |  | 2.9483
2011-16 | LB12 | 28 | 66 | Bot-10 | 506.436 | 1 | 42.1663 |  | 84.8 |  | 3.1506
2011-16 | LB14 | 30 | 101 | 5 | 5.063 | 19 | 2.4277 |  | 6.8 |  | 0.63197
2011-16 | LB14 | 30 | 100 | 10 | 9.843 | 18 | 3.9976 |  | 7 |  | 0.72301
2011-16 | LB14 | 30 | 99 | 20 | 21.064 | 17 | 0.1709 |  | 4.5 |  | 0.3791
2011-16 | LB14 | 30 | 98 | 30 | 30.502 | 16 | 0.1709 |  | 4.5 |  | 0.3791
2011-16 | LB14 | 30 | 97 | 50 | 49.917 | 15 | 5.175 |  | 7.1 |  | 0.7837
2011-16 | LB14 | 30 | 96 | 75 | 73.997 | 14 | 10.866 | 6 | 11.7 | 6 | 1.1124 | 6
2011-16 | LB14 | 30 | 95 | 100 | 100.271 | 13 | 23.3272 |  | 26.5 |  | 1.8357
2011-16 | LB14 | 30 | 94 | 125 | 124.951 | 12 | 27.5464 |  | 32.8 |  | 2.0885
2011-16 | LB14 | 30 | 93 | 150 | 150.402 | 11 | 29.705 |  | 37.8 |  | 2.1796
2011-16 | LB14 | 30 | 92 | 150 | 150.048 | 10 |  |  |  |  | 0.0453 |  | Water for Nina, no nut sample
2011-16 | LB14 | 30 | 91 | 175 | 175.38 | 9 | 31.2749 |  | 41.9 |  | 2.2706
2011-16 | LB14 | 30 | 90 | 200 | 199.686 | 8 | 32.158 |  | 44.6 |  | 2.3414
2011-16 | LB14 | 30 | 89 | 250 | 250.735 | 7 | 34.2185 |  | 50.8 |  | 2.4729
2011-16 | LB14 | 30 | 88 | 300 | 302.192 | 6 | 36.6715 |  | 58.3 |  | 2.655
2011-16 | LB14 | 30 | 87 | 400 | 400.627 | 5 | 40.1057 |  | 71.6 |  | 2.9382
2011-16 | LB14 | 30 | 86 | 500 | 501.161 | 4 | 42.0681 |  | 82.3 |  | 3.1101
2011-16 | LB14 | 30 | 85 | 750 | 748.945 | 3 | 44.0305 |  | 105.25 | 6 | 3.3226 |  | Si cool dup only
2011-16 | LB14 | 30 | 84 | 1000 | 1000.398 | 2 | 44.7174 |  | 123.6 |  | 3.3327
2011-16 | LB14 | 30 | 83 | Bot-10 | 1193.283 | 1 | 44.5211 |  | 135.4 |  | 3.3428
2011-16 | LC12 | 34 | 106 | 5 | 5.052 | 3 | 0.1709 |  | 4.6 |  | 0.98599
2011-16 | LC12 | 34 | 105 | Max | 40.038 | 2 | 4.6844 |  | 6.8 |  | 0.75335
2011-16 | LC12 | 34 | 104 | Max-10 | 50.473 | 1 | 6.4506 |  | 7.8 |  | 0.84439
2011-16 | LC11 | 37 | 125 | 5 | 5.368 | 19 | 0.1709 |  | 4.7 |  | 0.36898
2011-16 | LC11 | 37 | 124 | 10 | 11.022 | 18 | 0.1709 |  | 4.6 |  | 0.36898
2011-16 | LC11 | 37 | 123 | 20 | 19.922 | 17 | 0.1709 |  | 4.8 |  | 0.38921
2011-16 | LC11 | 37 | 122 | 30 | 29.954 | 16 | 1.5446 |  | 6.6 |  | 0.59151
2011-16 | LC11 | 37 | 121 | 50 | 50.667 | 15 | 7.5299 |  | 8.4 |  | 0.89496
2011-16 | LC11 | 37 | 120 | 75 | 75.192 | 14 | 15.5757 |  | 16.9 |  | 1.3501
2011-16 | LC11 | 37 | 119 | 100 | 100.094 | 13 | 23.9159 |  | 27.6 |  | 1.8761
2011-16 | LC11 | 37 | 118 | 125 | 123.85 | 12 | 28.037 |  | 34.1 |  | 2.0683
2011-16 | LC11 | 37 | 117 | 150 | 150.767 | 11 | 30.0975 |  | 38.2 |  | 2.2099
2011-16 | LC11 | 37 | 116 | 175 | 175.803 | 10 | 31.3731 |  | 41.7 |  | 2.2807
2011-16 | LC11 | 37 | 115 | 200 | 199.001 | 9 | 32.7467 |  | 45 |  | 2.3819
2011-16 | LC11 | 37 | 114 | 250 | 250.585 | 8 | 34.7091 |  | 51.5 |  | 2.5032
2011-16 | LC11 | 37 | 113 | 300 | 300.469 | 7 | 38.0452 |  | 61.3 |  | 2.7157
2011-16 | LC11 | 37 | 112 | 400 | 401.033 | 6 | 40.0076 |  | 72.1 |  | 2.9281
2011-16 | LC11 | 37 | 111 | 500 | 499.869 | 5 | 41.97 |  | 84.7 |  | 3.0697
2011-16 | LC11 | 37 | 110 | 750 | 750.173 | 4 | 44.0305 | 6 | 107.3 |  | 3.2619 | 6 | no cool Si dup
2011-16 | LC11 | 37 | 109 | 1000 | 1000.98 | 3 | 44.5211 |  | 125.7 | 6 | 3.2315 |  | Si cool dup only, PO4 rerun
2011-16 | LC11 | 37 | 108 | 1250 | 1253.724 | 2 | 44.7174 |  | 141.8 |  | 3.2821 |  | PO4 rerun
2011-16 | LC11 | 37 | 107 | Bot-10 | 1441.812 | 1 | 44.3249 |  | 152.1 |  | 3.2518 |  | PO4 rerun
2011-16 | LC09 | 40 | 142 | 5 | 5.659 | 16 | 0.1709 |  | 4 |  | 0.30829
2011-16 | LC09 | 40 | 141 | 10 | 10.929 | 15 | 0.1709 |  | 4 |  | 0.3184
2011-16 | LC09 | 40 | 140 | 20 | 18.87 | 14 | 0.1709 |  | 5.3 |  | 0.39932
2011-16 | LC09 | 40 | 139 | 30 | 29.064 | 13 | 2.0352 |  | 6.6 |  | 0.59151
2011-16 | LC09 | 40 | 138 | 50 | 49.393 | 12 | 11.7491 |  | 15.9 |  | 1.2186
2011-16 | LC09 | 40 | 137 | 75 | 75.508 | 11 | 16.2626 |  | 18.4 |  | 1.4311
2011-16 | LC09 | 40 | 136 | 100 | 99.985 | 10 | 22.7385 |  | 27.2 |  | 1.7952
2011-16 | LC09 | 40 | 135 | 125 | 124.97 | 9 | 27.6445 |  | 34.6 |  | 2.0885
2011-16 | LC09 | 40 | 134 | 150 | 150.371 | 8 | 29.4107 |  | 38.8 |  | 2.1391
2011-16 | LC09 | 40 | 133 | 175 | 175.55 | 7 |  | 1 |  | 1 |  | 1 | Cracked tube, leaked
2011-16 | LC09 | 40 | 132 | 200 | 199.905 | 6 | 34.4638 | 6 | 50.05 | 6 | 2.3414 | 36 | Poor PO4 dup
2011-16 | LC09 | 40 | 131 | 250 | 251.233 | 5 | 36.2791 |  | 56.3 |  | 2.5943
2011-16 | LC09 | 40 | 130 | 300 | 299.937 | 4 | 38.6339 |  | 63.7 |  | 2.7359
2011-16 | LC09 | 40 | 129 | 400 | 400.881 | 3 | 41.2832 |  | 76.7 |  | 3.009
2011-16 | LC09 | 40 | 128 | 500 | 499.259 | 2 | 41.97 |  | 80.65 | 6 | 3.0798 |  | Si cool dup only
2011-16 | LC09 | 40 | 127 | Bot-10 | 594.639 | 1 | 43.4418 |  | 92.6 |  | 3.1405
2011-16 | LC08 | 44 | 155 | 5 | 4.399 | 11 | 0.1709 |  | 4.6 |  | 0.33864
2011-16 | LC08 | 44 | 154 | 10 | 10.502 | 10 | 0.1709 |  | 4.8 |  | 0.33864
2011-16 | LC08 | 44 | 153 | 20 | 20.609 | 9 | 0.1709 |  | 5.8 |  | 0.39932
2011-16 | LC08 | 44 | 152 | 30 | 29.971 | 8 | 3.2126 | 6 | 8.7 | 6 | 0.67243 | 6
2011-16 | LC08 | 44 | 151 | 50 | 50.387 | 7 | 7.9224 |  | 8.1 |  | 0.92531
2011-16 | LC08 | 44 | 150 | 75 | 74.283 | 6 | 16.1645 |  | 17.9 |  | 1.4007
2011-16 | LC08 | 44 | 149 | 100 | 100.11 | 5 | 24.8971 |  | 29.2 |  | 1.8963
2011-16 | LC08 | 44 | 148 | 125 | 125.631 | 4 | 31.1768 |  | 43.7 |  | 2.3009
2011-16 | LC08 | 44 | 147 | 150 | 151.375 | 3 | 31.2749 | 3 | 43.8 | 3 | 2.3414 | 3 | mistrip?looks like bottle closed around 125db
2011-16 | LC08 | 44 | 146 | 175 | 175.719 | 2 | 36.2791 |  | 57.2 |  | 2.655
2011-16 | LC08 | 44 | 145 | Bot-10 | 191.481 | 1 | 36.3772 |  | 57.4 |  | 2.6752
2011-16 | LC06 | 47 | 162 | 5 | 5.052 | 7 | 0.1709 |  | 0.3 |  | 0.16668
2011-16 | LC06 | 47 | 161 | 10 | 10.27 | 6 | 0.1709 |  | 0.6 |  | 0.18691
2011-16 | LC06 | 47 | 160 | 20 | 20.605 | 5 | 2.0352 |  | 6.3 |  | 0.58139
2011-16 | LC06 | 47 | 159 | 30 | 30.453 | 4 | 8.6092 |  | 12 |  | 1.0265
2011-16 | LC06 | 47 | 158 | 50 | 50.531 | 3 | 11.9453 | 6 | 13.7 | 6 | 1.1832 | 6
2011-16 | LC06 | 47 | 157 | 75 | 75.399 | 2 | 24.5047 |  | 34.4 |  | 1.9874
2011-16 | LC06 | 47 | 156 | Bot-10 | 85.196 | 1 | 25.4859 |  | 35.4 |  | 2.038
2011-16 | LC04 | 49 | 174 | 5 | 4.855 | 9 | 0.1709 |  | 0.3 |  | 0.26783
2011-16 | LC04 | 49 | 173 | 10 | 10.615 | 8 | 0.36714 |  | 0.8 |  | 0.26783
2011-16 | LC04 | 49 | 172 | 20 | 20.444 | 7 | 14.987 |  | 21.9 |  | 1.4816
2011-16 | LC04 | 49 | 171 | 30 | 29.628 | 6 | 15.2814 |  | 22.8 |  | 1.5019
2011-16 | LC04 | 49 | 170 | 50 | 49.398 | 5 | 19.9911 |  | 30.5 |  | 1.7345
2011-16 | LC04 | 49 | 169 | 75 | 74.955 | 4 | 21.8064 | 6 | 31.5 | 6 | 1.8407 | 6
2011-16 | LC04 | 49 | 168 | 100 | 99.217 | 3 | 23.6216 |  | 35.2 |  | 1.9671
2011-16 | LC04 | 49 | 167 | 125 | 125.479 | 2 | 24.5047 |  | 37 |  | 2.038
2011-16 | LC04 | 49 | 166 | Bot-10 | 156.725 | 1 | 26.9577 |  | 42.8 |  | 2.2706
2011-16 | LC02 | 52 | 184 | 5 | 5.536 | 7 | 0.1709 | 6 | 0.4 | 6 | 0.22737 | 6
2011-16 | LC02 | 52 | 183 | 10 | 11.225 | 6 | 0.75962 |  | 1 |  | 0.34875
2011-16 | LC02 | 52 | 182 | 20 | 19.664 | 5 | 16.5569 |  | 18.2 |  | 1.6435
2011-16 | LC02 | 52 | 181 | 30 | 30.858 | 4 | 20.678 |  | 27.9 |  | 1.9166
2011-16 | LC02 | 52 | 180 | 50 | 50.016 | 3 | 23.7197 |  | 33.6 |  | 1.957
2011-16 | LC02 | 52 | 179 | 75 | 76.195 | 2 | 22.7385 |  | 33.3 |  | 1.8963
2011-16 | LC02 | 52 | 178 | Bot-10 | 100.024 | 1 | 26.8595 |  | 40.4 |  | 2.1897
2011-16 | LC01 | 53 | 194 | 5 | 4.864 | 10 | 0.1709 |  | 0.5 |  | 0.32852 |  | No water in Niskin 7so used
2011-16 | LC01 | 53 | 190 | 10 | 10.055 | 6 | 0.1709 |  | 0.4 |  | 0.29818 |  | (HPLC) Niskin 10 for 5 m sample.
2011-16 | LC01 | 53 | 189 | 20 | 20.684 | 5 | 15.2814 |  | 17.2 |  | 1.5221
2011-16 | LC01 | 53 | 188 | 30 | 30.024 | 4 | 21.6592 |  | 31.8 |  | 1.9166
2011-16 | LC01 | 53 | 187 | 50 | 50.203 | 3 | 21.8554 |  | 32.1 |  | 1.9469
2011-16 | LC01 | 53 | 186 | 75 | 75.013 | 2 | 24.8971 |  | 36.4 |  | 2.0278
2011-16 | LC01 | 53 | 185 | Bot-10 | 85.414 | 1 | 25.3877 | 6 | 39.55 | 6 | 2.1037 | 6
2011-16 | LD01 | 54 | 198 | 5 | 4.972 | 4 | 0.1709 |  | 0.3 |  | 0.21726
2011-16 | LD01 | 54 | 197 | 10 | 9.898 | 3 | 0.1709 |  | 0.3 |  | 0.21726
2011-16 | LD01 | 54 | 196 | 20 | 20.598 | 2 | 0.1709 |  | 0.6 |  | 0.22737
2011-16 | LD01 | 54 | 195 | Bot-10 | 27.447 | 1 | 1.3483 | 6 | 2.65 | 6 | 0.60162 | 6
2011-16 | LD02 | 55 | 206 | 5 | 4.876 | 5 | 0.21996 | 6 | 0.35 | 6 | 0.23749 | 6
2011-16 | LD02 | 55 | 205 | 10 | 10.153 | 4 | 0.1709 |  | 0.4 |  | 0.23749
2011-16 | LD02 | 55 | 204 | 20 | 20.389 | 3 | 8.3149 |  | 10.7 |  | 1.0669
2011-16 | LD02 | 55 | 203 | 30 | 30.386 | 2 | 19.893 |  | 29.8 |  | 1.7143
2011-16 | LD02 | 55 | 202 | Bot-10 | 34.407 | 1 | 20.0893 |  | 30.5 |  | 1.7244
2011-16 | LD04 | 58 | 212 | 5 | 5.411 | 6 | 0.1709 |  | 0.2 |  | 0.16668
2011-16 | LD04 | 58 | 211 | 10 | 9.404 | 5 | 0.1709 |  | 0.3 |  | 0.20714
2011-16 | LD04 | 58 | 210 | 20 | 19.532 | 4 | 15.3795 | 6 | 9.4 | 6 | 1.5069 | 6
2011-16 | LD04 | 58 | 209 | 30 | 29.949 | 3 | 19.893 |  | 25.7 |  | 1.7952
2011-16 | LD04 | 58 | 208 | 50 | 50.403 | 2 | 21.5611 |  | 30.9 |  | 1.8255
2011-16 | LD04 | 58 | 207 | Bot-10 | 52.052 | 1 | 21.5611 |  | 30.9 |  | 1.8458
2011-16 | LD06 | 61 | 223 | 5 | 4.522 | 8 | 0.1709 |  | 2.1 |  | 0.26783
2011-16 | LD06 | 61 | 222 | 10 | 9.709 | 7 | 0.1709 |  | 2.1 |  | 0.26783
2011-16 | LD06 | 61 | 221 | 20 | 19.687 | 6 | 11.6509 |  | 17.5 |  | 1.2288
2011-16 | LD06 | 61 | 220 | 30 | 30.302 | 5 | 17.3419 |  | 25.1 |  | 1.6334
2011-16 | LD06 | 61 | 219 | 50 | 49.813 | 4 | 7.628 | 3 | 7 | 3 | 0.91519 | 3 | Mis-trip
2011-16 | LD06 | 61 | 218 | 75 | 75.175 | 3 | 16.7532 | 6 | 18.4 | 6 | 1.4462 | 6
2011-16 | LD06 | 61 | 217 | 100 | 100.688 | 2 | 30.7843 |  | 44 |  | 2.3414
2011-16 | LD06 | 61 | 216 | Bot-10 | 127.849 | 1 | 34.3167 |  | 60 |  | 2.6752
2011-16 | LD08 | 63 | 242 | 5 | 5.314 | 16 | 0.1709 |  | 5.1 |  | 0.36898
2011-16 | LD08 | 63 | 241 | 10 | 9.785 | 15 | 0.26902 |  | 5.3 |  | 0.39932
2011-16 | LD08 | 63 | 240 | 20 | 20.37 | 14 | 3.3107 |  | 5.9 |  | 0.66231
2011-16 | LD08 | 63 | 239 | 30 | 29.572 | 13 | 4.1938 |  | 5 |  | 0.71289
2011-16 | LD08 | 63 | 238 | 50 | 50.261 | 12 | 5.96 |  | 4.6 |  | 0.82415
2011-16 | LD08 | 63 | 237 | 75 | 74.998 | 11 | 17.3419 |  | 19.3 |  | 1.4816
2011-16 | LD08 | 63 | 236 | 100 | 100.012 | 10 | 27.7426 |  | 33.9 |  | 2.0582
2011-16 | LD08 | 63 | 235 | 125 | 125.054 | 9 | 30.9806 | 6 | 40.4 | 6 | 2.2757 | 6
2011-16 | LD08 | 63 | 234 | 150 | 151.168 | 8 | 32.158 |  | 43.5 |  | 2.3616
2011-16 | LD08 | 63 | 233 | 175 | 175.028 | 7 | 33.1392 |  | 46.7 |  | 2.3515
2011-16 | LD08 | 63 | 232 | 200 | 201.332 | 6 | 34.4148 |  | 50.9 |  | 2.4021
2011-16 | LD08 | 63 | 231 | 250 | 251.05 | 5 | 36.8678 |  | 58.4 |  | 2.6347
2011-16 | LD08 | 63 | 230 | 300 | 300.649 | 4 | 38.1433 |  | 63.8 |  | 2.7561
2011-16 | LD08 | 63 | 229 | 400 | 400.466 | 3 | 40.4982 |  | 75.2 |  | 2.9989
2011-16 | LD08 | 63 | 228 | 500 | 500.164 | 2 | 41.7738 |  | 83.35 | 6 | 2.9989 |  | Si cool dup only
2011-16 | LD08 | 63 | 227 | Bot-10 | 750.629 | 1 | 43.3437 |  | 105.7 |  | 3.2214
2011-16 | LD11 | 67 | 266 | 5 | 5.534 | 21 | 0.1709 |  | 5 |  | 0.38921
2011-16 | LD11 | 67 | 265 | 10 | 10.51 | 20 | 0.1709 |  | 5 |  | 0.38921
2011-16 | LD11 | 67 | 264 | 20 | 19.849 | 19 | 0.1709 | 6 | 6.05 | 6 | 0.45496 | 6
2011-16 | LD11 | 67 | 263 | 30 | 29.501 | 18 | 3.6051 |  | 7.6 |  | 0.73312
2011-16 | LD11 | 67 | 262 | 50 | 50.168 | 17 | 7.1374 |  | 8.2 |  | 0.89496
2011-16 | LD11 | 67 | 261 | 75 | 74.46 | 16 | 13.6133 |  | 14.6 |  | 1.2793
2011-16 | LD11 | 67 | 260 | 100 | 100.947 | 15 | 24.6028 |  | 29.4 |  | 1.8963
2011-16 | LD11 | 67 | 259 | 125 | 124.81 | 14 | 26.7614 |  | 33.5 |  | 1.9469
2011-16 | LD11 | 67 | 258 | 150 | 149.224 | 13 | 29.2144 |  | 38.7 |  | 2.1088
2011-16 | LD11 | 67 | 257 | 175 | 174.96 | 12 | 32.3543 |  | 44.6 |  | 2.4021
2011-16 | LD11 | 67 | 256 | 200 | 200.598 | 11 | [6 empty] | Water for NH4, no nuts sample
2011-16 | LD11 | 67 | 255 | 200 | 200.54 | 10 | 33.4336 |  | 47.1 |  | 2.483
2011-16 | LD11 | 67 | 254 | 250 | 250.668 | 9 | 35.6903 |  | 54 |  | 2.5943
2011-16 | LD11 | 67 | 253 | 300 | 299.753 | 8 | 21.3648 | 3 | 24.5 | 3 | 1.7244 | 3 | Mis-trip
2011-16 | LD11 | 67 | 252 | 400 | 400.038 | 7 | 39.9095 |  | 73.1 |  | 2.8977 |  | rerun for PO4
2011-16 | LD11 | 67 | 251 | 500 | 499.005 | 6 | 41.7738 |  | 84.3 |  | 2.9989 |  | rerun for PO4
2011-16 | LD11 | 67 | 250 | 750 | 751.234 | 5 | 43.8343 |  | 105.8 |  | 3.1911 |  | rerun for PO4
2011-16 | LD11 | 67 | 249 | 1000 | 1001.237 | 4 | 44.3249 |  | 123.5 |  | 3.2214 |  | rerun for PO4
2011-16 | LD11 | 67 | 248 | 1250 | 1248.756 | 3 | 44.423 | 6 | 124.1 | 6 | 3.3478 | 6 | rerun for PO4
2011-16 | LD11 | 67 | 247 | 1500 | 1500.224 | 2 | 44.1287 |  | 155.6 |  | 3.2012 |  | rerun for PO4
2011-16 | LD11 | 67 | 246 | Bot-10 | 1559.576 | 1 | 43.6381 |  | 161.3 |  | 3.1708 |  | rerun for PO4
2011-16 | LG08 | 70 | 272 | 5 | 5.602 | 3 | 0.26902 |  | 4.8 |  | 0.42967
2011-16 | LG08 | 70 | 271 | Chl Max | 33.489 | 2 | 3.1145 |  | 7.3 |  | 0.6522
2011-16 | LG08 | 70 | 270 | Max-10 | 44.496 | 1 | 5.7637 |  | 7.9 |  | 0.80393
2011-16 | LG06 | 73 | 292 | 5 | 5.386 | 20 | 0.1709 |  | 5.1 |  | 0.41956
2011-16 | LG06 | 73 | 291 | Max | 35.168 | 19 | 4.1938 |  | 6.1 |  | 0.75335
2011-16 | LG06 | 73 | 290 | Max-10 | 44.971 | 18 | 6.0581 |  | 6.2 |  | 0.84439
2011-16 | LG06 | 73 | 289 | 5 | 5.498 | 17 | 0.1709 |  | 5.1 |  | 0.41956
2011-16 | LG06 | 73 | 288 | 10 | 10.134 | 16 | 0.1709 |  | 5.1 |  | 0.41956
2011-16 | LG06 | 73 | 287 | 20 | 19.796 | 15 | 0.1709 |  | 5 |  | 0.42967
2011-16 | LG06 | 73 | 286 | 30 | 30.032 | 14 | 3.4089 |  | 6.2 |  | 0.68254
2011-16 | LG06 | 73 | 285 | 50 | 50.917 | 13 | 6.7449 |  | 6.4 |  | 0.86462
2011-16 | LG06 | 73 | 284 | 75 | 74.665 | 12 | 13.4171 |  | 14.5 |  | 1.2389
2011-16 | LG06 | 73 | 283 | 100 | 99.367 | 11 | 25.8293 | 6 | 30.05 | 6 | 1.9621 | 6
2011-16 | LG06 | 73 | 282 | 125 | 125.681 | 10 | 29.4107 |  | 36.8 |  | 2.1694
2011-16 | LG06 | 73 | 281 | 150 | 150.089 | 9 | 30.6862 |  | 40.5 |  | 2.2605
2011-16 | LG06 | 73 | 280 | 175 | 174.901 | 8 | 31.9618 |  | 43.7 |  | 2.3212
2011-16 | LG06 | 73 | 279 | 200 | 199.986 | 7 | 33.1392 |  | 46.9 |  | 2.3313
2011-16 | LG06 | 73 | 278 | 250 | 251.863 | 6 | 35.8866 |  | 56 |  | 2.5943
2011-16 | LG06 | 73 | 277 | 300 | 301.153 | 5 | 37.5546 |  | 61.9 |  | 2.746
2011-16 | LG06 | 73 | 276 | 400 | 400.239 | 4 | 40.1057 |  | 73 |  | 2.918
2011-16 | LG06 | 73 | 275 | 500 | 500.191 | 3 | 41.8719 |  | 79.7 |  | 2.9483
2011-16 | LG06 | 73 | 274 | 750 | 750.358 | 2 | 43.6381 |  | 103.2 | 6 | 3.2012 |  | Si cool dup only
2011-16 | LG06 | 73 | 273 | Bot-10 | 974.664 | 1 | 44.2268 |  | 118.9 |  | 3.1708
2011-16 | LG04 | 75 | 300 | 5 | 5.137 | 8 | 0.1709 |  | 3.4 |  | 0.32852
2011-16 | LG04 | 75 | 299 | 10 | 9.464 | 7 | 0.1709 |  | 3.8 |  | 0.35886
2011-16 | LG04 | 75 | 298 | 20 | 20.679 | 6 | 4.0957 |  | 7.3 |  | 0.72301
2011-16 | LG04 | 75 | 297 | 30 | 30.143 | 5 | 8.2167 |  | 9.4 |  | 0.97588
2011-16 | LG04 | 75 | 296 | 50 | 50.023 | 4 | 9.7867 |  | 11 |  | 1.0265
2011-16 | LG04 | 75 | 295 | 75 | 75.312 | 3 | 13.4171 |  | 15.5 |  | 1.249
2011-16 | LG04 | 75 | 294 | 100 | 100.85 | 2 | 21.2667 | 6 | 25.65 | 6 | 1.7042 | 6
2011-16 | LG04 | 75 | 293 | Bot-10 | 135.482 | 1 | 30.8825 |  | 48.4 |  | 2.3616
2011-16 | LG02 | 78 | 310 | 5 | 4.196 | 7 | 0.1709 |  | 1.4 |  | 0.28806
2011-16 | LG02 | 78 | 309 | 10 | 9.859 | 6 | 0.1709 |  | 1.4 |  | 0.28806
2011-16 | LG02 | 78 | 308 | 20 | 19.576 | 5 | 0.46526 |  | 4.5 |  | 0.43978
2011-16 | LG02 | 78 | 307 | 30 | 30.632 | 4 | 5.0769 |  | 9.6 |  | 0.79381
2011-16 | LG02 | 78 | 306 | 50 | 50.485 | 3 | 16.6551 |  | 26.1 |  | 1.5423
2011-16 | LG02 | 78 | 305 | 75 | 76.765 | 2 | 16.1645 | 6 | 22.1 | 6 | 1.5221 | 6
2011-16 | LG02 | 78 | 304 | Bot-10 | 91.17 | 1 | 21.4629 |  | 34.5 |  | 1.9874
2011-16 | LG01 | 80 | 318 | 5 | 4.496 | 5 | 0.1709 |  | 0.7 |  | 0.26783
2011-16 | LG01 | 80 | 317 | 10 | 9.571 | 4 | 0.1709 |  | 0.9 |  | 0.26783
2011-16 | LG01 | 80 | 316 | 20 | 20.374 | 3 | 3.9485 | 6 | 7.35 | 6 | 0.68254 | 6
2011-16 | LG01 | 80 | 315 | 30 | 30.816 | 2 | 14.987 |  | 27.7 |  | 1.5929
2011-16 | LG01 | 80 | 314 | Bot-10 | 40.642 | 1 | 14.987 |  | 27.7 |  | 1.5828
2011-16 | LBP1 | 81 | 321 | 5 | 4.419 | 3 | 0.36714 |  | 2.5 |  | 0.38921
2011-16 | LBP1 | 81 | 320 | Chl Max | 15.509 | 2 | 0.85774 |  | 3.4 |  | 0.46002
2011-16 | LBP1 | 81 | 319 | Max-10 | 25.765 | 1 | 4.0957 |  | 8.8 |  | 0.77358
2011-16 | LBP3 | 84 | 331 | 5 | 5.426 | 10 | 0.26902 |  | 2.4 |  | 0.51059
2011-16 | LBP3 | 84 | 330 | 10 | 9.779 | 9 | 0.46526 |  | 2.6 |  | 0.42967
2011-16 | LBP3 | 84 | 329 | 20 | 20.973 | 8 | 2.9183 |  | 7.3 |  | 0.69266
2011-16 | LBP3 | 84 | 328 | 30 | 30.402 | 7 | 7.1374 |  | 13.4 |  | 1.0366
2011-16 | LBP3 | 84 | 327 | 50 | 50.198 | 6 | 11.3566 |  | 17.2 |  | 1.2389
2011-16 | LBP3 | 84 | 326 | 75 | 75.364 | 5 | 16.0663 |  | 21.7 |  | 1.4614
2011-16 | LBP3 | 84 | 325 | 100 | 99.124 | 4 | 22.0517 |  | 29.6 |  | 1.7952
2011-16 | LBP3 | 84 | 324 | 125 | 125.645 | 3 | 28.4785 | 6 | 39.9 | 6 | 2.1492 | 6
2011-16 | LBP3 | 84 | 323 | 150 | 150.178 | 2 | 30.8825 |  | 45.2 |  | 2.3313
2011-16 | LBP3 | 84 | 322 | Bot-10 | 164.141 | 1 | 30.8825 |  | 46 |  | 2.3111
2011-16 | LBP5 | 88 | 352 | 5 | 4.776 | 18 | 0.36714 |  | 2.1 |  | 0.3791
2011-16 | LBP5 | 88 | 351 | 10 | 10.591 | 17 | 0.36714 |  | 2.2 |  | 0.3791
2011-16 | LBP5 | 88 | 350 | 20 | 19.999 | 16 | 1.6427 |  | 7.3 |  | 0.63197
2011-16 | LBP5 | 88 | 349 | 30 | 31.341 | 15 | 8.1186 |  | 14.4 |  | 1.2591
2011-16 | LBP5 | 88 | 348 | 50 | 48.965 | 14 | 9.4923 |  | 12.6 |  | 1.077 | 3 | unusual profile
2011-16 | LBP5 | 88 | 347 | 75 | 74.657 | 13 | 17.391 | 6 | 22.15 | 6 | 1.4766 | 6
2011-16 | LBP5 | 88 | 346 | 100 | 99.828 | 12 | 24.8971 |  | 31.1 |  | 1.866
2011-16 | LBP5 | 88 | 345 | 125 | 125.169 | 11 | 27.4483 |  | 36.9 |  | 2.0177
2011-16 | LBP5 | 88 | 344 | 150 | 149.475 | 10 | 28.4295 |  | 40.8 |  | 2.0481
2011-16 | LBP5 | 88 | 343 | 175 | 174.918 | 9 | 31.0787 |  | 45.8 |  | 2.2403
2011-16 | LBP5 | 88 | 342 | 200 | 200.699 | 8 | 33.4336 |  | 51.4 |  | 2.4122
2011-16 | LBP5 | 88 | 341 | 250 | 252.266 | 7 | 36.6715 |  | 60.7 |  | 2.6651
2011-16 | LBP5 | 88 | 340 | 300 | 299.723 | 6 | 38.1433 |  | 65.4 |  | 2.7865
2011-16 | LBP5 | 88 | 339 | 400 | 397.037 | 5 | 40.4982 |  | 74 |  | 2.9281
2011-16 | LBP5 | 88 | 338 | 500 | 501.699 | 4 | 41.6757 |  | 84.3 |  | 3.0495
2011-16 | LBP5 | 88 | 337 | 750 | 750.75 | 3 | 43.8834 | 6 | 107.7 |  | 3.2619 | 6 | No cool Si dup
2011-16 | LBP5 | 88 | 336 | 1000 | 1000.525 | 2 | 44.0305 |  | 127.95 | 6 | 3.3226 |  | Si cool dup only
2011-16 | LBP5 | 88 | 335 | Bot-10 | 1270.692 | 1 | 44.1287 |  | 146.3 |  | 3.3226
2011-16 | LBP7 | 92 | 375 | 5 | 5.586 | 20 | 0.36714 |  | 4.3 |  | 0.42967
2011-16 | LBP7 | 92 | 374 | 10 | 9.919 | 19 | 1.8389 |  | 5.1 |  | 0.55105
2011-16 | LBP7 | 92 | 373 | 20 | 20.199 | 18 | 3.8013 |  | 6.5 |  | 0.68254
2011-16 | LBP7 | 92 | 372 | 30 | 31.304 | 17 | 4.6844 |  | 6.7 |  | 0.73312
2011-16 | LBP7 | 92 | 371 | 50 | 50.308 | 16 | 5.3713 |  | 4.5 |  | 0.75335
2011-16 | LBP7 | 92 | 370 | 75 | 74.6 | 15 | 8.0205 |  | 10.7 |  | 0.95565
2011-16 | LBP7 | 92 | 369 | 100 | 100.134 | 14 | 20.2855 |  | 23.4 |  | 1.6334
2011-16 | LBP7 | 92 | 368 | 125 | 125.032 | 13 | 23.9159 |  | 30.2 |  | 1.7952
2011-16 | LBP7 | 92 | 367 | 150 | 150.273 | 12 | 26.4671 |  | 35.5 |  | 1.9368
2011-16 | LBP7 | 92 | 366 | 175 | 175.607 | 11 | 28.4295 |  | 41.1 |  | 2.0582
2011-16 | LBP7 | 92 | 365 | 200 | 200.87 | 10 | 29.9013 | 6 | 45.6 | 6 | 2.1189 |  | Bad PO4 dup, mark in tube, omitted
2011-16 | LBP7 | 92 | 364 | 250 | 250.086 | 9 | 32.8449 |  | 53.3 |  | 2.3515
2011-16 | LBP7 | 92 | 363 | 300 | 300.78 | 8 | 35.7885 |  | 61.2 |  | 2.5842
2011-16 | LBP7 | 92 | 362 | 400 | 399.779 | 7 | 40.2039 |  | 75.5 |  | 2.9078
2011-16 | LBP7 | 92 | 361 | 500 | 499.782 | 6 | 42.3625 |  | 87.8 |  | 3.0596
2011-16 | LBP7 | 92 | 360 | 750 | 748.767 | 5 | 44.423 |  | 111.3 |  | 3.2619
2011-16 | LBP7 | 92 | 359 | 1000 | 1000.154 | 4 | 44.5211 |  | 126.45 | 6 | 3.3327 |  | Si cool dup only
2011-16 | LBP7 | 92 | 358 | 1250 | 1251.241 | 3 | 44.9136 |  | 143 |  | 3.2922
2011-16 | LBP7 | 92 | 357 | 1500 | 1499.331 | 2 | 44.3249 |  | 156.5 |  | 3.2315
2011-16 | LBP7 | 92 | 356 | 2005 | 2003.503 | 1 | 42.4606 |  | 175.2 |  | 3.0697
2011-16 | CS00 | 102 | 398 | 5 | 5.344 | 20 | 0.1709 |  | 4.1 |  | 0.36898
2011-16 | CS00 | 102 | 397 | 10 | 10.166 | 19 | 0.1709 |  | 4.1 |  | 0.3791
2011-16 | CS00 | 102 | 396 | 20 | 20.418 | 18 | 0.36714 |  | 4.5 |  | 0.43978
2011-16 | CS00 | 102 | 395 | 30 | 29.994 | 17 | 2.1333 |  | 5.6 |  | 0.57128
2011-16 | CS00 | 102 | 394 | 50 | 50.244 | 16 | 7.0393 |  | 7.4 |  | 0.86462
2011-16 | CS00 | 102 | 393 | 75 | 75.121 | 15 | 12.4359 |  | 14.1 |  | 1.1984
2011-16 | CS00 | 102 | 392 | 100 | 100.468 | 14 | 21.9535 |  | 27 |  | 1.7446
2011-16 | CS00 | 102 | 391 | 125 | 126.065 | 13 | 26.7614 |  | 34.7 |  | 1.9773
2011-16 | CS00 | 102 | 390 | 150 | 150.119 | 12 | 25.9765 |  | 34.7 |  | 1.9065 |  | unusual profile
2011-16 | CS00 | 102 | 389 | 175 | 175.146 | 11 | 26.9577 |  | 38.7 |  | 1.9267 |  | unusual profile
2011-16 | CS00 | 102 | 388 | 200 | 199.527 | 10 | 30.3919 |  | 44 |  | 2.1897
2011-16 | CS00 | 102 | 387 | 250 | 251.001 | 9 | 33.9242 |  | 52.9 |  | 2.4527
2011-16 | CS00 | 102 | 386 | 300 | 300.094 | 8 | 36.3772 |  | 59.2 |  | 2.5943
2011-16 | CS00 | 102 | 385 | 400 | 400.781 | 7 | 40.0567 | 6 | 75 |  | 2.8826 | 6 | No cool Si dup
2011-16 | CS00 | 102 | 384 | 500 | 498.993 | 6 | 42.0681 |  | 85.3 |  | 3.0292
2011-16 | CS00 | 102 | 383 | 750 | 749.869 | 5 | 44.3249 |  | 112.9 |  | 3.2113
2011-16 | CS00 | 102 | 382 | 1000 | 999.753 | 4 | 44.8155 |  | 129.9 | 6 | 3.3023 |  | Si cool dup only
2011-16 | CS00 | 102 | 381 | 1250 | 1251.51 | 3 | 9.4432 | 36 | 10 | 3 | 0.99611 | 36 | Mis trip / No cool Si dup
2011-16 | CS00 | 102 | 380 | 1500 | 1499.592 | 2 | 44.423 |  | 157.2 |  | 3.1607
2011-16 | CS00 | 102 | 379 | 2005 | 2005.453 | 1 | 42.8531 |  | 172.7 |  | 2.9888
2011-16 | CS02 | 106 | 418 | 5 | 4.953 | 17 | 0.1709 |  | 4.6 |  | 0.38921
2011-16 | CS02 | 106 | 417 | 10 | 10.09 | 16 | 0.1709 |  | 4.7 |  | 0.39932
2011-16 | CS02 | 106 | 416 | 20 | 20.241 | 15 | 0.1709 |  | 4.9 |  | 0.39932
2011-16 | CS02 | 106 | 415 | 30 | 30.547 | 14 | 4.0957 |  | 7.1 |  | 0.68254
2011-16 | CS02 | 106 | 414 | 50 | 50.612 | 13 | 8.1186 |  | 8.7 |  | 0.93542
2011-16 | CS02 | 106 | 413 | 75 | 75.593 | 12 | 15.9682 |  | 18.9 |  | 1.4007
2011-16 | CS02 | 106 | 412 | 100 | 99.733 | 11 | 22.8366 |  | 28 |  | 1.7649
2011-16 | CS02 | 106 | 411 | 125 | 125.656 | 10 | 26.6633 |  | 34 |  | 1.9975
2011-16 | CS02 | 106 | 410 | 150 | 150.621 | 9 | 28.9201 |  | 38.8 |  | 2.129
2011-16 | CS02 | 106 | 409 | 175 | 175.56 | 8 | 31.2749 |  | 44 |  | 2.2908
2011-16 | CS02 | 106 | 408 | 200 | 200.617 | 7 | 32.2561 |  | 47.6 |  | 2.3515
2011-16 | CS02 | 106 | 407 | 250 | 250.26 | 6 | 34.3167 |  | 53.3 |  | 2.483
2011-16 | CS02 | 106 | 406 | 300 | 301.087 | 5 | 37.7509 |  | 62.9 |  | 2.7258
2011-16 | CS02 | 106 | 405 | 400 | 401.048 | 4 | 40.6945 | 6 | 76.8 |  | 2.9635 | 6 | No cool Si dup
2011-16 | CS02 | 106 | 404 | 500 | 500.37 | 3 | 42.4606 |  | 87.8 |  | 3.1203
2011-16 | CS02 | 106 | 403 | 750 | 750.398 | 2 | 44.5211 |  | 110.1 | 6 | 3.2821 |  | Si cool dup only
2011-16 | CS02 | 106 | 402 | 1000 | 999.885 | 1 | 44.8155 |  | 129.9 |  | 3.3023
2011-16 | CS04 | 109 | 428 | 5 | 4.984 | 7 | 0.1709 |  | 4.2 |  | 0.39932
2011-16 | CS04 | 109 | 427 | 10 | 10.117 | 6 | 0.1709 |  | 4.4 |  | 0.39932
2011-16 | CS04 | 109 | 426 | 20 | 20.41 | 5 | 3.9976 |  | 9.1 |  | 0.71289
2011-16 | CS04 | 109 | 425 | 30 | 29.684 | 4 | 6.5978 | 6 | 11.3 | 6 | 0.87473 | 6
2011-16 | CS04 | 109 | 424 | 50 | 49.29 | 3 | 10.1791 |  | 13.6 |  | 1.0669
2011-16 | CS04 | 109 | 423 | 75 | 75.145 | 2 | 17.8325 |  | 25.9 |  | 1.5626
2011-16 | CS04 | 109 | 422 | Bot-10 | 94.506 | 1 | 23.7197 |  | 34.3 |  | 1.8963
2011-16 | CS06 | 119 | 437 | 5 | 5.336 | 6 | 0.56338 |  | 1.6 |  | 0.27794
2011-16 | CS06 | 119 | 436 | 10 | 10.068 | 5 | 5.4694 |  | 7.1 |  | 0.73312
2011-16 | CS06 | 119 | 435 | 20 | 20.207 | 4 | 8.0205 |  | 13.5 |  | 1.1883
2011-16 | CS06 | 119 | 434 | 30 | 30.314 | 3 | 10.1791 |  | 17.8 |  | 1.1782
2011-16 | CS06 | 119 | 433 | 50 | 50.571 | 2 | 14.5455 | 6 | 23.75 | 6 | 1.4159 | 6
2011-16 | CS06 | 119 | 432 | Bot-10 | 57.527 | 1 | 14.6927 |  | 23.7 |  | 1.4007
2011-16 | CS09 | 126 | 451 | 5 | 5.447 | 11 | 0.1709 |  | 1.2 |  | 0.22737
2011-16 | CS09 | 126 | 450 | 10 | 9.987 | 10 | 0.1709 |  | 2.5 |  | 0.3184
2011-16 | CS09 | 126 | 449 | 20 | 20.042 | 9 | 4.4882 |  | 10.2 |  | 0.74323
2011-16 | CS09 | 126 | 448 | 30 | 30.014 | 8 | 6.3525 |  | 13.7 |  | 0.87473
2011-16 | CS09 | 126 | 447 | 50 | 49.799 | 7 | 7.0884 | 36 | 14 | 36 | 0.85956 | 6 | NO3 & Si Poor Duplicates
2011-16 | CS09 | 126 | 446 | 75 | 76.013 | 6 | 9.5904 |  | 14.3 |  | 0.95565
2011-16 | CS09 | 126 | 445 | 100 | 100.708 | 5 | 21.6592 |  | 36.3 |  | 1.8053
2011-16 | CS09 | 126 | 444 | 125 | 124.582 | 4 | 29.0182 |  | 48.2 |  | 2.1897
2011-16 | CS09 | 126 | 443 | 150 | 149.513 | 3 | 31.0787 |  | 52.4 |  | 2.3212
2011-16 | CS09 | 126 | 442 | 175 | 175.225 | 2 | 32.4524 |  | 56.2 |  | 2.4223
2011-16 | CS09 | 126 | 441 | Bot-10 | 188.191 | 1 | 32.8449 |  | 57.5 |  | 2.4426

## Calc Precision
Averaging Duplicates from same Niskin and Calculating Precision | [15 empty] | File: QF 2011-16nuts.xls
Calculating Combined (most Frozen, deep Silicate cool) Average Duplicates & Precision | [15 empty] | Date: July 7, 2011
Omit duplicate from frozen deep Silicate, using only cool deep Silicate results | [7 empty] | Important comments |  |  | Cool Silicate results |  |  |  |  | Compiled by Wendy Richardson | [6 empty] | Critical values
Cruise | Station | Cast | Sample # | Depth | Pressure | Niskin | NO3 | SiO3 | PO4 |  | Average |  | NO3 diff sq | Si diff sq | PO4 diff sq | Comments |  | CHAUVENET DIFF |  |  | CHAUV REJECT |  | Chauvenet statistic
|  |  |  | (nominal) | (actual) |  | uM | uM | uM | NO3 | SiO3 | PO4 |  |  |  |  | NO3 | SIL | PO4 | NO3 | SIL | PO4 | n | Chauvenet
2011-16 | SI03 | 1 | 5 | 125 | 125.17 | 5 |  | 97.5 | 4.9308 | [6 empty] | Poor Si | 0 | 1.1 | 0.010115 | 0.81293 | 4.3051 | 0.24328 | 3 | 1.37
2011-16 | SI03 | 1 | 5 | 125 | 125.17 | 5 |  | 96.4 | 4.941 |  | 96.95 | 4.9359 |  | 1.21 | 0.00010231 | dup | [6 empty] | 4 | 1.53
2011-16 | LB01 | 2 | 15 | 5 | 6.067 | 3 | 0.95586 | 1.4 | 0.40944 | [7 empty] | 0 | 0.1 | 0.010115 | 0.81293 | 0.18548 | 0.24328 | 5 | 1.64
2011-16 | LB01 | 2 | 15 | 5 | 6.067 | 3 | 0.95586 | 1.5 | 0.41956 | 0.95586 | 1.45 | 0.4145 | 0 | 0.01 | 0.00010231 | [7 empty] | 6 | 1.73
2011-16 | LB02 | 3 | 17 | 30 | 30.085 | 2 | 24.5047 | 35.9 | 2.038 | [7 empty] | 0.09812 | 0 | 0 | 0.3752 | 0.63454 | 0.49351 | 7 | 1.8
2011-16 | LB02 | 3 | 17 | 30 | 30.085 | 2 | 24.6028 | 35.9 | 2.038 | 24.5537 | 35.9 | 2.038 | 0.0096275 | 0 | 0 | [7 empty] | 8 | 1.87
2011-16 | LB04 | 5 | 26 | 10 | 10.193 | 6 | 16.4588 | 19.4 | 1.5828 | [7 empty] | 0.09812 | 0.1 | 0 | 0.3752 | 0.18548 | 0.49351 | 9 | 1.91
2011-16 | LB04 | 5 | 26 | 10 | 10.193 | 6 | 16.5569 | 19.3 | 1.5828 | 16.5079 | 19.35 | 1.5828 | 0.0096275 | 0.01 | 0 | [7 empty] | 10 | 1.97
2011-16 | LB06 | 9 | 33 | 10 | 9.611 | 6 | 0.1709 | 0.5 | [7 empty] | Omit bad | 0 | 0.1 |  | 0.81293 | 0.18548 |  | 20 | 2.24
2011-16 | LB06 | 9 | 33 | 10 | 9.611 | 6 | 0.1709 | 0.4 | 0.25772 | 0.1709 | 0.45 |  | 0 | 0.01 |  | PO4 | [6 empty] | 30 | 2.39
2011-16 | LB08 | 22 | 40 | 50 | 50.243 | 5 | 24.7009 | 36.6 | 2.0784 | [7 empty] | 0.09812 | 0.1 | 0.010115 | 0.3752 | 0.18548 | 0.24328 | 50 | 2.57
2011-16 | LB08 | 22 | 40 | 50 | 50.243 | 5 | 24.799 | 36.7 | 2.0885 | 24.75 | 36.65 | 2.0835 | 0.0096275 | 0.01 | 0.00010231 | [7 empty] | 80 | 2.74
2011-16 | LB09 | 24 | 51 | 30 | 29.809 | 5 | 6.5487 | 9.2 | 0.87473 | [7 empty] | 0 | 0.1 | 0.02023 | 0.81293 | 0.18548 | 0.0069508 | 100 | 2.81
2011-16 | LB09 | 24 | 51 | 30 | 29.809 | 5 | 6.5487 | 9.1 | 0.8545 | 6.5487 | 9.15 | 0.86462 | 0 | 0.01 | 0.00040925 | [7 empty] | 150 | 2.93
2011-16 | LB11 | 26 | 60 | 75 | 76.733 | 6 | 16.1645 | 17.8 | 1.4311 | [7 empty] | 0 | 0 | 0 | 0.81293 | 0.63454 | 0.49351 | 200 | 3.02
2011-16 | LB11 | 26 | 60 | 75 | 76.733 | 6 | 16.1645 | 17.8 | 1.4311 | 16.1645 | 17.8 | 1.4311 | 0 | 0 | 0
2011-16 | LB12 | 28 | 78 | 20 | 20.056 | 13 | 0.1709 | 4.5 | 0.35886 | [7 empty] | 0 | 0 | 0.010115 | 0.81293 | 0.63454 | 0.24328
2011-16 | LB12 | 28 | 78 | 20 | 20.056 | 13 | 0.1709 | 4.5 | 0.34875 | 0.1709 | 4.5 | 0.35381 | 0 | 0 | 0.00010231
2011-16 | LB14 | 30 | 96 | 75 | 73.997 | 14 | 10.866 | 11.7 | 1.1074 | [7 empty] | 0 | 0 | 0.010115 | 0.81293 | 0.63454 | 0.24328
2011-16 | LB14 | 30 | 96 | 75 | 73.997 | 14 | 10.866 | 11.7 | 1.1175 | 10.866 | 11.7 | 1.1124 | 0 | 0 | 0.00010231
2011-16 | LC11 | 37 | 110 | 750 | 750.173 | 4 | 44.0305 | 107.7 | 3.2518 | [7 empty] | 0 | 0.1 | 0.02023 | 0.81293 | 0.18548 | 0.0069508
2011-16 | LC11 | 37 | 110 | 750 | 750.173 | 4 | 44.0305 | 107.8 | 3.272 | 44.0305 | 107.75 | 3.2619 | 0 |  | 0.00040925
2011-16 | LC09 | 40 | 132 | 200 | 199.905 | 6 | 34.3167 | 50 | 2.22 | [6 empty] | Poor NO3 | 0.29436 | 0.1 | 0.24276 | 2.7515 | 0.18548 | 5.512
2011-16 | LC09 | 40 | 132 | 200 | 199.905 | 6 | 34.611 | 50.1 | 2.4628 | 34.4638 | 50.05 | 2.3414 | 0.086648 | 0.01 | 0.058932 | & PO4 dup
2011-16 | LC08 | 44 | 152 | 30 | 29.971 | 8 | 3.2126 | 8.7 | 0.67243 | [7 empty] | 0 | 0 | 0 | 0.81293 | 0.63454 | 0.49351
2011-16 | LC08 | 44 | 152 | 30 | 29.971 | 8 | 3.2126 | 8.7 | 0.67243 | 3.2126 | 8.7 | 0.67243 | 0 | 0 | 0
2011-16 | LC06 | 47 | 158 | 50 | 50.531 | 3 | 11.9453 | 13.7 | 1.1782 | [7 empty] | 0 | 0 | 0.010115 | 0.81293 | 0.63454 | 0.24328
2011-16 | LC06 | 47 | 158 | 50 | 50.531 | 3 | 11.9453 | 13.7 | 1.1883 | 11.9453 | 13.7 | 1.1832 | 0 | 0 | 0.00010231
2011-16 | LC04 | 49 | 169 | 75 | 74.955 | 4 | 21.8554 | 31.6 | 1.8357 | [7 empty] | 0.09812 | 0.2 | 0.010115 | 0.3752 | 0.26358 | 0.24328
2011-16 | LC04 | 49 | 169 | 75 | 74.955 | 4 | 21.7573 | 31.4 | 1.8458 | 21.8064 | 31.5 | 1.8407 | 0.0096275 | 0.04 | 0.00010231
2011-16 | LC02 | 52 | 184 | 5 | 5.536 | 7 | 0.1709 | 0.4 | 0.22737 | [7 empty] | 0 | 0 | 0 | 0.81293 | 0.63454 | 0.49351
2011-16 | LC02 | 52 | 184 | 5 | 5.536 | 7 | 0.1709 | 0.4 | 0.22737 | 0 | 0.4 | 0.22737 | 0 | 0 | 0
2011-16 | LC01 | 53 | 185 | Bot-10 | 85.414 | 1 | 25.3877 | 39.5 | 2.0986 | [7 empty] | 0 | 0.1 | 0.010115 | 0.81293 | 0.18548 | 0.24328
2011-16 | LC01 | 53 | 185 | Bot-10 | 85.414 | 1 | 25.3877 | 39.6 | 2.1088 | 25.3877 | 39.55 | 2.1037 | 0 | 0.01 | 0.00010231
2011-16 | LD01 | 54 | 195 | Bot-10 | 27.447 | 1 | 1.3483 | 2.6 | 0.61174 | [7 empty] | 0 | 0.1 | 0.02023 | 0.81293 | 0.18548 | 0.0069508
2011-16 | LD01 | 54 | 195 | Bot-10 | 27.447 | 1 | 1.3483 | 2.7 | 0.59151 | 1.3483 | 2.65 | 0.60162 | 0 | 0.01 | 0.00040925
2011-16 | LD02 | 55 | 206 | 5 | 4.876 | 5 | 0.1709 | 0.3 | 0.23749 | [7 empty] | 0.09812 | 0.1 | 0 | 0.3752 | 0.18548 | 0.49351
2011-16 | LD02 | 55 | 206 | 5 | 4.876 | 5 | 0.26902 | 0.4 | 0.23749 | 0.21996 | 0.35 | 0.23749 | 0.0096275 | 0.01 | 0
2011-16 | LD04 | 58 | 210 | 20 | 19.532 | 4 | 15.4776 | 9.4 | 1.4917 | [7 empty] | 0.19624 | 0 | 0.030345 | 1.5633 | 0.63454 | 0.25718
2011-16 | LD04 | 58 | 210 | 20 | 19.532 | 4 | 15.2814 | 9.4 | 1.5221 | 15.3795 | 9.4 | 1.5069 | 0.03851 | 0 | 0.00092082
2011-16 | LD06 | 61 | 218 | 75 | 75.175 | 3 | 16.7532 | 18.4 | 1.4412 | [7 empty] | 0 | 0 | 0.010115 | 0.81293 | 0.63454 | 0.24328
2011-16 | LD06 | 61 | 218 | 75 | 75.175 | 3 | 16.7532 | 18.4 | 1.4513 | 16.7532 | 18.4 | 1.4462 | 0 | 0 | 0.00010231
2011-16 | LD08 | 63 | 235 | 125 | 125.054 | 9 | 30.9806 | 40.4 | 2.2706 | [7 empty] | 0 | 0 | 0.010115 | 0.81293 | 0.63454 | 0.24328
2011-16 | LD08 | 63 | 235 | 125 | 125.054 | 9 | 30.9806 | 40.4 | 2.2807 | 30.9806 | 40.4 | 2.2757 | 0 | 0 | 0.00010231
2011-16 | LD11 | 67 | 264 | 20 | 19.849 | 19 | 0.1709 | 6.1 | 0.46002 | [7 empty] | 0 | 0.1 | 0.010115 | 0.81293 | 0.18548 | 0.24328
2011-16 | LD11 | 67 | 264 | 20 | 19.849 | 19 | 0.1709 | 6 | 0.4499 | 0.1709 | 6.05 | 0.45496 | 0 | 0.01 | 0.00010231
2011-16 | LD11 | 67 | 248 | 1250 | 1248.756 | 3 | 44.423 | 124.2 | 3.3529 | [7 empty] | 0 | 0.2 | 0.010115 | 0.81293 | 0.26358 | 0.24328
2011-16 | LD11 | 67 | 248 | 1250 | 1248.756 | 3 | 44.423 | 124 | 3.3428 | 44.423 | 124.1 | 3.3478 | 0 | 0.04 | 0.00010231
2011-16 | LG06 | 73 | 283 | 100 | 99.367 | 11 | 25.8783 | 30.1 | 1.9469 | [7 empty] | 0.09812 | 0.1 | 0.030345 | 0.3752 | 0.18548 | 0.25718
2011-16 | LG06 | 73 | 283 | 100 | 99.367 | 11 | 25.7802 | 30 | 1.9773 | 25.8293 | 30.05 | 1.9621 | 0.0096275 | 0.01 | 0.00092082
2011-16 | LG04 | 75 | 294 | 100 | 100.85 | 2 | 21.2667 | 25.7 | 1.694 | [7 empty] | 0 | 0.1 | 0.02023 | 0.81293 | 0.18548 | 0.0069508
2011-16 | LG04 | 75 | 294 | 100 | 100.85 | 2 | 21.2667 | 25.6 | 1.7143 | 21.2667 | 25.65 | 1.7042 | 0 | 0.01 | 0.00040925
2011-16 | LG02 | 78 | 305 | 75 | 76.765 | 2 | 16.1645 | 22.1 | 1.5221 | [7 empty] | 0 | 0 | 0 | 0.81293 | 0.63454 | 0.49351
2011-16 | LG02 | 78 | 305 | 75 | 76.765 | 2 | 16.1645 | 22.1 | 1.5221 | 16.1645 | 22.1 | 1.5221 | 0 | 0 | 0
2011-16 | LG01 | 80 | 316 | 20 | 20.374 | 3 | 3.9976 | 7.3 | 0.68254 | [7 empty] | 0.09812 | 0.1 | 0 | 0.3752 | 0.18548 | 0.49351
2011-16 | LG01 | 80 | 316 | 20 | 20.374 | 3 | 3.8995 | 7.4 | 0.68254 | 3.9485 | 7.35 | 0.68254 | 0.0096275 | 0.01 | 0
2011-16 | LBP3 | 84 | 324 | 125 | 125.645 | 3 | 28.4295 | 39.9 | 2.129 | [7 empty] | 0.09812 | 0 | 0.04046 | 0.3752 | 0.63454 | 0.50741
2011-16 | LBP3 | 84 | 324 | 125 | 125.645 | 3 | 28.5276 | 39.9 | 2.1694 | 28.4785 | 39.9 | 2.1492 | 0.0096275 | 0 | 0.001637
2011-16 | LBP5 | 88 | 347 | 75 | 74.657 | 13 | 17.3419 | 22.1 | 1.4715 | [7 empty] | 0.09812 | 0.1 | 0.010115 | 0.3752 | 0.18548 | 0.24328
2011-16 | LBP5 | 88 | 347 | 75 | 74.657 | 13 | 17.44 | 22.2 | 1.4816 | 17.391 | 22.15 | 1.4766 | 0.0096275 | 0.01 | 0.00010231
2011-16 | LBP5 | 88 | 337 | 750 | 750.75 | 3 | 43.8343 |  | 3.2518 | [7 empty] | 0.09812 |  | 0.02023 | 0.3752 |  | 0.0069508
2011-16 | LBP5 | 88 | 337 | 750 | 750.75 | 3 | 43.9324 |  | 3.272 | 43.8834 |  | 3.2619 | 0.0096275 |  | 0.00040925
2011-16 | LBP7 | 92 | 365 | 200 | 200.87 | 10 | 29.9994 | 45.6 | [7 empty] | Bad PO4 | 0.19624 | 0 |  | 1.5633 | 0.63454
2011-16 | LBP7 | 92 | 365 | 200 | 200.87 | 10 | 29.8031 | 45.6 | 2.1189 | 29.9013 | 45.6 | 1.0594 | 0.03851 | 0
2011-16 | CS00 | 102 | 385 | 400 | 400.781 | 7 | 40.1057 | 74.8 | 2.8775 | [7 empty] | 0.09812 | 0.1 | 0.010115 | 0.3752 | 0.18548 | 0.24328
2011-16 | CS00 | 102 | 385 | 400 | 400.781 | 7 | 40.0076 | 74.9 | 2.8876 | 40.0567 | 74.85 | 2.8826 | 0.0096275 |  | 0.00010231
2011-16 | CS00 | 102 | 381 | 1250 | 1251.51 | 3 | 9.4923 | 10 | 0.99611 | [6 empty] | Misfire? | 0.09812 | 0 | 0 | 0.3752 | 0.63454 | 0.49351
2011-16 | CS00 | 102 | 381 | 1250 | 1251.51 | 3 | 9.3942 | 10 | 0.99611 | 9.4432 | 10 | 0.99611 | 0.0096275 |  | 0 | Misfire?
2011-16 | CS02 | 106 | 405 | 400 | 401.048 | 4 | 40.5963 | 76.3 | 2.9584 | [7 empty] | 0.19624 | 0.2 | 0.010115 | 1.5633 | 0.26358 | 0.24328
2011-16 | CS02 | 106 | 405 | 400 | 401.048 | 4 | 40.7926 | 76.5 | 2.9685 | 40.6945 | 76.4 | 2.9635 | 0.03851 |  | 0.00010231
2011-16 | CS04 | 109 | 425 | 30 | 29.684 | 4 | 6.5487 | 11.3 | 0.86462 | [7 empty] | 0.09812 | 0 | 0.02023 | 0.3752 | 0.63454 | 0.0069508
2011-16 | CS04 | 109 | 425 | 30 | 29.684 | 4 | 6.6468 | 11.3 | 0.88484 | 6.5978 | 11.3 | 0.87473 | 0.0096275 | 0 | 0.00040925
2011-16 | CS06 | 119 | 433 | 50 | 50.571 | 2 | 14.4964 | 23.7 | 1.4412 | [7 empty] | 0.09812 | 0.1 | 0.050575 | 0.3752 | 0.18548 | 0.75764
2011-16 | CS06 | 119 | 433 | 50 | 50.571 | 2 | 14.5945 | 23.8 | 1.3906 | 14.5455 | 23.75 | 1.4159 | 0.0096275 | 0.01 | 0.0025578
2011-16 | CS09 | 126 | 447 | 50 | 49.799 | 7 | 7.2355 | 14.4 | 0.88484 | [6 empty] | Poor NO3 | 0.29436 | 0.8 | 0.050575 | 2.7515 | 2.9579 | 0.75764
2011-16 | CS09 | 126 | 447 | 50 | 49.799 | 7 | 6.9412 | 13.6 | 0.83427 | 7.0884 | 14 | 0.85956 | 0.086648 | 0.64 | 0.0025578 | & Si dup
2011-16 | LB14 | 30 | 85 | 750 | 748.945 | 3 |  | 105.2 | [9 empty] | 0.1 |  |  | 0.18548
2011-16 | LB14 | 30 | 85 | 750 | 748.945 | 3 |  | 105.3 |  |  | 105.25 |  |  | 0.01
2011-16 | LC11 | 37 | 109 | 1000 | 1000.98 | 3 |  | 125.6 | [9 empty] | 0.2 |  |  | 0.26358
2011-16 | LC11 | 37 | 109 | 1000 | 1000.98 | 3 |  | 125.8 |  |  | 125.7 |  |  | 0.04
2011-16 | LC09 | 40 | 128 | 500 | 499.259 | 2 |  | 80.6 | [9 empty] | 0.1 |  |  | 0.18548
2011-16 | LC09 | 40 | 128 | 500 | 499.259 | 2 |  | 80.7 |  |  | 80.65 |  |  | 0.01
2011-16 | LD08 | 63 | 228 | 500 | 500.164 | 2 |  | 83.4 | [9 empty] | 0.1 |  |  | 0.18548
2011-16 | LD08 | 63 | 228 | 500 | 500.164 | 2 |  | 83.3 |  |  | 83.35 |  |  | 0.01
2011-16 | LG06 | 73 | 274 | 750 | 750.358 | 2 |  | 102.8 | [7 empty] | Poor Si |  | 0.8 |  |  | 2.9579
2011-16 | LG06 | 73 | 274 | 750 | 750.358 | 2 |  | 103.6 |  |  | 103.2 |  |  | 0.64 |  | dup
2011-16 | LBP5 | 88 | 336 | 1000 | 1000.525 | 2 |  | 128 | [9 empty] | 0.1 |  |  | 0.18548
2011-16 | LBP5 | 88 | 336 | 1000 | 1000.525 | 2 |  | 127.9 |  |  | 127.95 |  |  | 0.01
2011-16 | LBP7 | 92 | 359 | 1000 | 1000.154 | 4 |  | 126.3 | [9 empty] | 0.3 |  |  | 0.71264
2011-16 | LBP7 | 92 | 359 | 1000 | 1000.154 | 4 |  | 126.6 |  |  | 126.45 |  |  | 0.09
2011-16 | CS00 | 102 | 382 | 1000 | 999.753 | 4 |  | 129.7 | [9 empty] | 0.4 |  |  | 1.1617
2011-16 | CS00 | 102 | 382 | 1000 | 999.753 | 4 |  | 130.1 |  |  | 129.9 |  |  | 0.16
2011-16 | CS02 | 106 | 403 | 750 | 750.398 | 2 |  | 110 | [9 empty] | 0.2 |  |  | 0.26358
2011-16 | CS02 | 106 | 403 | 750 | 750.398 | 2 |  | 110.2 |  |  | 110.1 |  |  | 0.04
[9 empty] | SUM OF (X-Y)SQ |  |  |  | 0.42361 | 3.09 | 0.071517
[9 empty] | COUNT |  |  |  | 37 | 42 | 36
[9 empty] | SUM/2*COUNT |  |  |  | 0.0057245 | 0.036786 | 0.00099329
[9 empty] | SQRT(SUM/2*COUNT) |  |  |  | 0.07566 | 0.1918 | 0.031517 | mean diff | 0.067135 | 0.1413 | 0.019949
[16 empty] | stdev | 0.082584 | 0.22269 | 0.040423
[9 empty] | min |  |  |  | 0.1709 | 0.3 | 0.22737
[9 empty] | max |  |  |  | 44.423 | 130.1 | 4.941
Omit Outliers
[9 empty] | SUM OF (X-Y)SQ |  |  |  | 0.25032 | 0.6 | 0.012585
[9 empty] | COUNT |  |  |  | 35 | 39 | 35
[9 empty] | SUM/2*COUNT |  |  |  | 0.0035759 | 0.0076923 | 0.00017978
[9 empty] | SQRT(SUM/2*COUNT) |  |  |  | 0.059799 | 0.087706 | 0.013408

## Precision Statement
Cruise 2011-16 May WCVI |  | File: QF 2011-16nuts.xls
Date: July 7, 2011
Samples were collected in plastic test tubes. |  | Compiled by Wendy Richardson
Most samples were analysed frozen at IOS by Wendy Richardson and Janet Barwell-Clarke
Deep Silicate samples (400m and below) were analyzed cool at IOS by Wendy Richardson and Janet Barwell-Clarke.
The Astoria Analyzer was used for sample analyses.
Precision was determined by analyzing replicate samples drawn from one Niskin.
Pooled standard deviation of pairs of samples (Sp) was calucalated by:
Sp = SQRT{sum (d*d)/2k}
where k = no. of pairs and d = difference between pairs
The precision with outliers removed based on the Chauvenet criteria was:
Sp for nitrate for the range 0.2 to 44.4 uM, k=35 was 0.060
Sp for silicate for the range 0.3 to 130.1 uM, k=39 was 0.087
Sp for phosphate for the range 0.23 to 4.94 uM, k=35 was 0.013
Accuracy of the stock standard batch was determined by using commercially available standards from WAKO Chemicals
(Sagami Chemical Company of Japan).
The values were within 0.15 % of the 20 uM Nitrate Standard.
The values were within 0.80 % of the 100 uM Silicate Standard.
Feb 10, 2011 Nitrate stock standard solution was used for this cruise analyses.
Feb 11, 2011 Silicate stock standard solution was used for this cruise analyses.
Feb 10, 2011 Phosphate stock standard solution ( Feb 23 secondary) was used for this cruise analyses.
The Phosphate values were the same as the previous (May 2010) stock solution.